## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3037-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3037-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3037-7_0_5_node_176 | 0.4 | n |  | TRUE
3 | bus_LV_3037-7_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3037-7_0_5_node_193 | 0.4 | n |  | TRUE
5 | bus_LV_3037-7_0_5_node_154 | 0.4 | n |  | TRUE
6 | bus_LV_3037-7_0_5_node_118 | 0.4 | n |  | TRUE
7 | bus_LV_3037-7_0_5_node_194 | 0.4 | n |  | TRUE
8 | bus_LV_3037-7_0_5_node_117 | 0.4 | n |  | TRUE
9 | bus_LV_3037-7_0_5_node_152 | 0.4 | n |  | TRUE
10 | bus_LV_3037-7_0_5_node_168 | 0.4 | n |  | TRUE
11 | bus_LV_3037-7_0_5_node_172 | 0.4 | n |  | TRUE
12 | bus_LV_3037-7_0_5_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_3037-7_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_3037-7_0_5_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3037-7_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3037-7_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3037-7_0_5_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_3037-7_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3037-7_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3037-7_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3037-7_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_3037-7_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_3037-7_0_5_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_3037-7_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_3037-7_0_5_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_3037-7_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3037-7_0_5_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3037-7_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3037-7_0_5_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_3037-7_0_5_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_3037-7_0_5_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_3037-7_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_3037-7_0_5_node_106 | 0.4 | n |  | TRUE
34 | bus_LV_3037-7_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3037-7_0_5_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3037-7_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3037-7_0_5_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3037-7_0_5_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3037-7_0_5_node_149 | 0.4 | n |  | TRUE
40 | bus_LV_3037-7_0_5_node_148 | 0.4 | n |  | TRUE
41 | bus_LV_3037-7_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_3037-7_0_5_node_119 | 0.4 | n |  | TRUE
43 | bus_LV_3037-7_0_5_node_120 | 0.4 | n |  | TRUE
44 | bus_LV_3037-7_0_5_node_104 | 0.4 | n |  | TRUE
45 | bus_LV_3037-7_0_5_node_105 | 0.4 | n |  | TRUE
46 | bus_LV_3037-7_0_5_node_121 | 0.4 | n |  | TRUE
47 | bus_LV_3037-7_0_5_node_124 | 0.4 | n |  | TRUE
48 | bus_LV_3037-7_0_5_node_139 | 0.4 | n |  | TRUE
49 | bus_LV_3037-7_0_5_node_127 | 0.4 | n |  | TRUE
50 | bus_LV_3037-7_0_5_node_116 | 0.4 | n |  | TRUE
51 | bus_LV_3037-7_0_5_node_111 | 0.4 | n |  | TRUE
52 | bus_LV_3037-7_0_5_node_112 | 0.4 | n |  | TRUE
53 | bus_LV_3037-7_0_5_node_113 | 0.4 | n |  | TRUE
54 | bus_LV_3037-7_0_5_node_114 | 0.4 | n |  | TRUE
55 | bus_LV_3037-7_0_5_node_115 | 0.4 | n |  | TRUE
56 | bus_LV_3037-7_0_5_node_142 | 0.4 | n |  | TRUE
57 | bus_LV_3037-7_0_5_node_125 | 0.4 | n |  | TRUE
58 | bus_LV_3037-7_0_5_node_140 | 0.4 | n |  | TRUE
59 | bus_LV_3037-7_0_5_node_143 | 0.4 | n |  | TRUE
60 | bus_LV_3037-7_0_5_node_136 | 0.4 | n |  | TRUE
61 | bus_LV_3037-7_0_5_node_126 | 0.4 | n |  | TRUE
62 | bus_LV_3037-7_0_5_node_123 | 0.4 | n |  | TRUE
63 | bus_LV_3037-7_0_5_node_128 | 0.4 | n |  | TRUE
64 | bus_LV_3037-7_0_5_node_191 | 0.4 | n |  | TRUE
65 | bus_LV_3037-7_0_5_node_192 | 0.4 | n |  | TRUE
66 | bus_LV_3037-7_0_5_node_132 | 0.4 | n |  | TRUE
67 | bus_LV_3037-7_0_5_node_146 | 0.4 | n |  | TRUE
68 | bus_LV_3037-7_0_5_node_162 | 0.4 | n |  | TRUE
69 | bus_LV_3037-7_0_5_node_145 | 0.4 | n |  | TRUE
70 | bus_LV_3037-7_0_5_node_144 | 0.4 | n |  | TRUE
71 | bus_LV_3037-7_0_5_node_129 | 0.4 | n |  | TRUE
72 | bus_LV_3037-7_0_5_node_130 | 0.4 | n |  | TRUE
73 | bus_LV_3037-7_0_5_node_131 | 0.4 | n |  | TRUE
74 | bus_LV_3037-7_0_5_node_133 | 0.4 | n |  | TRUE
75 | bus_LV_3037-7_0_5_node_135 | 0.4 | n |  | TRUE
76 | bus_LV_3037-7_0_5_node_137 | 0.4 | n |  | TRUE
77 | bus_LV_3037-7_0_5_node_138 | 0.4 | n |  | TRUE
78 | bus_LV_3037-7_0_5_node_141 | 0.4 | n |  | TRUE
79 | bus_LV_3037-7_0_5_node_147 | 0.4 | n |  | TRUE
80 | bus_LV_3037-7_0_5_node_150 | 0.4 | n |  | TRUE
81 | bus_LV_3037-7_0_5_node_159 | 0.4 | n |  | TRUE
82 | bus_LV_3037-7_0_5_node_151 | 0.4 | n |  | TRUE
83 | bus_LV_3037-7_0_5_node_166 | 0.4 | n |  | TRUE
84 | bus_LV_3037-7_0_5_node_161 | 0.4 | n |  | TRUE
85 | bus_LV_3037-7_0_5_node_167 | 0.4 | n |  | TRUE
86 | bus_LV_3037-7_0_5_node_153 | 0.4 | n |  | TRUE
87 | bus_LV_3037-7_0_5_node_155 | 0.4 | n |  | TRUE
88 | bus_LV_3037-7_0_5_node_175 | 0.4 | n |  | TRUE
89 | bus_LV_3037-7_0_5_node_157 | 0.4 | n |  | TRUE
90 | bus_LV_3037-7_0_5_node_158 | 0.4 | n |  | TRUE
91 | bus_LV_3037-7_0_5_node_160 | 0.4 | n |  | TRUE
92 | bus_LV_3037-7_0_5_node_163 | 0.4 | n |  | TRUE
93 | bus_LV_3037-7_0_5_node_164 | 0.4 | n |  | TRUE
94 | bus_LV_3037-7_0_5_node_165 | 0.4 | n |  | TRUE
95 | bus_LV_3037-7_0_5_node_171 | 0.4 | n |  | TRUE
96 | bus_LV_3037-7_0_5_node_169 | 0.4 | n |  | TRUE
97 | bus_LV_3037-7_0_5_node_170 | 0.4 | n |  | TRUE
98 | bus_LV_3037-7_0_5_node_173 | 0.4 | n |  | TRUE
99 | bus_LV_3037-7_0_5_node_174 | 0.4 | n |  | TRUE
100 | bus_MV_46_0_node_16 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3037-7_0_5_load_0 | 0 | 0.0029214 | 0.00073218 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3037-7_0_5_load_1 | 1 | 0.00077166 | 0.0001934 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3037-7_0_5_load_2 | 3 | 0.016004 | 0.0040109 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3037-7_0_5_load_193 | 4 | 0.0010256 | 0.00025704 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3037-7_0_5_load_118 | 6 | 0.019468 | 0.0048792 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3037-7_0_5_load_194 | 7 | 0.0064309 | 0.0016117 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3037-7_0_5_load_117 | 8 | 0.012027 | 0.0030143 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3037-7_0_5_load_152 | 9 | 0.0014988 | 0.00037563 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3037-7_0_5_load_168 | 10 | 0.00049612 | 0.00012434 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3037-7_0_5_load_172 | 11 | 0.0012227 | 0.00030645 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3037-7_0_5_load_31 | 12 | 0.00086402 | 0.00021654 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3037-7_0_5_load_6 | 13 | 0.00050981 | 0.00012777 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3037-7_0_5_load_7 | 14 | 0.00088175 | 0.00022099 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3037-7_0_5_load_8 | 15 | 0.0070036 | 0.0017553 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3037-7_0_5_load_9 | 16 | 0.00041353 | 0.00010364 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3037-7_0_5_load_21 | 17 | 0.00046224 | 0.00011585 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3037-7_0_5_load_14 | 18 | 0.00062378 | 0.00015633 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3037-7_0_5_load_10 | 19 | 0.00055322 | 0.00013865 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3037-7_0_5_load_11 | 20 | 0.013533 | 0.0033918 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3037-7_0_5_load_13 | 22 | 0.011556 | 0.0028962 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3037-7_0_5_load_29 | 23 | 0.00051684 | 0.00012953 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3037-7_0_5_load_15 | 24 | 0.00055047 | 0.00013796 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3037-7_0_5_load_16 | 25 | 0.00040614 | 0.00010179 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3037-7_0_5_load_18 | 27 | 0.00031172 | 7.8125e-05 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3037-7_0_5_load_19 | 28 | 0.00023066 | 5.7809e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3037-7_0_5_load_20 | 29 | 0.00041624 | 0.00010432 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3037-7_0_5_load_106 | 33 | 0.0048882 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3037-7_0_5_load_25 | 34 | 0.00067934 | 0.00017026 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3037-7_0_5_load_22 | 35 | 0.0006133 | 0.00015371 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3037-7_0_5_load_23 | 36 | 0.00029591 | 7.4163e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3037-7_0_5_load_26 | 38 | 0.0021998 | 0.00055131 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3037-7_0_5_load_148 | 40 | 0.0020662 | 0.00051785 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3037-7_0_5_load_32 | 41 | 0.0022532 | 0.00056471 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3037-7_0_5_load_119 | 42 | 0.0080918 | 0.002028 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3037-7_0_5_load_120 | 43 | 0.0098269 | 0.0024628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3037-7_0_5_load_104 | 44 | 0.002403 | 0.00060226 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3037-7_0_5_load_105 | 45 | 0.0025297 | 0.000634 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3037-7_0_5_load_121 | 46 | 0.0028036 | 0.00070264 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3037-7_0_5_load_124 | 47 | 0.0022473 | 0.00056323 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3037-7_0_5_load_139 | 48 | 0.00046067 | 0.00011546 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3037-7_0_5_load_116 | 50 | 0.0080703 | 0.0020226 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3037-7_0_5_load_111 | 51 | 0.00070599 | 0.00017694 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3037-7_0_5_load_112 | 52 | 0.0002988 | 7.4886e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3037-7_0_5_load_113 | 53 | 0.00093292 | 0.00023381 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3037-7_0_5_load_115 | 55 | 0.0017451 | 0.00043738 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3037-7_0_5_load_140 | 58 | 0.00092024 | 0.00023063 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3037-7_0_5_load_143 | 59 | 0.0029443 | 0.00073792 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3037-7_0_5_load_191 | 64 | 0.0014359 | 0.00035988 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3037-7_0_5_load_192 | 65 | 0.004443 | 0.0011135 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3037-7_0_5_load_132 | 66 | 0.00046298 | 0.00011603 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3037-7_0_5_load_162 | 68 | 0.0033006 | 0.00082721 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3037-7_0_5_load_144 | 70 | 0.0040445 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3037-7_0_5_load_129 | 71 | 0.00050192 | 0.00012579 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3037-7_0_5_load_130 | 72 | 0.00045894 | 0.00011502 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3037-7_0_5_load_131 | 73 | 0.00045652 | 0.00011442 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3037-7_0_5_load_133 | 74 | 0.0018845 | 0.0004723 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3037-7_0_5_load_137 | 76 | 0.0011282 | 0.00028275 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3037-7_0_5_load_138 | 77 | 0.00050768 | 0.00012724 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3037-7_0_5_load_141 | 78 | 0.0016306 | 0.00040866 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3037-7_0_5_load_147 | 79 | 0.0011694 | 0.00029309 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3037-7_0_5_load_151 | 82 | 0.0015908 | 0.0003987 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3037-7_0_5_load_166 | 83 | 0.0020277 | 0.00050819 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3037-7_0_5_load_167 | 85 | 0.00045805 | 0.0001148 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3037-7_0_5_load_175 | 88 | 0.00084 | 0.00021052 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3037-7_0_5_load_157 | 89 | 0.0018755 | 0.00047005 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3037-7_0_5_load_158 | 90 | 0.00243 | 0.00060902 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3037-7_0_5_load_160 | 91 | 0.0017052 | 0.00042735 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3037-7_0_5_load_163 | 92 | 0.0011058 | 0.00027715 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3037-7_0_5_load_164 | 93 | 0.0010931 | 0.00027397 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3037-7_0_5_load_165 | 94 | 0.0022583 | 0.00056599 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3037-7_0_5_load_171 | 95 | 0.0022051 | 0.00055265 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3037-7_0_5_load_169 | 96 | 0.00053656 | 0.00013447 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3037-7_0_5_load_170 | 97 | 0.0012194 | 0.0003056 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3037-7_0_5_load_173 | 98 | 0.0015929 | 0.00039921 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3037-7_0_5_load_174 | 99 | 0.00096776 | 0.00024254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 18 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3037-7_0_5_line_0 |  | 0 | 1 | 0.12919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_3037-7_0_5_line_1 |  | 0 | 2 | 0.17311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_3037-7_0_5_line_2 |  | 1 | 3 | 0.024759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_3037-7_0_5_line_3 |  | 2 | 4 | 0.093112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_3037-7_0_5_line_4 |  | 2 | 5 | 0.033871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3037-7_0_5_line_5 |  | 3 | 6 | 0.034258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3037-7_0_5_line_6 |  | 3 | 7 | 0.044951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3037-7_0_5_line_7 |  | 4 | 18 | 0.16554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3037-7_0_5_line_8 |  | 5 | 88 | 0.041193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3037-7_0_5_line_9 |  | 5 | 86 | 0.008794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3037-7_0_5_line_10 |  | 6 | 8 | 0.020623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3037-7_0_5_line_11 |  | 8 | 50 | 0.033101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3037-7_0_5_line_12 |  | 9 | 10 | 0.10646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3037-7_0_5_line_13 |  | 9 | 11 | 0.13101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3037-7_0_5_line_14 |  | 9 | 12 | 0.11246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3037-7_0_5_line_15 |  | 10 | 85 | 0.0063558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3037-7_0_5_line_16 |  | 11 | 87 | 0.01555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3037-7_0_5_line_17 |  | 12 | 41 | 0.0051214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3037-7_0_5_line_18 |  | 13 | 14 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3037-7_0_5_line_19 |  | 13 | 15 | 0.031906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3037-7_0_5_line_20 |  | 14 | 16 | 0.0039628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3037-7_0_5_line_21 |  | 16 | 17 | 0.012466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3037-7_0_5_line_22 |  | 17 | 18 | 0.03655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3037-7_0_5_line_23 |  | 18 | 21 | 0.047828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3037-7_0_5_line_24 |  | 19 | 20 | 0.03989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3037-7_0_5_line_25 |  | 19 | 21 | 0.028602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3037-7_0_5_line_26 |  | 20 | 22 | 0.065438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3037-7_0_5_line_27 |  | 21 | 23 | 0.11684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3037-7_0_5_line_28 |  | 23 | 30 | 0.046706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_3037-7_0_5_line_29 |  | 24 | 25 | 0.0099572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3037-7_0_5_line_30 |  | 24 | 26 | 0.016181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3037-7_0_5_line_31 |  | 25 | 27 | 0.073325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3037-7_0_5_line_32 |  | 26 | 28 | 0.031842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3037-7_0_5_line_33 |  | 26 | 29 | 0.021302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3037-7_0_5_line_34 |  | 28 | 30 | 0.00015052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3037-7_0_5_line_35 |  | 29 | 31 | 0.025198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3037-7_0_5_line_36 |  | 30 | 32 | 0.005968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3037-7_0_5_line_37 |  | 31 | 34 | 0.0035782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3037-7_0_5_line_38 |  | 32 | 33 | 0.087084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3037-7_0_5_line_39 |  | 34 | 36 | 0.0008466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3037-7_0_5_line_40 |  | 35 | 36 | 0.0018851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3037-7_0_5_line_41 |  | 35 | 37 | 0.076458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3037-7_0_5_line_42 |  | 37 | 38 | 0.069295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3037-7_0_5_line_43 |  | 38 | 39 | 0.084867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3037-7_0_5_line_44 |  | 39 | 40 | 0.02935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3037-7_0_5_line_45 |  | 40 | 80 | 0.035792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3037-7_0_5_line_46 |  | 42 | 43 | 0.029139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3037-7_0_5_line_47 |  | 43 | 50 | 0.10844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3037-7_0_5_line_48 |  | 44 | 45 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3037-7_0_5_line_49 |  | 45 | 46 | 0.025543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3037-7_0_5_line_50 |  | 46 | 49 | 0.11341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3037-7_0_5_line_51 |  | 46 | 47 | 0.066148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3037-7_0_5_line_52 |  | 47 | 48 | 0.035364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3037-7_0_5_line_53 |  | 48 | 66 | 0.0027597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3037-7_0_5_line_54 |  | 48 | 58 | 0.017037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3037-7_0_5_line_55 |  | 49 | 63 | 0.007868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3037-7_0_5_line_56 |  | 51 | 52 | 0.0056263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3037-7_0_5_line_57 |  | 51 | 53 | 0.029104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3037-7_0_5_line_58 |  | 52 | 54 | 0.02711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3037-7_0_5_line_59 |  | 53 | 55 | 0.016287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3037-7_0_5_line_60 |  | 54 | 56 | 0.010883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3037-7_0_5_line_61 |  | 54 | 57 | 0.009206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3037-7_0_5_line_62 |  | 55 | 58 | 0.0065511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3037-7_0_5_line_63 |  | 56 | 59 | 0.058066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3037-7_0_5_line_64 |  | 56 | 60 | 0.025856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3037-7_0_5_line_65 |  | 57 | 61 | 0.0103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3037-7_0_5_line_66 |  | 60 | 78 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3037-7_0_5_line_67 |  | 61 | 67 | 0.022021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3037-7_0_5_line_68 |  | 62 | 63 | 0.007816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3037-7_0_5_line_69 |  | 62 | 64 | 0.053518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3037-7_0_5_line_70 |  | 64 | 65 | 0.083997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3037-7_0_5_line_71 |  | 66 | 72 | 0.0075454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3037-7_0_5_line_72 |  | 67 | 68 | 0.012692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3037-7_0_5_line_73 |  | 67 | 69 | 0.020687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3037-7_0_5_line_74 |  | 68 | 81 | 0.037297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3037-7_0_5_line_75 |  | 69 | 79 | 0.010458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3037-7_0_5_line_76 |  | 69 | 70 | 0.011763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3037-7_0_5_line_77 |  | 71 | 72 | 0.0049623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3037-7_0_5_line_78 |  | 71 | 73 | 0.01649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3037-7_0_5_line_79 |  | 74 | 75 | 0.034294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3037-7_0_5_line_80 |  | 75 | 76 | 0.017656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3037-7_0_5_line_81 |  | 75 | 77 | 0.023411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3037-7_0_5_line_82 |  | 76 | 78 | 0.0041014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3037-7_0_5_line_83 |  | 79 | 80 | 0.016067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3037-7_0_5_line_84 |  | 80 | 82 | 0.035689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3037-7_0_5_line_85 |  | 81 | 89 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3037-7_0_5_line_86 |  | 82 | 83 | 0.03527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3037-7_0_5_line_87 |  | 83 | 84 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3037-7_0_5_line_88 |  | 84 | 92 | 0.014307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3037-7_0_5_line_89 |  | 85 | 96 | 0.0096794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3037-7_0_5_line_90 |  | 86 | 87 | 0.010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3037-7_0_5_line_91 |  | 89 | 90 | 0.016568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3037-7_0_5_line_92 |  | 90 | 91 | 0.0071052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3037-7_0_5_line_93 |  | 92 | 93 | 0.01341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3037-7_0_5_line_94 |  | 93 | 94 | 0.015945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3037-7_0_5_line_95 |  | 94 | 95 | 0.0057603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3037-7_0_5_line_96 |  | 96 | 97 | 0.0084611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3037-7_0_5_line_97 |  | 97 | 98 | 0.0021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3037-7_0_5_line_98 |  | 98 | 99 | 0.092435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3037-7_0_5_trafo_14 | 0.63 MVA 20/0.4 kV | 100 | 18 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2762692.2607 | 1257717.9136 | 2762563.6102 | 1257729.6897
1 | 2762563.6102 | 1257729.6897 | 2762414.2347 | 1257642.2108
2 | 2762716.4026 | 1257723.124 | 2762705.713 | 1257720.0846 | 2762696.3556 | 1257718.2366 | 2762692.2607 | 1257717.9136
3 | 2762469.6467 | 1257581.6794 | 2762457.4498 | 1257588.7075 | 2762450.6183 | 1257595.149 | 2762443.4213 | 1257608.5766 | 2762440.5118 | 1257620.2867 | 2762440.4351 | 1257629.6722 | 2762436.5009 | 1257638.5846 | 2762428.6217 | 1257642.795 | 2762414.2347 | 1257642.2108
4 | 2762381.4004 | 1257633.946 | 2762400.6951 | 1257637.4233 | 2762414.2347 | 1257642.2108
5 | 2762749.6398 | 1257731.3229 | 2762733.9507 | 1257728.1135 | 2762716.4026 | 1257723.124
6 | 2762716.4026 | 1257723.124 | 2762719.7192 | 1257767.9528
7 | 2762635.1009 | 1257576.4257 | 2762469.6467 | 1257581.6794
8 | 2762381.4004 | 1257633.946 | 2762393.1455 | 1257623.0346 | 2762412.0474 | 1257614.1661 | 2762414.5258 | 1257610.6739
9 | 2762381.4004 | 1257633.946 | 2762376.4252 | 1257641.206
10 | 2762770.1126 | 1257733.7549 | 2762765.3045 | 1257733.3921 | 2762749.9084 | 1257731.3779 | 2762749.6398 | 1257731.3229
11 | 2762803.1198 | 1257736.2454 | 2762770.1126 | 1257733.7549
12 | 2762224.7862 | 1257595.1975 | 2762243.4375 | 1257700.0137
13 | 2762243.4375 | 1257700.0137 | 2762354.8936 | 1257631.1642
14 | 2762243.4375 | 1257700.0137 | 2762134.1665 | 1257726.6081
15 | 2762220.5334 | 1257590.4742 | 2762224.7862 | 1257595.1975
16 | 2762370.3611 | 1257632.6196 | 2762361.7686 | 1257631.4827 | 2762354.8936 | 1257631.1642
17 | 2762135.1616 | 1257731.6319 | 2762134.1665 | 1257726.6081
18 | 2762667.7821 | 1257635.1871 | 2762667.7821 | 1257635.1871 | 2762659.4556 | 1257626.8496 | 2762655.9115 | 1257622.2775
19 | 2762667.7821 | 1257635.1871 | 2762673.608 | 1257638.4283 | 2762679.3131 | 1257640.8543 | 2762697.4644 | 1257646.6027
20 | 2762655.9115 | 1257622.2775 | 2762653.4838 | 1257619.1454
21 | 2762645.8466 | 1257609.2927 | 2762653.4838 | 1257619.1454
22 | 2762645.8466 | 1257609.2927 | 2762637.0356 | 1257597.9257 | 2762635.2268 | 1257593.7384 | 2762633.9341 | 1257589.1647 | 2762633.8588 | 1257583.9461 | 2762634.507 | 1257578.7585 | 2762635.1009 | 1257576.4257
23 | 2762666.5702 | 1257541.5451 | 2762653.7627 | 1257552.3823 | 2762646.1877 | 1257559.2369 | 2762638.9507 | 1257566.9683 | 2762637.0365 | 1257570.7308 | 2762635.5474 | 1257574.6717 | 2762635.1009 | 1257576.4257
24 | 2762691.3288 | 1257590.2317 | 2762691.3288 | 1257590.2317 | 2762689.0982 | 1257590.682 | 2762673.155 | 1257581.3898 | 2762662.9315 | 1257573.167 | 2762660.2935 | 1257567.7327
25 | 2762666.5702 | 1257541.5451 | 2762667.1572 | 1257547.6343 | 2762663.8209 | 1257555.0948 | 2762659.483 | 1257560.8372 | 2762659.347 | 1257565.783 | 2762660.2935 | 1257567.7327
26 | 2762691.3288 | 1257590.2317 | 2762691.9028 | 1257588.2899 | 2762690.2924 | 1257585.1201 | 2762683.7575 | 1257575.8309 | 2762680.9933 | 1257567.157 | 2762681.3893 | 1257562.0848 | 2762685.0571 | 1257557.1138 | 2762689.3341 | 1257553.5832 | 2762693.7421 | 1257554.6165 | 2762699.5329 | 1257557.7678 | 2762703.9836 | 1257562.1836 | 2762707.5613 | 1257565.9506
27 | 2762666.5702 | 1257541.5451 | 2762679.7098 | 1257425.4421
28 | 2762700.9396 | 1257384.3147 | 2762694.2428 | 1257392.1499 | 2762686.9904 | 1257405.9205 | 2762682.7236 | 1257417.304 | 2762679.7098 | 1257425.4421
29 | 2762736.7093 | 1257368.7722 | 2762745.3733 | 1257373.6797
30 | 2762722.63 | 1257360.7974 | 2762736.7093 | 1257368.7722
31 | 2762807.0803 | 1257413.0403 | 2762781.7007 | 1257394.2562 | 2762745.3733 | 1257373.6797
32 | 2762722.63 | 1257360.7974 | 2762701.0416 | 1257384.2041
33 | 2762722.63 | 1257360.7974 | 2762727.0639 | 1257354.3126 | 2762731.0789 | 1257347.9719 | 2762733.3168 | 1257343.4175 | 2762733.6186 | 1257342.6047
34 | 2762701.0416 | 1257384.2041 | 2762700.9396 | 1257384.3147
35 | 2762736.3058 | 1257318.1512 | 2762737.2199 | 1257325.2392 | 2762737.5925 | 1257331.1667 | 2762735.9572 | 1257336.3049 | 2762733.6186 | 1257342.6047
36 | 2762697.7127 | 1257379.2875 | 2762700.9396 | 1257384.3147
37 | 2762736.3058 | 1257318.1512 | 2762735.5979 | 1257314.6437
38 | 2762697.7127 | 1257379.2875 | 2762688.8842 | 1257377.9434 | 2762663.4188 | 1257376.8648 | 2762641.6385 | 1257383.084 | 2762623.7969 | 1257386.8311 | 2762618.6122 | 1257387.4227 | 2762616.6688 | 1257390.8729 | 2762616.5972 | 1257393.4773
39 | 2762735.4304 | 1257313.8138 | 2762735.5979 | 1257314.6437
40 | 2762735.4304 | 1257313.8138 | 2762735.0575 | 1257311.966
41 | 2762671.5542 | 1257279.1422 | 2762691.4606 | 1257281.8142 | 2762702.2813 | 1257283.9804 | 2762711.9835 | 1257286.483 | 2762718.8638 | 1257290.087 | 2762723.5112 | 1257293.9409 | 2762728.0203 | 1257299.2593 | 2762731.6971 | 1257305.211 | 2762735.0575 | 1257311.966
42 | 2762671.5542 | 1257279.1422 | 2762644.1789 | 1257275.3417 | 2762602.7106 | 1257271.3756
43 | 2762537.0145 | 1257217.6498 | 2762602.7106 | 1257271.3756
44 | 2762537.0145 | 1257217.6498 | 2762519.6459 | 1257211.0328 | 2762509.7813 | 1257206.7263
45 | 2762478.126 | 1257190.0825 | 2762486.1524 | 1257194.8188 | 2762503.7946 | 1257204.1127 | 2762509.7813 | 1257206.7263
46 | 2762770.5331 | 1257846.8288 | 2762799.5895 | 1257844.6311
47 | 2762803.1198 | 1257736.2454 | 2762799.5895 | 1257844.6311
48 | 2762503.1419 | 1257315.4292 | 2762501.5885 | 1257316.5357 | 2762494.4981 | 1257320.5786 | 2762487.2604 | 1257324.2171 | 2762478.4146 | 1257327.9829
49 | 2762478.4146 | 1257327.9829 | 2762470.0064 | 1257331.5624 | 2762454.6249 | 1257337.2647
50 | 2762454.6249 | 1257337.2647 | 2762364.6462 | 1257406.2941
51 | 2762427.7297 | 1257276.8311 | 2762454.6249 | 1257337.2647
52 | 2762399.9406 | 1257254.9598 | 2762427.7297 | 1257276.8311
53 | 2762399.9406 | 1257254.9598 | 2762397.6649 | 1257256.5208
54 | 2762412.6938 | 1257243.9322 | 2762412.1004 | 1257244.8946 | 2762408.4993 | 1257249.089 | 2762399.9406 | 1257254.9598
55 | 2762364.6462 | 1257406.2941 | 2762364.7328 | 1257408.9103 | 2762365.3267 | 1257411.4626 | 2762366.4077 | 1257413.8614
56 | 2762399.6874 | 1257197.3936 | 2762399.6874 | 1257197.3936 | 2762397.0325 | 1257192.6825 | 2762397.0854 | 1257192.4703
57 | 2762413.3939 | 1257222.3611 | 2762410.0879 | 1257212.3945 | 2762405.9251 | 1257203.2485 | 2762399.6874 | 1257197.3936
58 | 2762411.9482 | 1257170.4797 | 2762403.2101 | 1257179.2936 | 2762398.4654 | 1257186.9381 | 2762397.0854 | 1257192.4703
59 | 2762413.3939 | 1257222.3611 | 2762415.1331 | 1257227.6042 | 2762416.1608 | 1257232.4931 | 2762415.7951 | 1257238.2487
60 | 2762411.9482 | 1257170.4797 | 2762404.5238 | 1257162.5011
61 | 2762411.9482 | 1257170.4797 | 2762415.259 | 1257175.2088 | 2762417.1494 | 1257178.0859
62 | 2762412.6938 | 1257243.9322 | 2762415.7488 | 1257238.9774 | 2762415.7951 | 1257238.2487
63 | 2762404.5238 | 1257162.5011 | 2762416.1021 | 1257152.475 | 2762421.0382 | 1257141.7103 | 2762422.2965 | 1257132.1571 | 2762414.409 | 1257112.4012
64 | 2762383.7509 | 1257147.1265 | 2762400.1714 | 1257158.3329 | 2762404.5238 | 1257162.5011
65 | 2762425.7203 | 1257172.3372 | 2762417.1494 | 1257178.0859
66 | 2762383.7509 | 1257147.1265 | 2762377.2298 | 1257161.4847 | 2762377.2298 | 1257161.4847
67 | 2762442.9834 | 1257158.6299 | 2762429.6962 | 1257169.6101 | 2762425.7203 | 1257172.3372
68 | 2762372.1351 | 1257419.0572 | 2762369.3675 | 1257417.3573 | 2762366.4077 | 1257413.8614
69 | 2762372.1351 | 1257419.0572 | 2762358.4569 | 1257428.9145 | 2762337.9277 | 1257438.2279 | 2762326.6295 | 1257446.8716
70 | 2762326.6295 | 1257446.8716 | 2762263.1691 | 1257391.8414
71 | 2762391.4426 | 1257260.7889 | 2762397.6649 | 1257256.5208
72 | 2762442.9834 | 1257158.6299 | 2762449.5617 | 1257153.1826 | 2762451.9431 | 1257149.7825
73 | 2762442.9834 | 1257158.6299 | 2762451.5545 | 1257167.1629 | 2762457.4868 | 1257173.421
74 | 2762469.0548 | 1257116.8018 | 2762458.4203 | 1257140.5347 | 2762451.9431 | 1257149.7825
75 | 2762457.4868 | 1257173.421 | 2762465.6244 | 1257179.9903
76 | 2762457.4868 | 1257173.421 | 2762449.1794 | 1257181.7487
77 | 2762391.4426 | 1257260.7889 | 2762391.4426 | 1257260.7889 | 2762387.7931 | 1257264.1512
78 | 2762373.6386 | 1257270.0324 | 2762381.3018 | 1257270.1316 | 2762387.7931 | 1257264.1512
79 | 2762358.1597 | 1257169.014 | 2762347.3579 | 1257158.4513 | 2762329.4444 | 1257151.5789
80 | 2762358.1597 | 1257169.014 | 2762364.2717 | 1257169.0039 | 2762371.1922 | 1257167.581 | 2762374.3438 | 1257164.3989
81 | 2762358.1597 | 1257169.014 | 2762343.0136 | 1257183.9475 | 2762341.119 | 1257184.9446
82 | 2762377.2298 | 1257161.4847 | 2762374.3438 | 1257164.3989
83 | 2762478.126 | 1257190.0825 | 2762465.6244 | 1257179.9903
84 | 2762478.126 | 1257190.0825 | 2762491.2866 | 1257156.9091
85 | 2762469.0548 | 1257116.8018 | 2762473.2915 | 1257107.3305 | 2762480.1182 | 1257095.4688
86 | 2762502.3232 | 1257126.2064 | 2762496.11 | 1257130.6365 | 2762494.483 | 1257138.5 | 2762496.2366 | 1257144.4321 | 2762491.2866 | 1257156.9091
87 | 2762515.0812 | 1257117.1098 | 2762502.3232 | 1257126.2064
88 | 2762515.0812 | 1257117.1098 | 2762523.3334 | 1257122.4196 | 2762527.6692 | 1257123.6019
89 | 2762220.5334 | 1257590.4742 | 2762215.435 | 1257584.8116 | 2762214.4641 | 1257582.995
90 | 2762370.3611 | 1257632.6196 | 2762374.4018 | 1257636.312 | 2762376.4252 | 1257641.206
91 | 2762480.1182 | 1257095.4688 | 2762483.4814 | 1257089.6251 | 2762488.3823 | 1257081.1095
92 | 2762491.9265 | 1257074.9513 | 2762488.3823 | 1257081.1095
93 | 2762527.6692 | 1257123.6019 | 2762535.2639 | 1257125.6727 | 2762540.7966 | 1257125.91
94 | 2762540.7966 | 1257125.91 | 2762552.598 | 1257126.4161 | 2762556.7264 | 1257126.2264
95 | 2762562.4806 | 1257125.962 | 2762556.7264 | 1257126.2264
96 | 2762210.476 | 1257575.5328 | 2762214.4641 | 1257582.995
97 | 2762210.2605 | 1257573.3917 | 2762210.476 | 1257575.5328 | 2762210.476 | 1257575.5328
98 | 2762210.2605 | 1257573.3917 | 2762122.1133 | 1257545.5647

## bus_geodata
| x | y | coords
0 | 2762563.6102 | 1257729.6897
1 | 2762692.2607 | 1257717.9136
2 | 2762414.2347 | 1257642.2108
3 | 2762716.4026 | 1257723.124
4 | 2762469.6467 | 1257581.6794
5 | 2762381.4004 | 1257633.946
6 | 2762749.6398 | 1257731.3229
7 | 2762719.7192 | 1257767.9528
8 | 2762770.1126 | 1257733.7549
9 | 2762243.4375 | 1257700.0137
10 | 2762224.7862 | 1257595.1975
11 | 2762354.8936 | 1257631.1642
12 | 2762134.1665 | 1257726.6081
13 | 2762667.7821 | 1257635.1871
14 | 2762655.9115 | 1257622.2775
15 | 2762697.4644 | 1257646.6027
16 | 2762653.4838 | 1257619.1454
17 | 2762645.8466 | 1257609.2927
18 | 2762635.1009 | 1257576.4257
19 | 2762660.2935 | 1257567.7327
20 | 2762691.3288 | 1257590.2317
21 | 2762666.5702 | 1257541.5451
22 | 2762707.5613 | 1257565.9506
23 | 2762679.7098 | 1257425.4421
24 | 2762736.7093 | 1257368.7722
25 | 2762745.3733 | 1257373.6797
26 | 2762722.63 | 1257360.7974
27 | 2762807.0803 | 1257413.0403
28 | 2762701.0416 | 1257384.2041
29 | 2762733.6186 | 1257342.6047
30 | 2762700.9396 | 1257384.3147
31 | 2762736.3058 | 1257318.1512
32 | 2762697.7127 | 1257379.2875
33 | 2762616.5972 | 1257393.4773
34 | 2762735.5979 | 1257314.6437
35 | 2762735.0575 | 1257311.966
36 | 2762735.4304 | 1257313.8138
37 | 2762671.5542 | 1257279.1422
38 | 2762602.7106 | 1257271.3756
39 | 2762537.0145 | 1257217.6498
40 | 2762509.7813 | 1257206.7263
41 | 2762135.1616 | 1257731.6319
42 | 2762770.5331 | 1257846.8288
43 | 2762799.5895 | 1257844.6311
44 | 2762503.1419 | 1257315.4292
45 | 2762478.4146 | 1257327.9829
46 | 2762454.6249 | 1257337.2647
47 | 2762427.7297 | 1257276.8311
48 | 2762399.9406 | 1257254.9598
49 | 2762364.6462 | 1257406.2941
50 | 2762803.1198 | 1257736.2454
51 | 2762399.6874 | 1257197.3936
52 | 2762397.0854 | 1257192.4703
53 | 2762413.3939 | 1257222.3611
54 | 2762411.9482 | 1257170.4797
55 | 2762415.7951 | 1257238.2487
56 | 2762404.5238 | 1257162.5011
57 | 2762417.1494 | 1257178.0859
58 | 2762412.6938 | 1257243.9322
59 | 2762414.409 | 1257112.4012
60 | 2762383.7509 | 1257147.1265
61 | 2762425.7203 | 1257172.3372
62 | 2762372.1351 | 1257419.0572
63 | 2762366.4077 | 1257413.8614
64 | 2762326.6295 | 1257446.8716
65 | 2762263.1691 | 1257391.8414
66 | 2762397.6649 | 1257256.5208
67 | 2762442.9834 | 1257158.6299
68 | 2762451.9431 | 1257149.7825
69 | 2762457.4868 | 1257173.421
70 | 2762449.1794 | 1257181.7487
71 | 2762387.7931 | 1257264.1512
72 | 2762391.4426 | 1257260.7889
73 | 2762373.6386 | 1257270.0324
74 | 2762329.4444 | 1257151.5789
75 | 2762358.1597 | 1257169.014
76 | 2762374.3438 | 1257164.3989
77 | 2762341.119 | 1257184.9446
78 | 2762377.2298 | 1257161.4847
79 | 2762465.6244 | 1257179.9903
80 | 2762478.126 | 1257190.0825
81 | 2762469.0548 | 1257116.8018
82 | 2762491.2866 | 1257156.9091
83 | 2762502.3232 | 1257126.2064
84 | 2762515.0812 | 1257117.1098
85 | 2762220.5334 | 1257590.4742
86 | 2762376.4252 | 1257641.206
87 | 2762370.3611 | 1257632.6196
88 | 2762414.5258 | 1257610.6739
89 | 2762480.1182 | 1257095.4688
90 | 2762488.3823 | 1257081.1095
91 | 2762491.9265 | 1257074.9513
92 | 2762527.6692 | 1257123.6019
93 | 2762540.7966 | 1257125.91
94 | 2762556.7264 | 1257126.2264
95 | 2762562.4806 | 1257125.962
96 | 2762214.4641 | 1257582.995
97 | 2762210.476 | 1257575.5328
98 | 2762210.2605 | 1257573.3917
99 | 2762122.1133 | 1257545.5647
100 | 2762666.5702 | 1257541.5451

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1