## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3037-7_1_4_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_3037-7_1_4_node_4 | 0.4 | n |  | TRUE
2 | bus_LV_3037-7_1_4_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3037-7_1_4_node_179 | 0.4 | n |  | TRUE
4 | bus_LV_3037-7_1_4_node_156 | 0.4 | n |  | TRUE
5 | bus_LV_3037-7_1_4_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_3037-7_1_4_node_34 | 0.4 | n |  | TRUE
7 | bus_LV_3037-7_1_4_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_3037-7_1_4_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3037-7_1_4_node_37 | 0.4 | n |  | TRUE
10 | bus_LV_3037-7_1_4_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_3037-7_1_4_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_3037-7_1_4_node_39 | 0.4 | n |  | TRUE
13 | bus_LV_3037-7_1_4_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3037-7_1_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_3037-7_1_4_node_185 | 0.4 | n |  | TRUE
16 | bus_LV_3037-7_1_4_node_43 | 0.4 | n |  | TRUE
17 | bus_LV_3037-7_1_4_node_44 | 0.4 | n |  | TRUE
18 | bus_LV_3037-7_1_4_node_45 | 0.4 | n |  | TRUE
19 | bus_LV_3037-7_1_4_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_3037-7_1_4_node_47 | 0.4 | n |  | TRUE
21 | bus_LV_3037-7_1_4_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_3037-7_1_4_node_49 | 0.4 | n |  | TRUE
23 | bus_LV_3037-7_1_4_node_50 | 0.4 | n |  | TRUE
24 | bus_LV_3037-7_1_4_node_51 | 0.4 | n |  | TRUE
25 | bus_LV_3037-7_1_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_3037-7_1_4_node_52 | 0.4 | n |  | TRUE
27 | bus_LV_3037-7_1_4_node_53 | 0.4 | n |  | TRUE
28 | bus_LV_3037-7_1_4_node_54 | 0.4 | n |  | TRUE
29 | bus_LV_3037-7_1_4_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_3037-7_1_4_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_3037-7_1_4_node_57 | 0.4 | n |  | TRUE
32 | bus_LV_3037-7_1_4_node_73 | 0.4 | n |  | TRUE
33 | bus_LV_3037-7_1_4_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_3037-7_1_4_node_59 | 0.4 | n |  | TRUE
35 | bus_LV_3037-7_1_4_node_60 | 0.4 | n |  | TRUE
36 | bus_LV_3037-7_1_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_3037-7_1_4_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_3037-7_1_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_3037-7_1_4_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3037-7_1_4_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_3037-7_1_4_node_65 | 0.4 | n |  | TRUE
42 | bus_LV_3037-7_1_4_node_66 | 0.4 | n |  | TRUE
43 | bus_LV_3037-7_1_4_node_95 | 0.4 | n |  | TRUE
44 | bus_LV_3037-7_1_4_node_68 | 0.4 | n |  | TRUE
45 | bus_LV_3037-7_1_4_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_3037-7_1_4_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_3037-7_1_4_node_71 | 0.4 | n |  | TRUE
48 | bus_LV_3037-7_1_4_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_3037-7_1_4_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_3037-7_1_4_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_3037-7_1_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_3037-7_1_4_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_3037-7_1_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_3037-7_1_4_node_79 | 0.4 | n |  | TRUE
55 | bus_LV_3037-7_1_4_node_82 | 0.4 | n |  | TRUE
56 | bus_LV_3037-7_1_4_node_80 | 0.4 | n |  | TRUE
57 | bus_LV_3037-7_1_4_node_81 | 0.4 | n |  | TRUE
58 | bus_LV_3037-7_1_4_node_189 | 0.4 | n |  | TRUE
59 | bus_LV_3037-7_1_4_node_177 | 0.4 | n |  | TRUE
60 | bus_LV_3037-7_1_4_node_84 | 0.4 | n |  | TRUE
61 | bus_LV_3037-7_1_4_node_96 | 0.4 | n |  | TRUE
62 | bus_LV_3037-7_1_4_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_3037-7_1_4_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_3037-7_1_4_node_87 | 0.4 | n |  | TRUE
65 | bus_LV_3037-7_1_4_node_88 | 0.4 | n |  | TRUE
66 | bus_LV_3037-7_1_4_node_97 | 0.4 | n |  | TRUE
67 | bus_LV_3037-7_1_4_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_3037-7_1_4_node_90 | 0.4 | n |  | TRUE
69 | bus_LV_3037-7_1_4_node_91 | 0.4 | n |  | TRUE
70 | bus_LV_3037-7_1_4_node_92 | 0.4 | n |  | TRUE
71 | bus_LV_3037-7_1_4_node_93 | 0.4 | n |  | TRUE
72 | bus_LV_3037-7_1_4_node_101 | 0.4 | n |  | TRUE
73 | bus_LV_3037-7_1_4_node_188 | 0.4 | n |  | TRUE
74 | bus_LV_3037-7_1_4_node_98 | 0.4 | n |  | TRUE
75 | bus_LV_3037-7_1_4_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_3037-7_1_4_node_103 | 0.4 | n |  | TRUE
77 | bus_LV_3037-7_1_4_node_99 | 0.4 | n |  | TRUE
78 | bus_LV_3037-7_1_4_node_190 | 0.4 | n |  | TRUE
79 | bus_LV_3037-7_1_4_node_102 | 0.4 | n |  | TRUE
80 | bus_LV_3037-7_1_4_node_107 | 0.4 | n |  | TRUE
81 | bus_LV_3037-7_1_4_node_109 | 0.4 | n |  | TRUE
82 | bus_LV_3037-7_1_4_node_110 | 0.4 | n |  | TRUE
83 | bus_LV_3037-7_1_4_node_178 | 0.4 | n |  | TRUE
84 | bus_LV_3037-7_1_4_node_180 | 0.4 | n |  | TRUE
85 | bus_LV_3037-7_1_4_node_183 | 0.4 | n |  | TRUE
86 | bus_LV_3037-7_1_4_node_182 | 0.4 | n |  | TRUE
87 | bus_LV_3037-7_1_4_node_181 | 0.4 | n |  | TRUE
88 | bus_LV_3037-7_1_4_node_184 | 0.4 | n |  | TRUE
89 | bus_LV_3037-7_1_4_node_186 | 0.4 | n |  | TRUE
90 | bus_LV_3037-7_1_4_node_187 | 0.4 | n |  | TRUE
91 | bus_MV_46_0_node_184 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3037-7_1_4_load_179 | 3 | 0.0009012 | 0.00022586 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3037-7_1_4_load_156 | 4 | 0.0010307 | 0.00025832 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3037-7_1_4_load_33 | 5 | 0.0023834 | 0.00059734 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3037-7_1_4_load_34 | 6 | 0.0032816 | 0.00082246 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3037-7_1_4_load_36 | 8 | 0.0013446 | 0.000337 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3037-7_1_4_load_37 | 9 | 0.0032779 | 0.00082152 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3037-7_1_4_load_38 | 10 | 0.0032656 | 0.00081844 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3037-7_1_4_load_46 | 11 | 0.0035407 | 0.00088737 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3037-7_1_4_load_39 | 12 | 0.0016147 | 0.00040468 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3037-7_1_4_load_40 | 13 | 0.0031127 | 0.00078012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3037-7_1_4_load_42 | 14 | 0.0020485 | 0.00051341 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3037-7_1_4_load_185 | 15 | 0.0021434 | 0.0005372 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3037-7_1_4_load_44 | 17 | 0.0023807 | 0.00059665 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3037-7_1_4_load_45 | 18 | 0.0018726 | 0.00046933 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3037-7_1_4_load_76 | 19 | 0.006301 | 0.0015792 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3037-7_1_4_load_47 | 20 | 0.0063352 | 0.0015877 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3037-7_1_4_load_48 | 21 | 0.02019 | 0.0050601 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3037-7_1_4_load_50 | 23 | 0.0037397 | 0.00093727 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3037-7_1_4_load_51 | 24 | 0.0013557 | 0.00033976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3037-7_1_4_load_52 | 26 | 0.0056312 | 0.0014113 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3037-7_1_4_load_53 | 27 | 0.0015432 | 0.00038676 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3037-7_1_4_load_54 | 28 | 0.0039688 | 0.00099468 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3037-7_1_4_load_55 | 29 | 0.0025588 | 0.00064131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3037-7_1_4_load_57 | 31 | 0.0016328 | 0.00040921 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3037-7_1_4_load_73 | 32 | 0.0004619 | 0.00011576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3037-7_1_4_load_59 | 34 | 0.0024995 | 0.00062643 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3037-7_1_4_load_60 | 35 | 0.0117 | 0.0029323 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3037-7_1_4_load_61 | 36 | 0.0035431 | 0.000888 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3037-7_1_4_load_62 | 37 | 0.0049765 | 0.0012472 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3037-7_1_4_load_63 | 38 | 0.0044334 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3037-7_1_4_load_64 | 39 | 0.0032375 | 0.00081138 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3037-7_1_4_load_65 | 41 | 0.0011757 | 0.00029467 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3037-7_1_4_load_66 | 42 | 0.00084843 | 0.00021264 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3037-7_1_4_load_68 | 44 | 0.0027052 | 0.00067799 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3037-7_1_4_load_69 | 45 | 0.0034917 | 0.00087511 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3037-7_1_4_load_71 | 47 | 0.0028956 | 0.00072569 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3037-7_1_4_load_72 | 48 | 0.0067536 | 0.0016926 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3037-7_1_4_load_94 | 50 | 0.0032736 | 0.00082045 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3037-7_1_4_load_77 | 51 | 0.0024531 | 0.0006148 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3037-7_1_4_load_75 | 53 | 0.00092083 | 0.00023078 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3037-7_1_4_load_79 | 54 | 0.0044289 | 0.00111 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3037-7_1_4_load_82 | 55 | 0.011672 | 0.0029254 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3037-7_1_4_load_80 | 56 | 0.0079758 | 0.0019989 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3037-7_1_4_load_81 | 57 | 0.0053886 | 0.0013505 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3037-7_1_4_load_189 | 58 | 0.0044862 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3037-7_1_4_load_177 | 59 | 0.0070268 | 0.0017611 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3037-7_1_4_load_84 | 60 | 0.0078491 | 0.0019672 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3037-7_1_4_load_85 | 62 | 0.0031144 | 0.00078054 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3037-7_1_4_load_86 | 63 | 0.0029366 | 0.00073599 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3037-7_1_4_load_87 | 64 | 0.002575 | 0.00064536 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3037-7_1_4_load_97 | 66 | 0.0049682 | 0.0012451 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3037-7_1_4_load_89 | 67 | 0.0016615 | 0.00041641 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3037-7_1_4_load_91 | 69 | 0.0027467 | 0.00068839 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3037-7_1_4_load_93 | 71 | 0.00072475 | 0.00018164 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3037-7_1_4_load_101 | 72 | 0.00086658 | 0.00021718 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3037-7_1_4_load_188 | 73 | 0.0030824 | 0.00077252 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3037-7_1_4_load_98 | 74 | 0.00031246 | 7.8311e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3037-7_1_4_load_108 | 75 | 0.0048379 | 0.0012125 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3037-7_1_4_load_103 | 76 | 0.00052861 | 0.00013248 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3037-7_1_4_load_99 | 77 | 0.0020597 | 0.00051621 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3037-7_1_4_load_190 | 78 | 0.00078146 | 0.00019585 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3037-7_1_4_load_102 | 79 | 0.004117 | 0.0010318 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3037-7_1_4_load_107 | 80 | 0.0042985 | 0.0010773 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3037-7_1_4_load_110 | 82 | 0.0040114 | 0.0010053 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3037-7_1_4_load_180 | 84 | 0.014755 | 0.0036981 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3037-7_1_4_load_183 | 85 | 0.0010995 | 0.00027556 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3037-7_1_4_load_182 | 86 | 0.00076492 | 0.00019171 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3037-7_1_4_load_181 | 87 | 0.00091584 | 0.00022953 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3037-7_1_4_load_184 | 88 | 0.0021173 | 0.00053064 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3037-7_1_4_load_186 | 89 | 0.0026073 | 0.00065345 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3037-7_1_4_load_187 | 90 | 0.0020148 | 0.00050496 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3037-7_1_4_line_0 |  | 0 | 1 | 0.006832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3037-7_1_4_line_1 |  | 0 | 2 | 0.005964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3037-7_1_4_line_2 |  | 1 | 3 | 0.041563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3037-7_1_4_line_3 |  | 2 | 4 | 0.015947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3037-7_1_4_line_4 |  | 3 | 86 | 0.0066765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3037-7_1_4_line_5 |  | 5 | 6 | 0.032606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3037-7_1_4_line_6 |  | 5 | 7 | 0.012894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3037-7_1_4_line_7 |  | 6 | 8 | 0.014451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3037-7_1_4_line_8 |  | 7 | 9 | 0.013893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3037-7_1_4_line_9 |  | 8 | 10 | 0.034706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3037-7_1_4_line_10 |  | 9 | 11 | 0.10194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3037-7_1_4_line_11 |  | 11 | 17 | 0.014045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3037-7_1_4_line_12 |  | 12 | 13 | 0.0099207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3037-7_1_4_line_13 |  | 12 | 14 | 0.11061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3037-7_1_4_line_14 |  | 14 | 15 | 0.15919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3037-7_1_4_line_15 |  | 15 | 88 | 0.026264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3037-7_1_4_line_16 |  | 16 | 17 | 0.029697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3037-7_1_4_line_17 |  | 16 | 18 | 0.0040003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3037-7_1_4_line_18 |  | 18 | 19 | 0.007186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3037-7_1_4_line_19 |  | 19 | 53 | 0.014655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3037-7_1_4_line_20 |  | 20 | 21 | 0.059993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3037-7_1_4_line_21 |  | 20 | 22 | 0.0076339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3037-7_1_4_line_22 |  | 22 | 23 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3037-7_1_4_line_23 |  | 22 | 24 | 0.024592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3037-7_1_4_line_24 |  | 24 | 25 | 0.015553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3037-7_1_4_line_25 |  | 25 | 34 | 0.019646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3037-7_1_4_line_26 |  | 25 | 31 | 0.02514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3037-7_1_4_line_27 |  | 26 | 27 | 0.022555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3037-7_1_4_line_28 |  | 26 | 28 | 0.051272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3037-7_1_4_line_29 |  | 27 | 29 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3037-7_1_4_line_30 |  | 28 | 30 | 0.035812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3037-7_1_4_line_31 |  | 29 | 31 | 0.052942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3037-7_1_4_line_32 |  | 30 | 32 | 0.012064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3037-7_1_4_line_33 |  | 30 | 33 | 0.004169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3037-7_1_4_line_34 |  | 32 | 51 | 0.019448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3037-7_1_4_line_35 |  | 33 | 52 | 0.027485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3037-7_1_4_line_36 |  | 34 | 35 | 0.04198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3037-7_1_4_line_37 |  | 36 | 37 | 0.019939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3037-7_1_4_line_38 |  | 36 | 38 | 0.0026481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3037-7_1_4_line_39 |  | 37 | 39 | 0.0041983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3037-7_1_4_line_40 |  | 39 | 40 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3037-7_1_4_line_41 |  | 40 | 43 | 0.023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3037-7_1_4_line_42 |  | 40 | 42 | 0.04868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3037-7_1_4_line_43 |  | 41 | 42 | 0.022839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3037-7_1_4_line_44 |  | 43 | 74 | 0.03149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3037-7_1_4_line_45 |  | 43 | 50 | 0.021143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3037-7_1_4_line_46 |  | 44 | 45 | 0.066513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3037-7_1_4_line_47 |  | 44 | 46 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3037-7_1_4_line_48 |  | 46 | 47 | 0.039575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3037-7_1_4_line_49 |  | 46 | 48 | 0.040042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3037-7_1_4_line_50 |  | 47 | 49 | 0.028096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3037-7_1_4_line_51 |  | 48 | 50 | 0.055654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3037-7_1_4_line_52 |  | 49 | 54 | 0.019848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3037-7_1_4_line_53 |  | 51 | 53 | 0.0081897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3037-7_1_4_line_54 |  | 52 | 70 | 0.013128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3037-7_1_4_line_55 |  | 52 | 77 | 0.032675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3037-7_1_4_line_56 |  | 54 | 55 | 0.030189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3037-7_1_4_line_57 |  | 55 | 57 | 0.033397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3037-7_1_4_line_58 |  | 56 | 57 | 0.047054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3037-7_1_4_line_59 |  | 56 | 58 | 0.053291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3037-7_1_4_line_60 |  | 56 | 59 | 0.17266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3037-7_1_4_line_61 |  | 58 | 61 | 0.053314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3037-7_1_4_line_62 |  | 59 | 83 | 0.021426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3037-7_1_4_line_63 |  | 60 | 61 | 0.076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3037-7_1_4_line_64 |  | 61 | 65 | 0.007269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3037-7_1_4_line_65 |  | 62 | 63 | 0.027501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3037-7_1_4_line_66 |  | 62 | 64 | 0.017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3037-7_1_4_line_67 |  | 63 | 65 | 0.025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3037-7_1_4_line_68 |  | 65 | 66 | 0.090831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3037-7_1_4_line_69 |  | 66 | 75 | 0.0012721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3037-7_1_4_line_70 |  | 67 | 68 | 0.021346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3037-7_1_4_line_71 |  | 67 | 69 | 0.008565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3037-7_1_4_line_72 |  | 68 | 70 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3037-7_1_4_line_73 |  | 68 | 71 | 0.019595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3037-7_1_4_line_74 |  | 70 | 72 | 0.025593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3037-7_1_4_line_75 |  | 71 | 73 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3037-7_1_4_line_76 |  | 72 | 79 | 0.00038125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3037-7_1_4_line_77 |  | 73 | 90 | 0.0049957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3037-7_1_4_line_78 |  | 74 | 76 | 0.001784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3037-7_1_4_line_79 |  | 75 | 80 | 0.043795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3037-7_1_4_line_80 |  | 76 | 79 | 0.024194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3037-7_1_4_line_81 |  | 77 | 78 | 0.079962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3037-7_1_4_line_82 |  | 80 | 81 | 0.025519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3037-7_1_4_line_83 |  | 81 | 82 | 0.041329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3037-7_1_4_line_84 |  | 83 | 84 | 0.024948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3037-7_1_4_line_85 |  | 83 | 85 | 0.059813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3037-7_1_4_line_86 |  | 85 | 87 | 0.0032759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3037-7_1_4_line_87 |  | 86 | 87 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3037-7_1_4_line_88 |  | 88 | 89 | 0.028011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3037-7_1_4_line_89 |  | 89 | 90 | 0.017187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3037-7_1_4_trafo_67 | 0.63 MVA 20/0.4 kV | 91 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2762381.4707 | 1257899.0127 | 2762380.8162 | 1257905.813
1 | 2762375.5197 | 1257898.4044 | 2762381.4707 | 1257899.0127
2 | 2762380.8162 | 1257905.813 | 2762374.5466 | 1257909.6672 | 2762366.7776 | 1257917.2954 | 2762360.5562 | 1257925.7113 | 2762356.3779 | 1257933.3602 | 2762355.494 | 1257937.3983
3 | 2762375.5197 | 1257898.4044 | 2762367.6649 | 1257897.3434 | 2762365.0316 | 1257896.804 | 2762359.8068 | 1257895.7377
4 | 2762355.511 | 1257943.9389 | 2762354.8338 | 1257940.4141 | 2762355.494 | 1257937.3983
5 | 2762516.5127 | 1258507.864 | 2762522.4378 | 1258529.828 | 2762526.3609 | 1258538.8704
6 | 2762513.1544 | 1258495.415 | 2762516.5127 | 1258507.864
7 | 2762526.3609 | 1258538.8704 | 2762532.1122 | 1258552.1271
8 | 2762513.1544 | 1258495.415 | 2762510.7709 | 1258481.7284
9 | 2762551.5529 | 1258580.7792 | 2762543.4479 | 1258570.6809 | 2762532.6889 | 1258553.4563 | 2762532.1122 | 1258552.1271
10 | 2762476.2413 | 1258385.8162 | 2762510.7709 | 1258481.7284
11 | 2762470.2938 | 1258373.0979 | 2762472.7564 | 1258377.9612 | 2762476.2413 | 1258385.8162
12 | 2762844.3673 | 1258334.6719 | 2762844.3673 | 1258334.6719 | 2762853.8715 | 1258337.5166
13 | 2762844.3673 | 1258334.6719 | 2762747.6779 | 1258280.9451
14 | 2762588.7072 | 1258289.3043 | 2762747.6779 | 1258280.9451
15 | 2762562.8134 | 1258293.697 | 2762588.7072 | 1258289.3043
16 | 2762456.8781 | 1258346.6038 | 2762470.2938 | 1258373.0979
17 | 2762456.8781 | 1258346.6038 | 2762454.0359 | 1258343.7887
18 | 2762454.0359 | 1258343.7887 | 2762448.9303 | 1258338.7318
19 | 2762446.2867 | 1258324.6386 | 2762447.2273 | 1258327.1853 | 2762448.0652 | 1258337.875 | 2762448.9303 | 1258338.7318
20 | 2762259.7274 | 1258266.9554 | 2762260.3431 | 1258277.6635 | 2762255.5206 | 1258283.7822 | 2762251.7338 | 1258299.7172 | 2762247.8885 | 1258310.9124 | 2762238.133 | 1258315.9057 | 2762235.9463 | 1258316.6239
21 | 2762228.6935 | 1258319.0058 | 2762235.9463 | 1258316.6239
22 | 2762228.6935 | 1258319.0058 | 2762215.0228 | 1258325.813
23 | 2762228.6935 | 1258319.0058 | 2762232.4993 | 1258320.5228 | 2762239.2295 | 1258339.8809
24 | 2762244.3369 | 1258354.5716 | 2762239.2295 | 1258339.8809
25 | 2762244.3369 | 1258354.5716 | 2762247.3967 | 1258364.8551 | 2762245.7335 | 1258373.6151
26 | 2762244.3369 | 1258354.5716 | 2762266.3213 | 1258342.377
27 | 2762350.3692 | 1258315.2151 | 2762331.4016 | 1258318.2652 | 2762328.1115 | 1258318.8593
28 | 2762350.3692 | 1258315.2151 | 2762356.4524 | 1258314.2369 | 2762368.3554 | 1258311.5384 | 2762375.4544 | 1258309.6089 | 2762382.6601 | 1258307.6378 | 2762399.7856 | 1258301.8437
29 | 2762328.1115 | 1258318.8593 | 2762316.1628 | 1258321.0169 | 2762314.6935 | 1258321.4434
30 | 2762432.5309 | 1258287.3961 | 2762421.8382 | 1258292.7193 | 2762400.5699 | 1258301.5784 | 2762399.7856 | 1258301.8437
31 | 2762314.6935 | 1258321.4434 | 2762299.0451 | 1258325.986 | 2762285.512 | 1258331.7321 | 2762266.3213 | 1258342.377
32 | 2762432.5309 | 1258287.3961 | 2762436.7108 | 1258298.7128
33 | 2762432.5309 | 1258287.3961 | 2762436.1202 | 1258285.259
34 | 2762436.7108 | 1258298.7128 | 2762443.4491 | 1258316.9562
35 | 2762436.1202 | 1258285.259 | 2762452.7597 | 1258275.461 | 2762459.5199 | 1258270.7638
36 | 2762245.7335 | 1258373.6151 | 2762241.1005 | 1258398.0171 | 2762225.1025 | 1258404.1733
37 | 2762552.8867 | 1258162.5735 | 2762537.2155 | 1258174.9006
38 | 2762554.968 | 1258160.9363 | 2762552.8867 | 1258162.5735
39 | 2762537.2155 | 1258174.9006 | 2762533.9158 | 1258177.4962
40 | 2762523.6504 | 1258188.7276 | 2762524.6644 | 1258184.7735 | 2762533.9158 | 1258177.4962
41 | 2762523.6504 | 1258188.7276 | 2762528.537 | 1258195.1128 | 2762531.3625 | 1258202.6538 | 2762534.4012 | 1258209.8448
42 | 2762523.6504 | 1258188.7276 | 2762518.2109 | 1258183.7953 | 2762511.8798 | 1258182.7537 | 2762501.8485 | 1258182.9452 | 2762493.2476 | 1258186.5351 | 2762478.7797 | 1258192.284
43 | 2762457.5553 | 1258200.7176 | 2762478.7797 | 1258192.284
44 | 2762534.4012 | 1258209.8448 | 2762510.5279 | 1258230.3798
45 | 2762534.4012 | 1258209.8448 | 2762550.4073 | 1258196.0311
46 | 2762625.2345 | 1258081.6391 | 2762632.9551 | 1258077.1465 | 2762635.0421 | 1258078.0715 | 2762638.5001 | 1258084.8291 | 2762640.1674 | 1258090.3139 | 2762640.3636 | 1258094.7017 | 2762638.869 | 1258100.7669 | 2762636.4507 | 1258104.4822 | 2762621.3691 | 1258119.0497 | 2762617.7986 | 1258123.7899
47 | 2762623.2009 | 1258133.9155 | 2762620.9256 | 1258131.8842 | 2762618.2261 | 1258127.1718 | 2762617.7986 | 1258123.7899
48 | 2762623.2009 | 1258133.9155 | 2762635.6866 | 1258122.391 | 2762642.5768 | 1258113.5266 | 2762647.2303 | 1258106.169 | 2762647.9373 | 1258103.6147
49 | 2762623.2009 | 1258133.9155 | 2762599.675 | 1258153.5119 | 2762592.5406 | 1258159.669
50 | 2762650.709 | 1258075.9664 | 2762651.184 | 1258091.8849 | 2762647.9373 | 1258103.6147
51 | 2762592.5406 | 1258159.669 | 2762550.4073 | 1258196.0311
52 | 2762650.709 | 1258075.9664 | 2762647.643 | 1258062.913 | 2762645.7865 | 1258056.7466
53 | 2762446.2867 | 1258324.6386 | 2762443.4491 | 1258316.9562
54 | 2762470.3253 | 1258263.2637 | 2762459.5199 | 1258270.7638
55 | 2762459.5199 | 1258270.7638 | 2762458.0208 | 1258268.7651 | 2762437.86 | 1258255.1531 | 2762432.0399 | 1258254.5559
56 | 2762645.7865 | 1258056.7466 | 2762637.0838 | 1258027.8392
57 | 2762627.4562 | 1257995.86 | 2762637.0838 | 1258027.8392
58 | 2762614.008 | 1257950.769 | 2762621.3466 | 1257975.5661 | 2762627.4562 | 1257995.86
59 | 2762614.008 | 1257950.769 | 2762666.9005 | 1257944.2628
60 | 2762614.008 | 1257950.769 | 2762441.3539 | 1257952.0432
61 | 2762703.1387 | 1257980.3741 | 2762695.0831 | 1257964.4027 | 2762692.1801 | 1257959.6847 | 2762688.4075 | 1257956.956 | 2762682.2205 | 1257953.9606 | 2762672.0241 | 1257949.4423 | 2762666.9005 | 1257944.2628
62 | 2762424.1966 | 1257964.8757 | 2762437.0721 | 1257955.3635 | 2762441.3539 | 1257952.0432
63 | 2762708.2654 | 1257904.5471 | 2762703.1387 | 1257980.3741
64 | 2762710.1952 | 1257982.2033 | 2762703.1387 | 1257980.3741
65 | 2762737.0169 | 1258023.8174 | 2762737.0555 | 1258022.417 | 2762732.4571 | 1258003.9157 | 2762729.1964 | 1257997.6814
66 | 2762737.0169 | 1258023.8174 | 2762736.7921 | 1258031.9864 | 2762734.7825 | 1258041.1947
67 | 2762710.1952 | 1257982.2033 | 2762726.6373 | 1257992.7885 | 2762729.1964 | 1257997.6814
68 | 2762710.1952 | 1257982.2033 | 2762731.7592 | 1257983.2193 | 2762751.4634 | 1257981.6372 | 2762773.9964 | 1257978.42 | 2762786.6188 | 1257978.1224 | 2762800.6615 | 1257979.2489
69 | 2762801.9295 | 1257979.3506 | 2762800.6615 | 1257979.2489
70 | 2762480.4649 | 1258277.5235 | 2762480.1642 | 1258284.6227 | 2762481.5377 | 1258293.3918 | 2762484.9855 | 1258297.5018
71 | 2762493.4705 | 1258298.6693 | 2762484.9855 | 1258297.5018
72 | 2762470.3253 | 1258263.2637 | 2762480.4649 | 1258277.5235
73 | 2762480.4649 | 1258277.5235 | 2762490.0083 | 1258288.4969 | 2762494.2381 | 1258291.2601
74 | 2762470.3253 | 1258263.2637 | 2762490.4733 | 1258247.4821
75 | 2762494.2381 | 1258291.2601 | 2762500.8505 | 1258295.5797 | 2762511.776 | 1258299.6283 | 2762513.1525 | 1258299.6966
76 | 2762490.7734 | 1258247.247 | 2762490.4733 | 1258247.4821
77 | 2762518.142 | 1258299.9442 | 2762513.1525 | 1258299.6966
78 | 2762510.5279 | 1258230.3798 | 2762509.1754 | 1258231.5432
79 | 2762843.8777 | 1257991.4058 | 2762842.0563 | 1257990.9494 | 2762823.6437 | 1257984.2581 | 2762806.8836 | 1257979.748 | 2762801.9295 | 1257979.3506
80 | 2762490.7734 | 1258247.247 | 2762492.3989 | 1258245.9738 | 2762509.1754 | 1258231.5432
81 | 2762432.0399 | 1258254.5559 | 2762359.0398 | 1258221.9228
82 | 2762868.9192 | 1257995.4264 | 2762859.2595 | 1257995.2604 | 2762843.8777 | 1257991.4058
83 | 2762868.9192 | 1257995.4264 | 2762865.7862 | 1257987.8323 | 2762857.7669 | 1257955.7043
84 | 2762424.1966 | 1257964.8757 | 2762433.7392 | 1257973.7023 | 2762443.7384 | 1257980.2436
85 | 2762364.9498 | 1257956.6641 | 2762424.1966 | 1257964.8757
86 | 2762364.9498 | 1257956.6641 | 2762362.4265 | 1257954.5748
87 | 2762362.4265 | 1257954.5748 | 2762359.823 | 1257952.419 | 2762356.0154 | 1257946.564 | 2762355.511 | 1257943.9389
88 | 2762562.8134 | 1258293.697 | 2762535.1974 | 1258298.3819
89 | 2762535.1974 | 1258298.3819 | 2762529.1634 | 1258299.4055 | 2762522.3307 | 1258300.152 | 2762518.142 | 1258299.9442

## bus_geodata
| x | y | coords
0 | 2762381.4707 | 1257899.0127
1 | 2762380.8162 | 1257905.813
2 | 2762375.5197 | 1257898.4044
3 | 2762355.494 | 1257937.3983
4 | 2762359.8068 | 1257895.7377
5 | 2762516.5127 | 1258507.864
6 | 2762526.3609 | 1258538.8704
7 | 2762513.1544 | 1258495.415
8 | 2762532.1122 | 1258552.1271
9 | 2762510.7709 | 1258481.7284
10 | 2762551.5529 | 1258580.7792
11 | 2762476.2413 | 1258385.8162
12 | 2762844.3673 | 1258334.6719
13 | 2762853.8715 | 1258337.5166
14 | 2762747.6779 | 1258280.9451
15 | 2762588.7072 | 1258289.3043
16 | 2762456.8781 | 1258346.6038
17 | 2762470.2938 | 1258373.0979
18 | 2762454.0359 | 1258343.7887
19 | 2762448.9303 | 1258338.7318
20 | 2762235.9463 | 1258316.6239
21 | 2762259.7274 | 1258266.9554
22 | 2762228.6935 | 1258319.0058
23 | 2762215.0228 | 1258325.813
24 | 2762239.2295 | 1258339.8809
25 | 2762244.3369 | 1258354.5716
26 | 2762350.3692 | 1258315.2151
27 | 2762328.1115 | 1258318.8593
28 | 2762399.7856 | 1258301.8437
29 | 2762314.6935 | 1258321.4434
30 | 2762432.5309 | 1258287.3961
31 | 2762266.3213 | 1258342.377
32 | 2762436.7108 | 1258298.7128
33 | 2762436.1202 | 1258285.259
34 | 2762245.7335 | 1258373.6151
35 | 2762225.1025 | 1258404.1733
36 | 2762552.8867 | 1258162.5735
37 | 2762537.2155 | 1258174.9006
38 | 2762554.968 | 1258160.9363
39 | 2762533.9158 | 1258177.4962
40 | 2762523.6504 | 1258188.7276
41 | 2762457.5553 | 1258200.7176
42 | 2762478.7797 | 1258192.284
43 | 2762534.4012 | 1258209.8448
44 | 2762617.7986 | 1258123.7899
45 | 2762625.2345 | 1258081.6391
46 | 2762623.2009 | 1258133.9155
47 | 2762647.9373 | 1258103.6147
48 | 2762592.5406 | 1258159.669
49 | 2762650.709 | 1258075.9664
50 | 2762550.4073 | 1258196.0311
51 | 2762443.4491 | 1258316.9562
52 | 2762459.5199 | 1258270.7638
53 | 2762446.2867 | 1258324.6386
54 | 2762645.7865 | 1258056.7466
55 | 2762637.0838 | 1258027.8392
56 | 2762614.008 | 1257950.769
57 | 2762627.4562 | 1257995.86
58 | 2762666.9005 | 1257944.2628
59 | 2762441.3539 | 1257952.0432
60 | 2762708.2654 | 1257904.5471
61 | 2762703.1387 | 1257980.3741
62 | 2762737.0169 | 1258023.8174
63 | 2762729.1964 | 1257997.6814
64 | 2762734.7825 | 1258041.1947
65 | 2762710.1952 | 1257982.2033
66 | 2762800.6615 | 1257979.2489
67 | 2762484.9855 | 1258297.5018
68 | 2762480.4649 | 1258277.5235
69 | 2762493.4705 | 1258298.6693
70 | 2762470.3253 | 1258263.2637
71 | 2762494.2381 | 1258291.2601
72 | 2762490.4733 | 1258247.4821
73 | 2762513.1525 | 1258299.6966
74 | 2762510.5279 | 1258230.3798
75 | 2762801.9295 | 1257979.3506
76 | 2762509.1754 | 1258231.5432
77 | 2762432.0399 | 1258254.5559
78 | 2762359.0398 | 1258221.9228
79 | 2762490.7734 | 1258247.247
80 | 2762843.8777 | 1257991.4058
81 | 2762868.9192 | 1257995.4264
82 | 2762857.7669 | 1257955.7043
83 | 2762424.1966 | 1257964.8757
84 | 2762443.7384 | 1257980.2436
85 | 2762364.9498 | 1257956.6641
86 | 2762355.511 | 1257943.9389
87 | 2762362.4265 | 1257954.5748
88 | 2762562.8134 | 1258293.697
89 | 2762535.1974 | 1258298.3819
90 | 2762518.142 | 1258299.9442
91 | 2762534.4012 | 1258209.8448

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1