## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3038-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3038-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3038-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3038-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3038-2_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_3038-2_0_3_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_3038-2_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3038-2_0_3_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_3038-2_0_3_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_3038-2_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3038-2_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3038-2_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_3038-2_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_3038-2_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_3038-2_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3038-2_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3038-2_0_3_node_72 | 0.4 | n |  | TRUE
17 | bus_LV_3038-2_0_3_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3038-2_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3038-2_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3038-2_0_3_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3038-2_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_3038-2_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_3038-2_0_3_node_56 | 0.4 | n |  | TRUE
24 | bus_LV_3038-2_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3038-2_0_3_node_55 | 0.4 | n |  | TRUE
26 | bus_LV_3038-2_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_3038-2_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3038-2_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_3038-2_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3038-2_0_3_node_45 | 0.4 | n |  | TRUE
31 | bus_LV_3038-2_0_3_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3038-2_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3038-2_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_3038-2_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_3038-2_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3038-2_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_3038-2_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3038-2_0_3_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_3038-2_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3038-2_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_3038-2_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3038-2_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_3038-2_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3038-2_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3038-2_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3038-2_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3038-2_0_3_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_3038-2_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3038-2_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3038-2_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3038-2_0_3_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_3038-2_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3038-2_0_3_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3038-2_0_3_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3038-2_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3038-2_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3038-2_0_3_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_3038-2_0_3_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_3038-2_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3038-2_0_3_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_3038-2_0_3_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3038-2_0_3_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_3038-2_0_3_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_3038-2_0_3_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_3038-2_0_3_node_251 | 0.4 | n |  | TRUE
66 | bus_LV_3038-2_0_3_node_64 | 0.4 | n |  | TRUE
67 | bus_LV_3038-2_0_3_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_3038-2_0_3_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_3038-2_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3038-2_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3038-2_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3038-2_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_3038-2_0_3_node_71 | 0.4 | n |  | TRUE
74 | bus_LV_3038-2_0_3_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3038-2_0_3_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_3038-2_0_3_node_250 | 0.4 | n |  | TRUE
77 | bus_LV_3038-2_0_3_node_75 | 0.4 | n |  | TRUE
78 | bus_LV_3038-2_0_3_node_76 | 0.4 | n |  | TRUE
79 | bus_LV_3038-2_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3038-2_0_3_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_3038-2_0_3_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_3038-2_0_3_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_3038-2_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3038-2_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3038-2_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3038-2_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3038-2_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_MV_45_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3038-2_0_3_load_0 | 0 | 0.001789 | 0.00044836 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3038-2_0_3_load_3 | 3 | 0.0020612 | 0.0005166 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3038-2_0_3_load_6 | 5 | 0.0048143 | 0.0012066 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3038-2_0_3_load_22 | 7 | 0.0034283 | 0.00085922 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3038-2_0_3_load_8 | 10 | 0.0026931 | 0.00067494 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3038-2_0_3_load_14 | 12 | 0.001791 | 0.00044886 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3038-2_0_3_load_13 | 13 | 0.00093688 | 0.0002348 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3038-2_0_3_load_10 | 14 | 0.0042578 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3038-2_0_3_load_11 | 15 | 0.0062358 | 0.0015628 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3038-2_0_3_load_72 | 16 | 0.002304 | 0.00057743 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3038-2_0_3_load_16 | 17 | 0.0013248 | 0.00033203 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3038-2_0_3_load_17 | 18 | 0.0012383 | 0.00031033 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3038-2_0_3_load_18 | 19 | 0.0013979 | 0.00035034 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3038-2_0_3_load_20 | 21 | 0.0012276 | 0.00030766 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3038-2_0_3_load_56 | 23 | 0.0015203 | 0.00038103 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3038-2_0_3_load_55 | 25 | 0.0030363 | 0.00076096 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3038-2_0_3_load_48 | 26 | 0.0042528 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3038-2_0_3_load_23 | 27 | 0.0027177 | 0.00068112 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3038-2_0_3_load_24 | 28 | 0.0025135 | 0.00062994 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3038-2_0_3_load_25 | 29 | 0.0024972 | 0.00062587 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3038-2_0_3_load_45 | 30 | 0.00078871 | 0.00019767 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3038-2_0_3_load_26 | 31 | 0.0023102 | 0.00057898 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3038-2_0_3_load_27 | 32 | 0.0026209 | 0.00065686 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3038-2_0_3_load_28 | 33 | 0.0024349 | 0.00061024 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3038-2_0_3_load_29 | 34 | 0.0022582 | 0.00056596 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3038-2_0_3_load_30 | 35 | 0.0066944 | 0.0016778 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3038-2_0_3_load_58 | 38 | 0.0034181 | 0.00085665 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3038-2_0_3_load_33 | 39 | 0.00056067 | 0.00014052 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3038-2_0_3_load_34 | 40 | 0.00065907 | 0.00016518 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3038-2_0_3_load_35 | 41 | 0.00075725 | 0.00018978 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3038-2_0_3_load_39 | 42 | 0.0052129 | 0.0013065 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3038-2_0_3_load_36 | 43 | 0.0010132 | 0.00025394 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3038-2_0_3_load_40 | 44 | 0.00066033 | 0.00016549 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3038-2_0_3_load_85 | 47 | 0.0031397 | 0.00078688 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3038-2_0_3_load_44 | 48 | 0.00047999 | 0.0001203 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3038-2_0_3_load_41 | 49 | 0.001531 | 0.00038371 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3038-2_0_3_load_42 | 50 | 0.0003274 | 8.2053e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3038-2_0_3_load_43 | 51 | 0.001391 | 0.00034861 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3038-2_0_3_load_46 | 52 | 0.0040783 | 0.0010221 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3038-2_0_3_load_47 | 53 | 0.0030395 | 0.00076177 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3038-2_0_3_load_49 | 54 | 0.0018236 | 0.00045703 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3038-2_0_3_load_50 | 55 | 0.0018146 | 0.00045477 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3038-2_0_3_load_51 | 56 | 0.0016081 | 0.00040303 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3038-2_0_3_load_52 | 57 | 0.0015956 | 0.00039989 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3038-2_0_3_load_53 | 58 | 0.0017908 | 0.00044883 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3038-2_0_3_load_54 | 59 | 0.0021429 | 0.00053706 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3038-2_0_3_load_63 | 60 | 0.0042068 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3038-2_0_3_load_62 | 61 | 0.0033955 | 0.000851 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3038-2_0_3_load_59 | 62 | 0.0036085 | 0.00090437 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3038-2_0_3_load_61 | 64 | 0.0035406 | 0.00088735 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3038-2_0_3_load_251 | 65 | 0.0026521 | 0.00066468 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3038-2_0_3_load_64 | 66 | 0.0021482 | 0.0005384 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3038-2_0_3_load_65 | 67 | 0.0018377 | 0.00046058 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3038-2_0_3_load_66 | 68 | 0.0022833 | 0.00057226 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3038-2_0_3_load_67 | 69 | 0.0046727 | 0.0011711 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3038-2_0_3_load_68 | 70 | 0.0017643 | 0.00044217 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3038-2_0_3_load_69 | 71 | 0.0019049 | 0.00047741 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3038-2_0_3_load_70 | 72 | 0.0010866 | 0.00027233 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3038-2_0_3_load_71 | 73 | 0.0030149 | 0.0007556 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3038-2_0_3_load_73 | 74 | 0.0026897 | 0.00067409 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3038-2_0_3_load_74 | 75 | 0.0035587 | 0.00089191 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3038-2_0_3_load_250 | 76 | 0.00086698 | 0.00021728 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3038-2_0_3_load_75 | 77 | 0.0029055 | 0.0007282 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3038-2_0_3_load_77 | 79 | 0.00017427 | 4.3675e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3038-2_0_3_load_80 | 82 | 0.0010493 | 0.00026298 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3038-2_0_3_load_81 | 83 | 0.0014224 | 0.00035649 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3038-2_0_3_load_82 | 84 | 0.0006111 | 0.00015316 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3038-2_0_3_load_83 | 85 | 0.00095079 | 0.00023829 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3038-2_0_3_load_84 | 86 | 0.00042183 | 0.00010572 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3038-2_0_3_load_86 | 87 | 0.0024689 | 0.00061876 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3038-2_0_3_line_0 |  | 0 | 1 | 0.026475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3038-2_0_3_line_1 |  | 0 | 2 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3038-2_0_3_line_2 |  | 1 | 3 | 0.023294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3038-2_0_3_line_3 |  | 2 | 4 | 0.008678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3038-2_0_3_line_4 |  | 2 | 5 | 0.038543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3038-2_0_3_line_5 |  | 4 | 8 | 0.059858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3038-2_0_3_line_6 |  | 5 | 6 | 0.018796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3038-2_0_3_line_7 |  | 6 | 7 | 0.032128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3038-2_0_3_line_8 |  | 7 | 26 | 0.13448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3038-2_0_3_line_9 |  | 8 | 18 | 0.0091991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3038-2_0_3_line_10 |  | 8 | 17 | 0.03698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3038-2_0_3_line_11 |  | 9 | 10 | 0.020796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3038-2_0_3_line_12 |  | 9 | 11 | 0.018303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3038-2_0_3_line_13 |  | 11 | 12 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3038-2_0_3_line_14 |  | 11 | 13 | 0.030979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3038-2_0_3_line_15 |  | 12 | 17 | 0.021593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3038-2_0_3_line_16 |  | 14 | 15 | 0.033392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3038-2_0_3_line_17 |  | 14 | 16 | 0.15796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3038-2_0_3_line_18 |  | 16 | 73 | 0.0096027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3038-2_0_3_line_19 |  | 18 | 19 | 0.036289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3038-2_0_3_line_20 |  | 20 | 21 | 0.025501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3038-2_0_3_line_21 |  | 20 | 22 | 0.080642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3038-2_0_3_line_22 |  | 21 | 23 | 0.025621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3038-2_0_3_line_23 |  | 22 | 24 | 0.027223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3038-2_0_3_line_24 |  | 22 | 25 | 0.017581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3038-2_0_3_line_25 |  | 24 | 60 | 0.011681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3038-2_0_3_line_26 |  | 24 | 61 | 0.015297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_3038-2_0_3_line_27 |  | 25 | 59 | 0.025141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_3038-2_0_3_line_28 |  | 26 | 52 | 0.0043276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3038-2_0_3_line_29 |  | 27 | 28 | 0.019127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3038-2_0_3_line_30 |  | 27 | 29 | 0.0068291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3038-2_0_3_line_31 |  | 27 | 30 | 0.069337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_3038-2_0_3_line_32 |  | 29 | 31 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3038-2_0_3_line_33 |  | 30 | 51 | 0.026865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3038-2_0_3_line_34 |  | 31 | 32 | 0.0063145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3038-2_0_3_line_35 |  | 32 | 33 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_3038-2_0_3_line_36 |  | 33 | 34 | 0.00056864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3038-2_0_3_line_37 |  | 34 | 35 | 0.016297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3038-2_0_3_line_38 |  | 35 | 36 | 0.023052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_3038-2_0_3_line_39 |  | 36 | 37 | 0.033765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_3038-2_0_3_line_40 |  | 37 | 38 | 0.069726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3038-2_0_3_line_41 |  | 38 | 62 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3038-2_0_3_line_42 |  | 39 | 40 | 0.039713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3038-2_0_3_line_43 |  | 39 | 41 | 0.025941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3038-2_0_3_line_44 |  | 40 | 42 | 0.11634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3038-2_0_3_line_45 |  | 41 | 43 | 0.061173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3038-2_0_3_line_46 |  | 42 | 45 | 0.079364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3038-2_0_3_line_47 |  | 43 | 44 | 0.0095717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3038-2_0_3_line_48 |  | 44 | 48 | 0.0053331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3038-2_0_3_line_49 |  | 45 | 46 | 0.012197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3038-2_0_3_line_50 |  | 46 | 47 | 0.03704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3038-2_0_3_line_51 |  | 47 | 87 | 0.009617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3038-2_0_3_line_52 |  | 48 | 50 | 0.0059372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3038-2_0_3_line_53 |  | 49 | 50 | 0.0091077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3038-2_0_3_line_54 |  | 49 | 51 | 0.0040499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3038-2_0_3_line_55 |  | 52 | 53 | 0.084593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3038-2_0_3_line_56 |  | 53 | 54 | 0.0061664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3038-2_0_3_line_57 |  | 54 | 55 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3038-2_0_3_line_58 |  | 55 | 56 | 0.0026413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3038-2_0_3_line_59 |  | 56 | 57 | 0.017484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3038-2_0_3_line_60 |  | 57 | 58 | 0.011069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3038-2_0_3_line_61 |  | 58 | 59 | 0.049913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_3038-2_0_3_line_62 |  | 60 | 66 | 0.024726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3038-2_0_3_line_63 |  | 61 | 65 | 0.18297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3038-2_0_3_line_64 |  | 61 | 64 | 0.019173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3038-2_0_3_line_65 |  | 62 | 63 | 0.017254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3038-2_0_3_line_66 |  | 63 | 64 | 0.032217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3038-2_0_3_line_67 |  | 66 | 67 | 0.016677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3038-2_0_3_line_68 |  | 67 | 68 | 0.0090375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3038-2_0_3_line_69 |  | 68 | 69 | 0.0050719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3038-2_0_3_line_70 |  | 69 | 70 | 0.028513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3038-2_0_3_line_71 |  | 70 | 71 | 0.0024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3038-2_0_3_line_72 |  | 71 | 72 | 0.029485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3038-2_0_3_line_73 |  | 72 | 73 | 0.017973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3038-2_0_3_line_74 |  | 74 | 75 | 0.084239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3038-2_0_3_line_75 |  | 74 | 76 | 0.1128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3038-2_0_3_line_76 |  | 75 | 77 | 0.030122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3038-2_0_3_line_77 |  | 77 | 78 | 0.054561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3038-2_0_3_line_78 |  | 78 | 79 | 0.061232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3038-2_0_3_line_79 |  | 79 | 80 | 0.058651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3038-2_0_3_line_80 |  | 80 | 81 | 0.056074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3038-2_0_3_line_81 |  | 81 | 82 | 0.099409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3038-2_0_3_line_82 |  | 82 | 83 | 0.031366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3038-2_0_3_line_83 |  | 83 | 84 | 0.03485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3038-2_0_3_line_84 |  | 84 | 85 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3038-2_0_3_line_85 |  | 85 | 86 | 0.13154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3038-2_0_3_line_86 |  | 86 | 87 | 0.08037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3038-2_0_3_trafo_52 | 0.63 MVA 20/0.4 kV | 88 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2760087.2574 | 1259078.4448 | 2760069.0199 | 1259076.7386 | 2760061.4978 | 1259079.8959
1 | 2760035.4686 | 1259087.0865 | 2760057.8427 | 1259081.4301 | 2760061.4978 | 1259079.8959
2 | 2760087.2574 | 1259078.4448 | 2760081.85 | 1259085.9396 | 2760076.0951 | 1259091.7789 | 2760071.3194 | 1259095.1643
3 | 2760027.1826 | 1259089.7429 | 2760035.4686 | 1259087.0865
4 | 2760035.4686 | 1259087.0865 | 2760030.8865 | 1259048.8169
5 | 2760027.1826 | 1259089.7429 | 2759982.6298 | 1259101.3616 | 2759968.7382 | 1259102.9545
6 | 2760028.6521 | 1259030.1544 | 2760030.8865 | 1259048.8169
7 | 2760028.6521 | 1259030.1544 | 2760021.6712 | 1259018.8651 | 2760017.5814 | 1259000.4589
8 | 2759893.3083 | 1258949.0794 | 2760017.5814 | 1259000.4589
9 | 2759968.7382 | 1259102.9545 | 2759959.6511 | 1259101.5235
10 | 2759968.7382 | 1259102.9545 | 2759951.9931 | 1259135.9255
11 | 2759964.744 | 1259170.572 | 2759959.4143 | 1259174.3652 | 2759953.992 | 1259181.3036 | 2759950.7677 | 1259185.6962
12 | 2759960.6987 | 1259153.1001 | 2759963.631 | 1259158.1847 | 2759964.744 | 1259170.572
13 | 2759960.6987 | 1259153.1001 | 2759950.3678 | 1259154.9562
14 | 2759960.6987 | 1259153.1001 | 2759982.5878 | 1259135.2511 | 2759984.5022 | 1259133.2975
15 | 2759951.9931 | 1259135.9255 | 2759948.6611 | 1259142.4861 | 2759946.193 | 1259148.9594 | 2759950.3678 | 1259154.9562
16 | 2759746.1897 | 1259240.7079 | 2759755.0699 | 1259240.2029 | 2759770.8504 | 1259240.9852 | 2759777.1286 | 1259247.0041
17 | 2759786.5628 | 1259087.9957 | 2759746.1897 | 1259240.7079
18 | 2759786.5628 | 1259087.9957 | 2759777.6023 | 1259084.543
19 | 2759926.5369 | 1259087.0342 | 2759955.7747 | 1259100.9131 | 2759959.6511 | 1259101.5235
20 | 2759742.232 | 1259028.6044 | 2759744.8293 | 1259022.3681 | 2759747.5458 | 1259020.0946 | 2759751.7087 | 1259018.4497 | 2759754.3699 | 1259018.2213 | 2759759.9149 | 1259020.1396 | 2759762.071 | 1259020.5131
21 | 2759666.2526 | 1259003.4838 | 2759673.3836 | 1259008.9597 | 2759682.9644 | 1259013.6563 | 2759700.4152 | 1259019.3664 | 2759727.1484 | 1259025.7388 | 2759742.232 | 1259028.6044
22 | 2759787.5289 | 1259022.9435 | 2759771.9347 | 1259022.2218 | 2759762.071 | 1259020.5131
23 | 2759648.1227 | 1259023.7602 | 2759652.4719 | 1259019.9625 | 2759666.2526 | 1259003.4838
24 | 2759666.2526 | 1259003.4838 | 2759670.931 | 1258999.2279 | 2759675.4112 | 1258997.002 | 2759679.2564 | 1258996.2272 | 2759681.5736 | 1258996.4834
25 | 2759648.1227 | 1259023.7602 | 2759651.2669 | 1259030.2294 | 2759654.3855 | 1259033.4576
26 | 2759648.1227 | 1259023.7602 | 2759645.8083 | 1259024.8322 | 2759642.6897 | 1259025.2374 | 2759639.102 | 1259025.1405 | 2759633.2639 | 1259023.7044
27 | 2759706.6482 | 1258997.7365 | 2759696.0028 | 1258997.8584 | 2759686.3105 | 1258997.0072 | 2759681.5736 | 1258996.4834
28 | 2759893.3083 | 1258949.0794 | 2759890.2388 | 1258952.1299
29 | 2759773.214 | 1258926.394 | 2759792.0287 | 1258922.9535
30 | 2759773.214 | 1258926.394 | 2759769.6792 | 1258927.0403 | 2759766.5163 | 1258927.7227
31 | 2759766.5391 | 1258857.3786 | 2759773.214 | 1258926.394
32 | 2759745.0709 | 1258932.3493 | 2759766.5163 | 1258927.7227
33 | 2759742.3275 | 1258845.8293 | 2759752.3264 | 1258850.137 | 2759761.7222 | 1258854.4284 | 2759766.5391 | 1258857.3786
34 | 2759745.0709 | 1258932.3493 | 2759738.8983 | 1258933.6809
35 | 2759715.7586 | 1258938.673 | 2759738.8983 | 1258933.6809
36 | 2759715.7586 | 1258938.673 | 2759715.2027 | 1258938.793
37 | 2759715.2027 | 1258938.793 | 2759711.9939 | 1258939.4852 | 2759704.793 | 1258939.9469 | 2759699.1061 | 1258938.8146
38 | 2759689.6451 | 1258918.505 | 2759691.1245 | 1258925.7301 | 2759693.5641 | 1258932.3139 | 2759695.7513 | 1258935.9544 | 2759699.1061 | 1258938.8146 | 2759699.1061 | 1258938.8146
39 | 2759657.3601 | 1258928.0439 | 2759664.3375 | 1258924.4061 | 2759689.6451 | 1258918.505
40 | 2759657.3601 | 1258928.0439 | 2759654.679 | 1258926.2141 | 2759652.2557 | 1258925.1699 | 2759648.2701 | 1258924.1613 | 2759644.3843 | 1258923.3668 | 2759640.6763 | 1258924.3678 | 2759637.8365 | 1258926.7381 | 2759634.2665 | 1258931.8471 | 2759625.0333 | 1258947.2362 | 2759618.807 | 1258959.9369 | 2759613.5763 | 1258968.3419
41 | 2759613.5763 | 1258968.3419 | 2759611.6317 | 1258971.4665 | 2759609.1073 | 1258974.1678 | 2759606.6049 | 1258976.0579 | 2759601.7616 | 1258979.998 | 2759601.2992 | 1258980.4341
42 | 2759761.7018 | 1258754.4023 | 2759798.9893 | 1258740.7365
43 | 2759761.7018 | 1258754.4023 | 2759761.7018 | 1258754.4023 | 2759752.2977 | 1258759.0644 | 2759747.6645 | 1258761.364 | 2759739.3577 | 1258767.4068
44 | 2759798.9893 | 1258740.7365 | 2759853.1403 | 1258637.7729
45 | 2759739.3577 | 1258767.4068 | 2759735.3842 | 1258770.2973 | 2759725.6016 | 1258781.4337 | 2759723.5034 | 1258786.2265 | 2759721.3945 | 1258792.2536 | 2759719.5088 | 1258799.2321 | 2759718.6608 | 1258808.2852 | 2759719.2604 | 1258815.9649 | 2759720.4451 | 1258821.6369
46 | 2759853.1403 | 1258637.7729 | 2759883.0001 | 1258626.2119 | 2759907.0234 | 1258614.8603 | 2759915.1814 | 1258609.9867 | 2759919.7105 | 1258604.2921 | 2759921.9776 | 1258600.7942
47 | 2759720.4451 | 1258821.6369 | 2759720.8701 | 1258823.6718 | 2759723.7228 | 1258830.6004
48 | 2759723.7228 | 1258830.6004 | 2759723.7228 | 1258830.6004 | 2759726.9589 | 1258834.8395
49 | 2759921.9776 | 1258600.7942 | 2759911.3225 | 1258594.8001
50 | 2759911.3225 | 1258594.8001 | 2759913.2353 | 1258587.3886 | 2759888.0882 | 1258572.186
51 | 2759879.8582 | 1258567.2106 | 2759888.0882 | 1258572.186
52 | 2759726.9589 | 1258834.8395 | 2759728.604 | 1258836.9943 | 2759731.1458 | 1258838.9812
53 | 2759738.752 | 1258843.9274 | 2759734.75 | 1258841.7985 | 2759731.1458 | 1258838.9812
54 | 2759738.752 | 1258843.9274 | 2759742.3275 | 1258845.8293 | 2759742.3275 | 1258845.8293
55 | 2759890.2388 | 1258952.1299 | 2759884.0146 | 1258958.3157 | 2759878.6945 | 1258963.1436 | 2759873.0224 | 1258965.9266 | 2759865.3007 | 1258968.0758 | 2759853.178 | 1258969.7946 | 2759835.1605 | 1258971.6544 | 2759817.1428 | 1258973.5253 | 2759811.3158 | 1258973.6733
56 | 2759811.3158 | 1258973.6733 | 2759805.1513 | 1258973.8299
57 | 2759782.5987 | 1258974.4277 | 2759789.1393 | 1258974.2366 | 2759805.1513 | 1258973.8299
58 | 2759782.5987 | 1258974.4277 | 2759779.9585 | 1258974.5048
59 | 2759762.5742 | 1258976.1548 | 2759773.5132 | 1258974.6931 | 2759779.9585 | 1258974.5048
60 | 2759762.5742 | 1258976.1548 | 2759762.5742 | 1258976.1548 | 2759754.8205 | 1258979.7715 | 2759752.7427 | 1258981.1859
61 | 2759752.7427 | 1258981.1859 | 2759746.1142 | 1258985.6982 | 2759735.6362 | 1258991.8773 | 2759723.4577 | 1258995.6637 | 2759711.3271 | 1258997.6829 | 2759706.6482 | 1258997.7365
62 | 2759654.3855 | 1259033.4576 | 2759657.4453 | 1259036.6249 | 2759664.3521 | 1259040.9045 | 2759675.7335 | 1259045.2901
63 | 2759633.2639 | 1259023.7044 | 2759565.7531 | 1259193.7589
64 | 2759615.956 | 1259015.5478 | 2759624.2073 | 1259020.0224 | 2759632.4481 | 1259023.5038 | 2759633.2639 | 1259023.7044
65 | 2759593.026 | 1258995.1225 | 2759593.9381 | 1258991.51 | 2759595.5177 | 1258987.4818 | 2759597.7368 | 1258983.7934 | 2759601.2992 | 1258980.4341
66 | 2759593.026 | 1258995.1225 | 2759593.2637 | 1258998.3322 | 2759594.4885 | 1259001.3016 | 2759596.5702 | 1259002.9817 | 2759602.9965 | 1259006.9035 | 2759615.0337 | 1259015.0476 | 2759615.956 | 1259015.5478
67 | 2759675.7335 | 1259045.2901 | 2759691.295 | 1259051.2864
68 | 2759699.7281 | 1259054.5359 | 2759691.295 | 1259051.2864
69 | 2759699.7281 | 1259054.5359 | 2759704.4609 | 1259056.3596
70 | 2759704.4609 | 1259056.3596 | 2759731.0666 | 1259066.6115
71 | 2759731.0666 | 1259066.6115 | 2759733.318 | 1259067.479
72 | 2759760.8311 | 1259078.0806 | 2759733.318 | 1259067.479
73 | 2759760.8311 | 1259078.0806 | 2759777.6023 | 1259084.543
74 | 2759472.6907 | 1258790.2514 | 2759470.3177 | 1258787.9236 | 2759460.8449 | 1258778.9257 | 2759447.8324 | 1258765.2389 | 2759444.2977 | 1258754.4992 | 2759441.4719 | 1258741.2428 | 2759438.0528 | 1258720.3403 | 2759437.8743 | 1258717.4224
75 | 2759472.6907 | 1258790.2514 | 2759585.3774 | 1258785.2442
76 | 2759437.8743 | 1258717.4224 | 2759436.6131 | 1258696.7994 | 2759437.1732 | 1258687.356
77 | 2759455.1252 | 1258636.625 | 2759447.6004 | 1258649.9249 | 2759441.6759 | 1258662.6228 | 2759437.7888 | 1258676.9774 | 2759437.1732 | 1258687.356
78 | 2759455.1252 | 1258636.625 | 2759464.7607 | 1258622.2587 | 2759481.5513 | 1258602.4351 | 2759485.6556 | 1258592.0572 | 2759486.5082 | 1258585.3158
79 | 2759470.5706 | 1258531.2993 | 2759471.7717 | 1258534.0344 | 2759479.6418 | 1258543.4562 | 2759484.8014 | 1258552.9717 | 2759486.5931 | 1258563.1749 | 2759487.2761 | 1258579.2432 | 2759486.5082 | 1258585.3158
80 | 2759513.0721 | 1258497.1204 | 2759512.1342 | 1258502.2448 | 2759503.9816 | 1258509.1656 | 2759496.4695 | 1258516.1148 | 2759482.2336 | 1258523.9949 | 2759470.5706 | 1258531.2993
81 | 2759513.0721 | 1258497.1204 | 2759517.5745 | 1258500.2338 | 2759521.1258 | 1258499.7401 | 2759528.5779 | 1258496.4153 | 2759557.9168 | 1258478.9992 | 2759568.6658 | 1258473.7058 | 2759576.3565 | 1258472.4451 | 2759584.6032 | 1258472.6677 | 2759597.7998 | 1258474.7923 | 2759604.3096 | 1258476.2888
82 | 2759604.3096 | 1258476.2888 | 2759634.8779 | 1258483.3158
83 | 2759634.8779 | 1258483.3158 | 2759668.8418 | 1258491.1234
84 | 2759681.1938 | 1258493.9629 | 2759668.8418 | 1258491.1234
85 | 2759681.1938 | 1258493.9629 | 2759805.9607 | 1258535.6128
86 | 2759879.8582 | 1258567.2106 | 2759805.9607 | 1258535.6128

## bus_geodata
| x | y | coords
0 | 2760061.4978 | 1259079.8959
1 | 2760087.2574 | 1259078.4448
2 | 2760035.4686 | 1259087.0865
3 | 2760071.3194 | 1259095.1643
4 | 2760027.1826 | 1259089.7429
5 | 2760030.8865 | 1259048.8169
6 | 2760028.6521 | 1259030.1544
7 | 2760017.5814 | 1259000.4589
8 | 2759968.7382 | 1259102.9545
9 | 2759964.744 | 1259170.572
10 | 2759950.7677 | 1259185.6962
11 | 2759960.6987 | 1259153.1001
12 | 2759950.3678 | 1259154.9562
13 | 2759984.5022 | 1259133.2975
14 | 2759746.1897 | 1259240.7079
15 | 2759777.1286 | 1259247.0041
16 | 2759786.5628 | 1259087.9957
17 | 2759951.9931 | 1259135.9255
18 | 2759959.6511 | 1259101.5235
19 | 2759926.5369 | 1259087.0342
20 | 2759742.232 | 1259028.6044
21 | 2759762.071 | 1259020.5131
22 | 2759666.2526 | 1259003.4838
23 | 2759787.5289 | 1259022.9435
24 | 2759648.1227 | 1259023.7602
25 | 2759681.5736 | 1258996.4834
26 | 2759893.3083 | 1258949.0794
27 | 2759773.214 | 1258926.394
28 | 2759792.0287 | 1258922.9535
29 | 2759766.5163 | 1258927.7227
30 | 2759766.5391 | 1258857.3786
31 | 2759745.0709 | 1258932.3493
32 | 2759738.8983 | 1258933.6809
33 | 2759715.7586 | 1258938.673
34 | 2759715.2027 | 1258938.793
35 | 2759699.1061 | 1258938.8146
36 | 2759689.6451 | 1258918.505
37 | 2759657.3601 | 1258928.0439
38 | 2759613.5763 | 1258968.3419
39 | 2759761.7018 | 1258754.4023
40 | 2759798.9893 | 1258740.7365
41 | 2759739.3577 | 1258767.4068
42 | 2759853.1403 | 1258637.7729
43 | 2759720.4451 | 1258821.6369
44 | 2759723.7228 | 1258830.6004
45 | 2759921.9776 | 1258600.7942
46 | 2759911.3225 | 1258594.8001
47 | 2759888.0882 | 1258572.186
48 | 2759726.9589 | 1258834.8395
49 | 2759738.752 | 1258843.9273
50 | 2759731.1458 | 1258838.9812
51 | 2759742.3275 | 1258845.8293
52 | 2759890.2388 | 1258952.1299
53 | 2759811.3158 | 1258973.6733
54 | 2759805.1513 | 1258973.8299
55 | 2759782.5987 | 1258974.4277
56 | 2759779.9585 | 1258974.5048
57 | 2759762.5742 | 1258976.1548
58 | 2759752.7427 | 1258981.1859
59 | 2759706.6482 | 1258997.7365
60 | 2759654.3855 | 1259033.4576
61 | 2759633.2639 | 1259023.7044
62 | 2759601.2992 | 1258980.4341
63 | 2759593.026 | 1258995.1225
64 | 2759615.956 | 1259015.5478
65 | 2759565.7531 | 1259193.7589
66 | 2759675.7335 | 1259045.2901
67 | 2759691.295 | 1259051.2864
68 | 2759699.7281 | 1259054.5359
69 | 2759704.4609 | 1259056.3596
70 | 2759731.0666 | 1259066.6115
71 | 2759733.318 | 1259067.479
72 | 2759760.8311 | 1259078.0806
73 | 2759777.6023 | 1259084.543
74 | 2759472.6907 | 1258790.2514
75 | 2759437.8743 | 1258717.4224
76 | 2759585.3774 | 1258785.2442
77 | 2759437.1732 | 1258687.356
78 | 2759455.1252 | 1258636.625
79 | 2759486.5082 | 1258585.3158
80 | 2759470.5706 | 1258531.2993
81 | 2759513.0721 | 1258497.1204
82 | 2759604.3096 | 1258476.2888
83 | 2759634.8779 | 1258483.3158
84 | 2759668.8418 | 1258491.1234
85 | 2759681.1938 | 1258493.9629
86 | 2759805.9607 | 1258535.6128
87 | 2759879.8582 | 1258567.2106
88 | 2759666.2526 | 1259003.4838

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1