## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3212-3_1_3_node_57 | 0.4 | n |  | TRUE
1 | bus_LV_3212-3_1_3_node_58 | 0.4 | n |  | TRUE
2 | bus_LV_3212-3_1_3_node_59 | 0.4 | n |  | TRUE
3 | bus_LV_3212-3_1_3_node_60 | 0.4 | n |  | TRUE
4 | bus_LV_3212-3_1_3_node_61 | 0.4 | n |  | TRUE
5 | bus_LV_3212-3_1_3_node_62 | 0.4 | n |  | TRUE
6 | bus_LV_3212-3_1_3_node_66 | 0.4 | n |  | TRUE
7 | bus_LV_3212-3_1_3_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_3212-3_1_3_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_3212-3_1_3_node_76 | 0.4 | n |  | TRUE
10 | bus_LV_3212-3_1_3_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_3212-3_1_3_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_3212-3_1_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3212-3_1_3_node_238 | 0.4 | n |  | TRUE
14 | bus_LV_3212-3_1_3_node_85 | 0.4 | n |  | TRUE
15 | bus_LV_3212-3_1_3_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_3212-3_1_3_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_3212-3_1_3_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_3212-3_1_3_node_71 | 0.4 | n |  | TRUE
19 | bus_LV_3212-3_1_3_node_72 | 0.4 | n |  | TRUE
20 | bus_LV_3212-3_1_3_node_73 | 0.4 | n |  | TRUE
21 | bus_LV_3212-3_1_3_node_74 | 0.4 | n |  | TRUE
22 | bus_LV_3212-3_1_3_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_3212-3_1_3_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_3212-3_1_3_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_3212-3_1_3_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_3212-3_1_3_node_81 | 0.4 | n |  | TRUE
27 | bus_LV_3212-3_1_3_node_82 | 0.4 | n |  | TRUE
28 | bus_LV_3212-3_1_3_node_168 | 0.4 | n |  | TRUE
29 | bus_LV_3212-3_1_3_node_165 | 0.4 | n |  | TRUE
30 | bus_LV_3212-3_1_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_3212-3_1_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_3212-3_1_3_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_3212-3_1_3_node_87 | 0.4 | n |  | TRUE
34 | bus_LV_3212-3_1_3_node_88 | 0.4 | n |  | TRUE
35 | bus_LV_3212-3_1_3_node_157 | 0.4 | n |  | TRUE
36 | bus_LV_3212-3_1_3_node_153 | 0.4 | n |  | TRUE
37 | bus_LV_3212-3_1_3_node_154 | 0.4 | n |  | TRUE
38 | bus_LV_3212-3_1_3_node_156 | 0.4 | n |  | TRUE
39 | bus_LV_3212-3_1_3_node_159 | 0.4 | n |  | TRUE
40 | bus_LV_3212-3_1_3_node_161 | 0.4 | n |  | TRUE
41 | bus_LV_3212-3_1_3_node_158 | 0.4 | n |  | TRUE
42 | bus_LV_3212-3_1_3_node_187 | 0.4 | n |  | TRUE
43 | bus_LV_3212-3_1_3_node_185 | 0.4 | n |  | TRUE
44 | bus_LV_3212-3_1_3_node_160 | 0.4 | n |  | TRUE
45 | bus_LV_3212-3_1_3_node_188 | 0.4 | n |  | TRUE
46 | bus_LV_3212-3_1_3_node_162 | 0.4 | n |  | TRUE
47 | bus_LV_3212-3_1_3_node_181 | 0.4 | n |  | TRUE
48 | bus_LV_3212-3_1_3_node_182 | 0.4 | n |  | TRUE
49 | bus_LV_3212-3_1_3_node_163 | 0.4 | n |  | TRUE
50 | bus_LV_3212-3_1_3_node_164 | 0.4 | n |  | TRUE
51 | bus_LV_3212-3_1_3_node_166 | 0.4 | n |  | TRUE
52 | bus_LV_3212-3_1_3_node_167 | 0.4 | n |  | TRUE
53 | bus_LV_3212-3_1_3_node_190 | 0.4 | n |  | TRUE
54 | bus_LV_3212-3_1_3_node_169 | 0.4 | n |  | TRUE
55 | bus_LV_3212-3_1_3_node_170 | 0.4 | n |  | TRUE
56 | bus_LV_3212-3_1_3_node_171 | 0.4 | n |  | TRUE
57 | bus_LV_3212-3_1_3_node_172 | 0.4 | n |  | TRUE
58 | bus_LV_3212-3_1_3_node_173 | 0.4 | n |  | TRUE
59 | bus_LV_3212-3_1_3_node_174 | 0.4 | n |  | TRUE
60 | bus_LV_3212-3_1_3_node_175 | 0.4 | n |  | TRUE
61 | bus_LV_3212-3_1_3_node_176 | 0.4 | n |  | TRUE
62 | bus_LV_3212-3_1_3_node_177 | 0.4 | n |  | TRUE
63 | bus_LV_3212-3_1_3_node_191 | 0.4 | n |  | TRUE
64 | bus_LV_3212-3_1_3_node_178 | 0.4 | n |  | TRUE
65 | bus_LV_3212-3_1_3_node_179 | 0.4 | n |  | TRUE
66 | bus_LV_3212-3_1_3_node_180 | 0.4 | n |  | TRUE
67 | bus_LV_3212-3_1_3_node_195 | 0.4 | n |  | TRUE
68 | bus_LV_3212-3_1_3_node_183 | 0.4 | n |  | TRUE
69 | bus_LV_3212-3_1_3_node_184 | 0.4 | n |  | TRUE
70 | bus_LV_3212-3_1_3_node_218 | 0.4 | n |  | TRUE
71 | bus_LV_3212-3_1_3_node_189 | 0.4 | n |  | TRUE
72 | bus_LV_3212-3_1_3_node_192 | 0.4 | n |  | TRUE
73 | bus_LV_3212-3_1_3_node_193 | 0.4 | n |  | TRUE
74 | bus_LV_3212-3_1_3_node_194 | 0.4 | n |  | TRUE
75 | bus_LV_3212-3_1_3_node_196 | 0.4 | n |  | TRUE
76 | bus_LV_3212-3_1_3_node_197 | 0.4 | n |  | TRUE
77 | bus_LV_3212-3_1_3_node_198 | 0.4 | n |  | TRUE
78 | bus_LV_3212-3_1_3_node_199 | 0.4 | n |  | TRUE
79 | bus_LV_3212-3_1_3_node_200 | 0.4 | n |  | TRUE
80 | bus_LV_3212-3_1_3_node_201 | 0.4 | n |  | TRUE
81 | bus_LV_3212-3_1_3_node_202 | 0.4 | n |  | TRUE
82 | bus_LV_3212-3_1_3_node_203 | 0.4 | n |  | TRUE
83 | bus_LV_3212-3_1_3_node_204 | 0.4 | n |  | TRUE
84 | bus_LV_3212-3_1_3_node_205 | 0.4 | n |  | TRUE
85 | bus_LV_3212-3_1_3_node_206 | 0.4 | n |  | TRUE
86 | bus_LV_3212-3_1_3_node_207 | 0.4 | n |  | TRUE
87 | bus_LV_3212-3_1_3_node_208 | 0.4 | n |  | TRUE
88 | bus_LV_3212-3_1_3_node_209 | 0.4 | n |  | TRUE
89 | bus_LV_3212-3_1_3_node_210 | 0.4 | n |  | TRUE
90 | bus_LV_3212-3_1_3_node_211 | 0.4 | n |  | TRUE
91 | bus_LV_3212-3_1_3_node_212 | 0.4 | n |  | TRUE
92 | bus_LV_3212-3_1_3_node_213 | 0.4 | n |  | TRUE
93 | bus_LV_3212-3_1_3_node_214 | 0.4 | n |  | TRUE
94 | bus_LV_3212-3_1_3_node_215 | 0.4 | n |  | TRUE
95 | bus_LV_3212-3_1_3_node_216 | 0.4 | n |  | TRUE
96 | bus_LV_3212-3_1_3_node_217 | 0.4 | n |  | TRUE
97 | bus_LV_3212-3_1_3_node_220 | 0.4 | n |  | TRUE
98 | bus_LV_3212-3_1_3_node_219 | 0.4 | n |  | TRUE
99 | bus_LV_3212-3_1_3_node_221 | 0.4 | n |  | TRUE
100 | bus_LV_3212-3_1_3_node_222 | 0.4 | n |  | TRUE
101 | bus_LV_3212-3_1_3_node_223 | 0.4 | n |  | TRUE
102 | bus_LV_3212-3_1_3_node_224 | 0.4 | n |  | TRUE
103 | bus_MV_41_2_node_208 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3212-3_1_3_load_57 | 0 | 0.0027933 | 0.00070008 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3212-3_1_3_load_59 | 2 | 0.002245 | 0.00056264 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3212-3_1_3_load_60 | 3 | 0.0034429 | 0.00086287 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3212-3_1_3_load_63 | 7 | 0.0031761 | 0.00079602 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3212-3_1_3_load_75 | 8 | 0.00069691 | 0.00017466 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3212-3_1_3_load_64 | 10 | 0.0014541 | 0.00036444 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3212-3_1_3_load_65 | 11 | 0.0011098 | 0.00027815 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3212-3_1_3_load_67 | 12 | 0.0088745 | 0.0022241 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3212-3_1_3_load_238 | 13 | 0.0079061 | 0.0019815 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3212-3_1_3_load_85 | 14 | 0.001315 | 0.00032958 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3212-3_1_3_load_68 | 15 | 0.00099637 | 0.00024971 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3212-3_1_3_load_69 | 16 | 0.0010652 | 0.00026695 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3212-3_1_3_load_70 | 17 | 0.0011151 | 0.00027947 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3212-3_1_3_load_71 | 18 | 0.0013409 | 0.00033607 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3212-3_1_3_load_72 | 19 | 0.0039865 | 0.00099911 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3212-3_1_3_load_73 | 20 | 0.0013081 | 0.00032784 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3212-3_1_3_load_78 | 22 | 0.0011734 | 0.00029407 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3212-3_1_3_load_79 | 23 | 0.002898 | 0.00072632 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3212-3_1_3_load_77 | 24 | 0.0021597 | 0.00054126 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3212-3_1_3_load_80 | 25 | 0.0010687 | 0.00026785 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3212-3_1_3_load_82 | 27 | 0.0015416 | 0.00038635 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3212-3_1_3_load_168 | 28 | 0.0010485 | 0.00026277 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3212-3_1_3_load_165 | 29 | 0.0018101 | 0.00045365 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3212-3_1_3_load_83 | 30 | 0.004259 | 0.0010674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3212-3_1_3_load_84 | 31 | 0.0025758 | 0.00064556 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3212-3_1_3_load_87 | 33 | 0.0073531 | 0.0018429 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3212-3_1_3_load_88 | 34 | 0.005076 | 0.0012722 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3212-3_1_3_load_153 | 36 | 0.0035297 | 0.00088462 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3212-3_1_3_load_154 | 37 | 0.0051625 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3212-3_1_3_load_159 | 39 | 0.011513 | 0.0028855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3212-3_1_3_load_161 | 40 | 0.0064452 | 0.0016153 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3212-3_1_3_load_185 | 43 | 0.012469 | 0.003125 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3212-3_1_3_load_188 | 45 | 0.013074 | 0.0032766 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3212-3_1_3_load_181 | 47 | 0.0022736 | 0.00056982 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3212-3_1_3_load_182 | 48 | 0.0025838 | 0.00064755 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3212-3_1_3_load_163 | 49 | 0.0022496 | 0.00056381 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3212-3_1_3_load_164 | 50 | 0.0022697 | 0.00056883 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3212-3_1_3_load_166 | 51 | 0.0014997 | 0.00037587 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3212-3_1_3_load_167 | 52 | 0.0015956 | 0.0003999 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3212-3_1_3_load_190 | 53 | 0.0029734 | 0.00074521 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3212-3_1_3_load_169 | 54 | 0.0037423 | 0.00093791 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3212-3_1_3_load_170 | 55 | 0.0023028 | 0.00057714 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3212-3_1_3_load_171 | 56 | 0.0032153 | 0.00080584 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3212-3_1_3_load_173 | 58 | 0.002631 | 0.00065938 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3212-3_1_3_load_174 | 59 | 0.0024134 | 0.00060486 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3212-3_1_3_load_175 | 60 | 0.0029005 | 0.00072692 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3212-3_1_3_load_176 | 61 | 0.0021787 | 0.00054604 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3212-3_1_3_load_177 | 62 | 0.0031892 | 0.00079929 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3212-3_1_3_load_191 | 63 | 0.0024003 | 0.00060157 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3212-3_1_3_load_178 | 64 | 0.0028054 | 0.0007031 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3212-3_1_3_load_179 | 65 | 0.0054728 | 0.0013716 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3212-3_1_3_load_180 | 66 | 0.0020151 | 0.00050503 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3212-3_1_3_load_195 | 67 | 0.010099 | 0.0025311 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3212-3_1_3_load_183 | 68 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3212-3_1_3_load_184 | 69 | 0.0080937 | 0.0020285 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3212-3_1_3_load_218 | 70 | 6.3624e-05 | 1.5946e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3212-3_1_3_load_189 | 71 | 0.0029318 | 0.00073478 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3212-3_1_3_load_193 | 73 | 0.004751 | 0.0011907 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3212-3_1_3_load_194 | 74 | 0.002553 | 0.00063985 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3212-3_1_3_load_196 | 75 | 0.002096 | 0.00052531 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3212-3_1_3_load_197 | 76 | 0.0035444 | 0.00088831 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3212-3_1_3_load_198 | 77 | 0.0025011 | 0.00062683 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3212-3_1_3_load_199 | 78 | 0.0021653 | 0.00054267 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3212-3_1_3_load_200 | 79 | 0.0023281 | 0.00058347 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3212-3_1_3_load_201 | 80 | 0.0051979 | 0.0013027 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3212-3_1_3_load_202 | 81 | 0.002995 | 0.00075061 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3212-3_1_3_load_203 | 82 | 0.0014961 | 0.00037497 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3212-3_1_3_load_204 | 83 | 0.0023748 | 0.00059518 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3212-3_1_3_load_205 | 84 | 0.0013357 | 0.00033476 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3212-3_1_3_load_206 | 85 | 0.0013304 | 0.00033342 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3212-3_1_3_load_207 | 86 | 0.0030947 | 0.00077561 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3212-3_1_3_load_208 | 87 | 0.0021094 | 0.00052866 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3212-3_1_3_load_209 | 88 | 0.00020296 | 5.0867e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3212-3_1_3_load_210 | 89 | 0.00011112 | 2.785e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3212-3_1_3_load_211 | 90 | 6.2394e-05 | 1.5637e-05 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3212-3_1_3_load_212 | 91 | 0.0011583 | 0.00029029 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3212-3_1_3_load_214 | 93 | 0.00045132 | 0.00011311 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3212-3_1_3_load_216 | 95 | 0.0016155 | 0.00040487 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3212-3_1_3_load_217 | 96 | 0.00028895 | 7.2417e-05 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3212-3_1_3_load_219 | 98 | 7.1202e-05 | 1.7845e-05 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3212-3_1_3_load_223 | 101 | 7.4257e-05 | 1.8611e-05 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3212-3_1_3_load_224 | 102 | 9.6904e-05 | 2.4287e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3212-3_1_3_line_0 |  | 0 | 1 | 0.026346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3212-3_1_3_line_1 |  | 1 | 2 | 0.036729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3212-3_1_3_line_2 |  | 1 | 3 | 0.010384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3212-3_1_3_line_3 |  | 2 | 4 | 0.018121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3212-3_1_3_line_4 |  | 3 | 5 | 0.038552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3212-3_1_3_line_5 |  | 4 | 6 | 0.056308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3212-3_1_3_line_6 |  | 4 | 7 | 0.010906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3212-3_1_3_line_7 |  | 5 | 8 | 0.023285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3212-3_1_3_line_8 |  | 5 | 9 | 0.093914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3212-3_1_3_line_9 |  | 6 | 13 | 0.011044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3212-3_1_3_line_10 |  | 7 | 10 | 0.024619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3212-3_1_3_line_11 |  | 8 | 20 | 0.035946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3212-3_1_3_line_12 |  | 9 | 24 | 0.16348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3212-3_1_3_line_13 |  | 10 | 11 | 0.0078797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3212-3_1_3_line_14 |  | 11 | 12 | 0.019813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3212-3_1_3_line_15 |  | 12 | 14 | 0.0047906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3212-3_1_3_line_16 |  | 15 | 16 | 0.01211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3212-3_1_3_line_17 |  | 15 | 17 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3212-3_1_3_line_18 |  | 16 | 18 | 0.020234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3212-3_1_3_line_19 |  | 17 | 19 | 0.0192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3212-3_1_3_line_20 |  | 18 | 20 | 0.015689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3212-3_1_3_line_21 |  | 19 | 21 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3212-3_1_3_line_22 |  | 21 | 22 | 0.032796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3212-3_1_3_line_23 |  | 21 | 23 | 0.01285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3212-3_1_3_line_24 |  | 22 | 25 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3212-3_1_3_line_25 |  | 23 | 26 | 0.066002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3212-3_1_3_line_26 |  | 25 | 27 | 0.015274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3212-3_1_3_line_27 |  | 26 | 28 | 0.010321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3212-3_1_3_line_28 |  | 26 | 29 | 0.0323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3212-3_1_3_line_29 |  | 27 | 30 | 0.025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3212-3_1_3_line_30 |  | 28 | 54 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3212-3_1_3_line_31 |  | 29 | 49 | 0.022061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3212-3_1_3_line_32 |  | 30 | 31 | 0.010261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3212-3_1_3_line_33 |  | 31 | 32 | 0.019704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3212-3_1_3_line_34 |  | 32 | 33 | 0.034326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3212-3_1_3_line_35 |  | 33 | 34 | 0.014104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3212-3_1_3_line_36 |  | 34 | 35 | 0.025492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3212-3_1_3_line_37 |  | 35 | 40 | 0.027483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3212-3_1_3_line_38 |  | 36 | 37 | 0.011163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3212-3_1_3_line_39 |  | 37 | 38 | 0.0013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3212-3_1_3_line_40 |  | 38 | 39 | 0.030073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3212-3_1_3_line_41 |  | 39 | 44 | 0.015868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3212-3_1_3_line_42 |  | 40 | 46 | 0.020007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3212-3_1_3_line_43 |  | 41 | 42 | 0.2327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3212-3_1_3_line_44 |  | 41 | 43 | 0.098326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3212-3_1_3_line_45 |  | 42 | 70 | 0.13198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3212-3_1_3_line_46 |  | 43 | 44 | 0.011523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3212-3_1_3_line_47 |  | 44 | 45 | 0.026563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3212-3_1_3_line_48 |  | 45 | 71 | 0.0023066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3212-3_1_3_line_49 |  | 46 | 47 | 0.011061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3212-3_1_3_line_50 |  | 46 | 48 | 0.018124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3212-3_1_3_line_51 |  | 48 | 68 | 0.028927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3212-3_1_3_line_52 |  | 49 | 50 | 0.019319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3212-3_1_3_line_53 |  | 50 | 51 | 0.0014373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3212-3_1_3_line_54 |  | 51 | 52 | 0.0092375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3212-3_1_3_line_55 |  | 52 | 53 | 0.00010066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3212-3_1_3_line_56 |  | 53 | 71 | 0.019028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3212-3_1_3_line_57 |  | 54 | 55 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3212-3_1_3_line_58 |  | 55 | 56 | 0.0097223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3212-3_1_3_line_59 |  | 56 | 57 | 0.008061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3212-3_1_3_line_60 |  | 57 | 58 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3212-3_1_3_line_61 |  | 57 | 59 | 0.045718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3212-3_1_3_line_62 |  | 58 | 60 | 0.0082772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3212-3_1_3_line_63 |  | 59 | 61 | 0.021047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3212-3_1_3_line_64 |  | 60 | 62 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3212-3_1_3_line_65 |  | 61 | 63 | 0.030425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3212-3_1_3_line_66 |  | 62 | 64 | 0.010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3212-3_1_3_line_67 |  | 63 | 72 | 0.011429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3212-3_1_3_line_68 |  | 64 | 65 | 0.015824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3212-3_1_3_line_69 |  | 65 | 66 | 0.012486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3212-3_1_3_line_70 |  | 66 | 67 | 0.0058542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3212-3_1_3_line_71 |  | 68 | 69 | 0.0082761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3212-3_1_3_line_72 |  | 70 | 98 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3212-3_1_3_line_73 |  | 72 | 73 | 0.022889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3212-3_1_3_line_74 |  | 72 | 74 | 0.032277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3212-3_1_3_line_75 |  | 73 | 75 | 0.022411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3212-3_1_3_line_76 |  | 75 | 76 | 0.0096612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3212-3_1_3_line_77 |  | 76 | 77 | 0.011299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3212-3_1_3_line_78 |  | 77 | 78 | 0.01942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3212-3_1_3_line_79 |  | 78 | 79 | 0.0026242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3212-3_1_3_line_80 |  | 79 | 80 | 0.022345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3212-3_1_3_line_81 |  | 80 | 81 | 0.0064313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3212-3_1_3_line_82 |  | 81 | 82 | 0.023753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3212-3_1_3_line_83 |  | 82 | 83 | 0.00097449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3212-3_1_3_line_84 |  | 83 | 84 | 0.020638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3212-3_1_3_line_85 |  | 84 | 85 | 0.0060589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3212-3_1_3_line_86 |  | 85 | 86 | 0.017549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3212-3_1_3_line_87 |  | 86 | 87 | 0.0055131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3212-3_1_3_line_88 |  | 88 | 89 | 0.067726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3212-3_1_3_line_89 |  | 88 | 90 | 0.018403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3212-3_1_3_line_90 |  | 89 | 91 | 0.011241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3212-3_1_3_line_91 |  | 90 | 92 | 0.1337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3212-3_1_3_line_92 |  | 91 | 93 | 0.011943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3212-3_1_3_line_93 |  | 92 | 94 | 0.007452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3212-3_1_3_line_94 |  | 93 | 95 | 0.24492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3212-3_1_3_line_95 |  | 94 | 96 | 0.021049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3212-3_1_3_line_96 |  | 96 | 97 | 0.010948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3212-3_1_3_line_97 |  | 97 | 99 | 0.077137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3212-3_1_3_line_98 |  | 97 | 98 | 0.14794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3212-3_1_3_line_99 |  | 99 | 100 | 0.10687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3212-3_1_3_line_100 |  | 99 | 101 | 0.19021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3212-3_1_3_line_101 |  | 100 | 102 | 0.033941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3212-3_1_3_trafo_81 | 0.63 MVA 20/0.4 kV | 103 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2753732.4105 | 1256407.1357 | 2753724.2109 | 1256390.7732 | 2753718.6 | 1256385.0088
1 | 2753732.4105 | 1256407.1357 | 2753722.1383 | 1256409.5492 | 2753699.924 | 1256415.6342 | 2753697.0332 | 1256416.8715
2 | 2753732.4105 | 1256407.1357 | 2753742.5204 | 1256404.7668
3 | 2753680.3744 | 1256424.0018 | 2753697.0332 | 1256416.8715
4 | 2753779.8864 | 1256395.3123 | 2753763.9856 | 1256399.7371 | 2753742.5204 | 1256404.7668
5 | 2753642.0312 | 1256395.6562 | 2753661.8228 | 1256392.7891 | 2753680.3744 | 1256424.0018
6 | 2753680.3744 | 1256424.0018 | 2753670.838 | 1256429.2925
7 | 2753779.8864 | 1256395.3123 | 2753785.5127 | 1256417.9076
8 | 2753872.6366 | 1256380.3291 | 2753862.5712 | 1256380.59 | 2753847.3548 | 1256381.9071 | 2753830.1686 | 1256384.1072 | 2753779.8864 | 1256395.3123
9 | 2753642.0312 | 1256395.6562 | 2753638.7541 | 1256406.2039
10 | 2753670.838 | 1256429.2925 | 2753652.7589 | 1256439.3226 | 2753649.5332 | 1256441.5928
11 | 2753778.4537 | 1256450.0284 | 2753784.056 | 1256445.3594 | 2753787.3506 | 1256439.0832 | 2753788.415 | 1256433.2606 | 2753787.2176 | 1256424.7543 | 2753785.5127 | 1256417.9076
12 | 2753872.6366 | 1256380.3291 | 2753884.4642 | 1256388.6114 | 2753899.4369 | 1256396.6642 | 2753913.0494 | 1256402.4682 | 2753941.7622 | 1256407.3529 | 2753943.2501 | 1256412.2297 | 2753928.8857 | 1256415.8933 | 2753904.5239 | 1256422.7224 | 2753886.2762 | 1256423.9605 | 2753871.9905 | 1256424.601 | 2753862.0674 | 1256428.6805
13 | 2753643.0894 | 1256446.128 | 2753649.5332 | 1256441.5928
14 | 2753627.0899 | 1256457.7916 | 2753629.6695 | 1256455.573 | 2753643.0894 | 1256446.128
15 | 2753627.0899 | 1256457.7916 | 2753623.4578 | 1256460.9154
16 | 2753743.9858 | 1256459.7733 | 2753733.9374 | 1256461.9078 | 2753732.144 | 1256462.3081
17 | 2753721.6143 | 1256464.6581 | 2753732.144 | 1256462.3081
18 | 2753743.9858 | 1256459.7733 | 2753747.466 | 1256459.034 | 2753762.2293 | 1256455.6918 | 2753763.6892 | 1256455.2049
19 | 2753721.6143 | 1256464.6581 | 2753713.2706 | 1256466.5203 | 2753703.3843 | 1256470.484
20 | 2753763.6892 | 1256455.2049 | 2753777.9474 | 1256450.4503 | 2753778.4537 | 1256450.0284
21 | 2753692.8607 | 1256480.7047 | 2753702.6412 | 1256470.782 | 2753703.3843 | 1256470.484
22 | 2753692.8607 | 1256480.7047 | 2753683.2995 | 1256482.4805 | 2753677.0319 | 1256486.1437 | 2753666.352 | 1256497.8028
23 | 2753692.8607 | 1256480.7047 | 2753686.5282 | 1256487.1579 | 2753684.4679 | 1256490.3609
24 | 2753666.352 | 1256497.8028 | 2753650.5814 | 1256515.0194 | 2753648.7715 | 1256516.7327
25 | 2753673.1083 | 1256552.6527 | 2753669.7962 | 1256538.9864 | 2753669.1571 | 1256532.5078 | 2753669.7214 | 1256526.472 | 2753671.1447 | 1256518.4454 | 2753675.7253 | 1256505.6515 | 2753681.0397 | 1256495.6906 | 2753684.4679 | 1256490.3609
26 | 2753636.063 | 1256524.63 | 2753643.2168 | 1256521.9908 | 2753648.7715 | 1256516.7327
27 | 2753673.1083 | 1256552.6527 | 2753682.8197 | 1256549.1568 | 2753682.8197 | 1256549.1568
28 | 2753673.1083 | 1256552.6527 | 2753657.1586 | 1256561.5921 | 2753644.9599 | 1256568.4946
29 | 2753636.063 | 1256524.63 | 2753636.063 | 1256524.63 | 2753628.1454 | 1256522.0999 | 2753615.6354 | 1256512.4879 | 2753614.9203 | 1256511.9108
30 | 2753682.8197 | 1256549.1568 | 2753693.3749 | 1256549.1975 | 2753703.5456 | 1256549.5952
31 | 2753626.6305 | 1256580.7324 | 2753639.7747 | 1256571.4286 | 2753644.9599 | 1256568.4946
32 | 2753614.9203 | 1256511.9108 | 2753606.9351 | 1256505.4668
33 | 2753591.8655 | 1256492.7738 | 2753602.9899 | 1256502.283 | 2753606.9351 | 1256505.4668
34 | 2753591.8655 | 1256492.7738 | 2753570.1473 | 1256519.3554
35 | 2753560.9661 | 1256530.047 | 2753563.6305 | 1256527.3315 | 2753570.1473 | 1256519.3554
36 | 2753542.4607 | 1256547.5583 | 2753552.8183 | 1256538.351 | 2753560.9661 | 1256530.047
37 | 2753542.4607 | 1256547.5583 | 2753534.5457 | 1256521.2395
38 | 2753530.1256 | 1256600.8548 | 2753530.2409 | 1256600.8946 | 2753532.8489 | 1256602.1635 | 2753534.2706 | 1256602.9122 | 2753538.8693 | 1256606.2681 | 2753539.5095 | 1256606.814
39 | 2753540.5376 | 1256607.6906 | 2753539.5095 | 1256606.814
40 | 2753540.5376 | 1256607.6906 | 2753545.0998 | 1256611.5795 | 2753562.8565 | 1256627.842
41 | 2753574.5586 | 1256638.5593 | 2753562.8565 | 1256627.842
42 | 2753528.7838 | 1256502.0805 | 2753534.5457 | 1256521.2395
43 | 2753528.5802 | 1256734.3514 | 2753528.0433 | 1256746.0269 | 2753525.6227 | 1256757.8871 | 2753522.3096 | 1256768.0892 | 2753518.0843 | 1256777.0997 | 2753512.247 | 1256785.1342 | 2753501.0005 | 1256799.2455 | 2753632.528 | 1256890.804
44 | 2753528.5802 | 1256734.3514 | 2753529.4057 | 1256720.5702 | 2753530.4041 | 1256709.1402 | 2753532.1116 | 1256697.7175 | 2753536.5829 | 1256688.2462 | 2753543.1518 | 1256679.063 | 2753562.074 | 1256655.0075 | 2753567.5918 | 1256647.7379
45 | 2753632.528 | 1256890.804 | 2753674.8171 | 1256919.608 | 2753689.8092 | 1256928.0278 | 2753741.1132 | 1256950.7714 | 2753747.8973 | 1256953.9602
46 | 2753574.5586 | 1256638.5593 | 2753567.5918 | 1256647.7379
47 | 2753574.5586 | 1256638.5593 | 2753590.2114 | 1256619.246 | 2753591.3263 | 1256617.9592
48 | 2753591.3263 | 1256617.9592 | 2753592.8367 | 1256616.2159
49 | 2753528.7838 | 1256502.0805 | 2753518.949 | 1256507.142
50 | 2753528.7838 | 1256502.0805 | 2753544.6246 | 1256493.2737
51 | 2753544.6246 | 1256493.2737 | 2753569.9066 | 1256479.218
52 | 2753626.6305 | 1256580.7324 | 2753622.5715 | 1256583.6055 | 2753612.5773 | 1256593.8969
53 | 2753612.5773 | 1256593.8969 | 2753611.576 | 1256594.928
54 | 2753605.3624 | 1256601.7584 | 2753608.8335 | 1256597.7521 | 2753611.576 | 1256594.928
55 | 2753605.3624 | 1256601.7584 | 2753605.2965 | 1256601.8345
56 | 2753605.2965 | 1256601.8345 | 2753592.8367 | 1256616.2159
57 | 2753703.5456 | 1256549.5952 | 2753711.1795 | 1256549.8937 | 2753722.5594 | 1256550.7386
58 | 2753732.2729 | 1256550.9971 | 2753725.6993 | 1256550.9717 | 2753722.5594 | 1256550.7386
59 | 2753740.1055 | 1256552.3583 | 2753736.2545 | 1256551.0125 | 2753732.2729 | 1256550.9971
60 | 2753740.1055 | 1256552.3583 | 2753749.2155 | 1256548.7801 | 2753750.5689 | 1256548.2841
61 | 2753740.1055 | 1256552.3583 | 2753738.0158 | 1256559.0218 | 2753736.3324 | 1256566.0184 | 2753732.0119 | 1256570.5441 | 2753724.2766 | 1256573.4906 | 2753708.5044 | 1256579.6651 | 2753708.4455 | 1256579.6952
62 | 2753758.3406 | 1256545.4358 | 2753750.5689 | 1256548.2841
63 | 2753689.7625 | 1256589.3688 | 2753690.3962 | 1256588.9154 | 2753708.4455 | 1256579.6952
64 | 2753758.3406 | 1256545.4358 | 2753766.5011 | 1256542.4449 | 2753767.8724 | 1256542.0263
65 | 2753689.7625 | 1256589.3688 | 2753680.3012 | 1256596.1384 | 2753676.5996 | 1256599.7904 | 2753674.9671 | 1256604.8308 | 2753674.866 | 1256608.721 | 2753675.5074 | 1256613.0753
66 | 2753767.8724 | 1256542.0263 | 2753777.5753 | 1256539.0645
67 | 2753684.2861 | 1256619.9211 | 2753681.3582 | 1256618.7662 | 2753678.1174 | 1256616.591 | 2753675.5074 | 1256613.0753 | 2753675.5074 | 1256613.0753
68 | 2753777.5753 | 1256539.0645 | 2753792.7097 | 1256534.4446
69 | 2753804.6515 | 1256530.7993 | 2753792.7097 | 1256534.4446
70 | 2753810.2507 | 1256529.0901 | 2753804.6515 | 1256530.7993
71 | 2753577.14 | 1256475.1966 | 2753569.9066 | 1256479.218
72 | 2753747.8973 | 1256953.9602 | 2753763.0926 | 1256961.1026
73 | 2753684.2861 | 1256619.9211 | 2753685.8171 | 1256620.5281 | 2753691.5255 | 1256620.3761 | 2753698.9045 | 1256619.5224 | 2753706.8992 | 1256618.199
74 | 2753684.2861 | 1256619.9211 | 2753694.5155 | 1256650.5339
75 | 2753706.8992 | 1256618.199 | 2753716.8494 | 1256616.5519 | 2753728.9514 | 1256614.2185
76 | 2753738.3862 | 1256612.1737 | 2753736.0129 | 1256612.8569 | 2753728.9514 | 1256614.2185
77 | 2753738.3862 | 1256612.1737 | 2753749.2441 | 1256609.0478
78 | 2753767.9028 | 1256603.6631 | 2753767.4792 | 1256603.7983 | 2753749.2441 | 1256609.0478
79 | 2753767.9028 | 1256603.6631 | 2753770.4027 | 1256602.865
80 | 2753791.6667 | 1256596.0031 | 2753790.0313 | 1256596.599 | 2753770.4027 | 1256602.865
81 | 2753791.6667 | 1256596.0031 | 2753797.7094 | 1256593.8014
82 | 2753797.7094 | 1256593.8014 | 2753820.0269 | 1256585.6697
83 | 2753820.9425 | 1256585.336 | 2753820.0269 | 1256585.6697
84 | 2753820.9425 | 1256585.336 | 2753836.4156 | 1256579.6982 | 2753840.3438 | 1256578.3
85 | 2753840.3438 | 1256578.3 | 2753846.0519 | 1256576.2684
86 | 2753862.5846 | 1256570.384 | 2753846.0519 | 1256576.2684
87 | 2753867.7786 | 1256568.5353 | 2753862.5846 | 1256570.384
88 | 2753928.8872 | 1256846.364 | 2753925.9224 | 1256845.2344 | 2753899.6764 | 1256839.8689 | 2753865.7636 | 1256824.6723 | 2753865.2513 | 1256824.9886
89 | 2753928.8872 | 1256846.364 | 2753935.7918 | 1256848.9947 | 2753945.3289 | 1256854.5037
90 | 2753865.2513 | 1256824.9886 | 2753855.6873 | 1256830.8945
91 | 2753939.1511 | 1256985.7633 | 2753951.7707 | 1256877.1828 | 2753951.9912 | 1256868.7134 | 2753949.8514 | 1256861.0612 | 2753945.3289 | 1256854.5037 | 2753945.3289 | 1256854.5037
92 | 2753846.1032 | 1256825.2791 | 2753846.8286 | 1256824.5357 | 2753855.6873 | 1256830.8945 | 2753855.6873 | 1256830.8945
93 | 2753939.1511 | 1256985.7633 | 2753932.5345 | 1256989.2281
94 | 2753664.9 | 1256688.5309 | 2753668.9844 | 1256692.2184 | 2753688.2061 | 1256706.3091 | 2753703.5578 | 1256713.982 | 2753717.9096 | 1256723.5419 | 2753731.4449 | 1256734.6155 | 2753740.0205 | 1256751.8776 | 2753750.2336 | 1256765.3563 | 2753763.6222 | 1256782.3543 | 2753776.8047 | 1256799.7362 | 2753799.2849 | 1256821.3862 | 2753816.4649 | 1256825.47 | 2753837.3558 | 1256834.2437 | 2753846.1032 | 1256825.2791
95 | 2753932.5345 | 1256989.2281 | 2753912.3015 | 1256995.0305
96 | 2753901.7778 | 1256998.0485 | 2753912.3015 | 1256995.0305
97 | 2753850.2799 | 1257055.601 | 2753901.7778 | 1256998.0485
98 | 2753901.7778 | 1256998.0485 | 2753880.1972 | 1257002.4697 | 2753863.1486 | 1257002.6379 | 2753843.9106 | 1256999.09 | 2753763.0926 | 1256961.1026
99 | 2753745.7529 | 1257051.8041 | 2753774.3876 | 1257044.1957 | 2753785.0743 | 1257042.9164 | 2753799.6618 | 1257044.8306 | 2753834.8513 | 1257054.9883 | 2753850.2799 | 1257055.601
100 | 2753850.2799 | 1257055.601 | 2753848.1859 | 1257060.685 | 2753853.4244 | 1257068.4288 | 2753863.9688 | 1257086.8324 | 2753868.7933 | 1257101.2055 | 2753871.5385 | 1257118.0715 | 2753874.9899 | 1257133.0206 | 2753879.0886 | 1257140.7793 | 2753887.8348 | 1257150.572 | 2753897.6806 | 1257160.4378 | 2753901.1278 | 1257166.2666 | 2753902.7141 | 1257171.413 | 2753902.5676 | 1257179.3616 | 2753899.1897 | 1257206.5343 | 2753898.4722 | 1257229.7492
101 | 2753745.7529 | 1257051.8041 | 2753740.1928 | 1257060.4906 | 2753736.0924 | 1257070.4941 | 2753729.7093 | 1257081.6078

## bus_geodata
| x | y | coords
0 | 2753718.6 | 1256385.0088
1 | 2753732.4105 | 1256407.1357
2 | 2753697.0332 | 1256416.8715
3 | 2753742.5204 | 1256404.7668
4 | 2753680.3744 | 1256424.0018
5 | 2753779.8864 | 1256395.3123
6 | 2753642.0312 | 1256395.6562
7 | 2753670.838 | 1256429.2925
8 | 2753785.5127 | 1256417.9076
9 | 2753872.6366 | 1256380.3291
10 | 2753649.5332 | 1256441.5928
11 | 2753643.0894 | 1256446.128
12 | 2753627.0899 | 1256457.7916
13 | 2753638.7541 | 1256406.2039
14 | 2753623.4578 | 1256460.9154
15 | 2753732.144 | 1256462.3081
16 | 2753743.9858 | 1256459.7733
17 | 2753721.6143 | 1256464.6581
18 | 2753763.6892 | 1256455.205
19 | 2753703.3843 | 1256470.484
20 | 2753778.4537 | 1256450.0284
21 | 2753692.8607 | 1256480.7047
22 | 2753666.352 | 1256497.8028
23 | 2753684.4679 | 1256490.3609
24 | 2753862.0674 | 1256428.6805
25 | 2753648.7715 | 1256516.7327
26 | 2753673.1083 | 1256552.6527
27 | 2753636.063 | 1256524.63
28 | 2753682.8197 | 1256549.1568
29 | 2753644.9599 | 1256568.4946
30 | 2753614.9203 | 1256511.9108
31 | 2753606.9351 | 1256505.4668
32 | 2753591.8655 | 1256492.7738
33 | 2753570.1473 | 1256519.3554
34 | 2753560.9661 | 1256530.047
35 | 2753542.4607 | 1256547.5583
36 | 2753530.1256 | 1256600.8548
37 | 2753539.5095 | 1256606.814
38 | 2753540.5376 | 1256607.6906
39 | 2753562.8565 | 1256627.842
40 | 2753534.5457 | 1256521.2395
41 | 2753528.5802 | 1256734.3514
42 | 2753632.528 | 1256890.804
43 | 2753567.5918 | 1256647.7379
44 | 2753574.5586 | 1256638.5593
45 | 2753591.3263 | 1256617.9592
46 | 2753528.7838 | 1256502.0805
47 | 2753518.949 | 1256507.142
48 | 2753544.6246 | 1256493.2737
49 | 2753626.6305 | 1256580.7324
50 | 2753612.5773 | 1256593.8969
51 | 2753611.576 | 1256594.928
52 | 2753605.3624 | 1256601.7584
53 | 2753605.2965 | 1256601.8345
54 | 2753703.5456 | 1256549.5952
55 | 2753722.5594 | 1256550.7386
56 | 2753732.2729 | 1256550.9971
57 | 2753740.1055 | 1256552.3583
58 | 2753750.5689 | 1256548.2841
59 | 2753708.4455 | 1256579.6952
60 | 2753758.3406 | 1256545.4358
61 | 2753689.7625 | 1256589.3688
62 | 2753767.8724 | 1256542.0263
63 | 2753675.5074 | 1256613.0753
64 | 2753777.5753 | 1256539.0645
65 | 2753792.7097 | 1256534.4446
66 | 2753804.6515 | 1256530.7993
67 | 2753810.2507 | 1256529.0901
68 | 2753569.9066 | 1256479.218
69 | 2753577.14 | 1256475.1966
70 | 2753747.8973 | 1256953.9602
71 | 2753592.8367 | 1256616.2159
72 | 2753684.2861 | 1256619.9211
73 | 2753706.8992 | 1256618.199
74 | 2753694.5155 | 1256650.5339
75 | 2753728.9514 | 1256614.2185
76 | 2753738.3862 | 1256612.1737
77 | 2753749.2441 | 1256609.0478
78 | 2753767.9028 | 1256603.6631
79 | 2753770.4027 | 1256602.865
80 | 2753791.6667 | 1256596.0031
81 | 2753797.7094 | 1256593.8014
82 | 2753820.0269 | 1256585.6697
83 | 2753820.9425 | 1256585.336
84 | 2753840.3438 | 1256578.3001
85 | 2753846.0519 | 1256576.2684
86 | 2753862.5846 | 1256570.384
87 | 2753867.7786 | 1256568.5353
88 | 2753928.8872 | 1256846.364
89 | 2753865.2513 | 1256824.9886
90 | 2753945.3289 | 1256854.5037
91 | 2753855.6873 | 1256830.8945
92 | 2753939.1511 | 1256985.7633
93 | 2753846.1032 | 1256825.2791
94 | 2753932.5345 | 1256989.2281
95 | 2753664.9 | 1256688.5309
96 | 2753912.3015 | 1256995.0305
97 | 2753901.7778 | 1256998.0485
98 | 2753763.0926 | 1256961.1026
99 | 2753850.2799 | 1257055.601
100 | 2753745.7529 | 1257051.8041
101 | 2753898.4722 | 1257229.7492
102 | 2753729.7093 | 1257081.6078
103 | 2753740.1055 | 1256552.3583

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1