## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3212-4_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3212-4_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3212-4_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3212-4_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3212-4_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3212-4_0_5_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3212-4_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3212-4_0_5_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_3212-4_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3212-4_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3212-4_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3212-4_0_5_node_29 | 0.4 | n |  | TRUE
12 | bus_LV_3212-4_0_5_node_51 | 0.4 | n |  | TRUE
13 | bus_LV_3212-4_0_5_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_3212-4_0_5_node_59 | 0.4 | n |  | TRUE
15 | bus_LV_3212-4_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3212-4_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3212-4_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3212-4_0_5_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3212-4_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_3212-4_0_5_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_3212-4_0_5_node_185 | 0.4 | n |  | TRUE
22 | bus_LV_3212-4_0_5_node_186 | 0.4 | n |  | TRUE
23 | bus_LV_3212-4_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_3212-4_0_5_node_152 | 0.4 | n |  | TRUE
25 | bus_LV_3212-4_0_5_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_3212-4_0_5_node_88 | 0.4 | n |  | TRUE
27 | bus_LV_3212-4_0_5_node_89 | 0.4 | n |  | TRUE
28 | bus_LV_3212-4_0_5_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3212-4_0_5_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_3212-4_0_5_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_3212-4_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3212-4_0_5_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_3212-4_0_5_node_41 | 0.4 | n |  | TRUE
34 | bus_LV_3212-4_0_5_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3212-4_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3212-4_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_3212-4_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3212-4_0_5_node_187 | 0.4 | n |  | TRUE
39 | bus_LV_3212-4_0_5_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_3212-4_0_5_node_151 | 0.4 | n |  | TRUE
41 | bus_LV_3212-4_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_3212-4_0_5_node_147 | 0.4 | n |  | TRUE
43 | bus_LV_3212-4_0_5_node_143 | 0.4 | n |  | TRUE
44 | bus_LV_3212-4_0_5_node_145 | 0.4 | n |  | TRUE
45 | bus_LV_3212-4_0_5_node_141 | 0.4 | n |  | TRUE
46 | bus_LV_3212-4_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3212-4_0_5_node_67 | 0.4 | n |  | TRUE
48 | bus_LV_3212-4_0_5_node_68 | 0.4 | n |  | TRUE
49 | bus_LV_3212-4_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3212-4_0_5_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3212-4_0_5_node_35 | 0.4 | n |  | TRUE
52 | bus_LV_3212-4_0_5_node_36 | 0.4 | n |  | TRUE
53 | bus_LV_3212-4_0_5_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3212-4_0_5_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3212-4_0_5_node_39 | 0.4 | n |  | TRUE
56 | bus_LV_3212-4_0_5_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3212-4_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3212-4_0_5_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3212-4_0_5_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3212-4_0_5_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3212-4_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_3212-4_0_5_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_3212-4_0_5_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_3212-4_0_5_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_3212-4_0_5_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_3212-4_0_5_node_53 | 0.4 | n |  | TRUE
67 | bus_LV_3212-4_0_5_node_153 | 0.4 | n |  | TRUE
68 | bus_LV_3212-4_0_5_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_3212-4_0_5_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_3212-4_0_5_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_3212-4_0_5_node_112 | 0.4 | n |  | TRUE
72 | bus_LV_3212-4_0_5_node_188 | 0.4 | n |  | TRUE
73 | bus_LV_3212-4_0_5_node_57 | 0.4 | n |  | TRUE
74 | bus_LV_3212-4_0_5_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_3212-4_0_5_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_3212-4_0_5_node_154 | 0.4 | n |  | TRUE
77 | bus_LV_3212-4_0_5_node_110 | 0.4 | n |  | TRUE
78 | bus_LV_3212-4_0_5_node_119 | 0.4 | n |  | TRUE
79 | bus_LV_3212-4_0_5_node_120 | 0.4 | n |  | TRUE
80 | bus_LV_3212-4_0_5_node_121 | 0.4 | n |  | TRUE
81 | bus_LV_3212-4_0_5_node_118 | 0.4 | n |  | TRUE
82 | bus_LV_3212-4_0_5_node_56 | 0.4 | n |  | TRUE
83 | bus_LV_3212-4_0_5_node_58 | 0.4 | n |  | TRUE
84 | bus_LV_3212-4_0_5_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_3212-4_0_5_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_3212-4_0_5_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_3212-4_0_5_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_3212-4_0_5_node_64 | 0.4 | n |  | TRUE
89 | bus_LV_3212-4_0_5_node_65 | 0.4 | n |  | TRUE
90 | bus_LV_3212-4_0_5_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_3212-4_0_5_node_130 | 0.4 | n |  | TRUE
92 | bus_LV_3212-4_0_5_node_131 | 0.4 | n |  | TRUE
93 | bus_LV_3212-4_0_5_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_3212-4_0_5_node_144 | 0.4 | n |  | TRUE
95 | bus_LV_3212-4_0_5_node_90 | 0.4 | n |  | TRUE
96 | bus_LV_3212-4_0_5_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_3212-4_0_5_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_3212-4_0_5_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_3212-4_0_5_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_3212-4_0_5_node_97 | 0.4 | n |  | TRUE
101 | bus_LV_3212-4_0_5_node_98 | 0.4 | n |  | TRUE
102 | bus_LV_3212-4_0_5_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_3212-4_0_5_node_100 | 0.4 | n |  | TRUE
104 | bus_LV_3212-4_0_5_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_3212-4_0_5_node_102 | 0.4 | n |  | TRUE
106 | bus_LV_3212-4_0_5_node_103 | 0.4 | n |  | TRUE
107 | bus_LV_3212-4_0_5_node_104 | 0.4 | n |  | TRUE
108 | bus_LV_3212-4_0_5_node_148 | 0.4 | n |  | TRUE
109 | bus_LV_3212-4_0_5_node_149 | 0.4 | n |  | TRUE
110 | bus_LV_3212-4_0_5_node_150 | 0.4 | n |  | TRUE
111 | bus_LV_3212-4_0_5_node_105 | 0.4 | n |  | TRUE
112 | bus_LV_3212-4_0_5_node_106 | 0.4 | n |  | TRUE
113 | bus_LV_3212-4_0_5_node_107 | 0.4 | n |  | TRUE
114 | bus_LV_3212-4_0_5_node_108 | 0.4 | n |  | TRUE
115 | bus_LV_3212-4_0_5_node_109 | 0.4 | n |  | TRUE
116 | bus_LV_3212-4_0_5_node_111 | 0.4 | n |  | TRUE
117 | bus_LV_3212-4_0_5_node_113 | 0.4 | n |  | TRUE
118 | bus_LV_3212-4_0_5_node_114 | 0.4 | n |  | TRUE
119 | bus_LV_3212-4_0_5_node_115 | 0.4 | n |  | TRUE
120 | bus_LV_3212-4_0_5_node_116 | 0.4 | n |  | TRUE
121 | bus_LV_3212-4_0_5_node_117 | 0.4 | n |  | TRUE
122 | bus_LV_3212-4_0_5_node_167 | 0.4 | n |  | TRUE
123 | bus_LV_3212-4_0_5_node_165 | 0.4 | n |  | TRUE
124 | bus_LV_3212-4_0_5_node_124 | 0.4 | n |  | TRUE
125 | bus_LV_3212-4_0_5_node_125 | 0.4 | n |  | TRUE
126 | bus_LV_3212-4_0_5_node_127 | 0.4 | n |  | TRUE
127 | bus_LV_3212-4_0_5_node_128 | 0.4 | n |  | TRUE
128 | bus_LV_3212-4_0_5_node_129 | 0.4 | n |  | TRUE
129 | bus_LV_3212-4_0_5_node_132 | 0.4 | n |  | TRUE
130 | bus_LV_3212-4_0_5_node_133 | 0.4 | n |  | TRUE
131 | bus_LV_3212-4_0_5_node_134 | 0.4 | n |  | TRUE
132 | bus_LV_3212-4_0_5_node_135 | 0.4 | n |  | TRUE
133 | bus_LV_3212-4_0_5_node_136 | 0.4 | n |  | TRUE
134 | bus_LV_3212-4_0_5_node_137 | 0.4 | n |  | TRUE
135 | bus_LV_3212-4_0_5_node_138 | 0.4 | n |  | TRUE
136 | bus_LV_3212-4_0_5_node_139 | 0.4 | n |  | TRUE
137 | bus_LV_3212-4_0_5_node_146 | 0.4 | n |  | TRUE
138 | bus_LV_3212-4_0_5_node_140 | 0.4 | n |  | TRUE
139 | bus_LV_3212-4_0_5_node_142 | 0.4 | n |  | TRUE
140 | bus_LV_3212-4_0_5_node_155 | 0.4 | n |  | TRUE
141 | bus_LV_3212-4_0_5_node_156 | 0.4 | n |  | TRUE
142 | bus_LV_3212-4_0_5_node_157 | 0.4 | n |  | TRUE
143 | bus_LV_3212-4_0_5_node_158 | 0.4 | n |  | TRUE
144 | bus_LV_3212-4_0_5_node_159 | 0.4 | n |  | TRUE
145 | bus_LV_3212-4_0_5_node_160 | 0.4 | n |  | TRUE
146 | bus_LV_3212-4_0_5_node_161 | 0.4 | n |  | TRUE
147 | bus_LV_3212-4_0_5_node_169 | 0.4 | n |  | TRUE
148 | bus_LV_3212-4_0_5_node_162 | 0.4 | n |  | TRUE
149 | bus_LV_3212-4_0_5_node_166 | 0.4 | n |  | TRUE
150 | bus_LV_3212-4_0_5_node_163 | 0.4 | n |  | TRUE
151 | bus_LV_3212-4_0_5_node_164 | 0.4 | n |  | TRUE
152 | bus_LV_3212-4_0_5_node_168 | 0.4 | n |  | TRUE
153 | bus_LV_3212-4_0_5_node_192 | 0.4 | n |  | TRUE
154 | bus_MV_41_2_node_81 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3212-4_0_5_load_0 | 0 | 0.0020529 | 0.00051451 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3212-4_0_5_load_1 | 1 | 0.0018683 | 0.00046823 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3212-4_0_5_load_4 | 4 | 0.0018431 | 0.00046192 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3212-4_0_5_load_24 | 5 | 0.0022831 | 0.00057221 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3212-4_0_5_load_5 | 6 | 0.01094 | 0.0027419 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3212-4_0_5_load_25 | 7 | 0.002271 | 0.00056917 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3212-4_0_5_load_7 | 9 | 0.0013506 | 0.00033849 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3212-4_0_5_load_8 | 10 | 0.0027882 | 0.00069879 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3212-4_0_5_load_29 | 11 | 0.0027539 | 0.00069018 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3212-4_0_5_load_30 | 13 | 0.0016979 | 0.00042553 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3212-4_0_5_load_59 | 14 | 0.0034973 | 0.0008765 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3212-4_0_5_load_9 | 15 | 0.012086 | 0.003029 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3212-4_0_5_load_10 | 16 | 0.002599 | 0.00065138 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3212-4_0_5_load_20 | 18 | 0.0022533 | 0.00056474 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3212-4_0_5_load_23 | 20 | 0.0037448 | 0.00093854 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3212-4_0_5_load_185 | 21 | 0.0062717 | 0.0015718 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3212-4_0_5_load_186 | 22 | 0.0052964 | 0.0013274 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3212-4_0_5_load_152 | 24 | 0.0049943 | 0.0012517 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3212-4_0_5_load_70 | 25 | 0.0060524 | 0.0015169 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3212-4_0_5_load_88 | 26 | 0.0013152 | 0.00032962 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3212-4_0_5_load_89 | 27 | 0.0016027 | 0.00040168 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3212-4_0_5_load_15 | 28 | 0.011334 | 0.0028405 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3212-4_0_5_load_16 | 29 | 0.0018114 | 0.00045398 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3212-4_0_5_load_18 | 31 | 0.0018233 | 0.00045695 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3212-4_0_5_load_41 | 33 | 0.0018658 | 0.00046761 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3212-4_0_5_load_28 | 34 | 0.0017262 | 0.00043263 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3212-4_0_5_load_27 | 35 | 0.01145 | 0.0028697 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3212-4_0_5_load_40 | 36 | 0.0019438 | 0.00048715 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3212-4_0_5_load_31 | 37 | 0.0014687 | 0.00036808 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3212-4_0_5_load_187 | 38 | 0.0085862 | 0.0021519 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3212-4_0_5_load_92 | 39 | 0.0044893 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3212-4_0_5_load_151 | 40 | 0.003905 | 0.00097868 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3212-4_0_5_load_147 | 42 | 0.0015517 | 0.00038889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3212-4_0_5_load_145 | 44 | 0.0032474 | 0.00081388 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3212-4_0_5_load_141 | 45 | 0.0039708 | 0.00099519 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3212-4_0_5_load_32 | 46 | 0.0054615 | 0.0013688 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3212-4_0_5_load_67 | 47 | 0.0030397 | 0.00076183 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3212-4_0_5_load_68 | 48 | 0.0032277 | 0.00080893 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3212-4_0_5_load_33 | 49 | 0.0015974 | 0.00040035 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3212-4_0_5_load_34 | 50 | 0.0014873 | 0.00037275 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3212-4_0_5_load_35 | 51 | 0.0037566 | 0.0009415 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3212-4_0_5_load_36 | 52 | 0.0014341 | 0.00035942 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3212-4_0_5_load_38 | 54 | 0.00145 | 0.00036341 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3212-4_0_5_load_43 | 56 | 0.0031031 | 0.0007777 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3212-4_0_5_load_46 | 57 | 0.0053408 | 0.0013385 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3212-4_0_5_load_42 | 59 | 0.0023423 | 0.00058704 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3212-4_0_5_load_44 | 60 | 0.0027292 | 0.00068401 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3212-4_0_5_load_47 | 61 | 0.0028585 | 0.0007164 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3212-4_0_5_load_48 | 62 | 0.0027517 | 0.00068963 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3212-4_0_5_load_49 | 63 | 0.0053827 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3212-4_0_5_load_153 | 67 | 0.0077856 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3212-4_0_5_load_71 | 69 | 0.0069719 | 0.0017473 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3212-4_0_5_load_188 | 72 | 0.0069238 | 0.0017353 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3212-4_0_5_load_57 | 73 | 0.0014663 | 0.0003675 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3212-4_0_5_load_154 | 76 | 0.034041 | 0.0085315 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3212-4_0_5_load_110 | 77 | 0.0018747 | 0.00046984 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3212-4_0_5_load_120 | 79 | 0.0021399 | 0.0005363 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3212-4_0_5_load_121 | 80 | 0.0043452 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3212-4_0_5_load_118 | 81 | 0.0021678 | 0.0005433 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3212-4_0_5_load_56 | 82 | 0.0064558 | 0.001618 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3212-4_0_5_load_58 | 83 | 0.0020388 | 0.00051098 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3212-4_0_5_load_60 | 84 | 0.0054344 | 0.001362 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3212-4_0_5_load_61 | 85 | 0.0023542 | 0.00059001 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3212-4_0_5_load_62 | 86 | 0.0050707 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3212-4_0_5_load_64 | 88 | 0.0052336 | 0.0013117 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3212-4_0_5_load_65 | 89 | 0.0023766 | 0.00059563 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3212-4_0_5_load_66 | 90 | 0.0042065 | 0.0010542 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3212-4_0_5_load_130 | 91 | 0.001671 | 0.00041879 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3212-4_0_5_load_69 | 93 | 0.0040748 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3212-4_0_5_load_90 | 95 | 0.0042143 | 0.0010562 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3212-4_0_5_load_93 | 96 | 0.0020242 | 0.0005073 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3212-4_0_5_load_95 | 98 | 0.0020391 | 0.00051104 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3212-4_0_5_load_96 | 99 | 0.0025004 | 0.00062667 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3212-4_0_5_load_97 | 100 | 0.0019695 | 0.00049361 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3212-4_0_5_load_98 | 101 | 0.0018774 | 0.00047051 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3212-4_0_5_load_99 | 102 | 0.001779 | 0.00044585 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3212-4_0_5_load_100 | 103 | 0.0025925 | 0.00064974 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3212-4_0_5_load_101 | 104 | 0.0015481 | 0.00038799 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3212-4_0_5_load_102 | 105 | 0.0016698 | 0.00041848 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3212-4_0_5_load_103 | 106 | 0.0012584 | 0.00031539 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3212-4_0_5_load_104 | 107 | 0.0014137 | 0.00035432 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3212-4_0_5_load_149 | 109 | 0.0017863 | 0.00044769 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3212-4_0_5_load_150 | 110 | 0.001044 | 0.00026166 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3212-4_0_5_load_105 | 111 | 0.0019012 | 0.0004765 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3212-4_0_5_load_106 | 112 | 0.001878 | 0.00047068 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3212-4_0_5_load_107 | 113 | 0.0018052 | 0.00045243 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3212-4_0_5_load_109 | 115 | 0.0018274 | 0.000458 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3212-4_0_5_load_111 | 116 | 0.0016337 | 0.00040945 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3212-4_0_5_load_113 | 117 | 0.0019669 | 0.00049296 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3212-4_0_5_load_114 | 118 | 0.0020394 | 0.00051112 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3212-4_0_5_load_115 | 119 | 0.0023077 | 0.00057837 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3212-4_0_5_load_116 | 120 | 0.0020121 | 0.00050427 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3212-4_0_5_load_117 | 121 | 0.0020864 | 0.0005229 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3212-4_0_5_load_167 | 122 | 0.0036206 | 0.00090742 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3212-4_0_5_load_165 | 123 | 0.004965 | 0.0012443 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3212-4_0_5_load_124 | 124 | 0.0018812 | 0.00047147 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3212-4_0_5_load_125 | 125 | 0.0026278 | 0.00065858 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3212-4_0_5_load_127 | 126 | 0.0033285 | 0.00083419 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3212-4_0_5_load_128 | 127 | 0.0032428 | 0.00081272 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3212-4_0_5_load_129 | 128 | 0.0034451 | 0.00086342 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3212-4_0_5_load_132 | 129 | 0.0022369 | 0.00056062 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_3212-4_0_5_load_133 | 130 | 0.0034928 | 0.00087537 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_3212-4_0_5_load_134 | 131 | 0.0026573 | 0.00066599 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_3212-4_0_5_load_135 | 132 | 0.0030446 | 0.00076305 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_3212-4_0_5_load_136 | 133 | 0.0038397 | 0.00096233 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_3212-4_0_5_load_137 | 134 | 0.0042208 | 0.0010578 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_3212-4_0_5_load_138 | 135 | 0.0020853 | 0.00052263 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_3212-4_0_5_load_139 | 136 | 0.002703 | 0.00067744 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_3212-4_0_5_load_146 | 137 | 0.0066663 | 0.0016707 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_3212-4_0_5_load_140 | 138 | 0.0031457 | 0.0007884 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_3212-4_0_5_load_142 | 139 | 0.0038705 | 0.00097004 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_3212-4_0_5_load_155 | 140 | 0.0013487 | 0.00033803 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_3212-4_0_5_load_156 | 141 | 0.0014232 | 0.00035669 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_3212-4_0_5_load_158 | 143 | 0.0024699 | 0.00061901 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_3212-4_0_5_load_159 | 144 | 0.0015065 | 0.00037756 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_3212-4_0_5_load_160 | 145 | 0.0010204 | 0.00025574 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_3212-4_0_5_load_161 | 146 | 0.00067881 | 0.00017013 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_3212-4_0_5_load_163 | 150 | 0.00078905 | 0.00019776 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_3212-4_0_5_load_164 | 151 | 0.001959 | 0.00049098 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_3212-4_0_5_load_192 | 153 | 0.0015653 | 0.00039231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 60 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3212-4_0_5_line_0 |  | 0 | 1 | 0.032788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_3212-4_0_5_line_1 |  | 0 | 2 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_3212-4_0_5_line_2 |  | 1 | 3 | 0.0028893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_3212-4_0_5_line_3 |  | 2 | 4 | 0.029964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_3212-4_0_5_line_4 |  | 3 | 5 | 0.047293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_3212-4_0_5_line_5 |  | 4 | 6 | 0.02612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_3212-4_0_5_line_6 |  | 5 | 7 | 0.016968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_3212-4_0_5_line_7 |  | 6 | 8 | 0.016915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_3212-4_0_5_line_8 |  | 7 | 41 | 0.035346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3212-4_0_5_line_9 |  | 8 | 9 | 0.019357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3212-4_0_5_line_10 |  | 8 | 10 | 0.031929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_3212-4_0_5_line_11 |  | 9 | 11 | 0.028479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3212-4_0_5_line_12 |  | 10 | 12 | 0.037144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_3212-4_0_5_line_13 |  | 11 | 13 | 0.0054522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3212-4_0_5_line_14 |  | 12 | 14 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_3212-4_0_5_line_15 |  | 13 | 47 | 0.026075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3212-4_0_5_line_16 |  | 14 | 73 | 0.021008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_3212-4_0_5_line_17 |  | 15 | 16 | 0.037259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3212-4_0_5_line_18 |  | 16 | 17 | 0.044914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3212-4_0_5_line_19 |  | 17 | 18 | 0.015365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3212-4_0_5_line_20 |  | 17 | 19 | 0.023758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3212-4_0_5_line_21 |  | 18 | 20 | 0.024316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3212-4_0_5_line_22 |  | 19 | 21 | 0.041153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3212-4_0_5_line_23 |  | 19 | 22 | 0.014481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3212-4_0_5_line_24 |  | 19 | 23 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3212-4_0_5_line_25 |  | 19 | 24 | 0.01416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3212-4_0_5_line_26 |  | 21 | 38 | 0.028299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3212-4_0_5_line_27 |  | 22 | 39 | 0.026577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3212-4_0_5_line_28 |  | 23 | 25 | 0.021948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3212-4_0_5_line_29 |  | 24 | 40 | 0.037448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3212-4_0_5_line_30 |  | 26 | 27 | 0.01861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3212-4_0_5_line_31 |  | 27 | 95 | 0.024102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3212-4_0_5_line_32 |  | 28 | 29 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3212-4_0_5_line_33 |  | 28 | 30 | 0.013411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3212-4_0_5_line_34 |  | 29 | 31 | 0.013185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3212-4_0_5_line_35 |  | 30 | 32 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3212-4_0_5_line_36 |  | 31 | 33 | 0.019822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3212-4_0_5_line_37 |  | 32 | 34 | 0.01193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3212-4_0_5_line_38 |  | 32 | 35 | 0.0032643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3212-4_0_5_line_39 |  | 33 | 36 | 0.013248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3212-4_0_5_line_40 |  | 34 | 37 | 0.0075117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3212-4_0_5_line_41 |  | 37 | 46 | 3.8102e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3212-4_0_5_line_42 |  | 39 | 95 | 0.024739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3212-4_0_5_line_43 |  | 40 | 110 | 0.024754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3212-4_0_5_line_44 |  | 41 | 42 | 0.043875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3212-4_0_5_line_45 |  | 41 | 43 | 0.043351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3212-4_0_5_line_46 |  | 43 | 44 | 0.0039561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3212-4_0_5_line_47 |  | 43 | 45 | 0.022296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3212-4_0_5_line_48 |  | 44 | 138 | 0.0097685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3212-4_0_5_line_49 |  | 45 | 139 | 0.011023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3212-4_0_5_line_50 |  | 46 | 49 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3212-4_0_5_line_51 |  | 47 | 48 | 0.011479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3212-4_0_5_line_52 |  | 48 | 93 | 0.024187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3212-4_0_5_line_53 |  | 49 | 50 | 0.0073676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3212-4_0_5_line_54 |  | 50 | 51 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3212-4_0_5_line_55 |  | 51 | 52 | 0.00012376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3212-4_0_5_line_56 |  | 52 | 53 | 0.014051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3212-4_0_5_line_57 |  | 53 | 54 | 0.009787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3212-4_0_5_line_58 |  | 53 | 55 | 0.005234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3212-4_0_5_line_59 |  | 55 | 56 | 0.016119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3212-4_0_5_line_60 |  | 56 | 59 | 0.0060601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3212-4_0_5_line_61 |  | 57 | 58 | 0.0015369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3212-4_0_5_line_62 |  | 58 | 61 | 0.013864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3212-4_0_5_line_63 |  | 58 | 60 | 0.015209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3212-4_0_5_line_64 |  | 59 | 60 | 0.005934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3212-4_0_5_line_65 |  | 61 | 62 | 0.012898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_3212-4_0_5_line_66 |  | 62 | 63 | 0.0032887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3212-4_0_5_line_67 |  | 63 | 64 | 0.031454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_3212-4_0_5_line_68 |  | 64 | 65 | 0.060343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_3212-4_0_5_line_69 |  | 65 | 66 | 0.056747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_3212-4_0_5_line_70 |  | 65 | 67 | 0.0072848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_3212-4_0_5_line_71 |  | 66 | 68 | 0.004326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3212-4_0_5_line_72 |  | 66 | 69 | 0.01733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3212-4_0_5_line_73 |  | 67 | 76 | 0.032595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3212-4_0_5_line_74 |  | 68 | 71 | 0.030634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_3212-4_0_5_line_75 |  | 70 | 71 | 0.01174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3212-4_0_5_line_76 |  | 70 | 72 | 0.0086159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3212-4_0_5_line_77 |  | 71 | 77 | 0.017803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_3212-4_0_5_line_78 |  | 73 | 82 | 0.02291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_3212-4_0_5_line_79 |  | 74 | 75 | 0.03697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_3212-4_0_5_line_80 |  | 74 | 76 | 0.041133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_3212-4_0_5_line_81 |  | 75 | 88 | 0.060457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_3212-4_0_5_line_82 |  | 77 | 114 | 0.015176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_3212-4_0_5_line_83 |  | 78 | 79 | 0.024758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_3212-4_0_5_line_84 |  | 78 | 80 | 0.0058516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3212-4_0_5_line_85 |  | 78 | 81 | 0.027316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_3212-4_0_5_line_86 |  | 79 | 116 | 0.0015476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_3212-4_0_5_line_87 |  | 80 | 122 | 0.042831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3212-4_0_5_line_88 |  | 81 | 120 | 0.016584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_3212-4_0_5_line_89 |  | 82 | 83 | 0.0037748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_3212-4_0_5_line_90 |  | 83 | 84 | 0.021062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_3212-4_0_5_line_91 |  | 84 | 85 | 0.0025335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_3212-4_0_5_line_92 |  | 85 | 86 | 0.029805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_3212-4_0_5_line_93 |  | 86 | 87 | 0.013992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_3212-4_0_5_line_94 |  | 87 | 88 | 0.035096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_3212-4_0_5_line_95 |  | 87 | 89 | 0.015076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3212-4_0_5_line_96 |  | 87 | 90 | 0.029685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3212-4_0_5_line_97 |  | 91 | 92 | 0.024017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3212-4_0_5_line_98 |  | 92 | 130 | 0.0097178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3212-4_0_5_line_99 |  | 92 | 94 | 0.034044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3212-4_0_5_line_100 |  | 93 | 94 | 0.0036055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3212-4_0_5_line_101 |  | 96 | 97 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3212-4_0_5_line_102 |  | 97 | 98 | 0.014476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3212-4_0_5_line_103 |  | 98 | 99 | 0.0047258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3212-4_0_5_line_104 |  | 99 | 100 | 0.012844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3212-4_0_5_line_105 |  | 100 | 101 | 0.014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3212-4_0_5_line_106 |  | 101 | 102 | 0.013701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3212-4_0_5_line_107 |  | 102 | 103 | 0.0075977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3212-4_0_5_line_108 |  | 103 | 104 | 0.021406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3212-4_0_5_line_109 |  | 104 | 105 | 0.0040788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3212-4_0_5_line_110 |  | 105 | 106 | 0.019263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3212-4_0_5_line_111 |  | 106 | 107 | 0.026397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3212-4_0_5_line_112 |  | 107 | 108 | 0.0037849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3212-4_0_5_line_113 |  | 108 | 109 | 0.017327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3212-4_0_5_line_114 |  | 108 | 110 | 0.0056052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3212-4_0_5_line_115 |  | 109 | 121 | 0.0099378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3212-4_0_5_line_116 |  | 111 | 112 | 0.0078236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3212-4_0_5_line_117 |  | 111 | 113 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3212-4_0_5_line_118 |  | 112 | 114 | 0.017105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3212-4_0_5_line_119 |  | 113 | 115 | 0.012351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3212-4_0_5_line_120 |  | 114 | 116 | 0.022862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
121 | LV_3212-4_0_5_line_121 |  | 117 | 118 | 0.0076413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
122 | LV_3212-4_0_5_line_122 |  | 117 | 119 | 0.043951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
123 | LV_3212-4_0_5_line_123 |  | 118 | 120 | 0.0074631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
124 | LV_3212-4_0_5_line_124 |  | 119 | 121 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3212-4_0_5_line_125 |  | 122 | 123 | 0.010219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3212-4_0_5_line_126 |  | 123 | 151 | 0.12181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3212-4_0_5_line_127 |  | 124 | 125 | 0.0075048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_3212-4_0_5_line_128 |  | 125 | 126 | 0.025987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_3212-4_0_5_line_129 |  | 126 | 127 | 0.0025626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_3212-4_0_5_line_130 |  | 127 | 128 | 0.023541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_3212-4_0_5_line_131 |  | 128 | 129 | 0.0033958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_3212-4_0_5_line_132 |  | 129 | 130 | 0.039682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_3212-4_0_5_line_133 |  | 131 | 132 | 0.015288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_3212-4_0_5_line_134 |  | 131 | 133 | 0.0047717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_3212-4_0_5_line_135 |  | 132 | 134 | 0.0063752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_3212-4_0_5_line_136 |  | 133 | 135 | 0.021743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_3212-4_0_5_line_137 |  | 134 | 136 | 0.012549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_3212-4_0_5_line_138 |  | 135 | 137 | 0.0017052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_3212-4_0_5_line_139 |  | 136 | 138 | 0.015317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_3212-4_0_5_line_140 |  | 140 | 141 | 0.088772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_3212-4_0_5_line_141 |  | 140 | 142 | 0.020818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_3212-4_0_5_line_142 |  | 141 | 143 | 0.0019034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_3212-4_0_5_line_143 |  | 142 | 144 | 0.079048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_3212-4_0_5_line_144 |  | 142 | 145 | 0.0272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_3212-4_0_5_line_145 |  | 143 | 146 | 0.011255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_3212-4_0_5_line_146 |  | 145 | 147 | 0.15387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_3212-4_0_5_line_147 |  | 146 | 148 | 0.0021237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_3212-4_0_5_line_148 |  | 147 | 149 | 0.12382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_3212-4_0_5_line_149 |  | 148 | 150 | 0.012464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_3212-4_0_5_line_150 |  | 149 | 152 | 0.16357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_3212-4_0_5_line_151 |  | 149 | 151 | 0.17311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_3212-4_0_5_line_152 |  | 152 | 153 | 0.073574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3212-4_0_5_trafo_44 | 0.63 MVA 20/0.4 kV | 154 | 60 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2752996.8637 | 1256429.9975 | 2753004.1931 | 1256412.123 | 2753008.9366 | 1256399.5164
1 | 2752978.5252 | 1256463.9559 | 2752983.9622 | 1256455.9217 | 2752996.228 | 1256431.5477 | 2752996.8637 | 1256429.9975
2 | 2753009.9541 | 1256396.8122 | 2753008.9366 | 1256399.5164
3 | 2752978.5252 | 1256463.9559 | 2752991.6767 | 1256473.6053 | 2753002.8928 | 1256481.3893
4 | 2753009.9541 | 1256396.8122 | 2753018.7707 | 1256379.1892 | 2753029.7703 | 1256369.0634 | 2753040.3942 | 1256362.2206
5 | 2753024.8002 | 1256495.6081 | 2753022.507 | 1256494.0667 | 2753006.2424 | 1256483.7139 | 2753002.8928 | 1256481.3893
6 | 2753040.3942 | 1256362.2206 | 2753049.2767 | 1256356.4995 | 2753054.6592 | 1256353.0331
7 | 2753038.8385 | 1256505.0442 | 2753024.8002 | 1256495.6081
8 | 2753084.3761 | 1256333.8955 | 2753054.6592 | 1256353.0331
9 | 2753038.8385 | 1256505.0442 | 2753047.9104 | 1256491.2539 | 2753049.7679 | 1256489.0918
10 | 2753038.8385 | 1256505.0442 | 2753056.501 | 1256512.1078 | 2753068.3601 | 1256517.1996
11 | 2753069.3615 | 1256468.4629 | 2753057.9777 | 1256479.5358 | 2753049.7679 | 1256489.0918
12 | 2753102.2613 | 1256532.3666 | 2753086.0233 | 1256524.7836 | 2753068.3601 | 1256517.1996
13 | 2753073.2697 | 1256464.6614 | 2753069.3615 | 1256468.4629
14 | 2753102.2613 | 1256532.3666 | 2753107.6976 | 1256523.4872 | 2753110.6906 | 1256520.1661
15 | 2753073.2697 | 1256464.6614 | 2753078.9621 | 1256459.1246 | 2753093.454 | 1256448.2239
16 | 2753110.6906 | 1256520.1661 | 2753114.4563 | 1256515.9878 | 2753125.1732 | 1256508.0348 | 2753126.9639 | 1256507.0628
17 | 2752962.833 | 1256622.9295 | 2752977.2827 | 1256627.8313 | 2752998.6551 | 1256633.0514
18 | 2753042.989 | 1256640.0526 | 2753020.1307 | 1256637.259 | 2753000.3542 | 1256633.4664 | 2752998.6551 | 1256633.0514
19 | 2753042.989 | 1256640.0526 | 2753043.8856 | 1256624.7139
20 | 2753042.989 | 1256640.0526 | 2753062.1088 | 1256640.6474 | 2753061.8006 | 1256645.2663
21 | 2753061.4395 | 1256618.7491 | 2753044.3022 | 1256617.5864 | 2753043.8856 | 1256624.7139
22 | 2753061.8006 | 1256645.2663 | 2753102.9245 | 1256646.807
23 | 2753061.8006 | 1256645.2663 | 2753047.3456 | 1256644.4014
24 | 2753077.3161 | 1256641.3968 | 2753062.1088 | 1256640.6474 | 2753061.8006 | 1256645.2663
25 | 2753061.8006 | 1256645.2663 | 2753060.8677 | 1256659.3952
26 | 2753102.9245 | 1256646.807 | 2753108.846 | 1256647.0288 | 2753131.2 | 1256647.9611
27 | 2753020.9071 | 1256641.8028 | 2753037.8885 | 1256643.8356 | 2753047.3456 | 1256644.4014
28 | 2753077.3161 | 1256641.3968 | 2753099.2454 | 1256642.3042
29 | 2753060.8677 | 1256659.3952 | 2753059.0585 | 1256686.7923 | 2753059.2353 | 1256696.7823
30 | 2752955.389 | 1256626.2384 | 2752955.83 | 1256626.409 | 2752973.2046 | 1256631.6126
31 | 2752996.5423 | 1256637.5572 | 2752984.2823 | 1256634.9303 | 2752973.2046 | 1256631.6126
32 | 2753044.2345 | 1256560.0355 | 2753033.279 | 1256559.5214
33 | 2753032.1184 | 1256572.8825 | 2753033.279 | 1256559.5214
34 | 2753057.4053 | 1256560.6536 | 2753044.2345 | 1256560.0355
35 | 2753032.1184 | 1256572.8825 | 2753031.3064 | 1256586.1859
36 | 2753077.2015 | 1256561.6479 | 2753072.9052 | 1256561.3809 | 2753057.4053 | 1256560.6536
37 | 2753031.3064 | 1256586.1859 | 2753043.2331 | 1256586.4701
38 | 2753031.3064 | 1256586.1859 | 2753031.1415 | 1256589.446
39 | 2753090.4239 | 1256562.4697 | 2753077.2015 | 1256561.6479
40 | 2753043.2331 | 1256586.4701 | 2753050.7427 | 1256586.649
41 | 2753050.7808 | 1256586.6499 | 2753050.7427 | 1256586.649
42 | 2752996.5423 | 1256637.5572 | 2753002.5241 | 1256638.8389 | 2753019.873 | 1256641.679 | 2753020.9071 | 1256641.8028
43 | 2753059.2353 | 1256696.7823 | 2753059.5089 | 1256712.2515 | 2753068.5632 | 1256714.2987
44 | 2753084.3761 | 1256333.8955 | 2753066.8133 | 1256318.5817 | 2753058.7089 | 1256312.7553 | 2753049.0575 | 1256308.3904
45 | 2753121.6968 | 1256350.5437 | 2753116.9989 | 1256351.8791 | 2753114.3849 | 1256351.7113 | 2753111.567 | 1256351.5494 | 2753106.345 | 1256350.1018 | 2753099.282 | 1256347.4833 | 2753091.5884 | 1256340.3661 | 2753084.3761 | 1256333.8955
46 | 2753121.6968 | 1256350.5437 | 2753125.2077 | 1256348.7204
47 | 2753121.6968 | 1256350.5437 | 2753123.8446 | 1256355.6043 | 2753126.3284 | 1256361.0962 | 2753130.3682 | 1256371.0811
48 | 2753133.877 | 1256344.2184 | 2753125.2077 | 1256348.7204
49 | 2753130.3682 | 1256371.0811 | 2753130.9169 | 1256372.4372 | 2753134.6837 | 1256379.0857 | 2753135.7973 | 1256380.6485
50 | 2753063.0184 | 1256586.9416 | 2753050.7808 | 1256586.6499
51 | 2753102.7033 | 1256441.4276 | 2753099.6321 | 1256443.5769 | 2753093.454 | 1256448.2239
52 | 2753122.3551 | 1256427.3331 | 2753115.878 | 1256432.2078 | 2753102.7033 | 1256441.4276
53 | 2753063.0184 | 1256586.9416 | 2753070.3839 | 1256587.1171
54 | 2753070.3839 | 1256587.1171 | 2753082.3417 | 1256587.402
55 | 2753082.4655 | 1256587.405 | 2753082.3417 | 1256587.402
56 | 2753096.512 | 1256587.7397 | 2753082.4655 | 1256587.405
57 | 2753096.512 | 1256587.7397 | 2753096.9969 | 1256577.9648
58 | 2753101.7605 | 1256587.8644 | 2753096.512 | 1256587.7397
59 | 2753101.7605 | 1256587.8644 | 2753102.4924 | 1256575.3264 | 2753106.0506 | 1256575.438
60 | 2753112.1077 | 1256575.6279 | 2753106.0506 | 1256575.438
61 | 2753120.1667 | 1256588.3409 | 2753118.6303 | 1256588.3011
62 | 2753120.1667 | 1256588.3409 | 2753134.026 | 1256588.6997
63 | 2753120.1667 | 1256588.3409 | 2753120.7905 | 1256575.9002 | 2753118.0388 | 1256575.8139
64 | 2753112.1077 | 1256575.6279 | 2753118.0388 | 1256575.8139
65 | 2753134.026 | 1256588.6997 | 2753146.9201 | 1256589.0336
66 | 2753146.9201 | 1256589.0336 | 2753150.2078 | 1256589.1187
67 | 2753181.6514 | 1256589.9328 | 2753150.2078 | 1256589.1187
68 | 2753181.6514 | 1256589.9328 | 2753186.4347 | 1256596.0738 | 2753192.937 | 1256607.7982 | 2753194.2849 | 1256610.2355 | 2753195.8925 | 1256613.1355 | 2753200.2221 | 1256625.1373 | 2753217.7509 | 1256614.914
69 | 2753180.7134 | 1256645.6752 | 2753180.8828 | 1256641.4643 | 2753184.988 | 1256640.2804 | 2753188.3848 | 1256638.1884 | 2753190.8424 | 1256635.3603 | 2753200.9412 | 1256635.2437 | 2753200.2221 | 1256625.1373 | 2753217.7509 | 1256614.914
70 | 2753217.7509 | 1256614.914 | 2753224.0457 | 1256611.2473
71 | 2753180.7134 | 1256645.6752 | 2753180.5336 | 1256649.9971
72 | 2753180.7134 | 1256645.6752 | 2753163.3986 | 1256644.9588
73 | 2753252.2104 | 1256594.8413 | 2753252.2104 | 1256594.8413 | 2753224.0457 | 1256611.2473
74 | 2753211.2345 | 1256651.2149 | 2753180.5336 | 1256649.9971
75 | 2753211.2345 | 1256651.2149 | 2753223.001 | 1256651.6754
76 | 2753223.001 | 1256651.6754 | 2753231.6102 | 1256652.0157
77 | 2753211.2345 | 1256651.2149 | 2753210.7389 | 1256663.3586 | 2753210.3309 | 1256668.9933
78 | 2753147.516 | 1256496.9868 | 2753137.357 | 1256501.4211 | 2753126.9639 | 1256507.0628
79 | 2753268.1944 | 1256561.8333 | 2753272.304 | 1256568.6353 | 2753280.9628 | 1256581.8727 | 2753287.7646 | 1256591.9366 | 2753288.5214 | 1256592.7236
80 | 2753288.5214 | 1256592.7236 | 2753264.3531 | 1256602.6301 | 2753261.1182 | 1256602.5463 | 2753252.2104 | 1256594.8413
81 | 2753268.1944 | 1256561.8333 | 2753250.8185 | 1256534.4006 | 2753236.1794 | 1256510.5505
82 | 2753209.2351 | 1256684.1293 | 2753210.3309 | 1256668.9933
83 | 2753213.2485 | 1256733.093 | 2753210.3146 | 1256708.5098
84 | 2753213.2485 | 1256733.093 | 2753211.1297 | 1256734.4952 | 2753208.3438 | 1256735.7243 | 2753208.0779 | 1256735.7237
85 | 2753213.2485 | 1256733.093 | 2753209.7573 | 1256732.4243 | 2753188.709 | 1256730.8447 | 2753186.0634 | 1256730.641
86 | 2753210.3146 | 1256708.5098 | 2753210.1312 | 1256706.9731
87 | 2753208.0779 | 1256735.7237 | 2753195.178 | 1256735.6947 | 2753187.194 | 1256738.3575 | 2753180.0735 | 1256744.3904 | 2753175.7527 | 1256753.61 | 2753175.1349 | 1256755.513
88 | 2753169.5284 | 1256729.3674 | 2753186.0634 | 1256730.641
89 | 2753147.516 | 1256496.9868 | 2753150.9756 | 1256495.4767
90 | 2753170.8007 | 1256488.3783 | 2753152.7276 | 1256494.712 | 2753150.9756 | 1256495.4767
91 | 2753170.8007 | 1256488.3783 | 2753172.6172 | 1256487.7418 | 2753173.2117 | 1256487.6114
92 | 2753202.5352 | 1256482.4951 | 2753190.1699 | 1256483.892 | 2753173.2117 | 1256487.6114
93 | 2753216.4822 | 1256481.5371 | 2753208.991 | 1256481.7658 | 2753202.5352 | 1256482.4951
94 | 2753216.4822 | 1256481.5371 | 2753221.8396 | 1256488.5272 | 2753229.4315 | 1256499.5569 | 2753236.1794 | 1256510.5505
95 | 2753216.4822 | 1256481.5371 | 2753209.5379 | 1256468.1562
96 | 2753216.4822 | 1256481.5371 | 2753229.0855 | 1256481.1629 | 2753246.1192 | 1256482.3695
97 | 2753155.0095 | 1256408.6186 | 2753161.1916 | 1256414.362 | 2753171.8425 | 1256423.2464 | 2753173.1517 | 1256424.3438
98 | 2753155.0095 | 1256408.6186 | 2753157.0496 | 1256407.6371 | 2753164.0528 | 1256405.0848
99 | 2753155.0095 | 1256408.6186 | 2753140.7072 | 1256415.4444 | 2753125.2358 | 1256425.165
100 | 2753125.2358 | 1256425.165 | 2753122.3551 | 1256427.3331
101 | 2752933.5552 | 1256683.635 | 2752935.6979 | 1256678.9746 | 2752937.7319 | 1256674.7229 | 2752937.701 | 1256666.5807
102 | 2752933.5552 | 1256683.635 | 2752938.2023 | 1256689.5053 | 2752942.3809 | 1256695.1077
103 | 2752946.5822 | 1256697.2718 | 2752942.3809 | 1256695.1077
104 | 2752946.5822 | 1256697.2718 | 2752949.2463 | 1256698.6442 | 2752958.4375 | 1256702.1772
105 | 2752972.6175 | 1256705.4225 | 2752970.4521 | 1256704.9316 | 2752959.2351 | 1256702.4838 | 2752958.4375 | 1256702.1772
106 | 2752972.6175 | 1256705.4225 | 2752985.9574 | 1256708.4468 | 2752985.9801 | 1256708.4509
107 | 2752993.4563 | 1256709.8041 | 2752985.9801 | 1256708.4509
108 | 2752993.4563 | 1256709.8041 | 2752996.7119 | 1256710.3933 | 2753014.6356 | 1256712.8955
109 | 2753018.6751 | 1256713.4594 | 2753014.6356 | 1256712.8955
110 | 2753018.6751 | 1256713.4594 | 2753037.7527 | 1256716.1226
111 | 2753037.7527 | 1256716.1226 | 2753047.1739 | 1256717.4378 | 2753063.9437 | 1256719.3981
112 | 2753067.703 | 1256719.8376 | 2753063.9437 | 1256719.3981
113 | 2753067.703 | 1256719.8376 | 2753084.8622 | 1256722.2435
114 | 2753067.703 | 1256719.8376 | 2753068.5632 | 1256714.2987 | 2753068.5632 | 1256714.2987
115 | 2753084.8622 | 1256722.2435 | 2753094.7037 | 1256723.6234
116 | 2753184.3231 | 1256683.2286 | 2753192.1416 | 1256683.5113
117 | 2753184.3231 | 1256683.2286 | 2753175.6142 | 1256682.9137 | 2753172.0236 | 1256684.6272
118 | 2753209.2351 | 1256684.1293 | 2753192.1416 | 1256683.5113
119 | 2753160.0254 | 1256686.0825 | 2753168.7613 | 1256686.1842 | 2753172.0236 | 1256684.6272
120 | 2753209.2351 | 1256684.1293 | 2753210.0928 | 1256706.6517 | 2753210.1312 | 1256706.9731
121 | 2753154.4806 | 1256728.062 | 2753162.093 | 1256728.7255
122 | 2753154.4806 | 1256728.062 | 2753149.1275 | 1256727.5953 | 2753124.2236 | 1256727.7625 | 2753110.6833 | 1256725.864
123 | 2753162.093 | 1256728.7255 | 2753168.9119 | 1256729.3199 | 2753169.5284 | 1256729.3674
124 | 2753110.6833 | 1256725.864 | 2753094.7037 | 1256723.6234
125 | 2753171.979 | 1256765.2327 | 2753175.1349 | 1256755.513
126 | 2753080.1174 | 1256827.6092 | 2753084.2925 | 1256826.3504 | 2753130.5901 | 1256808.8524 | 2753148.6872 | 1256805.7952 | 2753155.3148 | 1256803.3531 | 2753159.4161 | 1256800.5675 | 2753162.1913 | 1256795.3786 | 2753171.979 | 1256765.2327
127 | 2753264.5154 | 1256401.4963 | 2753258.2294 | 1256399.2245 | 2753257.4251 | 1256399.0606
128 | 2753231.7275 | 1256395.4337 | 2753246.6549 | 1256396.867 | 2753257.4251 | 1256399.0606
129 | 2753231.7275 | 1256395.4337 | 2753229.1766 | 1256395.1888
130 | 2753229.1766 | 1256395.1888 | 2753227.9352 | 1256395.0696 | 2753211.6345 | 1256394.2692 | 2753205.6893 | 1256394.847
131 | 2753202.3094 | 1256395.1755 | 2753205.6893 | 1256394.847
132 | 2753202.3094 | 1256395.1755 | 2753193.3807 | 1256396.0432 | 2753174.2883 | 1256401.3545 | 2753164.0528 | 1256405.0848
133 | 2753177.8322 | 1256321.3917 | 2753164.2643 | 1256328.4377
134 | 2753177.8322 | 1256321.3917 | 2753182.067 | 1256319.1926
135 | 2753158.6066 | 1256331.3759 | 2753164.2643 | 1256328.4377
136 | 2753201.1397 | 1256308.7778 | 2753195.9118 | 1256312.0027 | 2753182.067 | 1256319.1926
137 | 2753147.4702 | 1256337.1592 | 2753158.6066 | 1256331.3759
138 | 2753202.591 | 1256307.8826 | 2753201.1397 | 1256308.7778
139 | 2753133.877 | 1256344.2184 | 2753147.4702 | 1256337.1592
140 | 2753043.2604 | 1257042.3559 | 2753075.5619 | 1257051.7382 | 2753119.9023 | 1257071.5935 | 2753125.5704 | 1257074.881
141 | 2753023.2689 | 1257036.5491 | 2753043.2604 | 1257042.3559
142 | 2753127.2169 | 1257075.836 | 2753125.5704 | 1257074.881
143 | 2753023.2689 | 1257036.5491 | 2753043.4969 | 1256965.9793 | 2753047.2947 | 1256961.7956
144 | 2753023.2689 | 1257036.5491 | 2752997.3434 | 1257028.3197
145 | 2753127.2169 | 1257075.836 | 2753136.9531 | 1257081.483
146 | 2752855.8242 | 1256970.8804 | 2752893.7219 | 1256995.4279 | 2752997.3434 | 1257028.3197
147 | 2753138.7902 | 1257082.5485 | 2753136.9531 | 1257081.483
148 | 2752855.8242 | 1256970.8804 | 2752870.6209 | 1256917.1311 | 2752890.6672 | 1256909.2854 | 2752900.6449 | 1256902.1582 | 2752908.8321 | 1256888.4115 | 2752905.7052 | 1256885.6168 | 2752908.2182 | 1256881.2218 | 2752913.6261 | 1256873.9987
149 | 2753138.7902 | 1257082.5485 | 2753149.7977 | 1257088.3947
150 | 2752842.2274 | 1256727.9764 | 2752843.1665 | 1256730.759 | 2752850.2572 | 1256750.1058 | 2752857.8328 | 1256767.9079 | 2752868.3033 | 1256791.9355 | 2752877.9383 | 1256818.5108 | 2752889.1773 | 1256841.7018 | 2752900.3464 | 1256857.3725 | 2752913.6261 | 1256873.9987
151 | 2752913.6261 | 1256873.9987 | 2752919.5313 | 1256871.1818 | 2752939.9872 | 1256867.9291 | 2752964.0411 | 1256861.8 | 2752992.5629 | 1256854.4629 | 2753030.004 | 1256842.7188 | 2753080.1174 | 1256827.6092
152 | 2752900.9152 | 1256771.1569 | 2752884.0626 | 1256764.0146 | 2752877.4368 | 1256760.262 | 2752867.1278 | 1256750.4194 | 2752851.6717 | 1256735.6612 | 2752842.2274 | 1256727.9764

## bus_geodata
| x | y | coords
0 | 2752996.8637 | 1256429.9975
1 | 2753008.9366 | 1256399.5164
2 | 2752978.5252 | 1256463.9559
3 | 2753009.9541 | 1256396.8122
4 | 2753002.8928 | 1256481.3893
5 | 2753040.3942 | 1256362.2206
6 | 2753024.8002 | 1256495.6081
7 | 2753054.6592 | 1256353.0331
8 | 2753038.8385 | 1256505.0442
9 | 2753049.7679 | 1256489.0918
10 | 2753068.3601 | 1256517.1996
11 | 2753069.3615 | 1256468.4629
12 | 2753102.2613 | 1256532.3666
13 | 2753073.2697 | 1256464.6614
14 | 2753110.6906 | 1256520.1661
15 | 2752962.833 | 1256622.9295
16 | 2752998.6551 | 1256633.0514
17 | 2753042.989 | 1256640.0526
18 | 2753043.8856 | 1256624.7139
19 | 2753061.8006 | 1256645.2663
20 | 2753061.4395 | 1256618.7491
21 | 2753102.9245 | 1256646.807
22 | 2753047.3456 | 1256644.4014
23 | 2753077.3161 | 1256641.3968
24 | 2753060.8677 | 1256659.3952
25 | 2753099.2454 | 1256642.3042
26 | 2752955.389 | 1256626.2384
27 | 2752973.2046 | 1256631.6126
28 | 2753033.279 | 1256559.5214
29 | 2753044.2345 | 1256560.0355
30 | 2753032.1184 | 1256572.8825
31 | 2753057.4053 | 1256560.6536
32 | 2753031.3064 | 1256586.1859
33 | 2753077.2015 | 1256561.6479
34 | 2753043.2331 | 1256586.4701
35 | 2753031.1415 | 1256589.446
36 | 2753090.4239 | 1256562.4697
37 | 2753050.7427 | 1256586.649
38 | 2753131.2 | 1256647.9611
39 | 2753020.9071 | 1256641.8028
40 | 2753059.2353 | 1256696.7823
41 | 2753084.3761 | 1256333.8955
42 | 2753049.0575 | 1256308.3904
43 | 2753121.6968 | 1256350.5437
44 | 2753125.2077 | 1256348.7204
45 | 2753130.3682 | 1256371.0811
46 | 2753050.7808 | 1256586.6499
47 | 2753093.454 | 1256448.2239
48 | 2753102.7033 | 1256441.4276
49 | 2753063.0184 | 1256586.9416
50 | 2753070.3839 | 1256587.1171
51 | 2753082.3417 | 1256587.402
52 | 2753082.4655 | 1256587.405
53 | 2753096.512 | 1256587.7397
54 | 2753096.9969 | 1256577.9648
55 | 2753101.7605 | 1256587.8644
56 | 2753106.0506 | 1256575.438
57 | 2753118.6303 | 1256588.3011
58 | 2753120.1667 | 1256588.3409
59 | 2753112.1077 | 1256575.6279
60 | 2753118.0388 | 1256575.8139
61 | 2753134.026 | 1256588.6997
62 | 2753146.9201 | 1256589.0336
63 | 2753150.2078 | 1256589.1187
64 | 2753181.6514 | 1256589.9328
65 | 2753217.7509 | 1256614.914
66 | 2753180.7134 | 1256645.6752
67 | 2753224.0457 | 1256611.2473
68 | 2753180.5336 | 1256649.9971
69 | 2753163.3986 | 1256644.9588
70 | 2753223.001 | 1256651.6754
71 | 2753211.2345 | 1256651.2149
72 | 2753231.6102 | 1256652.0157
73 | 2753126.9639 | 1256507.0628
74 | 2753288.5214 | 1256592.7236
75 | 2753268.1944 | 1256561.8333
76 | 2753252.2104 | 1256594.8413
77 | 2753210.3309 | 1256668.9933
78 | 2753213.2485 | 1256733.093
79 | 2753210.3146 | 1256708.5098
80 | 2753208.0779 | 1256735.7237
81 | 2753186.0634 | 1256730.641
82 | 2753147.516 | 1256496.9868
83 | 2753150.9756 | 1256495.4767
84 | 2753170.8007 | 1256488.3783
85 | 2753173.2117 | 1256487.6114
86 | 2753202.5352 | 1256482.4951
87 | 2753216.4822 | 1256481.5371
88 | 2753236.1794 | 1256510.5505
89 | 2753209.5379 | 1256468.1562
90 | 2753246.1192 | 1256482.3695
91 | 2753173.1517 | 1256424.3438
92 | 2753155.0095 | 1256408.6186
93 | 2753122.3551 | 1256427.3331
94 | 2753125.2358 | 1256425.165
95 | 2752996.5423 | 1256637.5572
96 | 2752937.701 | 1256666.5807
97 | 2752933.5552 | 1256683.635
98 | 2752942.3809 | 1256695.1077
99 | 2752946.5822 | 1256697.2718
100 | 2752958.4375 | 1256702.1772
101 | 2752972.6175 | 1256705.4225
102 | 2752985.9801 | 1256708.4509
103 | 2752993.4563 | 1256709.8041
104 | 2753014.6356 | 1256712.8955
105 | 2753018.6751 | 1256713.4594
106 | 2753037.7527 | 1256716.1226
107 | 2753063.9437 | 1256719.3981
108 | 2753067.703 | 1256719.8376
109 | 2753084.8622 | 1256722.2435
110 | 2753068.5632 | 1256714.2987
111 | 2753184.3231 | 1256683.2286
112 | 2753192.1416 | 1256683.5113
113 | 2753172.0236 | 1256684.6273
114 | 2753209.2351 | 1256684.1293
115 | 2753160.0254 | 1256686.0825
116 | 2753210.1312 | 1256706.9731
117 | 2753154.4806 | 1256728.0619
118 | 2753162.093 | 1256728.7255
119 | 2753110.6833 | 1256725.864
120 | 2753169.5284 | 1256729.3674
121 | 2753094.7037 | 1256723.6234
122 | 2753175.1349 | 1256755.513
123 | 2753171.979 | 1256765.2327
124 | 2753264.5154 | 1256401.4963
125 | 2753257.4251 | 1256399.0606
126 | 2753231.7275 | 1256395.4337
127 | 2753229.1766 | 1256395.1888
128 | 2753205.6893 | 1256394.847
129 | 2753202.3094 | 1256395.1755
130 | 2753164.0528 | 1256405.0848
131 | 2753177.8322 | 1256321.3917
132 | 2753164.2643 | 1256328.4377
133 | 2753182.067 | 1256319.1926
134 | 2753158.6066 | 1256331.3759
135 | 2753201.1397 | 1256308.7778
136 | 2753147.4702 | 1256337.1592
137 | 2753202.591 | 1256307.8826
138 | 2753133.877 | 1256344.2184
139 | 2753135.7973 | 1256380.6485
140 | 2753043.2604 | 1257042.3559
141 | 2753125.5704 | 1257074.881
142 | 2753023.2689 | 1257036.5491
143 | 2753127.2169 | 1257075.836
144 | 2753047.2947 | 1256961.7956
145 | 2752997.3434 | 1257028.3197
146 | 2753136.9531 | 1257081.483
147 | 2752855.8242 | 1256970.8804
148 | 2753138.7902 | 1257082.5485
149 | 2752913.6261 | 1256873.9987
150 | 2753149.7977 | 1257088.3947
151 | 2753080.1174 | 1256827.6092
152 | 2752842.2274 | 1256727.9764
153 | 2752900.9152 | 1256771.1569
154 | 2753120.1667 | 1256588.3409

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1