## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3235-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3235-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3235-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3235-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3235-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3235-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3235-3_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_3235-3_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_3235-3_0_3_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_3235-3_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3235-3_0_3_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_3235-3_0_3_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_3235-3_0_3_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_3235-3_0_3_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_3235-3_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_3235-3_0_3_node_213 | 0.4 | n |  | TRUE
16 | bus_LV_3235-3_0_3_node_214 | 0.4 | n |  | TRUE
17 | bus_LV_3235-3_0_3_node_102 | 0.4 | n |  | TRUE
18 | bus_LV_3235-3_0_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_3235-3_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3235-3_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3235-3_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3235-3_0_3_node_215 | 0.4 | n |  | TRUE
23 | bus_LV_3235-3_0_3_node_216 | 0.4 | n |  | TRUE
24 | bus_LV_3235-3_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_3235-3_0_3_node_220 | 0.4 | n |  | TRUE
26 | bus_LV_3235-3_0_3_node_217 | 0.4 | n |  | TRUE
27 | bus_LV_3235-3_0_3_node_219 | 0.4 | n |  | TRUE
28 | bus_LV_3235-3_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_3235-3_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_3235-3_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_3235-3_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3235-3_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_3235-3_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3235-3_0_3_node_218 | 0.4 | n |  | TRUE
35 | bus_LV_3235-3_0_3_node_101 | 0.4 | n |  | TRUE
36 | bus_LV_3235-3_0_3_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3235-3_0_3_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_3235-3_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_3235-3_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_3235-3_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3235-3_0_3_node_225 | 0.4 | n |  | TRUE
42 | bus_LV_3235-3_0_3_node_224 | 0.4 | n |  | TRUE
43 | bus_LV_3235-3_0_3_node_226 | 0.4 | n |  | TRUE
44 | bus_LV_3235-3_0_3_node_227 | 0.4 | n |  | TRUE
45 | bus_LV_3235-3_0_3_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3235-3_0_3_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3235-3_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_3235-3_0_3_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3235-3_0_3_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_3235-3_0_3_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_3235-3_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_3235-3_0_3_node_106 | 0.4 | n |  | TRUE
53 | bus_LV_3235-3_0_3_node_139 | 0.4 | n |  | TRUE
54 | bus_LV_3235-3_0_3_node_175 | 0.4 | n |  | TRUE
55 | bus_LV_3235-3_0_3_node_173 | 0.4 | n |  | TRUE
56 | bus_LV_3235-3_0_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_3235-3_0_3_node_76 | 0.4 | n |  | TRUE
58 | bus_LV_3235-3_0_3_node_107 | 0.4 | n |  | TRUE
59 | bus_LV_3235-3_0_3_node_140 | 0.4 | n |  | TRUE
60 | bus_LV_3235-3_0_3_node_86 | 0.4 | n |  | TRUE
61 | bus_LV_3235-3_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_3235-3_0_3_node_184 | 0.4 | n |  | TRUE
63 | bus_LV_3235-3_0_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_3235-3_0_3_node_74 | 0.4 | n |  | TRUE
65 | bus_LV_3235-3_0_3_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_3235-3_0_3_node_78 | 0.4 | n |  | TRUE
67 | bus_LV_3235-3_0_3_node_79 | 0.4 | n |  | TRUE
68 | bus_LV_3235-3_0_3_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_3235-3_0_3_node_80 | 0.4 | n |  | TRUE
70 | bus_LV_3235-3_0_3_node_81 | 0.4 | n |  | TRUE
71 | bus_LV_3235-3_0_3_node_82 | 0.4 | n |  | TRUE
72 | bus_LV_3235-3_0_3_node_125 | 0.4 | n |  | TRUE
73 | bus_LV_3235-3_0_3_node_121 | 0.4 | n |  | TRUE
74 | bus_LV_3235-3_0_3_node_111 | 0.4 | n |  | TRUE
75 | bus_LV_3235-3_0_3_node_113 | 0.4 | n |  | TRUE
76 | bus_LV_3235-3_0_3_node_222 | 0.4 | n |  | TRUE
77 | bus_LV_3235-3_0_3_node_120 | 0.4 | n |  | TRUE
78 | bus_LV_3235-3_0_3_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_3235-3_0_3_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_3235-3_0_3_node_83 | 0.4 | n |  | TRUE
81 | bus_LV_3235-3_0_3_node_84 | 0.4 | n |  | TRUE
82 | bus_LV_3235-3_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_3235-3_0_3_node_87 | 0.4 | n |  | TRUE
84 | bus_LV_3235-3_0_3_node_88 | 0.4 | n |  | TRUE
85 | bus_LV_3235-3_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_3235-3_0_3_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_3235-3_0_3_node_141 | 0.4 | n |  | TRUE
88 | bus_LV_3235-3_0_3_node_137 | 0.4 | n |  | TRUE
89 | bus_LV_3235-3_0_3_node_142 | 0.4 | n |  | TRUE
90 | bus_LV_3235-3_0_3_node_132 | 0.4 | n |  | TRUE
91 | bus_LV_3235-3_0_3_node_100 | 0.4 | n |  | TRUE
92 | bus_LV_3235-3_0_3_node_105 | 0.4 | n |  | TRUE
93 | bus_LV_3235-3_0_3_node_231 | 0.4 | n |  | TRUE
94 | bus_LV_3235-3_0_3_node_129 | 0.4 | n |  | TRUE
95 | bus_LV_3235-3_0_3_node_128 | 0.4 | n |  | TRUE
96 | bus_LV_3235-3_0_3_node_108 | 0.4 | n |  | TRUE
97 | bus_LV_3235-3_0_3_node_131 | 0.4 | n |  | TRUE
98 | bus_LV_3235-3_0_3_node_130 | 0.4 | n |  | TRUE
99 | bus_LV_3235-3_0_3_node_126 | 0.4 | n |  | TRUE
100 | bus_LV_3235-3_0_3_node_174 | 0.4 | n |  | TRUE
101 | bus_LV_3235-3_0_3_node_112 | 0.4 | n |  | TRUE
102 | bus_LV_3235-3_0_3_node_117 | 0.4 | n |  | TRUE
103 | bus_LV_3235-3_0_3_node_122 | 0.4 | n |  | TRUE
104 | bus_LV_3235-3_0_3_node_123 | 0.4 | n |  | TRUE
105 | bus_LV_3235-3_0_3_node_124 | 0.4 | n |  | TRUE
106 | bus_LV_3235-3_0_3_node_127 | 0.4 | n |  | TRUE
107 | bus_LV_3235-3_0_3_node_135 | 0.4 | n |  | TRUE
108 | bus_LV_3235-3_0_3_node_133 | 0.4 | n |  | TRUE
109 | bus_LV_3235-3_0_3_node_134 | 0.4 | n |  | TRUE
110 | bus_LV_3235-3_0_3_node_136 | 0.4 | n |  | TRUE
111 | bus_LV_3235-3_0_3_node_138 | 0.4 | n |  | TRUE
112 | bus_LV_3235-3_0_3_node_232 | 0.4 | n |  | TRUE
113 | bus_LV_3235-3_0_3_node_196 | 0.4 | n |  | TRUE
114 | bus_LV_3235-3_0_3_node_228 | 0.4 | n |  | TRUE
115 | bus_LV_3235-3_0_3_node_229 | 0.4 | n |  | TRUE
116 | bus_MV_45_0_node_22 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3235-3_0_3_load_0 | 0 | 0.0031232 | 0.00078275 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3235-3_0_3_load_1 | 1 | 0.0030588 | 0.00076661 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3235-3_0_3_load_3 | 3 | 0.0038981 | 0.00097696 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3235-3_0_3_load_4 | 4 | 0.0012326 | 0.00030893 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3235-3_0_3_load_5 | 5 | 0.0011877 | 0.00029766 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3235-3_0_3_load_23 | 8 | 0.0012718 | 0.00031874 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3235-3_0_3_load_11 | 11 | 0.002717 | 0.00068094 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3235-3_0_3_load_18 | 13 | 0.0015132 | 0.00037925 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3235-3_0_3_load_13 | 14 | 0.0016313 | 0.00040884 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3235-3_0_3_load_213 | 15 | 0.0011934 | 0.0002991 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3235-3_0_3_load_214 | 16 | 0.0012586 | 0.00031544 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3235-3_0_3_load_35 | 18 | 0.0030814 | 0.00077227 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3235-3_0_3_load_16 | 20 | 0.0017849 | 0.00044733 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3235-3_0_3_load_17 | 21 | 0.0024932 | 0.00062486 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3235-3_0_3_load_215 | 22 | 0.0010084 | 0.00025272 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3235-3_0_3_load_216 | 23 | 0.0010049 | 0.00025184 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3235-3_0_3_load_25 | 24 | 0.0026161 | 0.00065567 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3235-3_0_3_load_220 | 25 | 0.0017923 | 0.0004492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3235-3_0_3_load_217 | 26 | 0.0013812 | 0.00034616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3235-3_0_3_load_219 | 27 | 0.0016203 | 0.0004061 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3235-3_0_3_load_26 | 28 | 0.0017425 | 0.00043671 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3235-3_0_3_load_36 | 29 | 0.0022243 | 0.00055747 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3235-3_0_3_load_40 | 30 | 0.001768 | 0.00044309 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3235-3_0_3_load_19 | 31 | 0.0023443 | 0.00058754 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3235-3_0_3_load_21 | 32 | 0.0022078 | 0.00055333 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3235-3_0_3_load_33 | 33 | 0.0014504 | 0.00036351 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3235-3_0_3_load_218 | 34 | 0.0037127 | 0.0009305 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3235-3_0_3_load_34 | 36 | 0.0020129 | 0.00050447 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3235-3_0_3_load_32 | 37 | 0.001506 | 0.00037745 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3235-3_0_3_load_39 | 40 | 0.0019089 | 0.00047842 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3235-3_0_3_load_224 | 42 | 0.0041243 | 0.0010337 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3235-3_0_3_load_226 | 43 | 0.0014697 | 0.00036835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3235-3_0_3_load_43 | 45 | 0.0081622 | 0.0020456 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3235-3_0_3_load_44 | 46 | 0.0023718 | 0.00059442 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3235-3_0_3_load_45 | 47 | 0.0014812 | 0.00037123 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3235-3_0_3_load_47 | 49 | 0.0030307 | 0.00075958 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3235-3_0_3_load_106 | 52 | 0.0028634 | 0.00071763 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3235-3_0_3_load_173 | 55 | 0.0033258 | 0.00083352 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3235-3_0_3_load_92 | 56 | 0.001361 | 0.00034111 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3235-3_0_3_load_107 | 58 | 0.0026204 | 0.00065674 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3235-3_0_3_load_140 | 59 | 0.0014205 | 0.00035602 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3235-3_0_3_load_86 | 60 | 0.00077344 | 0.00019384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3235-3_0_3_load_64 | 61 | 0.0040646 | 0.0010187 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3235-3_0_3_load_184 | 62 | 0.0015487 | 0.00038814 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3235-3_0_3_load_65 | 63 | 0.0012411 | 0.00031106 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3235-3_0_3_load_74 | 64 | 0.0013246 | 0.00033197 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3235-3_0_3_load_75 | 65 | 0.0021369 | 0.00053557 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3235-3_0_3_load_78 | 66 | 0.0010382 | 0.00026019 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3235-3_0_3_load_79 | 67 | 0.023981 | 0.0060103 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3235-3_0_3_load_93 | 68 | 0.0030986 | 0.00077658 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3235-3_0_3_load_121 | 73 | 0.002145 | 0.00053759 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3235-3_0_3_load_111 | 74 | 0.00042061 | 0.00010542 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3235-3_0_3_load_113 | 75 | 0.0026201 | 0.00065666 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3235-3_0_3_load_222 | 76 | 0.00059687 | 0.00014959 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3235-3_0_3_load_120 | 77 | 0.0028413 | 0.00071209 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3235-3_0_3_load_110 | 78 | 0.0035648 | 0.00089342 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3235-3_0_3_load_103 | 79 | 0.0025587 | 0.00064126 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3235-3_0_3_load_83 | 80 | 0.001693 | 0.00042431 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3235-3_0_3_load_84 | 81 | 0.00085576 | 0.00021447 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3235-3_0_3_load_87 | 83 | 0.0016941 | 0.00042457 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3235-3_0_3_load_88 | 84 | 0.0066754 | 0.001673 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3235-3_0_3_load_89 | 85 | 0.0066709 | 0.0016719 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3235-3_0_3_load_90 | 86 | 0.0051457 | 0.0012896 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3235-3_0_3_load_141 | 87 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3235-3_0_3_load_137 | 88 | 0.0011024 | 0.00027629 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3235-3_0_3_load_142 | 89 | 0.0013438 | 0.00033679 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3235-3_0_3_load_132 | 90 | 0.0017982 | 0.00045068 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3235-3_0_3_load_100 | 91 | 0.0016558 | 0.00041499 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3235-3_0_3_load_231 | 93 | 0.0028273 | 0.00070859 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3235-3_0_3_load_128 | 95 | 0.00074725 | 0.00018728 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3235-3_0_3_load_108 | 96 | 0.0020153 | 0.00050508 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3235-3_0_3_load_131 | 97 | 0.0030215 | 0.00075725 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3235-3_0_3_load_130 | 98 | 0.0019386 | 0.00048586 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3235-3_0_3_load_126 | 99 | 0.0053317 | 0.0013362 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3235-3_0_3_load_174 | 100 | 0.0010917 | 0.0002736 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3235-3_0_3_load_112 | 101 | 0.00063422 | 0.00015895 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3235-3_0_3_load_117 | 102 | 0.0015146 | 0.0003796 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3235-3_0_3_load_123 | 104 | 0.00044073 | 0.00011046 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3235-3_0_3_load_124 | 105 | 0.0012038 | 0.00030171 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3235-3_0_3_load_127 | 106 | 0.0023007 | 0.00057661 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3235-3_0_3_load_133 | 108 | 0.0029306 | 0.00073449 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3235-3_0_3_load_134 | 109 | 0.00093872 | 0.00023527 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3235-3_0_3_load_232 | 112 | 0.00082572 | 0.00020694 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3235-3_0_3_load_196 | 113 | 0.00095301 | 0.00023885 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3235-3_0_3_load_228 | 114 | 0.0019764 | 0.00049533 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3235-3_0_3_load_229 | 115 | 0.0014093 | 0.0003532 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3235-3_0_3_line_0 |  | 0 | 1 | 0.028147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3235-3_0_3_line_1 |  | 0 | 2 | 0.016735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3235-3_0_3_line_2 |  | 1 | 3 | 0.02553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3235-3_0_3_line_3 |  | 2 | 4 | 0.0098252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3235-3_0_3_line_4 |  | 2 | 5 | 0.028936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3235-3_0_3_line_5 |  | 3 | 6 | 0.019643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3235-3_0_3_line_6 |  | 5 | 7 | 0.010994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3235-3_0_3_line_7 |  | 6 | 8 | 0.0075354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3235-3_0_3_line_8 |  | 6 | 9 | 0.018723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3235-3_0_3_line_9 |  | 7 | 10 | 0.030936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3235-3_0_3_line_10 |  | 8 | 17 | 0.01168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3235-3_0_3_line_11 |  | 9 | 18 | 0.027392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3235-3_0_3_line_12 |  | 10 | 37 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3235-3_0_3_line_13 |  | 11 | 12 | 0.00086919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3235-3_0_3_line_14 |  | 12 | 13 | 0.013357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3235-3_0_3_line_15 |  | 12 | 14 | 0.035264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3235-3_0_3_line_16 |  | 13 | 27 | 0.0031906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3235-3_0_3_line_17 |  | 13 | 15 | 0.038589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3235-3_0_3_line_18 |  | 14 | 19 | 0.018395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3235-3_0_3_line_19 |  | 15 | 16 | 0.0088772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3235-3_0_3_line_20 |  | 16 | 22 | 0.0081711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3235-3_0_3_line_21 |  | 17 | 35 | 0.006554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3235-3_0_3_line_22 |  | 18 | 33 | 0.027979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3235-3_0_3_line_23 |  | 18 | 32 | 0.036723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3235-3_0_3_line_24 |  | 19 | 20 | 0.0055139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3235-3_0_3_line_25 |  | 19 | 21 | 0.021775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3235-3_0_3_line_26 |  | 20 | 24 | 0.021742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3235-3_0_3_line_27 |  | 21 | 25 | 0.025367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3235-3_0_3_line_28 |  | 22 | 23 | 0.024073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3235-3_0_3_line_29 |  | 23 | 26 | 0.0091392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3235-3_0_3_line_30 |  | 24 | 28 | 0.0056637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3235-3_0_3_line_31 |  | 25 | 30 | 0.05265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3235-3_0_3_line_32 |  | 26 | 29 | 0.022208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3235-3_0_3_line_33 |  | 28 | 34 | 0.021499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3235-3_0_3_line_34 |  | 29 | 36 | 0.01365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3235-3_0_3_line_35 |  | 31 | 32 | 0.011537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3235-3_0_3_line_36 |  | 33 | 36 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3235-3_0_3_line_37 |  | 35 | 79 | 0.012134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3235-3_0_3_line_38 |  | 35 | 91 | 0.028807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3235-3_0_3_line_39 |  | 37 | 38 | 0.0095067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3235-3_0_3_line_40 |  | 38 | 39 | 0.017258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3235-3_0_3_line_41 |  | 38 | 40 | 0.008742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3235-3_0_3_line_42 |  | 39 | 41 | 0.014587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3235-3_0_3_line_43 |  | 39 | 42 | 0.012699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3235-3_0_3_line_44 |  | 41 | 43 | 0.005295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3235-3_0_3_line_45 |  | 41 | 44 | 0.026482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3235-3_0_3_line_46 |  | 44 | 114 | 0.023871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3235-3_0_3_line_47 |  | 44 | 115 | 0.006163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3235-3_0_3_line_48 |  | 45 | 46 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3235-3_0_3_line_49 |  | 45 | 47 | 0.027257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3235-3_0_3_line_50 |  | 46 | 48 | 0.014728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3235-3_0_3_line_51 |  | 47 | 49 | 0.00090143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3235-3_0_3_line_52 |  | 48 | 50 | 0.033543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3235-3_0_3_line_53 |  | 48 | 51 | 0.041358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3235-3_0_3_line_54 |  | 48 | 52 | 0.020504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3235-3_0_3_line_55 |  | 49 | 53 | 0.009638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3235-3_0_3_line_56 |  | 50 | 54 | 0.015616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3235-3_0_3_line_57 |  | 50 | 55 | 0.018827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3235-3_0_3_line_58 |  | 51 | 56 | 0.015861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3235-3_0_3_line_59 |  | 51 | 57 | 0.019081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3235-3_0_3_line_60 |  | 52 | 58 | 9.1076e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3235-3_0_3_line_61 |  | 53 | 59 | 0.025545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3235-3_0_3_line_62 |  | 53 | 60 | 0.0019278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3235-3_0_3_line_63 |  | 54 | 62 | 0.012641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3235-3_0_3_line_64 |  | 55 | 100 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3235-3_0_3_line_65 |  | 56 | 68 | 0.018117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3235-3_0_3_line_66 |  | 57 | 66 | 0.014832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3235-3_0_3_line_67 |  | 57 | 64 | 0.014168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3235-3_0_3_line_68 |  | 58 | 96 | 0.010658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3235-3_0_3_line_69 |  | 59 | 63 | 0.01423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3235-3_0_3_line_70 |  | 60 | 82 | 0.040211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3235-3_0_3_line_71 |  | 61 | 62 | 0.0023476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3235-3_0_3_line_72 |  | 64 | 65 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3235-3_0_3_line_73 |  | 66 | 67 | 0.026477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3235-3_0_3_line_74 |  | 67 | 69 | 0.021266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3235-3_0_3_line_75 |  | 69 | 70 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3235-3_0_3_line_76 |  | 69 | 71 | 0.044217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3235-3_0_3_line_77 |  | 70 | 72 | 0.012891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3235-3_0_3_line_78 |  | 70 | 73 | 0.029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3235-3_0_3_line_79 |  | 71 | 74 | 0.0088735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
80 | LV_3235-3_0_3_line_80 |  | 71 | 75 | 0.0039107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3235-3_0_3_line_81 |  | 72 | 76 | 0.015606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3235-3_0_3_line_82 |  | 73 | 77 | 0.031159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3235-3_0_3_line_83 |  | 74 | 78 | 0.012456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3235-3_0_3_line_84 |  | 75 | 79 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3235-3_0_3_line_85 |  | 77 | 103 | 0.00029629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3235-3_0_3_line_86 |  | 78 | 101 | 0.031595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3235-3_0_3_line_87 |  | 80 | 81 | 0.012056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3235-3_0_3_line_88 |  | 80 | 82 | 0.025228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3235-3_0_3_line_89 |  | 82 | 83 | 0.014608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3235-3_0_3_line_90 |  | 84 | 85 | 0.05072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3235-3_0_3_line_91 |  | 84 | 86 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3235-3_0_3_line_92 |  | 84 | 87 | 0.14593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3235-3_0_3_line_93 |  | 87 | 88 | 0.050189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3235-3_0_3_line_94 |  | 88 | 107 | 0.021534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3235-3_0_3_line_95 |  | 89 | 90 | 0.031295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3235-3_0_3_line_96 |  | 90 | 94 | 0.011924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3235-3_0_3_line_97 |  | 92 | 93 | 0.026641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3235-3_0_3_line_98 |  | 92 | 94 | 0.044701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3235-3_0_3_line_99 |  | 94 | 95 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3235-3_0_3_line_100 |  | 95 | 106 | 0.00075613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3235-3_0_3_line_101 |  | 96 | 97 | 0.010412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3235-3_0_3_line_102 |  | 96 | 98 | 0.035259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3235-3_0_3_line_103 |  | 97 | 99 | 0.039979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3235-3_0_3_line_104 |  | 99 | 102 | 0.011304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3235-3_0_3_line_105 |  | 103 | 104 | 0.017894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3235-3_0_3_line_106 |  | 103 | 105 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3235-3_0_3_line_107 |  | 104 | 106 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3235-3_0_3_line_108 |  | 105 | 107 | 0.057678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3235-3_0_3_line_109 |  | 107 | 108 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3235-3_0_3_line_110 |  | 108 | 109 | 0.012886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3235-3_0_3_line_111 |  | 109 | 110 | 0.010171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3235-3_0_3_line_112 |  | 110 | 111 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3235-3_0_3_line_113 |  | 111 | 112 | 0.037647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3235-3_0_3_line_114 |  | 112 | 113 | 0.19173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3235-3_0_3_trafo_110 | 0.63 MVA 20/0.4 kV | 116 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2761473.7474 | 1259641.3366 | 2761448.2005 | 1259629.5212
1 | 2761488.9366 | 1259648.3616 | 2761473.7474 | 1259641.3366
2 | 2761448.2005 | 1259629.5212 | 2761425.0292 | 1259618.8045
3 | 2761488.9366 | 1259648.3616 | 2761492.6669 | 1259639.272
4 | 2761488.9366 | 1259648.3616 | 2761515.2001 | 1259660.5085
5 | 2761407.201 | 1259610.5591 | 2761425.0292 | 1259618.8045
6 | 2761525.1788 | 1259665.1237 | 2761515.2001 | 1259660.5085
7 | 2761407.201 | 1259610.5591 | 2761409.8865 | 1259603.5184
8 | 2761399.636 | 1259627.6928 | 2761400.9389 | 1259624.7253 | 2761406.0435 | 1259613.1747 | 2761407.201 | 1259610.5591
9 | 2761525.1788 | 1259665.1237 | 2761545.2064 | 1259674.3911 | 2761554.1489 | 1259674.7578
10 | 2761414.0493 | 1259592.6049 | 2761409.8865 | 1259603.5184
11 | 2761399.636 | 1259627.6928 | 2761424.4462 | 1259639.3014
12 | 2761554.1489 | 1259674.7578 | 2761554.5925 | 1259662.5571
13 | 2761536.6275 | 1259747.8058 | 2761535.8419 | 1259747.4339
14 | 2761535.8419 | 1259747.4339 | 2761541.6908 | 1259735.4255
15 | 2761535.8419 | 1259747.4339 | 2761503.9618 | 1259732.3602
16 | 2761544.5881 | 1259736.7615 | 2761541.6908 | 1259735.4255
17 | 2761548.8378 | 1259697.5037 | 2761541.6908 | 1259735.4255
18 | 2761487.332 | 1259724.4972 | 2761503.9618 | 1259732.3602
19 | 2761548.8378 | 1259697.5037 | 2761540.7972 | 1259693.7416
20 | 2761540.7972 | 1259693.7416 | 2761533.3961 | 1259690.2786
21 | 2761415.266 | 1259586.1647 | 2761414.0493 | 1259592.6049
22 | 2761449.7883 | 1259651.1589 | 2761424.4462 | 1259639.3014
23 | 2761424.4462 | 1259639.3014 | 2761411.9821 | 1259673.8443
24 | 2761487.332 | 1259724.4972 | 2761482.3756 | 1259722.0813
25 | 2761487.332 | 1259724.4972 | 2761486.0944 | 1259746.2373
26 | 2761482.3756 | 1259722.0813 | 2761463.9313 | 1259713.0912 | 2761462.7407 | 1259712.8085
27 | 2761498.1631 | 1259762.2396 | 2761488.2011 | 1259760.8811 | 2761485.5486 | 1259755.8256 | 2761486.0944 | 1259746.2373
28 | 2761511.5915 | 1259680.0764 | 2761533.3961 | 1259690.2786
29 | 2761511.5915 | 1259680.0764 | 2761503.3136 | 1259676.2032
30 | 2761462.7407 | 1259712.8085 | 2761457.2302 | 1259711.5
31 | 2761498.1631 | 1259762.2396 | 2761520.6592 | 1259809.8421
32 | 2761503.3136 | 1259676.2032 | 2761483.1982 | 1259666.7912
33 | 2761436.13 | 1259708.2 | 2761442.9196 | 1259708.1017 | 2761457.2302 | 1259711.5
34 | 2761483.1982 | 1259666.7912 | 2761470.8342 | 1259661.0062
35 | 2761411.9821 | 1259673.8443 | 2761400.4467 | 1259673.6638
36 | 2761449.7883 | 1259651.1589 | 2761470.8342 | 1259661.0062
37 | 2761415.266 | 1259586.1647 | 2761417.8592 | 1259574.3115
38 | 2761415.266 | 1259586.1647 | 2761386.4596 | 1259586.4065
39 | 2761554.938 | 1259653.0567 | 2761554.5925 | 1259662.5571
40 | 2761554.938 | 1259653.0567 | 2761555.5676 | 1259635.8115
41 | 2761546.1718 | 1259652.8617 | 2761554.938 | 1259653.0567
42 | 2761545.0172 | 1259627.2145 | 2761548.2958 | 1259627.8491 | 2761553.1425 | 1259630.7177 | 2761555.5676 | 1259635.8115
43 | 2761568.2961 | 1259635.3585 | 2761555.5676 | 1259635.8115
44 | 2761545.0172 | 1259627.2145 | 2761545.2975 | 1259621.9278
45 | 2761518.9379 | 1259622.1863 | 2761545.0172 | 1259627.2145
46 | 2761505.0506 | 1259610.395 | 2761504.2927 | 1259619.3615 | 2761518.9379 | 1259622.1863
47 | 2761519.8662 | 1259616.0942 | 2761518.9379 | 1259622.1863
48 | 2761559.5658 | 1259494.2257 | 2761556.8775 | 1259506.5414
49 | 2761559.5658 | 1259494.2257 | 2761565.3786 | 1259467.5959
50 | 2761553.7366 | 1259520.9306 | 2761556.8775 | 1259506.5414
51 | 2761565.3786 | 1259467.5959 | 2761565.5708 | 1259466.7152
52 | 2761586.6412 | 1259527.9251 | 2761553.7366 | 1259520.9306
53 | 2761512.897 | 1259513.675 | 2761553.7366 | 1259520.9306
54 | 2761553.7366 | 1259520.9306 | 2761549.2658 | 1259540.9414
55 | 2761567.6262 | 1259457.299 | 2761565.5708 | 1259466.7152
56 | 2761586.6412 | 1259527.9251 | 2761601.9787 | 1259531.0916
57 | 2761586.6412 | 1259527.9251 | 2761590.433 | 1259509.4834
58 | 2761512.897 | 1259513.675 | 2761509.6305 | 1259529.1957
59 | 2761493.9203 | 1259511.199 | 2761512.897 | 1259513.675
60 | 2761549.246 | 1259541.0303 | 2761549.2658 | 1259540.9414
61 | 2761567.6262 | 1259457.299 | 2761592.6477 | 1259462.4447
62 | 2761567.6262 | 1259457.299 | 2761568.0139 | 1259455.4105
63 | 2761601.9787 | 1259531.0916 | 2761604.6766 | 1259518.7417
64 | 2761590.433 | 1259509.4834 | 2761593.3378 | 1259495.3554
65 | 2761512.718 | 1259542.5891 | 2761507.0899 | 1259541.2675 | 2761509.6305 | 1259529.1957
66 | 2761493.9203 | 1259511.199 | 2761479.1249 | 1259510.1622
67 | 2761493.9203 | 1259511.199 | 2761495.6527 | 1259497.1375
68 | 2761546.9221 | 1259551.4319 | 2761549.246 | 1259541.0303
69 | 2761606.5864 | 1259465.3113 | 2761592.6477 | 1259462.4447
70 | 2761576.1007 | 1259416.0206 | 2761568.0139 | 1259455.4105
71 | 2761604.6766 | 1259518.7417 | 2761605.1776 | 1259516.4481
72 | 2761495.6527 | 1259497.1375 | 2761496.9536 | 1259486.5783 | 2761504.1312 | 1259486.9524 | 2761504.1937 | 1259486.214
73 | 2761452.7128 | 1259508.3114 | 2761479.1249 | 1259510.1622
74 | 2761431.4986 | 1259506.8248 | 2761452.7128 | 1259508.3114
75 | 2761431.4986 | 1259506.8248 | 2761411.9774 | 1259506.0582
76 | 2761423.1253 | 1259550.2416 | 2761431.4986 | 1259506.8248
77 | 2761412.6079 | 1259493.1842 | 2761411.9774 | 1259506.0582
78 | 2761411.9774 | 1259506.0582 | 2761403.4184 | 1259505.7244 | 2761394.3186 | 1259505.3091 | 2761382.788 | 1259504.7764
79 | 2761423.1253 | 1259550.2416 | 2761431.9975 | 1259550.0876
80 | 2761423.1253 | 1259550.2416 | 2761422.2895 | 1259554.062
81 | 2761396.9662 | 1259492.5903 | 2761412.6079 | 1259493.1842
82 | 2761351.6623 | 1259503.3385 | 2761382.788 | 1259504.7764
83 | 2761431.9975 | 1259550.0876 | 2761444.4513 | 1259549.8714
84 | 2761417.8592 | 1259574.3115 | 2761422.2895 | 1259554.062
85 | 2761351.6623 | 1259503.3385 | 2761351.3663 | 1259503.3248
86 | 2761475.633 | 1259546.7148 | 2761466.4537 | 1259549.4895 | 2761444.4513 | 1259549.8714
87 | 2761550.9523 | 1259418.0241 | 2761538.9345 | 1259418.9815
88 | 2761576.1007 | 1259416.0206 | 2761550.9523 | 1259418.0241
89 | 2761576.1007 | 1259416.0206 | 2761579.6688 | 1259413.7935 | 2761585.5141 | 1259412.4183 | 2761589.9012 | 1259412.1202
90 | 2761166.1226 | 1259337.931 | 2761167.6599 | 1259349.1365 | 2761165.694 | 1259357.614 | 2761157.6495 | 1259372.4326 | 2761151.0411 | 1259384.5992
91 | 2761163.702 | 1259320.2876 | 2761166.1226 | 1259337.931
92 | 2761299.6913 | 1259396.7051 | 2761166.1226 | 1259337.931
93 | 2761299.6913 | 1259396.7051 | 2761299.0772 | 1259404.5633 | 2761304.4405 | 1259415.5987 | 2761305.2855 | 1259429.1358 | 2761308.2055 | 1259433.2419 | 2761319.6122 | 1259432.4383
94 | 2761341.0934 | 1259430.9249 | 2761319.6122 | 1259432.4383
95 | 2761246.8905 | 1259498.5056 | 2761278.1524 | 1259499.9463
96 | 2761290.064 | 1259500.4953 | 2761278.1524 | 1259499.9463
97 | 2761308.7266 | 1259549.0434 | 2761282.3913 | 1259544.5321
98 | 2761290.064 | 1259500.4953 | 2761289.0981 | 1259506.0414 | 2761282.3913 | 1259544.5321
99 | 2761290.064 | 1259500.4953 | 2761305.8172 | 1259501.2224
100 | 2761306.5726 | 1259501.2573 | 2761305.8172 | 1259501.2224
101 | 2761557.1312 | 1259553.4794 | 2761546.9221 | 1259551.4319
102 | 2761546.9221 | 1259551.4319 | 2761529.1301 | 1259581.8722
103 | 2761557.1312 | 1259553.4794 | 2761584.8611 | 1259582.2785
104 | 2761593.1806 | 1259574.6436 | 2761584.9067 | 1259582.2789 | 2761584.8611 | 1259582.2785
105 | 2761351.3663 | 1259503.3248 | 2761333.4918 | 1259502.4998
106 | 2761351.3663 | 1259503.3248 | 2761349.3199 | 1259488.0124
107 | 2761306.5726 | 1259501.2573 | 2761333.4918 | 1259502.4998
108 | 2761341.0934 | 1259430.9249 | 2761347.2576 | 1259472.5807 | 2761349.3199 | 1259488.0124
109 | 2761341.0934 | 1259430.9249 | 2761335.2853 | 1259426.5175 | 2761331.4415 | 1259418.9493 | 2761331.205 | 1259412.6919 | 2761334.7021 | 1259410.5739
110 | 2761334.7021 | 1259410.5739 | 2761347.5795 | 1259411.0372
111 | 2761357.7443 | 1259411.4029 | 2761347.5795 | 1259411.0372
112 | 2761355.2204 | 1259400.2447 | 2761357.7443 | 1259411.4029
113 | 2761355.2204 | 1259400.2447 | 2761376.2574 | 1259400.2072 | 2761388.3271 | 1259411.7483
114 | 2761388.3271 | 1259411.7483 | 2761469.9997 | 1259238.283

## bus_geodata
| x | y | coords
0 | 2761473.7474 | 1259641.3366
1 | 2761448.2005 | 1259629.5212
2 | 2761488.9366 | 1259648.3616
3 | 2761425.0292 | 1259618.8045
4 | 2761492.6669 | 1259639.272
5 | 2761515.2001 | 1259660.5085
6 | 2761407.201 | 1259610.5591
7 | 2761525.1788 | 1259665.1237
8 | 2761409.8865 | 1259603.5184
9 | 2761399.636 | 1259627.6928
10 | 2761554.1489 | 1259674.7578
11 | 2761536.6275 | 1259747.8058
12 | 2761535.8419 | 1259747.4339
13 | 2761541.6908 | 1259735.4255
14 | 2761503.9618 | 1259732.3602
15 | 2761548.8378 | 1259697.5037
16 | 2761540.7972 | 1259693.7416
17 | 2761414.0493 | 1259592.6049
18 | 2761424.4462 | 1259639.3014
19 | 2761487.332 | 1259724.4972
20 | 2761482.3756 | 1259722.0813
21 | 2761486.0944 | 1259746.2373
22 | 2761533.3961 | 1259690.2786
23 | 2761511.5915 | 1259680.0764
24 | 2761462.7407 | 1259712.8085
25 | 2761498.1631 | 1259762.2396
26 | 2761503.3136 | 1259676.2032
27 | 2761544.5881 | 1259736.7615
28 | 2761457.2302 | 1259711.5
29 | 2761483.1982 | 1259666.7912
30 | 2761520.6592 | 1259809.8421
31 | 2761400.4467 | 1259673.6638
32 | 2761411.9821 | 1259673.8443
33 | 2761449.7883 | 1259651.1589
34 | 2761436.13 | 1259708.2
35 | 2761415.266 | 1259586.1647
36 | 2761470.8342 | 1259661.0062
37 | 2761554.5925 | 1259662.5571
38 | 2761554.938 | 1259653.0567
39 | 2761555.5676 | 1259635.8115
40 | 2761546.1718 | 1259652.8617
41 | 2761545.0172 | 1259627.2145
42 | 2761568.2961 | 1259635.3585
43 | 2761545.2975 | 1259621.9278
44 | 2761518.9379 | 1259622.1863
45 | 2761559.5658 | 1259494.2257
46 | 2761556.8775 | 1259506.5414
47 | 2761565.3786 | 1259467.5959
48 | 2761553.7366 | 1259520.9306
49 | 2761565.5708 | 1259466.7152
50 | 2761586.6412 | 1259527.9251
51 | 2761512.897 | 1259513.675
52 | 2761549.2658 | 1259540.9414
53 | 2761567.6262 | 1259457.299
54 | 2761601.9787 | 1259531.0916
55 | 2761590.433 | 1259509.4834
56 | 2761509.6305 | 1259529.1957
57 | 2761493.9203 | 1259511.199
58 | 2761549.246 | 1259541.0303
59 | 2761592.6477 | 1259462.4447
60 | 2761568.0139 | 1259455.4105
61 | 2761605.1776 | 1259516.4481
62 | 2761604.6766 | 1259518.7417
63 | 2761606.5864 | 1259465.3113
64 | 2761495.6527 | 1259497.1375
65 | 2761504.1937 | 1259486.214
66 | 2761479.1249 | 1259510.1622
67 | 2761452.7128 | 1259508.3114
68 | 2761512.718 | 1259542.5891
69 | 2761431.4986 | 1259506.8248
70 | 2761411.9774 | 1259506.0582
71 | 2761423.1253 | 1259550.2416
72 | 2761412.6079 | 1259493.1842
73 | 2761382.788 | 1259504.7764
74 | 2761431.9975 | 1259550.0876
75 | 2761422.2895 | 1259554.062
76 | 2761396.9662 | 1259492.5903
77 | 2761351.6623 | 1259503.3385
78 | 2761444.4513 | 1259549.8714
79 | 2761417.8592 | 1259574.3115
80 | 2761550.9523 | 1259418.0241
81 | 2761538.9345 | 1259418.9815
82 | 2761576.1007 | 1259416.0206
83 | 2761589.9012 | 1259412.1202
84 | 2761166.1226 | 1259337.931
85 | 2761151.0411 | 1259384.5992
86 | 2761163.702 | 1259320.2876
87 | 2761299.6913 | 1259396.7051
88 | 2761319.6122 | 1259432.4383
89 | 2761246.8905 | 1259498.5056
90 | 2761278.1524 | 1259499.9463
91 | 2761386.4596 | 1259586.4065
92 | 2761282.3913 | 1259544.5321
93 | 2761308.7266 | 1259549.0434
94 | 2761290.064 | 1259500.4953
95 | 2761305.8172 | 1259501.2224
96 | 2761546.9221 | 1259551.4319
97 | 2761557.1312 | 1259553.4794
98 | 2761529.1301 | 1259581.8722
99 | 2761584.8611 | 1259582.2785
100 | 2761593.3378 | 1259495.3554
101 | 2761475.633 | 1259546.7148
102 | 2761593.1806 | 1259574.6436
103 | 2761351.3663 | 1259503.3248
104 | 2761333.4918 | 1259502.4998
105 | 2761349.3199 | 1259488.0124
106 | 2761306.5726 | 1259501.2573
107 | 2761341.0934 | 1259430.9249
108 | 2761334.7021 | 1259410.5739
109 | 2761347.5795 | 1259411.0372
110 | 2761357.7443 | 1259411.4029
111 | 2761355.2204 | 1259400.2447
112 | 2761388.3271 | 1259411.7483
113 | 2761469.9997 | 1259238.283
114 | 2761505.0506 | 1259610.395
115 | 2761519.8662 | 1259616.0942
116 | 2761423.1253 | 1259550.2416

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1