## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3235-3_1_4_node_6 | 0.4 | n |  | TRUE
1 | bus_LV_3235-3_1_4_node_7 | 0.4 | n |  | TRUE
2 | bus_LV_3235-3_1_4_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_3235-3_1_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_3235-3_1_4_node_10 | 0.4 | n |  | TRUE
5 | bus_LV_3235-3_1_4_node_208 | 0.4 | n |  | TRUE
6 | bus_LV_3235-3_1_4_node_205 | 0.4 | n |  | TRUE
7 | bus_LV_3235-3_1_4_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_3235-3_1_4_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3235-3_1_4_node_30 | 0.4 | n |  | TRUE
10 | bus_LV_3235-3_1_4_node_99 | 0.4 | n |  | TRUE
11 | bus_LV_3235-3_1_4_node_221 | 0.4 | n |  | TRUE
12 | bus_LV_3235-3_1_4_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_3235-3_1_4_node_49 | 0.4 | n |  | TRUE
14 | bus_LV_3235-3_1_4_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_3235-3_1_4_node_51 | 0.4 | n |  | TRUE
16 | bus_LV_3235-3_1_4_node_52 | 0.4 | n |  | TRUE
17 | bus_LV_3235-3_1_4_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_3235-3_1_4_node_67 | 0.4 | n |  | TRUE
19 | bus_LV_3235-3_1_4_node_68 | 0.4 | n |  | TRUE
20 | bus_LV_3235-3_1_4_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_3235-3_1_4_node_170 | 0.4 | n |  | TRUE
22 | bus_LV_3235-3_1_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_3235-3_1_4_node_55 | 0.4 | n |  | TRUE
24 | bus_LV_3235-3_1_4_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_3235-3_1_4_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_3235-3_1_4_node_58 | 0.4 | n |  | TRUE
27 | bus_LV_3235-3_1_4_node_66 | 0.4 | n |  | TRUE
28 | bus_LV_3235-3_1_4_node_70 | 0.4 | n |  | TRUE
29 | bus_LV_3235-3_1_4_node_59 | 0.4 | n |  | TRUE
30 | bus_LV_3235-3_1_4_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_3235-3_1_4_node_62 | 0.4 | n |  | TRUE
32 | bus_LV_3235-3_1_4_node_63 | 0.4 | n |  | TRUE
33 | bus_LV_3235-3_1_4_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_3235-3_1_4_node_73 | 0.4 | n |  | TRUE
35 | bus_LV_3235-3_1_4_node_166 | 0.4 | n |  | TRUE
36 | bus_LV_3235-3_1_4_node_71 | 0.4 | n |  | TRUE
37 | bus_LV_3235-3_1_4_node_176 | 0.4 | n |  | TRUE
38 | bus_LV_3235-3_1_4_node_94 | 0.4 | n |  | TRUE
39 | bus_LV_3235-3_1_4_node_95 | 0.4 | n |  | TRUE
40 | bus_LV_3235-3_1_4_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_3235-3_1_4_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_3235-3_1_4_node_98 | 0.4 | n |  | TRUE
43 | bus_LV_3235-3_1_4_node_116 | 0.4 | n |  | TRUE
44 | bus_LV_3235-3_1_4_node_194 | 0.4 | n |  | TRUE
45 | bus_LV_3235-3_1_4_node_158 | 0.4 | n |  | TRUE
46 | bus_LV_3235-3_1_4_node_223 | 0.4 | n |  | TRUE
47 | bus_LV_3235-3_1_4_node_114 | 0.4 | n |  | TRUE
48 | bus_LV_3235-3_1_4_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_3235-3_1_4_node_118 | 0.4 | n |  | TRUE
50 | bus_LV_3235-3_1_4_node_119 | 0.4 | n |  | TRUE
51 | bus_LV_3235-3_1_4_node_183 | 0.4 | n |  | TRUE
52 | bus_LV_3235-3_1_4_node_182 | 0.4 | n |  | TRUE
53 | bus_LV_3235-3_1_4_node_156 | 0.4 | n |  | TRUE
54 | bus_LV_3235-3_1_4_node_143 | 0.4 | n |  | TRUE
55 | bus_LV_3235-3_1_4_node_144 | 0.4 | n |  | TRUE
56 | bus_LV_3235-3_1_4_node_145 | 0.4 | n |  | TRUE
57 | bus_LV_3235-3_1_4_node_146 | 0.4 | n |  | TRUE
58 | bus_LV_3235-3_1_4_node_147 | 0.4 | n |  | TRUE
59 | bus_LV_3235-3_1_4_node_148 | 0.4 | n |  | TRUE
60 | bus_LV_3235-3_1_4_node_149 | 0.4 | n |  | TRUE
61 | bus_LV_3235-3_1_4_node_150 | 0.4 | n |  | TRUE
62 | bus_LV_3235-3_1_4_node_151 | 0.4 | n |  | TRUE
63 | bus_LV_3235-3_1_4_node_152 | 0.4 | n |  | TRUE
64 | bus_LV_3235-3_1_4_node_153 | 0.4 | n |  | TRUE
65 | bus_LV_3235-3_1_4_node_154 | 0.4 | n |  | TRUE
66 | bus_LV_3235-3_1_4_node_193 | 0.4 | n |  | TRUE
67 | bus_LV_3235-3_1_4_node_186 | 0.4 | n |  | TRUE
68 | bus_LV_3235-3_1_4_node_192 | 0.4 | n |  | TRUE
69 | bus_LV_3235-3_1_4_node_180 | 0.4 | n |  | TRUE
70 | bus_LV_3235-3_1_4_node_190 | 0.4 | n |  | TRUE
71 | bus_LV_3235-3_1_4_node_157 | 0.4 | n |  | TRUE
72 | bus_LV_3235-3_1_4_node_159 | 0.4 | n |  | TRUE
73 | bus_LV_3235-3_1_4_node_160 | 0.4 | n |  | TRUE
74 | bus_LV_3235-3_1_4_node_161 | 0.4 | n |  | TRUE
75 | bus_LV_3235-3_1_4_node_162 | 0.4 | n |  | TRUE
76 | bus_LV_3235-3_1_4_node_230 | 0.4 | n |  | TRUE
77 | bus_LV_3235-3_1_4_node_202 | 0.4 | n |  | TRUE
78 | bus_LV_3235-3_1_4_node_163 | 0.4 | n |  | TRUE
79 | bus_LV_3235-3_1_4_node_164 | 0.4 | n |  | TRUE
80 | bus_LV_3235-3_1_4_node_165 | 0.4 | n |  | TRUE
81 | bus_LV_3235-3_1_4_node_167 | 0.4 | n |  | TRUE
82 | bus_LV_3235-3_1_4_node_168 | 0.4 | n |  | TRUE
83 | bus_LV_3235-3_1_4_node_181 | 0.4 | n |  | TRUE
84 | bus_LV_3235-3_1_4_node_169 | 0.4 | n |  | TRUE
85 | bus_LV_3235-3_1_4_node_171 | 0.4 | n |  | TRUE
86 | bus_LV_3235-3_1_4_node_172 | 0.4 | n |  | TRUE
87 | bus_LV_3235-3_1_4_node_177 | 0.4 | n |  | TRUE
88 | bus_LV_3235-3_1_4_node_178 | 0.4 | n |  | TRUE
89 | bus_LV_3235-3_1_4_node_179 | 0.4 | n |  | TRUE
90 | bus_LV_3235-3_1_4_node_185 | 0.4 | n |  | TRUE
91 | bus_LV_3235-3_1_4_node_187 | 0.4 | n |  | TRUE
92 | bus_LV_3235-3_1_4_node_188 | 0.4 | n |  | TRUE
93 | bus_LV_3235-3_1_4_node_189 | 0.4 | n |  | TRUE
94 | bus_LV_3235-3_1_4_node_191 | 0.4 | n |  | TRUE
95 | bus_LV_3235-3_1_4_node_203 | 0.4 | n |  | TRUE
96 | bus_LV_3235-3_1_4_node_197 | 0.4 | n |  | TRUE
97 | bus_LV_3235-3_1_4_node_198 | 0.4 | n |  | TRUE
98 | bus_LV_3235-3_1_4_node_199 | 0.4 | n |  | TRUE
99 | bus_LV_3235-3_1_4_node_200 | 0.4 | n |  | TRUE
100 | bus_LV_3235-3_1_4_node_201 | 0.4 | n |  | TRUE
101 | bus_LV_3235-3_1_4_node_204 | 0.4 | n |  | TRUE
102 | bus_LV_3235-3_1_4_node_209 | 0.4 | n |  | TRUE
103 | bus_LV_3235-3_1_4_node_233 | 0.4 | n |  | TRUE
104 | bus_LV_3235-3_1_4_node_206 | 0.4 | n |  | TRUE
105 | bus_LV_3235-3_1_4_node_207 | 0.4 | n |  | TRUE
106 | bus_LV_3235-3_1_4_node_210 | 0.4 | n |  | TRUE
107 | bus_LV_3235-3_1_4_node_212 | 0.4 | n |  | TRUE
108 | bus_LV_3235-3_1_4_node_211 | 0.4 | n |  | TRUE
109 | bus_MV_45_0_node_28 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3235-3_1_4_load_6 | 0 | 0.0016908 | 0.00042376 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3235-3_1_4_load_7 | 1 | 0.0022905 | 0.00057406 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3235-3_1_4_load_10 | 4 | 0.0015925 | 0.00039911 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3235-3_1_4_load_208 | 5 | 0.0019463 | 0.00048779 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3235-3_1_4_load_205 | 6 | 0.0017201 | 0.0004311 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3235-3_1_4_load_27 | 7 | 0.001561 | 0.00039122 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3235-3_1_4_load_28 | 8 | 0.0034773 | 0.00087149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3235-3_1_4_load_221 | 11 | 0.0023623 | 0.00059204 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3235-3_1_4_load_48 | 12 | 0.0021275 | 0.0005332 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3235-3_1_4_load_49 | 13 | 0.00091036 | 0.00022816 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3235-3_1_4_load_52 | 16 | 0.001437 | 0.00036016 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3235-3_1_4_load_53 | 17 | 0.0021656 | 0.00054276 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3235-3_1_4_load_67 | 18 | 0.0011406 | 0.00028586 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3235-3_1_4_load_68 | 19 | 0.0027368 | 0.00068591 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3235-3_1_4_load_72 | 20 | 0.002623 | 0.0006574 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3235-3_1_4_load_170 | 21 | 0.0013097 | 0.00032823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3235-3_1_4_load_54 | 22 | 0.0016982 | 0.00042561 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3235-3_1_4_load_55 | 23 | 0.0020388 | 0.00051096 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3235-3_1_4_load_57 | 25 | 0.0015089 | 0.00037817 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3235-3_1_4_load_58 | 26 | 0.0014038 | 0.00035182 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3235-3_1_4_load_59 | 29 | 0.0017717 | 0.00044404 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3235-3_1_4_load_62 | 31 | 0.0066532 | 0.0016674 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3235-3_1_4_load_63 | 32 | 0.0011186 | 0.00028034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3235-3_1_4_load_69 | 33 | 0.0011006 | 0.00027584 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3235-3_1_4_load_73 | 34 | 0.0039943 | 0.0010011 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3235-3_1_4_load_166 | 35 | 0.0025149 | 0.0006303 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3235-3_1_4_load_71 | 36 | 0.00085931 | 0.00021536 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3235-3_1_4_load_176 | 37 | 0.0022867 | 0.00057309 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3235-3_1_4_load_94 | 38 | 0.0026587 | 0.00066633 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3235-3_1_4_load_95 | 39 | 0.0023639 | 0.00059244 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3235-3_1_4_load_97 | 41 | 0.0031552 | 0.00079076 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3235-3_1_4_load_194 | 44 | 0.0079319 | 0.0019879 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3235-3_1_4_load_158 | 45 | 0.0033489 | 0.00083932 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3235-3_1_4_load_223 | 46 | 0.0027705 | 0.00069436 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3235-3_1_4_load_114 | 47 | 0.0026405 | 0.00066176 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3235-3_1_4_load_115 | 48 | 0.0048565 | 0.0012171 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3235-3_1_4_load_119 | 50 | 0.0082888 | 0.0020774 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3235-3_1_4_load_183 | 51 | 0.0031102 | 0.00077949 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3235-3_1_4_load_182 | 52 | 0.0031877 | 0.00079891 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3235-3_1_4_load_156 | 53 | 0.0047048 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3235-3_1_4_load_143 | 54 | 0.0036237 | 0.00090818 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3235-3_1_4_load_144 | 55 | 0.0033551 | 0.00084087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3235-3_1_4_load_145 | 56 | 0.0060702 | 0.0015213 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3235-3_1_4_load_146 | 57 | 0.0028893 | 0.00072412 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3235-3_1_4_load_147 | 58 | 0.0025198 | 0.00063152 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3235-3_1_4_load_148 | 59 | 0.006439 | 0.0016138 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3235-3_1_4_load_151 | 62 | 0.0044539 | 0.0011162 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3235-3_1_4_load_153 | 64 | 0.002261 | 0.00056666 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3235-3_1_4_load_193 | 66 | 0.0089026 | 0.0022312 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3235-3_1_4_load_186 | 67 | 0.0055292 | 0.0013857 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3235-3_1_4_load_192 | 68 | 0.0051882 | 0.0013003 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3235-3_1_4_load_190 | 70 | 0.0019843 | 0.00049731 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3235-3_1_4_load_157 | 71 | 0.0058676 | 0.0014706 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3235-3_1_4_load_159 | 72 | 0.0018288 | 0.00045835 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3235-3_1_4_load_161 | 74 | 0.002626 | 0.00065814 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3235-3_1_4_load_230 | 76 | 0.0040279 | 0.0010095 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3235-3_1_4_load_163 | 78 | 0.0036026 | 0.0009029 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3235-3_1_4_load_164 | 79 | 0.0032568 | 0.00081623 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3235-3_1_4_load_167 | 81 | 0.0017074 | 0.00042793 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3235-3_1_4_load_168 | 82 | 0.0027692 | 0.00069403 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3235-3_1_4_load_169 | 84 | 0.005386 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3235-3_1_4_load_171 | 85 | 0.0022249 | 0.00055761 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3235-3_1_4_load_172 | 86 | 0.0019593 | 0.00049104 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3235-3_1_4_load_177 | 87 | 0.005248 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3235-3_1_4_load_178 | 88 | 0.0028447 | 0.00071296 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3235-3_1_4_load_179 | 89 | 0.0029486 | 0.00073898 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3235-3_1_4_load_185 | 90 | 0.0026783 | 0.00067124 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3235-3_1_4_load_187 | 91 | 0.004045 | 0.0010138 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3235-3_1_4_load_188 | 92 | 0.0022071 | 0.00055314 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3235-3_1_4_load_189 | 93 | 0.0015855 | 0.00039737 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3235-3_1_4_load_191 | 94 | 0.0036185 | 0.00090687 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3235-3_1_4_load_197 | 96 | 0.025678 | 0.0064356 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3235-3_1_4_load_198 | 97 | 0.061778 | 0.015483 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3235-3_1_4_load_201 | 100 | 0.0010266 | 0.00025729 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3235-3_1_4_load_233 | 103 | 0.0016837 | 0.00042198 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3235-3_1_4_load_206 | 104 | 0.0015125 | 0.00037908 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3235-3_1_4_load_210 | 106 | 0.0033014 | 0.00082742 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3235-3_1_4_load_212 | 107 | 0.0012559 | 0.00031476 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3235-3_1_4_load_211 | 108 | 0.0012373 | 0.00031011 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 56 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3235-3_1_4_line_0 |  | 0 | 1 | 0.0092484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3235-3_1_4_line_1 |  | 0 | 2 | 0.012065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3235-3_1_4_line_2 |  | 1 | 3 | 0.035274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3235-3_1_4_line_3 |  | 2 | 4 | 0.011641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3235-3_1_4_line_4 |  | 3 | 5 | 0.010292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3235-3_1_4_line_5 |  | 3 | 6 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3235-3_1_4_line_6 |  | 5 | 106 | 0.011389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3235-3_1_4_line_7 |  | 6 | 104 | 0.011519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3235-3_1_4_line_8 |  | 7 | 8 | 0.02561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3235-3_1_4_line_9 |  | 8 | 9 | 0.0041075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3235-3_1_4_line_10 |  | 9 | 10 | 0.022875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3235-3_1_4_line_11 |  | 9 | 11 | 0.015115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3235-3_1_4_line_12 |  | 10 | 46 | 0.027205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3235-3_1_4_line_13 |  | 10 | 40 | 0.022176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3235-3_1_4_line_14 |  | 12 | 13 | 0.018442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3235-3_1_4_line_15 |  | 12 | 14 | 0.015272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3235-3_1_4_line_16 |  | 13 | 15 | 0.0085778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3235-3_1_4_line_17 |  | 14 | 16 | 0.0063728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3235-3_1_4_line_18 |  | 14 | 17 | 0.016545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3235-3_1_4_line_19 |  | 15 | 18 | 0.010339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3235-3_1_4_line_20 |  | 15 | 19 | 0.01544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3235-3_1_4_line_21 |  | 16 | 20 | 0.020114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3235-3_1_4_line_22 |  | 17 | 21 | 0.0027647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3235-3_1_4_line_23 |  | 18 | 33 | 0.00041136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3235-3_1_4_line_24 |  | 19 | 35 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3235-3_1_4_line_25 |  | 20 | 27 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3235-3_1_4_line_26 |  | 21 | 84 | 0.0033389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3235-3_1_4_line_27 |  | 22 | 23 | 0.016101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3235-3_1_4_line_28 |  | 22 | 24 | 0.018267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3235-3_1_4_line_29 |  | 23 | 25 | 0.0073124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3235-3_1_4_line_30 |  | 24 | 26 | 0.014888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3235-3_1_4_line_31 |  | 25 | 27 | 0.019906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3235-3_1_4_line_32 |  | 26 | 28 | 0.025277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3235-3_1_4_line_33 |  | 27 | 34 | 0.0032811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3235-3_1_4_line_34 |  | 28 | 36 | 0.0073987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3235-3_1_4_line_35 |  | 29 | 30 | 0.0014362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3235-3_1_4_line_36 |  | 30 | 31 | 0.021458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3235-3_1_4_line_37 |  | 30 | 32 | 0.012755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3235-3_1_4_line_38 |  | 32 | 33 | 0.013757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3235-3_1_4_line_39 |  | 34 | 37 | 0.0074041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3235-3_1_4_line_40 |  | 35 | 79 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3235-3_1_4_line_41 |  | 37 | 87 | 0.019533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3235-3_1_4_line_42 |  | 38 | 39 | 0.0031813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3235-3_1_4_line_43 |  | 38 | 40 | 0.054343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3235-3_1_4_line_44 |  | 39 | 41 | 0.036283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3235-3_1_4_line_45 |  | 40 | 42 | 0.032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3235-3_1_4_line_46 |  | 41 | 43 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3235-3_1_4_line_47 |  | 42 | 44 | 0.014857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3235-3_1_4_line_48 |  | 42 | 45 | 0.010576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3235-3_1_4_line_49 |  | 43 | 49 | 0.02968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3235-3_1_4_line_50 |  | 43 | 50 | 0.015133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3235-3_1_4_line_51 |  | 43 | 47 | 0.030514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3235-3_1_4_line_52 |  | 44 | 95 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3235-3_1_4_line_53 |  | 45 | 71 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3235-3_1_4_line_54 |  | 47 | 48 | 0.0071773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3235-3_1_4_line_55 |  | 49 | 51 | 0.01256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3235-3_1_4_line_56 |  | 49 | 52 | 0.003833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3235-3_1_4_line_57 |  | 50 | 53 | 0.040758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_3235-3_1_4_line_58 |  | 52 | 81 | 0.00045722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3235-3_1_4_line_59 |  | 53 | 58 | 0.019776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3235-3_1_4_line_60 |  | 54 | 55 | 0.025669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3235-3_1_4_line_61 |  | 54 | 56 | 0.032002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3235-3_1_4_line_62 |  | 55 | 57 | 0.031199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3235-3_1_4_line_63 |  | 56 | 58 | 0.019572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3235-3_1_4_line_64 |  | 59 | 60 | 0.0066586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3235-3_1_4_line_65 |  | 59 | 61 | 0.024246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3235-3_1_4_line_66 |  | 60 | 62 | 0.015814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3235-3_1_4_line_67 |  | 60 | 63 | 0.016855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3235-3_1_4_line_68 |  | 61 | 64 | 0.013855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3235-3_1_4_line_69 |  | 61 | 65 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3235-3_1_4_line_70 |  | 62 | 66 | 0.030701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3235-3_1_4_line_71 |  | 63 | 67 | 0.0173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3235-3_1_4_line_72 |  | 64 | 68 | 0.0021568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3235-3_1_4_line_73 |  | 65 | 69 | 0.036007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3235-3_1_4_line_74 |  | 65 | 70 | 0.012625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3235-3_1_4_line_75 |  | 67 | 90 | 0.019416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3235-3_1_4_line_76 |  | 69 | 89 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3235-3_1_4_line_77 |  | 70 | 92 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3235-3_1_4_line_78 |  | 71 | 72 | 0.035175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3235-3_1_4_line_79 |  | 72 | 73 | 0.017377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3235-3_1_4_line_80 |  | 73 | 74 | 0.021626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3235-3_1_4_line_81 |  | 73 | 75 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3235-3_1_4_line_82 |  | 75 | 76 | 0.011062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3235-3_1_4_line_83 |  | 75 | 77 | 0.003965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3235-3_1_4_line_84 |  | 77 | 100 | 0.016315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3235-3_1_4_line_85 |  | 78 | 79 | 0.0010312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3235-3_1_4_line_86 |  | 78 | 80 | 0.01167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_3235-3_1_4_line_87 |  | 80 | 81 | 0.02444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3235-3_1_4_line_88 |  | 80 | 82 | 0.026358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3235-3_1_4_line_89 |  | 82 | 83 | 0.017995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3235-3_1_4_line_90 |  | 83 | 86 | 0.010297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3235-3_1_4_line_91 |  | 85 | 86 | 0.00050265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3235-3_1_4_line_92 |  | 87 | 88 | 0.018147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3235-3_1_4_line_93 |  | 88 | 89 | 0.00076672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3235-3_1_4_line_94 |  | 91 | 92 | 0.011926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3235-3_1_4_line_95 |  | 91 | 93 | 0.0035953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3235-3_1_4_line_96 |  | 93 | 94 | 0.0068322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3235-3_1_4_line_97 |  | 95 | 101 | 0.004287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3235-3_1_4_line_98 |  | 95 | 102 | 0.031326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3235-3_1_4_line_99 |  | 96 | 97 | 0.031689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3235-3_1_4_line_100 |  | 96 | 98 | 0.015812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3235-3_1_4_line_101 |  | 98 | 99 | 0.039405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3235-3_1_4_line_102 |  | 99 | 100 | 0.021316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3235-3_1_4_line_103 |  | 101 | 103 | 0.005307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3235-3_1_4_line_104 |  | 102 | 105 | 0.018168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3235-3_1_4_line_105 |  | 104 | 105 | 0.02327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3235-3_1_4_line_106 |  | 106 | 107 | 0.042889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3235-3_1_4_line_107 |  | 107 | 108 | 0.009324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3235-3_1_4_trafo_145 | 0.63 MVA 20/0.4 kV | 109 | 56 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2761570.5322 | 1259759.5447 | 2761579.6887 | 1259760.845
1 | 2761558.7878 | 1259756.9814 | 2761563.6844 | 1259758.5723 | 2761570.5322 | 1259759.5447
2 | 2761614.9123 | 1259762.6197 | 2761580.9489 | 1259761.0239 | 2761579.6887 | 1259760.845
3 | 2761558.7878 | 1259756.9814 | 2761557.9803 | 1259768.5937
4 | 2761614.9123 | 1259762.6197 | 2761615.3594 | 1259752.6103 | 2761615.1137 | 1259752.4926
5 | 2761614.9123 | 1259762.6197 | 2761639.1192 | 1259763.8122
6 | 2761615.1137 | 1259752.4926 | 2761604.8419 | 1259747.5732
7 | 2761639.1192 | 1259763.8122 | 2761650.6243 | 1259764.379
8 | 2761586.6293 | 1259675.3203 | 2761612.2352 | 1259675.7637
9 | 2761616.3421 | 1259675.8348 | 2761612.2352 | 1259675.7637
10 | 2761616.3421 | 1259675.8348 | 2761639.2817 | 1259676.2395
11 | 2761610.8509 | 1259689.9218 | 2761616.3421 | 1259675.8348
12 | 2761632.0172 | 1259701.9457 | 2761637.7259 | 1259691.2127 | 2761639.2817 | 1259676.2395
13 | 2761639.2817 | 1259676.2395 | 2761661.1513 | 1259672.1993
14 | 2761702.0939 | 1259484.9765 | 2761684.0307 | 1259481.2571
15 | 2761717.0525 | 1259488.0567 | 2761702.0939 | 1259484.9765
16 | 2761675.6292 | 1259479.5271 | 2761684.0307 | 1259481.2571
17 | 2761717.0525 | 1259488.0567 | 2761723.2944 | 1259489.3416
18 | 2761717.0525 | 1259488.0567 | 2761714.5838 | 1259504.4163
19 | 2761675.6292 | 1259479.5271 | 2761665.5029 | 1259477.4418
20 | 2761675.6292 | 1259479.5271 | 2761672.8263 | 1259494.7102
21 | 2761742.9948 | 1259493.3971 | 2761733.6278 | 1259491.4687 | 2761723.2944 | 1259489.3416
22 | 2761714.1713 | 1259507.15 | 2761714.5838 | 1259504.4163
23 | 2761665.5029 | 1259477.4418 | 2761665.1 | 1259477.3588
24 | 2761669.2099 | 1259514.3006 | 2761672.8263 | 1259494.7102
25 | 2761757.1182 | 1259496.3047 | 2761742.9948 | 1259493.3971
26 | 2761713.6731 | 1259510.4515 | 2761714.1713 | 1259507.15
27 | 2761764.958 | 1259453.7002 | 2761762.0441 | 1259469.5353
28 | 2761768.2638 | 1259435.735 | 2761764.958 | 1259453.7002
29 | 2761760.7208 | 1259476.7269 | 2761762.0441 | 1259469.5353
30 | 2761768.2638 | 1259435.735 | 2761754.5597 | 1259429.9174
31 | 2761757.1182 | 1259496.3047 | 2761760.7208 | 1259476.7269
32 | 2761732.3367 | 1259418.1792 | 2761734.4951 | 1259418.9612 | 2761743.5626 | 1259425.2489 | 2761754.5597 | 1259429.9174
33 | 2761757.1182 | 1259496.3047 | 2761756.4592 | 1259499.5189
34 | 2761732.3367 | 1259418.1792 | 2761732.6921 | 1259410.7891
35 | 2761639.1334 | 1259472.0113 | 2761637.7267 | 1259471.7215
36 | 2761639.1334 | 1259472.0113 | 2761635.8985 | 1259493.2229
37 | 2761639.1334 | 1259472.0113 | 2761651.6258 | 1259474.584
38 | 2761651.6258 | 1259474.584 | 2761665.1 | 1259477.3588
39 | 2761756.4592 | 1259499.5189 | 2761754.972 | 1259506.7721
40 | 2761669.2099 | 1259514.3006 | 2761666.2389 | 1259530.3947
41 | 2761751.0485 | 1259525.9069 | 2761754.972 | 1259506.7721
42 | 2761636.6167 | 1259623.9226 | 2761635.7373 | 1259620.8652
43 | 2761661.1513 | 1259672.1993 | 2761639.0549 | 1259632.3987 | 2761636.6167 | 1259623.9226
44 | 2761636.889 | 1259584.9576 | 2761634.0339 | 1259614.9434 | 2761635.7373 | 1259620.8652
45 | 2761675.109 | 1259701.8115 | 2761661.1513 | 1259672.1993
46 | 2761635.9259 | 1259567.2564 | 2761637.9697 | 1259573.6077 | 2761636.889 | 1259584.9576
47 | 2761675.109 | 1259701.8115 | 2761681.4443 | 1259715.2502
48 | 2761675.109 | 1259701.8115 | 2761685.5328 | 1259703.6012
49 | 2761635.9259 | 1259567.2564 | 2761633.3386 | 1259556.7859 | 2761635.6163 | 1259538.0286
50 | 2761635.9259 | 1259567.2564 | 2761650.2802 | 1259572.0478
51 | 2761635.9259 | 1259567.2564 | 2761605.6972 | 1259563.0932 | 2761605.6972 | 1259563.0932
52 | 2761688.7259 | 1259728.7116 | 2761686.4077 | 1259725.7786 | 2761681.4443 | 1259715.2502
53 | 2761685.5328 | 1259703.6012 | 2761697.4569 | 1259705.6483 | 2761699.1786 | 1259697.3725
54 | 2761605.6972 | 1259563.0932 | 2761600.4226 | 1259567.9606
55 | 2761635.6163 | 1259538.0286 | 2761623.3156 | 1259535.4918
56 | 2761635.6163 | 1259538.0286 | 2761639.3942 | 1259538.6765
57 | 2761650.2802 | 1259572.0478 | 2761688.9417 | 1259584.9528
58 | 2761639.8448 | 1259538.7537 | 2761639.3942 | 1259538.6765
59 | 2761707.7001 | 1259591.2142 | 2761688.9417 | 1259584.9528
60 | 2761758.0645 | 1259600.009 | 2761783.6982 | 1259601.3488
61 | 2761758.0645 | 1259600.009 | 2761733.3638 | 1259598.7179 | 2761729.0972 | 1259598.3565 | 2761726.2651 | 1259597.4111
62 | 2761813.1748 | 1259611.2236 | 2761786.5059 | 1259601.4955 | 2761783.6982 | 1259601.3488
63 | 2761707.7001 | 1259591.2142 | 2761726.2651 | 1259597.4111
64 | 2761826.3682 | 1259569.4742 | 2761819.7888 | 1259568.4506
65 | 2761795.8313 | 1259564.7232 | 2761819.7888 | 1259568.4506
66 | 2761826.3682 | 1259569.4742 | 2761828.2304 | 1259553.7706
67 | 2761843.071 | 1259572.0781 | 2761826.3682 | 1259569.4742
68 | 2761795.8313 | 1259564.7232 | 2761797.662 | 1259550.99
69 | 2761795.8313 | 1259564.7232 | 2761780.4055 | 1259562.3101
70 | 2761828.2304 | 1259553.7706 | 2761830.4082 | 1259535.4047 | 2761818.2936 | 1259533.912
71 | 2761843.071 | 1259572.0781 | 2761846.0372 | 1259555.0348
72 | 2761797.9469 | 1259548.8521 | 2761797.662 | 1259550.99
73 | 2761780.4055 | 1259562.3101 | 2761759.3647 | 1259559.1984 | 2761744.7241 | 1259556.7512
74 | 2761780.4055 | 1259562.3101 | 2761781.905 | 1259549.7741
75 | 2761844.8784 | 1259539.0489 | 2761848.7006 | 1259539.7316 | 2761846.0372 | 1259555.0348
76 | 2761744.7241 | 1259556.7512 | 2761747.2494 | 1259544.4354
77 | 2761781.905 | 1259549.7741 | 2761783.8825 | 1259533.2418
78 | 2761699.1786 | 1259697.3725 | 2761732.0015 | 1259710.0196
79 | 2761746.3832 | 1259717.7535 | 2761741.0407 | 1259711.5121 | 2761732.0015 | 1259710.0196
80 | 2761746.3832 | 1259717.7535 | 2761741.1531 | 1259716.7762 | 2761735.9999 | 1259715.7454 | 2761733.8096 | 1259726.608
81 | 2761746.3832 | 1259717.7535 | 2761759.5895 | 1259720.2282 | 2761763.814 | 1259721.0223
82 | 2761763.814 | 1259721.0223 | 2761765.8162 | 1259710.1434
83 | 2761763.814 | 1259721.0223 | 2761767.7235 | 1259721.7521
84 | 2761767.7235 | 1259721.7521 | 2761783.7621 | 1259724.742
85 | 2761666.0517 | 1259531.4088 | 2761666.2389 | 1259530.3947
86 | 2761663.9331 | 1259542.8848 | 2761666.0517 | 1259531.4088
87 | 2761663.9331 | 1259542.8848 | 2761639.8448 | 1259538.7537
88 | 2761663.9331 | 1259542.8848 | 2761689.9112 | 1259547.3432
89 | 2761707.6468 | 1259550.3869 | 2761689.9112 | 1259547.3432
90 | 2761707.6468 | 1259550.3869 | 2761709.1832 | 1259540.2054
91 | 2761709.1832 | 1259540.2054 | 2761709.2582 | 1259539.7083
92 | 2761747.4034 | 1259543.6843 | 2761751.0485 | 1259525.9069
93 | 2761747.2494 | 1259544.4354 | 2761747.4034 | 1259543.6843
94 | 2761785.2989 | 1259521.4002 | 2761783.8825 | 1259533.2418
95 | 2761785.2989 | 1259521.4002 | 2761785.7259 | 1259517.8303
96 | 2761786.5374 | 1259511.0464 | 2761785.7259 | 1259517.8303
97 | 2761688.7259 | 1259728.7116 | 2761691.9485 | 1259725.8745
98 | 2761688.7259 | 1259728.7116 | 2761671.6119 | 1259754.9493
99 | 2761806.149 | 1259700.1889 | 2761785.0778 | 1259696.122 | 2761775.0337 | 1259694.1843
100 | 2761821.6749 | 1259703.1855 | 2761806.149 | 1259700.1889
101 | 2761804.7172 | 1259728.6484 | 2761815.77 | 1259730.7195 | 2761821.6749 | 1259703.1855
102 | 2761804.7172 | 1259728.6484 | 2761783.7621 | 1259724.742
103 | 2761691.9485 | 1259725.8745 | 2761697.1871 | 1259726.8186
104 | 2761670.0384 | 1259773.0474 | 2761671.6119 | 1259754.9493
105 | 2761670.0384 | 1259773.0474 | 2761667.296 | 1259767.9783 | 2761662.0996 | 1259764.9443 | 2761650.6243 | 1259764.379
106 | 2761580.4501 | 1259712.295 | 2761604.8419 | 1259747.5732
107 | 2761572.0049 | 1259708.3435 | 2761580.4501 | 1259712.295

## bus_geodata
| x | y | coords
0 | 2761570.5322 | 1259759.5447
1 | 2761579.6887 | 1259760.845
2 | 2761558.7878 | 1259756.9814
3 | 2761614.9123 | 1259762.6197
4 | 2761557.9802 | 1259768.5937
5 | 2761615.1137 | 1259752.4926
6 | 2761639.1192 | 1259763.8122
7 | 2761586.6293 | 1259675.3203
8 | 2761612.2352 | 1259675.7637
9 | 2761616.3421 | 1259675.8348
10 | 2761639.2817 | 1259676.2395
11 | 2761610.8509 | 1259689.9218
12 | 2761702.0939 | 1259484.9765
13 | 2761684.0307 | 1259481.2571
14 | 2761717.0525 | 1259488.0567
15 | 2761675.6292 | 1259479.5271
16 | 2761723.2944 | 1259489.3416
17 | 2761714.5838 | 1259504.4163
18 | 2761665.5029 | 1259477.4418
19 | 2761672.8263 | 1259494.7102
20 | 2761742.9948 | 1259493.3971
21 | 2761714.1713 | 1259507.15
22 | 2761764.958 | 1259453.7002
23 | 2761762.0441 | 1259469.5353
24 | 2761768.2638 | 1259435.735
25 | 2761760.7208 | 1259476.7269
26 | 2761754.5597 | 1259429.9174
27 | 2761757.1182 | 1259496.3047
28 | 2761732.3367 | 1259418.1792
29 | 2761637.7267 | 1259471.7215
30 | 2761639.1334 | 1259472.0113
31 | 2761635.8985 | 1259493.2229
32 | 2761651.6258 | 1259474.584
33 | 2761665.1 | 1259477.3588
34 | 2761756.4592 | 1259499.5189
35 | 2761669.2099 | 1259514.3006
36 | 2761732.6921 | 1259410.7891
37 | 2761754.972 | 1259506.7721
38 | 2761636.6167 | 1259623.9226
39 | 2761635.7373 | 1259620.8652
40 | 2761661.1513 | 1259672.1993
41 | 2761636.889 | 1259584.9576
42 | 2761675.109 | 1259701.8115
43 | 2761635.9259 | 1259567.2564
44 | 2761681.4443 | 1259715.2502
45 | 2761685.5328 | 1259703.6012
46 | 2761632.0172 | 1259701.9457
47 | 2761605.6972 | 1259563.0932
48 | 2761600.4226 | 1259567.9606
49 | 2761635.6163 | 1259538.0286
50 | 2761650.2802 | 1259572.0478
51 | 2761623.3156 | 1259535.4918
52 | 2761639.3942 | 1259538.6765
53 | 2761688.9417 | 1259584.9528
54 | 2761758.0645 | 1259600.009
55 | 2761783.6982 | 1259601.3488
56 | 2761726.2651 | 1259597.4111
57 | 2761813.1748 | 1259611.2236
58 | 2761707.7001 | 1259591.2142
59 | 2761819.7888 | 1259568.4506
60 | 2761826.3682 | 1259569.4742
61 | 2761795.8313 | 1259564.7232
62 | 2761828.2304 | 1259553.7706
63 | 2761843.071 | 1259572.0781
64 | 2761797.662 | 1259550.99
65 | 2761780.4055 | 1259562.3101
66 | 2761818.2936 | 1259533.912
67 | 2761846.0372 | 1259555.0348
68 | 2761797.9469 | 1259548.8521
69 | 2761744.7241 | 1259556.7512
70 | 2761781.905 | 1259549.7741
71 | 2761699.1786 | 1259697.3725
72 | 2761732.0015 | 1259710.0196
73 | 2761746.3832 | 1259717.7535
74 | 2761733.8096 | 1259726.608
75 | 2761763.814 | 1259721.0223
76 | 2761765.8162 | 1259710.1434
77 | 2761767.7235 | 1259721.7521
78 | 2761666.0517 | 1259531.4088
79 | 2761666.2389 | 1259530.3947
80 | 2761663.9331 | 1259542.8848
81 | 2761639.8448 | 1259538.7537
82 | 2761689.9112 | 1259547.3432
83 | 2761707.6468 | 1259550.3869
84 | 2761713.6731 | 1259510.4515
85 | 2761709.2582 | 1259539.7083
86 | 2761709.1832 | 1259540.2054
87 | 2761751.0485 | 1259525.9069
88 | 2761747.4034 | 1259543.6843
89 | 2761747.2494 | 1259544.4354
90 | 2761844.8784 | 1259539.0489
91 | 2761785.2989 | 1259521.4002
92 | 2761783.8825 | 1259533.2418
93 | 2761785.7259 | 1259517.8303
94 | 2761786.5374 | 1259511.0464
95 | 2761688.7259 | 1259728.7116
96 | 2761806.149 | 1259700.1889
97 | 2761775.0337 | 1259694.1843
98 | 2761821.6749 | 1259703.1855
99 | 2761804.7172 | 1259728.6484
100 | 2761783.7621 | 1259724.742
101 | 2761691.9485 | 1259725.8745
102 | 2761671.6119 | 1259754.9493
103 | 2761697.1871 | 1259726.8186
104 | 2761650.6243 | 1259764.379
105 | 2761670.0384 | 1259773.0474
106 | 2761604.8419 | 1259747.5732
107 | 2761580.4501 | 1259712.295
108 | 2761572.0049 | 1259708.3435
109 | 2761635.9259 | 1259567.2564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1