## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3235-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3235-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3235-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3235-5_0_5_node_111 | 0.4 | n |  | TRUE
4 | bus_LV_3235-5_0_5_node_110 | 0.4 | n |  | TRUE
5 | bus_LV_3235-5_0_5_node_30 | 0.4 | n |  | TRUE
6 | bus_LV_3235-5_0_5_node_78 | 0.4 | n |  | TRUE
7 | bus_LV_3235-5_0_5_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_3235-5_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3235-5_0_5_node_4 | 0.4 | n |  | TRUE
10 | bus_LV_3235-5_0_5_node_79 | 0.4 | n |  | TRUE
11 | bus_LV_3235-5_0_5_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_3235-5_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_3235-5_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_3235-5_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3235-5_0_5_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_3235-5_0_5_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3235-5_0_5_node_86 | 0.4 | n |  | TRUE
18 | bus_LV_3235-5_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3235-5_0_5_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3235-5_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3235-5_0_5_node_85 | 0.4 | n |  | TRUE
22 | bus_LV_3235-5_0_5_node_35 | 0.4 | n |  | TRUE
23 | bus_LV_3235-5_0_5_node_76 | 0.4 | n |  | TRUE
24 | bus_LV_3235-5_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_3235-5_0_5_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_3235-5_0_5_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_3235-5_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_3235-5_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3235-5_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3235-5_0_5_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3235-5_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_3235-5_0_5_node_59 | 0.4 | n |  | TRUE
33 | bus_LV_3235-5_0_5_node_60 | 0.4 | n |  | TRUE
34 | bus_LV_3235-5_0_5_node_61 | 0.4 | n |  | TRUE
35 | bus_LV_3235-5_0_5_node_62 | 0.4 | n |  | TRUE
36 | bus_LV_3235-5_0_5_node_63 | 0.4 | n |  | TRUE
37 | bus_LV_3235-5_0_5_node_64 | 0.4 | n |  | TRUE
38 | bus_LV_3235-5_0_5_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_3235-5_0_5_node_100 | 0.4 | n |  | TRUE
40 | bus_LV_3235-5_0_5_node_112 | 0.4 | n |  | TRUE
41 | bus_LV_3235-5_0_5_node_113 | 0.4 | n |  | TRUE
42 | bus_LV_3235-5_0_5_node_114 | 0.4 | n |  | TRUE
43 | bus_LV_3235-5_0_5_node_115 | 0.4 | n |  | TRUE
44 | bus_LV_3235-5_0_5_node_116 | 0.4 | n |  | TRUE
45 | bus_LV_3235-5_0_5_node_118 | 0.4 | n |  | TRUE
46 | bus_LV_3235-5_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_3235-5_0_5_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_3235-5_0_5_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_3235-5_0_5_node_109 | 0.4 | n |  | TRUE
50 | bus_LV_3235-5_0_5_node_19 | 0.4 | n |  | TRUE
51 | bus_LV_3235-5_0_5_node_20 | 0.4 | n |  | TRUE
52 | bus_LV_3235-5_0_5_node_21 | 0.4 | n |  | TRUE
53 | bus_LV_3235-5_0_5_node_22 | 0.4 | n |  | TRUE
54 | bus_LV_3235-5_0_5_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_3235-5_0_5_node_26 | 0.4 | n |  | TRUE
56 | bus_LV_3235-5_0_5_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_3235-5_0_5_node_103 | 0.4 | n |  | TRUE
58 | bus_LV_3235-5_0_5_node_69 | 0.4 | n |  | TRUE
59 | bus_LV_3235-5_0_5_node_104 | 0.4 | n |  | TRUE
60 | bus_LV_3235-5_0_5_node_105 | 0.4 | n |  | TRUE
61 | bus_LV_3235-5_0_5_node_101 | 0.4 | n |  | TRUE
62 | bus_LV_3235-5_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_3235-5_0_5_node_31 | 0.4 | n |  | TRUE
64 | bus_LV_3235-5_0_5_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_3235-5_0_5_node_95 | 0.4 | n |  | TRUE
66 | bus_LV_3235-5_0_5_node_75 | 0.4 | n |  | TRUE
67 | bus_LV_3235-5_0_5_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_3235-5_0_5_node_38 | 0.4 | n |  | TRUE
69 | bus_LV_3235-5_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_3235-5_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_3235-5_0_5_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_3235-5_0_5_node_42 | 0.4 | n |  | TRUE
73 | bus_LV_3235-5_0_5_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_3235-5_0_5_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3235-5_0_5_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3235-5_0_5_node_43 | 0.4 | n |  | TRUE
77 | bus_LV_3235-5_0_5_node_44 | 0.4 | n |  | TRUE
78 | bus_LV_3235-5_0_5_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_3235-5_0_5_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_3235-5_0_5_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_3235-5_0_5_node_49 | 0.4 | n |  | TRUE
82 | bus_LV_3235-5_0_5_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_3235-5_0_5_node_47 | 0.4 | n |  | TRUE
84 | bus_LV_3235-5_0_5_node_53 | 0.4 | n |  | TRUE
85 | bus_LV_3235-5_0_5_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_3235-5_0_5_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_3235-5_0_5_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_3235-5_0_5_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_3235-5_0_5_node_55 | 0.4 | n |  | TRUE
90 | bus_LV_3235-5_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3235-5_0_5_node_52 | 0.4 | n |  | TRUE
92 | bus_LV_3235-5_0_5_node_94 | 0.4 | n |  | TRUE
93 | bus_LV_3235-5_0_5_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_3235-5_0_5_node_56 | 0.4 | n |  | TRUE
95 | bus_LV_3235-5_0_5_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3235-5_0_5_node_77 | 0.4 | n |  | TRUE
97 | bus_LV_3235-5_0_5_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_3235-5_0_5_node_50 | 0.4 | n |  | TRUE
99 | bus_LV_3235-5_0_5_node_51 | 0.4 | n |  | TRUE
100 | bus_LV_3235-5_0_5_node_81 | 0.4 | n |  | TRUE
101 | bus_LV_3235-5_0_5_node_70 | 0.4 | n |  | TRUE
102 | bus_LV_3235-5_0_5_node_68 | 0.4 | n |  | TRUE
103 | bus_LV_3235-5_0_5_node_119 | 0.4 | n |  | TRUE
104 | bus_LV_3235-5_0_5_node_67 | 0.4 | n |  | TRUE
105 | bus_LV_3235-5_0_5_node_72 | 0.4 | n |  | TRUE
106 | bus_LV_3235-5_0_5_node_108 | 0.4 | n |  | TRUE
107 | bus_LV_3235-5_0_5_node_74 | 0.4 | n |  | TRUE
108 | bus_LV_3235-5_0_5_node_97 | 0.4 | n |  | TRUE
109 | bus_LV_3235-5_0_5_node_98 | 0.4 | n |  | TRUE
110 | bus_LV_3235-5_0_5_node_80 | 0.4 | n |  | TRUE
111 | bus_LV_3235-5_0_5_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_3235-5_0_5_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_3235-5_0_5_node_107 | 0.4 | n |  | TRUE
114 | bus_MV_45_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3235-5_0_5_load_0 | 0 | 0.01069 | 0.0026792 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3235-5_0_5_load_2 | 2 | 0.010829 | 0.0027141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3235-5_0_5_load_111 | 3 | 0.0099017 | 0.0024816 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3235-5_0_5_load_110 | 4 | 0.088823 | 0.022261 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3235-5_0_5_load_30 | 5 | 0.0034498 | 0.00086461 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3235-5_0_5_load_78 | 6 | 0.0076133 | 0.0019081 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3235-5_0_5_load_5 | 8 | 0.0080571 | 0.0020193 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3235-5_0_5_load_4 | 9 | 0.014767 | 0.003701 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3235-5_0_5_load_6 | 12 | 0.0013913 | 0.00034868 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3235-5_0_5_load_27 | 15 | 0.0013048 | 0.00032701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3235-5_0_5_load_11 | 16 | 0.0011836 | 0.00029663 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3235-5_0_5_load_86 | 17 | 0.002678 | 0.00067117 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3235-5_0_5_load_9 | 18 | 0.0011923 | 0.00029882 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3235-5_0_5_load_10 | 19 | 0.0029913 | 0.0007497 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3235-5_0_5_load_85 | 21 | 0.00087535 | 0.00021938 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3235-5_0_5_load_13 | 24 | 0.0099664 | 0.0024978 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3235-5_0_5_load_14 | 25 | 0.045869 | 0.011496 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3235-5_0_5_load_23 | 28 | 0.0063503 | 0.0015915 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3235-5_0_5_load_59 | 32 | 0.0021603 | 0.00054143 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3235-5_0_5_load_60 | 33 | 0.003515 | 0.00088094 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3235-5_0_5_load_62 | 35 | 0.0063899 | 0.0016015 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3235-5_0_5_load_99 | 38 | 0.0039527 | 0.00099063 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3235-5_0_5_load_100 | 39 | 0.0027124 | 0.00067979 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3235-5_0_5_load_112 | 40 | 0.0021712 | 0.00054416 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3235-5_0_5_load_115 | 43 | 0.016075 | 0.0040287 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3235-5_0_5_load_118 | 45 | 0.0065713 | 0.0016469 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3235-5_0_5_load_32 | 46 | 0.0084795 | 0.0021252 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3235-5_0_5_load_73 | 47 | 0.00078389 | 0.00019646 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3235-5_0_5_load_71 | 48 | 0.0020455 | 0.00051266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3235-5_0_5_load_109 | 49 | 0.0064639 | 0.00162 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3235-5_0_5_load_19 | 50 | 0.028483 | 0.0071384 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3235-5_0_5_load_20 | 51 | 0.011243 | 0.0028177 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3235-5_0_5_load_21 | 52 | 0.0042623 | 0.0010682 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3235-5_0_5_load_22 | 53 | 0.019692 | 0.0049352 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3235-5_0_5_load_36 | 54 | 0.045785 | 0.011475 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3235-5_0_5_load_26 | 55 | 0.001274 | 0.00031928 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3235-5_0_5_load_28 | 56 | 0.003397 | 0.00085138 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3235-5_0_5_load_104 | 59 | 0.0055072 | 0.0013802 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3235-5_0_5_load_31 | 63 | 0.0047935 | 0.0012014 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3235-5_0_5_load_95 | 65 | 0.0013221 | 0.00033136 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3235-5_0_5_load_96 | 67 | 0.0025921 | 0.00064964 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3235-5_0_5_load_38 | 68 | 0.020434 | 0.0051211 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3235-5_0_5_load_40 | 70 | 0.010201 | 0.0025566 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3235-5_0_5_load_106 | 73 | 0.006411 | 0.0016067 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3235-5_0_5_load_65 | 74 | 0.0010728 | 0.00026886 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3235-5_0_5_load_66 | 75 | 0.016901 | 0.0042359 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3235-5_0_5_load_43 | 76 | 0.003382 | 0.00084761 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3235-5_0_5_load_46 | 79 | 0.002441 | 0.00061178 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3235-5_0_5_load_49 | 81 | 0.0014811 | 0.0003712 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3235-5_0_5_load_54 | 82 | 0.0021839 | 0.00054733 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3235-5_0_5_load_93 | 85 | 0.0009353 | 0.00023441 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3235-5_0_5_load_91 | 87 | 0.00058476 | 0.00014655 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3235-5_0_5_load_55 | 89 | 0.0024933 | 0.00062487 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3235-5_0_5_load_52 | 91 | 0.00032505 | 8.1464e-05 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3235-5_0_5_load_94 | 92 | 0.00042285 | 0.00010598 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3235-5_0_5_load_58 | 93 | 0.0028491 | 0.00071404 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3235-5_0_5_load_56 | 94 | 0.0044086 | 0.0011049 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3235-5_0_5_load_92 | 95 | 0.0024579 | 0.00061602 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3235-5_0_5_load_50 | 98 | 0.0011323 | 0.00028377 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3235-5_0_5_load_51 | 99 | 0.00079671 | 0.00019967 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3235-5_0_5_load_81 | 100 | 0.00034682 | 8.6922e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3235-5_0_5_load_70 | 101 | 0.0014353 | 0.00035971 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3235-5_0_5_load_68 | 102 | 0.001374 | 0.00034435 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3235-5_0_5_load_119 | 103 | 0.020464 | 0.0051287 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3235-5_0_5_load_67 | 104 | 0.0016947 | 0.00042473 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3235-5_0_5_load_72 | 105 | 0.0015192 | 0.00038074 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3235-5_0_5_load_108 | 106 | 0.0020265 | 0.00050788 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3235-5_0_5_load_74 | 107 | 0.0021311 | 0.00053409 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3235-5_0_5_load_97 | 108 | 0.0016769 | 0.00042027 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3235-5_0_5_load_98 | 109 | 0.0016703 | 0.00041861 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3235-5_0_5_load_80 | 110 | 0.00048678 | 0.000122 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3235-5_0_5_load_117 | 111 | 0.015642 | 0.0039202 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3235-5_0_5_load_107 | 113 | 0.027315 | 0.0068458 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3235-5_0_5_line_0 |  | 0 | 1 | 0.010669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3235-5_0_5_line_1 |  | 1 | 2 | 0.0081881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3235-5_0_5_line_2 |  | 2 | 6 | 0.01993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3235-5_0_5_line_3 |  | 3 | 4 | 0.057203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3235-5_0_5_line_4 |  | 3 | 5 | 0.050073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3235-5_0_5_line_5 |  | 4 | 49 | 0.088584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_3235-5_0_5_line_6 |  | 4 | 31 | 0.075181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_3235-5_0_5_line_7 |  | 5 | 56 | 0.041199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3235-5_0_5_line_8 |  | 6 | 10 | 0.039551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3235-5_0_5_line_9 |  | 7 | 8 | 0.027793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3235-5_0_5_line_10 |  | 7 | 9 | 0.010064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3235-5_0_5_line_11 |  | 8 | 11 | 0.021741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3235-5_0_5_line_12 |  | 10 | 11 | 0.029302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3235-5_0_5_line_13 |  | 10 | 64 | 0.069014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3235-5_0_5_line_14 |  | 12 | 13 | 0.011714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3235-5_0_5_line_15 |  | 13 | 14 | 0.04696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3235-5_0_5_line_16 |  | 14 | 15 | 0.020586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3235-5_0_5_line_17 |  | 14 | 16 | 0.0067139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3235-5_0_5_line_18 |  | 15 | 17 | 0.0097077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3235-5_0_5_line_19 |  | 16 | 18 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3235-5_0_5_line_20 |  | 18 | 19 | 0.051706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3235-5_0_5_line_21 |  | 19 | 20 | 0.023525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3235-5_0_5_line_22 |  | 20 | 21 | 0.013211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3235-5_0_5_line_23 |  | 20 | 22 | 0.029393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3235-5_0_5_line_24 |  | 22 | 23 | 0.020311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3235-5_0_5_line_25 |  | 23 | 65 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3235-5_0_5_line_26 |  | 23 | 66 | 0.024494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3235-5_0_5_line_27 |  | 24 | 25 | 0.004834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3235-5_0_5_line_28 |  | 25 | 26 | 0.026559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3235-5_0_5_line_29 |  | 26 | 27 | 0.040735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_3235-5_0_5_line_30 |  | 26 | 28 | 0.039308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3235-5_0_5_line_31 |  | 27 | 46 | 0.020775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3235-5_0_5_line_32 |  | 27 | 31 | 0.023503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3235-5_0_5_line_33 |  | 28 | 29 | 0.0037785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3235-5_0_5_line_34 |  | 29 | 30 | 0.055495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3235-5_0_5_line_35 |  | 30 | 47 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3235-5_0_5_line_36 |  | 30 | 48 | 0.029993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3235-5_0_5_line_37 |  | 32 | 33 | 0.0077853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3235-5_0_5_line_38 |  | 32 | 34 | 0.010767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3235-5_0_5_line_39 |  | 33 | 35 | 0.0067036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3235-5_0_5_line_40 |  | 34 | 36 | 0.038163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_3235-5_0_5_line_41 |  | 34 | 37 | 0.063862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3235-5_0_5_line_42 |  | 35 | 38 | 0.016729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3235-5_0_5_line_43 |  | 36 | 39 | 0.070438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3235-5_0_5_line_44 |  | 37 | 40 | 0.011242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3235-5_0_5_line_45 |  | 37 | 41 | 0.033546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3235-5_0_5_line_46 |  | 37 | 42 | 0.069534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3235-5_0_5_line_47 |  | 39 | 61 | 0.017692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3235-5_0_5_line_48 |  | 41 | 43 | 0.012143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3235-5_0_5_line_49 |  | 41 | 44 | 0.051036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3235-5_0_5_line_50 |  | 42 | 103 | 0.026964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3235-5_0_5_line_51 |  | 44 | 45 | 0.04799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3235-5_0_5_line_52 |  | 48 | 58 | 0.027075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3235-5_0_5_line_53 |  | 49 | 112 | 0.056172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3235-5_0_5_line_54 |  | 50 | 51 | 0.003361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3235-5_0_5_line_55 |  | 50 | 52 | 0.042119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3235-5_0_5_line_56 |  | 51 | 53 | 0.0050157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_3235-5_0_5_line_57 |  | 52 | 54 | 0.074123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3235-5_0_5_line_58 |  | 53 | 55 | 0.036918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3235-5_0_5_line_59 |  | 55 | 57 | 0.020284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3235-5_0_5_line_60 |  | 56 | 62 | 0.0072132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3235-5_0_5_line_61 |  | 57 | 59 | 0.021754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3235-5_0_5_line_62 |  | 57 | 60 | 0.03018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3235-5_0_5_line_63 |  | 57 | 61 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
64 | LV_3235-5_0_5_line_64 |  | 58 | 105 | 0.017499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3235-5_0_5_line_65 |  | 58 | 104 | 0.015677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3235-5_0_5_line_66 |  | 60 | 113 | 0.014963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3235-5_0_5_line_67 |  | 60 | 73 | 0.0097572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3235-5_0_5_line_68 |  | 61 | 112 | 0.032849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3235-5_0_5_line_69 |  | 62 | 63 | 0.0084041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3235-5_0_5_line_70 |  | 63 | 64 | 0.029232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3235-5_0_5_line_71 |  | 65 | 67 | 0.0053193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3235-5_0_5_line_72 |  | 66 | 96 | 0.043426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3235-5_0_5_line_73 |  | 66 | 107 | 0.020688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3235-5_0_5_line_74 |  | 68 | 69 | 0.034732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3235-5_0_5_line_75 |  | 68 | 70 | 0.0025955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3235-5_0_5_line_76 |  | 69 | 71 | 0.005832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3235-5_0_5_line_77 |  | 69 | 72 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3235-5_0_5_line_78 |  | 71 | 73 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3235-5_0_5_line_79 |  | 72 | 74 | 0.019491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3235-5_0_5_line_80 |  | 74 | 75 | 0.005634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3235-5_0_5_line_81 |  | 76 | 77 | 0.0091778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3235-5_0_5_line_82 |  | 76 | 78 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3235-5_0_5_line_83 |  | 77 | 79 | 0.016256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3235-5_0_5_line_84 |  | 77 | 80 | 0.028533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3235-5_0_5_line_85 |  | 78 | 81 | 0.010134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3235-5_0_5_line_86 |  | 79 | 82 | 0.019324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3235-5_0_5_line_87 |  | 80 | 86 | 0.038511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3235-5_0_5_line_88 |  | 80 | 87 | 0.013686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3235-5_0_5_line_89 |  | 80 | 83 | 0.0283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3235-5_0_5_line_90 |  | 81 | 88 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3235-5_0_5_line_91 |  | 82 | 89 | 0.0053251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3235-5_0_5_line_92 |  | 83 | 84 | 0.008868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3235-5_0_5_line_93 |  | 83 | 85 | 0.034404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3235-5_0_5_line_94 |  | 84 | 90 | 0.040386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3235-5_0_5_line_95 |  | 84 | 91 | 0.0061838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3235-5_0_5_line_96 |  | 85 | 92 | 0.0046979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3235-5_0_5_line_97 |  | 86 | 93 | 0.014402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3235-5_0_5_line_98 |  | 86 | 94 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3235-5_0_5_line_99 |  | 87 | 95 | 0.0028637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3235-5_0_5_line_100 |  | 88 | 96 | 0.042842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3235-5_0_5_line_101 |  | 88 | 97 | 0.039448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3235-5_0_5_line_102 |  | 89 | 101 | 0.037048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3235-5_0_5_line_103 |  | 90 | 100 | 0.019232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3235-5_0_5_line_104 |  | 91 | 98 | 0.018813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3235-5_0_5_line_105 |  | 96 | 108 | 0.027259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3235-5_0_5_line_106 |  | 97 | 111 | 0.023811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3235-5_0_5_line_107 |  | 98 | 99 | 0.001023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3235-5_0_5_line_108 |  | 100 | 110 | 0.0018177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3235-5_0_5_line_109 |  | 101 | 102 | 0.0012236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3235-5_0_5_line_110 |  | 102 | 104 | 0.0041936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3235-5_0_5_line_111 |  | 105 | 106 | 0.0050302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3235-5_0_5_line_112 |  | 108 | 109 | 0.0035898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3235-5_0_5_trafo_110 | 0.63 MVA 20/0.4 kV | 114 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2761567.8498 | 1260191.171 | 2761560.057 | 1260198.4573
1 | 2761567.8498 | 1260191.171 | 2761573.8294 | 1260185.5773
2 | 2761573.8294 | 1260185.5773 | 2761588.3833 | 1260171.9623
3 | 2761593.552 | 1260306.1819 | 2761616.3135 | 1260328.1821 | 2761598.5125 | 1260346.5066
4 | 2761593.552 | 1260306.1819 | 2761621.0308 | 1260264.322
5 | 2761598.5125 | 1260346.5066 | 2761641.8856 | 1260423.7457
6 | 2761545.0274 | 1260357.088 | 2761551.9133 | 1260349.6126 | 2761575.0012 | 1260370.7095 | 2761598.5125 | 1260346.5066
7 | 2761621.0308 | 1260264.322 | 2761633.8391 | 1260250.1459 | 2761638.5871 | 1260239.7758 | 2761639.6246 | 1260229.1375
8 | 2761608.0746 | 1260141.2951 | 2761598.4179 | 1260148.5946 | 2761597.7471 | 1260163.2026 | 2761588.3833 | 1260171.9623
9 | 2761550.7725 | 1260143.8331 | 2761574.0137 | 1260128.5916
10 | 2761550.7725 | 1260143.8331 | 2761541.2374 | 1260140.6139
11 | 2761592.194 | 1260116.669 | 2761574.0137 | 1260128.5916
12 | 2761592.194 | 1260116.669 | 2761604.4429 | 1260135.6567 | 2761608.0746 | 1260141.2951
13 | 2761608.0746 | 1260141.2951 | 2761617.986 | 1260155.8476 | 2761625.802 | 1260162.6349 | 2761622.0422 | 1260166.6475 | 2761647.2774 | 1260191.6963
14 | 2761331.0571 | 1260292.2383 | 2761341.5275 | 1260286.9867
15 | 2761331.0571 | 1260292.2383 | 2761339.4375 | 1260314.5456 | 2761352.2054 | 1260333.8695
16 | 2761352.2054 | 1260333.8695 | 2761340.3716 | 1260344.1465 | 2761337.5817 | 1260348.1902
17 | 2761352.2054 | 1260333.8695 | 2761358.6565 | 1260332.0096
18 | 2761337.5817 | 1260348.1902 | 2761334.4513 | 1260352.7273 | 2761333.5257 | 1260356.8193
19 | 2761375.1941 | 1260330.2652 | 2761367.818 | 1260329.3683 | 2761358.6565 | 1260332.0096
20 | 2761375.1941 | 1260330.2652 | 2761383.6249 | 1260331.2903 | 2761399.0214 | 1260336.9161 | 2761422.88 | 1260349.1696
21 | 2761443.8068 | 1260359.9174 | 2761422.88 | 1260349.1696
22 | 2761443.8068 | 1260359.9174 | 2761452.749 | 1260350.1933
23 | 2761427.9696 | 1260378.438 | 2761447.2967 | 1260363.0158 | 2761443.8068 | 1260359.9174
24 | 2761411.6358 | 1260390.5718 | 2761427.9696 | 1260378.438
25 | 2761411.6358 | 1260390.5718 | 2761424.2102 | 1260407.8551 | 2761424.2102 | 1260407.8551
26 | 2761411.6358 | 1260390.5718 | 2761391.8874 | 1260405.1372
27 | 2761522.6142 | 1260391.7495 | 2761519.1895 | 1260388.3378
28 | 2761500.3733 | 1260369.5933 | 2761519.1895 | 1260388.3378
29 | 2761500.3733 | 1260369.5933 | 2761528.642 | 1260340.1897
30 | 2761500.3733 | 1260369.5933 | 2761473.1323 | 1260397.9313
31 | 2761528.642 | 1260340.1897 | 2761513.2554 | 1260326.231
32 | 2761545.0274 | 1260357.088 | 2761528.642 | 1260340.1897
33 | 2761470.5137 | 1260400.6553 | 2761473.1323 | 1260397.9313
34 | 2761470.5137 | 1260400.6553 | 2761463.272 | 1260408.1878 | 2761427.7758 | 1260436.0707
35 | 2761419.313 | 1260442.4799 | 2761427.7758 | 1260436.0707
36 | 2761427.7758 | 1260436.0707 | 2761443.9524 | 1260458.6801 | 2761442.1968 | 1260459.9925
37 | 2761679.6709 | 1260504.8819 | 2761679.7535 | 1260504.8221 | 2761684.5614 | 1260498.829
38 | 2761670.9521 | 1260511.1994 | 2761679.6709 | 1260504.8819
39 | 2761684.5614 | 1260498.829 | 2761688.7563 | 1260493.6001
40 | 2761670.9521 | 1260511.1994 | 2761667.2917 | 1260505.5157 | 2761647.7092 | 1260480.9105
41 | 2761691.9798 | 1260568.4228 | 2761695.2601 | 1260562.0835 | 2761693.1256 | 1260556.3081 | 2761683.9012 | 1260531.2854 | 2761670.9521 | 1260511.1994
42 | 2761699.2249 | 1260480.551 | 2761688.7563 | 1260493.6001
43 | 2761647.7092 | 1260480.9105 | 2761697.8061 | 1260431.3952
44 | 2761691.9798 | 1260568.4228 | 2761682.1064 | 1260562.9917
45 | 2761691.9798 | 1260568.4228 | 2761689.786 | 1260572.5338 | 2761715.8942 | 1260584.8935
46 | 2761691.9798 | 1260568.4228 | 2761695.2601 | 1260562.0835 | 2761693.1256 | 1260556.3081 | 2761706.726 | 1260550.9296 | 2761724.8836 | 1260513.4867
47 | 2761710.3891 | 1260418.9583 | 2761697.8061 | 1260431.3952
48 | 2761715.8942 | 1260584.8935 | 2761721.0664 | 1260573.9012
49 | 2761762.1398 | 1260606.7805 | 2761715.8942 | 1260584.8935
50 | 2761749.0614 | 1260525.5713 | 2761724.8836 | 1260513.4867
51 | 2761781.7467 | 1260562.9596 | 2761762.1398 | 1260606.7805
52 | 2761420.5112 | 1260476.2034 | 2761442.1968 | 1260459.9925
53 | 2761681.3318 | 1260434.436 | 2761657.5532 | 1260409.1155 | 2761641.8856 | 1260423.7457
54 | 2761721.2741 | 1260342.1037 | 2761721.301 | 1260345.4646
55 | 2761706.6851 | 1260306.2043 | 2761721.0958 | 1260319.7916 | 2761721.2741 | 1260342.1037
56 | 2761721.3411 | 1260350.4802 | 2761721.301 | 1260345.4646
57 | 2761706.6851 | 1260306.2043 | 2761774.52 | 1260276.3278
58 | 2761721.6361 | 1260387.3968 | 2761721.3411 | 1260350.4802
59 | 2761721.7983 | 1260407.6805 | 2761721.6361 | 1260387.3968
60 | 2761636.1933 | 1260222.7927 | 2761639.6246 | 1260229.1375
61 | 2761721.7983 | 1260407.6805 | 2761737.2694 | 1260392.3872
62 | 2761745.8041 | 1260426.067 | 2761721.7983 | 1260407.6805
63 | 2761721.7983 | 1260407.6805 | 2761710.3891 | 1260418.9583
64 | 2761420.5112 | 1260476.2034 | 2761430.9341 | 1260490.259
65 | 2761420.5112 | 1260476.2034 | 2761407.9551 | 1260485.5902
66 | 2761745.8041 | 1260426.067 | 2761739.9522 | 1260439.8437
67 | 2761745.8041 | 1260426.067 | 2761753.5465 | 1260432.0048
68 | 2761710.3891 | 1260418.9583 | 2761681.3318 | 1260434.436
69 | 2761636.1933 | 1260222.7927 | 2761642.4951 | 1260217.2325
70 | 2761647.2774 | 1260191.6963 | 2761651.0883 | 1260201.5329 | 2761648.3107 | 1260212.1014 | 2761642.4951 | 1260217.2325
71 | 2761424.2102 | 1260407.8551 | 2761428.5333 | 1260404.7559
72 | 2761356.8703 | 1260430.9537 | 2761391.8874 | 1260405.1372
73 | 2761391.8874 | 1260405.1372 | 2761405.4367 | 1260420.7702
74 | 2761771.2126 | 1260445.5487 | 2761754.5972 | 1260476.0489
75 | 2761753.3555 | 1260478.3281 | 2761754.5972 | 1260476.0489
76 | 2761771.2126 | 1260445.5487 | 2761766.574 | 1260441.9959
77 | 2761791.9459 | 1260461.4321 | 2761771.2126 | 1260445.5487
78 | 2761766.574 | 1260441.9959 | 2761753.5465 | 1260432.0048
79 | 2761791.9459 | 1260461.4321 | 2761809.2756 | 1260470.354
80 | 2761814.2847 | 1260472.9328 | 2761809.2756 | 1260470.354
81 | 2761329.8426 | 1260507.4967 | 2761329.5425 | 1260498.3238
82 | 2761328.8846 | 1260478.2178 | 2761329.5425 | 1260498.3238
83 | 2761329.8426 | 1260507.4967 | 2761346.0934 | 1260507.0851
84 | 2761319.4972 | 1260520.1723 | 2761332.3686 | 1260522.7037 | 2761329.8426 | 1260507.4967
85 | 2761328.8846 | 1260478.2178 | 2761328.2401 | 1260468.1041
86 | 2761346.0934 | 1260507.0851 | 2761350.9797 | 1260506.9613 | 2761365.2875 | 1260505.0408
87 | 2761281.922 | 1260511.539 | 2761293.4335 | 1260515.2678 | 2761319.4972 | 1260520.1723
88 | 2761319.4972 | 1260520.1723 | 2761315.4054 | 1260533.2323
89 | 2761319.4972 | 1260520.1723 | 2761332.3686 | 1260522.7037 | 2761336.0564 | 1260527.943 | 2761339.379 | 1260536.0643
90 | 2761322.095 | 1260455.9316 | 2761328.1454 | 1260466.6188 | 2761328.2401 | 1260468.1041
91 | 2761365.2875 | 1260505.0408 | 2761370.5653 | 1260504.3323
92 | 2761342.7369 | 1260544.2756 | 2761339.379 | 1260536.0643
93 | 2761339.379 | 1260536.0643 | 2761361.8671 | 1260545.1537 | 2761372.015 | 1260545.2179
94 | 2761342.7369 | 1260544.2756 | 2761355.4157 | 1260562.9742 | 2761362.6706 | 1260579.2557
95 | 2761342.7369 | 1260544.2756 | 2761340.3415 | 1260549.9766
96 | 2761376.7128 | 1260545.2476 | 2761372.015 | 1260545.2179
97 | 2761281.922 | 1260511.539 | 2761268.2208 | 1260507.1027
98 | 2761281.922 | 1260511.539 | 2761300.0684 | 1260502.2918
99 | 2761315.4054 | 1260533.2323 | 2761314.5491 | 1260535.965
100 | 2761356.8703 | 1260430.9537 | 2761355.2529 | 1260432.1886 | 2761336.2541 | 1260446.6524 | 2761322.095 | 1260455.9316
101 | 2761289.5219 | 1260470.4143 | 2761292.0333 | 1260473.9976 | 2761322.095 | 1260455.9316
102 | 2761403.6163 | 1260488.8339 | 2761392.0046 | 1260497.5147 | 2761373.565 | 1260503.9296 | 2761370.5653 | 1260504.3323
103 | 2761362.6706 | 1260579.2557 | 2761363.8556 | 1260593.5808 | 2761360.5954 | 1260597.1818
104 | 2761327.0229 | 1260562.3105 | 2761338.2689 | 1260554.9093 | 2761340.3415 | 1260549.9766
105 | 2761356.8703 | 1260430.9537 | 2761363.2806 | 1260438.1249 | 2761377.8972 | 1260448.0005
106 | 2761270.0322 | 1260459.7609 | 2761281.207 | 1260460.9111 | 2761289.5219 | 1260470.4143
107 | 2761327.0229 | 1260562.3105 | 2761326.1684 | 1260562.8729
108 | 2761359.3754 | 1260598.5293 | 2761360.5954 | 1260597.1818
109 | 2761403.6163 | 1260488.8339 | 2761404.5963 | 1260488.1012
110 | 2761407.9551 | 1260485.5902 | 2761404.5963 | 1260488.1012
111 | 2761433.9303 | 1260494.2995 | 2761430.9341 | 1260490.259
112 | 2761380.9862 | 1260446.1717 | 2761377.8972 | 1260448.0005

## bus_geodata
| x | y | coords
0 | 2761560.057 | 1260198.4573
1 | 2761567.8498 | 1260191.171
2 | 2761573.8294 | 1260185.5773
3 | 2761593.552 | 1260306.1819
4 | 2761598.5125 | 1260346.5066
5 | 2761621.0308 | 1260264.322
6 | 2761588.3833 | 1260171.9623
7 | 2761550.7725 | 1260143.8331
8 | 2761574.0137 | 1260128.5916
9 | 2761541.2374 | 1260140.6139
10 | 2761608.0746 | 1260141.2951
11 | 2761592.194 | 1260116.669
12 | 2761341.5275 | 1260286.9867
13 | 2761331.0571 | 1260292.2383
14 | 2761352.2054 | 1260333.8695
15 | 2761337.5817 | 1260348.1902
16 | 2761358.6565 | 1260332.0096
17 | 2761333.5257 | 1260356.8193
18 | 2761375.1941 | 1260330.2652
19 | 2761422.88 | 1260349.1696
20 | 2761443.8068 | 1260359.9174
21 | 2761452.749 | 1260350.1933
22 | 2761427.9696 | 1260378.438
23 | 2761411.6358 | 1260390.5718
24 | 2761522.6142 | 1260391.7495
25 | 2761519.1895 | 1260388.3378
26 | 2761500.3733 | 1260369.5933
27 | 2761528.642 | 1260340.1897
28 | 2761473.1323 | 1260397.9313
29 | 2761470.5137 | 1260400.6553
30 | 2761427.7758 | 1260436.0707
31 | 2761545.0274 | 1260357.088
32 | 2761679.6709 | 1260504.8819
33 | 2761684.5614 | 1260498.829
34 | 2761670.9521 | 1260511.1994
35 | 2761688.7563 | 1260493.6001
36 | 2761647.7092 | 1260480.9105
37 | 2761691.9798 | 1260568.4228
38 | 2761699.2249 | 1260480.551
39 | 2761697.8061 | 1260431.3952
40 | 2761682.1064 | 1260562.9917
41 | 2761715.8942 | 1260584.8935
42 | 2761724.8836 | 1260513.4867
43 | 2761721.0664 | 1260573.9012
44 | 2761762.1398 | 1260606.7805
45 | 2761781.7467 | 1260562.9596
46 | 2761513.2554 | 1260326.231
47 | 2761419.313 | 1260442.4799
48 | 2761442.1968 | 1260459.9925
49 | 2761641.8856 | 1260423.7457
50 | 2761721.2741 | 1260342.1037
51 | 2761721.301 | 1260345.4647
52 | 2761706.6851 | 1260306.2043
53 | 2761721.3411 | 1260350.4802
54 | 2761774.52 | 1260276.3278
55 | 2761721.6361 | 1260387.3968
56 | 2761639.6246 | 1260229.1375
57 | 2761721.7983 | 1260407.6805
58 | 2761420.5112 | 1260476.2034
59 | 2761737.2694 | 1260392.3872
60 | 2761745.8041 | 1260426.067
61 | 2761710.3891 | 1260418.9583
62 | 2761636.1933 | 1260222.7927
63 | 2761642.4951 | 1260217.2325
64 | 2761647.2774 | 1260191.6963
65 | 2761424.2102 | 1260407.8551
66 | 2761391.8874 | 1260405.1372
67 | 2761428.5333 | 1260404.7559
68 | 2761754.5972 | 1260476.0489
69 | 2761771.2126 | 1260445.5487
70 | 2761753.3555 | 1260478.3281
71 | 2761766.574 | 1260441.9959
72 | 2761791.9459 | 1260461.4321
73 | 2761753.5465 | 1260432.0048
74 | 2761809.2756 | 1260470.354
75 | 2761814.2847 | 1260472.9328
76 | 2761329.5425 | 1260498.3238
77 | 2761329.8426 | 1260507.4967
78 | 2761328.8846 | 1260478.2178
79 | 2761346.0934 | 1260507.0851
80 | 2761319.4972 | 1260520.1723
81 | 2761328.2401 | 1260468.1041
82 | 2761365.2875 | 1260505.0408
83 | 2761339.379 | 1260536.0643
84 | 2761342.7369 | 1260544.2756
85 | 2761372.015 | 1260545.2179
86 | 2761281.922 | 1260511.539
87 | 2761315.4054 | 1260533.2323
88 | 2761322.095 | 1260455.9316
89 | 2761370.5653 | 1260504.3323
90 | 2761362.6706 | 1260579.2557
91 | 2761340.3415 | 1260549.9766
92 | 2761376.7128 | 1260545.2476
93 | 2761268.2208 | 1260507.1027
94 | 2761300.0684 | 1260502.2918
95 | 2761314.5491 | 1260535.965
96 | 2761356.8703 | 1260430.9537
97 | 2761289.5219 | 1260470.4143
98 | 2761327.0229 | 1260562.3105
99 | 2761326.1684 | 1260562.8729
100 | 2761360.5954 | 1260597.1818
101 | 2761403.6163 | 1260488.8339
102 | 2761404.5963 | 1260488.1012
103 | 2761749.0614 | 1260525.5713
104 | 2761407.9551 | 1260485.5902
105 | 2761430.9341 | 1260490.259
106 | 2761433.9303 | 1260494.2995
107 | 2761405.4367 | 1260420.7702
108 | 2761377.8972 | 1260448.0005
109 | 2761380.9862 | 1260446.1717
110 | 2761359.3754 | 1260598.5293
111 | 2761270.0322 | 1260459.7609
112 | 2761681.3318 | 1260434.436
113 | 2761739.9522 | 1260439.8437
114 | 2761593.552 | 1260306.1819

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1