## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3235-6_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3235-6_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3235-6_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3235-6_0_4_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_3235-6_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3235-6_0_4_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_3235-6_0_4_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3235-6_0_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3235-6_0_4_node_79 | 0.4 | n |  | TRUE
9 | bus_LV_3235-6_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3235-6_0_4_node_65 | 0.4 | n |  | TRUE
11 | bus_LV_3235-6_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3235-6_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_3235-6_0_4_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_3235-6_0_4_node_78 | 0.4 | n |  | TRUE
15 | bus_LV_3235-6_0_4_node_42 | 0.4 | n |  | TRUE
16 | bus_LV_3235-6_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_3235-6_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3235-6_0_4_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_3235-6_0_4_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_3235-6_0_4_node_58 | 0.4 | n |  | TRUE
21 | bus_LV_3235-6_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_3235-6_0_4_node_59 | 0.4 | n |  | TRUE
23 | bus_LV_3235-6_0_4_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_3235-6_0_4_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_3235-6_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3235-6_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_3235-6_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_3235-6_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_3235-6_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_3235-6_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_3235-6_0_4_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_3235-6_0_4_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3235-6_0_4_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3235-6_0_4_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_3235-6_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_3235-6_0_4_node_110 | 0.4 | n |  | TRUE
37 | bus_LV_3235-6_0_4_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_3235-6_0_4_node_49 | 0.4 | n |  | TRUE
39 | bus_LV_3235-6_0_4_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_3235-6_0_4_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_3235-6_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_3235-6_0_4_node_96 | 0.4 | n |  | TRUE
43 | bus_LV_3235-6_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_3235-6_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_3235-6_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3235-6_0_4_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_3235-6_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3235-6_0_4_node_115 | 0.4 | n |  | TRUE
49 | bus_LV_3235-6_0_4_node_32 | 0.4 | n |  | TRUE
50 | bus_LV_3235-6_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_3235-6_0_4_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_3235-6_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3235-6_0_4_node_76 | 0.4 | n |  | TRUE
54 | bus_LV_3235-6_0_4_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_3235-6_0_4_node_99 | 0.4 | n |  | TRUE
56 | bus_LV_3235-6_0_4_node_116 | 0.4 | n |  | TRUE
57 | bus_LV_3235-6_0_4_node_68 | 0.4 | n |  | TRUE
58 | bus_LV_3235-6_0_4_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_3235-6_0_4_node_67 | 0.4 | n |  | TRUE
60 | bus_LV_3235-6_0_4_node_100 | 0.4 | n |  | TRUE
61 | bus_LV_3235-6_0_4_node_62 | 0.4 | n |  | TRUE
62 | bus_LV_3235-6_0_4_node_95 | 0.4 | n |  | TRUE
63 | bus_LV_3235-6_0_4_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_3235-6_0_4_node_114 | 0.4 | n |  | TRUE
65 | bus_LV_3235-6_0_4_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_3235-6_0_4_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_3235-6_0_4_node_87 | 0.4 | n |  | TRUE
68 | bus_LV_3235-6_0_4_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_3235-6_0_4_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_3235-6_0_4_node_94 | 0.4 | n |  | TRUE
71 | bus_LV_3235-6_0_4_node_98 | 0.4 | n |  | TRUE
72 | bus_LV_3235-6_0_4_node_97 | 0.4 | n |  | TRUE
73 | bus_LV_3235-6_0_4_node_117 | 0.4 | n |  | TRUE
74 | bus_LV_3235-6_0_4_node_109 | 0.4 | n |  | TRUE
75 | bus_LV_3235-6_0_4_node_102 | 0.4 | n |  | TRUE
76 | bus_LV_3235-6_0_4_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_3235-6_0_4_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_3235-6_0_4_node_44 | 0.4 | n |  | TRUE
79 | bus_LV_3235-6_0_4_node_45 | 0.4 | n |  | TRUE
80 | bus_LV_3235-6_0_4_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_3235-6_0_4_node_55 | 0.4 | n |  | TRUE
82 | bus_LV_3235-6_0_4_node_54 | 0.4 | n |  | TRUE
83 | bus_LV_3235-6_0_4_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_3235-6_0_4_node_57 | 0.4 | n |  | TRUE
85 | bus_LV_3235-6_0_4_node_101 | 0.4 | n |  | TRUE
86 | bus_LV_3235-6_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3235-6_0_4_node_106 | 0.4 | n |  | TRUE
88 | bus_LV_3235-6_0_4_node_105 | 0.4 | n |  | TRUE
89 | bus_LV_3235-6_0_4_node_64 | 0.4 | n |  | TRUE
90 | bus_LV_3235-6_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3235-6_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_3235-6_0_4_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3235-6_0_4_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_3235-6_0_4_node_107 | 0.4 | n |  | TRUE
95 | bus_LV_3235-6_0_4_node_66 | 0.4 | n |  | TRUE
96 | bus_LV_3235-6_0_4_node_69 | 0.4 | n |  | TRUE
97 | bus_LV_3235-6_0_4_node_73 | 0.4 | n |  | TRUE
98 | bus_LV_3235-6_0_4_node_80 | 0.4 | n |  | TRUE
99 | bus_LV_3235-6_0_4_node_81 | 0.4 | n |  | TRUE
100 | bus_LV_3235-6_0_4_node_82 | 0.4 | n |  | TRUE
101 | bus_LV_3235-6_0_4_node_83 | 0.4 | n |  | TRUE
102 | bus_LV_3235-6_0_4_node_113 | 0.4 | n |  | TRUE
103 | bus_LV_3235-6_0_4_node_89 | 0.4 | n |  | TRUE
104 | bus_LV_3235-6_0_4_node_91 | 0.4 | n |  | TRUE
105 | bus_LV_3235-6_0_4_node_103 | 0.4 | n |  | TRUE
106 | bus_LV_3235-6_0_4_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_3235-6_0_4_node_92 | 0.4 | n |  | TRUE
108 | bus_LV_3235-6_0_4_node_118 | 0.4 | n |  | TRUE
109 | bus_MV_45_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3235-6_0_4_load_0 | 0 | 0.0080806 | 0.0020252 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3235-6_0_4_load_1 | 1 | 0.0008839 | 0.00022153 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3235-6_0_4_load_3 | 2 | 0.00095097 | 0.00023834 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3235-6_0_4_load_4 | 4 | 0.0012362 | 0.00030982 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3235-6_0_4_load_18 | 5 | 0.0010137 | 0.00025405 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3235-6_0_4_load_21 | 7 | 0.0010617 | 0.00026609 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3235-6_0_4_load_65 | 10 | 0.081279 | 0.02037 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3235-6_0_4_load_7 | 11 | 0.0012 | 0.00030076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3235-6_0_4_load_17 | 12 | 0.0030577 | 0.00076634 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3235-6_0_4_load_78 | 14 | 0.0024946 | 0.0006252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3235-6_0_4_load_8 | 16 | 0.0015012 | 0.00037625 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3235-6_0_4_load_10 | 17 | 0.00053111 | 0.00013311 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3235-6_0_4_load_61 | 19 | 0.00082212 | 0.00020604 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3235-6_0_4_load_58 | 20 | 0.003264 | 0.00081804 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3235-6_0_4_load_59 | 22 | 0.01184 | 0.0029673 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3235-6_0_4_load_70 | 23 | 0.0012426 | 0.00031143 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3235-6_0_4_load_22 | 24 | 0.007772 | 0.0019478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3235-6_0_4_load_12 | 26 | 0.0011385 | 0.00028533 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3235-6_0_4_load_13 | 27 | 0.00088053 | 0.00022068 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3235-6_0_4_load_14 | 28 | 0.00042437 | 0.00010636 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3235-6_0_4_load_15 | 29 | 0.0046812 | 0.0011732 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3235-6_0_4_load_16 | 30 | 0.0053189 | 0.001333 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3235-6_0_4_load_20 | 31 | 0.004369 | 0.001095 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3235-6_0_4_load_111 | 34 | 0.003555 | 0.00089097 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3235-6_0_4_load_110 | 36 | 0.0012911 | 0.00032358 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3235-6_0_4_load_49 | 38 | 0.0068077 | 0.0017062 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3235-6_0_4_load_48 | 39 | 0.0030639 | 0.00076789 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3235-6_0_4_load_41 | 41 | 0.0039503 | 0.00099003 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3235-6_0_4_load_96 | 42 | 0.0091641 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3235-6_0_4_load_71 | 46 | 0.0050063 | 0.0012547 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3235-6_0_4_load_115 | 48 | 0.0043653 | 0.0010941 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3235-6_0_4_load_77 | 51 | 0.012199 | 0.0030574 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3235-6_0_4_load_40 | 52 | 0.041502 | 0.010401 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3235-6_0_4_load_76 | 53 | 0.015941 | 0.0039953 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3235-6_0_4_load_99 | 55 | 0.0035921 | 0.00090026 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3235-6_0_4_load_116 | 56 | 0.00062665 | 0.00015705 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3235-6_0_4_load_100 | 60 | 0.0086098 | 0.0021578 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3235-6_0_4_load_62 | 61 | 0.018586 | 0.004658 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3235-6_0_4_load_95 | 62 | 0.0043166 | 0.0010818 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3235-6_0_4_load_72 | 63 | 0.0027217 | 0.00068213 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3235-6_0_4_load_114 | 64 | 0.0027164 | 0.00068078 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3235-6_0_4_load_93 | 66 | 0.0057029 | 0.0014293 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3235-6_0_4_load_87 | 67 | 0.0063692 | 0.0015963 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3235-6_0_4_load_94 | 70 | 0.029901 | 0.0074939 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3235-6_0_4_load_98 | 71 | 0.0083484 | 0.0020923 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3235-6_0_4_load_109 | 74 | 0.0039094 | 0.00097978 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3235-6_0_4_load_102 | 75 | 0.0026836 | 0.00067258 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3235-6_0_4_load_63 | 76 | 0.01509 | 0.0037819 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3235-6_0_4_load_43 | 77 | 0.00059335 | 0.00014871 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3235-6_0_4_load_44 | 78 | 0.00069256 | 0.00017357 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3235-6_0_4_load_45 | 79 | 0.002298 | 0.00057594 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3235-6_0_4_load_47 | 80 | 0.0017651 | 0.00044237 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3235-6_0_4_load_53 | 83 | 0.013108 | 0.0032851 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3235-6_0_4_load_57 | 84 | 0.0040867 | 0.0010242 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3235-6_0_4_load_101 | 85 | 0.0047788 | 0.0011977 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3235-6_0_4_load_86 | 86 | 0.0063325 | 0.0015871 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3235-6_0_4_load_106 | 87 | 0.0065939 | 0.0016526 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3235-6_0_4_load_105 | 88 | 0.02134 | 0.0053483 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3235-6_0_4_load_85 | 91 | 0.0052544 | 0.0013169 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3235-6_0_4_load_90 | 93 | 0.0039399 | 0.00098744 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3235-6_0_4_load_107 | 94 | 0.0033616 | 0.00084249 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3235-6_0_4_load_66 | 95 | 0.040422 | 0.010131 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3235-6_0_4_load_69 | 96 | 0.0069747 | 0.001748 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3235-6_0_4_load_73 | 97 | 0.002475 | 0.0006203 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3235-6_0_4_load_80 | 98 | 0.0020252 | 0.00050756 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3235-6_0_4_load_81 | 99 | 0.00085598 | 0.00021453 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3235-6_0_4_load_82 | 100 | 0.0015583 | 0.00039055 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3235-6_0_4_load_83 | 101 | 0.0022988 | 0.00057614 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3235-6_0_4_load_113 | 102 | 0.0014837 | 0.00037186 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3235-6_0_4_load_89 | 103 | 0.0064273 | 0.0016108 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3235-6_0_4_load_103 | 105 | 0.0022361 | 0.00056042 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3235-6_0_4_load_104 | 106 | 0.017601 | 0.0044112 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3235-6_0_4_load_92 | 107 | 0.0036208 | 0.00090745 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3235-6_0_4_load_118 | 108 | 0.0087382 | 0.00219 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3235-6_0_4_line_0 |  | 0 | 1 | 0.035327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3235-6_0_4_line_1 |  | 1 | 2 | 0.0017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3235-6_0_4_line_2 |  | 2 | 3 | 0.012974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3235-6_0_4_line_3 |  | 3 | 11 | 0.028843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3235-6_0_4_line_4 |  | 4 | 5 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3235-6_0_4_line_5 |  | 5 | 12 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3235-6_0_4_line_6 |  | 6 | 7 | 0.035928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3235-6_0_4_line_7 |  | 6 | 8 | 0.036037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3235-6_0_4_line_8 |  | 7 | 13 | 0.035009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3235-6_0_4_line_9 |  | 8 | 14 | 0.0063034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3235-6_0_4_line_10 |  | 8 | 9 | 0.005512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_3235-6_0_4_line_11 |  | 9 | 10 | 0.01838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_3235-6_0_4_line_12 |  | 10 | 15 | 0.027716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3235-6_0_4_line_13 |  | 11 | 16 | 0.0088184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3235-6_0_4_line_14 |  | 12 | 13 | 0.019905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3235-6_0_4_line_15 |  | 13 | 31 | 0.032428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3235-6_0_4_line_16 |  | 13 | 30 | 0.039735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3235-6_0_4_line_17 |  | 15 | 61 | 0.054888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3235-6_0_4_line_18 |  | 15 | 50 | 0.010588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3235-6_0_4_line_19 |  | 16 | 17 | 0.0068495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3235-6_0_4_line_20 |  | 17 | 18 | 0.035057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3235-6_0_4_line_21 |  | 18 | 19 | 0.018815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3235-6_0_4_line_22 |  | 18 | 20 | 0.018999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3235-6_0_4_line_23 |  | 19 | 29 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3235-6_0_4_line_24 |  | 20 | 22 | 0.021847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3235-6_0_4_line_25 |  | 21 | 22 | 0.025186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3235-6_0_4_line_26 |  | 21 | 23 | 0.0034011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3235-6_0_4_line_27 |  | 23 | 57 | 0.013044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3235-6_0_4_line_28 |  | 24 | 25 | 0.039281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3235-6_0_4_line_29 |  | 25 | 32 | 0.02513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3235-6_0_4_line_30 |  | 26 | 27 | 0.0045235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3235-6_0_4_line_31 |  | 26 | 28 | 0.0088732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3235-6_0_4_line_32 |  | 27 | 29 | 0.0029501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3235-6_0_4_line_33 |  | 28 | 30 | 0.0090302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3235-6_0_4_line_34 |  | 32 | 36 | 0.0026156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3235-6_0_4_line_35 |  | 33 | 34 | 0.027142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3235-6_0_4_line_36 |  | 33 | 35 | 0.20708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3235-6_0_4_line_37 |  | 33 | 36 | 0.012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3235-6_0_4_line_38 |  | 34 | 58 | 0.011449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3235-6_0_4_line_39 |  | 35 | 56 | 0.171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3235-6_0_4_line_40 |  | 37 | 38 | 0.030128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3235-6_0_4_line_41 |  | 37 | 39 | 0.026297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3235-6_0_4_line_42 |  | 38 | 60 | 0.01348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3235-6_0_4_line_43 |  | 39 | 54 | 0.0051559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3235-6_0_4_line_44 |  | 40 | 41 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3235-6_0_4_line_45 |  | 40 | 42 | 0.013263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3235-6_0_4_line_46 |  | 41 | 52 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3235-6_0_4_line_47 |  | 42 | 62 | 0.00017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3235-6_0_4_line_48 |  | 43 | 44 | 0.010824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3235-6_0_4_line_49 |  | 43 | 45 | 0.035336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3235-6_0_4_line_50 |  | 43 | 46 | 0.011014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3235-6_0_4_line_51 |  | 44 | 47 | 0.022783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3235-6_0_4_line_52 |  | 44 | 48 | 0.0094957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3235-6_0_4_line_53 |  | 45 | 53 | 0.021383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3235-6_0_4_line_54 |  | 46 | 63 | 0.01886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3235-6_0_4_line_55 |  | 47 | 55 | 0.0098452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3235-6_0_4_line_56 |  | 47 | 54 | 0.0083502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3235-6_0_4_line_57 |  | 48 | 64 | 0.011637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3235-6_0_4_line_58 |  | 49 | 50 | 0.0091098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3235-6_0_4_line_59 |  | 49 | 51 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3235-6_0_4_line_60 |  | 50 | 52 | 0.021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3235-6_0_4_line_61 |  | 55 | 72 | 0.019471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3235-6_0_4_line_62 |  | 56 | 73 | 0.17939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3235-6_0_4_line_63 |  | 57 | 59 | 0.028038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3235-6_0_4_line_64 |  | 58 | 102 | 0.016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3235-6_0_4_line_65 |  | 58 | 101 | 0.012361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3235-6_0_4_line_66 |  | 59 | 96 | 0.0051622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3235-6_0_4_line_67 |  | 59 | 95 | 0.030654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3235-6_0_4_line_68 |  | 60 | 85 | 0.019999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3235-6_0_4_line_69 |  | 61 | 76 | 0.025172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3235-6_0_4_line_70 |  | 62 | 72 | 0.011334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3235-6_0_4_line_71 |  | 63 | 97 | 0.0010372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3235-6_0_4_line_72 |  | 64 | 102 | 0.0094505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3235-6_0_4_line_73 |  | 65 | 66 | 0.017563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3235-6_0_4_line_74 |  | 65 | 67 | 0.017231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3235-6_0_4_line_75 |  | 66 | 84 | 0.029679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3235-6_0_4_line_76 |  | 67 | 86 | 0.0058371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3235-6_0_4_line_77 |  | 68 | 69 | 0.035849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3235-6_0_4_line_78 |  | 68 | 70 | 0.023983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3235-6_0_4_line_79 |  | 69 | 87 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3235-6_0_4_line_80 |  | 69 | 82 | 0.011954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3235-6_0_4_line_81 |  | 71 | 72 | 0.025906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3235-6_0_4_line_82 |  | 73 | 108 | 0.050811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3235-6_0_4_line_83 |  | 74 | 75 | 0.0083055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3235-6_0_4_line_84 |  | 75 | 85 | 0.0082373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3235-6_0_4_line_85 |  | 76 | 89 | 0.022912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3235-6_0_4_line_86 |  | 77 | 78 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3235-6_0_4_line_87 |  | 77 | 79 | 0.014898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3235-6_0_4_line_88 |  | 79 | 80 | 0.039667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3235-6_0_4_line_89 |  | 80 | 81 | 0.0084052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3235-6_0_4_line_90 |  | 81 | 84 | 0.039902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3235-6_0_4_line_91 |  | 81 | 83 | 0.031147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3235-6_0_4_line_92 |  | 82 | 83 | 0.032107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3235-6_0_4_line_93 |  | 86 | 92 | 0.013822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3235-6_0_4_line_94 |  | 87 | 88 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3235-6_0_4_line_95 |  | 89 | 90 | 0.055465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
96 | LV_3235-6_0_4_line_96 |  | 89 | 91 | 0.051582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3235-6_0_4_line_97 |  | 90 | 92 | 0.007798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3235-6_0_4_line_98 |  | 90 | 93 | 0.013319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3235-6_0_4_line_99 |  | 91 | 94 | 0.011251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3235-6_0_4_line_100 |  | 92 | 103 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3235-6_0_4_line_101 |  | 93 | 104 | 0.020934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3235-6_0_4_line_102 |  | 98 | 99 | 0.0065496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3235-6_0_4_line_103 |  | 98 | 100 | 0.0076117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3235-6_0_4_line_104 |  | 99 | 101 | 0.0032729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3235-6_0_4_line_105 |  | 103 | 105 | 0.021561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3235-6_0_4_line_106 |  | 104 | 107 | 0.016371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3235-6_0_4_line_107 |  | 105 | 106 | 0.0098319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3235-6_0_4_trafo_40 | 0.63 MVA 20/0.4 kV | 109 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2761998.1098 | 1259854.5482 | 2762030.0938 | 1259869.5488
1 | 2762031.7021 | 1259870.3031 | 2762030.0938 | 1259869.5488
2 | 2762043.4482 | 1259875.8121 | 2762031.7021 | 1259870.3031
3 | 2762043.4482 | 1259875.8121 | 2762060.4543 | 1259852.516
4 | 2761991.7069 | 1259799.7639 | 2761988.9401 | 1259812.0101
5 | 2761995.0283 | 1259785.0561 | 2761994.7522 | 1259786.2853 | 2761991.7069 | 1259799.7639
6 | 2761932.6388 | 1259742.4062 | 2761936.3712 | 1259742.4417 | 2761940.1672 | 1259743.1796 | 2761966.6556 | 1259753.2231
7 | 2761939.2878 | 1259707.8297 | 2761931.5052 | 1259728.4494 | 2761932.6388 | 1259742.4062
8 | 2761999.3907 | 1259765.6351 | 2761966.6556 | 1259753.2231
9 | 2761939.2878 | 1259707.8297 | 2761941.5132 | 1259701.9323
10 | 2761939.2878 | 1259707.8297 | 2761934.1224 | 1259705.8641
11 | 2761934.1224 | 1259705.8641 | 2761937.7136 | 1259696.4637 | 2761941.3129 | 1259688.9654
12 | 2761958.9183 | 1259667.6916 | 2761951.4229 | 1259675.072 | 2761946.3925 | 1259681.3965 | 2761941.3129 | 1259688.9654
13 | 2762060.4543 | 1259852.516 | 2762065.6537 | 1259845.3935
14 | 2761999.3907 | 1259765.6351 | 2761995.0283 | 1259785.0561
15 | 2761999.3907 | 1259765.6351 | 2762013.5716 | 1259736.4723
16 | 2761999.3907 | 1259765.6351 | 2762022.7036 | 1259778.8316 | 2762033.8759 | 1259785.3735
17 | 2761958.9183 | 1259667.6916 | 2761915.5147 | 1259651.387 | 2761907.5894 | 1259648.2528
18 | 2761967.2869 | 1259661.2028 | 2761963.6832 | 1259663.6289 | 2761958.9183 | 1259667.6916
19 | 2762065.6537 | 1259845.3935 | 2762069.6922 | 1259839.8613
20 | 2762083.3885 | 1259809.303 | 2762084.2704 | 1259814.8218 | 2762083.9818 | 1259818.4732 | 2762081.6576 | 1259823.4704 | 2762069.6922 | 1259839.8613
21 | 2762083.3885 | 1259809.303 | 2762080.8567 | 1259809.7674 | 2762078.7472 | 1259809.6874 | 2762076.1564 | 1259809.0046 | 2762073.3733 | 1259808.1831 | 2762070.1729 | 1259806.6271 | 2762065.8663 | 1259804.1054
22 | 2762083.3885 | 1259809.303 | 2762086.0829 | 1259808.4092 | 2762088.9355 | 1259806.6966 | 2762092.8156 | 1259803.266 | 2762096.6263 | 1259798.2429 | 2762097.3414 | 1259797.0989
23 | 2762055.7748 | 1259798.1964 | 2762065.8663 | 1259804.1054
24 | 2762097.3414 | 1259797.0989 | 2762101.9034 | 1259789.8008 | 2762108.4283 | 1259778.2793
25 | 2762119.6778 | 1259755.7743 | 2762113.8872 | 1259768.6403 | 2762108.4283 | 1259778.2793
26 | 2762119.6778 | 1259755.7743 | 2762120.8356 | 1259752.5763
27 | 2762125.2757 | 1259740.3115 | 2762120.8356 | 1259752.5763
28 | 2762167.3499 | 1259704.6826 | 2762172.7669 | 1259709.5694 | 2762173.9464 | 1259713.8618 | 2762172.9827 | 1259717.3724 | 2762161.1774 | 1259738.1453
29 | 2762145.1913 | 1259692.8519 | 2762149.4965 | 1259694.8275 | 2762167.3499 | 1259704.6826
30 | 2762049.3255 | 1259794.42 | 2762053.2291 | 1259796.7057
31 | 2762049.3255 | 1259794.42 | 2762041.6685 | 1259789.9364
32 | 2762055.7748 | 1259798.1964 | 2762053.2291 | 1259796.7057
33 | 2762033.8759 | 1259785.3735 | 2762041.6685 | 1259789.9364
34 | 2762145.1913 | 1259692.8519 | 2762146.4133 | 1259690.5394
35 | 2762152.3917 | 1259680.0136 | 2762130.8019 | 1259663.5642
36 | 2762152.3917 | 1259680.0136 | 2762165.7826 | 1259660.638 | 2762171.9641 | 1259651.9538 | 2762188.1476 | 1259631.4092 | 2762192.9224 | 1259625.0667 | 2762203.7093 | 1259631.0575 | 2762209.0659 | 1259634.2966 | 2762227.1745 | 1259601.3252 | 2762228.3087 | 1259602.0459 | 2762234.4415 | 1259605.5844 | 2762252.6689 | 1259615.5612 | 2762226.7633 | 1259662.2109
37 | 2762152.3917 | 1259680.0136 | 2762149.3279 | 1259685.0237 | 2762146.4133 | 1259690.5394
38 | 2762121.6954 | 1259656.6259 | 2762130.8019 | 1259663.5642
39 | 2762226.7633 | 1259662.2109 | 2762228.9926 | 1259663.4289 | 2762214.2585 | 1259690.2419 | 2762214.9138 | 1259698.246 | 2762214.5992 | 1259700.918 | 2762213.5943 | 1259703.1817 | 2762188.9523 | 1259746.4071 | 2762182.604 | 1259759.8027 | 2762161.405 | 1259807.3048 | 2762158.1717 | 1259814.6934
40 | 2762103.544 | 1259609.4905 | 2762095.4814 | 1259599.8596 | 2762080.5542 | 1259591.0972 | 2762080.3735 | 1259590.9122
41 | 2762103.544 | 1259609.4905 | 2762094.3629 | 1259610.3955 | 2762077.5392 | 1259607.4996
42 | 2762071.6837 | 1259580.6638 | 2762075.0299 | 1259585.44 | 2762080.3735 | 1259590.9122
43 | 2762072.458 | 1259606.625 | 2762077.5392 | 1259607.4996
44 | 2762044.4917 | 1259634.6774 | 2762035.5459 | 1259637.1795 | 2762012.6895 | 1259642.8221
45 | 2762044.4917 | 1259634.6774 | 2762043.2547 | 1259621.4719
46 | 2762012.6895 | 1259642.8221 | 2762001.4811 | 1259645.5891 | 2761986.6589 | 1259651.7464
47 | 2762043.2382 | 1259621.2956 | 2762043.2547 | 1259621.4719
48 | 2762074.3902 | 1259633.2613 | 2762083.9294 | 1259628.0949
49 | 2762074.3902 | 1259633.2613 | 2762067.0705 | 1259636.6978 | 2762054.8807 | 1259641.1575 | 2762053.16 | 1259646.427 | 2762049.5439 | 1259647.3735 | 2762044.7198 | 1259648.6427
50 | 2762074.3902 | 1259633.2613 | 2762079.2779 | 1259643.1315
51 | 2762071.0933 | 1259614.8629 | 2762072.8049 | 1259616.2557 | 2762073.8679 | 1259619.2991 | 2762073.9675 | 1259621.9935 | 2762076.7526 | 1259627.4199 | 2762080.4344 | 1259625.452 | 2762083.9294 | 1259628.0949
52 | 2762083.9294 | 1259628.0949 | 2762091.5076 | 1259633.8167
53 | 2762044.7198 | 1259648.6427 | 2762038.4978 | 1259650.2852 | 2762024.0425 | 1259654.0897
54 | 2762079.2779 | 1259643.1315 | 2762081.208 | 1259647.0291 | 2762082.4792 | 1259657.6083 | 2762085.5658 | 1259659.9192
55 | 2762071.0933 | 1259614.8629 | 2762061.3839 | 1259613.2334
56 | 2762071.0933 | 1259614.8629 | 2762071.8247 | 1259610.4672 | 2762072.458 | 1259606.625
57 | 2762100.7931 | 1259640.8315 | 2762094.1562 | 1259635.8164 | 2762091.5076 | 1259633.8167
58 | 2761972.7899 | 1259668.461 | 2761969.8821 | 1259664.7553 | 2761967.2869 | 1259661.2028
59 | 2761972.7899 | 1259668.461 | 2761982.0912 | 1259663.1656 | 2761986.8987 | 1259661.126
60 | 2761967.2869 | 1259661.2028 | 2761984.476 | 1259652.6532 | 2761986.6589 | 1259651.7464
61 | 2762042.1811 | 1259610.0106 | 2762061.3839 | 1259613.2334
62 | 2762064.222 | 1259932.0843 | 2762087.7656 | 1259943.1629 | 2762099.6505 | 1259943.1996 | 2762102.6363 | 1259940.2005 | 2762114.3965 | 1259913.161 | 2762130.5314 | 1259877.8549 | 2762158.1717 | 1259814.6934
63 | 2762099.9679 | 1259728.0832 | 2762125.2757 | 1259740.3115
64 | 2762121.6954 | 1259656.6259 | 2762108.3331 | 1259646.529
65 | 2762121.6954 | 1259656.6259 | 2762114.1517 | 1259666.4181
66 | 2762099.9679 | 1259728.0832 | 2762095.2799 | 1259725.9221
67 | 2762099.9679 | 1259728.0832 | 2762084.8004 | 1259754.7223
68 | 2762071.6837 | 1259580.6638 | 2762065.7103 | 1259572.1375 | 2762060.8188 | 1259563.89
69 | 2761907.5894 | 1259648.2528 | 2761884.1814 | 1259638.9958
70 | 2762042.1811 | 1259610.0106 | 2762043.2382 | 1259621.2956
71 | 2762086.3961 | 1259660.5409 | 2762085.5658 | 1259659.9192
72 | 2762108.3331 | 1259646.529 | 2762100.7931 | 1259640.8315
73 | 2761921.077 | 1259584.3358 | 2761923.9664 | 1259567.0121
74 | 2761921.077 | 1259584.3358 | 2761904.0578 | 1259581.6439
75 | 2761929.9582 | 1259538.1205 | 2761928.4772 | 1259551.2481 | 2761925.0567 | 1259560.4753 | 2761923.9664 | 1259567.0121
76 | 2761898.2924 | 1259580.7319 | 2761904.0578 | 1259581.6439
77 | 2761989.7821 | 1259555.3412 | 2761995.1279 | 1259519.8949
78 | 2761989.7821 | 1259555.3412 | 2762013.367 | 1259559.692
79 | 2761995.1279 | 1259519.8949 | 2762008.7774 | 1259522.1682
80 | 2761996.915 | 1259508.0759 | 2761995.1279 | 1259519.8949
81 | 2762042.1811 | 1259610.0106 | 2762016.6349 | 1259605.7101
82 | 2762064.222 | 1259932.0843 | 2762091.3889 | 1259889.1456
83 | 2762056.9104 | 1259556.6554 | 2762053.6195 | 1259549.0297
84 | 2762056.9104 | 1259556.6554 | 2762057.9317 | 1259559.0219 | 2762060.8188 | 1259563.89
85 | 2761862.8746 | 1259630.5697 | 2761884.1814 | 1259638.9958
86 | 2761925.7482 | 1259449.0675 | 2761923.9053 | 1259448.8494 | 2761919.6646 | 1259449.4674 | 2761913.7986 | 1259449.0901
87 | 2761940.5428 | 1259450.8178 | 2761925.7482 | 1259449.0675
88 | 2761940.5428 | 1259450.8178 | 2761937.4299 | 1259468.6401 | 2761935.2462 | 1259490.104
89 | 2761934.3955 | 1259498.466 | 2761935.2462 | 1259490.104
90 | 2761934.3955 | 1259498.466 | 2761931.9036 | 1259520.8768 | 2761929.9582 | 1259538.1205
91 | 2761934.3955 | 1259498.466 | 2761941.2682 | 1259499.5107 | 2761965.1822 | 1259503.191
92 | 2761996.915 | 1259508.0759 | 2761989.1114 | 1259506.8722 | 2761987.429 | 1259506.6148 | 2761965.1822 | 1259503.191
93 | 2761884.6396 | 1259578.5774 | 2761893.8617 | 1259580.0312 | 2761898.2924 | 1259580.7319
94 | 2762023.3008 | 1259524.587 | 2762008.7774 | 1259522.1682
95 | 2761862.8746 | 1259630.5697 | 2761871.0846 | 1259611.9637 | 2761875.3363 | 1259588.0773 | 2761876.9205 | 1259577.3205
96 | 2761862.8746 | 1259630.5697 | 2761853.6097 | 1259644.7311 | 2761853.3417 | 1259645.7025 | 2761852.4968 | 1259648.7382 | 2761844.5287 | 1259678.1793
97 | 2761884.6396 | 1259578.5774 | 2761876.9205 | 1259577.3205
98 | 2761876.9205 | 1259577.3205 | 2761863.7608 | 1259575.2654
99 | 2761844.5287 | 1259678.1793 | 2761841.5894 | 1259689.0398
100 | 2761884.6396 | 1259578.5774 | 2761887.4218 | 1259564.3108
101 | 2761843.071 | 1259572.0781 | 2761847.2103 | 1259572.6808 | 2761863.7608 | 1259575.2654
102 | 2762107 | 1259672.6957 | 2762107 | 1259672.6957 | 2762108.8824 | 1259670.3337 | 2762112.1543 | 1259669.0108 | 2762112.1543 | 1259669.0108
103 | 2762099.7804 | 1259670.2843 | 2762107 | 1259672.6957
104 | 2762112.1543 | 1259669.0108 | 2762114.1517 | 1259666.4181
105 | 2761887.4218 | 1259564.3108 | 2761888.9829 | 1259556.3062 | 2761881.1991 | 1259549.6975 | 2761881.9225 | 1259546.586
106 | 2761843.071 | 1259572.0781 | 2761845.878 | 1259555.9496
107 | 2761884.1487 | 1259537.0094 | 2761881.9225 | 1259546.586

## bus_geodata
| x | y | coords
0 | 2761998.1098 | 1259854.5482
1 | 2762030.0938 | 1259869.5488
2 | 2762031.7021 | 1259870.3031
3 | 2762043.4482 | 1259875.8121
4 | 2761988.9401 | 1259812.0101
5 | 2761991.7069 | 1259799.7639
6 | 2761932.6388 | 1259742.4062
7 | 2761966.6556 | 1259753.2231
8 | 2761939.2878 | 1259707.8297
9 | 2761934.1224 | 1259705.8641
10 | 2761941.3129 | 1259688.9654
11 | 2762060.4543 | 1259852.516
12 | 2761995.0283 | 1259785.0561
13 | 2761999.3907 | 1259765.6351
14 | 2761941.5132 | 1259701.9323
15 | 2761958.9183 | 1259667.6916
16 | 2762065.6537 | 1259845.3935
17 | 2762069.6922 | 1259839.8613
18 | 2762083.3885 | 1259809.303
19 | 2762065.8663 | 1259804.1054
20 | 2762097.3414 | 1259797.0989
21 | 2762119.6778 | 1259755.7743
22 | 2762108.4283 | 1259778.2793
23 | 2762120.8356 | 1259752.5763
24 | 2762161.1774 | 1259738.1453
25 | 2762167.3499 | 1259704.6826
26 | 2762049.3255 | 1259794.42
27 | 2762053.2291 | 1259796.7057
28 | 2762041.6685 | 1259789.9364
29 | 2762055.7748 | 1259798.1964
30 | 2762033.8759 | 1259785.3735
31 | 2762013.5716 | 1259736.4723
32 | 2762145.1913 | 1259692.8519
33 | 2762152.3917 | 1259680.0136
34 | 2762130.8019 | 1259663.5642
35 | 2762226.7633 | 1259662.2109
36 | 2762146.4133 | 1259690.5394
37 | 2762103.544 | 1259609.4905
38 | 2762080.3735 | 1259590.9122
39 | 2762077.5392 | 1259607.4996
40 | 2762044.4917 | 1259634.6774
41 | 2762012.6895 | 1259642.8221
42 | 2762043.2547 | 1259621.4719
43 | 2762074.3902 | 1259633.2613
44 | 2762083.9294 | 1259628.0949
45 | 2762044.7198 | 1259648.6427
46 | 2762079.2779 | 1259643.1315
47 | 2762071.0933 | 1259614.8629
48 | 2762091.5076 | 1259633.8167
49 | 2761972.7899 | 1259668.461
50 | 2761967.2869 | 1259661.2028
51 | 2761986.8987 | 1259661.126
52 | 2761986.6589 | 1259651.7464
53 | 2762024.0425 | 1259654.0897
54 | 2762072.458 | 1259606.625
55 | 2762061.3839 | 1259613.2334
56 | 2762158.1717 | 1259814.6934
57 | 2762125.2757 | 1259740.3115
58 | 2762121.6954 | 1259656.6259
59 | 2762099.9679 | 1259728.0832
60 | 2762071.6837 | 1259580.6638
61 | 2761907.5894 | 1259648.2528
62 | 2762043.2382 | 1259621.2956
63 | 2762085.5658 | 1259659.9192
64 | 2762100.7931 | 1259640.8315
65 | 2761921.077 | 1259584.3358
66 | 2761923.9664 | 1259567.0121
67 | 2761904.0578 | 1259581.6439
68 | 2761989.7821 | 1259555.3412
69 | 2761995.1279 | 1259519.8949
70 | 2762013.367 | 1259559.692
71 | 2762016.6349 | 1259605.7101
72 | 2762042.1811 | 1259610.0106
73 | 2762064.222 | 1259932.0843
74 | 2762053.6195 | 1259549.0297
75 | 2762056.9104 | 1259556.6554
76 | 2761884.1814 | 1259638.9958
77 | 2761925.7482 | 1259449.0675
78 | 2761913.7986 | 1259449.0901
79 | 2761940.5428 | 1259450.8178
80 | 2761935.2462 | 1259490.104
81 | 2761934.3955 | 1259498.466
82 | 2761996.915 | 1259508.0759
83 | 2761965.1822 | 1259503.191
84 | 2761929.9582 | 1259538.1205
85 | 2762060.8188 | 1259563.89
86 | 2761898.2924 | 1259580.7319
87 | 2762008.7774 | 1259522.1682
88 | 2762023.3008 | 1259524.587
89 | 2761862.8746 | 1259630.5697
90 | 2761876.9205 | 1259577.3205
91 | 2761844.5287 | 1259678.1793
92 | 2761884.6396 | 1259578.5774
93 | 2761863.7608 | 1259575.2654
94 | 2761841.5894 | 1259689.0398
95 | 2762084.8004 | 1259754.7223
96 | 2762095.2799 | 1259725.9221
97 | 2762086.3961 | 1259660.5409
98 | 2762107 | 1259672.6957
99 | 2762112.1543 | 1259669.0108
100 | 2762099.7803 | 1259670.2843
101 | 2762114.1517 | 1259666.4181
102 | 2762108.3331 | 1259646.529
103 | 2761887.4218 | 1259564.3108
104 | 2761843.071 | 1259572.0781
105 | 2761881.9225 | 1259546.586
106 | 2761884.1487 | 1259537.0094
107 | 2761845.878 | 1259555.9495
108 | 2762091.3889 | 1259889.1456
109 | 2761967.2869 | 1259661.2028

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1