## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3254-9_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3254-9_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3254-9_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3254-9_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3254-9_0_5_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3254-9_0_5_node_39 | 0.4 | n |  | TRUE
6 | bus_LV_3254-9_0_5_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_3254-9_0_5_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3254-9_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_3254-9_0_5_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_3254-9_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3254-9_0_5_node_76 | 0.4 | n |  | TRUE
12 | bus_LV_3254-9_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3254-9_0_5_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_3254-9_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3254-9_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3254-9_0_5_node_88 | 0.4 | n |  | TRUE
17 | bus_LV_3254-9_0_5_node_89 | 0.4 | n |  | TRUE
18 | bus_LV_3254-9_0_5_node_106 | 0.4 | n |  | TRUE
19 | bus_LV_3254-9_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3254-9_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3254-9_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3254-9_0_5_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_3254-9_0_5_node_92 | 0.4 | n |  | TRUE
24 | bus_LV_3254-9_0_5_node_98 | 0.4 | n |  | TRUE
25 | bus_LV_3254-9_0_5_node_74 | 0.4 | n |  | TRUE
26 | bus_LV_3254-9_0_5_node_93 | 0.4 | n |  | TRUE
27 | bus_LV_3254-9_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_3254-9_0_5_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_3254-9_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_3254-9_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_3254-9_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_3254-9_0_5_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_3254-9_0_5_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3254-9_0_5_node_75 | 0.4 | n |  | TRUE
35 | bus_LV_3254-9_0_5_node_81 | 0.4 | n |  | TRUE
36 | bus_LV_3254-9_0_5_node_59 | 0.4 | n |  | TRUE
37 | bus_LV_3254-9_0_5_node_103 | 0.4 | n |  | TRUE
38 | bus_LV_3254-9_0_5_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3254-9_0_5_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_3254-9_0_5_node_80 | 0.4 | n |  | TRUE
41 | bus_LV_3254-9_0_5_node_20 | 0.4 | n |  | TRUE
42 | bus_LV_3254-9_0_5_node_21 | 0.4 | n |  | TRUE
43 | bus_LV_3254-9_0_5_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_3254-9_0_5_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_3254-9_0_5_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_3254-9_0_5_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_3254-9_0_5_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3254-9_0_5_node_25 | 0.4 | n |  | TRUE
49 | bus_LV_3254-9_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3254-9_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_3254-9_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_3254-9_0_5_node_27 | 0.4 | n |  | TRUE
53 | bus_LV_3254-9_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_3254-9_0_5_node_29 | 0.4 | n |  | TRUE
55 | bus_LV_3254-9_0_5_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3254-9_0_5_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3254-9_0_5_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_3254-9_0_5_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_3254-9_0_5_node_61 | 0.4 | n |  | TRUE
60 | bus_LV_3254-9_0_5_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_3254-9_0_5_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_3254-9_0_5_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_3254-9_0_5_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3254-9_0_5_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_3254-9_0_5_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_3254-9_0_5_node_91 | 0.4 | n |  | TRUE
67 | bus_LV_3254-9_0_5_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_3254-9_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3254-9_0_5_node_40 | 0.4 | n |  | TRUE
70 | bus_LV_3254-9_0_5_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_3254-9_0_5_node_97 | 0.4 | n |  | TRUE
72 | bus_LV_3254-9_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_3254-9_0_5_node_102 | 0.4 | n |  | TRUE
74 | bus_LV_3254-9_0_5_node_84 | 0.4 | n |  | TRUE
75 | bus_LV_3254-9_0_5_node_83 | 0.4 | n |  | TRUE
76 | bus_LV_3254-9_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_3254-9_0_5_node_45 | 0.4 | n |  | TRUE
78 | bus_LV_3254-9_0_5_node_107 | 0.4 | n |  | TRUE
79 | bus_LV_3254-9_0_5_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3254-9_0_5_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_3254-9_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_3254-9_0_5_node_57 | 0.4 | n |  | TRUE
83 | bus_LV_3254-9_0_5_node_50 | 0.4 | n |  | TRUE
84 | bus_LV_3254-9_0_5_node_52 | 0.4 | n |  | TRUE
85 | bus_LV_3254-9_0_5_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_3254-9_0_5_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3254-9_0_5_node_99 | 0.4 | n |  | TRUE
88 | bus_LV_3254-9_0_5_node_78 | 0.4 | n |  | TRUE
89 | bus_LV_3254-9_0_5_node_56 | 0.4 | n |  | TRUE
90 | bus_LV_3254-9_0_5_node_58 | 0.4 | n |  | TRUE
91 | bus_LV_3254-9_0_5_node_60 | 0.4 | n |  | TRUE
92 | bus_LV_3254-9_0_5_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3254-9_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_3254-9_0_5_node_65 | 0.4 | n |  | TRUE
95 | bus_LV_3254-9_0_5_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_3254-9_0_5_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_3254-9_0_5_node_69 | 0.4 | n |  | TRUE
98 | bus_LV_3254-9_0_5_node_70 | 0.4 | n |  | TRUE
99 | bus_LV_3254-9_0_5_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_3254-9_0_5_node_104 | 0.4 | n |  | TRUE
101 | bus_LV_3254-9_0_5_node_82 | 0.4 | n |  | TRUE
102 | bus_LV_3254-9_0_5_node_100 | 0.4 | n |  | TRUE
103 | bus_LV_3254-9_0_5_node_77 | 0.4 | n |  | TRUE
104 | bus_LV_3254-9_0_5_node_101 | 0.4 | n |  | TRUE
105 | bus_LV_3254-9_0_5_node_105 | 0.4 | n |  | TRUE
106 | bus_MV_49_0_node_62 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3254-9_0_5_load_0 | 0 | 0.0019033 | 0.00047701 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3254-9_0_5_load_1 | 1 | 0.0015534 | 0.00038933 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3254-9_0_5_load_3 | 3 | 0.00016176 | 4.0541e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3254-9_0_5_load_38 | 4 | 0.0001463 | 3.6666e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3254-9_0_5_load_39 | 5 | 0.00010996 | 2.7559e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3254-9_0_5_load_4 | 6 | 0.0025114 | 0.00062943 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3254-9_0_5_load_5 | 7 | 0.0049485 | 0.0012402 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3254-9_0_5_load_6 | 8 | 0.0021053 | 0.00052763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3254-9_0_5_load_8 | 10 | 0.0046028 | 0.0011536 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3254-9_0_5_load_76 | 11 | 0.0030435 | 0.00076278 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3254-9_0_5_load_9 | 12 | 0.0025123 | 0.00062964 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3254-9_0_5_load_55 | 13 | 0.0098001 | 0.0024561 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3254-9_0_5_load_10 | 14 | 0.0057524 | 0.0014417 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3254-9_0_5_load_11 | 15 | 0.013222 | 0.0033136 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3254-9_0_5_load_88 | 16 | 0.0038863 | 0.000974 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3254-9_0_5_load_106 | 18 | 0.028082 | 0.007038 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3254-9_0_5_load_14 | 19 | 0.032288 | 0.0080921 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3254-9_0_5_load_95 | 22 | 0.012037 | 0.0030168 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3254-9_0_5_load_92 | 23 | 0.0017733 | 0.00044444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3254-9_0_5_load_98 | 24 | 0.0019154 | 0.00048004 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3254-9_0_5_load_74 | 25 | 0.021491 | 0.0053861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3254-9_0_5_load_93 | 26 | 0.0020265 | 0.00050789 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3254-9_0_5_load_15 | 27 | 0.0031289 | 0.00078419 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3254-9_0_5_load_17 | 29 | 0.0059122 | 0.0014817 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3254-9_0_5_load_33 | 33 | 0.0033283 | 0.00083414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3254-9_0_5_load_81 | 35 | 0.00023083 | 5.785e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3254-9_0_5_load_103 | 37 | 0.011126 | 0.0027884 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3254-9_0_5_load_32 | 38 | 0.0023428 | 0.00058716 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3254-9_0_5_load_71 | 39 | 0.00047726 | 0.00011961 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3254-9_0_5_load_80 | 40 | 0.00023045 | 5.7756e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3254-9_0_5_load_20 | 41 | 0.0044034 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3254-9_0_5_load_21 | 42 | 0.0050662 | 0.0012697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3254-9_0_5_load_53 | 47 | 0.0031776 | 0.00079638 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3254-9_0_5_load_25 | 48 | 0.0092359 | 0.0023147 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3254-9_0_5_load_72 | 49 | 0.0093194 | 0.0023357 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3254-9_0_5_load_51 | 51 | 0.02325 | 0.0058271 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3254-9_0_5_load_27 | 52 | 0.0066844 | 0.0016753 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3254-9_0_5_load_28 | 53 | 0.0051586 | 0.0012929 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3254-9_0_5_load_29 | 54 | 0.018045 | 0.0045226 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3254-9_0_5_load_30 | 55 | 0.015335 | 0.0038432 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3254-9_0_5_load_31 | 56 | 0.00869 | 0.0021779 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3254-9_0_5_load_37 | 57 | 0.019098 | 0.0047864 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3254-9_0_5_load_42 | 58 | 0.01148 | 0.0028772 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3254-9_0_5_load_61 | 59 | 0.0022438 | 0.00056236 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3254-9_0_5_load_36 | 62 | 0.0028958 | 0.00072577 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3254-9_0_5_load_46 | 63 | 0.004287 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3254-9_0_5_load_90 | 64 | 0.0017707 | 0.00044377 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3254-9_0_5_load_47 | 65 | 0.005271 | 0.001321 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3254-9_0_5_load_91 | 66 | 0.0010459 | 0.00026214 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3254-9_0_5_load_41 | 67 | 0.0077972 | 0.0019542 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3254-9_0_5_load_62 | 68 | 0.001709 | 0.00042831 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3254-9_0_5_load_102 | 73 | 0.0028228 | 0.00070745 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3254-9_0_5_load_83 | 75 | 0.00027202 | 6.8175e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3254-9_0_5_load_64 | 76 | 0.0015459 | 0.00038744 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3254-9_0_5_load_45 | 77 | 0.0074872 | 0.0018765 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3254-9_0_5_load_107 | 78 | 0.0072101 | 0.001807 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3254-9_0_5_load_73 | 79 | 0.011039 | 0.0027667 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3254-9_0_5_load_48 | 80 | 0.0016286 | 0.00040817 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3254-9_0_5_load_63 | 81 | 0.002471 | 0.00061929 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3254-9_0_5_load_57 | 82 | 0.014808 | 0.0037111 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3254-9_0_5_load_50 | 83 | 0.0019394 | 0.00048605 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3254-9_0_5_load_79 | 86 | 0.0049002 | 0.0012281 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3254-9_0_5_load_99 | 87 | 0.0027682 | 0.00069377 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3254-9_0_5_load_78 | 88 | 0.0018849 | 0.00047241 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3254-9_0_5_load_56 | 89 | 0.0059697 | 0.0014962 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3254-9_0_5_load_58 | 90 | 0.015723 | 0.0039405 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3254-9_0_5_load_60 | 91 | 0.009556 | 0.002395 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3254-9_0_5_load_87 | 93 | 0.0088246 | 0.0022117 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3254-9_0_5_load_65 | 94 | 0.0030251 | 0.00075816 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3254-9_0_5_load_67 | 95 | 0.0015916 | 0.0003989 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3254-9_0_5_load_68 | 96 | 0.0064934 | 0.0016274 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3254-9_0_5_load_69 | 97 | 0.0064947 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3254-9_0_5_load_70 | 98 | 0.018485 | 0.0046328 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3254-9_0_5_load_104 | 100 | 0.0086855 | 0.0021768 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3254-9_0_5_load_100 | 102 | 0.011803 | 0.0029581 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3254-9_0_5_load_77 | 103 | 0.0022903 | 0.00057402 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3254-9_0_5_load_101 | 104 | 0.011806 | 0.0029588 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3254-9_0_5_load_105 | 105 | 0.0086834 | 0.0021763 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3254-9_0_5_line_0 |  | 0 | 1 | 0.064577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3254-9_0_5_line_1 |  | 0 | 2 | 0.044207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3254-9_0_5_line_2 |  | 2 | 3 | 0.0095474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3254-9_0_5_line_3 |  | 3 | 4 | 0.021171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3254-9_0_5_line_4 |  | 4 | 5 | 0.024636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3254-9_0_5_line_5 |  | 5 | 69 | 0.016962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3254-9_0_5_line_6 |  | 6 | 7 | 0.0067613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3254-9_0_5_line_7 |  | 6 | 8 | 0.0064256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3254-9_0_5_line_8 |  | 7 | 9 | 0.049686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3254-9_0_5_line_9 |  | 8 | 10 | 0.012492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3254-9_0_5_line_10 |  | 9 | 11 | 0.04084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3254-9_0_5_line_11 |  | 10 | 12 | 0.02013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3254-9_0_5_line_12 |  | 11 | 13 | 0.040233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3254-9_0_5_line_13 |  | 12 | 14 | 0.0077235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3254-9_0_5_line_14 |  | 13 | 84 | 0.030663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3254-9_0_5_line_15 |  | 15 | 16 | 0.069801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3254-9_0_5_line_16 |  | 16 | 17 | 0.04284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3254-9_0_5_line_17 |  | 17 | 61 | 0.073426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3254-9_0_5_line_18 |  | 18 | 19 | 0.025181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3254-9_0_5_line_19 |  | 19 | 20 | 0.014277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3254-9_0_5_line_20 |  | 20 | 21 | 0.034449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3254-9_0_5_line_21 |  | 21 | 22 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3254-9_0_5_line_22 |  | 21 | 23 | 0.01004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3254-9_0_5_line_23 |  | 21 | 24 | 0.041533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3254-9_0_5_line_24 |  | 22 | 25 | 0.011601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3254-9_0_5_line_25 |  | 23 | 26 | 0.022592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3254-9_0_5_line_26 |  | 25 | 79 | 0.015632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3254-9_0_5_line_27 |  | 27 | 28 | 0.021215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3254-9_0_5_line_28 |  | 27 | 29 | 0.055973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3254-9_0_5_line_29 |  | 28 | 30 | 0.03399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3254-9_0_5_line_30 |  | 28 | 31 | 0.029773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3254-9_0_5_line_31 |  | 30 | 32 | 0.003118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3254-9_0_5_line_32 |  | 30 | 33 | 0.0032662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3254-9_0_5_line_33 |  | 31 | 34 | 0.0034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3254-9_0_5_line_34 |  | 31 | 35 | 0.0075776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3254-9_0_5_line_35 |  | 32 | 36 | 0.024612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3254-9_0_5_line_36 |  | 32 | 37 | 0.019545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3254-9_0_5_line_37 |  | 33 | 38 | 0.02743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3254-9_0_5_line_38 |  | 34 | 39 | 0.015085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3254-9_0_5_line_39 |  | 35 | 40 | 0.020844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3254-9_0_5_line_40 |  | 36 | 82 | 0.0011411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3254-9_0_5_line_41 |  | 38 | 60 | 0.035537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3254-9_0_5_line_42 |  | 39 | 97 | 0.030728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3254-9_0_5_line_43 |  | 40 | 101 | 0.0024859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3254-9_0_5_line_44 |  | 41 | 42 | 0.008754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3254-9_0_5_line_45 |  | 41 | 43 | 0.047904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3254-9_0_5_line_46 |  | 42 | 44 | 0.026853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3254-9_0_5_line_47 |  | 43 | 45 | 0.032298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3254-9_0_5_line_48 |  | 44 | 46 | 0.024561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3254-9_0_5_line_49 |  | 44 | 47 | 0.0147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3254-9_0_5_line_50 |  | 45 | 48 | 0.064887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3254-9_0_5_line_51 |  | 46 | 49 | 0.026644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3254-9_0_5_line_52 |  | 46 | 50 | 0.028562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3254-9_0_5_line_53 |  | 47 | 51 | 0.015892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3254-9_0_5_line_54 |  | 49 | 79 | 0.02835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3254-9_0_5_line_55 |  | 50 | 77 | 0.018307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3254-9_0_5_line_56 |  | 50 | 67 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_3254-9_0_5_line_57 |  | 51 | 83 | 0.0039169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3254-9_0_5_line_58 |  | 52 | 53 | 0.033442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3254-9_0_5_line_59 |  | 52 | 54 | 0.011332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3254-9_0_5_line_60 |  | 53 | 55 | 0.028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_3254-9_0_5_line_61 |  | 54 | 56 | 0.031103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3254-9_0_5_line_62 |  | 55 | 57 | 0.021326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_3254-9_0_5_line_63 |  | 57 | 58 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_3254-9_0_5_line_64 |  | 57 | 59 | 0.032498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_3254-9_0_5_line_65 |  | 58 | 67 | 0.0066273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_3254-9_0_5_line_66 |  | 59 | 68 | 0.003314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_3254-9_0_5_line_67 |  | 60 | 61 | 0.003049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_3254-9_0_5_line_68 |  | 60 | 62 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3254-9_0_5_line_69 |  | 61 | 63 | 0.020472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_3254-9_0_5_line_70 |  | 62 | 64 | 0.0020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3254-9_0_5_line_71 |  | 63 | 65 | 0.0525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_3254-9_0_5_line_72 |  | 64 | 66 | 0.021448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3254-9_0_5_line_73 |  | 65 | 80 | 0.010653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_3254-9_0_5_line_74 |  | 68 | 81 | 0.034222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_3254-9_0_5_line_75 |  | 69 | 70 | 0.003579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3254-9_0_5_line_76 |  | 69 | 71 | 0.03423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3254-9_0_5_line_77 |  | 69 | 72 | 0.040835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3254-9_0_5_line_78 |  | 70 | 73 | 0.014772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3254-9_0_5_line_79 |  | 71 | 74 | 0.003584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3254-9_0_5_line_80 |  | 71 | 75 | 0.01295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3254-9_0_5_line_81 |  | 72 | 76 | 0.038095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3254-9_0_5_line_82 |  | 74 | 102 | 0.021152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3254-9_0_5_line_83 |  | 75 | 101 | 0.016249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3254-9_0_5_line_84 |  | 76 | 94 | 0.023104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3254-9_0_5_line_85 |  | 77 | 78 | 0.028555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3254-9_0_5_line_86 |  | 80 | 81 | 0.0035029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_3254-9_0_5_line_87 |  | 82 | 89 | 0.022322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3254-9_0_5_line_88 |  | 83 | 84 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3254-9_0_5_line_89 |  | 84 | 85 | 0.058448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3254-9_0_5_line_90 |  | 85 | 86 | 0.010443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3254-9_0_5_line_91 |  | 85 | 87 | 0.01774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3254-9_0_5_line_92 |  | 86 | 88 | 0.0043858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3254-9_0_5_line_93 |  | 88 | 103 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3254-9_0_5_line_94 |  | 89 | 90 | 0.021444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3254-9_0_5_line_95 |  | 90 | 91 | 0.010801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3254-9_0_5_line_96 |  | 91 | 92 | 0.0043605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3254-9_0_5_line_97 |  | 92 | 93 | 0.022256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3254-9_0_5_line_98 |  | 94 | 95 | 0.017185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3254-9_0_5_line_99 |  | 96 | 97 | 0.031348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3254-9_0_5_line_100 |  | 96 | 98 | 0.0033992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3254-9_0_5_line_101 |  | 99 | 100 | 0.021959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3254-9_0_5_line_102 |  | 99 | 101 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3254-9_0_5_line_103 |  | 100 | 105 | 0.021494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3254-9_0_5_line_104 |  | 102 | 104 | 0.023048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3254-9_0_5_trafo_28 | 0.63 MVA 20/0.4 kV | 106 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2760974.6227 | 1242529.0817 | 2760969.733 | 1242490.3537 | 2760970.4696 | 1242486.9036 | 2760973.1264 | 1242484.8848 | 2760991.6723 | 1242482.6802
1 | 2760980.1603 | 1242572.9405 | 2760974.6227 | 1242529.0817
2 | 2760980.1603 | 1242572.9405 | 2760970.6214 | 1242573.343
3 | 2760949.4695 | 1242574.2353 | 2760970.6214 | 1242573.343
4 | 2760949.4695 | 1242574.2353 | 2760924.8558 | 1242575.2737
5 | 2760907.9667 | 1242576.7088 | 2760917.2779 | 1242575.5934 | 2760924.8558 | 1242575.2737
6 | 2760757.985 | 1242642.5951 | 2760751.3676 | 1242643.9828
7 | 2760757.985 | 1242642.5951 | 2760764.2739 | 1242641.2763
8 | 2760702.7393 | 1242654.1804 | 2760751.3676 | 1242643.9828
9 | 2760776.5002 | 1242638.7124 | 2760764.2739 | 1242641.2763
10 | 2760702.7393 | 1242654.1804 | 2760694.0653 | 1242691.7939 | 2760693.6051 | 1242693.9853
11 | 2760796.2016 | 1242634.5809 | 2760776.5002 | 1242638.7124
12 | 2760693.6051 | 1242693.9853 | 2760690.0617 | 1242710.8599 | 2760688.5103 | 1242730.7042 | 2760688.2582 | 1242733.7797
13 | 2760803.7606 | 1242632.9957 | 2760796.2016 | 1242634.5809
14 | 2760685.7532 | 1242764.3406 | 2760688.2582 | 1242733.7797
15 | 2760913.501 | 1242878.7437 | 2760847.4901 | 1242901.433
16 | 2760955.5599 | 1242870.6015 | 2760913.501 | 1242878.7437
17 | 2760945.6375 | 1242797.8492 | 2760955.5599 | 1242870.6015
18 | 2760777.8764 | 1242933.9812 | 2760765.6533 | 1242911.9656
19 | 2760758.7234 | 1242899.4838 | 2760765.6533 | 1242911.9656
20 | 2760724.6733 | 1242905.3229 | 2760758.7234 | 1242899.4838
21 | 2760724.6733 | 1242905.3229 | 2760722.454 | 1242894.9791
22 | 2760724.6733 | 1242905.3229 | 2760726.7796 | 1242915.1394
23 | 2760724.6733 | 1242905.3229 | 2760683.4343 | 1242910.2589
24 | 2760720.0203 | 1242883.6361 | 2760722.454 | 1242894.9791
25 | 2760726.7796 | 1242915.1394 | 2760731.4017 | 1242936.6806 | 2760731.5775 | 1242937.2128
26 | 2760720.0203 | 1242883.6361 | 2760717.9381 | 1242873.9316 | 2760716.892 | 1242868.3217
27 | 2760929.9832 | 1242698.8377 | 2760950.9058 | 1242695.3248
28 | 2760980.2806 | 1242724.2381 | 2760973.1495 | 1242691.5901 | 2760950.9058 | 1242695.3248
29 | 2760936.5281 | 1242732.1927 | 2760929.9832 | 1242698.8377
30 | 2760924.2563 | 1242669.6202 | 2760925.4125 | 1242675.5129 | 2760929.9832 | 1242698.8377
31 | 2760936.5281 | 1242732.1927 | 2760933.4499 | 1242732.7431
32 | 2760936.5281 | 1242732.1927 | 2760937.1257 | 1242735.4038
33 | 2760924.2563 | 1242669.6202 | 2760920.9105 | 1242670.2746
34 | 2760924.2563 | 1242669.6202 | 2760922.8544 | 1242662.1734
35 | 2760909.1315 | 1242736.9657 | 2760933.4499 | 1242732.7431
36 | 2760933.4499 | 1242732.7431 | 2760929.5994 | 1242713.5807
37 | 2760937.1257 | 1242735.4038 | 2760942.1449 | 1242762.371
38 | 2760920.9105 | 1242670.2746 | 2760906.1192 | 1242673.2345
39 | 2760918.9979 | 1242641.6892 | 2760922.8544 | 1242662.1734
40 | 2760909.1315 | 1242736.9657 | 2760908.0109 | 1242737.1811
41 | 2760948.6473 | 1242797.3081 | 2760942.1449 | 1242762.371
42 | 2760875.9889 | 1242679.264 | 2760906.1192 | 1242673.2345
43 | 2760918.538 | 1242639.2462 | 2760918.9979 | 1242641.6892
44 | 2760656.1656 | 1242816.8909 | 2760648.3324 | 1242818.6257 | 2760647.6163 | 1242818.7725
45 | 2760600.4956 | 1242824.6703 | 2760612.8818 | 1242825.8956 | 2760647.6163 | 1242818.7725
46 | 2760682.3837 | 1242811.0845 | 2760656.1656 | 1242816.8909
47 | 2760596.2705 | 1242856.6765 | 2760598.7744 | 1242834.3221 | 2760600.4956 | 1242824.6703
48 | 2760706.8111 | 1242814.2601 | 2760682.3837 | 1242811.0845
49 | 2760682.3837 | 1242811.0845 | 2760683.4406 | 1242796.4224
50 | 2760596.2705 | 1242856.6765 | 2760660.4506 | 1242866.2266
51 | 2760706.8111 | 1242814.2601 | 2760711.6952 | 1242840.4523
52 | 2760706.8111 | 1242814.2601 | 2760734.6771 | 1242820.888
53 | 2760684.5832 | 1242780.572 | 2760683.4406 | 1242796.4224
54 | 2760711.6952 | 1242840.4523 | 2760716.892 | 1242868.3217
55 | 2760734.6771 | 1242820.888 | 2760739.1095 | 1242803.126
56 | 2760734.6771 | 1242820.888 | 2760751.6793 | 1242825.1339
57 | 2760684.8648 | 1242776.6652 | 2760684.5832 | 1242780.572
58 | 2760781.3802 | 1242776.9631 | 2760778.6131 | 1242762.8985 | 2760797.2938 | 1242758.8816
59 | 2760808.373 | 1242756.4993 | 2760797.2938 | 1242758.8816
60 | 2760781.3802 | 1242776.9631 | 2760786.8005 | 1242804.5138
61 | 2760820.2965 | 1242737.5139 | 2760823.0742 | 1242753.3381 | 2760808.373 | 1242756.4993
62 | 2760790.9173 | 1242825.4382 | 2760786.8005 | 1242804.5138
63 | 2760790.9173 | 1242825.4382 | 2760772.3479 | 1242828.2601 | 2760758.1091 | 1242826.7396
64 | 2760790.9173 | 1242825.4382 | 2760822.9106 | 1242819.7333
65 | 2760751.6793 | 1242825.1339 | 2760758.1091 | 1242826.7396
66 | 2760822.9106 | 1242819.7333 | 2760826.1732 | 1242819.1515
67 | 2760945.6375 | 1242797.8492 | 2760948.6473 | 1242797.3081
68 | 2760948.6473 | 1242797.3081 | 2760963.3148 | 1242794.4033
69 | 2760945.6375 | 1242797.8492 | 2760925.4835 | 1242801.443
70 | 2760963.3148 | 1242794.4033 | 2760965.342 | 1242794.0018
71 | 2760925.4835 | 1242801.443 | 2760873.7992 | 1242810.6591
72 | 2760986.3809 | 1242789.8351 | 2760965.342 | 1242794.0018
73 | 2760863.3118 | 1242812.5291 | 2760873.7992 | 1242810.6591
74 | 2760826.1732 | 1242819.1515 | 2760859.8633 | 1242813.144
75 | 2760907.9667 | 1242576.7088 | 2760904.4325 | 1242577.3358
76 | 2760907.9667 | 1242576.7088 | 2760913.4184 | 1242610.5011
77 | 2760907.9667 | 1242576.7088 | 2760906.3953 | 1242568.002 | 2760904.21 | 1242559.3342 | 2760900.9865 | 1242548.5138 | 2760896.5777 | 1242537.6057
78 | 2760904.4325 | 1242577.3358 | 2760900.619 | 1242563.0649
79 | 2760909.8836 | 1242611.1504 | 2760913.4184 | 1242610.5011
80 | 2760913.4184 | 1242610.5011 | 2760915.1859 | 1242621.4599 | 2760915.5285 | 1242623.2778
81 | 2760896.5777 | 1242537.6057 | 2760859.5185 | 1242546.4294
82 | 2760909.8836 | 1242611.1504 | 2760889.1808 | 1242615.4853
83 | 2760918.538 | 1242639.2462 | 2760915.5285 | 1242623.2778
84 | 2760859.5185 | 1242546.4294 | 2760837.0426 | 1242551.7808
85 | 2760739.1095 | 1242803.126 | 2760746.0233 | 1242775.4206
86 | 2760863.3118 | 1242812.5291 | 2760859.8633 | 1242813.144
87 | 2760886.0903 | 1242741.3961 | 2760908.0109 | 1242737.1811
88 | 2760685.7532 | 1242764.3406 | 2760684.8648 | 1242776.6652
89 | 2760742.5679 | 1242749.9538 | 2760685.7532 | 1242764.3406
90 | 2760742.5679 | 1242749.9538 | 2760745.4986 | 1242739.93
91 | 2760742.5679 | 1242749.9538 | 2760749.5103 | 1242751.9438 | 2760753.1648 | 1242761.806
92 | 2760745.4986 | 1242739.93 | 2760746.0943 | 1242737.8929 | 2760748.2988 | 1242737.3798
93 | 2760758.9364 | 1242734.9038 | 2760748.2988 | 1242737.3798
94 | 2760886.0903 | 1242741.3961 | 2760865.0321 | 1242745.4452 | 2760865.0321 | 1242745.4452
95 | 2760864.1766 | 1242734.6779 | 2760865.0321 | 1242745.4452
96 | 2760863.8312 | 1242730.3311 | 2760864.1766 | 1242734.6779
97 | 2760863.8312 | 1242730.3311 | 2760885.7917 | 1242726.7191
98 | 2760820.325 | 1242555.7611 | 2760837.0426 | 1242551.7808
99 | 2760845.2501 | 1242685.4152 | 2760875.9889 | 1242679.264
100 | 2760841.917 | 1242686.0822 | 2760845.2501 | 1242685.4152
101 | 2760904.6779 | 1242641.873 | 2760883.1754 | 1242646.3289
102 | 2760904.6779 | 1242641.873 | 2760915.2254 | 1242639.7902 | 2760918.538 | 1242639.2462
103 | 2760862.6148 | 1242648.3169 | 2760863.4944 | 1242649.3529 | 2760865.0073 | 1242649.9055 | 2760867.1396 | 1242649.652 | 2760883.1754 | 1242646.3289
104 | 2760866.6223 | 1242620.2088 | 2760889.1808 | 1242615.4853

## bus_geodata
| x | y | coords
0 | 2760974.6227 | 1242529.0817
1 | 2760991.6723 | 1242482.6802
2 | 2760980.1603 | 1242572.9405
3 | 2760970.6214 | 1242573.343
4 | 2760949.4695 | 1242574.2353
5 | 2760924.8558 | 1242575.2737
6 | 2760757.985 | 1242642.5951
7 | 2760751.3676 | 1242643.9828
8 | 2760764.2739 | 1242641.2763
9 | 2760702.7393 | 1242654.1804
10 | 2760776.5002 | 1242638.7124
11 | 2760693.6051 | 1242693.9853
12 | 2760796.2016 | 1242634.5809
13 | 2760688.2582 | 1242733.7798
14 | 2760803.7606 | 1242632.9957
15 | 2760847.4901 | 1242901.433
16 | 2760913.501 | 1242878.7437
17 | 2760955.5599 | 1242870.6015
18 | 2760777.8764 | 1242933.9812
19 | 2760765.6533 | 1242911.9656
20 | 2760758.7234 | 1242899.4838
21 | 2760724.6733 | 1242905.3229
22 | 2760722.454 | 1242894.9791
23 | 2760726.7796 | 1242915.1394
24 | 2760683.4343 | 1242910.2589
25 | 2760720.0203 | 1242883.6361
26 | 2760731.5775 | 1242937.2128
27 | 2760950.9058 | 1242695.3248
28 | 2760929.9832 | 1242698.8377
29 | 2760980.2806 | 1242724.2381
30 | 2760936.5281 | 1242732.1927
31 | 2760924.2563 | 1242669.6202
32 | 2760933.4499 | 1242732.7431
33 | 2760937.1257 | 1242735.4038
34 | 2760920.9105 | 1242670.2746
35 | 2760922.8544 | 1242662.1734
36 | 2760909.1315 | 1242736.9657
37 | 2760929.5994 | 1242713.5807
38 | 2760942.1449 | 1242762.371
39 | 2760906.1192 | 1242673.2345
40 | 2760918.9979 | 1242641.6892
41 | 2760647.6163 | 1242818.7725
42 | 2760656.1656 | 1242816.8909
43 | 2760600.4956 | 1242824.6703
44 | 2760682.3837 | 1242811.0845
45 | 2760596.2705 | 1242856.6765
46 | 2760706.8111 | 1242814.2601
47 | 2760683.4406 | 1242796.4224
48 | 2760660.4506 | 1242866.2266
49 | 2760711.6952 | 1242840.4523
50 | 2760734.6771 | 1242820.888
51 | 2760684.5832 | 1242780.572
52 | 2760797.2938 | 1242758.8816
53 | 2760781.3802 | 1242776.9631
54 | 2760808.373 | 1242756.4993
55 | 2760786.8005 | 1242804.5138
56 | 2760820.2965 | 1242737.5139
57 | 2760790.9173 | 1242825.4382
58 | 2760758.1091 | 1242826.7396
59 | 2760822.9106 | 1242819.7333
60 | 2760948.6473 | 1242797.3081
61 | 2760945.6375 | 1242797.8492
62 | 2760963.3148 | 1242794.4033
63 | 2760925.4835 | 1242801.443
64 | 2760965.342 | 1242794.0018
65 | 2760873.7992 | 1242810.6591
66 | 2760986.3809 | 1242789.8351
67 | 2760751.6793 | 1242825.1339
68 | 2760826.1732 | 1242819.1515
69 | 2760907.9667 | 1242576.7088
70 | 2760904.4325 | 1242577.3358
71 | 2760913.4184 | 1242610.5011
72 | 2760896.5777 | 1242537.6057
73 | 2760900.619 | 1242563.0649
74 | 2760909.8836 | 1242611.1504
75 | 2760915.5285 | 1242623.2778
76 | 2760859.5185 | 1242546.4294
77 | 2760739.1095 | 1242803.126
78 | 2760746.0233 | 1242775.4206
79 | 2760716.892 | 1242868.3217
80 | 2760863.3118 | 1242812.5291
81 | 2760859.8633 | 1242813.144
82 | 2760908.0109 | 1242737.1811
83 | 2760684.8648 | 1242776.6652
84 | 2760685.7532 | 1242764.3406
85 | 2760742.5679 | 1242749.9538
86 | 2760745.4986 | 1242739.93
87 | 2760753.1648 | 1242761.806
88 | 2760748.2988 | 1242737.3798
89 | 2760886.0903 | 1242741.3961
90 | 2760865.0321 | 1242745.4452
91 | 2760864.1766 | 1242734.6779
92 | 2760863.8312 | 1242730.3311
93 | 2760885.7917 | 1242726.7191
94 | 2760837.0426 | 1242551.7808
95 | 2760820.325 | 1242555.7611
96 | 2760845.2501 | 1242685.4152
97 | 2760875.9889 | 1242679.264
98 | 2760841.917 | 1242686.0822
99 | 2760904.6779 | 1242641.873
100 | 2760883.1754 | 1242646.3289
101 | 2760918.538 | 1242639.2462
102 | 2760889.1808 | 1242615.4853
103 | 2760758.9364 | 1242734.9038
104 | 2760866.6223 | 1242620.2088
105 | 2760862.6148 | 1242648.3169
106 | 2760790.9173 | 1242825.4382

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1