## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3272-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3272-4_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3272-4_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3272-4_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3272-4_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_3272-4_0_3_node_102 | 0.4 | n |  | TRUE
6 | bus_LV_3272-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3272-4_0_3_node_97 | 0.4 | n |  | TRUE
8 | bus_LV_3272-4_0_3_node_95 | 0.4 | n |  | TRUE
9 | bus_LV_3272-4_0_3_node_100 | 0.4 | n |  | TRUE
10 | bus_LV_3272-4_0_3_node_23 | 0.4 | n |  | TRUE
11 | bus_LV_3272-4_0_3_node_192 | 0.4 | n |  | TRUE
12 | bus_LV_3272-4_0_3_node_191 | 0.4 | n |  | TRUE
13 | bus_LV_3272-4_0_3_node_33 | 0.4 | n |  | TRUE
14 | bus_LV_3272-4_0_3_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_3272-4_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_3272-4_0_3_node_36 | 0.4 | n |  | TRUE
17 | bus_LV_3272-4_0_3_node_37 | 0.4 | n |  | TRUE
18 | bus_LV_3272-4_0_3_node_38 | 0.4 | n |  | TRUE
19 | bus_LV_3272-4_0_3_node_39 | 0.4 | n |  | TRUE
20 | bus_LV_3272-4_0_3_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_3272-4_0_3_node_41 | 0.4 | n |  | TRUE
22 | bus_LV_3272-4_0_3_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_3272-4_0_3_node_204 | 0.4 | n |  | TRUE
24 | bus_LV_3272-4_0_3_node_205 | 0.4 | n |  | TRUE
25 | bus_LV_3272-4_0_3_node_202 | 0.4 | n |  | TRUE
26 | bus_LV_3272-4_0_3_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_3272-4_0_3_node_126 | 0.4 | n |  | TRUE
28 | bus_LV_3272-4_0_3_node_125 | 0.4 | n |  | TRUE
29 | bus_LV_3272-4_0_3_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_3272-4_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_3272-4_0_3_node_201 | 0.4 | n |  | TRUE
32 | bus_LV_3272-4_0_3_node_206 | 0.4 | n |  | TRUE
33 | bus_LV_3272-4_0_3_node_203 | 0.4 | n |  | TRUE
34 | bus_LV_3272-4_0_3_node_127 | 0.4 | n |  | TRUE
35 | bus_LV_3272-4_0_3_node_117 | 0.4 | n |  | TRUE
36 | bus_LV_3272-4_0_3_node_43 | 0.4 | n |  | TRUE
37 | bus_LV_3272-4_0_3_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_3272-4_0_3_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_3272-4_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_3272-4_0_3_node_47 | 0.4 | n |  | TRUE
41 | bus_LV_3272-4_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_3272-4_0_3_node_50 | 0.4 | n |  | TRUE
43 | bus_LV_3272-4_0_3_node_54 | 0.4 | n |  | TRUE
44 | bus_LV_3272-4_0_3_node_103 | 0.4 | n |  | TRUE
45 | bus_LV_3272-4_0_3_node_51 | 0.4 | n |  | TRUE
46 | bus_LV_3272-4_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_3272-4_0_3_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_3272-4_0_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_3272-4_0_3_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_3272-4_0_3_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_3272-4_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_3272-4_0_3_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_3272-4_0_3_node_101 | 0.4 | n |  | TRUE
54 | bus_LV_3272-4_0_3_node_99 | 0.4 | n |  | TRUE
55 | bus_LV_3272-4_0_3_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_3272-4_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_3272-4_0_3_node_58 | 0.4 | n |  | TRUE
58 | bus_LV_3272-4_0_3_node_63 | 0.4 | n |  | TRUE
59 | bus_LV_3272-4_0_3_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_3272-4_0_3_node_88 | 0.4 | n |  | TRUE
61 | bus_LV_3272-4_0_3_node_64 | 0.4 | n |  | TRUE
62 | bus_LV_3272-4_0_3_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3272-4_0_3_node_89 | 0.4 | n |  | TRUE
64 | bus_LV_3272-4_0_3_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_3272-4_0_3_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_3272-4_0_3_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_3272-4_0_3_node_93 | 0.4 | n |  | TRUE
68 | bus_LV_3272-4_0_3_node_94 | 0.4 | n |  | TRUE
69 | bus_LV_3272-4_0_3_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_3272-4_0_3_node_98 | 0.4 | n |  | TRUE
71 | bus_LV_3272-4_0_3_node_105 | 0.4 | n |  | TRUE
72 | bus_LV_3272-4_0_3_node_106 | 0.4 | n |  | TRUE
73 | bus_LV_3272-4_0_3_node_109 | 0.4 | n |  | TRUE
74 | bus_LV_3272-4_0_3_node_110 | 0.4 | n |  | TRUE
75 | bus_LV_3272-4_0_3_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_3272-4_0_3_node_139 | 0.4 | n |  | TRUE
77 | bus_LV_3272-4_0_3_node_108 | 0.4 | n |  | TRUE
78 | bus_LV_3272-4_0_3_node_137 | 0.4 | n |  | TRUE
79 | bus_LV_3272-4_0_3_node_111 | 0.4 | n |  | TRUE
80 | bus_LV_3272-4_0_3_node_112 | 0.4 | n |  | TRUE
81 | bus_LV_3272-4_0_3_node_113 | 0.4 | n |  | TRUE
82 | bus_LV_3272-4_0_3_node_114 | 0.4 | n |  | TRUE
83 | bus_LV_3272-4_0_3_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_3272-4_0_3_node_116 | 0.4 | n |  | TRUE
85 | bus_LV_3272-4_0_3_node_123 | 0.4 | n |  | TRUE
86 | bus_LV_3272-4_0_3_node_124 | 0.4 | n |  | TRUE
87 | bus_LV_3272-4_0_3_node_118 | 0.4 | n |  | TRUE
88 | bus_LV_3272-4_0_3_node_119 | 0.4 | n |  | TRUE
89 | bus_LV_3272-4_0_3_node_120 | 0.4 | n |  | TRUE
90 | bus_LV_3272-4_0_3_node_121 | 0.4 | n |  | TRUE
91 | bus_LV_3272-4_0_3_node_122 | 0.4 | n |  | TRUE
92 | bus_LV_3272-4_0_3_node_132 | 0.4 | n |  | TRUE
93 | bus_LV_3272-4_0_3_node_138 | 0.4 | n |  | TRUE
94 | bus_LV_3272-4_0_3_node_128 | 0.4 | n |  | TRUE
95 | bus_LV_3272-4_0_3_node_129 | 0.4 | n |  | TRUE
96 | bus_LV_3272-4_0_3_node_130 | 0.4 | n |  | TRUE
97 | bus_LV_3272-4_0_3_node_131 | 0.4 | n |  | TRUE
98 | bus_LV_3272-4_0_3_node_136 | 0.4 | n |  | TRUE
99 | bus_LV_3272-4_0_3_node_134 | 0.4 | n |  | TRUE
100 | bus_LV_3272-4_0_3_node_133 | 0.4 | n |  | TRUE
101 | bus_LV_3272-4_0_3_node_135 | 0.4 | n |  | TRUE
102 | bus_LV_3272-4_0_3_node_185 | 0.4 | n |  | TRUE
103 | bus_LV_3272-4_0_3_node_207 | 0.4 | n |  | TRUE
104 | bus_LV_3272-4_0_3_node_190 | 0.4 | n |  | TRUE
105 | bus_LV_3272-4_0_3_node_193 | 0.4 | n |  | TRUE
106 | bus_LV_3272-4_0_3_node_194 | 0.4 | n |  | TRUE
107 | bus_LV_3272-4_0_3_node_195 | 0.4 | n |  | TRUE
108 | bus_LV_3272-4_0_3_node_196 | 0.4 | n |  | TRUE
109 | bus_LV_3272-4_0_3_node_199 | 0.4 | n |  | TRUE
110 | bus_LV_3272-4_0_3_node_197 | 0.4 | n |  | TRUE
111 | bus_LV_3272-4_0_3_node_200 | 0.4 | n |  | TRUE
112 | bus_LV_3272-4_0_3_node_198 | 0.4 | n |  | TRUE
113 | bus_MV_52_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3272-4_0_3_load_0 | 0 | 0.0080039 | 0.002006 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3272-4_0_3_load_3 | 2 | 0.0044072 | 0.0011046 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3272-4_0_3_load_4 | 3 | 0.00071771 | 0.00017988 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3272-4_0_3_load_7 | 4 | 0.0061007 | 0.001529 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3272-4_0_3_load_102 | 5 | 0.001279 | 0.00032055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3272-4_0_3_load_6 | 6 | 0.0020422 | 0.00051183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3272-4_0_3_load_97 | 7 | 0.0022732 | 0.00056971 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3272-4_0_3_load_23 | 10 | 0.00058149 | 0.00014573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3272-4_0_3_load_192 | 11 | 0.0040536 | 0.0010159 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3272-4_0_3_load_191 | 12 | 0.0011823 | 0.00029632 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3272-4_0_3_load_33 | 13 | 0.0027483 | 0.00068878 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3272-4_0_3_load_34 | 14 | 0.0018524 | 0.00046427 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3272-4_0_3_load_36 | 16 | 0.0022832 | 0.00057222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3272-4_0_3_load_37 | 17 | 0.0037624 | 0.00094294 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3272-4_0_3_load_39 | 19 | 0.0029342 | 0.00073537 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3272-4_0_3_load_40 | 20 | 0.00098725 | 0.00024743 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3272-4_0_3_load_204 | 23 | 0.003738 | 0.00093683 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3272-4_0_3_load_205 | 24 | 0.0019281 | 0.00048322 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3272-4_0_3_load_202 | 25 | 0.0025892 | 0.00064891 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3272-4_0_3_load_126 | 27 | 0.0033037 | 0.00082799 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3272-4_0_3_load_125 | 28 | 0.0017033 | 0.0004269 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3272-4_0_3_load_61 | 29 | 0.0044748 | 0.0011215 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3272-4_0_3_load_201 | 31 | 0.0029141 | 0.00073033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3272-4_0_3_load_206 | 32 | 0.0033181 | 0.0008316 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3272-4_0_3_load_203 | 33 | 0.0030151 | 0.00075566 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3272-4_0_3_load_127 | 34 | 0.0028254 | 0.00070811 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3272-4_0_3_load_43 | 36 | 0.0018052 | 0.00045243 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3272-4_0_3_load_47 | 40 | 0.0049871 | 0.0012499 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3272-4_0_3_load_50 | 42 | 0.0043498 | 0.0010902 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3272-4_0_3_load_54 | 43 | 0.003086 | 0.00077343 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3272-4_0_3_load_51 | 45 | 0.0030319 | 0.00075987 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3272-4_0_3_load_52 | 46 | 0.0051267 | 0.0012849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3272-4_0_3_load_60 | 49 | 0.0022052 | 0.00055268 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3272-4_0_3_load_56 | 50 | 0.0041358 | 0.0010365 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3272-4_0_3_load_57 | 51 | 0.00075957 | 0.00019037 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3272-4_0_3_load_101 | 53 | 0.001857 | 0.00046541 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3272-4_0_3_load_99 | 54 | 0.008666 | 0.0021719 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3272-4_0_3_load_87 | 55 | 0.0045741 | 0.0011464 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3272-4_0_3_load_63 | 58 | 0.0071997 | 0.0018044 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3272-4_0_3_load_66 | 59 | 0.0051693 | 0.0012956 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3272-4_0_3_load_88 | 60 | 0.004037 | 0.0010118 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3272-4_0_3_load_64 | 61 | 0.0042305 | 0.0010603 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3272-4_0_3_load_65 | 62 | 0.003638 | 0.00091177 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3272-4_0_3_load_89 | 63 | 0.0080393 | 0.0020148 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3272-4_0_3_load_90 | 64 | 0.0023793 | 0.00059632 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3272-4_0_3_load_91 | 65 | 0.0013285 | 0.00033296 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3272-4_0_3_load_92 | 66 | 0.00070724 | 0.00017725 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3272-4_0_3_load_93 | 67 | 0.0010564 | 0.00026476 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3272-4_0_3_load_94 | 68 | 0.0038627 | 0.00096809 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3272-4_0_3_load_96 | 69 | 0.0090608 | 0.0022709 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3272-4_0_3_load_98 | 70 | 0.0022376 | 0.00056078 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3272-4_0_3_load_106 | 72 | 0.0049592 | 0.0012429 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3272-4_0_3_load_109 | 73 | 0.0065516 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3272-4_0_3_load_110 | 74 | 0.0049254 | 0.0012344 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3272-4_0_3_load_107 | 75 | 0.0052322 | 0.0013113 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3272-4_0_3_load_139 | 76 | 0.0029839 | 0.00074783 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3272-4_0_3_load_108 | 77 | 0.0058216 | 0.001459 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3272-4_0_3_load_111 | 79 | 0.0041012 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3272-4_0_3_load_112 | 80 | 0.0050548 | 0.0012669 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3272-4_0_3_load_114 | 82 | 0.0025917 | 0.00064953 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3272-4_0_3_load_115 | 83 | 0.0026271 | 0.00065841 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3272-4_0_3_load_116 | 84 | 0.0026994 | 0.00067653 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3272-4_0_3_load_123 | 85 | 0.001489 | 0.00037317 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3272-4_0_3_load_124 | 86 | 0.0011113 | 0.00027851 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3272-4_0_3_load_118 | 87 | 0.003293 | 0.0008253 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3272-4_0_3_load_119 | 88 | 0.0019355 | 0.00048509 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3272-4_0_3_load_120 | 89 | 0.0013918 | 0.00034881 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3272-4_0_3_load_121 | 90 | 0.0033089 | 0.0008293 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3272-4_0_3_load_132 | 92 | 0.0028019 | 0.00070221 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3272-4_0_3_load_138 | 93 | 0.0013051 | 0.00032709 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3272-4_0_3_load_128 | 94 | 0.0029307 | 0.0007345 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3272-4_0_3_load_129 | 95 | 0.0045789 | 0.0011476 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3272-4_0_3_load_130 | 96 | 0.0023975 | 0.00060088 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3272-4_0_3_load_131 | 97 | 0.0043587 | 0.0010924 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3272-4_0_3_load_136 | 98 | 0.0014495 | 0.00036327 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3272-4_0_3_load_133 | 100 | 0.001248 | 0.00031278 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3272-4_0_3_load_135 | 101 | 0.0033403 | 0.00083716 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3272-4_0_3_load_207 | 103 | 0.0037485 | 0.00093946 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3272-4_0_3_load_190 | 104 | 0.0011817 | 0.00029616 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3272-4_0_3_load_195 | 107 | 0.0010068 | 0.00025233 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3272-4_0_3_load_196 | 108 | 0.0009694 | 0.00024296 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3272-4_0_3_load_199 | 109 | 0.0018606 | 0.00046631 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3272-4_0_3_load_197 | 110 | 0.0005717 | 0.00014328 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3272-4_0_3_load_200 | 111 | 0.0023793 | 0.00059632 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3272-4_0_3_load_198 | 112 | 0.0016798 | 0.00042101 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3272-4_0_3_line_0 |  | 0 | 1 | 0.032108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3272-4_0_3_line_1 |  | 1 | 2 | 0.017655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3272-4_0_3_line_2 |  | 1 | 3 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3272-4_0_3_line_3 |  | 3 | 4 | 0.015571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3272-4_0_3_line_4 |  | 4 | 5 | 0.0048856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3272-4_0_3_line_5 |  | 5 | 9 | 0.030421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3272-4_0_3_line_6 |  | 6 | 7 | 0.044616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3272-4_0_3_line_7 |  | 7 | 8 | 0.087828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3272-4_0_3_line_8 |  | 8 | 67 | 0.021445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3272-4_0_3_line_9 |  | 9 | 53 | 0.019794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3272-4_0_3_line_10 |  | 9 | 54 | 0.019287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3272-4_0_3_line_11 |  | 9 | 45 | 0.022636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3272-4_0_3_line_12 |  | 10 | 11 | 0.00052936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3272-4_0_3_line_13 |  | 11 | 12 | 0.015809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3272-4_0_3_line_14 |  | 12 | 105 | 0.01143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3272-4_0_3_line_15 |  | 13 | 14 | 0.020439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3272-4_0_3_line_16 |  | 13 | 15 | 0.015898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3272-4_0_3_line_17 |  | 14 | 16 | 0.0018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3272-4_0_3_line_18 |  | 15 | 17 | 0.0028136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3272-4_0_3_line_19 |  | 15 | 18 | 0.019863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3272-4_0_3_line_20 |  | 17 | 19 | 0.016285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3272-4_0_3_line_21 |  | 18 | 20 | 0.011261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3272-4_0_3_line_22 |  | 18 | 21 | 0.031068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3272-4_0_3_line_23 |  | 19 | 22 | 0.0063814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3272-4_0_3_line_24 |  | 21 | 23 | 0.039463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3272-4_0_3_line_25 |  | 21 | 24 | 0.008223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3272-4_0_3_line_26 |  | 21 | 25 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3272-4_0_3_line_27 |  | 22 | 29 | 0.041128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3272-4_0_3_line_28 |  | 22 | 30 | 0.005943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3272-4_0_3_line_29 |  | 23 | 31 | 0.0033877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3272-4_0_3_line_30 |  | 24 | 32 | 0.02938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3272-4_0_3_line_31 |  | 25 | 33 | 0.039368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3272-4_0_3_line_32 |  | 26 | 27 | 0.02362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3272-4_0_3_line_33 |  | 26 | 28 | 0.057697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3272-4_0_3_line_34 |  | 27 | 34 | 0.030451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3272-4_0_3_line_35 |  | 28 | 35 | 0.068401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3272-4_0_3_line_36 |  | 30 | 38 | 0.050137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3272-4_0_3_line_37 |  | 31 | 111 | 0.0020025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3272-4_0_3_line_38 |  | 32 | 102 | 0.012476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3272-4_0_3_line_39 |  | 34 | 94 | 0.031385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3272-4_0_3_line_40 |  | 35 | 83 | 0.026554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3272-4_0_3_line_41 |  | 36 | 37 | 0.035914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3272-4_0_3_line_42 |  | 36 | 38 | 0.015926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3272-4_0_3_line_43 |  | 37 | 39 | 0.014514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3272-4_0_3_line_44 |  | 37 | 40 | 0.0015425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3272-4_0_3_line_45 |  | 38 | 41 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3272-4_0_3_line_46 |  | 39 | 42 | 0.023906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3272-4_0_3_line_47 |  | 41 | 43 | 0.017708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3272-4_0_3_line_48 |  | 42 | 44 | 0.023588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3272-4_0_3_line_49 |  | 43 | 49 | 0.024503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3272-4_0_3_line_50 |  | 44 | 52 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3272-4_0_3_line_51 |  | 44 | 53 | 0.019844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3272-4_0_3_line_52 |  | 46 | 47 | 0.0043226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3272-4_0_3_line_53 |  | 47 | 48 | 0.028879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3272-4_0_3_line_54 |  | 48 | 55 | 0.012867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3272-4_0_3_line_55 |  | 48 | 56 | 0.02486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3272-4_0_3_line_56 |  | 49 | 57 | 0.013637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3272-4_0_3_line_57 |  | 50 | 51 | 0.0012873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3272-4_0_3_line_58 |  | 51 | 57 | 0.014327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3272-4_0_3_line_59 |  | 52 | 71 | 0.013917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3272-4_0_3_line_60 |  | 52 | 72 | 0.014072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3272-4_0_3_line_61 |  | 54 | 70 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3272-4_0_3_line_62 |  | 55 | 60 | 0.0066722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3272-4_0_3_line_63 |  | 56 | 58 | 0.0013946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3272-4_0_3_line_64 |  | 56 | 57 | 0.022676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3272-4_0_3_line_65 |  | 58 | 59 | 0.018075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3272-4_0_3_line_66 |  | 59 | 61 | 0.00021578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3272-4_0_3_line_67 |  | 60 | 63 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3272-4_0_3_line_68 |  | 61 | 62 | 0.015096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3272-4_0_3_line_69 |  | 64 | 65 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3272-4_0_3_line_70 |  | 64 | 66 | 0.0032669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3272-4_0_3_line_71 |  | 65 | 67 | 0.027659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3272-4_0_3_line_72 |  | 66 | 68 | 0.0129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3272-4_0_3_line_73 |  | 68 | 69 | 0.040071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3272-4_0_3_line_74 |  | 69 | 70 | 0.026808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3272-4_0_3_line_75 |  | 71 | 73 | 0.049902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3272-4_0_3_line_76 |  | 71 | 74 | 0.021699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3272-4_0_3_line_77 |  | 72 | 75 | 0.0218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3272-4_0_3_line_78 |  | 74 | 76 | 0.033092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3272-4_0_3_line_79 |  | 75 | 77 | 0.014359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3272-4_0_3_line_80 |  | 76 | 78 | 0.0031127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3272-4_0_3_line_81 |  | 78 | 93 | 0.020367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3272-4_0_3_line_82 |  | 78 | 101 | 0.01627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3272-4_0_3_line_83 |  | 79 | 80 | 0.0024571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3272-4_0_3_line_84 |  | 79 | 81 | 0.016337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3272-4_0_3_line_85 |  | 81 | 82 | 0.011727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3272-4_0_3_line_86 |  | 81 | 83 | 0.014302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3272-4_0_3_line_87 |  | 82 | 84 | 0.026061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3272-4_0_3_line_88 |  | 84 | 85 | 0.0031424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3272-4_0_3_line_89 |  | 85 | 86 | 0.010246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3272-4_0_3_line_90 |  | 87 | 88 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3272-4_0_3_line_91 |  | 87 | 89 | 0.0084585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3272-4_0_3_line_92 |  | 88 | 90 | 0.020795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3272-4_0_3_line_93 |  | 90 | 91 | 0.021037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3272-4_0_3_line_94 |  | 91 | 92 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3272-4_0_3_line_95 |  | 92 | 93 | 0.018387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3272-4_0_3_line_96 |  | 94 | 95 | 0.0010288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3272-4_0_3_line_97 |  | 95 | 96 | 0.033827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3272-4_0_3_line_98 |  | 96 | 97 | 0.0021804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3272-4_0_3_line_99 |  | 97 | 98 | 0.0066785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3272-4_0_3_line_100 |  | 98 | 99 | 0.00054192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3272-4_0_3_line_101 |  | 99 | 101 | 0.051472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3272-4_0_3_line_102 |  | 99 | 100 | 0.025383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3272-4_0_3_line_103 |  | 102 | 103 | 0.007588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3272-4_0_3_line_104 |  | 104 | 105 | 0.03905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3272-4_0_3_line_105 |  | 105 | 106 | 0.015653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3272-4_0_3_line_106 |  | 106 | 107 | 0.015803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3272-4_0_3_line_107 |  | 106 | 108 | 0.026956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3272-4_0_3_line_108 |  | 107 | 109 | 0.0060201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3272-4_0_3_line_109 |  | 108 | 110 | 0.01493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3272-4_0_3_line_110 |  | 109 | 111 | 0.018843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3272-4_0_3_line_111 |  | 110 | 112 | 0.0033177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3272-4_0_3_trafo_43 | 0.63 MVA 20/0.4 kV | 113 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2752104.4971 | 1230208.3179 | 2752114.6445 | 1230226.116 | 2752119.7628 | 1230236.5484
1 | 2752104.4971 | 1230208.3179 | 2752120.1253 | 1230200.0211
2 | 2752104.4971 | 1230208.3179 | 2752099.4994 | 1230199.5598 | 2752089.1062 | 1230184.5469
3 | 2752079.0845 | 1230172.6294 | 2752089.1062 | 1230184.5469
4 | 2752079.0845 | 1230172.6294 | 2752075.94 | 1230168.8901
5 | 2752056.3607 | 1230145.6071 | 2752075.94 | 1230168.8901
6 | 2751937.3784 | 1230308.2378 | 2751963.2785 | 1230344.5663
7 | 2751937.3784 | 1230308.2378 | 2751911.719 | 1230262.1844 | 2751908.6121 | 1230227.184
8 | 2751908.6121 | 1230227.184 | 2751927.7035 | 1230225.1143 | 2751929.9139 | 1230224.7395
9 | 2752056.3607 | 1230145.6071 | 2752055.9468 | 1230141.9376 | 2752056.7376 | 1230137.9875 | 2752058.6341 | 1230134.366 | 2752064.6074 | 1230129.0672
10 | 2752056.3607 | 1230145.6071 | 2752055.1159 | 1230150.1239 | 2752050.956 | 1230155.4113 | 2752045.3263 | 1230160.9168
11 | 2752056.3607 | 1230145.6071 | 2752042.4615 | 1230127.7412
12 | 2751883.1858 | 1229839.0338 | 2751883.0222 | 1229839.5372
13 | 2751876.8769 | 1229854.0847 | 2751881.9099 | 1229842.9605 | 2751883.0222 | 1229839.5372
14 | 2751872.1655 | 1229864.4981 | 2751876.8769 | 1229854.0847
15 | 2751977.222 | 1229970.2332 | 2751960.009 | 1229981.2537
16 | 2751946.6198 | 1229989.8259 | 2751960.009 | 1229981.2537
17 | 2751977.222 | 1229970.2332 | 2751978.7981 | 1229969.2241
18 | 2751946.6198 | 1229989.8259 | 2751947.9848 | 1229992.2863
19 | 2751936.6455 | 1229972.6331 | 2751946.6198 | 1229989.8259
20 | 2751947.9848 | 1229992.2863 | 2751955.8846 | 1230006.5264
21 | 2751936.6455 | 1229972.6331 | 2751926.9222 | 1229978.3128
22 | 2751920.5535 | 1229948.3664 | 2751923.7926 | 1229953.2981 | 2751927.0098 | 1229957.6065 | 2751933.5049 | 1229960.5863 | 2751933.5916 | 1229964.9035 | 2751935.2054 | 1229969.6714 | 2751936.6455 | 1229972.6331
23 | 2751958.9803 | 1230012.1066 | 2751955.8846 | 1230006.5264
24 | 2751920.5535 | 1229948.3664 | 2751913.8892 | 1229938.6651 | 2751908.9811 | 1229927.5628 | 2751903.9576 | 1229912.8417
25 | 2751920.5535 | 1229948.3664 | 2751915.7342 | 1229955.0292
26 | 2751920.5535 | 1229948.3664 | 2751930.9736 | 1229939.0194
27 | 2751958.9803 | 1230012.1066 | 2751922.3225 | 1230030.9541
28 | 2751958.9803 | 1230012.1066 | 2751961.8254 | 1230017.3286
29 | 2751903.9576 | 1229912.8417 | 2751903.5447 | 1229911.6316 | 2751903.0148 | 1229909.5902
30 | 2751915.7342 | 1229955.0292 | 2751914.5114 | 1229956.7197 | 2751902.272 | 1229966.1602 | 2751893.2362 | 1229971.5455 | 2751892.0393 | 1229972.0959
31 | 2751937.7925 | 1229904.6556 | 2751941.4303 | 1229917.4158 | 2751942.2277 | 1229922.096 | 2751942.1447 | 1229925.3413 | 2751941.3602 | 1229928.1572 | 2751940.3894 | 1229930.2565 | 2751938.2013 | 1229932.536 | 2751930.9736 | 1229939.0194
32 | 2751995.5974 | 1229909.5259 | 2752008.7743 | 1229929.1289
33 | 2751995.5974 | 1229909.5259 | 2752040.6214 | 1229882.185 | 2752045.1774 | 1229880.0724
34 | 2752008.7743 | 1229929.1289 | 2752025.7622 | 1229954.4014
35 | 2752109.1578 | 1229856.0134 | 2752057.3277 | 1229874.4383 | 2752045.1774 | 1229880.0724
36 | 2751961.8254 | 1230017.3286 | 2751968.1058 | 1230028.6995 | 2751973.9173 | 1230037.9565 | 2751981.731 | 1230048.6437 | 2751989.6677 | 1230058.9672
37 | 2751902.5117 | 1229907.652 | 2751903.0148 | 1229909.5902
38 | 2751880.7042 | 1229977.3085 | 2751892.0393 | 1229972.0959
39 | 2752025.7622 | 1229954.4014 | 2752043.2711 | 1229980.449
40 | 2752109.1578 | 1229856.0134 | 2752117.4829 | 1229881.2289
41 | 2752014.7952 | 1230102.1268 | 2752014.7763 | 1230092.4953 | 2752012.3539 | 1230086.1608 | 2752006.0021 | 1230077.8798 | 2752000.0774 | 1230071.0199
42 | 2751989.6677 | 1230058.9672 | 2752000.0774 | 1230071.0199
43 | 2752014.7952 | 1230102.1268 | 2752029.1223 | 1230104.6954
44 | 2752014.7952 | 1230102.1268 | 2752013.2767 | 1230101.8553
45 | 2751989.6677 | 1230058.9672 | 2751984.4343 | 1230062.3699 | 2751974.8212 | 1230064.5484
46 | 2752029.1223 | 1230104.6954 | 2752034.2301 | 1230105.6046 | 2752052.6406 | 1230108.9837
47 | 2751974.8212 | 1230064.5484 | 2751957.1234 | 1230065.155
48 | 2752075.8413 | 1230113.2422 | 2752052.6406 | 1230108.9837
49 | 2751957.1234 | 1230065.155 | 2751942.6723 | 1230065.6502 | 2751932.7182 | 1230064.3133
50 | 2752075.8413 | 1230113.2422 | 2752088.5914 | 1230115.537
51 | 2752075.8413 | 1230113.2422 | 2752073.7343 | 1230119.4607 | 2752073.1548 | 1230120.191 | 2752068.1265 | 1230125.9454 | 2752064.6074 | 1230129.0672
52 | 2751969.8591 | 1230094.0932 | 2751974.1142 | 1230094.8539
53 | 2751941.3475 | 1230089.0045 | 2751969.8591 | 1230094.0932
54 | 2751941.3475 | 1230089.0045 | 2751940.1633 | 1230096.192 | 2751940.0649 | 1230100.0374 | 2751940.4118 | 1230101.7379
55 | 2751916.8046 | 1230084.6179 | 2751941.3475 | 1230089.0045
56 | 2751919.2596 | 1230062.1155 | 2751932.4452 | 1230064.2766 | 2751932.7182 | 1230064.3133
57 | 2751920.1162 | 1230047.8572 | 2751920.3589 | 1230046.593
58 | 2751919.2596 | 1230062.1155 | 2751919.3999 | 1230051.5872 | 2751920.1162 | 1230047.8572
59 | 2752088.5914 | 1230115.537 | 2752097.1194 | 1230104.5227
60 | 2752088.5914 | 1230115.537 | 2752102.3815 | 1230118.3402
61 | 2752045.3263 | 1230160.9168 | 2752035.8413 | 1230170.1925
62 | 2751940.4118 | 1230101.7379 | 2751940.7923 | 1230103.6037 | 2751942.1031 | 1230108.188
63 | 2751916.8046 | 1230084.6179 | 2751915.4295 | 1230084.3856
64 | 2751916.8046 | 1230084.6179 | 2751919.185 | 1230067.9968 | 2751919.2596 | 1230062.1155
65 | 2751897.6069 | 1230081.3737 | 2751915.4295 | 1230084.3856
66 | 2751897.3942 | 1230081.3377 | 2751897.6069 | 1230081.3737
67 | 2751945.0847 | 1230118.6161 | 2751942.1031 | 1230108.188
68 | 2751897.3942 | 1230081.3377 | 2751882.5097 | 1230078.8224
69 | 2751968.1703 | 1230214.767 | 2751956.7693 | 1230218.4137
70 | 2751968.1703 | 1230214.767 | 2751971.2818 | 1230213.7717
71 | 2751929.9139 | 1230224.7395 | 2751944.9751 | 1230222.1862 | 2751956.7693 | 1230218.4137
72 | 2751971.2818 | 1230213.7717 | 2751983.5684 | 1230209.8418
73 | 2751983.5684 | 1230209.8418 | 2751994.3624 | 1230206.3892 | 2752008.4643 | 1230198.498 | 2752017.076 | 1230189.3296
74 | 2752017.076 | 1230189.3296 | 2752026.1427 | 1230179.677 | 2752035.8413 | 1230170.1925
75 | 2752097.1194 | 1230104.5227 | 2752083.5399 | 1230094.9556 | 2752080.9638 | 1230092.5541 | 2752078.5198 | 1230088.5435 | 2752074.5562 | 1230076.6868 | 2752073.7174 | 1230073.6292 | 2752073.9919 | 1230070.9004 | 2752075.7993 | 1230067.7993 | 2752078.2759 | 1230065.9878
76 | 2752097.1194 | 1230104.5227 | 2752109.6197 | 1230089.0393 | 2752110.4433 | 1230087.4395
77 | 2752102.3815 | 1230118.3402 | 2752123.7448 | 1230122.6829
78 | 2752117.574 | 1230055.4055 | 2752115.4293 | 1230071.7164 | 2752113.3604 | 1230081.7728 | 2752110.4433 | 1230087.4395
79 | 2752137.8165 | 1230125.5434 | 2752123.7448 | 1230122.6829
80 | 2752117.9798 | 1230052.3194 | 2752117.574 | 1230055.4055
81 | 2752117.9798 | 1230052.3194 | 2752121.5503 | 1230041.0448 | 2752125.1836 | 1230033.3158
82 | 2752117.9798 | 1230052.3194 | 2752101.7103 | 1230052.3779
83 | 2752138.2228 | 1229893.1864 | 2752140.6677 | 1229892.9422 | 2752140.6677 | 1229892.9422
84 | 2752121.9668 | 1229894.81 | 2752138.2228 | 1229893.1864
85 | 2752121.9668 | 1229894.81 | 2752111.1556 | 1229899.3522
86 | 2752121.9668 | 1229894.81 | 2752117.4829 | 1229881.2289
87 | 2752111.1556 | 1229899.3522 | 2752087.1289 | 1229909.4467
88 | 2752087.1289 | 1229909.4467 | 2752084.2318 | 1229910.6639
89 | 2752074.7853 | 1229914.6327 | 2752084.2318 | 1229910.6639
90 | 2752112.3403 | 1229962.0296 | 2752119.8567 | 1229972.3048
91 | 2752107.3463 | 1229955.2027 | 2752112.3403 | 1229962.0296
92 | 2752119.8567 | 1229972.3048 | 2752132.1341 | 1229989.0885
93 | 2752144.5546 | 1230006.0678 | 2752132.1341 | 1229989.0885
94 | 2752144.5546 | 1230006.0678 | 2752134.3401 | 1230017.4066
95 | 2752134.3401 | 1230017.4066 | 2752133.9686 | 1230017.8189 | 2752127.1293 | 1230029.1766 | 2752125.1836 | 1230033.3158
96 | 2752043.8451 | 1229981.3029 | 2752043.2711 | 1229980.449
97 | 2752043.8451 | 1229981.3029 | 2752055.1407 | 1229998.1071 | 2752059.5206 | 1230000.8104 | 2752064.4707 | 1230007.6366
98 | 2752064.4707 | 1230007.6366 | 2752065.7507 | 1230009.4017
99 | 2752065.7507 | 1230009.4017 | 2752069.6714 | 1230014.8082
100 | 2752069.6714 | 1230014.8082 | 2752069.9895 | 1230015.2469
101 | 2752069.9895 | 1230015.2469 | 2752093.2114 | 1230050.8179 | 2752095.5053 | 1230052.4002 | 2752101.7103 | 1230052.3779
102 | 2752069.9895 | 1230015.2469 | 2752091.2098 | 1230001.3186
103 | 2751880.7042 | 1229977.3085 | 2751883.155 | 1229982.5426 | 2751883.8704 | 1229984.2068
104 | 2751872.1655 | 1229864.4981 | 2751853.5001 | 1229898.7983
105 | 2751872.1655 | 1229864.4981 | 2751886.1417 | 1229871.6282
106 | 2751886.1417 | 1229871.6282 | 2751895.9479 | 1229882.3663 | 2751896.2647 | 1229883.5868
107 | 2751886.1417 | 1229871.6282 | 2751888.8474 | 1229869.2618 | 2751910.849 | 1229861.4073
108 | 2751896.2647 | 1229883.5868 | 2751897.7773 | 1229889.4138
109 | 2751910.849 | 1229861.4073 | 2751924.9101 | 1229856.3876
110 | 2751902.5117 | 1229907.652 | 2751897.7773 | 1229889.4138
111 | 2751928.0347 | 1229855.2721 | 2751924.9101 | 1229856.3876

## bus_geodata
| x | y | coords
0 | 2752119.7628 | 1230236.5484
1 | 2752104.4971 | 1230208.3179
2 | 2752120.1253 | 1230200.0211
3 | 2752089.1062 | 1230184.5469
4 | 2752079.0845 | 1230172.6294
5 | 2752075.94 | 1230168.8901
6 | 2751963.2785 | 1230344.5663
7 | 2751937.3784 | 1230308.2378
8 | 2751908.6121 | 1230227.184
9 | 2752056.3607 | 1230145.6071
10 | 2751883.1858 | 1229839.0338
11 | 2751883.0222 | 1229839.5372
12 | 2751876.8769 | 1229854.0847
13 | 2751960.0089 | 1229981.2537
14 | 2751977.222 | 1229970.2332
15 | 2751946.6198 | 1229989.8259
16 | 2751978.7981 | 1229969.2241
17 | 2751947.9848 | 1229992.2863
18 | 2751936.6455 | 1229972.6331
19 | 2751955.8846 | 1230006.5264
20 | 2751926.9222 | 1229978.3128
21 | 2751920.5535 | 1229948.3664
22 | 2751958.9803 | 1230012.1066
23 | 2751903.9576 | 1229912.8417
24 | 2751915.7342 | 1229955.0292
25 | 2751930.9736 | 1229939.0194
26 | 2751995.5974 | 1229909.5259
27 | 2752008.7743 | 1229929.1289
28 | 2752045.1774 | 1229880.0724
29 | 2751922.3225 | 1230030.9541
30 | 2751961.8254 | 1230017.3286
31 | 2751903.0148 | 1229909.5902
32 | 2751892.0393 | 1229972.0959
33 | 2751937.7925 | 1229904.6556
34 | 2752025.7622 | 1229954.4014
35 | 2752109.1578 | 1229856.0134
36 | 2752000.0774 | 1230071.0199
37 | 2752014.7952 | 1230102.1268
38 | 2751989.6677 | 1230058.9672
39 | 2752029.1223 | 1230104.6954
40 | 2752013.2767 | 1230101.8553
41 | 2751974.8212 | 1230064.5484
42 | 2752052.6406 | 1230108.9838
43 | 2751957.1234 | 1230065.155
44 | 2752075.8413 | 1230113.2422
45 | 2752042.4615 | 1230127.7412
46 | 2751974.1142 | 1230094.8539
47 | 2751969.8591 | 1230094.0932
48 | 2751941.3475 | 1230089.0045
49 | 2751932.7182 | 1230064.3133
50 | 2751920.3589 | 1230046.593
51 | 2751920.1162 | 1230047.8572
52 | 2752088.5914 | 1230115.537
53 | 2752064.6074 | 1230129.0672
54 | 2752045.3263 | 1230160.9168
55 | 2751940.4118 | 1230101.7379
56 | 2751916.8046 | 1230084.6179
57 | 2751919.2596 | 1230062.1155
58 | 2751915.4295 | 1230084.3856
59 | 2751897.6069 | 1230081.3737
60 | 2751942.1031 | 1230108.188
61 | 2751897.3942 | 1230081.3377
62 | 2751882.5097 | 1230078.8224
63 | 2751945.0847 | 1230118.6161
64 | 2751968.1703 | 1230214.767
65 | 2751956.7693 | 1230218.4137
66 | 2751971.2818 | 1230213.7717
67 | 2751929.9139 | 1230224.7395
68 | 2751983.5684 | 1230209.8418
69 | 2752017.076 | 1230189.3296
70 | 2752035.8413 | 1230170.1925
71 | 2752097.1194 | 1230104.5227
72 | 2752102.3815 | 1230118.3402
73 | 2752078.2759 | 1230065.9878
74 | 2752110.4433 | 1230087.4395
75 | 2752123.7448 | 1230122.6829
76 | 2752117.574 | 1230055.4055
77 | 2752137.8165 | 1230125.5434
78 | 2752117.9799 | 1230052.3194
79 | 2752138.2228 | 1229893.1864
80 | 2752140.6677 | 1229892.9422
81 | 2752121.9668 | 1229894.81
82 | 2752111.1556 | 1229899.3522
83 | 2752117.4829 | 1229881.2289
84 | 2752087.1289 | 1229909.4467
85 | 2752084.2318 | 1229910.6639
86 | 2752074.7853 | 1229914.6327
87 | 2752112.3403 | 1229962.0296
88 | 2752119.8567 | 1229972.3048
89 | 2752107.3463 | 1229955.2027
90 | 2752132.1341 | 1229989.0885
91 | 2752144.5546 | 1230006.0678
92 | 2752134.3401 | 1230017.4066
93 | 2752125.1836 | 1230033.3158
94 | 2752043.2711 | 1229980.449
95 | 2752043.8451 | 1229981.3029
96 | 2752064.4707 | 1230007.6366
97 | 2752065.7507 | 1230009.4017
98 | 2752069.6714 | 1230014.8082
99 | 2752069.9895 | 1230015.2469
100 | 2752091.2098 | 1230001.3186
101 | 2752101.7103 | 1230052.3779
102 | 2751880.7042 | 1229977.3085
103 | 2751883.8704 | 1229984.2068
104 | 2751853.5001 | 1229898.7983
105 | 2751872.1655 | 1229864.4981
106 | 2751886.1417 | 1229871.6282
107 | 2751896.2647 | 1229883.5868
108 | 2751910.849 | 1229861.4073
109 | 2751897.7773 | 1229889.4138
110 | 2751924.9101 | 1229856.3876
111 | 2751902.5117 | 1229907.652
112 | 2751928.0347 | 1229855.2721
113 | 2751989.6677 | 1230058.9672

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1