## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3275-6_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3275-6_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3275-6_0_3_node_5 | 0.4 | n |  | TRUE
3 | bus_LV_3275-6_0_3_node_6 | 0.4 | n |  | TRUE
4 | bus_LV_3275-6_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_3275-6_0_3_node_85 | 0.4 | n |  | TRUE
6 | bus_LV_3275-6_0_3_node_81 | 0.4 | n |  | TRUE
7 | bus_LV_3275-6_0_3_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_3275-6_0_3_node_117 | 0.4 | n |  | TRUE
9 | bus_LV_3275-6_0_3_node_97 | 0.4 | n |  | TRUE
10 | bus_LV_3275-6_0_3_node_116 | 0.4 | n |  | TRUE
11 | bus_LV_3275-6_0_3_node_99 | 0.4 | n |  | TRUE
12 | bus_LV_3275-6_0_3_node_82 | 0.4 | n |  | TRUE
13 | bus_LV_3275-6_0_3_node_125 | 0.4 | n |  | TRUE
14 | bus_LV_3275-6_0_3_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_3275-6_0_3_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_3275-6_0_3_node_96 | 0.4 | n |  | TRUE
17 | bus_LV_3275-6_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3275-6_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3275-6_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3275-6_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_3275-6_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3275-6_0_3_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3275-6_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3275-6_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3275-6_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_3275-6_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3275-6_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3275-6_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3275-6_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3275-6_0_3_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_3275-6_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3275-6_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3275-6_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3275-6_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3275-6_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3275-6_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3275-6_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3275-6_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_3275-6_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3275-6_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_3275-6_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_3275-6_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3275-6_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_3275-6_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_3275-6_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3275-6_0_3_node_92 | 0.4 | n |  | TRUE
47 | bus_LV_3275-6_0_3_node_93 | 0.4 | n |  | TRUE
48 | bus_LV_3275-6_0_3_node_91 | 0.4 | n |  | TRUE
49 | bus_LV_3275-6_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3275-6_0_3_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_3275-6_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_3275-6_0_3_node_86 | 0.4 | n |  | TRUE
53 | bus_LV_3275-6_0_3_node_94 | 0.4 | n |  | TRUE
54 | bus_LV_3275-6_0_3_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_3275-6_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3275-6_0_3_node_44 | 0.4 | n |  | TRUE
57 | bus_LV_3275-6_0_3_node_87 | 0.4 | n |  | TRUE
58 | bus_LV_3275-6_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_3275-6_0_3_node_100 | 0.4 | n |  | TRUE
60 | bus_LV_3275-6_0_3_node_101 | 0.4 | n |  | TRUE
61 | bus_LV_3275-6_0_3_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3275-6_0_3_node_105 | 0.4 | n |  | TRUE
63 | bus_LV_3275-6_0_3_node_104 | 0.4 | n |  | TRUE
64 | bus_LV_3275-6_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3275-6_0_3_node_102 | 0.4 | n |  | TRUE
66 | bus_LV_3275-6_0_3_node_46 | 0.4 | n |  | TRUE
67 | bus_LV_3275-6_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3275-6_0_3_node_106 | 0.4 | n |  | TRUE
69 | bus_LV_3275-6_0_3_node_126 | 0.4 | n |  | TRUE
70 | bus_LV_3275-6_0_3_node_83 | 0.4 | n |  | TRUE
71 | bus_LV_3275-6_0_3_node_88 | 0.4 | n |  | TRUE
72 | bus_LV_3275-6_0_3_node_90 | 0.4 | n |  | TRUE
73 | bus_LV_3275-6_0_3_node_95 | 0.4 | n |  | TRUE
74 | bus_LV_3275-6_0_3_node_103 | 0.4 | n |  | TRUE
75 | bus_LV_3275-6_0_3_node_107 | 0.4 | n |  | TRUE
76 | bus_LV_3275-6_0_3_node_108 | 0.4 | n |  | TRUE
77 | bus_LV_3275-6_0_3_node_109 | 0.4 | n |  | TRUE
78 | bus_LV_3275-6_0_3_node_110 | 0.4 | n |  | TRUE
79 | bus_LV_3275-6_0_3_node_111 | 0.4 | n |  | TRUE
80 | bus_LV_3275-6_0_3_node_114 | 0.4 | n |  | TRUE
81 | bus_LV_3275-6_0_3_node_112 | 0.4 | n |  | TRUE
82 | bus_LV_3275-6_0_3_node_113 | 0.4 | n |  | TRUE
83 | bus_LV_3275-6_0_3_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_3275-6_0_3_node_179 | 0.4 | n |  | TRUE
85 | bus_LV_3275-6_0_3_node_177 | 0.4 | n |  | TRUE
86 | bus_LV_3275-6_0_3_node_178 | 0.4 | n |  | TRUE
87 | bus_LV_3275-6_0_3_node_180 | 0.4 | n |  | TRUE
88 | bus_LV_3275-6_0_3_node_181 | 0.4 | n |  | TRUE
89 | bus_LV_3275-6_0_3_node_182 | 0.4 | n |  | TRUE
90 | bus_LV_3275-6_0_3_node_183 | 0.4 | n |  | TRUE
91 | bus_LV_3275-6_0_3_node_184 | 0.4 | n |  | TRUE
92 | bus_LV_3275-6_0_3_node_185 | 0.4 | n |  | TRUE
93 | bus_LV_3275-6_0_3_node_186 | 0.4 | n |  | TRUE
94 | bus_MV_53_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3275-6_0_3_load_0 | 0 | 0.0022888 | 0.00057364 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3275-6_0_3_load_5 | 2 | 0.0080731 | 0.0020233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3275-6_0_3_load_81 | 6 | 0.016781 | 0.0042056 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3275-6_0_3_load_116 | 10 | 0.0050735 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3275-6_0_3_load_99 | 11 | 0.011291 | 0.0028297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3275-6_0_3_load_82 | 12 | 0.0029215 | 0.0007322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3275-6_0_3_load_118 | 14 | 0.0037842 | 0.00094841 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3275-6_0_3_load_96 | 16 | 0.0077868 | 0.0019516 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3275-6_0_3_load_10 | 17 | 0.00035797 | 8.9715e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3275-6_0_3_load_12 | 19 | 0.0014242 | 0.00035695 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3275-6_0_3_load_13 | 20 | 0.0039391 | 0.00098723 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3275-6_0_3_load_17 | 22 | 0.0023803 | 0.00059657 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3275-6_0_3_load_15 | 23 | 0.0018511 | 0.00046393 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3275-6_0_3_load_16 | 24 | 0.0018905 | 0.00047381 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3275-6_0_3_load_18 | 25 | 0.0014312 | 0.00035869 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3275-6_0_3_load_19 | 26 | 0.0018323 | 0.00045923 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3275-6_0_3_load_22 | 27 | 0.0019602 | 0.00049128 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3275-6_0_3_load_20 | 28 | 0.0021078 | 0.00052826 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3275-6_0_3_load_23 | 29 | 0.0022659 | 0.0005679 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3275-6_0_3_load_21 | 30 | 0.00067818 | 0.00016997 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3275-6_0_3_load_26 | 32 | 0.0010871 | 0.00027245 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3275-6_0_3_load_27 | 33 | 0.0016851 | 0.00042232 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3275-6_0_3_load_28 | 34 | 0.0014807 | 0.0003711 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3275-6_0_3_load_30 | 35 | 0.0018654 | 0.00046751 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3275-6_0_3_load_29 | 36 | 0.0022225 | 0.00055701 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3275-6_0_3_load_31 | 37 | 0.0025832 | 0.00064741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3275-6_0_3_load_32 | 38 | 0.0021721 | 0.00054439 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3275-6_0_3_load_33 | 39 | 0.0016631 | 0.00041681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3275-6_0_3_load_34 | 40 | 0.0027855 | 0.00069812 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3275-6_0_3_load_35 | 41 | 0.0025014 | 0.00062691 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3275-6_0_3_load_40 | 44 | 0.0029881 | 0.00074889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3275-6_0_3_load_37 | 45 | 0.0020172 | 0.00050557 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3275-6_0_3_load_92 | 46 | 0.0031436 | 0.00078785 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3275-6_0_3_load_93 | 47 | 0.0017466 | 0.00043773 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3275-6_0_3_load_91 | 48 | 0.0053281 | 0.0013353 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3275-6_0_3_load_89 | 51 | 0.0046279 | 0.0011599 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3275-6_0_3_load_86 | 52 | 0.0049081 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3275-6_0_3_load_94 | 53 | 0.003983 | 0.00099824 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3275-6_0_3_load_87 | 57 | 0.0061548 | 0.0015425 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3275-6_0_3_load_49 | 58 | 0.002753 | 0.00068997 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3275-6_0_3_load_100 | 59 | 0.0022529 | 0.00056463 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3275-6_0_3_load_101 | 60 | 0.0025862 | 0.00064816 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3275-6_0_3_load_105 | 62 | 0.0022239 | 0.00055735 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3275-6_0_3_load_104 | 63 | 0.0017421 | 0.00043662 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3275-6_0_3_load_102 | 65 | 0.0025154 | 0.00063042 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3275-6_0_3_load_46 | 66 | 0.0026815 | 0.00067203 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3275-6_0_3_load_50 | 67 | 0.004056 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3275-6_0_3_load_106 | 68 | 0.004175 | 0.0010464 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3275-6_0_3_load_126 | 69 | 0.0025942 | 0.00065017 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3275-6_0_3_load_83 | 70 | 0.0029306 | 0.00073449 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3275-6_0_3_load_88 | 71 | 0.0020409 | 0.00051149 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3275-6_0_3_load_90 | 72 | 0.010811 | 0.0027096 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3275-6_0_3_load_95 | 73 | 0.0023361 | 0.00058549 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3275-6_0_3_load_103 | 74 | 0.0035034 | 0.00087804 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3275-6_0_3_load_107 | 75 | 0.0012233 | 0.00030658 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3275-6_0_3_load_108 | 76 | 0.0028616 | 0.0007172 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3275-6_0_3_load_109 | 77 | 0.0050794 | 0.001273 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3275-6_0_3_load_110 | 78 | 0.00364 | 0.00091228 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3275-6_0_3_load_111 | 79 | 0.0026724 | 0.00066976 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3275-6_0_3_load_114 | 80 | 0.0041376 | 0.001037 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3275-6_0_3_load_112 | 81 | 0.0040134 | 0.0010059 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3275-6_0_3_load_113 | 82 | 0.0028945 | 0.00072544 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3275-6_0_3_load_115 | 83 | 0.0034192 | 0.00085693 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3275-6_0_3_load_179 | 84 | 0.023791 | 0.0059626 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3275-6_0_3_load_177 | 85 | 0.0089707 | 0.0022483 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3275-6_0_3_load_182 | 89 | 0.0096292 | 0.0024133 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3275-6_0_3_load_183 | 90 | 0.0094403 | 0.002366 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3275-6_0_3_load_185 | 92 | 0.0092563 | 0.0023199 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3275-6_0_3_load_186 | 93 | 0.0063524 | 0.0015921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 73 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3275-6_0_3_line_0 |  | 0 | 1 | 0.019529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3275-6_0_3_line_1 |  | 1 | 2 | 0.070524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3275-6_0_3_line_2 |  | 1 | 3 | 0.006058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3275-6_0_3_line_3 |  | 3 | 11 | 0.012508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3275-6_0_3_line_4 |  | 4 | 5 | 0.007079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3275-6_0_3_line_5 |  | 4 | 6 | 0.023081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3275-6_0_3_line_6 |  | 5 | 10 | 0.011929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3275-6_0_3_line_7 |  | 6 | 12 | 0.02535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3275-6_0_3_line_8 |  | 7 | 8 | 0.045032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3275-6_0_3_line_9 |  | 7 | 9 | 0.028967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3275-6_0_3_line_10 |  | 7 | 10 | 0.0072071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3275-6_0_3_line_11 |  | 8 | 13 | 0.014377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3275-6_0_3_line_12 |  | 8 | 14 | 0.0095049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3275-6_0_3_line_13 |  | 9 | 15 | 0.002975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3275-6_0_3_line_14 |  | 9 | 16 | 0.043704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_3275-6_0_3_line_15 |  | 11 | 15 | 0.018339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3275-6_0_3_line_16 |  | 12 | 70 | 0.0097557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3275-6_0_3_line_17 |  | 13 | 84 | 0.039379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3275-6_0_3_line_18 |  | 13 | 85 | 0.019768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3275-6_0_3_line_19 |  | 14 | 83 | 0.0032134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3275-6_0_3_line_20 |  | 16 | 73 | 0.070902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3275-6_0_3_line_21 |  | 17 | 18 | 0.0189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3275-6_0_3_line_22 |  | 18 | 19 | 0.026534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3275-6_0_3_line_23 |  | 18 | 20 | 0.051678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3275-6_0_3_line_24 |  | 19 | 21 | 0.042048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3275-6_0_3_line_25 |  | 20 | 22 | 0.035158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3275-6_0_3_line_26 |  | 21 | 23 | 0.015335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3275-6_0_3_line_27 |  | 21 | 24 | 0.019296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3275-6_0_3_line_28 |  | 22 | 25 | 0.029659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3275-6_0_3_line_29 |  | 23 | 26 | 0.02723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3275-6_0_3_line_30 |  | 24 | 27 | 0.025059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3275-6_0_3_line_31 |  | 26 | 28 | 0.022866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3275-6_0_3_line_32 |  | 27 | 29 | 0.024646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3275-6_0_3_line_33 |  | 28 | 30 | 0.0075099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3275-6_0_3_line_34 |  | 29 | 31 | 0.011273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3275-6_0_3_line_35 |  | 31 | 32 | 0.017026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3275-6_0_3_line_36 |  | 31 | 33 | 0.01594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3275-6_0_3_line_37 |  | 32 | 34 | 0.020506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3275-6_0_3_line_38 |  | 33 | 35 | 0.049492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3275-6_0_3_line_39 |  | 34 | 36 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3275-6_0_3_line_40 |  | 35 | 37 | 0.0065661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3275-6_0_3_line_41 |  | 37 | 38 | 0.023767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3275-6_0_3_line_42 |  | 38 | 39 | 0.0031862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3275-6_0_3_line_43 |  | 39 | 40 | 0.022024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3275-6_0_3_line_44 |  | 40 | 41 | 0.003898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3275-6_0_3_line_45 |  | 41 | 42 | 0.037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3275-6_0_3_line_46 |  | 42 | 43 | 0.005553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3275-6_0_3_line_47 |  | 42 | 44 | 0.015757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3275-6_0_3_line_48 |  | 42 | 45 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3275-6_0_3_line_49 |  | 43 | 46 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3275-6_0_3_line_50 |  | 43 | 47 | 0.037269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3275-6_0_3_line_51 |  | 43 | 48 | 0.021082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3275-6_0_3_line_52 |  | 46 | 53 | 0.025699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3275-6_0_3_line_53 |  | 47 | 54 | 0.018324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3275-6_0_3_line_54 |  | 48 | 49 | 0.042785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3275-6_0_3_line_55 |  | 49 | 50 | 0.055538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3275-6_0_3_line_56 |  | 49 | 51 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3275-6_0_3_line_57 |  | 50 | 52 | 0.017111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3275-6_0_3_line_58 |  | 51 | 57 | 0.00063512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3275-6_0_3_line_59 |  | 53 | 73 | 0.0036465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3275-6_0_3_line_60 |  | 54 | 59 | 0.037866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3275-6_0_3_line_61 |  | 54 | 60 | 0.015339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3275-6_0_3_line_62 |  | 54 | 55 | 0.002479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3275-6_0_3_line_63 |  | 55 | 56 | 0.009879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3275-6_0_3_line_64 |  | 56 | 58 | 0.017363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3275-6_0_3_line_65 |  | 57 | 71 | 0.017403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3275-6_0_3_line_66 |  | 58 | 64 | 0.015086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3275-6_0_3_line_67 |  | 59 | 65 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3275-6_0_3_line_68 |  | 60 | 63 | 0.025558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3275-6_0_3_line_69 |  | 61 | 62 | 0.037076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3275-6_0_3_line_70 |  | 61 | 63 | 0.01819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3275-6_0_3_line_71 |  | 62 | 68 | 0.012678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3275-6_0_3_line_72 |  | 64 | 67 | 0.045368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3275-6_0_3_line_73 |  | 64 | 66 | 0.012596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3275-6_0_3_line_74 |  | 65 | 74 | 0.0010589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3275-6_0_3_line_75 |  | 69 | 70 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3275-6_0_3_line_76 |  | 71 | 72 | 0.0065557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3275-6_0_3_line_77 |  | 75 | 76 | 0.0093113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3275-6_0_3_line_78 |  | 75 | 77 | 0.0034557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3275-6_0_3_line_79 |  | 76 | 78 | 0.013896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3275-6_0_3_line_80 |  | 77 | 79 | 0.020493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3275-6_0_3_line_81 |  | 78 | 80 | 0.0071357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3275-6_0_3_line_82 |  | 80 | 81 | 0.0020991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3275-6_0_3_line_83 |  | 81 | 82 | 0.019928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3275-6_0_3_line_84 |  | 82 | 83 | 0.024648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3275-6_0_3_line_85 |  | 85 | 86 | 0.021228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3275-6_0_3_line_86 |  | 86 | 87 | 0.042985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3275-6_0_3_line_87 |  | 86 | 88 | 0.017962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3275-6_0_3_line_88 |  | 87 | 89 | 0.008683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3275-6_0_3_line_89 |  | 87 | 90 | 0.060632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3275-6_0_3_line_90 |  | 88 | 91 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3275-6_0_3_line_91 |  | 88 | 92 | 0.023825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3275-6_0_3_line_92 |  | 91 | 93 | 0.012713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3275-6_0_3_trafo_95 | 0.63 MVA 20/0.4 kV | 94 | 73 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2755346.4544 | 1221479.1849 | 2755339.6881 | 1221497.5046
1 | 2755346.4544 | 1221479.1849 | 2755281.3669 | 1221452.0322
2 | 2755348.5535 | 1221473.5012 | 2755346.4544 | 1221479.1849
3 | 2755348.5535 | 1221473.5012 | 2755354.1865 | 1221462.3334
4 | 2755386.1913 | 1221437.8616 | 2755383.2225 | 1221444.29
5 | 2755383.2225 | 1221444.29 | 2755402.6818 | 1221456.7022
6 | 2755386.1913 | 1221437.8616 | 2755384.3067 | 1221432.1294 | 2755384.8623 | 1221426.2608
7 | 2755424.0543 | 1221470.3348 | 2755402.6818 | 1221456.7022
8 | 2755378.4584 | 1221422.9685 | 2755399.1925 | 1221382.9729
9 | 2755378.4584 | 1221422.9685 | 2755374.9645 | 1221421.02 | 2755364.3096 | 1221443.6182
10 | 2755378.4584 | 1221422.9685 | 2755382.1915 | 1221425.0567 | 2755384.8623 | 1221426.2608
11 | 2755399.1925 | 1221382.9729 | 2755385.9434 | 1221377.2998
12 | 2755399.1925 | 1221382.9729 | 2755403.5673 | 1221374.5347
13 | 2755364.3096 | 1221443.6182 | 2755362.5169 | 1221445.9958
14 | 2755364.3096 | 1221443.6182 | 2755323.9254 | 1221426.9098
15 | 2755362.5169 | 1221445.9958 | 2755355.2694 | 1221460.1864 | 2755354.1865 | 1221462.3334
16 | 2755424.0543 | 1221470.3348 | 2755432.1184 | 1221475.8251
17 | 2755385.9434 | 1221377.2998 | 2755381.5934 | 1221382.5578 | 2755367.8166 | 1221412.0542
18 | 2755385.9434 | 1221377.2998 | 2755387.1932 | 1221374.7857 | 2755387.1425 | 1221372.6602 | 2755385.5723 | 1221370.584 | 2755374.2679 | 1221365.9145
19 | 2755405.0463 | 1221371.6819 | 2755403.5673 | 1221374.5347
20 | 2755323.9254 | 1221426.9098 | 2755279.5591 | 1221408.5538 | 2755283.2372 | 1221399.6638 | 2755277.1598 | 1221395.2013 | 2755272.1575 | 1221392.4112
21 | 2754964.3434 | 1221369.475 | 2754952.4833 | 1221384.1909
22 | 2754964.3434 | 1221369.475 | 2754987.8988 | 1221374.3479 | 2754990.2472 | 1221373.5511
23 | 2754964.3434 | 1221369.475 | 2754969.4311 | 1221362.6901 | 2754988.9586 | 1221324.1583
24 | 2755021.9892 | 1221346.6099 | 2754995.174 | 1221371.8794 | 2754990.2472 | 1221373.5511
25 | 2755004.5766 | 1221292.6609 | 2754995.1808 | 1221311.8805 | 2754988.9586 | 1221324.1583
26 | 2755021.9892 | 1221346.6099 | 2755033.5404 | 1221356.6966
27 | 2755021.9892 | 1221346.6099 | 2755026.5377 | 1221343.0472 | 2755036.2546 | 1221333.6485
28 | 2755004.5766 | 1221292.6609 | 2755008.7469 | 1221284.1305 | 2755016.1384 | 1221265.3709
29 | 2755033.5404 | 1221356.6966 | 2755041.6937 | 1221363.8162 | 2755042.9654 | 1221366.5741 | 2755043.1062 | 1221370.7816 | 2755041.0023 | 1221375.7869 | 2755038.9118 | 1221378.8749
30 | 2755036.2546 | 1221333.6485 | 2755051.3931 | 1221319.0057 | 2755054.0578 | 1221316.0259
31 | 2755038.9118 | 1221378.8749 | 2755035.2316 | 1221384.3111 | 2755031.0321 | 1221395.4564 | 2755029.0038 | 1221399.3511
32 | 2755054.0578 | 1221316.0259 | 2755057.0301 | 1221312.7022 | 2755069.8328 | 1221297.0935
33 | 2755025.5349 | 1221406.0118 | 2755029.0038 | 1221399.3511
34 | 2755076.9821 | 1221288.3773 | 2755069.8328 | 1221297.0935
35 | 2755076.9821 | 1221288.3773 | 2755087.4892 | 1221274.9798
36 | 2755076.9821 | 1221288.3773 | 2755090.9722 | 1221296.0174
37 | 2755102.2961 | 1221260.8301 | 2755088.8457 | 1221273.2502 | 2755087.4892 | 1221274.9798
38 | 2755090.9722 | 1221296.0174 | 2755134.4087 | 1221319.7384
39 | 2755102.2961 | 1221260.8301 | 2755104.5414 | 1221258.7568 | 2755112.4313 | 1221253.32
40 | 2755140.1714 | 1221322.8854 | 2755134.4087 | 1221319.7384
41 | 2755140.1714 | 1221322.8854 | 2755161.0305 | 1221334.2767
42 | 2755163.8269 | 1221335.8039 | 2755161.0305 | 1221334.2767
43 | 2755163.8269 | 1221335.8039 | 2755175.7188 | 1221342.2981 | 2755183.3282 | 1221346.0282
44 | 2755183.3282 | 1221346.0282 | 2755186.8283 | 1221347.7439
45 | 2755220.4911 | 1221363.9957 | 2755212.2855 | 1221360.2228 | 2755186.8283 | 1221347.7439
46 | 2755220.4911 | 1221363.9957 | 2755225.5141 | 1221366.3954
47 | 2755220.4911 | 1221363.9957 | 2755226.3823 | 1221349.3813
48 | 2755220.4911 | 1221363.9957 | 2755213.886 | 1221379.37
49 | 2755225.5141 | 1221366.3954 | 2755246.5287 | 1221378.1165
50 | 2755225.5141 | 1221366.3954 | 2755227.2126 | 1221362.1024 | 2755225.8454 | 1221359.8092 | 2755236.5288 | 1221331.7944
51 | 2755225.5141 | 1221366.3954 | 2755223.7891 | 1221369.9648 | 2755221.1072 | 1221372.386 | 2755215.8802 | 1221384.8378
52 | 2755268.9729 | 1221390.635 | 2755246.5287 | 1221378.1165
53 | 2755243.0541 | 1221314.6721 | 2755242.0842 | 1221317.2269 | 2755236.5288 | 1221331.7944
54 | 2755199.3198 | 1221424.2878 | 2755215.8802 | 1221384.8378
55 | 2755199.3198 | 1221424.2878 | 2755192.271 | 1221440.7747 | 2755177.3959 | 1221475.3298
56 | 2755199.3198 | 1221424.2878 | 2755216.494 | 1221431.3997
57 | 2755177.3959 | 1221475.3298 | 2755193.0836 | 1221482.1631
58 | 2755217.0808 | 1221431.6427 | 2755216.494 | 1221431.3997
59 | 2755268.9729 | 1221390.635 | 2755272.1575 | 1221392.4112
60 | 2755243.0541 | 1221314.6721 | 2755278.2121 | 1221328.7348
61 | 2755243.0541 | 1221314.6721 | 2755248.7346 | 1221300.4236
62 | 2755240.748 | 1221313.7445 | 2755243.0541 | 1221314.6721
63 | 2755240.748 | 1221313.7445 | 2755244.4634 | 1221304.5885
64 | 2755244.4634 | 1221304.5885 | 2755228.4142 | 1221297.9632
65 | 2755217.0808 | 1221431.6427 | 2755233.1599 | 1221438.3012
66 | 2755214.4695 | 1221292.2066 | 2755228.4142 | 1221297.9632
67 | 2755297.7784 | 1221336.3533 | 2755279.7586 | 1221329.3534 | 2755278.2121 | 1221328.7348
68 | 2755248.7346 | 1221300.4236 | 2755257.4953 | 1221278.4488 | 2755258.2775 | 1221276.7158
69 | 2755265.7611 | 1221260.1365 | 2755299.7789 | 1221274.8808
70 | 2755265.7611 | 1221260.1365 | 2755258.2775 | 1221276.7158
71 | 2755311.411 | 1221279.9225 | 2755299.7789 | 1221274.8808
72 | 2755172.1531 | 1221295.3624 | 2755179.6392 | 1221289.4743 | 2755191.1171 | 1221286.5262 | 2755209.7458 | 1221290.2595 | 2755214.4695 | 1221292.2066
73 | 2755214.4695 | 1221292.2066 | 2755219.2906 | 1221280.5696
74 | 2755297.7784 | 1221336.3533 | 2755298.7654 | 1221336.7367
75 | 2755432.1184 | 1221475.8251 | 2755455.7905 | 1221491.9421
76 | 2755239.2168 | 1221440.8093 | 2755233.1599 | 1221438.3012
77 | 2755440.1092 | 1221303.1185 | 2755436.2092 | 1221311.5737
78 | 2755440.1092 | 1221303.1185 | 2755441.5566 | 1221299.9805
79 | 2755436.2092 | 1221311.5737 | 2755436.2092 | 1221311.5737 | 2755429.8135 | 1221323.9099
80 | 2755441.5566 | 1221299.9805 | 2755442.8796 | 1221297.1123 | 2755448.3393 | 1221283.0865 | 2755448.9998 | 1221280.9005
81 | 2755426.5292 | 1221330.2448 | 2755429.8135 | 1221323.9099
82 | 2755425.5631 | 1221332.1084 | 2755426.5292 | 1221330.2448
83 | 2755425.5631 | 1221332.1084 | 2755416.391 | 1221349.7998
84 | 2755405.0463 | 1221371.6819 | 2755416.391 | 1221349.7998
85 | 2755354.648 | 1221357.8101 | 2755374.2679 | 1221365.9145
86 | 2755354.648 | 1221357.8101 | 2755353.5637 | 1221360.3842 | 2755342.0938 | 1221386.5756 | 2755331.4212 | 1221381.9374
87 | 2755354.648 | 1221357.8101 | 2755352.938 | 1221357.0203 | 2755349.5308 | 1221347.3893 | 2755351.775 | 1221341.9651
88 | 2755331.4212 | 1221381.9374 | 2755325.5796 | 1221379.494 | 2755326.4793 | 1221377.3043
89 | 2755297.5415 | 1221412.6041 | 2755315.566 | 1221419.9809 | 2755331.4212 | 1221381.9374
90 | 2755362.2424 | 1221316.6706 | 2755351.775 | 1221341.9651
91 | 2755329.7534 | 1221332.7157 | 2755351.775 | 1221341.9651
92 | 2755362.2424 | 1221316.6706 | 2755367.3813 | 1221305.0385

## bus_geodata
| x | y | coords
0 | 2755339.6881 | 1221497.5046
1 | 2755346.4544 | 1221479.1849
2 | 2755281.3669 | 1221452.0322
3 | 2755348.5535 | 1221473.5012
4 | 2755383.2225 | 1221444.29
5 | 2755386.1913 | 1221437.8616
6 | 2755402.6818 | 1221456.7022
7 | 2755378.4584 | 1221422.9685
8 | 2755399.1925 | 1221382.9729
9 | 2755364.3096 | 1221443.6182
10 | 2755384.8623 | 1221426.2608
11 | 2755354.1865 | 1221462.3334
12 | 2755424.0543 | 1221470.3348
13 | 2755385.9434 | 1221377.2998
14 | 2755403.5673 | 1221374.5347
15 | 2755362.5169 | 1221445.9958
16 | 2755323.9254 | 1221426.9098
17 | 2754952.4833 | 1221384.1909
18 | 2754964.3434 | 1221369.475
19 | 2754990.2472 | 1221373.5511
20 | 2754988.9586 | 1221324.1583
21 | 2755021.9892 | 1221346.6099
22 | 2755004.5766 | 1221292.6609
23 | 2755033.5404 | 1221356.6966
24 | 2755036.2546 | 1221333.6485
25 | 2755016.1384 | 1221265.3709
26 | 2755038.9118 | 1221378.8749
27 | 2755054.0578 | 1221316.0259
28 | 2755029.0038 | 1221399.3511
29 | 2755069.8328 | 1221297.0935
30 | 2755025.5349 | 1221406.0118
31 | 2755076.9821 | 1221288.3773
32 | 2755087.4892 | 1221274.9798
33 | 2755090.9722 | 1221296.0174
34 | 2755102.2961 | 1221260.8301
35 | 2755134.4087 | 1221319.7384
36 | 2755112.4313 | 1221253.32
37 | 2755140.1714 | 1221322.8854
38 | 2755161.0305 | 1221334.2767
39 | 2755163.8269 | 1221335.8039
40 | 2755183.3282 | 1221346.0282
41 | 2755186.8283 | 1221347.7439
42 | 2755220.4911 | 1221363.9957
43 | 2755225.5141 | 1221366.3954
44 | 2755226.3823 | 1221349.3813
45 | 2755213.886 | 1221379.37
46 | 2755246.5287 | 1221378.1165
47 | 2755236.5288 | 1221331.7944
48 | 2755215.8802 | 1221384.8378
49 | 2755199.3198 | 1221424.2878
50 | 2755177.3959 | 1221475.3298
51 | 2755216.494 | 1221431.3997
52 | 2755193.0836 | 1221482.1631
53 | 2755268.9729 | 1221390.635
54 | 2755243.0541 | 1221314.6721
55 | 2755240.748 | 1221313.7445
56 | 2755244.4634 | 1221304.5885
57 | 2755217.0808 | 1221431.6427
58 | 2755228.4143 | 1221297.9632
59 | 2755278.2121 | 1221328.7348
60 | 2755248.7346 | 1221300.4236
61 | 2755265.7611 | 1221260.1365
62 | 2755299.7789 | 1221274.8808
63 | 2755258.2775 | 1221276.7158
64 | 2755214.4695 | 1221292.2066
65 | 2755297.7784 | 1221336.3533
66 | 2755219.2906 | 1221280.5696
67 | 2755172.1531 | 1221295.3624
68 | 2755311.411 | 1221279.9225
69 | 2755455.7905 | 1221491.9421
70 | 2755432.1184 | 1221475.8251
71 | 2755233.1599 | 1221438.3012
72 | 2755239.2168 | 1221440.8093
73 | 2755272.1575 | 1221392.4112
74 | 2755298.7654 | 1221336.7367
75 | 2755440.1092 | 1221303.1185
76 | 2755436.2092 | 1221311.5737
77 | 2755441.5566 | 1221299.9805
78 | 2755429.8135 | 1221323.9099
79 | 2755448.9998 | 1221280.9005
80 | 2755426.5292 | 1221330.2448
81 | 2755425.5631 | 1221332.1084
82 | 2755416.391 | 1221349.7998
83 | 2755405.0463 | 1221371.6819
84 | 2755367.8166 | 1221412.0542
85 | 2755374.2679 | 1221365.9145
86 | 2755354.648 | 1221357.8101
87 | 2755331.4212 | 1221381.9374
88 | 2755351.775 | 1221341.9651
89 | 2755326.4793 | 1221377.3043
90 | 2755297.5415 | 1221412.6041
91 | 2755362.2424 | 1221316.6706
92 | 2755329.7534 | 1221332.7157
93 | 2755367.3813 | 1221305.0385
94 | 2755225.5141 | 1221366.3954

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1