## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3275-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3275-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3275-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3275-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3275-8_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3275-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3275-8_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3275-8_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3275-8_0_3_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3275-8_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3275-8_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_3275-8_0_3_node_52 | 0.4 | n |  | TRUE
12 | bus_LV_3275-8_0_3_node_67 | 0.4 | n |  | TRUE
13 | bus_LV_3275-8_0_3_node_51 | 0.4 | n |  | TRUE
14 | bus_LV_3275-8_0_3_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_3275-8_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3275-8_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3275-8_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_3275-8_0_3_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_3275-8_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_3275-8_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3275-8_0_3_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3275-8_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3275-8_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3275-8_0_3_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3275-8_0_3_node_70 | 0.4 | n |  | TRUE
26 | bus_LV_3275-8_0_3_node_71 | 0.4 | n |  | TRUE
27 | bus_LV_3275-8_0_3_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_3275-8_0_3_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_3275-8_0_3_node_74 | 0.4 | n |  | TRUE
30 | bus_LV_3275-8_0_3_node_72 | 0.4 | n |  | TRUE
31 | bus_LV_3275-8_0_3_node_75 | 0.4 | n |  | TRUE
32 | bus_LV_3275-8_0_3_node_82 | 0.4 | n |  | TRUE
33 | bus_LV_3275-8_0_3_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_3275-8_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_3275-8_0_3_node_93 | 0.4 | n |  | TRUE
36 | bus_LV_3275-8_0_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_3275-8_0_3_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_3275-8_0_3_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_3275-8_0_3_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_3275-8_0_3_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_3275-8_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_3275-8_0_3_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_3275-8_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_3275-8_0_3_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_3275-8_0_3_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_3275-8_0_3_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_3275-8_0_3_node_31 | 0.4 | n |  | TRUE
48 | bus_LV_3275-8_0_3_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_3275-8_0_3_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3275-8_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3275-8_0_3_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_3275-8_0_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_3275-8_0_3_node_35 | 0.4 | n |  | TRUE
54 | bus_LV_3275-8_0_3_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_3275-8_0_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_3275-8_0_3_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3275-8_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3275-8_0_3_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_3275-8_0_3_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_3275-8_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_3275-8_0_3_node_44 | 0.4 | n |  | TRUE
62 | bus_LV_3275-8_0_3_node_45 | 0.4 | n |  | TRUE
63 | bus_LV_3275-8_0_3_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_3275-8_0_3_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_3275-8_0_3_node_94 | 0.4 | n |  | TRUE
66 | bus_LV_3275-8_0_3_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_3275-8_0_3_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_3275-8_0_3_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3275-8_0_3_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3275-8_0_3_node_58 | 0.4 | n |  | TRUE
71 | bus_LV_3275-8_0_3_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_3275-8_0_3_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_3275-8_0_3_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3275-8_0_3_node_90 | 0.4 | n |  | TRUE
75 | bus_LV_3275-8_0_3_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_3275-8_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3275-8_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3275-8_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_3275-8_0_3_node_66 | 0.4 | n |  | TRUE
80 | bus_LV_3275-8_0_3_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3275-8_0_3_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_3275-8_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3275-8_0_3_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3275-8_0_3_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3275-8_0_3_node_81 | 0.4 | n |  | TRUE
86 | bus_LV_3275-8_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_LV_3275-8_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_3275-8_0_3_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_3275-8_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_3275-8_0_3_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_3275-8_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_MV_53_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3275-8_0_3_load_0 | 0 | 0.0033051 | 0.00082834 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3275-8_0_3_load_1 | 1 | 0.0019938 | 0.00049969 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3275-8_0_3_load_2 | 2 | 0.0018134 | 0.00045448 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3275-8_0_3_load_3 | 3 | 0.0046513 | 0.0011657 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3275-8_0_3_load_4 | 4 | 0.0021559 | 0.00054031 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3275-8_0_3_load_5 | 5 | 0.0038425 | 0.00096301 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3275-8_0_3_load_7 | 7 | 0.0034428 | 0.00086285 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3275-8_0_3_load_8 | 8 | 0.013597 | 0.0034078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3275-8_0_3_load_9 | 9 | 0.0017544 | 0.0004397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3275-8_0_3_load_10 | 10 | 0.0025994 | 0.00065146 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3275-8_0_3_load_52 | 11 | 0.001877 | 0.00047041 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3275-8_0_3_load_67 | 12 | 0.0097856 | 0.0024525 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3275-8_0_3_load_51 | 13 | 0.0032647 | 0.0008182 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3275-8_0_3_load_68 | 14 | 0.010005 | 0.0025075 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3275-8_0_3_load_11 | 15 | 0.0097065 | 0.0024327 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3275-8_0_3_load_12 | 16 | 0.00089859 | 0.00022521 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3275-8_0_3_load_14 | 17 | 0.010011 | 0.0025091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3275-8_0_3_load_16 | 18 | 0.0012433 | 0.00031159 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3275-8_0_3_load_15 | 19 | 0.0084632 | 0.0021211 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3275-8_0_3_load_18 | 21 | 0.0032932 | 0.00082535 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3275-8_0_3_load_21 | 24 | 0.0029434 | 0.00073768 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3275-8_0_3_load_70 | 25 | 0.0031621 | 0.0007925 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3275-8_0_3_load_71 | 26 | 0.0029964 | 0.00075098 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3275-8_0_3_load_69 | 27 | 0.013893 | 0.003482 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3275-8_0_3_load_73 | 28 | 0.010277 | 0.0025757 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3275-8_0_3_load_74 | 29 | 0.0026626 | 0.00066732 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3275-8_0_3_load_72 | 30 | 0.0014932 | 0.00037422 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3275-8_0_3_load_75 | 31 | 0.004403 | 0.0011035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3275-8_0_3_load_83 | 33 | 0.0033077 | 0.00082899 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3275-8_0_3_load_22 | 34 | 0.00029845 | 7.4799e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3275-8_0_3_load_93 | 35 | 0.00071487 | 0.00017916 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3275-8_0_3_load_91 | 36 | 0.0010978 | 0.00027513 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3275-8_0_3_load_23 | 37 | 0.0011078 | 0.00027763 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3275-8_0_3_load_25 | 39 | 0.0016513 | 0.00041385 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3275-8_0_3_load_26 | 40 | 0.0012293 | 0.00030809 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3275-8_0_3_load_27 | 41 | 0.0012289 | 0.00030799 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3275-8_0_3_load_28 | 42 | 0.0037429 | 0.00093805 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3275-8_0_3_load_54 | 44 | 0.0023341 | 0.00058499 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3275-8_0_3_load_55 | 45 | 0.0014318 | 0.00035884 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3275-8_0_3_load_30 | 46 | 0.0022262 | 0.00055794 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3275-8_0_3_load_32 | 48 | 0.0011997 | 0.00030066 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3275-8_0_3_load_34 | 50 | 0.0012344 | 0.00030937 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3275-8_0_3_load_38 | 52 | 0.0020025 | 0.00050188 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3275-8_0_3_load_37 | 54 | 0.0017699 | 0.00044357 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3275-8_0_3_load_40 | 55 | 0.0014706 | 0.00036857 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3275-8_0_3_load_39 | 56 | 0.0020966 | 0.00052546 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3275-8_0_3_load_46 | 57 | 0.0026645 | 0.00066778 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3275-8_0_3_load_43 | 60 | 0.0030128 | 0.00075508 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3275-8_0_3_load_44 | 61 | 0.0033765 | 0.00084623 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3275-8_0_3_load_45 | 62 | 0.00093226 | 0.00023365 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3275-8_0_3_load_47 | 63 | 0.0055599 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3275-8_0_3_load_48 | 64 | 0.0030335 | 0.00076026 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3275-8_0_3_load_94 | 65 | 0.0010141 | 0.00025415 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3275-8_0_3_load_49 | 66 | 0.0022075 | 0.00055324 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3275-8_0_3_load_50 | 67 | 0.0020588 | 0.00051599 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3275-8_0_3_load_56 | 68 | 0.0019889 | 0.00049847 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3275-8_0_3_load_57 | 69 | 0.0016707 | 0.00041871 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3275-8_0_3_load_59 | 71 | 0.0010192 | 0.00025543 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3275-8_0_3_load_60 | 72 | 0.0011256 | 0.0002821 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3275-8_0_3_load_65 | 73 | 0.00074979 | 0.00018792 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3275-8_0_3_load_90 | 74 | 0.0014043 | 0.00035195 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3275-8_0_3_load_63 | 75 | 0.0014689 | 0.00036815 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3275-8_0_3_load_61 | 76 | 0.0029854 | 0.00074821 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3275-8_0_3_load_62 | 77 | 0.0021113 | 0.00052914 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3275-8_0_3_load_64 | 78 | 0.0022198 | 0.00055633 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3275-8_0_3_load_66 | 79 | 0.0027334 | 0.00068506 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3275-8_0_3_load_76 | 80 | 0.0096222 | 0.0024115 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3275-8_0_3_load_77 | 81 | 0.016561 | 0.0041505 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3275-8_0_3_load_78 | 82 | 0.0032804 | 0.00082216 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3275-8_0_3_load_80 | 84 | 0.0013041 | 0.00032684 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3275-8_0_3_load_81 | 85 | 0.0051091 | 0.0012805 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3275-8_0_3_load_84 | 86 | 0.00083824 | 0.00021008 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3275-8_0_3_load_86 | 87 | 0.0015337 | 0.00038438 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3275-8_0_3_load_87 | 88 | 0.001517 | 0.00038021 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3275-8_0_3_load_89 | 90 | 0.0023054 | 0.00057778 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3275-8_0_3_load_92 | 91 | 0.0020533 | 0.00051462 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3275-8_0_3_line_0 |  | 0 | 1 | 0.030626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3275-8_0_3_line_1 |  | 0 | 2 | 0.025177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3275-8_0_3_line_2 |  | 1 | 3 | 0.025901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3275-8_0_3_line_3 |  | 2 | 4 | 0.0006367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3275-8_0_3_line_4 |  | 3 | 5 | 0.028069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3275-8_0_3_line_5 |  | 4 | 6 | 0.036138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3275-8_0_3_line_6 |  | 6 | 7 | 0.014193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3275-8_0_3_line_7 |  | 6 | 8 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3275-8_0_3_line_8 |  | 7 | 9 | 0.022055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3275-8_0_3_line_9 |  | 8 | 10 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3275-8_0_3_line_10 |  | 9 | 11 | 0.0062444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3275-8_0_3_line_11 |  | 10 | 12 | 0.0096412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3275-8_0_3_line_12 |  | 11 | 13 | 0.0594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3275-8_0_3_line_13 |  | 12 | 14 | 0.015937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3275-8_0_3_line_14 |  | 13 | 41 | 0.0053129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3275-8_0_3_line_15 |  | 14 | 27 | 0.02862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3275-8_0_3_line_16 |  | 15 | 16 | 0.019916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3275-8_0_3_line_17 |  | 16 | 17 | 0.0090083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3275-8_0_3_line_18 |  | 17 | 18 | 0.0036901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3275-8_0_3_line_19 |  | 18 | 21 | 0.026689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3275-8_0_3_line_20 |  | 19 | 20 | 0.022727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3275-8_0_3_line_21 |  | 20 | 22 | 0.048172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3275-8_0_3_line_22 |  | 21 | 23 | 0.017596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3275-8_0_3_line_23 |  | 22 | 24 | 0.001775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3275-8_0_3_line_24 |  | 23 | 25 | 0.036439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3275-8_0_3_line_25 |  | 23 | 26 | 0.024432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3275-8_0_3_line_26 |  | 23 | 27 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3275-8_0_3_line_27 |  | 24 | 32 | 0.039228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3275-8_0_3_line_28 |  | 25 | 28 | 0.005458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3275-8_0_3_line_29 |  | 26 | 29 | 0.029327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3275-8_0_3_line_30 |  | 28 | 80 | 0.012005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3275-8_0_3_line_31 |  | 29 | 64 | 0.0036773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3275-8_0_3_line_32 |  | 30 | 31 | 0.030376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3275-8_0_3_line_33 |  | 31 | 65 | 0.0074078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3275-8_0_3_line_34 |  | 32 | 33 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3275-8_0_3_line_35 |  | 33 | 86 | 0.011702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3275-8_0_3_line_36 |  | 34 | 35 | 0.3763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3275-8_0_3_line_37 |  | 35 | 36 | 0.23417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3275-8_0_3_line_38 |  | 36 | 74 | 0.018832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3275-8_0_3_line_39 |  | 36 | 91 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3275-8_0_3_line_40 |  | 37 | 38 | 0.030557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3275-8_0_3_line_41 |  | 38 | 39 | 0.040198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3275-8_0_3_line_42 |  | 38 | 40 | 0.038459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3275-8_0_3_line_43 |  | 39 | 41 | 0.034542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3275-8_0_3_line_44 |  | 40 | 42 | 0.020121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3275-8_0_3_line_45 |  | 42 | 43 | 0.064459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3275-8_0_3_line_46 |  | 43 | 44 | 0.036417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3275-8_0_3_line_47 |  | 43 | 45 | 0.025908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3275-8_0_3_line_48 |  | 44 | 68 | 0.040281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3275-8_0_3_line_49 |  | 46 | 47 | 0.010421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3275-8_0_3_line_50 |  | 47 | 48 | 0.015361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3275-8_0_3_line_51 |  | 47 | 49 | 0.064366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3275-8_0_3_line_52 |  | 49 | 50 | 0.039068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3275-8_0_3_line_53 |  | 50 | 53 | 0.010245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3275-8_0_3_line_54 |  | 51 | 52 | 0.015131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3275-8_0_3_line_55 |  | 51 | 53 | 0.004211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3275-8_0_3_line_56 |  | 53 | 54 | 0.011249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3275-8_0_3_line_57 |  | 54 | 55 | 0.023149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3275-8_0_3_line_58 |  | 55 | 58 | 0.046055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3275-8_0_3_line_59 |  | 56 | 57 | 0.023666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3275-8_0_3_line_60 |  | 57 | 59 | 0.005457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3275-8_0_3_line_61 |  | 58 | 59 | 0.00374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3275-8_0_3_line_62 |  | 58 | 60 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3275-8_0_3_line_63 |  | 58 | 61 | 0.012787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3275-8_0_3_line_64 |  | 59 | 62 | 0.011632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3275-8_0_3_line_65 |  | 60 | 63 | 0.020684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3275-8_0_3_line_66 |  | 61 | 64 | 0.025101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3275-8_0_3_line_67 |  | 62 | 65 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3275-8_0_3_line_68 |  | 63 | 66 | 0.014889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3275-8_0_3_line_69 |  | 66 | 67 | 0.017381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3275-8_0_3_line_70 |  | 68 | 69 | 0.048071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3275-8_0_3_line_71 |  | 69 | 70 | 0.0065633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3275-8_0_3_line_72 |  | 70 | 71 | 0.041637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3275-8_0_3_line_73 |  | 70 | 72 | 0.0030426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3275-8_0_3_line_74 |  | 71 | 73 | 0.0047345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3275-8_0_3_line_75 |  | 72 | 74 | 0.0080487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3275-8_0_3_line_76 |  | 73 | 75 | 0.012432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3275-8_0_3_line_77 |  | 75 | 76 | 0.0073932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3275-8_0_3_line_78 |  | 76 | 77 | 0.0051736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3275-8_0_3_line_79 |  | 77 | 78 | 0.014279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3275-8_0_3_line_80 |  | 78 | 79 | 0.057092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3275-8_0_3_line_81 |  | 80 | 81 | 0.026645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3275-8_0_3_line_82 |  | 81 | 82 | 0.029186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3275-8_0_3_line_83 |  | 82 | 83 | 0.012777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3275-8_0_3_line_84 |  | 83 | 84 | 0.011964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3275-8_0_3_line_85 |  | 83 | 85 | 0.029914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3275-8_0_3_line_86 |  | 85 | 86 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3275-8_0_3_line_87 |  | 87 | 88 | 0.039647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3275-8_0_3_line_88 |  | 88 | 89 | 0.025355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3275-8_0_3_line_89 |  | 89 | 90 | 0.018658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3275-8_0_3_line_90 |  | 90 | 91 | 0.027286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3275-8_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 92 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2755174.7279 | 1221175.3744 | 2755160.5064 | 1221202.4986
1 | 2755174.7279 | 1221175.3744 | 2755176.4932 | 1221172.0075 | 2755185.3796 | 1221152.567
2 | 2755160.5064 | 1221202.4986 | 2755155.9401 | 1221211.2078 | 2755147.5403 | 1221224.9042
3 | 2755185.3796 | 1221152.567 | 2755185.6443 | 1221151.988
4 | 2755126.9036 | 1221243.5042 | 2755137.8934 | 1221236.0937 | 2755146.2128 | 1221227.0688 | 2755147.5403 | 1221224.9042
5 | 2755201.2045 | 1221119.4924 | 2755199.3341 | 1221125.1377 | 2755193.8653 | 1221134.0032 | 2755185.6443 | 1221151.988
6 | 2755201.2045 | 1221119.4924 | 2755189.084 | 1221126.878
7 | 2755201.2045 | 1221119.4924 | 2755219.6826 | 1221106.5618
8 | 2755189.084 | 1221126.878 | 2755170.2497 | 1221138.3546
9 | 2755219.6826 | 1221106.5618 | 2755224.4777 | 1221103.2062 | 2755228.8445 | 1221100.8635
10 | 2755164.9173 | 1221141.6039 | 2755170.2497 | 1221138.3546
11 | 2755237.3403 | 1221096.3056 | 2755228.8445 | 1221100.8635
12 | 2755118.0927 | 1221177.2369 | 2755127.6334 | 1221173.3915 | 2755140.2764 | 1221163.3228 | 2755160.0922 | 1221144.5441 | 2755164.9173 | 1221141.6039
13 | 2755237.3403 | 1221096.3056 | 2755240.8064 | 1221094.446 | 2755251.6836 | 1221089.3694
14 | 2755118.0927 | 1221177.2369 | 2755113.165 | 1221179.223
15 | 2755251.6836 | 1221089.3694 | 2755256.8515 | 1221086.9574 | 2755275.5581 | 1221085.3992 | 2755279.6965 | 1221085.649
16 | 2755369.3678 | 1221091.2582 | 2755349.4519 | 1221091.379
17 | 2755340.4438 | 1221091.4337 | 2755349.4519 | 1221091.379
18 | 2755340.4438 | 1221091.4337 | 2755336.7571 | 1221091.456 | 2755336.7538 | 1221091.4556
19 | 2755310.2369 | 1221088.4313 | 2755336.7538 | 1221091.4556
20 | 2755419.7977 | 1221015.731 | 2755419.8446 | 1221038.4584
21 | 2755404.5243 | 1220970.4022 | 2755411.6822 | 1220984.0793 | 2755416.3856 | 1220998.1481 | 2755419.7977 | 1221015.731
22 | 2755292.7547 | 1221086.4374 | 2755310.2369 | 1221088.4313
23 | 2755404.5243 | 1220970.4022 | 2755403.6747 | 1220968.8438
24 | 2755292.7547 | 1221086.4374 | 2755295.9079 | 1221063.0538 | 2755296.567 | 1221050.2269
25 | 2755292.7547 | 1221086.4374 | 2755292.005 | 1221094.2249 | 2755290.0493 | 1221110.7178
26 | 2755292.7547 | 1221086.4374 | 2755279.6965 | 1221085.649
27 | 2755383.4896 | 1220935.2214 | 2755394.6127 | 1220953.1613 | 2755398.9029 | 1220960.0906 | 2755401.5108 | 1220964.8741 | 2755403.6747 | 1220968.8438
28 | 2755296.847 | 1221044.7761 | 2755296.567 | 1221050.2269
29 | 2755290.0493 | 1221110.7178 | 2755286.596 | 1221139.8404
30 | 2755296.847 | 1221044.7761 | 2755297.4631 | 1221032.7864
31 | 2755286.596 | 1221139.8404 | 2755286.163 | 1221143.4922
32 | 2755289.9419 | 1221146.9573 | 2755293.1679 | 1221116.7529
33 | 2755289.9419 | 1221146.9573 | 2755289.1552 | 1221154.3232
34 | 2755383.4896 | 1220935.2214 | 2755358.9425 | 1220945.0057
35 | 2755358.9425 | 1220945.0057 | 2755348.0721 | 1220949.3386
36 | 2754921.2987 | 1220856.5101 | 2754545.8088 | 1220831.8004
37 | 2755136.7114 | 1220948.3341 | 2754921.2987 | 1220856.5101
38 | 2755130.3586 | 1220966.0625 | 2755136.7114 | 1220948.3341
39 | 2755148.2151 | 1220928.4773 | 2755143.7988 | 1220937.9536 | 2755136.7114 | 1220948.3341 | 2755136.7114 | 1220948.3341
40 | 2755045.1737 | 1221208.988 | 2755038.855 | 1221216.686 | 2755029.5231 | 1221235.049
41 | 2755045.1737 | 1221208.988 | 2755053.0031 | 1221202.7416 | 2755063.5246 | 1221197.1771 | 2755075.4501 | 1221192.2053 | 2755080.5409 | 1221190.531
42 | 2755045.1737 | 1221208.988 | 2755045.4129 | 1221202.7218 | 2755053.0809 | 1221182.8589 | 2755058.0626 | 1221173.1676
43 | 2755113.165 | 1221179.223 | 2755105.3712 | 1221182.3644 | 2755080.5409 | 1221190.531
44 | 2755058.0626 | 1221173.1676 | 2755067.2615 | 1221155.2719
45 | 2755098.8933 | 1221099.1866 | 2755084.5697 | 1221121.6007 | 2755067.2615 | 1221155.2719
46 | 2755098.8933 | 1221099.1866 | 2755095.368 | 1221093.1893 | 2755107.2755 | 1221066.2423
47 | 2755123.7397 | 1221092.1383 | 2755108.9718 | 1221094.9007 | 2755098.8933 | 1221099.1866
48 | 2755107.2755 | 1221066.2423 | 2755109.4524 | 1221061.3159 | 2755124.2051 | 1221034.0976 | 2755125.9474 | 1221030.569
49 | 2755226.6853 | 1221262.7203 | 2755223.5846 | 1221257.0454 | 2755225.219 | 1221253.4446
50 | 2755226.6853 | 1221262.7203 | 2755223.5846 | 1221257.0454 | 2755226.4033 | 1221250.8354 | 2755228.3002 | 1221251.6745
51 | 2755226.6853 | 1221262.7203 | 2755214.4695 | 1221292.2066 | 2755244.4634 | 1221304.5885
52 | 2755244.4634 | 1221304.5885 | 2755256.8518 | 1221271.9817 | 2755258.313 | 1221268.0576
53 | 2755261.8881 | 1221258.4562 | 2755258.313 | 1221268.0576
54 | 2755265.7611 | 1221260.1365 | 2755279.6445 | 1221266.154
55 | 2755261.8881 | 1221258.4562 | 2755265.7611 | 1221260.1365
56 | 2755261.8881 | 1221258.4562 | 2755266.0215 | 1221247.9938
57 | 2755266.0215 | 1221247.9938 | 2755268.7071 | 1221241.196 | 2755274.0352 | 1221226.2791
58 | 2755281.7972 | 1221181.1269 | 2755278.7968 | 1221210.8758 | 2755277.7395 | 1221215.9084 | 2755274.0352 | 1221226.2791
59 | 2755282.7086 | 1221210.4886 | 2755282.7086 | 1221210.4886 | 2755285.0011 | 1221186.9337
60 | 2755285.5297 | 1221181.5023 | 2755285.0011 | 1221186.9337
61 | 2755281.7972 | 1221181.1269 | 2755285.5297 | 1221181.5023
62 | 2755281.7972 | 1221181.1269 | 2755262.6952 | 1221179.1561
63 | 2755281.7972 | 1221181.1269 | 2755282.3501 | 1221175.6474 | 2755283.2073 | 1221168.4184
64 | 2755285.5297 | 1221181.5023 | 2755287.0764 | 1221169.9739
65 | 2755262.6952 | 1221179.1561 | 2755242.1209 | 1221177.0334 | 2755242.1209 | 1221177.0334
66 | 2755286.163 | 1221143.4922 | 2755283.2073 | 1221168.4184
67 | 2755287.0764 | 1221169.9739 | 2755289.073 | 1221155.0929 | 2755289.1552 | 1221154.3232
68 | 2755242.1209 | 1221177.0334 | 2755240.8056 | 1221178.278 | 2755238.4787 | 1221180.764 | 2755235.8471 | 1221190.0724
69 | 2755235.8471 | 1221190.0724 | 2755231.1187 | 1221206.7979
70 | 2755125.9474 | 1221030.569 | 2755130.44 | 1221021.4707 | 2755131.8053 | 1221008.1163 | 2755132.1741 | 1221001.8313 | 2755130.4922 | 1220984.5273 | 2755130.516 | 1220983.7089
71 | 2755130.7073 | 1220977.1484 | 2755130.516 | 1220983.7089
72 | 2755130.7073 | 1220977.1484 | 2755137.1773 | 1220989.5726 | 2755150.2855 | 1221010.0105 | 2755153.0479 | 1221011.9038
73 | 2755130.7073 | 1220977.1484 | 2755130.6117 | 1220974.1072
74 | 2755156.9532 | 1221014.5804 | 2755153.0479 | 1221011.9038
75 | 2755130.6117 | 1220974.1072 | 2755130.3586 | 1220966.0625 | 2755130.3586 | 1220966.0625
76 | 2755167.8239 | 1221020.4955 | 2755161.6883 | 1221017.8257 | 2755156.9532 | 1221014.5804
77 | 2755174.6032 | 1221023.4453 | 2755167.8239 | 1221020.4955
78 | 2755174.6032 | 1221023.4453 | 2755175.5815 | 1221023.871 | 2755179.6786 | 1221023.5904
79 | 2755179.6786 | 1221023.5904 | 2755191.6955 | 1221022.7676 | 2755193.8634 | 1221022.2267
80 | 2755193.8634 | 1221022.2267 | 2755199.5654 | 1221020.8042 | 2755203.9026 | 1221015.1676 | 2755205.852 | 1221010.8589 | 2755214.1641 | 1221008.2398 | 2755225.076 | 1221003.442 | 2755229.8245 | 1220997.1711 | 2755232.6465 | 1220990.5498 | 2755233.0096 | 1220986.8922
81 | 2755297.4631 | 1221032.7864 | 2755298.3606 | 1221015.3187 | 2755299.9147 | 1221006.2973
82 | 2755299.9147 | 1221006.2973 | 2755304.8694 | 1220977.5354
83 | 2755307.0385 | 1220964.9435 | 2755304.8694 | 1220977.5354
84 | 2755307.0385 | 1220964.9435 | 2755307.89 | 1220953.0093
85 | 2755307.0385 | 1220964.9435 | 2755322.3451 | 1220959.5933 | 2755335.071 | 1220954.5208
86 | 2755335.071 | 1220954.5208 | 2755348.0721 | 1220949.3386
87 | 2755244.0501 | 1220902.8123 | 2755216.0342 | 1220901.3244 | 2755204.4433 | 1220901.1742
88 | 2755179.1006 | 1220900.5614 | 2755185.5055 | 1220900.9286 | 2755204.4433 | 1220901.1742
89 | 2755179.1006 | 1220900.5614 | 2755166.3417 | 1220901.9525 | 2755161.5599 | 1220905.2765
90 | 2755161.5599 | 1220905.2765 | 2755157.8141 | 1220907.8802 | 2755148.2151 | 1220928.4773

## bus_geodata
| x | y | coords
0 | 2755174.7279 | 1221175.3744
1 | 2755160.5064 | 1221202.4986
2 | 2755185.3796 | 1221152.567
3 | 2755147.5403 | 1221224.9042
4 | 2755185.6443 | 1221151.988
5 | 2755126.9036 | 1221243.5042
6 | 2755201.2045 | 1221119.4924
7 | 2755189.084 | 1221126.878
8 | 2755219.6826 | 1221106.5618
9 | 2755170.2497 | 1221138.3546
10 | 2755228.8445 | 1221100.8635
11 | 2755164.9173 | 1221141.6039
12 | 2755237.3403 | 1221096.3056
13 | 2755118.0927 | 1221177.2369
14 | 2755251.6836 | 1221089.3694
15 | 2755369.3678 | 1221091.2582
16 | 2755349.4519 | 1221091.379
17 | 2755340.4438 | 1221091.4337
18 | 2755336.7538 | 1221091.4556
19 | 2755419.8446 | 1221038.4584
20 | 2755419.7978 | 1221015.731
21 | 2755310.2369 | 1221088.4313
22 | 2755404.5243 | 1220970.4022
23 | 2755292.7547 | 1221086.4374
24 | 2755403.6747 | 1220968.8438
25 | 2755296.567 | 1221050.2269
26 | 2755290.0493 | 1221110.7178
27 | 2755279.6965 | 1221085.649
28 | 2755296.847 | 1221044.7761
29 | 2755286.596 | 1221139.8404
30 | 2755293.1679 | 1221116.7529
31 | 2755289.9419 | 1221146.9573
32 | 2755383.4896 | 1220935.2214
33 | 2755358.9425 | 1220945.0057
34 | 2754545.8088 | 1220831.8004
35 | 2754921.2987 | 1220856.5101
36 | 2755136.7114 | 1220948.3341
37 | 2755029.5231 | 1221235.049
38 | 2755045.1737 | 1221208.988
39 | 2755080.5409 | 1221190.531
40 | 2755058.0626 | 1221173.1676
41 | 2755113.165 | 1221179.223
42 | 2755067.2615 | 1221155.2719
43 | 2755098.8933 | 1221099.1866
44 | 2755107.2755 | 1221066.2423
45 | 2755123.7397 | 1221092.1383
46 | 2755225.219 | 1221253.4446
47 | 2755226.6853 | 1221262.7203
48 | 2755228.3002 | 1221251.6745
49 | 2755244.4634 | 1221304.5885
50 | 2755258.313 | 1221268.0576
51 | 2755265.7611 | 1221260.1365
52 | 2755279.6445 | 1221266.154
53 | 2755261.8881 | 1221258.4562
54 | 2755266.0215 | 1221247.9938
55 | 2755274.0352 | 1221226.2791
56 | 2755282.7086 | 1221210.4886
57 | 2755285.0011 | 1221186.9337
58 | 2755281.7972 | 1221181.1269
59 | 2755285.5297 | 1221181.5023
60 | 2755262.6952 | 1221179.1561
61 | 2755283.2073 | 1221168.4184
62 | 2755287.0764 | 1221169.9739
63 | 2755242.1209 | 1221177.0334
64 | 2755286.163 | 1221143.4922
65 | 2755289.1552 | 1221154.3232
66 | 2755235.8471 | 1221190.0724
67 | 2755231.1187 | 1221206.7979
68 | 2755125.9474 | 1221030.569
69 | 2755130.516 | 1220983.7089
70 | 2755130.7073 | 1220977.1484
71 | 2755153.0479 | 1221011.9038
72 | 2755130.6117 | 1220974.1072
73 | 2755156.9532 | 1221014.5804
74 | 2755130.3586 | 1220966.0625
75 | 2755167.8239 | 1221020.4955
76 | 2755174.6032 | 1221023.4453
77 | 2755179.6786 | 1221023.5904
78 | 2755193.8634 | 1221022.2267
79 | 2755233.0096 | 1220986.8922
80 | 2755297.4631 | 1221032.7864
81 | 2755299.9147 | 1221006.2973
82 | 2755304.8694 | 1220977.5354
83 | 2755307.0385 | 1220964.9435
84 | 2755307.89 | 1220953.0093
85 | 2755335.071 | 1220954.5208
86 | 2755348.0721 | 1220949.3386
87 | 2755244.0501 | 1220902.8123
88 | 2755204.4433 | 1220901.1742
89 | 2755179.1006 | 1220900.5614
90 | 2755161.5599 | 1220905.2765
91 | 2755148.2151 | 1220928.4773
92 | 2755251.6836 | 1221089.3694

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1