## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3315-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3315-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3315-3_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3315-3_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3315-3_0_3_node_13 | 0.4 | n |  | TRUE
5 | bus_LV_3315-3_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_3315-3_0_3_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_3315-3_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_3315-3_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_3315-3_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3315-3_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_3315-3_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3315-3_0_3_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_3315-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3315-3_0_3_node_79 | 0.4 | n |  | TRUE
15 | bus_LV_3315-3_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_3315-3_0_3_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_3315-3_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3315-3_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_3315-3_0_3_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3315-3_0_3_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_3315-3_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_3315-3_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_3315-3_0_3_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_3315-3_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3315-3_0_3_node_72 | 0.4 | n |  | TRUE
26 | bus_LV_3315-3_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_3315-3_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3315-3_0_3_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_3315-3_0_3_node_76 | 0.4 | n |  | TRUE
30 | bus_LV_3315-3_0_3_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_3315-3_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_3315-3_0_3_node_55 | 0.4 | n |  | TRUE
33 | bus_LV_3315-3_0_3_node_53 | 0.4 | n |  | TRUE
34 | bus_LV_3315-3_0_3_node_62 | 0.4 | n |  | TRUE
35 | bus_LV_3315-3_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_3315-3_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3315-3_0_3_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_3315-3_0_3_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_3315-3_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3315-3_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_3315-3_0_3_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_3315-3_0_3_node_26 | 0.4 | n |  | TRUE
43 | bus_LV_3315-3_0_3_node_27 | 0.4 | n |  | TRUE
44 | bus_LV_3315-3_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_3315-3_0_3_node_69 | 0.4 | n |  | TRUE
46 | bus_LV_3315-3_0_3_node_28 | 0.4 | n |  | TRUE
47 | bus_LV_3315-3_0_3_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_3315-3_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3315-3_0_3_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_3315-3_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3315-3_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3315-3_0_3_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_3315-3_0_3_node_70 | 0.4 | n |  | TRUE
54 | bus_LV_3315-3_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_3315-3_0_3_node_30 | 0.4 | n |  | TRUE
56 | bus_LV_3315-3_0_3_node_31 | 0.4 | n |  | TRUE
57 | bus_LV_3315-3_0_3_node_32 | 0.4 | n |  | TRUE
58 | bus_LV_3315-3_0_3_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_3315-3_0_3_node_41 | 0.4 | n |  | TRUE
60 | bus_LV_3315-3_0_3_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_3315-3_0_3_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3315-3_0_3_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3315-3_0_3_node_52 | 0.4 | n |  | TRUE
64 | bus_LV_3315-3_0_3_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_3315-3_0_3_node_59 | 0.4 | n |  | TRUE
66 | bus_LV_3315-3_0_3_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_3315-3_0_3_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_3315-3_0_3_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_3315-3_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3315-3_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3315-3_0_3_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_3315-3_0_3_node_65 | 0.4 | n |  | TRUE
73 | bus_LV_3315-3_0_3_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_3315-3_0_3_node_75 | 0.4 | n |  | TRUE
75 | bus_LV_3315-3_0_3_node_77 | 0.4 | n |  | TRUE
76 | bus_LV_3315-3_0_3_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_3315-3_0_3_node_88 | 0.4 | n |  | TRUE
78 | bus_LV_3315-3_0_3_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_3315-3_0_3_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_3315-3_0_3_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_3315-3_0_3_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3315-3_0_3_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_3315-3_0_3_node_85 | 0.4 | n |  | TRUE
84 | bus_MV_20_1_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3315-3_0_3_load_0 | 0 | 0.0042903 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3315-3_0_3_load_13 | 4 | 0.0015911 | 0.00039877 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3315-3_0_3_load_11 | 5 | 0.0021651 | 0.00054262 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3315-3_0_3_load_73 | 6 | 0.013419 | 0.003363 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3315-3_0_3_load_17 | 12 | 0.0015327 | 0.00038413 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3315-3_0_3_load_79 | 14 | 0.001282 | 0.0003213 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3315-3_0_3_load_34 | 16 | 0.0025099 | 0.00062904 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3315-3_0_3_load_37 | 18 | 0.029882 | 0.0074892 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3315-3_0_3_load_44 | 21 | 0.015179 | 0.0038041 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3315-3_0_3_load_57 | 24 | 0.013372 | 0.0033513 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3315-3_0_3_load_72 | 25 | 0.0040389 | 0.0010122 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3315-3_0_3_load_45 | 26 | 0.01478 | 0.0037042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3315-3_0_3_load_18 | 27 | 0.0013544 | 0.00033945 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3315-3_0_3_load_15 | 28 | 0.0054652 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3315-3_0_3_load_35 | 30 | 0.00053554 | 0.00013422 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3315-3_0_3_load_53 | 33 | 0.001072 | 0.00026868 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3315-3_0_3_load_62 | 34 | 0.0039511 | 0.00099024 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3315-3_0_3_load_54 | 35 | 0.00044022 | 0.00011033 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3315-3_0_3_load_19 | 36 | 0.0050929 | 0.0012764 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3315-3_0_3_load_29 | 39 | 0.00055607 | 0.00013936 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3315-3_0_3_load_36 | 40 | 0.00046853 | 0.00011742 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3315-3_0_3_load_48 | 41 | 0.0026615 | 0.00066703 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3315-3_0_3_load_67 | 44 | 0.003157 | 0.00079122 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3315-3_0_3_load_69 | 45 | 0.0014467 | 0.00036259 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3315-3_0_3_load_28 | 46 | 0.00094827 | 0.00023766 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3315-3_0_3_load_89 | 47 | 0.0044962 | 0.0011269 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3315-3_0_3_load_42 | 48 | 0.02903 | 0.0072756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3315-3_0_3_load_39 | 50 | 0.029312 | 0.0073463 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3315-3_0_3_load_49 | 51 | 0.0036861 | 0.00092383 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3315-3_0_3_load_68 | 52 | 0.014741 | 0.0036946 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3315-3_0_3_load_70 | 53 | 0.0029058 | 0.00072826 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3315-3_0_3_load_66 | 54 | 0.0049527 | 0.0012413 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3315-3_0_3_load_32 | 57 | 0.001006 | 0.00025214 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3315-3_0_3_load_33 | 58 | 0.00091282 | 0.00022877 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3315-3_0_3_load_50 | 61 | 0.0011847 | 0.00029692 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3315-3_0_3_load_51 | 62 | 0.0083905 | 0.0021028 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3315-3_0_3_load_52 | 63 | 0.0039354 | 0.00098631 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3315-3_0_3_load_71 | 64 | 0.0057764 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3315-3_0_3_load_58 | 66 | 0.0078339 | 0.0019634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3315-3_0_3_load_64 | 70 | 0.0083617 | 0.0020956 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3315-3_0_3_load_90 | 71 | 0.007012 | 0.0017574 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3315-3_0_3_load_65 | 72 | 0.005689 | 0.0014258 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3315-3_0_3_load_74 | 73 | 0.00063016 | 0.00015793 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3315-3_0_3_load_75 | 74 | 0.0019511 | 0.00048899 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3315-3_0_3_load_77 | 75 | 0.0018027 | 0.0004518 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3315-3_0_3_load_78 | 76 | 0.0011012 | 0.00027598 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3315-3_0_3_load_88 | 77 | 0.0020815 | 0.00052168 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3315-3_0_3_load_87 | 78 | 0.0001874 | 4.6967e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3315-3_0_3_load_80 | 79 | 0.0019467 | 0.00048789 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3315-3_0_3_load_81 | 80 | 0.00068794 | 0.00017242 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3315-3_0_3_load_85 | 83 | 0.00051676 | 0.00012951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3315-3_0_3_line_0 |  | 0 | 1 | 0.012846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3315-3_0_3_line_1 |  | 1 | 2 | 0.044982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3315-3_0_3_line_2 |  | 1 | 3 | 0.032423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3315-3_0_3_line_3 |  | 2 | 4 | 0.022721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3315-3_0_3_line_4 |  | 2 | 5 | 0.0063624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3315-3_0_3_line_5 |  | 3 | 6 | 0.015916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3315-3_0_3_line_6 |  | 4 | 19 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3315-3_0_3_line_7 |  | 6 | 7 | 0.0334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3315-3_0_3_line_8 |  | 7 | 8 | 0.050115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3315-3_0_3_line_9 |  | 8 | 26 | 0.0067191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3315-3_0_3_line_10 |  | 8 | 17 | 0.010587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3315-3_0_3_line_11 |  | 9 | 10 | 0.098407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3315-3_0_3_line_12 |  | 9 | 11 | 0.01845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3315-3_0_3_line_13 |  | 9 | 12 | 0.021108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3315-3_0_3_line_14 |  | 10 | 13 | 0.062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3315-3_0_3_line_15 |  | 10 | 14 | 0.020275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3315-3_0_3_line_16 |  | 11 | 27 | 0.015952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3315-3_0_3_line_17 |  | 11 | 28 | 0.026812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3315-3_0_3_line_18 |  | 13 | 15 | 0.054695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3315-3_0_3_line_19 |  | 13 | 16 | 0.026008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3315-3_0_3_line_20 |  | 14 | 29 | 0.016479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3315-3_0_3_line_21 |  | 15 | 18 | 0.0027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3315-3_0_3_line_22 |  | 16 | 30 | 0.029529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3315-3_0_3_line_23 |  | 17 | 18 | 0.021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3315-3_0_3_line_24 |  | 19 | 24 | 0.022748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3315-3_0_3_line_25 |  | 19 | 32 | 0.005948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3315-3_0_3_line_26 |  | 20 | 21 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3315-3_0_3_line_27 |  | 20 | 22 | 0.020023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3315-3_0_3_line_28 |  | 21 | 59 | 0.018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3315-3_0_3_line_29 |  | 22 | 41 | 0.014423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3315-3_0_3_line_30 |  | 23 | 24 | 0.0096657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3315-3_0_3_line_31 |  | 23 | 25 | 0.010871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3315-3_0_3_line_32 |  | 25 | 64 | 0.017879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3315-3_0_3_line_33 |  | 26 | 59 | 0.017334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3315-3_0_3_line_34 |  | 29 | 76 | 0.015373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3315-3_0_3_line_35 |  | 29 | 73 | 0.0098699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3315-3_0_3_line_36 |  | 30 | 40 | 0.027547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3315-3_0_3_line_37 |  | 31 | 32 | 0.027178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3315-3_0_3_line_38 |  | 31 | 33 | 0.016122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3315-3_0_3_line_39 |  | 32 | 34 | 0.020552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3315-3_0_3_line_40 |  | 33 | 35 | 0.012292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3315-3_0_3_line_41 |  | 34 | 65 | 0.0068655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3315-3_0_3_line_42 |  | 36 | 37 | 0.020743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3315-3_0_3_line_43 |  | 37 | 38 | 0.044766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3315-3_0_3_line_44 |  | 38 | 39 | 0.020459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3315-3_0_3_line_45 |  | 38 | 40 | 0.012598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3315-3_0_3_line_46 |  | 39 | 46 | 0.0074311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3315-3_0_3_line_47 |  | 41 | 51 | 0.0024662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3315-3_0_3_line_48 |  | 42 | 43 | 0.048745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3315-3_0_3_line_49 |  | 42 | 44 | 0.0068468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3315-3_0_3_line_50 |  | 43 | 45 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3315-3_0_3_line_51 |  | 44 | 54 | 0.013705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3315-3_0_3_line_52 |  | 46 | 55 | 0.009258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3315-3_0_3_line_53 |  | 47 | 48 | 0.0012228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3315-3_0_3_line_54 |  | 48 | 49 | 0.015467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3315-3_0_3_line_55 |  | 49 | 50 | 0.014394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3315-3_0_3_line_56 |  | 50 | 59 | 0.013164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3315-3_0_3_line_57 |  | 51 | 60 | 0.013612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3315-3_0_3_line_58 |  | 52 | 53 | 0.022682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3315-3_0_3_line_59 |  | 53 | 64 | 0.0090426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3315-3_0_3_line_60 |  | 54 | 72 | 0.037822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3315-3_0_3_line_61 |  | 55 | 56 | 0.014454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3315-3_0_3_line_62 |  | 56 | 57 | 0.022956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3315-3_0_3_line_63 |  | 57 | 58 | 0.00021948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3315-3_0_3_line_64 |  | 60 | 61 | 0.016001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3315-3_0_3_line_65 |  | 60 | 62 | 0.012166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3315-3_0_3_line_66 |  | 62 | 63 | 0.0073288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3315-3_0_3_line_67 |  | 65 | 68 | 0.00451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3315-3_0_3_line_68 |  | 65 | 66 | 0.025421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3315-3_0_3_line_69 |  | 66 | 67 | 0.027264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3315-3_0_3_line_70 |  | 67 | 69 | 0.043475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3315-3_0_3_line_71 |  | 68 | 70 | 0.025065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3315-3_0_3_line_72 |  | 69 | 71 | 0.021583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3315-3_0_3_line_73 |  | 70 | 72 | 0.0014042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3315-3_0_3_line_74 |  | 73 | 74 | 0.001514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3315-3_0_3_line_75 |  | 74 | 75 | 0.013493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3315-3_0_3_line_76 |  | 76 | 77 | 0.010758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3315-3_0_3_line_77 |  | 77 | 78 | 0.0068413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3315-3_0_3_line_78 |  | 78 | 82 | 0.010593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3315-3_0_3_line_79 |  | 79 | 80 | 0.014676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3315-3_0_3_line_80 |  | 80 | 81 | 0.028209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3315-3_0_3_line_81 |  | 81 | 82 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3315-3_0_3_line_82 |  | 82 | 83 | 0.017749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3315-3_0_3_trafo_38 | 0.63 MVA 20/0.4 kV | 84 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2721742.3686 | 1224222.4057 | 2721729.7079 | 1224220.2337
1 | 2721742.3686 | 1224222.4057 | 2721742.1453 | 1224218.865 | 2721741.8954 | 1224214.7678 | 2721742.7855 | 1224205.7455 | 2721751.6403 | 1224178.9055
2 | 2721742.3686 | 1224222.4057 | 2721749.4385 | 1224243.4892 | 2721751.6089 | 1224253.4414
3 | 2721751.6403 | 1224178.9055 | 2721758.8195 | 1224180.9428 | 2721772.3317 | 1224188.0316
4 | 2721751.6403 | 1224178.9055 | 2721753.5613 | 1224172.84
5 | 2721751.6089 | 1224253.4414 | 2721744.9604 | 1224253.2719 | 2721739.6562 | 1224254.8758 | 2721736.2708 | 1224256.4268
6 | 2721785.6625 | 1224195.0252 | 2721772.3317 | 1224188.0316
7 | 2721714.3138 | 1224280.8893 | 2721716.7826 | 1224276.2583 | 2721722.153 | 1224268.8289 | 2721727.3409 | 1224262.9081 | 2721733.5921 | 1224257.654 | 2721736.2708 | 1224256.4268
8 | 2721714.3138 | 1224280.8893 | 2721726.1313 | 1224289.0262 | 2721736.9641 | 1224296.3535 | 2721745.9866 | 1224302.8209 | 2721751.1465 | 1224309.0091 | 2721753.3248 | 1224311.9004
9 | 2721753.3248 | 1224311.9004 | 2721756.8914 | 1224316.6326 | 2721757.419 | 1224317.2251
10 | 2721747.6503 | 1224320.8469 | 2721753.3248 | 1224311.9004
11 | 2721608.0401 | 1224269.9086 | 2721632.9098 | 1224307.413 | 2721644.6199 | 1224321.1742 | 2721651.8607 | 1224327.2381 | 2721647.9964 | 1224332.2408 | 2721645.1475 | 1224336.1746 | 2721646.4904 | 1224337.6365 | 2721647.3614 | 1224339.9228 | 2721646.6521 | 1224342.7105 | 2721645.4067 | 1224345.0091 | 2721646.9828 | 1224349.5338
12 | 2721624.9508 | 1224262.6595 | 2721616.3556 | 1224265.3304 | 2721609.6212 | 1224268.9958 | 2721608.0401 | 1224269.9086
13 | 2721608.0401 | 1224269.9086 | 2721596.2643 | 1224252.3907
14 | 2721646.9828 | 1224349.5338 | 2721657.3649 | 1224338.1036 | 2721664.5935 | 1224341.7987 | 2721675.5602 | 1224344.803 | 2721680.6561 | 1224345.9636 | 2721682.7182 | 1224345.6388 | 2721688.5745 | 1224364.5068
15 | 2721646.9828 | 1224349.5338 | 2721632.9474 | 1224364.1651
16 | 2721640.3516 | 1224265.8211 | 2721633.0859 | 1224262.8258 | 2721624.9508 | 1224262.6595
17 | 2721624.9508 | 1224262.6595 | 2721611.4982 | 1224249.1629 | 2721607.8158 | 1224242.3372
18 | 2721688.5745 | 1224364.5068 | 2721695.5662 | 1224361.236 | 2721706.3267 | 1224353.5611 | 2721713.7908 | 1224356.1157 | 2721718.385 | 1224354.7419 | 2721727.6177 | 1224349.4487 | 2721733.9863 | 1224341.0501
19 | 2721688.5745 | 1224364.5068 | 2721690.6523 | 1224371.199 | 2721694.7641 | 1224382.6476 | 2721697.7919 | 1224388.7768
20 | 2721621.5399 | 1224376.057 | 2721632.9474 | 1224364.1651
21 | 2721733.9863 | 1224341.0501 | 2721735.6713 | 1224338.828
22 | 2721710.8706 | 1224415.2514 | 2721697.7919 | 1224388.7768
23 | 2721747.6503 | 1224320.8469 | 2721739.209 | 1224334.1626 | 2721735.6713 | 1224338.828
24 | 2721785.6625 | 1224195.0252 | 2721784.0326 | 1224199.4287 | 2721777.8414 | 1224216.3864
25 | 2721787.6809 | 1224189.4288 | 2721785.6625 | 1224195.0252
26 | 2721799.2433 | 1224313.7412 | 2721786.5983 | 1224322.6896 | 2721784.9882 | 1224323.392
27 | 2721799.2433 | 1224313.7412 | 2721808.3931 | 1224321.39 | 2721814.6827 | 1224326.4894
28 | 2721768.338 | 1224330.6556 | 2721784.9882 | 1224323.392
29 | 2721814.6827 | 1224326.4894 | 2721824.7464 | 1224316.1583
30 | 2721774.5266 | 1224225.4659 | 2721777.8414 | 1224216.3864
31 | 2721774.5266 | 1224225.4659 | 2721781.9282 | 1224233.4284
32 | 2721794.1011 | 1224246.5237 | 2721781.9282 | 1224233.4284
33 | 2721768.338 | 1224330.6556 | 2721764.2538 | 1224324.9009 | 2721757.419 | 1224317.2251
34 | 2721621.5399 | 1224376.057 | 2721610.8993 | 1224387.1519
35 | 2721621.5399 | 1224376.057 | 2721628.4691 | 1224383.0856
36 | 2721710.8706 | 1224415.2514 | 2721723.0715 | 1224439.9489
37 | 2721787.6809 | 1224189.4288 | 2721789.3473 | 1224186.2048 | 2721796.6894 | 1224171.7658 | 2721800.7292 | 1224165.6103
38 | 2721800.7292 | 1224165.6103 | 2721793.0869 | 1224161.0058 | 2721788.308 | 1224155.8373 | 2721788.235 | 1224155.6944
39 | 2721787.6809 | 1224189.4288 | 2721805.3354 | 1224199.9512
40 | 2721788.235 | 1224155.6944 | 2721785.3764 | 1224150.095 | 2721781.4136 | 1224145.5837
41 | 2721811.2328 | 1224203.4662 | 2721805.3354 | 1224199.9512
42 | 2721761.0444 | 1224443.5177 | 2721758.4636 | 1224431.3887 | 2721758.3497 | 1224424.7256 | 2721758.3689 | 1224423.0468
43 | 2721729.3882 | 1224450.8316 | 2721731.0337 | 1224453.4451 | 2721738.6163 | 1224462.8076 | 2721749.6468 | 1224452.6807 | 2721755.0345 | 1224447.7315 | 2721761.0444 | 1224443.5177
44 | 2721729.3882 | 1224450.8316 | 2721721.3206 | 1224454.425 | 2721710.3712 | 1224458.3379
45 | 2721729.3882 | 1224450.8316 | 2721725.003 | 1224443.8587 | 2721723.0715 | 1224439.9489
46 | 2721710.3712 | 1224458.3379 | 2721703.3735 | 1224460.8385
47 | 2721824.7464 | 1224316.1583 | 2721826.4673 | 1224314.3917
48 | 2721878.8725 | 1224259.1168 | 2721891.7323 | 1224275.9712 | 2721912.9284 | 1224258.3802
49 | 2721878.8725 | 1224259.1168 | 2721873.111 | 1224255.4176
50 | 2721912.9284 | 1224258.3802 | 2721916.7529 | 1224239.0435
51 | 2721873.111 | 1224255.4176 | 2721861.5788 | 1224248.0134
52 | 2721694.6554 | 1224463.954 | 2721703.3735 | 1224460.8385
53 | 2721785.9294 | 1224370.8248 | 2721785.4945 | 1224369.682
54 | 2721780.7404 | 1224355.0397 | 2721781.1449 | 1224358.2505 | 2721785.4945 | 1224369.682
55 | 2721780.7404 | 1224355.0397 | 2721779.7804 | 1224351.1726 | 2721776.6772 | 1224343.8144 | 2721775.424 | 1224341.7401
56 | 2721768.338 | 1224330.6556 | 2721770.9697 | 1224334.3679 | 2721775.424 | 1224341.7401
57 | 2721835.9655 | 1224304.6411 | 2721826.4673 | 1224314.3917
58 | 2721815.7355 | 1224269.727 | 2721814.1567 | 1224268.0992 | 2721800.2576 | 1224253.1468
59 | 2721794.1011 | 1224246.5237 | 2721800.2576 | 1224253.1468
60 | 2721861.5788 | 1224248.0134 | 2721835.0771 | 1224230.9981 | 2721830.1341 | 1224227.0471
61 | 2721688.753 | 1224451.0565 | 2721690.3885 | 1224457.495 | 2721693.4094 | 1224461.093 | 2721694.6554 | 1224463.954
62 | 2721688.753 | 1224451.0565 | 2721688.2186 | 1224446.7755 | 2721680.4713 | 1224429.8199
63 | 2721680.4713 | 1224429.8199 | 2721680.3801 | 1224429.6203
64 | 2721835.9655 | 1224304.6411 | 2721840.4095 | 1224309.8584 | 2721847.425 | 1224303.9529
65 | 2721835.9655 | 1224304.6411 | 2721837.4371 | 1224301.3019 | 2721842.9074 | 1224294.7736
66 | 2721842.9074 | 1224294.7736 | 2721847.6144 | 1224289.1562
67 | 2721811.2328 | 1224203.4662 | 2721813.5504 | 1224207.3389
68 | 2721811.2328 | 1224203.4662 | 2721818.4847 | 1224200.4678 | 2721823.5521 | 1224195.9902 | 2721830.6716 | 1224187.8542
69 | 2721845.7928 | 1224166.2886 | 2721845.8349 | 1224170.5261 | 2721830.6716 | 1224187.8542
70 | 2721845.7928 | 1224166.2886 | 2721859.433 | 1224166.1677 | 2721861.6253 | 1224166.157 | 2721867.7344 | 1224172.665 | 2721880.6083 | 1224186.2504
71 | 2721813.5504 | 1224207.3389 | 2721818.1293 | 1224217.4517 | 2721829.0372 | 1224226.1704
72 | 2721880.6083 | 1224186.2504 | 2721867.1235 | 1224198.4061 | 2721864.6395 | 1224195.9978
73 | 2721829.0372 | 1224226.1704 | 2721830.1341 | 1224227.0471
74 | 2721628.4691 | 1224383.0856 | 2721629.5321 | 1224384.1637
75 | 2721629.5321 | 1224384.1637 | 2721639.0047 | 1224393.772
76 | 2721610.8993 | 1224387.1519 | 2721603.4526 | 1224394.9164
77 | 2721598.7173 | 1224399.8539 | 2721603.4526 | 1224394.9164
78 | 2721591.3851 | 1224407.4991 | 2721598.7173 | 1224399.8539
79 | 2721621.3797 | 1224420.9407 | 2721620.8437 | 1224420.489 | 2721614.6038 | 1224418.5266 | 2721610.4588 | 1224418.3418 | 2721607.4394 | 1224419.6357
80 | 2721582.7747 | 1224416.864 | 2721595.4843 | 1224423.6512 | 2721599.0667 | 1224424.6473 | 2721602.1312 | 1224423.8871 | 2721605.3321 | 1224420.5388 | 2721607.4394 | 1224419.6357
81 | 2721582.7747 | 1224416.864 | 2721591.3851 | 1224407.4991
82 | 2721591.3851 | 1224407.4991 | 2721579.638 | 1224397.4068 | 2721577.797 | 1224396.092

## bus_geodata
| x | y | coords
0 | 2721729.7079 | 1224220.2337
1 | 2721742.3686 | 1224222.4057
2 | 2721751.6403 | 1224178.9055
3 | 2721751.6089 | 1224253.4414
4 | 2721772.3317 | 1224188.0316
5 | 2721753.5613 | 1224172.84
6 | 2721736.2707 | 1224256.4268
7 | 2721714.3138 | 1224280.8893
8 | 2721753.3248 | 1224311.9004
9 | 2721608.0401 | 1224269.9086
10 | 2721646.9828 | 1224349.5338
11 | 2721624.9508 | 1224262.6595
12 | 2721596.2643 | 1224252.3907
13 | 2721688.5745 | 1224364.5068
14 | 2721632.9474 | 1224364.1651
15 | 2721733.9863 | 1224341.0501
16 | 2721697.7919 | 1224388.7768
17 | 2721747.6503 | 1224320.8469
18 | 2721735.6713 | 1224338.828
19 | 2721785.6625 | 1224195.0252
20 | 2721799.2433 | 1224313.7412
21 | 2721784.9882 | 1224323.392
22 | 2721814.6827 | 1224326.4894
23 | 2721774.5266 | 1224225.4659
24 | 2721777.8414 | 1224216.3864
25 | 2721781.9282 | 1224233.4284
26 | 2721757.419 | 1224317.2251
27 | 2721640.3516 | 1224265.8211
28 | 2721607.8158 | 1224242.3372
29 | 2721621.5399 | 1224376.057
30 | 2721710.8706 | 1224415.2514
31 | 2721800.7292 | 1224165.6103
32 | 2721787.6809 | 1224189.4288
33 | 2721788.235 | 1224155.6944
34 | 2721805.3354 | 1224199.9512
35 | 2721781.4136 | 1224145.5837
36 | 2721758.3689 | 1224423.0468
37 | 2721761.0444 | 1224443.5177
38 | 2721729.3882 | 1224450.8316
39 | 2721710.3712 | 1224458.3379
40 | 2721723.0715 | 1224439.9489
41 | 2721824.7464 | 1224316.1583
42 | 2721878.8725 | 1224259.1168
43 | 2721912.9284 | 1224258.3802
44 | 2721873.111 | 1224255.4176
45 | 2721916.7529 | 1224239.0435
46 | 2721703.3735 | 1224460.8385
47 | 2721785.9294 | 1224370.8248
48 | 2721785.4945 | 1224369.682
49 | 2721780.7404 | 1224355.0397
50 | 2721775.424 | 1224341.7401
51 | 2721826.4673 | 1224314.3917
52 | 2721815.7355 | 1224269.727
53 | 2721800.2576 | 1224253.1468
54 | 2721861.5788 | 1224248.0134
55 | 2721694.6554 | 1224463.954
56 | 2721688.753 | 1224451.0565
57 | 2721680.4713 | 1224429.8199
58 | 2721680.3801 | 1224429.6203
59 | 2721768.338 | 1224330.6556
60 | 2721835.9655 | 1224304.6411
61 | 2721847.425 | 1224303.9529
62 | 2721842.9074 | 1224294.7736
63 | 2721847.6144 | 1224289.1562
64 | 2721794.1011 | 1224246.5237
65 | 2721811.2328 | 1224203.4662
66 | 2721830.6717 | 1224187.8542
67 | 2721845.7928 | 1224166.2886
68 | 2721813.5504 | 1224207.3389
69 | 2721880.6083 | 1224186.2504
70 | 2721829.0372 | 1224226.1704
71 | 2721864.6395 | 1224195.9978
72 | 2721830.1341 | 1224227.0471
73 | 2721628.4691 | 1224383.0856
74 | 2721629.5321 | 1224384.1637
75 | 2721639.0047 | 1224393.772
76 | 2721610.8993 | 1224387.1519
77 | 2721603.4526 | 1224394.9164
78 | 2721598.7173 | 1224399.8539
79 | 2721621.3797 | 1224420.9407
80 | 2721607.4394 | 1224419.6357
81 | 2721582.7747 | 1224416.864
82 | 2721591.3851 | 1224407.4991
83 | 2721577.797 | 1224396.092
84 | 2721747.6503 | 1224320.8469

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1