## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3316-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3316-2_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_3316-2_0_3_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_3316-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3316-2_0_3_node_38 | 0.4 | n |  | TRUE
5 | bus_LV_3316-2_0_3_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_3316-2_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3316-2_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3316-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_3316-2_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_3316-2_0_3_node_58 | 0.4 | n |  | TRUE
11 | bus_LV_3316-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3316-2_0_3_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_3316-2_0_3_node_50 | 0.4 | n |  | TRUE
14 | bus_LV_3316-2_0_3_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_3316-2_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_3316-2_0_3_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_3316-2_0_3_node_55 | 0.4 | n |  | TRUE
18 | bus_LV_3316-2_0_3_node_56 | 0.4 | n |  | TRUE
19 | bus_LV_3316-2_0_3_node_96 | 0.4 | n |  | TRUE
20 | bus_LV_3316-2_0_3_node_104 | 0.4 | n |  | TRUE
21 | bus_LV_3316-2_0_3_node_71 | 0.4 | n |  | TRUE
22 | bus_LV_3316-2_0_3_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_3316-2_0_3_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_3316-2_0_3_node_103 | 0.4 | n |  | TRUE
25 | bus_LV_3316-2_0_3_node_7 | 0.4 | n |  | TRUE
26 | bus_LV_3316-2_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3316-2_0_3_node_10 | 0.4 | n |  | TRUE
28 | bus_LV_3316-2_0_3_node_12 | 0.4 | n |  | TRUE
29 | bus_LV_3316-2_0_3_node_11 | 0.4 | n |  | TRUE
30 | bus_LV_3316-2_0_3_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_3316-2_0_3_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_3316-2_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_3316-2_0_3_node_57 | 0.4 | n |  | TRUE
34 | bus_LV_3316-2_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3316-2_0_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3316-2_0_3_node_73 | 0.4 | n |  | TRUE
37 | bus_LV_3316-2_0_3_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_3316-2_0_3_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_3316-2_0_3_node_16 | 0.4 | n |  | TRUE
40 | bus_LV_3316-2_0_3_node_17 | 0.4 | n |  | TRUE
41 | bus_LV_3316-2_0_3_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_3316-2_0_3_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_3316-2_0_3_node_75 | 0.4 | n |  | TRUE
44 | bus_LV_3316-2_0_3_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_3316-2_0_3_node_74 | 0.4 | n |  | TRUE
46 | bus_LV_3316-2_0_3_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_3316-2_0_3_node_21 | 0.4 | n |  | TRUE
48 | bus_LV_3316-2_0_3_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_3316-2_0_3_node_23 | 0.4 | n |  | TRUE
50 | bus_LV_3316-2_0_3_node_25 | 0.4 | n |  | TRUE
51 | bus_LV_3316-2_0_3_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_3316-2_0_3_node_32 | 0.4 | n |  | TRUE
53 | bus_LV_3316-2_0_3_node_62 | 0.4 | n |  | TRUE
54 | bus_LV_3316-2_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3316-2_0_3_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_3316-2_0_3_node_60 | 0.4 | n |  | TRUE
57 | bus_LV_3316-2_0_3_node_27 | 0.4 | n |  | TRUE
58 | bus_LV_3316-2_0_3_node_28 | 0.4 | n |  | TRUE
59 | bus_LV_3316-2_0_3_node_29 | 0.4 | n |  | TRUE
60 | bus_LV_3316-2_0_3_node_30 | 0.4 | n |  | TRUE
61 | bus_LV_3316-2_0_3_node_31 | 0.4 | n |  | TRUE
62 | bus_LV_3316-2_0_3_node_92 | 0.4 | n |  | TRUE
63 | bus_LV_3316-2_0_3_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_3316-2_0_3_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3316-2_0_3_node_42 | 0.4 | n |  | TRUE
66 | bus_LV_3316-2_0_3_node_61 | 0.4 | n |  | TRUE
67 | bus_LV_3316-2_0_3_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_3316-2_0_3_node_77 | 0.4 | n |  | TRUE
69 | bus_LV_3316-2_0_3_node_36 | 0.4 | n |  | TRUE
70 | bus_LV_3316-2_0_3_node_37 | 0.4 | n |  | TRUE
71 | bus_LV_3316-2_0_3_node_136 | 0.4 | n |  | TRUE
72 | bus_LV_3316-2_0_3_node_108 | 0.4 | n |  | TRUE
73 | bus_LV_3316-2_0_3_node_106 | 0.4 | n |  | TRUE
74 | bus_LV_3316-2_0_3_node_39 | 0.4 | n |  | TRUE
75 | bus_LV_3316-2_0_3_node_40 | 0.4 | n |  | TRUE
76 | bus_LV_3316-2_0_3_node_41 | 0.4 | n |  | TRUE
77 | bus_LV_3316-2_0_3_node_43 | 0.4 | n |  | TRUE
78 | bus_LV_3316-2_0_3_node_54 | 0.4 | n |  | TRUE
79 | bus_LV_3316-2_0_3_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_3316-2_0_3_node_97 | 0.4 | n |  | TRUE
81 | bus_LV_3316-2_0_3_node_134 | 0.4 | n |  | TRUE
82 | bus_LV_3316-2_0_3_node_105 | 0.4 | n |  | TRUE
83 | bus_LV_3316-2_0_3_node_135 | 0.4 | n |  | TRUE
84 | bus_LV_3316-2_0_3_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_3316-2_0_3_node_78 | 0.4 | n |  | TRUE
86 | bus_LV_3316-2_0_3_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3316-2_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_3316-2_0_3_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_3316-2_0_3_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_3316-2_0_3_node_80 | 0.4 | n |  | TRUE
91 | bus_LV_3316-2_0_3_node_81 | 0.4 | n |  | TRUE
92 | bus_LV_3316-2_0_3_node_82 | 0.4 | n |  | TRUE
93 | bus_LV_3316-2_0_3_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_3316-2_0_3_node_99 | 0.4 | n |  | TRUE
95 | bus_LV_3316-2_0_3_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_3316-2_0_3_node_100 | 0.4 | n |  | TRUE
97 | bus_LV_3316-2_0_3_node_101 | 0.4 | n |  | TRUE
98 | bus_LV_3316-2_0_3_node_113 | 0.4 | n |  | TRUE
99 | bus_LV_3316-2_0_3_node_107 | 0.4 | n |  | TRUE
100 | bus_LV_3316-2_0_3_node_109 | 0.4 | n |  | TRUE
101 | bus_MV_54_0_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3316-2_0_3_load_0 | 0 | 0.011042 | 0.0027674 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3316-2_0_3_load_38 | 4 | 0.0046871 | 0.0011747 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3316-2_0_3_load_69 | 5 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3316-2_0_3_load_9 | 6 | 0.010124 | 0.0025373 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3316-2_0_3_load_6 | 7 | 0.010067 | 0.002523 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3316-2_0_3_load_35 | 9 | 0.0040256 | 0.0010089 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3316-2_0_3_load_58 | 10 | 0.0098418 | 0.0024666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3316-2_0_3_load_8 | 11 | 0.0052692 | 0.0013206 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3316-2_0_3_load_49 | 12 | 0.0008395 | 0.0002104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3316-2_0_3_load_50 | 13 | 0.0010277 | 0.00025756 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3316-2_0_3_load_52 | 15 | 0.00038648 | 9.686e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3316-2_0_3_load_53 | 16 | 0.0011918 | 0.0002987 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3316-2_0_3_load_96 | 19 | 0.00043491 | 0.000109 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3316-2_0_3_load_70 | 22 | 0.0019988 | 0.00050096 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3316-2_0_3_load_102 | 23 | 0.00082229 | 0.00020608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3316-2_0_3_load_103 | 24 | 0.00092854 | 0.00023271 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3316-2_0_3_load_7 | 25 | 0.0039442 | 0.00098851 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3316-2_0_3_load_10 | 27 | 0.0082718 | 0.0020731 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3316-2_0_3_load_11 | 29 | 0.0026412 | 0.00066196 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3316-2_0_3_load_14 | 31 | 0.0014626 | 0.00036656 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3316-2_0_3_load_15 | 32 | 0.0012004 | 0.00030084 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3316-2_0_3_load_57 | 33 | 0.008247 | 0.0020669 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3316-2_0_3_load_34 | 34 | 0.0049299 | 0.0012356 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3316-2_0_3_load_44 | 35 | 0.00051523 | 0.00012913 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3316-2_0_3_load_72 | 37 | 0.0074115 | 0.0018575 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3316-2_0_3_load_16 | 39 | 0.0058508 | 0.0014663 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3316-2_0_3_load_17 | 40 | 0.0031552 | 0.00079077 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3316-2_0_3_load_18 | 41 | 0.0031109 | 0.00077967 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3316-2_0_3_load_19 | 42 | 0.0047554 | 0.0011918 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3316-2_0_3_load_75 | 43 | 0.0048732 | 0.0012213 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3316-2_0_3_load_87 | 44 | 0.003069 | 0.00076917 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3316-2_0_3_load_74 | 45 | 0.0065896 | 0.0016515 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3316-2_0_3_load_93 | 46 | 0.0024665 | 0.00061816 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3316-2_0_3_load_21 | 47 | 0.0047857 | 0.0011994 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3316-2_0_3_load_22 | 48 | 0.0016457 | 0.00041246 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3316-2_0_3_load_26 | 51 | 0.0036231 | 0.00090802 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3316-2_0_3_load_32 | 52 | 0.0068755 | 0.0017232 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3316-2_0_3_load_62 | 53 | 0.0041153 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3316-2_0_3_load_59 | 54 | 0.0018107 | 0.00045379 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3316-2_0_3_load_27 | 57 | 0.0046989 | 0.0011776 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3316-2_0_3_load_28 | 58 | 0.0050868 | 0.0012749 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3316-2_0_3_load_29 | 59 | 0.0070577 | 0.0017688 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3316-2_0_3_load_31 | 61 | 0.0023549 | 0.0005902 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3316-2_0_3_load_92 | 62 | 0.0076717 | 0.0019227 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3316-2_0_3_load_46 | 63 | 0.0028043 | 0.00070284 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3316-2_0_3_load_42 | 65 | 0.003732 | 0.00093533 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3316-2_0_3_load_61 | 66 | 0.003428 | 0.00085915 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3316-2_0_3_load_86 | 67 | 0.0026774 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3316-2_0_3_load_77 | 68 | 0.0018577 | 0.00046558 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3316-2_0_3_load_36 | 69 | 0.0064999 | 0.001629 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3316-2_0_3_load_136 | 71 | 0.0016604 | 0.00041613 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3316-2_0_3_load_106 | 73 | 0.0051724 | 0.0012963 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3316-2_0_3_load_39 | 74 | 0.0015901 | 0.00039852 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3316-2_0_3_load_40 | 75 | 0.0024258 | 0.00060797 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3316-2_0_3_load_41 | 76 | 0.0081099 | 0.0020325 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3316-2_0_3_load_43 | 77 | 0.0012667 | 0.00031747 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3316-2_0_3_load_98 | 79 | 0.00033251 | 8.3335e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3316-2_0_3_load_97 | 80 | 0.00217 | 0.00054386 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3316-2_0_3_load_134 | 81 | 0.0008779 | 0.00022002 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3316-2_0_3_load_105 | 82 | 0.0019255 | 0.00048257 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3316-2_0_3_load_135 | 83 | 0.00091899 | 0.00023032 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3316-2_0_3_load_76 | 84 | 0.0031539 | 0.00079044 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3316-2_0_3_load_78 | 85 | 0.001877 | 0.00047041 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3316-2_0_3_load_79 | 86 | 0.0040614 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3316-2_0_3_load_91 | 88 | 0.003898 | 0.00097693 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3316-2_0_3_load_88 | 89 | 0.0014231 | 0.00035667 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3316-2_0_3_load_80 | 90 | 0.00269 | 0.00067418 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3316-2_0_3_load_83 | 93 | 0.003817 | 0.00095664 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3316-2_0_3_load_99 | 94 | 0.0038179 | 0.00095685 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3316-2_0_3_load_89 | 95 | 0.0016506 | 0.00041367 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3316-2_0_3_load_113 | 98 | 0.0018264 | 0.00045775 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3316-2_0_3_load_107 | 99 | 0.004002 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3316-2_0_3_load_109 | 100 | 0.0026554 | 0.0006655 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3316-2_0_3_line_0 |  | 0 | 1 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3316-2_0_3_line_1 |  | 1 | 2 | 0.030384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3316-2_0_3_line_2 |  | 2 | 6 | 0.013454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3316-2_0_3_line_3 |  | 2 | 7 | 0.012743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3316-2_0_3_line_4 |  | 3 | 4 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3316-2_0_3_line_5 |  | 3 | 5 | 0.10475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3316-2_0_3_line_6 |  | 4 | 11 | 0.026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3316-2_0_3_line_7 |  | 5 | 22 | 0.0067537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3316-2_0_3_line_8 |  | 6 | 10 | 0.030208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3316-2_0_3_line_9 |  | 7 | 25 | 0.013203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3316-2_0_3_line_10 |  | 8 | 9 | 0.029625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3316-2_0_3_line_11 |  | 8 | 10 | 0.017834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3316-2_0_3_line_12 |  | 9 | 26 | 0.043161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3316-2_0_3_line_13 |  | 11 | 25 | 0.0169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3316-2_0_3_line_14 |  | 12 | 13 | 0.061425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3316-2_0_3_line_15 |  | 12 | 14 | 0.018464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3316-2_0_3_line_16 |  | 13 | 15 | 0.0064099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3316-2_0_3_line_17 |  | 14 | 16 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3316-2_0_3_line_18 |  | 14 | 17 | 0.056815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3316-2_0_3_line_19 |  | 14 | 18 | 0.055572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3316-2_0_3_line_20 |  | 15 | 19 | 0.0094179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3316-2_0_3_line_21 |  | 16 | 20 | 0.028031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3316-2_0_3_line_22 |  | 17 | 21 | 0.028345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3316-2_0_3_line_23 |  | 18 | 80 | 0.020599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3316-2_0_3_line_24 |  | 20 | 82 | 0.033648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3316-2_0_3_line_25 |  | 20 | 24 | 0.014316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3316-2_0_3_line_26 |  | 21 | 22 | 0.02978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3316-2_0_3_line_27 |  | 23 | 24 | 0.11076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3316-2_0_3_line_28 |  | 26 | 52 | 0.025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3316-2_0_3_line_29 |  | 26 | 48 | 0.02386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3316-2_0_3_line_30 |  | 27 | 28 | 0.0093021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3316-2_0_3_line_31 |  | 28 | 31 | 0.039713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3316-2_0_3_line_32 |  | 28 | 32 | 0.0075091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3316-2_0_3_line_33 |  | 29 | 30 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3316-2_0_3_line_34 |  | 30 | 33 | 0.013888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3316-2_0_3_line_35 |  | 30 | 34 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3316-2_0_3_line_36 |  | 31 | 35 | 0.021562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3316-2_0_3_line_37 |  | 32 | 36 | 0.02927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3316-2_0_3_line_38 |  | 33 | 37 | 0.031655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3316-2_0_3_line_39 |  | 36 | 38 | 0.008045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3316-2_0_3_line_40 |  | 36 | 37 | 0.0088952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3316-2_0_3_line_41 |  | 38 | 44 | 0.035757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3316-2_0_3_line_42 |  | 38 | 41 | 0.012985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_3316-2_0_3_line_43 |  | 39 | 40 | 0.01958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3316-2_0_3_line_44 |  | 39 | 41 | 0.029908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3316-2_0_3_line_45 |  | 40 | 42 | 0.015493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3316-2_0_3_line_46 |  | 42 | 43 | 0.016685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3316-2_0_3_line_47 |  | 43 | 45 | 0.011309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3316-2_0_3_line_48 |  | 44 | 46 | 0.0064276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3316-2_0_3_line_49 |  | 45 | 51 | 0.0098385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3316-2_0_3_line_50 |  | 46 | 93 | 0.019568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3316-2_0_3_line_51 |  | 47 | 48 | 0.0084104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3316-2_0_3_line_52 |  | 47 | 49 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3316-2_0_3_line_53 |  | 49 | 50 | 0.030736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3316-2_0_3_line_54 |  | 49 | 51 | 0.011041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3316-2_0_3_line_55 |  | 50 | 53 | 0.011585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3316-2_0_3_line_56 |  | 50 | 54 | 0.005564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3316-2_0_3_line_57 |  | 52 | 55 | 0.043527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3316-2_0_3_line_58 |  | 54 | 56 | 0.010411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3316-2_0_3_line_59 |  | 55 | 69 | 0.012179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3316-2_0_3_line_60 |  | 55 | 70 | 0.026848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3316-2_0_3_line_61 |  | 56 | 66 | 0.018729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3316-2_0_3_line_62 |  | 56 | 60 | 0.009498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3316-2_0_3_line_63 |  | 57 | 58 | 0.022526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3316-2_0_3_line_64 |  | 57 | 59 | 0.020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3316-2_0_3_line_65 |  | 58 | 60 | 0.046698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3316-2_0_3_line_66 |  | 59 | 61 | 0.021608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3316-2_0_3_line_67 |  | 60 | 62 | 0.010964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3316-2_0_3_line_68 |  | 60 | 63 | 0.013278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3316-2_0_3_line_69 |  | 61 | 64 | 0.0055111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3316-2_0_3_line_70 |  | 63 | 65 | 0.028175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3316-2_0_3_line_71 |  | 64 | 67 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3316-2_0_3_line_72 |  | 64 | 68 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3316-2_0_3_line_73 |  | 65 | 75 | 0.01982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3316-2_0_3_line_74 |  | 68 | 84 | 0.017701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3316-2_0_3_line_75 |  | 70 | 71 | 0.011152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3316-2_0_3_line_76 |  | 70 | 72 | 0.016307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3316-2_0_3_line_77 |  | 72 | 73 | 0.023695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3316-2_0_3_line_78 |  | 73 | 99 | 0.0076573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3316-2_0_3_line_79 |  | 74 | 75 | 0.030739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3316-2_0_3_line_80 |  | 74 | 76 | 0.00099786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3316-2_0_3_line_81 |  | 76 | 77 | 0.029097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3316-2_0_3_line_82 |  | 78 | 79 | 0.0036938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3316-2_0_3_line_83 |  | 78 | 80 | 0.035064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3316-2_0_3_line_84 |  | 79 | 81 | 0.009039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3316-2_0_3_line_85 |  | 81 | 83 | 0.0022975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3316-2_0_3_line_86 |  | 84 | 85 | 0.0029851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3316-2_0_3_line_87 |  | 85 | 86 | 0.020577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3316-2_0_3_line_88 |  | 86 | 87 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3316-2_0_3_line_89 |  | 87 | 88 | 0.0095743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3316-2_0_3_line_90 |  | 87 | 89 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3316-2_0_3_line_91 |  | 88 | 96 | 0.020393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3316-2_0_3_line_92 |  | 89 | 95 | 0.0010135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3316-2_0_3_line_93 |  | 90 | 91 | 0.036438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3316-2_0_3_line_94 |  | 91 | 92 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3316-2_0_3_line_95 |  | 91 | 93 | 0.030808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3316-2_0_3_line_96 |  | 92 | 94 | 0.016863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3316-2_0_3_line_97 |  | 96 | 97 | 0.039648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3316-2_0_3_line_98 |  | 97 | 98 | 0.01943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3316-2_0_3_line_99 |  | 99 | 100 | 0.017931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3316-2_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 101 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2725279.2999 | 1221597.8959 | 2725286.0974 | 1221590.4108 | 2725289.9551 | 1221578.2798
1 | 2725279.2999 | 1221597.8959 | 2725251.8337 | 1221611.0509
2 | 2725251.8337 | 1221611.0509 | 2725246.2638 | 1221600.9591 | 2725244.4389 | 1221600.3393
3 | 2725251.8337 | 1221611.0509 | 2725249.5339 | 1221612.159 | 2725241.7391 | 1221618.7225 | 2725241.7391 | 1221618.7225
4 | 2725250.8328 | 1221685.6447 | 2725246.2542 | 1221673.2982
5 | 2725250.8328 | 1221685.6447 | 2725166.9056 | 1221748.3327
6 | 2725237 | 1221648.3437 | 2725246.2542 | 1221673.2982
7 | 2725166.9056 | 1221748.3327 | 2725160.5938 | 1221750.7354
8 | 2725244.4389 | 1221600.3393 | 2725232.8598 | 1221596.4069 | 2725227.8106 | 1221589.6954 | 2725229.3199 | 1221580.2348
9 | 2725241.7391 | 1221618.7225 | 2725239.4789 | 1221631.731
10 | 2725234.2595 | 1221563.4323 | 2725219.6068 | 1221560.155 | 2725215.1624 | 1221561.4848 | 2725212.8481 | 1221558.5894 | 2725213.3693 | 1221552.3467
11 | 2725234.2595 | 1221563.4323 | 2725231.246 | 1221568.1616 | 2725229.3199 | 1221580.2348
12 | 2725209.1493 | 1221510.7736 | 2725209.0625 | 1221520.3127 | 2725209.0134 | 1221524.4483 | 2725210.7314 | 1221526.8308 | 2725214.7492 | 1221534.5992 | 2725214.6135 | 1221537.443 | 2725213.3693 | 1221552.3467
13 | 2725237 | 1221648.3437 | 2725236.7225 | 1221647.5955 | 2725239.4789 | 1221631.731
14 | 2725116.9032 | 1221791.5211 | 2725142.9479 | 1221809.1416 | 2725160.8477 | 1221810.252 | 2725167.0653 | 1221820.5688
15 | 2725101.6114 | 1221781.1731 | 2725112.617 | 1221788.6213 | 2725116.9032 | 1221791.5211
16 | 2725167.0653 | 1221820.5688 | 2725170.3738 | 1221826.0588
17 | 2725101.6114 | 1221781.1731 | 2725100.9846 | 1221786.086 | 2725097.5337 | 1221789.9722 | 2725093.3856 | 1221790.9302 | 2725089.7333 | 1221790.974
18 | 2725101.6114 | 1221781.1731 | 2725101.7963 | 1221770.2127 | 2725113.3303 | 1221747.4814 | 2725120.7906 | 1221736.2403 | 2725124.5913 | 1221730.5156
19 | 2725074.67 | 1221758.2334 | 2725073.6625 | 1221760.3139 | 2725072.2038 | 1221764.0084 | 2725072.1351 | 1221767.2762 | 2725072.5099 | 1221772.9108 | 2725101.7963 | 1221770.2127 | 2725101.6114 | 1221781.1731
20 | 2725174.1437 | 1221834.6318 | 2725172.5973 | 1221832.1052 | 2725170.7169 | 1221826.628 | 2725170.3738 | 1221826.0588
21 | 2725061.7047 | 1221791.3096 | 2725089.7333 | 1221790.974
22 | 2725124.5913 | 1221730.5156 | 2725132.3574 | 1221757.7782
23 | 2725074.67 | 1221758.2334 | 2725073.3785 | 1221754.6923 | 2725056.5669 | 1221755.4842
24 | 2725061.7047 | 1221791.3096 | 2725046.2873 | 1221791.5861 | 2725041.9999 | 1221792.6747 | 2725029.5888 | 1221798.7182
25 | 2725061.7047 | 1221791.3096 | 2725061.4862 | 1221805.6237
26 | 2725132.3574 | 1221757.7782 | 2725139.5076 | 1221758.7626 | 2725160.5938 | 1221750.7354
27 | 2725091.545 | 1221893.7267 | 2725094.0269 | 1221877.735 | 2725091.633 | 1221860.5821 | 2725060.4218 | 1221844.0468 | 2725053.6142 | 1221832.9061 | 2725061.3425 | 1221815.0431 | 2725061.4862 | 1221805.6237
28 | 2725209.1493 | 1221510.7736 | 2725210.4431 | 1221510.9565 | 2725234.7995 | 1221511.8061
29 | 2725209.1493 | 1221510.7736 | 2725207.9638 | 1221499.6732 | 2725202.2672 | 1221494.1491 | 2725198.0553 | 1221491.9289
30 | 2725092.4309 | 1221533.1275 | 2725096.585 | 1221533.3372 | 2725098.4616 | 1221535.0335 | 2725098.7257 | 1221537.6331
31 | 2725092.4309 | 1221533.1275 | 2725091.171 | 1221572.8202
32 | 2725092.4309 | 1221533.1275 | 2725092.6692 | 1221525.6222
33 | 2725147.5702 | 1221503.4735 | 2725144.1229 | 1221528.3597
34 | 2725147.5702 | 1221503.4735 | 2725133.8015 | 1221501.6606
35 | 2725147.5702 | 1221503.4735 | 2725150.8924 | 1221503.9103 | 2725171.5389 | 1221506.311
36 | 2725091.171 | 1221572.8202 | 2725090.4869 | 1221594.3718
37 | 2725093.5982 | 1221496.3673 | 2725092.6692 | 1221525.6222
38 | 2725133.8015 | 1221501.6606 | 2725102.4173 | 1221497.5284
39 | 2725085.5994 | 1221495.3095 | 2725093.5982 | 1221496.3673
40 | 2725093.5982 | 1221496.3673 | 2725102.4173 | 1221497.5284
41 | 2725085.5994 | 1221495.3095 | 2725050.3715 | 1221489.1825
42 | 2725085.5994 | 1221495.3095 | 2725088.4274 | 1221482.6363
43 | 2725100.657 | 1221458.8302 | 2725103.1586 | 1221458.8828 | 2725119.9237 | 1221462.1341
44 | 2725100.657 | 1221458.8302 | 2725096.3092 | 1221458.7388 | 2725093.7766 | 1221461.5322 | 2725091.5392 | 1221468.6909 | 2725088.4274 | 1221482.6363
45 | 2725119.9237 | 1221462.1341 | 2725123.9954 | 1221462.9237 | 2725135.0419 | 1221465.5104
46 | 2725135.0419 | 1221465.5104 | 2725141.7865 | 1221467.0897 | 2725150.8363 | 1221470.7386
47 | 2725161.3244 | 1221474.9674 | 2725150.8363 | 1221470.7386
48 | 2725050.3715 | 1221489.1825 | 2725044.039 | 1221488.0812
49 | 2725161.3244 | 1221474.9674 | 2725170.4491 | 1221478.6464
50 | 2725024.7601 | 1221484.7281 | 2725044.039 | 1221488.0812
51 | 2725190.6152 | 1221488.0072 | 2725198.0553 | 1221491.9289
52 | 2725180.6894 | 1221482.7753 | 2725190.6152 | 1221488.0072
53 | 2725180.6894 | 1221482.7753 | 2725194.3742 | 1221455.2411
54 | 2725180.6894 | 1221482.7753 | 2725170.4491 | 1221478.6464
55 | 2725183.9092 | 1221450.206 | 2725194.3742 | 1221455.2411
56 | 2725194.3742 | 1221455.2411 | 2725196.8498 | 1221450.2582
57 | 2725277.6977 | 1221518.6437 | 2725257.637 | 1221514.1626 | 2725239.3721 | 1221511.9656 | 2725234.7995 | 1221511.8061
58 | 2725201.4821 | 1221440.9347 | 2725196.8498 | 1221450.2582
59 | 2725277.6977 | 1221518.6437 | 2725276.4713 | 1221530.7608
60 | 2725277.6977 | 1221518.6437 | 2725304.4423 | 1221521.7643
61 | 2725201.4821 | 1221440.9347 | 2725220.1809 | 1221442.7181
62 | 2725206.9427 | 1221433.1544 | 2725201.4821 | 1221440.9347
63 | 2725138.1654 | 1221425.7231 | 2725159.4147 | 1221429.2078 | 2725160.4044 | 1221429.29
64 | 2725117.6754 | 1221422.6771 | 2725129.3914 | 1221424.2842 | 2725138.1654 | 1221425.7231
65 | 2725206.9427 | 1221433.1544 | 2725160.4044 | 1221429.29
66 | 2725117.6754 | 1221422.6771 | 2725096.2682 | 1221419.7406
67 | 2725206.9427 | 1221433.1544 | 2725207.4567 | 1221422.2029
68 | 2725206.9427 | 1221433.1544 | 2725220.1928 | 1221434.0086
69 | 2725090.8082 | 1221418.9917 | 2725096.2682 | 1221419.7406
70 | 2725248.309 | 1221435.8211 | 2725220.1928 | 1221434.0086
71 | 2725087.4851 | 1221438.0926 | 2725090.8082 | 1221418.9917
72 | 2725090.8082 | 1221418.9917 | 2725074.257 | 1221416.719
73 | 2725268.0064 | 1221437.9136 | 2725256.3686 | 1221436.3407 | 2725248.309 | 1221435.8211
74 | 2725056.7209 | 1221414.3112 | 2725074.257 | 1221416.719
75 | 2725304.4423 | 1221521.7643 | 2725302.9953 | 1221532.8205
76 | 2725320.6875 | 1221523.6521 | 2725304.4423 | 1221521.7643
77 | 2725320.6875 | 1221523.6521 | 2725323.7436 | 1221500.1546
78 | 2725323.7436 | 1221500.1546 | 2725324.7312 | 1221492.5613
79 | 2725268.0064 | 1221437.9136 | 2725298.468 | 1221442.0305
80 | 2725299.4569 | 1221442.1641 | 2725298.468 | 1221442.0305
81 | 2725299.4569 | 1221442.1641 | 2725328.2916 | 1221446.0612
82 | 2725042.9966 | 1221774.4923 | 2725039.3132 | 1221774.7687
83 | 2725042.9966 | 1221774.4923 | 2725041.111 | 1221771.7839 | 2725040.4828 | 1221763.3973 | 2725040.2702 | 1221757.2658 | 2725046.3086 | 1221756.9924 | 2725046.4441 | 1221755.961 | 2725056.5669 | 1221755.4842
84 | 2725030.2995 | 1221775.4453 | 2725039.3132 | 1221774.7687
85 | 2725030.2995 | 1221775.4453 | 2725028.0084 | 1221775.6172
86 | 2725056.7209 | 1221414.3112 | 2725053.7635 | 1221413.9051
87 | 2725053.7635 | 1221413.9051 | 2725033.3782 | 1221411.106
88 | 2725018.7117 | 1221409.0922 | 2725033.3782 | 1221411.106
89 | 2725018.7117 | 1221409.0922 | 2725009.2135 | 1221407.8872
90 | 2725018.7117 | 1221409.0922 | 2725015.3021 | 1221430.517
91 | 2724988.9827 | 1221405.3207 | 2725009.2135 | 1221407.8872
92 | 2725015.3021 | 1221430.517 | 2725015.1428 | 1221431.5179
93 | 2724994.4072 | 1221479.449 | 2724993.08 | 1221487.3607 | 2724989.6212 | 1221515.565
94 | 2724994.4072 | 1221479.449 | 2724983.1565 | 1221477.1332 | 2724978.9254 | 1221476.2549
95 | 2724994.4072 | 1221479.449 | 2725024.7601 | 1221484.7281
96 | 2724978.9254 | 1221476.2549 | 2724981.2927 | 1221459.5584
97 | 2724988.9827 | 1221405.3207 | 2724994.0809 | 1221366.0076
98 | 2724994.0809 | 1221366.0076 | 2724979.1328 | 1221363.7588 | 2724974.8767 | 1221363.0581
99 | 2725327.0439 | 1221474.7803 | 2725324.7312 | 1221492.5613

## bus_geodata
| x | y | coords
0 | 2725289.9551 | 1221578.2798
1 | 2725279.2999 | 1221597.8959
2 | 2725251.8337 | 1221611.0509
3 | 2725250.8328 | 1221685.6447
4 | 2725246.2542 | 1221673.2982
5 | 2725166.9056 | 1221748.3327
6 | 2725244.4389 | 1221600.3393
7 | 2725241.7391 | 1221618.7225
8 | 2725234.2595 | 1221563.4323
9 | 2725213.3693 | 1221552.3467
10 | 2725229.3199 | 1221580.2348
11 | 2725237 | 1221648.3437
12 | 2725116.9032 | 1221791.5211
13 | 2725167.0653 | 1221820.5688
14 | 2725101.6114 | 1221781.1731
15 | 2725170.3738 | 1221826.0588
16 | 2725089.7333 | 1221790.974
17 | 2725124.5913 | 1221730.5156
18 | 2725074.67 | 1221758.2334
19 | 2725174.1437 | 1221834.6318
20 | 2725061.7047 | 1221791.3096
21 | 2725132.3574 | 1221757.7782
22 | 2725160.5938 | 1221750.7354
23 | 2725091.545 | 1221893.7267
24 | 2725061.4862 | 1221805.6237
25 | 2725239.4789 | 1221631.731
26 | 2725209.1493 | 1221510.7736
27 | 2725098.7257 | 1221537.6331
28 | 2725092.4309 | 1221533.1275
29 | 2725144.1229 | 1221528.3597
30 | 2725147.5702 | 1221503.4735
31 | 2725091.171 | 1221572.8202
32 | 2725092.6692 | 1221525.6222
33 | 2725133.8015 | 1221501.6606
34 | 2725171.5389 | 1221506.311
35 | 2725090.4869 | 1221594.3718
36 | 2725093.5982 | 1221496.3673
37 | 2725102.4173 | 1221497.5284
38 | 2725085.5994 | 1221495.3095
39 | 2725100.657 | 1221458.8302
40 | 2725119.9237 | 1221462.1341
41 | 2725088.4274 | 1221482.6363
42 | 2725135.0419 | 1221465.5104
43 | 2725150.8363 | 1221470.7386
44 | 2725050.3715 | 1221489.1825
45 | 2725161.3244 | 1221474.9674
46 | 2725044.039 | 1221488.0812
47 | 2725190.6152 | 1221488.0072
48 | 2725198.0553 | 1221491.9289
49 | 2725180.6894 | 1221482.7753
50 | 2725194.3741 | 1221455.2411
51 | 2725170.4491 | 1221478.6464
52 | 2725234.7995 | 1221511.8061
53 | 2725183.9092 | 1221450.206
54 | 2725196.8498 | 1221450.2582
55 | 2725277.6977 | 1221518.6437
56 | 2725201.4821 | 1221440.9347
57 | 2725138.1654 | 1221425.7231
58 | 2725160.4044 | 1221429.29
59 | 2725117.6754 | 1221422.6771
60 | 2725206.9427 | 1221433.1544
61 | 2725096.2682 | 1221419.7406
62 | 2725207.4567 | 1221422.2029
63 | 2725220.1928 | 1221434.0086
64 | 2725090.8082 | 1221418.9917
65 | 2725248.309 | 1221435.8211
66 | 2725220.1809 | 1221442.7181
67 | 2725087.4851 | 1221438.0926
68 | 2725074.257 | 1221416.719
69 | 2725276.4713 | 1221530.7608
70 | 2725304.4423 | 1221521.7643
71 | 2725302.9953 | 1221532.8205
72 | 2725320.6875 | 1221523.6521
73 | 2725323.7436 | 1221500.1546
74 | 2725298.468 | 1221442.0305
75 | 2725268.0064 | 1221437.9136
76 | 2725299.4569 | 1221442.1641
77 | 2725328.2916 | 1221446.0612
78 | 2725042.9966 | 1221774.4923
79 | 2725039.3132 | 1221774.7687
80 | 2725056.5669 | 1221755.4842
81 | 2725030.2995 | 1221775.4453
82 | 2725029.5888 | 1221798.7182
83 | 2725028.0084 | 1221775.6172
84 | 2725056.7209 | 1221414.3112
85 | 2725053.7635 | 1221413.9051
86 | 2725033.3782 | 1221411.106
87 | 2725018.7117 | 1221409.0922
88 | 2725009.2135 | 1221407.8872
89 | 2725015.3021 | 1221430.517
90 | 2724989.6212 | 1221515.565
91 | 2724994.4072 | 1221479.449
92 | 2724978.9254 | 1221476.2549
93 | 2725024.7601 | 1221484.7281
94 | 2724981.2927 | 1221459.5584
95 | 2725015.1428 | 1221431.5179
96 | 2724988.9827 | 1221405.3207
97 | 2724994.0809 | 1221366.0076
98 | 2724974.8767 | 1221363.0581
99 | 2725324.7312 | 1221492.5613
100 | 2725327.0439 | 1221474.7803
101 | 2725147.5702 | 1221503.4735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1