## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3722-11_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3722-11_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3722-11_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3722-11_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3722-11_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3722-11_0_6_node_73 | 0.4 | n |  | TRUE
6 | bus_LV_3722-11_0_6_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_3722-11_0_6_node_74 | 0.4 | n |  | TRUE
8 | bus_LV_3722-11_0_6_node_78 | 0.4 | n |  | TRUE
9 | bus_LV_3722-11_0_6_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_3722-11_0_6_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3722-11_0_6_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3722-11_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3722-11_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3722-11_0_6_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_3722-11_0_6_node_91 | 0.4 | n |  | TRUE
16 | bus_LV_3722-11_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_3722-11_0_6_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3722-11_0_6_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_3722-11_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_3722-11_0_6_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_3722-11_0_6_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3722-11_0_6_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3722-11_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3722-11_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3722-11_0_6_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3722-11_0_6_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3722-11_0_6_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3722-11_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_3722-11_0_6_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_3722-11_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3722-11_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3722-11_0_6_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_3722-11_0_6_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_3722-11_0_6_node_104 | 0.4 | n |  | TRUE
35 | bus_LV_3722-11_0_6_node_103 | 0.4 | n |  | TRUE
36 | bus_LV_3722-11_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3722-11_0_6_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3722-11_0_6_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_3722-11_0_6_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_3722-11_0_6_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_3722-11_0_6_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_3722-11_0_6_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3722-11_0_6_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_3722-11_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3722-11_0_6_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3722-11_0_6_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3722-11_0_6_node_86 | 0.4 | n |  | TRUE
48 | bus_LV_3722-11_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_3722-11_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_3722-11_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_3722-11_0_6_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3722-11_0_6_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_3722-11_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3722-11_0_6_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3722-11_0_6_node_84 | 0.4 | n |  | TRUE
56 | bus_LV_3722-11_0_6_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3722-11_0_6_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3722-11_0_6_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_3722-11_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3722-11_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_3722-11_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_3722-11_0_6_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_3722-11_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3722-11_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_3722-11_0_6_node_67 | 0.4 | n |  | TRUE
66 | bus_LV_3722-11_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3722-11_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_3722-11_0_6_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_3722-11_0_6_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_3722-11_0_6_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_3722-11_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3722-11_0_6_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3722-11_0_6_node_63 | 0.4 | n |  | TRUE
74 | bus_LV_3722-11_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_3722-11_0_6_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_3722-11_0_6_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_3722-11_0_6_node_85 | 0.4 | n |  | TRUE
78 | bus_LV_3722-11_0_6_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_3722-11_0_6_node_69 | 0.4 | n |  | TRUE
80 | bus_LV_3722-11_0_6_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3722-11_0_6_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_3722-11_0_6_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_3722-11_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_3722-11_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3722-11_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3722-11_0_6_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3722-11_0_6_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_3722-11_0_6_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_3722-11_0_6_node_87 | 0.4 | n |  | TRUE
90 | bus_LV_3722-11_0_6_node_88 | 0.4 | n |  | TRUE
91 | bus_LV_3722-11_0_6_node_90 | 0.4 | n |  | TRUE
92 | bus_LV_3722-11_0_6_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_3722-11_0_6_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_3722-11_0_6_node_93 | 0.4 | n |  | TRUE
95 | bus_LV_3722-11_0_6_node_94 | 0.4 | n |  | TRUE
96 | bus_LV_3722-11_0_6_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_3722-11_0_6_node_98 | 0.4 | n |  | TRUE
98 | bus_LV_3722-11_0_6_node_99 | 0.4 | n |  | TRUE
99 | bus_LV_3722-11_0_6_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_3722-11_0_6_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_3722-11_0_6_node_102 | 0.4 | n |  | TRUE
102 | bus_LV_3722-11_0_6_node_105 | 0.4 | n |  | TRUE
103 | bus_LV_3722-11_0_6_node_106 | 0.4 | n |  | TRUE
104 | bus_MV_57_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3722-11_0_6_load_0 | 0 | 0.0084346 | 0.0021139 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3722-11_0_6_load_1 | 1 | 0.0050523 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3722-11_0_6_load_2 | 2 | 0.0037509 | 0.00094005 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3722-11_0_6_load_3 | 3 | 0.0050137 | 0.0012566 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3722-11_0_6_load_4 | 4 | 0.0038327 | 0.00096055 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3722-11_0_6_load_73 | 5 | 0.0036116 | 0.00090515 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3722-11_0_6_load_77 | 6 | 0.0014862 | 0.00037247 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3722-11_0_6_load_78 | 8 | 0.003399 | 0.00085187 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3722-11_0_6_load_5 | 9 | 0.0068278 | 0.0017112 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3722-11_0_6_load_7 | 11 | 0.0070704 | 0.001772 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3722-11_0_6_load_9 | 13 | 0.011169 | 0.0027991 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3722-11_0_6_load_17 | 14 | 0.0073427 | 0.0018403 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3722-11_0_6_load_15 | 17 | 0.0051904 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3722-11_0_6_load_92 | 18 | 0.0058483 | 0.0014657 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3722-11_0_6_load_11 | 19 | 0.0050343 | 0.0012617 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3722-11_0_6_load_12 | 20 | 0.0035081 | 0.00087922 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3722-11_0_6_load_13 | 21 | 0.0022517 | 0.00056434 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3722-11_0_6_load_14 | 22 | 0.0023093 | 0.00057876 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3722-11_0_6_load_16 | 23 | 0.0049687 | 0.0012453 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3722-11_0_6_load_18 | 24 | 0.0028187 | 0.00070643 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3722-11_0_6_load_19 | 25 | 0.0043466 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3722-11_0_6_load_20 | 26 | 0.0062557 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3722-11_0_6_load_21 | 27 | 0.0064764 | 0.0016232 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3722-11_0_6_load_22 | 28 | 0.003237 | 0.00081127 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3722-11_0_6_load_23 | 29 | 0.0035342 | 0.00088576 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3722-11_0_6_load_24 | 30 | 0.0033131 | 0.00083035 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3722-11_0_6_load_25 | 31 | 0.0021684 | 0.00054345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3722-11_0_6_load_27 | 33 | 0.0063816 | 0.0015994 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3722-11_0_6_load_104 | 34 | 0.0034804 | 0.00087226 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3722-11_0_6_load_29 | 36 | 0.0042938 | 0.0010761 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3722-11_0_6_load_30 | 37 | 0.0028736 | 0.00072018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3722-11_0_6_load_33 | 39 | 0.0023722 | 0.00059452 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3722-11_0_6_load_37 | 40 | 0.0025354 | 0.00063542 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3722-11_0_6_load_34 | 41 | 0.0023205 | 0.00058158 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3722-11_0_6_load_35 | 42 | 0.0040772 | 0.0010218 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3722-11_0_6_load_36 | 44 | 0.0051091 | 0.0012804 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3722-11_0_6_load_44 | 45 | 0.002776 | 0.00069572 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3722-11_0_6_load_45 | 46 | 0.0061638 | 0.0015448 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3722-11_0_6_load_86 | 47 | 0.020517 | 0.0051421 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3722-11_0_6_load_39 | 48 | 0.0030728 | 0.00077012 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3722-11_0_6_load_40 | 49 | 0.0027474 | 0.00068856 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3722-11_0_6_load_41 | 50 | 0.0034005 | 0.00085225 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3722-11_0_6_load_42 | 51 | 0.0020034 | 0.00050209 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3722-11_0_6_load_43 | 52 | 0.0068002 | 0.0017043 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3722-11_0_6_load_51 | 53 | 0.0051911 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3722-11_0_6_load_52 | 54 | 0.0038195 | 0.00095726 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3722-11_0_6_load_84 | 55 | 0.0079209 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3722-11_0_6_load_46 | 56 | 0.008685 | 0.0021767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3722-11_0_6_load_47 | 57 | 0.017321 | 0.004341 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3722-11_0_6_load_48 | 58 | 0.0096179 | 0.0024105 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3722-11_0_6_load_49 | 59 | 0.015431 | 0.0038674 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3722-11_0_6_load_50 | 60 | 0.0069893 | 0.0017517 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3722-11_0_6_load_67 | 65 | 0.010977 | 0.0027511 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3722-11_0_6_load_57 | 66 | 0.0047081 | 0.00118 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3722-11_0_6_load_55 | 67 | 0.013557 | 0.0033978 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3722-11_0_6_load_58 | 68 | 0.0081285 | 0.0020372 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3722-11_0_6_load_59 | 69 | 0.0074096 | 0.001857 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3722-11_0_6_load_60 | 70 | 0.0067732 | 0.0016975 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3722-11_0_6_load_61 | 71 | 0.0042525 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3722-11_0_6_load_62 | 72 | 0.0032957 | 0.00082599 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3722-11_0_6_load_63 | 73 | 0.002039 | 0.00051103 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3722-11_0_6_load_64 | 74 | 0.0054989 | 0.0013782 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3722-11_0_6_load_76 | 75 | 0.0053543 | 0.0013419 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3722-11_0_6_load_71 | 76 | 0.0062521 | 0.0015669 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3722-11_0_6_load_85 | 77 | 0.018838 | 0.0047213 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3722-11_0_6_load_79 | 78 | 0.011994 | 0.003006 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3722-11_0_6_load_69 | 79 | 0.0049802 | 0.0012482 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3722-11_0_6_load_68 | 80 | 0.0052748 | 0.001322 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3722-11_0_6_load_70 | 81 | 0.0083994 | 0.0021051 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3722-11_0_6_load_72 | 82 | 0.0033632 | 0.00084289 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3722-11_0_6_load_75 | 83 | 0.0029443 | 0.0007379 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3722-11_0_6_load_83 | 85 | 0.0061165 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3722-11_0_6_load_81 | 86 | 0.013873 | 0.0034769 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3722-11_0_6_load_80 | 87 | 0.012568 | 0.0031499 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3722-11_0_6_load_89 | 88 | 0.011552 | 0.0028951 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3722-11_0_6_load_87 | 89 | 0.0032425 | 0.00081265 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3722-11_0_6_load_88 | 90 | 0.011967 | 0.0029992 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3722-11_0_6_load_90 | 91 | 0.007188 | 0.0018015 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3722-11_0_6_load_97 | 92 | 0.011623 | 0.0029129 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3722-11_0_6_load_93 | 94 | 0.0011543 | 0.0002893 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3722-11_0_6_load_94 | 95 | 0.011471 | 0.002875 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3722-11_0_6_load_96 | 96 | 0.019221 | 0.0048172 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3722-11_0_6_load_98 | 97 | 0.019211 | 0.0048147 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3722-11_0_6_load_99 | 98 | 0.0093774 | 0.0023502 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3722-11_0_6_load_100 | 99 | 0.010529 | 0.0026389 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3722-11_0_6_load_101 | 100 | 0.0062189 | 0.0015586 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3722-11_0_6_load_102 | 101 | 0.0051343 | 0.0012868 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3722-11_0_6_load_105 | 102 | 0.0034911 | 0.00087496 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3722-11_0_6_load_106 | 103 | 0.0039158 | 0.0009814 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3722-11_0_6_line_0 |  | 0 | 1 | 0.0027212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_3722-11_0_6_line_1 |  | 0 | 2 | 0.01379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_3722-11_0_6_line_2 |  | 1 | 3 | 0.0041187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_3722-11_0_6_line_3 |  | 2 | 4 | 0.0039002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_3722-11_0_6_line_4 |  | 3 | 5 | 0.018054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3722-11_0_6_line_5 |  | 4 | 6 | 0.035785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3722-11_0_6_line_6 |  | 5 | 7 | 0.01642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_3722-11_0_6_line_7 |  | 6 | 8 | 0.032005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3722-11_0_6_line_8 |  | 7 | 82 | 0.015853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_3722-11_0_6_line_9 |  | 8 | 15 | 0.055219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_3722-11_0_6_line_10 |  | 9 | 10 | 0.036112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3722-11_0_6_line_11 |  | 10 | 11 | 0.0038336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3722-11_0_6_line_12 |  | 10 | 12 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3722-11_0_6_line_13 |  | 11 | 13 | 0.013496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3722-11_0_6_line_14 |  | 12 | 14 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3722-11_0_6_line_15 |  | 12 | 15 | 0.006743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3722-11_0_6_line_16 |  | 13 | 16 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3722-11_0_6_line_17 |  | 14 | 17 | 0.013107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3722-11_0_6_line_18 |  | 15 | 18 | 0.0096584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3722-11_0_6_line_19 |  | 16 | 19 | 0.014347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3722-11_0_6_line_20 |  | 17 | 23 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3722-11_0_6_line_21 |  | 18 | 92 | 0.021746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3722-11_0_6_line_22 |  | 19 | 20 | 0.0017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3722-11_0_6_line_23 |  | 20 | 21 | 0.031641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3722-11_0_6_line_24 |  | 21 | 22 | 0.0060896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3722-11_0_6_line_25 |  | 23 | 24 | 0.026777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3722-11_0_6_line_26 |  | 24 | 25 | 0.022114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3722-11_0_6_line_27 |  | 25 | 26 | 0.0016435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3722-11_0_6_line_28 |  | 26 | 27 | 0.0010615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3722-11_0_6_line_29 |  | 27 | 28 | 0.022857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3722-11_0_6_line_30 |  | 28 | 29 | 0.00014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3722-11_0_6_line_31 |  | 29 | 30 | 0.0022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3722-11_0_6_line_32 |  | 30 | 31 | 0.0023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3722-11_0_6_line_33 |  | 31 | 32 | 0.062057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3722-11_0_6_line_34 |  | 32 | 33 | 0.041131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3722-11_0_6_line_35 |  | 33 | 34 | 0.025779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3722-11_0_6_line_36 |  | 34 | 35 | 0.002759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3722-11_0_6_line_37 |  | 35 | 102 | 0.013995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3722-11_0_6_line_38 |  | 35 | 101 | 0.026949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3722-11_0_6_line_39 |  | 36 | 37 | 0.031037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3722-11_0_6_line_40 |  | 36 | 38 | 0.011599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3722-11_0_6_line_41 |  | 38 | 39 | 0.037377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3722-11_0_6_line_42 |  | 39 | 40 | 0.034746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3722-11_0_6_line_43 |  | 40 | 43 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3722-11_0_6_line_44 |  | 41 | 42 | 0.052173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3722-11_0_6_line_45 |  | 42 | 44 | 0.0087333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3722-11_0_6_line_46 |  | 43 | 46 | 0.0025007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3722-11_0_6_line_47 |  | 43 | 45 | 0.037138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3722-11_0_6_line_48 |  | 44 | 45 | 0.0032177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3722-11_0_6_line_49 |  | 46 | 47 | 0.014375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3722-11_0_6_line_50 |  | 47 | 55 | 0.0021879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3722-11_0_6_line_51 |  | 48 | 49 | 0.027757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3722-11_0_6_line_52 |  | 48 | 50 | 0.011188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3722-11_0_6_line_53 |  | 49 | 51 | 0.0076884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3722-11_0_6_line_54 |  | 51 | 52 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3722-11_0_6_line_55 |  | 52 | 53 | 0.010157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3722-11_0_6_line_56 |  | 53 | 54 | 0.001355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3722-11_0_6_line_57 |  | 54 | 61 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3722-11_0_6_line_58 |  | 55 | 77 | 0.0091228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3722-11_0_6_line_59 |  | 56 | 57 | 0.0091975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3722-11_0_6_line_60 |  | 56 | 58 | 0.013961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3722-11_0_6_line_61 |  | 57 | 59 | 0.025143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3722-11_0_6_line_62 |  | 58 | 60 | 0.0023161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3722-11_0_6_line_63 |  | 59 | 61 | 0.0028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3722-11_0_6_line_64 |  | 60 | 62 | 0.017799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3722-11_0_6_line_65 |  | 61 | 63 | 0.025183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3722-11_0_6_line_66 |  | 62 | 64 | 0.009176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
67 | LV_3722-11_0_6_line_67 |  | 62 | 65 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3722-11_0_6_line_68 |  | 63 | 66 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3722-11_0_6_line_69 |  | 63 | 67 | 0.012555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3722-11_0_6_line_70 |  | 64 | 75 | 0.012268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3722-11_0_6_line_71 |  | 64 | 76 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3722-11_0_6_line_72 |  | 65 | 77 | 0.021184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3722-11_0_6_line_73 |  | 66 | 68 | 0.015537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3722-11_0_6_line_74 |  | 68 | 69 | 0.00066825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3722-11_0_6_line_75 |  | 69 | 70 | 0.014856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3722-11_0_6_line_76 |  | 70 | 71 | 0.012398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3722-11_0_6_line_77 |  | 71 | 72 | 0.0076829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3722-11_0_6_line_78 |  | 72 | 73 | 0.0010086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3722-11_0_6_line_79 |  | 73 | 74 | 0.0061205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3722-11_0_6_line_80 |  | 75 | 78 | 0.018088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3722-11_0_6_line_81 |  | 76 | 79 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3722-11_0_6_line_82 |  | 78 | 87 | 0.00017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3722-11_0_6_line_83 |  | 79 | 80 | 2.6608e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_3722-11_0_6_line_84 |  | 80 | 81 | 0.0004752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_3722-11_0_6_line_85 |  | 81 | 82 | 0.016562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3722-11_0_6_line_86 |  | 83 | 84 | 0.036554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3722-11_0_6_line_87 |  | 84 | 85 | 0.015994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3722-11_0_6_line_88 |  | 84 | 86 | 0.020734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3722-11_0_6_line_89 |  | 85 | 88 | 0.022522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3722-11_0_6_line_90 |  | 86 | 87 | 0.0020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3722-11_0_6_line_91 |  | 88 | 89 | 0.0023849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3722-11_0_6_line_92 |  | 89 | 90 | 0.022225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3722-11_0_6_line_93 |  | 90 | 91 | 0.027259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3722-11_0_6_line_94 |  | 92 | 93 | 0.0077735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3722-11_0_6_line_95 |  | 93 | 97 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3722-11_0_6_line_96 |  | 93 | 94 | 0.016696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3722-11_0_6_line_97 |  | 94 | 95 | 0.0011698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3722-11_0_6_line_98 |  | 95 | 96 | 0.011878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3722-11_0_6_line_99 |  | 98 | 99 | 0.010633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3722-11_0_6_line_100 |  | 99 | 100 | 0.021727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3722-11_0_6_line_101 |  | 100 | 101 | 0.0041594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3722-11_0_6_line_102 |  | 102 | 103 | 0.0068165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3722-11_0_6_trafo_4 | 0.63 MVA 20/0.4 kV | 104 | 4 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2753655.4359 | 1188874.4656 | 2753653.4414 | 1188872.6144
1 | 2753655.4359 | 1188874.4656 | 2753665.5435 | 1188883.847
2 | 2753653.4414 | 1188872.6144 | 2753653.2965 | 1188872.4799 | 2753650.5557 | 1188869.676
3 | 2753665.5435 | 1188883.847 | 2753668.4021 | 1188886.5003
4 | 2753637.9358 | 1188856.7655 | 2753650.5557 | 1188869.676
5 | 2753668.4021 | 1188886.5003 | 2753694.6309 | 1188910.8445
6 | 2753626.4583 | 1188845.0236 | 2753637.9358 | 1188856.7655
7 | 2753694.6309 | 1188910.8445 | 2753698.4086 | 1188914.3508 | 2753718.5034 | 1188932.1595
8 | 2753626.4583 | 1188845.0236 | 2753615.0487 | 1188841.7503 | 2753611.091 | 1188842.2041
9 | 2753764.2809 | 1188962.9498 | 2753753.7719 | 1188954.9399 | 2753738.2281 | 1188945.6551 | 2753718.5034 | 1188932.1595
10 | 2753778.2455 | 1188946.083 | 2753751.4992 | 1188921.8191
11 | 2753778.2455 | 1188946.083 | 2753780.1569 | 1188942.76
12 | 2753778.2455 | 1188946.083 | 2753776.2548 | 1188950.4912 | 2753773.4942 | 1188953.3783 | 2753769.0589 | 1188958.1796
13 | 2753786.8863 | 1188931.0608 | 2753780.1569 | 1188942.76
14 | 2753769.0589 | 1188958.1796 | 2753780.8692 | 1188968.8533
15 | 2753764.2809 | 1188962.9498 | 2753769.0589 | 1188958.1796
16 | 2753793.8715 | 1188918.9169 | 2753786.8863 | 1188931.0608
17 | 2753790.5933 | 1188977.6416 | 2753780.8692 | 1188968.8533
18 | 2753764.2809 | 1188962.9498 | 2753760.4747 | 1188971.8267
19 | 2753793.8715 | 1188918.9169 | 2753806.9 | 1188924.9249
20 | 2753790.5933 | 1188977.6416 | 2753808.3235 | 1188993.6653
21 | 2753750.8183 | 1188991.2633 | 2753755.7162 | 1188982.9246 | 2753760.4747 | 1188971.8267
22 | 2753808.4899 | 1188925.658 | 2753806.9 | 1188924.9249
23 | 2753808.4899 | 1188925.658 | 2753837.2234 | 1188938.9082
24 | 2753842.7533 | 1188941.4583 | 2753837.2234 | 1188938.9082
25 | 2753828.1897 | 1189011.6197 | 2753808.3235 | 1188993.6653
26 | 2753828.1897 | 1189011.6197 | 2753844.5963 | 1189026.4473
27 | 2753845.8157 | 1189027.5493 | 2753844.5963 | 1189026.4473
28 | 2753845.8157 | 1189027.5493 | 2753846.6032 | 1189028.261
29 | 2753846.6032 | 1189028.261 | 2753863.5609 | 1189043.5868
30 | 2753863.5609 | 1189043.5868 | 2753863.6662 | 1189043.6819
31 | 2753863.6662 | 1189043.6819 | 2753865.3097 | 1189045.1672
32 | 2753867.0461 | 1189046.7365 | 2753865.3097 | 1189045.1672
33 | 2753913.0863 | 1189088.3458 | 2753867.0461 | 1189046.7365
34 | 2753913.0863 | 1189088.3458 | 2753878.2463 | 1189095.2451 | 2753872.7548 | 1189096.4147
35 | 2753872.7548 | 1189096.4147 | 2753847.5418 | 1189101.7848
36 | 2753844.8433 | 1189102.3595 | 2753847.5418 | 1189101.7848
37 | 2753844.8433 | 1189102.3595 | 2753840.7458 | 1189115.7411
38 | 2753844.8433 | 1189102.3595 | 2753817.9406 | 1189103.9405
39 | 2753418.2982 | 1188886.6776 | 2753389.3363 | 1188875.5203
40 | 2753429.1219 | 1188890.8473 | 2753418.2982 | 1188886.6776
41 | 2753429.1219 | 1188890.8473 | 2753430.4889 | 1188889.3255 | 2753445.7519 | 1188872.9805 | 2753458.4195 | 1188870.2038
42 | 2753458.4195 | 1188870.2038 | 2753459.5591 | 1188869.954 | 2753492.4908 | 1188863.3925
43 | 2753503.8547 | 1188860.1144 | 2753492.4908 | 1188863.3925
44 | 2753406.232 | 1188836.1642 | 2753417.4034 | 1188835.6337 | 2753436.9202 | 1188840.0152 | 2753456.7322 | 1188846.9362
45 | 2753456.7322 | 1188846.9362 | 2753464.977 | 1188849.8163
46 | 2753503.8547 | 1188860.1144 | 2753506.3074 | 1188859.6265
47 | 2753503.8547 | 1188860.1144 | 2753483.7382 | 1188856.5068 | 2753468.0106 | 1188850.8892
48 | 2753468.0106 | 1188850.8892 | 2753466.3293 | 1188850.2887 | 2753464.977 | 1188849.8163
49 | 2753506.3074 | 1188859.6265 | 2753520.4062 | 1188856.8218
50 | 2753522.552 | 1188856.3949 | 2753520.4062 | 1188856.8218
51 | 2753470.5484 | 1188901.6112 | 2753490.5556 | 1188907.5914 | 2753497.2597 | 1188909.1161
52 | 2753459.8291 | 1188898.4072 | 2753470.5484 | 1188901.6112
53 | 2753497.2597 | 1188909.1161 | 2753504.7567 | 1188910.8212
54 | 2753519.2603 | 1188914.1197 | 2753504.7567 | 1188910.8212
55 | 2753519.2603 | 1188914.1197 | 2753529.1646 | 1188916.3723
56 | 2753530.4858 | 1188916.6728 | 2753529.1646 | 1188916.3723
57 | 2753540.2687 | 1188918.8977 | 2753530.4858 | 1188916.6728
58 | 2753522.552 | 1188856.3949 | 2753531.4995 | 1188854.615
59 | 2753552.9931 | 1188883.9187 | 2753549.5926 | 1188892.4644
60 | 2753552.9931 | 1188883.9187 | 2753558.1547 | 1188870.9471
61 | 2753541.2026 | 1188916.1602 | 2753547.4484 | 1188897.8529 | 2753549.5926 | 1188892.4644
62 | 2753558.1547 | 1188870.9471 | 2753559.0111 | 1188868.7952
63 | 2753540.2687 | 1188918.8977 | 2753541.2026 | 1188916.1602
64 | 2753565.5918 | 1188852.2574 | 2753559.0111 | 1188868.7952
65 | 2753532.1322 | 1188942.7315 | 2753540.2687 | 1188918.8977
66 | 2753565.5918 | 1188852.2574 | 2753569.6194 | 1188844.0092
67 | 2753565.5918 | 1188852.2574 | 2753552.5559 | 1188852.8136
68 | 2753532.1322 | 1188942.7315 | 2753541.9887 | 1188945.9475
69 | 2753532.1322 | 1188942.7315 | 2753528.076 | 1188954.6136
70 | 2753569.6194 | 1188844.0092 | 2753572.3952 | 1188832.059
71 | 2753569.6194 | 1188844.0092 | 2753580.264 | 1188843.8871
72 | 2753531.4995 | 1188854.615 | 2753537.2772 | 1188853.4656 | 2753552.5559 | 1188852.8136
73 | 2753556.7598 | 1188950.7671 | 2753541.9887 | 1188945.9475
74 | 2753557.3951 | 1188950.9744 | 2753556.7598 | 1188950.7671
75 | 2753557.3951 | 1188950.9744 | 2753571.5187 | 1188955.5827
76 | 2753583.3049 | 1188959.4284 | 2753571.5187 | 1188955.5827
77 | 2753583.3049 | 1188959.4284 | 2753590.6089 | 1188961.8116
78 | 2753590.6089 | 1188961.8116 | 2753591.5677 | 1188962.1244
79 | 2753591.5677 | 1188962.1244 | 2753597.3863 | 1188964.023
80 | 2753572.3952 | 1188832.059 | 2753575.9257 | 1188816.8591 | 2753576.3001 | 1188814.4041
81 | 2753580.264 | 1188843.8871 | 2753583.3913 | 1188843.8512 | 2753594.0976 | 1188843.569
82 | 2753576.3001 | 1188814.4041 | 2753576.3266 | 1188814.2301
83 | 2753594.1242 | 1188843.5683 | 2753594.0976 | 1188843.569
84 | 2753594.5993 | 1188843.5558 | 2753594.1242 | 1188843.5683
85 | 2753611.091 | 1188842.2041 | 2753600.7044 | 1188843.3949 | 2753594.5993 | 1188843.5558
86 | 2753580.5197 | 1188791.9002 | 2753609.1676 | 1188814.6051
87 | 2753580.5197 | 1188791.9002 | 2753572.5623 | 1188780.4976 | 2753571.1005 | 1188779.0051
88 | 2753580.5197 | 1188791.9002 | 2753578.7246 | 1188798.5042 | 2753576.6307 | 1188812.2362
89 | 2753554.9395 | 1188763.3321 | 2753562.4851 | 1188770.2083 | 2753571.1005 | 1188779.0051
90 | 2753576.3266 | 1188814.2301 | 2753576.6307 | 1188812.2362
91 | 2753553.1767 | 1188761.7257 | 2753554.9395 | 1188763.3321
92 | 2753553.1767 | 1188761.7257 | 2753536.7493 | 1188746.7557
93 | 2753516.6012 | 1188728.3952 | 2753536.7493 | 1188746.7557
94 | 2753746.8814 | 1188997.966 | 2753750.8183 | 1188991.2633
95 | 2753746.8814 | 1188997.966 | 2753773.4412 | 1189011.7368
96 | 2753746.8814 | 1188997.966 | 2753738.3639 | 1189012.3261
97 | 2753738.3639 | 1189012.3261 | 2753737.7671 | 1189013.3322
98 | 2753737.7671 | 1189013.3322 | 2753731.7073 | 1189023.5486
99 | 2753781.498 | 1189103.4779 | 2753792.1051 | 1189104.2153
100 | 2753792.1051 | 1189104.2153 | 2753801.7975 | 1189104.8892 | 2753813.7884 | 1189104.1845
101 | 2753817.9406 | 1189103.9405 | 2753813.7884 | 1189104.1845
102 | 2753838.75 | 1189122.2589 | 2753840.7458 | 1189115.7411

## bus_geodata
| x | y | coords
0 | 2753655.4359 | 1188874.4656
1 | 2753653.4414 | 1188872.6144
2 | 2753665.5435 | 1188883.847
3 | 2753650.5557 | 1188869.676
4 | 2753668.4021 | 1188886.5003
5 | 2753637.9358 | 1188856.7655
6 | 2753694.6309 | 1188910.8445
7 | 2753626.4583 | 1188845.0236
8 | 2753718.5034 | 1188932.1595
9 | 2753751.4992 | 1188921.8191
10 | 2753778.2455 | 1188946.083
11 | 2753780.1569 | 1188942.76
12 | 2753769.0589 | 1188958.1796
13 | 2753786.8863 | 1188931.0608
14 | 2753780.8692 | 1188968.8533
15 | 2753764.2809 | 1188962.9498
16 | 2753793.8715 | 1188918.9169
17 | 2753790.5933 | 1188977.6416
18 | 2753760.4747 | 1188971.8267
19 | 2753806.9 | 1188924.9249
20 | 2753808.4899 | 1188925.658
21 | 2753837.2234 | 1188938.9082
22 | 2753842.7533 | 1188941.4583
23 | 2753808.3235 | 1188993.6654
24 | 2753828.1897 | 1189011.6197
25 | 2753844.5963 | 1189026.4473
26 | 2753845.8157 | 1189027.5493
27 | 2753846.6032 | 1189028.261
28 | 2753863.5609 | 1189043.5868
29 | 2753863.6662 | 1189043.6819
30 | 2753865.3097 | 1189045.1672
31 | 2753867.0461 | 1189046.7365
32 | 2753913.0863 | 1189088.3458
33 | 2753872.7548 | 1189096.4147
34 | 2753847.5418 | 1189101.7848
35 | 2753844.8433 | 1189102.3595
36 | 2753418.2982 | 1188886.6776
37 | 2753389.3363 | 1188875.5203
38 | 2753429.1219 | 1188890.8473
39 | 2753458.4195 | 1188870.2038
40 | 2753492.4908 | 1188863.3925
41 | 2753406.232 | 1188836.1642
42 | 2753456.7322 | 1188846.9362
43 | 2753503.8547 | 1188860.1144
44 | 2753464.977 | 1188849.8163
45 | 2753468.0106 | 1188850.8892
46 | 2753506.3074 | 1188859.6265
47 | 2753520.4062 | 1188856.8218
48 | 2753470.5484 | 1188901.6112
49 | 2753497.2597 | 1188909.1161
50 | 2753459.8291 | 1188898.4072
51 | 2753504.7567 | 1188910.8212
52 | 2753519.2603 | 1188914.1197
53 | 2753529.1646 | 1188916.3723
54 | 2753530.4858 | 1188916.6728
55 | 2753522.552 | 1188856.3949
56 | 2753552.9931 | 1188883.9187
57 | 2753549.5926 | 1188892.4644
58 | 2753558.1547 | 1188870.9471
59 | 2753541.2026 | 1188916.1602
60 | 2753559.0111 | 1188868.7952
61 | 2753540.2687 | 1188918.8977
62 | 2753565.5918 | 1188852.2574
63 | 2753532.1322 | 1188942.7315
64 | 2753569.6194 | 1188844.0092
65 | 2753552.5559 | 1188852.8136
66 | 2753541.9887 | 1188945.9475
67 | 2753528.076 | 1188954.6136
68 | 2753556.7598 | 1188950.7671
69 | 2753557.3951 | 1188950.9744
70 | 2753571.5187 | 1188955.5827
71 | 2753583.3049 | 1188959.4284
72 | 2753590.6089 | 1188961.8116
73 | 2753591.5677 | 1188962.1244
74 | 2753597.3863 | 1188964.023
75 | 2753572.3952 | 1188832.059
76 | 2753580.264 | 1188843.8871
77 | 2753531.4995 | 1188854.615
78 | 2753576.3001 | 1188814.4041
79 | 2753594.0976 | 1188843.569
80 | 2753594.1242 | 1188843.5683
81 | 2753594.5993 | 1188843.5558
82 | 2753611.091 | 1188842.2041
83 | 2753609.1676 | 1188814.6051
84 | 2753580.5197 | 1188791.9002
85 | 2753571.1005 | 1188779.0051
86 | 2753576.6307 | 1188812.2362
87 | 2753576.3266 | 1188814.2301
88 | 2753554.9395 | 1188763.3321
89 | 2753553.1767 | 1188761.7257
90 | 2753536.7493 | 1188746.7557
91 | 2753516.6012 | 1188728.3952
92 | 2753750.8183 | 1188991.2633
93 | 2753746.8814 | 1188997.966
94 | 2753738.3639 | 1189012.3261
95 | 2753737.7671 | 1189013.3322
96 | 2753731.7073 | 1189023.5486
97 | 2753773.4412 | 1189011.7368
98 | 2753781.498 | 1189103.4779
99 | 2753792.1051 | 1189104.2153
100 | 2753813.7884 | 1189104.1845
101 | 2753817.9406 | 1189103.9405
102 | 2753840.7458 | 1189115.7411
103 | 2753838.7501 | 1189122.2589
104 | 2753626.4583 | 1188845.0236

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1