## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3722-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3722-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3722-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3722-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3722-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3722-19_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_3722-19_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3722-19_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_3722-19_0_3_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_3722-19_0_3_node_49 | 0.4 | n |  | TRUE
10 | bus_LV_3722-19_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_3722-19_0_3_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_3722-19_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3722-19_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3722-19_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3722-19_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3722-19_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3722-19_0_3_node_48 | 0.4 | n |  | TRUE
18 | bus_LV_3722-19_0_3_node_51 | 0.4 | n |  | TRUE
19 | bus_LV_3722-19_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_3722-19_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3722-19_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_3722-19_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3722-19_0_3_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_3722-19_0_3_node_55 | 0.4 | n |  | TRUE
25 | bus_LV_3722-19_0_3_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3722-19_0_3_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3722-19_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_3722-19_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_3722-19_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3722-19_0_3_node_37 | 0.4 | n |  | TRUE
31 | bus_LV_3722-19_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_3722-19_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3722-19_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3722-19_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_3722-19_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_3722-19_0_3_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_3722-19_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3722-19_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_3722-19_0_3_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_3722-19_0_3_node_69 | 0.4 | n |  | TRUE
41 | bus_LV_3722-19_0_3_node_61 | 0.4 | n |  | TRUE
42 | bus_LV_3722-19_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_3722-19_0_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_3722-19_0_3_node_66 | 0.4 | n |  | TRUE
45 | bus_LV_3722-19_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_3722-19_0_3_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_3722-19_0_3_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_3722-19_0_3_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_3722-19_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_3722-19_0_3_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3722-19_0_3_node_40 | 0.4 | n |  | TRUE
52 | bus_LV_3722-19_0_3_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_3722-19_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3722-19_0_3_node_105 | 0.4 | n |  | TRUE
55 | bus_LV_3722-19_0_3_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_3722-19_0_3_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3722-19_0_3_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_3722-19_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3722-19_0_3_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_3722-19_0_3_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_3722-19_0_3_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_3722-19_0_3_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3722-19_0_3_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_3722-19_0_3_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3722-19_0_3_node_58 | 0.4 | n |  | TRUE
66 | bus_LV_3722-19_0_3_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3722-19_0_3_node_59 | 0.4 | n |  | TRUE
68 | bus_LV_3722-19_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3722-19_0_3_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_3722-19_0_3_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3722-19_0_3_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_3722-19_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_3722-19_0_3_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_3722-19_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3722-19_0_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_3722-19_0_3_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_3722-19_0_3_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_3722-19_0_3_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_3722-19_0_3_node_83 | 0.4 | n |  | TRUE
80 | bus_LV_3722-19_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_3722-19_0_3_node_74 | 0.4 | n |  | TRUE
82 | bus_LV_3722-19_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3722-19_0_3_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_3722-19_0_3_node_77 | 0.4 | n |  | TRUE
85 | bus_LV_3722-19_0_3_node_84 | 0.4 | n |  | TRUE
86 | bus_LV_3722-19_0_3_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_3722-19_0_3_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3722-19_0_3_node_92 | 0.4 | n |  | TRUE
89 | bus_LV_3722-19_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_3722-19_0_3_node_107 | 0.4 | n |  | TRUE
91 | bus_LV_3722-19_0_3_node_111 | 0.4 | n |  | TRUE
92 | bus_LV_3722-19_0_3_node_88 | 0.4 | n |  | TRUE
93 | bus_LV_3722-19_0_3_node_108 | 0.4 | n |  | TRUE
94 | bus_LV_3722-19_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_3722-19_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_3722-19_0_3_node_89 | 0.4 | n |  | TRUE
97 | bus_LV_3722-19_0_3_node_91 | 0.4 | n |  | TRUE
98 | bus_LV_3722-19_0_3_node_93 | 0.4 | n |  | TRUE
99 | bus_LV_3722-19_0_3_node_94 | 0.4 | n |  | TRUE
100 | bus_LV_3722-19_0_3_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_3722-19_0_3_node_97 | 0.4 | n |  | TRUE
102 | bus_LV_3722-19_0_3_node_98 | 0.4 | n |  | TRUE
103 | bus_LV_3722-19_0_3_node_99 | 0.4 | n |  | TRUE
104 | bus_LV_3722-19_0_3_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_3722-19_0_3_node_101 | 0.4 | n |  | TRUE
106 | bus_LV_3722-19_0_3_node_102 | 0.4 | n |  | TRUE
107 | bus_LV_3722-19_0_3_node_103 | 0.4 | n |  | TRUE
108 | bus_LV_3722-19_0_3_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_3722-19_0_3_node_110 | 0.4 | n |  | TRUE
110 | bus_MV_57_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3722-19_0_3_load_0 | 0 | 0.0019964 | 0.00050033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3722-19_0_3_load_3 | 3 | 0.005782 | 0.0014491 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3722-19_0_3_load_4 | 4 | 0.0043336 | 0.0010861 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3722-19_0_3_load_5 | 6 | 0.0037669 | 0.00094407 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3722-19_0_3_load_49 | 9 | 0.0038302 | 0.00095995 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3722-19_0_3_load_6 | 10 | 0.0028509 | 0.00071451 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3722-19_0_3_load_16 | 11 | 0.00404 | 0.0010125 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3722-19_0_3_load_7 | 12 | 0.0026857 | 0.0006731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3722-19_0_3_load_9 | 13 | 0.0053997 | 0.0013533 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3722-19_0_3_load_21 | 15 | 0.0033079 | 0.00082903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3722-19_0_3_load_17 | 16 | 0.0033177 | 0.0008315 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3722-19_0_3_load_48 | 17 | 0.0039812 | 0.00099779 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3722-19_0_3_load_51 | 18 | 0.0021481 | 0.00053837 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3722-19_0_3_load_12 | 19 | 0.0037192 | 0.00093211 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3722-19_0_3_load_11 | 20 | 0.0054576 | 0.0013678 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3722-19_0_3_load_13 | 21 | 0.0037471 | 0.00093911 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3722-19_0_3_load_14 | 22 | 0.0033766 | 0.00084627 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3722-19_0_3_load_54 | 23 | 0.0045758 | 0.0011468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3722-19_0_3_load_55 | 24 | 0.0023079 | 0.00057842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3722-19_0_3_load_24 | 26 | 0.007945 | 0.0019912 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3722-19_0_3_load_18 | 27 | 0.0036534 | 0.00091562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3722-19_0_3_load_20 | 28 | 0.0044797 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3722-19_0_3_load_22 | 29 | 0.0053498 | 0.0013408 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3722-19_0_3_load_37 | 30 | 0.004946 | 0.0012396 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3722-19_0_3_load_25 | 31 | 0.00446 | 0.0011178 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3722-19_0_3_load_35 | 32 | 0.0027455 | 0.00068808 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3722-19_0_3_load_26 | 33 | 0.0035067 | 0.00087886 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3722-19_0_3_load_28 | 34 | 0.0035888 | 0.00089944 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3722-19_0_3_load_30 | 35 | 0.0018746 | 0.00046982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3722-19_0_3_load_29 | 36 | 0.0031441 | 0.00078799 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3722-19_0_3_load_32 | 39 | 0.012636 | 0.0031668 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3722-19_0_3_load_61 | 41 | 0.0025633 | 0.00064241 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3722-19_0_3_load_65 | 42 | 0.0018883 | 0.00047325 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3722-19_0_3_load_106 | 43 | 0.0040998 | 0.0010275 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3722-19_0_3_load_60 | 45 | 0.0027587 | 0.0006914 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3722-19_0_3_load_64 | 46 | 0.0047388 | 0.0011876 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3722-19_0_3_load_34 | 47 | 0.013752 | 0.0034467 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3722-19_0_3_load_38 | 49 | 0.0047612 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3722-19_0_3_load_39 | 50 | 0.0041681 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3722-19_0_3_load_40 | 51 | 0.0042828 | 0.0010734 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3722-19_0_3_load_104 | 52 | 0.005669 | 0.0014208 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3722-19_0_3_load_41 | 53 | 0.0061659 | 0.0015453 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3722-19_0_3_load_105 | 54 | 0.0030306 | 0.00075953 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3722-19_0_3_load_42 | 55 | 0.0049658 | 0.0012445 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3722-19_0_3_load_43 | 56 | 0.0053075 | 0.0013302 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3722-19_0_3_load_44 | 57 | 0.0073685 | 0.0018467 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3722-19_0_3_load_45 | 58 | 0.0067905 | 0.0017019 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3722-19_0_3_load_46 | 59 | 0.0060966 | 0.0015279 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3722-19_0_3_load_47 | 60 | 0.0056247 | 0.0014097 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3722-19_0_3_load_52 | 61 | 0.0039959 | 0.0010015 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3722-19_0_3_load_53 | 62 | 0.0056579 | 0.001418 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3722-19_0_3_load_50 | 63 | 0.010058 | 0.0025208 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3722-19_0_3_load_57 | 64 | 0.0049857 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3722-19_0_3_load_58 | 65 | 0.0045888 | 0.0011501 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3722-19_0_3_load_59 | 67 | 0.005386 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3722-19_0_3_load_72 | 70 | 0.0032015 | 0.00080238 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3722-19_0_3_load_70 | 71 | 0.0027704 | 0.00069432 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3722-19_0_3_load_71 | 72 | 0.0040775 | 0.0010219 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3722-19_0_3_load_67 | 73 | 0.0032201 | 0.00080703 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3722-19_0_3_load_68 | 74 | 0.0037858 | 0.00094881 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3722-19_0_3_load_79 | 75 | 0.005386 | 0.0013499 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3722-19_0_3_load_78 | 77 | 0.0028002 | 0.00070179 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3722-19_0_3_load_73 | 80 | 0.0024031 | 0.00060229 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3722-19_0_3_load_74 | 81 | 0.0042168 | 0.0010568 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3722-19_0_3_load_75 | 82 | 0.0020917 | 0.00052423 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3722-19_0_3_load_76 | 83 | 0.0023746 | 0.00059514 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3722-19_0_3_load_77 | 84 | 0.0030333 | 0.00076022 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3722-19_0_3_load_84 | 85 | 0.0044558 | 0.0011167 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3722-19_0_3_load_85 | 86 | 0.0057679 | 0.0014456 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3722-19_0_3_load_92 | 88 | 0.0030855 | 0.00077329 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3722-19_0_3_load_90 | 89 | 0.0060916 | 0.0015267 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3722-19_0_3_load_107 | 90 | 0.0038777 | 0.00097184 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3722-19_0_3_load_111 | 91 | 0.0027647 | 0.00069291 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3722-19_0_3_load_88 | 92 | 0.0073675 | 0.0018465 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3722-19_0_3_load_86 | 94 | 0.0033388 | 0.00083677 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3722-19_0_3_load_87 | 95 | 0.0054356 | 0.0013623 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3722-19_0_3_load_89 | 96 | 0.0042417 | 0.0010631 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3722-19_0_3_load_91 | 97 | 0.0071046 | 0.0017806 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3722-19_0_3_load_93 | 98 | 0.0031875 | 0.00079887 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3722-19_0_3_load_94 | 99 | 0.0037487 | 0.00093952 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3722-19_0_3_load_96 | 100 | 0.0042682 | 0.0010697 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3722-19_0_3_load_97 | 101 | 0.0042178 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3722-19_0_3_load_98 | 102 | 0.0038031 | 0.00095315 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3722-19_0_3_load_99 | 103 | 0.007789 | 0.0019521 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3722-19_0_3_load_100 | 104 | 0.0099403 | 0.0024913 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3722-19_0_3_load_101 | 105 | 0.0040361 | 0.0010115 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3722-19_0_3_load_102 | 106 | 0.0057002 | 0.0014286 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3722-19_0_3_load_103 | 107 | 0.0042575 | 0.001067 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3722-19_0_3_load_109 | 108 | 0.0026482 | 0.00066369 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3722-19_0_3_load_110 | 109 | 0.0059221 | 0.0014842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3722-19_0_3_line_0 |  | 0 | 1 | 0.010621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3722-19_0_3_line_1 |  | 1 | 2 | 0.043846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3722-19_0_3_line_2 |  | 1 | 3 | 0.020961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3722-19_0_3_line_3 |  | 1 | 4 | 0.019275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3722-19_0_3_line_4 |  | 2 | 5 | 0.009953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_3722-19_0_3_line_5 |  | 2 | 6 | 0.020652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_3722-19_0_3_line_6 |  | 3 | 7 | 0.010766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3722-19_0_3_line_7 |  | 5 | 8 | 0.006624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_3722-19_0_3_line_8 |  | 5 | 9 | 0.0099365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3722-19_0_3_line_9 |  | 6 | 10 | 0.0020574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3722-19_0_3_line_10 |  | 7 | 11 | 0.020997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3722-19_0_3_line_11 |  | 8 | 15 | 0.033988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3722-19_0_3_line_12 |  | 8 | 16 | 0.010456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3722-19_0_3_line_13 |  | 9 | 17 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3722-19_0_3_line_14 |  | 10 | 12 | 0.011713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3722-19_0_3_line_15 |  | 11 | 25 | 0.01263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3722-19_0_3_line_16 |  | 12 | 13 | 0.0067673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_3722-19_0_3_line_17 |  | 13 | 14 | 0.0028632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3722-19_0_3_line_18 |  | 14 | 18 | 0.019504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3722-19_0_3_line_19 |  | 14 | 19 | 0.007515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_3722-19_0_3_line_20 |  | 15 | 30 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3722-19_0_3_line_21 |  | 16 | 27 | 0.017075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3722-19_0_3_line_22 |  | 17 | 63 | 0.00109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3722-19_0_3_line_23 |  | 19 | 20 | 0.0097894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3722-19_0_3_line_24 |  | 20 | 21 | 0.028118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_3722-19_0_3_line_25 |  | 21 | 22 | 0.029276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_3722-19_0_3_line_26 |  | 22 | 23 | 0.023936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3722-19_0_3_line_27 |  | 23 | 24 | 0.017421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_3722-19_0_3_line_28 |  | 24 | 66 | 0.023888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3722-19_0_3_line_29 |  | 25 | 26 | 0.014882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3722-19_0_3_line_30 |  | 27 | 28 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3722-19_0_3_line_31 |  | 28 | 29 | 4.4261e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3722-19_0_3_line_32 |  | 29 | 31 | 0.017857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3722-19_0_3_line_33 |  | 30 | 32 | 0.003083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3722-19_0_3_line_34 |  | 31 | 33 | 0.020889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3722-19_0_3_line_35 |  | 33 | 34 | 0.0032305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3722-19_0_3_line_36 |  | 34 | 35 | 0.0022362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3722-19_0_3_line_37 |  | 35 | 36 | 0.012504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3722-19_0_3_line_38 |  | 36 | 37 | 0.01671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3722-19_0_3_line_39 |  | 37 | 38 | 0.019543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3722-19_0_3_line_40 |  | 38 | 41 | 0.02331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3722-19_0_3_line_41 |  | 38 | 42 | 0.014953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3722-19_0_3_line_42 |  | 39 | 40 | 0.012752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3722-19_0_3_line_43 |  | 40 | 43 | 0.013089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3722-19_0_3_line_44 |  | 40 | 44 | 0.003763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3722-19_0_3_line_45 |  | 41 | 45 | 0.013022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3722-19_0_3_line_46 |  | 42 | 46 | 0.02376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3722-19_0_3_line_47 |  | 44 | 73 | 0.015706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3722-19_0_3_line_48 |  | 44 | 74 | 0.029248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3722-19_0_3_line_49 |  | 45 | 68 | 0.046911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3722-19_0_3_line_50 |  | 47 | 48 | 0.031982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3722-19_0_3_line_51 |  | 48 | 49 | 0.017733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3722-19_0_3_line_52 |  | 48 | 50 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3722-19_0_3_line_53 |  | 49 | 51 | 0.016721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3722-19_0_3_line_54 |  | 50 | 52 | 0.006159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3722-19_0_3_line_55 |  | 51 | 53 | 0.011281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3722-19_0_3_line_56 |  | 52 | 54 | 0.012002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3722-19_0_3_line_57 |  | 53 | 55 | 0.011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_3722-19_0_3_line_58 |  | 54 | 79 | 0.0078824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3722-19_0_3_line_59 |  | 55 | 56 | 0.023282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_3722-19_0_3_line_60 |  | 56 | 57 | 2.3691e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3722-19_0_3_line_61 |  | 57 | 58 | 0.029495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3722-19_0_3_line_62 |  | 58 | 59 | 0.0051976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3722-19_0_3_line_63 |  | 59 | 60 | 0.029946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3722-19_0_3_line_64 |  | 60 | 61 | 0.0084386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_3722-19_0_3_line_65 |  | 61 | 62 | 0.0026254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3722-19_0_3_line_66 |  | 62 | 64 | 0.0072043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3722-19_0_3_line_67 |  | 64 | 65 | 0.021395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3722-19_0_3_line_68 |  | 65 | 67 | 0.003441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3722-19_0_3_line_69 |  | 66 | 67 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3722-19_0_3_line_70 |  | 68 | 69 | 0.046721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3722-19_0_3_line_71 |  | 69 | 70 | 0.024295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3722-19_0_3_line_72 |  | 69 | 71 | 0.011577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3722-19_0_3_line_73 |  | 71 | 72 | 0.0060497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3722-19_0_3_line_74 |  | 73 | 75 | 0.0049279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3722-19_0_3_line_75 |  | 74 | 76 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3722-19_0_3_line_76 |  | 75 | 77 | 0.004621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3722-19_0_3_line_77 |  | 76 | 78 | 0.007681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3722-19_0_3_line_78 |  | 76 | 79 | 0.011977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_3722-19_0_3_line_79 |  | 77 | 83 | 0.014931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3722-19_0_3_line_80 |  | 78 | 87 | 0.004273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3722-19_0_3_line_81 |  | 78 | 88 | 0.036125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3722-19_0_3_line_82 |  | 78 | 89 | 0.015456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3722-19_0_3_line_83 |  | 80 | 81 | 0.003452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3722-19_0_3_line_84 |  | 80 | 82 | 0.015709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3722-19_0_3_line_85 |  | 81 | 83 | 0.0045435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3722-19_0_3_line_86 |  | 82 | 84 | 0.00096847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3722-19_0_3_line_87 |  | 84 | 85 | 0.0070929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3722-19_0_3_line_88 |  | 85 | 86 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3722-19_0_3_line_89 |  | 86 | 94 | 0.009302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3722-19_0_3_line_90 |  | 87 | 90 | 0.018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3722-19_0_3_line_91 |  | 88 | 91 | 0.020886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3722-19_0_3_line_92 |  | 89 | 92 | 0.0035884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3722-19_0_3_line_93 |  | 90 | 93 | 0.026926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3722-19_0_3_line_94 |  | 92 | 95 | 0.017582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3722-19_0_3_line_95 |  | 93 | 109 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3722-19_0_3_line_96 |  | 93 | 108 | 0.01133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3722-19_0_3_line_97 |  | 95 | 96 | 0.01089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3722-19_0_3_line_98 |  | 96 | 97 | 0.035362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3722-19_0_3_line_99 |  | 98 | 99 | 0.031954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3722-19_0_3_line_100 |  | 99 | 100 | 0.031252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3722-19_0_3_line_101 |  | 100 | 101 | 0.023714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3722-19_0_3_line_102 |  | 101 | 102 | 0.0054347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3722-19_0_3_line_103 |  | 102 | 103 | 0.023197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3722-19_0_3_line_104 |  | 103 | 104 | 0.026621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3722-19_0_3_line_105 |  | 104 | 105 | 0.0065168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3722-19_0_3_line_106 |  | 105 | 106 | 0.021799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3722-19_0_3_line_107 |  | 106 | 107 | 0.043604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3722-19_0_3_line_108 |  | 107 | 108 | 0.00084293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3722-19_0_3_trafo_34 | 0.63 MVA 20/0.4 kV | 110 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2753017.8703 | 1188609.0975 | 2753013.5611 | 1188599.4348 | 2753013.5394 | 1188599.4004
1 | 2753017.8703 | 1188609.0975 | 2753024.6893 | 1188610.4507 | 2753029.697 | 1188614.293 | 2753041.9748 | 1188624.2263 | 2753051.9191 | 1188635.2786
2 | 2753017.8703 | 1188609.0975 | 2753013.5073 | 1188618.5495 | 2753009.7142 | 1188628.3943
3 | 2753017.8703 | 1188609.0975 | 2752999.7457 | 1188602.5382
4 | 2753057.1776 | 1188643.6312 | 2753055.6531 | 1188639.978 | 2753051.9191 | 1188635.2786
5 | 2753051.9191 | 1188635.2786 | 2753059.0767 | 1188615.9067
6 | 2753005.3488 | 1188638.2355 | 2753009.7142 | 1188628.3943
7 | 2753057.1776 | 1188643.6312 | 2753059.7306 | 1188649.746
8 | 2753057.1776 | 1188643.6312 | 2753066.5565 | 1188646.9128
9 | 2753059.0767 | 1188615.9067 | 2753059.7898 | 1188613.9768
10 | 2753005.3488 | 1188638.2355 | 2752998.0263 | 1188657.9139
11 | 2753059.7306 | 1188649.746 | 2753064.8447 | 1188664.934 | 2753071.2306 | 1188681.7225
12 | 2753059.7306 | 1188649.746 | 2753054.9356 | 1188659.0377
13 | 2753078.9855 | 1188651.2617 | 2753066.5565 | 1188646.9128
14 | 2753059.7898 | 1188613.9768 | 2753063.8493 | 1188602.9898
15 | 2752993.6215 | 1188669.7513 | 2752998.0263 | 1188657.9139
16 | 2753063.8493 | 1188602.9898 | 2753066.1948 | 1188596.6419
17 | 2753067.1871 | 1188593.9562 | 2753066.1948 | 1188596.6419
18 | 2753049.3416 | 1188586.2603 | 2753059.8488 | 1188589.6317 | 2753067.1871 | 1188593.9562
19 | 2753067.1871 | 1188593.9562 | 2753070.0784 | 1188587.0197
20 | 2753076.028 | 1188703.1241 | 2753071.2306 | 1188681.7225
21 | 2753054.9356 | 1188659.0377 | 2753047.1051 | 1188674.2117
22 | 2753080.0144 | 1188651.6217 | 2753078.9855 | 1188651.2617
23 | 2753070.0784 | 1188587.0197 | 2753073.8447 | 1188577.9837
24 | 2753096.8938 | 1188563.7646 | 2753093.146 | 1188564.0501 | 2753086.0517 | 1188566.2929 | 2753073.9198 | 1188577.8036 | 2753073.8447 | 1188577.9837
25 | 2753096.8938 | 1188563.7646 | 2753106.4749 | 1188563.0345 | 2753119.1934 | 1188567.6747 | 2753124.9386 | 1188569.8082
26 | 2753124.9386 | 1188569.8082 | 2753140.7101 | 1188575.665 | 2753147.2897 | 1188578.3655
27 | 2753147.2897 | 1188578.3655 | 2753154.9849 | 1188581.5239 | 2753163.2763 | 1188585.2801
28 | 2753185.0352 | 1188595.1373 | 2753163.2763 | 1188585.2801
29 | 2752993.6215 | 1188669.7513 | 2752990.3951 | 1188678.0314 | 2752988.2479 | 1188683.6288
30 | 2753041.2835 | 1188687.1272 | 2753044.9873 | 1188678.3155 | 2753047.1051 | 1188674.2117
31 | 2753041.2835 | 1188687.1272 | 2753041.2664 | 1188687.168
32 | 2753034.3472 | 1188703.6295 | 2753041.2664 | 1188687.168
33 | 2753076.7024 | 1188706.1324 | 2753076.028 | 1188703.1241
34 | 2753034.3472 | 1188703.6295 | 2753026.2532 | 1188722.8862
35 | 2753025.0014 | 1188725.8643 | 2753026.2532 | 1188722.8862
36 | 2753025.0014 | 1188725.8643 | 2753024.1349 | 1188727.9258
37 | 2753019.2896 | 1188739.4532 | 2753024.1349 | 1188727.9258
38 | 2753012.8146 | 1188754.8579 | 2753019.2896 | 1188739.4532
39 | 2752998.8906 | 1188752.9005 | 2753001.6638 | 1188747.4223 | 2753012.8146 | 1188754.8579
40 | 2752998.8906 | 1188752.9005 | 2752989.8273 | 1188774.3765
41 | 2752998.8906 | 1188752.9005 | 2753007.4896 | 1188756.868 | 2753012.0938 | 1188759.845
42 | 2753064.1492 | 1188789.0765 | 2753053.5382 | 1188782.0034
43 | 2753064.1492 | 1188789.0765 | 2753075.0389 | 1188796.3384
44 | 2753064.1492 | 1188789.0765 | 2753062.6264 | 1188792.5183
45 | 2752984.7641 | 1188786.3738 | 2752989.8273 | 1188774.3765
46 | 2753032.0462 | 1188772.7458 | 2753012.0938 | 1188759.845
47 | 2753062.6264 | 1188792.5183 | 2753056.269 | 1188806.8797
48 | 2753062.6264 | 1188792.5183 | 2753086.8199 | 1188808.9532
49 | 2752966.5243 | 1188829.5939 | 2752984.7641 | 1188786.3738
50 | 2753092.7677 | 1188775.6968 | 2753084.7637 | 1188744.7328
51 | 2753092.7677 | 1188775.6968 | 2753100.8691 | 1188759.9224
52 | 2753092.7677 | 1188775.6968 | 2753096.8834 | 1188788.7109
53 | 2753108.5081 | 1188745.0485 | 2753100.8691 | 1188759.9224
54 | 2753096.8834 | 1188788.7109 | 2753098.7405 | 1188794.5833
55 | 2753108.5081 | 1188745.0485 | 2753113.662 | 1188735.0131
56 | 2753098.7405 | 1188794.5833 | 2753100.9933 | 1188801.7069 | 2753101.2425 | 1188806.2309
57 | 2753118.9435 | 1188724.7295 | 2753113.662 | 1188735.0131
58 | 2753101.6759 | 1188814.1015 | 2753101.2425 | 1188806.2309
59 | 2753118.9435 | 1188724.7295 | 2753129.5799 | 1188704.0191
60 | 2753129.5799 | 1188704.0191 | 2753129.5908 | 1188703.998
61 | 2753142.5029 | 1188677.4796 | 2753129.8603 | 1188703.4732 | 2753129.5908 | 1188703.998
62 | 2753142.5029 | 1188677.4796 | 2753144.7763 | 1188672.8055
63 | 2753157.8743 | 1188645.8756 | 2753144.7763 | 1188672.8055
64 | 2753157.8743 | 1188645.8756 | 2753161.5653 | 1188638.287
65 | 2753161.5653 | 1188638.287 | 2753162.7136 | 1188635.9261
66 | 2753165.8647 | 1188629.4474 | 2753162.7136 | 1188635.9261
67 | 2753165.8647 | 1188629.4474 | 2753167.1918 | 1188626.7187 | 2753176.2235 | 1188610.7334
68 | 2753176.2235 | 1188610.7334 | 2753177.9162 | 1188607.7374
69 | 2753185.0352 | 1188595.1373 | 2753177.9162 | 1188607.7374
70 | 2752966.5243 | 1188829.5939 | 2752965.5488 | 1188831.9265 | 2753004.2538 | 1188853.2555
71 | 2753004.2538 | 1188853.2555 | 2752995.1561 | 1188875.7825
72 | 2753004.2538 | 1188853.2555 | 2753008.4495 | 1188842.4655
73 | 2753010.642 | 1188836.8271 | 2753008.4495 | 1188842.4655
74 | 2753056.269 | 1188806.8797 | 2753054.2743 | 1188811.3858
75 | 2753105.9024 | 1188821.9161 | 2753086.8199 | 1188808.9532
76 | 2753052.4038 | 1188815.6113 | 2753054.2743 | 1188811.3858
77 | 2753105.9024 | 1188821.9161 | 2753112.2633 | 1188826.2491
78 | 2753101.6759 | 1188814.1015 | 2753108.1817 | 1188818.4381 | 2753105.9024 | 1188821.9161
79 | 2753045.3638 | 1188828.6532 | 2753048.1356 | 1188825.2533 | 2753052.4038 | 1188815.6113
80 | 2753114.1323 | 1188822.4047 | 2753112.2633 | 1188826.2491
81 | 2753112.2633 | 1188826.2491 | 2753142.0781 | 1188846.6473
82 | 2753112.2633 | 1188826.2491 | 2753105.4946 | 1188840.144
83 | 2753040.3117 | 1188834.8503 | 2753042.4929 | 1188832.1748
84 | 2753040.3117 | 1188834.8503 | 2753040.3117 | 1188834.8503 | 2753034.1286 | 1188849.2908
85 | 2753045.3638 | 1188828.6532 | 2753042.4929 | 1188832.1748
86 | 2753033.7474 | 1188850.1811 | 2753034.1286 | 1188849.2908
87 | 2753033.7474 | 1188850.1811 | 2753030.9555 | 1188856.7015
88 | 2753030.9555 | 1188856.7015 | 2753026.3437 | 1188867.4723
89 | 2753022.6823 | 1188876.0234 | 2753026.3437 | 1188867.4723
90 | 2753114.1323 | 1188822.4047 | 2753129.2539 | 1188832.4844
91 | 2753142.0781 | 1188846.6473 | 2753159.3159 | 1188858.4409
92 | 2753105.4946 | 1188840.144 | 2753103.9232 | 1188843.3699
93 | 2753151.6588 | 1188847.4188 | 2753129.2539 | 1188832.4844
94 | 2753096.2231 | 1188859.1767 | 2753103.9232 | 1188843.3699
95 | 2753151.6588 | 1188847.4188 | 2753171.1892 | 1188860.689
96 | 2753151.6588 | 1188847.4188 | 2753158.2369 | 1188838.1938
97 | 2753096.2231 | 1188859.1767 | 2753091.454 | 1188868.9668
98 | 2753075.9675 | 1188900.7579 | 2753091.454 | 1188868.9668
99 | 2753224.7614 | 1188639.5536 | 2753218.7707 | 1188646.3437 | 2753207.1148 | 1188666.054
100 | 2753207.1148 | 1188666.054 | 2753198.2287 | 1188681.0808 | 2753194.2795 | 1188694.2975
101 | 2753194.2795 | 1188694.2975 | 2753187.4905 | 1188717.0184
102 | 2753185.9346 | 1188722.2257 | 2753187.4905 | 1188717.0184
103 | 2753185.9346 | 1188722.2257 | 2753179.2934 | 1188744.4518
104 | 2753179.2934 | 1188744.4518 | 2753171.6722 | 1188769.9581
105 | 2753171.6722 | 1188769.9581 | 2753169.8065 | 1188776.2021
106 | 2753169.8065 | 1188776.2021 | 2753169.5728 | 1188776.9842 | 2753169.2052 | 1188791.3425 | 2753169.8601 | 1188797.9302
107 | 2753169.8601 | 1188797.9302 | 2753171.8088 | 1188817.5312 | 2753167.008 | 1188825.8933 | 2753158.7263 | 1188837.5075
108 | 2753158.2369 | 1188838.1938 | 2753158.7263 | 1188837.5075

## bus_geodata
| x | y | coords
0 | 2753013.5394 | 1188599.4004
1 | 2753017.8703 | 1188609.0975
2 | 2753051.9191 | 1188635.2786
3 | 2753009.7142 | 1188628.3943
4 | 2752999.7457 | 1188602.5382
5 | 2753057.1776 | 1188643.6312
6 | 2753059.0767 | 1188615.9067
7 | 2753005.3488 | 1188638.2355
8 | 2753059.7306 | 1188649.746
9 | 2753066.5565 | 1188646.9128
10 | 2753059.7898 | 1188613.9768
11 | 2752998.0263 | 1188657.9139
12 | 2753063.8493 | 1188602.9898
13 | 2753066.1948 | 1188596.6419
14 | 2753067.1871 | 1188593.9562
15 | 2753071.2306 | 1188681.7225
16 | 2753054.9356 | 1188659.0377
17 | 2753078.9855 | 1188651.2617
18 | 2753049.3416 | 1188586.2603
19 | 2753070.0784 | 1188587.0197
20 | 2753073.8447 | 1188577.9837
21 | 2753096.8938 | 1188563.7646
22 | 2753124.9386 | 1188569.8082
23 | 2753147.2897 | 1188578.3655
24 | 2753163.2764 | 1188585.2801
25 | 2752993.6215 | 1188669.7513
26 | 2752988.2479 | 1188683.6288
27 | 2753047.1051 | 1188674.2117
28 | 2753041.2835 | 1188687.1272
29 | 2753041.2664 | 1188687.168
30 | 2753076.028 | 1188703.1241
31 | 2753034.3472 | 1188703.6295
32 | 2753076.7024 | 1188706.1324
33 | 2753026.2532 | 1188722.8862
34 | 2753025.0014 | 1188725.8643
35 | 2753024.1349 | 1188727.9258
36 | 2753019.2896 | 1188739.4532
37 | 2753012.8146 | 1188754.8579
38 | 2752998.8906 | 1188752.9005
39 | 2753053.5382 | 1188782.0034
40 | 2753064.1492 | 1188789.0765
41 | 2752989.8273 | 1188774.3765
42 | 2753012.0937 | 1188759.845
43 | 2753075.0389 | 1188796.3384
44 | 2753062.6264 | 1188792.5183
45 | 2752984.7641 | 1188786.3738
46 | 2753032.0462 | 1188772.7458
47 | 2753084.7637 | 1188744.7328
48 | 2753092.7677 | 1188775.6968
49 | 2753100.8691 | 1188759.9224
50 | 2753096.8834 | 1188788.7109
51 | 2753108.5081 | 1188745.0485
52 | 2753098.7405 | 1188794.5833
53 | 2753113.662 | 1188735.0131
54 | 2753101.2425 | 1188806.231
55 | 2753118.9435 | 1188724.7295
56 | 2753129.5799 | 1188704.0191
57 | 2753129.5908 | 1188703.998
58 | 2753142.5029 | 1188677.4796
59 | 2753144.7763 | 1188672.8055
60 | 2753157.8743 | 1188645.8756
61 | 2753161.5653 | 1188638.287
62 | 2753162.7136 | 1188635.9261
63 | 2753080.0144 | 1188651.6217
64 | 2753165.8647 | 1188629.4474
65 | 2753176.2235 | 1188610.7334
66 | 2753185.0352 | 1188595.1373
67 | 2753177.9162 | 1188607.7374
68 | 2752966.5243 | 1188829.5939
69 | 2753004.2538 | 1188853.2555
70 | 2752995.1561 | 1188875.7825
71 | 2753008.4495 | 1188842.4655
72 | 2753010.642 | 1188836.8271
73 | 2753056.269 | 1188806.8797
74 | 2753086.8199 | 1188808.9532
75 | 2753054.2743 | 1188811.3858
76 | 2753105.9024 | 1188821.9161
77 | 2753052.4038 | 1188815.6113
78 | 2753112.2633 | 1188826.2491
79 | 2753101.6759 | 1188814.1015
80 | 2753040.3117 | 1188834.8503
81 | 2753042.4929 | 1188832.1748
82 | 2753034.1286 | 1188849.2908
83 | 2753045.3638 | 1188828.6532
84 | 2753033.7474 | 1188850.1811
85 | 2753030.9555 | 1188856.7015
86 | 2753026.3437 | 1188867.4723
87 | 2753114.1323 | 1188822.4047
88 | 2753142.0781 | 1188846.6473
89 | 2753105.4946 | 1188840.144
90 | 2753129.2539 | 1188832.4844
91 | 2753159.3159 | 1188858.4409
92 | 2753103.9232 | 1188843.3699
93 | 2753151.6588 | 1188847.4188
94 | 2753022.6823 | 1188876.0234
95 | 2753096.2231 | 1188859.1767
96 | 2753091.454 | 1188868.9668
97 | 2753075.9675 | 1188900.7579
98 | 2753224.7614 | 1188639.5536
99 | 2753207.1148 | 1188666.054
100 | 2753194.2795 | 1188694.2975
101 | 2753187.4905 | 1188717.0184
102 | 2753185.9346 | 1188722.2257
103 | 2753179.2934 | 1188744.4518
104 | 2753171.6722 | 1188769.9581
105 | 2753169.8065 | 1188776.2021
106 | 2753169.8601 | 1188797.9302
107 | 2753158.7263 | 1188837.5075
108 | 2753158.2369 | 1188838.1938
109 | 2753171.1892 | 1188860.689
110 | 2753092.7677 | 1188775.6968

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1