## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3722-7_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3722-7_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3722-7_0_6_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3722-7_0_6_node_26 | 0.4 | n |  | TRUE
4 | bus_LV_3722-7_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3722-7_0_6_node_27 | 0.4 | n |  | TRUE
6 | bus_LV_3722-7_0_6_node_30 | 0.4 | n |  | TRUE
7 | bus_LV_3722-7_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_3722-7_0_6_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3722-7_0_6_node_19 | 0.4 | n |  | TRUE
10 | bus_LV_3722-7_0_6_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_3722-7_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3722-7_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3722-7_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3722-7_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_3722-7_0_6_node_97 | 0.4 | n |  | TRUE
16 | bus_LV_3722-7_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3722-7_0_6_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_3722-7_0_6_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_3722-7_0_6_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3722-7_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3722-7_0_6_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3722-7_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3722-7_0_6_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_3722-7_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3722-7_0_6_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3722-7_0_6_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_3722-7_0_6_node_86 | 0.4 | n |  | TRUE
28 | bus_LV_3722-7_0_6_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3722-7_0_6_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_3722-7_0_6_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_3722-7_0_6_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3722-7_0_6_node_39 | 0.4 | n |  | TRUE
33 | bus_LV_3722-7_0_6_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_3722-7_0_6_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_3722-7_0_6_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3722-7_0_6_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3722-7_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_3722-7_0_6_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_3722-7_0_6_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_3722-7_0_6_node_82 | 0.4 | n |  | TRUE
41 | bus_LV_3722-7_0_6_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_3722-7_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_3722-7_0_6_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3722-7_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_3722-7_0_6_node_80 | 0.4 | n |  | TRUE
46 | bus_LV_3722-7_0_6_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_3722-7_0_6_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_3722-7_0_6_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_3722-7_0_6_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_3722-7_0_6_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_3722-7_0_6_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3722-7_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_3722-7_0_6_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3722-7_0_6_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_3722-7_0_6_node_63 | 0.4 | n |  | TRUE
56 | bus_LV_3722-7_0_6_node_112 | 0.4 | n |  | TRUE
57 | bus_LV_3722-7_0_6_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_3722-7_0_6_node_62 | 0.4 | n |  | TRUE
59 | bus_LV_3722-7_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_3722-7_0_6_node_53 | 0.4 | n |  | TRUE
61 | bus_LV_3722-7_0_6_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3722-7_0_6_node_55 | 0.4 | n |  | TRUE
63 | bus_LV_3722-7_0_6_node_56 | 0.4 | n |  | TRUE
64 | bus_LV_3722-7_0_6_node_58 | 0.4 | n |  | TRUE
65 | bus_LV_3722-7_0_6_node_65 | 0.4 | n |  | TRUE
66 | bus_LV_3722-7_0_6_node_57 | 0.4 | n |  | TRUE
67 | bus_LV_3722-7_0_6_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_3722-7_0_6_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3722-7_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3722-7_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3722-7_0_6_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3722-7_0_6_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_3722-7_0_6_node_89 | 0.4 | n |  | TRUE
74 | bus_LV_3722-7_0_6_node_114 | 0.4 | n |  | TRUE
75 | bus_LV_3722-7_0_6_node_108 | 0.4 | n |  | TRUE
76 | bus_LV_3722-7_0_6_node_87 | 0.4 | n |  | TRUE
77 | bus_LV_3722-7_0_6_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_3722-7_0_6_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_3722-7_0_6_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_3722-7_0_6_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_3722-7_0_6_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_3722-7_0_6_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_3722-7_0_6_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_3722-7_0_6_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3722-7_0_6_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3722-7_0_6_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_3722-7_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_3722-7_0_6_node_76 | 0.4 | n |  | TRUE
89 | bus_LV_3722-7_0_6_node_78 | 0.4 | n |  | TRUE
90 | bus_LV_3722-7_0_6_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_3722-7_0_6_node_88 | 0.4 | n |  | TRUE
92 | bus_LV_3722-7_0_6_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_3722-7_0_6_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_3722-7_0_6_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_3722-7_0_6_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_3722-7_0_6_node_95 | 0.4 | n |  | TRUE
97 | bus_LV_3722-7_0_6_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_3722-7_0_6_node_103 | 0.4 | n |  | TRUE
99 | bus_LV_3722-7_0_6_node_104 | 0.4 | n |  | TRUE
100 | bus_LV_3722-7_0_6_node_102 | 0.4 | n |  | TRUE
101 | bus_LV_3722-7_0_6_node_113 | 0.4 | n |  | TRUE
102 | bus_LV_3722-7_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_3722-7_0_6_node_98 | 0.4 | n |  | TRUE
104 | bus_LV_3722-7_0_6_node_100 | 0.4 | n |  | TRUE
105 | bus_LV_3722-7_0_6_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_3722-7_0_6_node_107 | 0.4 | n |  | TRUE
107 | bus_LV_3722-7_0_6_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_3722-7_0_6_node_109 | 0.4 | n |  | TRUE
109 | bus_LV_3722-7_0_6_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_3722-7_0_6_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_3722-7_0_6_node_118 | 0.4 | n |  | TRUE
112 | bus_LV_3722-7_0_6_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_3722-7_0_6_node_119 | 0.4 | n |  | TRUE
114 | bus_MV_57_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3722-7_0_6_load_0 | 0 | 0.017487 | 0.0043827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3722-7_0_6_load_1 | 1 | 0.004201 | 0.0010529 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3722-7_0_6_load_3 | 2 | 0.003212 | 0.000805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3722-7_0_6_load_4 | 4 | 0.0036956 | 0.00092621 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3722-7_0_6_load_27 | 5 | 0.0022779 | 0.0005709 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3722-7_0_6_load_30 | 6 | 0.012722 | 0.0031885 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3722-7_0_6_load_25 | 7 | 0.0034669 | 0.00086888 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3722-7_0_6_load_19 | 9 | 0.0071489 | 0.0017917 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3722-7_0_6_load_6 | 11 | 0.0035184 | 0.00088178 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3722-7_0_6_load_7 | 12 | 0.01141 | 0.0028596 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3722-7_0_6_load_8 | 13 | 0.0033574 | 0.00084144 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3722-7_0_6_load_9 | 14 | 0.0051762 | 0.0012973 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3722-7_0_6_load_97 | 15 | 0.0046851 | 0.0011742 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3722-7_0_6_load_12 | 16 | 0.0066211 | 0.0016594 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3722-7_0_6_load_101 | 17 | 0.0020701 | 0.00051882 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3722-7_0_6_load_11 | 18 | 0.0049319 | 0.0012361 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3722-7_0_6_load_14 | 20 | 0.0081001 | 0.0020301 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3722-7_0_6_load_16 | 21 | 0.004344 | 0.0010887 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3722-7_0_6_load_17 | 22 | 0.0056208 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3722-7_0_6_load_18 | 23 | 0.0082909 | 0.0020779 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3722-7_0_6_load_22 | 25 | 0.0092397 | 0.0023157 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3722-7_0_6_load_24 | 26 | 0.0028322 | 0.00070982 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3722-7_0_6_load_86 | 27 | 0.0039972 | 0.0010018 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3722-7_0_6_load_23 | 28 | 0.017659 | 0.0044258 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3722-7_0_6_load_85 | 29 | 0.0073072 | 0.0018314 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3722-7_0_6_load_31 | 30 | 0.0035135 | 0.00088057 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3722-7_0_6_load_29 | 31 | 0.0052717 | 0.0013212 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3722-7_0_6_load_37 | 33 | 0.004061 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3722-7_0_6_load_32 | 34 | 0.0031651 | 0.00079325 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3722-7_0_6_load_35 | 37 | 0.010627 | 0.0026633 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3722-7_0_6_load_41 | 38 | 0.0036824 | 0.00092289 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3722-7_0_6_load_40 | 39 | 0.0038529 | 0.00096563 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3722-7_0_6_load_82 | 40 | 0.0025525 | 0.00063971 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3722-7_0_6_load_81 | 41 | 0.0028199 | 0.00070673 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3722-7_0_6_load_38 | 42 | 0.0037797 | 0.00094727 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3722-7_0_6_load_83 | 43 | 0.0027611 | 0.000692 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3722-7_0_6_load_36 | 44 | 0.0095198 | 0.0023859 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3722-7_0_6_load_80 | 45 | 0.001304 | 0.00032682 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3722-7_0_6_load_42 | 46 | 0.0064038 | 0.0016049 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3722-7_0_6_load_43 | 47 | 0.0047264 | 0.0011846 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3722-7_0_6_load_45 | 48 | 0.006168 | 0.0015459 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3722-7_0_6_load_46 | 49 | 0.0042391 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3722-7_0_6_load_50 | 50 | 0.006735 | 0.0016879 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3722-7_0_6_load_48 | 51 | 0.0020341 | 0.00050978 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3722-7_0_6_load_47 | 52 | 0.0049937 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3722-7_0_6_load_49 | 53 | 0.0033549 | 0.00084082 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3722-7_0_6_load_51 | 54 | 0.0032595 | 0.00081691 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3722-7_0_6_load_112 | 56 | 0.0027168 | 0.00068089 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3722-7_0_6_load_110 | 57 | 0.0039497 | 0.00098989 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3722-7_0_6_load_62 | 58 | 0.015562 | 0.0039002 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3722-7_0_6_load_52 | 59 | 0.0025777 | 0.00064604 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3722-7_0_6_load_53 | 60 | 0.002987 | 0.00074862 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3722-7_0_6_load_54 | 61 | 0.0076346 | 0.0019134 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3722-7_0_6_load_55 | 62 | 0.0061851 | 0.0015501 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3722-7_0_6_load_56 | 63 | 0.0013404 | 0.00033593 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3722-7_0_6_load_58 | 64 | 0.0035735 | 0.0008956 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3722-7_0_6_load_65 | 65 | 0.0060081 | 0.0015058 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3722-7_0_6_load_57 | 66 | 0.0061926 | 0.001552 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3722-7_0_6_load_66 | 67 | 0.0031459 | 0.00078843 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3722-7_0_6_load_59 | 68 | 0.01263 | 0.0031653 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3722-7_0_6_load_61 | 71 | 0.0049311 | 0.0012358 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3722-7_0_6_load_94 | 72 | 0.0029481 | 0.00073887 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3722-7_0_6_load_89 | 73 | 0.0050403 | 0.0012632 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3722-7_0_6_load_114 | 74 | 0.0020903 | 0.00052388 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3722-7_0_6_load_108 | 75 | 0.0053956 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3722-7_0_6_load_87 | 76 | 0.0067206 | 0.0016843 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3722-7_0_6_load_67 | 77 | 0.0016539 | 0.00041451 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3722-7_0_6_load_68 | 78 | 0.0021749 | 0.00054509 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3722-7_0_6_load_71 | 79 | 0.0021477 | 0.00053827 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3722-7_0_6_load_69 | 80 | 0.0026086 | 0.00065379 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3722-7_0_6_load_70 | 81 | 0.002073 | 0.00051954 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3722-7_0_6_load_72 | 82 | 0.003537 | 0.00088646 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3722-7_0_6_load_73 | 83 | 0.0026552 | 0.00066546 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3722-7_0_6_load_74 | 84 | 0.0017744 | 0.00044471 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3722-7_0_6_load_75 | 85 | 0.0034924 | 0.00087528 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3722-7_0_6_load_79 | 86 | 0.0013267 | 0.00033249 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3722-7_0_6_load_77 | 87 | 0.0014989 | 0.00037567 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3722-7_0_6_load_76 | 88 | 0.0026954 | 0.00067554 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3722-7_0_6_load_78 | 89 | 0.0021136 | 0.00052972 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3722-7_0_6_load_84 | 90 | 0.015366 | 0.0038512 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3722-7_0_6_load_88 | 91 | 0.0042193 | 0.0010575 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3722-7_0_6_load_90 | 92 | 0.0026961 | 0.0006757 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3722-7_0_6_load_93 | 93 | 0.003087 | 0.00077367 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3722-7_0_6_load_91 | 94 | 0.0041786 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3722-7_0_6_load_92 | 95 | 0.0041014 | 0.0010279 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_3722-7_0_6_load_95 | 96 | 0.0033758 | 0.00084606 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_3722-7_0_6_load_103 | 98 | 0.010667 | 0.0026734 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_3722-7_0_6_load_104 | 99 | 0.0072599 | 0.0018195 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_3722-7_0_6_load_113 | 101 | 0.0045369 | 0.0011371 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_3722-7_0_6_load_99 | 102 | 0.003932 | 0.00098545 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_3722-7_0_6_load_98 | 103 | 0.0037549 | 0.00094107 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_3722-7_0_6_load_100 | 104 | 0.0055083 | 0.0013805 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_3722-7_0_6_load_105 | 105 | 0.01606 | 0.004025 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_3722-7_0_6_load_107 | 106 | 0.0043576 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_3722-7_0_6_load_111 | 107 | 0.0046914 | 0.0011758 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_3722-7_0_6_load_109 | 108 | 0.0052971 | 0.0013276 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_3722-7_0_6_load_115 | 109 | 0.0030384 | 0.00076149 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_3722-7_0_6_load_116 | 110 | 0.0050076 | 0.001255 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_3722-7_0_6_load_118 | 111 | 0.0026612 | 0.00066696 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_3722-7_0_6_load_117 | 112 | 0.0065187 | 0.0016337 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_3722-7_0_6_load_119 | 113 | 0.0020663 | 0.00051788 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 61 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3722-7_0_6_line_0 |  | 0 | 1 | 0.037904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3722-7_0_6_line_1 |  | 1 | 2 | 0.028056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3722-7_0_6_line_2 |  | 2 | 3 | 0.009386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3722-7_0_6_line_3 |  | 3 | 6 | 0.0026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3722-7_0_6_line_4 |  | 3 | 7 | 0.012782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3722-7_0_6_line_5 |  | 4 | 5 | 0.038027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3722-7_0_6_line_6 |  | 5 | 8 | 0.037524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3722-7_0_6_line_7 |  | 6 | 30 | 0.013713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3722-7_0_6_line_8 |  | 7 | 28 | 0.0074249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3722-7_0_6_line_9 |  | 8 | 31 | 0.024283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3722-7_0_6_line_10 |  | 9 | 10 | 0.033665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3722-7_0_6_line_11 |  | 10 | 24 | 0.018379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3722-7_0_6_line_12 |  | 10 | 25 | 0.037958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3722-7_0_6_line_13 |  | 11 | 12 | 0.0070711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3722-7_0_6_line_14 |  | 11 | 13 | 0.0079183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3722-7_0_6_line_15 |  | 12 | 14 | 0.012614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3722-7_0_6_line_16 |  | 14 | 15 | 0.0056582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3722-7_0_6_line_17 |  | 14 | 16 | 0.0042373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3722-7_0_6_line_18 |  | 15 | 17 | 0.0087952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3722-7_0_6_line_19 |  | 16 | 18 | 0.012007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3722-7_0_6_line_20 |  | 17 | 102 | 3.0359e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3722-7_0_6_line_21 |  | 18 | 19 | 0.052947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3722-7_0_6_line_22 |  | 19 | 20 | 0.029693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3722-7_0_6_line_23 |  | 20 | 21 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3722-7_0_6_line_24 |  | 21 | 22 | 0.020964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3722-7_0_6_line_25 |  | 22 | 23 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3722-7_0_6_line_26 |  | 24 | 26 | 0.0063686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3722-7_0_6_line_27 |  | 24 | 27 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3722-7_0_6_line_28 |  | 26 | 28 | 0.0075386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3722-7_0_6_line_29 |  | 27 | 29 | 0.026703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3722-7_0_6_line_30 |  | 30 | 34 | 0.0082269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3722-7_0_6_line_31 |  | 31 | 32 | 0.049487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3722-7_0_6_line_32 |  | 32 | 33 | 0.022886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3722-7_0_6_line_33 |  | 33 | 44 | 0.01902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3722-7_0_6_line_34 |  | 34 | 35 | 0.0067991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3722-7_0_6_line_35 |  | 35 | 36 | 0.023236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3722-7_0_6_line_36 |  | 35 | 37 | 0.017338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3722-7_0_6_line_37 |  | 36 | 38 | 0.0014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3722-7_0_6_line_38 |  | 36 | 39 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3722-7_0_6_line_39 |  | 37 | 40 | 0.020771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3722-7_0_6_line_40 |  | 38 | 41 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3722-7_0_6_line_41 |  | 39 | 42 | 0.0022563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3722-7_0_6_line_42 |  | 40 | 43 | 0.013891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3722-7_0_6_line_43 |  | 41 | 45 | 0.0026443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3722-7_0_6_line_44 |  | 42 | 44 | 0.021775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3722-7_0_6_line_45 |  | 43 | 90 | 0.0082638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3722-7_0_6_line_46 |  | 45 | 89 | 0.0018118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3722-7_0_6_line_47 |  | 46 | 47 | 0.0029546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3722-7_0_6_line_48 |  | 47 | 48 | 0.0085717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3722-7_0_6_line_49 |  | 48 | 49 | 0.0011277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3722-7_0_6_line_50 |  | 49 | 50 | 0.0046232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3722-7_0_6_line_51 |  | 50 | 51 | 0.0041558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3722-7_0_6_line_52 |  | 51 | 52 | 0.00312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3722-7_0_6_line_53 |  | 52 | 53 | 0.0048915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3722-7_0_6_line_54 |  | 53 | 54 | 0.019977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3722-7_0_6_line_55 |  | 54 | 55 | 0.014199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3722-7_0_6_line_56 |  | 55 | 56 | 0.0098965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3722-7_0_6_line_57 |  | 55 | 57 | 0.017854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_3722-7_0_6_line_58 |  | 55 | 58 | 0.017172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3722-7_0_6_line_59 |  | 56 | 74 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3722-7_0_6_line_60 |  | 57 | 75 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_3722-7_0_6_line_61 |  | 58 | 71 | 0.012184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3722-7_0_6_line_62 |  | 59 | 60 | 0.002496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3722-7_0_6_line_63 |  | 59 | 61 | 0.0038964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3722-7_0_6_line_64 |  | 60 | 62 | 0.0014964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_3722-7_0_6_line_65 |  | 61 | 63 | 0.0034554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_3722-7_0_6_line_66 |  | 62 | 64 | 0.0095964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
67 | LV_3722-7_0_6_line_67 |  | 63 | 65 | 0.0016388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_3722-7_0_6_line_68 |  | 64 | 66 | 0.0025928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_3722-7_0_6_line_69 |  | 65 | 67 | 0.0045228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3722-7_0_6_line_70 |  | 66 | 68 | 0.0041166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3722-7_0_6_line_71 |  | 67 | 77 | 0.0065696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3722-7_0_6_line_72 |  | 68 | 69 | 0.014486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_3722-7_0_6_line_73 |  | 69 | 70 | 0.01102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3722-7_0_6_line_74 |  | 69 | 71 | 0.010033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_3722-7_0_6_line_75 |  | 70 | 72 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3722-7_0_6_line_76 |  | 70 | 73 | 0.0086411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3722-7_0_6_line_77 |  | 73 | 76 | 0.0046861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3722-7_0_6_line_78 |  | 74 | 109 | 0.0016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3722-7_0_6_line_79 |  | 75 | 108 | 0.0022938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3722-7_0_6_line_80 |  | 76 | 91 | 0.010057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3722-7_0_6_line_81 |  | 77 | 78 | 0.0016808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3722-7_0_6_line_82 |  | 78 | 79 | 0.0018323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_3722-7_0_6_line_83 |  | 79 | 80 | 0.0031125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_3722-7_0_6_line_84 |  | 80 | 81 | 0.0023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_3722-7_0_6_line_85 |  | 81 | 82 | 0.0030089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3722-7_0_6_line_86 |  | 82 | 83 | 0.0060828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_3722-7_0_6_line_87 |  | 83 | 84 | 0.0018792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3722-7_0_6_line_88 |  | 84 | 85 | 0.007279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_3722-7_0_6_line_89 |  | 85 | 86 | 0.0045096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_3722-7_0_6_line_90 |  | 86 | 87 | 0.0075148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_3722-7_0_6_line_91 |  | 87 | 88 | 0.0017159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_3722-7_0_6_line_92 |  | 88 | 89 | 0.0044478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_3722-7_0_6_line_93 |  | 91 | 92 | 0.0051028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3722-7_0_6_line_94 |  | 92 | 93 | 0.011099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3722-7_0_6_line_95 |  | 93 | 94 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3722-7_0_6_line_96 |  | 94 | 95 | 0.003974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3722-7_0_6_line_97 |  | 96 | 97 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3722-7_0_6_line_98 |  | 97 | 98 | 0.0095182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3722-7_0_6_line_99 |  | 97 | 99 | 0.0085068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3722-7_0_6_line_100 |  | 98 | 100 | 0.00098718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3722-7_0_6_line_101 |  | 99 | 101 | 0.002365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3722-7_0_6_line_102 |  | 100 | 105 | 0.0089077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3722-7_0_6_line_103 |  | 100 | 104 | 0.0090223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3722-7_0_6_line_104 |  | 101 | 107 | 0.01476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3722-7_0_6_line_105 |  | 102 | 103 | 0.011358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3722-7_0_6_line_106 |  | 103 | 104 | 0.0066218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3722-7_0_6_line_107 |  | 105 | 106 | 0.018863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3722-7_0_6_line_108 |  | 107 | 108 | 0.0013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3722-7_0_6_line_109 |  | 109 | 110 | 0.0057745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3722-7_0_6_line_110 |  | 110 | 111 | 0.0091109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3722-7_0_6_line_111 |  | 111 | 112 | 0.003676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3722-7_0_6_line_112 |  | 112 | 113 | 0.00022379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3722-7_0_6_trafo_54 | 0.63 MVA 20/0.4 kV | 114 | 61 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2753264.8324 | 1188919.4642 | 2753278.3069 | 1188923.7572 | 2753301.1851 | 1188930.1762
1 | 2753328.1981 | 1188937.7554 | 2753301.1851 | 1188930.1762
2 | 2753337.2351 | 1188940.291 | 2753328.1981 | 1188937.7554
3 | 2753337.2351 | 1188940.291 | 2753339.7689 | 1188941.0025
4 | 2753337.2351 | 1188940.291 | 2753332.6883 | 1188952.237
5 | 2753287.7663 | 1188883.1204 | 2753298.8612 | 1188879.8907 | 2753325.0157 | 1188875.8079
6 | 2753360.2839 | 1188864.3281 | 2753342.675 | 1188873.0512 | 2753325.0157 | 1188875.8079
7 | 2753352.9712 | 1188944.7096 | 2753339.7689 | 1188941.0025
8 | 2753332.6883 | 1188952.237 | 2753330.0471 | 1188959.1763
9 | 2753360.2839 | 1188864.3281 | 2753382.9435 | 1188873.0575
10 | 2753312.936 | 1188984.951 | 2753299.7942 | 1188983.1686 | 2753279.534 | 1188980.7586
11 | 2753325.1002 | 1188972.1739 | 2753314.674 | 1188979.6688 | 2753312.936 | 1188984.951
12 | 2753312.936 | 1188984.951 | 2753309.2529 | 1188996.155 | 2753302.1074 | 1189007.5595 | 2753312.6591 | 1189014.6385
13 | 2753462.9116 | 1189125.6939 | 2753462.9481 | 1189118.6229
14 | 2753462.9116 | 1189125.6939 | 2753462.8707 | 1189133.6121
15 | 2753463.0134 | 1189106.0089 | 2753462.9481 | 1189118.6229
16 | 2753463.0134 | 1189106.0089 | 2753468.6714 | 1189105.9705
17 | 2753463.0134 | 1189106.0089 | 2753458.8212 | 1189106.626
18 | 2753477.4664 | 1189105.9109 | 2753468.6714 | 1189105.9705
19 | 2753446.9422 | 1189108.3747 | 2753458.8212 | 1189106.626
20 | 2753477.4664 | 1189105.9109 | 2753477.4967 | 1189105.9107
21 | 2753394.5599 | 1189116.0856 | 2753446.9422 | 1189108.3747
22 | 2753394.5599 | 1189116.0856 | 2753393.561 | 1189094.9199 | 2753392.9381 | 1189086.4394
23 | 2753392.1913 | 1189075.0923 | 2753392.2033 | 1189076.4362 | 2753392.9381 | 1189086.4394
24 | 2753392.1913 | 1189075.0923 | 2753392.0611 | 1189060.5524 | 2753394.6391 | 1189054.6687
25 | 2753394.6391 | 1189054.6687 | 2753396.7301 | 1189049.8964 | 2753402.6389 | 1189048.035 | 2753409.1059 | 1189046.7973
26 | 2753325.1002 | 1188972.1739 | 2753327.3656 | 1188966.2218
27 | 2753325.1002 | 1188972.1739 | 2753335.3399 | 1188984.2167
28 | 2753327.3656 | 1188966.2218 | 2753330.0471 | 1188959.1763
29 | 2753349.9215 | 1189006.4859 | 2753340.3243 | 1188990.0788 | 2753335.3399 | 1188984.2167
30 | 2753352.9712 | 1188944.7096 | 2753360.8917 | 1188946.9336
31 | 2753429.1219 | 1188890.8473 | 2753382.9435 | 1188873.0575
32 | 2753429.1219 | 1188890.8473 | 2753413.8249 | 1188907.8706
33 | 2753404.4989 | 1188924.3912 | 2753412.5852 | 1188909.2503 | 2753413.8249 | 1188907.8706
34 | 2753367.4377 | 1188948.7716 | 2753360.8917 | 1188946.9336
35 | 2753367.4377 | 1188948.7716 | 2753389.657 | 1188955.78
36 | 2753367.4377 | 1188948.7716 | 2753360.362 | 1188964.5997
37 | 2753389.657 | 1188955.78 | 2753390.9172 | 1188956.3956
38 | 2753389.657 | 1188955.78 | 2753394.0638 | 1188946.0245
39 | 2753360.362 | 1188964.5997 | 2753351.8851 | 1188983.5625
40 | 2753402.0787 | 1188961.8473 | 2753390.9172 | 1188956.3956
41 | 2753394.0638 | 1188946.0245 | 2753394.9926 | 1188943.9682
42 | 2753357.777 | 1188992.6311 | 2753349.9505 | 1188987.8902 | 2753351.8851 | 1188983.5625
43 | 2753404.4547 | 1188963.0078 | 2753402.0787 | 1188961.8473
44 | 2753404.4989 | 1188924.3912 | 2753400.1995 | 1188932.4415 | 2753394.9926 | 1188943.9682
45 | 2753364.8452 | 1188996.9126 | 2753357.777 | 1188992.6311
46 | 2753404.4547 | 1188963.0078 | 2753406.0826 | 1188963.803
47 | 2753522.0152 | 1188972.7256 | 2753521.3708 | 1188975.6091
48 | 2753521.3708 | 1188975.6091 | 2753519.5016 | 1188983.9745
49 | 2753519.2556 | 1188985.0751 | 2753519.5016 | 1188983.9745
50 | 2753519.2556 | 1188985.0751 | 2753518.2474 | 1188989.587
51 | 2753517.3412 | 1188993.6428 | 2753518.2474 | 1188989.587
52 | 2753516.6608 | 1188996.6878 | 2753517.3412 | 1188993.6428
53 | 2753516.6608 | 1188996.6878 | 2753515.594 | 1189001.4615
54 | 2753513.1074 | 1189021.264 | 2753514.8488 | 1189004.7964 | 2753515.594 | 1189001.4615
55 | 2753511.6143 | 1189035.3838 | 2753513.1074 | 1189021.264
56 | 2753511.6143 | 1189035.3838 | 2753521.2781 | 1189037.5173
57 | 2753511.6143 | 1189035.3838 | 2753508.7097 | 1189052.9999
58 | 2753511.6143 | 1189035.3838 | 2753494.4501 | 1189035.8937
59 | 2753521.2781 | 1189037.5173 | 2753525.122 | 1189038.366 | 2753535.2433 | 1189042.0746
60 | 2753506.4514 | 1189066.6962 | 2753508.7097 | 1189052.9999
61 | 2753482.2715 | 1189036.2555 | 2753494.4501 | 1189035.8937
62 | 2753454.1616 | 1189006.8744 | 2753455.5489 | 1189008.9494
63 | 2753454.1616 | 1189006.8744 | 2753451.996 | 1189003.6353
64 | 2753455.5489 | 1189008.9494 | 2753456.3807 | 1189010.1934
65 | 2753450.0754 | 1189000.7628 | 2753451.996 | 1189003.6353
66 | 2753461.7145 | 1189018.171 | 2753456.3807 | 1189010.1934
67 | 2753450.0754 | 1189000.7628 | 2753449.1646 | 1188999.4005
68 | 2753463.112 | 1189020.3537 | 2753462.6731 | 1189019.6049 | 2753461.7145 | 1189018.171
69 | 2753446.6508 | 1188995.6406 | 2753449.1646 | 1188999.4005
70 | 2753463.112 | 1189020.3537 | 2753465.1937 | 1189023.9052
71 | 2753446.6508 | 1188995.6406 | 2753446.6508 | 1188995.6406 | 2753442.0732 | 1188990.9284
72 | 2753472.2434 | 1189036.5534 | 2753469.9262 | 1189031.979 | 2753465.1937 | 1189023.9052
73 | 2753477.3888 | 1189046.3046 | 2753472.2434 | 1189036.5534
74 | 2753472.2434 | 1189036.5534 | 2753482.2715 | 1189036.2555
75 | 2753477.3888 | 1189046.3046 | 2753485.2038 | 1189061.1212
76 | 2753477.3888 | 1189046.3046 | 2753469.2766 | 1189049.2813
77 | 2753464.8774 | 1189050.8956 | 2753469.2766 | 1189049.2813
78 | 2753535.2433 | 1189042.0746 | 2753536.8335 | 1189042.6573
79 | 2753506.4514 | 1189066.6962 | 2753506.0782 | 1189068.9594
80 | 2753464.8774 | 1189050.8956 | 2753456.6262 | 1189053.9234 | 2753455.3894 | 1189054.203
81 | 2753440.9021 | 1188989.7228 | 2753442.0732 | 1188990.9284
82 | 2753440.9021 | 1188989.7228 | 2753439.6254 | 1188988.4085
83 | 2753437.4567 | 1188986.176 | 2753439.6254 | 1188988.4085
84 | 2753437.4567 | 1188986.176 | 2753435.8026 | 1188984.4733
85 | 2753435.8026 | 1188984.4733 | 2753433.7061 | 1188982.3151
86 | 2753429.4677 | 1188977.952 | 2753433.7061 | 1188982.3151
87 | 2753429.4677 | 1188977.952 | 2753429.4677 | 1188977.952 | 2753427.871 | 1188976.9612
88 | 2753421.6862 | 1188973.123 | 2753427.871 | 1188976.9612
89 | 2753421.6862 | 1188973.123 | 2753417.8545 | 1188970.7451
90 | 2753411.4693 | 1188966.7826 | 2753417.8545 | 1188970.7451
91 | 2753410.0114 | 1188965.8778 | 2753411.4693 | 1188966.7826
92 | 2753410.0114 | 1188965.8778 | 2753408.8319 | 1188965.1458 | 2753406.0826 | 1188963.803
93 | 2753450.4122 | 1189055.3282 | 2753455.3894 | 1189054.203
94 | 2753439.5863 | 1189057.7757 | 2753450.4122 | 1189055.3282
95 | 2753426.9035 | 1189060.6429 | 2753439.5863 | 1189057.7757
96 | 2753426.9035 | 1189060.6429 | 2753423.0274 | 1189061.5192
97 | 2753501.6815 | 1189095.6246 | 2753497.9238 | 1189086.0585
98 | 2753501.6815 | 1189095.6246 | 2753503.4129 | 1189100.7177 | 2753504.2889 | 1189104.7628
99 | 2753501.6815 | 1189095.6246 | 2753503.0655 | 1189087.2311
100 | 2753504.4978 | 1189105.7276 | 2753504.2889 | 1189104.7628
101 | 2753503.4502 | 1189084.8977 | 2753503.0655 | 1189087.2311
102 | 2753504.4978 | 1189105.7276 | 2753505.4688 | 1189114.5822
103 | 2753504.4978 | 1189105.7276 | 2753495.4757 | 1189105.7887
104 | 2753503.4502 | 1189084.8977 | 2753505.8514 | 1189070.3345
105 | 2753488.8541 | 1189105.8337 | 2753477.4967 | 1189105.9107
106 | 2753488.8541 | 1189105.8337 | 2753495.4757 | 1189105.7887
107 | 2753505.3459 | 1189133.4132 | 2753505.9547 | 1189123.6023 | 2753505.4688 | 1189114.5822 | 2753505.4688 | 1189114.5822
108 | 2753506.0782 | 1189068.9594 | 2753505.8514 | 1189070.3345
109 | 2753536.8335 | 1189042.6573 | 2753542.2555 | 1189044.644
110 | 2753550.8101 | 1189047.7786 | 2753542.2555 | 1189044.644
111 | 2753554.2617 | 1189049.0433 | 2753550.8101 | 1189047.7786
112 | 2753554.4719 | 1189049.1203 | 2753554.2617 | 1189049.0433

## bus_geodata
| x | y | coords
0 | 2753264.8324 | 1188919.4642
1 | 2753301.1851 | 1188930.1762
2 | 2753328.1981 | 1188937.7554
3 | 2753337.2351 | 1188940.291
4 | 2753287.7663 | 1188883.1204
5 | 2753325.0157 | 1188875.8079
6 | 2753339.7689 | 1188941.0025
7 | 2753332.6883 | 1188952.237
8 | 2753360.2839 | 1188864.3281
9 | 2753279.534 | 1188980.7586
10 | 2753312.936 | 1188984.951
11 | 2753462.9116 | 1189125.6939
12 | 2753462.9481 | 1189118.6229
13 | 2753462.8707 | 1189133.6121
14 | 2753463.0134 | 1189106.0089
15 | 2753468.6714 | 1189105.9705
16 | 2753458.8212 | 1189106.626
17 | 2753477.4664 | 1189105.9109
18 | 2753446.9422 | 1189108.3747
19 | 2753394.5599 | 1189116.0856
20 | 2753392.9381 | 1189086.4394
21 | 2753392.1913 | 1189075.0923
22 | 2753394.6391 | 1189054.6687
23 | 2753409.1059 | 1189046.7973
24 | 2753325.1002 | 1188972.1739
25 | 2753312.6591 | 1189014.6385
26 | 2753327.3656 | 1188966.2218
27 | 2753335.3399 | 1188984.2167
28 | 2753330.0471 | 1188959.1763
29 | 2753349.9215 | 1189006.4859
30 | 2753352.9712 | 1188944.7096
31 | 2753382.9435 | 1188873.0575
32 | 2753429.1219 | 1188890.8473
33 | 2753413.8249 | 1188907.8706
34 | 2753360.8918 | 1188946.9336
35 | 2753367.4377 | 1188948.7716
36 | 2753389.657 | 1188955.78
37 | 2753360.362 | 1188964.5997
38 | 2753390.9172 | 1188956.3956
39 | 2753394.0638 | 1188946.0245
40 | 2753351.8851 | 1188983.5625
41 | 2753402.0787 | 1188961.8473
42 | 2753394.9926 | 1188943.9682
43 | 2753357.777 | 1188992.6311
44 | 2753404.4989 | 1188924.3912
45 | 2753404.4547 | 1188963.0078
46 | 2753522.0152 | 1188972.7256
47 | 2753521.3708 | 1188975.6091
48 | 2753519.5016 | 1188983.9745
49 | 2753519.2556 | 1188985.0751
50 | 2753518.2474 | 1188989.587
51 | 2753517.3412 | 1188993.6428
52 | 2753516.6608 | 1188996.6878
53 | 2753515.594 | 1189001.4615
54 | 2753513.1074 | 1189021.264
55 | 2753511.6143 | 1189035.3838
56 | 2753521.2781 | 1189037.5173
57 | 2753508.7097 | 1189052.9999
58 | 2753494.4501 | 1189035.8937
59 | 2753454.1616 | 1189006.8744
60 | 2753455.5489 | 1189008.9494
61 | 2753451.996 | 1189003.6353
62 | 2753456.3807 | 1189010.1934
63 | 2753450.0754 | 1189000.7628
64 | 2753461.7145 | 1189018.171
65 | 2753449.1646 | 1188999.4005
66 | 2753463.112 | 1189020.3537
67 | 2753446.6508 | 1188995.6406
68 | 2753465.1937 | 1189023.9052
69 | 2753472.2434 | 1189036.5534
70 | 2753477.3888 | 1189046.3046
71 | 2753482.2715 | 1189036.2555
72 | 2753485.2038 | 1189061.1212
73 | 2753469.2766 | 1189049.2813
74 | 2753535.2433 | 1189042.0746
75 | 2753506.4514 | 1189066.6962
76 | 2753464.8774 | 1189050.8956
77 | 2753442.0732 | 1188990.9284
78 | 2753440.9021 | 1188989.7228
79 | 2753439.6254 | 1188988.4085
80 | 2753437.4567 | 1188986.176
81 | 2753435.8026 | 1188984.4733
82 | 2753433.7061 | 1188982.3151
83 | 2753429.4677 | 1188977.952
84 | 2753427.871 | 1188976.9612
85 | 2753421.6862 | 1188973.123
86 | 2753417.8545 | 1188970.7451
87 | 2753411.4693 | 1188966.7826
88 | 2753410.0114 | 1188965.8778
89 | 2753406.0826 | 1188963.803
90 | 2753364.8452 | 1188996.9126
91 | 2753455.3894 | 1189054.203
92 | 2753450.4122 | 1189055.3282
93 | 2753439.5863 | 1189057.7757
94 | 2753426.9035 | 1189060.6429
95 | 2753423.0274 | 1189061.5192
96 | 2753497.9238 | 1189086.0585
97 | 2753501.6815 | 1189095.6246
98 | 2753504.2889 | 1189104.7628
99 | 2753503.0655 | 1189087.2311
100 | 2753504.4978 | 1189105.7276
101 | 2753503.4502 | 1189084.8977
102 | 2753477.4967 | 1189105.9107
103 | 2753488.8541 | 1189105.8337
104 | 2753495.4757 | 1189105.7887
105 | 2753505.4688 | 1189114.5822
106 | 2753505.3459 | 1189133.4132
107 | 2753505.8514 | 1189070.3345
108 | 2753506.0782 | 1189068.9594
109 | 2753536.8335 | 1189042.6573
110 | 2753542.2555 | 1189044.644
111 | 2753550.8101 | 1189047.7786
112 | 2753554.2617 | 1189049.0433
113 | 2753554.4719 | 1189049.1203
114 | 2753472.2434 | 1189036.5534

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1