## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3723-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3723-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3723-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3723-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3723-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3723-2_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3723-2_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3723-2_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3723-2_0_3_node_191 | 0.4 | n |  | TRUE
9 | bus_LV_3723-2_0_3_node_193 | 0.4 | n |  | TRUE
10 | bus_LV_3723-2_0_3_node_181 | 0.4 | n |  | TRUE
11 | bus_LV_3723-2_0_3_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_3723-2_0_3_node_210 | 0.4 | n |  | TRUE
13 | bus_LV_3723-2_0_3_node_70 | 0.4 | n |  | TRUE
14 | bus_LV_3723-2_0_3_node_71 | 0.4 | n |  | TRUE
15 | bus_LV_3723-2_0_3_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_3723-2_0_3_node_73 | 0.4 | n |  | TRUE
17 | bus_LV_3723-2_0_3_node_74 | 0.4 | n |  | TRUE
18 | bus_LV_3723-2_0_3_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_3723-2_0_3_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_3723-2_0_3_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_3723-2_0_3_node_209 | 0.4 | n |  | TRUE
22 | bus_LV_3723-2_0_3_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_3723-2_0_3_node_170 | 0.4 | n |  | TRUE
24 | bus_LV_3723-2_0_3_node_208 | 0.4 | n |  | TRUE
25 | bus_LV_3723-2_0_3_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_3723-2_0_3_node_78 | 0.4 | n |  | TRUE
27 | bus_LV_3723-2_0_3_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_3723-2_0_3_node_81 | 0.4 | n |  | TRUE
29 | bus_LV_3723-2_0_3_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_3723-2_0_3_node_83 | 0.4 | n |  | TRUE
31 | bus_LV_3723-2_0_3_node_84 | 0.4 | n |  | TRUE
32 | bus_LV_3723-2_0_3_node_85 | 0.4 | n |  | TRUE
33 | bus_LV_3723-2_0_3_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_3723-2_0_3_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_3723-2_0_3_node_90 | 0.4 | n |  | TRUE
36 | bus_LV_3723-2_0_3_node_91 | 0.4 | n |  | TRUE
37 | bus_LV_3723-2_0_3_node_92 | 0.4 | n |  | TRUE
38 | bus_LV_3723-2_0_3_node_93 | 0.4 | n |  | TRUE
39 | bus_LV_3723-2_0_3_node_94 | 0.4 | n |  | TRUE
40 | bus_LV_3723-2_0_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_3723-2_0_3_node_96 | 0.4 | n |  | TRUE
42 | bus_LV_3723-2_0_3_node_107 | 0.4 | n |  | TRUE
43 | bus_LV_3723-2_0_3_node_100 | 0.4 | n |  | TRUE
44 | bus_LV_3723-2_0_3_node_101 | 0.4 | n |  | TRUE
45 | bus_LV_3723-2_0_3_node_102 | 0.4 | n |  | TRUE
46 | bus_LV_3723-2_0_3_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_3723-2_0_3_node_104 | 0.4 | n |  | TRUE
48 | bus_LV_3723-2_0_3_node_152 | 0.4 | n |  | TRUE
49 | bus_LV_3723-2_0_3_node_145 | 0.4 | n |  | TRUE
50 | bus_LV_3723-2_0_3_node_146 | 0.4 | n |  | TRUE
51 | bus_LV_3723-2_0_3_node_148 | 0.4 | n |  | TRUE
52 | bus_LV_3723-2_0_3_node_150 | 0.4 | n |  | TRUE
53 | bus_LV_3723-2_0_3_node_151 | 0.4 | n |  | TRUE
54 | bus_LV_3723-2_0_3_node_163 | 0.4 | n |  | TRUE
55 | bus_LV_3723-2_0_3_node_162 | 0.4 | n |  | TRUE
56 | bus_LV_3723-2_0_3_node_153 | 0.4 | n |  | TRUE
57 | bus_LV_3723-2_0_3_node_154 | 0.4 | n |  | TRUE
58 | bus_LV_3723-2_0_3_node_155 | 0.4 | n |  | TRUE
59 | bus_LV_3723-2_0_3_node_156 | 0.4 | n |  | TRUE
60 | bus_LV_3723-2_0_3_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_3723-2_0_3_node_158 | 0.4 | n |  | TRUE
62 | bus_LV_3723-2_0_3_node_159 | 0.4 | n |  | TRUE
63 | bus_LV_3723-2_0_3_node_168 | 0.4 | n |  | TRUE
64 | bus_LV_3723-2_0_3_node_160 | 0.4 | n |  | TRUE
65 | bus_LV_3723-2_0_3_node_161 | 0.4 | n |  | TRUE
66 | bus_LV_3723-2_0_3_node_164 | 0.4 | n |  | TRUE
67 | bus_LV_3723-2_0_3_node_165 | 0.4 | n |  | TRUE
68 | bus_LV_3723-2_0_3_node_166 | 0.4 | n |  | TRUE
69 | bus_LV_3723-2_0_3_node_167 | 0.4 | n |  | TRUE
70 | bus_LV_3723-2_0_3_node_178 | 0.4 | n |  | TRUE
71 | bus_LV_3723-2_0_3_node_179 | 0.4 | n |  | TRUE
72 | bus_LV_3723-2_0_3_node_169 | 0.4 | n |  | TRUE
73 | bus_LV_3723-2_0_3_node_171 | 0.4 | n |  | TRUE
74 | bus_LV_3723-2_0_3_node_172 | 0.4 | n |  | TRUE
75 | bus_LV_3723-2_0_3_node_173 | 0.4 | n |  | TRUE
76 | bus_LV_3723-2_0_3_node_206 | 0.4 | n |  | TRUE
77 | bus_LV_3723-2_0_3_node_174 | 0.4 | n |  | TRUE
78 | bus_LV_3723-2_0_3_node_175 | 0.4 | n |  | TRUE
79 | bus_LV_3723-2_0_3_node_176 | 0.4 | n |  | TRUE
80 | bus_LV_3723-2_0_3_node_177 | 0.4 | n |  | TRUE
81 | bus_LV_3723-2_0_3_node_180 | 0.4 | n |  | TRUE
82 | bus_LV_3723-2_0_3_node_182 | 0.4 | n |  | TRUE
83 | bus_LV_3723-2_0_3_node_183 | 0.4 | n |  | TRUE
84 | bus_LV_3723-2_0_3_node_184 | 0.4 | n |  | TRUE
85 | bus_LV_3723-2_0_3_node_185 | 0.4 | n |  | TRUE
86 | bus_LV_3723-2_0_3_node_186 | 0.4 | n |  | TRUE
87 | bus_LV_3723-2_0_3_node_190 | 0.4 | n |  | TRUE
88 | bus_LV_3723-2_0_3_node_188 | 0.4 | n |  | TRUE
89 | bus_LV_3723-2_0_3_node_187 | 0.4 | n |  | TRUE
90 | bus_LV_3723-2_0_3_node_189 | 0.4 | n |  | TRUE
91 | bus_LV_3723-2_0_3_node_192 | 0.4 | n |  | TRUE
92 | bus_LV_3723-2_0_3_node_205 | 0.4 | n |  | TRUE
93 | bus_MV_56_0_node_31 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3723-2_0_3_load_0 | 0 | 0.0058756 | 0.0014726 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3723-2_0_3_load_1 | 1 | 0.0041302 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3723-2_0_3_load_2 | 2 | 0.0050168 | 0.0012573 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3723-2_0_3_load_3 | 3 | 0.00377 | 0.00094485 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3723-2_0_3_load_4 | 4 | 0.0025443 | 0.00063767 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3723-2_0_3_load_7 | 7 | 0.00020227 | 5.0693e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3723-2_0_3_load_191 | 8 | 0.0016556 | 0.00041492 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3723-2_0_3_load_193 | 9 | 0.0036894 | 0.00092465 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3723-2_0_3_load_181 | 10 | 0.00039959 | 0.00010015 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3723-2_0_3_load_67 | 11 | 0.0021187 | 0.00053099 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3723-2_0_3_load_210 | 12 | 0.0025735 | 0.00064499 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3723-2_0_3_load_70 | 13 | 0.0055013 | 0.0013788 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3723-2_0_3_load_71 | 14 | 0.0079289 | 0.0019872 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3723-2_0_3_load_73 | 16 | 0.0040797 | 0.0010225 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3723-2_0_3_load_74 | 17 | 0.001576 | 0.00039497 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3723-2_0_3_load_75 | 18 | 0.0088666 | 0.0022222 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3723-2_0_3_load_76 | 19 | 0.0031943 | 0.00080057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3723-2_0_3_load_77 | 20 | 0.0020027 | 0.00050193 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3723-2_0_3_load_209 | 21 | 0.0031686 | 0.00079413 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3723-2_0_3_load_80 | 22 | 0.0036786 | 0.00092194 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3723-2_0_3_load_170 | 23 | 0.010818 | 0.0027112 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3723-2_0_3_load_208 | 24 | 0.0034116 | 0.00085503 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3723-2_0_3_load_82 | 25 | 0.0016154 | 0.00040487 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3723-2_0_3_load_78 | 26 | 0.0058297 | 0.0014611 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3723-2_0_3_load_79 | 27 | 0.0030513 | 0.00076472 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3723-2_0_3_load_81 | 28 | 0.0016571 | 0.0004153 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3723-2_0_3_load_89 | 29 | 0.005664 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3723-2_0_3_load_83 | 30 | 0.001894 | 0.00047469 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3723-2_0_3_load_84 | 31 | 0.0017474 | 0.00043794 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3723-2_0_3_load_85 | 32 | 0.0046737 | 0.0011713 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3723-2_0_3_load_86 | 33 | 0.0030296 | 0.00075929 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3723-2_0_3_load_87 | 34 | 0.004329 | 0.0010849 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3723-2_0_3_load_90 | 35 | 0.0020956 | 0.00052521 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3723-2_0_3_load_91 | 36 | 0.0017454 | 0.00043744 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3723-2_0_3_load_92 | 37 | 0.0023329 | 0.00058469 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3723-2_0_3_load_93 | 38 | 0.0063272 | 0.0015857 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3723-2_0_3_load_94 | 39 | 0.0020685 | 0.00051842 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3723-2_0_3_load_95 | 40 | 0.0037247 | 0.0009335 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3723-2_0_3_load_96 | 41 | 0.001788 | 0.00044813 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3723-2_0_3_load_107 | 42 | 0.002605 | 0.00065287 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3723-2_0_3_load_100 | 43 | 0.0033575 | 0.00084148 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3723-2_0_3_load_101 | 44 | 0.0035423 | 0.00088778 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3723-2_0_3_load_102 | 45 | 0.00094748 | 0.00023746 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3723-2_0_3_load_103 | 46 | 0.00097372 | 0.00024404 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3723-2_0_3_load_104 | 47 | 0.0013131 | 0.00032909 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3723-2_0_3_load_152 | 48 | 0.0018516 | 0.00046406 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3723-2_0_3_load_145 | 49 | 0.0020179 | 0.00050573 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3723-2_0_3_load_146 | 50 | 0.0018848 | 0.00047237 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3723-2_0_3_load_148 | 51 | 0.0017407 | 0.00043626 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3723-2_0_3_load_163 | 54 | 0.00064882 | 0.00016261 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3723-2_0_3_load_162 | 55 | 0.0049561 | 0.0012421 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3723-2_0_3_load_153 | 56 | 0.002275 | 0.00057016 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3723-2_0_3_load_154 | 57 | 0.0014119 | 0.00035386 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3723-2_0_3_load_155 | 58 | 0.0013412 | 0.00033612 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3723-2_0_3_load_157 | 60 | 0.0015724 | 0.00039407 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3723-2_0_3_load_158 | 61 | 0.0016454 | 0.00041238 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3723-2_0_3_load_159 | 62 | 0.00066961 | 0.00016782 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3723-2_0_3_load_168 | 63 | 0.0024385 | 0.00061115 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3723-2_0_3_load_160 | 64 | 0.0021423 | 0.00053691 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3723-2_0_3_load_161 | 65 | 0.0015313 | 0.00038379 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3723-2_0_3_load_164 | 66 | 0.00046526 | 0.00011661 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3723-2_0_3_load_166 | 68 | 0.0011208 | 0.0002809 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3723-2_0_3_load_167 | 69 | 0.00052737 | 0.00013217 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3723-2_0_3_load_178 | 70 | 0.000874 | 0.00021905 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3723-2_0_3_load_179 | 71 | 0.00029168 | 7.3101e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3723-2_0_3_load_169 | 72 | 0.0042874 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3723-2_0_3_load_171 | 73 | 0.0024725 | 0.00061968 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3723-2_0_3_load_172 | 74 | 0.0028511 | 0.00071455 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3723-2_0_3_load_173 | 75 | 0.0019342 | 0.00048477 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3723-2_0_3_load_206 | 76 | 0.0013647 | 0.00034203 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3723-2_0_3_load_174 | 77 | 0.0037617 | 0.00094276 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3723-2_0_3_load_175 | 78 | 0.00044585 | 0.00011174 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3723-2_0_3_load_176 | 79 | 0.00044553 | 0.00011166 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3723-2_0_3_load_177 | 80 | 0.0033366 | 0.00083623 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3723-2_0_3_load_180 | 81 | 0.00049552 | 0.00012419 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3723-2_0_3_load_182 | 82 | 0.00093214 | 0.00023362 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3723-2_0_3_load_183 | 83 | 0.001058 | 0.00026516 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3723-2_0_3_load_186 | 86 | 0.0020658 | 0.00051773 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3723-2_0_3_load_190 | 87 | 0.0010877 | 0.00027261 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3723-2_0_3_load_188 | 88 | 0.0015237 | 0.00038186 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3723-2_0_3_load_187 | 89 | 0.005895 | 0.0014774 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3723-2_0_3_load_189 | 90 | 0.0051728 | 0.0012964 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3723-2_0_3_load_192 | 91 | 0.00043716 | 0.00010956 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3723-2_0_3_load_205 | 92 | 0.0013638 | 0.00034181 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3723-2_0_3_line_0 |  | 0 | 1 | 0.0072856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3723-2_0_3_line_1 |  | 0 | 2 | 0.044281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3723-2_0_3_line_2 |  | 1 | 3 | 0.056134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3723-2_0_3_line_3 |  | 3 | 4 | 0.0023531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3723-2_0_3_line_4 |  | 4 | 5 | 0.063908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3723-2_0_3_line_5 |  | 5 | 6 | 0.03152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3723-2_0_3_line_6 |  | 5 | 7 | 0.011333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3723-2_0_3_line_7 |  | 6 | 8 | 0.021885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3723-2_0_3_line_8 |  | 6 | 9 | 0.0095098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3723-2_0_3_line_9 |  | 7 | 10 | 0.038153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3723-2_0_3_line_10 |  | 8 | 85 | 0.035084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3723-2_0_3_line_11 |  | 9 | 91 | 0.033438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3723-2_0_3_line_12 |  | 10 | 82 | 0.0038126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3723-2_0_3_line_13 |  | 11 | 12 | 0.020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3723-2_0_3_line_14 |  | 12 | 31 | 0.045454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3723-2_0_3_line_15 |  | 13 | 14 | 0.00515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3723-2_0_3_line_16 |  | 13 | 15 | 0.033131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3723-2_0_3_line_17 |  | 14 | 16 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3723-2_0_3_line_18 |  | 15 | 17 | 0.056765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3723-2_0_3_line_19 |  | 15 | 18 | 0.020564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3723-2_0_3_line_20 |  | 15 | 19 | 0.013439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3723-2_0_3_line_21 |  | 16 | 20 | 0.0094278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3723-2_0_3_line_22 |  | 16 | 21 | 0.039424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3723-2_0_3_line_23 |  | 17 | 22 | 0.0010891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3723-2_0_3_line_24 |  | 18 | 23 | 0.032833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3723-2_0_3_line_25 |  | 19 | 24 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3723-2_0_3_line_26 |  | 20 | 25 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3723-2_0_3_line_27 |  | 22 | 26 | 0.0091905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3723-2_0_3_line_28 |  | 23 | 73 | 0.0041877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3723-2_0_3_line_29 |  | 25 | 30 | 0.0069484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3723-2_0_3_line_30 |  | 26 | 27 | 0.015661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3723-2_0_3_line_31 |  | 27 | 28 | 0.0031051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3723-2_0_3_line_32 |  | 28 | 29 | 0.011699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3723-2_0_3_line_33 |  | 29 | 35 | 0.010279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_3723-2_0_3_line_34 |  | 30 | 31 | 0.0052657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3723-2_0_3_line_35 |  | 31 | 32 | 0.018419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3723-2_0_3_line_36 |  | 32 | 33 | 0.010434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3723-2_0_3_line_37 |  | 33 | 34 | 0.00059384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3723-2_0_3_line_38 |  | 35 | 36 | 0.014733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3723-2_0_3_line_39 |  | 36 | 37 | 0.0048648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3723-2_0_3_line_40 |  | 37 | 38 | 0.004283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3723-2_0_3_line_41 |  | 38 | 39 | 0.002311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3723-2_0_3_line_42 |  | 39 | 40 | 0.0030004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3723-2_0_3_line_43 |  | 40 | 41 | 0.016238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3723-2_0_3_line_44 |  | 41 | 42 | 0.0020325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3723-2_0_3_line_45 |  | 42 | 46 | 0.002004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3723-2_0_3_line_46 |  | 43 | 44 | 0.0027293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3723-2_0_3_line_47 |  | 43 | 45 | 0.0093017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3723-2_0_3_line_48 |  | 44 | 46 | 0.016538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3723-2_0_3_line_49 |  | 45 | 47 | 0.014098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3723-2_0_3_line_50 |  | 47 | 48 | 0.028132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3723-2_0_3_line_51 |  | 48 | 56 | 0.0046194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3723-2_0_3_line_52 |  | 49 | 50 | 0.0063512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3723-2_0_3_line_53 |  | 50 | 51 | 0.0072519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3723-2_0_3_line_54 |  | 51 | 52 | 0.038823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3723-2_0_3_line_55 |  | 52 | 53 | 0.016464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3723-2_0_3_line_56 |  | 53 | 54 | 0.0099049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3723-2_0_3_line_57 |  | 53 | 55 | 0.0075311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3723-2_0_3_line_58 |  | 54 | 66 | 0.0021683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3723-2_0_3_line_59 |  | 55 | 65 | 0.01386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3723-2_0_3_line_60 |  | 56 | 57 | 0.012585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3723-2_0_3_line_61 |  | 57 | 58 | 0.0046572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3723-2_0_3_line_62 |  | 58 | 59 | 0.008731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3723-2_0_3_line_63 |  | 59 | 60 | 0.010183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3723-2_0_3_line_64 |  | 59 | 61 | 0.014829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3723-2_0_3_line_65 |  | 60 | 62 | 0.022685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3723-2_0_3_line_66 |  | 61 | 63 | 0.016214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3723-2_0_3_line_67 |  | 62 | 64 | 0.0023192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3723-2_0_3_line_68 |  | 63 | 72 | 0.017154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3723-2_0_3_line_69 |  | 64 | 65 | 0.022847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3723-2_0_3_line_70 |  | 66 | 67 | 0.04976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3723-2_0_3_line_71 |  | 67 | 68 | 0.021902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3723-2_0_3_line_72 |  | 67 | 69 | 0.0057461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3723-2_0_3_line_73 |  | 68 | 70 | 0.017123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3723-2_0_3_line_74 |  | 69 | 71 | 0.01592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3723-2_0_3_line_75 |  | 70 | 79 | 0.01122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3723-2_0_3_line_76 |  | 71 | 81 | 0.00060281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3723-2_0_3_line_77 |  | 73 | 74 | 0.0022484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3723-2_0_3_line_78 |  | 74 | 75 | 0.004833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3723-2_0_3_line_79 |  | 75 | 76 | 0.040405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3723-2_0_3_line_80 |  | 76 | 92 | 0.017237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3723-2_0_3_line_81 |  | 77 | 78 | 0.031992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3723-2_0_3_line_82 |  | 77 | 79 | 0.0092032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3723-2_0_3_line_83 |  | 78 | 80 | 0.0057543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3723-2_0_3_line_84 |  | 81 | 82 | 0.038289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3723-2_0_3_line_85 |  | 83 | 84 | 0.018141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3723-2_0_3_line_86 |  | 84 | 85 | 0.02171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3723-2_0_3_line_87 |  | 84 | 86 | 0.010698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3723-2_0_3_line_88 |  | 85 | 87 | 0.015057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3723-2_0_3_line_89 |  | 86 | 88 | 0.010063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3723-2_0_3_line_90 |  | 87 | 90 | 0.027399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3723-2_0_3_line_91 |  | 88 | 89 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3723-2_0_3_trafo_89 | 0.63 MVA 20/0.4 kV | 93 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2749618.6198 | 1185244.7772 | 2749619.3123 | 1185252.0298
1 | 2749618.6198 | 1185244.7772 | 2749614.4112 | 1185200.6962
2 | 2749624.6474 | 1185307.9096 | 2749619.3123 | 1185252.0298
3 | 2749624.6474 | 1185307.9096 | 2749624.8711 | 1185310.252
4 | 2749593.0137 | 1185346.809 | 2749614.2623 | 1185343.548 | 2749620.6251 | 1185342.5505 | 2749624.5209 | 1185340.3571 | 2749627.4775 | 1185337.5508 | 2749624.8711 | 1185310.252
5 | 2749593.0137 | 1185346.809 | 2749595.0785 | 1185365.02 | 2749596.5608 | 1185378.1234
6 | 2749593.0137 | 1185346.809 | 2749591.9357 | 1185335.5273
7 | 2749596.5608 | 1185378.1234 | 2749576.6266 | 1185387.1553
8 | 2749596.5608 | 1185378.1234 | 2749597.5169 | 1185387.585
9 | 2749591.9357 | 1185335.5273 | 2749558.9787 | 1185316.3062
10 | 2749548.0704 | 1185407.5371 | 2749576.6266 | 1185387.1553
11 | 2749600.8788 | 1185420.8534 | 2749597.5169 | 1185387.585
12 | 2749559.6143 | 1185312.5469 | 2749558.9787 | 1185316.3062
13 | 2749263.3306 | 1185284.3078 | 2749253.4776 | 1185266.545
14 | 2749308.2456 | 1185277.3291 | 2749263.3306 | 1185284.3078
15 | 2749335.7213 | 1185332.4934 | 2749335.1055 | 1185331.2401 | 2749333.4315 | 1185327.8804
16 | 2749353.0849 | 1185360.4568 | 2749344.0513 | 1185349.4448 | 2749335.7213 | 1185332.4934
17 | 2749324.2162 | 1185309.3841 | 2749333.4315 | 1185327.8804
18 | 2749353.0849 | 1185360.4568 | 2749371.6332 | 1185325.8574 | 2749378.2223 | 1185309.6375
19 | 2749353.0849 | 1185360.4568 | 2749371.3745 | 1185369.8571
20 | 2749353.0849 | 1185360.4568 | 2749349.1959 | 1185373.321
21 | 2749324.2162 | 1185309.3841 | 2749320.0119 | 1185300.9456
22 | 2749324.2162 | 1185309.3841 | 2749288.5602 | 1185326.2034
23 | 2749378.6322 | 1185308.6285 | 2749378.2223 | 1185309.6375
24 | 2749371.3745 | 1185369.8571 | 2749400.5761 | 1185384.8657
25 | 2749345.0809 | 1185387.9348 | 2749345.6443 | 1185385.0694 | 2749349.1959 | 1185373.321
26 | 2749320.0119 | 1185300.9456 | 2749313.6924 | 1185288.2615
27 | 2749378.6322 | 1185308.6285 | 2749382.0913 | 1185300.1137
28 | 2749404.3006 | 1185386.78 | 2749400.5761 | 1185384.8657
29 | 2749310.5938 | 1185282.0422 | 2749313.6924 | 1185288.2615
30 | 2749387.9856 | 1185285.6044 | 2749382.0913 | 1185300.1137
31 | 2749387.9856 | 1185285.6044 | 2749389.1542 | 1185282.7276
32 | 2749389.1542 | 1185282.7276 | 2749391.029 | 1185278.1127 | 2749393.3173 | 1185271.797
33 | 2749396.8191 | 1185262.1325 | 2749393.3173 | 1185271.797
34 | 2749310.5938 | 1185282.0422 | 2749308.2456 | 1185277.3291
35 | 2749308.2456 | 1185277.3291 | 2749303.6103 | 1185268.0254 | 2749302.3128 | 1185260.1061
36 | 2749300.6259 | 1185249.8097 | 2749302.3128 | 1185260.1061
37 | 2749300.6259 | 1185249.8097 | 2749300.5299 | 1185249.2237
38 | 2749396.8191 | 1185262.1325 | 2749399.2627 | 1185255.3882 | 2749401.6879 | 1185248.2286
39 | 2749401.6879 | 1185248.2286 | 2749403.2487 | 1185243.621
40 | 2749404.6228 | 1185239.5644 | 2749403.2487 | 1185243.621
41 | 2749404.6228 | 1185239.5644 | 2749405.3643 | 1185237.3755
42 | 2749406.3269 | 1185234.5337 | 2749405.3643 | 1185237.3755
43 | 2749406.3269 | 1185234.5337 | 2749410.8943 | 1185221.0499 | 2749411.5124 | 1185219.1463
44 | 2749412.14 | 1185217.2131 | 2749411.5124 | 1185219.1463
45 | 2749412.14 | 1185217.2131 | 2749412.7588 | 1185215.3071
46 | 2749418.7085 | 1185196.9818 | 2749417.8656 | 1185199.5777
47 | 2749422.4169 | 1185188.4611 | 2749419.1995 | 1185195.4693 | 2749418.7085 | 1185196.9818
48 | 2749412.7588 | 1185215.3071 | 2749417.8656 | 1185199.5777
49 | 2749428.2988 | 1185175.649 | 2749422.4169 | 1185188.4611
50 | 2749455.6095 | 1185168.8992 | 2749428.2988 | 1185175.649
51 | 2749455.6095 | 1185168.8992 | 2749459.9115 | 1185170.582
52 | 2749572.9837 | 1185138.3403 | 2749573.6007 | 1185144.6615
53 | 2749574.3052 | 1185151.8791 | 2749573.6007 | 1185144.6615
54 | 2749578.0805 | 1185190.5184 | 2749574.7722 | 1185156.6634 | 2749574.3052 | 1185151.8791
55 | 2749578.0805 | 1185190.5184 | 2749561.6642 | 1185192.2878
56 | 2749561.6642 | 1185192.2878 | 2749562.282 | 1185202.1734
57 | 2749561.6642 | 1185192.2878 | 2749554.1763 | 1185193.0939
58 | 2749562.282 | 1185202.1734 | 2749562.4173 | 1185204.3375
59 | 2749540.4085 | 1185193.5044 | 2749544.8957 | 1185194.093 | 2749554.1763 | 1185193.0939
60 | 2749471.6493 | 1185175.1208 | 2749468.396 | 1185173.9008 | 2749459.9115 | 1185170.582
61 | 2749471.6493 | 1185175.1208 | 2749476.01 | 1185176.7561
62 | 2749484.1851 | 1185179.8218 | 2749476.01 | 1185176.7561
63 | 2749484.1851 | 1185179.8218 | 2749493.8321 | 1185183.0825
64 | 2749484.1851 | 1185179.8218 | 2749481.0322 | 1185194.3113
65 | 2749493.8321 | 1185183.0825 | 2749502.8357 | 1185186.1257 | 2749515.6354 | 1185189.2751
66 | 2749481.0322 | 1185194.3113 | 2749477.5847 | 1185210.1547
67 | 2749517.8874 | 1185189.8293 | 2749515.6354 | 1185189.2751
68 | 2749473.9374 | 1185226.9161 | 2749477.5847 | 1185210.1547
69 | 2749517.8874 | 1185189.8293 | 2749524.1625 | 1185191.3733 | 2749540.4085 | 1185193.5044
70 | 2749558.5147 | 1185253.86 | 2749562.8698 | 1185211.5783 | 2749562.4173 | 1185204.3375
71 | 2749558.5147 | 1185253.86 | 2749554.5604 | 1185257.7867 | 2749538.3741 | 1185255.6342
72 | 2749558.5147 | 1185253.86 | 2749556.7603 | 1185259.3317
73 | 2749521.4002 | 1185253.3769 | 2749538.3741 | 1185255.6342
74 | 2749556.7603 | 1185259.3317 | 2749555.7239 | 1185262.5641 | 2749551.9287 | 1185274.5007
75 | 2749521.4002 | 1185253.3769 | 2749517.2899 | 1185252.8302 | 2749510.2681 | 1185251.9737
76 | 2749551.746 | 1185275.0752 | 2749551.9287 | 1185274.5007
77 | 2749404.3006 | 1185386.78 | 2749406.3004 | 1185387.8078
78 | 2749406.3004 | 1185387.8078 | 2749410.5989 | 1185390.0171
79 | 2749410.5989 | 1185390.0171 | 2749415.1676 | 1185430.1631
80 | 2749431.4662 | 1185435.7723 | 2749415.1676 | 1185430.1631
81 | 2749501.1327 | 1185250.8593 | 2749493.2177 | 1185249.8938 | 2749496.3626 | 1185226.0827
82 | 2749501.1327 | 1185250.8593 | 2749510.2681 | 1185251.9737
83 | 2749497.1161 | 1185220.3779 | 2749496.3626 | 1185226.0827
84 | 2749551.746 | 1185275.0752 | 2749559.6143 | 1185312.5469
85 | 2749529.2868 | 1185418.5107 | 2749526.7447 | 1185410.2293 | 2749525.6718 | 1185400.8122
86 | 2749529.2868 | 1185418.5107 | 2749548.0704 | 1185407.5371
87 | 2749529.2868 | 1185418.5107 | 2749520.627 | 1185424.7923
88 | 2749548.0704 | 1185407.5371 | 2749549.5254 | 1185422.5241
89 | 2749520.627 | 1185424.7923 | 2749512.481 | 1185430.7013
90 | 2749552.1728 | 1185449.7944 | 2749549.5254 | 1185422.5241
91 | 2749503.4604 | 1185440.8995 | 2749512.481 | 1185430.7013 | 2749512.481 | 1185430.7013

## bus_geodata
| x | y | coords
0 | 2749618.6199 | 1185244.7772
1 | 2749619.3123 | 1185252.0298
2 | 2749614.4112 | 1185200.6962
3 | 2749624.6474 | 1185307.9096
4 | 2749624.8711 | 1185310.252
5 | 2749593.0137 | 1185346.809
6 | 2749596.5608 | 1185378.1234
7 | 2749591.9357 | 1185335.5273
8 | 2749576.6266 | 1185387.1553
9 | 2749597.5169 | 1185387.585
10 | 2749558.9787 | 1185316.3062
11 | 2749253.4776 | 1185266.545
12 | 2749263.3306 | 1185284.3078
13 | 2749335.7213 | 1185332.4934
14 | 2749333.4315 | 1185327.8804
15 | 2749353.0849 | 1185360.4568
16 | 2749324.2162 | 1185309.3841
17 | 2749378.2223 | 1185309.6375
18 | 2749371.3745 | 1185369.8571
19 | 2749349.1959 | 1185373.321
20 | 2749320.0119 | 1185300.9456
21 | 2749288.5602 | 1185326.2034
22 | 2749378.6322 | 1185308.6285
23 | 2749400.5761 | 1185384.8657
24 | 2749345.0809 | 1185387.9348
25 | 2749313.6924 | 1185288.2615
26 | 2749382.0913 | 1185300.1137
27 | 2749387.9856 | 1185285.6044
28 | 2749389.1542 | 1185282.7276
29 | 2749393.3173 | 1185271.797
30 | 2749310.5938 | 1185282.0422
31 | 2749308.2456 | 1185277.3291
32 | 2749302.3128 | 1185260.1061
33 | 2749300.6259 | 1185249.8097
34 | 2749300.5299 | 1185249.2237
35 | 2749396.8191 | 1185262.1325
36 | 2749401.6879 | 1185248.2286
37 | 2749403.2487 | 1185243.621
38 | 2749404.6228 | 1185239.5644
39 | 2749405.3643 | 1185237.3755
40 | 2749406.3269 | 1185234.5337
41 | 2749411.5124 | 1185219.1463
42 | 2749412.14 | 1185217.2131
43 | 2749418.7085 | 1185196.9818
44 | 2749417.8656 | 1185199.5777
45 | 2749422.4169 | 1185188.4611
46 | 2749412.7588 | 1185215.3071
47 | 2749428.2988 | 1185175.649
48 | 2749455.6095 | 1185168.8992
49 | 2749572.9837 | 1185138.3403
50 | 2749573.6007 | 1185144.6615
51 | 2749574.3052 | 1185151.8791
52 | 2749578.0805 | 1185190.5184
53 | 2749561.6642 | 1185192.2878
54 | 2749562.282 | 1185202.1734
55 | 2749554.1763 | 1185193.0939
56 | 2749459.9115 | 1185170.582
57 | 2749471.6493 | 1185175.1208
58 | 2749476.01 | 1185176.7561
59 | 2749484.1851 | 1185179.8218
60 | 2749493.8321 | 1185183.0825
61 | 2749481.0322 | 1185194.3113
62 | 2749515.6354 | 1185189.2751
63 | 2749477.5847 | 1185210.1547
64 | 2749517.8874 | 1185189.8293
65 | 2749540.4085 | 1185193.5044
66 | 2749562.4173 | 1185204.3375
67 | 2749558.5147 | 1185253.86
68 | 2749538.3741 | 1185255.6342
69 | 2749556.7603 | 1185259.3317
70 | 2749521.4002 | 1185253.3769
71 | 2749551.9287 | 1185274.5007
72 | 2749473.9374 | 1185226.9161
73 | 2749404.3006 | 1185386.78
74 | 2749406.3004 | 1185387.8078
75 | 2749410.5989 | 1185390.0171
76 | 2749415.1676 | 1185430.1631
77 | 2749501.1327 | 1185250.8593
78 | 2749496.3626 | 1185226.0827
79 | 2749510.2681 | 1185251.9737
80 | 2749497.1161 | 1185220.3779
81 | 2749551.746 | 1185275.0752
82 | 2749559.6143 | 1185312.5469
83 | 2749525.6718 | 1185400.8122
84 | 2749529.2868 | 1185418.5107
85 | 2749548.0704 | 1185407.5371
86 | 2749520.627 | 1185424.7923
87 | 2749549.5254 | 1185422.5241
88 | 2749512.481 | 1185430.7013
89 | 2749503.4604 | 1185440.8995
90 | 2749552.1728 | 1185449.7944
91 | 2749600.8788 | 1185420.8534
92 | 2749431.4662 | 1185435.7723
93 | 2749353.0849 | 1185360.4568

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1