## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3731-1_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3731-1_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3731-1_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3731-1_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_3731-1_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3731-1_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_3731-1_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3731-1_0_3_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_3731-1_0_3_node_29 | 0.4 | n |  | TRUE
9 | bus_LV_3731-1_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3731-1_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3731-1_0_3_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_3731-1_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_3731-1_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_3731-1_0_3_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_3731-1_0_3_node_27 | 0.4 | n |  | TRUE
16 | bus_LV_3731-1_0_3_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_3731-1_0_3_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_3731-1_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3731-1_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3731-1_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3731-1_0_3_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_3731-1_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3731-1_0_3_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_3731-1_0_3_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_3731-1_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_3731-1_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_3731-1_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_3731-1_0_3_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_3731-1_0_3_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_3731-1_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_3731-1_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_3731-1_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3731-1_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_3731-1_0_3_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3731-1_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_3731-1_0_3_node_35 | 0.4 | n |  | TRUE
37 | bus_LV_3731-1_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_3731-1_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_3731-1_0_3_node_64 | 0.4 | n |  | TRUE
40 | bus_LV_3731-1_0_3_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_3731-1_0_3_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_3731-1_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3731-1_0_3_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_3731-1_0_3_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_3731-1_0_3_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_3731-1_0_3_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_3731-1_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3731-1_0_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_3731-1_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3731-1_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3731-1_0_3_node_45 | 0.4 | n |  | TRUE
52 | bus_LV_3731-1_0_3_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3731-1_0_3_node_54 | 0.4 | n |  | TRUE
54 | bus_LV_3731-1_0_3_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_3731-1_0_3_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_3731-1_0_3_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_3731-1_0_3_node_65 | 0.4 | n |  | TRUE
58 | bus_LV_3731-1_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_3731-1_0_3_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_3731-1_0_3_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_3731-1_0_3_node_58 | 0.4 | n |  | TRUE
62 | bus_LV_3731-1_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3731-1_0_3_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_3731-1_0_3_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_3731-1_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_3731-1_0_3_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_3731-1_0_3_node_89 | 0.4 | n |  | TRUE
68 | bus_LV_3731-1_0_3_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_3731-1_0_3_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_3731-1_0_3_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_3731-1_0_3_node_69 | 0.4 | n |  | TRUE
72 | bus_LV_3731-1_0_3_node_71 | 0.4 | n |  | TRUE
73 | bus_LV_3731-1_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_3731-1_0_3_node_72 | 0.4 | n |  | TRUE
75 | bus_LV_3731-1_0_3_node_79 | 0.4 | n |  | TRUE
76 | bus_LV_3731-1_0_3_node_83 | 0.4 | n |  | TRUE
77 | bus_LV_3731-1_0_3_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_3731-1_0_3_node_99 | 0.4 | n |  | TRUE
79 | bus_LV_3731-1_0_3_node_77 | 0.4 | n |  | TRUE
80 | bus_LV_3731-1_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3731-1_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3731-1_0_3_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3731-1_0_3_node_78 | 0.4 | n |  | TRUE
84 | bus_LV_3731-1_0_3_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_3731-1_0_3_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3731-1_0_3_node_94 | 0.4 | n |  | TRUE
87 | bus_LV_3731-1_0_3_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_3731-1_0_3_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_3731-1_0_3_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_3731-1_0_3_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_3731-1_0_3_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_3731-1_0_3_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_3731-1_0_3_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_3731-1_0_3_node_96 | 0.4 | n |  | TRUE
95 | bus_LV_3731-1_0_3_node_97 | 0.4 | n |  | TRUE
96 | bus_LV_3731-1_0_3_node_98 | 0.4 | n |  | TRUE
97 | bus_MV_57_0_node_49 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3731-1_0_3_load_0 | 0 | 0.0092531 | 0.002319 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3731-1_0_3_load_3 | 2 | 0.0053203 | 0.0013334 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3731-1_0_3_load_4 | 3 | 0.0060621 | 0.0015193 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3731-1_0_3_load_6 | 4 | 0.00547 | 0.0013709 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3731-1_0_3_load_7 | 5 | 0.0031972 | 0.00080129 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3731-1_0_3_load_31 | 7 | 0.0072552 | 0.0018183 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3731-1_0_3_load_29 | 8 | 0.004452 | 0.0011158 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3731-1_0_3_load_9 | 9 | 0.0034616 | 0.00086755 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3731-1_0_3_load_12 | 10 | 0.0046916 | 0.0011758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3731-1_0_3_load_32 | 11 | 0.0043136 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3731-1_0_3_load_10 | 12 | 0.0028999 | 0.00072678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3731-1_0_3_load_11 | 13 | 0.003942 | 0.00098796 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3731-1_0_3_load_28 | 16 | 0.0036177 | 0.00090668 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3731-1_0_3_load_26 | 17 | 0.00762 | 0.0019098 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3731-1_0_3_load_13 | 18 | 0.0036924 | 0.00092539 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3731-1_0_3_load_18 | 20 | 0.0067625 | 0.0016949 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3731-1_0_3_load_15 | 22 | 0.0029658 | 0.00074329 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3731-1_0_3_load_16 | 23 | 0.0017817 | 0.00044653 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3731-1_0_3_load_19 | 25 | 0.0025662 | 0.00064316 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3731-1_0_3_load_20 | 26 | 0.0060426 | 0.0015144 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3731-1_0_3_load_21 | 27 | 0.0086369 | 0.0021646 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3731-1_0_3_load_51 | 28 | 0.0090801 | 0.0022757 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3731-1_0_3_load_53 | 29 | 0.0018961 | 0.00047521 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3731-1_0_3_load_22 | 30 | 0.0024308 | 0.00060921 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3731-1_0_3_load_23 | 31 | 0.0037097 | 0.00092973 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3731-1_0_3_load_24 | 32 | 0.0024737 | 0.00061998 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3731-1_0_3_load_25 | 33 | 0.0019785 | 0.00049586 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3731-1_0_3_load_30 | 34 | 0.004351 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3731-1_0_3_load_34 | 35 | 0.0056643 | 0.0014196 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3731-1_0_3_load_35 | 36 | 0.0044957 | 0.0011267 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3731-1_0_3_load_36 | 37 | 0.0022564 | 0.00056551 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3731-1_0_3_load_37 | 38 | 0.0048791 | 0.0012228 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3731-1_0_3_load_64 | 39 | 0.0014682 | 0.00036798 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3731-1_0_3_load_38 | 40 | 0.0057322 | 0.0014366 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3731-1_0_3_load_39 | 41 | 0.0044192 | 0.0011076 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3731-1_0_3_load_62 | 43 | 0.0024494 | 0.00061387 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3731-1_0_3_load_49 | 44 | 0.001885 | 0.00047243 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3731-1_0_3_load_43 | 46 | 0.0045767 | 0.001147 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3731-1_0_3_load_41 | 47 | 0.0031048 | 0.00077814 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3731-1_0_3_load_47 | 48 | 0.0032158 | 0.00080596 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3731-1_0_3_load_44 | 50 | 0.0037547 | 0.00094102 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3731-1_0_3_load_45 | 51 | 0.0013956 | 0.00034978 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3731-1_0_3_load_46 | 52 | 0.0098367 | 0.0024653 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3731-1_0_3_load_54 | 53 | 0.0023535 | 0.00058984 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3731-1_0_3_load_48 | 54 | 0.0037399 | 0.00093731 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3731-1_0_3_load_55 | 55 | 0.0029062 | 0.00072837 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3731-1_0_3_load_59 | 56 | 0.004867 | 0.0012198 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3731-1_0_3_load_65 | 57 | 0.0018971 | 0.00047546 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3731-1_0_3_load_81 | 58 | 0.0021156 | 0.00053021 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3731-1_0_3_load_80 | 59 | 0.0058957 | 0.0014776 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3731-1_0_3_load_58 | 61 | 0.0054111 | 0.0013561 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3731-1_0_3_load_56 | 62 | 0.0032979 | 0.00082653 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3731-1_0_3_load_66 | 63 | 0.0018109 | 0.00045384 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3731-1_0_3_load_60 | 64 | 0.0047761 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3731-1_0_3_load_61 | 65 | 0.0018488 | 0.00046336 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3731-1_0_3_load_63 | 66 | 0.0021509 | 0.00053907 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3731-1_0_3_load_89 | 67 | 0.0016745 | 0.00041966 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3731-1_0_3_load_87 | 68 | 0.0014459 | 0.00036237 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3731-1_0_3_load_67 | 69 | 0.0087653 | 0.0021968 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3731-1_0_3_load_68 | 70 | 0.0015953 | 0.00039981 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3731-1_0_3_load_69 | 71 | 0.001793 | 0.00044936 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3731-1_0_3_load_71 | 72 | 0.0039214 | 0.00098279 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3731-1_0_3_load_72 | 74 | 0.0027081 | 0.00067872 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3731-1_0_3_load_79 | 75 | 0.0040917 | 0.0010255 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3731-1_0_3_load_83 | 76 | 0.0049541 | 0.0012416 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3731-1_0_3_load_82 | 77 | 0.0015439 | 0.00038693 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3731-1_0_3_load_99 | 78 | 0.0025263 | 0.00063315 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3731-1_0_3_load_77 | 79 | 0.0063121 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3731-1_0_3_load_74 | 80 | 0.0014441 | 0.00036193 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3731-1_0_3_load_75 | 81 | 0.001407 | 0.00035262 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3731-1_0_3_load_76 | 82 | 0.0017825 | 0.00044673 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3731-1_0_3_load_78 | 83 | 0.0018764 | 0.00047028 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3731-1_0_3_load_84 | 84 | 0.0018504 | 0.00046375 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3731-1_0_3_load_85 | 85 | 0.0016286 | 0.00040817 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3731-1_0_3_load_94 | 86 | 0.003947 | 0.0009892 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3731-1_0_3_load_86 | 87 | 0.0014613 | 0.00036624 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3731-1_0_3_load_88 | 88 | 0.0015277 | 0.00038288 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3731-1_0_3_load_90 | 89 | 0.0022689 | 0.00056865 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3731-1_0_3_load_91 | 90 | 0.0043434 | 0.0010886 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3731-1_0_3_load_92 | 91 | 0.0077958 | 0.0019538 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_3731-1_0_3_load_93 | 92 | 0.001295 | 0.00032455 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_3731-1_0_3_load_95 | 93 | 0.0023656 | 0.00059288 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_3731-1_0_3_load_96 | 94 | 0.0029418 | 0.00073729 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_3731-1_0_3_load_97 | 95 | 0.0047637 | 0.0011939 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_3731-1_0_3_load_98 | 96 | 0.0016588 | 0.00041573 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3731-1_0_3_line_0 |  | 0 | 1 | 0.0083189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3731-1_0_3_line_1 |  | 1 | 2 | 0.010423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3731-1_0_3_line_2 |  | 1 | 3 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3731-1_0_3_line_3 |  | 2 | 4 | 0.01784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3731-1_0_3_line_4 |  | 4 | 5 | 0.010655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3731-1_0_3_line_5 |  | 4 | 6 | 0.010715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3731-1_0_3_line_6 |  | 5 | 9 | 0.01832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3731-1_0_3_line_7 |  | 6 | 10 | 0.0095729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3731-1_0_3_line_8 |  | 6 | 11 | 0.0099169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_3731-1_0_3_line_9 |  | 7 | 8 | 0.00027832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3731-1_0_3_line_10 |  | 8 | 34 | 0.0093455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3731-1_0_3_line_11 |  | 9 | 12 | 0.00074685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3731-1_0_3_line_12 |  | 10 | 13 | 0.0090769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3731-1_0_3_line_13 |  | 11 | 14 | 0.017758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_3731-1_0_3_line_14 |  | 12 | 15 | 0.0088445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3731-1_0_3_line_15 |  | 13 | 18 | 0.0026769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3731-1_0_3_line_16 |  | 14 | 35 | 0.026227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3731-1_0_3_line_17 |  | 14 | 36 | 0.01419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3731-1_0_3_line_18 |  | 14 | 37 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3731-1_0_3_line_19 |  | 15 | 16 | 0.006071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3731-1_0_3_line_20 |  | 15 | 17 | 0.010651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3731-1_0_3_line_21 |  | 16 | 34 | 0.0072975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3731-1_0_3_line_22 |  | 17 | 33 | 0.0048828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3731-1_0_3_line_23 |  | 18 | 19 | 0.0096833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3731-1_0_3_line_24 |  | 19 | 20 | 0.010907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3731-1_0_3_line_25 |  | 20 | 21 | 0.0075327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3731-1_0_3_line_26 |  | 21 | 29 | 0.0075068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3731-1_0_3_line_27 |  | 21 | 28 | 0.022044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3731-1_0_3_line_28 |  | 22 | 23 | 0.0026586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3731-1_0_3_line_29 |  | 23 | 24 | 0.0072241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3731-1_0_3_line_30 |  | 24 | 25 | 0.0016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3731-1_0_3_line_31 |  | 24 | 26 | 0.021812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3731-1_0_3_line_32 |  | 25 | 27 | 0.0057202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3731-1_0_3_line_33 |  | 26 | 28 | 0.010993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3731-1_0_3_line_34 |  | 27 | 30 | 0.0039738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3731-1_0_3_line_35 |  | 29 | 60 | 0.01682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3731-1_0_3_line_36 |  | 30 | 31 | 0.002516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3731-1_0_3_line_37 |  | 31 | 32 | 0.013201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3731-1_0_3_line_38 |  | 35 | 38 | 0.010974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3731-1_0_3_line_39 |  | 37 | 39 | 0.0059111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3731-1_0_3_line_40 |  | 38 | 40 | 0.025383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3731-1_0_3_line_41 |  | 39 | 43 | 0.01892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3731-1_0_3_line_42 |  | 40 | 44 | 0.0055166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3731-1_0_3_line_43 |  | 41 | 42 | 0.0054758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3731-1_0_3_line_44 |  | 42 | 46 | 0.015285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3731-1_0_3_line_45 |  | 42 | 47 | 0.018306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3731-1_0_3_line_46 |  | 43 | 64 | 0.0010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3731-1_0_3_line_47 |  | 44 | 45 | 0.025616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3731-1_0_3_line_48 |  | 45 | 58 | 0.028418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3731-1_0_3_line_49 |  | 46 | 48 | 0.010778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3731-1_0_3_line_50 |  | 47 | 49 | 0.0028517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3731-1_0_3_line_51 |  | 48 | 54 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3731-1_0_3_line_52 |  | 49 | 50 | 0.010114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3731-1_0_3_line_53 |  | 49 | 51 | 0.0058615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3731-1_0_3_line_54 |  | 50 | 52 | 0.0081827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3731-1_0_3_line_55 |  | 51 | 53 | 0.023982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3731-1_0_3_line_56 |  | 53 | 55 | 0.0096828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3731-1_0_3_line_57 |  | 54 | 56 | 0.0021635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3731-1_0_3_line_58 |  | 55 | 62 | 0.0045522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3731-1_0_3_line_59 |  | 56 | 57 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3731-1_0_3_line_60 |  | 57 | 63 | 0.0069444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3731-1_0_3_line_61 |  | 58 | 59 | 0.0072216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3731-1_0_3_line_62 |  | 59 | 75 | 0.031715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3731-1_0_3_line_63 |  | 60 | 61 | 0.0076419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3731-1_0_3_line_64 |  | 60 | 62 | 0.0072843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3731-1_0_3_line_65 |  | 64 | 65 | 0.0083678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3731-1_0_3_line_66 |  | 65 | 66 | 0.011843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3731-1_0_3_line_67 |  | 66 | 67 | 0.0026065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3731-1_0_3_line_68 |  | 67 | 68 | 0.00763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3731-1_0_3_line_69 |  | 68 | 88 | 0.00087749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3731-1_0_3_line_70 |  | 69 | 70 | 0.0044392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3731-1_0_3_line_71 |  | 69 | 71 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3731-1_0_3_line_72 |  | 71 | 72 | 0.018005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3731-1_0_3_line_73 |  | 72 | 73 | 0.013762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3731-1_0_3_line_74 |  | 73 | 76 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3731-1_0_3_line_75 |  | 73 | 77 | 0.015436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3731-1_0_3_line_76 |  | 74 | 75 | 0.021576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3731-1_0_3_line_77 |  | 76 | 78 | 0.023322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3731-1_0_3_line_78 |  | 77 | 79 | 0.0051132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3731-1_0_3_line_79 |  | 78 | 86 | 0.011051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3731-1_0_3_line_80 |  | 79 | 81 | 0.011803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3731-1_0_3_line_81 |  | 80 | 81 | 0.00099603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3731-1_0_3_line_82 |  | 80 | 82 | 0.013327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3731-1_0_3_line_83 |  | 82 | 83 | 0.00040539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3731-1_0_3_line_84 |  | 83 | 84 | 0.0068572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3731-1_0_3_line_85 |  | 84 | 85 | 0.012531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3731-1_0_3_line_86 |  | 85 | 87 | 0.0010145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3731-1_0_3_line_87 |  | 86 | 91 | 0.0015478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3731-1_0_3_line_88 |  | 87 | 88 | 0.0076075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3731-1_0_3_line_89 |  | 89 | 90 | 0.018793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3731-1_0_3_line_90 |  | 89 | 91 | 0.014672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3731-1_0_3_line_91 |  | 90 | 92 | 0.0014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3731-1_0_3_line_92 |  | 92 | 93 | 0.0012546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3731-1_0_3_line_93 |  | 93 | 94 | 0.015669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3731-1_0_3_line_94 |  | 94 | 95 | 0.0030511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3731-1_0_3_line_95 |  | 95 | 96 | 0.00095616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3731-1_0_3_trafo_36 | 0.63 MVA 20/0.4 kV | 97 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2754975.7791 | 1190274.1787 | 2754975.1982 | 1190273.0405 | 2754968.2503 | 1190271.8994
1 | 2754975.7791 | 1190274.1787 | 2754975.5364 | 1190275.5959 | 2754979.5243 | 1190275.6992 | 2754984.5184 | 1190275.8286
2 | 2754975.7791 | 1190274.1787 | 2754980.4864 | 1190274.2006 | 2754981.6598 | 1190272.4962 | 2754983.3235 | 1190263.3537
3 | 2755002.2948 | 1190276.2002 | 2754997.1336 | 1190275.4438 | 2754985.7615 | 1190275.8608 | 2754984.5184 | 1190275.8286
4 | 2755002.2948 | 1190276.2002 | 2754995.475 | 1190284.3862
5 | 2755002.2948 | 1190276.2002 | 2755008.3985 | 1190267.3841
6 | 2754978.3816 | 1190290.2931 | 2754980.1965 | 1190288.6276 | 2754995.475 | 1190284.3862 | 2754995.475 | 1190284.3862
7 | 2755008.3985 | 1190267.3841 | 2755016.5821 | 1190272.3508
8 | 2755008.3985 | 1190267.3841 | 2755014.1591 | 1190259.3119
9 | 2754947.9691 | 1190295.7706 | 2754948.2451 | 1190295.806
10 | 2754948.2451 | 1190295.806 | 2754957.5148 | 1190296.9944
11 | 2754977.8313 | 1190290.7981 | 2754978.3816 | 1190290.2931
12 | 2755016.5821 | 1190272.3508 | 2755024.3418 | 1190277.0603
13 | 2755021.5676 | 1190243.26 | 2755016.2607 | 1190256.3671 | 2755014.1591 | 1190259.3119
14 | 2754970.6121 | 1190295.4409 | 2754973.4904 | 1190294.7815 | 2754977.8313 | 1190290.7981
15 | 2755026.6302 | 1190278.4492 | 2755024.3418 | 1190277.0603
16 | 2755021.5676 | 1190243.26 | 2755016.7736 | 1190242.1683 | 2754996.9006 | 1190234.4742
17 | 2755021.5676 | 1190243.26 | 2755031.5097 | 1190245.3192 | 2755035.5105 | 1190245.8581
18 | 2755021.5676 | 1190243.26 | 2755023.6951 | 1190227.2814
19 | 2754970.6121 | 1190295.4409 | 2754964.6973 | 1190296.8097
20 | 2754970.6121 | 1190295.4409 | 2754978.9953 | 1190302.0102
21 | 2754964.6973 | 1190296.8097 | 2754961.6233 | 1190297.5211 | 2754957.5148 | 1190296.9944
22 | 2754982.8057 | 1190305.0485 | 2754982.7642 | 1190304.9636 | 2754978.9953 | 1190302.0102
23 | 2755034.9082 | 1190283.4732 | 2755026.6302 | 1190278.4492
24 | 2755034.9082 | 1190283.4732 | 2755044.452 | 1190288.7525
25 | 2755051.0434 | 1190292.3987 | 2755044.452 | 1190288.7525
26 | 2755051.0434 | 1190292.3987 | 2755057.6126 | 1190296.0315
27 | 2755051.0434 | 1190292.3987 | 2755040.5563 | 1190311.7886
28 | 2755022.1344 | 1190305.5019 | 2755020.8007 | 1190307.8018
29 | 2755017.1769 | 1190314.0513 | 2755020.8007 | 1190307.8018
30 | 2755017.1769 | 1190314.0513 | 2755016.3378 | 1190315.4999
31 | 2755017.1769 | 1190314.0513 | 2755034.2217 | 1190323.5007 | 2755035.3267 | 1190321.4576
32 | 2755013.4707 | 1190320.4496 | 2755016.3378 | 1190315.4999
33 | 2755040.5563 | 1190311.7886 | 2755035.3267 | 1190321.4576
34 | 2755009.603 | 1190319.5376 | 2755009.603 | 1190319.5376 | 2755013.4707 | 1190320.4496 | 2755013.4707 | 1190320.4496
35 | 2755072.3314 | 1190304.1712 | 2755057.6126 | 1190296.0315
36 | 2755009.603 | 1190319.5376 | 2755008.3218 | 1190321.703
37 | 2754999.8646 | 1190325.7561 | 2755004.2567 | 1190328.5736 | 2755008.3218 | 1190321.703
38 | 2754996.9006 | 1190234.4742 | 2754986.6665 | 1190230.5119
39 | 2755024.891 | 1190221.5037 | 2755024.0215 | 1190224.83 | 2755023.6951 | 1190227.2814
40 | 2754963.2706 | 1190220.7101 | 2754971.5833 | 1190224.6723 | 2754986.6665 | 1190230.5119
41 | 2755029.6759 | 1190203.1987 | 2755024.891 | 1190221.5037
42 | 2754963.2706 | 1190220.7101 | 2754958.9511 | 1190218.6513 | 2754958.3256 | 1190218.272
43 | 2755084.9728 | 1190240.6666 | 2755079.6343 | 1190241.8852
44 | 2755084.9728 | 1190240.6666 | 2755099.9112 | 1190237.4304
45 | 2755084.9728 | 1190240.6666 | 2755084.2345 | 1190258.9576
46 | 2755029.9343 | 1190202.2102 | 2755029.6759 | 1190203.1987
47 | 2754936.4221 | 1190204.9898 | 2754958.3256 | 1190218.272
48 | 2754936.4221 | 1190204.9898 | 2754944.9197 | 1190177.8718
49 | 2755099.9112 | 1190237.4304 | 2755110.445 | 1190235.1484
50 | 2755084.1195 | 1190261.807 | 2755084.2345 | 1190258.9576
51 | 2755110.445 | 1190235.1484 | 2755122.4116 | 1190232.556
52 | 2755084.1195 | 1190261.807 | 2755094.2207 | 1190262.3127
53 | 2755084.1195 | 1190261.807 | 2755083.9953 | 1190267.6672
54 | 2755102.3932 | 1190262.7218 | 2755094.2207 | 1190262.3127
55 | 2755085.527 | 1190287.1726 | 2755089.3661 | 1190282.2271 | 2755089.9469 | 1190275.7143 | 2755083.9146 | 1190271.4767 | 2755083.9953 | 1190267.6672
56 | 2755085.527 | 1190287.1726 | 2755079.5895 | 1190294.8213
57 | 2755124.5261 | 1190232.0979 | 2755122.4116 | 1190232.556
58 | 2755076.7981 | 1190298.4172 | 2755079.5895 | 1190294.8213
59 | 2755124.5261 | 1190232.0979 | 2755141.5609 | 1190228.4075
60 | 2755141.5609 | 1190228.4075 | 2755148.3479 | 1190226.9372
61 | 2754947.0792 | 1190170.9806 | 2754944.9197 | 1190177.8718
62 | 2754956.5625 | 1190140.717 | 2754947.0792 | 1190170.9806
63 | 2755072.3314 | 1190304.1712 | 2755078.5577 | 1190308.602
64 | 2755072.3314 | 1190304.1712 | 2755076.7981 | 1190298.4172
65 | 2755029.9343 | 1190202.2102 | 2755032.0506 | 1190194.1144
66 | 2755032.0506 | 1190194.1144 | 2755035.0456 | 1190182.6568
67 | 2755035.0456 | 1190182.6568 | 2755035.7048 | 1190180.135
68 | 2755037.6345 | 1190172.7531 | 2755035.7048 | 1190180.135
69 | 2755037.8564 | 1190171.9041 | 2755037.6345 | 1190172.7531
70 | 2755012.636 | 1190090.166 | 2755008.2799 | 1190089.3113
71 | 2755012.636 | 1190090.166 | 2755026.3112 | 1190092.8495
72 | 2755026.3112 | 1190092.8495 | 2755043.9794 | 1190096.3164
73 | 2755057.3137 | 1190099.6631 | 2755049.847 | 1190097.4678 | 2755043.9794 | 1190096.3164
74 | 2755057.3137 | 1190099.6631 | 2755074.4921 | 1190104.4182
75 | 2755057.3137 | 1190099.6631 | 2755054.3781 | 1190104.291 | 2755051.8694 | 1190113.9255
76 | 2754963.0143 | 1190120.1278 | 2754956.5625 | 1190140.717
77 | 2755096.3389 | 1190112.4994 | 2755080.1855 | 1190105.9942 | 2755074.4921 | 1190104.4182
78 | 2755051.8694 | 1190113.9255 | 2755050.581 | 1190118.8737
79 | 2755096.3389 | 1190112.4994 | 2755106.5896 | 1190116.6275
80 | 2755047.607 | 1190130.2955 | 2755050.581 | 1190118.8737
81 | 2755047.607 | 1190130.2955 | 2755047.356 | 1190131.2594
82 | 2755047.356 | 1190131.2594 | 2755046.0313 | 1190136.3466 | 2755044.2342 | 1190144.2144
83 | 2755044.2342 | 1190144.2144 | 2755044.1439 | 1190144.6096
84 | 2755042.617 | 1190151.2946 | 2755044.1439 | 1190144.6096
85 | 2755042.617 | 1190151.2946 | 2755039.8265 | 1190163.511
86 | 2755039.8265 | 1190163.511 | 2755039.6006 | 1190164.5
87 | 2755106.5896 | 1190116.6275 | 2755108.0253 | 1190117.2057
88 | 2755037.8564 | 1190171.9041 | 2755038.2765 | 1190170.297 | 2755039.6006 | 1190164.5
89 | 2755121.6352 | 1190122.6866 | 2755139.0674 | 1190129.7067
90 | 2755121.6352 | 1190122.6866 | 2755108.0253 | 1190117.2057
91 | 2755140.3959 | 1190130.2417 | 2755139.0674 | 1190129.7067
92 | 2755141.5596 | 1190130.7104 | 2755140.3959 | 1190130.2417
93 | 2755141.5596 | 1190130.7104 | 2755156.0942 | 1190136.5636
94 | 2755158.9244 | 1190137.7034 | 2755156.0942 | 1190136.5636
95 | 2755159.8113 | 1190138.0606 | 2755158.9244 | 1190137.7034

## bus_geodata
| x | y | coords
0 | 2754968.2503 | 1190271.8994
1 | 2754975.7791 | 1190274.1787
2 | 2754984.5184 | 1190275.8286
3 | 2754983.3235 | 1190263.3537
4 | 2755002.2948 | 1190276.2002
5 | 2754995.475 | 1190284.3862
6 | 2755008.3985 | 1190267.3841
7 | 2754947.9691 | 1190295.7706
8 | 2754948.2451 | 1190295.806
9 | 2754978.3816 | 1190290.2931
10 | 2755016.5821 | 1190272.3508
11 | 2755014.1591 | 1190259.3119
12 | 2754977.8313 | 1190290.7981
13 | 2755024.3418 | 1190277.0603
14 | 2755021.5676 | 1190243.26
15 | 2754970.6121 | 1190295.4409
16 | 2754964.6973 | 1190296.8097
17 | 2754978.9953 | 1190302.0102
18 | 2755026.6302 | 1190278.4492
19 | 2755034.9082 | 1190283.4732
20 | 2755044.452 | 1190288.7525
21 | 2755051.0434 | 1190292.3987
22 | 2755022.1344 | 1190305.5019
23 | 2755020.8007 | 1190307.8018
24 | 2755017.1769 | 1190314.0513
25 | 2755016.3378 | 1190315.4999
26 | 2755035.3267 | 1190321.4576
27 | 2755013.4707 | 1190320.4496
28 | 2755040.5563 | 1190311.7886
29 | 2755057.6126 | 1190296.0315
30 | 2755009.603 | 1190319.5376
31 | 2755008.3218 | 1190321.703
32 | 2754999.8646 | 1190325.7561
33 | 2754982.8057 | 1190305.0485
34 | 2754957.5148 | 1190296.9944
35 | 2754996.9006 | 1190234.4742
36 | 2755035.5105 | 1190245.8581
37 | 2755023.6951 | 1190227.2814
38 | 2754986.6665 | 1190230.5119
39 | 2755024.891 | 1190221.5037
40 | 2754963.2706 | 1190220.7101
41 | 2755079.6343 | 1190241.8852
42 | 2755084.9728 | 1190240.6666
43 | 2755029.6759 | 1190203.1987
44 | 2754958.3256 | 1190218.272
45 | 2754936.4221 | 1190204.9898
46 | 2755099.9112 | 1190237.4304
47 | 2755084.2345 | 1190258.9576
48 | 2755110.445 | 1190235.1484
49 | 2755084.1195 | 1190261.807
50 | 2755094.2207 | 1190262.3127
51 | 2755083.9953 | 1190267.6672
52 | 2755102.3932 | 1190262.7218
53 | 2755085.527 | 1190287.1726
54 | 2755122.4116 | 1190232.556
55 | 2755079.5895 | 1190294.8213
56 | 2755124.5261 | 1190232.0979
57 | 2755141.5609 | 1190228.4075
58 | 2754944.9197 | 1190177.8718
59 | 2754947.0792 | 1190170.9806
60 | 2755072.3314 | 1190304.1712
61 | 2755078.5577 | 1190308.602
62 | 2755076.7981 | 1190298.4172
63 | 2755148.3479 | 1190226.9372
64 | 2755029.9343 | 1190202.2102
65 | 2755032.0506 | 1190194.1144
66 | 2755035.0456 | 1190182.6568
67 | 2755035.7048 | 1190180.135
68 | 2755037.6345 | 1190172.7531
69 | 2755012.636 | 1190090.166
70 | 2755008.2799 | 1190089.3113
71 | 2755026.3112 | 1190092.8495
72 | 2755043.9794 | 1190096.3164
73 | 2755057.3137 | 1190099.6631
74 | 2754963.0143 | 1190120.1278
75 | 2754956.5625 | 1190140.717
76 | 2755074.4921 | 1190104.4182
77 | 2755051.8694 | 1190113.9255
78 | 2755096.3389 | 1190112.4994
79 | 2755050.581 | 1190118.8737
80 | 2755047.356 | 1190131.2594
81 | 2755047.607 | 1190130.2955
82 | 2755044.2342 | 1190144.2144
83 | 2755044.1439 | 1190144.6096
84 | 2755042.617 | 1190151.2946
85 | 2755039.8265 | 1190163.511
86 | 2755106.5896 | 1190116.6275
87 | 2755039.6006 | 1190164.5
88 | 2755037.8564 | 1190171.9041
89 | 2755121.6352 | 1190122.6866
90 | 2755139.0674 | 1190129.7067
91 | 2755108.0253 | 1190117.2057
92 | 2755140.3959 | 1190130.2417
93 | 2755141.5596 | 1190130.7104
94 | 2755156.0942 | 1190136.5636
95 | 2755158.9244 | 1190137.7034
96 | 2755159.8113 | 1190138.0606
97 | 2755021.5676 | 1190243.26

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1