## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3731-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3731-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3731-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3731-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3731-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3731-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3731-3_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_3731-3_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3731-3_0_3_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_3731-3_0_3_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_3731-3_0_3_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_3731-3_0_3_node_63 | 0.4 | n |  | TRUE
12 | bus_LV_3731-3_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3731-3_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_3731-3_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3731-3_0_3_node_86 | 0.4 | n |  | TRUE
16 | bus_LV_3731-3_0_3_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_3731-3_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_3731-3_0_3_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_3731-3_0_3_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_3731-3_0_3_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_3731-3_0_3_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_3731-3_0_3_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_3731-3_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3731-3_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3731-3_0_3_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_3731-3_0_3_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_3731-3_0_3_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_3731-3_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_3731-3_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_3731-3_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_3731-3_0_3_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_3731-3_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_3731-3_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_3731-3_0_3_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3731-3_0_3_node_22 | 0.4 | n |  | TRUE
36 | bus_LV_3731-3_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_3731-3_0_3_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_3731-3_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3731-3_0_3_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3731-3_0_3_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_3731-3_0_3_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_3731-3_0_3_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_3731-3_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3731-3_0_3_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_3731-3_0_3_node_60 | 0.4 | n |  | TRUE
46 | bus_LV_3731-3_0_3_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3731-3_0_3_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3731-3_0_3_node_57 | 0.4 | n |  | TRUE
49 | bus_LV_3731-3_0_3_node_65 | 0.4 | n |  | TRUE
50 | bus_LV_3731-3_0_3_node_66 | 0.4 | n |  | TRUE
51 | bus_LV_3731-3_0_3_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3731-3_0_3_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_3731-3_0_3_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_3731-3_0_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3731-3_0_3_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3731-3_0_3_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_3731-3_0_3_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_3731-3_0_3_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_3731-3_0_3_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3731-3_0_3_node_44 | 0.4 | n |  | TRUE
61 | bus_LV_3731-3_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3731-3_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3731-3_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3731-3_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3731-3_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3731-3_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3731-3_0_3_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3731-3_0_3_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3731-3_0_3_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3731-3_0_3_node_77 | 0.4 | n |  | TRUE
71 | bus_LV_3731-3_0_3_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3731-3_0_3_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_3731-3_0_3_node_70 | 0.4 | n |  | TRUE
74 | bus_LV_3731-3_0_3_node_79 | 0.4 | n |  | TRUE
75 | bus_LV_3731-3_0_3_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_3731-3_0_3_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3731-3_0_3_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3731-3_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3731-3_0_3_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3731-3_0_3_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3731-3_0_3_node_80 | 0.4 | n |  | TRUE
82 | bus_LV_3731-3_0_3_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_3731-3_0_3_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3731-3_0_3_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3731-3_0_3_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_3731-3_0_3_node_84 | 0.4 | n |  | TRUE
87 | bus_MV_57_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3731-3_0_3_load_0 | 0 | 0.0071012 | 0.0017797 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3731-3_0_3_load_1 | 1 | 0.0039816 | 0.00099789 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3731-3_0_3_load_4 | 4 | 0.0066765 | 0.0016733 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3731-3_0_3_load_5 | 5 | 0.0064918 | 0.001627 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3731-3_0_3_load_7 | 6 | 0.0028387 | 0.00071144 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3731-3_0_3_load_6 | 7 | 0.009817 | 0.0024604 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3731-3_0_3_load_55 | 8 | 0.002832 | 0.00070977 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3731-3_0_3_load_64 | 9 | 0.0030143 | 0.00075546 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3731-3_0_3_load_56 | 10 | 0.0035586 | 0.00089188 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3731-3_0_3_load_63 | 11 | 0.0020368 | 0.00051046 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3731-3_0_3_load_8 | 12 | 0.0016881 | 0.00042307 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3731-3_0_3_load_10 | 14 | 0.002596 | 0.00065061 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3731-3_0_3_load_86 | 15 | 0.00073212 | 0.00018349 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3731-3_0_3_load_85 | 16 | 0.0024659 | 0.000618 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3731-3_0_3_load_11 | 17 | 0.0014779 | 0.00037039 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3731-3_0_3_load_12 | 18 | 0.0022995 | 0.00057632 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3731-3_0_3_load_13 | 19 | 0.0016512 | 0.00041382 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3731-3_0_3_load_14 | 20 | 0.0028967 | 0.00072597 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3731-3_0_3_load_78 | 21 | 0.0022536 | 0.0005648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3731-3_0_3_load_15 | 23 | 0.0055902 | 0.001401 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3731-3_0_3_load_17 | 25 | 0.0044271 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3731-3_0_3_load_37 | 26 | 0.0043941 | 0.0011013 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3731-3_0_3_load_38 | 27 | 0.0042578 | 0.0010671 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3731-3_0_3_load_18 | 28 | 0.0022319 | 0.00055937 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3731-3_0_3_load_20 | 30 | 0.011169 | 0.0027992 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3731-3_0_3_load_36 | 32 | 0.0038603 | 0.00096749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3731-3_0_3_load_35 | 33 | 0.0027287 | 0.00068389 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3731-3_0_3_load_34 | 34 | 0.0020176 | 0.00050566 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3731-3_0_3_load_22 | 35 | 0.010486 | 0.0026281 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3731-3_0_3_load_23 | 36 | 0.020351 | 0.0051005 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3731-3_0_3_load_24 | 37 | 0.00217 | 0.00054386 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3731-3_0_3_load_28 | 38 | 0.0037431 | 0.0009381 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3731-3_0_3_load_26 | 39 | 0.0062275 | 0.0015608 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3731-3_0_3_load_25 | 40 | 0.003247 | 0.00081377 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3731-3_0_3_load_27 | 41 | 0.0013696 | 0.00034325 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3731-3_0_3_load_33 | 43 | 0.0026016 | 0.00065202 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3731-3_0_3_load_30 | 44 | 0.0022744 | 0.00057002 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3731-3_0_3_load_60 | 45 | 0.0026515 | 0.00066452 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3731-3_0_3_load_31 | 46 | 0.0075143 | 0.0018833 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3731-3_0_3_load_32 | 47 | 0.0032368 | 0.00081121 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3731-3_0_3_load_65 | 49 | 0.004273 | 0.0010709 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3731-3_0_3_load_39 | 51 | 0.0090443 | 0.0022667 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3731-3_0_3_load_40 | 52 | 0.0051677 | 0.0012951 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3731-3_0_3_load_42 | 54 | 0.0039095 | 0.0009798 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3731-3_0_3_load_43 | 55 | 0.008344 | 0.0020912 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3731-3_0_3_load_47 | 56 | 0.0090144 | 0.0022592 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3731-3_0_3_load_48 | 57 | 0.0014946 | 0.00037459 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3731-3_0_3_load_45 | 58 | 0.0065587 | 0.0016438 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3731-3_0_3_load_49 | 59 | 0.0018547 | 0.00046483 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3731-3_0_3_load_44 | 60 | 0.0086861 | 0.0021769 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3731-3_0_3_load_46 | 61 | 0.0092177 | 0.0023102 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3731-3_0_3_load_50 | 62 | 0.0073485 | 0.0018417 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3731-3_0_3_load_51 | 63 | 0.0064306 | 0.0016117 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3731-3_0_3_load_52 | 64 | 0.0042472 | 0.0010644 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3731-3_0_3_load_53 | 65 | 0.0036679 | 0.00091926 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3731-3_0_3_load_54 | 66 | 0.0043605 | 0.0010929 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3731-3_0_3_load_58 | 67 | 0.0014222 | 0.00035644 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3731-3_0_3_load_59 | 68 | 0.00273 | 0.00068419 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3731-3_0_3_load_61 | 69 | 0.0043022 | 0.0010782 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3731-3_0_3_load_77 | 70 | 0.0065854 | 0.0016505 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3731-3_0_3_load_62 | 71 | 0.0047517 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3731-3_0_3_load_72 | 72 | 0.0043102 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3731-3_0_3_load_70 | 73 | 0.003874 | 0.00097092 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3731-3_0_3_load_79 | 74 | 0.0045701 | 0.0011454 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3731-3_0_3_load_68 | 75 | 0.0055785 | 0.0013981 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3731-3_0_3_load_67 | 76 | 0.004901 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3731-3_0_3_load_69 | 77 | 0.013164 | 0.0032992 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3731-3_0_3_load_73 | 79 | 0.005945 | 0.00149 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3731-3_0_3_load_74 | 80 | 0.0040678 | 0.0010195 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3731-3_0_3_load_80 | 81 | 0.0055541 | 0.001392 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3731-3_0_3_load_75 | 82 | 0.0017606 | 0.00044125 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3731-3_0_3_load_81 | 83 | 0.0019484 | 0.00048831 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3731-3_0_3_load_82 | 84 | 0.0024186 | 0.00060615 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3731-3_0_3_load_83 | 85 | 0.0025667 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3731-3_0_3_load_84 | 86 | 0.0026018 | 0.00065206 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 65 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3731-3_0_3_line_0 |  | 0 | 1 | 0.013047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3731-3_0_3_line_1 |  | 0 | 2 | 0.0020313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3731-3_0_3_line_2 |  | 1 | 3 | 0.013985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3731-3_0_3_line_3 |  | 2 | 4 | 0.036516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3731-3_0_3_line_4 |  | 2 | 5 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3731-3_0_3_line_5 |  | 3 | 6 | 0.0082533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3731-3_0_3_line_6 |  | 3 | 7 | 0.013573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3731-3_0_3_line_7 |  | 5 | 8 | 0.015217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3731-3_0_3_line_8 |  | 6 | 9 | 0.012809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3731-3_0_3_line_9 |  | 8 | 10 | 0.0086653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3731-3_0_3_line_10 |  | 9 | 11 | 0.03403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3731-3_0_3_line_11 |  | 11 | 71 | 0.0092113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3731-3_0_3_line_12 |  | 12 | 13 | 0.01896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3731-3_0_3_line_13 |  | 13 | 14 | 0.013431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3731-3_0_3_line_14 |  | 14 | 15 | 0.0089543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3731-3_0_3_line_15 |  | 15 | 16 | 0.0025724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3731-3_0_3_line_16 |  | 16 | 86 | 0.001119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3731-3_0_3_line_17 |  | 17 | 18 | 0.0067456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3731-3_0_3_line_18 |  | 17 | 19 | 0.0076682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3731-3_0_3_line_19 |  | 18 | 20 | 0.037422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3731-3_0_3_line_20 |  | 20 | 21 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3731-3_0_3_line_21 |  | 21 | 22 | 0.01436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3731-3_0_3_line_22 |  | 22 | 70 | 0.0050765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3731-3_0_3_line_23 |  | 22 | 78 | 0.011787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3731-3_0_3_line_24 |  | 23 | 24 | 0.04046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3731-3_0_3_line_25 |  | 24 | 25 | 0.11117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3731-3_0_3_line_26 |  | 25 | 26 | 0.0055696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3731-3_0_3_line_27 |  | 26 | 27 | 0.018255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3731-3_0_3_line_28 |  | 27 | 51 | 0.016334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3731-3_0_3_line_29 |  | 28 | 29 | 0.067465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3731-3_0_3_line_30 |  | 28 | 30 | 0.020143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3731-3_0_3_line_31 |  | 29 | 31 | 0.094883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3731-3_0_3_line_32 |  | 31 | 32 | 0.027084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3731-3_0_3_line_33 |  | 31 | 33 | 0.043091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3731-3_0_3_line_34 |  | 33 | 34 | 0.0059016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3731-3_0_3_line_35 |  | 34 | 47 | 0.0083842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3731-3_0_3_line_36 |  | 35 | 36 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3731-3_0_3_line_37 |  | 36 | 37 | 0.02094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3731-3_0_3_line_38 |  | 37 | 38 | 0.0080591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3731-3_0_3_line_39 |  | 38 | 39 | 0.019191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3731-3_0_3_line_40 |  | 39 | 40 | 0.0030797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3731-3_0_3_line_41 |  | 40 | 41 | 0.0076979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3731-3_0_3_line_42 |  | 41 | 42 | 0.0070763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3731-3_0_3_line_43 |  | 42 | 43 | 0.0061908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3731-3_0_3_line_44 |  | 42 | 44 | 0.046001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3731-3_0_3_line_45 |  | 43 | 45 | 0.0097951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3731-3_0_3_line_46 |  | 44 | 46 | 0.010731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3731-3_0_3_line_47 |  | 45 | 48 | 0.04785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3731-3_0_3_line_48 |  | 46 | 47 | 0.0073647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3731-3_0_3_line_49 |  | 48 | 67 | 0.014983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3731-3_0_3_line_50 |  | 48 | 68 | 0.01511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3731-3_0_3_line_51 |  | 48 | 66 | 0.014512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_3731-3_0_3_line_52 |  | 49 | 50 | 0.021085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3731-3_0_3_line_53 |  | 50 | 72 | 0.030372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3731-3_0_3_line_54 |  | 50 | 73 | 0.0079278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3731-3_0_3_line_55 |  | 51 | 52 | 0.010814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3731-3_0_3_line_56 |  | 52 | 53 | 0.032376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3731-3_0_3_line_57 |  | 53 | 54 | 0.019196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3731-3_0_3_line_58 |  | 53 | 55 | 0.019749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3731-3_0_3_line_59 |  | 54 | 56 | 0.032955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3731-3_0_3_line_60 |  | 55 | 57 | 0.011194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3731-3_0_3_line_61 |  | 56 | 58 | 0.0062199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3731-3_0_3_line_62 |  | 57 | 59 | 0.0029402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3731-3_0_3_line_63 |  | 58 | 60 | 0.045616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3731-3_0_3_line_64 |  | 59 | 62 | 0.0024157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3731-3_0_3_line_65 |  | 60 | 61 | 0.0016849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3731-3_0_3_line_66 |  | 62 | 63 | 0.018817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3731-3_0_3_line_67 |  | 63 | 64 | 0.0066872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3731-3_0_3_line_68 |  | 64 | 65 | 0.019078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3731-3_0_3_line_69 |  | 65 | 66 | 0.0079207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3731-3_0_3_line_70 |  | 67 | 69 | 0.0007662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3731-3_0_3_line_71 |  | 68 | 70 | 0.0053408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3731-3_0_3_line_72 |  | 69 | 71 | 0.0099031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3731-3_0_3_line_73 |  | 72 | 74 | 0.0013772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3731-3_0_3_line_74 |  | 73 | 75 | 0.012787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3731-3_0_3_line_75 |  | 74 | 81 | 0.0023262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3731-3_0_3_line_76 |  | 75 | 76 | 0.0021905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3731-3_0_3_line_77 |  | 76 | 77 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3731-3_0_3_line_78 |  | 77 | 78 | 0.0095858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3731-3_0_3_line_79 |  | 78 | 79 | 0.024079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3731-3_0_3_line_80 |  | 79 | 80 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3731-3_0_3_line_81 |  | 80 | 82 | 0.0060739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3731-3_0_3_line_82 |  | 81 | 83 | 0.029257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3731-3_0_3_line_83 |  | 83 | 84 | 0.0019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3731-3_0_3_line_84 |  | 84 | 85 | 0.0010409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3731-3_0_3_line_85 |  | 85 | 86 | 0.0090642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3731-3_0_3_trafo_53 | 0.63 MVA 20/0.4 kV | 87 | 65 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2755773.6752 | 1190599.3514 | 2755780.3617 | 1190588.1482
1 | 2755772.6342 | 1190601.0957 | 2755773.6752 | 1190599.3514
2 | 2755787.5289 | 1190576.1396 | 2755780.3617 | 1190588.1482
3 | 2755772.6342 | 1190601.0957 | 2755767.4006 | 1190609.867 | 2755751.8191 | 1190631.0564
4 | 2755772.6342 | 1190601.0957 | 2755760.6779 | 1190592.869
5 | 2755787.5289 | 1190576.1396 | 2755780.6247 | 1190571.6174
6 | 2755787.5289 | 1190576.1396 | 2755793.1781 | 1190588.4814
7 | 2755760.6779 | 1190592.869 | 2755748.142 | 1190584.2436
8 | 2755769.9097 | 1190564.5991 | 2755780.6247 | 1190571.6174
9 | 2755741.0033 | 1190579.3318 | 2755748.142 | 1190584.2436
10 | 2755741.4423 | 1190545.9532 | 2755769.9097 | 1190564.5991
11 | 2755733.7367 | 1190540.9061 | 2755741.4423 | 1190545.9532
12 | 2755844.8275 | 1190505.3147 | 2755861.3735 | 1190514.5725
13 | 2755844.8275 | 1190505.3147 | 2755833.3876 | 1190498.2779
14 | 2755833.3876 | 1190498.2779 | 2755825.7607 | 1190493.5865
15 | 2755823.5696 | 1190492.2387 | 2755825.7607 | 1190493.5865
16 | 2755823.5696 | 1190492.2387 | 2755822.6165 | 1190491.6525
17 | 2755796.5381 | 1190548.0926 | 2755790.7701 | 1190544.595
18 | 2755803.095 | 1190552.0685 | 2755796.5381 | 1190548.0926
19 | 2755758.7713 | 1190525.1919 | 2755790.7701 | 1190544.595
20 | 2755738.0905 | 1190512.6517 | 2755758.7713 | 1190525.1919
21 | 2755725.812 | 1190505.2063 | 2755738.0905 | 1190512.6517
22 | 2755725.812 | 1190505.2063 | 2755723.1205 | 1190509.5106
23 | 2755731.8515 | 1190495.077 | 2755725.812 | 1190505.2063
24 | 2755561.5679 | 1190780.8057 | 2755570.6728 | 1190788.9048 | 2755595.2465 | 1190802.8898
25 | 2755561.5679 | 1190780.8057 | 2755560.6802 | 1190772.1085 | 2755561.6976 | 1190764.0836 | 2755602.1465 | 1190699.9688 | 2755612.0764 | 1190684.3266
26 | 2755612.0764 | 1190684.3266 | 2755615.0614 | 1190679.6245
27 | 2755624.8452 | 1190664.2124 | 2755615.0614 | 1190679.6245
28 | 2755624.8452 | 1190664.2124 | 2755633.5993 | 1190650.4224
29 | 2755596.1249 | 1190350.4238 | 2755579.7008 | 1190376.1078 | 2755575.5064 | 1190399.7858 | 2755575.2895 | 1190412.7155
30 | 2755574.9515 | 1190432.8552 | 2755575.2895 | 1190412.7155
31 | 2755677.0949 | 1190400.2715 | 2755596.1249 | 1190350.4238
32 | 2755677.0949 | 1190400.2715 | 2755699.927 | 1190414.8397
33 | 2755677.0949 | 1190400.2715 | 2755664.8558 | 1190417.5903 | 2755653.3161 | 1190436.184
34 | 2755651.8104 | 1190441.8903 | 2755653.3161 | 1190436.184
35 | 2755649.6713 | 1190449.9971 | 2755651.8104 | 1190441.8903
36 | 2755584.8872 | 1190505.8998 | 2755577.6531 | 1190505.8769 | 2755569.7993 | 1190503.9884
37 | 2755605.8031 | 1190506.6332 | 2755595.658 | 1190505.9338 | 2755584.8872 | 1190505.8998
38 | 2755613.8431 | 1190507.1875 | 2755605.8031 | 1190506.6332
39 | 2755613.8431 | 1190507.1875 | 2755614.3101 | 1190507.2197 | 2755630.7143 | 1190511.3275 | 2755632.5188 | 1190511.4912
40 | 2755632.5188 | 1190511.4912 | 2755635.5859 | 1190511.7696
41 | 2755643.2522 | 1190512.4653 | 2755635.5859 | 1190511.7696
42 | 2755650.2996 | 1190513.1048 | 2755643.2522 | 1190512.4653
43 | 2755650.2996 | 1190513.1048 | 2755656.0315 | 1190513.621 | 2755656.465 | 1190513.665
44 | 2755650.2996 | 1190513.1048 | 2755645.2206 | 1190487.7955 | 2755645.9119 | 1190467.6205
45 | 2755666.21 | 1190514.6547 | 2755656.465 | 1190513.665
46 | 2755645.9119 | 1190467.6205 | 2755646.0449 | 1190463.7408 | 2755647.7924 | 1190457.1181
47 | 2755712.2777 | 1190526.8506 | 2755694.3234 | 1190520.7451 | 2755677.6736 | 1190515.819 | 2755666.21 | 1190514.6547
48 | 2755649.6713 | 1190449.9971 | 2755647.7924 | 1190457.1181
49 | 2755712.2777 | 1190526.8506 | 2755724.8116 | 1190535.0602
50 | 2755712.2777 | 1190526.8506 | 2755720.2889 | 1190514.039
51 | 2755712.2777 | 1190526.8506 | 2755704.2385 | 1190538.9323
52 | 2755758.4296 | 1190452.1761 | 2755755.1725 | 1190450.0896 | 2755740.6584 | 1190440.8287
53 | 2755758.4296 | 1190452.1761 | 2755760.1569 | 1190453.233 | 2755784.3017 | 1190468.0847
54 | 2755758.4296 | 1190452.1761 | 2755754.2545 | 1190458.9153
55 | 2755639.3952 | 1190641.2923 | 2755633.5993 | 1190650.4224
56 | 2755656.7469 | 1190613.959 | 2755639.3952 | 1190641.2923
57 | 2755656.7469 | 1190613.959 | 2755673.0151 | 1190624.1485
58 | 2755656.7469 | 1190613.959 | 2755667.1823 | 1190597.1918
59 | 2755673.0151 | 1190624.1485 | 2755700.9441 | 1190641.6417
60 | 2755667.1823 | 1190597.1918 | 2755673.0971 | 1190587.6884
61 | 2755700.9441 | 1190641.6417 | 2755706.2154 | 1190644.9433
62 | 2755674.6506 | 1190585.1922 | 2755673.0971 | 1190587.6884
63 | 2755687.8254 | 1190677.5958 | 2755700.9537 | 1190664.3629 | 2755712.6914 | 1190648.9995 | 2755706.2154 | 1190644.9433
64 | 2755675.9271 | 1190583.1413 | 2755674.6506 | 1190585.1922
65 | 2755686.6388 | 1190678.7919 | 2755687.8254 | 1190677.5958
66 | 2755675.9271 | 1190583.1413 | 2755685.8698 | 1190567.1658
67 | 2755685.8698 | 1190567.1658 | 2755689.4033 | 1190561.4883
68 | 2755689.4033 | 1190561.4883 | 2755691.9184 | 1190557.4473 | 2755699.8506 | 1190545.5265
69 | 2755704.2385 | 1190538.9323 | 2755699.8506 | 1190545.5265
70 | 2755725.4525 | 1190535.48 | 2755724.8116 | 1190535.0602
71 | 2755723.1205 | 1190509.5106 | 2755720.2889 | 1190514.039
72 | 2755725.4525 | 1190535.48 | 2755733.7367 | 1190540.9061
73 | 2755785.4747 | 1190468.8062 | 2755784.3017 | 1190468.0847
74 | 2755747.52 | 1190469.7858 | 2755754.2545 | 1190458.9153
75 | 2755785.4747 | 1190468.8062 | 2755787.4562 | 1190470.025
76 | 2755746.3663 | 1190471.6479 | 2755747.52 | 1190469.7858
77 | 2755746.3663 | 1190471.6479 | 2755736.8998 | 1190486.9282
78 | 2755731.8515 | 1190495.077 | 2755736.8998 | 1190486.9282
79 | 2755731.8515 | 1190495.077 | 2755711.5612 | 1190482.111
80 | 2755711.5612 | 1190482.111 | 2755698.2736 | 1190473.6199
81 | 2755693.1555 | 1190470.3493 | 2755698.2736 | 1190473.6199
82 | 2755812.3762 | 1190485.3535 | 2755787.4562 | 1190470.025
83 | 2755814.0094 | 1190486.3581 | 2755812.3762 | 1190485.3535
84 | 2755814.0094 | 1190486.3581 | 2755814.896 | 1190486.9035
85 | 2755814.896 | 1190486.9035 | 2755822.6165 | 1190491.6525

## bus_geodata
| x | y | coords
0 | 2755773.6752 | 1190599.3514
1 | 2755780.3617 | 1190588.1482
2 | 2755772.6342 | 1190601.0957
3 | 2755787.5289 | 1190576.1396
4 | 2755751.8191 | 1190631.0564
5 | 2755760.6779 | 1190592.869
6 | 2755780.6247 | 1190571.6174
7 | 2755793.1781 | 1190588.4814
8 | 2755748.142 | 1190584.2436
9 | 2755769.9097 | 1190564.5991
10 | 2755741.0033 | 1190579.3318
11 | 2755741.4423 | 1190545.9532
12 | 2755861.3735 | 1190514.5725
13 | 2755844.8275 | 1190505.3147
14 | 2755833.3876 | 1190498.2779
15 | 2755825.7607 | 1190493.5865
16 | 2755823.5696 | 1190492.2387
17 | 2755796.5381 | 1190548.0926
18 | 2755790.7701 | 1190544.595
19 | 2755803.095 | 1190552.0685
20 | 2755758.7713 | 1190525.1919
21 | 2755738.0905 | 1190512.6517
22 | 2755725.812 | 1190505.2063
23 | 2755595.2465 | 1190802.8898
24 | 2755561.5679 | 1190780.8057
25 | 2755612.0764 | 1190684.3266
26 | 2755615.0614 | 1190679.6245
27 | 2755624.8452 | 1190664.2124
28 | 2755575.2895 | 1190412.7155
29 | 2755596.1249 | 1190350.4238
30 | 2755574.9515 | 1190432.8552
31 | 2755677.0949 | 1190400.2715
32 | 2755699.927 | 1190414.8397
33 | 2755653.3161 | 1190436.184
34 | 2755651.8104 | 1190441.8903
35 | 2755569.7993 | 1190503.9884
36 | 2755584.8872 | 1190505.8998
37 | 2755605.8031 | 1190506.6332
38 | 2755613.8431 | 1190507.1875
39 | 2755632.5188 | 1190511.4912
40 | 2755635.5859 | 1190511.7696
41 | 2755643.2522 | 1190512.4653
42 | 2755650.2996 | 1190513.1048
43 | 2755656.465 | 1190513.665
44 | 2755645.9119 | 1190467.6205
45 | 2755666.21 | 1190514.6547
46 | 2755647.7924 | 1190457.1181
47 | 2755649.6713 | 1190449.9971
48 | 2755712.2777 | 1190526.8506
49 | 2755740.6584 | 1190440.8287
50 | 2755758.4296 | 1190452.1761
51 | 2755633.5993 | 1190650.4224
52 | 2755639.3952 | 1190641.2923
53 | 2755656.7469 | 1190613.959
54 | 2755673.0151 | 1190624.1485
55 | 2755667.1823 | 1190597.1918
56 | 2755700.9441 | 1190641.6417
57 | 2755673.0971 | 1190587.6884
58 | 2755706.2154 | 1190644.9433
59 | 2755674.6506 | 1190585.1922
60 | 2755687.8254 | 1190677.5958
61 | 2755686.6388 | 1190678.7919
62 | 2755675.9271 | 1190583.1413
63 | 2755685.8698 | 1190567.1658
64 | 2755689.4033 | 1190561.4884
65 | 2755699.8506 | 1190545.5265
66 | 2755704.2385 | 1190538.9323
67 | 2755724.8116 | 1190535.0602
68 | 2755720.2889 | 1190514.039
69 | 2755725.4525 | 1190535.48
70 | 2755723.1205 | 1190509.5106
71 | 2755733.7367 | 1190540.9061
72 | 2755784.3017 | 1190468.0847
73 | 2755754.2545 | 1190458.9153
74 | 2755785.4747 | 1190468.8062
75 | 2755747.52 | 1190469.7858
76 | 2755746.3663 | 1190471.6479
77 | 2755736.8998 | 1190486.9282
78 | 2755731.8515 | 1190495.077
79 | 2755711.5612 | 1190482.111
80 | 2755698.2736 | 1190473.6199
81 | 2755787.4562 | 1190470.025
82 | 2755693.1555 | 1190470.3493
83 | 2755812.3762 | 1190485.3535
84 | 2755814.0094 | 1190486.3581
85 | 2755814.896 | 1190486.9035
86 | 2755822.6165 | 1190491.6525
87 | 2755712.2777 | 1190526.8506

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1