## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3835-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3835-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3835-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3835-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3835-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3835-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3835-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3835-4_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3835-4_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3835-4_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3835-4_0_4_node_43 | 0.4 | n |  | TRUE
11 | bus_LV_3835-4_0_4_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_3835-4_0_4_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_3835-4_0_4_node_48 | 0.4 | n |  | TRUE
14 | bus_LV_3835-4_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3835-4_0_4_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_3835-4_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3835-4_0_4_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_3835-4_0_4_node_20 | 0.4 | n |  | TRUE
19 | bus_LV_3835-4_0_4_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3835-4_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_3835-4_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3835-4_0_4_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_3835-4_0_4_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_3835-4_0_4_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_3835-4_0_4_node_29 | 0.4 | n |  | TRUE
26 | bus_LV_3835-4_0_4_node_30 | 0.4 | n |  | TRUE
27 | bus_LV_3835-4_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3835-4_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3835-4_0_4_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_3835-4_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_3835-4_0_4_node_26 | 0.4 | n |  | TRUE
32 | bus_LV_3835-4_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_3835-4_0_4_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_3835-4_0_4_node_58 | 0.4 | n |  | TRUE
35 | bus_LV_3835-4_0_4_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_3835-4_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3835-4_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_3835-4_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_3835-4_0_4_node_88 | 0.4 | n |  | TRUE
40 | bus_LV_3835-4_0_4_node_87 | 0.4 | n |  | TRUE
41 | bus_LV_3835-4_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_3835-4_0_4_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_3835-4_0_4_node_89 | 0.4 | n |  | TRUE
44 | bus_LV_3835-4_0_4_node_85 | 0.4 | n |  | TRUE
45 | bus_LV_3835-4_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3835-4_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3835-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3835-4_0_4_node_90 | 0.4 | n |  | TRUE
49 | bus_LV_3835-4_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_3835-4_0_4_node_91 | 0.4 | n |  | TRUE
51 | bus_LV_3835-4_0_4_node_70 | 0.4 | n |  | TRUE
52 | bus_LV_3835-4_0_4_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3835-4_0_4_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3835-4_0_4_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_3835-4_0_4_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_3835-4_0_4_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3835-4_0_4_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_3835-4_0_4_node_61 | 0.4 | n |  | TRUE
59 | bus_LV_3835-4_0_4_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_3835-4_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_3835-4_0_4_node_51 | 0.4 | n |  | TRUE
62 | bus_LV_3835-4_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_3835-4_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_3835-4_0_4_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3835-4_0_4_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_3835-4_0_4_node_56 | 0.4 | n |  | TRUE
67 | bus_LV_3835-4_0_4_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_3835-4_0_4_node_63 | 0.4 | n |  | TRUE
69 | bus_LV_3835-4_0_4_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_3835-4_0_4_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3835-4_0_4_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_3835-4_0_4_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_3835-4_0_4_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3835-4_0_4_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_3835-4_0_4_node_73 | 0.4 | n |  | TRUE
76 | bus_LV_3835-4_0_4_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3835-4_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_3835-4_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_3835-4_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_3835-4_0_4_node_76 | 0.4 | n |  | TRUE
81 | bus_LV_3835-4_0_4_node_77 | 0.4 | n |  | TRUE
82 | bus_LV_3835-4_0_4_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3835-4_0_4_node_79 | 0.4 | n |  | TRUE
84 | bus_LV_3835-4_0_4_node_80 | 0.4 | n |  | TRUE
85 | bus_LV_3835-4_0_4_node_82 | 0.4 | n |  | TRUE
86 | bus_LV_3835-4_0_4_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3835-4_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_3835-4_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3835-4_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_MV_59_0_node_12 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3835-4_0_4_load_0 | 0 | 0.0019248 | 0.00048241 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3835-4_0_4_load_1 | 1 | 0.00073106 | 0.00018322 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3835-4_0_4_load_3 | 3 | 0.0022475 | 0.00056328 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3835-4_0_4_load_4 | 4 | 0.00067561 | 0.00016932 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3835-4_0_4_load_5 | 5 | 0.0014842 | 0.00037198 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3835-4_0_4_load_6 | 6 | 0.0019741 | 0.00049475 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3835-4_0_4_load_7 | 7 | 0.0022856 | 0.00057282 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3835-4_0_4_load_8 | 8 | 0.001398 | 0.00035038 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3835-4_0_4_load_9 | 9 | 0.0073837 | 0.0018505 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3835-4_0_4_load_43 | 10 | 0.0023422 | 0.00058701 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3835-4_0_4_load_47 | 11 | 0.0021284 | 0.00053344 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3835-4_0_4_load_41 | 12 | 0.0025189 | 0.00063129 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3835-4_0_4_load_48 | 13 | 0.0010727 | 0.00026884 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3835-4_0_4_load_11 | 14 | 0.0082321 | 0.0020632 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3835-4_0_4_load_14 | 16 | 0.0059904 | 0.0015013 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3835-4_0_4_load_15 | 17 | 0.0022253 | 0.00055772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3835-4_0_4_load_20 | 18 | 0.0019609 | 0.00049145 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3835-4_0_4_load_18 | 19 | 0.004523 | 0.0011336 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3835-4_0_4_load_16 | 20 | 0.0038354 | 0.00096125 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3835-4_0_4_load_17 | 21 | 0.0059544 | 0.0014923 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3835-4_0_4_load_19 | 22 | 0.004665 | 0.0011692 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3835-4_0_4_load_21 | 23 | 0.0044516 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3835-4_0_4_load_29 | 25 | 0.0025056 | 0.00062797 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3835-4_0_4_load_30 | 26 | 0.0047264 | 0.0011845 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3835-4_0_4_load_22 | 27 | 0.0029439 | 0.0007378 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3835-4_0_4_load_24 | 29 | 0.0042635 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3835-4_0_4_load_26 | 31 | 0.069207 | 0.017345 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3835-4_0_4_load_38 | 33 | 0.0024201 | 0.00060654 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3835-4_0_4_load_58 | 34 | 0.08544 | 0.021413 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3835-4_0_4_load_59 | 35 | 0.0037064 | 0.00092891 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3835-4_0_4_load_32 | 36 | 0.0046341 | 0.0011614 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3835-4_0_4_load_34 | 38 | 0.008818 | 0.00221 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3835-4_0_4_load_88 | 39 | 0.0032821 | 0.00082258 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3835-4_0_4_load_87 | 40 | 0.0055565 | 0.0013926 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3835-4_0_4_load_31 | 41 | 0.016141 | 0.0040454 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3835-4_0_4_load_89 | 43 | 0.0030235 | 0.00075777 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3835-4_0_4_load_85 | 44 | 0.0045798 | 0.0011478 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3835-4_0_4_load_37 | 47 | 0.0040725 | 0.0010207 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3835-4_0_4_load_90 | 48 | 0.0040629 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3835-4_0_4_load_72 | 49 | 0.002611 | 0.00065439 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3835-4_0_4_load_91 | 50 | 0.0030549 | 0.00076564 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3835-4_0_4_load_70 | 51 | 0.0027489 | 0.00068893 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3835-4_0_4_load_39 | 52 | 0.0043456 | 0.0010891 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3835-4_0_4_load_40 | 53 | 0.004018 | 0.001007 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3835-4_0_4_load_42 | 54 | 0.0042446 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3835-4_0_4_load_44 | 55 | 0.0038798 | 0.00097237 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3835-4_0_4_load_45 | 56 | 0.0050177 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3835-4_0_4_load_60 | 57 | 0.0040708 | 0.0010202 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3835-4_0_4_load_61 | 58 | 0.004294 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3835-4_0_4_load_49 | 59 | 0.0052515 | 0.0013162 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3835-4_0_4_load_50 | 60 | 0.0037624 | 0.00094294 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3835-4_0_4_load_51 | 61 | 0.0022761 | 0.00057044 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3835-4_0_4_load_52 | 62 | 0.0016494 | 0.00041338 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3835-4_0_4_load_53 | 63 | 0.0029865 | 0.00074849 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3835-4_0_4_load_55 | 64 | 0.001771 | 0.00044385 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3835-4_0_4_load_54 | 65 | 0.0028316 | 0.00070967 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3835-4_0_4_load_56 | 66 | 0.0037414 | 0.00093768 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3835-4_0_4_load_57 | 67 | 0.0029962 | 0.00075092 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3835-4_0_4_load_66 | 69 | 0.0028563 | 0.00071585 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3835-4_0_4_load_64 | 70 | 0.0025079 | 0.00062855 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3835-4_0_4_load_62 | 71 | 0.003913 | 0.0009807 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3835-4_0_4_load_67 | 72 | 0.0036303 | 0.00090985 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3835-4_0_4_load_65 | 73 | 0.0019719 | 0.00049421 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3835-4_0_4_load_74 | 74 | 0.0017769 | 0.00044534 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3835-4_0_4_load_73 | 75 | 0.003826 | 0.00095889 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3835-4_0_4_load_69 | 77 | 0.0023197 | 0.00058138 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3835-4_0_4_load_71 | 78 | 0.0015048 | 0.00037715 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3835-4_0_4_load_76 | 80 | 0.0026013 | 0.00065196 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3835-4_0_4_load_77 | 81 | 0.0025955 | 0.0006505 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3835-4_0_4_load_79 | 83 | 0.0036339 | 0.00091073 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3835-4_0_4_load_80 | 84 | 0.0025914 | 0.00064948 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3835-4_0_4_load_82 | 85 | 0.0020009 | 0.00050148 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3835-4_0_4_load_86 | 86 | 0.0042669 | 0.0010694 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3835-4_0_4_load_81 | 87 | 0.0014814 | 0.00037127 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3835-4_0_4_load_83 | 88 | 0.0016044 | 0.0004021 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3835-4_0_4_load_84 | 89 | 0.004746 | 0.0011895 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3835-4_0_4_line_0 |  | 0 | 1 | 0.010765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3835-4_0_4_line_1 |  | 0 | 2 | 0.042491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3835-4_0_4_line_2 |  | 1 | 3 | 0.059527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3835-4_0_4_line_3 |  | 2 | 4 | 0.014818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3835-4_0_4_line_4 |  | 2 | 5 | 0.010167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3835-4_0_4_line_5 |  | 3 | 6 | 0.029851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3835-4_0_4_line_6 |  | 4 | 7 | 0.0014574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3835-4_0_4_line_7 |  | 5 | 8 | 0.018351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3835-4_0_4_line_8 |  | 6 | 9 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3835-4_0_4_line_9 |  | 7 | 10 | 0.034068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3835-4_0_4_line_10 |  | 8 | 11 | 0.0080596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3835-4_0_4_line_11 |  | 10 | 12 | 0.0026882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3835-4_0_4_line_12 |  | 11 | 13 | 0.0042137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3835-4_0_4_line_13 |  | 12 | 52 | 0.011442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3835-4_0_4_line_14 |  | 13 | 59 | 0.00012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3835-4_0_4_line_15 |  | 14 | 15 | 0.035753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3835-4_0_4_line_16 |  | 15 | 16 | 0.0088495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3835-4_0_4_line_17 |  | 16 | 17 | 0.02791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3835-4_0_4_line_18 |  | 17 | 18 | 0.016318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3835-4_0_4_line_19 |  | 18 | 19 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3835-4_0_4_line_20 |  | 19 | 20 | 0.010294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3835-4_0_4_line_21 |  | 20 | 21 | 0.0063235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3835-4_0_4_line_22 |  | 21 | 22 | 0.014562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3835-4_0_4_line_23 |  | 22 | 23 | 0.013795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3835-4_0_4_line_24 |  | 23 | 24 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3835-4_0_4_line_25 |  | 24 | 25 | 0.022238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3835-4_0_4_line_26 |  | 24 | 26 | 0.024605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3835-4_0_4_line_27 |  | 25 | 36 | 0.017811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3835-4_0_4_line_28 |  | 26 | 37 | 0.0054867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3835-4_0_4_line_29 |  | 27 | 28 | 0.024559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3835-4_0_4_line_30 |  | 27 | 29 | 0.011833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3835-4_0_4_line_31 |  | 28 | 30 | 0.035913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3835-4_0_4_line_32 |  | 30 | 31 | 0.013358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3835-4_0_4_line_33 |  | 30 | 32 | 0.033844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3835-4_0_4_line_34 |  | 31 | 33 | 0.020651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3835-4_0_4_line_35 |  | 32 | 34 | 0.031487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3835-4_0_4_line_36 |  | 34 | 35 | 0.030873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_3835-4_0_4_line_37 |  | 35 | 42 | 0.027903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_3835-4_0_4_line_38 |  | 35 | 41 | 0.029318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3835-4_0_4_line_39 |  | 36 | 38 | 0.0040334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3835-4_0_4_line_40 |  | 37 | 39 | 0.0078611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3835-4_0_4_line_41 |  | 37 | 40 | 0.011717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3835-4_0_4_line_42 |  | 39 | 43 | 0.013862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3835-4_0_4_line_43 |  | 40 | 44 | 0.0074984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3835-4_0_4_line_44 |  | 42 | 57 | 0.012347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
45 | LV_3835-4_0_4_line_45 |  | 43 | 86 | 0.002402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3835-4_0_4_line_46 |  | 44 | 89 | 0.0086257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3835-4_0_4_line_47 |  | 45 | 46 | 0.065075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3835-4_0_4_line_48 |  | 45 | 47 | 0.03868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3835-4_0_4_line_49 |  | 46 | 48 | 0.016829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3835-4_0_4_line_50 |  | 46 | 49 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3835-4_0_4_line_51 |  | 48 | 50 | 0.028266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3835-4_0_4_line_52 |  | 49 | 51 | 0.0041792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3835-4_0_4_line_53 |  | 51 | 76 | 0.011576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3835-4_0_4_line_54 |  | 52 | 53 | 0.0035744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3835-4_0_4_line_55 |  | 53 | 54 | 0.0043126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3835-4_0_4_line_56 |  | 54 | 55 | 0.025792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3835-4_0_4_line_57 |  | 55 | 56 | 0.0060405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3835-4_0_4_line_58 |  | 57 | 58 | 0.0097764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
59 | LV_3835-4_0_4_line_59 |  | 58 | 71 | 0.026597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_3835-4_0_4_line_60 |  | 59 | 60 | 0.0034184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3835-4_0_4_line_61 |  | 60 | 61 | 0.012542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3835-4_0_4_line_62 |  | 61 | 62 | 0.017921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3835-4_0_4_line_63 |  | 62 | 63 | 0.0079698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3835-4_0_4_line_64 |  | 63 | 64 | 0.01484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3835-4_0_4_line_65 |  | 64 | 67 | 0.018504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3835-4_0_4_line_66 |  | 65 | 66 | 0.006758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3835-4_0_4_line_67 |  | 66 | 68 | 0.019711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3835-4_0_4_line_68 |  | 67 | 69 | 0.0088346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3835-4_0_4_line_69 |  | 68 | 70 | 0.025574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_3835-4_0_4_line_70 |  | 68 | 71 | 0.0072751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3835-4_0_4_line_71 |  | 69 | 72 | 0.016364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3835-4_0_4_line_72 |  | 70 | 73 | 0.014757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3835-4_0_4_line_73 |  | 72 | 76 | 0.013351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3835-4_0_4_line_74 |  | 73 | 74 | 0.015398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3835-4_0_4_line_75 |  | 74 | 75 | 0.0017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_3835-4_0_4_line_76 |  | 75 | 79 | 0.013655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3835-4_0_4_line_77 |  | 76 | 77 | 0.03307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3835-4_0_4_line_78 |  | 77 | 78 | 0.00092635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3835-4_0_4_line_79 |  | 78 | 79 | 0.0021665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3835-4_0_4_line_80 |  | 79 | 80 | 0.0064371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3835-4_0_4_line_81 |  | 80 | 81 | 0.0056838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3835-4_0_4_line_82 |  | 81 | 82 | 0.0034071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3835-4_0_4_line_83 |  | 82 | 83 | 0.0060191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3835-4_0_4_line_84 |  | 82 | 84 | 0.019042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3835-4_0_4_line_85 |  | 84 | 85 | 0.017614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3835-4_0_4_line_86 |  | 85 | 87 | 0.0054638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3835-4_0_4_line_87 |  | 87 | 88 | 0.0043556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3835-4_0_4_line_88 |  | 88 | 89 | 0.0037054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3835-4_0_4_trafo_60 | 0.63 MVA 20/0.4 kV | 90 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2729046.7729 | 1122275.1424 | 2729048.4133 | 1122285.6134 | 2729048.2745 | 1122285.7058
1 | 2729055.1898 | 1122238.1128 | 2729057.7541 | 1122261.1283 | 2729051.9465 | 1122271.5231 | 2729046.5187 | 1122273.5199 | 2729046.7729 | 1122275.1424
2 | 2728992.0477 | 1122299.8374 | 2729015.2062 | 1122299.7601 | 2729035.8127 | 1122294.0063 | 2729048.2745 | 1122285.7058
3 | 2729055.1898 | 1122238.1128 | 2729040.5201 | 1122236.0187
4 | 2729055.1898 | 1122238.1128 | 2729054.0662 | 1122228.0085
5 | 2728992.0477 | 1122299.8374 | 2728989.9603 | 1122299.8444 | 2728980.192 | 1122301.6932 | 2728963.6269 | 1122308.2677
6 | 2729040.5201 | 1122236.0187 | 2729039.0774 | 1122235.8128
7 | 2729054.0662 | 1122228.0085 | 2729052.038 | 1122209.7701
8 | 2728952.984 | 1122311.6651 | 2728962.5914 | 1122308.6787 | 2728963.6269 | 1122308.2677
9 | 2729005.351 | 1122230.9984 | 2729039.0774 | 1122235.8128
10 | 2729052.038 | 1122209.7701 | 2729052.0243 | 1122209.6473 | 2729053.5105 | 1122201.8517
11 | 2729002.6897 | 1122230.6185 | 2729005.351 | 1122230.9984
12 | 2729054.2997 | 1122197.7125 | 2729053.5105 | 1122201.8517
13 | 2728991.3628 | 1122229.0016 | 2728991.3628 | 1122229.0016 | 2729002.6897 | 1122230.6185
14 | 2729054.3222 | 1122197.5943 | 2729054.2997 | 1122197.7125
15 | 2728860.4173 | 1121951.6264 | 2728865.782 | 1121939.5653 | 2728869.7209 | 1121917.3589
16 | 2728860.4173 | 1121951.6264 | 2728865.1576 | 1121959.0992
17 | 2728872.9783 | 1121985.7959 | 2728869.1811 | 1121976.6752 | 2728865.1576 | 1121959.0992
18 | 2728872.9783 | 1121985.7959 | 2728879.2504 | 1122000.8608
19 | 2728886.3458 | 1122017.9034 | 2728879.2504 | 1122000.8608
20 | 2728886.3458 | 1122017.9034 | 2728890.3024 | 1122027.407
21 | 2728892.7329 | 1122033.2447 | 2728890.3024 | 1122027.407
22 | 2728892.7329 | 1122033.2447 | 2728895.6637 | 1122040.2843 | 2728898.9554 | 1122046.3907
23 | 2728905.5011 | 1122058.5333 | 2728898.9554 | 1122046.3907
24 | 2728910.4708 | 1122067.7525 | 2728905.5011 | 1122058.5333
25 | 2728910.4708 | 1122067.7525 | 2728920.8074 | 1122061.7016 | 2728928.686 | 1122055.1277
26 | 2728910.4708 | 1122067.7525 | 2728934.7355 | 1122071.8335
27 | 2728928.686 | 1122055.1277 | 2728938.5051 | 1122046.9347 | 2728941.8452 | 1122043.1839
28 | 2728940.1462 | 1122072.7436 | 2728934.7355 | 1122071.8335
29 | 2728852.6889 | 1122234.052 | 2728859.6378 | 1122238.8811 | 2728868.578 | 1122241.8624 | 2728874.5324 | 1122244.8745
30 | 2728884.4175 | 1122251.273 | 2728879.4321 | 1122247.353 | 2728874.5324 | 1122244.8745
31 | 2728852.6889 | 1122234.052 | 2728860.4509 | 1122224.9774 | 2728868.5391 | 1122204.9353 | 2728868.2266 | 1122202.5825
32 | 2728868.2266 | 1122202.5825 | 2728878.7109 | 1122210.8595
33 | 2728853.1718 | 1122172.9854 | 2728863.8137 | 1122189.1679 | 2728867.1095 | 1122194.175 | 2728868.2266 | 1122202.5825
34 | 2728891.7177 | 1122226.8662 | 2728879.5171 | 1122211.4959 | 2728878.7109 | 1122210.8595
35 | 2728853.1718 | 1122172.9854 | 2728867.488 | 1122171.7004 | 2728882.8223 | 1122170.7928 | 2728884.5738 | 1122170.7385
36 | 2728884.5738 | 1122170.7385 | 2728898.5565 | 1122170.3052 | 2728910.2323 | 1122171.2767 | 2728915.0866 | 1122173.0476
37 | 2728942.4681 | 1122173.3981 | 2728933.8495 | 1122174.8711 | 2728926.5861 | 1122175.7504 | 2728918.0336 | 1122174.1227 | 2728915.0866 | 1122173.0476
38 | 2728915.0866 | 1122173.0476 | 2728905.6398 | 1122145.2938
39 | 2728941.8452 | 1122043.1839 | 2728944.5276 | 1122040.1717
40 | 2728940.1462 | 1122072.7436 | 2728947.8981 | 1122074.0495
41 | 2728940.1462 | 1122072.7436 | 2728942.8341 | 1122084.1482
42 | 2728961.5671 | 1122076.3523 | 2728947.8981 | 1122074.0495
43 | 2728944.5543 | 1122091.4467 | 2728942.8341 | 1122084.1482
44 | 2728942.4681 | 1122173.3981 | 2728951.0365 | 1122164.5076
45 | 2728961.5671 | 1122076.3523 | 2728963.9358 | 1122076.7514
46 | 2728944.5543 | 1122091.4467 | 2728946.533 | 1122099.8423
47 | 2729020.1019 | 1122058.6258 | 2729012.2306 | 1122028.3031 | 2729024.8343 | 1121996.9938
48 | 2729024.8343 | 1121996.9938 | 2729038.7959 | 1121997.5251 | 2729051.316 | 1121999.4378 | 2729063.1406 | 1122001.718
49 | 2729020.1019 | 1122058.6258 | 2729036.89 | 1122057.459
50 | 2729020.1019 | 1122058.6258 | 2729028.2839 | 1122075.6844
51 | 2729058.3151 | 1122063.7662 | 2729057.3149 | 1122056.0394 | 2729036.89 | 1122057.459
52 | 2729028.2839 | 1122075.6844 | 2729030.0913 | 1122079.4525
53 | 2729035.0975 | 1122089.8899 | 2729030.0913 | 1122079.4525
54 | 2728991.3628 | 1122229.0016 | 2728988.8863 | 1122226.4242
55 | 2728985.8982 | 1122223.3144 | 2728985.8982 | 1122223.3144 | 2728988.8863 | 1122226.4242
56 | 2728985.8982 | 1122223.3144 | 2728974.4009 | 1122200.2266
57 | 2728974.4009 | 1122200.2266 | 2728971.7082 | 1122194.8194
58 | 2728951.0365 | 1122164.5076 | 2728951.0365 | 1122164.5076 | 2728960.3078 | 1122161.4059
59 | 2728960.3078 | 1122161.4059 | 2728985.531 | 1122152.9675
60 | 2729054.9624 | 1122194.2364 | 2729054.3222 | 1122197.5943
61 | 2729054.9624 | 1122194.2364 | 2729057.3113 | 1122181.9159
62 | 2729060.6675 | 1122164.312 | 2729057.3113 | 1122181.9159
63 | 2729058.1719 | 1122156.9185 | 2729060.8768 | 1122163.214 | 2729060.6675 | 1122164.312
64 | 2729058.1719 | 1122156.9185 | 2729053.1884 | 1122145.3151 | 2729053.0369 | 1122143.1084
65 | 2729051.7698 | 1122124.6479 | 2729051.7698 | 1122124.6479 | 2729053.0369 | 1122143.1084
66 | 2729006.7963 | 1122138.5882 | 2729013.5466 | 1122138.9112
67 | 2728989.7998 | 1122147.0765 | 2728996.0929 | 1122141.7735 | 2729003.0236 | 1122138.4077 | 2729006.7963 | 1122138.5882
68 | 2729047.949 | 1122116.6822 | 2729051.7698 | 1122124.6479
69 | 2728989.7998 | 1122147.0765 | 2728988.3998 | 1122130.2347 | 2728991.0325 | 1122121.9693
70 | 2728989.7998 | 1122147.0765 | 2728985.531 | 1122152.9675
71 | 2729047.949 | 1122116.6822 | 2729040.8718 | 1122101.928
72 | 2728991.0325 | 1122121.9693 | 2728994.1549 | 1122112.1666 | 2728998.3942 | 1122110.7506
73 | 2729035.0975 | 1122089.8899 | 2729040.8718 | 1122101.928
74 | 2729006.9616 | 1122101.6838 | 2729007.4755 | 1122104.0336 | 2729007.0777 | 1122107.85 | 2728998.3942 | 1122110.7506
75 | 2729006.5983 | 1122100.0225 | 2729006.9616 | 1122101.6838
76 | 2729001.3039 | 1122087.7126 | 2729005.1204 | 1122093.2646 | 2729006.5983 | 1122100.0225
77 | 2729035.0975 | 1122089.8899 | 2729021.4715 | 1122088.4652 | 2729017.2219 | 1122084.0492 | 2729004.318 | 1122087.019
78 | 2729003.4153 | 1122087.2267 | 2729004.318 | 1122087.019
79 | 2729001.3039 | 1122087.7126 | 2729003.4153 | 1122087.2267
80 | 2729001.3039 | 1122087.7126 | 2728995.3923 | 1122088.5095 | 2728994.9258 | 1122088.5813
81 | 2728994.9258 | 1122088.5813 | 2728989.3082 | 1122089.4462
82 | 2728985.9407 | 1122089.9647 | 2728989.3082 | 1122089.4462
83 | 2728985.9407 | 1122089.9647 | 2728980.6735 | 1122089.8524 | 2728979.9409 | 1122089.6884
84 | 2728985.9407 | 1122089.9647 | 2728971.0336 | 1122099.7763 | 2728969.9861 | 1122100.3522
85 | 2728953.7396 | 1122106.6152 | 2728961.3764 | 1122105.0855 | 2728969.9861 | 1122100.3522
86 | 2728948.3822 | 1122107.6883 | 2728948.3822 | 1122107.6883 | 2728953.7396 | 1122106.6152
87 | 2728948.3822 | 1122107.6883 | 2728947.383 | 1122103.4488
88 | 2728947.383 | 1122103.4488 | 2728946.533 | 1122099.8423

## bus_geodata
| x | y | coords
0 | 2729046.7729 | 1122275.1424
1 | 2729048.2745 | 1122285.7058
2 | 2729055.1898 | 1122238.1128
3 | 2728992.0477 | 1122299.8374
4 | 2729040.5201 | 1122236.0187
5 | 2729054.0662 | 1122228.0085
6 | 2728963.6269 | 1122308.2677
7 | 2729039.0774 | 1122235.8128
8 | 2729052.038 | 1122209.7701
9 | 2728952.984 | 1122311.6651
10 | 2729005.351 | 1122230.9984
11 | 2729053.5105 | 1122201.8517
12 | 2729002.6897 | 1122230.6185
13 | 2729054.2997 | 1122197.7125
14 | 2728869.7209 | 1121917.3589
15 | 2728860.4173 | 1121951.6264
16 | 2728865.1576 | 1121959.0992
17 | 2728872.9783 | 1121985.7959
18 | 2728879.2504 | 1122000.8608
19 | 2728886.3458 | 1122017.9034
20 | 2728890.3024 | 1122027.407
21 | 2728892.7329 | 1122033.2447
22 | 2728898.9554 | 1122046.3907
23 | 2728905.5011 | 1122058.5333
24 | 2728910.4708 | 1122067.7525
25 | 2728928.686 | 1122055.1277
26 | 2728934.7355 | 1122071.8335
27 | 2728874.5324 | 1122244.8745
28 | 2728852.6889 | 1122234.052
29 | 2728884.4175 | 1122251.273
30 | 2728868.2266 | 1122202.5825
31 | 2728878.7109 | 1122210.8595
32 | 2728853.1718 | 1122172.9854
33 | 2728891.7177 | 1122226.8662
34 | 2728884.5738 | 1122170.7385
35 | 2728915.0866 | 1122173.0476
36 | 2728941.8452 | 1122043.1839
37 | 2728940.1462 | 1122072.7436
38 | 2728944.5276 | 1122040.1717
39 | 2728947.8981 | 1122074.0495
40 | 2728942.8341 | 1122084.1482
41 | 2728905.6398 | 1122145.2938
42 | 2728942.4681 | 1122173.3981
43 | 2728961.5671 | 1122076.3523
44 | 2728944.5543 | 1122091.4467
45 | 2729024.8343 | 1121996.9938
46 | 2729020.1019 | 1122058.6258
47 | 2729063.1406 | 1122001.718
48 | 2729036.89 | 1122057.459
49 | 2729028.2839 | 1122075.6844
50 | 2729058.3151 | 1122063.7662
51 | 2729030.0913 | 1122079.4525
52 | 2728991.3628 | 1122229.0016
53 | 2728988.8863 | 1122226.4242
54 | 2728985.8982 | 1122223.3144
55 | 2728974.4009 | 1122200.2266
56 | 2728971.7082 | 1122194.8194
57 | 2728951.0365 | 1122164.5076
58 | 2728960.3078 | 1122161.4059
59 | 2729054.3222 | 1122197.5943
60 | 2729054.9624 | 1122194.2364
61 | 2729057.3113 | 1122181.9159
62 | 2729060.6675 | 1122164.312
63 | 2729058.1719 | 1122156.9185
64 | 2729053.0369 | 1122143.1084
65 | 2729013.5467 | 1122138.9112
66 | 2729006.7963 | 1122138.5882
67 | 2729051.7698 | 1122124.6479
68 | 2728989.7998 | 1122147.0765
69 | 2729047.949 | 1122116.6822
70 | 2728991.0325 | 1122121.9693
71 | 2728985.531 | 1122152.9675
72 | 2729040.8718 | 1122101.928
73 | 2728998.3942 | 1122110.7506
74 | 2729006.9616 | 1122101.6838
75 | 2729006.5983 | 1122100.0225
76 | 2729035.0975 | 1122089.8899
77 | 2729004.318 | 1122087.019
78 | 2729003.4153 | 1122087.2267
79 | 2729001.3039 | 1122087.7126
80 | 2728994.9258 | 1122088.5813
81 | 2728989.3082 | 1122089.4462
82 | 2728985.9407 | 1122089.9647
83 | 2728979.9409 | 1122089.6884
84 | 2728969.9861 | 1122100.3522
85 | 2728953.7396 | 1122106.6152
86 | 2728963.9358 | 1122076.7514
87 | 2728948.3822 | 1122107.6883
88 | 2728947.383 | 1122103.4488
89 | 2728946.533 | 1122099.8423
90 | 2728942.4681 | 1122173.3981

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1