## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3945-10_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3945-10_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3945-10_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3945-10_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3945-10_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3945-10_0_4_node_15 | 0.4 | n |  | TRUE
6 | bus_LV_3945-10_0_4_node_14 | 0.4 | n |  | TRUE
7 | bus_LV_3945-10_0_4_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_3945-10_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_3945-10_0_4_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_3945-10_0_4_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3945-10_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3945-10_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_3945-10_0_4_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_3945-10_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_3945-10_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_3945-10_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3945-10_0_4_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_3945-10_0_4_node_34 | 0.4 | n |  | TRUE
19 | bus_LV_3945-10_0_4_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_3945-10_0_4_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_3945-10_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_3945-10_0_4_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_3945-10_0_4_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_3945-10_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_3945-10_0_4_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_3945-10_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_3945-10_0_4_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3945-10_0_4_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_3945-10_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3945-10_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_3945-10_0_4_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_3945-10_0_4_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_3945-10_0_4_node_63 | 0.4 | n |  | TRUE
34 | bus_LV_3945-10_0_4_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_3945-10_0_4_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_3945-10_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_3945-10_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_3945-10_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_3945-10_0_4_node_42 | 0.4 | n |  | TRUE
40 | bus_LV_3945-10_0_4_node_93 | 0.4 | n |  | TRUE
41 | bus_LV_3945-10_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_3945-10_0_4_node_94 | 0.4 | n |  | TRUE
43 | bus_LV_3945-10_0_4_node_40 | 0.4 | n |  | TRUE
44 | bus_LV_3945-10_0_4_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_3945-10_0_4_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_3945-10_0_4_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3945-10_0_4_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_3945-10_0_4_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_3945-10_0_4_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3945-10_0_4_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_3945-10_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3945-10_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_3945-10_0_4_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3945-10_0_4_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_3945-10_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_3945-10_0_4_node_53 | 0.4 | n |  | TRUE
57 | bus_LV_3945-10_0_4_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_3945-10_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_3945-10_0_4_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3945-10_0_4_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_3945-10_0_4_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_3945-10_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3945-10_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_3945-10_0_4_node_70 | 0.4 | n |  | TRUE
65 | bus_LV_3945-10_0_4_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_3945-10_0_4_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_3945-10_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_3945-10_0_4_node_80 | 0.4 | n |  | TRUE
69 | bus_LV_3945-10_0_4_node_61 | 0.4 | n |  | TRUE
70 | bus_LV_3945-10_0_4_node_87 | 0.4 | n |  | TRUE
71 | bus_LV_3945-10_0_4_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_3945-10_0_4_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_3945-10_0_4_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_3945-10_0_4_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_3945-10_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_3945-10_0_4_node_66 | 0.4 | n |  | TRUE
77 | bus_LV_3945-10_0_4_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3945-10_0_4_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3945-10_0_4_node_73 | 0.4 | n |  | TRUE
80 | bus_LV_3945-10_0_4_node_74 | 0.4 | n |  | TRUE
81 | bus_LV_3945-10_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_3945-10_0_4_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3945-10_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3945-10_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_3945-10_0_4_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3945-10_0_4_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_3945-10_0_4_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_3945-10_0_4_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_3945-10_0_4_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_3945-10_0_4_node_90 | 0.4 | n |  | TRUE
91 | bus_MV_61_0_node_114 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3945-10_0_4_load_0 | 0 | 0.0023267 | 0.00058311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3945-10_0_4_load_1 | 1 | 0.0030737 | 0.00077035 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3945-10_0_4_load_2 | 2 | 0.0012086 | 0.0003029 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3945-10_0_4_load_3 | 3 | 0.0077954 | 0.0019537 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3945-10_0_4_load_14 | 6 | 0.0027885 | 0.00069886 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3945-10_0_4_load_19 | 7 | 0.003916 | 0.00098145 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3945-10_0_4_load_16 | 8 | 0.011405 | 0.0028585 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3945-10_0_4_load_13 | 9 | 0.0052604 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3945-10_0_4_load_5 | 10 | 0.0088591 | 0.0022203 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3945-10_0_4_load_6 | 11 | 0.004489 | 0.0011251 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3945-10_0_4_load_10 | 14 | 0.0048124 | 0.0012061 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3945-10_0_4_load_11 | 15 | 0.0036066 | 0.0009039 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3945-10_0_4_load_12 | 16 | 0.034089 | 0.0085436 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3945-10_0_4_load_38 | 17 | 0.013668 | 0.0034254 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3945-10_0_4_load_34 | 18 | 0.010415 | 0.0026102 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3945-10_0_4_load_17 | 19 | 0.0052416 | 0.0013137 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3945-10_0_4_load_18 | 20 | 0.0014167 | 0.00035505 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3945-10_0_4_load_22 | 21 | 0.0032019 | 0.00080246 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3945-10_0_4_load_20 | 22 | 0.0026087 | 0.00065381 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3945-10_0_4_load_21 | 24 | 0.0026164 | 0.00065572 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3945-10_0_4_load_23 | 25 | 0.0033076 | 0.00082897 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3945-10_0_4_load_25 | 26 | 0.003488 | 0.00087417 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3945-10_0_4_load_28 | 28 | 0.0055143 | 0.001382 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3945-10_0_4_load_64 | 31 | 0.0034658 | 0.0008686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3945-10_0_4_load_63 | 33 | 0.0027151 | 0.00068046 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3945-10_0_4_load_30 | 34 | 0.0047459 | 0.0011894 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3945-10_0_4_load_31 | 35 | 0.0030227 | 0.00075756 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3945-10_0_4_load_33 | 36 | 0.0040936 | 0.0010259 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3945-10_0_4_load_93 | 40 | 0.0015878 | 0.00039794 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3945-10_0_4_load_44 | 41 | 0.034103 | 0.0085471 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3945-10_0_4_load_94 | 42 | 0.0034093 | 0.00085445 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3945-10_0_4_load_40 | 43 | 0.005192 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3945-10_0_4_load_39 | 44 | 0.022125 | 0.005545 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3945-10_0_4_load_43 | 45 | 0.0087782 | 0.0022 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3945-10_0_4_load_47 | 48 | 0.022301 | 0.0055891 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3945-10_0_4_load_50 | 49 | 0.0085591 | 0.0021451 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3945-10_0_4_load_48 | 51 | 0.005187 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3945-10_0_4_load_52 | 54 | 0.006076 | 0.0015228 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3945-10_0_4_load_57 | 55 | 0.0023684 | 0.00059359 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3945-10_0_4_load_53 | 56 | 0.01017 | 0.0025487 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3945-10_0_4_load_59 | 57 | 0.00092755 | 0.00023247 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3945-10_0_4_load_79 | 60 | 0.0036173 | 0.00090658 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3945-10_0_4_load_70 | 64 | 0.0043913 | 0.0011006 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3945-10_0_4_load_91 | 65 | 0.0027291 | 0.00068396 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3945-10_0_4_load_69 | 66 | 0.0033053 | 0.00082838 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3945-10_0_4_load_68 | 67 | 0.014065 | 0.0035249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3945-10_0_4_load_87 | 70 | 0.0027082 | 0.00067873 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3945-10_0_4_load_89 | 71 | 0.0061026 | 0.0015295 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3945-10_0_4_load_62 | 72 | 0.0028103 | 0.00070434 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3945-10_0_4_load_88 | 74 | 0.0031164 | 0.00078104 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3945-10_0_4_load_65 | 75 | 0.0041894 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3945-10_0_4_load_66 | 76 | 0.00096809 | 0.00024263 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3945-10_0_4_load_71 | 77 | 0.0018235 | 0.00045702 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3945-10_0_4_load_72 | 78 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3945-10_0_4_load_73 | 79 | 0.0022079 | 0.00055336 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3945-10_0_4_load_74 | 80 | 0.001622 | 0.00040651 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3945-10_0_4_load_75 | 81 | 0.0018387 | 0.00046082 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3945-10_0_4_load_76 | 82 | 0.0020427 | 0.00051195 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3945-10_0_4_load_78 | 84 | 0.0032982 | 0.00082661 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3945-10_0_4_load_85 | 85 | 0.0036594 | 0.00091713 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3945-10_0_4_load_81 | 86 | 0.0052204 | 0.0013084 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3945-10_0_4_load_82 | 87 | 0.0026249 | 0.00065786 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3945-10_0_4_load_83 | 88 | 0.0024813 | 0.00062187 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3945-10_0_4_load_84 | 89 | 0.0063909 | 0.0016017 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3945-10_0_4_load_90 | 90 | 0.0050226 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3945-10_0_4_line_0 |  | 0 | 1 | 0.018816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3945-10_0_4_line_1 |  | 0 | 2 | 0.00066516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3945-10_0_4_line_2 |  | 1 | 3 | 0.024186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3945-10_0_4_line_3 |  | 2 | 4 | 0.049557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3945-10_0_4_line_4 |  | 4 | 5 | 0.017026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3945-10_0_4_line_5 |  | 4 | 6 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3945-10_0_4_line_6 |  | 5 | 7 | 0.025261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3945-10_0_4_line_7 |  | 5 | 8 | 0.010773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3945-10_0_4_line_8 |  | 6 | 9 | 0.01173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3945-10_0_4_line_9 |  | 7 | 18 | 0.011046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3945-10_0_4_line_10 |  | 8 | 19 | 0.0058903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3945-10_0_4_line_11 |  | 9 | 15 | 0.017946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3945-10_0_4_line_12 |  | 10 | 11 | 0.025864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3945-10_0_4_line_13 |  | 10 | 12 | 0.027102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3945-10_0_4_line_14 |  | 11 | 13 | 0.0073953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3945-10_0_4_line_15 |  | 12 | 14 | 0.024694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3945-10_0_4_line_16 |  | 13 | 15 | 0.014613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3945-10_0_4_line_17 |  | 13 | 16 | 0.018318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3945-10_0_4_line_18 |  | 16 | 17 | 0.0061361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3945-10_0_4_line_19 |  | 18 | 23 | 0.015604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3945-10_0_4_line_20 |  | 19 | 20 | 0.014298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3945-10_0_4_line_21 |  | 20 | 21 | 0.0080389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3945-10_0_4_line_22 |  | 21 | 22 | 0.015538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3945-10_0_4_line_23 |  | 22 | 24 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3945-10_0_4_line_24 |  | 23 | 36 | 0.0015081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_3945-10_0_4_line_25 |  | 23 | 34 | 0.015999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3945-10_0_4_line_26 |  | 24 | 25 | 0.0032394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3945-10_0_4_line_27 |  | 26 | 27 | 0.031157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3945-10_0_4_line_28 |  | 27 | 28 | 0.0059858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3945-10_0_4_line_29 |  | 27 | 29 | 0.076996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3945-10_0_4_line_30 |  | 28 | 30 | 0.033652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3945-10_0_4_line_31 |  | 29 | 31 | 0.039781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3945-10_0_4_line_32 |  | 30 | 32 | 0.002143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3945-10_0_4_line_33 |  | 31 | 33 | 0.020084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3945-10_0_4_line_34 |  | 32 | 37 | 0.062409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3945-10_0_4_line_35 |  | 32 | 36 | 0.041908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3945-10_0_4_line_36 |  | 34 | 35 | 0.013624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3945-10_0_4_line_37 |  | 37 | 43 | 0.02637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3945-10_0_4_line_38 |  | 37 | 39 | 0.02066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3945-10_0_4_line_39 |  | 38 | 39 | 0.014265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3945-10_0_4_line_40 |  | 38 | 40 | 0.055976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3945-10_0_4_line_41 |  | 39 | 41 | 0.037652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3945-10_0_4_line_42 |  | 40 | 42 | 0.039267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3945-10_0_4_line_43 |  | 41 | 45 | 0.033064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3945-10_0_4_line_44 |  | 42 | 72 | 0.0030621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3945-10_0_4_line_45 |  | 43 | 44 | 0.011468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3945-10_0_4_line_46 |  | 45 | 46 | 0.019757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3945-10_0_4_line_47 |  | 46 | 47 | 0.06972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3945-10_0_4_line_48 |  | 47 | 48 | 0.034225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3945-10_0_4_line_49 |  | 48 | 51 | 0.0017948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3945-10_0_4_line_50 |  | 49 | 50 | 0.024964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3945-10_0_4_line_51 |  | 50 | 58 | 0.032339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3945-10_0_4_line_52 |  | 50 | 59 | 0.021867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3945-10_0_4_line_53 |  | 51 | 52 | 0.074113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3945-10_0_4_line_54 |  | 52 | 53 | 0.038732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3945-10_0_4_line_55 |  | 52 | 54 | 0.071655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3945-10_0_4_line_56 |  | 53 | 55 | 0.020161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3945-10_0_4_line_57 |  | 53 | 56 | 0.0055297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3945-10_0_4_line_58 |  | 54 | 57 | 0.0090253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3945-10_0_4_line_59 |  | 55 | 60 | 0.007294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3945-10_0_4_line_60 |  | 56 | 59 | 0.036771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3945-10_0_4_line_61 |  | 57 | 61 | 0.050521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3945-10_0_4_line_62 |  | 58 | 65 | 0.049682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3945-10_0_4_line_63 |  | 59 | 62 | 0.031887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3945-10_0_4_line_64 |  | 60 | 68 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3945-10_0_4_line_65 |  | 61 | 69 | 0.042291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3945-10_0_4_line_66 |  | 62 | 63 | 0.029047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3945-10_0_4_line_67 |  | 62 | 64 | 0.032325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3945-10_0_4_line_68 |  | 63 | 66 | 0.024795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3945-10_0_4_line_69 |  | 64 | 67 | 0.012968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3945-10_0_4_line_70 |  | 67 | 76 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3945-10_0_4_line_71 |  | 68 | 86 | 0.013223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3945-10_0_4_line_72 |  | 68 | 87 | 0.0082574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3945-10_0_4_line_73 |  | 69 | 70 | 0.027595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3945-10_0_4_line_74 |  | 69 | 71 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3945-10_0_4_line_75 |  | 70 | 73 | 0.010029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3945-10_0_4_line_76 |  | 71 | 74 | 0.025246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3945-10_0_4_line_77 |  | 73 | 85 | 0.035045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3945-10_0_4_line_78 |  | 74 | 90 | 0.0074882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3945-10_0_4_line_79 |  | 75 | 76 | 0.0055198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3945-10_0_4_line_80 |  | 77 | 78 | 0.016445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3945-10_0_4_line_81 |  | 77 | 79 | 0.0019108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3945-10_0_4_line_82 |  | 78 | 80 | 0.00090524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3945-10_0_4_line_83 |  | 79 | 81 | 0.013144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3945-10_0_4_line_84 |  | 81 | 82 | 0.021718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3945-10_0_4_line_85 |  | 82 | 83 | 0.015862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3945-10_0_4_line_86 |  | 83 | 84 | 0.043726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3945-10_0_4_line_87 |  | 84 | 85 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3945-10_0_4_line_88 |  | 87 | 88 | 0.015122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3945-10_0_4_line_89 |  | 88 | 89 | 0.0053242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3945-10_0_4_trafo_36 | 0.63 MVA 20/0.4 kV | 91 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2761735.3942 | 1196375.8725 | 2761720.8001 | 1196387.7489
1 | 2761735.9101 | 1196375.4526 | 2761735.3942 | 1196375.8725
2 | 2761702.7459 | 1196403.8259 | 2761714.7316 | 1196392.6872 | 2761720.8001 | 1196387.7489
3 | 2761736.4065 | 1196333.9876 | 2761748.3258 | 1196365.349 | 2761735.9101 | 1196375.4526
4 | 2761736.4065 | 1196333.9876 | 2761752.9065 | 1196329.6077
5 | 2761736.4065 | 1196333.9876 | 2761731.5893 | 1196335.6588 | 2761722.0921 | 1196340.163
6 | 2761752.9065 | 1196329.6077 | 2761744.766 | 1196305.6946
7 | 2761752.9065 | 1196329.6077 | 2761763.279 | 1196326.6966
8 | 2761711.494 | 1196345.1892 | 2761722.0921 | 1196340.163
9 | 2761744.766 | 1196305.6946 | 2761741.2064 | 1196295.2381
10 | 2761768.9502 | 1196325.105 | 2761763.279 | 1196326.6966
11 | 2761711.494 | 1196345.1892 | 2761695.2793 | 1196352.8793
12 | 2761652.3353 | 1196374.0295 | 2761675.4633 | 1196362.4515
13 | 2761628.1 | 1196386.1618 | 2761652.3353 | 1196374.0295
14 | 2761682.0762 | 1196359.141 | 2761675.4633 | 1196362.4515
15 | 2761628.1 | 1196386.1618 | 2761607.2204 | 1196399.347
16 | 2761682.0762 | 1196359.141 | 2761695.2793 | 1196352.8793
17 | 2761682.0762 | 1196359.141 | 2761672.1796 | 1196343.7264 | 2761672.1796 | 1196343.7264
18 | 2761672.1796 | 1196343.7264 | 2761666.5203 | 1196346.0978
19 | 2761736.178 | 1196280.4669 | 2761741.2064 | 1196295.2381
20 | 2761768.9502 | 1196325.105 | 2761782.7159 | 1196321.2417
21 | 2761790.5315 | 1196319.535 | 2761788.4322 | 1196319.6374 | 2761782.7159 | 1196321.2417
22 | 2761790.5315 | 1196319.535 | 2761806.0512 | 1196318.7781
23 | 2761825.5461 | 1196317.8272 | 2761806.0512 | 1196318.7781
24 | 2761736.178 | 1196280.4669 | 2761735.6709 | 1196279.0467
25 | 2761736.178 | 1196280.4669 | 2761751.5629 | 1196276.0773
26 | 2761828.7817 | 1196317.6694 | 2761825.5461 | 1196317.8272
27 | 2761755.6477 | 1196225.2441 | 2761764.3282 | 1196227.2919 | 2761780.9725 | 1196229.1437 | 2761786.4565 | 1196229.4273
28 | 2761755.6477 | 1196225.2441 | 2761750.4398 | 1196228.1951
29 | 2761805.8284 | 1196167.3053 | 2761804.1937 | 1196170.8087 | 2761779.592 | 1196202.983 | 2761770.2137 | 1196212.3488 | 2761755.6477 | 1196225.2441
30 | 2761718.6532 | 1196238.4889 | 2761742.8352 | 1196232.5041 | 2761750.4398 | 1196228.1951
31 | 2761805.8284 | 1196167.3053 | 2761788.8831 | 1196171.2171 | 2761773.9704 | 1196172.1367 | 2761766.7588 | 1196170.2709
32 | 2761718.6532 | 1196238.4889 | 2761719.4763 | 1196240.4685
33 | 2761747.3149 | 1196165.2403 | 2761766.7588 | 1196170.2709
34 | 2761719.4763 | 1196240.4685 | 2761662.052 | 1196265.2826
35 | 2761719.4763 | 1196240.4685 | 2761728.2702 | 1196258.3222 | 2761735.6709 | 1196279.0467
36 | 2761751.5629 | 1196276.0773 | 2761764.6638 | 1196272.3394
37 | 2761662.052 | 1196265.2826 | 2761671.6074 | 1196289.8606
38 | 2761653.8059 | 1196246.3317 | 2761662.052 | 1196265.2826
39 | 2761653.8059 | 1196246.3317 | 2761650.359 | 1196238.2091 | 2761650.2394 | 1196232.7677
40 | 2761650.2394 | 1196232.7677 | 2761642.1229 | 1196215.2215 | 2761647.7087 | 1196213.0372 | 2761641.7209 | 1196199.9303 | 2761655.7037 | 1196191.6787
41 | 2761653.8059 | 1196246.3317 | 2761646.7725 | 1196249.0552 | 2761621.9797 | 1196231.9699
42 | 2761655.7037 | 1196191.6787 | 2761650.5164 | 1196182.23 | 2761674.6039 | 1196167.019
43 | 2761590.8306 | 1196243.0594 | 2761621.9797 | 1196231.9699
44 | 2761674.6039 | 1196167.019 | 2761677.1929 | 1196165.384
45 | 2761671.6074 | 1196289.8606 | 2761672.2506 | 1196291.5151 | 2761675.7566 | 1196300.5512
46 | 2761572.2182 | 1196249.6856 | 2761590.8306 | 1196243.0594
47 | 2761572.2182 | 1196249.6856 | 2761549.8403 | 1196192.8972 | 2761546.0499 | 1196185.0656
48 | 2761546.0499 | 1196185.0656 | 2761554.5406 | 1196176.376 | 2761566.7183 | 1196157.9626
49 | 2761566.7183 | 1196157.9626 | 2761567.7084 | 1196156.4655
50 | 2761495.3127 | 1196074.152 | 2761499.624 | 1196093.7415 | 2761501.3416 | 1196098.3362
51 | 2761495.3127 | 1196074.152 | 2761463.0052 | 1196076.9934
52 | 2761495.3127 | 1196074.152 | 2761517.1412 | 1196072.0507
53 | 2761596.0621 | 1196089.0309 | 2761589.8473 | 1196118.4226 | 2761578.313 | 1196140.4306 | 2761567.7084 | 1196156.4655
54 | 2761558.9243 | 1196077.6731 | 2761596.0621 | 1196089.0309
55 | 2761596.0621 | 1196089.0309 | 2761604.3879 | 1196090.1124 | 2761667.6281 | 1196091.6501
56 | 2761558.9243 | 1196077.6731 | 2761562.1984 | 1196065.1281 | 2761564.7794 | 1196058.4115
57 | 2761558.9243 | 1196077.6731 | 2761553.5058 | 1196076.5696
58 | 2761667.6281 | 1196091.6501 | 2761676.6507 | 1196091.8695
59 | 2761567.2923 | 1196051.5661 | 2761566.6183 | 1196053.6261 | 2761564.7794 | 1196058.4115
60 | 2761517.1412 | 1196072.0507 | 2761534.1785 | 1196072.6336 | 2761553.5058 | 1196076.5696
61 | 2761727.1613 | 1196091.7101 | 2761693.8096 | 1196092.2867 | 2761676.6507 | 1196091.8695
62 | 2761463.0052 | 1196076.9934 | 2761474.1579 | 1196098.7139 | 2761473.4623 | 1196105.5567 | 2761468.9429 | 1196112.2852 | 2761460.2034 | 1196117.7023
63 | 2761516.5864 | 1196041.5307 | 2761521.1326 | 1196051.8627 | 2761518.4093 | 1196063.2104 | 2761517.1412 | 1196072.0507
64 | 2761570.8563 | 1196040.6735 | 2761567.2923 | 1196051.5661
65 | 2761709.6486 | 1196054.0475 | 2761722.4009 | 1196073.5319 | 2761726.5576 | 1196083.5977 | 2761727.1613 | 1196091.7101
66 | 2761494.8005 | 1196022.3031 | 2761507.7306 | 1196034.6744 | 2761516.5864 | 1196041.5307
67 | 2761516.5864 | 1196041.5307 | 2761526.3458 | 1196034.6993 | 2761532.8526 | 1196024.11 | 2761531.602 | 1196016.2248
68 | 2761494.8005 | 1196022.3031 | 2761478.9085 | 1196003.271
69 | 2761524.4549 | 1196005.4046 | 2761531.602 | 1196016.2248
70 | 2761524.4549 | 1196005.4046 | 2761521.0561 | 1196000.2591 | 2761510.6174 | 1195993.5824 | 2761510.6174 | 1195993.5824
71 | 2761570.8563 | 1196040.6735 | 2761570.0669 | 1196036.8822 | 2761570.0284 | 1196030.1306 | 2761568.0776 | 1196028.4097
72 | 2761570.8563 | 1196040.6735 | 2761575.8883 | 1196043.4675 | 2761577.9513 | 1196044.8827
73 | 2761709.6486 | 1196054.0475 | 2761692.7416 | 1196043.0139 | 2761686.6379 | 1196038.8193
74 | 2761709.6486 | 1196054.0475 | 2761697.1232 | 1196055.7687
75 | 2761678.3722 | 1196033.1388 | 2761686.6379 | 1196038.8193
76 | 2761673.0327 | 1196062.731 | 2761687.3364 | 1196057.1136 | 2761697.1232 | 1196055.7687
77 | 2761678.3722 | 1196033.1388 | 2761661.7067 | 1196014.8609 | 2761654.3933 | 1196007.5943
78 | 2761666.0627 | 1196065.4683 | 2761673.0327 | 1196062.731
79 | 2761505.5484 | 1195995.7673 | 2761510.6174 | 1195993.5824
80 | 2761561.5422 | 1195971.6213 | 2761547.3724 | 1195963.2748
81 | 2761561.5422 | 1195971.6213 | 2761563.1886 | 1195972.591
82 | 2761546.5924 | 1195962.8154 | 2761547.3724 | 1195963.2748
83 | 2761563.1886 | 1195972.591 | 2761574.514 | 1195979.262
84 | 2761590.5852 | 1195973.981 | 2761585.3949 | 1195982.8369 | 2761574.514 | 1195979.262 | 2761574.514 | 1195979.262
85 | 2761598.6058 | 1195960.296 | 2761590.5852 | 1195973.981
86 | 2761598.6058 | 1195960.296 | 2761607.3662 | 1195967.8616 | 2761625.8456 | 1195982.2182 | 2761632.5728 | 1195987.8127
87 | 2761632.5728 | 1195987.8127 | 2761644.2981 | 1195997.5639 | 2761654.3933 | 1196007.5943
88 | 2761577.9513 | 1196044.8827 | 2761584.2933 | 1196049.233 | 2761590.9316 | 1196052.5744
89 | 2761595.6873 | 1196054.9682 | 2761590.9316 | 1196052.5744

## bus_geodata
| x | y | coords
0 | 2761735.3942 | 1196375.8725
1 | 2761720.8001 | 1196387.7489
2 | 2761735.9101 | 1196375.4526
3 | 2761702.7459 | 1196403.8259
4 | 2761736.4065 | 1196333.9876
5 | 2761752.9065 | 1196329.6077
6 | 2761722.0921 | 1196340.163
7 | 2761744.766 | 1196305.6946
8 | 2761763.279 | 1196326.6966
9 | 2761711.494 | 1196345.1892
10 | 2761652.3353 | 1196374.0295
11 | 2761675.4633 | 1196362.4515
12 | 2761628.1 | 1196386.1618
13 | 2761682.0762 | 1196359.141
14 | 2761607.2204 | 1196399.347
15 | 2761695.2793 | 1196352.8793
16 | 2761672.1796 | 1196343.7264
17 | 2761666.5203 | 1196346.0978
18 | 2761741.2064 | 1196295.2381
19 | 2761768.9502 | 1196325.105
20 | 2761782.7159 | 1196321.2417
21 | 2761790.5315 | 1196319.535
22 | 2761806.0512 | 1196318.7781
23 | 2761736.178 | 1196280.4669
24 | 2761825.5461 | 1196317.8272
25 | 2761828.7817 | 1196317.6694
26 | 2761786.4565 | 1196229.4273
27 | 2761755.6477 | 1196225.2441
28 | 2761750.4398 | 1196228.1951
29 | 2761805.8284 | 1196167.3053
30 | 2761718.6532 | 1196238.4889
31 | 2761766.7588 | 1196170.2709
32 | 2761719.4763 | 1196240.4685
33 | 2761747.3149 | 1196165.2403
34 | 2761751.5629 | 1196276.0773
35 | 2761764.6638 | 1196272.3394
36 | 2761735.6709 | 1196279.0467
37 | 2761662.052 | 1196265.2826
38 | 2761650.2394 | 1196232.7677
39 | 2761653.8059 | 1196246.3317
40 | 2761655.7037 | 1196191.6787
41 | 2761621.9797 | 1196231.9699
42 | 2761674.6039 | 1196167.019
43 | 2761671.6074 | 1196289.8606
44 | 2761675.7566 | 1196300.5512
45 | 2761590.8306 | 1196243.0594
46 | 2761572.2182 | 1196249.6856
47 | 2761546.0499 | 1196185.0656
48 | 2761566.7183 | 1196157.9626
49 | 2761501.3416 | 1196098.3362
50 | 2761495.3127 | 1196074.152
51 | 2761567.7084 | 1196156.4655
52 | 2761596.0621 | 1196089.0309
53 | 2761558.9243 | 1196077.6731
54 | 2761667.6281 | 1196091.6501
55 | 2761564.7794 | 1196058.4115
56 | 2761553.5058 | 1196076.5696
57 | 2761676.6507 | 1196091.8695
58 | 2761463.0052 | 1196076.9934
59 | 2761517.1412 | 1196072.0507
60 | 2761567.2923 | 1196051.5661
61 | 2761727.1613 | 1196091.7101
62 | 2761516.5864 | 1196041.5307
63 | 2761494.8005 | 1196022.3031
64 | 2761531.602 | 1196016.2248
65 | 2761460.2034 | 1196117.7023
66 | 2761478.9085 | 1196003.271
67 | 2761524.4549 | 1196005.4046
68 | 2761570.8563 | 1196040.6735
69 | 2761709.6486 | 1196054.0475
70 | 2761686.6379 | 1196038.8193
71 | 2761697.1232 | 1196055.7687
72 | 2761677.1929 | 1196165.384
73 | 2761678.3722 | 1196033.1388
74 | 2761673.0327 | 1196062.731
75 | 2761505.5484 | 1195995.7673
76 | 2761510.6174 | 1195993.5824
77 | 2761561.5422 | 1195971.6213
78 | 2761547.3724 | 1195963.2748
79 | 2761563.1886 | 1195972.591
80 | 2761546.5924 | 1195962.8154
81 | 2761574.514 | 1195979.262
82 | 2761590.5852 | 1195973.981
83 | 2761598.6057 | 1195960.296
84 | 2761632.5728 | 1195987.8127
85 | 2761654.3933 | 1196007.5943
86 | 2761568.0776 | 1196028.4097
87 | 2761577.9513 | 1196044.8827
88 | 2761590.9316 | 1196052.5744
89 | 2761595.6873 | 1196054.9682
90 | 2761666.0627 | 1196065.4683
91 | 2761653.8059 | 1196246.3317

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1