## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5003-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5003-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5003-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5003-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5003-5_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5003-5_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_5003-5_0_5_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_5003-5_0_5_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_5003-5_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5003-5_0_5_node_43 | 0.4 | n |  | TRUE
10 | bus_LV_5003-5_0_5_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_5003-5_0_5_node_44 | 0.4 | n |  | TRUE
12 | bus_LV_5003-5_0_5_node_42 | 0.4 | n |  | TRUE
13 | bus_LV_5003-5_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5003-5_0_5_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_5003-5_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5003-5_0_5_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_5003-5_0_5_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_5003-5_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_5003-5_0_5_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5003-5_0_5_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_5003-5_0_5_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_5003-5_0_5_node_19 | 0.4 | n |  | TRUE
23 | bus_LV_5003-5_0_5_node_35 | 0.4 | n |  | TRUE
24 | bus_LV_5003-5_0_5_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_5003-5_0_5_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_5003-5_0_5_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5003-5_0_5_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_5003-5_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5003-5_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5003-5_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_5003-5_0_5_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5003-5_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5003-5_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5003-5_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5003-5_0_5_node_47 | 0.4 | n |  | TRUE
36 | bus_LV_5003-5_0_5_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5003-5_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5003-5_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_5003-5_0_5_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_5003-5_0_5_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_5003-5_0_5_node_66 | 0.4 | n |  | TRUE
42 | bus_LV_5003-5_0_5_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5003-5_0_5_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5003-5_0_5_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5003-5_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5003-5_0_5_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5003-5_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5003-5_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_5003-5_0_5_node_61 | 0.4 | n |  | TRUE
50 | bus_LV_5003-5_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_5003-5_0_5_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_5003-5_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5003-5_0_5_node_57 | 0.4 | n |  | TRUE
54 | bus_LV_5003-5_0_5_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_5003-5_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_5003-5_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_5003-5_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5003-5_0_5_node_60 | 0.4 | n |  | TRUE
59 | bus_MV_62_0_node_21 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5003-5_0_5_load_0 | 0 | 0.018924 | 0.0047427 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5003-5_0_5_load_15 | 6 | 0.0060396 | 0.0015137 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5003-5_0_5_load_16 | 7 | 0.0031389 | 0.00078668 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5003-5_0_5_load_34 | 8 | 0.0028088 | 0.00070394 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5003-5_0_5_load_43 | 9 | 0.0060745 | 0.0015224 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5003-5_0_5_load_44 | 11 | 0.0084219 | 0.0021107 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5003-5_0_5_load_42 | 12 | 0.0019387 | 0.00048589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5003-5_0_5_load_41 | 14 | 0.001956 | 0.00049023 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5003-5_0_5_load_29 | 16 | 0.003062 | 0.00076741 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5003-5_0_5_load_30 | 17 | 0.080008 | 0.020052 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5003-5_0_5_load_27 | 18 | 0.0084542 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5003-5_0_5_load_50 | 20 | 0.061155 | 0.015327 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5003-5_0_5_load_23 | 21 | 0.04597 | 0.011521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5003-5_0_5_load_35 | 23 | 0.0024502 | 0.00061407 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5003-5_0_5_load_46 | 24 | 0.0030853 | 0.00077325 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5003-5_0_5_load_28 | 25 | 0.021959 | 0.0055034 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5003-5_0_5_load_53 | 26 | 0.0023422 | 0.000587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5003-5_0_5_load_32 | 27 | 0.003433 | 0.00086038 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5003-5_0_5_load_22 | 28 | 0.0062545 | 0.0015675 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5003-5_0_5_load_17 | 29 | 0.015036 | 0.0037683 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5003-5_0_5_load_21 | 32 | 0.0035088 | 0.0008794 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5003-5_0_5_load_26 | 33 | 0.0045689 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5003-5_0_5_load_24 | 34 | 0.0094439 | 0.0023669 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5003-5_0_5_load_47 | 35 | 0.0035013 | 0.00087752 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5003-5_0_5_load_25 | 37 | 0.0063153 | 0.0015828 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5003-5_0_5_load_48 | 38 | 0.0044301 | 0.0011103 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5003-5_0_5_load_33 | 39 | 0.057555 | 0.014425 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5003-5_0_5_load_54 | 40 | 0.002582 | 0.0006471 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5003-5_0_5_load_66 | 41 | 0.13885 | 0.0348 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5003-5_0_5_load_45 | 42 | 0.0032118 | 0.00080494 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5003-5_0_5_load_36 | 43 | 0.0014852 | 0.00037223 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5003-5_0_5_load_37 | 44 | 0.0038944 | 0.00097602 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5003-5_0_5_load_38 | 45 | 0.0031625 | 0.00079259 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5003-5_0_5_load_40 | 47 | 0.0021817 | 0.00054678 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5003-5_0_5_load_64 | 48 | 0.0044424 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5003-5_0_5_load_61 | 49 | 0.0037477 | 0.00093927 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5003-5_0_5_load_49 | 50 | 0.0043144 | 0.0010813 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5003-5_0_5_load_51 | 51 | 0.0032308 | 0.0008097 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5003-5_0_5_load_52 | 52 | 0.0069997 | 0.0017543 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5003-5_0_5_load_57 | 53 | 0.0031669 | 0.00079369 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5003-5_0_5_load_55 | 54 | 0.010966 | 0.0027483 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5003-5_0_5_load_56 | 55 | 0.0081325 | 0.0020382 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5003-5_0_5_load_59 | 57 | 0.0047063 | 0.0011795 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5003-5_0_5_line_0 |  | 0 | 1 | 0.071269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5003-5_0_5_line_1 |  | 0 | 2 | 0.043351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5003-5_0_5_line_2 |  | 1 | 3 | 0.029418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5003-5_0_5_line_3 |  | 1 | 4 | 0.13734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5003-5_0_5_line_4 |  | 1 | 5 | 0.036546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5003-5_0_5_line_5 |  | 2 | 6 | 0.042514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5003-5_0_5_line_6 |  | 2 | 7 | 0.018427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5003-5_0_5_line_7 |  | 3 | 8 | 0.028808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5003-5_0_5_line_8 |  | 4 | 9 | 0.092439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5003-5_0_5_line_9 |  | 5 | 13 | 0.015571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5003-5_0_5_line_10 |  | 7 | 22 | 0.020779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5003-5_0_5_line_11 |  | 9 | 12 | 0.06692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5003-5_0_5_line_12 |  | 10 | 11 | 0.079375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5003-5_0_5_line_13 |  | 10 | 12 | 0.024643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5003-5_0_5_line_14 |  | 13 | 14 | 0.021723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5003-5_0_5_line_15 |  | 15 | 16 | 0.032149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5003-5_0_5_line_16 |  | 15 | 17 | 0.019953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5003-5_0_5_line_17 |  | 15 | 18 | 0.027348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5003-5_0_5_line_18 |  | 16 | 26 | 0.012129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5003-5_0_5_line_19 |  | 17 | 27 | 0.00069616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5003-5_0_5_line_20 |  | 18 | 25 | 0.01591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5003-5_0_5_line_21 |  | 19 | 20 | 0.0027533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5003-5_0_5_line_22 |  | 19 | 21 | 0.030868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5003-5_0_5_line_23 |  | 21 | 22 | 0.020751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5003-5_0_5_line_24 |  | 22 | 28 | 0.027718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_5003-5_0_5_line_25 |  | 22 | 29 | 0.033696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5003-5_0_5_line_26 |  | 23 | 24 | 0.025475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5003-5_0_5_line_27 |  | 24 | 42 | 0.024306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5003-5_0_5_line_28 |  | 26 | 40 | 0.031585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5003-5_0_5_line_29 |  | 27 | 36 | 0.018309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5003-5_0_5_line_30 |  | 28 | 36 | 0.017444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5003-5_0_5_line_31 |  | 29 | 30 | 0.038233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5003-5_0_5_line_32 |  | 30 | 31 | 0.008245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5003-5_0_5_line_33 |  | 30 | 32 | 0.021271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5003-5_0_5_line_34 |  | 31 | 33 | 0.059348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5003-5_0_5_line_35 |  | 31 | 34 | 0.030252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5003-5_0_5_line_36 |  | 32 | 35 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5003-5_0_5_line_37 |  | 34 | 37 | 0.0028082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5003-5_0_5_line_38 |  | 35 | 38 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5003-5_0_5_line_39 |  | 36 | 39 | 0.028347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5003-5_0_5_line_40 |  | 38 | 50 | 0.021009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5003-5_0_5_line_41 |  | 39 | 41 | 0.030179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5003-5_0_5_line_42 |  | 40 | 53 | 0.022966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5003-5_0_5_line_43 |  | 42 | 47 | 0.0007497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5003-5_0_5_line_44 |  | 43 | 44 | 0.019369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5003-5_0_5_line_45 |  | 43 | 45 | 0.021225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5003-5_0_5_line_46 |  | 44 | 46 | 0.0092703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5003-5_0_5_line_47 |  | 45 | 47 | 0.023497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5003-5_0_5_line_48 |  | 46 | 48 | 0.014076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5003-5_0_5_line_49 |  | 48 | 49 | 0.033969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5003-5_0_5_line_50 |  | 49 | 58 | 0.02033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5003-5_0_5_line_51 |  | 50 | 51 | 0.023745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5003-5_0_5_line_52 |  | 51 | 52 | 0.025577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5003-5_0_5_line_53 |  | 53 | 54 | 0.018477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5003-5_0_5_line_54 |  | 54 | 55 | 0.03532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5003-5_0_5_line_55 |  | 55 | 56 | 0.032808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5003-5_0_5_line_56 |  | 56 | 57 | 0.0016936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5003-5_0_5_line_57 |  | 57 | 58 | 0.029829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5003-5_0_5_trafo_22 | 0.63 MVA 20/0.4 kV | 59 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21
0 | 2716671.0986 | 1112320.6955 | 2716680.5835 | 1112321.712 | 2716681.8725 | 1112321.7924 | 2716683.3109 | 1112321.7311 | 2716684.4397 | 1112321.297 | 2716685.4893 | 1112320.5612 | 2716686.5784 | 1112319.3813 | 2716687.3654 | 1112318.2401 | 2716687.9309 | 1112316.9613 | 2716688.3868 | 1112315.3578 | 2716689.0833 | 1112310.8905 | 2716689.6053 | 1112309.0659 | 2716690.1422 | 1112307.2639 | 2716690.9511 | 1112305.7896 | 2716692.026 | 1112304.5428 | 2716693.7228 | 1112303.5081 | 2716695.7716 | 1112302.6469 | 2716698.1353 | 1112302.2922 | 2716730.2137 | 1112299.2457
1 | 2716773.2246 | 1112294.11 | 2716767.2354 | 1112295.3399 | 2716761.3061 | 1112296.2708 | 2716754.8802 | 1112296.9031 | 2716730.2137 | 1112299.2457
2 | 2716671.0986 | 1112320.6955 | 2716666.4145 | 1112319.9604 | 2716662.4802 | 1112319.2175 | 2716658.781 | 1112318.3013 | 2716653.9098 | 1112316.851 | 2716650.9751 | 1112315.5604 | 2716645.1164 | 1112312.4233 | 2716643.3977 | 1112311.3896
3 | 2716636.5219 | 1112448.2053 | 2716639.2554 | 1112440.2748 | 2716647.8252 | 1112422.9946 | 2716649.1894 | 1112419.563 | 2716650.2719 | 1112415.9147 | 2716650.821 | 1112412.6786 | 2716650.9429 | 1112409.5566 | 2716650.7552 | 1112406.8623 | 2716650.2045 | 1112404.5613 | 2716649.4208 | 1112402.3225 | 2716648.1288 | 1112399.1955 | 2716645.8408 | 1112394.4149 | 2716648.2509 | 1112392.8491 | 2716650.776 | 1112390.9297 | 2716653.1024 | 1112388.0948 | 2716654.8552 | 1112384.9486 | 2716656.1013 | 1112382.0373 | 2716657.0544 | 1112378.6867 | 2716657.8951 | 1112375.5563 | 2716659.5801 | 1112367.9058 | 2716667.3175 | 1112336.8781 | 2716671.0986 | 1112320.6955
4 | 2716671.0986 | 1112320.6955 | 2716671.9524 | 1112317.6876 | 2716676.0321 | 1112311.6843 | 2716678.3114 | 1112306.0799 | 2716679.3143 | 1112302.1521 | 2716679.8774 | 1112299.3944 | 2716680.1071 | 1112297.0973 | 2716679.7001 | 1112294.1541 | 2716675.886 | 1112287.1649
5 | 2716773.2246 | 1112294.11 | 2716776.357 | 1112329.2496 | 2716775.7673 | 1112333.7858 | 2716774.8236 | 1112336.2734
6 | 2716773.2246 | 1112294.11 | 2716785.5555 | 1112291.0009 | 2716789.8769 | 1112290.1058 | 2716791.1037 | 1112289.6848
7 | 2716643.3977 | 1112311.3896 | 2716634.8815 | 1112306.6114 | 2716627.0328 | 1112302.8802 | 2716621.7014 | 1112301.6546 | 2716616.848 | 1112301.1259
8 | 2716636.5219 | 1112448.2053 | 2716644.8835 | 1112446.554 | 2716656.8199 | 1112419.3652 | 2716661.6935 | 1112415.8677 | 2716669.629 | 1112416.2874 | 2716676.4975 | 1112419.9442 | 2716684.3875 | 1112429.547 | 2716691.1132 | 1112433.8015 | 2716702.9801 | 1112436.2102
9 | 2716669.3382 | 1112281.2905 | 2716673.0652 | 1112281.1621 | 2716678.2768 | 1112280.9845 | 2716675.886 | 1112287.1649
10 | 2716809.7125 | 1112280.5036 | 2716796.5571 | 1112287.4993 | 2716793.1595 | 1112288.9793 | 2716791.1037 | 1112289.6848
11 | 2716702.9801 | 1112436.2102 | 2716715.3819 | 1112438.7275 | 2716723.083 | 1112437.2747 | 2716730.1346 | 1112431.829 | 2716732.9058 | 1112426.3564 | 2716733.1106 | 1112412.5177 | 2716742.1988 | 1112404.843 | 2716742.0035 | 1112399.1973
12 | 2716741.1516 | 1112374.5691 | 2716811.737 | 1112393.9526 | 2716817.626 | 1112395.8152
13 | 2716741.1516 | 1112374.5691 | 2716742.0035 | 1112399.1973
14 | 2716669.3382 | 1112281.2905 | 2716668.9438 | 1112281.3051 | 2716659.8581 | 1112281.6194 | 2716647.6263 | 1112281.9978
15 | 2716799.1195 | 1112197.0542 | 2716830.8564 | 1112191.9221
16 | 2716799.1195 | 1112197.0542 | 2716801.4923 | 1112216.8661
17 | 2716799.1195 | 1112197.0542 | 2716794.7252 | 1112170.0617
18 | 2716830.8564 | 1112191.9221 | 2716842.8302 | 1112189.9859
19 | 2716801.5751 | 1112217.5573 | 2716801.4923 | 1112216.8661
20 | 2716794.7252 | 1112170.0617 | 2716792.1686 | 1112154.3581 | 2716792.1686 | 1112154.3581
21 | 2716758.1768 | 1112283.4241 | 2716755.4263 | 1112283.5491
22 | 2716758.1768 | 1112283.4241 | 2716788.995 | 1112281.6776
23 | 2716809.7125 | 1112280.5036 | 2716788.995 | 1112281.6776
24 | 2716809.7125 | 1112280.5036 | 2716808.9702 | 1112274.9188 | 2716806.055 | 1112253.028
25 | 2716809.7125 | 1112280.5036 | 2716843.3777 | 1112279.0545
26 | 2716826.3073 | 1112104.7504 | 2716802.9774 | 1112094.5192
27 | 2716826.3073 | 1112104.7504 | 2716848.5668 | 1112114.5122
28 | 2716874.1356 | 1112186.3368 | 2716874.1356 | 1112186.3368 | 2716868.357 | 1112186.2587 | 2716861.5976 | 1112186.9511 | 2716842.8302 | 1112189.9859
29 | 2716803.7522 | 1112235.7363 | 2716801.5751 | 1112217.5573
30 | 2716803.7522 | 1112235.7363 | 2716806.055 | 1112253.028
31 | 2716881.58 | 1112277.5309 | 2716871.0799 | 1112277.862 | 2716843.3777 | 1112279.0545
32 | 2716881.58 | 1112277.5309 | 2716889.8456 | 1112277.2678
33 | 2716881.58 | 1112277.5309 | 2716883.7056 | 1112298.695
34 | 2716889.8456 | 1112277.2678 | 2716949.1636 | 1112275.3939
35 | 2716889.8456 | 1112277.2678 | 2716893.2308 | 1112247.2057
36 | 2716885.3629 | 1112315.1965 | 2716883.7056 | 1112298.695
37 | 2716893.5451 | 1112244.4152 | 2716893.2308 | 1112247.2057
38 | 2716885.3629 | 1112315.1965 | 2716887.4672 | 1112336.1486
39 | 2716803.7522 | 1112235.7363 | 2716775.4054 | 1112235.6734
40 | 2716890.2783 | 1112356.9351 | 2716888.9958 | 1112351.3682 | 2716887.4672 | 1112336.1486
41 | 2716745.2631 | 1112236.566 | 2716754.4818 | 1112235.7652 | 2716758.7653 | 1112235.6365 | 2716775.4054 | 1112235.6734
42 | 2716896.6468 | 1112190.7057 | 2716886.2255 | 1112188.1266 | 2716879.7958 | 1112186.9463 | 2716874.1356 | 1112186.3368
43 | 2716848.5668 | 1112114.5122 | 2716849.2534 | 1112114.8133
44 | 2716908.9548 | 1112137.0772 | 2716892.8725 | 1112133.5733 | 2716890.0443 | 1112132.8894
45 | 2716870.3589 | 1112125.1157 | 2716877.1613 | 1112128.4226 | 2716882.5886 | 1112130.6954 | 2716887.3268 | 1112132.2322 | 2716890.0443 | 1112132.8894
46 | 2716918.0126 | 1112139.0506 | 2716908.9548 | 1112137.0772
47 | 2716849.2534 | 1112114.8133 | 2716855.7932 | 1112117.6813 | 2716863.2049 | 1112121.6379 | 2716870.3589 | 1112125.1157
48 | 2716918.0126 | 1112139.0506 | 2716931.5807 | 1112142.7972
49 | 2716931.5807 | 1112142.7972 | 2716964.3246 | 1112151.839
50 | 2716980.2183 | 1112161.9102 | 2716979.7079 | 1112159.5321 | 2716978.4301 | 1112157.2726 | 2716976.3153 | 1112155.5417 | 2716973.7709 | 1112154.4475 | 2716964.3246 | 1112151.839
51 | 2716890.2783 | 1112356.9351 | 2716895.6093 | 1112380.0743
52 | 2716912.7999 | 1112397.0108 | 2716904.0833 | 1112393.2207 | 2716899.4916 | 1112389.3073 | 2716895.9121 | 1112381.3885 | 2716895.6093 | 1112380.0743
53 | 2716914.583 | 1112195.1447 | 2716896.6468 | 1112190.7057
54 | 2716914.583 | 1112195.1447 | 2716948.8682 | 1112203.6298
55 | 2716972.8446 | 1112192.422 | 2716970.0318 | 1112201.2292 | 2716968.6534 | 1112203.3819 | 2716966.4944 | 1112205.1414 | 2716964.2324 | 1112206.2319 | 2716961.8086 | 1112206.4964 | 2716959.4104 | 1112206.2389 | 2716948.8682 | 1112203.6298
56 | 2716972.8446 | 1112192.422 | 2716973.383 | 1112190.8162
57 | 2716980.2183 | 1112161.9102 | 2716979.6892 | 1112168.1042 | 2716978.7157 | 1112173.3001 | 2716977.4118 | 1112178.8009 | 2716973.383 | 1112190.8162

## bus_geodata
| x | y | coords
0 | 2716730.2137 | 1112299.2457
1 | 2716671.0986 | 1112320.6955
2 | 2716773.2246 | 1112294.11
3 | 2716643.3977 | 1112311.3896
4 | 2716636.5219 | 1112448.2053
5 | 2716675.886 | 1112287.1649
6 | 2716774.8236 | 1112336.2734
7 | 2716791.1037 | 1112289.6848
8 | 2716616.848 | 1112301.1259
9 | 2716702.9801 | 1112436.2102
10 | 2716741.1516 | 1112374.5691
11 | 2716817.626 | 1112395.8152
12 | 2716742.0035 | 1112399.1973
13 | 2716669.3382 | 1112281.2905
14 | 2716647.6263 | 1112281.9978
15 | 2716799.1195 | 1112197.0542
16 | 2716830.8564 | 1112191.9221
17 | 2716801.4923 | 1112216.8661
18 | 2716794.7252 | 1112170.0617
19 | 2716758.1768 | 1112283.4241
20 | 2716755.4263 | 1112283.5491
21 | 2716788.995 | 1112281.6776
22 | 2716809.7125 | 1112280.5036
23 | 2716802.9774 | 1112094.5192
24 | 2716826.3073 | 1112104.7504
25 | 2716792.1686 | 1112154.3581
26 | 2716842.8302 | 1112189.9859
27 | 2716801.5751 | 1112217.5573
28 | 2716806.055 | 1112253.028
29 | 2716843.3777 | 1112279.0545
30 | 2716881.58 | 1112277.5309
31 | 2716889.8456 | 1112277.2678
32 | 2716883.7056 | 1112298.695
33 | 2716949.1636 | 1112275.3939
34 | 2716893.2308 | 1112247.2057
35 | 2716885.3629 | 1112315.1965
36 | 2716803.7522 | 1112235.7363
37 | 2716893.5451 | 1112244.4151
38 | 2716887.4672 | 1112336.1486
39 | 2716775.4054 | 1112235.6734
40 | 2716874.1356 | 1112186.3368
41 | 2716745.2631 | 1112236.566
42 | 2716848.5668 | 1112114.5122
43 | 2716890.0443 | 1112132.8894
44 | 2716908.9548 | 1112137.0772
45 | 2716870.3589 | 1112125.1157
46 | 2716918.0126 | 1112139.0506
47 | 2716849.2534 | 1112114.8133
48 | 2716931.5807 | 1112142.7972
49 | 2716964.3246 | 1112151.839
50 | 2716890.2783 | 1112356.9351
51 | 2716895.6093 | 1112380.0743
52 | 2716912.7999 | 1112397.0108
53 | 2716896.6468 | 1112190.7057
54 | 2716914.583 | 1112195.1447
55 | 2716948.8682 | 1112203.6298
56 | 2716972.8446 | 1112192.422
57 | 2716973.383 | 1112190.8162
58 | 2716980.2183 | 1112161.9102
59 | 2716803.7522 | 1112235.7363

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1