## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5003-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5003-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5003-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5003-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5003-7_0_5_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_5003-7_0_5_node_58 | 0.4 | n |  | TRUE
6 | bus_LV_5003-7_0_5_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_5003-7_0_5_node_47 | 0.4 | n |  | TRUE
8 | bus_LV_5003-7_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5003-7_0_5_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5003-7_0_5_node_75 | 0.4 | n |  | TRUE
11 | bus_LV_5003-7_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5003-7_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5003-7_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5003-7_0_5_node_62 | 0.4 | n |  | TRUE
15 | bus_LV_5003-7_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5003-7_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5003-7_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5003-7_0_5_node_61 | 0.4 | n |  | TRUE
19 | bus_LV_5003-7_0_5_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_5003-7_0_5_node_72 | 0.4 | n |  | TRUE
21 | bus_LV_5003-7_0_5_node_73 | 0.4 | n |  | TRUE
22 | bus_LV_5003-7_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_5003-7_0_5_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_5003-7_0_5_node_77 | 0.4 | n |  | TRUE
25 | bus_LV_5003-7_0_5_node_78 | 0.4 | n |  | TRUE
26 | bus_LV_5003-7_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_5003-7_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_5003-7_0_5_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_5003-7_0_5_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_5003-7_0_5_node_56 | 0.4 | n |  | TRUE
31 | bus_LV_5003-7_0_5_node_38 | 0.4 | n |  | TRUE
32 | bus_LV_5003-7_0_5_node_14 | 0.4 | n |  | TRUE
33 | bus_LV_5003-7_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_5003-7_0_5_node_16 | 0.4 | n |  | TRUE
35 | bus_LV_5003-7_0_5_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_5003-7_0_5_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_5003-7_0_5_node_71 | 0.4 | n |  | TRUE
38 | bus_LV_5003-7_0_5_node_60 | 0.4 | n |  | TRUE
39 | bus_LV_5003-7_0_5_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_5003-7_0_5_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5003-7_0_5_node_25 | 0.4 | n |  | TRUE
42 | bus_LV_5003-7_0_5_node_46 | 0.4 | n |  | TRUE
43 | bus_LV_5003-7_0_5_node_19 | 0.4 | n |  | TRUE
44 | bus_LV_5003-7_0_5_node_20 | 0.4 | n |  | TRUE
45 | bus_LV_5003-7_0_5_node_21 | 0.4 | n |  | TRUE
46 | bus_LV_5003-7_0_5_node_22 | 0.4 | n |  | TRUE
47 | bus_LV_5003-7_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5003-7_0_5_node_74 | 0.4 | n |  | TRUE
49 | bus_LV_5003-7_0_5_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5003-7_0_5_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_5003-7_0_5_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_5003-7_0_5_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_5003-7_0_5_node_28 | 0.4 | n |  | TRUE
54 | bus_LV_5003-7_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5003-7_0_5_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_5003-7_0_5_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_5003-7_0_5_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5003-7_0_5_node_64 | 0.4 | n |  | TRUE
59 | bus_LV_5003-7_0_5_node_31 | 0.4 | n |  | TRUE
60 | bus_LV_5003-7_0_5_node_32 | 0.4 | n |  | TRUE
61 | bus_LV_5003-7_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5003-7_0_5_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5003-7_0_5_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_5003-7_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_5003-7_0_5_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_5003-7_0_5_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_5003-7_0_5_node_36 | 0.4 | n |  | TRUE
68 | bus_LV_5003-7_0_5_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_5003-7_0_5_node_63 | 0.4 | n |  | TRUE
70 | bus_LV_5003-7_0_5_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_5003-7_0_5_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_5003-7_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_MV_62_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5003-7_0_5_load_0 | 0 | 0.043132 | 0.01081 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5003-7_0_5_load_1 | 1 | 0.012014 | 0.003011 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5003-7_0_5_load_2 | 2 | 0.012014 | 0.003011 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5003-7_0_5_load_57 | 4 | 0.0039454 | 0.00098882 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5003-7_0_5_load_76 | 6 | 0.012594 | 0.0031564 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5003-7_0_5_load_47 | 7 | 0.0055394 | 0.0013883 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5003-7_0_5_load_12 | 8 | 0.0051513 | 0.001291 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5003-7_0_5_load_13 | 9 | 0.035802 | 0.0089728 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5003-7_0_5_load_75 | 10 | 0.012593 | 0.0031562 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5003-7_0_5_load_5 | 11 | 0.0059596 | 0.0014936 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5003-7_0_5_load_62 | 14 | 0.004993 | 0.0012514 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5003-7_0_5_load_9 | 15 | 0.0035899 | 0.00089972 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5003-7_0_5_load_10 | 16 | 0.0026733 | 0.00066999 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5003-7_0_5_load_61 | 18 | 0.0049918 | 0.0012511 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5003-7_0_5_load_29 | 19 | 0.0067053 | 0.0016805 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5003-7_0_5_load_72 | 20 | 0.0069601 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5003-7_0_5_load_73 | 21 | 0.0034138 | 0.00085557 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5003-7_0_5_load_48 | 22 | 0.0099349 | 0.0024899 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5003-7_0_5_load_70 | 23 | 0.0036008 | 0.00090244 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5003-7_0_5_load_77 | 24 | 0.01093 | 0.0027392 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5003-7_0_5_load_78 | 25 | 0.0034968 | 0.00087639 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5003-7_0_5_load_40 | 27 | 0.011689 | 0.0029295 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5003-7_0_5_load_41 | 28 | 0.009309 | 0.0023331 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5003-7_0_5_load_30 | 29 | 0.0064044 | 0.0016051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5003-7_0_5_load_38 | 31 | 0.0055036 | 0.0013793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5003-7_0_5_load_14 | 32 | 0.0049908 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5003-7_0_5_load_15 | 33 | 0.0048517 | 0.001216 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5003-7_0_5_load_16 | 34 | 0.0049908 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5003-7_0_5_load_17 | 35 | 0.0049908 | 0.0012508 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5003-7_0_5_load_71 | 37 | 0.0075843 | 0.0019008 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5003-7_0_5_load_60 | 38 | 0.0090577 | 0.0022701 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5003-7_0_5_load_45 | 40 | 0.0050206 | 0.0012583 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5003-7_0_5_load_46 | 42 | 0.0050216 | 0.0012585 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5003-7_0_5_load_19 | 43 | 0.0010484 | 0.00026276 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5003-7_0_5_load_21 | 45 | 0.0025767 | 0.00064579 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5003-7_0_5_load_22 | 46 | 0.0025966 | 0.00065078 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5003-7_0_5_load_43 | 47 | 0.0017091 | 0.00042834 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5003-7_0_5_load_74 | 48 | 0.0047874 | 0.0011998 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5003-7_0_5_load_44 | 49 | 0.0044221 | 0.0011083 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5003-7_0_5_load_23 | 50 | 0.0055288 | 0.0013857 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5003-7_0_5_load_24 | 51 | 0.0026888 | 0.00067388 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5003-7_0_5_load_26 | 52 | 0.0055288 | 0.0013856 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5003-7_0_5_load_54 | 54 | 0.0029335 | 0.00073521 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5003-7_0_5_load_59 | 55 | 0.0094951 | 0.0023797 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5003-7_0_5_load_39 | 56 | 0.0060386 | 0.0015134 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5003-7_0_5_load_55 | 57 | 0.0055212 | 0.0013838 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5003-7_0_5_load_64 | 58 | 0.0028909 | 0.00072453 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5003-7_0_5_load_31 | 59 | 0.0051283 | 0.0012853 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5003-7_0_5_load_67 | 63 | 0.0037001 | 0.00092733 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5003-7_0_5_load_49 | 64 | 0.0046746 | 0.0011716 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5003-7_0_5_load_68 | 65 | 0.033163 | 0.0083114 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5003-7_0_5_load_35 | 66 | 0.0045239 | 0.0011338 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5003-7_0_5_load_36 | 67 | 0.0035976 | 0.00090164 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5003-7_0_5_load_37 | 68 | 0.0092253 | 0.0023121 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5003-7_0_5_load_63 | 69 | 0.0030498 | 0.00076436 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5003-7_0_5_load_52 | 70 | 0.0024612 | 0.00061684 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5003-7_0_5_load_50 | 71 | 0.0034784 | 0.00087177 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5003-7_0_5_load_69 | 72 | 0.022618 | 0.0056687 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5003-7_0_5_line_0 |  | 0 | 1 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5003-7_0_5_line_1 |  | 0 | 2 | 0.017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5003-7_0_5_line_2 |  | 1 | 3 | 0.012393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5003-7_0_5_line_3 |  | 3 | 8 | 0.011951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5003-7_0_5_line_4 |  | 3 | 9 | 0.031567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5003-7_0_5_line_5 |  | 4 | 5 | 0.015494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5003-7_0_5_line_6 |  | 4 | 6 | 0.035963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5003-7_0_5_line_7 |  | 4 | 7 | 0.025005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5003-7_0_5_line_8 |  | 5 | 55 | 0.037802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5003-7_0_5_line_9 |  | 5 | 38 | 0.013733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5003-7_0_5_line_10 |  | 6 | 10 | 0.056186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5003-7_0_5_line_11 |  | 7 | 42 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5003-7_0_5_line_12 |  | 9 | 10 | 0.010318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5003-7_0_5_line_13 |  | 11 | 12 | 0.0099678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5003-7_0_5_line_14 |  | 11 | 13 | 0.02393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5003-7_0_5_line_15 |  | 11 | 14 | 0.017856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5003-7_0_5_line_16 |  | 12 | 15 | 0.014263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5003-7_0_5_line_17 |  | 13 | 16 | 0.1027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5003-7_0_5_line_18 |  | 13 | 17 | 0.003964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5003-7_0_5_line_19 |  | 14 | 18 | 0.013393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5003-7_0_5_line_20 |  | 15 | 19 | 0.012996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5003-7_0_5_line_21 |  | 15 | 20 | 0.035066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5003-7_0_5_line_22 |  | 17 | 22 | 0.038336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_5003-7_0_5_line_23 |  | 17 | 23 | 0.016751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5003-7_0_5_line_24 |  | 18 | 35 | 0.01514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5003-7_0_5_line_25 |  | 19 | 29 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5003-7_0_5_line_26 |  | 20 | 21 | 0.019873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5003-7_0_5_line_27 |  | 22 | 30 | 0.021703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5003-7_0_5_line_28 |  | 22 | 31 | 0.016044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5003-7_0_5_line_29 |  | 24 | 25 | 0.084025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5003-7_0_5_line_30 |  | 24 | 26 | 0.029061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5003-7_0_5_line_31 |  | 24 | 27 | 0.023446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5003-7_0_5_line_32 |  | 26 | 58 | 0.011064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5003-7_0_5_line_33 |  | 27 | 28 | 0.018707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5003-7_0_5_line_34 |  | 27 | 56 | 0.018765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5003-7_0_5_line_35 |  | 30 | 70 | 0.025461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5003-7_0_5_line_36 |  | 30 | 49 | 0.011504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5003-7_0_5_line_37 |  | 31 | 67 | 0.00033111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5003-7_0_5_line_38 |  | 32 | 33 | 0.0056175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5003-7_0_5_line_39 |  | 32 | 34 | 0.015374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5003-7_0_5_line_40 |  | 33 | 35 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5003-7_0_5_line_41 |  | 34 | 36 | 0.0047425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5003-7_0_5_line_42 |  | 36 | 39 | 0.007783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5003-7_0_5_line_43 |  | 36 | 40 | 0.010431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5003-7_0_5_line_44 |  | 37 | 38 | 0.022083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5003-7_0_5_line_45 |  | 39 | 41 | 0.016679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5003-7_0_5_line_46 |  | 40 | 42 | 0.015657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5003-7_0_5_line_47 |  | 41 | 53 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5003-7_0_5_line_48 |  | 41 | 50 | 0.010886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5003-7_0_5_line_49 |  | 43 | 44 | 0.03482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5003-7_0_5_line_50 |  | 44 | 45 | 0.019825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5003-7_0_5_line_51 |  | 44 | 46 | 0.014171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5003-7_0_5_line_52 |  | 45 | 47 | 0.00050924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5003-7_0_5_line_53 |  | 46 | 48 | 0.018259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5003-7_0_5_line_54 |  | 47 | 49 | 0.019444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5003-7_0_5_line_55 |  | 50 | 51 | 0.011745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5003-7_0_5_line_56 |  | 51 | 52 | 0.0057173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5003-7_0_5_line_57 |  | 52 | 54 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5003-7_0_5_line_58 |  | 53 | 56 | 0.018261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5003-7_0_5_line_59 |  | 54 | 57 | 0.0055285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5003-7_0_5_line_60 |  | 58 | 69 | 0.017822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5003-7_0_5_line_61 |  | 59 | 60 | 0.020695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5003-7_0_5_line_62 |  | 60 | 61 | 0.046467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5003-7_0_5_line_63 |  | 61 | 62 | 0.057195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5003-7_0_5_line_64 |  | 61 | 63 | 0.043437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5003-7_0_5_line_65 |  | 62 | 64 | 0.028619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5003-7_0_5_line_66 |  | 63 | 65 | 0.0051811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5003-7_0_5_line_67 |  | 64 | 71 | 0.019858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5003-7_0_5_line_68 |  | 65 | 72 | 0.0033976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5003-7_0_5_line_69 |  | 66 | 67 | 0.015752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5003-7_0_5_line_70 |  | 66 | 68 | 0.0079355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5003-7_0_5_line_71 |  | 70 | 71 | 0.019531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5003-7_0_5_trafo_60 | 0.63 MVA 20/0.4 kV | 73 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2716447.1338 | 1112238.4297 | 2716462.5909 | 1112237.2591
1 | 2716447.1338 | 1112238.4297 | 2716429.701 | 1112239.7501
2 | 2716474.9485 | 1112236.3231 | 2716462.5909 | 1112237.2591
3 | 2716474.9485 | 1112236.3231 | 2716475.6549 | 1112248.2534
4 | 2716474.9485 | 1112236.3231 | 2716472.4579 | 1112204.8549
5 | 2716446.097 | 1112127.6178 | 2716442.6379 | 1112142.7212
6 | 2716442.6379 | 1112142.7212 | 2716437.727 | 1112178.3469
7 | 2716442.6379 | 1112142.7212 | 2716467.1652 | 1112147.5868
8 | 2716446.097 | 1112127.6178 | 2716442.5582 | 1112126.7937 | 2716408.4345 | 1112128.5442
9 | 2716446.097 | 1112127.6178 | 2716449.9006 | 1112114.4217
10 | 2716471.6437 | 1112194.5691 | 2716470.7206 | 1112182.9058 | 2716470.3638 | 1112180.9643 | 2716469.6155 | 1112179.2933 | 2716468.7015 | 1112178.1972 | 2716467.738 | 1112177.2669 | 2716466.299 | 1112176.5499 | 2716464.5331 | 1112175.9601 | 2716441.1928 | 1112170.9084 | 2716439.5032 | 1112170.7648 | 2716438.1658 | 1112171.1949 | 2716437.4366 | 1112172.1482 | 2716437.1592 | 1112173.3104 | 2716437.4591 | 1112176.207 | 2716437.727 | 1112178.3469
11 | 2716467.1652 | 1112147.5868 | 2716471.7567 | 1112131.8777
12 | 2716471.6437 | 1112194.5691 | 2716472.4579 | 1112204.8549
13 | 2716513.3526 | 1112031 | 2716503.8455 | 1112028.0045
14 | 2716480.9734 | 1112020.9711 | 2716489.5258 | 1112023.4927 | 2716503.8455 | 1112028.0045
15 | 2716503.8455 | 1112028.0045 | 2716497.2266 | 1112044.5882
16 | 2716513.3526 | 1112031 | 2716518.4837 | 1112030.198 | 2716523.4001 | 1112029.7144 | 2716527.5297 | 1112029.6932
17 | 2716480.9734 | 1112020.9711 | 2716476.9431 | 1112001.892 | 2716459.76 | 1111920.4958
18 | 2716477.1622 | 1112019.8416 | 2716480.9734 | 1112020.9711
19 | 2716497.2266 | 1112044.5882 | 2716493.4774 | 1112057.446
20 | 2716540.5255 | 1112029.6292 | 2716540.2944 | 1112029.6279 | 2716527.5297 | 1112029.6932
21 | 2716527.5297 | 1112029.6932 | 2716524.425 | 1112064.6211
22 | 2716477.1622 | 1112019.8416 | 2716471.4492 | 1112018.7534 | 2716465.0698 | 1112018.1638 | 2716438.8747 | 1112016.871
23 | 2716477.1622 | 1112019.8416 | 2716472.5228 | 1112035.9373
24 | 2716489.2393 | 1112071.9806 | 2716493.4774 | 1112057.446
25 | 2716554.752 | 1112029.7134 | 2716540.5255 | 1112029.6292
26 | 2716524.425 | 1112064.6211 | 2716511.6188 | 1112079.8183
27 | 2716417.1342 | 1112015.7973 | 2716438.8747 | 1112016.871
28 | 2716438.8747 | 1112016.871 | 2716438.9582 | 1112032.9152
29 | 2716544.7776 | 1112120.5439 | 2716538.1174 | 1112204.3041
30 | 2716544.7776 | 1112120.5439 | 2716539.3954 | 1112149.1024
31 | 2716544.7776 | 1112120.5439 | 2716534.4076 | 1112099.5162
32 | 2716539.3954 | 1112149.1024 | 2716535.2333 | 1112159.3534
33 | 2716546.5006 | 1112085.2437 | 2716534.4076 | 1112099.5162
34 | 2716522.277 | 1112113.8331 | 2716534.4076 | 1112099.5162
35 | 2716417.1342 | 1112015.7973 | 2716391.6845 | 1112015.0269
36 | 2716417.1342 | 1112015.7973 | 2716417.4312 | 1112004.2973
37 | 2716438.9582 | 1112032.9152 | 2716438.9599 | 1112033.2463
38 | 2716484.7069 | 1112087.5246 | 2716486.2794 | 1112082.1317
39 | 2716480.4032 | 1112102.2843 | 2716484.7069 | 1112087.5246
40 | 2716489.2393 | 1112071.9806 | 2716486.2794 | 1112082.1317
41 | 2716479.0756 | 1112106.8371 | 2716480.4032 | 1112102.2843
42 | 2716486.2335 | 1112109.9434 | 2716479.0756 | 1112106.8371
43 | 2716479.0756 | 1112106.8371 | 2716476.1493 | 1112116.8491
44 | 2716449.9006 | 1112114.4217 | 2716456.0167 | 1112093.2029
45 | 2716499.5233 | 1112120.0722 | 2716486.2335 | 1112109.9434
46 | 2716476.1493 | 1112116.8491 | 2716471.7567 | 1112131.8777
47 | 2716510.4721 | 1112127.7656 | 2716499.5233 | 1112120.0722
48 | 2716499.5233 | 1112120.0722 | 2716496.4509 | 1112130.5153
49 | 2716416.9646 | 1111964.6929 | 2716412.4368 | 1111963.0493 | 2716402.7879 | 1111963.6978 | 2716400.9811 | 1111966.0314 | 2716400.7211 | 1111983.4108
50 | 2716416.9646 | 1111964.6929 | 2716418.3118 | 1111970.1891 | 2716417.9462 | 1111984.3502
51 | 2716416.9646 | 1111964.6929 | 2716415.2022 | 1111959.4888 | 2716414.8968 | 1111950.818
52 | 2716417.9462 | 1111984.3502 | 2716417.933 | 1111984.8593
53 | 2716414.8968 | 1111950.818 | 2716414.2542 | 1111932.5707
54 | 2716417.933 | 1111984.8593 | 2716417.4312 | 1112004.2973
55 | 2716493.1362 | 1112141.7824 | 2716496.4509 | 1112130.5153
56 | 2716491.5225 | 1112147.2672 | 2716493.1362 | 1112141.7824
57 | 2716488.1802 | 1112158.628 | 2716491.5225 | 1112147.2672
58 | 2716510.4721 | 1112127.7656 | 2716522.277 | 1112113.8331
59 | 2716488.1802 | 1112158.628 | 2716486.6198 | 1112163.9317
60 | 2716528.5287 | 1112175.8665 | 2716535.2333 | 1112159.3534
61 | 2716324.9633 | 1112116.6077 | 2716325.8507 | 1112137.2839
62 | 2716324.4411 | 1112070.1441 | 2716324.9271 | 1112113.6605 | 2716324.9633 | 1112116.6077
63 | 2716323.7071 | 1112012.9692 | 2716324.4411 | 1112070.1441
64 | 2716324.4411 | 1112070.1441 | 2716367.8491 | 1112068.5634
65 | 2716323.7071 | 1112012.9692 | 2716352.3135 | 1112013.8351
66 | 2716367.8491 | 1112068.5634 | 2716373.0268 | 1112068.3749
67 | 2716352.3135 | 1112013.8351 | 2716372.1623 | 1112014.4359
68 | 2716376.4222 | 1112068.2513 | 2716373.0268 | 1112068.3749
69 | 2716439.0419 | 1112048.998 | 2716438.9599 | 1112033.2463
70 | 2716439.0419 | 1112048.998 | 2716439.0832 | 1112056.9334
71 | 2716391.6845 | 1112015.0269 | 2716372.1623 | 1112014.4359

## bus_geodata
| x | y | coords
0 | 2716447.1338 | 1112238.4297
1 | 2716462.5909 | 1112237.2591
2 | 2716429.701 | 1112239.7501
3 | 2716474.9485 | 1112236.3231
4 | 2716442.6379 | 1112142.7212
5 | 2716446.097 | 1112127.6178
6 | 2716437.727 | 1112178.3469
7 | 2716467.1652 | 1112147.5868
8 | 2716475.6549 | 1112248.2534
9 | 2716472.4579 | 1112204.8549
10 | 2716471.6437 | 1112194.5691
11 | 2716503.8455 | 1112028.0045
12 | 2716513.3526 | 1112031
13 | 2716480.9734 | 1112020.9711
14 | 2716497.2266 | 1112044.5882
15 | 2716527.5297 | 1112029.6932
16 | 2716459.76 | 1111920.4958
17 | 2716477.1622 | 1112019.8416
18 | 2716493.4774 | 1112057.446
19 | 2716540.5255 | 1112029.6292
20 | 2716524.425 | 1112064.6211
21 | 2716511.6188 | 1112079.8183
22 | 2716438.8747 | 1112016.871
23 | 2716472.5228 | 1112035.9373
24 | 2716544.7776 | 1112120.5439
25 | 2716538.1174 | 1112204.3041
26 | 2716539.3954 | 1112149.1024
27 | 2716534.4076 | 1112099.5162
28 | 2716546.5006 | 1112085.2437
29 | 2716554.752 | 1112029.7134
30 | 2716417.1342 | 1112015.7973
31 | 2716438.9582 | 1112032.9152
32 | 2716484.7069 | 1112087.5246
33 | 2716486.2794 | 1112082.1317
34 | 2716480.4032 | 1112102.2843
35 | 2716489.2393 | 1112071.9806
36 | 2716479.0756 | 1112106.8371
37 | 2716456.0167 | 1112093.2029
38 | 2716449.9006 | 1112114.4217
39 | 2716486.2335 | 1112109.9434
40 | 2716476.1493 | 1112116.8491
41 | 2716499.5233 | 1112120.0722
42 | 2716471.7567 | 1112131.8777
43 | 2716400.7211 | 1111983.4108
44 | 2716416.9646 | 1111964.6929
45 | 2716417.9462 | 1111984.3502
46 | 2716414.8968 | 1111950.818
47 | 2716417.933 | 1111984.8593
48 | 2716414.2542 | 1111932.5707
49 | 2716417.4312 | 1112004.2973
50 | 2716496.4509 | 1112130.5153
51 | 2716493.1362 | 1112141.7824
52 | 2716491.5225 | 1112147.2672
53 | 2716510.4721 | 1112127.7656
54 | 2716488.1802 | 1112158.628
55 | 2716408.4345 | 1112128.5442
56 | 2716522.277 | 1112113.8331
57 | 2716486.6198 | 1112163.9317
58 | 2716535.2333 | 1112159.3534
59 | 2716325.8507 | 1112137.2839
60 | 2716324.9633 | 1112116.6077
61 | 2716324.4411 | 1112070.1441
62 | 2716323.7071 | 1112012.9692
63 | 2716367.8491 | 1112068.5634
64 | 2716352.3135 | 1112013.8351
65 | 2716373.0268 | 1112068.3749
66 | 2716439.0419 | 1112048.998
67 | 2716438.9599 | 1112033.2463
68 | 2716439.0832 | 1112056.9334
69 | 2716528.5287 | 1112175.8665
70 | 2716391.6845 | 1112015.0269
71 | 2716372.1623 | 1112014.4359
72 | 2716376.4222 | 1112068.2513
73 | 2716446.097 | 1112127.6178

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1