## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5010-3_1_4_node_30 | 0.4 | n |  | TRUE
1 | bus_LV_5010-3_1_4_node_37 | 0.4 | n |  | TRUE
2 | bus_LV_5010-3_1_4_node_29 | 0.4 | n |  | TRUE
3 | bus_LV_5010-3_1_4_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_5010-3_1_4_node_18 | 0.4 | n |  | TRUE
5 | bus_LV_5010-3_1_4_node_19 | 0.4 | n |  | TRUE
6 | bus_LV_5010-3_1_4_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_5010-3_1_4_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_5010-3_1_4_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_5010-3_1_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_5010-3_1_4_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_5010-3_1_4_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_5010-3_1_4_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_5010-3_1_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_5010-3_1_4_node_33 | 0.4 | n |  | TRUE
15 | bus_LV_5010-3_1_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_5010-3_1_4_node_35 | 0.4 | n |  | TRUE
17 | bus_LV_5010-3_1_4_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_5010-3_1_4_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5010-3_1_4_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_5010-3_1_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_5010-3_1_4_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_5010-3_1_4_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_5010-3_1_4_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_5010-3_1_4_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_5010-3_1_4_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_5010-3_1_4_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_5010-3_1_4_node_52 | 0.4 | n |  | TRUE
28 | bus_LV_5010-3_1_4_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5010-3_1_4_node_45 | 0.4 | n |  | TRUE
30 | bus_LV_5010-3_1_4_node_46 | 0.4 | n |  | TRUE
31 | bus_LV_5010-3_1_4_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_5010-3_1_4_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_5010-3_1_4_node_54 | 0.4 | n |  | TRUE
34 | bus_LV_5010-3_1_4_node_55 | 0.4 | n |  | TRUE
35 | bus_LV_5010-3_1_4_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_5010-3_1_4_node_68 | 0.4 | n |  | TRUE
37 | bus_LV_5010-3_1_4_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_5010-3_1_4_node_73 | 0.4 | n |  | TRUE
39 | bus_LV_5010-3_1_4_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_5010-3_1_4_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_5010-3_1_4_node_75 | 0.4 | n |  | TRUE
42 | bus_LV_5010-3_1_4_node_78 | 0.4 | n |  | TRUE
43 | bus_LV_5010-3_1_4_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_5010-3_1_4_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_5010-3_1_4_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_5010-3_1_4_node_79 | 0.4 | n |  | TRUE
47 | bus_LV_5010-3_1_4_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_5010-3_1_4_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_5010-3_1_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5010-3_1_4_node_62 | 0.4 | n |  | TRUE
51 | bus_LV_5010-3_1_4_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_5010-3_1_4_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_5010-3_1_4_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_5010-3_1_4_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_5010-3_1_4_node_67 | 0.4 | n |  | TRUE
56 | bus_LV_5010-3_1_4_node_71 | 0.4 | n |  | TRUE
57 | bus_LV_5010-3_1_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_5010-3_1_4_node_105 | 0.4 | n |  | TRUE
59 | bus_LV_5010-3_1_4_node_106 | 0.4 | n |  | TRUE
60 | bus_LV_5010-3_1_4_node_104 | 0.4 | n |  | TRUE
61 | bus_LV_5010-3_1_4_node_80 | 0.4 | n |  | TRUE
62 | bus_LV_5010-3_1_4_node_81 | 0.4 | n |  | TRUE
63 | bus_LV_5010-3_1_4_node_85 | 0.4 | n |  | TRUE
64 | bus_LV_5010-3_1_4_node_82 | 0.4 | n |  | TRUE
65 | bus_LV_5010-3_1_4_node_83 | 0.4 | n |  | TRUE
66 | bus_LV_5010-3_1_4_node_84 | 0.4 | n |  | TRUE
67 | bus_LV_5010-3_1_4_node_86 | 0.4 | n |  | TRUE
68 | bus_LV_5010-3_1_4_node_87 | 0.4 | n |  | TRUE
69 | bus_LV_5010-3_1_4_node_88 | 0.4 | n |  | TRUE
70 | bus_LV_5010-3_1_4_node_91 | 0.4 | n |  | TRUE
71 | bus_LV_5010-3_1_4_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_5010-3_1_4_node_92 | 0.4 | n |  | TRUE
73 | bus_LV_5010-3_1_4_node_90 | 0.4 | n |  | TRUE
74 | bus_LV_5010-3_1_4_node_95 | 0.4 | n |  | TRUE
75 | bus_LV_5010-3_1_4_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_5010-3_1_4_node_94 | 0.4 | n |  | TRUE
77 | bus_LV_5010-3_1_4_node_96 | 0.4 | n |  | TRUE
78 | bus_LV_5010-3_1_4_node_97 | 0.4 | n |  | TRUE
79 | bus_LV_5010-3_1_4_node_99 | 0.4 | n |  | TRUE
80 | bus_LV_5010-3_1_4_node_98 | 0.4 | n |  | TRUE
81 | bus_LV_5010-3_1_4_node_103 | 0.4 | n |  | TRUE
82 | bus_LV_5010-3_1_4_node_100 | 0.4 | n |  | TRUE
83 | bus_LV_5010-3_1_4_node_102 | 0.4 | n |  | TRUE
84 | bus_LV_5010-3_1_4_node_101 | 0.4 | n |  | TRUE
85 | bus_LV_5010-3_1_4_node_107 | 0.4 | n |  | TRUE
86 | bus_LV_5010-3_1_4_node_108 | 0.4 | n |  | TRUE
87 | bus_LV_5010-3_1_4_node_109 | 0.4 | n |  | TRUE
88 | bus_LV_5010-3_1_4_node_110 | 0.4 | n |  | TRUE
89 | bus_LV_5010-3_1_4_node_111 | 0.4 | n |  | TRUE
90 | bus_LV_5010-3_1_4_node_112 | 0.4 | n |  | TRUE
91 | bus_LV_5010-3_1_4_node_113 | 0.4 | n |  | TRUE
92 | bus_LV_5010-3_1_4_node_114 | 0.4 | n |  | TRUE
93 | bus_LV_5010-3_1_4_node_115 | 0.4 | n |  | TRUE
94 | bus_LV_5010-3_1_4_node_116 | 0.4 | n |  | TRUE
95 | bus_LV_5010-3_1_4_node_121 | 0.4 | n |  | TRUE
96 | bus_LV_5010-3_1_4_node_120 | 0.4 | n |  | TRUE
97 | bus_LV_5010-3_1_4_node_124 | 0.4 | n |  | TRUE
98 | bus_LV_5010-3_1_4_node_122 | 0.4 | n |  | TRUE
99 | bus_LV_5010-3_1_4_node_123 | 0.4 | n |  | TRUE
100 | bus_LV_5010-3_1_4_node_119 | 0.4 | n |  | TRUE
101 | bus_LV_5010-3_1_4_node_125 | 0.4 | n |  | TRUE
102 | bus_LV_5010-3_1_4_node_117 | 0.4 | n |  | TRUE
103 | bus_LV_5010-3_1_4_node_118 | 0.4 | n |  | TRUE
104 | bus_LV_5010-3_1_4_node_126 | 0.4 | n |  | TRUE
105 | bus_LV_5010-3_1_4_node_127 | 0.4 | n |  | TRUE
106 | bus_MV_59_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5010-3_1_4_load_30 | 0 | 0.0012205 | 0.00030588 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5010-3_1_4_load_37 | 1 | 0.0028574 | 0.00071612 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5010-3_1_4_load_29 | 2 | 0.0010759 | 0.00026965 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5010-3_1_4_load_28 | 3 | 0.00079633 | 0.00019958 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5010-3_1_4_load_18 | 4 | 0.0008916 | 0.00022346 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5010-3_1_4_load_19 | 5 | 0.0038434 | 0.00096324 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5010-3_1_4_load_21 | 7 | 0.0044359 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5010-3_1_4_load_22 | 8 | 0.0027504 | 0.00068932 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5010-3_1_4_load_31 | 9 | 0.0029273 | 0.00073366 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5010-3_1_4_load_26 | 10 | 0.00096497 | 0.00024184 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5010-3_1_4_load_32 | 11 | 0.0046449 | 0.0011641 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5010-3_1_4_load_27 | 12 | 0.00083398 | 0.00020902 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5010-3_1_4_load_33 | 14 | 0.0043278 | 0.0010847 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5010-3_1_4_load_34 | 15 | 0.0033484 | 0.00083919 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5010-3_1_4_load_35 | 16 | 0.0039456 | 0.00098886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5010-3_1_4_load_36 | 17 | 0.0020578 | 0.00051574 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5010-3_1_4_load_43 | 18 | 0.0025448 | 0.00063779 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5010-3_1_4_load_44 | 19 | 0.0030462 | 0.00076344 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5010-3_1_4_load_39 | 20 | 0.0025761 | 0.00064563 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5010-3_1_4_load_40 | 21 | 0.0034024 | 0.00085273 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5010-3_1_4_load_41 | 22 | 0.0021921 | 0.0005494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5010-3_1_4_load_49 | 23 | 0.0029394 | 0.00073668 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5010-3_1_4_load_42 | 24 | 0.0035238 | 0.00088314 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5010-3_1_4_load_50 | 26 | 0.01169 | 0.0029297 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5010-3_1_4_load_52 | 27 | 0.0077423 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5010-3_1_4_load_53 | 28 | 0.0090373 | 0.002265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5010-3_1_4_load_45 | 29 | 0.0089503 | 0.0022432 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5010-3_1_4_load_47 | 31 | 0.0084442 | 0.0021163 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5010-3_1_4_load_48 | 32 | 0.0087403 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5010-3_1_4_load_54 | 33 | 0.018351 | 0.0045992 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5010-3_1_4_load_55 | 34 | 0.0049392 | 0.0012379 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5010-3_1_4_load_61 | 35 | 0.0023958 | 0.00060045 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5010-3_1_4_load_68 | 36 | 0.0075492 | 0.001892 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5010-3_1_4_load_74 | 39 | 0.011709 | 0.0029345 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5010-3_1_4_load_70 | 40 | 0.010305 | 0.0025827 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5010-3_1_4_load_75 | 41 | 0.0076591 | 0.0019195 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5010-3_1_4_load_78 | 42 | 0.0065616 | 0.0016445 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5010-3_1_4_load_59 | 43 | 0.0047395 | 0.0011878 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5010-3_1_4_load_69 | 44 | 0.0088837 | 0.0022265 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5010-3_1_4_load_77 | 45 | 0.0031262 | 0.0007835 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5010-3_1_4_load_79 | 46 | 0.0073289 | 0.0018368 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5010-3_1_4_load_57 | 47 | 0.0032076 | 0.00080391 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5010-3_1_4_load_58 | 48 | 0.0020438 | 0.00051222 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5010-3_1_4_load_60 | 49 | 0.004908 | 0.0012301 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5010-3_1_4_load_62 | 50 | 0.0020655 | 0.00051765 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5010-3_1_4_load_63 | 51 | 0.0028932 | 0.00072512 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5010-3_1_4_load_64 | 52 | 0.0026978 | 0.00067613 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5010-3_1_4_load_65 | 53 | 0.0038009 | 0.00095261 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5010-3_1_4_load_66 | 54 | 0.0028407 | 0.00071194 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5010-3_1_4_load_71 | 56 | 0.0035504 | 0.00088982 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5010-3_1_4_load_72 | 57 | 0.0051635 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5010-3_1_4_load_106 | 59 | 0.0027038 | 0.00067763 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5010-3_1_4_load_104 | 60 | 0.0075615 | 0.0018951 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5010-3_1_4_load_80 | 61 | 0.0057642 | 0.0014446 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5010-3_1_4_load_81 | 62 | 0.0078743 | 0.0019735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5010-3_1_4_load_85 | 63 | 0.0041918 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5010-3_1_4_load_83 | 65 | 0.0042291 | 0.0010599 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5010-3_1_4_load_84 | 66 | 0.0069643 | 0.0017454 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5010-3_1_4_load_86 | 67 | 0.010175 | 0.00255 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5010-3_1_4_load_87 | 68 | 0.0060851 | 0.0015251 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5010-3_1_4_load_91 | 70 | 0.0062755 | 0.0015728 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5010-3_1_4_load_92 | 72 | 0.0031191 | 0.00078171 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5010-3_1_4_load_90 | 73 | 0.0061789 | 0.0015486 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5010-3_1_4_load_95 | 74 | 0.0057412 | 0.0014389 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5010-3_1_4_load_94 | 76 | 0.0073965 | 0.0018537 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5010-3_1_4_load_97 | 78 | 0.0022142 | 0.00055493 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5010-3_1_4_load_99 | 79 | 0.0081168 | 0.0020343 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5010-3_1_4_load_103 | 81 | 0.0044005 | 0.0011029 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5010-3_1_4_load_100 | 82 | 0.0027209 | 0.00068193 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5010-3_1_4_load_102 | 83 | 0.0067859 | 0.0017007 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5010-3_1_4_load_101 | 84 | 0.0093882 | 0.0023529 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5010-3_1_4_load_107 | 85 | 0.0043481 | 0.0010897 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5010-3_1_4_load_108 | 86 | 0.0038795 | 0.0009723 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5010-3_1_4_load_109 | 87 | 0.0037916 | 0.00095026 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5010-3_1_4_load_110 | 88 | 0.0063367 | 0.0015881 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5010-3_1_4_load_113 | 91 | 0.004341 | 0.001088 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5010-3_1_4_load_114 | 92 | 0.0053655 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5010-3_1_4_load_115 | 93 | 0.0029475 | 0.00073872 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5010-3_1_4_load_116 | 94 | 0.0036452 | 0.00091357 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5010-3_1_4_load_120 | 96 | 0.0093888 | 0.0023531 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5010-3_1_4_load_124 | 97 | 0.0025392 | 0.00063639 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5010-3_1_4_load_122 | 98 | 0.0063444 | 0.0015901 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5010-3_1_4_load_123 | 99 | 0.004631 | 0.0011606 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5010-3_1_4_load_119 | 100 | 0.0021977 | 0.00055078 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5010-3_1_4_load_125 | 101 | 0.002335 | 0.00058521 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5010-3_1_4_load_117 | 102 | 0.010134 | 0.0025397 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5010-3_1_4_load_118 | 103 | 0.00611 | 0.0015313 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5010-3_1_4_load_126 | 104 | 0.0022882 | 0.00057347 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5010-3_1_4_load_127 | 105 | 0.0038701 | 0.00096995 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5010-3_1_4_line_0 |  | 0 | 1 | 0.031738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5010-3_1_4_line_1 |  | 1 | 13 | 0.044232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5010-3_1_4_line_2 |  | 2 | 3 | 0.026033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5010-3_1_4_line_3 |  | 3 | 12 | 0.019629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5010-3_1_4_line_4 |  | 4 | 5 | 0.03767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5010-3_1_4_line_5 |  | 5 | 6 | 0.0044854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5010-3_1_4_line_6 |  | 6 | 7 | 0.015852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5010-3_1_4_line_7 |  | 6 | 8 | 0.016456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5010-3_1_4_line_8 |  | 7 | 9 | 0.00017597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5010-3_1_4_line_9 |  | 8 | 10 | 0.020604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5010-3_1_4_line_10 |  | 9 | 11 | 0.0035952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5010-3_1_4_line_11 |  | 10 | 12 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5010-3_1_4_line_12 |  | 11 | 14 | 0.020863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5010-3_1_4_line_13 |  | 13 | 20 | 0.035248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5010-3_1_4_line_14 |  | 13 | 21 | 0.069095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5010-3_1_4_line_15 |  | 14 | 15 | 0.0034029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5010-3_1_4_line_16 |  | 15 | 16 | 1.253e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5010-3_1_4_line_17 |  | 16 | 17 | 0.052036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5010-3_1_4_line_18 |  | 17 | 18 | 0.0085915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5010-3_1_4_line_19 |  | 18 | 19 | 0.01195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5010-3_1_4_line_20 |  | 19 | 29 | 0.048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5010-3_1_4_line_21 |  | 20 | 22 | 0.04674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5010-3_1_4_line_22 |  | 22 | 23 | 0.035872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5010-3_1_4_line_23 |  | 23 | 26 | 0.032725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5010-3_1_4_line_24 |  | 24 | 25 | 0.061085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5010-3_1_4_line_25 |  | 25 | 27 | 0.020396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5010-3_1_4_line_26 |  | 25 | 28 | 0.041513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5010-3_1_4_line_27 |  | 26 | 37 | 0.063602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5010-3_1_4_line_28 |  | 27 | 41 | 0.0026972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5010-3_1_4_line_29 |  | 29 | 30 | 0.014924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5010-3_1_4_line_30 |  | 30 | 31 | 0.019918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5010-3_1_4_line_31 |  | 30 | 32 | 0.040149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5010-3_1_4_line_32 |  | 31 | 33 | 0.04178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5010-3_1_4_line_33 |  | 32 | 34 | 0.034106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5010-3_1_4_line_34 |  | 33 | 35 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5010-3_1_4_line_35 |  | 34 | 36 | 0.0067907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5010-3_1_4_line_36 |  | 35 | 43 | 0.011125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5010-3_1_4_line_37 |  | 36 | 44 | 0.027775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5010-3_1_4_line_38 |  | 37 | 38 | 0.005854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5010-3_1_4_line_39 |  | 37 | 39 | 0.015754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5010-3_1_4_line_40 |  | 37 | 40 | 0.016253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5010-3_1_4_line_41 |  | 38 | 45 | 0.017003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5010-3_1_4_line_42 |  | 38 | 42 | 0.026278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5010-3_1_4_line_43 |  | 39 | 46 | 0.0036751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5010-3_1_4_line_44 |  | 40 | 44 | 0.020207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5010-3_1_4_line_45 |  | 41 | 42 | 0.035779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5010-3_1_4_line_46 |  | 43 | 47 | 0.032517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5010-3_1_4_line_47 |  | 45 | 61 | 0.017453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5010-3_1_4_line_48 |  | 46 | 62 | 0.015612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5010-3_1_4_line_49 |  | 47 | 48 | 0.023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5010-3_1_4_line_50 |  | 49 | 50 | 0.014288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5010-3_1_4_line_51 |  | 50 | 51 | 0.0071072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5010-3_1_4_line_52 |  | 51 | 52 | 0.022462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5010-3_1_4_line_53 |  | 52 | 53 | 0.044731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5010-3_1_4_line_54 |  | 53 | 54 | 0.021296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5010-3_1_4_line_55 |  | 54 | 55 | 0.022978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5010-3_1_4_line_56 |  | 55 | 56 | 0.056569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5010-3_1_4_line_57 |  | 55 | 57 | 0.044101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5010-3_1_4_line_58 |  | 57 | 58 | 0.028359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5010-3_1_4_line_59 |  | 58 | 59 | 0.011439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_5010-3_1_4_line_60 |  | 58 | 60 | 0.028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_5010-3_1_4_line_61 |  | 59 | 85 | 0.023215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_5010-3_1_4_line_62 |  | 60 | 80 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_5010-3_1_4_line_63 |  | 61 | 63 | 0.041557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5010-3_1_4_line_64 |  | 62 | 64 | 0.0087858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_5010-3_1_4_line_65 |  | 64 | 65 | 0.013892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_5010-3_1_4_line_66 |  | 64 | 66 | 0.0058314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5010-3_1_4_line_67 |  | 65 | 67 | 0.023612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_5010-3_1_4_line_68 |  | 66 | 68 | 0.022323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5010-3_1_4_line_69 |  | 67 | 69 | 0.0080096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5010-3_1_4_line_70 |  | 68 | 70 | 0.0017054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5010-3_1_4_line_71 |  | 69 | 71 | 0.008906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5010-3_1_4_line_72 |  | 70 | 72 | 0.0072416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5010-3_1_4_line_73 |  | 71 | 73 | 0.013754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5010-3_1_4_line_74 |  | 73 | 74 | 0.0013583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5010-3_1_4_line_75 |  | 74 | 75 | 0.011669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_5010-3_1_4_line_76 |  | 75 | 76 | 0.0086448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5010-3_1_4_line_77 |  | 76 | 77 | 0.0090638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_5010-3_1_4_line_78 |  | 77 | 78 | 0.0071078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5010-3_1_4_line_79 |  | 78 | 79 | 0.041159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_5010-3_1_4_line_80 |  | 79 | 82 | 0.0060812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_5010-3_1_4_line_81 |  | 80 | 81 | 0.0079519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_5010-3_1_4_line_82 |  | 81 | 83 | 0.021254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
83 | LV_5010-3_1_4_line_83 |  | 82 | 84 | 0.011425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5010-3_1_4_line_84 |  | 83 | 84 | 0.003905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5010-3_1_4_line_85 |  | 85 | 86 | 0.018831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5010-3_1_4_line_86 |  | 86 | 87 | 0.012053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5010-3_1_4_line_87 |  | 87 | 88 | 0.033464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_5010-3_1_4_line_88 |  | 88 | 89 | 0.021856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5010-3_1_4_line_89 |  | 89 | 90 | 0.005916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5010-3_1_4_line_90 |  | 89 | 91 | 0.024445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5010-3_1_4_line_91 |  | 90 | 92 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5010-3_1_4_line_92 |  | 90 | 93 | 0.040968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5010-3_1_4_line_93 |  | 91 | 94 | 0.0016166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5010-3_1_4_line_94 |  | 92 | 95 | 0.0073102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5010-3_1_4_line_95 |  | 93 | 96 | 0.070796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5010-3_1_4_line_96 |  | 94 | 97 | 0.011617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5010-3_1_4_line_97 |  | 95 | 98 | 0.024787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5010-3_1_4_line_98 |  | 95 | 99 | 0.021938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5010-3_1_4_line_99 |  | 96 | 100 | 0.02589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5010-3_1_4_line_100 |  | 97 | 101 | 0.014669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5010-3_1_4_line_101 |  | 100 | 102 | 0.0092652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5010-3_1_4_line_102 |  | 101 | 104 | 0.00066255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5010-3_1_4_line_103 |  | 102 | 103 | 0.027695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5010-3_1_4_line_104 |  | 104 | 105 | 0.0028048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5010-3_1_4_trafo_55 | 0.63 MVA 20/0.4 kV | 106 | 34 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2725100.7111 | 1120993.9279 | 2725126.268 | 1121012.7463
1 | 2725161.8861 | 1121038.973 | 2725126.268 | 1121012.7463
2 | 2725028.5875 | 1121052.6142 | 2725032.49 | 1121044.4146 | 2725043.1637 | 1121031.2448
3 | 2725028.5875 | 1121052.6142 | 2725022.9631 | 1121064.4319 | 2725022.1935 | 1121070.9273
4 | 2724985.8431 | 1121105.8798 | 2724988.9183 | 1121108.4821 | 2725011.5374 | 1121116.5992 | 2725021.1179 | 1121117.3581
5 | 2725025.5892 | 1121117.7123 | 2725021.1179 | 1121117.3581
6 | 2725025.5892 | 1121117.7123 | 2725041.4194 | 1121116.8848
7 | 2725025.5892 | 1121117.7123 | 2725022.1407 | 1121103.4867 | 2725022.0442 | 1121101.6711
8 | 2725041.5951 | 1121116.8756 | 2725041.5951 | 1121116.8756 | 2725041.4194 | 1121116.8848
9 | 2725020.9885 | 1121081.0975 | 2725020.9629 | 1121081.3136 | 2725022.0442 | 1121101.6711
10 | 2725045.1286 | 1121116.2126 | 2725041.5951 | 1121116.8756
11 | 2725020.9885 | 1121081.0975 | 2725022.1935 | 1121070.9273
12 | 2725045.1286 | 1121116.2126 | 2725065.6337 | 1121112.3655
13 | 2725161.8861 | 1121038.973 | 2725189.8691 | 1121060.4054
14 | 2725161.8861 | 1121038.973 | 2725172.818 | 1121037.2311 | 2725198.0921 | 1121042.7131 | 2725229.3207 | 1121050.4128
15 | 2725065.6337 | 1121112.3655 | 2725068.9782 | 1121111.738
16 | 2725068.9905 | 1121111.7357 | 2725068.9782 | 1121111.738
17 | 2725120.688 | 1121108.979 | 2725092.2158 | 1121107.8927 | 2725075.4397 | 1121110.5257 | 2725068.9905 | 1121111.7357
18 | 2725129.2733 | 1121109.3065 | 2725120.688 | 1121108.979
19 | 2725129.2733 | 1121109.3065 | 2725130.39 | 1121109.3491 | 2725140.6846 | 1121112.7196
20 | 2725140.6846 | 1121112.7196 | 2725154.3879 | 1121117.2062 | 2725177.5148 | 1121129.8598 | 2725183.1466 | 1121134.3751
21 | 2725189.8691 | 1121060.4054 | 2725207.2886 | 1121073.7472 | 2725227.2734 | 1121088.4287
22 | 2725227.2734 | 1121088.4287 | 2725256.1826 | 1121109.6666
23 | 2725256.1826 | 1121109.6666 | 2725282.5555 | 1121129.0411
24 | 2725362.0581 | 1121081.2659 | 2725302.6242 | 1121067.1612
25 | 2725362.0581 | 1121081.2659 | 2725355.6573 | 1121100.6311
26 | 2725362.0581 | 1121081.2659 | 2725392.9773 | 1121088.3889 | 2725402.4061 | 1121091
27 | 2725333.1626 | 1121167.5504 | 2725308.0995 | 1121147.8067 | 2725282.5555 | 1121129.0411
28 | 2725354.8109 | 1121103.192 | 2725355.6573 | 1121100.6311
29 | 2725192.0246 | 1121145.7598 | 2725189.5155 | 1121139.4813 | 2725183.1466 | 1121134.3751
30 | 2725192.0246 | 1121145.7598 | 2725176.5032 | 1121149.6638 | 2725172.6101 | 1121150.0564
31 | 2725192.0246 | 1121145.7598 | 2725207.7792 | 1121148.4874 | 2725230.7615 | 1121155.9388
32 | 2725172.6101 | 1121150.0564 | 2725157.8368 | 1121151.5459 | 2725144.085 | 1121156.076 | 2725133.7003 | 1121162.9488
33 | 2725230.7615 | 1121155.9388 | 2725263.2048 | 1121166.4575
34 | 2725133.7003 | 1121162.9488 | 2725114.3093 | 1121175.7823
35 | 2725263.2048 | 1121166.4575 | 2725263.2048 | 1121166.4575 | 2725269.9861 | 1121166.101
36 | 2725114.3093 | 1121175.7823 | 2725105.5073 | 1121181.6078 | 2725105.0041 | 1121181.8758
37 | 2725297.6513 | 1121165.5437 | 2725293.5499 | 1121164.7731 | 2725280.8738 | 1121165.4224 | 2725273.8265 | 1121165.8991 | 2725269.9861 | 1121166.101
38 | 2725335.3355 | 1121162.1138 | 2725333.1626 | 1121167.5504
39 | 2725333.1626 | 1121167.5504 | 2725345.9017 | 1121176.8191
40 | 2725333.1626 | 1121167.5504 | 2725324.2114 | 1121170.5339 | 2725317.511 | 1121169.275
41 | 2725335.3355 | 1121162.1138 | 2725352.1897 | 1121159.8719
42 | 2725335.3355 | 1121162.1138 | 2725343.5822 | 1121137.1638
43 | 2725345.9017 | 1121176.8191 | 2725348.8735 | 1121178.9813
44 | 2725297.6513 | 1121165.5437 | 2725317.511 | 1121169.275
45 | 2725343.5822 | 1121137.1638 | 2725354.8109 | 1121103.192
46 | 2725075.4318 | 1121191.5378 | 2725075.4318 | 1121191.5378 | 2725079.9396 | 1121187.3613 | 2725088.5615 | 1121184.9934 | 2725097.7908 | 1121185.7179 | 2725105.0041 | 1121181.8758
47 | 2725369.49 | 1121157.5706 | 2725352.1897 | 1121159.8719
48 | 2725348.8735 | 1121178.9813 | 2725361.4979 | 1121188.1665
49 | 2725075.4318 | 1121191.5378 | 2725077.5967 | 1121196.9308 | 2725082.8298 | 1121198.729 | 2725094.0672 | 1121199.3616 | 2725094.5078 | 1121199.3356
50 | 2725167.5438 | 1121221.8681 | 2725155.2554 | 1121214.5775
51 | 2725167.5438 | 1121221.8681 | 2725173.6563 | 1121225.4945
52 | 2725173.6563 | 1121225.4945 | 2725192.9746 | 1121236.9557
53 | 2725192.9746 | 1121236.9557 | 2725198.5648 | 1121240.2723 | 2725215.1473 | 1121248.0985 | 2725232.0626 | 1121258.5701
54 | 2725232.0626 | 1121258.5701 | 2725234.4912 | 1121260.0736 | 2725251.8228 | 1121266.3698
55 | 2725274.7353 | 1121268.1006 | 2725251.8228 | 1121266.3698
56 | 2725274.7353 | 1121268.1006 | 2725269.6213 | 1121308.6343 | 2725262.9475 | 1121315.6789 | 2725257.5005 | 1121318.2569
57 | 2725274.7353 | 1121268.1006 | 2725281.4308 | 1121268.5839 | 2725294.9562 | 1121269.7646 | 2725314.413 | 1121274.415 | 2725317.874 | 1121275.9999
58 | 2725343.6581 | 1121287.8075 | 2725317.874 | 1121275.9999
59 | 2725343.6581 | 1121287.8075 | 2725340.5262 | 1121298.809
60 | 2725343.6581 | 1121287.8075 | 2725353.2946 | 1121292.3324 | 2725363.8169 | 1121295.4413 | 2725370.4339 | 1121298.0899
61 | 2725334.1701 | 1121321.1365 | 2725340.5262 | 1121298.809
62 | 2725385.612 | 1121304.1654 | 2725370.4339 | 1121298.0899
63 | 2725369.49 | 1121157.5706 | 2725410.6837 | 1121152.091
64 | 2725368.6023 | 1121193.3355 | 2725361.4979 | 1121188.1665
65 | 2725368.6023 | 1121193.3355 | 2725379.3353 | 1121202.1551
66 | 2725368.6023 | 1121193.3355 | 2725369.7371 | 1121199.0554
67 | 2725379.3353 | 1121202.1551 | 2725397.5784 | 1121217.146
68 | 2725369.7371 | 1121199.0554 | 2725374.081 | 1121220.952
69 | 2725403.9041 | 1121222.0422 | 2725402.2363 | 1121220.9736 | 2725397.5784 | 1121217.146
70 | 2725374.081 | 1121220.952 | 2725374.4129 | 1121222.6247
71 | 2725411.4045 | 1121226.8787 | 2725403.9041 | 1121222.0422
72 | 2725377.7426 | 1121228.9008 | 2725377.7046 | 1121228.86 | 2725374.8484 | 1121224.8202 | 2725374.4129 | 1121222.6247
73 | 2725411.4045 | 1121226.8787 | 2725401.2632 | 1121236.17
74 | 2725400.2616 | 1121237.0876 | 2725401.2632 | 1121236.17
75 | 2725394.4085 | 1121246.8296 | 2725396.9158 | 1121240.1546 | 2725397.899 | 1121239.2521 | 2725400.2616 | 1121237.0876
76 | 2725394.4085 | 1121246.8296 | 2725393.297 | 1121253.1777 | 2725392.913 | 1121255.344
77 | 2725393.8144 | 1121264.3296 | 2725392.7727 | 1121256.1356 | 2725392.913 | 1121255.344
78 | 2725393.8144 | 1121264.3296 | 2725387.297 | 1121266.0513 | 2725386.9321 | 1121266.0892
79 | 2725352.0907 | 1121268.7857 | 2725355.1447 | 1121260.7597 | 2725358.1864 | 1121260.6893 | 2725366.6308 | 1121261.6759 | 2725376.8117 | 1121264.8778 | 2725382.9201 | 1121266.5055 | 2725386.9321 | 1121266.0892
80 | 2725352.0907 | 1121268.7857 | 2725351.6438 | 1121269.9603 | 2725355.7952 | 1121272.4182
81 | 2725385.612 | 1121304.1654 | 2725381.698 | 1121297.2435
82 | 2725368.3066 | 1121281.196 | 2725376.4193 | 1121287.9081 | 2725381.698 | 1121297.2435
83 | 2725365.2978 | 1121278.7066 | 2725362.4834 | 1121276.3781 | 2725355.7952 | 1121272.4182
84 | 2725365.2978 | 1121278.7066 | 2725368.3066 | 1121281.196
85 | 2725334.1701 | 1121321.1365 | 2725332.9812 | 1121325.3127 | 2725326.3513 | 1121338.1954
86 | 2725320.8359 | 1121348.9127 | 2725326.3513 | 1121338.1954
87 | 2725298.819 | 1121371.6726 | 2725300.0173 | 1121371.1515 | 2725308.0786 | 1121369.0168 | 2725319.9647 | 1121350.6055 | 2725320.8359 | 1121348.9127
88 | 2725283.3312 | 1121386.6059 | 2725290.0829 | 1121378.4065 | 2725294.9406 | 1121373.3591 | 2725298.819 | 1121371.6726
89 | 2725283.3312 | 1121386.6059 | 2725277.4026 | 1121386.3609
90 | 2725283.3312 | 1121386.6059 | 2725305.8585 | 1121388.2844 | 2725307.7142 | 1121388.283
91 | 2725277.4026 | 1121386.3609 | 2725274.4704 | 1121390.8366 | 2725269.1646 | 1121397.7762 | 2725262.1926 | 1121406.1823 | 2725259.2001 | 1121408.9965
92 | 2725277.4026 | 1121386.3609 | 2725264.1422 | 1121385.8083 | 2725246.8713 | 1121383.3048 | 2725237.4157 | 1121379.3621
93 | 2725309.3308 | 1121388.2818 | 2725307.7142 | 1121388.283
94 | 2725253.8748 | 1121414.0046 | 2725259.2001 | 1121408.9965
95 | 2725190.2572 | 1121326.889 | 2725190.5665 | 1121327.3679 | 2725200.3917 | 1121341.0473 | 2725210.2408 | 1121351.7029 | 2725219.6723 | 1121363.1504 | 2725228.4418 | 1121371.5376 | 2725237.4157 | 1121379.3621 | 2725237.4157 | 1121379.3621
96 | 2725309.3308 | 1121388.2818 | 2725320.9479 | 1121388.2733
97 | 2725253.8748 | 1121414.0046 | 2725241.7606 | 1121421.0811 | 2725231.8589 | 1121425.2853
98 | 2725253.8748 | 1121414.0046 | 2725250.7858 | 1121435.7238
99 | 2725190.2572 | 1121326.889 | 2725184.8393 | 1121318.4988 | 2725176.9461 | 1121311.0193 | 2725172.1474 | 1121309.5177
100 | 2725335.5413 | 1121389.4306 | 2725326.5999 | 1121388.2692 | 2725320.9479 | 1121388.2733
101 | 2725163.305 | 1121306.7506 | 2725172.1474 | 1121309.5177
102 | 2725336.1984 | 1121389.5159 | 2725335.5413 | 1121389.4306
103 | 2725163.305 | 1121306.7506 | 2725161.6512 | 1121306.2331 | 2725139.9528 | 1121299.9024 | 2725136.6001 | 1121299.7001
104 | 2725336.1984 | 1121389.5159 | 2725338.9798 | 1121389.8772

## bus_geodata
| x | y | coords
0 | 2725100.7111 | 1120993.9279
1 | 2725126.268 | 1121012.7463
2 | 2725043.1637 | 1121031.2448
3 | 2725028.5875 | 1121052.6142
4 | 2724985.8431 | 1121105.8798
5 | 2725021.1179 | 1121117.3581
6 | 2725025.5892 | 1121117.7123
7 | 2725041.4194 | 1121116.8848
8 | 2725022.0442 | 1121101.6711
9 | 2725041.5951 | 1121116.8756
10 | 2725020.9885 | 1121081.0975
11 | 2725045.1286 | 1121116.2126
12 | 2725022.1935 | 1121070.9273
13 | 2725161.8861 | 1121038.973
14 | 2725065.6337 | 1121112.3655
15 | 2725068.9782 | 1121111.738
16 | 2725068.9905 | 1121111.7357
17 | 2725120.688 | 1121108.979
18 | 2725129.2733 | 1121109.3065
19 | 2725140.6846 | 1121112.7196
20 | 2725189.8691 | 1121060.4054
21 | 2725229.3207 | 1121050.4128
22 | 2725227.2734 | 1121088.4287
23 | 2725256.1826 | 1121109.6666
24 | 2725302.6242 | 1121067.1612
25 | 2725362.0581 | 1121081.2659
26 | 2725282.5555 | 1121129.0411
27 | 2725355.6573 | 1121100.6311
28 | 2725402.4061 | 1121091
29 | 2725183.1466 | 1121134.3751
30 | 2725192.0246 | 1121145.7598
31 | 2725172.6101 | 1121150.0564
32 | 2725230.7615 | 1121155.9388
33 | 2725133.7003 | 1121162.9488
34 | 2725263.2048 | 1121166.4575
35 | 2725114.3093 | 1121175.7823
36 | 2725269.9861 | 1121166.101
37 | 2725333.1626 | 1121167.5504
38 | 2725335.3355 | 1121162.1138
39 | 2725345.9017 | 1121176.8191
40 | 2725317.511 | 1121169.275
41 | 2725354.8109 | 1121103.192
42 | 2725343.5822 | 1121137.1638
43 | 2725105.0041 | 1121181.8758
44 | 2725297.6513 | 1121165.5437
45 | 2725352.1897 | 1121159.8719
46 | 2725348.8735 | 1121178.9813
47 | 2725075.4318 | 1121191.5378
48 | 2725094.5078 | 1121199.3356
49 | 2725155.2554 | 1121214.5775
50 | 2725167.5438 | 1121221.8681
51 | 2725173.6563 | 1121225.4945
52 | 2725192.9746 | 1121236.9557
53 | 2725232.0626 | 1121258.5701
54 | 2725251.8228 | 1121266.3698
55 | 2725274.7353 | 1121268.1006
56 | 2725257.5005 | 1121318.2569
57 | 2725317.874 | 1121275.9999
58 | 2725343.6581 | 1121287.8075
59 | 2725340.5262 | 1121298.809
60 | 2725370.4339 | 1121298.0899
61 | 2725369.49 | 1121157.5706
62 | 2725361.4979 | 1121188.1665
63 | 2725410.6837 | 1121152.091
64 | 2725368.6023 | 1121193.3355
65 | 2725379.3353 | 1121202.1551
66 | 2725369.7371 | 1121199.0554
67 | 2725397.5784 | 1121217.146
68 | 2725374.081 | 1121220.952
69 | 2725403.9041 | 1121222.0422
70 | 2725374.4129 | 1121222.6247
71 | 2725411.4045 | 1121226.8787
72 | 2725377.7426 | 1121228.9008
73 | 2725401.2631 | 1121236.17
74 | 2725400.2616 | 1121237.0876
75 | 2725394.4085 | 1121246.8296
76 | 2725392.913 | 1121255.344
77 | 2725393.8144 | 1121264.3296
78 | 2725386.9321 | 1121266.0892
79 | 2725352.0907 | 1121268.7857
80 | 2725385.612 | 1121304.1654
81 | 2725381.698 | 1121297.2435
82 | 2725355.7952 | 1121272.4182
83 | 2725368.3066 | 1121281.196
84 | 2725365.2978 | 1121278.7066
85 | 2725334.1701 | 1121321.1365
86 | 2725326.3513 | 1121338.1954
87 | 2725320.8359 | 1121348.9127
88 | 2725298.819 | 1121371.6726
89 | 2725283.3312 | 1121386.6059
90 | 2725277.4026 | 1121386.3609
91 | 2725307.7142 | 1121388.283
92 | 2725259.2001 | 1121408.9965
93 | 2725237.4157 | 1121379.3621
94 | 2725309.3308 | 1121388.2818
95 | 2725253.8748 | 1121414.0046
96 | 2725190.2572 | 1121326.889
97 | 2725320.9479 | 1121388.2733
98 | 2725231.859 | 1121425.2853
99 | 2725250.7858 | 1121435.7238
100 | 2725172.1474 | 1121309.5177
101 | 2725335.5413 | 1121389.4306
102 | 2725163.305 | 1121306.7506
103 | 2725136.6001 | 1121299.7001
104 | 2725336.1984 | 1121389.5159
105 | 2725338.9798 | 1121389.8772
106 | 2725333.1626 | 1121167.5504

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1