## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5108-12_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5108-12_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5108-12_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5108-12_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5108-12_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5108-12_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5108-12_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5108-12_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5108-12_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5108-12_0_6_node_89 | 0.4 | n |  | TRUE
10 | bus_LV_5108-12_0_6_node_13 | 0.4 | n |  | TRUE
11 | bus_LV_5108-12_0_6_node_74 | 0.4 | n |  | TRUE
12 | bus_LV_5108-12_0_6_node_81 | 0.4 | n |  | TRUE
13 | bus_LV_5108-12_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5108-12_0_6_node_87 | 0.4 | n |  | TRUE
15 | bus_LV_5108-12_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5108-12_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5108-12_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_5108-12_0_6_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_5108-12_0_6_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5108-12_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5108-12_0_6_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5108-12_0_6_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_5108-12_0_6_node_20 | 0.4 | n |  | TRUE
24 | bus_LV_5108-12_0_6_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5108-12_0_6_node_73 | 0.4 | n |  | TRUE
26 | bus_LV_5108-12_0_6_node_79 | 0.4 | n |  | TRUE
27 | bus_LV_5108-12_0_6_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5108-12_0_6_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5108-12_0_6_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_5108-12_0_6_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_5108-12_0_6_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_5108-12_0_6_node_86 | 0.4 | n |  | TRUE
33 | bus_LV_5108-12_0_6_node_85 | 0.4 | n |  | TRUE
34 | bus_LV_5108-12_0_6_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5108-12_0_6_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_5108-12_0_6_node_65 | 0.4 | n |  | TRUE
37 | bus_LV_5108-12_0_6_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_5108-12_0_6_node_68 | 0.4 | n |  | TRUE
39 | bus_LV_5108-12_0_6_node_84 | 0.4 | n |  | TRUE
40 | bus_LV_5108-12_0_6_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5108-12_0_6_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_5108-12_0_6_node_63 | 0.4 | n |  | TRUE
43 | bus_LV_5108-12_0_6_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_5108-12_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_5108-12_0_6_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_5108-12_0_6_node_83 | 0.4 | n |  | TRUE
47 | bus_LV_5108-12_0_6_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5108-12_0_6_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_5108-12_0_6_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_5108-12_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_5108-12_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_5108-12_0_6_node_35 | 0.4 | n |  | TRUE
53 | bus_LV_5108-12_0_6_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_5108-12_0_6_node_36 | 0.4 | n |  | TRUE
55 | bus_LV_5108-12_0_6_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_5108-12_0_6_node_67 | 0.4 | n |  | TRUE
57 | bus_LV_5108-12_0_6_node_37 | 0.4 | n |  | TRUE
58 | bus_LV_5108-12_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_5108-12_0_6_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_5108-12_0_6_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_5108-12_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5108-12_0_6_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5108-12_0_6_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_5108-12_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_5108-12_0_6_node_40 | 0.4 | n |  | TRUE
66 | bus_LV_5108-12_0_6_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_5108-12_0_6_node_42 | 0.4 | n |  | TRUE
68 | bus_LV_5108-12_0_6_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_5108-12_0_6_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_5108-12_0_6_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_5108-12_0_6_node_80 | 0.4 | n |  | TRUE
72 | bus_LV_5108-12_0_6_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_5108-12_0_6_node_78 | 0.4 | n |  | TRUE
74 | bus_LV_5108-12_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_5108-12_0_6_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_5108-12_0_6_node_53 | 0.4 | n |  | TRUE
77 | bus_LV_5108-12_0_6_node_55 | 0.4 | n |  | TRUE
78 | bus_LV_5108-12_0_6_node_52 | 0.4 | n |  | TRUE
79 | bus_LV_5108-12_0_6_node_56 | 0.4 | n |  | TRUE
80 | bus_LV_5108-12_0_6_node_57 | 0.4 | n |  | TRUE
81 | bus_LV_5108-12_0_6_node_58 | 0.4 | n |  | TRUE
82 | bus_LV_5108-12_0_6_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5108-12_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_5108-12_0_6_node_94 | 0.4 | n |  | TRUE
85 | bus_LV_5108-12_0_6_node_93 | 0.4 | n |  | TRUE
86 | bus_LV_5108-12_0_6_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5108-12_0_6_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5108-12_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_5108-12_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_5108-12_0_6_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_5108-12_0_6_node_92 | 0.4 | n |  | TRUE
92 | bus_LV_5108-12_0_6_node_95 | 0.4 | n |  | TRUE
93 | bus_MV_64_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5108-12_0_6_load_0 | 0 | 0.0033073 | 0.00082889 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5108-12_0_6_load_1 | 1 | 0.0030867 | 0.0007736 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5108-12_0_6_load_4 | 4 | 0.013016 | 0.0032621 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5108-12_0_6_load_5 | 5 | 0.0052225 | 0.0013089 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5108-12_0_6_load_6 | 6 | 0.0033476 | 0.00083899 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5108-12_0_6_load_7 | 7 | 0.013821 | 0.003464 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5108-12_0_6_load_8 | 8 | 0.0029586 | 0.00074149 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5108-12_0_6_load_74 | 11 | 0.025953 | 0.0065045 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5108-12_0_6_load_81 | 12 | 0.030345 | 0.0076051 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5108-12_0_6_load_87 | 14 | 0.0028585 | 0.0007164 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5108-12_0_6_load_11 | 15 | 0.0018613 | 0.00046648 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5108-12_0_6_load_14 | 16 | 0.0031553 | 0.0007908 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5108-12_0_6_load_12 | 17 | 0.009726 | 0.0024376 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5108-12_0_6_load_18 | 18 | 0.0025608 | 0.00064179 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5108-12_0_6_load_16 | 20 | 0.0045816 | 0.0011483 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5108-12_0_6_load_19 | 21 | 0.0040749 | 0.0010213 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5108-12_0_6_load_17 | 22 | 0.0044909 | 0.0011255 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5108-12_0_6_load_20 | 23 | 0.0032609 | 0.00081727 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5108-12_0_6_load_21 | 24 | 0.0033706 | 0.00084475 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5108-12_0_6_load_79 | 26 | 0.0065648 | 0.0016453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5108-12_0_6_load_24 | 27 | 0.0035019 | 0.00087766 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5108-12_0_6_load_22 | 28 | 0.0013791 | 0.00034563 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5108-12_0_6_load_26 | 29 | 0.0025744 | 0.00064521 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5108-12_0_6_load_23 | 30 | 0.0029388 | 0.00073653 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5108-12_0_6_load_25 | 31 | 0.0030023 | 0.00075246 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5108-12_0_6_load_86 | 32 | 0.0047502 | 0.0011905 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5108-12_0_6_load_85 | 33 | 0.0021995 | 0.00055124 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5108-12_0_6_load_27 | 34 | 0.0016421 | 0.00041155 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5108-12_0_6_load_28 | 35 | 0.0011078 | 0.00027764 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5108-12_0_6_load_65 | 36 | 0.0022405 | 0.00056152 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5108-12_0_6_load_29 | 37 | 0.0012219 | 0.00030623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5108-12_0_6_load_68 | 38 | 0.0031301 | 0.00078447 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5108-12_0_6_load_84 | 39 | 0.0015721 | 0.000394 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5108-12_0_6_load_30 | 40 | 0.0021392 | 0.00053613 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5108-12_0_6_load_64 | 41 | 0.0044991 | 0.0011276 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5108-12_0_6_load_63 | 42 | 0.0036597 | 0.0009172 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5108-12_0_6_load_66 | 43 | 0.0024275 | 0.00060838 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5108-12_0_6_load_31 | 44 | 0.0032471 | 0.00081379 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5108-12_0_6_load_62 | 45 | 0.0026944 | 0.00067528 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5108-12_0_6_load_83 | 46 | 0.0052043 | 0.0013043 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5108-12_0_6_load_32 | 47 | 0.0014416 | 0.00036129 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5108-12_0_6_load_33 | 48 | 0.0010614 | 0.00026602 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5108-12_0_6_load_82 | 49 | 0.0018081 | 0.00045316 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5108-12_0_6_load_34 | 50 | 0.0021688 | 0.00054355 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5108-12_0_6_load_46 | 51 | 0.0062502 | 0.0015665 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5108-12_0_6_load_35 | 52 | 0.0029227 | 0.00073249 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5108-12_0_6_load_43 | 53 | 0.0020175 | 0.00050563 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5108-12_0_6_load_36 | 54 | 0.0043592 | 0.0010925 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5108-12_0_6_load_61 | 55 | 0.0052164 | 0.0013074 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5108-12_0_6_load_67 | 56 | 0.0046431 | 0.0011637 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5108-12_0_6_load_37 | 57 | 0.0038175 | 0.00095674 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5108-12_0_6_load_47 | 58 | 0.0034822 | 0.00087272 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5108-12_0_6_load_60 | 59 | 0.0049606 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5108-12_0_6_load_69 | 60 | 0.0058767 | 0.0014728 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5108-12_0_6_load_48 | 61 | 0.0059633 | 0.0014945 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5108-12_0_6_load_59 | 62 | 0.0084236 | 0.0021111 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5108-12_0_6_load_38 | 63 | 0.0032318 | 0.00080996 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5108-12_0_6_load_39 | 64 | 0.0031279 | 0.00078393 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5108-12_0_6_load_41 | 66 | 0.0069553 | 0.0017432 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5108-12_0_6_load_42 | 67 | 0.0036807 | 0.00092247 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5108-12_0_6_load_44 | 68 | 0.0047928 | 0.0012012 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5108-12_0_6_load_45 | 69 | 0.0027703 | 0.00069431 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5108-12_0_6_load_50 | 70 | 0.0027112 | 0.00067949 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5108-12_0_6_load_80 | 71 | 0.002747 | 0.00068848 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5108-12_0_6_load_51 | 72 | 0.0038097 | 0.00095481 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5108-12_0_6_load_78 | 73 | 0.0034675 | 0.00086905 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5108-12_0_6_load_70 | 74 | 0.0054511 | 0.0013662 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5108-12_0_6_load_49 | 75 | 0.0059178 | 0.0014831 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5108-12_0_6_load_53 | 76 | 0.0038824 | 0.00097302 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5108-12_0_6_load_55 | 77 | 0.0058774 | 0.001473 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5108-12_0_6_load_52 | 78 | 0.0037508 | 0.00094004 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5108-12_0_6_load_56 | 79 | 0.0023447 | 0.00058763 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5108-12_0_6_load_71 | 82 | 0.011054 | 0.0027704 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5108-12_0_6_load_75 | 83 | 0.07843 | 0.019656 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5108-12_0_6_load_93 | 85 | 0.090406 | 0.022658 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5108-12_0_6_load_76 | 86 | 0.0025642 | 0.00064265 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5108-12_0_6_load_77 | 87 | 0.005862 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5108-12_0_6_load_91 | 90 | 0.0025636 | 0.0006425 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5108-12_0_6_load_92 | 91 | 0.0082467 | 0.0020668 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5108-12_0_6_load_95 | 92 | 0.0016669 | 0.00041776 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5108-12_0_6_line_0 |  | 0 | 1 | 0.029187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5108-12_0_6_line_1 |  | 0 | 2 | 0.060657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5108-12_0_6_line_2 |  | 1 | 3 | 0.047874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5108-12_0_6_line_3 |  | 2 | 4 | 0.087618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5108-12_0_6_line_4 |  | 3 | 5 | 0.025486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5108-12_0_6_line_5 |  | 3 | 6 | 0.025773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5108-12_0_6_line_6 |  | 4 | 7 | 0.0078105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5108-12_0_6_line_7 |  | 6 | 8 | 0.035932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5108-12_0_6_line_8 |  | 7 | 9 | 0.039486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5108-12_0_6_line_9 |  | 8 | 13 | 0.048661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5108-12_0_6_line_10 |  | 9 | 14 | 0.0028886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5108-12_0_6_line_11 |  | 10 | 11 | 0.022232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5108-12_0_6_line_12 |  | 10 | 12 | 0.023157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5108-12_0_6_line_13 |  | 11 | 25 | 0.023179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5108-12_0_6_line_14 |  | 12 | 26 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5108-12_0_6_line_15 |  | 13 | 15 | 0.0077557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5108-12_0_6_line_16 |  | 14 | 88 | 0.035052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5108-12_0_6_line_17 |  | 15 | 16 | 0.044282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5108-12_0_6_line_18 |  | 16 | 19 | 0.019309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_5108-12_0_6_line_19 |  | 17 | 18 | 0.0078793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5108-12_0_6_line_20 |  | 18 | 21 | 0.020398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5108-12_0_6_line_21 |  | 19 | 20 | 0.0016023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_5108-12_0_6_line_22 |  | 20 | 22 | 0.021379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_5108-12_0_6_line_23 |  | 21 | 27 | 0.00034466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5108-12_0_6_line_24 |  | 22 | 23 | 0.0013744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5108-12_0_6_line_25 |  | 23 | 24 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5108-12_0_6_line_26 |  | 24 | 28 | 0.01204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5108-12_0_6_line_27 |  | 25 | 83 | 0.035881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5108-12_0_6_line_28 |  | 26 | 87 | 0.0073299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5108-12_0_6_line_29 |  | 27 | 29 | 0.01212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5108-12_0_6_line_30 |  | 28 | 30 | 0.0070009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5108-12_0_6_line_31 |  | 29 | 34 | 0.0055002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5108-12_0_6_line_32 |  | 30 | 31 | 0.0038607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5108-12_0_6_line_33 |  | 31 | 35 | 0.013786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5108-12_0_6_line_34 |  | 31 | 36 | 0.059251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5108-12_0_6_line_35 |  | 32 | 33 | 0.019359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5108-12_0_6_line_36 |  | 32 | 34 | 0.010968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5108-12_0_6_line_37 |  | 33 | 39 | 0.0011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5108-12_0_6_line_38 |  | 35 | 37 | 0.013853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5108-12_0_6_line_39 |  | 36 | 38 | 0.033133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5108-12_0_6_line_40 |  | 37 | 40 | 0.0018472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5108-12_0_6_line_41 |  | 38 | 43 | 0.040159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5108-12_0_6_line_42 |  | 39 | 46 | 0.01129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5108-12_0_6_line_43 |  | 40 | 44 | 0.0088804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5108-12_0_6_line_44 |  | 41 | 42 | 0.0078388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5108-12_0_6_line_45 |  | 42 | 45 | 0.03552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5108-12_0_6_line_46 |  | 43 | 56 | 0.024316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5108-12_0_6_line_47 |  | 44 | 47 | 0.0014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_5108-12_0_6_line_48 |  | 45 | 55 | 0.022023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5108-12_0_6_line_49 |  | 46 | 49 | 0.0029314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5108-12_0_6_line_50 |  | 47 | 48 | 0.012069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5108-12_0_6_line_51 |  | 48 | 50 | 0.0080268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5108-12_0_6_line_52 |  | 48 | 51 | 0.040508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5108-12_0_6_line_53 |  | 49 | 51 | 0.0039517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5108-12_0_6_line_54 |  | 50 | 52 | 6.1306e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5108-12_0_6_line_55 |  | 51 | 53 | 0.0037998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_5108-12_0_6_line_56 |  | 52 | 54 | 0.021883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5108-12_0_6_line_57 |  | 53 | 65 | 0.0043893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
58 | LV_5108-12_0_6_line_58 |  | 54 | 57 | 0.0097469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5108-12_0_6_line_59 |  | 55 | 59 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5108-12_0_6_line_60 |  | 56 | 60 | 0.036542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5108-12_0_6_line_61 |  | 57 | 58 | 0.016718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5108-12_0_6_line_62 |  | 58 | 61 | 0.03296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5108-12_0_6_line_63 |  | 58 | 62 | 0.021831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5108-12_0_6_line_64 |  | 59 | 62 | 0.010277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5108-12_0_6_line_65 |  | 60 | 74 | 0.015222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5108-12_0_6_line_66 |  | 61 | 75 | 0.0099674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5108-12_0_6_line_67 |  | 63 | 64 | 0.0046607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5108-12_0_6_line_68 |  | 63 | 65 | 0.013914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5108-12_0_6_line_69 |  | 64 | 66 | 0.0046747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5108-12_0_6_line_70 |  | 65 | 67 | 0.010184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5108-12_0_6_line_71 |  | 66 | 68 | 0.0076595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5108-12_0_6_line_72 |  | 67 | 69 | 0.020573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5108-12_0_6_line_73 |  | 68 | 70 | 0.00092949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5108-12_0_6_line_74 |  | 69 | 71 | 0.0022136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5108-12_0_6_line_75 |  | 70 | 72 | 0.0077083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5108-12_0_6_line_76 |  | 71 | 73 | 0.016949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5108-12_0_6_line_77 |  | 72 | 78 | 0.0029839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5108-12_0_6_line_78 |  | 73 | 86 | 0.007588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5108-12_0_6_line_79 |  | 76 | 77 | 0.004738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5108-12_0_6_line_80 |  | 76 | 78 | 0.0069571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5108-12_0_6_line_81 |  | 77 | 79 | 0.011229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5108-12_0_6_line_82 |  | 79 | 80 | 0.020071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5108-12_0_6_line_83 |  | 80 | 81 | 0.03727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5108-12_0_6_line_84 |  | 81 | 82 | 0.0081528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5108-12_0_6_line_85 |  | 83 | 84 | 0.053054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5108-12_0_6_line_86 |  | 84 | 85 | 0.0062435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5108-12_0_6_line_87 |  | 86 | 87 | 0.0037656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_5108-12_0_6_line_88 |  | 88 | 89 | 0.037639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5108-12_0_6_line_89 |  | 89 | 90 | 0.040455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5108-12_0_6_line_90 |  | 89 | 91 | 0.03667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5108-12_0_6_line_91 |  | 91 | 92 | 0.027423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5108-12_0_6_trafo_81 | 0.63 MVA 20/0.4 kV | 93 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2710453.4043 | 1115390.6875 | 2710424.2783 | 1115392.5692
1 | 2710513.9354 | 1115386.7767 | 2710453.4043 | 1115390.6875
2 | 2710376.5037 | 1115395.6559 | 2710424.2783 | 1115392.5692
3 | 2710513.9354 | 1115386.7767 | 2710482.3213 | 1115331.086 | 2710471.5899 | 1115310.0893
4 | 2710376.5037 | 1115395.6559 | 2710354.5001 | 1115388.4838 | 2710352.3023 | 1115387.6711
5 | 2710376.5037 | 1115395.6559 | 2710392.5877 | 1115410.2361 | 2710395.6751 | 1115412.8782
6 | 2710468.0354 | 1115303.1345 | 2710471.5899 | 1115310.0893
7 | 2710422.9755 | 1115436.2405 | 2710395.6751 | 1115412.8782
8 | 2710450.1631 | 1115267.9252 | 2710461.6429 | 1115290.627 | 2710468.0354 | 1115303.1345
9 | 2710459.9471 | 1115467.879 | 2710422.9755 | 1115436.2405
10 | 2710450.1631 | 1115267.9252 | 2710448.8594 | 1115265.3475
11 | 2710304.3983 | 1115369.9485 | 2710283.545 | 1115362.2405
12 | 2710304.3983 | 1115369.9485 | 2710304.4029 | 1115382.8459 | 2710303.8621 | 1115393.0911
13 | 2710268.733 | 1115344.9276 | 2710280.9544 | 1115361.2829 | 2710283.545 | 1115362.2405
14 | 2710303.8621 | 1115393.0911 | 2710303.167 | 1115406.2619
15 | 2710459.9471 | 1115467.879 | 2710452.7206 | 1115465.0632
16 | 2710433.0402 | 1115234.0687 | 2710448.8594 | 1115265.3475
17 | 2710452.7206 | 1115465.0632 | 2710429.6123 | 1115502.8374
18 | 2710411.4951 | 1115496.1591 | 2710429.6123 | 1115502.8374
19 | 2710380.1868 | 1115449.3033 | 2710388.0609 | 1115449.0155
20 | 2710359.9347 | 1115450.7704 | 2710362.3388 | 1115449.9557 | 2710380.1868 | 1115449.3033
21 | 2710411.4951 | 1115496.1591 | 2710409.8956 | 1115496.0638
22 | 2710409.8956 | 1115496.0638 | 2710396.1663 | 1115495.2459 | 2710388.7573 | 1115497.05
23 | 2710359.6083 | 1115450.881 | 2710359.9347 | 1115450.7704
24 | 2710387.4219 | 1115497.3751 | 2710388.7573 | 1115497.05
25 | 2710387.4219 | 1115497.3751 | 2710380.9153 | 1115498.9595 | 2710375.9825 | 1115501.6877
26 | 2710365.4463 | 1115507.5151 | 2710375.9825 | 1115501.6877
27 | 2710268.733 | 1115344.9276 | 2710276.6778 | 1115339.1128 | 2710297.6945 | 1115323.7448
28 | 2710302.2856 | 1115413.5379 | 2710303.153 | 1115406.5276 | 2710303.167 | 1115406.2619
29 | 2710348.1291 | 1115454.7712 | 2710359.6083 | 1115450.881
30 | 2710359.32 | 1115510.9034 | 2710365.4463 | 1115507.5151
31 | 2710342.9745 | 1115456.6319 | 2710343.1911 | 1115456.4447 | 2710348.1291 | 1115454.7712
32 | 2710359.32 | 1115510.9034 | 2710355.9417 | 1115512.772
33 | 2710355.9417 | 1115512.772 | 2710346.9162 | 1115517.7638 | 2710343.4458 | 1115517.8584
34 | 2710355.9417 | 1115512.772 | 2710378.32 | 1115567.635
35 | 2710334.6762 | 1115463.8045 | 2710328.5652 | 1115469.0867 | 2710318.9057 | 1115474.9147 | 2710318.9057 | 1115474.9147
36 | 2710334.6762 | 1115463.8045 | 2710342.9745 | 1115456.6319
37 | 2710318.9057 | 1115474.9147 | 2710317.8199 | 1115475.2286
38 | 2710329.5981 | 1115518.2361 | 2710343.4458 | 1115517.8584
39 | 2710348.5112 | 1115579.5078 | 2710361.5924 | 1115570.5989 | 2710369.0221 | 1115567.6101 | 2710378.32 | 1115567.635
40 | 2710329.5981 | 1115518.2361 | 2710327.7516 | 1115518.2865
41 | 2710309.8289 | 1115587.0504 | 2710330.044 | 1115584.2001 | 2710342.4963 | 1115583.6042 | 2710348.5112 | 1115579.5078
42 | 2710306.9744 | 1115478.3647 | 2710317.8199 | 1115475.2286
43 | 2710318.8746 | 1115518.5286 | 2710327.7516 | 1115518.2865
44 | 2710336.1188 | 1115564.4422 | 2710343.1714 | 1115561.0205
45 | 2710303.9902 | 1115553.3377 | 2710313.1575 | 1115552.6387 | 2710320.3415 | 1115557.2058 | 2710329.5244 | 1115563.5438 | 2710336.1188 | 1115564.4422 | 2710336.1188 | 1115564.4422
46 | 2710309.8289 | 1115587.0504 | 2710294.1488 | 1115589.2612 | 2710286.2023 | 1115592.2248
47 | 2710318.8746 | 1115518.5286 | 2710317.4279 | 1115518.5681
48 | 2710282.058 | 1115552.2334 | 2710298.2085 | 1115553.7785 | 2710303.9902 | 1115553.3377
49 | 2710304.091 | 1115478.8334 | 2710306.0643 | 1115478.6278 | 2710306.9744 | 1115478.3647
50 | 2710305.4072 | 1115519.4097 | 2710309.7661 | 1115518.777 | 2710317.4279 | 1115518.5681
51 | 2710297.4636 | 1115520.5625 | 2710305.4072 | 1115519.4097
52 | 2710300.1605 | 1115479.243 | 2710305.4072 | 1115519.4097
53 | 2710304.091 | 1115478.8334 | 2710300.1605 | 1115479.243
54 | 2710297.4636 | 1115520.5625 | 2710297.403 | 1115520.5714
55 | 2710300.1605 | 1115479.243 | 2710300.1605 | 1115479.243 | 2710297.8136 | 1115477.4991 | 2710297.1325 | 1115476.9485
56 | 2710275.5818 | 1115521.5582 | 2710291.5924 | 1115521.4147 | 2710297.403 | 1115520.5714
57 | 2710293.719 | 1115474.1891 | 2710297.1325 | 1115476.9485
58 | 2710275.5818 | 1115521.5582 | 2710265.8353 | 1115521.6456
59 | 2710282.058 | 1115552.2334 | 2710278.9735 | 1115551.9384 | 2710268.5626 | 1115553.2387 | 2710258.2184 | 1115550.8712 | 2710252.9161 | 1115547.8093
60 | 2710286.2023 | 1115592.2248 | 2710283.0064 | 1115593.4167 | 2710271.8016 | 1115600.5731 | 2710260.3218 | 1115600.7754 | 2710252.0506 | 1115599.6031
61 | 2710265.8353 | 1115521.6456 | 2710249.1178 | 1115521.7955
62 | 2710249.1178 | 1115521.7955 | 2710216.159 | 1115522.091
63 | 2710249.1178 | 1115521.7955 | 2710243.8643 | 1115542.9845
64 | 2710243.8643 | 1115542.9845 | 2710246.0515 | 1115543.8452 | 2710252.9161 | 1115547.8093
65 | 2710236.9455 | 1115598.4323 | 2710241.5113 | 1115598.1093 | 2710252.0506 | 1115599.6031
66 | 2710216.159 | 1115522.091 | 2710206.192 | 1115522.1804
67 | 2710280.4156 | 1115470.1126 | 2710278.5584 | 1115469.5435 | 2710276.1184 | 1115468.3455
68 | 2710293.719 | 1115474.1891 | 2710280.4156 | 1115470.1126
69 | 2710276.1184 | 1115468.3455 | 2710271.9222 | 1115466.2851
70 | 2710293.719 | 1115474.1891 | 2710295.5134 | 1115464.1642
71 | 2710265.0468 | 1115462.9093 | 2710271.9222 | 1115466.2851
72 | 2710298.5481 | 1115443.8243 | 2710297.2182 | 1115454.64 | 2710295.5134 | 1115464.1642
73 | 2710264.2124 | 1115462.4996 | 2710265.0468 | 1115462.9093
74 | 2710298.5481 | 1115443.8243 | 2710298.8183 | 1115441.6273
75 | 2710264.2124 | 1115462.4996 | 2710261.2974 | 1115461.0684 | 2710257.277 | 1115459.1356
76 | 2710300.8916 | 1115424.8056 | 2710300.1101 | 1115431.1217 | 2710298.8183 | 1115441.6273
77 | 2710254.5876 | 1115457.8428 | 2710257.277 | 1115459.1356
78 | 2710301.8233 | 1115417.2751 | 2710300.8916 | 1115424.8056
79 | 2710244.0471 | 1115452.7758 | 2710248.3174 | 1115454.8286
80 | 2710254.5876 | 1115457.8428 | 2710248.3174 | 1115454.8286
81 | 2710244.0471 | 1115452.7758 | 2710242.7394 | 1115452.1471 | 2710239.7916 | 1115447.3459 | 2710235.817 | 1115446.1723
82 | 2710217.7251 | 1115437.6938 | 2710230.3543 | 1115443.0937 | 2710234.0534 | 1115445.6516 | 2710235.817 | 1115446.1723
83 | 2710217.7251 | 1115437.6938 | 2710221.4076 | 1115411.0322 | 2710223.0069 | 1115400.8102
84 | 2710223.0069 | 1115400.8102 | 2710224.4416 | 1115392.7846
85 | 2710341.3534 | 1115293.6379 | 2710319.4936 | 1115307.8048 | 2710297.6945 | 1115323.7448
86 | 2710341.3534 | 1115293.6379 | 2710346.5926 | 1115290.242
87 | 2710301.8233 | 1115417.2751 | 2710302.2856 | 1115413.5379
88 | 2710464.6106 | 1115213.4416 | 2710433.0402 | 1115234.0687
89 | 2710464.6106 | 1115213.4416 | 2710499.3186 | 1115192.658
90 | 2710464.6106 | 1115213.4416 | 2710452.4272 | 1115178.8549
91 | 2710452.4272 | 1115178.8549 | 2710450.3135 | 1115172.8545 | 2710441.7189 | 1115153.6271

## bus_geodata
| x | y | coords
0 | 2710453.4043 | 1115390.6875
1 | 2710424.2783 | 1115392.5692
2 | 2710513.9354 | 1115386.7767
3 | 2710376.5037 | 1115395.6559
4 | 2710471.5899 | 1115310.0893
5 | 2710352.3023 | 1115387.6711
6 | 2710395.6751 | 1115412.8782
7 | 2710468.0354 | 1115303.1345
8 | 2710422.9755 | 1115436.2405
9 | 2710450.1631 | 1115267.9252
10 | 2710304.3983 | 1115369.9485
11 | 2710283.545 | 1115362.2405
12 | 2710303.8621 | 1115393.0911
13 | 2710459.9471 | 1115467.879
14 | 2710448.8594 | 1115265.3475
15 | 2710452.7206 | 1115465.0632
16 | 2710429.6123 | 1115502.8374
17 | 2710388.0609 | 1115449.0155
18 | 2710380.1868 | 1115449.3033
19 | 2710411.4951 | 1115496.1591
20 | 2710409.8956 | 1115496.0638
21 | 2710359.9347 | 1115450.7704
22 | 2710388.7573 | 1115497.05
23 | 2710387.4219 | 1115497.3751
24 | 2710375.9825 | 1115501.6877
25 | 2710268.733 | 1115344.9276
26 | 2710303.167 | 1115406.2619
27 | 2710359.6083 | 1115450.881
28 | 2710365.4463 | 1115507.5151
29 | 2710348.1291 | 1115454.7712
30 | 2710359.32 | 1115510.9034
31 | 2710355.9417 | 1115512.772
32 | 2710334.6762 | 1115463.8045
33 | 2710318.9057 | 1115474.9147
34 | 2710342.9745 | 1115456.6319
35 | 2710343.4458 | 1115517.8584
36 | 2710378.32 | 1115567.635
37 | 2710329.5981 | 1115518.2361
38 | 2710348.5112 | 1115579.5078
39 | 2710317.8199 | 1115475.2286
40 | 2710327.7516 | 1115518.2865
41 | 2710343.1714 | 1115561.0205
42 | 2710336.1188 | 1115564.4422
43 | 2710309.8289 | 1115587.0504
44 | 2710318.8746 | 1115518.5286
45 | 2710303.9902 | 1115553.3377
46 | 2710306.9744 | 1115478.3647
47 | 2710317.4279 | 1115518.5681
48 | 2710305.4072 | 1115519.4097
49 | 2710304.091 | 1115478.8334
50 | 2710297.4636 | 1115520.5625
51 | 2710300.1605 | 1115479.243
52 | 2710297.403 | 1115520.5714
53 | 2710297.1325 | 1115476.9485
54 | 2710275.5818 | 1115521.5582
55 | 2710282.058 | 1115552.2334
56 | 2710286.2023 | 1115592.2248
57 | 2710265.8353 | 1115521.6456
58 | 2710249.1178 | 1115521.7955
59 | 2710252.9161 | 1115547.8093
60 | 2710252.0506 | 1115599.6031
61 | 2710216.159 | 1115522.091
62 | 2710243.8643 | 1115542.9845
63 | 2710280.4156 | 1115470.1126
64 | 2710276.1184 | 1115468.3455
65 | 2710293.719 | 1115474.1891
66 | 2710271.9222 | 1115466.2851
67 | 2710295.5134 | 1115464.1642
68 | 2710265.0468 | 1115462.9093
69 | 2710298.5481 | 1115443.8243
70 | 2710264.2124 | 1115462.4996
71 | 2710298.8183 | 1115441.6273
72 | 2710257.277 | 1115459.1356
73 | 2710300.8916 | 1115424.8056
74 | 2710236.9455 | 1115598.4323
75 | 2710206.192 | 1115522.1804
76 | 2710248.3174 | 1115454.8286
77 | 2710244.0471 | 1115452.7758
78 | 2710254.5876 | 1115457.8428
79 | 2710235.817 | 1115446.1723
80 | 2710217.7251 | 1115437.6938
81 | 2710223.0069 | 1115400.8102
82 | 2710224.4416 | 1115392.7846
83 | 2710297.6945 | 1115323.7448
84 | 2710341.3534 | 1115293.6379
85 | 2710346.5926 | 1115290.242
86 | 2710301.8233 | 1115417.2751
87 | 2710302.2856 | 1115413.5379
88 | 2710433.0402 | 1115234.0687
89 | 2710464.6106 | 1115213.4416
90 | 2710499.3186 | 1115192.658
91 | 2710452.4272 | 1115178.8549
92 | 2710441.7189 | 1115153.6271
93 | 2710304.3983 | 1115369.9485

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1