## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5108-15_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5108-15_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5108-15_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5108-15_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5108-15_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_5108-15_0_6_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_5108-15_0_6_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5108-15_0_6_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_5108-15_0_6_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_5108-15_0_6_node_41 | 0.4 | n |  | TRUE
10 | bus_LV_5108-15_0_6_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5108-15_0_6_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5108-15_0_6_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5108-15_0_6_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_5108-15_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5108-15_0_6_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_5108-15_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5108-15_0_6_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_5108-15_0_6_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_5108-15_0_6_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_5108-15_0_6_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5108-15_0_6_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_5108-15_0_6_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_5108-15_0_6_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_5108-15_0_6_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5108-15_0_6_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_5108-15_0_6_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_5108-15_0_6_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_5108-15_0_6_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_5108-15_0_6_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5108-15_0_6_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5108-15_0_6_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_5108-15_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_5108-15_0_6_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_5108-15_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5108-15_0_6_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_5108-15_0_6_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_5108-15_0_6_node_102 | 0.4 | n |  | TRUE
38 | bus_LV_5108-15_0_6_node_100 | 0.4 | n |  | TRUE
39 | bus_LV_5108-15_0_6_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5108-15_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_5108-15_0_6_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_5108-15_0_6_node_61 | 0.4 | n |  | TRUE
43 | bus_LV_5108-15_0_6_node_62 | 0.4 | n |  | TRUE
44 | bus_LV_5108-15_0_6_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_5108-15_0_6_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_5108-15_0_6_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5108-15_0_6_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_5108-15_0_6_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_5108-15_0_6_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5108-15_0_6_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5108-15_0_6_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_5108-15_0_6_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5108-15_0_6_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_5108-15_0_6_node_82 | 0.4 | n |  | TRUE
55 | bus_LV_5108-15_0_6_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5108-15_0_6_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_5108-15_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_5108-15_0_6_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_5108-15_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_5108-15_0_6_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_5108-15_0_6_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_5108-15_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_5108-15_0_6_node_60 | 0.4 | n |  | TRUE
64 | bus_LV_5108-15_0_6_node_77 | 0.4 | n |  | TRUE
65 | bus_LV_5108-15_0_6_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_5108-15_0_6_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_5108-15_0_6_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5108-15_0_6_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_5108-15_0_6_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_5108-15_0_6_node_65 | 0.4 | n |  | TRUE
71 | bus_LV_5108-15_0_6_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_5108-15_0_6_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_5108-15_0_6_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_5108-15_0_6_node_69 | 0.4 | n |  | TRUE
75 | bus_LV_5108-15_0_6_node_96 | 0.4 | n |  | TRUE
76 | bus_LV_5108-15_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_5108-15_0_6_node_94 | 0.4 | n |  | TRUE
78 | bus_LV_5108-15_0_6_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5108-15_0_6_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5108-15_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5108-15_0_6_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_5108-15_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_5108-15_0_6_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5108-15_0_6_node_84 | 0.4 | n |  | TRUE
85 | bus_LV_5108-15_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_5108-15_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_5108-15_0_6_node_86 | 0.4 | n |  | TRUE
88 | bus_LV_5108-15_0_6_node_87 | 0.4 | n |  | TRUE
89 | bus_LV_5108-15_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_LV_5108-15_0_6_node_89 | 0.4 | n |  | TRUE
91 | bus_LV_5108-15_0_6_node_93 | 0.4 | n |  | TRUE
92 | bus_LV_5108-15_0_6_node_91 | 0.4 | n |  | TRUE
93 | bus_LV_5108-15_0_6_node_90 | 0.4 | n |  | TRUE
94 | bus_LV_5108-15_0_6_node_92 | 0.4 | n |  | TRUE
95 | bus_LV_5108-15_0_6_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_5108-15_0_6_node_106 | 0.4 | n |  | TRUE
97 | bus_LV_5108-15_0_6_node_105 | 0.4 | n |  | TRUE
98 | bus_LV_5108-15_0_6_node_97 | 0.4 | n |  | TRUE
99 | bus_LV_5108-15_0_6_node_98 | 0.4 | n |  | TRUE
100 | bus_LV_5108-15_0_6_node_104 | 0.4 | n |  | TRUE
101 | bus_MV_64_0_node_13 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5108-15_0_6_load_0 | 0 | 0.0052344 | 0.0013119 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5108-15_0_6_load_2 | 2 | 0.0058347 | 0.0014623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5108-15_0_6_load_3 | 3 | 0.020287 | 0.0050844 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5108-15_0_6_load_6 | 4 | 0.0055456 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5108-15_0_6_load_22 | 5 | 0.012127 | 0.0030392 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5108-15_0_6_load_4 | 6 | 0.010427 | 0.0026133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5108-15_0_6_load_23 | 8 | 0.0025004 | 0.00062666 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5108-15_0_6_load_41 | 9 | 0.0045588 | 0.0011425 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5108-15_0_6_load_7 | 10 | 0.0067328 | 0.0016874 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5108-15_0_6_load_8 | 11 | 0.0056386 | 0.0014132 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5108-15_0_6_load_13 | 12 | 0.011934 | 0.002991 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5108-15_0_6_load_11 | 13 | 0.008913 | 0.0022338 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5108-15_0_6_load_10 | 14 | 0.006227 | 0.0015606 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5108-15_0_6_load_14 | 17 | 0.0079175 | 0.0019843 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5108-15_0_6_load_15 | 18 | 0.010742 | 0.0026923 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5108-15_0_6_load_35 | 19 | 0.008457 | 0.0021195 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5108-15_0_6_load_17 | 21 | 0.0076832 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5108-15_0_6_load_21 | 23 | 0.022718 | 0.0056937 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5108-15_0_6_load_36 | 24 | 0.011971 | 0.0030003 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5108-15_0_6_load_34 | 25 | 0.036588 | 0.0091698 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5108-15_0_6_load_33 | 26 | 0.013289 | 0.0033306 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5108-15_0_6_load_25 | 29 | 0.017449 | 0.0043732 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5108-15_0_6_load_24 | 30 | 0.010713 | 0.0026849 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5108-15_0_6_load_32 | 31 | 0.007298 | 0.0018291 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5108-15_0_6_load_28 | 32 | 0.023702 | 0.0059403 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5108-15_0_6_load_39 | 33 | 0.0032114 | 0.00080484 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5108-15_0_6_load_29 | 34 | 0.0030346 | 0.00076054 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5108-15_0_6_load_31 | 36 | 0.0081435 | 0.0020409 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5108-15_0_6_load_102 | 37 | 0.011418 | 0.0028617 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5108-15_0_6_load_100 | 38 | 0.0087141 | 0.002184 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5108-15_0_6_load_37 | 39 | 0.0029047 | 0.00072799 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5108-15_0_6_load_38 | 40 | 0.0021412 | 0.00053665 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5108-15_0_6_load_40 | 41 | 0.0020049 | 0.00050249 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5108-15_0_6_load_61 | 42 | 0.0025582 | 0.00064115 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5108-15_0_6_load_62 | 43 | 0.0028218 | 0.00070722 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5108-15_0_6_load_42 | 44 | 0.002567 | 0.00064335 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5108-15_0_6_load_44 | 45 | 0.0021352 | 0.00053512 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5108-15_0_6_load_46 | 46 | 0.0025365 | 0.00063571 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5108-15_0_6_load_45 | 47 | 0.0031887 | 0.00079917 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5108-15_0_6_load_47 | 48 | 0.0031206 | 0.00078209 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5108-15_0_6_load_49 | 49 | 0.0034974 | 0.00087652 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5108-15_0_6_load_50 | 51 | 0.0029402 | 0.00073689 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5108-15_0_6_load_82 | 54 | 0.0060955 | 0.0015277 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5108-15_0_6_load_57 | 55 | 0.003833 | 0.00096065 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5108-15_0_6_load_59 | 57 | 0.002176 | 0.00054536 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5108-15_0_6_load_58 | 58 | 0.0019624 | 0.00049183 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5108-15_0_6_load_80 | 59 | 0.0036665 | 0.00091892 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5108-15_0_6_load_54 | 60 | 0.0034254 | 0.00085849 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5108-15_0_6_load_55 | 61 | 0.002387 | 0.00059823 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5108-15_0_6_load_60 | 63 | 0.0023723 | 0.00059455 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5108-15_0_6_load_77 | 64 | 0.0028422 | 0.00071232 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5108-15_0_6_load_76 | 65 | 0.0019036 | 0.0004771 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5108-15_0_6_load_63 | 66 | 0.0032931 | 0.00082532 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5108-15_0_6_load_64 | 67 | 0.0027853 | 0.00069807 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5108-15_0_6_load_70 | 68 | 0.0035945 | 0.00090087 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5108-15_0_6_load_71 | 69 | 0.0052572 | 0.0013176 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5108-15_0_6_load_65 | 70 | 0.0050451 | 0.0012644 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5108-15_0_6_load_66 | 71 | 0.0018031 | 0.0004519 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5108-15_0_6_load_67 | 72 | 0.0022094 | 0.00055372 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5108-15_0_6_load_69 | 74 | 0.0030244 | 0.00075798 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5108-15_0_6_load_96 | 75 | 0.0019756 | 0.00049513 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5108-15_0_6_load_72 | 76 | 0.0027125 | 0.00067983 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5108-15_0_6_load_94 | 77 | 0.0020482 | 0.00051333 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5108-15_0_6_load_73 | 78 | 0.009474 | 0.0023744 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5108-15_0_6_load_74 | 79 | 0.0028803 | 0.00072188 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5108-15_0_6_load_75 | 80 | 0.0031351 | 0.00078573 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5108-15_0_6_load_78 | 81 | 0.002873 | 0.00072005 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5108-15_0_6_load_79 | 82 | 0.0034706 | 0.00086982 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5108-15_0_6_load_81 | 83 | 0.0025676 | 0.00064351 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5108-15_0_6_load_84 | 84 | 0.0018411 | 0.00046144 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5108-15_0_6_load_83 | 85 | 0.086005 | 0.021555 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5108-15_0_6_load_86 | 87 | 0.0048334 | 0.0012114 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5108-15_0_6_load_87 | 88 | 0.0029362 | 0.00073589 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5108-15_0_6_load_88 | 89 | 0.0025937 | 0.00065005 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5108-15_0_6_load_89 | 90 | 0.0067766 | 0.0016984 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5108-15_0_6_load_93 | 91 | 0.008853 | 0.0022188 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5108-15_0_6_load_91 | 92 | 0.0016163 | 0.00040508 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5108-15_0_6_load_90 | 93 | 0.0040326 | 0.0010107 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5108-15_0_6_load_92 | 94 | 0.005297 | 0.0013276 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5108-15_0_6_load_95 | 95 | 0.0038209 | 0.0009576 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5108-15_0_6_load_106 | 96 | 0.003592 | 0.00090025 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5108-15_0_6_load_105 | 97 | 0.004824 | 0.001209 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5108-15_0_6_load_97 | 98 | 0.0088669 | 0.0022222 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5108-15_0_6_load_98 | 99 | 0.015466 | 0.0038761 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5108-15_0_6_load_104 | 100 | 0.0047351 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5108-15_0_6_line_0 |  | 0 | 1 | 0.012941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5108-15_0_6_line_1 |  | 0 | 2 | 0.021239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5108-15_0_6_line_2 |  | 1 | 3 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5108-15_0_6_line_3 |  | 2 | 4 | 0.0083444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5108-15_0_6_line_4 |  | 3 | 5 | 0.01055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5108-15_0_6_line_5 |  | 5 | 8 | 0.0051696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5108-15_0_6_line_6 |  | 6 | 7 | 0.011227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5108-15_0_6_line_7 |  | 7 | 9 | 0.0063117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5108-15_0_6_line_8 |  | 8 | 30 | 0.0040107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5108-15_0_6_line_9 |  | 9 | 44 | 0.016935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5108-15_0_6_line_10 |  | 10 | 11 | 0.019586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5108-15_0_6_line_11 |  | 11 | 12 | 0.062888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5108-15_0_6_line_12 |  | 12 | 15 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5108-15_0_6_line_13 |  | 12 | 13 | 0.0011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5108-15_0_6_line_14 |  | 13 | 14 | 0.02466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5108-15_0_6_line_15 |  | 14 | 16 | 0.0093276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5108-15_0_6_line_16 |  | 15 | 19 | 0.053544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5108-15_0_6_line_17 |  | 16 | 17 | 0.016561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5108-15_0_6_line_18 |  | 17 | 18 | 0.0018337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5108-15_0_6_line_19 |  | 18 | 20 | 0.021859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5108-15_0_6_line_20 |  | 19 | 24 | 0.0065533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5108-15_0_6_line_21 |  | 20 | 21 | 0.0070252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5108-15_0_6_line_22 |  | 21 | 22 | 0.0064286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5108-15_0_6_line_23 |  | 22 | 23 | 0.026809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5108-15_0_6_line_24 |  | 23 | 27 | 0.014318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5108-15_0_6_line_25 |  | 25 | 26 | 0.026053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5108-15_0_6_line_26 |  | 26 | 35 | 0.013301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5108-15_0_6_line_27 |  | 27 | 28 | 0.012343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5108-15_0_6_line_28 |  | 27 | 29 | 0.018682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5108-15_0_6_line_29 |  | 28 | 31 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5108-15_0_6_line_30 |  | 28 | 32 | 0.0024674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5108-15_0_6_line_31 |  | 29 | 30 | 0.011733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5108-15_0_6_line_32 |  | 31 | 33 | 0.0045519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5108-15_0_6_line_33 |  | 32 | 34 | 0.02068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5108-15_0_6_line_34 |  | 33 | 39 | 0.0086925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_5108-15_0_6_line_35 |  | 34 | 35 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5108-15_0_6_line_36 |  | 34 | 36 | 0.024177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5108-15_0_6_line_37 |  | 36 | 37 | 0.0030411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5108-15_0_6_line_38 |  | 37 | 38 | 0.014499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5108-15_0_6_line_39 |  | 38 | 99 | 0.0078291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5108-15_0_6_line_40 |  | 39 | 40 | 0.0033518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_5108-15_0_6_line_41 |  | 40 | 41 | 0.008055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_5108-15_0_6_line_42 |  | 41 | 42 | 0.0057003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5108-15_0_6_line_43 |  | 42 | 43 | 0.0090627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5108-15_0_6_line_44 |  | 43 | 66 | 0.0013653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_5108-15_0_6_line_45 |  | 44 | 45 | 0.0050984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5108-15_0_6_line_46 |  | 45 | 46 | 0.0091538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5108-15_0_6_line_47 |  | 46 | 49 | 0.0053713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5108-15_0_6_line_48 |  | 47 | 48 | 0.031806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5108-15_0_6_line_49 |  | 48 | 50 | 0.018938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5108-15_0_6_line_50 |  | 49 | 51 | 0.0059988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5108-15_0_6_line_51 |  | 50 | 52 | 0.012949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5108-15_0_6_line_52 |  | 50 | 53 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5108-15_0_6_line_53 |  | 51 | 56 | 0.0062789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5108-15_0_6_line_54 |  | 52 | 54 | 0.03834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5108-15_0_6_line_55 |  | 53 | 55 | 0.020256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5108-15_0_6_line_56 |  | 54 | 59 | 0.033571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5108-15_0_6_line_57 |  | 55 | 56 | 0.020212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5108-15_0_6_line_58 |  | 56 | 57 | 0.0082022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5108-15_0_6_line_59 |  | 57 | 58 | 0.020299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5108-15_0_6_line_60 |  | 58 | 62 | 0.0058483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5108-15_0_6_line_61 |  | 59 | 81 | 0.027658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5108-15_0_6_line_62 |  | 60 | 61 | 0.013903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5108-15_0_6_line_63 |  | 61 | 62 | 0.017697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5108-15_0_6_line_64 |  | 62 | 63 | 0.011824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5108-15_0_6_line_65 |  | 63 | 64 | 0.010654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5108-15_0_6_line_66 |  | 64 | 65 | 0.0002379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5108-15_0_6_line_67 |  | 65 | 80 | 0.011084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5108-15_0_6_line_68 |  | 66 | 67 | 0.00071203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_5108-15_0_6_line_69 |  | 67 | 68 | 0.011368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_5108-15_0_6_line_70 |  | 68 | 69 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5108-15_0_6_line_71 |  | 69 | 73 | 0.0093331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5108-15_0_6_line_72 |  | 70 | 71 | 0.001561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5108-15_0_6_line_73 |  | 70 | 72 | 0.0050554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5108-15_0_6_line_74 |  | 71 | 73 | 0.008261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5108-15_0_6_line_75 |  | 72 | 74 | 0.00087239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5108-15_0_6_line_76 |  | 73 | 75 | 0.0047473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_5108-15_0_6_line_77 |  | 74 | 76 | 0.018686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5108-15_0_6_line_78 |  | 75 | 77 | 0.0036454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_5108-15_0_6_line_79 |  | 76 | 78 | 0.0086453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5108-15_0_6_line_80 |  | 77 | 94 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_5108-15_0_6_line_81 |  | 78 | 79 | 0.0076045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5108-15_0_6_line_82 |  | 79 | 80 | 0.00087126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5108-15_0_6_line_83 |  | 82 | 83 | 0.024896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5108-15_0_6_line_84 |  | 83 | 84 | 0.011402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5108-15_0_6_line_85 |  | 84 | 85 | 0.0018166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5108-15_0_6_line_86 |  | 85 | 86 | 0.033379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5108-15_0_6_line_87 |  | 86 | 87 | 0.017356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5108-15_0_6_line_88 |  | 87 | 88 | 0.031698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5108-15_0_6_line_89 |  | 88 | 89 | 0.012817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5108-15_0_6_line_90 |  | 89 | 90 | 0.036058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5108-15_0_6_line_91 |  | 90 | 91 | 0.0067401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5108-15_0_6_line_92 |  | 91 | 92 | 0.0083573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5108-15_0_6_line_93 |  | 92 | 93 | 0.00040195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5108-15_0_6_line_94 |  | 93 | 94 | 0.013232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5108-15_0_6_line_95 |  | 94 | 95 | 0.0089429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5108-15_0_6_line_96 |  | 95 | 96 | 0.0033389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5108-15_0_6_line_97 |  | 96 | 97 | 0.0067215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5108-15_0_6_line_98 |  | 97 | 100 | 0.0042798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5108-15_0_6_line_99 |  | 98 | 99 | 0.019388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5108-15_0_6_trafo_61 | 0.63 MVA 20/0.4 kV | 101 | 42 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2709812.1551 | 1115375.7803 | 2709825.0145 | 1115374.3339
1 | 2709846.1209 | 1115371.96 | 2709825.0145 | 1115374.3339
2 | 2709812.1551 | 1115375.7803 | 2709793.4697 | 1115377.9561
3 | 2709846.1209 | 1115371.96 | 2709846.8094 | 1115363.644
4 | 2709782.9907 | 1115379.1763 | 2709793.4697 | 1115377.9561
5 | 2709782.9907 | 1115379.1763 | 2709777.8558 | 1115379.7743
6 | 2709827.7272 | 1115409.718 | 2709826.3603 | 1115406.7357 | 2709822.4115 | 1115399.8394
7 | 2709827.7272 | 1115409.718 | 2709826.4326 | 1115415.8955
8 | 2709777.8558 | 1115379.7743 | 2709773.872 | 1115380.2381
9 | 2709826.4326 | 1115415.8955 | 2709822.9589 | 1115432.4699
10 | 2709703.5893 | 1115234.0826 | 2709690.2539 | 1115248.427
11 | 2709719.7077 | 1115303.991 | 2709690.2539 | 1115248.427
12 | 2709698.3416 | 1115313.0338 | 2709719.7077 | 1115303.991
13 | 2709720.7515 | 1115303.5492 | 2709719.7077 | 1115303.991
14 | 2709743.4609 | 1115293.9379 | 2709720.7515 | 1115303.5492
15 | 2709752.0508 | 1115290.3024 | 2709743.4609 | 1115293.9379
16 | 2709698.3416 | 1115313.0338 | 2709655.4155 | 1115328.8673 | 2709648.8519 | 1115333.0641
17 | 2709752.0508 | 1115290.3024 | 2709749.1436 | 1115306.6062
18 | 2709748.8217 | 1115308.4115 | 2709749.1436 | 1115306.6062
19 | 2709745.2385 | 1115329.9716 | 2709746.2566 | 1115322.7965 | 2709748.8217 | 1115308.4115
20 | 2709648.8519 | 1115333.0641 | 2709643.3308 | 1115336.5943
21 | 2709745.2385 | 1115329.9716 | 2709744.2454 | 1115336.9263
22 | 2709743.3367 | 1115343.2903 | 2709744.2454 | 1115336.9263
23 | 2709743.3367 | 1115343.2903 | 2709740.4347 | 1115360.2378 | 2709739.9798 | 1115367.0117 | 2709740.5868 | 1115369.772
24 | 2709743.6616 | 1115383.756 | 2709740.5868 | 1115369.772
25 | 2709694.1265 | 1115372.9537 | 2709695.9547 | 1115346.9649
26 | 2709693.1932 | 1115386.2217 | 2709694.1265 | 1115372.9537
27 | 2709731.5731 | 1115386.4166 | 2709743.6616 | 1115383.756
28 | 2709743.6616 | 1115383.756 | 2709762.2179 | 1115381.5952
29 | 2709731.5731 | 1115386.4166 | 2709730.2186 | 1115397.3674
30 | 2709731.5731 | 1115386.4166 | 2709729.2486 | 1115387.244
31 | 2709762.2179 | 1115381.5952 | 2709773.872 | 1115380.2381
32 | 2709730.2186 | 1115397.3674 | 2709729.6598 | 1115401.8849
33 | 2709710.9736 | 1115396.7727 | 2709724.142 | 1115389.0616 | 2709729.2486 | 1115387.244
34 | 2709728.5927 | 1115410.5117 | 2709729.6598 | 1115401.8849
35 | 2709693.1932 | 1115386.2217 | 2709710.9736 | 1115396.7727
36 | 2709710.9736 | 1115396.7727 | 2709692.3492 | 1115407.6649 | 2709690.1759 | 1115409.094
37 | 2709687.6349 | 1115410.7648 | 2709690.1759 | 1115409.094
38 | 2709687.6349 | 1115410.7648 | 2709675.5205 | 1115418.7307
39 | 2709668.9788 | 1115423.0322 | 2709675.5205 | 1115418.7307
40 | 2709728.5927 | 1115410.5117 | 2709728.1812 | 1115413.8381
41 | 2709726.9843 | 1115421.7947 | 2709727.429 | 1115419.919 | 2709728.1812 | 1115413.8381
42 | 2709725.6691 | 1115427.3412 | 2709726.9843 | 1115421.7947
43 | 2709725.6691 | 1115427.3412 | 2709723.5781 | 1115436.1593
44 | 2709723.5781 | 1115436.1593 | 2709723.2631 | 1115437.4878
45 | 2709822.9589 | 1115432.4699 | 2709821.9131 | 1115437.4599
46 | 2709820.0354 | 1115446.419 | 2709821.9131 | 1115437.4599
47 | 2709820.0354 | 1115446.419 | 2709818.9337 | 1115451.6761
48 | 2709851.4662 | 1115435.0997 | 2709854.3316 | 1115441.7322 | 2709857.5707 | 1115453.0538 | 2709861.0284 | 1115465.3836
49 | 2709865.2294 | 1115483.8461 | 2709861.6981 | 1115467.7716 | 2709861.0284 | 1115465.3836
50 | 2709818.9337 | 1115451.6761 | 2709817.7032 | 1115457.5473
51 | 2709865.2294 | 1115483.8461 | 2709866.1647 | 1115490.6119 | 2709866.8963 | 1115496.6847
52 | 2709846.294 | 1115490.1626 | 2709853.7675 | 1115487.3073 | 2709865.2294 | 1115483.8461
53 | 2709816.4152 | 1115463.6927 | 2709817.7032 | 1115457.5473
54 | 2709866.8963 | 1115496.6847 | 2709864.9711 | 1115499.3627 | 2709861.7134 | 1115501.4161 | 2709856.2409 | 1115501.6726 | 2709844.5491 | 1115500.3598 | 2709834.9744 | 1115500.264 | 2709830.7358 | 1115501.3351
55 | 2709846.294 | 1115490.1626 | 2709830.6405 | 1115479.4719 | 2709829.6356 | 1115478.6473
56 | 2709798.4306 | 1115510.4485 | 2709809.5469 | 1115507.2856 | 2709822.5764 | 1115503.397 | 2709830.7358 | 1115501.3351
57 | 2709816.4152 | 1115463.6927 | 2709821.9122 | 1115472.3091 | 2709829.6356 | 1115478.6473
58 | 2709816.4152 | 1115463.6927 | 2709814.9608 | 1115471.7649
59 | 2709803.356 | 1115485.9589 | 2709806.6766 | 1115485.8418 | 2709808.9181 | 1115484.0368 | 2709813.8734 | 1115477.8003 | 2709814.9608 | 1115471.7649
60 | 2709797.5114 | 1115486.1649 | 2709803.356 | 1115485.9589
61 | 2709771.3963 | 1115516.227 | 2709772.475 | 1115515.9197 | 2709782.8234 | 1115513.8058 | 2709794.9992 | 1115511.4248 | 2709798.4306 | 1115510.4485
62 | 2709826.4619 | 1115495.1974 | 2709820.6633 | 1115495.6128 | 2709812.662 | 1115494.4196
63 | 2709797.5114 | 1115486.1649 | 2709802.0341 | 1115490.1606 | 2709808.0165 | 1115493.7268 | 2709812.662 | 1115494.4196
64 | 2709797.5114 | 1115486.1649 | 2709787.0889 | 1115480.5812
65 | 2709777.6657 | 1115475.6155 | 2709778.5657 | 1115476.0151 | 2709787.0889 | 1115480.5812
66 | 2709777.4482 | 1115475.519 | 2709777.6657 | 1115475.6155
67 | 2709767.2051 | 1115471.3166 | 2709770.054 | 1115472.2362 | 2709777.4482 | 1115475.519
68 | 2709723.0988 | 1115438.1806 | 2709723.2631 | 1115437.4878
69 | 2709723.0988 | 1115438.1806 | 2709721.9688 | 1115442.9463 | 2709719.3105 | 1115448.8455
70 | 2709719.3105 | 1115448.8455 | 2709717.68 | 1115452.4638 | 2709714.7993 | 1115459.7164
71 | 2709716.0373 | 1115468.9671 | 2709714.7993 | 1115459.7164
72 | 2709725.8049 | 1115467.9945 | 2709724.2461 | 1115468.0777
73 | 2709725.8049 | 1115467.9945 | 2709730.8532 | 1115467.7251
74 | 2709716.0373 | 1115468.9671 | 2709722.1679 | 1115468.1887 | 2709724.2461 | 1115468.0777
75 | 2709730.8532 | 1115467.7251 | 2709731.7244 | 1115467.6786
76 | 2709716.0373 | 1115468.9671 | 2709712.221 | 1115469.4539 | 2709711.3371 | 1115469.6243
77 | 2709750.2948 | 1115469.383 | 2709744.2262 | 1115468.9552 | 2709734.1423 | 1115467.5495 | 2709731.7244 | 1115467.6786
78 | 2709711.3371 | 1115469.6243 | 2709707.7576 | 1115470.3143
79 | 2709750.2948 | 1115469.383 | 2709752.7183 | 1115469.5538 | 2709758.9338 | 1115469.6131
80 | 2709696.3001 | 1115474.7914 | 2709704.471 | 1115470.9479 | 2709707.7576 | 1115470.3143
81 | 2709758.9338 | 1115469.6131 | 2709759.189 | 1115469.6155 | 2709764.2878 | 1115470.375 | 2709766.376 | 1115471.049
82 | 2709766.376 | 1115471.049 | 2709767.2051 | 1115471.3166
83 | 2709715.1383 | 1115555.5016 | 2709718.4475 | 1115552.4875 | 2709730.7924 | 1115542.4711 | 2709734.2966 | 1115539.6127
84 | 2709715.1383 | 1115555.5016 | 2709706.7084 | 1115563.1797
85 | 2709705.3654 | 1115564.4029 | 2709706.7084 | 1115563.1797
86 | 2709676.9589 | 1115581.5778 | 2709685.3244 | 1115578.0713 | 2709693.7211 | 1115573.2646 | 2709705.3654 | 1115564.4029
87 | 2709676.9589 | 1115581.5778 | 2709677.1884 | 1115564.2231
88 | 2709677.1884 | 1115564.2231 | 2709677.2308 | 1115561.0137 | 2709679.725 | 1115549.9405 | 2709680.1419 | 1115543.555 | 2709680.252 | 1115537.4752 | 2709679.4987 | 1115532.8791
89 | 2709679.4987 | 1115532.8791 | 2709678.3256 | 1115525.7216 | 2709683.7829 | 1115524.6383
90 | 2709690.0753 | 1115498.4691 | 2709689.4239 | 1115499.2496 | 2709683.7239 | 1115502.6931 | 2709686.0999 | 1115509.6629 | 2709687.8153 | 1115513.0183 | 2709690.2849 | 1115523.3476 | 2709683.7829 | 1115524.6383
91 | 2709692.5522 | 1115492.4017 | 2709691.6817 | 1115496.5442 | 2709690.0753 | 1115498.4691
92 | 2709692.5522 | 1115492.4017 | 2709692.5522 | 1115492.4017 | 2709699.6596 | 1115488.0053
93 | 2709699.6596 | 1115488.0053 | 2709699.6596 | 1115488.0053 | 2709699.5606 | 1115487.6157
94 | 2709696.3001 | 1115474.7914 | 2709699.5606 | 1115487.6157
95 | 2709696.3001 | 1115474.7914 | 2709689.0362 | 1115480.0079
96 | 2709689.0362 | 1115480.0079 | 2709686.3242 | 1115481.9556
97 | 2709680.7931 | 1115485.7746 | 2709685.9558 | 1115482.2201 | 2709686.3242 | 1115481.9556
98 | 2709677.1713 | 1115488.0273 | 2709678.1198 | 1115487.6152 | 2709680.7931 | 1115485.7746
99 | 2709652.9534 | 1115433.9415 | 2709661.5773 | 1115427.8991 | 2709668.9788 | 1115423.0322

## bus_geodata
| x | y | coords
0 | 2709825.0145 | 1115374.3339
1 | 2709812.1551 | 1115375.7803
2 | 2709846.1209 | 1115371.96
3 | 2709793.4697 | 1115377.9561
4 | 2709846.8094 | 1115363.644
5 | 2709782.9907 | 1115379.1763
6 | 2709822.4115 | 1115399.8394
7 | 2709827.7272 | 1115409.718
8 | 2709777.8558 | 1115379.7743
9 | 2709826.4326 | 1115415.8955
10 | 2709703.5893 | 1115234.0826
11 | 2709690.2539 | 1115248.427
12 | 2709719.7077 | 1115303.991
13 | 2709720.7515 | 1115303.5492
14 | 2709743.4609 | 1115293.9379
15 | 2709698.3416 | 1115313.0338
16 | 2709752.0508 | 1115290.3024
17 | 2709749.1436 | 1115306.6062
18 | 2709748.8217 | 1115308.4115
19 | 2709648.8519 | 1115333.0641
20 | 2709745.2385 | 1115329.9716
21 | 2709744.2454 | 1115336.9263
22 | 2709743.3367 | 1115343.2903
23 | 2709740.5868 | 1115369.772
24 | 2709643.3308 | 1115336.5943
25 | 2709695.9547 | 1115346.9649
26 | 2709694.1265 | 1115372.9537
27 | 2709743.6616 | 1115383.756
28 | 2709731.5731 | 1115386.4166
29 | 2709762.2179 | 1115381.5952
30 | 2709773.872 | 1115380.2381
31 | 2709730.2186 | 1115397.3674
32 | 2709729.2486 | 1115387.244
33 | 2709729.6598 | 1115401.8849
34 | 2709710.9736 | 1115396.7727
35 | 2709693.1932 | 1115386.2217
36 | 2709690.1759 | 1115409.094
37 | 2709687.6349 | 1115410.7648
38 | 2709675.5205 | 1115418.7307
39 | 2709728.5927 | 1115410.5117
40 | 2709728.1812 | 1115413.8381
41 | 2709726.9843 | 1115421.7947
42 | 2709725.6691 | 1115427.3412
43 | 2709723.5781 | 1115436.1593
44 | 2709822.9589 | 1115432.4699
45 | 2709821.9131 | 1115437.4599
46 | 2709820.0354 | 1115446.419
47 | 2709851.4662 | 1115435.0997
48 | 2709861.0284 | 1115465.3836
49 | 2709818.9337 | 1115451.6761
50 | 2709865.2294 | 1115483.8461
51 | 2709817.7032 | 1115457.5473
52 | 2709866.8963 | 1115496.6847
53 | 2709846.294 | 1115490.1626
54 | 2709830.7358 | 1115501.3351
55 | 2709829.6356 | 1115478.6473
56 | 2709816.4152 | 1115463.6927
57 | 2709814.9608 | 1115471.7649
58 | 2709803.356 | 1115485.9589
59 | 2709798.4306 | 1115510.4485
60 | 2709826.4619 | 1115495.1974
61 | 2709812.662 | 1115494.4196
62 | 2709797.5114 | 1115486.1649
63 | 2709787.0889 | 1115480.5812
64 | 2709777.6657 | 1115475.6155
65 | 2709777.4482 | 1115475.519
66 | 2709723.2631 | 1115437.4878
67 | 2709723.0988 | 1115438.1806
68 | 2709719.3105 | 1115448.8455
69 | 2709714.7993 | 1115459.7164
70 | 2709725.8049 | 1115467.9945
71 | 2709724.2461 | 1115468.0777
72 | 2709730.8532 | 1115467.7251
73 | 2709716.0373 | 1115468.9671
74 | 2709731.7244 | 1115467.6786
75 | 2709711.3371 | 1115469.6243
76 | 2709750.2948 | 1115469.383
77 | 2709707.7576 | 1115470.3143
78 | 2709758.9338 | 1115469.6131
79 | 2709766.376 | 1115471.049
80 | 2709767.2051 | 1115471.3166
81 | 2709771.3963 | 1115516.227
82 | 2709734.2966 | 1115539.6127
83 | 2709715.1383 | 1115555.5016
84 | 2709706.7084 | 1115563.1797
85 | 2709705.3654 | 1115564.4029
86 | 2709676.9589 | 1115581.5778
87 | 2709677.1884 | 1115564.2231
88 | 2709679.4987 | 1115532.8791
89 | 2709683.7829 | 1115524.6383
90 | 2709690.0753 | 1115498.4691
91 | 2709692.5522 | 1115492.4017
92 | 2709699.6596 | 1115488.0053
93 | 2709699.5606 | 1115487.6157
94 | 2709696.3001 | 1115474.7914
95 | 2709689.0362 | 1115480.0079
96 | 2709686.3242 | 1115481.9556
97 | 2709680.7931 | 1115485.7746
98 | 2709652.9534 | 1115433.9415
99 | 2709668.9788 | 1115423.0322
100 | 2709677.1713 | 1115488.0273
101 | 2709731.5731 | 1115386.4166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1