## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5108-17_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5108-17_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5108-17_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5108-17_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5108-17_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5108-17_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5108-17_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5108-17_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5108-17_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_5108-17_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5108-17_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_5108-17_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_5108-17_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_5108-17_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_5108-17_0_4_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_5108-17_0_4_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_5108-17_0_4_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_5108-17_0_4_node_72 | 0.4 | n |  | TRUE
18 | bus_LV_5108-17_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5108-17_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_5108-17_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5108-17_0_4_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_5108-17_0_4_node_63 | 0.4 | n |  | TRUE
23 | bus_LV_5108-17_0_4_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_5108-17_0_4_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_5108-17_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5108-17_0_4_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_5108-17_0_4_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_5108-17_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_5108-17_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_5108-17_0_4_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_5108-17_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_5108-17_0_4_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_5108-17_0_4_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_5108-17_0_4_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_5108-17_0_4_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_5108-17_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_5108-17_0_4_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_5108-17_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_5108-17_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_5108-17_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_5108-17_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_5108-17_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5108-17_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5108-17_0_4_node_78 | 0.4 | n |  | TRUE
45 | bus_LV_5108-17_0_4_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_5108-17_0_4_node_84 | 0.4 | n |  | TRUE
47 | bus_LV_5108-17_0_4_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_5108-17_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5108-17_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5108-17_0_4_node_52 | 0.4 | n |  | TRUE
51 | bus_LV_5108-17_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_5108-17_0_4_node_41 | 0.4 | n |  | TRUE
53 | bus_LV_5108-17_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_5108-17_0_4_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5108-17_0_4_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_5108-17_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_5108-17_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5108-17_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5108-17_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5108-17_0_4_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_5108-17_0_4_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_5108-17_0_4_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_5108-17_0_4_node_53 | 0.4 | n |  | TRUE
64 | bus_LV_5108-17_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5108-17_0_4_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_5108-17_0_4_node_85 | 0.4 | n |  | TRUE
67 | bus_LV_5108-17_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_5108-17_0_4_node_57 | 0.4 | n |  | TRUE
69 | bus_LV_5108-17_0_4_node_69 | 0.4 | n |  | TRUE
70 | bus_LV_5108-17_0_4_node_80 | 0.4 | n |  | TRUE
71 | bus_LV_5108-17_0_4_node_81 | 0.4 | n |  | TRUE
72 | bus_LV_5108-17_0_4_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_5108-17_0_4_node_79 | 0.4 | n |  | TRUE
74 | bus_LV_5108-17_0_4_node_82 | 0.4 | n |  | TRUE
75 | bus_LV_5108-17_0_4_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_5108-17_0_4_node_59 | 0.4 | n |  | TRUE
77 | bus_LV_5108-17_0_4_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5108-17_0_4_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_5108-17_0_4_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_5108-17_0_4_node_64 | 0.4 | n |  | TRUE
81 | bus_LV_5108-17_0_4_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_5108-17_0_4_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_5108-17_0_4_node_83 | 0.4 | n |  | TRUE
84 | bus_MV_64_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5108-17_0_4_load_0 | 0 | 0.0045713 | 0.0011457 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5108-17_0_4_load_1 | 1 | 0.0052626 | 0.0013189 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5108-17_0_4_load_3 | 3 | 0.003655 | 0.00091603 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5108-17_0_4_load_4 | 4 | 0.0037959 | 0.00095134 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5108-17_0_4_load_5 | 5 | 0.0076423 | 0.0019153 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5108-17_0_4_load_7 | 7 | 0.014895 | 0.003733 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5108-17_0_4_load_11 | 8 | 0.015061 | 0.0037746 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5108-17_0_4_load_9 | 9 | 0.0024613 | 0.00061686 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5108-17_0_4_load_8 | 10 | 0.0033278 | 0.00083403 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5108-17_0_4_load_10 | 11 | 0.0028081 | 0.00070378 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5108-17_0_4_load_12 | 12 | 0.0019403 | 0.00048629 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5108-17_0_4_load_14 | 14 | 0.0091939 | 0.0023042 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5108-17_0_4_load_15 | 15 | 0.0053973 | 0.0013527 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5108-17_0_4_load_18 | 16 | 0.0037159 | 0.00093129 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5108-17_0_4_load_72 | 17 | 0.004692 | 0.0011759 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5108-17_0_4_load_16 | 18 | 0.002802 | 0.00070226 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5108-17_0_4_load_46 | 19 | 0.0031813 | 0.00079732 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5108-17_0_4_load_17 | 20 | 0.012229 | 0.0030648 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5108-17_0_4_load_63 | 22 | 0.010442 | 0.002617 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5108-17_0_4_load_24 | 23 | 0.0047598 | 0.0011929 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5108-17_0_4_load_71 | 24 | 0.012198 | 0.0030571 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5108-17_0_4_load_22 | 25 | 0.010358 | 0.0025959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5108-17_0_4_load_20 | 26 | 0.014818 | 0.0037138 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5108-17_0_4_load_21 | 27 | 0.0059494 | 0.0014911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5108-17_0_4_load_23 | 28 | 0.0030401 | 0.00076191 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5108-17_0_4_load_73 | 30 | 0.0060723 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5108-17_0_4_load_30 | 31 | 0.0039658 | 0.00099392 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5108-17_0_4_load_74 | 32 | 0.0045086 | 0.00113 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5108-17_0_4_load_28 | 33 | 0.0047919 | 0.001201 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5108-17_0_4_load_26 | 34 | 0.010323 | 0.0025871 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5108-17_0_4_load_27 | 35 | 0.004221 | 0.0010579 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5108-17_0_4_load_29 | 36 | 0.0024985 | 0.00062619 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5108-17_0_4_load_77 | 37 | 0.0032689 | 0.00081926 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5108-17_0_4_load_36 | 38 | 0.0054852 | 0.0013747 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5108-17_0_4_load_31 | 39 | 0.0053721 | 0.0013464 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5108-17_0_4_load_32 | 40 | 0.0065538 | 0.0016425 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5108-17_0_4_load_35 | 43 | 0.0026346 | 0.00066029 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5108-17_0_4_load_78 | 44 | 0.0085072 | 0.0021321 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5108-17_0_4_load_37 | 45 | 0.0018934 | 0.00047454 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5108-17_0_4_load_84 | 46 | 0.010029 | 0.0025136 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5108-17_0_4_load_38 | 47 | 0.0018274 | 0.00045798 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5108-17_0_4_load_39 | 48 | 0.0015358 | 0.0003849 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5108-17_0_4_load_40 | 49 | 0.0017223 | 0.00043164 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5108-17_0_4_load_52 | 50 | 0.0026817 | 0.00067211 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5108-17_0_4_load_41 | 52 | 0.00098627 | 0.00024718 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5108-17_0_4_load_42 | 53 | 0.0014873 | 0.00037275 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5108-17_0_4_load_43 | 54 | 0.0030768 | 0.00077111 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5108-17_0_4_load_50 | 55 | 0.0015798 | 0.00039593 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5108-17_0_4_load_48 | 56 | 0.0016865 | 0.00042269 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5108-17_0_4_load_44 | 57 | 0.00065055 | 0.00016304 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5108-17_0_4_load_45 | 58 | 0.00038868 | 9.7412e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5108-17_0_4_load_47 | 59 | 0.00051662 | 0.00012948 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5108-17_0_4_load_51 | 60 | 0.001252 | 0.00031379 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5108-17_0_4_load_86 | 61 | 0.00047074 | 0.00011798 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5108-17_0_4_load_76 | 62 | 0.00044156 | 0.00011066 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5108-17_0_4_load_53 | 63 | 0.0046831 | 0.0011737 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5108-17_0_4_load_54 | 64 | 0.007362 | 0.0018451 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5108-17_0_4_load_55 | 65 | 0.0049133 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5108-17_0_4_load_85 | 66 | 0.0063635 | 0.0015948 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5108-17_0_4_load_56 | 67 | 0.0070242 | 0.0017604 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5108-17_0_4_load_69 | 69 | 0.0080657 | 0.0020214 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5108-17_0_4_load_80 | 70 | 0.0044625 | 0.0011184 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5108-17_0_4_load_81 | 71 | 0.0053405 | 0.0013384 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5108-17_0_4_load_70 | 72 | 0.0028211 | 0.00070704 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5108-17_0_4_load_79 | 73 | 0.0028836 | 0.0007227 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5108-17_0_4_load_82 | 74 | 0.0054774 | 0.0013728 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5108-17_0_4_load_58 | 75 | 0.0085577 | 0.0021448 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5108-17_0_4_load_59 | 76 | 0.0053264 | 0.0013349 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5108-17_0_4_load_60 | 77 | 0.0040202 | 0.0010076 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5108-17_0_4_load_61 | 78 | 0.0040123 | 0.0010056 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5108-17_0_4_load_62 | 79 | 0.0044058 | 0.0011042 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5108-17_0_4_load_64 | 80 | 0.0036923 | 0.00092539 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5108-17_0_4_load_65 | 81 | 0.0061412 | 0.0015391 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5108-17_0_4_load_75 | 82 | 0.0052266 | 0.0013099 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5108-17_0_4_load_83 | 83 | 0.013652 | 0.0034214 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5108-17_0_4_line_0 |  | 0 | 1 | 0.0401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5108-17_0_4_line_1 |  | 0 | 2 | 0.014125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5108-17_0_4_line_2 |  | 1 | 3 | 0.008199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5108-17_0_4_line_3 |  | 2 | 4 | 0.08519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5108-17_0_4_line_4 |  | 3 | 5 | 0.052254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5108-17_0_4_line_5 |  | 4 | 6 | 0.04147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5108-17_0_4_line_6 |  | 6 | 7 | 0.043113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5108-17_0_4_line_7 |  | 7 | 8 | 0.014108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5108-17_0_4_line_8 |  | 8 | 9 | 0.0073276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5108-17_0_4_line_9 |  | 9 | 10 | 0.0087936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5108-17_0_4_line_10 |  | 10 | 11 | 0.00010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5108-17_0_4_line_11 |  | 11 | 12 | 0.021717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5108-17_0_4_line_12 |  | 12 | 13 | 0.033014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5108-17_0_4_line_13 |  | 13 | 14 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5108-17_0_4_line_14 |  | 13 | 15 | 0.0014631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5108-17_0_4_line_15 |  | 14 | 16 | 0.015124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5108-17_0_4_line_16 |  | 15 | 17 | 0.063537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5108-17_0_4_line_17 |  | 16 | 18 | 0.0087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5108-17_0_4_line_18 |  | 17 | 19 | 0.0083527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5108-17_0_4_line_19 |  | 18 | 20 | 0.016069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5108-17_0_4_line_20 |  | 19 | 58 | 0.0077371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5108-17_0_4_line_21 |  | 20 | 21 | 0.026658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5108-17_0_4_line_22 |  | 21 | 22 | 0.003204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5108-17_0_4_line_23 |  | 21 | 23 | 0.0095785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5108-17_0_4_line_24 |  | 22 | 24 | 0.030678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5108-17_0_4_line_25 |  | 23 | 25 | 0.014472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5108-17_0_4_line_26 |  | 25 | 26 | 0.027736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_5108-17_0_4_line_27 |  | 26 | 27 | 0.029162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_5108-17_0_4_line_28 |  | 27 | 28 | 0.00012906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_5108-17_0_4_line_29 |  | 28 | 29 | 0.012163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5108-17_0_4_line_30 |  | 29 | 30 | 0.0039281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5108-17_0_4_line_31 |  | 29 | 31 | 0.0058589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_5108-17_0_4_line_32 |  | 30 | 32 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5108-17_0_4_line_33 |  | 31 | 33 | 0.0091057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_5108-17_0_4_line_34 |  | 33 | 34 | 0.0076281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5108-17_0_4_line_35 |  | 34 | 35 | 0.0042752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_5108-17_0_4_line_36 |  | 35 | 36 | 0.014944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5108-17_0_4_line_37 |  | 36 | 37 | 0.0014192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5108-17_0_4_line_38 |  | 37 | 38 | 0.0077871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5108-17_0_4_line_39 |  | 38 | 41 | 0.0036147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5108-17_0_4_line_40 |  | 39 | 40 | 0.0014928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5108-17_0_4_line_41 |  | 39 | 41 | 0.013399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5108-17_0_4_line_42 |  | 40 | 42 | 0.048778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5108-17_0_4_line_43 |  | 41 | 43 | 0.0075383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5108-17_0_4_line_44 |  | 42 | 44 | 0.021408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5108-17_0_4_line_45 |  | 43 | 45 | 0.015087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5108-17_0_4_line_46 |  | 44 | 46 | 0.01442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5108-17_0_4_line_47 |  | 45 | 47 | 0.0018173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5108-17_0_4_line_48 |  | 46 | 83 | 0.006199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5108-17_0_4_line_49 |  | 47 | 48 | 0.00020133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5108-17_0_4_line_50 |  | 48 | 49 | 0.0090755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5108-17_0_4_line_51 |  | 49 | 50 | 0.0011006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5108-17_0_4_line_52 |  | 50 | 51 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5108-17_0_4_line_53 |  | 51 | 60 | 0.0016865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5108-17_0_4_line_54 |  | 51 | 59 | 0.014169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5108-17_0_4_line_55 |  | 52 | 53 | 0.0026299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5108-17_0_4_line_56 |  | 53 | 54 | 0.0061127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5108-17_0_4_line_57 |  | 54 | 55 | 0.011905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5108-17_0_4_line_58 |  | 55 | 56 | 0.00072982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5108-17_0_4_line_59 |  | 56 | 59 | 0.0043452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5108-17_0_4_line_60 |  | 57 | 58 | 0.034789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5108-17_0_4_line_61 |  | 60 | 61 | 0.012279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5108-17_0_4_line_62 |  | 61 | 62 | 0.006426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5108-17_0_4_line_63 |  | 62 | 82 | 0.0089857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5108-17_0_4_line_64 |  | 63 | 64 | 0.0075051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5108-17_0_4_line_65 |  | 63 | 65 | 0.031916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5108-17_0_4_line_66 |  | 63 | 66 | 0.032124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5108-17_0_4_line_67 |  | 64 | 67 | 0.0050375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5108-17_0_4_line_68 |  | 65 | 68 | 0.020966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5108-17_0_4_line_69 |  | 67 | 69 | 0.0068397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5108-17_0_4_line_70 |  | 68 | 70 | 0.0058828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5108-17_0_4_line_71 |  | 68 | 71 | 0.0039863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5108-17_0_4_line_72 |  | 69 | 72 | 0.023263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5108-17_0_4_line_73 |  | 70 | 73 | 0.0015515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5108-17_0_4_line_74 |  | 71 | 74 | 0.0061162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5108-17_0_4_line_75 |  | 73 | 81 | 0.007498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5108-17_0_4_line_76 |  | 74 | 83 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5108-17_0_4_line_77 |  | 75 | 76 | 0.00028521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5108-17_0_4_line_78 |  | 75 | 77 | 0.0055301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5108-17_0_4_line_79 |  | 76 | 78 | 0.010802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5108-17_0_4_line_80 |  | 77 | 79 | 0.0086232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5108-17_0_4_line_81 |  | 78 | 80 | 0.00085642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5108-17_0_4_line_82 |  | 80 | 81 | 0.0065486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5108-17_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 84 | 26 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2709663.8266 | 1115586.7673 | 2709659.4989 | 1115588.3329 | 2709653.439 | 1115589.0459 | 2709647.2371 | 1115588.2221 | 2709642.1232 | 1115585.3166 | 2709636.8533 | 1115580.3624 | 2709633.8307 | 1115575.4045 | 2709631.1559 | 1115572.1429 | 2709631.1559 | 1115572.1429
1 | 2709676.9589 | 1115581.5778 | 2709669.216 | 1115584.8175 | 2709663.8266 | 1115586.7673
2 | 2709631.1559 | 1115572.1429 | 2709627.2013 | 1115570.0366 | 2709623.501 | 1115569.6695 | 2709623.501 | 1115569.6695
3 | 2709676.9589 | 1115581.5778 | 2709677.2308 | 1115561.0137 | 2709679.725 | 1115549.9405 | 2709680.1419 | 1115543.555 | 2709680.252 | 1115537.4752 | 2709678.3256 | 1115525.7216 | 2709690.2849 | 1115523.3476 | 2709687.8153 | 1115513.0183 | 2709686.0999 | 1115509.6629 | 2709685.3573 | 1115507.4847
4 | 2709647.3226 | 1115606.8175 | 2709640.9762 | 1115600.8949 | 2709633.2567 | 1115590.9042 | 2709626.8038 | 1115586.4513 | 2709621.6971 | 1115583.1456 | 2709618.6519 | 1115579.0101 | 2709618.8384 | 1115574.2548 | 2709620.5573 | 1115570.5946 | 2709623.501 | 1115569.6695
5 | 2709696.3001 | 1115474.7914 | 2709699.6596 | 1115488.0053 | 2709692.5522 | 1115492.4017 | 2709691.6817 | 1115496.5442 | 2709689.4239 | 1115499.2496 | 2709683.7239 | 1115502.6931 | 2709685.3573 | 1115507.4847
6 | 2709696.3001 | 1115474.7914 | 2709685.9558 | 1115482.2201 | 2709678.1198 | 1115487.6152 | 2709665.7897 | 1115492.9733 | 2709658.9273 | 1115495.7945
7 | 2709645.3195 | 1115499.4589 | 2709657.3708 | 1115496.4344 | 2709658.9273 | 1115495.7945
8 | 2709638.0441 | 1115500.1393 | 2709643.9415 | 1115499.8047 | 2709645.3195 | 1115499.4589
9 | 2709629.2571 | 1115500.4515 | 2709635.0278 | 1115500.3105 | 2709638.0441 | 1115500.1393
10 | 2709629.1483 | 1115500.4541 | 2709629.2571 | 1115500.4515
11 | 2709629.1483 | 1115500.4541 | 2709622.4803 | 1115500.617 | 2709609.4252 | 1115500.3808 | 2709607.4377 | 1115500.2948
12 | 2709576.7375 | 1115503.614 | 2709578.5617 | 1115505.6594 | 2709581.7388 | 1115506.3507 | 2709586.1705 | 1115505.5636 | 2709589.6541 | 1115503.8255 | 2709594.5939 | 1115500.9907 | 2709600.5817 | 1115499.9984 | 2709607.4377 | 1115500.2948
13 | 2709576.7375 | 1115503.614 | 2709582.0691 | 1115499.6189 | 2709588.1036 | 1115494.3357 | 2709589.6631 | 1115492.9047
14 | 2709576.7375 | 1115503.614 | 2709575.4564 | 1115504.3207
15 | 2709589.6631 | 1115492.9047 | 2709596.6951 | 1115486.4526 | 2709601.1373 | 1115483.0749
16 | 2709575.4564 | 1115504.3207 | 2709564.9896 | 1115510.0947 | 2709541.2567 | 1115522.5072 | 2709532.0141 | 1115526.6873 | 2709521.8081 | 1115529.905 | 2709517.9451 | 1115530.7558
17 | 2709601.1373 | 1115483.0749 | 2709604.3221 | 1115480.6534 | 2709608.5407 | 1115478.5832
18 | 2709509.7879 | 1115532.5524 | 2709517.9451 | 1115530.7558
19 | 2709623.7361 | 1115473.4776 | 2709617.6397 | 1115475.7799 | 2709610.3532 | 1115477.6938 | 2709608.5407 | 1115478.5832
20 | 2709502.2015 | 1115534.0693 | 2709507.7661 | 1115532.9977 | 2709509.7879 | 1115532.5524
21 | 2709627.3878 | 1115450.5064 | 2709630.1035 | 1115455.7812 | 2709631.2971 | 1115459.3829 | 2709631.3163 | 1115462.1629 | 2709630.2971 | 1115465.9914 | 2709627.9403 | 1115470.3293 | 2709623.7361 | 1115473.4776 | 2709623.7361 | 1115473.4776
22 | 2709627.3878 | 1115450.5064 | 2709630.1056 | 1115448.8096
23 | 2709627.3878 | 1115450.5064 | 2709619.0982 | 1115455.3054
24 | 2709655.746 | 1115431.9848 | 2709645.0412 | 1115439.4852 | 2709630.1056 | 1115448.8096
25 | 2709619.0982 | 1115455.3054 | 2709606.5731 | 1115462.5563
26 | 2709582.8974 | 1115477.002 | 2709604.239 | 1115463.9076 | 2709606.5731 | 1115462.5563
27 | 2709582.8974 | 1115477.002 | 2709571.3058 | 1115484.1142 | 2709558.8355 | 1115489.9703 | 2709557.1614 | 1115490.5901
28 | 2709557.0403 | 1115490.6349 | 2709557.1614 | 1115490.5901
29 | 2709545.6337 | 1115494.8571 | 2709557.0403 | 1115490.6349
30 | 2709545.6337 | 1115494.8571 | 2709541.7753 | 1115495.5939
31 | 2709545.6337 | 1115494.8571 | 2709539.9945 | 1115493.2676
32 | 2709541.7753 | 1115495.5939 | 2709529.0008 | 1115498.0334
33 | 2709531.2303 | 1115490.7973 | 2709539.9945 | 1115493.2676
34 | 2709523.8883 | 1115488.7278 | 2709531.2303 | 1115490.7973
35 | 2709523.8883 | 1115488.7278 | 2709519.7734 | 1115487.5679
36 | 2709507.3934 | 1115480.8407 | 2709507.9808 | 1115482.6798 | 2709510.6496 | 1115484.9962 | 2709519.7734 | 1115487.5679
37 | 2709507.3934 | 1115480.8407 | 2709506.9616 | 1115479.4888
38 | 2709504.3778 | 1115472.1443 | 2709506.2485 | 1115477.2561 | 2709506.9616 | 1115479.4888
39 | 2709503.1355 | 1115468.7499 | 2709504.3778 | 1115472.1443
40 | 2709502.257 | 1115455.3797 | 2709502.1592 | 1115453.8902
41 | 2709503.1355 | 1115468.7499 | 2709502.257 | 1115455.3797
42 | 2709526.7563 | 1115421.5459 | 2709513.971 | 1115425.1728 | 2709508.4981 | 1115426.7304 | 2709501.7288 | 1115434.213 | 2709501.4094 | 1115442.4793 | 2709502.1592 | 1115453.8902
43 | 2709503.1355 | 1115468.7499 | 2709495.6492 | 1115469.6335
44 | 2709526.7563 | 1115421.5459 | 2709547.8607 | 1115417.9515
45 | 2709495.6492 | 1115469.6335 | 2709491.7817 | 1115470.0901 | 2709487.095 | 1115480.2538
46 | 2709547.8607 | 1115417.9515 | 2709553.7851 | 1115416.9425 | 2709561.9773 | 1115415.0396
47 | 2709487.095 | 1115480.2538 | 2709486.334 | 1115481.9041
48 | 2709568.0156 | 1115413.6371 | 2709561.9773 | 1115415.0396
49 | 2709486.2497 | 1115482.087 | 2709486.334 | 1115481.9041
50 | 2709482.4493 | 1115490.3285 | 2709486.2497 | 1115482.087
51 | 2709482.4493 | 1115490.3285 | 2709481.9885 | 1115491.3279
52 | 2709476.5739 | 1115503.0702 | 2709481.9885 | 1115491.3279
53 | 2709476.5739 | 1115503.0702 | 2709478.2543 | 1115502.9274
54 | 2709476.5739 | 1115503.0702 | 2709462.415 | 1115503.6117
55 | 2709437.2208 | 1115508.5709 | 2709439.7892 | 1115508.0057
56 | 2709445.7591 | 1115506.6922 | 2709439.7892 | 1115508.0057
57 | 2709445.7591 | 1115506.6922 | 2709457.3857 | 1115504.134
58 | 2709457.3857 | 1115504.134 | 2709458.0985 | 1115503.9771
59 | 2709462.415 | 1115503.6117 | 2709459.2008 | 1115503.7346 | 2709458.0985 | 1115503.9771
60 | 2709468.6476 | 1115542.2501 | 2709469.0864 | 1115541.7491 | 2709473.2143 | 1115539.8224 | 2709480.073 | 1115538.0673 | 2709491.0884 | 1115536.2096 | 2709502.2015 | 1115534.0693
61 | 2709478.2543 | 1115502.9274 | 2709490.4894 | 1115501.8878
62 | 2709490.4894 | 1115501.8878 | 2709496.8923 | 1115501.3438
63 | 2709496.8923 | 1115501.3438 | 2709505.8457 | 1115500.583
64 | 2709606.9918 | 1115368.0039 | 2709614.3207 | 1115366.3871
65 | 2709606.9918 | 1115368.0039 | 2709595.7584 | 1115370.4821 | 2709589.2545 | 1115374.8118 | 2709588.0724 | 1115379.9604 | 2709589.9785 | 1115387.0247
66 | 2709606.9918 | 1115368.0039 | 2709598.8024 | 1115336.9415
67 | 2709618.8274 | 1115364.273 | 2709615.9266 | 1115366.0328 | 2709614.3207 | 1115366.3871
68 | 2709595.4403 | 1115407.2671 | 2709589.9785 | 1115387.0247
69 | 2709618.8274 | 1115364.273 | 2709624.2195 | 1115361.0018 | 2709624.5309 | 1115360.5693
70 | 2709595.4403 | 1115407.2671 | 2709601.2006 | 1115406.0727
71 | 2709595.4403 | 1115407.2671 | 2709591.5574 | 1115408.169
72 | 2709624.5309 | 1115360.5693 | 2709638.1245 | 1115341.6912
73 | 2709602.7198 | 1115405.7577 | 2709601.2006 | 1115406.0727
74 | 2709591.5574 | 1115408.169 | 2709585.5997 | 1115409.5528
75 | 2709602.7198 | 1115405.7577 | 2709610.0616 | 1115404.2355
76 | 2709568.0156 | 1115413.6371 | 2709585.5997 | 1115409.5528
77 | 2709628.1685 | 1115400.4812 | 2709627.8893 | 1115400.5391
78 | 2709628.1685 | 1115400.4812 | 2709633.5835 | 1115399.3584
79 | 2709617.3124 | 1115402.7321 | 2709627.8893 | 1115400.5391
80 | 2709642.0272 | 1115397.6077 | 2709633.5835 | 1115399.3584
81 | 2709617.3124 | 1115402.7321 | 2709616.4738 | 1115402.906
82 | 2709616.4738 | 1115402.906 | 2709610.0616 | 1115404.2355

## bus_geodata
| x | y | coords
0 | 2709663.8266 | 1115586.7673
1 | 2709631.1559 | 1115572.1429
2 | 2709676.9589 | 1115581.5778
3 | 2709623.501 | 1115569.6695
4 | 2709685.3573 | 1115507.4847
5 | 2709647.3226 | 1115606.8175
6 | 2709696.3001 | 1115474.7914
7 | 2709658.9273 | 1115495.7945
8 | 2709645.3195 | 1115499.4589
9 | 2709638.0441 | 1115500.1393
10 | 2709629.2571 | 1115500.4515
11 | 2709629.1483 | 1115500.4541
12 | 2709607.4377 | 1115500.2948
13 | 2709576.7375 | 1115503.614
14 | 2709589.6631 | 1115492.9047
15 | 2709575.4564 | 1115504.3207
16 | 2709601.1373 | 1115483.0749
17 | 2709517.9451 | 1115530.7558
18 | 2709608.5407 | 1115478.5832
19 | 2709509.7879 | 1115532.5524
20 | 2709623.7361 | 1115473.4776
21 | 2709627.3878 | 1115450.5064
22 | 2709630.1056 | 1115448.8096
23 | 2709619.0982 | 1115455.3054
24 | 2709655.746 | 1115431.9848
25 | 2709606.5731 | 1115462.5563
26 | 2709582.8974 | 1115477.002
27 | 2709557.1614 | 1115490.5901
28 | 2709557.0403 | 1115490.6349
29 | 2709545.6337 | 1115494.8571
30 | 2709541.7753 | 1115495.5939
31 | 2709539.9945 | 1115493.2676
32 | 2709529.0008 | 1115498.0334
33 | 2709531.2303 | 1115490.7973
34 | 2709523.8883 | 1115488.7278
35 | 2709519.7734 | 1115487.5679
36 | 2709507.3934 | 1115480.8407
37 | 2709506.9616 | 1115479.4888
38 | 2709504.3778 | 1115472.1443
39 | 2709502.257 | 1115455.3797
40 | 2709502.1592 | 1115453.8902
41 | 2709503.1355 | 1115468.7499
42 | 2709526.7563 | 1115421.5459
43 | 2709495.6492 | 1115469.6335
44 | 2709547.8607 | 1115417.9515
45 | 2709487.095 | 1115480.2538
46 | 2709561.9773 | 1115415.0396
47 | 2709486.334 | 1115481.9041
48 | 2709486.2497 | 1115482.087
49 | 2709482.4493 | 1115490.3285
50 | 2709481.9885 | 1115491.3279
51 | 2709476.5739 | 1115503.0702
52 | 2709437.2208 | 1115508.5709
53 | 2709439.7892 | 1115508.0057
54 | 2709445.7591 | 1115506.6922
55 | 2709457.3857 | 1115504.134
56 | 2709458.0985 | 1115503.9771
57 | 2709468.6476 | 1115542.2501
58 | 2709502.2015 | 1115534.0693
59 | 2709462.415 | 1115503.6117
60 | 2709478.2543 | 1115502.9274
61 | 2709490.4894 | 1115501.8878
62 | 2709496.8923 | 1115501.3438
63 | 2709606.9918 | 1115368.0039
64 | 2709614.3207 | 1115366.3871
65 | 2709589.9785 | 1115387.0247
66 | 2709598.8024 | 1115336.9415
67 | 2709618.8274 | 1115364.273
68 | 2709595.4403 | 1115407.2671
69 | 2709624.5309 | 1115360.5693
70 | 2709601.2006 | 1115406.0727
71 | 2709591.5574 | 1115408.169
72 | 2709638.1245 | 1115341.6912
73 | 2709602.7198 | 1115405.7577
74 | 2709585.5997 | 1115409.5528
75 | 2709628.1685 | 1115400.4812
76 | 2709627.8893 | 1115400.5391
77 | 2709633.5835 | 1115399.3584
78 | 2709617.3124 | 1115402.7321
79 | 2709642.0272 | 1115397.6077
80 | 2709616.4738 | 1115402.906
81 | 2709610.0616 | 1115404.2355
82 | 2709505.8457 | 1115500.583
83 | 2709568.0156 | 1115413.6371
84 | 2709545.6337 | 1115494.8571

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1