## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5125-2_1_5_node_73 | 0.4 | n |  | TRUE
1 | bus_LV_5125-2_1_5_node_74 | 0.4 | n |  | TRUE
2 | bus_LV_5125-2_1_5_node_56 | 0.4 | n |  | TRUE
3 | bus_LV_5125-2_1_5_node_57 | 0.4 | n |  | TRUE
4 | bus_LV_5125-2_1_5_node_58 | 0.4 | n |  | TRUE
5 | bus_LV_5125-2_1_5_node_59 | 0.4 | n |  | TRUE
6 | bus_LV_5125-2_1_5_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_5125-2_1_5_node_61 | 0.4 | n |  | TRUE
8 | bus_LV_5125-2_1_5_node_62 | 0.4 | n |  | TRUE
9 | bus_LV_5125-2_1_5_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_5125-2_1_5_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_5125-2_1_5_node_65 | 0.4 | n |  | TRUE
12 | bus_LV_5125-2_1_5_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_5125-2_1_5_node_67 | 0.4 | n |  | TRUE
14 | bus_LV_5125-2_1_5_node_68 | 0.4 | n |  | TRUE
15 | bus_LV_5125-2_1_5_node_83 | 0.4 | n |  | TRUE
16 | bus_LV_5125-2_1_5_node_69 | 0.4 | n |  | TRUE
17 | bus_LV_5125-2_1_5_node_84 | 0.4 | n |  | TRUE
18 | bus_LV_5125-2_1_5_node_85 | 0.4 | n |  | TRUE
19 | bus_LV_5125-2_1_5_node_70 | 0.4 | n |  | TRUE
20 | bus_LV_5125-2_1_5_node_71 | 0.4 | n |  | TRUE
21 | bus_LV_5125-2_1_5_node_72 | 0.4 | n |  | TRUE
22 | bus_LV_5125-2_1_5_node_110 | 0.4 | n |  | TRUE
23 | bus_LV_5125-2_1_5_node_120 | 0.4 | n |  | TRUE
24 | bus_LV_5125-2_1_5_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_5125-2_1_5_node_76 | 0.4 | n |  | TRUE
26 | bus_LV_5125-2_1_5_node_77 | 0.4 | n |  | TRUE
27 | bus_LV_5125-2_1_5_node_78 | 0.4 | n |  | TRUE
28 | bus_LV_5125-2_1_5_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_5125-2_1_5_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_5125-2_1_5_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_5125-2_1_5_node_82 | 0.4 | n |  | TRUE
32 | bus_LV_5125-2_1_5_node_89 | 0.4 | n |  | TRUE
33 | bus_LV_5125-2_1_5_node_88 | 0.4 | n |  | TRUE
34 | bus_LV_5125-2_1_5_node_102 | 0.4 | n |  | TRUE
35 | bus_LV_5125-2_1_5_node_86 | 0.4 | n |  | TRUE
36 | bus_LV_5125-2_1_5_node_87 | 0.4 | n |  | TRUE
37 | bus_LV_5125-2_1_5_node_105 | 0.4 | n |  | TRUE
38 | bus_LV_5125-2_1_5_node_106 | 0.4 | n |  | TRUE
39 | bus_LV_5125-2_1_5_node_103 | 0.4 | n |  | TRUE
40 | bus_LV_5125-2_1_5_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_5125-2_1_5_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_5125-2_1_5_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_5125-2_1_5_node_160 | 0.4 | n |  | TRUE
44 | bus_LV_5125-2_1_5_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_5125-2_1_5_node_95 | 0.4 | n |  | TRUE
46 | bus_LV_5125-2_1_5_node_93 | 0.4 | n |  | TRUE
47 | bus_LV_5125-2_1_5_node_96 | 0.4 | n |  | TRUE
48 | bus_LV_5125-2_1_5_node_159 | 0.4 | n |  | TRUE
49 | bus_LV_5125-2_1_5_node_97 | 0.4 | n |  | TRUE
50 | bus_LV_5125-2_1_5_node_98 | 0.4 | n |  | TRUE
51 | bus_LV_5125-2_1_5_node_99 | 0.4 | n |  | TRUE
52 | bus_LV_5125-2_1_5_node_100 | 0.4 | n |  | TRUE
53 | bus_LV_5125-2_1_5_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_5125-2_1_5_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_5125-2_1_5_node_101 | 0.4 | n |  | TRUE
56 | bus_LV_5125-2_1_5_node_155 | 0.4 | n |  | TRUE
57 | bus_LV_5125-2_1_5_node_114 | 0.4 | n |  | TRUE
58 | bus_LV_5125-2_1_5_node_104 | 0.4 | n |  | TRUE
59 | bus_LV_5125-2_1_5_node_107 | 0.4 | n |  | TRUE
60 | bus_LV_5125-2_1_5_node_108 | 0.4 | n |  | TRUE
61 | bus_LV_5125-2_1_5_node_109 | 0.4 | n |  | TRUE
62 | bus_LV_5125-2_1_5_node_111 | 0.4 | n |  | TRUE
63 | bus_LV_5125-2_1_5_node_112 | 0.4 | n |  | TRUE
64 | bus_LV_5125-2_1_5_node_123 | 0.4 | n |  | TRUE
65 | bus_LV_5125-2_1_5_node_121 | 0.4 | n |  | TRUE
66 | bus_LV_5125-2_1_5_node_117 | 0.4 | n |  | TRUE
67 | bus_LV_5125-2_1_5_node_118 | 0.4 | n |  | TRUE
68 | bus_LV_5125-2_1_5_node_115 | 0.4 | n |  | TRUE
69 | bus_LV_5125-2_1_5_node_136 | 0.4 | n |  | TRUE
70 | bus_LV_5125-2_1_5_node_143 | 0.4 | n |  | TRUE
71 | bus_LV_5125-2_1_5_node_156 | 0.4 | n |  | TRUE
72 | bus_LV_5125-2_1_5_node_119 | 0.4 | n |  | TRUE
73 | bus_LV_5125-2_1_5_node_133 | 0.4 | n |  | TRUE
74 | bus_LV_5125-2_1_5_node_134 | 0.4 | n |  | TRUE
75 | bus_LV_5125-2_1_5_node_122 | 0.4 | n |  | TRUE
76 | bus_LV_5125-2_1_5_node_124 | 0.4 | n |  | TRUE
77 | bus_LV_5125-2_1_5_node_125 | 0.4 | n |  | TRUE
78 | bus_LV_5125-2_1_5_node_127 | 0.4 | n |  | TRUE
79 | bus_LV_5125-2_1_5_node_128 | 0.4 | n |  | TRUE
80 | bus_LV_5125-2_1_5_node_126 | 0.4 | n |  | TRUE
81 | bus_LV_5125-2_1_5_node_129 | 0.4 | n |  | TRUE
82 | bus_LV_5125-2_1_5_node_131 | 0.4 | n |  | TRUE
83 | bus_LV_5125-2_1_5_node_130 | 0.4 | n |  | TRUE
84 | bus_LV_5125-2_1_5_node_132 | 0.4 | n |  | TRUE
85 | bus_LV_5125-2_1_5_node_142 | 0.4 | n |  | TRUE
86 | bus_LV_5125-2_1_5_node_137 | 0.4 | n |  | TRUE
87 | bus_LV_5125-2_1_5_node_138 | 0.4 | n |  | TRUE
88 | bus_LV_5125-2_1_5_node_135 | 0.4 | n |  | TRUE
89 | bus_LV_5125-2_1_5_node_144 | 0.4 | n |  | TRUE
90 | bus_LV_5125-2_1_5_node_139 | 0.4 | n |  | TRUE
91 | bus_LV_5125-2_1_5_node_140 | 0.4 | n |  | TRUE
92 | bus_LV_5125-2_1_5_node_141 | 0.4 | n |  | TRUE
93 | bus_LV_5125-2_1_5_node_146 | 0.4 | n |  | TRUE
94 | bus_LV_5125-2_1_5_node_147 | 0.4 | n |  | TRUE
95 | bus_LV_5125-2_1_5_node_145 | 0.4 | n |  | TRUE
96 | bus_LV_5125-2_1_5_node_148 | 0.4 | n |  | TRUE
97 | bus_LV_5125-2_1_5_node_149 | 0.4 | n |  | TRUE
98 | bus_LV_5125-2_1_5_node_151 | 0.4 | n |  | TRUE
99 | bus_LV_5125-2_1_5_node_153 | 0.4 | n |  | TRUE
100 | bus_LV_5125-2_1_5_node_154 | 0.4 | n |  | TRUE
101 | bus_LV_5125-2_1_5_node_158 | 0.4 | n |  | TRUE
102 | bus_LV_5125-2_1_5_node_157 | 0.4 | n |  | TRUE
103 | bus_MV_66_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5125-2_1_5_load_73 | 0 | 0.0054713 | 0.0013712 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5125-2_1_5_load_74 | 1 | 0.0060726 | 0.0015219 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5125-2_1_5_load_56 | 2 | 0.0036075 | 0.00090412 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5125-2_1_5_load_57 | 3 | 0.0051223 | 0.0012838 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5125-2_1_5_load_58 | 4 | 0.0031193 | 0.00078177 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5125-2_1_5_load_59 | 5 | 0.0031593 | 0.00079179 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5125-2_1_5_load_61 | 7 | 0.0042974 | 0.001077 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5125-2_1_5_load_64 | 10 | 0.0020875 | 0.00052317 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5125-2_1_5_load_65 | 11 | 0.0030018 | 0.00075233 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5125-2_1_5_load_66 | 12 | 0.002086 | 0.0005228 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5125-2_1_5_load_67 | 13 | 0.0064587 | 0.0016187 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5125-2_1_5_load_68 | 14 | 0.0036707 | 0.00091996 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5125-2_1_5_load_69 | 16 | 0.0059907 | 0.0015014 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5125-2_1_5_load_84 | 17 | 0.0017035 | 0.00042693 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5125-2_1_5_load_85 | 18 | 0.0012441 | 0.0003118 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5125-2_1_5_load_70 | 19 | 0.0016335 | 0.0004094 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5125-2_1_5_load_71 | 20 | 0.002803 | 0.00070249 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5125-2_1_5_load_72 | 21 | 0.0026528 | 0.00066485 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5125-2_1_5_load_110 | 22 | 0.0030424 | 0.0007625 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5125-2_1_5_load_75 | 24 | 0.0017067 | 0.00042773 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5125-2_1_5_load_76 | 25 | 0.0044417 | 0.0011132 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5125-2_1_5_load_77 | 26 | 0.0099253 | 0.0024875 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5125-2_1_5_load_78 | 27 | 0.00099281 | 0.00024882 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5125-2_1_5_load_79 | 28 | 0.0026627 | 0.00066733 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5125-2_1_5_load_80 | 29 | 0.00071105 | 0.00017821 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5125-2_1_5_load_81 | 30 | 0.0029525 | 0.00073997 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5125-2_1_5_load_82 | 31 | 0.0011304 | 0.00028331 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5125-2_1_5_load_89 | 32 | 0.0015671 | 0.00039276 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5125-2_1_5_load_88 | 33 | 0.0013435 | 0.00033671 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5125-2_1_5_load_102 | 34 | 0.0011114 | 0.00027855 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5125-2_1_5_load_86 | 35 | 0.003162 | 0.00079247 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5125-2_1_5_load_87 | 36 | 0.002218 | 0.00055589 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5125-2_1_5_load_105 | 37 | 0.0036839 | 0.00092328 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5125-2_1_5_load_106 | 38 | 0.0034946 | 0.00087583 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5125-2_1_5_load_103 | 39 | 0.0041181 | 0.0010321 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5125-2_1_5_load_90 | 40 | 0.005773 | 0.0014468 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5125-2_1_5_load_91 | 41 | 0.012332 | 0.0030907 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5125-2_1_5_load_160 | 43 | 0.0011574 | 0.00029007 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5125-2_1_5_load_94 | 44 | 0.0060315 | 0.0015116 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5125-2_1_5_load_93 | 46 | 0.0028021 | 0.00070227 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5125-2_1_5_load_96 | 47 | 0.0016422 | 0.00041158 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5125-2_1_5_load_159 | 48 | 0.0011573 | 0.00029005 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5125-2_1_5_load_97 | 49 | 0.0021701 | 0.00054388 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5125-2_1_5_load_99 | 51 | 0.010893 | 0.00273 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5125-2_1_5_load_100 | 52 | 0.0022452 | 0.0005627 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5125-2_1_5_load_116 | 53 | 0.0086734 | 0.0021738 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5125-2_1_5_load_113 | 54 | 0.00098059 | 0.00024576 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5125-2_1_5_load_101 | 55 | 0.0070237 | 0.0017603 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5125-2_1_5_load_155 | 56 | 0.0034833 | 0.00087299 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5125-2_1_5_load_114 | 57 | 0.011874 | 0.002976 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5125-2_1_5_load_104 | 58 | 0.0091773 | 0.0023001 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5125-2_1_5_load_107 | 59 | 0.0023034 | 0.00057728 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5125-2_1_5_load_108 | 60 | 0.0018431 | 0.00046193 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5125-2_1_5_load_109 | 61 | 0.0029319 | 0.00073479 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5125-2_1_5_load_111 | 62 | 0.0033794 | 0.00084695 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5125-2_1_5_load_112 | 63 | 0.0028915 | 0.00072467 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5125-2_1_5_load_123 | 64 | 0.0047341 | 0.0011865 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5125-2_1_5_load_121 | 65 | 0.0066994 | 0.001679 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5125-2_1_5_load_117 | 66 | 0.0043313 | 0.0010855 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5125-2_1_5_load_118 | 67 | 0.0016909 | 0.00042378 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5125-2_1_5_load_136 | 69 | 0.0045265 | 0.0011344 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5125-2_1_5_load_143 | 70 | 0.0038693 | 0.00096974 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5125-2_1_5_load_156 | 71 | 0.0059173 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5125-2_1_5_load_119 | 72 | 0.0016312 | 0.00040881 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5125-2_1_5_load_133 | 73 | 0.0017836 | 0.00044701 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5125-2_1_5_load_134 | 74 | 0.0016693 | 0.00041836 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5125-2_1_5_load_124 | 76 | 0.0048726 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5125-2_1_5_load_125 | 77 | 0.0036383 | 0.00091185 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5125-2_1_5_load_127 | 78 | 0.003757 | 0.00094159 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5125-2_1_5_load_128 | 79 | 0.0036737 | 0.00092072 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5125-2_1_5_load_129 | 81 | 0.0074576 | 0.0018691 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5125-2_1_5_load_131 | 82 | 0.0016161 | 0.00040504 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5125-2_1_5_load_130 | 83 | 0.0069591 | 0.0017441 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5125-2_1_5_load_132 | 84 | 0.0024263 | 0.00060809 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5125-2_1_5_load_142 | 85 | 0.0067163 | 0.0016833 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5125-2_1_5_load_137 | 86 | 0.0026774 | 0.00067101 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5125-2_1_5_load_138 | 87 | 0.003014 | 0.00075539 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5125-2_1_5_load_135 | 88 | 0.0095945 | 0.0024046 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5125-2_1_5_load_144 | 89 | 0.003102 | 0.00077744 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5125-2_1_5_load_139 | 90 | 0.003669 | 0.00091954 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5125-2_1_5_load_140 | 91 | 0.004218 | 0.0010571 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5125-2_1_5_load_141 | 92 | 0.0010476 | 0.00026256 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5125-2_1_5_load_146 | 93 | 0.0013733 | 0.00034418 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5125-2_1_5_load_147 | 94 | 0.0065986 | 0.0016538 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5125-2_1_5_load_145 | 95 | 0.0031879 | 0.00079897 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5125-2_1_5_load_148 | 96 | 0.0041063 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5125-2_1_5_load_149 | 97 | 0.0021913 | 0.00054918 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5125-2_1_5_load_151 | 98 | 0.004226 | 0.0010591 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5125-2_1_5_load_153 | 99 | 0.0035551 | 0.00089098 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5125-2_1_5_load_154 | 100 | 0.0047283 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5125-2_1_5_line_0 |  | 0 | 1 | 0.01586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5125-2_1_5_line_1 |  | 1 | 13 | 0.050473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5125-2_1_5_line_2 |  | 2 | 3 | 0.025563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5125-2_1_5_line_3 |  | 3 | 4 | 0.028779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5125-2_1_5_line_4 |  | 4 | 5 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5125-2_1_5_line_5 |  | 5 | 6 | 0.01463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5125-2_1_5_line_6 |  | 6 | 7 | 0.061225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5125-2_1_5_line_7 |  | 7 | 8 | 0.031322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5125-2_1_5_line_8 |  | 8 | 9 | 0.011424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5125-2_1_5_line_9 |  | 8 | 10 | 0.085736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5125-2_1_5_line_10 |  | 9 | 11 | 0.0094907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5125-2_1_5_line_11 |  | 9 | 12 | 0.042904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5125-2_1_5_line_12 |  | 10 | 13 | 0.049921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5125-2_1_5_line_13 |  | 11 | 14 | 0.020291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5125-2_1_5_line_14 |  | 12 | 15 | 0.10747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5125-2_1_5_line_15 |  | 14 | 16 | 0.042411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5125-2_1_5_line_16 |  | 15 | 17 | 0.016402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5125-2_1_5_line_17 |  | 15 | 18 | 0.0023373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5125-2_1_5_line_18 |  | 16 | 19 | 0.010326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5125-2_1_5_line_19 |  | 17 | 35 | 0.029387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5125-2_1_5_line_20 |  | 18 | 36 | 0.025572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5125-2_1_5_line_21 |  | 19 | 20 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5125-2_1_5_line_22 |  | 20 | 21 | 0.0013778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5125-2_1_5_line_23 |  | 21 | 22 | 0.020202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5125-2_1_5_line_24 |  | 22 | 23 | 0.0273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5125-2_1_5_line_25 |  | 23 | 64 | 0.0096599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5125-2_1_5_line_26 |  | 23 | 65 | 0.0047984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5125-2_1_5_line_27 |  | 24 | 25 | 0.014723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5125-2_1_5_line_28 |  | 24 | 26 | 0.0061392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5125-2_1_5_line_29 |  | 25 | 27 | 0.00015237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5125-2_1_5_line_30 |  | 26 | 28 | 0.0025809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5125-2_1_5_line_31 |  | 27 | 29 | 0.012929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5125-2_1_5_line_32 |  | 28 | 30 | 0.029836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5125-2_1_5_line_33 |  | 29 | 31 | 0.01385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5125-2_1_5_line_34 |  | 30 | 32 | 0.01475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5125-2_1_5_line_35 |  | 31 | 33 | 0.01316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5125-2_1_5_line_36 |  | 32 | 34 | 0.057776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5125-2_1_5_line_37 |  | 33 | 35 | 0.0043979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5125-2_1_5_line_38 |  | 34 | 39 | 0.021123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5125-2_1_5_line_39 |  | 36 | 37 | 9.4779e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5125-2_1_5_line_40 |  | 37 | 38 | 0.03267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5125-2_1_5_line_41 |  | 38 | 59 | 0.0030976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5125-2_1_5_line_42 |  | 39 | 58 | 0.041074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5125-2_1_5_line_43 |  | 40 | 41 | 0.016136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5125-2_1_5_line_44 |  | 40 | 42 | 0.070296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5125-2_1_5_line_45 |  | 41 | 43 | 0.22477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5125-2_1_5_line_46 |  | 42 | 44 | 0.014945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5125-2_1_5_line_47 |  | 42 | 45 | 0.01851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5125-2_1_5_line_48 |  | 43 | 48 | 0.0029658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5125-2_1_5_line_49 |  | 44 | 49 | 0.039541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5125-2_1_5_line_50 |  | 45 | 50 | 0.14359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5125-2_1_5_line_51 |  | 45 | 51 | 0.08306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5125-2_1_5_line_52 |  | 46 | 47 | 0.054855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5125-2_1_5_line_53 |  | 47 | 50 | 0.055255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5125-2_1_5_line_54 |  | 49 | 52 | 0.024065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5125-2_1_5_line_55 |  | 50 | 53 | 0.024053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5125-2_1_5_line_56 |  | 51 | 54 | 0.057968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5125-2_1_5_line_57 |  | 52 | 55 | 0.007256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5125-2_1_5_line_58 |  | 53 | 56 | 0.026163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5125-2_1_5_line_59 |  | 54 | 57 | 0.024003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5125-2_1_5_line_60 |  | 55 | 58 | 0.047663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5125-2_1_5_line_61 |  | 56 | 71 | 0.026513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5125-2_1_5_line_62 |  | 57 | 68 | 0.084207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5125-2_1_5_line_63 |  | 59 | 60 | 0.022244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5125-2_1_5_line_64 |  | 60 | 61 | 0.001593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5125-2_1_5_line_65 |  | 61 | 62 | 0.029571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5125-2_1_5_line_66 |  | 62 | 63 | 0.025143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5125-2_1_5_line_67 |  | 63 | 66 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5125-2_1_5_line_68 |  | 65 | 75 | 0.021118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_5125-2_1_5_line_69 |  | 66 | 67 | 0.01018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5125-2_1_5_line_70 |  | 67 | 72 | 0.015364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5125-2_1_5_line_71 |  | 68 | 69 | 0.068013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5125-2_1_5_line_72 |  | 69 | 70 | 0.016196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5125-2_1_5_line_73 |  | 70 | 89 | 0.0046498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5125-2_1_5_line_74 |  | 71 | 102 | 0.055423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5125-2_1_5_line_75 |  | 72 | 73 | 0.0093414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5125-2_1_5_line_76 |  | 73 | 74 | 0.0031661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5125-2_1_5_line_77 |  | 74 | 88 | 0.0080591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5125-2_1_5_line_78 |  | 75 | 76 | 0.012026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5125-2_1_5_line_79 |  | 75 | 77 | 0.018499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5125-2_1_5_line_80 |  | 76 | 78 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5125-2_1_5_line_81 |  | 77 | 79 | 0.034885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5125-2_1_5_line_82 |  | 78 | 80 | 0.027049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5125-2_1_5_line_83 |  | 79 | 82 | 0.011482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5125-2_1_5_line_84 |  | 80 | 81 | 0.022291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5125-2_1_5_line_85 |  | 81 | 83 | 0.16259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5125-2_1_5_line_86 |  | 82 | 84 | 0.0069418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5125-2_1_5_line_87 |  | 83 | 85 | 0.013971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5125-2_1_5_line_88 |  | 84 | 86 | 0.014086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5125-2_1_5_line_89 |  | 86 | 87 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5125-2_1_5_line_90 |  | 87 | 90 | 0.042096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5125-2_1_5_line_91 |  | 89 | 95 | 0.021183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5125-2_1_5_line_92 |  | 90 | 91 | 0.14426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5125-2_1_5_line_93 |  | 91 | 92 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5125-2_1_5_line_94 |  | 92 | 93 | 0.0086503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5125-2_1_5_line_95 |  | 93 | 94 | 0.011011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5125-2_1_5_line_96 |  | 96 | 97 | 0.0025146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5125-2_1_5_line_97 |  | 97 | 98 | 0.087731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5125-2_1_5_line_98 |  | 98 | 99 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5125-2_1_5_line_99 |  | 99 | 100 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5125-2_1_5_line_100 |  | 100 | 101 | 0.073222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5125-2_1_5_line_101 |  | 101 | 102 | 0.027798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5125-2_1_5_trafo_104 | 0.63 MVA 20/0.4 kV | 103 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2700414.3912 | 1111913.5301 | 2700430.2185 | 1111912.5156
1 | 2700430.2185 | 1111912.5156 | 2700462.1897 | 1111910.4663 | 2700480.6145 | 1111909.8201
2 | 2700448.5819 | 1111890.7351 | 2700465.0396 | 1111893.3028 | 2700473.8331 | 1111894.7177
3 | 2700473.8331 | 1111894.7177 | 2700502.2467 | 1111899.2897 | 2700502.2467 | 1111899.2897
4 | 2700502.2467 | 1111899.2897 | 2700515.1321 | 1111903.4752
5 | 2700529.0466 | 1111907.9949 | 2700515.1321 | 1111903.4752
6 | 2700529.0466 | 1111907.9949 | 2700563.1061 | 1111921.1234 | 2700584.2133 | 1111933.9961
7 | 2700608.0933 | 1111952.7562 | 2700606.7965 | 1111948.4875 | 2700602.5169 | 1111945.1589 | 2700584.2133 | 1111933.9961
8 | 2700608.0933 | 1111952.7562 | 2700618.8861 | 1111956.5932
9 | 2700608.0933 | 1111952.7562 | 2700541.1412 | 1111923.2606 | 2700529.3876 | 1111918.7902
10 | 2700618.8861 | 1111956.5932 | 2700627.7989 | 1111959.8542
11 | 2700618.8861 | 1111956.5932 | 2700615.0751 | 1111959.4762 | 2700611.9962 | 1111960.1589 | 2700607.3263 | 1111959.3921 | 2700594.5124 | 1111953.0311 | 2700579.403 | 1111947.9742
12 | 2700480.6145 | 1111909.8201 | 2700487.5879 | 1111909.5755 | 2700502.6728 | 1111911.3377 | 2700525.4308 | 1111917.2853 | 2700529.3876 | 1111918.7902
13 | 2700646.0211 | 1111968.7628 | 2700629.0088 | 1111960.2968 | 2700627.7989 | 1111959.8542
14 | 2700591.0661 | 1111980.0353 | 2700585.479 | 1111973.0827 | 2700562.3042 | 1111957.344 | 2700553.7395 | 1111953.3439 | 2700545.8252 | 1111951.5894 | 2700542.0121 | 1111949.4804 | 2700540.0968 | 1111946.6246 | 2700540.91 | 1111942.7913 | 2700544.1281 | 1111939.7761 | 2700548.5118 | 1111938.6925 | 2700553.478 | 1111939.2974 | 2700579.403 | 1111947.9742
15 | 2700646.0211 | 1111968.7628 | 2700665.2272 | 1111978.3204 | 2700683.1039 | 1111989.2594
16 | 2700591.0661 | 1111980.0353 | 2700586.1578 | 1111984.3233 | 2700576.5699 | 1111981.9183
17 | 2700591.0661 | 1111980.0353 | 2700593.1236 | 1111981.1441
18 | 2700683.1039 | 1111989.2594 | 2700690.0107 | 1111993.4858 | 2700691.7403 | 1111994.8914
19 | 2700549.0682 | 1111973.8096 | 2700563.3843 | 1111974.6729 | 2700576.5699 | 1111981.9183 | 2700576.5699 | 1111981.9183
20 | 2700593.1236 | 1111981.1441 | 2700600.9225 | 1111985.3466 | 2700614.6566 | 1111994.8695
21 | 2700691.7403 | 1111994.8914 | 2700711.6443 | 1112011.0662
22 | 2700711.6443 | 1112011.0662 | 2700712.7136 | 1112011.9351
23 | 2700728.3918 | 1112024.6759 | 2700712.7136 | 1112011.9351
24 | 2700752.8786 | 1112036.168 | 2700741.0772 | 1112032.5919 | 2700729.8308 | 1112025.8453 | 2700728.3918 | 1112024.6759
25 | 2700752.8786 | 1112036.168 | 2700762.5235 | 1112036.7073
26 | 2700752.8786 | 1112036.168 | 2700753.0616 | 1112040.9629
27 | 2700489.9027 | 1111972.2199 | 2700504.626 | 1111972.2262
28 | 2700489.9027 | 1111972.2199 | 2700489.9027 | 1111972.2199 | 2700486.3885 | 1111977.2537
29 | 2700504.626 | 1111972.2262 | 2700504.7784 | 1111972.2263
30 | 2700486.3885 | 1111977.2537 | 2700486.3885 | 1111977.2537 | 2700488.2589 | 1111979.0321
31 | 2700517.7075 | 1111972.2319 | 2700504.7784 | 1111972.2263
32 | 2700488.2589 | 1111979.0321 | 2700509.8823 | 1111999.5903
33 | 2700531.5424 | 1111972.7527 | 2700522.9431 | 1111972.2342 | 2700517.7075 | 1111972.2319
34 | 2700509.8823 | 1111999.5903 | 2700510.1681 | 1111999.862 | 2700524.5235 | 1111999.8645
35 | 2700544.6783 | 1111973.5448 | 2700531.5424 | 1111972.7527
36 | 2700524.5235 | 1111999.8645 | 2700534.5542 | 1111999.8662 | 2700553.4461 | 1112003.1593 | 2700565.9488 | 1112009.1815 | 2700578.4472 | 1112016.9022
37 | 2700544.6783 | 1111973.5448 | 2700549.0682 | 1111973.8096
38 | 2700578.4472 | 1112016.9022 | 2700596.4178 | 1112028.0033
39 | 2700614.7345 | 1111994.9235 | 2700614.6566 | 1111994.8695
40 | 2700614.7345 | 1111994.9235 | 2700641.5823 | 1112013.5391
41 | 2700641.5823 | 1112013.5391 | 2700644.1278 | 1112015.3041
42 | 2700596.4178 | 1112028.0033 | 2700610.0042 | 1112036.3961 | 2700615.981 | 1112049.6591 | 2700618.3834 | 1112059.9388
43 | 2700440.4994 | 1112043.8458 | 2700425.5711 | 1112037.7207
44 | 2700505.5344 | 1112070.5296 | 2700440.4994 | 1112043.8458
45 | 2700425.5711 | 1112037.7207 | 2700237.0054 | 1112160.0412
46 | 2700505.5344 | 1112070.5296 | 2700518.0479 | 1112062.3591
47 | 2700505.5344 | 1112070.5296 | 2700522.9446 | 1112076.9556
48 | 2700234.2661 | 1112158.9045 | 2700237.0054 | 1112160.0412
49 | 2700518.0479 | 1112062.3591 | 2700545.123 | 1112044.6808 | 2700551.8738 | 1112042.163
50 | 2700522.9446 | 1112076.9556 | 2700531.4918 | 1112123.4599 | 2700522.3963 | 1112147.2796 | 2700544.1246 | 1112161.6822 | 2700545.5172 | 1112177.4041 | 2700539.2381 | 1112181.4359 | 2700548.7609 | 1112200.7837
51 | 2700522.9446 | 1112076.9556 | 2700560.2684 | 1112099.5886 | 2700592.7102 | 1112121.9639
52 | 2700471.7367 | 1112122.0966 | 2700510.1088 | 1112161.2972
53 | 2700548.7609 | 1112200.7837 | 2700510.1088 | 1112161.2972
54 | 2700551.8738 | 1112042.163 | 2700560.9918 | 1112038.7624 | 2700575.3148 | 1112039.3052
55 | 2700548.7609 | 1112200.7837 | 2700561.6058 | 1112221.1201
56 | 2700643.4764 | 1112149.1936 | 2700633.8966 | 1112141.5142 | 2700598.1597 | 1112125.7224 | 2700592.7102 | 1112121.9639
57 | 2700582.5656 | 1112039.58 | 2700575.3148 | 1112039.3052
58 | 2700561.6058 | 1112221.1201 | 2700575.5773 | 1112243.2401
59 | 2700643.4764 | 1112149.1936 | 2700660.5087 | 1112162.8471 | 2700661.4718 | 1112164.7962
60 | 2700582.5656 | 1112039.58 | 2700586.0421 | 1112039.7118 | 2700595.2882 | 1112042.2223 | 2700600.3125 | 1112045.3743 | 2700605.5036 | 1112053.3654 | 2700609.9302 | 1112062.2667 | 2700614.1909 | 1112062.5375 | 2700618.3834 | 1112059.9388 | 2700618.3834 | 1112059.9388
61 | 2700575.5773 | 1112243.2401 | 2700578.9366 | 1112248.5586 | 2700588.8165 | 1112266.2033
62 | 2700718.1028 | 1112208.0096 | 2700695.7803 | 1112213.131 | 2700685.0438 | 1112206.404 | 2700679.5255 | 1112190.2133 | 2700668.0589 | 1112178.1265 | 2700661.4718 | 1112164.7962
63 | 2700662.4074 | 1112027.9788 | 2700644.1278 | 1112015.3041
64 | 2700662.4074 | 1112027.9788 | 2700663.7165 | 1112028.8865
65 | 2700663.7165 | 1112028.8865 | 2700670.3151 | 1112033.4618 | 2700675.033 | 1112043.8911 | 2700675.5874 | 1112053.9702
66 | 2700686.017 | 1112076.0167 | 2700675.9885 | 1112061.2624 | 2700675.5874 | 1112053.9702
67 | 2700702.2721 | 1112082.4307 | 2700686.8572 | 1112077.2529 | 2700686.017 | 1112076.0167
68 | 2700769.6819 | 1112053.9918 | 2700753.0616 | 1112040.9629
69 | 2700702.2721 | 1112082.4307 | 2700711.9222 | 1112085.6721
70 | 2700725.6576 | 1112092.3747 | 2700717.5009 | 1112087.546 | 2700711.9222 | 1112085.6721
71 | 2700718.1028 | 1112208.0096 | 2700716.2517 | 1112199.9071 | 2700719.9737 | 1112196.3222 | 2700751.7653 | 1112195.6277 | 2700757.5285 | 1112198.0027 | 2700769.7833 | 1112209.0542
72 | 2700769.7833 | 1112209.0542 | 2700776.7959 | 1112215.3782 | 2700781.4967 | 1112220.2261
73 | 2700784.7824 | 1112223.515 | 2700783.5567 | 1112222.3505 | 2700781.4967 | 1112220.2261
74 | 2700608.6057 | 1112315.6485 | 2700600.0147 | 1112308.6127 | 2700595.7429 | 1112297.3792 | 2700594.2251 | 1112282.6892 | 2700591.8813 | 1112271.6768 | 2700588.8165 | 1112266.2033
75 | 2700725.6576 | 1112092.3747 | 2700733.696 | 1112097.1334
76 | 2700733.696 | 1112097.1334 | 2700736.4205 | 1112098.7463
77 | 2700743.3555 | 1112102.8518 | 2700736.4205 | 1112098.7463
78 | 2700769.6819 | 1112053.9918 | 2700775.1453 | 1112054.8942 | 2700780.6144 | 1112058.3857
79 | 2700769.6819 | 1112053.9918 | 2700783.803 | 1112065.9426
80 | 2700780.6144 | 1112058.3857 | 2700788.2883 | 1112063.2846 | 2700793.1051 | 1112066.3555 | 2700801.6499 | 1112071.7911
81 | 2700783.803 | 1112065.9426 | 2700787.8395 | 1112069.3587 | 2700792.4887 | 1112076.0069 | 2700801.7836 | 1112095.3763
82 | 2700825.1026 | 1112080.2628 | 2700821.0171 | 1112082.4629 | 2700818.0157 | 1112082.2018 | 2700801.6499 | 1112071.7911
83 | 2700801.7836 | 1112095.3763 | 2700806.5958 | 1112105.4043 | 2700806.7862 | 1112105.7083
84 | 2700825.1026 | 1112080.2628 | 2700826.6455 | 1112092.4851 | 2700830.182 | 1112101.809
85 | 2700830.182 | 1112101.809 | 2700832.0861 | 1112106.829 | 2700841.2288 | 1112120.6453 | 2700850.2326 | 1112131.2017 | 2700884.1847 | 1112155.3038 | 2700896.9972 | 1112167.2801 | 2700929.7636 | 1112217.09 | 2700936.2223 | 1112221.7783
86 | 2700810.471 | 1112111.5914 | 2700806.7862 | 1112105.7083
87 | 2700949.3566 | 1112226.5394 | 2700936.2223 | 1112221.7783 | 2700936.2223 | 1112221.7783
88 | 2700817.948 | 1112123.5289 | 2700810.471 | 1112111.5914
89 | 2700817.948 | 1112123.5289 | 2700823.2639 | 1112132.0162
90 | 2700823.2639 | 1112132.0162 | 2700826.384 | 1112136.9976 | 2700837.2974 | 1112147.9526 | 2700854.4535 | 1112159.6331
91 | 2700784.7824 | 1112223.515 | 2700797.0886 | 1112235.2058 | 2700800.3794 | 1112237.8305
92 | 2700841.7157 | 1112214.5544 | 2700866.745 | 1112235.1751 | 2700878.5665 | 1112239.3744 | 2700884.5196 | 1112238.2283 | 2700889.6907 | 1112221.4037 | 2700890.3918 | 1112208.9964 | 2700878.7291 | 1112179.4727 | 2700866.4906 | 1112167.8285 | 2700854.4535 | 1112159.6331
93 | 2700828.5027 | 1112198.3836 | 2700830.9789 | 1112209.1306 | 2700839.6253 | 1112212.8322 | 2700841.7157 | 1112214.5544
94 | 2700828.5027 | 1112198.3836 | 2700827.8442 | 1112195.5254 | 2700825.6876 | 1112190.2306
95 | 2700821.5342 | 1112180.033 | 2700825.6876 | 1112190.2306
96 | 2700460.692 | 1112202.6475 | 2700460.692 | 1112202.6475 | 2700463.1733 | 1112203.0555
97 | 2700463.1733 | 1112203.0555 | 2700463.1733 | 1112203.0555 | 2700466.1526 | 1112207.4409 | 2700469.277 | 1112212.8628 | 2700475.7919 | 1112220.242 | 2700489.2824 | 1112237.9656 | 2700504.0526 | 1112253.5313 | 2700524.3167 | 1112263.529
98 | 2700524.3167 | 1112263.529 | 2700535.1833 | 1112268.8903 | 2700537.627 | 1112271.7892
99 | 2700552.2355 | 1112289.119 | 2700537.627 | 1112271.7892
100 | 2700600.7689 | 1112339.5113 | 2700588.7757 | 1112336.3548 | 2700579.8182 | 1112330.447 | 2700571.2188 | 1112321.1207 | 2700558.9462 | 1112297.0798 | 2700552.2355 | 1112289.119
101 | 2700600.7689 | 1112339.5113 | 2700610.1351 | 1112330.1052 | 2700608.6057 | 1112315.6485

## bus_geodata
| x | y | coords
0 | 2700414.3912 | 1111913.5301
1 | 2700430.2185 | 1111912.5156
2 | 2700448.5819 | 1111890.7351
3 | 2700473.8331 | 1111894.7177
4 | 2700502.2467 | 1111899.2897
5 | 2700515.1321 | 1111903.4752
6 | 2700529.0466 | 1111907.9949
7 | 2700584.2133 | 1111933.9961
8 | 2700608.0933 | 1111952.7562
9 | 2700618.8861 | 1111956.5932
10 | 2700529.3876 | 1111918.7902
11 | 2700627.7989 | 1111959.8542
12 | 2700579.403 | 1111947.9742
13 | 2700480.6145 | 1111909.8201
14 | 2700646.0211 | 1111968.7628
15 | 2700591.0661 | 1111980.0353
16 | 2700683.1039 | 1111989.2594
17 | 2700576.5699 | 1111981.9183
18 | 2700593.1236 | 1111981.1441
19 | 2700691.7403 | 1111994.8914
20 | 2700711.6443 | 1112011.0662
21 | 2700712.7136 | 1112011.9351
22 | 2700728.3918 | 1112024.6759
23 | 2700752.8786 | 1112036.168
24 | 2700489.9027 | 1111972.2199
25 | 2700504.626 | 1111972.2262
26 | 2700486.3885 | 1111977.2537
27 | 2700504.7784 | 1111972.2263
28 | 2700488.2589 | 1111979.0321
29 | 2700517.7075 | 1111972.2319
30 | 2700509.8823 | 1111999.5903
31 | 2700531.5424 | 1111972.7527
32 | 2700524.5235 | 1111999.8645
33 | 2700544.6783 | 1111973.5448
34 | 2700578.4472 | 1112016.9022
35 | 2700549.0682 | 1111973.8096
36 | 2700614.6566 | 1111994.8695
37 | 2700614.7345 | 1111994.9235
38 | 2700641.5823 | 1112013.5391
39 | 2700596.4179 | 1112028.0033
40 | 2700440.4994 | 1112043.8458
41 | 2700425.5711 | 1112037.7207
42 | 2700505.5344 | 1112070.5296
43 | 2700237.0054 | 1112160.0412
44 | 2700518.0479 | 1112062.3591
45 | 2700522.9446 | 1112076.9556
46 | 2700471.7367 | 1112122.0966
47 | 2700510.1088 | 1112161.2972
48 | 2700234.2661 | 1112158.9045
49 | 2700551.8738 | 1112042.163
50 | 2700548.7609 | 1112200.7837
51 | 2700592.7102 | 1112121.9639
52 | 2700575.3148 | 1112039.3052
53 | 2700561.6058 | 1112221.1201
54 | 2700643.4764 | 1112149.1936
55 | 2700582.5656 | 1112039.58
56 | 2700575.5773 | 1112243.2401
57 | 2700661.4718 | 1112164.7962
58 | 2700618.3834 | 1112059.9388
59 | 2700644.1278 | 1112015.3041
60 | 2700662.4074 | 1112027.9788
61 | 2700663.7165 | 1112028.8865
62 | 2700675.5874 | 1112053.9702
63 | 2700686.017 | 1112076.0167
64 | 2700762.5235 | 1112036.7073
65 | 2700753.0616 | 1112040.9629
66 | 2700702.2721 | 1112082.4307
67 | 2700711.9222 | 1112085.6721
68 | 2700718.1028 | 1112208.0096
69 | 2700769.7833 | 1112209.0542
70 | 2700781.4967 | 1112220.2261
71 | 2700588.8165 | 1112266.2033
72 | 2700725.6576 | 1112092.3747
73 | 2700733.696 | 1112097.1334
74 | 2700736.4205 | 1112098.7463
75 | 2700769.6819 | 1112053.9918
76 | 2700780.6144 | 1112058.3857
77 | 2700783.803 | 1112065.9426
78 | 2700801.6499 | 1112071.7911
79 | 2700801.7836 | 1112095.3763
80 | 2700825.1026 | 1112080.2628
81 | 2700830.182 | 1112101.809
82 | 2700806.7862 | 1112105.7083
83 | 2700936.2223 | 1112221.7783
84 | 2700810.471 | 1112111.5914
85 | 2700949.3566 | 1112226.5394
86 | 2700817.948 | 1112123.5289
87 | 2700823.2639 | 1112132.0162
88 | 2700743.3555 | 1112102.8518
89 | 2700784.7824 | 1112223.515
90 | 2700854.4535 | 1112159.6331
91 | 2700841.7157 | 1112214.5544
92 | 2700828.5027 | 1112198.3836
93 | 2700825.6876 | 1112190.2306
94 | 2700821.5342 | 1112180.033
95 | 2700800.3794 | 1112237.8305
96 | 2700460.692 | 1112202.6475
97 | 2700463.1733 | 1112203.0555
98 | 2700524.3167 | 1112263.529
99 | 2700537.627 | 1112271.7892
100 | 2700552.2355 | 1112289.119
101 | 2700600.7689 | 1112339.5113
102 | 2700608.6057 | 1112315.6485
103 | 2700505.5344 | 1112070.5296

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1