## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5131-7_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5131-7_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5131-7_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5131-7_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5131-7_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5131-7_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5131-7_0_5_node_29 | 0.4 | n |  | TRUE
7 | bus_LV_5131-7_0_5_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_5131-7_0_5_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_5131-7_0_5_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_5131-7_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5131-7_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_5131-7_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5131-7_0_5_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5131-7_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5131-7_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5131-7_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5131-7_0_5_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_5131-7_0_5_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_5131-7_0_5_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_5131-7_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_5131-7_0_5_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_5131-7_0_5_node_62 | 0.4 | n |  | TRUE
23 | bus_LV_5131-7_0_5_node_63 | 0.4 | n |  | TRUE
24 | bus_LV_5131-7_0_5_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5131-7_0_5_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_5131-7_0_5_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_5131-7_0_5_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_5131-7_0_5_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5131-7_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5131-7_0_5_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5131-7_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5131-7_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5131-7_0_5_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5131-7_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5131-7_0_5_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_5131-7_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_5131-7_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_5131-7_0_5_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_5131-7_0_5_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_5131-7_0_5_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_5131-7_0_5_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5131-7_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5131-7_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_5131-7_0_5_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_5131-7_0_5_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_5131-7_0_5_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5131-7_0_5_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_5131-7_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5131-7_0_5_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_5131-7_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_5131-7_0_5_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5131-7_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_5131-7_0_5_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5131-7_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_5131-7_0_5_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_5131-7_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5131-7_0_5_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5131-7_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_5131-7_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_5131-7_0_5_node_56 | 0.4 | n |  | TRUE
61 | bus_LV_5131-7_0_5_node_57 | 0.4 | n |  | TRUE
62 | bus_LV_5131-7_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_5131-7_0_5_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_5131-7_0_5_node_64 | 0.4 | n |  | TRUE
65 | bus_LV_5131-7_0_5_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_5131-7_0_5_node_69 | 0.4 | n |  | TRUE
67 | bus_LV_5131-7_0_5_node_65 | 0.4 | n |  | TRUE
68 | bus_LV_5131-7_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5131-7_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5131-7_0_5_node_68 | 0.4 | n |  | TRUE
71 | bus_LV_5131-7_0_5_node_71 | 0.4 | n |  | TRUE
72 | bus_LV_5131-7_0_5_node_72 | 0.4 | n |  | TRUE
73 | bus_LV_5131-7_0_5_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_5131-7_0_5_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_5131-7_0_5_node_75 | 0.4 | n |  | TRUE
76 | bus_LV_5131-7_0_5_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_5131-7_0_5_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5131-7_0_5_node_82 | 0.4 | n |  | TRUE
79 | bus_LV_5131-7_0_5_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_5131-7_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_5131-7_0_5_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5131-7_0_5_node_80 | 0.4 | n |  | TRUE
83 | bus_LV_5131-7_0_5_node_83 | 0.4 | n |  | TRUE
84 | bus_MV_64_0_node_93 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5131-7_0_5_load_0 | 0 | 0.020207 | 0.0050643 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5131-7_0_5_load_1 | 1 | 0.0041303 | 0.0010351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5131-7_0_5_load_3 | 3 | 0.028557 | 0.007157 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5131-7_0_5_load_4 | 4 | 0.015096 | 0.0037834 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5131-7_0_5_load_29 | 6 | 0.019564 | 0.0049032 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5131-7_0_5_load_12 | 8 | 0.01052 | 0.0026366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5131-7_0_5_load_25 | 9 | 0.0011615 | 0.0002911 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5131-7_0_5_load_22 | 10 | 0.00096609 | 0.00024212 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5131-7_0_5_load_6 | 12 | 0.0020858 | 0.00052274 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5131-7_0_5_load_10 | 14 | 0.0020858 | 0.00052275 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5131-7_0_5_load_11 | 15 | 0.0077455 | 0.0019412 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5131-7_0_5_load_32 | 17 | 0.0047154 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5131-7_0_5_load_30 | 18 | 0.0044365 | 0.0011119 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5131-7_0_5_load_31 | 19 | 0.0063733 | 0.0015973 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5131-7_0_5_load_35 | 20 | 0.0062345 | 0.0015625 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5131-7_0_5_load_36 | 21 | 0.0086151 | 0.0021591 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5131-7_0_5_load_62 | 22 | 0.0025926 | 0.00064976 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5131-7_0_5_load_63 | 23 | 0.0047354 | 0.0011868 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5131-7_0_5_load_86 | 25 | 0.034519 | 0.0086512 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5131-7_0_5_load_84 | 26 | 0.013485 | 0.0033796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5131-7_0_5_load_85 | 27 | 0.012451 | 0.0031205 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5131-7_0_5_load_19 | 28 | 0.0007262 | 0.000182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5131-7_0_5_load_17 | 29 | 0.0051479 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5131-7_0_5_load_16 | 30 | 0.0007698 | 0.00019293 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5131-7_0_5_load_18 | 31 | 0.0012125 | 0.00030389 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5131-7_0_5_load_24 | 34 | 0.0030541 | 0.00076543 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5131-7_0_5_load_26 | 35 | 0.0048604 | 0.0012181 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5131-7_0_5_load_27 | 36 | 0.0022206 | 0.00055653 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5131-7_0_5_load_28 | 37 | 0.0036679 | 0.00091925 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5131-7_0_5_load_33 | 38 | 0.0034638 | 0.0008681 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5131-7_0_5_load_39 | 39 | 0.0029105 | 0.00072945 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5131-7_0_5_load_40 | 40 | 0.0028017 | 0.00070216 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5131-7_0_5_load_38 | 41 | 0.0053866 | 0.00135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5131-7_0_5_load_37 | 42 | 0.008194 | 0.0020536 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5131-7_0_5_load_46 | 43 | 0.00086115 | 0.00021582 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5131-7_0_5_load_47 | 45 | 0.0074755 | 0.0018735 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5131-7_0_5_load_42 | 46 | 0.0051991 | 0.001303 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5131-7_0_5_load_43 | 47 | 0.0043814 | 0.0010981 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5131-7_0_5_load_45 | 48 | 0.0032875 | 0.00082393 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5131-7_0_5_load_49 | 49 | 0.0024231 | 0.0006073 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5131-7_0_5_load_48 | 50 | 0.0028476 | 0.00071369 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5131-7_0_5_load_41 | 51 | 0.0073381 | 0.0018391 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5131-7_0_5_load_52 | 52 | 0.0069926 | 0.0017525 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5131-7_0_5_load_50 | 53 | 0.0065118 | 0.001632 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5131-7_0_5_load_54 | 54 | 0.0097181 | 0.0024356 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5131-7_0_5_load_51 | 55 | 0.0052254 | 0.0013096 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5131-7_0_5_load_59 | 56 | 0.002472 | 0.00061954 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5131-7_0_5_load_60 | 57 | 0.0033677 | 0.00084403 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5131-7_0_5_load_53 | 58 | 0.0032747 | 0.00082073 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5131-7_0_5_load_55 | 59 | 0.0064374 | 0.0016134 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5131-7_0_5_load_56 | 60 | 0.0048253 | 0.0012093 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5131-7_0_5_load_57 | 61 | 0.004106 | 0.0010291 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5131-7_0_5_load_58 | 62 | 0.0044736 | 0.0011212 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5131-7_0_5_load_64 | 64 | 0.0020904 | 0.00052392 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5131-7_0_5_load_70 | 65 | 0.0036681 | 0.0009193 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5131-7_0_5_load_65 | 67 | 0.0034427 | 0.00086283 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5131-7_0_5_load_66 | 68 | 0.0029969 | 0.0007511 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5131-7_0_5_load_67 | 69 | 0.0026115 | 0.0006545 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5131-7_0_5_load_68 | 70 | 0.0016164 | 0.00040511 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5131-7_0_5_load_71 | 71 | 0.0020836 | 0.00052219 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5131-7_0_5_load_72 | 72 | 0.0027382 | 0.00068625 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5131-7_0_5_load_73 | 73 | 0.002495 | 0.00062531 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5131-7_0_5_load_74 | 74 | 0.0029539 | 0.00074032 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5131-7_0_5_load_81 | 76 | 0.0032182 | 0.00080656 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5131-7_0_5_load_78 | 77 | 0.0031756 | 0.00079589 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5131-7_0_5_load_82 | 78 | 0.0049007 | 0.0012282 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5131-7_0_5_load_76 | 79 | 0.0022421 | 0.00056193 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5131-7_0_5_load_77 | 80 | 0.0039211 | 0.00098272 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5131-7_0_5_load_79 | 81 | 0.0013604 | 0.00034094 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5131-7_0_5_load_80 | 82 | 0.002087 | 0.00052305 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5131-7_0_5_load_83 | 83 | 0.0010377 | 0.00026007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 38 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5131-7_0_5_line_0 |  | 0 | 1 | 0.00017831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5131-7_0_5_line_1 |  | 0 | 2 | 0.028831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5131-7_0_5_line_2 |  | 1 | 3 | 0.017969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5131-7_0_5_line_3 |  | 2 | 4 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5131-7_0_5_line_4 |  | 2 | 5 | 0.083173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5131-7_0_5_line_5 |  | 3 | 6 | 0.012442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5131-7_0_5_line_6 |  | 4 | 7 | 0.01809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5131-7_0_5_line_7 |  | 5 | 8 | 0.042841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5131-7_0_5_line_8 |  | 7 | 9 | 0.053479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5131-7_0_5_line_9 |  | 7 | 10 | 0.043067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5131-7_0_5_line_10 |  | 8 | 11 | 0.040191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5131-7_0_5_line_11 |  | 9 | 36 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_5131-7_0_5_line_12 |  | 10 | 33 | 0.027551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5131-7_0_5_line_13 |  | 11 | 24 | 0.052253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5131-7_0_5_line_14 |  | 12 | 13 | 0.062314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5131-7_0_5_line_15 |  | 13 | 14 | 0.0028973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5131-7_0_5_line_16 |  | 13 | 15 | 0.070552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5131-7_0_5_line_17 |  | 15 | 22 | 0.00056969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5131-7_0_5_line_18 |  | 16 | 17 | 0.070757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5131-7_0_5_line_19 |  | 16 | 18 | 0.053855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5131-7_0_5_line_20 |  | 17 | 20 | 0.0036636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5131-7_0_5_line_21 |  | 18 | 19 | 0.059948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5131-7_0_5_line_22 |  | 20 | 21 | 0.033619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5131-7_0_5_line_23 |  | 21 | 42 | 0.041728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5131-7_0_5_line_24 |  | 22 | 23 | 0.033908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5131-7_0_5_line_25 |  | 23 | 63 | 0.019051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5131-7_0_5_line_26 |  | 24 | 25 | 0.015816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5131-7_0_5_line_27 |  | 24 | 26 | 0.050746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5131-7_0_5_line_28 |  | 26 | 27 | 0.0030397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5131-7_0_5_line_29 |  | 28 | 29 | 0.0074743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5131-7_0_5_line_30 |  | 29 | 30 | 0.0027227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5131-7_0_5_line_31 |  | 30 | 31 | 0.0065629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5131-7_0_5_line_32 |  | 31 | 32 | 0.048736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5131-7_0_5_line_33 |  | 32 | 33 | 0.018812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5131-7_0_5_line_34 |  | 33 | 34 | 0.062982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5131-7_0_5_line_35 |  | 34 | 35 | 0.001243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5131-7_0_5_line_36 |  | 36 | 37 | 0.012563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5131-7_0_5_line_37 |  | 37 | 38 | 0.052327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5131-7_0_5_line_38 |  | 38 | 39 | 0.047945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_5131-7_0_5_line_39 |  | 39 | 40 | 0.041149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_5131-7_0_5_line_40 |  | 39 | 41 | 0.02178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5131-7_0_5_line_41 |  | 40 | 49 | 0.042143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5131-7_0_5_line_42 |  | 41 | 42 | 0.02102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5131-7_0_5_line_43 |  | 43 | 44 | 0.049188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5131-7_0_5_line_44 |  | 44 | 45 | 0.021151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5131-7_0_5_line_45 |  | 44 | 46 | 0.0041314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5131-7_0_5_line_46 |  | 45 | 56 | 0.027356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5131-7_0_5_line_47 |  | 46 | 47 | 0.012544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5131-7_0_5_line_48 |  | 47 | 48 | 0.0076472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5131-7_0_5_line_49 |  | 48 | 50 | 0.023891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5131-7_0_5_line_50 |  | 49 | 53 | 0.032349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5131-7_0_5_line_51 |  | 49 | 50 | 0.001227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5131-7_0_5_line_52 |  | 51 | 52 | 0.035206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5131-7_0_5_line_53 |  | 52 | 54 | 0.029213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5131-7_0_5_line_54 |  | 53 | 55 | 0.019837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5131-7_0_5_line_55 |  | 54 | 60 | 0.038918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5131-7_0_5_line_56 |  | 55 | 58 | 0.0054197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5131-7_0_5_line_57 |  | 56 | 57 | 0.019304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5131-7_0_5_line_58 |  | 57 | 63 | 0.038776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5131-7_0_5_line_59 |  | 58 | 59 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5131-7_0_5_line_60 |  | 59 | 60 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5131-7_0_5_line_61 |  | 60 | 61 | 0.015126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5131-7_0_5_line_62 |  | 61 | 62 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5131-7_0_5_line_63 |  | 63 | 64 | 0.0053879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5131-7_0_5_line_64 |  | 64 | 65 | 0.0088575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5131-7_0_5_line_65 |  | 65 | 66 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5131-7_0_5_line_66 |  | 66 | 71 | 0.0076256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5131-7_0_5_line_67 |  | 66 | 70 | 0.0078814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5131-7_0_5_line_68 |  | 67 | 68 | 0.00231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5131-7_0_5_line_69 |  | 68 | 69 | 0.02007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5131-7_0_5_line_70 |  | 69 | 70 | 0.0016219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5131-7_0_5_line_71 |  | 71 | 72 | 0.010125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5131-7_0_5_line_72 |  | 72 | 73 | 0.022943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5131-7_0_5_line_73 |  | 73 | 74 | 0.027841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5131-7_0_5_line_74 |  | 74 | 75 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5131-7_0_5_line_75 |  | 75 | 76 | 0.020559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5131-7_0_5_line_76 |  | 75 | 77 | 0.0085699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5131-7_0_5_line_77 |  | 76 | 78 | 0.028003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5131-7_0_5_line_78 |  | 77 | 79 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5131-7_0_5_line_79 |  | 78 | 83 | 0.019829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5131-7_0_5_line_80 |  | 79 | 80 | 0.01444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5131-7_0_5_line_81 |  | 80 | 81 | 0.01614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5131-7_0_5_line_82 |  | 81 | 82 | 0.0031564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5131-7_0_5_trafo_33 | 0.63 MVA 20/0.4 kV | 84 | 38 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2708848.7423 | 1115390.5462 | 2708848.7813 | 1115390.3723
1 | 2708855.0897 | 1115362.2398 | 2708848.7813 | 1115390.3723
2 | 2708836.6623 | 1115394.919 | 2708847.1808 | 1115397.5096 | 2708848.7423 | 1115390.5462
3 | 2708855.0897 | 1115362.2398 | 2708835.2208 | 1115354.3667 | 2708827.4856 | 1115351.7222
4 | 2708855.0897 | 1115362.2398 | 2708861.3089 | 1115364.6975 | 2708869.7252 | 1115365.6604 | 2708875.2724 | 1115363.8256 | 2708881.703 | 1115357.9595 | 2708894.7015 | 1115329.5745 | 2708896.8704 | 1115321.486 | 2708894.9075 | 1115320.2611 | 2708893.4021 | 1115318.5107 | 2708892.4671 | 1115316.3925 | 2708892.2072 | 1115314.0974 | 2708892.6264 | 1115311.8257 | 2708893.7059 | 1115309.7771
5 | 2708836.6623 | 1115394.919 | 2708836.6623 | 1115394.919 | 2708831.4547 | 1115406.2191
6 | 2708810.0343 | 1115347.1542 | 2708818.7791 | 1115348.7456 | 2708827.4856 | 1115351.7222
7 | 2708893.7059 | 1115309.7771 | 2708885.1566 | 1115302.4632 | 2708858.6978 | 1115285.2044
8 | 2708810.0343 | 1115347.1542 | 2708802.5119 | 1115367.7993 | 2708805.3871 | 1115372.832 | 2708796.0796 | 1115396.7977
9 | 2708810.0343 | 1115347.1542 | 2708767.6612 | 1115339.4546
10 | 2708825.3197 | 1115262.8182 | 2708846.426 | 1115277.0621 | 2708852.6068 | 1115281.2313 | 2708858.6978 | 1115285.2044
11 | 2708796.0796 | 1115396.7977 | 2708789.3351 | 1115414.1639
12 | 2708740.3347 | 1115337.208 | 2708745.6824 | 1115336.5924 | 2708765.4248 | 1115339.0483 | 2708767.6612 | 1115339.4546
13 | 2708825.3197 | 1115262.8182 | 2708820.026 | 1115269.8833 | 2708818.8468 | 1115272.3304 | 2708819.7027 | 1115276.2706 | 2708821.4297 | 1115278.1584 | 2708827.7828 | 1115282.1973 | 2708832.6581 | 1115287.2437 | 2708835.0588 | 1115292.0344 | 2708834.7505 | 1115298.0216 | 2708833.126 | 1115301.6059 | 2708830.6831 | 1115305.1754
14 | 2708853.7192 | 1115631.4348 | 2708867.4433 | 1115627.0896 | 2708884.4482 | 1115630.1192 | 2708898.203 | 1115621.0605 | 2708902.1086 | 1115607.4329
15 | 2708853.7192 | 1115631.4348 | 2708855.7536 | 1115629.3718
16 | 2708853.7192 | 1115631.4348 | 2708839.4308 | 1115647.8444 | 2708830.4061 | 1115656.6992 | 2708803.1862 | 1115671.1754 | 2708798.1581 | 1115672.9145
17 | 2708797.6197 | 1115673.1008 | 2708798.1581 | 1115672.9145
18 | 2708952.3328 | 1115555.7353 | 2708946.2383 | 1115556.6597 | 2708939.8433 | 1115555.3994 | 2708924.823 | 1115548.5028 | 2708885.1077 | 1115536.3034
19 | 2708952.3328 | 1115555.7353 | 2708956.7563 | 1115552.3904 | 2708960.2076 | 1115545.1366 | 2708959.6687 | 1115536.8882 | 2708956.6796 | 1115530.8973 | 2708950.4708 | 1115525.2931 | 2708939.3355 | 1115517.5101 | 2708936.5774 | 1115515.5818
20 | 2708885.1077 | 1115536.3034 | 2708885.1077 | 1115536.3034 | 2708881.463 | 1115535.9314
21 | 2708936.5774 | 1115515.5818 | 2708932.3492 | 1115512.6258 | 2708921.4177 | 1115508.5378 | 2708891.2695 | 1115501.1356 | 2708880.0364 | 1115496.7064
22 | 2708881.463 | 1115535.9314 | 2708848.0172 | 1115532.5182
23 | 2708848.0172 | 1115532.5182 | 2708806.5046 | 1115528.2818
24 | 2708797.6197 | 1115673.1008 | 2708765.5743 | 1115684.1846
25 | 2708747.5699 | 1115690.4119 | 2708765.5743 | 1115684.1846
26 | 2708830.6831 | 1115305.1754 | 2708836.6416 | 1115307.962 | 2708841.8875 | 1115315.5945
27 | 2708830.6831 | 1115305.1754 | 2708828.0708 | 1115306.5739 | 2708824.4441 | 1115306.3975 | 2708783.9648 | 1115288.7668
28 | 2708781.1779 | 1115287.553 | 2708783.9648 | 1115288.7668
29 | 2708728.4136 | 1115285.2465 | 2708729.1705 | 1115277.8106
30 | 2708728.1379 | 1115287.9553 | 2708728.4136 | 1115285.2465
31 | 2708728.1379 | 1115287.9553 | 2708727.4733 | 1115294.4845
32 | 2708722.5378 | 1115342.9702 | 2708727.4733 | 1115294.4845
33 | 2708722.5378 | 1115342.9702 | 2708734.7934 | 1115337.8534 | 2708740.3347 | 1115337.208
34 | 2708740.3347 | 1115337.208 | 2708727.6246 | 1115377.5395 | 2708721.4924 | 1115397.3049
35 | 2708721.1241 | 1115398.4921 | 2708721.4924 | 1115397.3049
36 | 2708784.7871 | 1115425.8745 | 2708789.3351 | 1115414.1639
37 | 2708784.7871 | 1115425.8745 | 2708774.7613 | 1115477.2316
38 | 2708763.9255 | 1115523.9365 | 2708774.7613 | 1115477.2316
39 | 2708763.9255 | 1115523.9365 | 2708746.7986 | 1115522.1887 | 2708734.1544 | 1115521.0055 | 2708722.9968 | 1115519.699
40 | 2708785.5931 | 1115526.1477 | 2708763.9255 | 1115523.9365
41 | 2708716.172 | 1115561.2856 | 2708722.9968 | 1115519.699
42 | 2708806.5046 | 1115528.2818 | 2708785.5931 | 1115526.1477
43 | 2708759.0118 | 1115585.2155 | 2708795.0675 | 1115600.795 | 2708800.2031 | 1115609.3928
44 | 2708759.0118 | 1115585.2155 | 2708754.6902 | 1115605.9205
45 | 2708759.0118 | 1115585.2155 | 2708755.6946 | 1115582.7529
46 | 2708754.6902 | 1115605.9205 | 2708749.1008 | 1115632.6994
47 | 2708755.6946 | 1115582.7529 | 2708745.6228 | 1115575.2759
48 | 2708739.3731 | 1115570.9106 | 2708740.2104 | 1115571.258 | 2708745.6228 | 1115575.2759
49 | 2708739.3731 | 1115570.9106 | 2708717.3054 | 1115561.7558
50 | 2708716.172 | 1115561.2856 | 2708706.903 | 1115557.4403 | 2708684.7876 | 1115554.4656
51 | 2708716.172 | 1115561.2856 | 2708717.3054 | 1115561.7558
52 | 2708675.9536 | 1115514.6053 | 2708657.8595 | 1115512.8875 | 2708645.0738 | 1115516.1492 | 2708641.7407 | 1115518.0468
53 | 2708641.7407 | 1115518.0468 | 2708633.3545 | 1115522.8213 | 2708619.0019 | 1115536.1139
54 | 2708684.7876 | 1115554.4656 | 2708682.1033 | 1115554.1045 | 2708665.7164 | 1115559.0913
55 | 2708634.8011 | 1115571.6808 | 2708619.0019 | 1115536.1139
56 | 2708665.7164 | 1115559.0913 | 2708660.5315 | 1115560.6692
57 | 2708749.1008 | 1115632.6994 | 2708745.8727 | 1115648.1651 | 2708746.0134 | 1115651.6673
58 | 2708747.5699 | 1115690.4119 | 2708746.0134 | 1115651.6673
59 | 2708648.7752 | 1115564.2469 | 2708648.7752 | 1115564.2469 | 2708660.5315 | 1115560.6692
60 | 2708648.7752 | 1115564.2469 | 2708634.8011 | 1115571.6808
61 | 2708634.8011 | 1115571.6808 | 2708621.4471 | 1115578.7849
62 | 2708621.4471 | 1115578.7849 | 2708615.7387 | 1115581.8217 | 2708602.9998 | 1115586.023
63 | 2708747.5699 | 1115690.4119 | 2708742.2212 | 1115691.0604
64 | 2708742.2212 | 1115691.0604 | 2708733.428 | 1115692.1264
65 | 2708720.7295 | 1115693.6658 | 2708733.428 | 1115692.1264
66 | 2708720.7295 | 1115693.6658 | 2708713.1044 | 1115693.7487
67 | 2708720.7295 | 1115693.6658 | 2708721.5699 | 1115701.5022
68 | 2708724.1293 | 1115725.3671 | 2708723.883 | 1115723.0702
69 | 2708721.7429 | 1115703.1149 | 2708723.883 | 1115723.0702
70 | 2708721.5699 | 1115701.5022 | 2708721.7429 | 1115703.1149
71 | 2708713.1044 | 1115693.7487 | 2708702.9795 | 1115693.8587
72 | 2708702.9795 | 1115693.8587 | 2708702.9795 | 1115693.8587 | 2708682.0834 | 1115689.0586 | 2708680.5809 | 1115689.0346
73 | 2708680.5809 | 1115689.0346 | 2708659.7637 | 1115688.7026 | 2708653.007 | 1115690.6114
74 | 2708638.2631 | 1115694.7766 | 2708653.007 | 1115690.6114
75 | 2708638.2631 | 1115694.7766 | 2708637.2727 | 1115686.2755 | 2708634.6011 | 1115679.7901 | 2708631.9756 | 1115675.551
76 | 2708638.2631 | 1115694.7766 | 2708638.852 | 1115699.8349 | 2708638.9559 | 1115703.3107
77 | 2708631.9756 | 1115675.551 | 2708630.6459 | 1115673.404 | 2708618.7316 | 1115665.9856 | 2708608.0505 | 1115661.8807
78 | 2708639.2718 | 1115713.8849 | 2708639.2718 | 1115713.8849 | 2708638.9559 | 1115703.3107
79 | 2708589.541 | 1115654.7675 | 2708591.4809 | 1115655.5127 | 2708608.0505 | 1115661.8807
80 | 2708639.2718 | 1115713.8849 | 2708638.033 | 1115728.272 | 2708638.033 | 1115728.272
81 | 2708638.033 | 1115728.272 | 2708636.8607 | 1115735.9338 | 2708634.9738 | 1115742.9712 | 2708634.4126 | 1115743.9209
82 | 2708632.807 | 1115746.6384 | 2708634.4126 | 1115743.9209

## bus_geodata
| x | y | coords
0 | 2708848.7813 | 1115390.3723
1 | 2708848.7423 | 1115390.5462
2 | 2708855.0897 | 1115362.2398
3 | 2708836.6623 | 1115394.919
4 | 2708827.4856 | 1115351.7222
5 | 2708893.7059 | 1115309.7771
6 | 2708831.4547 | 1115406.2191
7 | 2708810.0343 | 1115347.1542
8 | 2708858.6978 | 1115285.2044
9 | 2708796.0796 | 1115396.7977
10 | 2708767.6612 | 1115339.4546
11 | 2708825.3197 | 1115262.8182
12 | 2708902.1086 | 1115607.4329
13 | 2708853.7192 | 1115631.4348
14 | 2708855.7536 | 1115629.3718
15 | 2708798.1581 | 1115672.9145
16 | 2708952.3327 | 1115555.7353
17 | 2708885.1077 | 1115536.3034
18 | 2708936.5774 | 1115515.5818
19 | 2708880.0364 | 1115496.7064
20 | 2708881.463 | 1115535.9314
21 | 2708848.0172 | 1115532.5182
22 | 2708797.6197 | 1115673.1008
23 | 2708765.5743 | 1115684.1846
24 | 2708830.6831 | 1115305.1754
25 | 2708841.8875 | 1115315.5945
26 | 2708783.9648 | 1115288.7668
27 | 2708781.1779 | 1115287.553
28 | 2708729.1705 | 1115277.8106
29 | 2708728.4136 | 1115285.2465
30 | 2708728.1379 | 1115287.9553
31 | 2708727.4733 | 1115294.4845
32 | 2708722.5378 | 1115342.9702
33 | 2708740.3347 | 1115337.208
34 | 2708721.4924 | 1115397.3049
35 | 2708721.1241 | 1115398.4921
36 | 2708789.3351 | 1115414.1639
37 | 2708784.7871 | 1115425.8745
38 | 2708774.7613 | 1115477.2316
39 | 2708763.9255 | 1115523.9365
40 | 2708722.9968 | 1115519.699
41 | 2708785.5931 | 1115526.1477
42 | 2708806.5046 | 1115528.2818
43 | 2708800.2031 | 1115609.3928
44 | 2708759.0118 | 1115585.2155
45 | 2708754.6902 | 1115605.9205
46 | 2708755.6946 | 1115582.7529
47 | 2708745.6228 | 1115575.2759
48 | 2708739.3731 | 1115570.9106
49 | 2708716.172 | 1115561.2856
50 | 2708717.3054 | 1115561.7558
51 | 2708675.9536 | 1115514.6053
52 | 2708641.7407 | 1115518.0468
53 | 2708684.7876 | 1115554.4656
54 | 2708619.0019 | 1115536.1139
55 | 2708665.7164 | 1115559.0913
56 | 2708749.1008 | 1115632.6994
57 | 2708746.0134 | 1115651.6673
58 | 2708660.5315 | 1115560.6692
59 | 2708648.7752 | 1115564.2469
60 | 2708634.8011 | 1115571.6808
61 | 2708621.4471 | 1115578.7849
62 | 2708602.9998 | 1115586.023
63 | 2708747.5699 | 1115690.4119
64 | 2708742.2212 | 1115691.0604
65 | 2708733.428 | 1115692.1264
66 | 2708720.7295 | 1115693.6658
67 | 2708724.1293 | 1115725.3671
68 | 2708723.883 | 1115723.0702
69 | 2708721.7429 | 1115703.1149
70 | 2708721.5699 | 1115701.5022
71 | 2708713.1044 | 1115693.7487
72 | 2708702.9795 | 1115693.8587
73 | 2708680.5809 | 1115689.0346
74 | 2708653.007 | 1115690.6114
75 | 2708638.2631 | 1115694.7766
76 | 2708631.9756 | 1115675.551
77 | 2708638.9559 | 1115703.3107
78 | 2708608.0505 | 1115661.8807
79 | 2708639.2718 | 1115713.8849
80 | 2708638.033 | 1115728.272
81 | 2708634.4126 | 1115743.9209
82 | 2708632.807 | 1115746.6384
83 | 2708589.541 | 1115654.7675
84 | 2708755.6669 | 1115471.7261

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1