## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5138-1_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5138-1_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5138-1_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5138-1_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5138-1_0_6_node_89 | 0.4 | n |  | TRUE
5 | bus_LV_5138-1_0_6_node_76 | 0.4 | n |  | TRUE
6 | bus_LV_5138-1_0_6_node_77 | 0.4 | n |  | TRUE
7 | bus_LV_5138-1_0_6_node_78 | 0.4 | n |  | TRUE
8 | bus_LV_5138-1_0_6_node_75 | 0.4 | n |  | TRUE
9 | bus_LV_5138-1_0_6_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_5138-1_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_5138-1_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5138-1_0_6_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5138-1_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5138-1_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5138-1_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5138-1_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5138-1_0_6_node_110 | 0.4 | n |  | TRUE
18 | bus_LV_5138-1_0_6_node_108 | 0.4 | n |  | TRUE
19 | bus_LV_5138-1_0_6_node_113 | 0.4 | n |  | TRUE
20 | bus_LV_5138-1_0_6_node_120 | 0.4 | n |  | TRUE
21 | bus_LV_5138-1_0_6_node_118 | 0.4 | n |  | TRUE
22 | bus_LV_5138-1_0_6_node_116 | 0.4 | n |  | TRUE
23 | bus_LV_5138-1_0_6_node_109 | 0.4 | n |  | TRUE
24 | bus_LV_5138-1_0_6_node_106 | 0.4 | n |  | TRUE
25 | bus_LV_5138-1_0_6_node_144 | 0.4 | n |  | TRUE
26 | bus_LV_5138-1_0_6_node_117 | 0.4 | n |  | TRUE
27 | bus_LV_5138-1_0_6_node_115 | 0.4 | n |  | TRUE
28 | bus_LV_5138-1_0_6_node_11 | 0.4 | n |  | TRUE
29 | bus_LV_5138-1_0_6_node_12 | 0.4 | n |  | TRUE
30 | bus_LV_5138-1_0_6_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_5138-1_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5138-1_0_6_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_5138-1_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_5138-1_0_6_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5138-1_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5138-1_0_6_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5138-1_0_6_node_74 | 0.4 | n |  | TRUE
38 | bus_LV_5138-1_0_6_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5138-1_0_6_node_47 | 0.4 | n |  | TRUE
40 | bus_LV_5138-1_0_6_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_5138-1_0_6_node_17 | 0.4 | n |  | TRUE
42 | bus_LV_5138-1_0_6_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_5138-1_0_6_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5138-1_0_6_node_24 | 0.4 | n |  | TRUE
45 | bus_LV_5138-1_0_6_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5138-1_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5138-1_0_6_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5138-1_0_6_node_26 | 0.4 | n |  | TRUE
49 | bus_LV_5138-1_0_6_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_5138-1_0_6_node_172 | 0.4 | n |  | TRUE
51 | bus_LV_5138-1_0_6_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_5138-1_0_6_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_5138-1_0_6_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5138-1_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_5138-1_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_5138-1_0_6_node_34 | 0.4 | n |  | TRUE
57 | bus_LV_5138-1_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_5138-1_0_6_node_40 | 0.4 | n |  | TRUE
59 | bus_LV_5138-1_0_6_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_5138-1_0_6_node_157 | 0.4 | n |  | TRUE
61 | bus_LV_5138-1_0_6_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_5138-1_0_6_node_152 | 0.4 | n |  | TRUE
63 | bus_LV_5138-1_0_6_node_154 | 0.4 | n |  | TRUE
64 | bus_LV_5138-1_0_6_node_151 | 0.4 | n |  | TRUE
65 | bus_LV_5138-1_0_6_node_155 | 0.4 | n |  | TRUE
66 | bus_LV_5138-1_0_6_node_156 | 0.4 | n |  | TRUE
67 | bus_LV_5138-1_0_6_node_41 | 0.4 | n |  | TRUE
68 | bus_LV_5138-1_0_6_node_39 | 0.4 | n |  | TRUE
69 | bus_LV_5138-1_0_6_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_5138-1_0_6_node_153 | 0.4 | n |  | TRUE
71 | bus_LV_5138-1_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_5138-1_0_6_node_44 | 0.4 | n |  | TRUE
73 | bus_LV_5138-1_0_6_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_5138-1_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_5138-1_0_6_node_56 | 0.4 | n |  | TRUE
76 | bus_LV_5138-1_0_6_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_5138-1_0_6_node_49 | 0.4 | n |  | TRUE
78 | bus_LV_5138-1_0_6_node_50 | 0.4 | n |  | TRUE
79 | bus_LV_5138-1_0_6_node_51 | 0.4 | n |  | TRUE
80 | bus_LV_5138-1_0_6_node_52 | 0.4 | n |  | TRUE
81 | bus_LV_5138-1_0_6_node_54 | 0.4 | n |  | TRUE
82 | bus_LV_5138-1_0_6_node_58 | 0.4 | n |  | TRUE
83 | bus_LV_5138-1_0_6_node_59 | 0.4 | n |  | TRUE
84 | bus_LV_5138-1_0_6_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_5138-1_0_6_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_5138-1_0_6_node_67 | 0.4 | n |  | TRUE
87 | bus_LV_5138-1_0_6_node_68 | 0.4 | n |  | TRUE
88 | bus_LV_5138-1_0_6_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5138-1_0_6_node_70 | 0.4 | n |  | TRUE
90 | bus_LV_5138-1_0_6_node_62 | 0.4 | n |  | TRUE
91 | bus_LV_5138-1_0_6_node_63 | 0.4 | n |  | TRUE
92 | bus_LV_5138-1_0_6_node_64 | 0.4 | n |  | TRUE
93 | bus_LV_5138-1_0_6_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_5138-1_0_6_node_66 | 0.4 | n |  | TRUE
95 | bus_LV_5138-1_0_6_node_71 | 0.4 | n |  | TRUE
96 | bus_LV_5138-1_0_6_node_121 | 0.4 | n |  | TRUE
97 | bus_LV_5138-1_0_6_node_72 | 0.4 | n |  | TRUE
98 | bus_LV_5138-1_0_6_node_69 | 0.4 | n |  | TRUE
99 | bus_LV_5138-1_0_6_node_122 | 0.4 | n |  | TRUE
100 | bus_LV_5138-1_0_6_node_80 | 0.4 | n |  | TRUE
101 | bus_LV_5138-1_0_6_node_119 | 0.4 | n |  | TRUE
102 | bus_LV_5138-1_0_6_node_85 | 0.4 | n |  | TRUE
103 | bus_LV_5138-1_0_6_node_82 | 0.4 | n |  | TRUE
104 | bus_LV_5138-1_0_6_node_79 | 0.4 | n |  | TRUE
105 | bus_LV_5138-1_0_6_node_88 | 0.4 | n |  | TRUE
106 | bus_LV_5138-1_0_6_node_86 | 0.4 | n |  | TRUE
107 | bus_LV_5138-1_0_6_node_107 | 0.4 | n |  | TRUE
108 | bus_LV_5138-1_0_6_node_105 | 0.4 | n |  | TRUE
109 | bus_LV_5138-1_0_6_node_87 | 0.4 | n |  | TRUE
110 | bus_LV_5138-1_0_6_node_91 | 0.4 | n |  | TRUE
111 | bus_LV_5138-1_0_6_node_83 | 0.4 | n |  | TRUE
112 | bus_LV_5138-1_0_6_node_84 | 0.4 | n |  | TRUE
113 | bus_LV_5138-1_0_6_node_114 | 0.4 | n |  | TRUE
114 | bus_LV_5138-1_0_6_node_98 | 0.4 | n |  | TRUE
115 | bus_LV_5138-1_0_6_node_97 | 0.4 | n |  | TRUE
116 | bus_LV_5138-1_0_6_node_92 | 0.4 | n |  | TRUE
117 | bus_LV_5138-1_0_6_node_93 | 0.4 | n |  | TRUE
118 | bus_LV_5138-1_0_6_node_96 | 0.4 | n |  | TRUE
119 | bus_LV_5138-1_0_6_node_94 | 0.4 | n |  | TRUE
120 | bus_LV_5138-1_0_6_node_99 | 0.4 | n |  | TRUE
121 | bus_LV_5138-1_0_6_node_95 | 0.4 | n |  | TRUE
122 | bus_LV_5138-1_0_6_node_100 | 0.4 | n |  | TRUE
123 | bus_LV_5138-1_0_6_node_104 | 0.4 | n |  | TRUE
124 | bus_LV_5138-1_0_6_node_103 | 0.4 | n |  | TRUE
125 | bus_LV_5138-1_0_6_node_101 | 0.4 | n |  | TRUE
126 | bus_LV_5138-1_0_6_node_102 | 0.4 | n |  | TRUE
127 | bus_LV_5138-1_0_6_node_111 | 0.4 | n |  | TRUE
128 | bus_LV_5138-1_0_6_node_112 | 0.4 | n |  | TRUE
129 | bus_LV_5138-1_0_6_node_146 | 0.4 | n |  | TRUE
130 | bus_LV_5138-1_0_6_node_142 | 0.4 | n |  | TRUE
131 | bus_LV_5138-1_0_6_node_125 | 0.4 | n |  | TRUE
132 | bus_LV_5138-1_0_6_node_124 | 0.4 | n |  | TRUE
133 | bus_LV_5138-1_0_6_node_127 | 0.4 | n |  | TRUE
134 | bus_LV_5138-1_0_6_node_141 | 0.4 | n |  | TRUE
135 | bus_LV_5138-1_0_6_node_123 | 0.4 | n |  | TRUE
136 | bus_LV_5138-1_0_6_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_5138-1_0_6_node_126 | 0.4 | n |  | TRUE
138 | bus_LV_5138-1_0_6_node_128 | 0.4 | n |  | TRUE
139 | bus_LV_5138-1_0_6_node_139 | 0.4 | n |  | TRUE
140 | bus_LV_5138-1_0_6_node_137 | 0.4 | n |  | TRUE
141 | bus_LV_5138-1_0_6_node_130 | 0.4 | n |  | TRUE
142 | bus_LV_5138-1_0_6_node_131 | 0.4 | n |  | TRUE
143 | bus_LV_5138-1_0_6_node_132 | 0.4 | n |  | TRUE
144 | bus_LV_5138-1_0_6_node_133 | 0.4 | n |  | TRUE
145 | bus_LV_5138-1_0_6_node_134 | 0.4 | n |  | TRUE
146 | bus_LV_5138-1_0_6_node_135 | 0.4 | n |  | TRUE
147 | bus_LV_5138-1_0_6_node_166 | 0.4 | n |  | TRUE
148 | bus_LV_5138-1_0_6_node_136 | 0.4 | n |  | TRUE
149 | bus_LV_5138-1_0_6_node_164 | 0.4 | n |  | TRUE
150 | bus_LV_5138-1_0_6_node_140 | 0.4 | n |  | TRUE
151 | bus_LV_5138-1_0_6_node_138 | 0.4 | n |  | TRUE
152 | bus_LV_5138-1_0_6_node_143 | 0.4 | n |  | TRUE
153 | bus_LV_5138-1_0_6_node_145 | 0.4 | n |  | TRUE
154 | bus_LV_5138-1_0_6_node_147 | 0.4 | n |  | TRUE
155 | bus_LV_5138-1_0_6_node_148 | 0.4 | n |  | TRUE
156 | bus_LV_5138-1_0_6_node_149 | 0.4 | n |  | TRUE
157 | bus_LV_5138-1_0_6_node_158 | 0.4 | n |  | TRUE
158 | bus_LV_5138-1_0_6_node_159 | 0.4 | n |  | TRUE
159 | bus_LV_5138-1_0_6_node_160 | 0.4 | n |  | TRUE
160 | bus_LV_5138-1_0_6_node_161 | 0.4 | n |  | TRUE
161 | bus_LV_5138-1_0_6_node_162 | 0.4 | n |  | TRUE
162 | bus_LV_5138-1_0_6_node_163 | 0.4 | n |  | TRUE
163 | bus_LV_5138-1_0_6_node_165 | 0.4 | n |  | TRUE
164 | bus_LV_5138-1_0_6_node_169 | 0.4 | n |  | TRUE
165 | bus_LV_5138-1_0_6_node_167 | 0.4 | n |  | TRUE
166 | bus_LV_5138-1_0_6_node_168 | 0.4 | n |  | TRUE
167 | bus_LV_5138-1_0_6_node_170 | 0.4 | n |  | TRUE
168 | bus_LV_5138-1_0_6_node_171 | 0.4 | n |  | TRUE
169 | bus_MV_62_0_node_47 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5138-1_0_6_load_0 | 0 | 0.01469 | 0.0036817 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5138-1_0_6_load_2 | 2 | 0.002201 | 0.00055161 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5138-1_0_6_load_3 | 3 | 0.0044795 | 0.0011227 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5138-1_0_6_load_89 | 4 | 0.002179 | 0.00054612 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5138-1_0_6_load_78 | 7 | 0.0017429 | 0.00043681 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5138-1_0_6_load_75 | 8 | 0.0048426 | 0.0012137 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5138-1_0_6_load_90 | 9 | 0.002662 | 0.00066716 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5138-1_0_6_load_4 | 10 | 0.0048506 | 0.0012157 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5138-1_0_6_load_8 | 14 | 0.0015118 | 0.00037889 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5138-1_0_6_load_10 | 16 | 0.0040597 | 0.0010175 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5138-1_0_6_load_110 | 17 | 0.017826 | 0.0044676 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5138-1_0_6_load_108 | 18 | 0.0035354 | 0.00088605 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5138-1_0_6_load_113 | 19 | 0.004592 | 0.0011509 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5138-1_0_6_load_120 | 20 | 0.0033561 | 0.00084113 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5138-1_0_6_load_118 | 21 | 0.0048468 | 0.0012147 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5138-1_0_6_load_116 | 22 | 0.0034158 | 0.00085607 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5138-1_0_6_load_106 | 24 | 0.002535 | 0.00063533 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5138-1_0_6_load_115 | 27 | 0.0023448 | 0.00058766 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5138-1_0_6_load_11 | 28 | 0.0031594 | 0.00079181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5138-1_0_6_load_12 | 29 | 0.0035169 | 0.00088141 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5138-1_0_6_load_13 | 30 | 0.0085333 | 0.0021387 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5138-1_0_6_load_16 | 33 | 0.0040156 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5138-1_0_6_load_22 | 34 | 0.0025908 | 0.00064931 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5138-1_0_6_load_23 | 35 | 0.0019825 | 0.00049686 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5138-1_0_6_load_20 | 36 | 0.0023024 | 0.00057702 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5138-1_0_6_load_74 | 37 | 0.0027256 | 0.0006831 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5138-1_0_6_load_42 | 38 | 0.0028947 | 0.00072549 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5138-1_0_6_load_47 | 39 | 0.0022817 | 0.00057184 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5138-1_0_6_load_18 | 40 | 0.0017746 | 0.00044477 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5138-1_0_6_load_17 | 41 | 0.0044212 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5138-1_0_6_load_19 | 42 | 0.002268 | 0.00056843 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5138-1_0_6_load_21 | 43 | 0.0051546 | 0.0012919 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5138-1_0_6_load_24 | 44 | 0.0020326 | 0.00050941 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5138-1_0_6_load_25 | 45 | 0.0037058 | 0.00092876 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5138-1_0_6_load_43 | 46 | 0.011314 | 0.0028356 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5138-1_0_6_load_48 | 47 | 0.0068038 | 0.0017052 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5138-1_0_6_load_26 | 48 | 0.0036707 | 0.00091998 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5138-1_0_6_load_27 | 49 | 0.0026781 | 0.00067119 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5138-1_0_6_load_172 | 50 | 0.0028463 | 0.00071334 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5138-1_0_6_load_31 | 53 | 0.0020164 | 0.00050537 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5138-1_0_6_load_32 | 55 | 0.0042636 | 0.0010685 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5138-1_0_6_load_34 | 56 | 0.0030945 | 0.00077556 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5138-1_0_6_load_35 | 57 | 0.0051195 | 0.0012831 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5138-1_0_6_load_40 | 58 | 0.0028115 | 0.00070463 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5138-1_0_6_load_38 | 59 | 0.0027851 | 0.00069801 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5138-1_0_6_load_157 | 60 | 0.0034539 | 0.00086564 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5138-1_0_6_load_152 | 62 | 0.0034507 | 0.00086484 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5138-1_0_6_load_154 | 63 | 0.0037104 | 0.00092992 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5138-1_0_6_load_151 | 64 | 0.0034513 | 0.00086498 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5138-1_0_6_load_155 | 65 | 0.0034541 | 0.00086569 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5138-1_0_6_load_156 | 66 | 0.0039012 | 0.00097773 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5138-1_0_6_load_41 | 67 | 0.0026581 | 0.00066619 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5138-1_0_6_load_39 | 68 | 0.0073618 | 0.0018451 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5138-1_0_6_load_153 | 70 | 0.0026309 | 0.00065938 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5138-1_0_6_load_46 | 71 | 0.0031154 | 0.00078079 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5138-1_0_6_load_44 | 72 | 0.0032717 | 0.00081997 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5138-1_0_6_load_55 | 73 | 0.003558 | 0.00089172 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5138-1_0_6_load_53 | 74 | 0.0029803 | 0.00074694 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5138-1_0_6_load_56 | 75 | 0.0055031 | 0.0013792 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5138-1_0_6_load_57 | 76 | 0.0046144 | 0.0011565 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5138-1_0_6_load_49 | 77 | 0.0031447 | 0.00078814 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5138-1_0_6_load_50 | 78 | 0.0024753 | 0.00062036 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5138-1_0_6_load_51 | 79 | 0.0029349 | 0.00073555 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5138-1_0_6_load_52 | 80 | 0.0028686 | 0.00071893 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5138-1_0_6_load_54 | 81 | 0.0085426 | 0.002141 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5138-1_0_6_load_58 | 82 | 0.0030716 | 0.00076981 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5138-1_0_6_load_59 | 83 | 0.0034718 | 0.00087011 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5138-1_0_6_load_60 | 84 | 0.0022448 | 0.00056261 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5138-1_0_6_load_67 | 86 | 0.0020776 | 0.00052069 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5138-1_0_6_load_68 | 87 | 0.0015956 | 0.0003999 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5138-1_0_6_load_81 | 88 | 0.0027228 | 0.0006824 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5138-1_0_6_load_70 | 89 | 0.0029665 | 0.00074348 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5138-1_0_6_load_62 | 90 | 0.0055459 | 0.0013899 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5138-1_0_6_load_63 | 91 | 0.0038779 | 0.00097189 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5138-1_0_6_load_64 | 92 | 0.0066255 | 0.0016605 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5138-1_0_6_load_65 | 93 | 0.0047153 | 0.0011818 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5138-1_0_6_load_66 | 94 | 0.0033469 | 0.00083881 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5138-1_0_6_load_72 | 97 | 0.0088323 | 0.0022136 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5138-1_0_6_load_69 | 98 | 0.0035452 | 0.00088851 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5138-1_0_6_load_80 | 100 | 0.0027445 | 0.00068783 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5138-1_0_6_load_119 | 101 | 0.0021808 | 0.00054656 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5138-1_0_6_load_85 | 102 | 0.0034913 | 0.00087501 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5138-1_0_6_load_82 | 103 | 0.0026933 | 0.00067502 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5138-1_0_6_load_79 | 104 | 0.0038759 | 0.0009714 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5138-1_0_6_load_88 | 105 | 0.0048935 | 0.0012264 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5138-1_0_6_load_107 | 107 | 0.0032378 | 0.00081148 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5138-1_0_6_load_105 | 108 | 0.0042946 | 0.0010763 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5138-1_0_6_load_91 | 110 | 0.0019811 | 0.00049651 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5138-1_0_6_load_83 | 111 | 0.0023191 | 0.00058123 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5138-1_0_6_load_114 | 113 | 0.0022496 | 0.0005638 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5138-1_0_6_load_92 | 116 | 0.0027622 | 0.00069227 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5138-1_0_6_load_96 | 118 | 0.0032685 | 0.00081916 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5138-1_0_6_load_99 | 120 | 0.002625 | 0.00065789 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5138-1_0_6_load_95 | 121 | 0.0017175 | 0.00043044 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5138-1_0_6_load_100 | 122 | 0.0039454 | 0.0009888 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5138-1_0_6_load_104 | 123 | 0.0031601 | 0.00079201 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5138-1_0_6_load_103 | 124 | 0.0026311 | 0.00065941 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5138-1_0_6_load_101 | 125 | 0.0023806 | 0.00059664 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5138-1_0_6_load_102 | 126 | 0.0045136 | 0.0011312 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5138-1_0_6_load_111 | 127 | 0.009156 | 0.0022947 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5138-1_0_6_load_112 | 128 | 0.016711 | 0.0041881 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5138-1_0_6_load_146 | 129 | 0.0017922 | 0.00044916 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5138-1_0_6_load_142 | 130 | 0.0025037 | 0.00062748 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5138-1_0_6_load_124 | 132 | 0.0028138 | 0.00070522 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5138-1_0_6_load_141 | 134 | 0.0081889 | 0.0020523 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5138-1_0_6_load_123 | 135 | 0.0049982 | 0.0012527 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5138-1_0_6_load_129 | 136 | 0.0069267 | 0.001736 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5138-1_0_6_load_126 | 137 | 0.0056254 | 0.0014099 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5138-1_0_6_load_128 | 138 | 0.0046422 | 0.0011634 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5138-1_0_6_load_139 | 139 | 0.003684 | 0.0009233 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5138-1_0_6_load_137 | 140 | 0.0014922 | 0.00037398 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5138-1_0_6_load_130 | 141 | 0.0046276 | 0.0011598 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5138-1_0_6_load_132 | 143 | 0.0024947 | 0.00062524 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5138-1_0_6_load_133 | 144 | 0.0066045 | 0.0016552 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5138-1_0_6_load_134 | 145 | 0.0027151 | 0.00068046 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5138-1_0_6_load_166 | 147 | 0.0023926 | 0.00059964 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5138-1_0_6_load_140 | 150 | 0.0041163 | 0.0010316 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5138-1_0_6_load_138 | 151 | 0.004072 | 0.0010205 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5138-1_0_6_load_143 | 152 | 0.0029256 | 0.00073321 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5138-1_0_6_load_147 | 154 | 0.010622 | 0.0026621 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_5138-1_0_6_load_149 | 156 | 0.011064 | 0.0027729 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_5138-1_0_6_load_158 | 157 | 0.004664 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_5138-1_0_6_load_159 | 158 | 0.0028132 | 0.00070506 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_5138-1_0_6_load_160 | 159 | 0.0029063 | 0.0007284 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_5138-1_0_6_load_161 | 160 | 0.0047613 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
125 | LV_5138-1_0_6_load_162 | 161 | 0.0056915 | 0.0014264 | 0 | 0 |  | 1 | TRUE | wye
126 | LV_5138-1_0_6_load_163 | 162 | 0.0046323 | 0.001161 | 0 | 0 |  | 1 | TRUE | wye
127 | LV_5138-1_0_6_load_165 | 163 | 0.0023662 | 0.00059304 | 0 | 0 |  | 1 | TRUE | wye
128 | LV_5138-1_0_6_load_169 | 164 | 0.0012517 | 0.00031369 | 0 | 0 |  | 1 | TRUE | wye
129 | LV_5138-1_0_6_load_167 | 165 | 0.0035248 | 0.00088341 | 0 | 0 |  | 1 | TRUE | wye
130 | LV_5138-1_0_6_load_168 | 166 | 0.0028849 | 0.00072302 | 0 | 0 |  | 1 | TRUE | wye
131 | LV_5138-1_0_6_load_170 | 167 | 0.0022171 | 0.00055567 | 0 | 0 |  | 1 | TRUE | wye
132 | LV_5138-1_0_6_load_171 | 168 | 0.0025777 | 0.00064603 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 76 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5138-1_0_6_line_0 |  | 0 | 1 | 0.023511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5138-1_0_6_line_1 |  | 1 | 2 | 0.020065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5138-1_0_6_line_2 |  | 1 | 3 | 0.012731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5138-1_0_6_line_3 |  | 3 | 4 | 0.013975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5138-1_0_6_line_4 |  | 4 | 9 | 0.015523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5138-1_0_6_line_5 |  | 5 | 6 | 0.02309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_5138-1_0_6_line_6 |  | 5 | 7 | 0.0203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5138-1_0_6_line_7 |  | 5 | 8 | 0.011238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5138-1_0_6_line_8 |  | 6 | 102 | 0.011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5138-1_0_6_line_9 |  | 6 | 103 | 0.0052304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5138-1_0_6_line_10 |  | 7 | 104 | 0.011187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5138-1_0_6_line_11 |  | 9 | 116 | 0.0016523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5138-1_0_6_line_12 |  | 10 | 11 | 0.0030553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5138-1_0_6_line_13 |  | 11 | 15 | 0.009656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5138-1_0_6_line_14 |  | 11 | 16 | 0.020389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5138-1_0_6_line_15 |  | 12 | 13 | 0.012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5138-1_0_6_line_16 |  | 12 | 14 | 0.0090986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5138-1_0_6_line_17 |  | 13 | 17 | 0.022571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5138-1_0_6_line_18 |  | 13 | 18 | 0.016113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5138-1_0_6_line_19 |  | 14 | 19 | 0.0020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5138-1_0_6_line_20 |  | 15 | 20 | 0.024657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5138-1_0_6_line_21 |  | 15 | 21 | 0.020348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5138-1_0_6_line_22 |  | 16 | 22 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5138-1_0_6_line_23 |  | 18 | 23 | 0.0039867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5138-1_0_6_line_24 |  | 19 | 24 | 0.015224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5138-1_0_6_line_25 |  | 20 | 25 | 0.0097172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5138-1_0_6_line_26 |  | 21 | 26 | 0.0043072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5138-1_0_6_line_27 |  | 22 | 27 | 0.0025791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5138-1_0_6_line_28 |  | 23 | 127 | 0.016358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5138-1_0_6_line_29 |  | 23 | 128 | 0.015725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5138-1_0_6_line_30 |  | 24 | 106 | 0.012329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5138-1_0_6_line_31 |  | 25 | 129 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5138-1_0_6_line_32 |  | 25 | 130 | 0.0020919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5138-1_0_6_line_33 |  | 26 | 101 | 0.003658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5138-1_0_6_line_34 |  | 27 | 112 | 0.0060679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5138-1_0_6_line_35 |  | 28 | 29 | 0.017369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5138-1_0_6_line_36 |  | 28 | 30 | 0.020758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5138-1_0_6_line_37 |  | 29 | 31 | 0.01077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5138-1_0_6_line_38 |  | 31 | 32 | 0.025704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5138-1_0_6_line_39 |  | 31 | 33 | 0.021844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5138-1_0_6_line_40 |  | 32 | 34 | 0.02918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5138-1_0_6_line_41 |  | 32 | 35 | 0.029031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_5138-1_0_6_line_42 |  | 32 | 36 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5138-1_0_6_line_43 |  | 33 | 37 | 0.024915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5138-1_0_6_line_44 |  | 34 | 38 | 0.0012619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5138-1_0_6_line_45 |  | 35 | 39 | 0.0037598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_5138-1_0_6_line_46 |  | 36 | 40 | 0.015312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5138-1_0_6_line_47 |  | 38 | 46 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5138-1_0_6_line_48 |  | 39 | 47 | 0.017248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5138-1_0_6_line_49 |  | 40 | 41 | 0.010028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5138-1_0_6_line_50 |  | 41 | 42 | 0.0061969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5138-1_0_6_line_51 |  | 42 | 43 | 0.0044709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5138-1_0_6_line_52 |  | 43 | 44 | 0.010733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5138-1_0_6_line_53 |  | 44 | 45 | 0.0070459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5138-1_0_6_line_54 |  | 45 | 48 | 0.0099616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5138-1_0_6_line_55 |  | 46 | 72 | 0.02489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5138-1_0_6_line_56 |  | 47 | 75 | 0.0021781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_5138-1_0_6_line_57 |  | 48 | 49 | 0.013608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5138-1_0_6_line_58 |  | 49 | 50 | 0.04325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5138-1_0_6_line_59 |  | 51 | 52 | 0.036008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5138-1_0_6_line_60 |  | 51 | 53 | 0.0133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5138-1_0_6_line_61 |  | 52 | 54 | 0.041252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5138-1_0_6_line_62 |  | 53 | 55 | 0.032377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5138-1_0_6_line_63 |  | 54 | 60 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5138-1_0_6_line_64 |  | 55 | 58 | 0.027328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5138-1_0_6_line_65 |  | 56 | 57 | 0.010604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5138-1_0_6_line_66 |  | 57 | 61 | 0.0037302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5138-1_0_6_line_67 |  | 58 | 59 | 0.0090466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5138-1_0_6_line_68 |  | 59 | 68 | 0.0055446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5138-1_0_6_line_69 |  | 60 | 66 | 0.01237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5138-1_0_6_line_70 |  | 61 | 67 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5138-1_0_6_line_71 |  | 61 | 68 | 0.018527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5138-1_0_6_line_72 |  | 62 | 63 | 0.0044662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5138-1_0_6_line_73 |  | 62 | 64 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5138-1_0_6_line_74 |  | 63 | 65 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5138-1_0_6_line_75 |  | 64 | 70 | 0.015647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5138-1_0_6_line_76 |  | 65 | 66 | 0.0082574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5138-1_0_6_line_77 |  | 67 | 69 | 0.016349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5138-1_0_6_line_78 |  | 69 | 71 | 0.0096552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5138-1_0_6_line_79 |  | 69 | 72 | 0.013196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5138-1_0_6_line_80 |  | 71 | 73 | 0.0079463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5138-1_0_6_line_81 |  | 73 | 74 | 0.0013617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5138-1_0_6_line_82 |  | 74 | 79 | 0.02314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5138-1_0_6_line_83 |  | 75 | 76 | 0.020123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_5138-1_0_6_line_84 |  | 76 | 82 | 0.001953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
85 | LV_5138-1_0_6_line_85 |  | 77 | 78 | 0.021589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5138-1_0_6_line_86 |  | 77 | 79 | 0.0017612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5138-1_0_6_line_87 |  | 78 | 80 | 0.0022568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5138-1_0_6_line_88 |  | 80 | 81 | 0.0082242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5138-1_0_6_line_89 |  | 82 | 83 | 0.0037567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5138-1_0_6_line_90 |  | 83 | 84 | 0.021761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_5138-1_0_6_line_91 |  | 84 | 85 | 0.0062547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_5138-1_0_6_line_92 |  | 85 | 86 | 0.0098418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_5138-1_0_6_line_93 |  | 85 | 87 | 0.013546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_5138-1_0_6_line_94 |  | 86 | 88 | 0.0033448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
95 | LV_5138-1_0_6_line_95 |  | 87 | 89 | 0.010235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
96 | LV_5138-1_0_6_line_96 |  | 88 | 100 | 0.003655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_5138-1_0_6_line_97 |  | 89 | 98 | 0.0094212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
98 | LV_5138-1_0_6_line_98 |  | 90 | 91 | 0.01952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5138-1_0_6_line_99 |  | 90 | 92 | 0.01612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5138-1_0_6_line_100 |  | 91 | 93 | 0.009429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5138-1_0_6_line_101 |  | 92 | 94 | 0.00016361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5138-1_0_6_line_102 |  | 93 | 95 | 0.014056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
103 | LV_5138-1_0_6_line_103 |  | 94 | 96 | 0.036377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5138-1_0_6_line_104 |  | 95 | 97 | 0.01147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5138-1_0_6_line_105 |  | 95 | 98 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_5138-1_0_6_line_106 |  | 96 | 99 | 0.010296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5138-1_0_6_line_107 |  | 99 | 131 | 0.00751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5138-1_0_6_line_108 |  | 99 | 132 | 0.010262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5138-1_0_6_line_109 |  | 100 | 104 | 0.017603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_5138-1_0_6_line_110 |  | 102 | 105 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5138-1_0_6_line_111 |  | 103 | 111 | 0.016019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
112 | LV_5138-1_0_6_line_112 |  | 105 | 109 | 0.010843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5138-1_0_6_line_113 |  | 106 | 107 | 0.018496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5138-1_0_6_line_114 |  | 106 | 108 | 0.0081663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5138-1_0_6_line_115 |  | 107 | 113 | 0.0034443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5138-1_0_6_line_116 |  | 108 | 114 | 0.0054019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5138-1_0_6_line_117 |  | 109 | 110 | 0.0090302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5138-1_0_6_line_118 |  | 110 | 115 | 0.018463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5138-1_0_6_line_119 |  | 111 | 112 | 0.013988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
120 | LV_5138-1_0_6_line_120 |  | 112 | 113 | 0.0066041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5138-1_0_6_line_121 |  | 114 | 123 | 0.011423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5138-1_0_6_line_122 |  | 115 | 118 | 0.0038018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5138-1_0_6_line_123 |  | 116 | 117 | 0.014474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5138-1_0_6_line_124 |  | 117 | 119 | 0.017355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5138-1_0_6_line_125 |  | 118 | 121 | 0.0037061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5138-1_0_6_line_126 |  | 119 | 120 | 0.018296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5138-1_0_6_line_127 |  | 120 | 122 | 0.018024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5138-1_0_6_line_128 |  | 122 | 125 | 0.020011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5138-1_0_6_line_129 |  | 123 | 124 | 0.018151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5138-1_0_6_line_130 |  | 124 | 126 | 0.0056191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5138-1_0_6_line_131 |  | 125 | 126 | 0.0094207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5138-1_0_6_line_132 |  | 129 | 155 | 0.045577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5138-1_0_6_line_133 |  | 130 | 152 | 0.014284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5138-1_0_6_line_134 |  | 131 | 133 | 0.005516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5138-1_0_6_line_135 |  | 131 | 134 | 0.018619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5138-1_0_6_line_136 |  | 132 | 135 | 0.025427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5138-1_0_6_line_137 |  | 133 | 136 | 0.013126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5138-1_0_6_line_138 |  | 133 | 137 | 0.025712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5138-1_0_6_line_139 |  | 136 | 139 | 0.01412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5138-1_0_6_line_140 |  | 137 | 138 | 0.011961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5138-1_0_6_line_141 |  | 139 | 140 | 0.012514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5138-1_0_6_line_142 |  | 140 | 151 | 0.0011104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5138-1_0_6_line_143 |  | 141 | 142 | 0.055723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5138-1_0_6_line_144 |  | 141 | 143 | 0.022081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5138-1_0_6_line_145 |  | 142 | 144 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5138-1_0_6_line_146 |  | 142 | 145 | 0.031676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_5138-1_0_6_line_147 |  | 144 | 146 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5138-1_0_6_line_148 |  | 145 | 147 | 0.0010155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5138-1_0_6_line_149 |  | 146 | 148 | 0.033376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5138-1_0_6_line_150 |  | 147 | 149 | 0.017179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5138-1_0_6_line_151 |  | 148 | 150 | 0.036229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_5138-1_0_6_line_152 |  | 149 | 163 | 0.013753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_5138-1_0_6_line_153 |  | 149 | 162 | 0.0033407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_5138-1_0_6_line_154 |  | 150 | 151 | 0.0036943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_5138-1_0_6_line_155 |  | 152 | 153 | 0.0085282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_5138-1_0_6_line_156 |  | 153 | 154 | 0.044065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_5138-1_0_6_line_157 |  | 155 | 156 | 0.058266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_5138-1_0_6_line_158 |  | 157 | 158 | 0.036099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
159 | LV_5138-1_0_6_line_159 |  | 158 | 159 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
160 | LV_5138-1_0_6_line_160 |  | 159 | 160 | 0.004522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
161 | LV_5138-1_0_6_line_161 |  | 160 | 161 | 0.013472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
162 | LV_5138-1_0_6_line_162 |  | 161 | 162 | 0.013854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
163 | LV_5138-1_0_6_line_163 |  | 163 | 164 | 0.011036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
164 | LV_5138-1_0_6_line_164 |  | 164 | 165 | 0.010614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
165 | LV_5138-1_0_6_line_165 |  | 165 | 166 | 0.016117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
166 | LV_5138-1_0_6_line_166 |  | 166 | 167 | 8.1146e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
167 | LV_5138-1_0_6_line_167 |  | 167 | 168 | 0.01119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5138-1_0_6_trafo_57 | 0.63 MVA 20/0.4 kV | 169 | 76 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2714220.7416 | 1114738.9474 | 2714222.4882 | 1114715.5018
1 | 2714220.7416 | 1114738.9474 | 2714238.1152 | 1114736.7845 | 2714240.6638 | 1114736.9928
2 | 2714220.7416 | 1114738.9474 | 2714208.1084 | 1114740.5197
3 | 2714208.1084 | 1114740.5197 | 2714202.3538 | 1114741.2358 | 2714194.8642 | 1114744.5151
4 | 2714194.8642 | 1114744.5151 | 2714184.9468 | 1114748.8574 | 2714182.8783 | 1114753.0737
5 | 2714264.4678 | 1114738.9382 | 2714264.6751 | 1114745.5577 | 2714257.9343 | 1114760.5851
6 | 2714264.4678 | 1114738.9382 | 2714283.0938 | 1114747.0104
7 | 2714264.4678 | 1114738.9382 | 2714268.9072 | 1114728.6141
8 | 2714257.9343 | 1114760.5851 | 2714248.0147 | 1114757.8185 | 2714246.3739 | 1114757.7875
9 | 2714257.9343 | 1114760.5851 | 2714257.7199 | 1114765.8111
10 | 2714283.0938 | 1114747.0104 | 2714290.8078 | 1114750.3536 | 2714293.3105 | 1114751.564
11 | 2714182.1506 | 1114754.557 | 2714182.8783 | 1114753.0737
12 | 2714265.3927 | 1114828.3042 | 2714262.341 | 1114828.4514
13 | 2714265.3927 | 1114828.3042 | 2714275.0749 | 1114828.0866
14 | 2714265.3927 | 1114828.3042 | 2714265.1743 | 1114807.9167
15 | 2714234.2957 | 1114829.5522 | 2714221.4425 | 1114829.9881
16 | 2714234.2957 | 1114829.5522 | 2714233.3422 | 1114820.5037
17 | 2714221.4425 | 1114829.9881 | 2714224.0166 | 1114852.4071
18 | 2714221.4425 | 1114829.9881 | 2714205.3393 | 1114830.5401
19 | 2714233.3422 | 1114820.5037 | 2714233.124 | 1114818.4335
20 | 2714275.0749 | 1114828.0866 | 2714273.9113 | 1114835.7253 | 2714273.1022 | 1114842.5813 | 2714272.6873 | 1114847.7881 | 2714272.6828 | 1114851.3014 | 2714272.8133 | 1114852.5844
21 | 2714275.0749 | 1114828.0866 | 2714284.4111 | 1114828.6074 | 2714292.0272 | 1114829.8185 | 2714295.273 | 1114830.3272
22 | 2714265.1743 | 1114807.9167 | 2714265.057 | 1114796.9658 | 2714265.057 | 1114796.9658
23 | 2714201.3549 | 1114830.6767 | 2714205.3393 | 1114830.5401
24 | 2714230.4018 | 1114803.4851 | 2714232.4678 | 1114812.2062 | 2714233.124 | 1114818.4335
25 | 2714275.1 | 1114861.9652 | 2714273.7656 | 1114858.5934 | 2714273.0737 | 1114855.1447 | 2714272.8133 | 1114852.5844
26 | 2714299.5282 | 1114830.994 | 2714295.273 | 1114830.3272
27 | 2714262.5018 | 1114796.6159 | 2714265.057 | 1114796.9658
28 | 2714201.3549 | 1114830.6767 | 2714202.4641 | 1114846.9974
29 | 2714201.3549 | 1114830.6767 | 2714185.6481 | 1114831.4427
30 | 2714228.2961 | 1114791.3581 | 2714229.0337 | 1114797.7096 | 2714230.4018 | 1114803.4851
31 | 2714275.1 | 1114861.9652 | 2714273.1857 | 1114870.5015 | 2714271.179 | 1114877.5862
32 | 2714275.1 | 1114861.9652 | 2714276.2225 | 1114863.7305
33 | 2714299.5282 | 1114830.994 | 2714303.0557 | 1114831.9623
34 | 2714256.49 | 1114795.7925 | 2714262.5018 | 1114796.6159
35 | 2714273.3647 | 1114655.745 | 2714290.6689 | 1114657.2484
36 | 2714252.685 | 1114653.9483 | 2714273.3647 | 1114655.745
37 | 2714301.3988 | 1114658.1806 | 2714290.6689 | 1114657.2484
38 | 2714301.3988 | 1114658.1806 | 2714327.0872 | 1114660.3443
39 | 2714301.3988 | 1114658.1806 | 2714293.9406 | 1114678.7119
40 | 2714327.0872 | 1114660.3443 | 2714339.3076 | 1114657.851 | 2714351.9729 | 1114646.9535
41 | 2714327.0872 | 1114660.3443 | 2714326.3534 | 1114689.3662
42 | 2714327.0872 | 1114660.3443 | 2714326.5918 | 1114644.5561
43 | 2714282.8152 | 1114700.9001 | 2714290.8969 | 1114687.0908 | 2714293.9406 | 1114678.7119
44 | 2714352.9294 | 1114646.1304 | 2714351.9729 | 1114646.9535
45 | 2714326.3534 | 1114689.3662 | 2714326.2584 | 1114693.1248
46 | 2714326.5918 | 1114644.5561 | 2714326.1116 | 1114629.2517
47 | 2714352.9294 | 1114646.1304 | 2714356.0239 | 1114643.4678 | 2714364.664 | 1114636.2816 | 2714375.4802 | 1114632.2682
48 | 2714325.8224 | 1114710.367 | 2714326.2584 | 1114693.1248
49 | 2714325.7971 | 1114619.2287 | 2714326.1116 | 1114629.2517
50 | 2714325.7971 | 1114619.2287 | 2714325.6027 | 1114613.0348
51 | 2714325.4625 | 1114608.5661 | 2714325.6027 | 1114613.0348
52 | 2714325.1259 | 1114597.8385 | 2714325.4625 | 1114608.5661
53 | 2714325.1259 | 1114597.8385 | 2714324.9049 | 1114590.7961
54 | 2714324.5924 | 1114580.8394 | 2714324.9049 | 1114590.7961
55 | 2714375.4802 | 1114632.2682 | 2714383.5118 | 1114629.2881 | 2714398.8447 | 1114623.6877
56 | 2714325.8224 | 1114710.367 | 2714325.7674 | 1114712.5445
57 | 2714324.1656 | 1114567.2385 | 2714324.5924 | 1114580.8394
58 | 2714324.1656 | 1114567.2385 | 2714281.0384 | 1114563.9894
59 | 2714375.9026 | 1114506.607 | 2714412.007 | 1114505.7545
60 | 2714375.9026 | 1114506.607 | 2714376.0518 | 1114519.906
61 | 2714453.3676 | 1114504.7124 | 2714412.007 | 1114505.7545
62 | 2714376.4151 | 1114552.2806 | 2714376.0518 | 1114519.906
63 | 2714453.3676 | 1114504.7124 | 2714454.518 | 1114519.9649
64 | 2714381.3532 | 1114579.1583 | 2714376.4151 | 1114552.2806
65 | 2714414.7699 | 1114574.421 | 2714415.6633 | 1114563.8548
66 | 2714414.4556 | 1114578.138 | 2714414.7699 | 1114574.421
67 | 2714381.3532 | 1114579.1583 | 2714390.3956 | 1114578.8796
68 | 2714390.3956 | 1114578.8796 | 2714395.9376 | 1114578.7088
69 | 2714454.518 | 1114519.9649 | 2714455.4483 | 1114532.2999
70 | 2714414.4556 | 1114578.138 | 2714413.0934 | 1114594.2341 | 2714412.4523 | 1114602.8561
71 | 2714414.4556 | 1114578.138 | 2714395.9376 | 1114578.7088
72 | 2714457.5947 | 1114560.7579 | 2714457.2588 | 1114556.3044
73 | 2714459.1459 | 1114581.3245 | 2714457.5947 | 1114560.7579
74 | 2714456.0693 | 1114540.5339 | 2714457.2588 | 1114556.3044
75 | 2714460.3227 | 1114596.9276 | 2714459.1459 | 1114581.3245
76 | 2714456.0693 | 1114540.5339 | 2714455.4483 | 1114532.2999
77 | 2714411.2399 | 1114619.1602 | 2714412.4523 | 1114602.8561
78 | 2714411.2399 | 1114619.1602 | 2714411.7532 | 1114628.8017
79 | 2714411.2399 | 1114619.1602 | 2714398.8447 | 1114623.6877
80 | 2714412.1756 | 1114636.7368 | 2714411.7532 | 1114628.8017
81 | 2714412.1756 | 1114636.7368 | 2714412.248 | 1114638.0966
82 | 2714412.248 | 1114638.0966 | 2714413.478 | 1114661.2034
83 | 2714325.2588 | 1114732.661 | 2714325.7674 | 1114712.5445
84 | 2714325.2094 | 1114734.6134 | 2714325.2588 | 1114732.661
85 | 2714413.5717 | 1114662.9621 | 2714414.7193 | 1114684.5209
86 | 2714413.5717 | 1114662.9621 | 2714413.478 | 1114661.2034
87 | 2714414.7193 | 1114684.5209 | 2714414.8393 | 1114686.7745
88 | 2714415.2764 | 1114694.987 | 2714414.8393 | 1114686.7745
89 | 2714325.2094 | 1114734.6134 | 2714325.1144 | 1114738.3689
90 | 2714325.1144 | 1114738.3689 | 2714324.5644 | 1114760.123
91 | 2714324.4063 | 1114766.3757 | 2714324.5644 | 1114760.123
92 | 2714324.4063 | 1114766.3757 | 2714315.4849 | 1114762.22
93 | 2714324.4063 | 1114766.3757 | 2714326.133 | 1114767.7869 | 2714327.5986 | 1114769.5269 | 2714328.7026 | 1114771.6046 | 2714329.2165 | 1114774.6608 | 2714328.9495 | 1114777.7578 | 2714328.8676 | 1114778.2312
94 | 2714315.4849 | 1114762.22 | 2714312.453 | 1114760.8076
95 | 2714327.1233 | 1114788.3169 | 2714328.8676 | 1114778.2312
96 | 2714309.1569 | 1114759.2283 | 2714311.6195 | 1114760.4194 | 2714312.453 | 1114760.8076
97 | 2714327.2647 | 1114797.6195 | 2714326.6683 | 1114795.0819 | 2714326.5652 | 1114791.5443 | 2714327.1233 | 1114788.3169
98 | 2714374.026 | 1114808.7576 | 2714364.9906 | 1114811.2601 | 2714355.0331 | 1114813.1985
99 | 2714374.026 | 1114808.7576 | 2714389.5613 | 1114804.4547
100 | 2714345.7778 | 1114815.0002 | 2714355.0331 | 1114813.1985
101 | 2714389.5613 | 1114804.4547 | 2714389.719 | 1114804.411
102 | 2714331.9806 | 1114817.6861 | 2714345.7778 | 1114815.0002
103 | 2714424.8653 | 1114795.8132 | 2714417.3675 | 1114796.1051 | 2714400.6923 | 1114801.3717 | 2714389.719 | 1114804.411
104 | 2714331.9806 | 1114817.6861 | 2714321.3685 | 1114822.0379
105 | 2714331.9806 | 1114817.6861 | 2714327.2647 | 1114797.6195
106 | 2714424.8653 | 1114795.8132 | 2714435.1843 | 1114795.4188
107 | 2714442.6942 | 1114794.8936 | 2714438.9331 | 1114795.2784 | 2714435.1843 | 1114795.4188
108 | 2714435.1843 | 1114795.4188 | 2714435.0592 | 1114785.1574
109 | 2714309.1569 | 1114759.2283 | 2714293.3105 | 1114751.564
110 | 2714246.3739 | 1114757.7875 | 2714236.0698 | 1114757.5932 | 2714232.2325 | 1114762.7594
111 | 2714257.7199 | 1114765.8111 | 2714257.0633 | 1114781.8164
112 | 2714225.767 | 1114771.4638 | 2714232.2325 | 1114762.7594
113 | 2714228.2961 | 1114791.3581 | 2714245.3269 | 1114794.2588 | 2714246.5351 | 1114794.4248
114 | 2714228.2961 | 1114791.3581 | 2714220.226 | 1114790.1084
115 | 2714249.9473 | 1114794.8936 | 2714246.5351 | 1114794.4248
116 | 2714214.8877 | 1114789.2818 | 2714220.226 | 1114790.1084
117 | 2714225.767 | 1114771.4638 | 2714222.1418 | 1114768.7381 | 2714218.3779 | 1114766.2817
118 | 2714204.3957 | 1114773.8627 | 2714211.1748 | 1114766.2187 | 2714215.2823 | 1114764.2615 | 2714218.3779 | 1114766.2817
119 | 2714256.49 | 1114795.7925 | 2714257.0633 | 1114781.8164
120 | 2714256.49 | 1114795.7925 | 2714249.9473 | 1114794.8936
121 | 2714214.8877 | 1114789.2818 | 2714206.8429 | 1114793.5998 | 2714205.3952 | 1114795.3773
122 | 2714204.3957 | 1114773.8627 | 2714200.6807 | 1114773.0548
123 | 2714176.1258 | 1114767.7149 | 2714180.2879 | 1114758.3538 | 2714182.1506 | 1114754.557
124 | 2714176.1258 | 1114767.7149 | 2714158.7392 | 1114766.8869
125 | 2714200.6807 | 1114773.0548 | 2714197.0593 | 1114772.2673
126 | 2714158.7392 | 1114766.8869 | 2714160.3052 | 1114785.1159
127 | 2714160.3052 | 1114785.1159 | 2714160.5761 | 1114788.2691 | 2714164.1857 | 1114802.683
128 | 2714164.1857 | 1114802.683 | 2714166.1935 | 1114810.701 | 2714177.816 | 1114809.0058
129 | 2714192.6984 | 1114806.8352 | 2714197.3141 | 1114806.162 | 2714201.4028 | 1114800.2795 | 2714205.3952 | 1114795.3773
130 | 2714192.6984 | 1114806.8352 | 2714187.1381 | 1114807.6461
131 | 2714177.816 | 1114809.0058 | 2714187.1381 | 1114807.6461
132 | 2714266.123 | 1114922.6587 | 2714267.8731 | 1114889.2583 | 2714271.179 | 1114877.5862
133 | 2714276.2225 | 1114863.7305 | 2714276.8103 | 1114864.6548 | 2714279.0837 | 1114867.3884 | 2714281.0831 | 1114869.0828 | 2714282.91 | 1114870.0957 | 2714285.0176 | 1114870.9693 | 2714287.5855 | 1114871.5911
134 | 2714442.6942 | 1114794.8936 | 2714448.1969 | 1114794.3193
135 | 2714442.6942 | 1114794.8936 | 2714443.6552 | 1114813.4873
136 | 2714434.7491 | 1114759.7324 | 2714435.0592 | 1114785.1574
137 | 2714448.1969 | 1114794.3193 | 2714452.7938 | 1114793.8503 | 2714460.9914 | 1114791.5839
138 | 2714448.1969 | 1114794.3193 | 2714446.441 | 1114768.6672
139 | 2714474.6009 | 1114787.8214 | 2714460.9914 | 1114791.5839
140 | 2714445.6243 | 1114756.7345 | 2714446.441 | 1114768.6672
141 | 2714486.6626 | 1114784.4867 | 2714474.6009 | 1114787.8214
142 | 2714486.6626 | 1114784.4867 | 2714487.7329 | 1114784.1908
143 | 2714522.102 | 1114712.9275 | 2714466.4556 | 1114715.8573
144 | 2714444.405 | 1114717.0183 | 2714466.4556 | 1114715.8573
145 | 2714522.102 | 1114712.9275 | 2714522.9516 | 1114724.8206
146 | 2714522.102 | 1114712.9275 | 2714520.5709 | 1114681.2885
147 | 2714524.2336 | 1114742.7655 | 2714522.9516 | 1114724.8206
148 | 2714520.5218 | 1114680.2742 | 2714520.5709 | 1114681.2885
149 | 2714526.7868 | 1114776.036 | 2714524.2336 | 1114742.7655
150 | 2714519.6915 | 1114663.1154 | 2714520.5218 | 1114680.2742
151 | 2714526.7868 | 1114776.036 | 2714497.4014 | 1114781.5178 | 2714491.2935 | 1114783.2064
152 | 2714519.6915 | 1114663.1154 | 2714505.9536 | 1114663.7616
153 | 2714519.6915 | 1114663.1154 | 2714519.53 | 1114659.7786
154 | 2714491.2935 | 1114783.2064 | 2714487.7329 | 1114784.1908
155 | 2714295.8741 | 1114873.598 | 2714287.5855 | 1114871.5911
156 | 2714295.8741 | 1114873.598 | 2714312.3308 | 1114878.6673 | 2714328.1773 | 1114879.6446 | 2714339.2711 | 1114879.5205
157 | 2714266.123 | 1114922.6587 | 2714208.4333 | 1114914.4815
158 | 2714506.107 | 1114569.1448 | 2714508.2705 | 1114572.6503 | 2714517.6987 | 1114598.5568 | 2714517.5222 | 1114602.9646
159 | 2714517.5222 | 1114602.9646 | 2714517.1866 | 1114611.3446 | 2714517.9909 | 1114627.9678
160 | 2714517.9909 | 1114627.9678 | 2714518.2094 | 1114632.4845
161 | 2714518.2094 | 1114632.4845 | 2714518.8605 | 1114645.941
162 | 2714519.53 | 1114659.7786 | 2714518.8605 | 1114645.941
163 | 2714505.9536 | 1114663.7616 | 2714494.9302 | 1114664.2802
164 | 2714484.3275 | 1114664.779 | 2714494.9302 | 1114664.2802
165 | 2714484.3275 | 1114664.779 | 2714468.2284 | 1114665.5363
166 | 2714468.2284 | 1114665.5363 | 2714468.1474 | 1114665.5401
167 | 2714456.9694 | 1114666.066 | 2714468.1474 | 1114665.5401

## bus_geodata
| x | y | coords
0 | 2714222.4882 | 1114715.5018
1 | 2714220.7416 | 1114738.9474
2 | 2714240.6638 | 1114736.9928
3 | 2714208.1084 | 1114740.5197
4 | 2714194.8642 | 1114744.5151
5 | 2714264.4678 | 1114738.9382
6 | 2714257.9343 | 1114760.5851
7 | 2714283.0938 | 1114747.0104
8 | 2714268.9072 | 1114728.6141
9 | 2714182.8783 | 1114753.0737
10 | 2714262.341 | 1114828.4514
11 | 2714265.3927 | 1114828.3042
12 | 2714234.2957 | 1114829.5522
13 | 2714221.4425 | 1114829.9881
14 | 2714233.3422 | 1114820.5037
15 | 2714275.0749 | 1114828.0866
16 | 2714265.1743 | 1114807.9167
17 | 2714224.0166 | 1114852.4071
18 | 2714205.3393 | 1114830.5401
19 | 2714233.124 | 1114818.4335
20 | 2714272.8133 | 1114852.5844
21 | 2714295.273 | 1114830.3272
22 | 2714265.057 | 1114796.9658
23 | 2714201.3549 | 1114830.6767
24 | 2714230.4018 | 1114803.4851
25 | 2714275.1 | 1114861.9652
26 | 2714299.5282 | 1114830.994
27 | 2714262.5018 | 1114796.6159
28 | 2714273.3647 | 1114655.745
29 | 2714290.6689 | 1114657.2484
30 | 2714252.685 | 1114653.9483
31 | 2714301.3988 | 1114658.1806
32 | 2714327.0872 | 1114660.3443
33 | 2714293.9406 | 1114678.7119
34 | 2714351.9729 | 1114646.9535
35 | 2714326.3534 | 1114689.3662
36 | 2714326.5918 | 1114644.5561
37 | 2714282.8152 | 1114700.9001
38 | 2714352.9294 | 1114646.1304
39 | 2714326.2584 | 1114693.1248
40 | 2714326.1116 | 1114629.2517
41 | 2714325.7971 | 1114619.2287
42 | 2714325.6027 | 1114613.0348
43 | 2714325.4625 | 1114608.5661
44 | 2714325.1259 | 1114597.8385
45 | 2714324.9049 | 1114590.7961
46 | 2714375.4802 | 1114632.2682
47 | 2714325.8224 | 1114710.367
48 | 2714324.5924 | 1114580.8394
49 | 2714324.1656 | 1114567.2385
50 | 2714281.0384 | 1114563.9894
51 | 2714375.9026 | 1114506.607
52 | 2714412.007 | 1114505.7545
53 | 2714376.0518 | 1114519.906
54 | 2714453.3676 | 1114504.7124
55 | 2714376.4151 | 1114552.2806
56 | 2714415.6633 | 1114563.8548
57 | 2714414.7699 | 1114574.421
58 | 2714381.3532 | 1114579.1583
59 | 2714390.3956 | 1114578.8796
60 | 2714454.518 | 1114519.9649
61 | 2714414.4556 | 1114578.138
62 | 2714457.5947 | 1114560.7579
63 | 2714457.2588 | 1114556.3044
64 | 2714459.1459 | 1114581.3245
65 | 2714456.0693 | 1114540.5339
66 | 2714455.4483 | 1114532.2999
67 | 2714412.4523 | 1114602.8561
68 | 2714395.9376 | 1114578.7088
69 | 2714411.2399 | 1114619.1602
70 | 2714460.3227 | 1114596.9276
71 | 2714411.7532 | 1114628.8017
72 | 2714398.8447 | 1114623.6877
73 | 2714412.1756 | 1114636.7368
74 | 2714412.248 | 1114638.0966
75 | 2714325.7674 | 1114712.5445
76 | 2714325.2588 | 1114732.661
77 | 2714413.5717 | 1114662.9621
78 | 2714414.7193 | 1114684.5209
79 | 2714413.478 | 1114661.2034
80 | 2714414.8393 | 1114686.7745
81 | 2714415.2764 | 1114694.987
82 | 2714325.2094 | 1114734.6134
83 | 2714325.1144 | 1114738.3689
84 | 2714324.5644 | 1114760.123
85 | 2714324.4063 | 1114766.3757
86 | 2714315.4849 | 1114762.22
87 | 2714328.8676 | 1114778.2312
88 | 2714312.453 | 1114760.8076
89 | 2714327.1233 | 1114788.3169
90 | 2714374.026 | 1114808.7576
91 | 2714355.0331 | 1114813.1985
92 | 2714389.5613 | 1114804.4547
93 | 2714345.7778 | 1114815.0002
94 | 2714389.719 | 1114804.411
95 | 2714331.9806 | 1114817.6861
96 | 2714424.8653 | 1114795.8132
97 | 2714321.3685 | 1114822.0379
98 | 2714327.2647 | 1114797.6195
99 | 2714435.1843 | 1114795.4188
100 | 2714309.1569 | 1114759.2283
101 | 2714303.0557 | 1114831.9623
102 | 2714246.3739 | 1114757.7875
103 | 2714257.7199 | 1114765.8111
104 | 2714293.3105 | 1114751.564
105 | 2714232.2325 | 1114762.7594
106 | 2714228.2961 | 1114791.3581
107 | 2714246.5351 | 1114794.4248
108 | 2714220.226 | 1114790.1084
109 | 2714225.767 | 1114771.4638
110 | 2714218.3779 | 1114766.2817
111 | 2714257.0633 | 1114781.8164
112 | 2714256.49 | 1114795.7925
113 | 2714249.9473 | 1114794.8936
114 | 2714214.8877 | 1114789.2818
115 | 2714204.3957 | 1114773.8627
116 | 2714182.1506 | 1114754.557
117 | 2714176.1258 | 1114767.7149
118 | 2714200.6807 | 1114773.0548
119 | 2714158.7392 | 1114766.8869
120 | 2714160.3052 | 1114785.1159
121 | 2714197.0593 | 1114772.2673
122 | 2714164.1857 | 1114802.683
123 | 2714205.3952 | 1114795.3773
124 | 2714192.6984 | 1114806.8352
125 | 2714177.816 | 1114809.0058
126 | 2714187.1381 | 1114807.6461
127 | 2714202.4641 | 1114846.9974
128 | 2714185.6481 | 1114831.4427
129 | 2714271.179 | 1114877.5862
130 | 2714276.2225 | 1114863.7305
131 | 2714442.6942 | 1114794.8936
132 | 2714435.0592 | 1114785.1574
133 | 2714448.1969 | 1114794.3193
134 | 2714443.6552 | 1114813.4873
135 | 2714434.7491 | 1114759.7324
136 | 2714460.9914 | 1114791.5839
137 | 2714446.441 | 1114768.6672
138 | 2714445.6243 | 1114756.7345
139 | 2714474.6009 | 1114787.8214
140 | 2714486.6626 | 1114784.4867
141 | 2714466.4556 | 1114715.8574
142 | 2714522.102 | 1114712.9275
143 | 2714444.405 | 1114717.0183
144 | 2714522.9516 | 1114724.8206
145 | 2714520.5709 | 1114681.2885
146 | 2714524.2336 | 1114742.7655
147 | 2714520.5218 | 1114680.2742
148 | 2714526.7868 | 1114776.036
149 | 2714519.6915 | 1114663.1154
150 | 2714491.2935 | 1114783.2064
151 | 2714487.7329 | 1114784.1908
152 | 2714287.5855 | 1114871.5911
153 | 2714295.8741 | 1114873.598
154 | 2714339.2711 | 1114879.5205
155 | 2714266.123 | 1114922.6587
156 | 2714208.4333 | 1114914.4815
157 | 2714506.107 | 1114569.1448
158 | 2714517.5222 | 1114602.9646
159 | 2714517.9909 | 1114627.9678
160 | 2714518.2094 | 1114632.4845
161 | 2714518.8605 | 1114645.941
162 | 2714519.53 | 1114659.7786
163 | 2714505.9536 | 1114663.7616
164 | 2714494.9302 | 1114664.2802
165 | 2714484.3275 | 1114664.779
166 | 2714468.2284 | 1114665.5363
167 | 2714468.1474 | 1114665.5401
168 | 2714456.9694 | 1114666.066
169 | 2714324.4063 | 1114766.3757

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1