## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5138-2_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5138-2_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5138-2_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5138-2_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5138-2_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5138-2_0_8_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5138-2_0_8_node_69 | 0.4 | n |  | TRUE
7 | bus_LV_5138-2_0_8_node_70 | 0.4 | n |  | TRUE
8 | bus_LV_5138-2_0_8_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_5138-2_0_8_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_5138-2_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5138-2_0_8_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5138-2_0_8_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5138-2_0_8_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5138-2_0_8_node_118 | 0.4 | n |  | TRUE
15 | bus_LV_5138-2_0_8_node_155 | 0.4 | n |  | TRUE
16 | bus_LV_5138-2_0_8_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_5138-2_0_8_node_116 | 0.4 | n |  | TRUE
18 | bus_LV_5138-2_0_8_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5138-2_0_8_node_153 | 0.4 | n |  | TRUE
20 | bus_LV_5138-2_0_8_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_5138-2_0_8_node_109 | 0.4 | n |  | TRUE
22 | bus_LV_5138-2_0_8_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_5138-2_0_8_node_108 | 0.4 | n |  | TRUE
24 | bus_LV_5138-2_0_8_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_5138-2_0_8_node_82 | 0.4 | n |  | TRUE
26 | bus_LV_5138-2_0_8_node_86 | 0.4 | n |  | TRUE
27 | bus_LV_5138-2_0_8_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_5138-2_0_8_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_5138-2_0_8_node_85 | 0.4 | n |  | TRUE
30 | bus_LV_5138-2_0_8_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_5138-2_0_8_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5138-2_0_8_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_5138-2_0_8_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5138-2_0_8_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_5138-2_0_8_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5138-2_0_8_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_5138-2_0_8_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_5138-2_0_8_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_5138-2_0_8_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_5138-2_0_8_node_84 | 0.4 | n |  | TRUE
41 | bus_LV_5138-2_0_8_node_83 | 0.4 | n |  | TRUE
42 | bus_LV_5138-2_0_8_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_5138-2_0_8_node_112 | 0.4 | n |  | TRUE
44 | bus_LV_5138-2_0_8_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_5138-2_0_8_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_5138-2_0_8_node_64 | 0.4 | n |  | TRUE
47 | bus_LV_5138-2_0_8_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_5138-2_0_8_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_5138-2_0_8_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_5138-2_0_8_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_5138-2_0_8_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_5138-2_0_8_node_114 | 0.4 | n |  | TRUE
53 | bus_LV_5138-2_0_8_node_110 | 0.4 | n |  | TRUE
54 | bus_LV_5138-2_0_8_node_26 | 0.4 | n |  | TRUE
55 | bus_LV_5138-2_0_8_node_27 | 0.4 | n |  | TRUE
56 | bus_LV_5138-2_0_8_node_28 | 0.4 | n |  | TRUE
57 | bus_LV_5138-2_0_8_node_29 | 0.4 | n |  | TRUE
58 | bus_LV_5138-2_0_8_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_5138-2_0_8_node_72 | 0.4 | n |  | TRUE
60 | bus_LV_5138-2_0_8_node_68 | 0.4 | n |  | TRUE
61 | bus_LV_5138-2_0_8_node_73 | 0.4 | n |  | TRUE
62 | bus_LV_5138-2_0_8_node_31 | 0.4 | n |  | TRUE
63 | bus_LV_5138-2_0_8_node_32 | 0.4 | n |  | TRUE
64 | bus_LV_5138-2_0_8_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_5138-2_0_8_node_34 | 0.4 | n |  | TRUE
66 | bus_LV_5138-2_0_8_node_35 | 0.4 | n |  | TRUE
67 | bus_LV_5138-2_0_8_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5138-2_0_8_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5138-2_0_8_node_87 | 0.4 | n |  | TRUE
70 | bus_LV_5138-2_0_8_node_88 | 0.4 | n |  | TRUE
71 | bus_LV_5138-2_0_8_node_89 | 0.4 | n |  | TRUE
72 | bus_LV_5138-2_0_8_node_39 | 0.4 | n |  | TRUE
73 | bus_LV_5138-2_0_8_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_5138-2_0_8_node_43 | 0.4 | n |  | TRUE
75 | bus_LV_5138-2_0_8_node_45 | 0.4 | n |  | TRUE
76 | bus_LV_5138-2_0_8_node_47 | 0.4 | n |  | TRUE
77 | bus_LV_5138-2_0_8_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_5138-2_0_8_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_5138-2_0_8_node_48 | 0.4 | n |  | TRUE
80 | bus_LV_5138-2_0_8_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_5138-2_0_8_node_50 | 0.4 | n |  | TRUE
82 | bus_LV_5138-2_0_8_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_5138-2_0_8_node_52 | 0.4 | n |  | TRUE
84 | bus_LV_5138-2_0_8_node_79 | 0.4 | n |  | TRUE
85 | bus_LV_5138-2_0_8_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5138-2_0_8_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5138-2_0_8_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_5138-2_0_8_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_5138-2_0_8_node_53 | 0.4 | n |  | TRUE
90 | bus_LV_5138-2_0_8_node_54 | 0.4 | n |  | TRUE
91 | bus_LV_5138-2_0_8_node_106 | 0.4 | n |  | TRUE
92 | bus_LV_5138-2_0_8_node_57 | 0.4 | n |  | TRUE
93 | bus_LV_5138-2_0_8_node_65 | 0.4 | n |  | TRUE
94 | bus_LV_5138-2_0_8_node_62 | 0.4 | n |  | TRUE
95 | bus_LV_5138-2_0_8_node_99 | 0.4 | n |  | TRUE
96 | bus_LV_5138-2_0_8_node_63 | 0.4 | n |  | TRUE
97 | bus_LV_5138-2_0_8_node_78 | 0.4 | n |  | TRUE
98 | bus_LV_5138-2_0_8_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_5138-2_0_8_node_100 | 0.4 | n |  | TRUE
100 | bus_LV_5138-2_0_8_node_96 | 0.4 | n |  | TRUE
101 | bus_LV_5138-2_0_8_node_71 | 0.4 | n |  | TRUE
102 | bus_LV_5138-2_0_8_node_140 | 0.4 | n |  | TRUE
103 | bus_LV_5138-2_0_8_node_141 | 0.4 | n |  | TRUE
104 | bus_LV_5138-2_0_8_node_75 | 0.4 | n |  | TRUE
105 | bus_LV_5138-2_0_8_node_77 | 0.4 | n |  | TRUE
106 | bus_LV_5138-2_0_8_node_91 | 0.4 | n |  | TRUE
107 | bus_LV_5138-2_0_8_node_95 | 0.4 | n |  | TRUE
108 | bus_LV_5138-2_0_8_node_98 | 0.4 | n |  | TRUE
109 | bus_LV_5138-2_0_8_node_103 | 0.4 | n |  | TRUE
110 | bus_LV_5138-2_0_8_node_101 | 0.4 | n |  | TRUE
111 | bus_LV_5138-2_0_8_node_97 | 0.4 | n |  | TRUE
112 | bus_LV_5138-2_0_8_node_102 | 0.4 | n |  | TRUE
113 | bus_LV_5138-2_0_8_node_92 | 0.4 | n |  | TRUE
114 | bus_LV_5138-2_0_8_node_93 | 0.4 | n |  | TRUE
115 | bus_LV_5138-2_0_8_node_131 | 0.4 | n |  | TRUE
116 | bus_LV_5138-2_0_8_node_130 | 0.4 | n |  | TRUE
117 | bus_LV_5138-2_0_8_node_121 | 0.4 | n |  | TRUE
118 | bus_LV_5138-2_0_8_node_156 | 0.4 | n |  | TRUE
119 | bus_LV_5138-2_0_8_node_122 | 0.4 | n |  | TRUE
120 | bus_LV_5138-2_0_8_node_104 | 0.4 | n |  | TRUE
121 | bus_LV_5138-2_0_8_node_105 | 0.4 | n |  | TRUE
122 | bus_LV_5138-2_0_8_node_111 | 0.4 | n |  | TRUE
123 | bus_LV_5138-2_0_8_node_113 | 0.4 | n |  | TRUE
124 | bus_LV_5138-2_0_8_node_115 | 0.4 | n |  | TRUE
125 | bus_LV_5138-2_0_8_node_117 | 0.4 | n |  | TRUE
126 | bus_LV_5138-2_0_8_node_119 | 0.4 | n |  | TRUE
127 | bus_LV_5138-2_0_8_node_120 | 0.4 | n |  | TRUE
128 | bus_LV_5138-2_0_8_node_144 | 0.4 | n |  | TRUE
129 | bus_LV_5138-2_0_8_node_143 | 0.4 | n |  | TRUE
130 | bus_LV_5138-2_0_8_node_123 | 0.4 | n |  | TRUE
131 | bus_LV_5138-2_0_8_node_124 | 0.4 | n |  | TRUE
132 | bus_LV_5138-2_0_8_node_125 | 0.4 | n |  | TRUE
133 | bus_LV_5138-2_0_8_node_126 | 0.4 | n |  | TRUE
134 | bus_LV_5138-2_0_8_node_127 | 0.4 | n |  | TRUE
135 | bus_LV_5138-2_0_8_node_128 | 0.4 | n |  | TRUE
136 | bus_LV_5138-2_0_8_node_129 | 0.4 | n |  | TRUE
137 | bus_LV_5138-2_0_8_node_152 | 0.4 | n |  | TRUE
138 | bus_LV_5138-2_0_8_node_151 | 0.4 | n |  | TRUE
139 | bus_LV_5138-2_0_8_node_132 | 0.4 | n |  | TRUE
140 | bus_LV_5138-2_0_8_node_133 | 0.4 | n |  | TRUE
141 | bus_LV_5138-2_0_8_node_135 | 0.4 | n |  | TRUE
142 | bus_LV_5138-2_0_8_node_136 | 0.4 | n |  | TRUE
143 | bus_LV_5138-2_0_8_node_137 | 0.4 | n |  | TRUE
144 | bus_LV_5138-2_0_8_node_138 | 0.4 | n |  | TRUE
145 | bus_LV_5138-2_0_8_node_139 | 0.4 | n |  | TRUE
146 | bus_LV_5138-2_0_8_node_142 | 0.4 | n |  | TRUE
147 | bus_LV_5138-2_0_8_node_145 | 0.4 | n |  | TRUE
148 | bus_LV_5138-2_0_8_node_146 | 0.4 | n |  | TRUE
149 | bus_LV_5138-2_0_8_node_147 | 0.4 | n |  | TRUE
150 | bus_LV_5138-2_0_8_node_148 | 0.4 | n |  | TRUE
151 | bus_LV_5138-2_0_8_node_149 | 0.4 | n |  | TRUE
152 | bus_LV_5138-2_0_8_node_150 | 0.4 | n |  | TRUE
153 | bus_MV_62_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5138-2_0_8_load_0 | 0 | 0.0062587 | 0.0015686 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5138-2_0_8_load_1 | 1 | 0.0053931 | 0.0013516 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5138-2_0_8_load_3 | 3 | 0.0053593 | 0.0013432 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5138-2_0_8_load_11 | 5 | 0.0073588 | 0.0018443 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5138-2_0_8_load_69 | 6 | 0.0039878 | 0.00099943 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5138-2_0_8_load_70 | 7 | 0.008513 | 0.0021336 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5138-2_0_8_load_5 | 8 | 0.0031651 | 0.00079324 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5138-2_0_8_load_6 | 9 | 0.0013424 | 0.00033643 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5138-2_0_8_load_8 | 11 | 0.001645 | 0.00041227 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5138-2_0_8_load_155 | 15 | 0.0096921 | 0.0024291 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5138-2_0_8_load_116 | 17 | 0.0027676 | 0.00069364 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5138-2_0_8_load_12 | 18 | 0.0021717 | 0.00054427 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5138-2_0_8_load_153 | 19 | 0.0059384 | 0.0014883 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5138-2_0_8_load_16 | 20 | 0.0014482 | 0.00036296 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5138-2_0_8_load_109 | 21 | 0.0062726 | 0.0015721 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5138-2_0_8_load_15 | 22 | 0.0073354 | 0.0018384 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5138-2_0_8_load_108 | 23 | 0.0016741 | 0.00041958 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5138-2_0_8_load_82 | 25 | 0.0056105 | 0.0014061 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5138-2_0_8_load_86 | 26 | 0.002398 | 0.00060098 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5138-2_0_8_load_154 | 27 | 0.0042792 | 0.0010725 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5138-2_0_8_load_19 | 28 | 0.013815 | 0.0034624 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5138-2_0_8_load_85 | 29 | 0.0026196 | 0.00065654 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5138-2_0_8_load_17 | 30 | 0.0046645 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5138-2_0_8_load_22 | 34 | 0.0078792 | 0.0019747 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5138-2_0_8_load_24 | 36 | 0.0031183 | 0.00078151 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5138-2_0_8_load_25 | 37 | 0.006572 | 0.0016471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5138-2_0_8_load_58 | 38 | 0.0077501 | 0.0019424 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5138-2_0_8_load_41 | 39 | 0.0024155 | 0.00060539 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5138-2_0_8_load_84 | 40 | 0.0024158 | 0.00060546 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5138-2_0_8_load_83 | 41 | 0.0041347 | 0.0010363 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5138-2_0_8_load_59 | 44 | 0.0031035 | 0.00077782 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5138-2_0_8_load_40 | 45 | 0.0024155 | 0.00060539 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5138-2_0_8_load_94 | 48 | 0.0076287 | 0.0019119 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5138-2_0_8_load_37 | 50 | 0.0057907 | 0.0014513 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5138-2_0_8_load_38 | 51 | 0.006947 | 0.0017411 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5138-2_0_8_load_114 | 52 | 0.0067923 | 0.0017023 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5138-2_0_8_load_110 | 53 | 0.0056521 | 0.0014166 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5138-2_0_8_load_26 | 54 | 0.0023497 | 0.0005889 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5138-2_0_8_load_27 | 55 | 0.0042529 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5138-2_0_8_load_29 | 57 | 0.0055704 | 0.0013961 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5138-2_0_8_load_30 | 58 | 0.0023967 | 0.00060066 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5138-2_0_8_load_72 | 59 | 0.0051082 | 0.0012802 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5138-2_0_8_load_68 | 60 | 0.0047763 | 0.001197 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5138-2_0_8_load_73 | 61 | 0.0040274 | 0.0010094 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5138-2_0_8_load_31 | 62 | 0.0084165 | 0.0021094 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5138-2_0_8_load_32 | 63 | 0.0085993 | 0.0021552 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5138-2_0_8_load_34 | 65 | 0.0034471 | 0.00086393 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5138-2_0_8_load_35 | 66 | 0.0061826 | 0.0015495 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5138-2_0_8_load_66 | 67 | 0.0018455 | 0.00046252 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5138-2_0_8_load_67 | 68 | 0.0016429 | 0.00041175 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5138-2_0_8_load_88 | 70 | 0.0055633 | 0.0013943 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5138-2_0_8_load_89 | 71 | 0.014808 | 0.0037114 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5138-2_0_8_load_39 | 72 | 0.0024158 | 0.00060546 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5138-2_0_8_load_42 | 73 | 0.0030223 | 0.00075746 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5138-2_0_8_load_43 | 74 | 0.0030218 | 0.00075735 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5138-2_0_8_load_45 | 75 | 0.0043223 | 0.0010833 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5138-2_0_8_load_47 | 76 | 0.0028048 | 0.00070296 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5138-2_0_8_load_60 | 77 | 0.0064185 | 0.0016086 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5138-2_0_8_load_61 | 78 | 0.0088975 | 0.0022299 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5138-2_0_8_load_48 | 79 | 0.0027568 | 0.00069092 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5138-2_0_8_load_49 | 80 | 0.0027554 | 0.00069057 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5138-2_0_8_load_50 | 81 | 0.004275 | 0.0010714 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5138-2_0_8_load_51 | 82 | 0.010344 | 0.0025925 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5138-2_0_8_load_52 | 83 | 0.0027583 | 0.00069131 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5138-2_0_8_load_80 | 85 | 0.0021966 | 0.00055053 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5138-2_0_8_load_90 | 86 | 0.0038434 | 0.00096325 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5138-2_0_8_load_74 | 87 | 0.0058082 | 0.0014557 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5138-2_0_8_load_81 | 88 | 0.002506 | 0.00062806 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5138-2_0_8_load_53 | 89 | 0.0027602 | 0.00069177 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5138-2_0_8_load_54 | 90 | 0.011478 | 0.0028765 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5138-2_0_8_load_106 | 91 | 0.0013998 | 0.00035083 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5138-2_0_8_load_65 | 93 | 0.0028713 | 0.00071961 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5138-2_0_8_load_62 | 94 | 0.0040637 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5138-2_0_8_load_99 | 95 | 0.0029666 | 0.0007435 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5138-2_0_8_load_63 | 96 | 0.0024146 | 0.00060515 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5138-2_0_8_load_78 | 97 | 0.0024158 | 0.00060546 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5138-2_0_8_load_76 | 98 | 0.0024132 | 0.00060482 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5138-2_0_8_load_100 | 99 | 0.0029671 | 0.00074363 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5138-2_0_8_load_96 | 100 | 0.003152 | 0.00078997 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5138-2_0_8_load_71 | 101 | 0.010966 | 0.0027483 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5138-2_0_8_load_140 | 102 | 0.0058808 | 0.0014739 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5138-2_0_8_load_141 | 103 | 0.0052521 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5138-2_0_8_load_75 | 104 | 0.0024132 | 0.00060482 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5138-2_0_8_load_77 | 105 | 0.0051425 | 0.0012888 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5138-2_0_8_load_95 | 107 | 0.00098222 | 0.00024617 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5138-2_0_8_load_103 | 109 | 0.0039628 | 0.00099316 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5138-2_0_8_load_101 | 110 | 0.0046959 | 0.0011769 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5138-2_0_8_load_97 | 111 | 0.0051747 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5138-2_0_8_load_102 | 112 | 0.017224 | 0.0043167 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5138-2_0_8_load_92 | 113 | 0.0039723 | 0.00099555 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5138-2_0_8_load_93 | 114 | 0.0035519 | 0.0008902 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5138-2_0_8_load_131 | 115 | 0.0055649 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5138-2_0_8_load_130 | 116 | 0.0021963 | 0.00055045 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5138-2_0_8_load_121 | 117 | 0.0025577 | 0.00064102 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5138-2_0_8_load_156 | 118 | 0.0029674 | 0.0007437 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5138-2_0_8_load_122 | 119 | 0.0074935 | 0.0018781 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5138-2_0_8_load_104 | 120 | 0.0035305 | 0.00088483 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5138-2_0_8_load_105 | 121 | 0.0023823 | 0.00059706 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5138-2_0_8_load_111 | 122 | 0.0054626 | 0.0013691 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5138-2_0_8_load_113 | 123 | 0.0041881 | 0.0010496 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5138-2_0_8_load_115 | 124 | 0.0068372 | 0.0017136 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5138-2_0_8_load_117 | 125 | 0.0022217 | 0.0005568 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5138-2_0_8_load_119 | 126 | 0.0021472 | 0.00053813 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5138-2_0_8_load_120 | 127 | 0.0025085 | 0.00062868 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5138-2_0_8_load_144 | 128 | 0.0021388 | 0.00053604 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5138-2_0_8_load_143 | 129 | 0.0021394 | 0.00053619 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5138-2_0_8_load_123 | 130 | 0.0061785 | 0.0015485 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5138-2_0_8_load_124 | 131 | 0.0026881 | 0.00067371 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5138-2_0_8_load_125 | 132 | 0.0053103 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5138-2_0_8_load_126 | 133 | 0.0026898 | 0.00067413 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5138-2_0_8_load_128 | 135 | 0.0021959 | 0.00055034 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5138-2_0_8_load_129 | 136 | 0.0023652 | 0.00059276 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5138-2_0_8_load_152 | 137 | 0.0033868 | 0.00084882 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5138-2_0_8_load_151 | 138 | 0.0031644 | 0.00079308 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5138-2_0_8_load_132 | 139 | 0.0013462 | 0.00033738 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5138-2_0_8_load_133 | 140 | 0.0011311 | 0.00028349 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_5138-2_0_8_load_136 | 142 | 0.0019463 | 0.00048779 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_5138-2_0_8_load_137 | 143 | 0.0014661 | 0.00036743 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_5138-2_0_8_load_142 | 146 | 0.0073469 | 0.0018413 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_5138-2_0_8_load_145 | 147 | 0.0030066 | 0.00075352 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_5138-2_0_8_load_146 | 148 | 0.007786 | 0.0019513 | 0 | 0 |  | 1 | TRUE | wye
121 | LV_5138-2_0_8_load_147 | 149 | 0.010019 | 0.002511 | 0 | 0 |  | 1 | TRUE | wye
122 | LV_5138-2_0_8_load_148 | 150 | 0.003414 | 0.00085563 | 0 | 0 |  | 1 | TRUE | wye
123 | LV_5138-2_0_8_load_149 | 151 | 0.0064746 | 0.0016227 | 0 | 0 |  | 1 | TRUE | wye
124 | LV_5138-2_0_8_load_150 | 152 | 0.0034966 | 0.00087634 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 51 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5138-2_0_8_line_0 |  | 0 | 1 | 0.073381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5138-2_0_8_line_1 |  | 0 | 2 | 0.089181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5138-2_0_8_line_2 |  | 1 | 3 | 0.021387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5138-2_0_8_line_3 |  | 2 | 4 | 0.098607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5138-2_0_8_line_4 |  | 3 | 5 | 0.030102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5138-2_0_8_line_5 |  | 4 | 6 | 0.068702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_5138-2_0_8_line_6 |  | 6 | 7 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5138-2_0_8_line_7 |  | 7 | 101 | 0.0061412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_5138-2_0_8_line_8 |  | 8 | 9 | 0.031891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5138-2_0_8_line_9 |  | 8 | 10 | 0.059384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5138-2_0_8_line_10 |  | 9 | 11 | 0.011808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5138-2_0_8_line_11 |  | 10 | 12 | 0.008365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5138-2_0_8_line_12 |  | 10 | 13 | 0.060028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5138-2_0_8_line_13 |  | 11 | 18 | 0.030711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5138-2_0_8_line_14 |  | 12 | 19 | 0.032451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5138-2_0_8_line_15 |  | 13 | 20 | 0.0068982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5138-2_0_8_line_16 |  | 13 | 21 | 0.009638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5138-2_0_8_line_17 |  | 14 | 15 | 0.091638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5138-2_0_8_line_18 |  | 14 | 16 | 0.069722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5138-2_0_8_line_19 |  | 14 | 17 | 0.065425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5138-2_0_8_line_20 |  | 15 | 31 | 0.013386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5138-2_0_8_line_21 |  | 16 | 24 | 0.046864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5138-2_0_8_line_22 |  | 17 | 125 | 0.052393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5138-2_0_8_line_23 |  | 20 | 22 | 0.0076597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5138-2_0_8_line_24 |  | 21 | 23 | 0.03854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5138-2_0_8_line_25 |  | 22 | 30 | 0.020388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5138-2_0_8_line_26 |  | 23 | 27 | 0.093137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5138-2_0_8_line_27 |  | 24 | 25 | 0.040792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5138-2_0_8_line_28 |  | 24 | 26 | 0.075644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5138-2_0_8_line_29 |  | 25 | 28 | 0.055689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_5138-2_0_8_line_30 |  | 26 | 29 | 0.0078493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5138-2_0_8_line_31 |  | 28 | 32 | 0.0022333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5138-2_0_8_line_32 |  | 28 | 33 | 0.064736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5138-2_0_8_line_33 |  | 29 | 76 | 0.01799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5138-2_0_8_line_34 |  | 30 | 31 | 0.0081095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5138-2_0_8_line_35 |  | 32 | 34 | 0.018924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5138-2_0_8_line_36 |  | 32 | 35 | 0.072542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5138-2_0_8_line_37 |  | 33 | 36 | 0.0088964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5138-2_0_8_line_38 |  | 33 | 37 | 0.026191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5138-2_0_8_line_39 |  | 34 | 38 | 0.023861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5138-2_0_8_line_40 |  | 35 | 39 | 0.022267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5138-2_0_8_line_41 |  | 35 | 40 | 0.0082663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5138-2_0_8_line_42 |  | 35 | 41 | 0.020764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5138-2_0_8_line_43 |  | 36 | 42 | 0.022468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5138-2_0_8_line_44 |  | 37 | 43 | 0.0083181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5138-2_0_8_line_45 |  | 38 | 44 | 0.02231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5138-2_0_8_line_46 |  | 39 | 45 | 0.013679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5138-2_0_8_line_47 |  | 40 | 46 | 0.012933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5138-2_0_8_line_48 |  | 42 | 50 | 0.039104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5138-2_0_8_line_49 |  | 42 | 51 | 0.056556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5138-2_0_8_line_50 |  | 43 | 52 | 0.032905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5138-2_0_8_line_51 |  | 43 | 53 | 0.010496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5138-2_0_8_line_52 |  | 45 | 72 | 0.013881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5138-2_0_8_line_53 |  | 46 | 97 | 0.022657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5138-2_0_8_line_54 |  | 46 | 96 | 0.0088886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5138-2_0_8_line_55 |  | 47 | 48 | 0.051656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5138-2_0_8_line_56 |  | 47 | 49 | 0.028137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5138-2_0_8_line_57 |  | 49 | 76 | 0.0099004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5138-2_0_8_line_58 |  | 49 | 73 | 0.0044327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5138-2_0_8_line_59 |  | 51 | 69 | 0.0024977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5138-2_0_8_line_60 |  | 52 | 124 | 0.01741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5138-2_0_8_line_61 |  | 53 | 122 | 0.022057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5138-2_0_8_line_62 |  | 54 | 55 | 0.024811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5138-2_0_8_line_63 |  | 54 | 56 | 0.0165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5138-2_0_8_line_64 |  | 55 | 57 | 0.0076299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5138-2_0_8_line_65 |  | 56 | 58 | 0.030324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5138-2_0_8_line_66 |  | 57 | 59 | 0.0012046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5138-2_0_8_line_67 |  | 58 | 60 | 0.013837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5138-2_0_8_line_68 |  | 59 | 61 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5138-2_0_8_line_69 |  | 61 | 87 | 0.017938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5138-2_0_8_line_70 |  | 62 | 63 | 0.018932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5138-2_0_8_line_71 |  | 62 | 64 | 0.031797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5138-2_0_8_line_72 |  | 64 | 65 | 0.0092763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5138-2_0_8_line_73 |  | 64 | 66 | 0.020012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5138-2_0_8_line_74 |  | 65 | 67 | 0.023987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5138-2_0_8_line_75 |  | 67 | 68 | 0.018051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5138-2_0_8_line_76 |  | 68 | 91 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5138-2_0_8_line_77 |  | 68 | 89 | 0.090148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5138-2_0_8_line_78 |  | 69 | 70 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_5138-2_0_8_line_79 |  | 69 | 71 | 0.026384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5138-2_0_8_line_80 |  | 70 | 108 | 0.020081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_5138-2_0_8_line_81 |  | 71 | 109 | 0.027095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5138-2_0_8_line_82 |  | 73 | 74 | 0.014519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5138-2_0_8_line_83 |  | 74 | 75 | 0.0022616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5138-2_0_8_line_84 |  | 75 | 77 | 0.021776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5138-2_0_8_line_85 |  | 77 | 78 | 0.0012898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5138-2_0_8_line_86 |  | 79 | 80 | 0.026078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5138-2_0_8_line_87 |  | 79 | 81 | 0.018448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5138-2_0_8_line_88 |  | 80 | 82 | 0.0016748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5138-2_0_8_line_89 |  | 81 | 83 | 0.0077352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5138-2_0_8_line_90 |  | 82 | 84 | 0.019345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5138-2_0_8_line_91 |  | 83 | 85 | 0.022428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5138-2_0_8_line_92 |  | 84 | 86 | 0.06346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5138-2_0_8_line_93 |  | 84 | 87 | 0.0054711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5138-2_0_8_line_94 |  | 85 | 88 | 0.0029771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5138-2_0_8_line_95 |  | 86 | 106 | 0.0032176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5138-2_0_8_line_96 |  | 88 | 107 | 3.878e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5138-2_0_8_line_97 |  | 89 | 90 | 0.048034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5138-2_0_8_line_98 |  | 91 | 100 | 0.0039622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5138-2_0_8_line_99 |  | 92 | 93 | 0.0091674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5138-2_0_8_line_100 |  | 92 | 94 | 0.0019299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5138-2_0_8_line_101 |  | 93 | 95 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5138-2_0_8_line_102 |  | 94 | 96 | 0.011131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5138-2_0_8_line_103 |  | 95 | 99 | 0.013968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5138-2_0_8_line_104 |  | 97 | 98 | 0.01403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5138-2_0_8_line_105 |  | 98 | 104 | 0.013984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5138-2_0_8_line_106 |  | 99 | 118 | 0.013826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5138-2_0_8_line_107 |  | 100 | 107 | 0.035507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5138-2_0_8_line_108 |  | 101 | 102 | 0.02613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
109 | LV_5138-2_0_8_line_109 |  | 102 | 103 | 0.017091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
110 | LV_5138-2_0_8_line_110 |  | 103 | 146 | 0.0083505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
111 | LV_5138-2_0_8_line_111 |  | 104 | 105 | 0.0057896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5138-2_0_8_line_112 |  | 106 | 113 | 0.014682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_5138-2_0_8_line_113 |  | 106 | 114 | 0.014077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5138-2_0_8_line_114 |  | 108 | 110 | 0.015439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5138-2_0_8_line_115 |  | 108 | 111 | 0.0010834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
116 | LV_5138-2_0_8_line_116 |  | 109 | 112 | 0.014297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5138-2_0_8_line_117 |  | 110 | 117 | 0.026555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5138-2_0_8_line_118 |  | 111 | 113 | 0.03231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
119 | LV_5138-2_0_8_line_119 |  | 112 | 120 | 0.00089664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5138-2_0_8_line_120 |  | 114 | 115 | 0.0098641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5138-2_0_8_line_121 |  | 115 | 116 | 0.029547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5138-2_0_8_line_122 |  | 116 | 135 | 0.016819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5138-2_0_8_line_123 |  | 117 | 119 | 0.019219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5138-2_0_8_line_124 |  | 119 | 130 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5138-2_0_8_line_125 |  | 120 | 121 | 0.019041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5138-2_0_8_line_126 |  | 122 | 123 | 0.036872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5138-2_0_8_line_127 |  | 125 | 126 | 0.04803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
128 | LV_5138-2_0_8_line_128 |  | 126 | 127 | 0.02179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
129 | LV_5138-2_0_8_line_129 |  | 127 | 128 | 0.025365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
130 | LV_5138-2_0_8_line_130 |  | 128 | 129 | 0.034184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
131 | LV_5138-2_0_8_line_131 |  | 129 | 145 | 0.017849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
132 | LV_5138-2_0_8_line_132 |  | 131 | 132 | 1.3502e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5138-2_0_8_line_133 |  | 132 | 133 | 0.016944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5138-2_0_8_line_134 |  | 133 | 134 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5138-2_0_8_line_135 |  | 134 | 135 | 0.0060207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5138-2_0_8_line_136 |  | 134 | 136 | 0.0050513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5138-2_0_8_line_137 |  | 136 | 137 | 0.016184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5138-2_0_8_line_138 |  | 137 | 138 | 0.0075803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5138-2_0_8_line_139 |  | 138 | 152 | 0.0022178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5138-2_0_8_line_140 |  | 139 | 140 | 0.025955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5138-2_0_8_line_141 |  | 140 | 141 | 0.024518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5138-2_0_8_line_142 |  | 141 | 142 | 0.019792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_5138-2_0_8_line_143 |  | 142 | 143 | 0.035275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_5138-2_0_8_line_144 |  | 143 | 144 | 0.033637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_5138-2_0_8_line_145 |  | 144 | 145 | 0.091562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_5138-2_0_8_line_146 |  | 145 | 146 | 0.058138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
147 | LV_5138-2_0_8_line_147 |  | 147 | 148 | 0.0010001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_5138-2_0_8_line_148 |  | 147 | 149 | 0.011804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_5138-2_0_8_line_149 |  | 148 | 150 | 0.0032171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_5138-2_0_8_line_150 |  | 149 | 151 | 0.012358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_5138-2_0_8_line_151 |  | 150 | 152 | 0.0086133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5138-2_0_8_trafo_38 | 0.63 MVA 20/0.4 kV | 153 | 51 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2714658.5271 | 1114989.4888 | 2714668.9005 | 1114987.8422 | 2714671.7328 | 1114987.1509 | 2714673.9645 | 1114986.3593 | 2714676.3747 | 1114985.1151 | 2714678.5122 | 1114983.5879 | 2714680.5863 | 1114981.737 | 2714682.8936 | 1114979.4013 | 2714685.9816 | 1114975.8129 | 2714691.6946 | 1114969.0165 | 2714694.5417 | 1114965.5013 | 2714697.0354 | 1114962.7022 | 2714699.363 | 1114960.5226 | 2714702.1579 | 1114958.5408 | 2714705.1873 | 1114956.8192 | 2714708.0297 | 1114955.5944 | 2714711.9599 | 1114954.4347 | 2714715.346 | 1114953.865 | 2714718.9164 | 1114953.5963
1 | 2714570.7869 | 1115002.4633 | 2714576.645 | 1114999.8278 | 2714582.8778 | 1114997.7998 | 2714589.0636 | 1114996.6271 | 2714595.7471 | 1114996.0864 | 2714620.1478 | 1114994.7914 | 2714626.9224 | 1114994.3414 | 2714633.0394 | 1114993.5344 | 2714658.5271 | 1114989.4888
2 | 2714740.3008 | 1114953.2722 | 2714719.0046 | 1114953.5897 | 2714718.9164 | 1114953.5963
3 | 2714570.7869 | 1115002.4633 | 2714580.763 | 1115004.253 | 2714598.7322 | 1115007.7284 | 2714608.2953 | 1115029.7128 | 2714604.3938 | 1115033.8529 | 2714599.0688 | 1115033.6187 | 2714591.672 | 1115041.6509 | 2714592.0064 | 1115045.6155 | 2714602.785 | 1115062.9531
4 | 2714740.3008 | 1114953.2722 | 2714742.6539 | 1114953.2371 | 2714747.4706 | 1114953.395 | 2714751.0218 | 1114953.8959 | 2714754.3087 | 1114954.8922 | 2714757.8276 | 1114956.6933 | 2714768.0045 | 1114962.968 | 2714768.0045 | 1114962.968
5 | 2714602.785 | 1115062.9531 | 2714604.5129 | 1115061.0289 | 2714606.6369 | 1115058.9899 | 2714624.3114 | 1115043.3359 | 2714627.3089 | 1115041.2579 | 2714630.8463 | 1115039.2234 | 2714634.2684 | 1115037.5648 | 2714638.0748 | 1115036.0024 | 2714642.5885 | 1115034.6202 | 2714647.5035 | 1115033.657 | 2714652.6723 | 1115033.1655 | 2714658.5895 | 1115033.1219 | 2714661.6627 | 1115033.2753
6 | 2714682.8693 | 1115036.7355 | 2714674.219 | 1115034.9299 | 2714665.0481 | 1115033.4443 | 2714661.6627 | 1115033.2753
7 | 2714682.8693 | 1115036.7355 | 2714688.8809 | 1115037.9904
8 | 2715130.5924 | 1115060.4542 | 2715130.5924 | 1115060.4542 | 2715131.5245 | 1115061.8062 | 2715131.3785 | 1115065.0167 | 2715129.0512 | 1115071.2433 | 2715129.0327 | 1115073.4333 | 2715129.9731 | 1115075.5637 | 2715135.1877 | 1115080.7885 | 2715143.5484 | 1115079.3275
9 | 2715071.8458 | 1115059.6492 | 2715079.6609 | 1115061.3431 | 2715091.5098 | 1115062.5245 | 2715106.786 | 1115062.181 | 2715118.6175 | 1115061.0272 | 2715121.9281 | 1115060.3674 | 2715127.0974 | 1115059.4427 | 2715128.9159 | 1115059.6663 | 2715130.5924 | 1115060.4542
10 | 2715143.5484 | 1115079.3275 | 2715146.0911 | 1115078.8832 | 2715149.2498 | 1115078.8988 | 2715152.155 | 1115079.6545 | 2715155.0721 | 1115080.5994
11 | 2715071.8458 | 1115059.6492 | 2715063.6268 | 1115061.3276
12 | 2715116.3437 | 1115032.7428 | 2715118.0616 | 1115035.8219 | 2715118.843 | 1115037.7825 | 2715119.0286 | 1115039.3983 | 2715118.6787 | 1115041.1483 | 2715117.7483 | 1115042.5538 | 2715116.3749 | 1115043.6952 | 2715114.303 | 1115044.612 | 2715105.2771 | 1115047.6982 | 2715102.1048 | 1115048.8054 | 2715098.9184 | 1115050.2458 | 2715095.806 | 1115052.2659 | 2715092.6339 | 1115054.1736 | 2715089.6811 | 1115055.5184 | 2715085.0444 | 1115056.8646 | 2715071.8458 | 1115059.6492
13 | 2715174.0869 | 1115063.3319 | 2715171.8811 | 1115063.4184 | 2715169.1054 | 1115063.1655 | 2715166.6991 | 1115063.3866 | 2715161.6836 | 1115065.1592 | 2715159.4308 | 1115066.6507 | 2715157.2569 | 1115068.8664 | 2715155.8856 | 1115071.1197 | 2715155.1937 | 1115075.4205 | 2715155.0721 | 1115080.5994 | 2715155.0721 | 1115080.5994
14 | 2715063.6268 | 1115061.3276 | 2715064.1591 | 1115072.334 | 2715064.3728 | 1115088.3265 | 2715065.0148 | 1115093.726
15 | 2715116.3437 | 1115032.7428 | 2715113.4825 | 1115033.7336 | 2715111.248 | 1115034.6695 | 2715109.9624 | 1115035.3351
16 | 2715116.3437 | 1115032.7428 | 2715119.6506 | 1115031.4603 | 2715122.8823 | 1115030.0763 | 2715125.1372 | 1115028.832
17 | 2714989.0892 | 1115007.01 | 2715075.341 | 1115037.9649
18 | 2714989.0892 | 1115007.01 | 2715013.0098 | 1114941.52
19 | 2714989.0892 | 1115007.01 | 2714986.8891 | 1115004.511 | 2714982.9561 | 1114999.711 | 2714980.7944 | 1114997.6241 | 2714978.7409 | 1114996.351 | 2714976.405 | 1114995.306 | 2714973.3174 | 1114994.3912 | 2714970.1684 | 1114993.8645 | 2714967.3204 | 1114993.7548 | 2714964.4903 | 1114993.9235 | 2714961.5046 | 1114994.5562 | 2714958.658 | 1114995.5918 | 2714956.2553 | 1114996.847 | 2714948.0796 | 1115001.9398 | 2714944.0171 | 1115004.7758 | 2714941.4488 | 1115006.2058 | 2714938.6895 | 1115007.1208 | 2714935.8542 | 1115007.5673 | 2714932.1404 | 1115007.7075
20 | 2715078.2354 | 1115050.998 | 2715077.0701 | 1115044.0379 | 2715076.437 | 1115041.1795 | 2715075.8054 | 1115039.055 | 2715075.341 | 1115037.9649
21 | 2715013.0098 | 1114941.52 | 2715012.932 | 1114938.2942 | 2715018.7798 | 1114927.6758 | 2715015.045 | 1114918.9435 | 2715012.1963 | 1114909.5165 | 2715010.5656 | 1114902.6476 | 2715006.1188 | 1114900.0949
22 | 2714932.1404 | 1115007.7075 | 2714931.5412 | 1115007.7301 | 2714926.4558 | 1115007.489 | 2714881.6895 | 1115003.7935 | 2714879.9139 | 1115003.6234
23 | 2715109.9624 | 1115035.3351 | 2715108.12 | 1115036.289 | 2715105.0486 | 1115038.5878 | 2715103.733 | 1115039.7398
24 | 2715125.1372 | 1115028.832 | 2715127.0115 | 1115027.7977 | 2715131.0787 | 1115025.1176 | 2715134.502 | 1115022.592 | 2715138.6166 | 1115018.6453 | 2715142.0555 | 1115014.4856 | 2715150.1914 | 1115000.5051
25 | 2715086.2187 | 1115049.6171 | 2715089.3068 | 1115048.7957 | 2715093.3068 | 1115047.215 | 2715097.044 | 1115045.2402 | 2715100.438 | 1115042.6251 | 2715103.733 | 1115039.7398
26 | 2715150.1914 | 1115000.5051 | 2715126.2049 | 1114910.5102
27 | 2715006.1188 | 1114900.0949 | 2715003.6525 | 1114900.6262 | 2715001.1331 | 1114899.4776 | 2714996.5129 | 1114895.8876 | 2714988.787 | 1114890.2928 | 2714975.0432 | 1114889.2314 | 2714972.6554 | 1114889.2861 | 2714970.7141 | 1114889.4272 | 2714969.4521 | 1114889.5811 | 2714968.7467 | 1114889.7225
28 | 2715027.3173 | 1114827.4818 | 2715006.1188 | 1114900.0949
29 | 2714952.0748 | 1114836.5879 | 2714968.7467 | 1114889.7225
30 | 2715027.3173 | 1114827.4818 | 2715034.9971 | 1114825.8597
31 | 2714954.1601 | 1114835.7884 | 2714952.0748 | 1114836.5879
32 | 2714890.8638 | 1114857.2804 | 2714894.3359 | 1114856.6569 | 2714902.3434 | 1114854.7408 | 2714910.9701 | 1114852.3472 | 2714952.0748 | 1114836.5879
33 | 2715052.5984 | 1114822.1421 | 2715034.9971 | 1114825.8597
34 | 2715078.2354 | 1115050.998 | 2715084.7033 | 1115050.0202 | 2715086.2187 | 1115049.6171
35 | 2714954.1601 | 1114835.7884 | 2714952.461 | 1114816.9412
36 | 2714954.1601 | 1114835.7884 | 2715001.0076 | 1114815.7748 | 2714998.0921 | 1114808.6369 | 2714996.1828 | 1114794.8803
37 | 2714890.8638 | 1114857.2804 | 2714882.1369 | 1114859.0088
38 | 2714890.8638 | 1114857.2804 | 2714888.9805 | 1114831.1572
39 | 2714952.461 | 1114816.9412 | 2714950.3185 | 1114793.1761
40 | 2714996.1828 | 1114794.8803 | 2715018.2573 | 1114791.9596
41 | 2714996.1828 | 1114794.8803 | 2714995.0855 | 1114786.6872
42 | 2714996.1828 | 1114794.8803 | 2714975.5419 | 1114797.1408
43 | 2714859.9119 | 1114862.2749 | 2714870.5352 | 1114860.8976 | 2714880.6685 | 1114859.2996 | 2714882.1369 | 1114859.0088
44 | 2714889.0684 | 1114822.8456 | 2714888.8764 | 1114829.7132 | 2714888.9805 | 1114831.1572
45 | 2714948.3153 | 1114770.9564 | 2714950.3185 | 1114793.1761
46 | 2715031.8177 | 1114790.1654 | 2715018.2573 | 1114791.9596
47 | 2714993.3685 | 1114773.8684 | 2714995.0855 | 1114786.6872
48 | 2714859.9119 | 1114862.2749 | 2714858.901 | 1114879.3339 | 2714857.9824 | 1114892.3363 | 2714866.8902 | 1114893.4733
49 | 2714859.9119 | 1114862.2749 | 2714803.7574 | 1114869.0049
50 | 2714889.0684 | 1114822.8456 | 2714872.0252 | 1114822.2444 | 2714872.3295 | 1114806.3961
51 | 2714889.0684 | 1114822.8456 | 2714890.0872 | 1114812.3996
52 | 2715045.5788 | 1114788.3446 | 2715031.8177 | 1114790.1654
53 | 2714993.3685 | 1114773.8684 | 2715015.8287 | 1114770.8906
54 | 2714993.3685 | 1114773.8684 | 2714992.1971 | 1114765.0574
55 | 2715056.3347 | 1114792.5981 | 2715103.8615 | 1114772.3601
56 | 2715062.2851 | 1114820.0961 | 2715056.3347 | 1114792.5981
57 | 2715062.2851 | 1114820.0961 | 2715052.5984 | 1114822.1421
58 | 2715062.2851 | 1114820.0961 | 2715066.6345 | 1114819.2409
59 | 2714801.2775 | 1114869.3021 | 2714803.7574 | 1114869.0049
60 | 2714872.6636 | 1114788.9898 | 2714872.3295 | 1114806.3961
61 | 2714890.0872 | 1114812.3996 | 2714892.2283 | 1114790.4472
62 | 2714606.6233 | 1114890.2836 | 2714587.4061 | 1114892.3483 | 2714581.9468 | 1114892.8574
63 | 2714565.4885 | 1114893.835 | 2714570.4396 | 1114893.8286 | 2714576.4033 | 1114893.3743 | 2714581.9468 | 1114892.8574
64 | 2714606.6233 | 1114890.2836 | 2714614.2096 | 1114889.4686
65 | 2714565.4885 | 1114893.835 | 2714564.1946 | 1114863.5384
66 | 2714615.4073 | 1114889.3399 | 2714614.2096 | 1114889.4686
67 | 2714563.6042 | 1114849.7143 | 2714564.1946 | 1114863.5384
68 | 2714615.4073 | 1114889.3399 | 2714626.2074 | 1114888.1795
69 | 2714626.2074 | 1114888.1795 | 2714628.6739 | 1114887.9145 | 2714644.0545 | 1114886.3744
70 | 2714590.9387 | 1114808.5035 | 2714590.5058 | 1114789.5769
71 | 2714589.6813 | 1114757.7903 | 2714590.1905 | 1114775.7897 | 2714590.5058 | 1114789.5769
72 | 2714589.6813 | 1114757.7903 | 2714598.4932 | 1114754.8919
73 | 2714589.6813 | 1114757.7903 | 2714570.6723 | 1114764.0456
74 | 2714598.4932 | 1114754.8919 | 2714621.2793 | 1114747.3972
75 | 2714638.6883 | 1114743.5758 | 2714633.4091 | 1114743.4075 | 2714621.2793 | 1114747.3972
76 | 2714649.4718 | 1114747.6697 | 2714645.4206 | 1114743.7905 | 2714638.6883 | 1114743.5758
77 | 2714638.6883 | 1114743.5758 | 2714675.1233 | 1114661.1185
78 | 2714801.2775 | 1114869.3021 | 2714783.5336 | 1114871.1734
79 | 2714801.2775 | 1114869.3021 | 2714801.237 | 1114842.9178
80 | 2714763.5634 | 1114873.2795 | 2714783.5336 | 1114871.1734
81 | 2714801.1953 | 1114815.8224 | 2714801.237 | 1114842.9178
82 | 2715066.6345 | 1114819.2409 | 2715080.8803 | 1114816.4399
83 | 2715083.0994 | 1114816.0036 | 2715080.8803 | 1114816.4399
84 | 2715104.4662 | 1114811.8024 | 2715083.0994 | 1114816.0036
85 | 2715104.4662 | 1114811.8024 | 2715105.7318 | 1114811.5535
86 | 2714649.3565 | 1114838.7369 | 2714649.111 | 1114847.5296 | 2714649.2858 | 1114864.8102
87 | 2714649.3565 | 1114838.7369 | 2714649.8712 | 1114820.2965
88 | 2714649.3027 | 1114866.4849 | 2714649.2858 | 1114864.8102
89 | 2714650.0728 | 1114812.5641 | 2714650.0708 | 1114813.147 | 2714649.8712 | 1114820.2965
90 | 2714649.4984 | 1114885.8292 | 2714649.3027 | 1114866.4849
91 | 2714650.0728 | 1114812.5641 | 2714650.1518 | 1114790.1361
92 | 2714649.4984 | 1114885.8292 | 2714712.5842 | 1114878.9496
93 | 2714649.4984 | 1114885.8292 | 2714644.0545 | 1114886.3744
94 | 2714650.1623 | 1114787.159 | 2714650.1518 | 1114790.1361
95 | 2714715.7828 | 1114878.6008 | 2714712.5842 | 1114878.9496
96 | 2714650.1624 | 1114787.1202 | 2714650.1623 | 1114787.159
97 | 2714675.1233 | 1114661.1185 | 2714670.2445 | 1114660.2153 | 2714634.1837 | 1114650.2376 | 2714628.8623 | 1114648.3189
98 | 2714649.665 | 1114751.6272 | 2714649.4718 | 1114747.6697 | 2714649.4718 | 1114747.6697
99 | 2714990.4757 | 1114752.1101 | 2714999.5721 | 1114750.9712
100 | 2714990.4757 | 1114752.1101 | 2714990.7301 | 1114754.0232
101 | 2715013.3929 | 1114749.2408 | 2714999.5721 | 1114750.9712
102 | 2714990.7301 | 1114754.0232 | 2714992.1971 | 1114765.0574
103 | 2715027.2529 | 1114747.5054 | 2715013.3929 | 1114749.2408
104 | 2715015.8287 | 1114770.8906 | 2715029.737 | 1114769.0467
105 | 2715043.5997 | 1114767.2087 | 2715029.737 | 1114769.0467
106 | 2715040.9718 | 1114745.7878 | 2715027.2529 | 1114747.5054
107 | 2714649.665 | 1114751.6272 | 2714650.2455 | 1114763.5171 | 2714650.1624 | 1114787.1202
108 | 2714688.8809 | 1115037.9904 | 2714698.0605 | 1115039.9066 | 2714701.6488 | 1115040.486 | 2714705.7828 | 1115040.7977 | 2714709.2915 | 1115040.6863 | 2714712.9085 | 1115040.1544 | 2714714.6535 | 1115039.6908
109 | 2714730.416 | 1115033.1352 | 2714716.5415 | 1115039.1892 | 2714714.6535 | 1115039.6908
110 | 2714730.416 | 1115033.1352 | 2714732.1956 | 1115032.3587 | 2714736.169 | 1115030.9552 | 2714738.3059 | 1115030.4539
111 | 2715049.3391 | 1114766.4478 | 2715043.5997 | 1114767.2087
112 | 2714715.7828 | 1114878.6008 | 2714730.375 | 1114876.9756
113 | 2714715.7828 | 1114878.6008 | 2714715.7004 | 1114864.5236
114 | 2714763.5634 | 1114873.2795 | 2714763.4637 | 1114857.8413
115 | 2714763.5634 | 1114873.2795 | 2714762.4866 | 1114873.3994
116 | 2714801.1953 | 1114815.8224 | 2714801.1734 | 1114801.5252
117 | 2714763.2922 | 1114831.2867 | 2714763.4637 | 1114857.8413
118 | 2714730.375 | 1114876.9756 | 2714762.4866 | 1114873.3994
119 | 2714801.172 | 1114800.6285 | 2714801.1734 | 1114801.5252
120 | 2714715.7004 | 1114864.5236 | 2714715.6427 | 1114854.6596
121 | 2714715.4697 | 1114825.1136 | 2714715.6427 | 1114854.6596
122 | 2714715.3712 | 1114808.2952 | 2714715.4697 | 1114825.1136
123 | 2714763.2922 | 1114831.2867 | 2714763.1681 | 1114812.0685
124 | 2714763.0568 | 1114794.8396 | 2714763.1681 | 1114812.0685
125 | 2714801.1427 | 1114781.5876 | 2714801.172 | 1114800.6285
126 | 2714896.6841 | 1114753.8457 | 2714895.2618 | 1114765.091 | 2714892.4629 | 1114788.0422 | 2714892.2283 | 1114790.4472
127 | 2714879.9139 | 1115003.6234 | 2714876.6242 | 1115003.3082 | 2714872.0799 | 1115002.6328 | 2714868.5364 | 1115001.7317 | 2714865.3013 | 1115000.4473 | 2714862.7653 | 1114998.9538 | 2714856.1207 | 1114993.3686 | 2714853.8763 | 1114991.5693 | 2714851.0552 | 1114990.037 | 2714848.0008 | 1114989.0007 | 2714844.8917 | 1114988.408 | 2714841.7451 | 1114988.1594 | 2714839.0456 | 1114988.3639 | 2714836.8627 | 1114989.023 | 2714836.2072 | 1114989.3866
128 | 2714829.4264 | 1115009.2482 | 2714829.9148 | 1115001.4663 | 2714831.0337 | 1114997.4515 | 2714832.3089 | 1114994.1513 | 2714833.7555 | 1114991.5881 | 2714835.1376 | 1114989.9798 | 2714836.2072 | 1114989.3866
129 | 2714821.345 | 1115032.6475 | 2714824.5837 | 1115028.0387 | 2714826.6737 | 1115024.1312 | 2714828.8525 | 1115018.3909 | 2714829.4264 | 1115009.2482
130 | 2714800.7492 | 1115059.7751 | 2714800.7492 | 1115059.7751 | 2714803.1708 | 1115057.9308 | 2714810.5893 | 1115047.9536 | 2714821.345 | 1115032.6475
131 | 2714783.5368 | 1115061.617 | 2714786.1806 | 1115062.312 | 2714788.8075 | 1115062.6731 | 2714791.8438 | 1115062.6305 | 2714794.88 | 1115062.1766 | 2714797.9813 | 1115061.1458 | 2714800.7492 | 1115059.7751
132 | 2714715.1464 | 1114774.818 | 2714715.1465 | 1114774.8315
133 | 2714715.1465 | 1114774.8315 | 2714715.2286 | 1114783.4711 | 2714715.276 | 1114791.7752
134 | 2714715.336 | 1114802.2746 | 2714715.276 | 1114791.7752
135 | 2714715.336 | 1114802.2746 | 2714715.3712 | 1114808.2952
136 | 2714715.336 | 1114802.2746 | 2714711.5132 | 1114805.5764
137 | 2714711.5132 | 1114805.5764 | 2714699.2651 | 1114816.1554
138 | 2714693.5284 | 1114821.1102 | 2714699.2651 | 1114816.1554
139 | 2714693.5284 | 1114821.1102 | 2714691.8499 | 1114822.5599
140 | 2714724.3375 | 1115158.1162 | 2714727.7702 | 1115157.5253 | 2714731.4929 | 1115157.5291 | 2714734.748 | 1115158.1578 | 2714738.4339 | 1115159.6952 | 2714742.3897 | 1115162.0717 | 2714747.7312 | 1115166.3201
141 | 2714754.7199 | 1115188.8008 | 2714753.1745 | 1115185.9808 | 2714752.8734 | 1115182.7173 | 2714753.0979 | 1115179.0191 | 2714752.7277 | 1115174.0977 | 2714751.2395 | 1115170.3003 | 2714747.7312 | 1115166.3201
142 | 2714754.7199 | 1115188.8008 | 2714758.4684 | 1115187.4375 | 2714770.3201 | 1115182.3474 | 2714773.1734 | 1115181.8032
143 | 2714773.1734 | 1115181.8032 | 2714784.583 | 1115179.6268 | 2714787.8028 | 1115175.5962 | 2714792.76 | 1115166.295 | 2714794.1956 | 1115158.4644
144 | 2714812.7011 | 1115141.5006 | 2714796.4243 | 1115141.2588 | 2714795.0513 | 1115153.7967 | 2714794.1956 | 1115158.4644
145 | 2714783.5368 | 1115061.617 | 2714784.4218 | 1115065.4585 | 2714786.3026 | 1115074.6225 | 2714791.8221 | 1115093.1172 | 2714793.8764 | 1115111.057 | 2714794.9625 | 1115120.5839 | 2714795.9303 | 1115129.019 | 2714797.2996 | 1115135.0156 | 2714812.7011 | 1115141.5006
146 | 2714783.5368 | 1115061.617 | 2714781.213 | 1115060.3388 | 2714778.7066 | 1115058.1009 | 2714761.4101 | 1115039.5165 | 2714755.7556 | 1115033.4388 | 2714752.7897 | 1115031.4035 | 2714749.7468 | 1115030.1672 | 2714745.0006 | 1115029.5548 | 2714740.3351 | 1115029.9778 | 2714738.3059 | 1115030.4539
147 | 2714682.8968 | 1114830.293 | 2714682.1399 | 1114830.9467
148 | 2714678.1769 | 1114841.1098 | 2714678.5788 | 1114834.0225 | 2714682.1399 | 1114830.9467
149 | 2714682.8968 | 1114830.293 | 2714685.3315 | 1114828.1901
150 | 2714677.4772 | 1114853.448 | 2714678.1769 | 1114841.1098
151 | 2714685.3315 | 1114828.1901 | 2714691.8499 | 1114822.5599

## bus_geodata
| x | y | coords
0 | 2714658.5272 | 1114989.4888
1 | 2714718.9164 | 1114953.5963
2 | 2714570.7869 | 1115002.4633
3 | 2714740.3008 | 1114953.2722
4 | 2714602.785 | 1115062.9531
5 | 2714768.0045 | 1114962.968
6 | 2714661.6627 | 1115033.2753
7 | 2714682.8693 | 1115036.7355
8 | 2715130.5924 | 1115060.4542
9 | 2715143.5484 | 1115079.3275
10 | 2715071.8458 | 1115059.6492
11 | 2715155.0721 | 1115080.5994
12 | 2715063.6268 | 1115061.3276
13 | 2715116.3437 | 1115032.7428
14 | 2714989.0892 | 1115007.01
15 | 2715075.341 | 1115037.9649
16 | 2715013.0098 | 1114941.52
17 | 2714932.1404 | 1115007.7075
18 | 2715174.0869 | 1115063.3319
19 | 2715065.0148 | 1115093.726
20 | 2715109.9624 | 1115035.3352
21 | 2715125.1372 | 1115028.832
22 | 2715103.733 | 1115039.7398
23 | 2715150.1914 | 1115000.5051
24 | 2715006.1188 | 1114900.0949
25 | 2714968.7467 | 1114889.7225
26 | 2715027.3173 | 1114827.4818
27 | 2715126.2049 | 1114910.5102
28 | 2714952.0748 | 1114836.5879
29 | 2715034.9971 | 1114825.8597
30 | 2715086.2187 | 1115049.6171
31 | 2715078.2354 | 1115050.998
32 | 2714954.1601 | 1114835.7884
33 | 2714890.8638 | 1114857.2804
34 | 2714952.461 | 1114816.9412
35 | 2714996.1828 | 1114794.8803
36 | 2714882.1369 | 1114859.0088
37 | 2714888.9805 | 1114831.1572
38 | 2714950.3184 | 1114793.1761
39 | 2715018.2573 | 1114791.9596
40 | 2714995.0855 | 1114786.6872
41 | 2714975.5419 | 1114797.1408
42 | 2714859.9119 | 1114862.2749
43 | 2714889.0684 | 1114822.8456
44 | 2714948.3153 | 1114770.9564
45 | 2715031.8177 | 1114790.1654
46 | 2714993.3685 | 1114773.8684
47 | 2715056.3347 | 1114792.5981
48 | 2715103.8615 | 1114772.3601
49 | 2715062.2851 | 1114820.0961
50 | 2714866.8902 | 1114893.4733
51 | 2714803.7574 | 1114869.0049
52 | 2714872.3295 | 1114806.3961
53 | 2714890.0872 | 1114812.3996
54 | 2714581.9468 | 1114892.8574
55 | 2714606.6233 | 1114890.2836
56 | 2714565.4885 | 1114893.835
57 | 2714614.2096 | 1114889.4686
58 | 2714564.1946 | 1114863.5384
59 | 2714615.4073 | 1114889.3399
60 | 2714563.6042 | 1114849.7143
61 | 2714626.2074 | 1114888.1795
62 | 2714590.5058 | 1114789.5769
63 | 2714590.9387 | 1114808.5035
64 | 2714589.6813 | 1114757.7903
65 | 2714598.4932 | 1114754.8919
66 | 2714570.6723 | 1114764.0456
67 | 2714621.2793 | 1114747.3972
68 | 2714638.6883 | 1114743.5758
69 | 2714801.2775 | 1114869.3021
70 | 2714783.5336 | 1114871.1734
71 | 2714801.237 | 1114842.9178
72 | 2715045.5788 | 1114788.3446
73 | 2715066.6345 | 1114819.2409
74 | 2715080.8803 | 1114816.4399
75 | 2715083.0994 | 1114816.0036
76 | 2715052.5984 | 1114822.1421
77 | 2715104.4662 | 1114811.8024
78 | 2715105.7318 | 1114811.5535
79 | 2714649.3565 | 1114838.7369
80 | 2714649.2858 | 1114864.8102
81 | 2714649.8712 | 1114820.2965
82 | 2714649.3027 | 1114866.4849
83 | 2714650.0728 | 1114812.5641
84 | 2714649.4984 | 1114885.8292
85 | 2714650.1518 | 1114790.1361
86 | 2714712.5842 | 1114878.9496
87 | 2714644.0545 | 1114886.3744
88 | 2714650.1623 | 1114787.159
89 | 2714675.1233 | 1114661.1185
90 | 2714628.8623 | 1114648.3189
91 | 2714649.4718 | 1114747.6697
92 | 2714990.4757 | 1114752.1101
93 | 2714999.5721 | 1114750.9712
94 | 2714990.7301 | 1114754.0232
95 | 2715013.3929 | 1114749.2408
96 | 2714992.1971 | 1114765.0574
97 | 2715015.8287 | 1114770.8906
98 | 2715029.737 | 1114769.0467
99 | 2715027.2529 | 1114747.5054
100 | 2714649.665 | 1114751.6272
101 | 2714688.8809 | 1115037.9904
102 | 2714714.6535 | 1115039.6908
103 | 2714730.416 | 1115033.1352
104 | 2715043.5997 | 1114767.2087
105 | 2715049.3391 | 1114766.4478
106 | 2714715.7828 | 1114878.6008
107 | 2714650.1624 | 1114787.1202
108 | 2714763.5634 | 1114873.2795
109 | 2714801.1953 | 1114815.8224
110 | 2714763.4637 | 1114857.8413
111 | 2714762.4866 | 1114873.3994
112 | 2714801.1734 | 1114801.5252
113 | 2714730.375 | 1114876.9756
114 | 2714715.7004 | 1114864.5236
115 | 2714715.6427 | 1114854.6596
116 | 2714715.4697 | 1114825.1136
117 | 2714763.2922 | 1114831.2867
118 | 2715040.9718 | 1114745.7878
119 | 2714763.1681 | 1114812.0685
120 | 2714801.172 | 1114800.6285
121 | 2714801.1427 | 1114781.5876
122 | 2714892.2283 | 1114790.4472
123 | 2714896.6841 | 1114753.8457
124 | 2714872.6636 | 1114788.9898
125 | 2714879.9139 | 1115003.6234
126 | 2714836.2072 | 1114989.3866
127 | 2714829.4264 | 1115009.2482
128 | 2714821.345 | 1115032.6475
129 | 2714800.7492 | 1115059.7751
130 | 2714763.0568 | 1114794.8396
131 | 2714715.1464 | 1114774.818
132 | 2714715.1465 | 1114774.8315
133 | 2714715.276 | 1114791.7752
134 | 2714715.336 | 1114802.2746
135 | 2714715.3712 | 1114808.2952
136 | 2714711.5132 | 1114805.5764
137 | 2714699.2651 | 1114816.1554
138 | 2714693.5284 | 1114821.1102
139 | 2714724.3375 | 1115158.1162
140 | 2714747.7312 | 1115166.3201
141 | 2714754.7199 | 1115188.8008
142 | 2714773.1734 | 1115181.8032
143 | 2714794.1956 | 1115158.4644
144 | 2714812.7011 | 1115141.5006
145 | 2714783.5368 | 1115061.617
146 | 2714738.3059 | 1115030.4539
147 | 2714682.1399 | 1114830.9467
148 | 2714682.8968 | 1114830.293
149 | 2714678.1769 | 1114841.1098
150 | 2714685.3315 | 1114828.1901
151 | 2714677.4772 | 1114853.448
152 | 2714691.8499 | 1114822.5599
153 | 2714803.7574 | 1114869.0049

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1