## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5143-1_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5143-1_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5143-1_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_5143-1_0_5_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_5143-1_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5143-1_0_5_node_69 | 0.4 | n |  | TRUE
6 | bus_LV_5143-1_0_5_node_68 | 0.4 | n |  | TRUE
7 | bus_LV_5143-1_0_5_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_5143-1_0_5_node_59 | 0.4 | n |  | TRUE
9 | bus_LV_5143-1_0_5_node_66 | 0.4 | n |  | TRUE
10 | bus_LV_5143-1_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5143-1_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5143-1_0_5_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5143-1_0_5_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5143-1_0_5_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5143-1_0_5_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_5143-1_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5143-1_0_5_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5143-1_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_5143-1_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_5143-1_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5143-1_0_5_node_140 | 0.4 | n |  | TRUE
22 | bus_LV_5143-1_0_5_node_141 | 0.4 | n |  | TRUE
23 | bus_LV_5143-1_0_5_node_139 | 0.4 | n |  | TRUE
24 | bus_LV_5143-1_0_5_node_142 | 0.4 | n |  | TRUE
25 | bus_LV_5143-1_0_5_node_143 | 0.4 | n |  | TRUE
26 | bus_LV_5143-1_0_5_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_5143-1_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5143-1_0_5_node_123 | 0.4 | n |  | TRUE
29 | bus_LV_5143-1_0_5_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_5143-1_0_5_node_122 | 0.4 | n |  | TRUE
31 | bus_LV_5143-1_0_5_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_5143-1_0_5_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5143-1_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5143-1_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_5143-1_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_5143-1_0_5_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5143-1_0_5_node_130 | 0.4 | n |  | TRUE
38 | bus_LV_5143-1_0_5_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_5143-1_0_5_node_22 | 0.4 | n |  | TRUE
40 | bus_LV_5143-1_0_5_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5143-1_0_5_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5143-1_0_5_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5143-1_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5143-1_0_5_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5143-1_0_5_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_5143-1_0_5_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_5143-1_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_5143-1_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5143-1_0_5_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_5143-1_0_5_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5143-1_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5143-1_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5143-1_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_5143-1_0_5_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_5143-1_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_5143-1_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_5143-1_0_5_node_135 | 0.4 | n |  | TRUE
58 | bus_LV_5143-1_0_5_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_5143-1_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_5143-1_0_5_node_113 | 0.4 | n |  | TRUE
61 | bus_LV_5143-1_0_5_node_112 | 0.4 | n |  | TRUE
62 | bus_LV_5143-1_0_5_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_5143-1_0_5_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_5143-1_0_5_node_116 | 0.4 | n |  | TRUE
65 | bus_LV_5143-1_0_5_node_134 | 0.4 | n |  | TRUE
66 | bus_LV_5143-1_0_5_node_129 | 0.4 | n |  | TRUE
67 | bus_LV_5143-1_0_5_node_115 | 0.4 | n |  | TRUE
68 | bus_LV_5143-1_0_5_node_137 | 0.4 | n |  | TRUE
69 | bus_LV_5143-1_0_5_node_138 | 0.4 | n |  | TRUE
70 | bus_LV_5143-1_0_5_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_5143-1_0_5_node_42 | 0.4 | n |  | TRUE
72 | bus_LV_5143-1_0_5_node_94 | 0.4 | n |  | TRUE
73 | bus_LV_5143-1_0_5_node_126 | 0.4 | n |  | TRUE
74 | bus_LV_5143-1_0_5_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_5143-1_0_5_node_127 | 0.4 | n |  | TRUE
76 | bus_LV_5143-1_0_5_node_48 | 0.4 | n |  | TRUE
77 | bus_LV_5143-1_0_5_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_5143-1_0_5_node_81 | 0.4 | n |  | TRUE
79 | bus_LV_5143-1_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5143-1_0_5_node_49 | 0.4 | n |  | TRUE
81 | bus_LV_5143-1_0_5_node_50 | 0.4 | n |  | TRUE
82 | bus_LV_5143-1_0_5_node_51 | 0.4 | n |  | TRUE
83 | bus_LV_5143-1_0_5_node_52 | 0.4 | n |  | TRUE
84 | bus_LV_5143-1_0_5_node_53 | 0.4 | n |  | TRUE
85 | bus_LV_5143-1_0_5_node_54 | 0.4 | n |  | TRUE
86 | bus_LV_5143-1_0_5_node_55 | 0.4 | n |  | TRUE
87 | bus_LV_5143-1_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_5143-1_0_5_node_83 | 0.4 | n |  | TRUE
89 | bus_LV_5143-1_0_5_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_5143-1_0_5_node_131 | 0.4 | n |  | TRUE
91 | bus_LV_5143-1_0_5_node_133 | 0.4 | n |  | TRUE
92 | bus_LV_5143-1_0_5_node_56 | 0.4 | n |  | TRUE
93 | bus_LV_5143-1_0_5_node_57 | 0.4 | n |  | TRUE
94 | bus_LV_5143-1_0_5_node_58 | 0.4 | n |  | TRUE
95 | bus_LV_5143-1_0_5_node_60 | 0.4 | n |  | TRUE
96 | bus_LV_5143-1_0_5_node_118 | 0.4 | n |  | TRUE
97 | bus_LV_5143-1_0_5_node_119 | 0.4 | n |  | TRUE
98 | bus_LV_5143-1_0_5_node_61 | 0.4 | n |  | TRUE
99 | bus_LV_5143-1_0_5_node_62 | 0.4 | n |  | TRUE
100 | bus_LV_5143-1_0_5_node_63 | 0.4 | n |  | TRUE
101 | bus_LV_5143-1_0_5_node_64 | 0.4 | n |  | TRUE
102 | bus_LV_5143-1_0_5_node_70 | 0.4 | n |  | TRUE
103 | bus_LV_5143-1_0_5_node_72 | 0.4 | n |  | TRUE
104 | bus_LV_5143-1_0_5_node_73 | 0.4 | n |  | TRUE
105 | bus_LV_5143-1_0_5_node_74 | 0.4 | n |  | TRUE
106 | bus_LV_5143-1_0_5_node_75 | 0.4 | n |  | TRUE
107 | bus_LV_5143-1_0_5_node_117 | 0.4 | n |  | TRUE
108 | bus_LV_5143-1_0_5_node_76 | 0.4 | n |  | TRUE
109 | bus_LV_5143-1_0_5_node_77 | 0.4 | n |  | TRUE
110 | bus_LV_5143-1_0_5_node_78 | 0.4 | n |  | TRUE
111 | bus_LV_5143-1_0_5_node_100 | 0.4 | n |  | TRUE
112 | bus_LV_5143-1_0_5_node_125 | 0.4 | n |  | TRUE
113 | bus_LV_5143-1_0_5_node_84 | 0.4 | n |  | TRUE
114 | bus_LV_5143-1_0_5_node_85 | 0.4 | n |  | TRUE
115 | bus_LV_5143-1_0_5_node_86 | 0.4 | n |  | TRUE
116 | bus_LV_5143-1_0_5_node_89 | 0.4 | n |  | TRUE
117 | bus_LV_5143-1_0_5_node_136 | 0.4 | n |  | TRUE
118 | bus_LV_5143-1_0_5_node_87 | 0.4 | n |  | TRUE
119 | bus_LV_5143-1_0_5_node_99 | 0.4 | n |  | TRUE
120 | bus_LV_5143-1_0_5_node_88 | 0.4 | n |  | TRUE
121 | bus_LV_5143-1_0_5_node_91 | 0.4 | n |  | TRUE
122 | bus_LV_5143-1_0_5_node_92 | 0.4 | n |  | TRUE
123 | bus_LV_5143-1_0_5_node_95 | 0.4 | n |  | TRUE
124 | bus_LV_5143-1_0_5_node_132 | 0.4 | n |  | TRUE
125 | bus_LV_5143-1_0_5_node_96 | 0.4 | n |  | TRUE
126 | bus_LV_5143-1_0_5_node_97 | 0.4 | n |  | TRUE
127 | bus_LV_5143-1_0_5_node_98 | 0.4 | n |  | TRUE
128 | bus_LV_5143-1_0_5_node_101 | 0.4 | n |  | TRUE
129 | bus_LV_5143-1_0_5_node_107 | 0.4 | n |  | TRUE
130 | bus_LV_5143-1_0_5_node_103 | 0.4 | n |  | TRUE
131 | bus_LV_5143-1_0_5_node_102 | 0.4 | n |  | TRUE
132 | bus_LV_5143-1_0_5_node_104 | 0.4 | n |  | TRUE
133 | bus_LV_5143-1_0_5_node_105 | 0.4 | n |  | TRUE
134 | bus_LV_5143-1_0_5_node_106 | 0.4 | n |  | TRUE
135 | bus_LV_5143-1_0_5_node_111 | 0.4 | n |  | TRUE
136 | bus_LV_5143-1_0_5_node_108 | 0.4 | n |  | TRUE
137 | bus_LV_5143-1_0_5_node_109 | 0.4 | n |  | TRUE
138 | bus_LV_5143-1_0_5_node_110 | 0.4 | n |  | TRUE
139 | bus_LV_5143-1_0_5_node_124 | 0.4 | n |  | TRUE
140 | bus_LV_5143-1_0_5_node_114 | 0.4 | n |  | TRUE
141 | bus_LV_5143-1_0_5_node_128 | 0.4 | n |  | TRUE
142 | bus_LV_5143-1_0_5_node_120 | 0.4 | n |  | TRUE
143 | bus_LV_5143-1_0_5_node_121 | 0.4 | n |  | TRUE
144 | bus_MV_67_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5143-1_0_5_load_0 | 0 | 0.0054132 | 0.0013567 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5143-1_0_5_load_3 | 2 | 0.0037923 | 0.00095044 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5143-1_0_5_load_4 | 4 | 0.0024421 | 0.00061204 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5143-1_0_5_load_69 | 5 | 0.004794 | 0.0012015 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5143-1_0_5_load_71 | 7 | 0.0031905 | 0.00079961 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5143-1_0_5_load_59 | 8 | 0.0042028 | 0.0010533 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5143-1_0_5_load_66 | 9 | 0.002527 | 0.00063332 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5143-1_0_5_load_7 | 10 | 0.0020579 | 0.00051575 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5143-1_0_5_load_8 | 11 | 0.0030876 | 0.00077382 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5143-1_0_5_load_5 | 12 | 0.0053583 | 0.0013429 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5143-1_0_5_load_6 | 13 | 0.004303 | 0.0010784 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5143-1_0_5_load_12 | 15 | 0.0035417 | 0.00088764 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5143-1_0_5_load_10 | 16 | 0.0031999 | 0.00080196 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5143-1_0_5_load_9 | 17 | 0.0032307 | 0.00080968 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5143-1_0_5_load_14 | 19 | 0.0022499 | 0.00056388 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5143-1_0_5_load_140 | 21 | 0.00093767 | 0.000235 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5143-1_0_5_load_141 | 22 | 0.0021784 | 0.00054597 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5143-1_0_5_load_139 | 23 | 0.0025142 | 0.00063011 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5143-1_0_5_load_142 | 24 | 0.0018014 | 0.00045147 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5143-1_0_5_load_143 | 25 | 0.001924 | 0.00048219 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5143-1_0_5_load_123 | 28 | 0.0026991 | 0.00067645 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5143-1_0_5_load_67 | 29 | 0.0081537 | 0.0020435 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5143-1_0_5_load_122 | 30 | 0.010916 | 0.0027357 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5143-1_0_5_load_65 | 31 | 0.0045527 | 0.001141 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5143-1_0_5_load_18 | 32 | 0.0026652 | 0.00066796 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5143-1_0_5_load_19 | 33 | 0.00046411 | 0.00011632 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5143-1_0_5_load_39 | 35 | 0.0036717 | 0.00092022 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5143-1_0_5_load_40 | 36 | 0.0018494 | 0.00046351 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5143-1_0_5_load_130 | 37 | 0.0020428 | 0.00051197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5143-1_0_5_load_21 | 38 | 0.0033089 | 0.00082928 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5143-1_0_5_load_22 | 39 | 0.003749 | 0.00093959 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5143-1_0_5_load_23 | 40 | 0.0019566 | 0.00049036 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5143-1_0_5_load_25 | 42 | 0.0041382 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5143-1_0_5_load_28 | 43 | 0.0046651 | 0.0011692 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5143-1_0_5_load_27 | 44 | 0.0013856 | 0.00034726 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5143-1_0_5_load_47 | 46 | 0.0045533 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5143-1_0_5_load_26 | 47 | 0.00061887 | 0.0001551 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5143-1_0_5_load_45 | 48 | 0.0024374 | 0.00061088 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5143-1_0_5_load_46 | 49 | 0.004607 | 0.0011546 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5143-1_0_5_load_41 | 50 | 0.0011172 | 0.00028 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5143-1_0_5_load_29 | 51 | 0.0021667 | 0.00054302 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5143-1_0_5_load_30 | 52 | 0.001109 | 0.00027794 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5143-1_0_5_load_33 | 55 | 0.003311 | 0.00082983 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5143-1_0_5_load_135 | 57 | 0.0023008 | 0.00057663 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5143-1_0_5_load_38 | 58 | 0.0056597 | 0.0014184 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5143-1_0_5_load_34 | 59 | 0.002623 | 0.00065738 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5143-1_0_5_load_113 | 60 | 0.010646 | 0.0026681 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5143-1_0_5_load_112 | 61 | 0.0029391 | 0.0007366 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5143-1_0_5_load_35 | 62 | 0.0011001 | 0.00027571 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5143-1_0_5_load_37 | 63 | 0.006526 | 0.0016356 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5143-1_0_5_load_116 | 64 | 0.0023133 | 0.00057977 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5143-1_0_5_load_134 | 65 | 0.004017 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5143-1_0_5_load_129 | 66 | 0.0026998 | 0.00067664 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5143-1_0_5_load_138 | 69 | 0.0036249 | 0.00090848 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5143-1_0_5_load_44 | 70 | 0.0039 | 0.00097744 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5143-1_0_5_load_42 | 71 | 0.00045844 | 0.0001149 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5143-1_0_5_load_94 | 72 | 0.0069771 | 0.0017486 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5143-1_0_5_load_126 | 73 | 0.0023581 | 0.00059099 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5143-1_0_5_load_127 | 75 | 0.0033598 | 0.00084205 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5143-1_0_5_load_48 | 76 | 0.0072989 | 0.0018293 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5143-1_0_5_load_80 | 77 | 0.004923 | 0.0012338 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5143-1_0_5_load_81 | 78 | 0.0047977 | 0.0012024 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5143-1_0_5_load_79 | 79 | 0.010288 | 0.0025785 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5143-1_0_5_load_49 | 80 | 0.0037576 | 0.00094173 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5143-1_0_5_load_50 | 81 | 0.0054648 | 0.0013696 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5143-1_0_5_load_52 | 83 | 0.0025306 | 0.00063422 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5143-1_0_5_load_53 | 84 | 0.0047067 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5143-1_0_5_load_54 | 85 | 0.0046354 | 0.0011617 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5143-1_0_5_load_90 | 89 | 0.00469 | 0.0011754 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5143-1_0_5_load_131 | 90 | 0.0036843 | 0.00092336 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5143-1_0_5_load_133 | 91 | 0.0058678 | 0.0014706 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5143-1_0_5_load_56 | 92 | 0.0030522 | 0.00076496 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5143-1_0_5_load_57 | 93 | 0.0054131 | 0.0013566 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5143-1_0_5_load_58 | 94 | 0.0055974 | 0.0014028 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5143-1_0_5_load_60 | 95 | 0.0047019 | 0.0011784 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5143-1_0_5_load_118 | 96 | 0.0079279 | 0.0019869 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5143-1_0_5_load_119 | 97 | 0.0063171 | 0.0015832 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5143-1_0_5_load_61 | 98 | 0.0046889 | 0.0011751 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5143-1_0_5_load_62 | 99 | 0.0041831 | 0.0010484 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5143-1_0_5_load_63 | 100 | 0.0026914 | 0.00067453 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5143-1_0_5_load_64 | 101 | 0.003514 | 0.00088069 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5143-1_0_5_load_70 | 102 | 0.0027519 | 0.0006897 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5143-1_0_5_load_73 | 104 | 0.0034699 | 0.00086964 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5143-1_0_5_load_74 | 105 | 0.002789 | 0.000699 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5143-1_0_5_load_75 | 106 | 0.011634 | 0.0029158 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5143-1_0_5_load_117 | 107 | 0.0056207 | 0.0014087 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5143-1_0_5_load_76 | 108 | 0.0054984 | 0.001378 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5143-1_0_5_load_77 | 109 | 0.011898 | 0.002982 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5143-1_0_5_load_78 | 110 | 0.002912 | 0.00072982 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5143-1_0_5_load_84 | 113 | 0.0016131 | 0.00040429 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5143-1_0_5_load_85 | 114 | 0.0020905 | 0.00052393 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5143-1_0_5_load_89 | 116 | 0.0038639 | 0.0009684 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5143-1_0_5_load_136 | 117 | 0.0050177 | 0.0012576 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5143-1_0_5_load_87 | 118 | 0.0017541 | 0.00043963 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5143-1_0_5_load_99 | 119 | 0.0012593 | 0.00031561 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5143-1_0_5_load_88 | 120 | 0.0013886 | 0.00034802 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5143-1_0_5_load_91 | 121 | 0.0032728 | 0.00082024 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5143-1_0_5_load_92 | 122 | 0.0054573 | 0.0013677 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5143-1_0_5_load_95 | 123 | 0.0018307 | 0.00045881 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5143-1_0_5_load_132 | 124 | 0.002518 | 0.00063107 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5143-1_0_5_load_96 | 125 | 0.0023895 | 0.00059887 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5143-1_0_5_load_97 | 126 | 0.001704 | 0.00042706 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5143-1_0_5_load_101 | 128 | 0.0027866 | 0.00069838 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5143-1_0_5_load_107 | 129 | 0.0044263 | 0.0011093 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5143-1_0_5_load_103 | 130 | 0.001086 | 0.00027218 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5143-1_0_5_load_102 | 131 | 0.0014573 | 0.00036524 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5143-1_0_5_load_105 | 133 | 0.0016647 | 0.00041722 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5143-1_0_5_load_111 | 135 | 0.0023558 | 0.00059042 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5143-1_0_5_load_108 | 136 | 0.0083721 | 0.0020982 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5143-1_0_5_load_109 | 137 | 0.0063566 | 0.0015931 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5143-1_0_5_load_110 | 138 | 0.0076689 | 0.001922 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5143-1_0_5_load_124 | 139 | 0.0024755 | 0.00062043 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_5143-1_0_5_load_114 | 140 | 0.0034356 | 0.00086104 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_5143-1_0_5_load_128 | 141 | 0.0012856 | 0.00032221 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_5143-1_0_5_load_120 | 142 | 0.0051754 | 0.0012971 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_5143-1_0_5_load_121 | 143 | 0.0075451 | 0.001891 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 120 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5143-1_0_5_line_0 |  | 0 | 1 | 0.020384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5143-1_0_5_line_1 |  | 0 | 2 | 0.058541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5143-1_0_5_line_2 |  | 1 | 3 | 0.030438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5143-1_0_5_line_3 |  | 2 | 4 | 0.026187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5143-1_0_5_line_4 |  | 3 | 5 | 0.053474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5143-1_0_5_line_5 |  | 4 | 10 | 0.051783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5143-1_0_5_line_6 |  | 5 | 9 | 0.010368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5143-1_0_5_line_7 |  | 6 | 7 | 0.036492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_5143-1_0_5_line_8 |  | 6 | 8 | 0.017059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5143-1_0_5_line_9 |  | 7 | 102 | 0.031855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_5143-1_0_5_line_10 |  | 8 | 93 | 0.0031207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
11 | LV_5143-1_0_5_line_11 |  | 9 | 101 | 0.02118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5143-1_0_5_line_12 |  | 10 | 11 | 0.03116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5143-1_0_5_line_13 |  | 11 | 17 | 0.0020649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5143-1_0_5_line_14 |  | 12 | 13 | 0.033793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5143-1_0_5_line_15 |  | 13 | 14 | 0.024602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5143-1_0_5_line_16 |  | 14 | 15 | 0.048619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5143-1_0_5_line_17 |  | 14 | 16 | 0.042118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5143-1_0_5_line_18 |  | 15 | 18 | 0.07287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5143-1_0_5_line_19 |  | 18 | 19 | 0.034715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5143-1_0_5_line_20 |  | 19 | 20 | 0.016125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5143-1_0_5_line_21 |  | 20 | 26 | 0.01437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5143-1_0_5_line_22 |  | 21 | 22 | 0.025159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5143-1_0_5_line_23 |  | 21 | 23 | 0.011981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5143-1_0_5_line_24 |  | 22 | 24 | 0.042554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5143-1_0_5_line_25 |  | 23 | 135 | 0.10766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5143-1_0_5_line_26 |  | 24 | 25 | 0.054012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5143-1_0_5_line_27 |  | 26 | 27 | 0.071944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5143-1_0_5_line_28 |  | 27 | 28 | 0.036598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5143-1_0_5_line_29 |  | 27 | 29 | 0.060003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5143-1_0_5_line_30 |  | 28 | 30 | 0.012931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
31 | LV_5143-1_0_5_line_31 |  | 29 | 31 | 0.06018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
32 | LV_5143-1_0_5_line_32 |  | 30 | 143 | 0.0119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
33 | LV_5143-1_0_5_line_33 |  | 31 | 100 | 0.011318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5143-1_0_5_line_34 |  | 32 | 33 | 0.038179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5143-1_0_5_line_35 |  | 33 | 34 | 0.032647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5143-1_0_5_line_36 |  | 34 | 35 | 0.00073659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5143-1_0_5_line_37 |  | 34 | 36 | 0.011625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5143-1_0_5_line_38 |  | 35 | 37 | 0.0044594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5143-1_0_5_line_39 |  | 37 | 67 | 0.012417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5143-1_0_5_line_40 |  | 38 | 39 | 0.0052887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5143-1_0_5_line_41 |  | 38 | 40 | 0.019897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5143-1_0_5_line_42 |  | 39 | 41 | 0.053342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5143-1_0_5_line_43 |  | 40 | 42 | 0.003448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5143-1_0_5_line_44 |  | 41 | 43 | 0.046946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5143-1_0_5_line_45 |  | 41 | 44 | 0.062647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5143-1_0_5_line_46 |  | 42 | 45 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5143-1_0_5_line_47 |  | 43 | 46 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5143-1_0_5_line_48 |  | 44 | 47 | 0.0071959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5143-1_0_5_line_49 |  | 45 | 48 | 0.013344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5143-1_0_5_line_50 |  | 45 | 49 | 0.0078096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5143-1_0_5_line_51 |  | 45 | 50 | 0.025489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5143-1_0_5_line_52 |  | 48 | 72 | 0.016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5143-1_0_5_line_53 |  | 49 | 73 | 0.005755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5143-1_0_5_line_54 |  | 50 | 71 | 0.0032403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5143-1_0_5_line_55 |  | 51 | 52 | 0.025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5143-1_0_5_line_56 |  | 51 | 53 | 0.02546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5143-1_0_5_line_57 |  | 53 | 54 | 0.002607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5143-1_0_5_line_58 |  | 53 | 55 | 0.013793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5143-1_0_5_line_59 |  | 54 | 56 | 0.004342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5143-1_0_5_line_60 |  | 55 | 57 | 0.013587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5143-1_0_5_line_61 |  | 56 | 58 | 0.032734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5143-1_0_5_line_62 |  | 56 | 59 | 0.015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5143-1_0_5_line_63 |  | 58 | 65 | 0.0014938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5143-1_0_5_line_64 |  | 59 | 62 | 0.0053857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5143-1_0_5_line_65 |  | 60 | 61 | 0.0058236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5143-1_0_5_line_66 |  | 61 | 140 | 0.013039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5143-1_0_5_line_67 |  | 62 | 63 | 0.013026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5143-1_0_5_line_68 |  | 63 | 64 | 0.0070145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5143-1_0_5_line_69 |  | 64 | 66 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5143-1_0_5_line_70 |  | 66 | 67 | 0.014509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5143-1_0_5_line_71 |  | 67 | 141 | 0.01072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5143-1_0_5_line_72 |  | 67 | 140 | 0.017761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5143-1_0_5_line_73 |  | 68 | 69 | 0.013755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5143-1_0_5_line_74 |  | 68 | 70 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5143-1_0_5_line_75 |  | 70 | 71 | 0.010088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5143-1_0_5_line_76 |  | 72 | 74 | 0.00088602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5143-1_0_5_line_77 |  | 73 | 75 | 0.0077481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5143-1_0_5_line_78 |  | 74 | 123 | 0.013069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5143-1_0_5_line_79 |  | 74 | 122 | 0.01284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5143-1_0_5_line_80 |  | 75 | 141 | 4.2767e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5143-1_0_5_line_81 |  | 76 | 77 | 0.05954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5143-1_0_5_line_82 |  | 77 | 78 | 0.0040746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5143-1_0_5_line_83 |  | 77 | 79 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5143-1_0_5_line_84 |  | 78 | 85 | 0.027185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5143-1_0_5_line_85 |  | 79 | 110 | 0.00072136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5143-1_0_5_line_86 |  | 80 | 81 | 0.0032132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5143-1_0_5_line_87 |  | 80 | 82 | 0.064468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5143-1_0_5_line_88 |  | 81 | 83 | 0.078499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5143-1_0_5_line_89 |  | 82 | 84 | 0.025157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5143-1_0_5_line_90 |  | 82 | 85 | 0.013053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5143-1_0_5_line_91 |  | 83 | 86 | 0.014573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5143-1_0_5_line_92 |  | 86 | 87 | 0.011919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
93 | LV_5143-1_0_5_line_93 |  | 86 | 88 | 0.028949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
94 | LV_5143-1_0_5_line_94 |  | 87 | 89 | 0.045938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
95 | LV_5143-1_0_5_line_95 |  | 88 | 90 | 0.010383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
96 | LV_5143-1_0_5_line_96 |  | 88 | 91 | 0.013712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
97 | LV_5143-1_0_5_line_97 |  | 89 | 107 | 0.044252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
98 | LV_5143-1_0_5_line_98 |  | 90 | 111 | 0.0092414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
99 | LV_5143-1_0_5_line_99 |  | 91 | 112 | 0.01286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
100 | LV_5143-1_0_5_line_100 |  | 92 | 93 | 0.022593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
101 | LV_5143-1_0_5_line_101 |  | 92 | 94 | 0.059964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
102 | LV_5143-1_0_5_line_102 |  | 94 | 95 | 0.012283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
103 | LV_5143-1_0_5_line_103 |  | 95 | 96 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
104 | LV_5143-1_0_5_line_104 |  | 96 | 97 | 0.022723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
105 | LV_5143-1_0_5_line_105 |  | 97 | 142 | 0.004747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
106 | LV_5143-1_0_5_line_106 |  | 98 | 99 | 0.025891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
107 | LV_5143-1_0_5_line_107 |  | 98 | 100 | 0.01332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
108 | LV_5143-1_0_5_line_108 |  | 99 | 101 | 0.022235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
109 | LV_5143-1_0_5_line_109 |  | 102 | 103 | 0.0087697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
110 | LV_5143-1_0_5_line_110 |  | 103 | 104 | 0.0021533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5143-1_0_5_line_111 |  | 103 | 105 | 0.055681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
112 | LV_5143-1_0_5_line_112 |  | 104 | 106 | 0.024944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5143-1_0_5_line_113 |  | 105 | 107 | 0.070202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
114 | LV_5143-1_0_5_line_114 |  | 106 | 108 | 0.071574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5143-1_0_5_line_115 |  | 108 | 109 | 0.0080189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5143-1_0_5_line_116 |  | 111 | 129 | 0.0073325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5143-1_0_5_line_117 |  | 111 | 127 | 0.035514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
118 | LV_5143-1_0_5_line_118 |  | 112 | 124 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5143-1_0_5_line_119 |  | 112 | 139 | 0.023515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5143-1_0_5_line_120 |  | 113 | 114 | 0.013464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5143-1_0_5_line_121 |  | 114 | 115 | 0.0059432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5143-1_0_5_line_122 |  | 115 | 116 | 0.0022441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
123 | LV_5143-1_0_5_line_123 |  | 115 | 117 | 0.0080134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
124 | LV_5143-1_0_5_line_124 |  | 116 | 118 | 0.0088202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
125 | LV_5143-1_0_5_line_125 |  | 117 | 119 | 0.011923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
126 | LV_5143-1_0_5_line_126 |  | 118 | 120 | 0.026356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
127 | LV_5143-1_0_5_line_127 |  | 119 | 126 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
128 | LV_5143-1_0_5_line_128 |  | 121 | 122 | 0.0088337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5143-1_0_5_line_129 |  | 123 | 124 | 1.9554e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5143-1_0_5_line_130 |  | 125 | 126 | 0.009696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
131 | LV_5143-1_0_5_line_131 |  | 125 | 127 | 0.0028362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
132 | LV_5143-1_0_5_line_132 |  | 127 | 128 | 0.0029014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5143-1_0_5_line_133 |  | 128 | 130 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5143-1_0_5_line_134 |  | 130 | 131 | 0.0058776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5143-1_0_5_line_135 |  | 131 | 132 | 0.038589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5143-1_0_5_line_136 |  | 132 | 133 | 0.040572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5143-1_0_5_line_137 |  | 132 | 134 | 0.031651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5143-1_0_5_line_138 |  | 134 | 135 | 0.040277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5143-1_0_5_line_139 |  | 134 | 136 | 0.043517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_5143-1_0_5_line_140 |  | 137 | 138 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_5143-1_0_5_line_141 |  | 138 | 139 | 0.0031492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_5143-1_0_5_line_142 |  | 142 | 143 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5143-1_0_5_trafo_88 | 0.63 MVA 20/0.4 kV | 144 | 120 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2710999.8173 | 1097481.1724 | 2711017.377 | 1097491.5249
1 | 2711017.377 | 1097491.5249 | 2711042.5279 | 1097438.6625
2 | 2710977.3395 | 1097460.7706 | 2710980.0734 | 1097464.1894 | 2710982.6922 | 1097467.117 | 2710985.7524 | 1097470.0526 | 2710992.1137 | 1097475.4613 | 2710999.8173 | 1097481.1724
3 | 2711042.5279 | 1097438.6625 | 2711041.3725 | 1097435.0784 | 2711039.2984 | 1097425.6564 | 2711038.1121 | 1097412.9379
4 | 2710977.3395 | 1097460.7706 | 2710979.5098 | 1097458.9979 | 2710980.6655 | 1097457.2178 | 2710981.2212 | 1097455.2044 | 2710981.3369 | 1097453.1162 | 2710981.0638 | 1097449.4088 | 2710977.1495 | 1097433.0152 | 2710971.2515 | 1097409.9605
5 | 2710990.2635 | 1097393.1396 | 2711038.1121 | 1097412.9379
6 | 2710971.2515 | 1097409.9605 | 2710968.682 | 1097399.9164
7 | 2710929.6905 | 1097400.7384 | 2710928.4235 | 1097401.4047 | 2710927.6433 | 1097402.5579 | 2710926.9438 | 1097405.2358 | 2710926.6995 | 1097408.856 | 2710927.3562 | 1097413.6156 | 2710933.0063 | 1097435.361
8 | 2710929.6905 | 1097400.7384 | 2710927.5587 | 1097393.1945 | 2710925.2845 | 1097384.2603
9 | 2710942.907 | 1097465.5892 | 2710940.668 | 1097460.4676 | 2710938.8802 | 1097455.7207 | 2710934.3837 | 1097440.6619 | 2710933.0063 | 1097435.361
10 | 2710924.5147 | 1097381.236 | 2710925.2845 | 1097384.2603
11 | 2710963.7093 | 1097379.3302 | 2710966.2615 | 1097390.4546 | 2710968.682 | 1097399.9164
12 | 2710989.2889 | 1097361.9946 | 2710990.2635 | 1097393.1396
13 | 2710989.2889 | 1097361.9946 | 2710989.2243 | 1097359.9307
14 | 2711030.6266 | 1097324.1634 | 2711040.5307 | 1097291.8541
15 | 2711046.1089 | 1097267.9308 | 2711043.3533 | 1097282.6458 | 2711040.5307 | 1097291.8541
16 | 2711046.1089 | 1097267.9308 | 2711055.0699 | 1097220.1448
17 | 2711046.1089 | 1097267.9308 | 2711007.7669 | 1097250.5007
18 | 2711075.8063 | 1097154.4752 | 2711066.8701 | 1097159.8155 | 2711061.4049 | 1097167.6653 | 2711057.344 | 1097208.0181 | 2711055.0699 | 1097220.1448
19 | 2711075.8063 | 1097154.4752 | 2711054.4953 | 1097154.5192 | 2711041.6535 | 1097150.6777
20 | 2711026.5213 | 1097145.302 | 2711029.9112 | 1097147.1652 | 2711041.6535 | 1097150.6777
21 | 2711026.5213 | 1097145.302 | 2711021.6143 | 1097152.7062 | 2711020.3623 | 1097158.0536
22 | 2711088.8351 | 1097037.925 | 2711093.1543 | 1097036.0796 | 2711106.4915 | 1097033.6662 | 2711113.399 | 1097033.7925
23 | 2711077.8177 | 1097042.6322 | 2711088.8351 | 1097037.925
24 | 2711113.399 | 1097033.7925 | 2711130.4202 | 1097034.1039 | 2711148.5791 | 1097040.8181 | 2711153.483 | 1097044.5624
25 | 2710978.8134 | 1097084.931 | 2711077.8177 | 1097042.6322
26 | 2711153.483 | 1097044.5624 | 2711165.0504 | 1097053.3944 | 2711179.1593 | 1097064.6822 | 2711199.7323 | 1097064.7697 | 2711200.5492 | 1097064.7757
27 | 2711020.3623 | 1097158.0536 | 2711011.9146 | 1097163.3696 | 2711007.2551 | 1097169.9444 | 2711005.9582 | 1097175.6357 | 2711003.4907 | 1097180.1047 | 2710999.8651 | 1097182.6624 | 2710994.0913 | 1097184.9363 | 2710988.8316 | 1097185.7853 | 2710983.363 | 1097184.4957 | 2710976.2555 | 1097181.753 | 2710967.1182 | 1097185.3886 | 2710963.5955 | 1097187.4034
28 | 2710963.5955 | 1097187.4034 | 2710931.806 | 1097205.5382
29 | 2710963.5955 | 1097187.4034 | 2710960.1244 | 1097239.6083 | 2710959.4951 | 1097247.2657
30 | 2710931.806 | 1097205.5382 | 2710920.5737 | 1097211.9458
31 | 2710955.2378 | 1097307.2694 | 2710955.1944 | 1097299.5918 | 2710959.4951 | 1097247.2657
32 | 2710919.3919 | 1097223.7873 | 2710920.5737 | 1097211.9458 | 2710920.5737 | 1097211.9458
33 | 2710955.3019 | 1097318.5876 | 2710955.2378 | 1097307.2694
34 | 2710771.0921 | 1097099.1951 | 2710774.8112 | 1097109.2079 | 2710778.3441 | 1097116.3994 | 2710785.7983 | 1097127.3203 | 2710789.9045 | 1097132.0497
35 | 2710816.6999 | 1097150.1766 | 2710794.4399 | 1097137.2733 | 2710789.9045 | 1097132.0497
36 | 2710816.6999 | 1097150.1766 | 2710817.2879 | 1097150.6203
37 | 2710816.6999 | 1097150.1766 | 2710809.7207 | 1097149.3155 | 2710805.1968 | 1097150.1062
38 | 2710820.8476 | 1097153.3064 | 2710817.2879 | 1097150.6203
39 | 2710830.7597 | 1097160.7845 | 2710826.1673 | 1097157.3206 | 2710820.8476 | 1097153.3064
40 | 2710811.7974 | 1097234.5642 | 2710811.2689 | 1097239.8264 | 2710811.2689 | 1097239.8264
41 | 2710811.7974 | 1097234.5642 | 2710811.8841 | 1097233.7002 | 2710812.4138 | 1097222.9249 | 2710813.6704 | 1097214.7813
42 | 2710786.5821 | 1097285.2513 | 2710792.4452 | 1097270.8485 | 2710796.685 | 1097254.993 | 2710799.2601 | 1097250.5592 | 2710807.0136 | 1097245.0635 | 2710811.2689 | 1097239.8264
43 | 2710814.1962 | 1097211.3736 | 2710813.6704 | 1097214.7813
44 | 2710786.5821 | 1097285.2513 | 2710790.9339 | 1097301.8973 | 2710792.1569 | 1097307.8902 | 2710790.452 | 1097331.4527
45 | 2710786.5821 | 1097285.2513 | 2710780.7676 | 1097269.8017 | 2710764.5057 | 1097226.6233
46 | 2710820.1527 | 1097191.0558 | 2710816.1913 | 1097198.4441 | 2710814.1962 | 1097211.3736
47 | 2710788.5641 | 1097357.5447 | 2710790.452 | 1097331.4527
48 | 2710761.9694 | 1097219.8891 | 2710764.5057 | 1097226.6233
49 | 2710820.1527 | 1097191.0558 | 2710833.0294 | 1097194.5556
50 | 2710820.1527 | 1097191.0558 | 2710822.7357 | 1097183.6857
51 | 2710820.1527 | 1097191.0558 | 2710808.0672 | 1097188.5783 | 2710798.5367 | 1097181.0773 | 2710797.9095 | 1097180.2686
52 | 2710836.7651 | 1097207.6126 | 2710838.3223 | 1097196.3239 | 2710835.8078 | 1097195.3107 | 2710833.0294 | 1097194.5556
53 | 2710822.7357 | 1097183.6857 | 2710824.6392 | 1097178.2546
54 | 2710795.9236 | 1097177.7082 | 2710797.9095 | 1097180.2686
55 | 2710854.0067 | 1097092.5561 | 2710840.6462 | 1097077.4534 | 2710841.5463 | 1097073.545 | 2710841.3274 | 1097072.338
56 | 2710871.0813 | 1097111.4423 | 2710854.0726 | 1097092.6306 | 2710854.0067 | 1097092.5561
57 | 2710872.8354 | 1097113.3756 | 2710871.0813 | 1097111.4423
58 | 2710871.0813 | 1097111.4423 | 2710877.8845 | 1097099.4433
59 | 2710875.7669 | 1097116.5868 | 2710872.8354 | 1097113.3756
60 | 2710889.6727 | 1097093.6139 | 2710878.9493 | 1097097.5654 | 2710877.8845 | 1097099.4433
61 | 2710875.7669 | 1097116.5868 | 2710886.548 | 1097127.7242 | 2710896.3702 | 1097127.7367 | 2710902.7013 | 1097123.8837
62 | 2710875.7669 | 1097116.5868 | 2710866.8125 | 1097129.8236
63 | 2710903.9774 | 1097123.1072 | 2710902.7013 | 1097123.8837
64 | 2710866.8125 | 1097129.8236 | 2710864.5258 | 1097133.204 | 2710863.9749 | 1097134.3865
65 | 2710843.0823 | 1097132.605 | 2710845.013 | 1097127.1108
66 | 2710843.0823 | 1097132.605 | 2710839.5739 | 1097142.5886 | 2710838.5046 | 1097144.8008
67 | 2710863.9749 | 1097134.3865 | 2710861.059 | 1097140.6457 | 2710856.7055 | 1097144.9491
68 | 2710851.7151 | 1097149.8784 | 2710853.3833 | 1097148.233 | 2710856.7055 | 1097144.9491
69 | 2710844.4994 | 1097156.9964 | 2710844.7614 | 1097156.7371 | 2710851.7151 | 1097149.8784
70 | 2710830.7597 | 1097160.7845 | 2710843.2389 | 1097158.2436 | 2710844.4994 | 1097156.9964
71 | 2710830.7597 | 1097160.7845 | 2710828.2181 | 1097168.043 | 2710827.216 | 1097170.9022
72 | 2710830.7597 | 1097160.7845 | 2710838.4871 | 1097144.8369 | 2710838.5046 | 1097144.8008
73 | 2710771.1098 | 1097168.1799 | 2710779.2525 | 1097162.1576 | 2710782.1892 | 1097159.9875
74 | 2710782.1892 | 1097159.9875 | 2710787.0252 | 1097166.2353 | 2710789.7409 | 1097169.7367
75 | 2710789.7409 | 1097169.7367 | 2710795.9236 | 1097177.7082
76 | 2710836.7651 | 1097207.6126 | 2710836.644 | 1097208.4903
77 | 2710824.6392 | 1097178.2546 | 2710827.2019 | 1097170.9426
78 | 2710836.644 | 1097208.4903 | 2710841.0828 | 1097208.9049 | 2710849.6648 | 1097208.2019
79 | 2710836.644 | 1097208.4903 | 2710835.0349 | 1097221.229
80 | 2710827.216 | 1097170.9022 | 2710827.2019 | 1097170.9426
81 | 2710856.9632 | 1097444.4863 | 2710798.6237 | 1097456.3846
82 | 2710856.9632 | 1097444.4863 | 2710856.0613 | 1097440.5127
83 | 2710856.9632 | 1097444.4863 | 2710861.0768 | 1097462.6106
84 | 2710850.546 | 1097413.8975 | 2710853.1341 | 1097427.6153 | 2710856.0613 | 1097440.5127
85 | 2710861.2364 | 1097463.314 | 2710861.0768 | 1097462.6106
86 | 2710861.8373 | 1097338.4177 | 2710862.3686 | 1097335.2487
87 | 2710848.81 | 1097400.9742 | 2710848.3825 | 1097396.3856 | 2710848.5517 | 1097387.1158 | 2710851.4253 | 1097375.2381 | 2710859.8605 | 1097350.2085 | 2710861.8373 | 1097338.4177
88 | 2710862.3686 | 1097335.2487 | 2710862.8507 | 1097332.3733 | 2710862.9355 | 1097327.7273 | 2710859.7212 | 1097285.2625 | 2710859.8662 | 1097277.3154 | 2710861.2993 | 1097271.3709 | 2710864.0355 | 1097267.4515 | 2710869.4566 | 1097261.5798 | 2710870.9717 | 1097261.6074
89 | 2710848.81 | 1097400.9742 | 2710850.5533 | 1097400.5279 | 2710851.9746 | 1097400.3204 | 2710853.8554 | 1097400.8217 | 2710855.2553 | 1097401.7923 | 2710856.3347 | 1097402.9128 | 2710857.709 | 1097405.2838 | 2710859.2336 | 1097407.9023 | 2710862.5588 | 1097415.4235 | 2710865.1033 | 1097414.3692
90 | 2710848.81 | 1097400.9742 | 2710849.4967 | 1097408.3361 | 2710850.546 | 1097413.8975
91 | 2710884.2783 | 1097257.1583 | 2710880.1127 | 1097260.4512 | 2710874.1105 | 1097261.6647 | 2710870.9717 | 1097261.6074
92 | 2710888.42 | 1097268.3302 | 2710885.6082 | 1097260.2624 | 2710884.2783 | 1097257.1583
93 | 2710872.1786 | 1097230.8533 | 2710879.8642 | 1097246.9042 | 2710884.2783 | 1097257.1583
94 | 2710888.42 | 1097268.3302 | 2710894.4487 | 1097285.6073 | 2710898.5121 | 1097312.9441
95 | 2710872.1786 | 1097230.8533 | 2710870.5582 | 1097220.5975
96 | 2710872.1786 | 1097230.8533 | 2710866.3848 | 1097219.7958 | 2710865.8048 | 1097218.7131
97 | 2710898.5121 | 1097312.9441 | 2710900.3748 | 1097325.4754 | 2710899.8199 | 1097357.0535
98 | 2710870.8762 | 1097211.3832 | 2710870.3939 | 1097219.5577 | 2710870.5582 | 1097220.5975
99 | 2710859.7327 | 1097207.3773 | 2710865.8048 | 1097218.7131
100 | 2710919.8562 | 1097359.1479 | 2710921.7694 | 1097370.4514 | 2710924.5147 | 1097381.236
101 | 2710919.8562 | 1097359.1479 | 2710918.6301 | 1097351.9039 | 2710916.1814 | 1097322.6842 | 2710916.5019 | 1097305.1338 | 2710916.4057 | 1097299.3929
102 | 2710916.2001 | 1097287.1118 | 2710916.4057 | 1097299.3929
103 | 2710915.9154 | 1097270.1133 | 2710916.2001 | 1097287.1118
104 | 2710915.9154 | 1097270.1133 | 2710915.8534 | 1097266.4072 | 2710917.2122 | 1097247.4397
105 | 2710917.2122 | 1097247.4397 | 2710917.5514 | 1097242.7048
106 | 2710956.1244 | 1097331.84 | 2710958.9649 | 1097348.0375 | 2710960.1337 | 1097357.4111
107 | 2710956.1244 | 1097331.84 | 2710955.352 | 1097327.4355 | 2710955.3019 | 1097318.5876
108 | 2710960.1337 | 1097357.4111 | 2710961.8634 | 1097371.2837 | 2710963.7093 | 1097379.3302
109 | 2710941.2454 | 1097473.3868 | 2710942.5174 | 1097472.4427 | 2710943.3279 | 1097470.9009 | 2710943.6178 | 1097469.4497 | 2710943.6063 | 1097467.9596 | 2710943.0101 | 1097465.8251 | 2710942.907 | 1097465.5892
110 | 2710941.2454 | 1097473.3868 | 2710942.2294 | 1097475.3021
111 | 2710941.2454 | 1097473.3868 | 2710920.3313 | 1097433.5118 | 2710915.2919 | 1097424.1251
112 | 2710955.1956 | 1097496.5663 | 2710953.6993 | 1097494.6728 | 2710949.8421 | 1097488.7206 | 2710945.3743 | 1097481.4231 | 2710942.2294 | 1097475.3021
113 | 2710899.8199 | 1097357.0535 | 2710899.5789 | 1097370.769 | 2710899.8245 | 1097378.9567 | 2710900.3315 | 1097385.1256 | 2710901.3713 | 1097391.8157 | 2710903.1019 | 1097398.4295 | 2710905.1264 | 1097404.2148 | 2710907.8285 | 1097410.2236 | 2710915.2919 | 1097424.1251
114 | 2710955.1956 | 1097496.5663 | 2710905.7778 | 1097548.3416
115 | 2710905.7778 | 1097548.3416 | 2710906.4248 | 1097549.0464 | 2710907.9592 | 1097552.3989 | 2710907.5495 | 1097555.7492
116 | 2710870.8762 | 1097211.3832 | 2710871.8909 | 1097204.1213
117 | 2710894.6383 | 1097186.1109 | 2710880.4854 | 1097195.47 | 2710870.8762 | 1097211.3832
118 | 2710859.7327 | 1097207.3773 | 2710849.6843 | 1097208.2003
119 | 2710859.7327 | 1097207.3773 | 2710858.9429 | 1097199.7244 | 2710862.3046 | 1097192.0917 | 2710864.7632 | 1097185.0259
120 | 2710890.0642 | 1097241.823 | 2710891.942 | 1097233.6713 | 2710895.1741 | 1097229.7498 | 2710895.1908 | 1097229.7449
121 | 2710900.8979 | 1097228.0865 | 2710895.1908 | 1097229.7449
122 | 2710900.8979 | 1097228.0865 | 2710900.7866 | 1097230.3278
123 | 2710900.8979 | 1097228.0865 | 2710899.0062 | 1097220.2996
124 | 2710900.7866 | 1097230.3278 | 2710900.3491 | 1097239.1372
125 | 2710899.0062 | 1097220.2996 | 2710896.1916 | 1097208.7137
126 | 2710900.3491 | 1097239.1372 | 2710900.0527 | 1097245.1047 | 2710900.2685 | 1097260.8636 | 2710900.9154 | 1097265.4388
127 | 2710896.1916 | 1097208.7137 | 2710896.1499 | 1097208.5423 | 2710894.1077 | 1097198.6318 | 2710894.1077 | 1097198.6318
128 | 2710831.2765 | 1097226.8485 | 2710834.3081 | 1097226.9823 | 2710835.0349 | 1097221.229
129 | 2710849.6648 | 1097208.2019 | 2710849.6843 | 1097208.2003
130 | 2710894.5182 | 1097188.9445 | 2710894.1077 | 1097198.6318
131 | 2710894.6383 | 1097186.1109 | 2710894.5182 | 1097188.9445
132 | 2710894.6383 | 1097186.1109 | 2710896.0967 | 1097183.6026
133 | 2710910.6378 | 1097170.2939 | 2710902.3718 | 1097172.8097 | 2710896.0967 | 1097183.6026
134 | 2710916.2607 | 1097168.5825 | 2710910.6378 | 1097170.2939
135 | 2710935.0724 | 1097136.571 | 2710934.1835 | 1097144.5268 | 2710931.0382 | 1097152.597 | 2710923.867 | 1097162.2504 | 2710916.2607 | 1097168.5825 | 2710916.2607 | 1097168.5825
136 | 2710935.0724 | 1097136.571 | 2710926.3562 | 1097144.7174 | 2710920.5715 | 1097151.4052 | 2710903.2856 | 1097161.0593
137 | 2710946.249 | 1097106.9552 | 2710941.5276 | 1097119.4663 | 2710935.0724 | 1097136.571
138 | 2710946.249 | 1097106.9552 | 2710957.7893 | 1097093.9126 | 2710978.8134 | 1097084.931
139 | 2710946.249 | 1097106.9552 | 2710939.0952 | 1097112.2615 | 2710928.7387 | 1097124.1138 | 2710912.4079 | 1097133.5698
140 | 2710865.8507 | 1097182.0741 | 2710869.8406 | 1097174.3284 | 2710869.1529 | 1097168.8322
141 | 2710865.8507 | 1097182.0741 | 2710865.6646 | 1097182.4355 | 2710864.7632 | 1097185.0259
142 | 2710917.5514 | 1097242.7048 | 2710917.6727 | 1097241.0123 | 2710919.3919 | 1097223.7873

## bus_geodata
| x | y | coords
0 | 2711017.377 | 1097491.5249
1 | 2710999.8173 | 1097481.1724
2 | 2711042.5279 | 1097438.6625
3 | 2710977.3395 | 1097460.7706
4 | 2711038.1121 | 1097412.9379
5 | 2710971.2515 | 1097409.9605
6 | 2710929.6905 | 1097400.7384
7 | 2710933.0063 | 1097435.361
8 | 2710925.2845 | 1097384.2603
9 | 2710968.682 | 1097399.9164
10 | 2710990.2635 | 1097393.1396
11 | 2710989.2889 | 1097361.9946
12 | 2711030.6266 | 1097324.1634
13 | 2711040.5307 | 1097291.8541
14 | 2711046.1089 | 1097267.9308
15 | 2711055.0699 | 1097220.1448
16 | 2711007.7669 | 1097250.5007
17 | 2710989.2243 | 1097359.9307
18 | 2711075.8063 | 1097154.4752
19 | 2711041.6535 | 1097150.6777
20 | 2711026.5213 | 1097145.302
21 | 2711088.8351 | 1097037.925
22 | 2711113.399 | 1097033.7925
23 | 2711077.8177 | 1097042.6322
24 | 2711153.483 | 1097044.5624
25 | 2711200.5492 | 1097064.7757
26 | 2711020.3623 | 1097158.0536
27 | 2710963.5955 | 1097187.4034
28 | 2710931.806 | 1097205.5382
29 | 2710959.4951 | 1097247.2657
30 | 2710920.5737 | 1097211.9458
31 | 2710955.2378 | 1097307.2694
32 | 2710771.0921 | 1097099.1951
33 | 2710789.9045 | 1097132.0497
34 | 2710816.6999 | 1097150.1766
35 | 2710817.2879 | 1097150.6203
36 | 2710805.1968 | 1097150.1062
37 | 2710820.8476 | 1097153.3064
38 | 2710811.7974 | 1097234.5642
39 | 2710811.2689 | 1097239.8264
40 | 2710813.6704 | 1097214.7813
41 | 2710786.5821 | 1097285.2513
42 | 2710814.1962 | 1097211.3736
43 | 2710790.452 | 1097331.4527
44 | 2710764.5057 | 1097226.6233
45 | 2710820.1527 | 1097191.0558
46 | 2710788.5641 | 1097357.5447
47 | 2710761.9694 | 1097219.8891
48 | 2710833.0294 | 1097194.5556
49 | 2710822.7357 | 1097183.6857
50 | 2710797.9095 | 1097180.2686
51 | 2710854.0067 | 1097092.5561
52 | 2710841.3274 | 1097072.338
53 | 2710871.0813 | 1097111.4423
54 | 2710872.8354 | 1097113.3756
55 | 2710877.8845 | 1097099.4433
56 | 2710875.7669 | 1097116.5868
57 | 2710889.6727 | 1097093.6139
58 | 2710902.7013 | 1097123.8837
59 | 2710866.8125 | 1097129.8236
60 | 2710845.013 | 1097127.1108
61 | 2710843.0823 | 1097132.605
62 | 2710863.9749 | 1097134.3865
63 | 2710856.7055 | 1097144.9491
64 | 2710851.7151 | 1097149.8784
65 | 2710903.9774 | 1097123.1072
66 | 2710844.4994 | 1097156.9964
67 | 2710830.7597 | 1097160.7845
68 | 2710782.1893 | 1097159.9875
69 | 2710771.1098 | 1097168.1799
70 | 2710789.7408 | 1097169.7367
71 | 2710795.9236 | 1097177.7082
72 | 2710836.7651 | 1097207.6126
73 | 2710824.6392 | 1097178.2546
74 | 2710836.644 | 1097208.4903
75 | 2710827.2019 | 1097170.9426
76 | 2710798.6237 | 1097456.3846
77 | 2710856.9632 | 1097444.4863
78 | 2710856.0613 | 1097440.5127
79 | 2710861.0768 | 1097462.6106
80 | 2710861.8373 | 1097338.4177
81 | 2710862.3686 | 1097335.2487
82 | 2710848.81 | 1097400.9742
83 | 2710870.9717 | 1097261.6074
84 | 2710865.1033 | 1097414.3692
85 | 2710850.546 | 1097413.8975
86 | 2710884.2783 | 1097257.1583
87 | 2710888.42 | 1097268.3302
88 | 2710872.1786 | 1097230.8533
89 | 2710898.5121 | 1097312.9441
90 | 2710870.5582 | 1097220.5975
91 | 2710865.8048 | 1097218.7131
92 | 2710919.8562 | 1097359.1479
93 | 2710924.5147 | 1097381.236
94 | 2710916.4057 | 1097299.3929
95 | 2710916.2001 | 1097287.1118
96 | 2710915.9154 | 1097270.1133
97 | 2710917.2122 | 1097247.4397
98 | 2710956.1244 | 1097331.84
99 | 2710960.1337 | 1097357.4111
100 | 2710955.3019 | 1097318.5876
101 | 2710963.7093 | 1097379.3302
102 | 2710942.907 | 1097465.5892
103 | 2710941.2454 | 1097473.3868
104 | 2710942.2294 | 1097475.3021
105 | 2710915.2919 | 1097424.1251
106 | 2710955.1956 | 1097496.5663
107 | 2710899.8199 | 1097357.0535
108 | 2710905.7778 | 1097548.3416
109 | 2710907.5495 | 1097555.7492
110 | 2710861.2364 | 1097463.314
111 | 2710870.8762 | 1097211.3832
112 | 2710859.7327 | 1097207.3773
113 | 2710890.0642 | 1097241.823
114 | 2710895.1908 | 1097229.7449
115 | 2710900.8979 | 1097228.0865
116 | 2710900.7866 | 1097230.3278
117 | 2710899.0062 | 1097220.2996
118 | 2710900.3491 | 1097239.1372
119 | 2710896.1916 | 1097208.7137
120 | 2710900.9154 | 1097265.4388
121 | 2710831.2765 | 1097226.8485
122 | 2710835.0349 | 1097221.229
123 | 2710849.6648 | 1097208.2019
124 | 2710849.6843 | 1097208.2003
125 | 2710894.5182 | 1097188.9445
126 | 2710894.1077 | 1097198.6318
127 | 2710894.6383 | 1097186.1109
128 | 2710896.0967 | 1097183.6026
129 | 2710871.8909 | 1097204.1213
130 | 2710910.6378 | 1097170.2939
131 | 2710916.2607 | 1097168.5825
132 | 2710935.0724 | 1097136.571
133 | 2710903.2856 | 1097161.0593
134 | 2710946.249 | 1097106.9552
135 | 2710978.8134 | 1097084.931
136 | 2710912.4079 | 1097133.5698
137 | 2710869.1529 | 1097168.8322
138 | 2710865.8507 | 1097182.0741
139 | 2710864.7632 | 1097185.0259
140 | 2710838.5046 | 1097144.8008
141 | 2710827.216 | 1097170.9022
142 | 2710917.5514 | 1097242.7048
143 | 2710919.3919 | 1097223.7873
144 | 2710900.8979 | 1097228.0865

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1