## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5161-1_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5161-1_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5161-1_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5161-1_0_10_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5161-1_0_10_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5161-1_0_10_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_5161-1_0_10_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_5161-1_0_10_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5161-1_0_10_node_17 | 0.4 | n |  | TRUE
9 | bus_LV_5161-1_0_10_node_13 | 0.4 | n |  | TRUE
10 | bus_LV_5161-1_0_10_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_5161-1_0_10_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_5161-1_0_10_node_15 | 0.4 | n |  | TRUE
13 | bus_LV_5161-1_0_10_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5161-1_0_10_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5161-1_0_10_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_5161-1_0_10_node_24 | 0.4 | n |  | TRUE
17 | bus_LV_5161-1_0_10_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_5161-1_0_10_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5161-1_0_10_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_5161-1_0_10_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5161-1_0_10_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_5161-1_0_10_node_39 | 0.4 | n |  | TRUE
23 | bus_LV_5161-1_0_10_node_51 | 0.4 | n |  | TRUE
24 | bus_LV_5161-1_0_10_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_5161-1_0_10_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_5161-1_0_10_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_5161-1_0_10_node_38 | 0.4 | n |  | TRUE
28 | bus_LV_5161-1_0_10_node_73 | 0.4 | n |  | TRUE
29 | bus_LV_5161-1_0_10_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_5161-1_0_10_node_69 | 0.4 | n |  | TRUE
31 | bus_LV_5161-1_0_10_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_5161-1_0_10_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_5161-1_0_10_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_5161-1_0_10_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_5161-1_0_10_node_36 | 0.4 | n |  | TRUE
36 | bus_LV_5161-1_0_10_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_5161-1_0_10_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_5161-1_0_10_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_5161-1_0_10_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_5161-1_0_10_node_49 | 0.4 | n |  | TRUE
41 | bus_LV_5161-1_0_10_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_5161-1_0_10_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5161-1_0_10_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5161-1_0_10_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5161-1_0_10_node_25 | 0.4 | n |  | TRUE
46 | bus_LV_5161-1_0_10_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_5161-1_0_10_node_23 | 0.4 | n |  | TRUE
48 | bus_LV_5161-1_0_10_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5161-1_0_10_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5161-1_0_10_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5161-1_0_10_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5161-1_0_10_node_61 | 0.4 | n |  | TRUE
53 | bus_LV_5161-1_0_10_node_71 | 0.4 | n |  | TRUE
54 | bus_LV_5161-1_0_10_node_40 | 0.4 | n |  | TRUE
55 | bus_LV_5161-1_0_10_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5161-1_0_10_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_5161-1_0_10_node_66 | 0.4 | n |  | TRUE
58 | bus_LV_5161-1_0_10_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_5161-1_0_10_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5161-1_0_10_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_5161-1_0_10_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5161-1_0_10_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_5161-1_0_10_node_47 | 0.4 | n |  | TRUE
64 | bus_LV_5161-1_0_10_node_50 | 0.4 | n |  | TRUE
65 | bus_LV_5161-1_0_10_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_5161-1_0_10_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_5161-1_0_10_node_57 | 0.4 | n |  | TRUE
68 | bus_LV_5161-1_0_10_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5161-1_0_10_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_5161-1_0_10_node_62 | 0.4 | n |  | TRUE
71 | bus_LV_5161-1_0_10_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5161-1_0_10_node_72 | 0.4 | n |  | TRUE
73 | bus_MV_67_0_node_102 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5161-1_0_10_load_0 | 0 | 0.010812 | 0.0027098 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5161-1_0_10_load_1 | 1 | 0.015028 | 0.0037663 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5161-1_0_10_load_3 | 3 | 0.0055289 | 0.0013857 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5161-1_0_10_load_4 | 4 | 0.0048349 | 0.0012117 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5161-1_0_10_load_9 | 6 | 0.0037429 | 0.00093807 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5161-1_0_10_load_5 | 7 | 0.0079667 | 0.0019967 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5161-1_0_10_load_17 | 8 | 0.0073155 | 0.0018334 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5161-1_0_10_load_13 | 9 | 0.05139 | 0.01288 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5161-1_0_10_load_11 | 10 | 0.032489 | 0.0081425 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5161-1_0_10_load_6 | 13 | 0.0017864 | 0.00044771 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5161-1_0_10_load_26 | 15 | 0.0017085 | 0.0004282 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5161-1_0_10_load_24 | 16 | 0.0021994 | 0.00055121 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5161-1_0_10_load_12 | 18 | 0.0063388 | 0.0015887 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5161-1_0_10_load_14 | 20 | 0.0079355 | 0.0019888 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5161-1_0_10_load_51 | 23 | 0.0088892 | 0.0022279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5161-1_0_10_load_46 | 24 | 0.01584 | 0.0039698 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5161-1_0_10_load_43 | 25 | 0.011576 | 0.0029013 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5161-1_0_10_load_73 | 28 | 0.023275 | 0.0058332 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5161-1_0_10_load_70 | 29 | 0.017834 | 0.0044696 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5161-1_0_10_load_69 | 30 | 0.017167 | 0.0043024 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5161-1_0_10_load_34 | 34 | 0.011369 | 0.0028494 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5161-1_0_10_load_64 | 36 | 0.0034592 | 0.00086695 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5161-1_0_10_load_63 | 37 | 0.085953 | 0.021542 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5161-1_0_10_load_65 | 38 | 0.0034667 | 0.00086883 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5161-1_0_10_load_20 | 42 | 0.0020918 | 0.00052426 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5161-1_0_10_load_21 | 43 | 0.0013333 | 0.00033416 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5161-1_0_10_load_27 | 46 | 0.0048373 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5161-1_0_10_load_23 | 47 | 0.0021975 | 0.00055075 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5161-1_0_10_load_28 | 48 | 0.042532 | 0.010659 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5161-1_0_10_load_31 | 51 | 0.0054937 | 0.0013769 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5161-1_0_10_load_61 | 52 | 0.0080639 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5161-1_0_10_load_71 | 53 | 0.0084123 | 0.0021083 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5161-1_0_10_load_40 | 54 | 0.011715 | 0.002936 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5161-1_0_10_load_66 | 57 | 0.0064142 | 0.0016075 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5161-1_0_10_load_67 | 58 | 0.012408 | 0.0031096 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5161-1_0_10_load_45 | 59 | 0.0067126 | 0.0016823 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5161-1_0_10_load_52 | 62 | 0.018202 | 0.0045618 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5161-1_0_10_load_47 | 63 | 0.01038 | 0.0026016 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5161-1_0_10_load_50 | 64 | 0.017637 | 0.0044203 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5161-1_0_10_load_56 | 65 | 0.019269 | 0.0048294 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5161-1_0_10_load_54 | 66 | 0.012047 | 0.0030193 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5161-1_0_10_load_57 | 67 | 0.0080143 | 0.0020086 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5161-1_0_10_load_58 | 68 | 0.010598 | 0.0026562 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5161-1_0_10_load_62 | 70 | 0.0062619 | 0.0015694 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5161-1_0_10_load_68 | 71 | 0.0061482 | 0.0015409 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5161-1_0_10_load_72 | 72 | 0.002782 | 0.00069723 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 21 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5161-1_0_10_line_0 |  | 0 | 1 | 0.079978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
1 | LV_5161-1_0_10_line_1 |  | 0 | 2 | 0.16025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
2 | LV_5161-1_0_10_line_2 |  | 1 | 3 | 0.014482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_5161-1_0_10_line_3 |  | 2 | 4 | 0.04578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_5161-1_0_10_line_4 |  | 3 | 5 | 0.028321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_5161-1_0_10_line_5 |  | 4 | 6 | 0.21171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
6 | LV_5161-1_0_10_line_6 |  | 5 | 9 | 0.058478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_5161-1_0_10_line_7 |  | 5 | 10 | 0.044171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5161-1_0_10_line_8 |  | 6 | 11 | 0.1694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_5161-1_0_10_line_9 |  | 7 | 8 | 0.026585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5161-1_0_10_line_10 |  | 8 | 12 | 0.00592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5161-1_0_10_line_11 |  | 9 | 17 | 0.0065332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_5161-1_0_10_line_12 |  | 10 | 18 | 0.12087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5161-1_0_10_line_13 |  | 11 | 14 | 0.20864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5161-1_0_10_line_14 |  | 11 | 13 | 0.064502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5161-1_0_10_line_15 |  | 12 | 20 | 0.019621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5161-1_0_10_line_16 |  | 14 | 15 | 0.041561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5161-1_0_10_line_17 |  | 15 | 16 | 0.057565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5161-1_0_10_line_18 |  | 16 | 47 | 0.069029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5161-1_0_10_line_19 |  | 17 | 19 | 0.10579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_5161-1_0_10_line_20 |  | 17 | 20 | 0.16863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5161-1_0_10_line_21 |  | 19 | 24 | 0.044965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
22 | LV_5161-1_0_10_line_22 |  | 19 | 25 | 0.047601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5161-1_0_10_line_23 |  | 21 | 22 | 0.096667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
24 | LV_5161-1_0_10_line_24 |  | 21 | 23 | 0.040222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_5161-1_0_10_line_25 |  | 22 | 38 | 0.017287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5161-1_0_10_line_26 |  | 22 | 33 | 0.15727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_5161-1_0_10_line_27 |  | 23 | 39 | 0.0385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
28 | LV_5161-1_0_10_line_28 |  | 24 | 40 | 0.0079207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_5161-1_0_10_line_29 |  | 25 | 41 | 0.023802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5161-1_0_10_line_30 |  | 26 | 27 | 0.083397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5161-1_0_10_line_31 |  | 26 | 28 | 0.080556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5161-1_0_10_line_32 |  | 27 | 29 | 0.01271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5161-1_0_10_line_33 |  | 27 | 30 | 0.0074707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5161-1_0_10_line_34 |  | 28 | 50 | 0.077444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5161-1_0_10_line_35 |  | 29 | 53 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5161-1_0_10_line_36 |  | 30 | 31 | 0.023085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5161-1_0_10_line_37 |  | 31 | 32 | 0.018101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_5161-1_0_10_line_38 |  | 32 | 34 | 0.0077314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_5161-1_0_10_line_39 |  | 32 | 51 | 0.028079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5161-1_0_10_line_40 |  | 33 | 34 | 0.040238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5161-1_0_10_line_41 |  | 35 | 36 | 0.0046829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5161-1_0_10_line_42 |  | 35 | 37 | 0.0081315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5161-1_0_10_line_43 |  | 36 | 38 | 0.0024056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5161-1_0_10_line_44 |  | 37 | 52 | 0.015746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5161-1_0_10_line_45 |  | 39 | 64 | 0.013528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_5161-1_0_10_line_46 |  | 40 | 62 | 0.012202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5161-1_0_10_line_47 |  | 40 | 63 | 0.010914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5161-1_0_10_line_48 |  | 41 | 56 | 0.034152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5161-1_0_10_line_49 |  | 42 | 43 | 0.27421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5161-1_0_10_line_50 |  | 43 | 44 | 0.02779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5161-1_0_10_line_51 |  | 44 | 45 | 0.094085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5161-1_0_10_line_52 |  | 44 | 46 | 0.093345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5161-1_0_10_line_53 |  | 45 | 47 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_5161-1_0_10_line_54 |  | 48 | 49 | 0.094538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5161-1_0_10_line_55 |  | 49 | 50 | 0.035271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5161-1_0_10_line_56 |  | 52 | 69 | 0.017544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5161-1_0_10_line_57 |  | 53 | 72 | 0.0015692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5161-1_0_10_line_58 |  | 54 | 55 | 0.17747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5161-1_0_10_line_59 |  | 55 | 56 | 0.11749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5161-1_0_10_line_60 |  | 56 | 57 | 0.10645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5161-1_0_10_line_61 |  | 57 | 58 | 0.073059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5161-1_0_10_line_62 |  | 58 | 71 | 0.069573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5161-1_0_10_line_63 |  | 59 | 60 | 0.09852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5161-1_0_10_line_64 |  | 60 | 61 | 0.02795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5161-1_0_10_line_65 |  | 61 | 66 | 0.13512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
66 | LV_5161-1_0_10_line_66 |  | 61 | 62 | 0.036653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
67 | LV_5161-1_0_10_line_67 |  | 64 | 65 | 0.0029428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
68 | LV_5161-1_0_10_line_68 |  | 65 | 66 | 0.035718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
69 | LV_5161-1_0_10_line_69 |  | 67 | 68 | 0.015075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5161-1_0_10_line_70 |  | 68 | 69 | 0.0069272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5161-1_0_10_line_71 |  | 69 | 70 | 0.024996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5161-1_0_10_trafo_18 | 0.63 MVA 20/0.4 kV | 73 | 21 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2712883.2979 | 1097538.2968 | 2712887.4065 | 1097544.2777 | 2712894.4639 | 1097560.4863 | 2712897.9024 | 1097596.3633 | 2712904.5982 | 1097614.1461
1 | 2712779.89 | 1097425.5351 | 2712783.1688 | 1097428.7536 | 2712797.0479 | 1097428.8557 | 2712808.4973 | 1097435.9062 | 2712814.7694 | 1097445.6181 | 2712825.5827 | 1097453.135 | 2712834.3827 | 1097459.7806 | 2712849.456 | 1097486.912 | 2712857.9288 | 1097500.3228 | 2712866.1533 | 1097513.3399 | 2712883.2979 | 1097538.2968
2 | 2712909.7012 | 1097627.6989 | 2712904.5982 | 1097614.1461
3 | 2712779.89 | 1097425.5351 | 2712782.0342 | 1097420.6049 | 2712788.4292 | 1097418.2775 | 2712803.6994 | 1097419.8063 | 2712820.1968 | 1097427.6153
4 | 2712917.879 | 1097654.6959 | 2712916.1493 | 1097644.8238 | 2712909.7012 | 1097627.6989
5 | 2712870.5962 | 1097389.3915 | 2712857.6468 | 1097383.3387 | 2712834.788 | 1097376.2429 | 2712815.4532 | 1097380.0199 | 2712805.5549 | 1097384.5392 | 2712801.3459 | 1097387.1962 | 2712819.8018 | 1097392.787 | 2712829.6973 | 1097397.5961 | 2712840.4747 | 1097409.5487 | 2712866.8659 | 1097439.1364 | 2712864.1557 | 1097443.2555 | 2712858.8165 | 1097442.9562 | 2712835.1892 | 1097434.712 | 2712820.1968 | 1097427.6153
6 | 2712917.879 | 1097654.6959 | 2712921.1154 | 1097673.1018 | 2712921.9841 | 1097700.5365 | 2712926.2231 | 1097712.1266
7 | 2712917.879 | 1097654.6959 | 2712912.2576 | 1097647.9203 | 2712897.2095 | 1097615.9139
8 | 2713003.0325 | 1097489.6004 | 2712989.9862 | 1097487.2118 | 2712967.8579 | 1097476.2709 | 2712943.1803 | 1097459.5454 | 2712921.0117 | 1097440.3428 | 2712898.2207 | 1097411.7002 | 2712875.7549 | 1097391.8028 | 2712870.5962 | 1097389.3915
9 | 2712818.1114 | 1097562.5663 | 2712814.6192 | 1097554.2219 | 2712812.9631 | 1097536.7613
10 | 2712820.3968 | 1097568.0273 | 2712818.1114 | 1097562.5663
11 | 2712927.0636 | 1097718.543 | 2712926.8564 | 1097713.8582 | 2712926.2231 | 1097712.1266
12 | 2712838.1243 | 1097516.4772 | 2712855.4781 | 1097547.1756 | 2712861.969 | 1097552.1884 | 2712874.5396 | 1097559.7491 | 2712880.5852 | 1097564.131 | 2712883.2482 | 1097569.2173 | 2712887.2947 | 1097581.9677 | 2712887.9299 | 1097597.3899 | 2712895.3134 | 1097611.8812 | 2712897.2095 | 1097615.9139
13 | 2713003.0325 | 1097489.6004 | 2712997.9161 | 1097478.5756 | 2712972.4414 | 1097446.4026 | 2712959.0927 | 1097428.6091 | 2712954.0665 | 1097417.3081 | 2712945.0199 | 1097386.8528 | 2712935.8046 | 1097354.2151 | 2712928.9634 | 1097328.4484 | 2712925.0112 | 1097315.6218 | 2712918.8781 | 1097301.7652
14 | 2713003.0325 | 1097489.6004 | 2713063.2008 | 1097510.5556 | 2713063.9244 | 1097510.8707
15 | 2712820.3968 | 1097568.0273 | 2712836.5549 | 1097579.1576
16 | 2712918.8781 | 1097301.7652 | 2712922.8193 | 1097298.9365 | 2712927.9549 | 1097300.6108 | 2712931.8029 | 1097307.7983 | 2712941.4933 | 1097323.2221 | 2712945.2018 | 1097326.4853
17 | 2712995.4605 | 1097353.2411 | 2712992.7819 | 1097352.7396 | 2712974.9524 | 1097345.9592 | 2712955.0215 | 1097335.1259 | 2712945.2018 | 1097326.4853
18 | 2712995.4605 | 1097353.2411 | 2713011.9721 | 1097356.3321 | 2713031.1028 | 1097362.7032 | 2713059.5984 | 1097377.4098
19 | 2712927.0636 | 1097718.543 | 2712946.1448 | 1097745.0154 | 2712963.479 | 1097773.3678 | 2712974.6351 | 1097797.8138 | 2712978.4215 | 1097810.3704
20 | 2712927.0636 | 1097718.543 | 2712911.418 | 1097703.9202 | 2712895.9872 | 1097686.4885 | 2712879.0255 | 1097653.896 | 2712871.4454 | 1097636.6436 | 2712854.8356 | 1097598.8541 | 2712841.796 | 1097582.7678 | 2712836.5549 | 1097579.1576
21 | 2712978.4215 | 1097810.3704 | 2712979.7255 | 1097821.4688 | 2712983.9289 | 1097833.2549 | 2712991.3691 | 1097853.1883
22 | 2712978.4215 | 1097810.3704 | 2712985.2553 | 1097813.9999 | 2713018.5486 | 1097835.9224
23 | 2712784.8146 | 1097720.1585 | 2712792.2204 | 1097712.6019 | 2712800.3182 | 1097713.664 | 2712808.5031 | 1097714.2052 | 2712810.2864 | 1097712.8596 | 2712809.3455 | 1097709.7178 | 2712804.4866 | 1097703.5901 | 2712800.7878 | 1097700.4749 | 2712801.3118 | 1097697.2825 | 2712801.6906 | 1097690.2292 | 2712806.362 | 1097692.6954 | 2712818.1826 | 1097703.9223 | 2712829.8951 | 1097719.717
24 | 2712829.8951 | 1097719.717 | 2712850.585 | 1097754.2092
25 | 2712784.8146 | 1097720.1585 | 2712785.8583 | 1097721.1007 | 2712792.3303 | 1097729.6265 | 2712792.3294 | 1097734.8038
26 | 2712682.7263 | 1097620.3644 | 2712688.4178 | 1097622.9606 | 2712692.8373 | 1097624.8104 | 2712696.2846 | 1097626.0418 | 2712699.2666 | 1097626.8866 | 2712702.1304 | 1097627.4178 | 2712705.1001 | 1097627.673 | 2712707.8018 | 1097633.1824 | 2712714.2587 | 1097647.5452 | 2712707.7314 | 1097652.0049 | 2712710.0303 | 1097654.1823 | 2712716.2416 | 1097660.0681 | 2712724.1912 | 1097668.2878 | 2712729.9225 | 1097674.5761 | 2712730.9093 | 1097675.6618 | 2712737.9449 | 1097683.0417 | 2712742.0107 | 1097688.9211 | 2712747.7259 | 1097693.5747 | 2712756.4392 | 1097697.7836 | 2712758.9648 | 1097699.009 | 2712770.3544 | 1097707.1703 | 2712784.8146 | 1097720.1585
27 | 2712874.2601 | 1097784.4511 | 2712855.3491 | 1097762.1515 | 2712850.585 | 1097754.2092
28 | 2712994.7177 | 1097860.3627 | 2712991.6978 | 1097854.0689 | 2712991.3691 | 1097853.1883
29 | 2713038.4279 | 1097849.0122 | 2713018.5486 | 1097835.9224
30 | 2712620.1874 | 1097617.3922 | 2712619.1495 | 1097619.8969 | 2712618.9461 | 1097621.2607 | 2712619.1962 | 1097622.8109 | 2712619.7495 | 1097624.2999 | 2712622.5394 | 1097627.5649 | 2712628.5253 | 1097633.502 | 2712630.5539 | 1097636.0525 | 2712636.0693 | 1097644.3825 | 2712638.6259 | 1097647.6988 | 2712640.4951 | 1097649.657 | 2712651.1207 | 1097659.3493 | 2712653.5142 | 1097661.8509 | 2712663.5065 | 1097672.2765 | 2712664.151 | 1097673.4447 | 2712664.4568 | 1097674.4956 | 2712664.587 | 1097675.8322 | 2712664.0259 | 1097683.1156
31 | 2712664.0259 | 1097683.1156 | 2712659.6682 | 1097680.8555 | 2712634.3766 | 1097669.6682 | 2712630.9515 | 1097667.6589 | 2712627.1506 | 1097665.0311 | 2712610.129 | 1097651.0508 | 2712598.913 | 1097642.2815 | 2712596.4037 | 1097640.4014
32 | 2712620.1874 | 1097617.3922 | 2712616.0235 | 1097613.8683 | 2712614.6821 | 1097613.1096 | 2712613.4976 | 1097612.654 | 2712611.5016 | 1097612.1055 | 2712609.1602 | 1097611.7053
33 | 2712620.1874 | 1097617.3922 | 2712624.5273 | 1097612.2581 | 2712625.0433 | 1097611.7166
34 | 2712596.4037 | 1097640.4014 | 2712544.3998 | 1097697.7871
35 | 2712609.1602 | 1097611.7053 | 2712607.9267 | 1097611.4945 | 2712604.0701 | 1097610.6113 | 2712600.7463 | 1097609.4045 | 2712597.7486 | 1097607.7367 | 2712595.131 | 1097605.5819
36 | 2712638.8927 | 1097614.5147 | 2712636.9409 | 1097609.0749 | 2712636.2994 | 1097607.3285 | 2712635.8356 | 1097606.4415 | 2712635.3684 | 1097605.7435 | 2712634.7288 | 1097605.1423 | 2712634.0779 | 1097604.7411 | 2712633.3688 | 1097604.5501 | 2712632.6632 | 1097604.5926 | 2712631.6954 | 1097604.986 | 2712630.847 | 1097605.6263 | 2712625.0433 | 1097611.7166
37 | 2712641.0108 | 1097597.6203 | 2712640.0747 | 1097599.2263 | 2712639.8219 | 1097599.911 | 2712639.6516 | 1097600.7417 | 2712639.7291 | 1097601.577 | 2712639.9421 | 1097602.2036 | 2712641.3528 | 1097605.0761 | 2712641.6006 | 1097605.9146 | 2712641.6006 | 1097606.7485 | 2712641.4042 | 1097607.7344 | 2712639.3881 | 1097612.4447 | 2712638.8927 | 1097614.5147
38 | 2712641.0108 | 1097597.6203 | 2712646.8084 | 1097602.7352
39 | 2712641.0108 | 1097597.6203 | 2712631.5491 | 1097588.2276 | 2712621.5325 | 1097577.4053
40 | 2712682.7263 | 1097620.3644 | 2712672.4362 | 1097615.5482 | 2712667.4833 | 1097613.2215 | 2712660.5276 | 1097610.7131 | 2712656.4414 | 1097609.2697 | 2712652.5464 | 1097607.1183 | 2712648.2585 | 1097604.0145 | 2712646.8084 | 1097602.7352
41 | 2712789.4945 | 1097740.9371 | 2712792.3289 | 1097737.2094
42 | 2712789.4945 | 1097740.9371 | 2712794.6681 | 1097747.2105
43 | 2712792.3289 | 1097737.2094 | 2712792.3294 | 1097734.8038
44 | 2712804.1144 | 1097759.7838 | 2712800.1754 | 1097753.8885 | 2712794.6681 | 1097747.2105
45 | 2712874.2601 | 1097784.4511 | 2712877.4741 | 1097790.3147 | 2712883.5511 | 1097793.4577
46 | 2712994.7177 | 1097860.3627 | 2713004.2095 | 1097868.0309
47 | 2712994.7177 | 1097860.3627 | 2712985.7719 | 1097854.1099
48 | 2713038.4279 | 1097849.0122 | 2713040.9867 | 1097845.5352 | 2713045.3767 | 1097843.9603 | 2713049.7244 | 1097844.6638 | 2713054.2619 | 1097846.8163 | 2713058.962 | 1097850.6397 | 2713062.4235 | 1097854.4288 | 2713064.9855 | 1097858.268
49 | 2713071.8498 | 1097296.0049 | 2713090.1508 | 1097316.159 | 2713105.6447 | 1097337.7174 | 2713112.8141 | 1097345.8118 | 2713120.0253 | 1097351.2497 | 2713152.2907 | 1097367.7502 | 2713176.0946 | 1097374.8204 | 2713178.783 | 1097373.5474 | 2713179.4783 | 1097371.5701 | 2713177.5253 | 1097369.5435 | 2713173.6361 | 1097364.1674 | 2713168.3781 | 1097360.7561 | 2713159.9461 | 1097349.3359 | 2713151.6206 | 1097332.614 | 2713144.6191 | 1097315.9169 | 2713140.2615 | 1097299.925 | 2713134.9543 | 1097263.3793 | 2713133.6918 | 1097260.0424 | 2713130.3147 | 1097249.9122
50 | 2713045.414 | 1097287.5631 | 2713052.0334 | 1097289.0094 | 2713071.8498 | 1097296.0049
51 | 2713072.1145 | 1097373.7512 | 2713071.1571 | 1097368.1741 | 2713069.7277 | 1097363.3999 | 2713067.8872 | 1097354.9154 | 2713065.5881 | 1097346.9228 | 2713060.6136 | 1097328.2733 | 2713047.7372 | 1097305.4962 | 2713043.2559 | 1097296.1398 | 2713042.055 | 1097289.4908 | 2713045.414 | 1097287.5631
52 | 2713045.414 | 1097287.5631 | 2713015.3723 | 1097258.5071 | 2712991.922 | 1097212.5986
53 | 2713072.1145 | 1097373.7512 | 2713065.9532 | 1097378.084 | 2713059.5984 | 1097377.4098
54 | 2712512.0629 | 1097692.2736 | 2712509.8982 | 1097692.8895 | 2712508.3396 | 1097693.8169 | 2712507.2948 | 1097695.4431 | 2712507.1015 | 1097697.0961 | 2712507.6185 | 1097698.8736 | 2712508.8516 | 1097700.4641 | 2712510.8242 | 1097701.8571 | 2712521.3057 | 1097708.4667 | 2712525.8926 | 1097711.7316 | 2712529.7383 | 1097714.8716 | 2712533.7756 | 1097718.5377 | 2712537.3346 | 1097722.0949 | 2712539.5882 | 1097724.6272 | 2712540.9704 | 1097726.5319 | 2712541.5473 | 1097727.9991 | 2712541.9317 | 1097729.8297 | 2712541.8403 | 1097731.4179 | 2712541.1063 | 1097732.5718 | 2712539.2564 | 1097733.338 | 2712537.383 | 1097733.2811 | 2712533.316 | 1097732.4719 | 2712531.8693 | 1097732.3784 | 2712530.6784 | 1097732.6899 | 2712529.9521 | 1097733.4325 | 2712529.6864 | 1097734.3949 | 2712529.8619 | 1097735.3766 | 2712530.5266 | 1097736.2895 | 2712538.0465 | 1097741.3655 | 2712541.871 | 1097744.3939 | 2712546.5592 | 1097748.387
55 | 2712544.3998 | 1097697.7871 | 2712542.4543 | 1097699.9525 | 2712540.6711 | 1097700.8757 | 2712538.6273 | 1097701.2381 | 2712536.1675 | 1097701.0591 | 2712534.1803 | 1097700.4552 | 2712520.0494 | 1097693.9115 | 2712517.1889 | 1097692.78 | 2712514.5105 | 1097692.2745 | 2712512.0629 | 1097692.2736
56 | 2712814.733 | 1097773.7165 | 2712808.3747 | 1097766.16 | 2712804.1144 | 1097759.7838
57 | 2712595.131 | 1097605.5819 | 2712593.9195 | 1097604.5846
58 | 2713028.2103 | 1097754.5918 | 2713027.4648 | 1097751.776 | 2713021.7216 | 1097739.0718 | 2713008.2415 | 1097712.9813 | 2713005.4127 | 1097686.4219 | 2713001.0056 | 1097673.0865 | 2713001.7947 | 1097666.4745 | 2713003.8787 | 1097661.8768 | 2713009.8934 | 1097659.9985 | 2713015.1391 | 1097664.0654 | 2713020.6436 | 1097670.0385 | 2713059.7784 | 1097712.4738
59 | 2713064.9855 | 1097858.268 | 2713067.8745 | 1097855.7756 | 2713069.8189 | 1097851.1864 | 2713067.8999 | 1097846.0917 | 2713060.2687 | 1097840.7795 | 2713051.0503 | 1097830.023 | 2713049.6219 | 1097823.5365 | 2713047.8806 | 1097809.3057 | 2713044.2664 | 1097797.9085 | 2713035.5683 | 1097784.9936 | 2713028.2103 | 1097754.5918
60 | 2713064.9855 | 1097858.268 | 2713070.2914 | 1097866.9948 | 2713093.4304 | 1097907.5971 | 2713102.4197 | 1097921.9074 | 2713119.7715 | 1097949.5159
61 | 2713119.7715 | 1097949.5159 | 2713124.9046 | 1097957.6833 | 2713130.6859 | 1097965.8298 | 2713136.6464 | 1097972.6676 | 2713139.6886 | 1097976.9159 | 2713141.844 | 1097980.9588 | 2713143.9524 | 1097985.4455 | 2713145.7479 | 1097990.9271 | 2713146.8326 | 1097995.4837 | 2713147.5925 | 1098000.4234 | 2713148.0691 | 1098007.2702 | 2713148.6012 | 1098010.3044 | 2713150.007 | 1098014.2555
62 | 2713150.007 | 1098014.2555 | 2713150.007 | 1098014.2555 | 2713153.0732 | 1098018.0484 | 2713157.1986 | 1098021.5276 | 2713162.059 | 1098024.2199 | 2713165.3961 | 1098025.5274 | 2713175.9379 | 1098028.4145 | 2713182.0621 | 1098030.6189 | 2713187.6355 | 1098033.7026 | 2713191.5709 | 1098036.9892 | 2713196.1487 | 1098041.9556 | 2713199.4899 | 1098047.1991 | 2713201.5707 | 1098052.3302 | 2713202.3928 | 1098054.9168
63 | 2713038.8943 | 1097920.0911 | 2713041.6247 | 1097922.7881 | 2713050.139 | 1097934.332 | 2713058.0258 | 1097945.8754 | 2713063.0325 | 1097955.6974 | 2713067.0399 | 1097963.8552 | 2713069.4484 | 1097968.4476 | 2713072.5211 | 1097970.6507 | 2713075.8286 | 1097971.4683 | 2713079.4056 | 1097969.0443 | 2713081.1357 | 1097965.5631 | 2713079.974 | 1097960.9828 | 2713076.3228 | 1097956.1561 | 2713070.8751 | 1097947.56 | 2713068.9502 | 1097943.2636
64 | 2713038.8943 | 1097920.0911 | 2713018.9827 | 1097900.4186
65 | 2713018.9827 | 1097900.4186 | 2713002.6324 | 1097885.827 | 2712981.2801 | 1097872.3876 | 2712959.6254 | 1097852.3049 | 2712938.6399 | 1097830.378 | 2712923.1176 | 1097815.8019 | 2712917.2916 | 1097812.2903
66 | 2713018.9827 | 1097900.4186 | 2713018.1069 | 1097891.7076 | 2713008.5372 | 1097871.5271 | 2713004.2095 | 1097868.0309
67 | 2712883.5511 | 1097793.4577 | 2712886.165 | 1097794.8095
68 | 2712886.165 | 1097794.8095 | 2712901.1341 | 1097802.5513 | 2712917.2916 | 1097812.2903
69 | 2712820.8742 | 1097794.4766 | 2712819.5911 | 1097783.2242 | 2712817.8849 | 1097779.885
70 | 2712814.733 | 1097773.7165 | 2712817.8849 | 1097779.885
71 | 2712814.0526 | 1097752.8008 | 2712818.1175 | 1097762.8942 | 2712818.653 | 1097771.1764 | 2712816.5166 | 1097774.4389 | 2712814.733 | 1097773.7165

## bus_geodata
| x | y | coords
0 | 2712883.2978 | 1097538.2968
1 | 2712904.5982 | 1097614.1461
2 | 2712779.89 | 1097425.5351
3 | 2712909.7012 | 1097627.6989
4 | 2712820.1968 | 1097427.6153
5 | 2712917.879 | 1097654.6959
6 | 2712870.5962 | 1097389.3915
7 | 2712812.9631 | 1097536.7613
8 | 2712818.1114 | 1097562.5663
9 | 2712926.2231 | 1097712.1266
10 | 2712897.2095 | 1097615.9139
11 | 2713003.0325 | 1097489.6004
12 | 2712820.3968 | 1097568.0273
13 | 2713063.9244 | 1097510.8707
14 | 2712918.8781 | 1097301.7652
15 | 2712945.2018 | 1097326.4853
16 | 2712995.4605 | 1097353.2411
17 | 2712927.0636 | 1097718.543
18 | 2712838.1243 | 1097516.4772
19 | 2712978.4215 | 1097810.3704
20 | 2712836.5549 | 1097579.1576
21 | 2712829.8951 | 1097719.717
22 | 2712784.8146 | 1097720.1585
23 | 2712850.585 | 1097754.2092
24 | 2712991.3691 | 1097853.1883
25 | 2713018.5486 | 1097835.9224
26 | 2712664.0259 | 1097683.1156
27 | 2712620.1874 | 1097617.3922
28 | 2712596.4037 | 1097640.4014
29 | 2712609.1602 | 1097611.7053
30 | 2712625.0433 | 1097611.7166
31 | 2712638.8927 | 1097614.5147
32 | 2712641.0108 | 1097597.6203
33 | 2712682.7263 | 1097620.3644
34 | 2712646.8084 | 1097602.7352
35 | 2712789.4945 | 1097740.9371
36 | 2712792.3289 | 1097737.2094
37 | 2712794.6681 | 1097747.2105
38 | 2712792.3294 | 1097734.8038
39 | 2712874.2601 | 1097784.4511
40 | 2712994.7177 | 1097860.3627
41 | 2713038.4279 | 1097849.0122
42 | 2713130.3147 | 1097249.9122
43 | 2713071.8498 | 1097296.0049
44 | 2713045.414 | 1097287.5631
45 | 2713072.1145 | 1097373.7512
46 | 2712991.922 | 1097212.5986
47 | 2713059.5984 | 1097377.4098
48 | 2712546.5592 | 1097748.387
49 | 2712512.0629 | 1097692.2736
50 | 2712544.3998 | 1097697.7871
51 | 2712621.5325 | 1097577.4053
52 | 2712804.1144 | 1097759.7838
53 | 2712595.131 | 1097605.5819
54 | 2713059.7784 | 1097712.4738
55 | 2713028.2103 | 1097754.5918
56 | 2713064.9855 | 1097858.268
57 | 2713119.7715 | 1097949.5159
58 | 2713150.007 | 1098014.2555
59 | 2713068.9502 | 1097943.2636
60 | 2713038.8943 | 1097920.0911
61 | 2713018.9827 | 1097900.4186
62 | 2713004.2095 | 1097868.0309
63 | 2712985.7719 | 1097854.1099
64 | 2712883.5511 | 1097793.4577
65 | 2712886.165 | 1097794.8095
66 | 2712917.2916 | 1097812.2903
67 | 2712820.8742 | 1097794.4766
68 | 2712817.8849 | 1097779.885
69 | 2712814.733 | 1097773.7165
70 | 2712814.0526 | 1097752.8008
71 | 2713202.3928 | 1098054.9168
72 | 2712593.9195 | 1097604.5846
73 | 2712801.6906 | 1097690.2292

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1