## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5161-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5161-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5161-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5161-2_0_6_node_11 | 0.4 | n |  | TRUE
4 | bus_LV_5161-2_0_6_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_5161-2_0_6_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_5161-2_0_6_node_13 | 0.4 | n |  | TRUE
7 | bus_LV_5161-2_0_6_node_25 | 0.4 | n |  | TRUE
8 | bus_LV_5161-2_0_6_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_5161-2_0_6_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_5161-2_0_6_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_5161-2_0_6_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_5161-2_0_6_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_5161-2_0_6_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_5161-2_0_6_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5161-2_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5161-2_0_6_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5161-2_0_6_node_78 | 0.4 | n |  | TRUE
18 | bus_LV_5161-2_0_6_node_77 | 0.4 | n |  | TRUE
19 | bus_LV_5161-2_0_6_node_73 | 0.4 | n |  | TRUE
20 | bus_LV_5161-2_0_6_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_5161-2_0_6_node_79 | 0.4 | n |  | TRUE
22 | bus_LV_5161-2_0_6_node_76 | 0.4 | n |  | TRUE
23 | bus_LV_5161-2_0_6_node_74 | 0.4 | n |  | TRUE
24 | bus_LV_5161-2_0_6_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_5161-2_0_6_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_5161-2_0_6_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5161-2_0_6_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_5161-2_0_6_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_5161-2_0_6_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_5161-2_0_6_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_5161-2_0_6_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_5161-2_0_6_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_5161-2_0_6_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5161-2_0_6_node_47 | 0.4 | n |  | TRUE
35 | bus_LV_5161-2_0_6_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_5161-2_0_6_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_5161-2_0_6_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5161-2_0_6_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5161-2_0_6_node_71 | 0.4 | n |  | TRUE
40 | bus_LV_5161-2_0_6_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_5161-2_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_5161-2_0_6_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_5161-2_0_6_node_22 | 0.4 | n |  | TRUE
44 | bus_LV_5161-2_0_6_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_5161-2_0_6_node_24 | 0.4 | n |  | TRUE
46 | bus_LV_5161-2_0_6_node_59 | 0.4 | n |  | TRUE
47 | bus_LV_5161-2_0_6_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_5161-2_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_5161-2_0_6_node_29 | 0.4 | n |  | TRUE
50 | bus_LV_5161-2_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_5161-2_0_6_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5161-2_0_6_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5161-2_0_6_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_5161-2_0_6_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5161-2_0_6_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_5161-2_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5161-2_0_6_node_60 | 0.4 | n |  | TRUE
58 | bus_LV_5161-2_0_6_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_5161-2_0_6_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_5161-2_0_6_node_39 | 0.4 | n |  | TRUE
61 | bus_LV_5161-2_0_6_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_5161-2_0_6_node_69 | 0.4 | n |  | TRUE
63 | bus_LV_5161-2_0_6_node_68 | 0.4 | n |  | TRUE
64 | bus_LV_5161-2_0_6_node_63 | 0.4 | n |  | TRUE
65 | bus_LV_5161-2_0_6_node_46 | 0.4 | n |  | TRUE
66 | bus_LV_5161-2_0_6_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_5161-2_0_6_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5161-2_0_6_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5161-2_0_6_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5161-2_0_6_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_5161-2_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_5161-2_0_6_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_5161-2_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_5161-2_0_6_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_5161-2_0_6_node_64 | 0.4 | n |  | TRUE
76 | bus_LV_5161-2_0_6_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_5161-2_0_6_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_5161-2_0_6_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_5161-2_0_6_node_75 | 0.4 | n |  | TRUE
80 | bus_MV_67_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5161-2_0_6_load_0 | 0 | 0.0049138 | 0.0012315 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5161-2_0_6_load_1 | 1 | 0.0059373 | 0.001488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5161-2_0_6_load_2 | 2 | 0.0032099 | 0.00080449 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5161-2_0_6_load_11 | 3 | 0.0035747 | 0.0008959 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5161-2_0_6_load_12 | 5 | 0.0047969 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5161-2_0_6_load_13 | 6 | 0.0042653 | 0.001069 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5161-2_0_6_load_25 | 7 | 0.0036546 | 0.00091592 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5161-2_0_6_load_26 | 8 | 0.0045706 | 0.0011455 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5161-2_0_6_load_27 | 9 | 0.0020869 | 0.00052303 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5161-2_0_6_load_4 | 10 | 0.0054759 | 0.0013724 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5161-2_0_6_load_8 | 14 | 0.0039178 | 0.0009819 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5161-2_0_6_load_9 | 15 | 0.009164 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5161-2_0_6_load_10 | 16 | 0.005637 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5161-2_0_6_load_78 | 17 | 0.009939 | 0.0024909 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5161-2_0_6_load_77 | 18 | 0.0054685 | 0.0013705 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5161-2_0_6_load_73 | 19 | 0.0030471 | 0.00076367 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5161-2_0_6_load_14 | 20 | 0.006816 | 0.0017083 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5161-2_0_6_load_79 | 21 | 0.0070591 | 0.0017692 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5161-2_0_6_load_76 | 22 | 0.0063656 | 0.0015954 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5161-2_0_6_load_74 | 23 | 0.0028766 | 0.00072096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5161-2_0_6_load_15 | 24 | 0.0054783 | 0.001373 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5161-2_0_6_load_58 | 25 | 0.0023176 | 0.00058083 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5161-2_0_6_load_53 | 26 | 0.0057153 | 0.0014324 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5161-2_0_6_load_16 | 27 | 0.00183 | 0.00045865 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5161-2_0_6_load_17 | 28 | 0.0072651 | 0.0018208 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5161-2_0_6_load_19 | 30 | 0.0080456 | 0.0020164 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5161-2_0_6_load_21 | 32 | 0.011218 | 0.0028114 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5161-2_0_6_load_47 | 34 | 0.0064718 | 0.001622 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5161-2_0_6_load_44 | 35 | 0.0052695 | 0.0013207 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5161-2_0_6_load_34 | 38 | 0.0020457 | 0.0005127 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5161-2_0_6_load_71 | 39 | 0.0059853 | 0.0015001 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5161-2_0_6_load_45 | 40 | 0.0043758 | 0.0010967 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5161-2_0_6_load_48 | 41 | 0.0068862 | 0.0017259 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5161-2_0_6_load_38 | 42 | 0.0039559 | 0.00099143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5161-2_0_6_load_22 | 43 | 0.0052809 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5161-2_0_6_load_80 | 44 | 0.0057704 | 0.0014462 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5161-2_0_6_load_24 | 45 | 0.037468 | 0.0093904 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5161-2_0_6_load_59 | 46 | 0.0042252 | 0.0010589 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5161-2_0_6_load_57 | 47 | 0.004371 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5161-2_0_6_load_28 | 48 | 0.0067794 | 0.0016991 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5161-2_0_6_load_29 | 49 | 0.0050778 | 0.0012726 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5161-2_0_6_load_30 | 50 | 0.0058315 | 0.0014615 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5161-2_0_6_load_31 | 51 | 0.0032075 | 0.00080387 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5161-2_0_6_load_49 | 52 | 0.0038639 | 0.00096838 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5161-2_0_6_load_41 | 53 | 0.0041334 | 0.0010359 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5161-2_0_6_load_42 | 54 | 0.002492 | 0.00062455 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5161-2_0_6_load_43 | 56 | 0.0038076 | 0.00095428 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5161-2_0_6_load_60 | 57 | 0.0016107 | 0.00040369 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5161-2_0_6_load_36 | 58 | 0.0010902 | 0.00027323 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5161-2_0_6_load_37 | 59 | 0.0057511 | 0.0014414 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5161-2_0_6_load_69 | 62 | 0.0096854 | 0.0024274 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5161-2_0_6_load_63 | 64 | 0.0044444 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5161-2_0_6_load_46 | 65 | 0.0046457 | 0.0011643 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5161-2_0_6_load_70 | 66 | 0.0048749 | 0.0012218 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5161-2_0_6_load_50 | 67 | 0.0039926 | 0.0010006 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5161-2_0_6_load_51 | 68 | 0.0085193 | 0.0021351 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5161-2_0_6_load_54 | 70 | 0.0051208 | 0.0012834 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5161-2_0_6_load_55 | 71 | 0.0042191 | 0.0010574 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5161-2_0_6_load_56 | 72 | 0.004371 | 0.0010955 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5161-2_0_6_load_66 | 74 | 0.004051 | 0.0010153 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5161-2_0_6_load_64 | 75 | 0.0048193 | 0.0012078 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5161-2_0_6_load_65 | 76 | 0.0061754 | 0.0015477 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5161-2_0_6_load_67 | 77 | 0.0058596 | 0.0014685 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5161-2_0_6_load_72 | 78 | 0.0051278 | 0.0012851 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5161-2_0_6_load_75 | 79 | 0.0075527 | 0.0018929 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5161-2_0_6_line_0 |  | 0 | 1 | 0.032562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5161-2_0_6_line_1 |  | 0 | 2 | 0.005553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5161-2_0_6_line_2 |  | 0 | 3 | 0.042715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5161-2_0_6_line_3 |  | 2 | 4 | 0.005914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5161-2_0_6_line_4 |  | 3 | 5 | 0.026319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5161-2_0_6_line_5 |  | 4 | 7 | 0.027382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5161-2_0_6_line_6 |  | 4 | 8 | 0.037027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5161-2_0_6_line_7 |  | 5 | 6 | 0.019176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5161-2_0_6_line_8 |  | 8 | 9 | 0.0095627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5161-2_0_6_line_9 |  | 9 | 48 | 0.015597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5161-2_0_6_line_10 |  | 10 | 11 | 0.022588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_5161-2_0_6_line_11 |  | 10 | 12 | 0.0026967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_5161-2_0_6_line_12 |  | 11 | 13 | 0.013734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_5161-2_0_6_line_13 |  | 11 | 14 | 0.0090134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5161-2_0_6_line_14 |  | 12 | 15 | 0.04167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5161-2_0_6_line_15 |  | 12 | 16 | 0.022026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_5161-2_0_6_line_16 |  | 13 | 17 | 0.021702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5161-2_0_6_line_17 |  | 13 | 18 | 0.012776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5161-2_0_6_line_18 |  | 14 | 19 | 0.0042358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5161-2_0_6_line_19 |  | 16 | 20 | 0.060487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_5161-2_0_6_line_20 |  | 17 | 21 | 0.027659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_5161-2_0_6_line_21 |  | 18 | 22 | 0.029698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5161-2_0_6_line_22 |  | 19 | 23 | 0.014716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5161-2_0_6_line_23 |  | 20 | 24 | 0.037945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5161-2_0_6_line_24 |  | 21 | 41 | 0.02332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_5161-2_0_6_line_25 |  | 23 | 79 | 0.0051403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5161-2_0_6_line_26 |  | 24 | 25 | 0.017763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5161-2_0_6_line_27 |  | 25 | 26 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5161-2_0_6_line_28 |  | 26 | 68 | 0.016541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_5161-2_0_6_line_29 |  | 27 | 28 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5161-2_0_6_line_30 |  | 27 | 29 | 0.0256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5161-2_0_6_line_31 |  | 28 | 30 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5161-2_0_6_line_32 |  | 29 | 31 | 0.022701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5161-2_0_6_line_33 |  | 29 | 32 | 0.027146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5161-2_0_6_line_34 |  | 30 | 33 | 0.016912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5161-2_0_6_line_35 |  | 31 | 34 | 0.020379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5161-2_0_6_line_36 |  | 31 | 35 | 0.014426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5161-2_0_6_line_37 |  | 32 | 36 | 0.02592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5161-2_0_6_line_38 |  | 33 | 37 | 0.005073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5161-2_0_6_line_39 |  | 33 | 38 | 0.039934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5161-2_0_6_line_40 |  | 34 | 39 | 0.03594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5161-2_0_6_line_41 |  | 35 | 40 | 0.002675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5161-2_0_6_line_42 |  | 36 | 41 | 0.020253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_5161-2_0_6_line_43 |  | 36 | 42 | 0.052909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_5161-2_0_6_line_44 |  | 37 | 54 | 0.032106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5161-2_0_6_line_45 |  | 38 | 55 | 0.041001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5161-2_0_6_line_46 |  | 39 | 66 | 0.0064159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5161-2_0_6_line_47 |  | 40 | 65 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5161-2_0_6_line_48 |  | 42 | 59 | 0.067909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5161-2_0_6_line_49 |  | 43 | 44 | 0.51294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5161-2_0_6_line_50 |  | 44 | 45 | 0.35265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5161-2_0_6_line_51 |  | 45 | 46 | 0.71141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
52 | LV_5161-2_0_6_line_52 |  | 46 | 47 | 0.035416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5161-2_0_6_line_53 |  | 47 | 72 | 0.053223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5161-2_0_6_line_54 |  | 48 | 49 | 0.0060887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5161-2_0_6_line_55 |  | 49 | 50 | 0.026301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5161-2_0_6_line_56 |  | 50 | 51 | 0.011583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5161-2_0_6_line_57 |  | 51 | 52 | 0.0075302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5161-2_0_6_line_58 |  | 52 | 53 | 0.013419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5161-2_0_6_line_59 |  | 53 | 60 | 0.032096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
60 | LV_5161-2_0_6_line_60 |  | 54 | 56 | 0.024396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5161-2_0_6_line_61 |  | 54 | 57 | 0.047688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5161-2_0_6_line_62 |  | 55 | 58 | 0.033873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5161-2_0_6_line_63 |  | 57 | 61 | 0.062725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5161-2_0_6_line_64 |  | 59 | 60 | 0.03393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_5161-2_0_6_line_65 |  | 61 | 64 | 0.032394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5161-2_0_6_line_66 |  | 61 | 73 | 0.029261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5161-2_0_6_line_67 |  | 62 | 63 | 0.035684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5161-2_0_6_line_68 |  | 63 | 64 | 0.040207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5161-2_0_6_line_69 |  | 66 | 78 | 0.019152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5161-2_0_6_line_70 |  | 67 | 68 | 0.0081958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_5161-2_0_6_line_71 |  | 67 | 69 | 0.006533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_5161-2_0_6_line_72 |  | 69 | 70 | 0.013872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_5161-2_0_6_line_73 |  | 70 | 71 | 0.01812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_5161-2_0_6_line_74 |  | 71 | 72 | 0.0010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_5161-2_0_6_line_75 |  | 73 | 74 | 0.0043621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5161-2_0_6_line_76 |  | 73 | 75 | 0.03272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5161-2_0_6_line_77 |  | 74 | 77 | 0.020526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5161-2_0_6_line_78 |  | 75 | 76 | 0.037995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5161-2_0_6_trafo_15 | 0.63 MVA 20/0.4 kV | 80 | 24 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2712463.2997 | 1097556.2395 | 2712465.659 | 1097555.4338 | 2712470.5939 | 1097554.1354 | 2712475.798 | 1097552.942 | 2712481.2529 | 1097552.0089 | 2712486.5683 | 1097551.9184 | 2712492.2836 | 1097552.4022 | 2712495.2931 | 1097552.8368
1 | 2712463.2997 | 1097556.2395 | 2712460.8104 | 1097557.0897 | 2712458.0989 | 1097558.1801
2 | 2712463.2997 | 1097556.2395 | 2712482.9277 | 1097594.1781
3 | 2712452.6679 | 1097560.5191 | 2712456.3699 | 1097558.8754 | 2712458.0989 | 1097558.1801
4 | 2712508.598 | 1097599.3066 | 2712502.6107 | 1097598.7246 | 2712497.8322 | 1097598.2691 | 2712492.9609 | 1097597.3895 | 2712487.981 | 1097596.0965 | 2712484.0259 | 1097594.6779 | 2712482.9277 | 1097594.1781
5 | 2712452.6679 | 1097560.5191 | 2712449.437 | 1097562.2383 | 2712447.0581 | 1097563.9621 | 2712445.2436 | 1097565.7408 | 2712443.8324 | 1097567.4937 | 2712441.6497 | 1097570.7555 | 2712439.8507 | 1097573.3684 | 2712437.3891 | 1097576.2137 | 2712433.8608 | 1097579.9429
6 | 2712452.6679 | 1097560.5191 | 2712422.0648 | 1097539.6756
7 | 2712527.0603 | 1097604.1811 | 2712523.0349 | 1097602.5719 | 2712518.8162 | 1097601.1706 | 2712514.4117 | 1097600.1773 | 2712509.8169 | 1097599.4251 | 2712508.598 | 1097599.3066
8 | 2712414.1611 | 1097534.2924 | 2712422.0648 | 1097539.6756
9 | 2712414.1611 | 1097534.2924 | 2712411.0854 | 1097532.1975 | 2712407.7204 | 1097530.2785 | 2712404.1404 | 1097528.6779 | 2712400.2598 | 1097527.4164
10 | 2712516.3234 | 1097467.2787 | 2712515.6372 | 1097462.5073 | 2712514.3743 | 1097458.7591 | 2712513.0849 | 1097456.4448 | 2712510.7888 | 1097454.1119 | 2712507.2914 | 1097451.8122 | 2712504.1265 | 1097449.8877
11 | 2712501.8224 | 1097448.4866 | 2712504.1265 | 1097449.8877
12 | 2712516.3234 | 1097467.2787 | 2712502.5627 | 1097466.6458
13 | 2712516.3234 | 1097467.2787 | 2712522.1657 | 1097468.0207 | 2712525.2249 | 1097468.6549
14 | 2712501.8224 | 1097448.4866 | 2712499.0208 | 1097450.0246 | 2712497.2258 | 1097450.7474 | 2712495.7775 | 1097451.1543 | 2712494.4041 | 1097451.2845 | 2712492.7798 | 1097451.1543 | 2712491.0979 | 1097450.7896 | 2712489.0503 | 1097450.0957 | 2712463.0257 | 1097439.1067
15 | 2712501.8224 | 1097448.4866 | 2712483.0075 | 1097437.0353
16 | 2712502.5627 | 1097466.6458 | 2712488.9077 | 1097465.7481 | 2712480.9345 | 1097465.0445 | 2712480.9216 | 1097465.0426
17 | 2712502.5627 | 1097466.6458 | 2712502.4469 | 1097470.3906 | 2712502.8144 | 1097472.2987 | 2712503.5347 | 1097473.5574 | 2712504.5381 | 1097474.5877 | 2712505.9851 | 1097475.504 | 2712507.7386 | 1097476.1814 | 2712508.3377 | 1097476.2697
18 | 2712529.3405 | 1097469.6404 | 2712527.9375 | 1097469.2173 | 2712525.2249 | 1097468.6549
19 | 2712483.0075 | 1097437.0353 | 2712480.7199 | 1097435.6429 | 2712473.2114 | 1097429.9224 | 2712466.4672 | 1097422.6705 | 2712460.4855 | 1097413.1423 | 2712451.0325 | 1097387.6204
20 | 2712480.9216 | 1097465.0426 | 2712473.4336 | 1097463.9383 | 2712467.0416 | 1097462.3523 | 2712460.8042 | 1097460.3577 | 2712454.371 | 1097457.7134
21 | 2712536.8087 | 1097482.9125 | 2712535.4573 | 1097482.2653 | 2712530.6621 | 1097480.1973 | 2712524.2162 | 1097477.7541 | 2712521.7446 | 1097476.9523 | 2712519.569 | 1097476.4783 | 2712517.4574 | 1097476.3169 | 2712514.8006 | 1097476.3122 | 2712511.6135 | 1097476.4978 | 2712509.8089 | 1097476.4866 | 2712508.3377 | 1097476.2697
22 | 2712529.3405 | 1097469.6404 | 2712533.476 | 1097470.8876 | 2712538.4704 | 1097473.0704 | 2712542.751 | 1097475.5488
23 | 2712451.0325 | 1097387.6204 | 2712442.4478 | 1097364.4424 | 2712440.1316 | 1097359.8409 | 2712437.4147 | 1097355.132 | 2712435.8978 | 1097352.9714
24 | 2712454.371 | 1097457.7134 | 2712447.6047 | 1097454.9321 | 2712433.0725 | 1097448.2269
25 | 2712546.9764 | 1097478.4745 | 2712542.9538 | 1097475.6663 | 2712542.751 | 1097475.5488
26 | 2712423.2087 | 1097340.6812 | 2712429.3331 | 1097345.6316 | 2712433.7845 | 1097349.9613 | 2712435.8978 | 1097352.9714
27 | 2712423.2087 | 1097340.6812 | 2712414.3468 | 1097333.5181
28 | 2712401.4829 | 1097323.1201 | 2712414.3468 | 1097333.5181
29 | 2712332.7545 | 1097425.8672 | 2712336.8956 | 1097424.0977 | 2712339.6554 | 1097423.1369 | 2712342.2398 | 1097422.4509 | 2712344.3911 | 1097422.146 | 2712345.6301 | 1097422.1689
30 | 2712370.5839 | 1097427.4115 | 2712368.0448 | 1097427.32 | 2712365.4087 | 1097427.0378 | 2712362.574 | 1097426.5962 | 2712359.4438 | 1097425.8044 | 2712348.133 | 1097422.5376 | 2712346.2728 | 1097422.1808 | 2712345.6301 | 1097422.1689
31 | 2712315.2087 | 1097436.1578 | 2712328.6462 | 1097427.8588 | 2712332.531 | 1097425.9627 | 2712332.7545 | 1097425.8672
32 | 2712370.5839 | 1097427.4115 | 2712375.286 | 1097405.2057
33 | 2712370.5839 | 1097427.4115 | 2712390.7907 | 1097426.2954 | 2712396.161 | 1097426.1724 | 2712397.6948 | 1097426.2736
34 | 2712300.4563 | 1097444.3046 | 2712303.3171 | 1097443.3346 | 2712306.5343 | 1097441.515 | 2712315.2087 | 1097436.1578
35 | 2712375.286 | 1097405.2057 | 2712380.44 | 1097389.9796 | 2712380.8776 | 1097388.0975 | 2712381.0576 | 1097386.3219 | 2712381.0083 | 1097385.7365
36 | 2712375.286 | 1097405.2057 | 2712363.5931 | 1097396.7568
37 | 2712414.0027 | 1097441.5238 | 2712413.9027 | 1097436.8855 | 2712413.481 | 1097434.5539 | 2712412.0471 | 1097432.0924 | 2712409.7606 | 1097429.6596 | 2712407.4247 | 1097428.2154 | 2712404.3923 | 1097427.1586 | 2712400.6096 | 1097426.466 | 2712397.6948 | 1097426.2736
38 | 2712300.4563 | 1097444.3046 | 2712297.0685 | 1097444.8757 | 2712295.4177 | 1097444.923
39 | 2712300.4563 | 1097444.3046 | 2712300.0884 | 1097449.1233 | 2712299.5728 | 1097451.0373 | 2712298.7523 | 1097452.6788 | 2712297.0896 | 1097455.0496 | 2712293.0253 | 1097460.367 | 2712279.643 | 1097477.4434
40 | 2712381.0083 | 1097385.7365 | 2712380.9179 | 1097384.6626 | 2712380.591 | 1097383.4891 | 2712379.9188 | 1097382.1425 | 2712378.7553 | 1097380.5532 | 2712376.5883 | 1097378.3561 | 2712355.6385 | 1097361.1913
41 | 2712363.5931 | 1097396.7568 | 2712361.4248 | 1097395.1901
42 | 2712414.0027 | 1097441.5238 | 2712419.3067 | 1097442.8895 | 2712425.3572 | 1097444.9361 | 2712432.0903 | 1097447.7736 | 2712433.0725 | 1097448.2269
43 | 2712414.0027 | 1097441.5238 | 2712408.0345 | 1097440.8908 | 2712401.18 | 1097440.8529 | 2712395.214 | 1097441.354 | 2712388.8144 | 1097442.681 | 2712381.9929 | 1097445.0454 | 2712376.378 | 1097447.9213 | 2712370.8658 | 1097451.5329 | 2712366.4685 | 1097455.1652 | 2712365.2121 | 1097456.3221
44 | 2712295.4177 | 1097444.923 | 2712286.7364 | 1097430.9866 | 2712285.624 | 1097428.7312 | 2712284.8214 | 1097426.4704 | 2712284.4193 | 1097424.3393 | 2712284.366 | 1097422.1925 | 2712284.6851 | 1097420.0191 | 2712285.2947 | 1097417.6288 | 2712285.955 | 1097415.9617
45 | 2712249.5925 | 1097504.8503 | 2712255.0863 | 1097501.3939 | 2712268.2533 | 1097490.9745 | 2712270.113 | 1097489.2632 | 2712271.6218 | 1097487.6789 | 2712279.643 | 1097477.4434
46 | 2712350.6757 | 1097357.1251 | 2712355.6385 | 1097361.1913
47 | 2712361.4248 | 1097395.1901 | 2712354.9302 | 1097390.4973 | 2712353.6089 | 1097389.4833 | 2712352.483 | 1097388.3728 | 2712351.5621 | 1097387.066 | 2712349.7463 | 1097383.4217
48 | 2712328.9558 | 1097511.1696 | 2712329.3906 | 1097507.4039 | 2712330.4613 | 1097501.4419 | 2712332.1256 | 1097495.6354 | 2712334.3058 | 1097490.4167 | 2712337.0339 | 1097485.3081 | 2712340.3491 | 1097480.2882 | 2712343.926 | 1097476.196 | 2712351.9925 | 1097468.4955 | 2712365.2121 | 1097456.3221
49 | 2712606.7934 | 1097540.0622 | 2712978.8012 | 1097186.9122
50 | 2712944.1461 | 1096835.9646 | 2712978.8012 | 1097186.9122
51 | 2712381.3981 | 1097271.1951 | 2712944.1461 | 1096835.9646
52 | 2712381.3981 | 1097271.1951 | 2712363.4979 | 1097267.773 | 2712356.7131 | 1097266.8803 | 2712353.1181 | 1097266.925 | 2712350.5659 | 1097267.1224 | 2712347.8117 | 1097267.7719 | 2712346.5538 | 1097268.2986
53 | 2712364.9431 | 1097293.4925 | 2712364.7045 | 1097293.4126 | 2712360.7067 | 1097292.6159 | 2712343.9169 | 1097291.5604 | 2712341.2416 | 1097290.8772 | 2712338.6381 | 1097289.6616 | 2712336.9262 | 1097287.9844 | 2712335.8249 | 1097285.9627 | 2712335.7713 | 1097283.838 | 2712336.5045 | 1097281.0497 | 2712337.3503 | 1097278.875 | 2712338.3983 | 1097276.6595 | 2712339.72 | 1097274.3046 | 2712341.3868 | 1097272.1339 | 2712343.2185 | 1097270.2665 | 2712345.2433 | 1097268.8474 | 2712346.5538 | 1097268.2986
54 | 2712394.3788 | 1097525.8399 | 2712396.0595 | 1097526.2713 | 2712400.2598 | 1097527.4164 | 2712400.2598 | 1097527.4164
55 | 2712394.3788 | 1097525.8399 | 2712394.3788 | 1097525.8399 | 2712392.8875 | 1097525.223 | 2712391.4454 | 1097524.4625 | 2712377.5024 | 1097515.6877 | 2712375.39 | 1097514.7258 | 2712373.2764 | 1097514.253 | 2712371.1882 | 1097514.081
56 | 2712362.355 | 1097521.1361 | 2712362.4307 | 1097521.0238 | 2712364.7836 | 1097518.1987 | 2712367.0556 | 1097515.9725 | 2712369.1402 | 1097514.6657 | 2712371.1882 | 1097514.081 | 2712371.1882 | 1097514.081
57 | 2712358.1456 | 1097527.3799 | 2712362.355 | 1097521.1361
58 | 2712358.1456 | 1097527.3799 | 2712350.6444 | 1097538.5062
59 | 2712322.9447 | 1097544.3319 | 2712326.2447 | 1097545.994 | 2712328.8237 | 1097546.8533 | 2712331.3775 | 1097547.4009 | 2712334.3064 | 1097547.7664 | 2712337.085 | 1097547.8845 | 2712339.6841 | 1097547.6546 | 2712341.8179 | 1097547.038 | 2712343.8892 | 1097546.0312 | 2712345.7423 | 1097544.6757 | 2712347.1072 | 1097543.3333 | 2712348.3417 | 1097541.9218 | 2712350.6444 | 1097538.5062
60 | 2712301.2938 | 1097401.1021 | 2712298.3312 | 1097400.4581 | 2712297.2406 | 1097400.3712 | 2712295.9894 | 1097400.5927 | 2712295.0471 | 1097400.8643 | 2712294.1956 | 1097401.2489 | 2712293.2156 | 1097401.8867 | 2712292.2198 | 1097402.9579 | 2712291.3592 | 1097404.254 | 2712290.2481 | 1097406.535 | 2712288.1673 | 1097410.9885 | 2712286.2129 | 1097415.3108 | 2712285.955 | 1097415.9617
61 | 2712285.955 | 1097415.9617 | 2712255.7567 | 1097379.0531
62 | 2712249.5925 | 1097504.8503 | 2712248.6389 | 1097504.0544 | 2712247.4835 | 1097502.8656 | 2712245.9718 | 1097500.8363 | 2712244.8658 | 1097499.0702 | 2712232.9927 | 1097475.5129
63 | 2712255.6726 | 1097317.0918 | 2712256.9987 | 1097321.6193 | 2712258.1382 | 1097326.1879 | 2712258.9401 | 1097330.1609 | 2712259.435 | 1097333.5612 | 2712259.6787 | 1097337.5573 | 2712259.4771 | 1097353.4977 | 2712258.6982 | 1097363.3677 | 2712258.0169 | 1097367.9582 | 2712256.9168 | 1097373.4193 | 2712255.7567 | 1097379.0531
64 | 2712322.9447 | 1097544.3319 | 2712325.3044 | 1097539.0386 | 2712326.3209 | 1097534.7545 | 2712326.796 | 1097530.427 | 2712328.0071 | 1097519.3864 | 2712328.9558 | 1097511.1696
65 | 2712255.6726 | 1097317.0918 | 2712252.9258 | 1097314.4059 | 2712251.8458 | 1097313.3297 | 2712250.7462 | 1097312.053 | 2712248.8138 | 1097308.8929 | 2712246.3423 | 1097305.1448 | 2712243.1432 | 1097301.7834 | 2712240.0606 | 1097299.247 | 2712235.3857 | 1097296.9481 | 2712232.2428 | 1097295.9185
66 | 2712251.3342 | 1097288.6147 | 2712250.8201 | 1097290.8623 | 2712250.5001 | 1097294.7701 | 2712250.5562 | 1097298.0178 | 2712251.0617 | 1097301.6852 | 2712255.6726 | 1097317.0918
67 | 2712192.964 | 1097296.7092 | 2712189.2897 | 1097301.4668 | 2712186.7255 | 1097306.5118 | 2712185.0592 | 1097312.007 | 2712184.043 | 1097317.9589 | 2712182.5638 | 1097330.1064
68 | 2712192.964 | 1097296.7092 | 2712196.346 | 1097294.7815 | 2712199.1988 | 1097293.8224 | 2712203.5846 | 1097293.3252 | 2712214.422 | 1097293.303 | 2712224.1957 | 1097294.2508 | 2712230.4579 | 1097295.3338 | 2712232.2428 | 1097295.9185
69 | 2712350.6757 | 1097357.1251 | 2712335.861 | 1097344.9869
70 | 2712395.109 | 1097317.968 | 2712401.4829 | 1097323.1201
71 | 2712390.0282 | 1097313.8612 | 2712395.109 | 1097317.968
72 | 2712390.0282 | 1097313.8612 | 2712388.6104 | 1097312.2005 | 2712386.9337 | 1097309.4565 | 2712384.8561 | 1097306.6162 | 2712382.5601 | 1097304.2722 | 2712381.2896 | 1097303.1845
73 | 2712365.9582 | 1097293.8327 | 2712368.7077 | 1097294.7541 | 2712372.1016 | 1097296.3735 | 2712374.7521 | 1097297.9792 | 2712378.6177 | 1097300.897 | 2712381.2896 | 1097303.1845
74 | 2712365.9582 | 1097293.8327 | 2712364.9431 | 1097293.4925
75 | 2712251.3342 | 1097288.6147 | 2712251.857 | 1097286.3117 | 2712252.4858 | 1097284.4126
76 | 2712251.3342 | 1097288.6147 | 2712246.0275 | 1097278.1653 | 2712237.5974 | 1097263.1884 | 2712235.4995 | 1097260.0029
77 | 2712257.2641 | 1097264.5185 | 2712256.9599 | 1097267.9714 | 2712255.9255 | 1097273.2225 | 2712253.6865 | 1097280.7862 | 2712252.4858 | 1097284.4126
78 | 2712220.424 | 1097267.7967 | 2712219.8278 | 1097255.6219 | 2712219.9616 | 1097253.4118 | 2712220.3058 | 1097251.9727 | 2712221.0991 | 1097250.542 | 2712222.2076 | 1097249.6618 | 2712223.9865 | 1097248.972 | 2712225.4397 | 1097248.7209 | 2712226.7991 | 1097248.935 | 2712228.2811 | 1097249.6406 | 2712229.3693 | 1097250.6947 | 2712235.4995 | 1097260.0029

## bus_geodata
| x | y | coords
0 | 2712463.2997 | 1097556.2395
1 | 2712495.2931 | 1097552.8368
2 | 2712458.0989 | 1097558.1801
3 | 2712482.9277 | 1097594.1781
4 | 2712452.6679 | 1097560.5191
5 | 2712508.598 | 1097599.3066
6 | 2712527.0603 | 1097604.1811
7 | 2712433.8608 | 1097579.9429
8 | 2712422.0648 | 1097539.6755
9 | 2712414.1611 | 1097534.2924
10 | 2712504.1265 | 1097449.8877
11 | 2712516.3234 | 1097467.2787
12 | 2712501.8224 | 1097448.4866
13 | 2712502.5627 | 1097466.6458
14 | 2712525.2249 | 1097468.6549
15 | 2712463.0257 | 1097439.1067
16 | 2712483.0075 | 1097437.0353
17 | 2712480.9216 | 1097465.0426
18 | 2712508.3377 | 1097476.2697
19 | 2712529.3405 | 1097469.6404
20 | 2712451.0325 | 1097387.6204
21 | 2712454.371 | 1097457.7134
22 | 2712536.8087 | 1097482.9125
23 | 2712542.751 | 1097475.5488
24 | 2712435.8978 | 1097352.9714
25 | 2712423.2087 | 1097340.6812
26 | 2712414.3468 | 1097333.5181
27 | 2712345.6301 | 1097422.1689
28 | 2712332.7545 | 1097425.8672
29 | 2712370.5839 | 1097427.4115
30 | 2712315.2087 | 1097436.1578
31 | 2712375.286 | 1097405.2057
32 | 2712397.6948 | 1097426.2736
33 | 2712300.4563 | 1097444.3046
34 | 2712381.0083 | 1097385.7365
35 | 2712363.5931 | 1097396.7568
36 | 2712414.0027 | 1097441.5238
37 | 2712295.4177 | 1097444.923
38 | 2712279.643 | 1097477.4434
39 | 2712355.6385 | 1097361.1913
40 | 2712361.4248 | 1097395.1901
41 | 2712433.0725 | 1097448.2269
42 | 2712365.2121 | 1097456.3221
43 | 2712606.7934 | 1097540.0622
44 | 2712978.8012 | 1097186.9122
45 | 2712944.1461 | 1096835.9646
46 | 2712381.3981 | 1097271.1951
47 | 2712346.5538 | 1097268.2986
48 | 2712400.2598 | 1097527.4164
49 | 2712394.3788 | 1097525.8399
50 | 2712371.1882 | 1097514.081
51 | 2712362.355 | 1097521.1361
52 | 2712358.1456 | 1097527.3799
53 | 2712350.6444 | 1097538.5062
54 | 2712285.955 | 1097415.9617
55 | 2712249.5925 | 1097504.8503
56 | 2712301.2938 | 1097401.1021
57 | 2712255.7567 | 1097379.0531
58 | 2712232.9927 | 1097475.5129
59 | 2712328.9558 | 1097511.1696
60 | 2712322.9447 | 1097544.3319
61 | 2712255.6726 | 1097317.0918
62 | 2712182.5638 | 1097330.1064
63 | 2712192.964 | 1097296.7092
64 | 2712232.2428 | 1097295.9185
65 | 2712349.7463 | 1097383.4217
66 | 2712350.6757 | 1097357.1251
67 | 2712395.109 | 1097317.968
68 | 2712401.4829 | 1097323.1201
69 | 2712390.0282 | 1097313.8612
70 | 2712381.2896 | 1097303.1845
71 | 2712365.9582 | 1097293.8327
72 | 2712364.9431 | 1097293.4925
73 | 2712251.3342 | 1097288.6147
74 | 2712252.4858 | 1097284.4126
75 | 2712235.4995 | 1097260.0029
76 | 2712220.424 | 1097267.7967
77 | 2712257.2641 | 1097264.5185
78 | 2712335.861 | 1097344.9869
79 | 2712546.9764 | 1097478.4745
80 | 2712390.0282 | 1097313.8612

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1