## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5197-3_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5197-3_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5197-3_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5197-3_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5197-3_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5197-3_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5197-3_0_7_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5197-3_0_7_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5197-3_0_7_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_5197-3_0_7_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_5197-3_0_7_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_5197-3_0_7_node_66 | 0.4 | n |  | TRUE
12 | bus_LV_5197-3_0_7_node_65 | 0.4 | n |  | TRUE
13 | bus_LV_5197-3_0_7_node_87 | 0.4 | n |  | TRUE
14 | bus_LV_5197-3_0_7_node_88 | 0.4 | n |  | TRUE
15 | bus_LV_5197-3_0_7_node_61 | 0.4 | n |  | TRUE
16 | bus_LV_5197-3_0_7_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_5197-3_0_7_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_5197-3_0_7_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_5197-3_0_7_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_5197-3_0_7_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5197-3_0_7_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_5197-3_0_7_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_5197-3_0_7_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5197-3_0_7_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_5197-3_0_7_node_33 | 0.4 | n |  | TRUE
26 | bus_LV_5197-3_0_7_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5197-3_0_7_node_34 | 0.4 | n |  | TRUE
28 | bus_LV_5197-3_0_7_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_5197-3_0_7_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_5197-3_0_7_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_5197-3_0_7_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_5197-3_0_7_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_5197-3_0_7_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_5197-3_0_7_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_5197-3_0_7_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_5197-3_0_7_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_5197-3_0_7_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_5197-3_0_7_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_5197-3_0_7_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5197-3_0_7_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_5197-3_0_7_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5197-3_0_7_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5197-3_0_7_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5197-3_0_7_node_30 | 0.4 | n |  | TRUE
45 | bus_LV_5197-3_0_7_node_58 | 0.4 | n |  | TRUE
46 | bus_LV_5197-3_0_7_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5197-3_0_7_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_5197-3_0_7_node_56 | 0.4 | n |  | TRUE
49 | bus_LV_5197-3_0_7_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_5197-3_0_7_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5197-3_0_7_node_36 | 0.4 | n |  | TRUE
52 | bus_LV_5197-3_0_7_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_5197-3_0_7_node_98 | 0.4 | n |  | TRUE
54 | bus_LV_5197-3_0_7_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_5197-3_0_7_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_5197-3_0_7_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_5197-3_0_7_node_40 | 0.4 | n |  | TRUE
58 | bus_LV_5197-3_0_7_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_5197-3_0_7_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5197-3_0_7_node_47 | 0.4 | n |  | TRUE
61 | bus_LV_5197-3_0_7_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_5197-3_0_7_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_5197-3_0_7_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_5197-3_0_7_node_53 | 0.4 | n |  | TRUE
65 | bus_LV_5197-3_0_7_node_54 | 0.4 | n |  | TRUE
66 | bus_LV_5197-3_0_7_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_5197-3_0_7_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_5197-3_0_7_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5197-3_0_7_node_70 | 0.4 | n |  | TRUE
70 | bus_LV_5197-3_0_7_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_5197-3_0_7_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5197-3_0_7_node_62 | 0.4 | n |  | TRUE
73 | bus_LV_5197-3_0_7_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5197-3_0_7_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5197-3_0_7_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_5197-3_0_7_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_5197-3_0_7_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_5197-3_0_7_node_77 | 0.4 | n |  | TRUE
79 | bus_LV_5197-3_0_7_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_5197-3_0_7_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5197-3_0_7_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_5197-3_0_7_node_83 | 0.4 | n |  | TRUE
83 | bus_LV_5197-3_0_7_node_76 | 0.4 | n |  | TRUE
84 | bus_LV_5197-3_0_7_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_5197-3_0_7_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5197-3_0_7_node_81 | 0.4 | n |  | TRUE
87 | bus_LV_5197-3_0_7_node_92 | 0.4 | n |  | TRUE
88 | bus_LV_5197-3_0_7_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_5197-3_0_7_node_84 | 0.4 | n |  | TRUE
90 | bus_LV_5197-3_0_7_node_85 | 0.4 | n |  | TRUE
91 | bus_LV_5197-3_0_7_node_86 | 0.4 | n |  | TRUE
92 | bus_LV_5197-3_0_7_node_90 | 0.4 | n |  | TRUE
93 | bus_LV_5197-3_0_7_node_93 | 0.4 | n |  | TRUE
94 | bus_LV_5197-3_0_7_node_94 | 0.4 | n |  | TRUE
95 | bus_LV_5197-3_0_7_node_95 | 0.4 | n |  | TRUE
96 | bus_LV_5197-3_0_7_node_96 | 0.4 | n |  | TRUE
97 | bus_LV_5197-3_0_7_node_100 | 0.4 | n |  | TRUE
98 | bus_LV_5197-3_0_7_node_99 | 0.4 | n |  | TRUE
99 | bus_MV_68_0_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5197-3_0_7_load_0 | 0 | 0.022709 | 0.0056915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5197-3_0_7_load_1 | 1 | 0.0056041 | 0.0014045 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5197-3_0_7_load_5 | 5 | 0.0044414 | 0.0011131 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5197-3_0_7_load_6 | 6 | 0.0072314 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5197-3_0_7_load_7 | 7 | 0.0052015 | 0.0013036 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5197-3_0_7_load_69 | 8 | 0.0027922 | 0.0006998 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5197-3_0_7_load_72 | 10 | 0.0033105 | 0.00082968 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5197-3_0_7_load_66 | 11 | 0.0053739 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5197-3_0_7_load_65 | 12 | 0.0055107 | 0.0013811 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5197-3_0_7_load_87 | 13 | 0.0034079 | 0.0008541 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5197-3_0_7_load_88 | 14 | 0.011239 | 0.0028166 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5197-3_0_7_load_89 | 16 | 0.0020091 | 0.00050354 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5197-3_0_7_load_9 | 17 | 0.0037208 | 0.00093253 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5197-3_0_7_load_10 | 18 | 0.0038683 | 0.00096948 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5197-3_0_7_load_11 | 19 | 0.0079843 | 0.0020011 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5197-3_0_7_load_12 | 20 | 0.0043102 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5197-3_0_7_load_13 | 21 | 0.0039453 | 0.0009888 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5197-3_0_7_load_14 | 22 | 0.0040986 | 0.0010272 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5197-3_0_7_load_15 | 23 | 0.0073868 | 0.0018513 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5197-3_0_7_load_21 | 24 | 0.0034098 | 0.00085459 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5197-3_0_7_load_33 | 25 | 0.00354 | 0.00088721 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5197-3_0_7_load_34 | 27 | 0.0039091 | 0.00097971 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5197-3_0_7_load_16 | 28 | 0.0023805 | 0.00059661 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5197-3_0_7_load_17 | 29 | 0.00356 | 0.00089222 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5197-3_0_7_load_22 | 31 | 0.0033828 | 0.00084781 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5197-3_0_7_load_31 | 32 | 0.0046848 | 0.0011741 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5197-3_0_7_load_32 | 33 | 0.0065506 | 0.0016417 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5197-3_0_7_load_44 | 34 | 0.0016476 | 0.00041292 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5197-3_0_7_load_35 | 35 | 0.0075289 | 0.0018869 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5197-3_0_7_load_23 | 36 | 0.0049239 | 0.001234 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5197-3_0_7_load_24 | 37 | 0.0043351 | 0.0010865 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5197-3_0_7_load_39 | 38 | 0.012035 | 0.0030162 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5197-3_0_7_load_37 | 39 | 0.0065998 | 0.0016541 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5197-3_0_7_load_28 | 42 | 0.0038047 | 0.00095356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5197-3_0_7_load_29 | 43 | 0.0032039 | 0.00080298 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5197-3_0_7_load_30 | 44 | 0.0069757 | 0.0017483 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5197-3_0_7_load_58 | 45 | 0.0029549 | 0.00074057 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5197-3_0_7_load_42 | 46 | 0.0046497 | 0.0011653 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5197-3_0_7_load_60 | 47 | 0.0037558 | 0.00094129 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5197-3_0_7_load_56 | 48 | 0.0037685 | 0.00094448 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5197-3_0_7_load_41 | 49 | 0.0035223 | 0.00088278 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5197-3_0_7_load_45 | 50 | 0.0065802 | 0.0016492 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5197-3_0_7_load_36 | 51 | 0.0026867 | 0.00067336 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5197-3_0_7_load_97 | 52 | 0.0028584 | 0.00071638 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5197-3_0_7_load_98 | 53 | 0.002729 | 0.00068395 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5197-3_0_7_load_43 | 54 | 0.0042122 | 0.0010557 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5197-3_0_7_load_52 | 55 | 0.0052838 | 0.0013242 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5197-3_0_7_load_38 | 56 | 0.0047318 | 0.0011859 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5197-3_0_7_load_40 | 57 | 0.0048817 | 0.0012235 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5197-3_0_7_load_46 | 59 | 0.0021322 | 0.00053437 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5197-3_0_7_load_47 | 60 | 0.0075126 | 0.0018828 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5197-3_0_7_load_48 | 61 | 0.0060246 | 0.0015099 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5197-3_0_7_load_49 | 62 | 0.004466 | 0.0011193 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5197-3_0_7_load_51 | 63 | 0.0042806 | 0.0010728 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5197-3_0_7_load_53 | 64 | 0.0051524 | 0.0012913 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5197-3_0_7_load_54 | 65 | 0.0039964 | 0.0010016 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5197-3_0_7_load_55 | 66 | 0.0054373 | 0.0013627 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5197-3_0_7_load_68 | 67 | 0.0042017 | 0.001053 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5197-3_0_7_load_67 | 68 | 0.0058459 | 0.0014651 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5197-3_0_7_load_70 | 69 | 0.0028837 | 0.00072273 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5197-3_0_7_load_57 | 70 | 0.0041636 | 0.0010435 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5197-3_0_7_load_59 | 71 | 0.0049536 | 0.0012415 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5197-3_0_7_load_62 | 72 | 0.00377 | 0.00094485 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5197-3_0_7_load_64 | 73 | 0.01634 | 0.0040951 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5197-3_0_7_load_73 | 74 | 0.0026575 | 0.00066603 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5197-3_0_7_load_74 | 75 | 0.0047973 | 0.0012023 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5197-3_0_7_load_63 | 76 | 0.0046707 | 0.0011706 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5197-3_0_7_load_71 | 77 | 0.0025607 | 0.00064177 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5197-3_0_7_load_79 | 79 | 0.004373 | 0.001096 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5197-3_0_7_load_75 | 80 | 0.0066254 | 0.0016605 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5197-3_0_7_load_82 | 81 | 0.0026965 | 0.00067581 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5197-3_0_7_load_83 | 82 | 0.0034984 | 0.00087678 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5197-3_0_7_load_76 | 83 | 0.0034991 | 0.00087696 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5197-3_0_7_load_78 | 84 | 0.00382 | 0.00095737 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5197-3_0_7_load_80 | 85 | 0.006466 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5197-3_0_7_load_81 | 86 | 0.0033667 | 0.00084378 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5197-3_0_7_load_92 | 87 | 0.0059171 | 0.001483 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5197-3_0_7_load_91 | 88 | 0.0033254 | 0.00083343 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5197-3_0_7_load_84 | 89 | 0.0028701 | 0.00071931 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5197-3_0_7_load_85 | 90 | 0.0033021 | 0.00082759 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5197-3_0_7_load_86 | 91 | 0.0075953 | 0.0019036 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5197-3_0_7_load_90 | 92 | 0.0046264 | 0.0011595 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5197-3_0_7_load_93 | 93 | 0.0074349 | 0.0018634 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5197-3_0_7_load_94 | 94 | 0.0022951 | 0.0005752 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5197-3_0_7_load_95 | 95 | 0.002889 | 0.00072406 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5197-3_0_7_load_96 | 96 | 0.0060603 | 0.0015189 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5197-3_0_7_load_100 | 97 | 0.0050471 | 0.0012649 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5197-3_0_7_load_99 | 98 | 0.0035903 | 0.0008998 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5197-3_0_7_line_0 |  | 0 | 1 | 0.021354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5197-3_0_7_line_1 |  | 0 | 2 | 0.0084264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5197-3_0_7_line_2 |  | 1 | 3 | 0.037458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5197-3_0_7_line_3 |  | 2 | 4 | 0.044003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5197-3_0_7_line_4 |  | 2 | 5 | 0.0086234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5197-3_0_7_line_5 |  | 3 | 6 | 0.0038913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5197-3_0_7_line_6 |  | 4 | 7 | 0.004895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_5197-3_0_7_line_7 |  | 4 | 8 | 0.036038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5197-3_0_7_line_8 |  | 5 | 9 | 0.023024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_5197-3_0_7_line_9 |  | 7 | 10 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5197-3_0_7_line_10 |  | 8 | 11 | 0.0025369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5197-3_0_7_line_11 |  | 9 | 13 | 0.017478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5197-3_0_7_line_12 |  | 9 | 14 | 0.020733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5197-3_0_7_line_13 |  | 10 | 15 | 0.030809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5197-3_0_7_line_14 |  | 11 | 12 | 0.029028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5197-3_0_7_line_15 |  | 12 | 76 | 0.0032999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5197-3_0_7_line_16 |  | 13 | 16 | 0.030532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5197-3_0_7_line_17 |  | 15 | 74 | 0.015893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5197-3_0_7_line_18 |  | 15 | 47 | 0.029971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5197-3_0_7_line_19 |  | 16 | 85 | 0.031086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5197-3_0_7_line_20 |  | 17 | 18 | 0.03252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5197-3_0_7_line_21 |  | 17 | 19 | 0.051168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5197-3_0_7_line_22 |  | 18 | 20 | 0.012686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5197-3_0_7_line_23 |  | 19 | 21 | 0.0084312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5197-3_0_7_line_24 |  | 20 | 22 | 0.015896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5197-3_0_7_line_25 |  | 21 | 23 | 0.03078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5197-3_0_7_line_26 |  | 22 | 24 | 0.010657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5197-3_0_7_line_27 |  | 23 | 25 | 0.036271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5197-3_0_7_line_28 |  | 24 | 26 | 0.026806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5197-3_0_7_line_29 |  | 25 | 27 | 0.0066901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5197-3_0_7_line_30 |  | 26 | 30 | 0.041861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5197-3_0_7_line_31 |  | 26 | 31 | 0.0059341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5197-3_0_7_line_32 |  | 26 | 29 | 0.05549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5197-3_0_7_line_33 |  | 27 | 52 | 0.040981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5197-3_0_7_line_34 |  | 28 | 29 | 0.01907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5197-3_0_7_line_35 |  | 30 | 32 | 0.016378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5197-3_0_7_line_36 |  | 31 | 33 | 0.032256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5197-3_0_7_line_37 |  | 32 | 34 | 0.0094582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5197-3_0_7_line_38 |  | 33 | 35 | 0.024336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5197-3_0_7_line_39 |  | 34 | 50 | 0.012964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5197-3_0_7_line_40 |  | 35 | 51 | 0.019124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5197-3_0_7_line_41 |  | 36 | 37 | 0.019633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5197-3_0_7_line_42 |  | 37 | 38 | 0.043371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5197-3_0_7_line_43 |  | 38 | 39 | 1.2531e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5197-3_0_7_line_44 |  | 39 | 56 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5197-3_0_7_line_45 |  | 40 | 41 | 0.01123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5197-3_0_7_line_46 |  | 40 | 42 | 0.028498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5197-3_0_7_line_47 |  | 41 | 43 | 0.032061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5197-3_0_7_line_48 |  | 42 | 44 | 0.0015332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5197-3_0_7_line_49 |  | 43 | 45 | 0.019258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5197-3_0_7_line_50 |  | 44 | 46 | 0.013796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5197-3_0_7_line_51 |  | 45 | 47 | 0.015028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5197-3_0_7_line_52 |  | 45 | 48 | 0.015627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5197-3_0_7_line_53 |  | 46 | 49 | 0.0039343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5197-3_0_7_line_54 |  | 48 | 70 | 0.021495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5197-3_0_7_line_55 |  | 49 | 57 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5197-3_0_7_line_56 |  | 50 | 59 | 0.0035739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5197-3_0_7_line_57 |  | 51 | 54 | 0.0017896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5197-3_0_7_line_58 |  | 52 | 53 | 0.0098651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5197-3_0_7_line_59 |  | 53 | 98 | 0.050076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5197-3_0_7_line_60 |  | 54 | 55 | 0.021683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5197-3_0_7_line_61 |  | 55 | 58 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5197-3_0_7_line_62 |  | 56 | 57 | 0.0033913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5197-3_0_7_line_63 |  | 58 | 64 | 0.028478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5197-3_0_7_line_64 |  | 58 | 61 | 0.010574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5197-3_0_7_line_65 |  | 59 | 60 | 0.049039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5197-3_0_7_line_66 |  | 61 | 62 | 0.019468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5197-3_0_7_line_67 |  | 62 | 63 | 0.023814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5197-3_0_7_line_68 |  | 63 | 65 | 0.024871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5197-3_0_7_line_69 |  | 64 | 66 | 0.0066253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5197-3_0_7_line_70 |  | 65 | 67 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5197-3_0_7_line_71 |  | 66 | 68 | 0.028291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5197-3_0_7_line_72 |  | 67 | 69 | 0.0057751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5197-3_0_7_line_73 |  | 69 | 77 | 0.00048908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5197-3_0_7_line_74 |  | 70 | 71 | 0.0036311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5197-3_0_7_line_75 |  | 71 | 72 | 0.025467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5197-3_0_7_line_76 |  | 72 | 73 | 0.013672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5197-3_0_7_line_77 |  | 74 | 75 | 0.0031656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5197-3_0_7_line_78 |  | 75 | 81 | 0.012048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5197-3_0_7_line_79 |  | 77 | 78 | 0.010548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5197-3_0_7_line_80 |  | 78 | 79 | 0.0060423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5197-3_0_7_line_81 |  | 78 | 80 | 0.040289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_5197-3_0_7_line_82 |  | 79 | 86 | 0.0078403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5197-3_0_7_line_83 |  | 80 | 83 | 0.018558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_5197-3_0_7_line_84 |  | 81 | 82 | 0.0090213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5197-3_0_7_line_85 |  | 82 | 89 | 0.0024402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5197-3_0_7_line_86 |  | 83 | 84 | 0.020288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5197-3_0_7_line_87 |  | 84 | 85 | 0.026359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_5197-3_0_7_line_88 |  | 86 | 87 | 0.031898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5197-3_0_7_line_89 |  | 87 | 88 | 0.056101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5197-3_0_7_line_90 |  | 88 | 92 | 0.030845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5197-3_0_7_line_91 |  | 89 | 90 | 0.0013554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5197-3_0_7_line_92 |  | 90 | 91 | 0.033353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5197-3_0_7_line_93 |  | 93 | 94 | 0.025648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5197-3_0_7_line_94 |  | 94 | 95 | 0.020824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5197-3_0_7_line_95 |  | 95 | 96 | 0.0054788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5197-3_0_7_line_96 |  | 96 | 97 | 0.01647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5197-3_0_7_line_97 |  | 97 | 98 | 0.017999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5197-3_0_7_trafo_50 | 0.63 MVA 20/0.4 kV | 99 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2719996.4714 | 1087200.4153 | 2720001.9107 | 1087218.3691 | 2720002.1501 | 1087220.9525
1 | 2719994.0281 | 1087192.3509 | 2719996.4714 | 1087200.4153
2 | 2719997.7041 | 1087257.3693 | 2720002.4189 | 1087246.499 | 2720003.1326 | 1087231.5581 | 2720002.1501 | 1087220.9525
3 | 2719994.0281 | 1087192.3509 | 2719991.133 | 1087180.1964 | 2719987.739 | 1087161.0715 | 2719985.3577 | 1087149.2273
4 | 2719994.0281 | 1087192.3509 | 2720002.2277 | 1087195.0213
5 | 2719997.7041 | 1087257.3693 | 2719996.156 | 1087260.9394
6 | 2719985.3577 | 1087149.2273 | 2719984.2596 | 1087144.4571
7 | 2719985.3577 | 1087149.2273 | 2720020.8483 | 1087142.969
8 | 2720024.12 | 1087202.151 | 2720002.2277 | 1087195.0213
9 | 2719981.9198 | 1087134.293 | 2719984.2596 | 1087144.4571
10 | 2720020.8483 | 1087142.969 | 2720020.7152 | 1087140.4355
11 | 2720024.12 | 1087202.151 | 2720028.2184 | 1087201.2978 | 2720031.3499 | 1087199.8919 | 2720038.4376 | 1087193.0379 | 2720038.4376 | 1087193.0379
12 | 2720024.12 | 1087202.151 | 2720042.8844 | 1087210.9683
13 | 2719975.0084 | 1087104.2694 | 2719981.9198 | 1087134.293
14 | 2720019.1011 | 1087111.4526 | 2720020.3411 | 1087133.3167 | 2720020.7152 | 1087140.4355
15 | 2720018.9142 | 1087108.1579 | 2720019.1011 | 1087111.4526
16 | 2720038.4376 | 1087193.0379 | 2720047.2159 | 1087179.1567 | 2720049.3546 | 1087176.9418 | 2720053.1052 | 1087175.6259 | 2720055.9716 | 1087177.039 | 2720058.0097 | 1087180.3148 | 2720058.0097 | 1087180.3148
17 | 2719975.0084 | 1087104.2694 | 2719959.4465 | 1087107.4949
18 | 2719975.0084 | 1087104.2694 | 2719968.2868 | 1087075.0623
19 | 2720066.4072 | 1087206.5767 | 2720066.4072 | 1087206.5767 | 2720064.8895 | 1087207.2028 | 2720063.0476 | 1087206.9552 | 2720061.6718 | 1087205.894 | 2720061.3029 | 1087204.141 | 2720061.0708 | 1087201.3567 | 2720058.0097 | 1087180.3148
20 | 2720130.3344 | 1086837.1229 | 2720125.8452 | 1086852.821 | 2720120.8149 | 1086868.212
21 | 2720130.3344 | 1086837.1229 | 2720130.7714 | 1086835.5948 | 2720134.2841 | 1086823.1442 | 2720138.0803 | 1086818.3491 | 2720142.5269 | 1086818.7371 | 2720145.3503 | 1086823.1181 | 2720146.5093 | 1086843.9366
22 | 2720116.51 | 1086880.1432 | 2720119.808 | 1086871.2927 | 2720120.8149 | 1086868.212
23 | 2720147.0466 | 1086852.3465 | 2720146.9485 | 1086851.8255 | 2720146.5093 | 1086843.9366
24 | 2720116.51 | 1086880.1432 | 2720110.9596 | 1086895.0383
25 | 2720147.0466 | 1086852.3465 | 2720152.7405 | 1086882.5948
26 | 2720107.2385 | 1086905.0242 | 2720107.2385 | 1086905.0242 | 2720110.9596 | 1086895.0383
27 | 2720152.7405 | 1086882.5948 | 2720155.3833 | 1086896.6348 | 2720157.5041 | 1086912.2321 | 2720160.0297 | 1086917.9416
28 | 2720083.4249 | 1086916.7517 | 2720096.8613 | 1086912.2135 | 2720107.2385 | 1086905.0242
29 | 2720166.5225 | 1086917.6584 | 2720163.0585 | 1086918.6018 | 2720160.0297 | 1086917.9416 | 2720160.0297 | 1086917.9416
30 | 2720083.4249 | 1086916.7517 | 2720095.7935 | 1086919.5309 | 2720120.8615 | 1086934.6695
31 | 2720083.4249 | 1086916.7517 | 2720085.5259 | 1086922.3013
32 | 2720083.4249 | 1086916.7517 | 2720077.8114 | 1086907.0786 | 2720072.7579 | 1086892.6243 | 2720071.8545 | 1086873.126 | 2720074.4465 | 1086864.0129
33 | 2720166.5225 | 1086917.6584 | 2720166.5225 | 1086917.6584 | 2720167.6105 | 1086914.044 | 2720168.5486 | 1086897.5842 | 2720171.0923 | 1086877.0212
34 | 2720079.6634 | 1086845.6705 | 2720074.4465 | 1086864.0129
35 | 2720120.8615 | 1086934.6695 | 2720115.8394 | 1086950.259
36 | 2720086.9894 | 1086953.9441 | 2720088.8073 | 1086940.4858 | 2720088.0861 | 1086929.0635 | 2720085.5259 | 1086922.3013
37 | 2720115.8394 | 1086950.259 | 2720112.9393 | 1086959.2615
38 | 2720086.9894 | 1086953.9441 | 2720083.7318 | 1086978.0606
39 | 2720112.9393 | 1086959.2615 | 2720108.9643 | 1086971.6006
40 | 2720081.1907 | 1086997.0124 | 2720081.1829 | 1086996.9309 | 2720083.7318 | 1086978.0606
41 | 2720008.0029 | 1086888.9666 | 2720001.9662 | 1086907.6486
42 | 2720027.6416 | 1086942.6034 | 2720001.9662 | 1086907.6486
43 | 2720027.6341 | 1086942.6135 | 2720027.6416 | 1086942.6034
44 | 2720027.6341 | 1086942.6135 | 2720012.6816 | 1086962.6603
45 | 2719960.7033 | 1087004.1167 | 2719958.3703 | 1087007.9178 | 2719952.2073 | 1087010.7651
46 | 2719960.7033 | 1087004.1167 | 2719970.0337 | 1087007.8921 | 2719975.5041 | 1087006.7212 | 2719986.7652 | 1087000.5566
47 | 2719952.2073 | 1087010.7651 | 2719955.517 | 1087019.6143 | 2719960.5933 | 1087041.6506
48 | 2719988.11 | 1086999.8203 | 2719988.11 | 1086999.8203 | 2719986.7652 | 1087000.5566
49 | 2719964.9164 | 1087060.4173 | 2719960.5933 | 1087041.6506
50 | 2719995.5316 | 1086988.1906 | 2719988.11 | 1086999.8203
51 | 2719964.9164 | 1087060.4173 | 2719968.2868 | 1087075.0623
52 | 2719964.9164 | 1087060.4173 | 2719980.2258 | 1087057.2844
53 | 2719995.5316 | 1086988.1906 | 2719997.648 | 1086984.8741
54 | 2719980.2258 | 1087057.2844 | 2719984.5422 | 1087056.4012 | 2719986.4173 | 1087056.5382 | 2719988.1755 | 1087057.0955 | 2720000.6247 | 1087061.9569
55 | 2720010.654 | 1086965.3787 | 2720006.7428 | 1086970.6224 | 2719997.648 | 1086984.8741
56 | 2720107.8685 | 1086975.0023 | 2720108.9643 | 1086971.6006
57 | 2720081.3606 | 1086998.7939 | 2720081.1907 | 1086997.0124
58 | 2720171.0923 | 1086877.0212 | 2720172.3034 | 1086867.2307
59 | 2720187.9116 | 1086867.1383 | 2720184.5098 | 1086848.9092 | 2720181.8807 | 1086845.6883 | 2720179.0797 | 1086844.888 | 2720176.2421 | 1086846.7222 | 2720174.3938 | 1086850.3327 | 2720172.3034 | 1086867.2307
60 | 2720081.3606 | 1086998.7939 | 2720082.8353 | 1087014.2535 | 2720083.6538 | 1087020.3518
61 | 2720089.8953 | 1087033.5842 | 2720086.2395 | 1087027.341 | 2720083.6538 | 1087020.3518
62 | 2720010.654 | 1086965.3787 | 2720012.6816 | 1086962.6603
63 | 2720089.8953 | 1087033.5842 | 2720089.4633 | 1087049.9651 | 2720089.0031 | 1087052.4466 | 2720086.3039 | 1087061.626
64 | 2720089.8953 | 1087033.5842 | 2720096.7327 | 1087041.6508
65 | 2720107.8685 | 1086975.0023 | 2720153.9344 | 1086991.8181
66 | 2720096.7327 | 1087041.6508 | 2720108.1933 | 1087055.1715 | 2720109.0787 | 1087056.6741
67 | 2720109.0787 | 1087056.6741 | 2720111.5344 | 1087060.8415 | 2720114.1382 | 1087066.9082 | 2720116.7023 | 1087079.0148
68 | 2720116.7023 | 1087079.0148 | 2720121.8554 | 1087103.3458
69 | 2720086.3039 | 1087061.626 | 2720084.4349 | 1087067.9822
70 | 2720121.8554 | 1087103.3458 | 2720123.4295 | 1087110.7781 | 2720126.8785 | 1087121.788
71 | 2720075.1562 | 1087094.7035 | 2720083.4217 | 1087071.4278 | 2720084.4349 | 1087067.9822
72 | 2720126.8785 | 1087121.788 | 2720128.6049 | 1087127.299
73 | 2720128.7511 | 1087127.7658 | 2720128.6049 | 1087127.299
74 | 2720000.6247 | 1087061.9569 | 2720004.0071 | 1087063.2777
75 | 2720004.0071 | 1087063.2777 | 2720029.3931 | 1087065.3095
76 | 2720043.0138 | 1087066.4941 | 2720029.3931 | 1087065.3095
77 | 2719959.4465 | 1087107.4949 | 2719956.3468 | 1087108.1374
78 | 2719944.5499 | 1087110.5826 | 2719956.3468 | 1087108.1374
79 | 2720131.9042 | 1087137.8312 | 2720128.7511 | 1087127.7658
80 | 2720131.9042 | 1087137.8312 | 2720132.5712 | 1087140.991 | 2720132.4769 | 1087143.8022
81 | 2720131.9042 | 1087137.8312 | 2720123.8255 | 1087146.9226 | 2720120.8702 | 1087148.8324 | 2720117.9771 | 1087149.9538 | 2720114.756 | 1087150.3906 | 2720111.824 | 1087150.3327 | 2720099.6884 | 1087148.7478 | 2720096.6586 | 1087149.3218
82 | 2720132.4769 | 1087143.8022 | 2720132.4769 | 1087143.8022 | 2720131.552 | 1087147.4199 | 2720129.2348 | 1087150.8099 | 2720129.2348 | 1087150.8099
83 | 2720096.6586 | 1087149.3218 | 2720094.7437 | 1087150.8073 | 2720087.618 | 1087165.2828
84 | 2719944.5499 | 1087110.5826 | 2719935.7163 | 1087112.4136
85 | 2719933.3269 | 1087112.9088 | 2719935.7163 | 1087112.4136
86 | 2720077.5696 | 1087182.9013 | 2720086.4337 | 1087167.6886 | 2720087.618 | 1087165.2828
87 | 2720077.5696 | 1087182.9013 | 2720070.5553 | 1087194.9392 | 2720069.3642 | 1087198.2847 | 2720068.338 | 1087201.9226 | 2720067.6495 | 1087204.5665 | 2720066.4072 | 1087206.5767
88 | 2720129.2348 | 1087150.8099 | 2720123.0855 | 1087159.2501 | 2720122.4346 | 1087161.172 | 2720122.593 | 1087163.3655 | 2720123.8674 | 1087165.2364 | 2720125.8174 | 1087166.2979 | 2720137.5549 | 1087171.2594
89 | 2720182.5815 | 1087170.2766 | 2720180.1531 | 1087178.69 | 2720179.0931 | 1087180.8929 | 2720178.0236 | 1087182.3951 | 2720176.8404 | 1087183.3724 | 2720175.3889 | 1087183.7885 | 2720173.5639 | 1087183.8636 | 2720167.8057 | 1087182.3267 | 2720144.8017 | 1087174.3226 | 2720137.5549 | 1087171.2594
90 | 2720191.7475 | 1087140.8921 | 2720190.2818 | 1087143.5984 | 2720182.5815 | 1087170.2766
91 | 2719931.9997 | 1087113.1839 | 2719933.3269 | 1087112.9088
92 | 2719931.9997 | 1087113.1839 | 2719898.8655 | 1087109.3692
93 | 2720208.3573 | 1086946.927 | 2720206.9877 | 1086921.3153 | 2720206.9877 | 1086921.3153
94 | 2720195.2398 | 1086906.4078 | 2720196.0039 | 1086910.5019 | 2720197.0746 | 1086915.6156 | 2720206.9877 | 1086921.3153
95 | 2720194.2348 | 1086901.022 | 2720195.2398 | 1086906.4078
96 | 2720194.2348 | 1086901.022 | 2720191.2134 | 1086884.8315
97 | 2720187.9116 | 1086867.1383 | 2720191.2134 | 1086884.8315

## bus_geodata
| x | y | coords
0 | 2719996.4714 | 1087200.4153
1 | 2720002.1501 | 1087220.9525
2 | 2719994.0281 | 1087192.3509
3 | 2719997.7041 | 1087257.3693
4 | 2719985.3577 | 1087149.2273
5 | 2720002.2277 | 1087195.0213
6 | 2719996.156 | 1087260.9394
7 | 2719984.2596 | 1087144.4571
8 | 2720020.8483 | 1087142.969
9 | 2720024.12 | 1087202.151
10 | 2719981.9198 | 1087134.293
11 | 2720020.7152 | 1087140.4355
12 | 2720019.1011 | 1087111.4526
13 | 2720038.4376 | 1087193.0379
14 | 2720042.8844 | 1087210.9683
15 | 2719975.0084 | 1087104.2694
16 | 2720058.0097 | 1087180.3148
17 | 2720130.3344 | 1086837.1229
18 | 2720120.8149 | 1086868.212
19 | 2720146.5093 | 1086843.9366
20 | 2720116.51 | 1086880.1432
21 | 2720147.0466 | 1086852.3465
22 | 2720110.9596 | 1086895.0383
23 | 2720152.7405 | 1086882.5948
24 | 2720107.2385 | 1086905.0242
25 | 2720160.0297 | 1086917.9416
26 | 2720083.4249 | 1086916.7517
27 | 2720166.5225 | 1086917.6584
28 | 2720079.6634 | 1086845.6705
29 | 2720074.4465 | 1086864.0129
30 | 2720120.8615 | 1086934.6695
31 | 2720085.5259 | 1086922.3013
32 | 2720115.8394 | 1086950.259
33 | 2720086.9894 | 1086953.9441
34 | 2720112.9393 | 1086959.2615
35 | 2720083.7318 | 1086978.0606
36 | 2720008.0029 | 1086888.9666
37 | 2720001.9662 | 1086907.6486
38 | 2720027.6416 | 1086942.6034
39 | 2720027.6341 | 1086942.6135
40 | 2719960.7033 | 1087004.1167
41 | 2719952.2073 | 1087010.7651
42 | 2719986.7652 | 1087000.5566
43 | 2719960.5933 | 1087041.6506
44 | 2719988.11 | 1086999.8203
45 | 2719964.9164 | 1087060.4173
46 | 2719995.5316 | 1086988.1906
47 | 2719968.2868 | 1087075.0623
48 | 2719980.2258 | 1087057.2844
49 | 2719997.648 | 1086984.8741
50 | 2720108.9643 | 1086971.6006
51 | 2720081.1907 | 1086997.0124
52 | 2720171.0923 | 1086877.0212
53 | 2720172.3034 | 1086867.2307
54 | 2720081.3606 | 1086998.7939
55 | 2720083.6538 | 1087020.3518
56 | 2720012.6816 | 1086962.6603
57 | 2720010.654 | 1086965.3787
58 | 2720089.8953 | 1087033.5842
59 | 2720107.8685 | 1086975.0023
60 | 2720153.9344 | 1086991.8181
61 | 2720096.7327 | 1087041.6508
62 | 2720109.0787 | 1087056.6741
63 | 2720116.7023 | 1087079.0148
64 | 2720086.3039 | 1087061.626
65 | 2720121.8554 | 1087103.3458
66 | 2720084.4349 | 1087067.9822
67 | 2720126.8785 | 1087121.788
68 | 2720075.1562 | 1087094.7035
69 | 2720128.6049 | 1087127.299
70 | 2720000.6247 | 1087061.9569
71 | 2720004.0071 | 1087063.2777
72 | 2720029.3931 | 1087065.3095
73 | 2720043.0138 | 1087066.4941
74 | 2719959.4465 | 1087107.4949
75 | 2719956.3468 | 1087108.1374
76 | 2720018.9142 | 1087108.1579
77 | 2720128.7511 | 1087127.7658
78 | 2720131.9042 | 1087137.8312
79 | 2720132.4769 | 1087143.8022
80 | 2720096.6586 | 1087149.3218
81 | 2719944.5499 | 1087110.5826
82 | 2719935.7163 | 1087112.4136
83 | 2720087.618 | 1087165.2828
84 | 2720077.5696 | 1087182.9013
85 | 2720066.4072 | 1087206.5767
86 | 2720129.2348 | 1087150.8099
87 | 2720137.5549 | 1087171.2594
88 | 2720182.5815 | 1087170.2766
89 | 2719933.3269 | 1087112.9088
90 | 2719931.9997 | 1087113.1839
91 | 2719898.8655 | 1087109.3692
92 | 2720191.7475 | 1087140.8921
93 | 2720208.3573 | 1086946.927
94 | 2720206.9877 | 1086921.3153
95 | 2720195.2398 | 1086906.4078
96 | 2720194.2348 | 1086901.022
97 | 2720191.2134 | 1086884.8315
98 | 2720187.9116 | 1086867.1383
99 | 2720075.1562 | 1087094.7035

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1