## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5199-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5199-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5199-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5199-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5199-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5199-3_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5199-3_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5199-3_0_4_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5199-3_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_5199-3_0_4_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_5199-3_0_4_node_84 | 0.4 | n |  | TRUE
11 | bus_LV_5199-3_0_4_node_108 | 0.4 | n |  | TRUE
12 | bus_LV_5199-3_0_4_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_5199-3_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5199-3_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5199-3_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5199-3_0_4_node_100 | 0.4 | n |  | TRUE
17 | bus_LV_5199-3_0_4_node_101 | 0.4 | n |  | TRUE
18 | bus_LV_5199-3_0_4_node_97 | 0.4 | n |  | TRUE
19 | bus_LV_5199-3_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5199-3_0_4_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_5199-3_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_5199-3_0_4_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_5199-3_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5199-3_0_4_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5199-3_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_5199-3_0_4_node_74 | 0.4 | n |  | TRUE
27 | bus_LV_5199-3_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_5199-3_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_5199-3_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_5199-3_0_4_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_5199-3_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5199-3_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5199-3_0_4_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5199-3_0_4_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_5199-3_0_4_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_5199-3_0_4_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5199-3_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_5199-3_0_4_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_5199-3_0_4_node_54 | 0.4 | n |  | TRUE
40 | bus_LV_5199-3_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_5199-3_0_4_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_5199-3_0_4_node_45 | 0.4 | n |  | TRUE
43 | bus_LV_5199-3_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5199-3_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_5199-3_0_4_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_5199-3_0_4_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_5199-3_0_4_node_48 | 0.4 | n |  | TRUE
48 | bus_LV_5199-3_0_4_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_5199-3_0_4_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_5199-3_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_5199-3_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5199-3_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5199-3_0_4_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5199-3_0_4_node_70 | 0.4 | n |  | TRUE
55 | bus_LV_5199-3_0_4_node_71 | 0.4 | n |  | TRUE
56 | bus_LV_5199-3_0_4_node_66 | 0.4 | n |  | TRUE
57 | bus_LV_5199-3_0_4_node_72 | 0.4 | n |  | TRUE
58 | bus_LV_5199-3_0_4_node_52 | 0.4 | n |  | TRUE
59 | bus_LV_5199-3_0_4_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_5199-3_0_4_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_5199-3_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_5199-3_0_4_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_5199-3_0_4_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_5199-3_0_4_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_5199-3_0_4_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_5199-3_0_4_node_65 | 0.4 | n |  | TRUE
67 | bus_LV_5199-3_0_4_node_62 | 0.4 | n |  | TRUE
68 | bus_LV_5199-3_0_4_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_5199-3_0_4_node_115 | 0.4 | n |  | TRUE
70 | bus_LV_5199-3_0_4_node_63 | 0.4 | n |  | TRUE
71 | bus_LV_5199-3_0_4_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_5199-3_0_4_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_5199-3_0_4_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_5199-3_0_4_node_102 | 0.4 | n |  | TRUE
75 | bus_LV_5199-3_0_4_node_94 | 0.4 | n |  | TRUE
76 | bus_LV_5199-3_0_4_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_5199-3_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5199-3_0_4_node_116 | 0.4 | n |  | TRUE
79 | bus_LV_5199-3_0_4_node_103 | 0.4 | n |  | TRUE
80 | bus_LV_5199-3_0_4_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_5199-3_0_4_node_105 | 0.4 | n |  | TRUE
82 | bus_LV_5199-3_0_4_node_104 | 0.4 | n |  | TRUE
83 | bus_LV_5199-3_0_4_node_109 | 0.4 | n |  | TRUE
84 | bus_LV_5199-3_0_4_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_5199-3_0_4_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_5199-3_0_4_node_90 | 0.4 | n |  | TRUE
87 | bus_LV_5199-3_0_4_node_91 | 0.4 | n |  | TRUE
88 | bus_LV_5199-3_0_4_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_5199-3_0_4_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_5199-3_0_4_node_77 | 0.4 | n |  | TRUE
91 | bus_LV_5199-3_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5199-3_0_4_node_80 | 0.4 | n |  | TRUE
93 | bus_LV_5199-3_0_4_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_5199-3_0_4_node_87 | 0.4 | n |  | TRUE
95 | bus_LV_5199-3_0_4_node_81 | 0.4 | n |  | TRUE
96 | bus_LV_5199-3_0_4_node_82 | 0.4 | n |  | TRUE
97 | bus_LV_5199-3_0_4_node_88 | 0.4 | n |  | TRUE
98 | bus_LV_5199-3_0_4_node_98 | 0.4 | n |  | TRUE
99 | bus_LV_5199-3_0_4_node_95 | 0.4 | n |  | TRUE
100 | bus_LV_5199-3_0_4_node_99 | 0.4 | n |  | TRUE
101 | bus_LV_5199-3_0_4_node_96 | 0.4 | n |  | TRUE
102 | bus_LV_5199-3_0_4_node_92 | 0.4 | n |  | TRUE
103 | bus_LV_5199-3_0_4_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_5199-3_0_4_node_106 | 0.4 | n |  | TRUE
105 | bus_LV_5199-3_0_4_node_107 | 0.4 | n |  | TRUE
106 | bus_LV_5199-3_0_4_node_110 | 0.4 | n |  | TRUE
107 | bus_LV_5199-3_0_4_node_111 | 0.4 | n |  | TRUE
108 | bus_LV_5199-3_0_4_node_112 | 0.4 | n |  | TRUE
109 | bus_LV_5199-3_0_4_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_5199-3_0_4_node_117 | 0.4 | n |  | TRUE
111 | bus_LV_5199-3_0_4_node_118 | 0.4 | n |  | TRUE
112 | bus_LV_5199-3_0_4_node_119 | 0.4 | n |  | TRUE
113 | bus_MV_72_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5199-3_0_4_load_0 | 0 | 0.0022255 | 0.00055777 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5199-3_0_4_load_3 | 3 | 0.0031297 | 0.00078437 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5199-3_0_4_load_4 | 4 | 0.0028588 | 0.00071649 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5199-3_0_4_load_6 | 6 | 0.003201 | 0.00080225 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5199-3_0_4_load_7 | 7 | 0.00531 | 0.0013308 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5199-3_0_4_load_85 | 9 | 0.0045557 | 0.0011418 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5199-3_0_4_load_84 | 10 | 0.002225 | 0.00055763 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5199-3_0_4_load_108 | 11 | 0.0025742 | 0.00064515 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5199-3_0_4_load_83 | 12 | 0.0011125 | 0.00027881 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5199-3_0_4_load_9 | 13 | 0.0018982 | 0.00047573 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5199-3_0_4_load_101 | 17 | 0.0055711 | 0.0013963 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5199-3_0_4_load_97 | 18 | 0.0030167 | 0.00075604 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5199-3_0_4_load_12 | 19 | 0.0042553 | 0.0010665 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5199-3_0_4_load_13 | 20 | 0.0028446 | 0.00071293 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5199-3_0_4_load_16 | 22 | 0.0042344 | 0.0010612 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5199-3_0_4_load_17 | 23 | 0.0042226 | 0.0010583 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5199-3_0_4_load_18 | 24 | 0.0017876 | 0.00044803 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5199-3_0_4_load_22 | 25 | 0.0046182 | 0.0011574 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5199-3_0_4_load_74 | 26 | 0.0026226 | 0.00065729 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5199-3_0_4_load_23 | 27 | 0.0024981 | 0.00062608 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5199-3_0_4_load_42 | 28 | 0.0070023 | 0.0017549 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5199-3_0_4_load_28 | 29 | 0.0041237 | 0.0010335 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5199-3_0_4_load_29 | 30 | 0.001741 | 0.00043634 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5199-3_0_4_load_24 | 31 | 0.0037214 | 0.00093267 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5199-3_0_4_load_25 | 32 | 0.0038265 | 0.00095902 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5199-3_0_4_load_26 | 33 | 0.0042391 | 0.0010624 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5199-3_0_4_load_33 | 36 | 0.0015223 | 0.00038152 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5199-3_0_4_load_37 | 37 | 0.0089997 | 0.0022555 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5199-3_0_4_load_34 | 38 | 0.009896 | 0.0024802 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5199-3_0_4_load_54 | 39 | 0.0055763 | 0.0013976 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5199-3_0_4_load_30 | 40 | 0.0021627 | 0.00054204 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5199-3_0_4_load_31 | 41 | 0.001943 | 0.00048697 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5199-3_0_4_load_45 | 42 | 0.0044681 | 0.0011198 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5199-3_0_4_load_35 | 43 | 0.0050363 | 0.0012622 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5199-3_0_4_load_38 | 44 | 0.0023273 | 0.00058329 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5199-3_0_4_load_46 | 46 | 0.004971 | 0.0012459 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5199-3_0_4_load_49 | 48 | 0.0012542 | 0.00031434 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5199-3_0_4_load_39 | 49 | 0.011349 | 0.0028442 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5199-3_0_4_load_40 | 50 | 0.0077423 | 0.0019404 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5199-3_0_4_load_43 | 52 | 0.0040792 | 0.0010224 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5199-3_0_4_load_44 | 53 | 0.0032563 | 0.0008161 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5199-3_0_4_load_70 | 54 | 0.0050803 | 0.0012733 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5199-3_0_4_load_71 | 55 | 0.0023394 | 0.00058631 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5199-3_0_4_load_66 | 56 | 0.0029203 | 0.0007319 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5199-3_0_4_load_72 | 57 | 0.0037142 | 0.00093086 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5199-3_0_4_load_52 | 58 | 0.0036069 | 0.00090398 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5199-3_0_4_load_53 | 59 | 0.0033322 | 0.00083514 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5199-3_0_4_load_50 | 60 | 0.0042961 | 0.0010767 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5199-3_0_4_load_61 | 61 | 0.0030281 | 0.00075892 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5199-3_0_4_load_55 | 63 | 0.0016149 | 0.00040473 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5199-3_0_4_load_57 | 65 | 0.0052568 | 0.0013175 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5199-3_0_4_load_62 | 67 | 0.003884 | 0.00097342 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5199-3_0_4_load_58 | 68 | 0.0051075 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5199-3_0_4_load_115 | 69 | 0.0041168 | 0.0010318 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5199-3_0_4_load_63 | 70 | 0.0035079 | 0.00087915 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5199-3_0_4_load_59 | 71 | 0.0035696 | 0.00089463 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5199-3_0_4_load_102 | 74 | 0.0038595 | 0.00096728 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5199-3_0_4_load_94 | 75 | 0.0017413 | 0.0004364 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5199-3_0_4_load_64 | 76 | 0.0036482 | 0.00091434 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5199-3_0_4_load_68 | 77 | 0.0038602 | 0.00096746 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5199-3_0_4_load_103 | 79 | 0.010081 | 0.0025264 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5199-3_0_4_load_105 | 81 | 0.0046764 | 0.001172 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5199-3_0_4_load_104 | 82 | 0.0051777 | 0.0012977 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5199-3_0_4_load_109 | 83 | 0.0023654 | 0.00059282 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5199-3_0_4_load_89 | 85 | 0.0079857 | 0.0020014 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5199-3_0_4_load_90 | 86 | 0.0057124 | 0.0014317 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5199-3_0_4_load_91 | 87 | 0.0040213 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5199-3_0_4_load_75 | 88 | 0.010963 | 0.0027476 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5199-3_0_4_load_76 | 89 | 0.0044526 | 0.0011159 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5199-3_0_4_load_77 | 90 | 0.002942 | 0.00073734 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5199-3_0_4_load_79 | 91 | 0.0019815 | 0.00049661 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5199-3_0_4_load_86 | 93 | 0.0051554 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5199-3_0_4_load_87 | 94 | 0.0047069 | 0.0011796 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5199-3_0_4_load_81 | 95 | 0.0053728 | 0.0013465 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5199-3_0_4_load_82 | 96 | 0.0097864 | 0.0024527 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5199-3_0_4_load_98 | 98 | 0.0035623 | 0.0008928 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5199-3_0_4_load_95 | 99 | 0.0061855 | 0.0015502 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5199-3_0_4_load_99 | 100 | 0.0049807 | 0.0012483 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5199-3_0_4_load_93 | 103 | 0.0062075 | 0.0015557 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5199-3_0_4_load_106 | 104 | 0.060408 | 0.01514 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5199-3_0_4_load_107 | 105 | 0.057506 | 0.014412 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5199-3_0_4_load_110 | 106 | 0.001104 | 0.00027668 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5199-3_0_4_load_111 | 107 | 0.001557 | 0.00039021 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5199-3_0_4_load_114 | 109 | 0.058574 | 0.01468 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5199-3_0_4_load_117 | 110 | 0.0022489 | 0.00056362 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5199-3_0_4_load_118 | 111 | 0.0039558 | 0.00099141 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5199-3_0_4_load_119 | 112 | 0.0041772 | 0.0010469 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 75 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5199-3_0_4_line_0 |  | 0 | 1 | 0.03914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5199-3_0_4_line_1 |  | 1 | 2 | 0.028755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5199-3_0_4_line_2 |  | 2 | 3 | 0.039179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5199-3_0_4_line_3 |  | 3 | 4 | 0.021693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5199-3_0_4_line_4 |  | 4 | 5 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5199-3_0_4_line_5 |  | 5 | 6 | 0.029954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5199-3_0_4_line_6 |  | 6 | 7 | 0.018497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5199-3_0_4_line_7 |  | 7 | 8 | 0.062326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5199-3_0_4_line_8 |  | 8 | 9 | 0.023406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5199-3_0_4_line_9 |  | 8 | 10 | 0.022497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5199-3_0_4_line_10 |  | 9 | 11 | 0.027844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5199-3_0_4_line_11 |  | 10 | 12 | 0.014792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5199-3_0_4_line_12 |  | 11 | 15 | 0.067023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5199-3_0_4_line_13 |  | 12 | 95 | 0.024947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5199-3_0_4_line_14 |  | 13 | 14 | 0.075534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5199-3_0_4_line_15 |  | 14 | 15 | 0.084841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5199-3_0_4_line_16 |  | 15 | 16 | 0.062765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5199-3_0_4_line_17 |  | 16 | 17 | 0.032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5199-3_0_4_line_18 |  | 16 | 18 | 0.014461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5199-3_0_4_line_19 |  | 17 | 104 | 0.054261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5199-3_0_4_line_20 |  | 18 | 101 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5199-3_0_4_line_21 |  | 19 | 20 | 0.0077194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5199-3_0_4_line_22 |  | 19 | 21 | 0.042427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5199-3_0_4_line_23 |  | 21 | 22 | 0.028966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5199-3_0_4_line_24 |  | 21 | 23 | 0.0084029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5199-3_0_4_line_25 |  | 21 | 24 | 0.026147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5199-3_0_4_line_26 |  | 23 | 25 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5199-3_0_4_line_27 |  | 24 | 26 | 0.0097971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5199-3_0_4_line_28 |  | 25 | 27 | 0.0012196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5199-3_0_4_line_29 |  | 26 | 28 | 0.0083404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5199-3_0_4_line_30 |  | 27 | 29 | 0.015054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5199-3_0_4_line_31 |  | 28 | 50 | 0.0075042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5199-3_0_4_line_32 |  | 29 | 30 | 0.015991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5199-3_0_4_line_33 |  | 30 | 40 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5199-3_0_4_line_34 |  | 31 | 32 | 0.031529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5199-3_0_4_line_35 |  | 32 | 33 | 0.033152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5199-3_0_4_line_36 |  | 33 | 34 | 0.0082945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5199-3_0_4_line_37 |  | 34 | 35 | 0.020783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5199-3_0_4_line_38 |  | 34 | 36 | 0.031561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5199-3_0_4_line_39 |  | 35 | 37 | 0.017922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5199-3_0_4_line_40 |  | 35 | 38 | 0.0055567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5199-3_0_4_line_41 |  | 36 | 39 | 0.019428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5199-3_0_4_line_42 |  | 37 | 42 | 0.0084073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5199-3_0_4_line_43 |  | 38 | 43 | 0.01331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5199-3_0_4_line_44 |  | 40 | 41 | 0.012895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5199-3_0_4_line_45 |  | 42 | 46 | 0.014934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5199-3_0_4_line_46 |  | 44 | 45 | 0.0021008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5199-3_0_4_line_47 |  | 45 | 47 | 0.010454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5199-3_0_4_line_48 |  | 45 | 48 | 0.0080194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5199-3_0_4_line_49 |  | 46 | 58 | 0.00014594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5199-3_0_4_line_50 |  | 47 | 59 | 0.029468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5199-3_0_4_line_51 |  | 47 | 58 | 0.012386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5199-3_0_4_line_52 |  | 48 | 60 | 0.0095686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5199-3_0_4_line_53 |  | 49 | 50 | 0.016217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5199-3_0_4_line_54 |  | 49 | 51 | 0.0058898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5199-3_0_4_line_55 |  | 51 | 52 | 0.020097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5199-3_0_4_line_56 |  | 51 | 53 | 0.0074126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5199-3_0_4_line_57 |  | 52 | 54 | 0.01751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5199-3_0_4_line_58 |  | 53 | 55 | 3.8165e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_5199-3_0_4_line_59 |  | 54 | 56 | 0.0073627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5199-3_0_4_line_60 |  | 55 | 57 | 0.01211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_5199-3_0_4_line_61 |  | 56 | 72 | 0.024536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_5199-3_0_4_line_62 |  | 57 | 84 | 0.018588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5199-3_0_4_line_63 |  | 59 | 61 | 0.042528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5199-3_0_4_line_64 |  | 60 | 62 | 0.014608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5199-3_0_4_line_65 |  | 62 | 63 | 0.011394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5199-3_0_4_line_66 |  | 62 | 64 | 0.029824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5199-3_0_4_line_67 |  | 63 | 65 | 0.014863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5199-3_0_4_line_68 |  | 64 | 66 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5199-3_0_4_line_69 |  | 64 | 67 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5199-3_0_4_line_70 |  | 65 | 68 | 0.024415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5199-3_0_4_line_71 |  | 66 | 69 | 0.054737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5199-3_0_4_line_72 |  | 67 | 70 | 0.015123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5199-3_0_4_line_73 |  | 68 | 71 | 0.014952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5199-3_0_4_line_74 |  | 69 | 78 | 0.0236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5199-3_0_4_line_75 |  | 70 | 76 | 0.014814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5199-3_0_4_line_76 |  | 71 | 72 | 0.014883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5199-3_0_4_line_77 |  | 72 | 73 | 0.020525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5199-3_0_4_line_78 |  | 73 | 74 | 0.022216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5199-3_0_4_line_79 |  | 73 | 75 | 0.0053853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_5199-3_0_4_line_80 |  | 74 | 79 | 0.0077946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5199-3_0_4_line_81 |  | 76 | 77 | 0.019366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5199-3_0_4_line_82 |  | 78 | 110 | 0.02497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5199-3_0_4_line_83 |  | 78 | 111 | 0.029193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5199-3_0_4_line_84 |  | 79 | 82 | 0.010478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5199-3_0_4_line_85 |  | 80 | 81 | 0.012922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5199-3_0_4_line_86 |  | 80 | 82 | 0.022477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5199-3_0_4_line_87 |  | 81 | 83 | 0.022007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5199-3_0_4_line_88 |  | 83 | 106 | 0.015866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5199-3_0_4_line_89 |  | 84 | 85 | 0.021829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5199-3_0_4_line_90 |  | 84 | 86 | 0.0096194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_5199-3_0_4_line_91 |  | 86 | 87 | 0.0017498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_5199-3_0_4_line_92 |  | 87 | 102 | 0.012763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_5199-3_0_4_line_93 |  | 88 | 89 | 0.019424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5199-3_0_4_line_94 |  | 89 | 90 | 0.00066717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5199-3_0_4_line_95 |  | 90 | 91 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5199-3_0_4_line_96 |  | 91 | 92 | 0.0061175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5199-3_0_4_line_97 |  | 92 | 93 | 0.0066127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5199-3_0_4_line_98 |  | 93 | 94 | 0.011501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5199-3_0_4_line_99 |  | 94 | 97 | 0.0020215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5199-3_0_4_line_100 |  | 95 | 96 | 0.0011955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5199-3_0_4_line_101 |  | 97 | 98 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5199-3_0_4_line_102 |  | 97 | 99 | 0.01405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5199-3_0_4_line_103 |  | 98 | 100 | 0.005966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5199-3_0_4_line_104 |  | 99 | 101 | 0.025029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5199-3_0_4_line_105 |  | 101 | 103 | 0.00787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
106 | LV_5199-3_0_4_line_106 |  | 102 | 103 | 0.012843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
107 | LV_5199-3_0_4_line_107 |  | 104 | 105 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5199-3_0_4_line_108 |  | 106 | 107 | 0.047514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5199-3_0_4_line_109 |  | 107 | 108 | 0.07862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5199-3_0_4_line_110 |  | 108 | 109 | 0.058247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5199-3_0_4_line_111 |  | 111 | 112 | 0.048336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5199-3_0_4_trafo_94 | 0.63 MVA 20/0.4 kV | 113 | 75 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2714394.5903 | 1105180.2966 | 2714403.4313 | 1105218.4247
1 | 2714422.4928 | 1105173.0287 | 2714394.5903 | 1105180.2966
2 | 2714422.4928 | 1105173.0287 | 2714431.7352 | 1105211.1021
3 | 2714431.7352 | 1105211.1021 | 2714436.8524 | 1105232.1825
4 | 2714439.556 | 1105243.3198 | 2714436.8524 | 1105232.1825
5 | 2714439.556 | 1105243.3198 | 2714410.3687 | 1105250.0523
6 | 2714410.3687 | 1105250.0523 | 2714400.7449 | 1105252.2721 | 2714392.3934 | 1105254.4098
7 | 2714345.3307 | 1105290.8541 | 2714357.3983 | 1105272.4246 | 2714373.6381 | 1105259.2105 | 2714392.3934 | 1105254.4098
8 | 2714345.3307 | 1105290.8541 | 2714361.0683 | 1105308.1788
9 | 2714345.3307 | 1105290.8541 | 2714330.5083 | 1105273.9308
10 | 2714361.0683 | 1105308.1788 | 2714366.2938 | 1105313.9312 | 2714381.6412 | 1105326.8683
11 | 2714330.5083 | 1105273.9308 | 2714320.7624 | 1105262.8035
12 | 2714431.4329 | 1105371.6976 | 2714423.2777 | 1105363.5717 | 2714394.0735 | 1105337.3481 | 2714381.6412 | 1105326.8683
13 | 2714304.3252 | 1105244.0366 | 2714320.7624 | 1105262.8035
14 | 2714487.2852 | 1105321.7837 | 2714511.9403 | 1105275.0506 | 2714522.5744 | 1105255.0004
15 | 2714431.4329 | 1105371.6976 | 2714438.3264 | 1105378.2208 | 2714470.845 | 1105346.8461 | 2714480.901 | 1105334.5942 | 2714487.2852 | 1105321.7837
16 | 2714376.0317 | 1105383.3725 | 2714386.0017 | 1105388.7973 | 2714394.058 | 1105390.6838 | 2714402.165 | 1105390.2918 | 2714409.8653 | 1105388.0799 | 2714418.5779 | 1105382.6516 | 2714431.4329 | 1105371.6976
17 | 2714376.0317 | 1105383.3725 | 2714390.98 | 1105400.8882 | 2714396.2661 | 1105408.2483
18 | 2714376.0317 | 1105383.3725 | 2714364.7114 | 1105374.3733
19 | 2714396.2661 | 1105408.2483 | 2714408.0688 | 1105424.6818 | 2714431.3867 | 1105449.4644
20 | 2714334.2009 | 1105350.6514 | 2714338.3113 | 1105353.3862 | 2714364.7114 | 1105374.3733
21 | 2714200.9208 | 1105251.2929 | 2714194.5032 | 1105247.003
22 | 2714236.9916 | 1105273.3138 | 2714229.8705 | 1105270.6446 | 2714200.9208 | 1105251.2929
23 | 2714236.9916 | 1105273.3138 | 2714233.5766 | 1105257.0608 | 2714230.5961 | 1105248.9548 | 2714228.293 | 1105246.0314
24 | 2714236.9916 | 1105273.3138 | 2714233.2124 | 1105280.8188
25 | 2714236.9916 | 1105273.3138 | 2714240.1533 | 1105284.9477 | 2714242.7587 | 1105296.1265 | 2714243.51 | 1105298.6284
26 | 2714224.2198 | 1105302.4433 | 2714225.3224 | 1105296.4875 | 2714233.2124 | 1105280.8188
27 | 2714243.51 | 1105298.6284 | 2714246.3278 | 1105308.0116
28 | 2714224.2198 | 1105302.4433 | 2714223.9978 | 1105303.6425
29 | 2714248.7266 | 1105315.9995 | 2714246.3278 | 1105308.0116
30 | 2714223.9978 | 1105303.6425 | 2714221.2572 | 1105318.4453
31 | 2714248.7266 | 1105315.9995 | 2714250.8849 | 1105323.1867
32 | 2714221.2572 | 1105318.4453 | 2714219.4577 | 1105328.1652 | 2714216.501 | 1105333.5077
33 | 2714216.501 | 1105333.5077 | 2714213.7637 | 1105338.4538 | 2714209.6776 | 1105343.8695 | 2714209.6776 | 1105343.8695
34 | 2714135.0856 | 1105318.9861 | 2714131.5305 | 1105306.7304 | 2714129.7423 | 1105288.0478
35 | 2714135.0856 | 1105318.9861 | 2714136.1873 | 1105322.7843 | 2714143.5426 | 1105339.3226 | 2714149.2381 | 1105348.8467
36 | 2714153.4952 | 1105355.9654 | 2714149.2381 | 1105348.8467
37 | 2714153.4952 | 1105355.9654 | 2714164.8455 | 1105357.9357 | 2714173.8182 | 1105360.4617
38 | 2714153.4952 | 1105355.9654 | 2714152.1665 | 1105360.3878 | 2714156.4002 | 1105386.9964
39 | 2714173.8182 | 1105360.4617 | 2714173.4162 | 1105364.5569 | 2714179.8842 | 1105376.755
40 | 2714173.8182 | 1105360.4617 | 2714179.3638 | 1105360.1102
41 | 2714152.6195 | 1105403.7366 | 2714149.877 | 1105395.3127 | 2714156.4002 | 1105386.9964
42 | 2714179.8842 | 1105376.755 | 2714181.1934 | 1105379.2241 | 2714184.1413 | 1105384.0001
43 | 2714179.3638 | 1105360.1102 | 2714179.3638 | 1105360.1102 | 2714187.7982 | 1105370.4064
44 | 2714209.6776 | 1105343.8695 | 2714206.2563 | 1105356.3024
45 | 2714184.1413 | 1105384.0001 | 2714186.3733 | 1105387.6161 | 2714191.0669 | 1105391.8406 | 2714192.1307 | 1105392.0385 | 2714194.2095 | 1105394.586
46 | 2714210.1636 | 1105394.0791 | 2714209.0112 | 1105392.3225
47 | 2714210.1636 | 1105394.0791 | 2714203.6275 | 1105402.2505
48 | 2714210.1636 | 1105394.0791 | 2714215.1857 | 1105398.521 | 2714216.154 | 1105399.4103
49 | 2714194.3018 | 1105394.699 | 2714194.2095 | 1105394.586
50 | 2714203.6275 | 1105402.2505 | 2714204.6234 | 1105415.5115 | 2714208.4156 | 1105423.6439 | 2714211.2842 | 1105430.244
51 | 2714203.6275 | 1105402.2505 | 2714198.9588 | 1105400.4059 | 2714194.3018 | 1105394.699
52 | 2714216.154 | 1105399.4103 | 2714223.2016 | 1105405.8825
53 | 2714258.2553 | 1105337.1065 | 2714253.6853 | 1105332.5122 | 2714250.8849 | 1105323.1867
54 | 2714262.4089 | 1105341.2823 | 2714258.2553 | 1105337.1065
55 | 2714262.4089 | 1105341.2823 | 2714272.285 | 1105358.7847
56 | 2714262.4089 | 1105341.2823 | 2714268.6255 | 1105337.245
57 | 2714284.0844 | 1105371.5513 | 2714274.1023 | 1105362.0052 | 2714272.285 | 1105358.7847
58 | 2714268.6575 | 1105337.2242 | 2714268.6255 | 1105337.245
59 | 2714289.4055 | 1105376.64 | 2714284.0844 | 1105371.5513
60 | 2714268.6575 | 1105337.2242 | 2714275.7857 | 1105332.5949 | 2714277.6277 | 1105335.7006
61 | 2714305.2144 | 1105395.3801 | 2714291.4891 | 1105378.6326 | 2714289.4055 | 1105376.64
62 | 2714292.0561 | 1105342.7858 | 2714288.9799 | 1105343.8731 | 2714285.34 | 1105344.0825 | 2714282.3606 | 1105342.492 | 2714279.8271 | 1105339.4089 | 2714277.6277 | 1105335.7006
63 | 2714211.2842 | 1105430.244 | 2714216.5719 | 1105442.4099 | 2714215.8559 | 1105447.1552 | 2714213.3643 | 1105458.2825 | 2714215.017 | 1105471.2379
64 | 2714233.9611 | 1105415.7637 | 2714223.2016 | 1105405.8825
65 | 2714233.9611 | 1105415.7637 | 2714241.2741 | 1105414.4004 | 2714245.205 | 1105414.8356
66 | 2714255.9607 | 1105435.969 | 2714240.2425 | 1105421.5302 | 2714233.9611 | 1105415.7637
67 | 2714245.205 | 1105414.8356 | 2714249.0171 | 1105415.2578 | 2714259.592 | 1105418.3857
68 | 2714255.9607 | 1105435.969 | 2714264.8784 | 1105449.2125
69 | 2714255.9607 | 1105435.969 | 2714270.0974 | 1105443.0138
70 | 2714278.4713 | 1105408.0962 | 2714278.4713 | 1105408.0962 | 2714275.3472 | 1105412.5515 | 2714271.75 | 1105417.0646 | 2714268.6755 | 1105419.2972 | 2714265.1957 | 1105420.0433 | 2714259.592 | 1105418.3857
71 | 2714264.8784 | 1105449.2125 | 2714266.9925 | 1105468.8099 | 2714272.469 | 1105489.3713 | 2714279.1567 | 1105501.3828
72 | 2714270.0974 | 1105443.0138 | 2714283.6325 | 1105449.7588
73 | 2714278.4713 | 1105408.0962 | 2714284.9486 | 1105403.4595 | 2714291.5849 | 1105401.2774
74 | 2714290.6369 | 1105522.0019 | 2714279.1567 | 1105501.3828
75 | 2714283.6325 | 1105449.7588 | 2714296.8914 | 1105456.3661
76 | 2714305.2144 | 1105395.3801 | 2714296.4303 | 1105399.6842 | 2714291.5849 | 1105401.2774
77 | 2714321.5971 | 1105407.808 | 2714305.2144 | 1105395.3801
78 | 2714321.5971 | 1105407.808 | 2714330.7909 | 1105417.0652 | 2714336.5318 | 1105424.2152
79 | 2714321.5971 | 1105407.808 | 2714323.5406 | 1105402.7857
80 | 2714336.5318 | 1105424.2152 | 2714337.9337 | 1105425.9613 | 2714340.2142 | 1105431.027
81 | 2714296.8914 | 1105456.3661 | 2714314.2241 | 1105465.0036
82 | 2714290.6369 | 1105522.0019 | 2714294.6129 | 1105546.6489
83 | 2714290.6369 | 1105522.0019 | 2714296.3345 | 1105527.1237 | 2714308.3367 | 1105544.9999
84 | 2714343.4288 | 1105440.9784 | 2714341.2453 | 1105433.3175 | 2714340.2142 | 1105431.027
85 | 2714349.5898 | 1105462.5944 | 2714353.6909 | 1105474.8487
86 | 2714349.5898 | 1105462.5944 | 2714343.4288 | 1105440.9784
87 | 2714353.6909 | 1105474.8487 | 2714360.6752 | 1105495.7179
88 | 2714360.6752 | 1105495.7179 | 2714365.7104 | 1105510.7634
89 | 2714292.0561 | 1105342.7858 | 2714290.3522 | 1105337.1388 | 2714285.691 | 1105327.5002 | 2714290.3545 | 1105325.1086
90 | 2714292.0561 | 1105342.7858 | 2714300.4786 | 1105347.4328
91 | 2714300.4786 | 1105347.4328 | 2714301.6956 | 1105348.1042 | 2714302.0228 | 1105348.254
92 | 2714313.6866 | 1105353.4336 | 2714308.1306 | 1105351.0496 | 2714302.0228 | 1105348.254
93 | 2714276.3374 | 1105267.8534 | 2714288.1121 | 1105283.3013
94 | 2714288.5165 | 1105283.8319 | 2714288.1121 | 1105283.3013
95 | 2714288.5165 | 1105283.8319 | 2714292.4053 | 1105288.9339 | 2714297.6008 | 1105296.7441
96 | 2714300.9891 | 1105301.8376 | 2714297.6008 | 1105296.7441
97 | 2714300.9891 | 1105301.8376 | 2714304.9675 | 1105307.1197
98 | 2714304.9675 | 1105307.1197 | 2714311.8864 | 1105316.3062
99 | 2714313.1025 | 1105317.9209 | 2714311.8864 | 1105316.3062
100 | 2714304.3252 | 1105244.0366 | 2714303.5375 | 1105243.1372
101 | 2714313.1025 | 1105317.9209 | 2714321.334 | 1105311.3382 | 2714322.6293 | 1105310.6413
102 | 2714313.1025 | 1105317.9209 | 2714321.8412 | 1105328.9225
103 | 2714327.8833 | 1105307.8147 | 2714322.6293 | 1105310.6413
104 | 2714334.2009 | 1105350.6514 | 2714323.2967 | 1105330.7549 | 2714321.8412 | 1105328.9225
105 | 2714334.2009 | 1105350.6514 | 2714326.4151 | 1105351.7998
106 | 2714313.6866 | 1105353.4336 | 2714316.0869 | 1105353.3232 | 2714326.4151 | 1105351.7998
107 | 2714431.3867 | 1105449.4644 | 2714434.5139 | 1105452.788 | 2714447.3423 | 1105467.7893
108 | 2714365.7104 | 1105510.7634 | 2714371.7283 | 1105528.7448 | 2714381.2382 | 1105549.9383 | 2714384.2959 | 1105554.2951
109 | 2714429.459 | 1105618.6488 | 2714384.2959 | 1105554.2951
110 | 2714429.459 | 1105618.6488 | 2714447.8097 | 1105606.2642 | 2714458.2883 | 1105597.0111 | 2714469.4963 | 1105577.9303
111 | 2714308.3367 | 1105544.9999 | 2714321.5571 | 1105564.6906 | 2714332.1811 | 1105586.8988

## bus_geodata
| x | y | coords
0 | 2714403.4313 | 1105218.4247
1 | 2714394.5903 | 1105180.2966
2 | 2714422.4928 | 1105173.0287
3 | 2714431.7352 | 1105211.1021
4 | 2714436.8524 | 1105232.1825
5 | 2714439.556 | 1105243.3198
6 | 2714410.3687 | 1105250.0523
7 | 2714392.3934 | 1105254.4098
8 | 2714345.3307 | 1105290.8541
9 | 2714361.0683 | 1105308.1788
10 | 2714330.5083 | 1105273.9308
11 | 2714381.6412 | 1105326.8683
12 | 2714320.7624 | 1105262.8035
13 | 2714522.5744 | 1105255.0004
14 | 2714487.2852 | 1105321.7837
15 | 2714431.4329 | 1105371.6976
16 | 2714376.0317 | 1105383.3725
17 | 2714396.2661 | 1105408.2483
18 | 2714364.7114 | 1105374.3733
19 | 2714200.9208 | 1105251.2929
20 | 2714194.5032 | 1105247.003
21 | 2714236.9916 | 1105273.3138
22 | 2714228.293 | 1105246.0314
23 | 2714233.2124 | 1105280.8188
24 | 2714243.51 | 1105298.6284
25 | 2714224.2198 | 1105302.4433
26 | 2714246.3278 | 1105308.0116
27 | 2714223.9978 | 1105303.6425
28 | 2714248.7266 | 1105315.9995
29 | 2714221.2572 | 1105318.4453
30 | 2714216.501 | 1105333.5077
31 | 2714129.7423 | 1105288.0478
32 | 2714135.0856 | 1105318.9861
33 | 2714149.2381 | 1105348.8467
34 | 2714153.4952 | 1105355.9654
35 | 2714173.8182 | 1105360.4617
36 | 2714156.4002 | 1105386.9964
37 | 2714179.8842 | 1105376.755
38 | 2714179.3638 | 1105360.1102
39 | 2714152.6195 | 1105403.7366
40 | 2714209.6776 | 1105343.8695
41 | 2714206.2563 | 1105356.3024
42 | 2714184.1413 | 1105384.0001
43 | 2714187.7982 | 1105370.4064
44 | 2714209.0112 | 1105392.3225
45 | 2714210.1636 | 1105394.0791
46 | 2714194.2095 | 1105394.586
47 | 2714203.6275 | 1105402.2505
48 | 2714216.154 | 1105399.4103
49 | 2714258.2553 | 1105337.1065
50 | 2714250.8849 | 1105323.1867
51 | 2714262.4089 | 1105341.2823
52 | 2714272.285 | 1105358.7847
53 | 2714268.6255 | 1105337.245
54 | 2714284.0844 | 1105371.5513
55 | 2714268.6575 | 1105337.2242
56 | 2714289.4055 | 1105376.64
57 | 2714277.6278 | 1105335.7006
58 | 2714194.3018 | 1105394.699
59 | 2714211.2842 | 1105430.244
60 | 2714223.2016 | 1105405.8825
61 | 2714215.017 | 1105471.2379
62 | 2714233.9611 | 1105415.7637
63 | 2714245.205 | 1105414.8356
64 | 2714255.9607 | 1105435.969
65 | 2714259.592 | 1105418.3857
66 | 2714264.8784 | 1105449.2125
67 | 2714270.0974 | 1105443.0138
68 | 2714278.4713 | 1105408.0962
69 | 2714279.1567 | 1105501.3828
70 | 2714283.6325 | 1105449.7588
71 | 2714291.5849 | 1105401.2774
72 | 2714305.2144 | 1105395.3801
73 | 2714321.5971 | 1105407.808
74 | 2714336.5318 | 1105424.2152
75 | 2714323.5406 | 1105402.7857
76 | 2714296.8914 | 1105456.3661
77 | 2714314.2241 | 1105465.0036
78 | 2714290.6369 | 1105522.0019
79 | 2714340.2142 | 1105431.027
80 | 2714349.5898 | 1105462.5944
81 | 2714353.6909 | 1105474.8487
82 | 2714343.4288 | 1105440.9784
83 | 2714360.6752 | 1105495.7179
84 | 2714292.0561 | 1105342.7858
85 | 2714290.3545 | 1105325.1086
86 | 2714300.4786 | 1105347.4328
87 | 2714302.0228 | 1105348.254
88 | 2714276.3374 | 1105267.8534
89 | 2714288.1121 | 1105283.3013
90 | 2714288.5165 | 1105283.8319
91 | 2714297.6008 | 1105296.7441
92 | 2714300.9891 | 1105301.8376
93 | 2714304.9675 | 1105307.1197
94 | 2714311.8864 | 1105316.3062
95 | 2714304.3252 | 1105244.0366
96 | 2714303.5375 | 1105243.1372
97 | 2714313.1025 | 1105317.9209
98 | 2714322.6293 | 1105310.6413
99 | 2714321.8412 | 1105328.9225
100 | 2714327.8833 | 1105307.8147
101 | 2714334.2009 | 1105350.6514
102 | 2714313.6866 | 1105353.4336
103 | 2714326.4151 | 1105351.7998
104 | 2714431.3867 | 1105449.4644
105 | 2714447.3423 | 1105467.7893
106 | 2714365.7104 | 1105510.7634
107 | 2714384.2959 | 1105554.2951
108 | 2714429.459 | 1105618.6488
109 | 2714469.4963 | 1105577.9303
110 | 2714294.6129 | 1105546.6489
111 | 2714308.3367 | 1105544.9999
112 | 2714332.1811 | 1105586.8988
113 | 2714321.5971 | 1105407.808

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1