## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5199-4_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5199-4_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5199-4_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5199-4_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5199-4_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5199-4_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5199-4_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5199-4_0_3_node_59 | 0.4 | n |  | TRUE
8 | bus_LV_5199-4_0_3_node_94 | 0.4 | n |  | TRUE
9 | bus_LV_5199-4_0_3_node_88 | 0.4 | n |  | TRUE
10 | bus_LV_5199-4_0_3_node_91 | 0.4 | n |  | TRUE
11 | bus_LV_5199-4_0_3_node_102 | 0.4 | n |  | TRUE
12 | bus_LV_5199-4_0_3_node_58 | 0.4 | n |  | TRUE
13 | bus_LV_5199-4_0_3_node_95 | 0.4 | n |  | TRUE
14 | bus_LV_5199-4_0_3_node_86 | 0.4 | n |  | TRUE
15 | bus_LV_5199-4_0_3_node_92 | 0.4 | n |  | TRUE
16 | bus_LV_5199-4_0_3_node_103 | 0.4 | n |  | TRUE
17 | bus_LV_5199-4_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_5199-4_0_3_node_43 | 0.4 | n |  | TRUE
19 | bus_LV_5199-4_0_3_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_5199-4_0_3_node_48 | 0.4 | n |  | TRUE
21 | bus_LV_5199-4_0_3_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_5199-4_0_3_node_57 | 0.4 | n |  | TRUE
23 | bus_LV_5199-4_0_3_node_45 | 0.4 | n |  | TRUE
24 | bus_LV_5199-4_0_3_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_5199-4_0_3_node_47 | 0.4 | n |  | TRUE
26 | bus_LV_5199-4_0_3_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_5199-4_0_3_node_93 | 0.4 | n |  | TRUE
28 | bus_LV_5199-4_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_5199-4_0_3_node_55 | 0.4 | n |  | TRUE
30 | bus_LV_5199-4_0_3_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_5199-4_0_3_node_50 | 0.4 | n |  | TRUE
32 | bus_LV_5199-4_0_3_node_51 | 0.4 | n |  | TRUE
33 | bus_LV_5199-4_0_3_node_52 | 0.4 | n |  | TRUE
34 | bus_LV_5199-4_0_3_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_5199-4_0_3_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_5199-4_0_3_node_69 | 0.4 | n |  | TRUE
37 | bus_LV_5199-4_0_3_node_68 | 0.4 | n |  | TRUE
38 | bus_LV_5199-4_0_3_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_5199-4_0_3_node_62 | 0.4 | n |  | TRUE
40 | bus_LV_5199-4_0_3_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_5199-4_0_3_node_64 | 0.4 | n |  | TRUE
42 | bus_LV_5199-4_0_3_node_65 | 0.4 | n |  | TRUE
43 | bus_LV_5199-4_0_3_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_5199-4_0_3_node_67 | 0.4 | n |  | TRUE
45 | bus_LV_5199-4_0_3_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_5199-4_0_3_node_87 | 0.4 | n |  | TRUE
47 | bus_LV_5199-4_0_3_node_70 | 0.4 | n |  | TRUE
48 | bus_LV_5199-4_0_3_node_71 | 0.4 | n |  | TRUE
49 | bus_LV_5199-4_0_3_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_5199-4_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_LV_5199-4_0_3_node_89 | 0.4 | n |  | TRUE
52 | bus_LV_5199-4_0_3_node_111 | 0.4 | n |  | TRUE
53 | bus_LV_5199-4_0_3_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_5199-4_0_3_node_85 | 0.4 | n |  | TRUE
55 | bus_LV_5199-4_0_3_node_112 | 0.4 | n |  | TRUE
56 | bus_LV_5199-4_0_3_node_119 | 0.4 | n |  | TRUE
57 | bus_LV_5199-4_0_3_node_113 | 0.4 | n |  | TRUE
58 | bus_LV_5199-4_0_3_node_120 | 0.4 | n |  | TRUE
59 | bus_LV_5199-4_0_3_node_121 | 0.4 | n |  | TRUE
60 | bus_MV_72_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5199-4_0_3_load_0 | 0 | 0.002435 | 0.00061027 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5199-4_0_3_load_1 | 1 | 0.0021741 | 0.00054488 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5199-4_0_3_load_5 | 5 | 0.0062759 | 0.0015729 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5199-4_0_3_load_6 | 6 | 0.0028163 | 0.00070584 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5199-4_0_3_load_59 | 7 | 0.0038005 | 0.0009525 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5199-4_0_3_load_94 | 8 | 0.0039636 | 0.00099337 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5199-4_0_3_load_88 | 9 | 0.0056402 | 0.0014136 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5199-4_0_3_load_91 | 10 | 0.0054788 | 0.0013731 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5199-4_0_3_load_58 | 12 | 0.0018995 | 0.00047607 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5199-4_0_3_load_95 | 13 | 0.0066774 | 0.0016735 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5199-4_0_3_load_86 | 14 | 0.0034777 | 0.00087158 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5199-4_0_3_load_92 | 15 | 0.0055939 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5199-4_0_3_load_103 | 16 | 0.0024052 | 0.0006028 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5199-4_0_3_load_42 | 17 | 0.0022458 | 0.00056284 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5199-4_0_3_load_43 | 18 | 0.0024053 | 0.00060283 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5199-4_0_3_load_44 | 19 | 0.0024531 | 0.00061481 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5199-4_0_3_load_56 | 21 | 0.0021928 | 0.00054957 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5199-4_0_3_load_57 | 22 | 0.003033 | 0.00076015 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5199-4_0_3_load_46 | 24 | 0.0031033 | 0.00077777 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5199-4_0_3_load_84 | 26 | 0.0037772 | 0.00094667 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5199-4_0_3_load_93 | 27 | 0.0060783 | 0.0015234 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5199-4_0_3_load_83 | 28 | 0.003207 | 0.00080375 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5199-4_0_3_load_55 | 29 | 0.0040422 | 0.0010131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5199-4_0_3_load_49 | 30 | 0.0023596 | 0.00059136 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5199-4_0_3_load_50 | 31 | 0.012534 | 0.0031414 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5199-4_0_3_load_51 | 32 | 0.01276 | 0.003198 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5199-4_0_3_load_53 | 34 | 0.0026305 | 0.00065927 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5199-4_0_3_load_69 | 36 | 0.031742 | 0.0079552 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5199-4_0_3_load_68 | 37 | 0.015811 | 0.0039625 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5199-4_0_3_load_61 | 38 | 0.0018995 | 0.00047607 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5199-4_0_3_load_62 | 39 | 0.0011446 | 0.00028686 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5199-4_0_3_load_63 | 40 | 0.0011459 | 0.0002872 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5199-4_0_3_load_64 | 41 | 0.0011443 | 0.0002868 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5199-4_0_3_load_65 | 42 | 0.0011443 | 0.0002868 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5199-4_0_3_load_67 | 44 | 0.0099302 | 0.0024888 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5199-4_0_3_load_90 | 45 | 0.010246 | 0.0025679 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5199-4_0_3_load_70 | 47 | 0.0079386 | 0.0019896 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5199-4_0_3_load_71 | 48 | 0.018128 | 0.0045432 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5199-4_0_3_load_72 | 49 | 0.0030575 | 0.00076628 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5199-4_0_3_load_73 | 50 | 0.0056659 | 0.00142 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5199-4_0_3_load_111 | 52 | 0.0018157 | 0.00045506 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5199-4_0_3_load_82 | 53 | 0.022908 | 0.0057413 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5199-4_0_3_load_85 | 54 | 0.0014404 | 0.00036101 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5199-4_0_3_load_119 | 56 | 0.0023228 | 0.00058215 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5199-4_0_3_load_113 | 57 | 0.0018635 | 0.00046705 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5199-4_0_3_load_120 | 58 | 0.00060074 | 0.00015056 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5199-4_0_3_load_121 | 59 | 0.0013509 | 0.00033856 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5199-4_0_3_line_0 |  | 0 | 1 | 0.029365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5199-4_0_3_line_1 |  | 0 | 2 | 0.032869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5199-4_0_3_line_2 |  | 1 | 3 | 0.0014779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5199-4_0_3_line_3 |  | 2 | 4 | 0.037891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_5199-4_0_3_line_4 |  | 2 | 5 | 0.028804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5199-4_0_3_line_5 |  | 2 | 6 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5199-4_0_3_line_6 |  | 3 | 7 | 0.024202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5199-4_0_3_line_7 |  | 4 | 8 | 0.035335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5199-4_0_3_line_8 |  | 4 | 9 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
9 | LV_5199-4_0_3_line_9 |  | 5 | 10 | 0.010626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5199-4_0_3_line_10 |  | 6 | 11 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5199-4_0_3_line_11 |  | 7 | 12 | 0.024938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5199-4_0_3_line_12 |  | 8 | 13 | 0.017225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5199-4_0_3_line_13 |  | 9 | 14 | 0.022236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_5199-4_0_3_line_14 |  | 10 | 15 | 0.021249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_5199-4_0_3_line_15 |  | 11 | 16 | 0.015511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5199-4_0_3_line_16 |  | 14 | 54 | 0.034552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_5199-4_0_3_line_17 |  | 15 | 25 | 0.039161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_5199-4_0_3_line_18 |  | 16 | 56 | 0.026433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5199-4_0_3_line_19 |  | 17 | 18 | 0.0018555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5199-4_0_3_line_20 |  | 18 | 19 | 0.026221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5199-4_0_3_line_21 |  | 19 | 20 | 0.020816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5199-4_0_3_line_22 |  | 20 | 21 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5199-4_0_3_line_23 |  | 20 | 22 | 0.020656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5199-4_0_3_line_24 |  | 21 | 29 | 0.00013919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5199-4_0_3_line_25 |  | 23 | 24 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_5199-4_0_3_line_26 |  | 23 | 25 | 0.022099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_5199-4_0_3_line_27 |  | 24 | 26 | 0.015421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_5199-4_0_3_line_28 |  | 25 | 27 | 0.020941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5199-4_0_3_line_29 |  | 26 | 28 | 0.013846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_5199-4_0_3_line_30 |  | 28 | 53 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_5199-4_0_3_line_31 |  | 29 | 34 | 0.014922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5199-4_0_3_line_32 |  | 30 | 31 | 0.00057215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5199-4_0_3_line_33 |  | 31 | 32 | 0.026615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5199-4_0_3_line_34 |  | 32 | 33 | 0.017183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5199-4_0_3_line_35 |  | 33 | 34 | 0.03092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5199-4_0_3_line_36 |  | 33 | 35 | 0.055916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
37 | LV_5199-4_0_3_line_37 |  | 35 | 36 | 0.018293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_5199-4_0_3_line_38 |  | 36 | 37 | 0.0081451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_5199-4_0_3_line_39 |  | 37 | 47 | 0.012479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_5199-4_0_3_line_40 |  | 38 | 39 | 0.0064007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5199-4_0_3_line_41 |  | 39 | 40 | 0.006697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5199-4_0_3_line_42 |  | 40 | 41 | 0.0066289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5199-4_0_3_line_43 |  | 41 | 42 | 0.006698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5199-4_0_3_line_44 |  | 42 | 43 | 0.039132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5199-4_0_3_line_45 |  | 43 | 44 | 0.035637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5199-4_0_3_line_46 |  | 44 | 45 | 0.02328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5199-4_0_3_line_47 |  | 45 | 46 | 0.029766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5199-4_0_3_line_48 |  | 46 | 51 | 0.008219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_5199-4_0_3_line_49 |  | 46 | 54 | 0.039737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_5199-4_0_3_line_50 |  | 47 | 48 | 0.04886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_5199-4_0_3_line_51 |  | 48 | 49 | 0.051823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_5199-4_0_3_line_52 |  | 49 | 50 | 0.025672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_5199-4_0_3_line_53 |  | 50 | 51 | 0.017861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_5199-4_0_3_line_54 |  | 51 | 52 | 0.021517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5199-4_0_3_line_55 |  | 52 | 55 | 0.040712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5199-4_0_3_line_56 |  | 55 | 57 | 0.034767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5199-4_0_3_line_57 |  | 57 | 58 | 0.0026127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5199-4_0_3_line_58 |  | 58 | 59 | 0.018918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5199-4_0_3_trafo_82 | 0.63 MVA 20/0.4 kV | 60 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2714417.7317 | 1105142.5621 | 2714417.8451 | 1105144.2217 | 2714422.2574 | 1105171.5696
1 | 2714419.0285 | 1105109.7763 | 2714417.2085 | 1105134.9034 | 2714417.7317 | 1105142.5621
2 | 2714422.4928 | 1105173.0287 | 2714422.2574 | 1105171.5696
3 | 2714419.0285 | 1105109.7763 | 2714456.9027 | 1105106.6548
4 | 2714419.0285 | 1105109.7763 | 2714423.5246 | 1105081.3253
5 | 2714419.0285 | 1105109.7763 | 2714403.1008 | 1105110.4222
6 | 2714422.4928 | 1105173.0287 | 2714428.202 | 1105196.5472
7 | 2714456.9027 | 1105106.6548 | 2714463.0752 | 1105141.4467
8 | 2714456.9027 | 1105106.6548 | 2714467.7738 | 1105105.3478 | 2714473.716 | 1105104.3422
9 | 2714425.1833 | 1105070.8295 | 2714423.5246 | 1105081.3253
10 | 2714384.405 | 1105111.1804 | 2714403.1008 | 1105110.4222
11 | 2714434.0849 | 1105220.7819 | 2714428.202 | 1105196.5472
12 | 2714466.0841 | 1105158.4072 | 2714463.0752 | 1105141.4467
13 | 2714473.716 | 1105104.3422 | 2714495.6403 | 1105100.6321
14 | 2714425.1833 | 1105070.8295 | 2714428.5001 | 1105049.8407
15 | 2714384.405 | 1105111.1804 | 2714387.0693 | 1105095.8995
16 | 2714529.7075 | 1105094.8672 | 2714495.6403 | 1105100.6321
17 | 2714434.6129 | 1105011.1592 | 2714428.5001 | 1105049.8407
18 | 2714387.0693 | 1105095.8995 | 2714389.2801 | 1105083.2201 | 2714390.97 | 1105069.763
19 | 2714449.6517 | 1104920.3569 | 2714449.9656 | 1104918.5282
20 | 2714449.9656 | 1104918.5282 | 2714452.3335 | 1104904.7327 | 2714454.1158 | 1104892.6398
21 | 2714457.1511 | 1104872.0459 | 2714454.1158 | 1104892.6398
22 | 2714457.1511 | 1104872.0459 | 2714475.0008 | 1104874.4396 | 2714483.8775 | 1104875.6333
23 | 2714457.1511 | 1104872.0459 | 2714436.6493 | 1104869.5299
24 | 2714484.0154 | 1104875.6519 | 2714483.8775 | 1104875.6333
25 | 2714437.8644 | 1104989.3058 | 2714452.2647 | 1104989.6532
26 | 2714434.6129 | 1105011.1592 | 2714437.8644 | 1104989.3058
27 | 2714452.2647 | 1104989.6532 | 2714467.6813 | 1104990.0251
28 | 2714434.6129 | 1105011.1592 | 2714413.6982 | 1105010.1036
29 | 2714481.5233 | 1104990.359 | 2714467.6813 | 1104990.0251
30 | 2714504.2297 | 1104990.9068 | 2714481.5233 | 1104990.359
31 | 2714498.8045 | 1104877.6392 | 2714494.5251 | 1104877.0651 | 2714484.0154 | 1104875.6519
32 | 2714526.6692 | 1104925.7198 | 2714526.7056 | 1104925.1488
33 | 2714526.7056 | 1104925.1488 | 2714528.3973 | 1104898.5871
34 | 2714529.4896 | 1104881.4387 | 2714528.3973 | 1104898.5871
35 | 2714529.4896 | 1104881.4387 | 2714504.9432 | 1104878.4626 | 2714498.8045 | 1104877.6392
36 | 2714529.4896 | 1104881.4387 | 2714553.6553 | 1104884.0853 | 2714565.5149 | 1104884.943 | 2714565.814 | 1104887.5393 | 2714566.657 | 1104890.0124 | 2714568.3315 | 1104892.7014 | 2714570.7339 | 1104894.9482 | 2714574.3979 | 1104896.7519 | 2714578.3104 | 1104897.2817
37 | 2714578.3104 | 1104897.2817 | 2714577.8248 | 1104905.7894 | 2714577.3444 | 1104915.5488
38 | 2714576.9439 | 1104923.6841 | 2714577.3444 | 1104915.5488
39 | 2714576.9439 | 1104923.6841 | 2714576.3303 | 1104936.1479
40 | 2714534.2173 | 1105233.0478 | 2714537.2162 | 1105227.3931
41 | 2714537.2162 | 1105227.3931 | 2714540.354 | 1105221.4767
42 | 2714540.354 | 1105221.4767 | 2714543.4599 | 1105215.6204
43 | 2714543.4599 | 1105215.6204 | 2714543.5379 | 1105215.4732 | 2714546.5989 | 1105209.7035
44 | 2714567.4677 | 1105176.8766 | 2714562.1694 | 1105182.1468 | 2714552.5784 | 1105198.4323 | 2714546.5989 | 1105209.7035
45 | 2714567.4677 | 1105176.8766 | 2714565.5305 | 1105162.2969 | 2714566.4878 | 1105141.3901
46 | 2714567.5527 | 1105118.1343 | 2714566.4878 | 1105141.3901
47 | 2714568.9142 | 1105088.3998 | 2714567.5527 | 1105118.1343
48 | 2714568.9142 | 1105088.3998 | 2714569.2395 | 1105080.1893
49 | 2714568.9142 | 1105088.3998 | 2714535.3968 | 1105093.9044 | 2714529.7075 | 1105094.8672
50 | 2714573.928 | 1104984.949 | 2714576.3303 | 1104936.1479
51 | 2714573.928 | 1104984.949 | 2714571.3799 | 1105036.709
52 | 2714571.3799 | 1105036.709 | 2714570.1177 | 1105062.3504
53 | 2714569.2395 | 1105080.1893 | 2714570.1177 | 1105062.3504
54 | 2714569.2395 | 1105080.1893 | 2714590.7514 | 1105080.6418
55 | 2714631.4542 | 1105081.4979 | 2714590.7514 | 1105080.6418
56 | 2714631.4542 | 1105081.4979 | 2714632.7219 | 1105046.7544
57 | 2714632.7219 | 1105046.7544 | 2714632.8172 | 1105044.1435
58 | 2714632.8172 | 1105044.1435 | 2714633.507 | 1105025.2382

## bus_geodata
| x | y | coords
0 | 2714417.7317 | 1105142.5621
1 | 2714422.2574 | 1105171.5696
2 | 2714419.0285 | 1105109.7763
3 | 2714422.4928 | 1105173.0287
4 | 2714456.9027 | 1105106.6548
5 | 2714423.5246 | 1105081.3253
6 | 2714403.1008 | 1105110.4222
7 | 2714428.202 | 1105196.5472
8 | 2714463.0752 | 1105141.4467
9 | 2714473.716 | 1105104.3422
10 | 2714425.1833 | 1105070.8295
11 | 2714384.405 | 1105111.1804
12 | 2714434.0849 | 1105220.7819
13 | 2714466.0841 | 1105158.4072
14 | 2714495.6403 | 1105100.6321
15 | 2714428.5001 | 1105049.8407
16 | 2714387.0693 | 1105095.8995
17 | 2714449.6517 | 1104920.3569
18 | 2714449.9656 | 1104918.5282
19 | 2714454.1158 | 1104892.6398
20 | 2714457.1511 | 1104872.0459
21 | 2714483.8775 | 1104875.6333
22 | 2714436.6493 | 1104869.5299
23 | 2714437.8644 | 1104989.3058
24 | 2714452.2647 | 1104989.6532
25 | 2714434.6129 | 1105011.1592
26 | 2714467.6813 | 1104990.0251
27 | 2714413.6982 | 1105010.1036
28 | 2714481.5233 | 1104990.359
29 | 2714484.0154 | 1104875.6519
30 | 2714526.6692 | 1104925.7198
31 | 2714526.7056 | 1104925.1488
32 | 2714528.3973 | 1104898.5871
33 | 2714529.4896 | 1104881.4387
34 | 2714498.8045 | 1104877.6392
35 | 2714578.3104 | 1104897.2817
36 | 2714577.3444 | 1104915.5488
37 | 2714576.9439 | 1104923.6841
38 | 2714534.2173 | 1105233.0478
39 | 2714537.2162 | 1105227.3931
40 | 2714540.354 | 1105221.4767
41 | 2714543.4599 | 1105215.6204
42 | 2714546.5989 | 1105209.7035
43 | 2714567.4677 | 1105176.8766
44 | 2714566.4878 | 1105141.3901
45 | 2714567.5527 | 1105118.1343
46 | 2714568.9142 | 1105088.3998
47 | 2714576.3303 | 1104936.1479
48 | 2714573.928 | 1104984.949
49 | 2714571.3799 | 1105036.709
50 | 2714570.1177 | 1105062.3504
51 | 2714569.2395 | 1105080.1893
52 | 2714590.7514 | 1105080.6418
53 | 2714504.2297 | 1104990.9068
54 | 2714529.7075 | 1105094.8672
55 | 2714631.4542 | 1105081.4979
56 | 2714390.97 | 1105069.763
57 | 2714632.7219 | 1105046.7544
58 | 2714632.8172 | 1105044.1435
59 | 2714633.507 | 1105025.2382
60 | 2714507.6702 | 1104990.9898

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1