## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5203-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5203-3_0_5_node_82 | 0.4 | n |  | TRUE
2 | bus_LV_5203-3_0_5_node_89 | 0.4 | n |  | TRUE
3 | bus_LV_5203-3_0_5_node_80 | 0.4 | n |  | TRUE
4 | bus_LV_5203-3_0_5_node_1 | 0.4 | n |  | TRUE
5 | bus_LV_5203-3_0_5_node_2 | 0.4 | n |  | TRUE
6 | bus_LV_5203-3_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_5203-3_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_5203-3_0_5_node_65 | 0.4 | n |  | TRUE
9 | bus_LV_5203-3_0_5_node_64 | 0.4 | n |  | TRUE
10 | bus_LV_5203-3_0_5_node_63 | 0.4 | n |  | TRUE
11 | bus_LV_5203-3_0_5_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5203-3_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_5203-3_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5203-3_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5203-3_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_5203-3_0_5_node_85 | 0.4 | n |  | TRUE
17 | bus_LV_5203-3_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5203-3_0_5_node_60 | 0.4 | n |  | TRUE
19 | bus_LV_5203-3_0_5_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_5203-3_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_5203-3_0_5_node_48 | 0.4 | n |  | TRUE
22 | bus_LV_5203-3_0_5_node_55 | 0.4 | n |  | TRUE
23 | bus_LV_5203-3_0_5_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_5203-3_0_5_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_5203-3_0_5_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_5203-3_0_5_node_84 | 0.4 | n |  | TRUE
27 | bus_LV_5203-3_0_5_node_61 | 0.4 | n |  | TRUE
28 | bus_LV_5203-3_0_5_node_47 | 0.4 | n |  | TRUE
29 | bus_LV_5203-3_0_5_node_54 | 0.4 | n |  | TRUE
30 | bus_LV_5203-3_0_5_node_13 | 0.4 | n |  | TRUE
31 | bus_LV_5203-3_0_5_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_5203-3_0_5_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5203-3_0_5_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_5203-3_0_5_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_5203-3_0_5_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_5203-3_0_5_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5203-3_0_5_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_5203-3_0_5_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5203-3_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5203-3_0_5_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5203-3_0_5_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5203-3_0_5_node_37 | 0.4 | n |  | TRUE
43 | bus_LV_5203-3_0_5_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_5203-3_0_5_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5203-3_0_5_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5203-3_0_5_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_5203-3_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5203-3_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_5203-3_0_5_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_5203-3_0_5_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_5203-3_0_5_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_5203-3_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_5203-3_0_5_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_5203-3_0_5_node_41 | 0.4 | n |  | TRUE
55 | bus_LV_5203-3_0_5_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5203-3_0_5_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_5203-3_0_5_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5203-3_0_5_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_5203-3_0_5_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5203-3_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_5203-3_0_5_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_5203-3_0_5_node_59 | 0.4 | n |  | TRUE
63 | bus_LV_5203-3_0_5_node_58 | 0.4 | n |  | TRUE
64 | bus_LV_5203-3_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5203-3_0_5_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5203-3_0_5_node_79 | 0.4 | n |  | TRUE
67 | bus_LV_5203-3_0_5_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_5203-3_0_5_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_5203-3_0_5_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_5203-3_0_5_node_96 | 0.4 | n |  | TRUE
71 | bus_LV_5203-3_0_5_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5203-3_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_5203-3_0_5_node_94 | 0.4 | n |  | TRUE
74 | bus_LV_5203-3_0_5_node_93 | 0.4 | n |  | TRUE
75 | bus_LV_5203-3_0_5_node_70 | 0.4 | n |  | TRUE
76 | bus_LV_5203-3_0_5_node_71 | 0.4 | n |  | TRUE
77 | bus_LV_5203-3_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_5203-3_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_5203-3_0_5_node_74 | 0.4 | n |  | TRUE
80 | bus_LV_5203-3_0_5_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_5203-3_0_5_node_76 | 0.4 | n |  | TRUE
82 | bus_LV_5203-3_0_5_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_5203-3_0_5_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_5203-3_0_5_node_83 | 0.4 | n |  | TRUE
85 | bus_LV_5203-3_0_5_node_87 | 0.4 | n |  | TRUE
86 | bus_LV_5203-3_0_5_node_88 | 0.4 | n |  | TRUE
87 | bus_LV_5203-3_0_5_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_5203-3_0_5_node_92 | 0.4 | n |  | TRUE
89 | bus_MV_71_1_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5203-3_0_5_load_0 | 0 | 0.017064 | 0.0042767 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5203-3_0_5_load_82 | 1 | 0.0037201 | 0.00093234 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5203-3_0_5_load_89 | 2 | 0.0069133 | 0.0017326 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5203-3_0_5_load_1 | 4 | 0.010807 | 0.0027084 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5203-3_0_5_load_65 | 8 | 0.00098665 | 0.00024728 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5203-3_0_5_load_64 | 9 | 0.011079 | 0.0027766 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5203-3_0_5_load_6 | 11 | 0.0051945 | 0.0013019 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5203-3_0_5_load_9 | 13 | 0.015179 | 0.0038043 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5203-3_0_5_load_25 | 15 | 0.0067438 | 0.0016901 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5203-3_0_5_load_60 | 18 | 0.0031976 | 0.0008014 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5203-3_0_5_load_56 | 19 | 0.0070604 | 0.0017695 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5203-3_0_5_load_55 | 22 | 0.010124 | 0.0025373 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5203-3_0_5_load_26 | 24 | 0.0091204 | 0.0022858 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5203-3_0_5_load_86 | 25 | 0.0060803 | 0.0015239 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5203-3_0_5_load_84 | 26 | 0.0045015 | 0.0011282 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5203-3_0_5_load_61 | 27 | 0.011718 | 0.0029367 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5203-3_0_5_load_47 | 28 | 0.0095255 | 0.0023873 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5203-3_0_5_load_54 | 29 | 0.010564 | 0.0026477 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5203-3_0_5_load_13 | 30 | 0.023128 | 0.0057964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5203-3_0_5_load_14 | 31 | 0.0085771 | 0.0021496 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5203-3_0_5_load_19 | 33 | 0.0074233 | 0.0018605 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5203-3_0_5_load_24 | 34 | 0.017227 | 0.0043175 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5203-3_0_5_load_33 | 36 | 0.011848 | 0.0029694 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5203-3_0_5_load_31 | 37 | 0.011897 | 0.0029816 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5203-3_0_5_load_20 | 38 | 0.0085699 | 0.0021478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5203-3_0_5_load_21 | 39 | 0.0069657 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5203-3_0_5_load_37 | 42 | 0.017159 | 0.0043006 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5203-3_0_5_load_32 | 44 | 0.015242 | 0.00382 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5203-3_0_5_load_29 | 45 | 0.0052039 | 0.0013042 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5203-3_0_5_load_30 | 46 | 0.015273 | 0.0038278 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5203-3_0_5_load_38 | 49 | 0.021907 | 0.0054904 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5203-3_0_5_load_36 | 50 | 0.0057065 | 0.0014302 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5203-3_0_5_load_50 | 52 | 0.0034879 | 0.00087414 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5203-3_0_5_load_41 | 54 | 0.011667 | 0.0029241 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5203-3_0_5_load_42 | 55 | 0.014027 | 0.0035154 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5203-3_0_5_load_46 | 59 | 0.012749 | 0.0031951 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5203-3_0_5_load_57 | 60 | 0.0043408 | 0.0010879 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5203-3_0_5_load_58 | 63 | 0.010065 | 0.0025227 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5203-3_0_5_load_51 | 64 | 0.0086328 | 0.0021636 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5203-3_0_5_load_79 | 66 | 0.0085612 | 0.0021456 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5203-3_0_5_load_78 | 67 | 0.003387 | 0.00084886 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5203-3_0_5_load_66 | 68 | 0.0085231 | 0.0021361 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5203-3_0_5_load_67 | 69 | 0.0061144 | 0.0015324 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5203-3_0_5_load_96 | 70 | 0.012047 | 0.0030193 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5203-3_0_5_load_68 | 71 | 0.0084469 | 0.002117 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5203-3_0_5_load_69 | 72 | 0.018422 | 0.0046169 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5203-3_0_5_load_94 | 73 | 0.011255 | 0.0028207 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5203-3_0_5_load_93 | 74 | 0.014928 | 0.0037414 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5203-3_0_5_load_70 | 75 | 0.0061002 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5203-3_0_5_load_71 | 76 | 0.0025383 | 0.00063616 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5203-3_0_5_load_72 | 77 | 0.0034521 | 0.00086518 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5203-3_0_5_load_73 | 78 | 0.0028504 | 0.00071438 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5203-3_0_5_load_74 | 79 | 0.0014664 | 0.00036751 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5203-3_0_5_load_75 | 80 | 0.0047093 | 0.0011803 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5203-3_0_5_load_76 | 81 | 0.012643 | 0.0031685 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5203-3_0_5_load_77 | 82 | 0.0077193 | 0.0019346 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5203-3_0_5_load_81 | 83 | 0.011419 | 0.0028618 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5203-3_0_5_load_83 | 84 | 0.0093047 | 0.002332 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5203-3_0_5_load_88 | 86 | 0.0048065 | 0.0012046 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5203-3_0_5_load_90 | 87 | 0.0097004 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5203-3_0_5_load_92 | 88 | 0.01474 | 0.0036941 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5203-3_0_5_line_0 |  | 0 | 1 | 0.15647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5203-3_0_5_line_1 |  | 1 | 2 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5203-3_0_5_line_2 |  | 1 | 3 | 0.028812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5203-3_0_5_line_3 |  | 3 | 83 | 0.016379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5203-3_0_5_line_4 |  | 3 | 84 | 0.010128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5203-3_0_5_line_5 |  | 3 | 82 | 0.020665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5203-3_0_5_line_6 |  | 4 | 5 | 0.051853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5203-3_0_5_line_7 |  | 5 | 6 | 0.035093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5203-3_0_5_line_8 |  | 6 | 9 | 0.045845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5203-3_0_5_line_9 |  | 6 | 7 | 0.004837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5203-3_0_5_line_10 |  | 7 | 8 | 0.03084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5203-3_0_5_line_11 |  | 9 | 10 | 0.0092734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5203-3_0_5_line_12 |  | 10 | 62 | 0.012854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5203-3_0_5_line_13 |  | 11 | 12 | 0.030817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
14 | LV_5203-3_0_5_line_14 |  | 12 | 13 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
15 | LV_5203-3_0_5_line_15 |  | 12 | 14 | 0.063191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
16 | LV_5203-3_0_5_line_16 |  | 13 | 15 | 0.020294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_5203-3_0_5_line_17 |  | 14 | 16 | 0.004479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_5203-3_0_5_line_18 |  | 15 | 23 | 0.015527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
19 | LV_5203-3_0_5_line_19 |  | 16 | 25 | 0.019552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5203-3_0_5_line_20 |  | 16 | 26 | 0.0089046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_5203-3_0_5_line_21 |  | 17 | 18 | 0.0078215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5203-3_0_5_line_22 |  | 17 | 19 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5203-3_0_5_line_23 |  | 18 | 27 | 0.027177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5203-3_0_5_line_24 |  | 19 | 21 | 0.0041381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5203-3_0_5_line_25 |  | 20 | 21 | 0.015113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5203-3_0_5_line_26 |  | 20 | 22 | 0.0042697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5203-3_0_5_line_27 |  | 21 | 28 | 0.013014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5203-3_0_5_line_28 |  | 22 | 29 | 0.0098574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5203-3_0_5_line_29 |  | 23 | 34 | 0.020769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
30 | LV_5203-3_0_5_line_30 |  | 23 | 24 | 0.018711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5203-3_0_5_line_31 |  | 23 | 32 | 0.009062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5203-3_0_5_line_32 |  | 25 | 85 | 0.020807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5203-3_0_5_line_33 |  | 26 | 83 | 0.036509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
34 | LV_5203-3_0_5_line_34 |  | 27 | 65 | 0.0011008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5203-3_0_5_line_35 |  | 28 | 59 | 0.017489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5203-3_0_5_line_36 |  | 29 | 61 | 0.0058188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5203-3_0_5_line_37 |  | 30 | 31 | 0.021018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5203-3_0_5_line_38 |  | 31 | 32 | 0.010958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5203-3_0_5_line_39 |  | 32 | 33 | 0.0011939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5203-3_0_5_line_40 |  | 34 | 40 | 0.015448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_5203-3_0_5_line_41 |  | 35 | 36 | 0.010473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5203-3_0_5_line_42 |  | 35 | 37 | 0.0086008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5203-3_0_5_line_43 |  | 37 | 46 | 0.01487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5203-3_0_5_line_44 |  | 38 | 39 | 0.017975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5203-3_0_5_line_45 |  | 39 | 40 | 0.010136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5203-3_0_5_line_46 |  | 40 | 41 | 0.018902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
47 | LV_5203-3_0_5_line_47 |  | 41 | 42 | 0.006254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_5203-3_0_5_line_48 |  | 41 | 43 | 0.012191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5203-3_0_5_line_49 |  | 41 | 44 | 0.008977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5203-3_0_5_line_50 |  | 42 | 47 | 0.011328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_5203-3_0_5_line_51 |  | 43 | 45 | 0.0091928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5203-3_0_5_line_52 |  | 44 | 46 | 0.00063749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5203-3_0_5_line_53 |  | 47 | 52 | 0.0058371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5203-3_0_5_line_54 |  | 47 | 48 | 0.011031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5203-3_0_5_line_55 |  | 48 | 49 | 0.011731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5203-3_0_5_line_56 |  | 49 | 53 | 0.01163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5203-3_0_5_line_57 |  | 50 | 51 | 0.0064882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5203-3_0_5_line_58 |  | 51 | 54 | 0.011659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5203-3_0_5_line_59 |  | 52 | 56 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5203-3_0_5_line_60 |  | 53 | 54 | 0.0077699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5203-3_0_5_line_61 |  | 53 | 55 | 0.0021621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5203-3_0_5_line_62 |  | 56 | 64 | 0.0072204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5203-3_0_5_line_63 |  | 56 | 61 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5203-3_0_5_line_64 |  | 57 | 58 | 0.035289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5203-3_0_5_line_65 |  | 57 | 59 | 0.010846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5203-3_0_5_line_66 |  | 58 | 60 | 0.010887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5203-3_0_5_line_67 |  | 60 | 63 | 0.017364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5203-3_0_5_line_68 |  | 62 | 63 | 0.02616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5203-3_0_5_line_69 |  | 65 | 66 | 0.015034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5203-3_0_5_line_70 |  | 66 | 67 | 0.008343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5203-3_0_5_line_71 |  | 67 | 77 | 0.003752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5203-3_0_5_line_72 |  | 68 | 69 | 0.038893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5203-3_0_5_line_73 |  | 68 | 70 | 0.12432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5203-3_0_5_line_74 |  | 69 | 71 | 0.047682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5203-3_0_5_line_75 |  | 71 | 72 | 0.0067283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5203-3_0_5_line_76 |  | 72 | 73 | 0.00012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5203-3_0_5_line_77 |  | 73 | 74 | 0.029402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5203-3_0_5_line_78 |  | 74 | 84 | 0.0086956 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5203-3_0_5_line_79 |  | 75 | 76 | 0.059401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5203-3_0_5_line_80 |  | 76 | 77 | 0.013243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5203-3_0_5_line_81 |  | 78 | 79 | 0.01813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5203-3_0_5_line_82 |  | 79 | 80 | 0.024036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5203-3_0_5_line_83 |  | 80 | 81 | 0.0151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5203-3_0_5_line_84 |  | 81 | 82 | 0.030856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5203-3_0_5_line_85 |  | 85 | 86 | 0.0019215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5203-3_0_5_line_86 |  | 85 | 87 | 0.015931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5203-3_0_5_line_87 |  | 87 | 88 | 0.027154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5203-3_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 89 | 11 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2714718.4419 | 1086974.9384 | 2714615.1987 | 1087092.5189
1 | 2714700.9748 | 1086951.6222 | 2714704.8437 | 1086961.561 | 2714710.2043 | 1086969.8566 | 2714713.3745 | 1086972.507 | 2714718.4419 | 1086974.9384
2 | 2714744.4187 | 1086987.4023 | 2714718.4419 | 1086974.9384
3 | 2714744.4187 | 1086987.4023 | 2714733.9447 | 1086974.81
4 | 2714744.4187 | 1086987.4023 | 2714745.3852 | 1086992.524 | 2714748.0427 | 1086996.6593
5 | 2714744.4187 | 1086987.4023 | 2714762.6611 | 1086996.4635 | 2714762.9137 | 1086996.6174
6 | 2714889.3376 | 1087017.2556 | 2714918.8581 | 1087059.8856
7 | 2714889.3376 | 1087017.2556 | 2714892.3468 | 1087015.2777 | 2714894.7316 | 1087018.4249 | 2714897.2199 | 1087016.5039 | 2714894.8779 | 1087013.5576 | 2714900.7913 | 1087008.9994 | 2714908.9634 | 1087003.5832 | 2714911.7838 | 1087001.7463
8 | 2714911.7838 | 1087001.7463 | 2714888.7271 | 1086966.1644 | 2714886.9794 | 1086963.1941
9 | 2714914.4151 | 1087005.8099 | 2714911.7838 | 1087001.7463
10 | 2714914.4151 | 1087005.8099 | 2714918.0493 | 1087011.4157 | 2714931.5185 | 1087031.4717
11 | 2714882.2765 | 1086955.2017 | 2714886.9794 | 1086963.1941
12 | 2714875.1144 | 1086944.5148 | 2714882.2765 | 1086955.2017
13 | 2714741.3766 | 1086883.7289 | 2714742.5707 | 1086884.185 | 2714752.249 | 1086891.0722 | 2714755.684 | 1086897.786 | 2714759.3111 | 1086907.232
14 | 2714741.3766 | 1086883.7289 | 2714732.9271 | 1086875.461
15 | 2714741.3766 | 1086883.7289 | 2714728.8 | 1086888.573 | 2714739.2662 | 1086907.172 | 2714733.4344 | 1086916.046 | 2714726.698 | 1086928.8612 | 2714723.646 | 1086930.2269
16 | 2714732.9271 | 1086875.461 | 2714729.628 | 1086872.2329 | 2714718.8686 | 1086860.8296
17 | 2714723.646 | 1086930.2269 | 2714721.6461 | 1086934.2364
18 | 2714708.2126 | 1086849.5359 | 2714718.8686 | 1086860.8296
19 | 2714721.6461 | 1086934.2364 | 2714704.333 | 1086925.1505
20 | 2714721.6461 | 1086934.2364 | 2714719.6048 | 1086942.904
21 | 2714828.7113 | 1086942.1045 | 2714834.8953 | 1086946.8936
22 | 2714828.7113 | 1086942.1045 | 2714829.2942 | 1086937.5345 | 2714824.2099 | 1086931.8681 | 2714820.5994 | 1086928.1689
23 | 2714834.8953 | 1086946.8936 | 2714835.7014 | 1086947.5178 | 2714844.955 | 1086960.0344 | 2714847.3046 | 1086970.3622
24 | 2714817.709 | 1086925.2075 | 2714820.5994 | 1086928.1689
25 | 2714809.7921 | 1086912.5717 | 2714813.6289 | 1086921.0166 | 2714817.709 | 1086925.2075
26 | 2714809.7921 | 1086912.5717 | 2714806.1876 | 1086910.2831
27 | 2714817.709 | 1086925.2075 | 2714823.4541 | 1086913.53
28 | 2714797.866 | 1086904.9993 | 2714806.1876 | 1086910.2831
29 | 2714708.2126 | 1086849.5359 | 2714728.6625 | 1086853.1606
30 | 2714708.2126 | 1086849.5359 | 2714702.7934 | 1086862.4539 | 2714704.5689 | 1086866.8077
31 | 2714700.5686 | 1086844.633 | 2714708.2126 | 1086849.5359
32 | 2714686.2633 | 1086914.8454 | 2714698.8567 | 1086922.2766 | 2714704.333 | 1086925.1505
33 | 2714733.9447 | 1086974.81 | 2714726.7171 | 1086966.1207 | 2714721.7519 | 1086959.0778 | 2714719.9452 | 1086955.3078 | 2714719.6048 | 1086942.904
34 | 2714847.5488 | 1086971.4356 | 2714847.3046 | 1086970.3622
35 | 2714824.2474 | 1086900.8127 | 2714818.0098 | 1086905.5663 | 2714823.4541 | 1086913.53 | 2714823.4541 | 1086913.53
36 | 2714792.9538 | 1086901.8802 | 2714797.866 | 1086904.9993
37 | 2714717.6831 | 1086817.7025 | 2714709.7923 | 1086830.3635 | 2714706.1664 | 1086835.2683
38 | 2714700.5686 | 1086844.633 | 2714703.0638 | 1086839.4653 | 2714706.1664 | 1086835.2683
39 | 2714700.5686 | 1086844.633 | 2714699.6028 | 1086843.9312
40 | 2714743.8731 | 1086855.8566 | 2714728.6625 | 1086853.1606
41 | 2714777.2383 | 1086838.6514 | 2714785.233 | 1086845.4165
42 | 2714777.2383 | 1086838.6514 | 2714775.8913 | 1086840.5384 | 2714772.6724 | 1086845.4033 | 2714772.4412 | 1086845.7881
43 | 2714764.6014 | 1086858.4209 | 2714767.0367 | 1086854.5701 | 2714768.2262 | 1086852.8024 | 2714772.4412 | 1086845.7881
44 | 2714756.5483 | 1086831.6004 | 2714755.1967 | 1086840.1036 | 2714750.3432 | 1086848.1132
45 | 2714743.8731 | 1086855.8566 | 2714748.8617 | 1086850.5581 | 2714750.3432 | 1086848.1132
46 | 2714743.8731 | 1086855.8566 | 2714755.6934 | 1086863.9628 | 2714759.4624 | 1086866.5467
47 | 2714759.4624 | 1086866.5467 | 2714764.5979 | 1086870.116
48 | 2714759.4624 | 1086866.5467 | 2714755.6934 | 1086863.9628 | 2714751.4919 | 1086870.3213
49 | 2714759.4624 | 1086866.5467 | 2714764.2606 | 1086858.9597
50 | 2714773.9001 | 1086876.5813 | 2714764.5979 | 1086870.116
51 | 2714751.4919 | 1086870.3213 | 2714743.531 | 1086865.7246
52 | 2714764.6014 | 1086858.4209 | 2714764.2606 | 1086858.9597
53 | 2714773.9001 | 1086876.5813 | 2714777.5193 | 1086881.1608
54 | 2714779.7259 | 1086867.2069 | 2714773.9001 | 1086876.5813
55 | 2714779.7259 | 1086867.2069 | 2714788.9745 | 1086874.4231
56 | 2714797.3646 | 1086882.3721 | 2714795.1455 | 1086879.4838 | 2714793.6283 | 1086878.0542 | 2714788.9745 | 1086874.4231
57 | 2714810.7819 | 1086868.3376 | 2714805.9959 | 1086863.957
58 | 2714810.7819 | 1086868.3376 | 2714806.5382 | 1086873.2276 | 2714805.3659 | 1086874.4953 | 2714802.9016 | 1086876.9212
59 | 2714783.4374 | 1086892.5833 | 2714781.3575 | 1086886.0173 | 2714777.5193 | 1086881.1608
60 | 2714797.3646 | 1086882.3721 | 2714802.9016 | 1086876.9212
61 | 2714797.3646 | 1086882.3721 | 2714798.8189 | 1086883.972
62 | 2714783.4374 | 1086892.5833 | 2714776.7397 | 1086895.2804
63 | 2714783.4374 | 1086892.5833 | 2714787.7825 | 1086901.6492 | 2714792.9538 | 1086901.8802
64 | 2714855.6031 | 1086921.2862 | 2714832.8736 | 1086894.2388
65 | 2714832.8736 | 1086894.2388 | 2714824.2474 | 1086900.8127
66 | 2714855.6031 | 1086921.2862 | 2714847.8962 | 1086928.976
67 | 2714847.8962 | 1086928.976 | 2714846.2632 | 1086930.6053 | 2714856.1687 | 1086941.9457
68 | 2714875.1144 | 1086944.5148 | 2714865.0846 | 1086952.1531 | 2714856.1687 | 1086941.9457
69 | 2714847.5488 | 1086971.4356 | 2714848.1865 | 1086974.2385 | 2714851.9752 | 1086985.7929
70 | 2714854.5747 | 1086993.7206 | 2714851.9752 | 1086985.7929
71 | 2714855.7437 | 1086997.2858 | 2714855.7437 | 1086997.2858 | 2714854.5747 | 1086993.7206
72 | 2714818.2344 | 1087107.6024 | 2714815.7047 | 1087104.2046 | 2714811.0244 | 1087098.5235 | 2714807.0273 | 1087089.9422 | 2714800.9632 | 1087080.6993 | 2714798.0121 | 1087074.6007
73 | 2714818.2344 | 1087107.6024 | 2714798.7365 | 1087230.3829
74 | 2714798.0121 | 1087074.6007 | 2714796.0491 | 1087070.544 | 2714790.6015 | 1087061.9354 | 2714784.8339 | 1087052.598 | 2714775.4099 | 1087039.2444 | 2714772.3452 | 1087034.4756
75 | 2714772.3452 | 1087034.4756 | 2714768.7077 | 1087028.8154
76 | 2714768.6396 | 1087028.7094 | 2714768.7077 | 1087028.8154
77 | 2714752.7438 | 1087003.9745 | 2714768.6396 | 1087028.7094
78 | 2714748.0427 | 1086996.6593 | 2714752.7438 | 1087003.9745
79 | 2714892.0036 | 1087057.4745 | 2714891.8097 | 1087057.2855 | 2714888.1147 | 1087051.6119 | 2714887.1977 | 1087044.2895 | 2714886.6642 | 1087040.0765 | 2714879.0675 | 1087029.4036 | 2714875.0911 | 1087019.3216 | 2714873.7532 | 1087014.1483 | 2714870.1808 | 1087010.2004 | 2714865.6139 | 1087006.1152
80 | 2714855.7437 | 1086997.2858 | 2714865.6139 | 1087006.1152
81 | 2714825.8657 | 1087056.1977 | 2714815.887 | 1087041.0607
82 | 2714800.2023 | 1087022.9002 | 2714813.6999 | 1087037.7431 | 2714815.887 | 1087041.0607
83 | 2714800.2023 | 1087022.9002 | 2714792.9396 | 1087014.9136 | 2714789.2633 | 1087012.6735
84 | 2714789.2633 | 1087012.6735 | 2714762.9137 | 1086996.6174
85 | 2714686.2633 | 1086914.8454 | 2714684.8012 | 1086913.5987
86 | 2714686.2633 | 1086914.8454 | 2714681.3371 | 1086914.7859 | 2714674.991 | 1086914.3105 | 2714670.4576 | 1086913.3178
87 | 2714670.4576 | 1086913.3178 | 2714663.5463 | 1086911.8043 | 2714653.076 | 1086911.1178 | 2714643.503 | 1086911.625

## bus_geodata
| x | y | coords
0 | 2714615.1987 | 1087092.5189
1 | 2714718.4419 | 1086974.9384
2 | 2714700.9748 | 1086951.6222
3 | 2714744.4187 | 1086987.4023
4 | 2714918.8581 | 1087059.8856
5 | 2714889.3376 | 1087017.2556
6 | 2714911.7838 | 1087001.7463
7 | 2714914.4151 | 1087005.8099
8 | 2714931.5185 | 1087031.4717
9 | 2714886.9794 | 1086963.1941
10 | 2714882.2765 | 1086955.2017
11 | 2714759.3111 | 1086907.232
12 | 2714741.3766 | 1086883.7289
13 | 2714732.9271 | 1086875.461
14 | 2714723.646 | 1086930.2269
15 | 2714718.8686 | 1086860.8296
16 | 2714721.6461 | 1086934.2364
17 | 2714828.7113 | 1086942.1045
18 | 2714834.8952 | 1086946.8936
19 | 2714820.5994 | 1086928.1689
20 | 2714809.7921 | 1086912.5717
21 | 2714817.709 | 1086925.2075
22 | 2714806.1876 | 1086910.2831
23 | 2714708.2126 | 1086849.5359
24 | 2714704.5689 | 1086866.8077
25 | 2714704.333 | 1086925.1505
26 | 2714719.6048 | 1086942.904
27 | 2714847.3046 | 1086970.3622
28 | 2714823.4541 | 1086913.53
29 | 2714797.866 | 1086904.9993
30 | 2714717.6831 | 1086817.7025
31 | 2714706.1664 | 1086835.2683
32 | 2714700.5686 | 1086844.633
33 | 2714699.6028 | 1086843.9312
34 | 2714728.6625 | 1086853.1606
35 | 2714777.2383 | 1086838.6514
36 | 2714785.233 | 1086845.4165
37 | 2714772.4412 | 1086845.7881
38 | 2714756.5483 | 1086831.6004
39 | 2714750.3432 | 1086848.1132
40 | 2714743.8732 | 1086855.8566
41 | 2714759.4624 | 1086866.5467
42 | 2714764.5979 | 1086870.116
43 | 2714751.4919 | 1086870.3213
44 | 2714764.2606 | 1086858.9597
45 | 2714743.531 | 1086865.7246
46 | 2714764.6014 | 1086858.4209
47 | 2714773.9001 | 1086876.5813
48 | 2714779.7259 | 1086867.2069
49 | 2714788.9745 | 1086874.4231
50 | 2714805.9958 | 1086863.957
51 | 2714810.7819 | 1086868.3376
52 | 2714777.5193 | 1086881.1608
53 | 2714797.3646 | 1086882.3721
54 | 2714802.9016 | 1086876.9212
55 | 2714798.8189 | 1086883.972
56 | 2714783.4374 | 1086892.5833
57 | 2714832.8736 | 1086894.2388
58 | 2714855.6031 | 1086921.2862
59 | 2714824.2474 | 1086900.8127
60 | 2714847.8962 | 1086928.976
61 | 2714792.9538 | 1086901.8802
62 | 2714875.1144 | 1086944.5148
63 | 2714856.1687 | 1086941.9457
64 | 2714776.7397 | 1086895.2804
65 | 2714847.5488 | 1086971.4356
66 | 2714851.9752 | 1086985.7929
67 | 2714854.5747 | 1086993.7206
68 | 2714818.2344 | 1087107.6024
69 | 2714798.0121 | 1087074.6007
70 | 2714798.7365 | 1087230.3829
71 | 2714772.3452 | 1087034.4756
72 | 2714768.7077 | 1087028.8154
73 | 2714768.6396 | 1087028.7094
74 | 2714752.7438 | 1087003.9745
75 | 2714892.0036 | 1087057.4745
76 | 2714865.6139 | 1087006.1152
77 | 2714855.7437 | 1086997.2858
78 | 2714825.8657 | 1087056.1977
79 | 2714815.887 | 1087041.0607
80 | 2714800.2023 | 1087022.9002
81 | 2714789.2633 | 1087012.6735
82 | 2714762.9137 | 1086996.6174
83 | 2714733.9447 | 1086974.81
84 | 2714748.0427 | 1086996.6593
85 | 2714686.2633 | 1086914.8454
86 | 2714684.8012 | 1086913.5987
87 | 2714670.4576 | 1086913.3178
88 | 2714643.503 | 1086911.625
89 | 2714741.3766 | 1086883.7289

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1