## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5208-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5208-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5208-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5208-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5208-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5208-2_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_5208-2_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_5208-2_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_5208-2_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_5208-2_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_5208-2_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_5208-2_0_3_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_5208-2_0_3_node_31 | 0.4 | n |  | TRUE
13 | bus_LV_5208-2_0_3_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_5208-2_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_5208-2_0_3_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_5208-2_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_5208-2_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_5208-2_0_3_node_44 | 0.4 | n |  | TRUE
19 | bus_LV_5208-2_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_5208-2_0_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_5208-2_0_3_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_5208-2_0_3_node_23 | 0.4 | n |  | TRUE
23 | bus_LV_5208-2_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_5208-2_0_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_5208-2_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_5208-2_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5208-2_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5208-2_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_5208-2_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5208-2_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_5208-2_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5208-2_0_3_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_5208-2_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_5208-2_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5208-2_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_5208-2_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_5208-2_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_5208-2_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_5208-2_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_5208-2_0_3_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_5208-2_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_5208-2_0_3_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_5208-2_0_3_node_43 | 0.4 | n |  | TRUE
44 | bus_MV_73_1_node_6 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5208-2_0_3_load_0 | 0 | 0.014782 | 0.0037048 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5208-2_0_3_load_1 | 1 | 0.0071949 | 0.0018032 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5208-2_0_3_load_3 | 3 | 0.014594 | 0.0036575 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5208-2_0_3_load_4 | 4 | 0.0015724 | 0.00039409 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5208-2_0_3_load_5 | 7 | 0.0090585 | 0.0022703 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5208-2_0_3_load_10 | 10 | 0.0070398 | 0.0017643 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5208-2_0_3_load_47 | 11 | 0.0074651 | 0.0018709 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5208-2_0_3_load_32 | 13 | 0.0077833 | 0.0019507 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5208-2_0_3_load_16 | 15 | 0.0042701 | 0.0010702 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5208-2_0_3_load_14 | 16 | 0.0029797 | 0.00074677 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5208-2_0_3_load_44 | 18 | 0.0031037 | 0.00077786 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5208-2_0_3_load_41 | 20 | 0.0066981 | 0.0016787 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5208-2_0_3_load_39 | 21 | 0.0079135 | 0.0019833 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5208-2_0_3_load_23 | 22 | 0.0046005 | 0.001153 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5208-2_0_3_load_45 | 24 | 0.0059508 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5208-2_0_3_load_18 | 25 | 0.006545 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5208-2_0_3_load_19 | 26 | 0.0038214 | 0.00095773 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5208-2_0_3_load_21 | 28 | 0.0021869 | 0.00054809 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5208-2_0_3_load_22 | 29 | 0.0052807 | 0.0013235 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5208-2_0_3_load_24 | 30 | 0.0037378 | 0.00093678 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5208-2_0_3_load_27 | 31 | 0.011153 | 0.0027952 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5208-2_0_3_load_25 | 32 | 0.0044859 | 0.0011243 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5208-2_0_3_load_26 | 33 | 0.012042 | 0.003018 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5208-2_0_3_load_28 | 34 | 0.0096317 | 0.0024139 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5208-2_0_3_load_29 | 35 | 0.0093961 | 0.0023549 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5208-2_0_3_load_33 | 36 | 0.0038431 | 0.00096318 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5208-2_0_3_load_34 | 37 | 0.0045312 | 0.0011356 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5208-2_0_3_load_35 | 38 | 0.05406 | 0.013549 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5208-2_0_3_load_36 | 39 | 0.028281 | 0.0070879 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5208-2_0_3_load_37 | 40 | 0.017383 | 0.0043566 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5208-2_0_3_load_42 | 42 | 0.0034246 | 0.0008583 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5208-2_0_3_load_43 | 43 | 0.0078474 | 0.0019668 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5208-2_0_3_line_0 |  | 0 | 1 | 0.031846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5208-2_0_3_line_1 |  | 0 | 2 | 0.024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5208-2_0_3_line_2 |  | 2 | 3 | 0.026819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5208-2_0_3_line_3 |  | 2 | 4 | 0.010826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5208-2_0_3_line_4 |  | 3 | 5 | 0.030137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5208-2_0_3_line_5 |  | 5 | 6 | 0.046251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5208-2_0_3_line_6 |  | 6 | 15 | 0.18663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5208-2_0_3_line_7 |  | 6 | 14 | 0.1263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5208-2_0_3_line_8 |  | 6 | 16 | 0.070385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5208-2_0_3_line_9 |  | 7 | 8 | 0.0084854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5208-2_0_3_line_10 |  | 8 | 9 | 0.094339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5208-2_0_3_line_11 |  | 8 | 10 | 0.13379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5208-2_0_3_line_12 |  | 9 | 11 | 0.047069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5208-2_0_3_line_13 |  | 10 | 12 | 0.016524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5208-2_0_3_line_14 |  | 12 | 13 | 0.018567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5208-2_0_3_line_15 |  | 12 | 14 | 0.03303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5208-2_0_3_line_16 |  | 13 | 36 | 0.034147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5208-2_0_3_line_17 |  | 14 | 17 | 0.028745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_5208-2_0_3_line_18 |  | 14 | 18 | 0.031122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5208-2_0_3_line_19 |  | 16 | 19 | 0.075588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5208-2_0_3_line_20 |  | 17 | 20 | 0.014061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_5208-2_0_3_line_21 |  | 17 | 21 | 0.043853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5208-2_0_3_line_22 |  | 18 | 22 | 0.021606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5208-2_0_3_line_23 |  | 19 | 23 | 0.12126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5208-2_0_3_line_24 |  | 20 | 42 | 0.00088389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5208-2_0_3_line_25 |  | 21 | 41 | 0.01692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5208-2_0_3_line_26 |  | 22 | 27 | 0.043832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5208-2_0_3_line_27 |  | 23 | 24 | 0.12812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5208-2_0_3_line_28 |  | 25 | 26 | 0.031002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5208-2_0_3_line_29 |  | 25 | 27 | 0.012415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5208-2_0_3_line_30 |  | 26 | 28 | 0.001016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5208-2_0_3_line_31 |  | 27 | 29 | 0.029973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5208-2_0_3_line_32 |  | 28 | 30 | 0.021909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5208-2_0_3_line_33 |  | 30 | 31 | 0.0010371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5208-2_0_3_line_34 |  | 31 | 32 | 0.0010979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5208-2_0_3_line_35 |  | 32 | 33 | 0.0198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5208-2_0_3_line_36 |  | 33 | 34 | 0.0072119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5208-2_0_3_line_37 |  | 34 | 35 | 0.030763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5208-2_0_3_line_38 |  | 36 | 37 | 0.022743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5208-2_0_3_line_39 |  | 37 | 38 | 0.043195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5208-2_0_3_line_40 |  | 39 | 40 | 0.035036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5208-2_0_3_line_41 |  | 40 | 41 | 0.045112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5208-2_0_3_line_42 |  | 42 | 43 | 0.024835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5208-2_0_3_trafo_41 | 0.63 MVA 20/0.4 kV | 44 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2716520.0293 | 1100654.6905 | 2716524.1831 | 1100654.4812 | 2716533.3785 | 1100660.6507 | 2716539.5987 | 1100664.9173 | 2716548.6522 | 1100665.4731
1 | 2716573.1865 | 1100668.82 | 2716569.9093 | 1100668.5347 | 2716567.3126 | 1100668.2958 | 2716549.6129 | 1100665.5321 | 2716548.6522 | 1100665.4731
2 | 2716573.1865 | 1100668.82 | 2716579.6093 | 1100669.388 | 2716590.3568 | 1100669.3165 | 2716598.4922 | 1100670.6068 | 2716599.2675 | 1100671.7558
3 | 2716568.6977 | 1100677.6065 | 2716568.7705 | 1100673.8164 | 2716569.7691 | 1100671.0003 | 2716573.1865 | 1100668.82
4 | 2716598.7621 | 1100641.6366 | 2716598.72 | 1100651.487 | 2716598.757 | 1100664.4744 | 2716599.2675 | 1100671.7558
5 | 2716598.7621 | 1100641.6366 | 2716598.636 | 1100628.0471 | 2716602.3195 | 1100628.1401 | 2716611.7564 | 1100621.3277 | 2716612.4035 | 1100613.0345 | 2716612.3367 | 1100604.0159
6 | 2716612.3367 | 1100604.0159 | 2716598.6227 | 1100537.2293 | 2716575.2565 | 1100462.6299 | 2716570.6688 | 1100430.1863 | 2716570.496 | 1100422.6778
7 | 2716486.6733 | 1100616.5026 | 2716492.4665 | 1100615.5908 | 2716595.4439 | 1100605.993 | 2716612.3367 | 1100604.0159
8 | 2716612.3367 | 1100604.0159 | 2716665.2454 | 1100599.2618 | 2716682.3556 | 1100596.9695
9 | 2716569.9468 | 1100775.8532 | 2716576.1841 | 1100781.6063
10 | 2716569.9468 | 1100775.8532 | 2716560.7283 | 1100771.7068 | 2716512.8496 | 1100773.434 | 2716476.275 | 1100774.7224
11 | 2716569.9468 | 1100775.8532 | 2716532.6835 | 1100722.6686 | 2716504.1759 | 1100681.9941 | 2716496.3609 | 1100664.4823
12 | 2716476.275 | 1100774.7224 | 2716505.9718 | 1100811.2411
13 | 2716489.6269 | 1100649.3928 | 2716496.3609 | 1100664.4823
14 | 2716489.6269 | 1100649.3928 | 2716471.5446 | 1100653.6076
15 | 2716489.6269 | 1100649.3928 | 2716486.6733 | 1100616.5026
16 | 2716471.5446 | 1100653.6076 | 2716466.0473 | 1100654.8889 | 2716455.5459 | 1100661.103 | 2716442.0919 | 1100658.9881 | 2716439.4113 | 1100659.0031
17 | 2716457.8658 | 1100617.6511 | 2716486.6733 | 1100616.5026
18 | 2716486.6733 | 1100616.5026 | 2716484.5436 | 1100585.454
19 | 2716757.2743 | 1100586.9324 | 2716682.3556 | 1100596.9695
20 | 2716457.8658 | 1100617.6511 | 2716457.9139 | 1100603.5901
21 | 2716457.8658 | 1100617.6511 | 2716419.2248 | 1100621.6799 | 2716414.2303 | 1100621.9622
22 | 2716484.5436 | 1100585.454 | 2716483.3277 | 1100567.7273 | 2716482.6217 | 1100563.9555
23 | 2716757.2743 | 1100586.9324 | 2716752.8155 | 1100509.1935 | 2716749.0009 | 1100465.9907
24 | 2716457.9169 | 1100602.7063 | 2716457.9139 | 1100603.5901
25 | 2716397.3371 | 1100622.9169 | 2716414.2303 | 1100621.9622
26 | 2716474.5565 | 1100520.8716 | 2716482.6217 | 1100563.9555
27 | 2716749.0009 | 1100465.9907 | 2716649.0645 | 1100483.1939 | 2716641.0786 | 1100478.5374 | 2716634.4634 | 1100462.3659
28 | 2716462.3111 | 1100518.8244 | 2716431.7339 | 1100513.7126
29 | 2716474.5565 | 1100520.8716 | 2716462.3111 | 1100518.8244
30 | 2716430.7317 | 1100513.5451 | 2716431.7339 | 1100513.7126
31 | 2716474.5565 | 1100520.8716 | 2716465.8654 | 1100506.1616 | 2716461.8936 | 1100493.9017
32 | 2716409.1224 | 1100509.9325 | 2716430.7317 | 1100513.5451
33 | 2716409.1224 | 1100509.9325 | 2716408.0994 | 1100509.7615
34 | 2716408.0994 | 1100509.7615 | 2716407.0166 | 1100509.5805
35 | 2716387.4879 | 1100506.3157 | 2716407.0166 | 1100509.5805
36 | 2716387.4879 | 1100506.3157 | 2716380.3747 | 1100505.1266
37 | 2716350.0324 | 1100500.054 | 2716380.3747 | 1100505.1266
38 | 2716416.6705 | 1100659.1629 | 2716416.9582 | 1100659.1287 | 2716439.4113 | 1100659.0031
39 | 2716376.2042 | 1100672.8351 | 2716401.974 | 1100660.9095 | 2716416.6705 | 1100659.1629
40 | 2716362.8732 | 1100578.1157 | 2716397.9078 | 1100577.8082
41 | 2716397.3371 | 1100622.9169 | 2716397.9078 | 1100577.8082 | 2716397.9078 | 1100577.8082
42 | 2716458.0018 | 1100577.871 | 2716457.9169 | 1100602.7063

## bus_geodata
| x | y | coords
0 | 2716548.6522 | 1100665.4731
1 | 2716520.0293 | 1100654.6905
2 | 2716573.1865 | 1100668.82
3 | 2716599.2675 | 1100671.7558
4 | 2716568.6977 | 1100677.6065
5 | 2716598.7621 | 1100641.6366
6 | 2716612.3367 | 1100604.0159
7 | 2716576.1841 | 1100781.6063
8 | 2716569.9468 | 1100775.8532
9 | 2716476.275 | 1100774.7224
10 | 2716496.3609 | 1100664.4823
11 | 2716505.9718 | 1100811.2411
12 | 2716489.6269 | 1100649.3928
13 | 2716471.5446 | 1100653.6076
14 | 2716486.6733 | 1100616.5026
15 | 2716570.496 | 1100422.6778
16 | 2716682.3556 | 1100596.9695
17 | 2716457.8658 | 1100617.6511
18 | 2716484.5436 | 1100585.454
19 | 2716757.2743 | 1100586.9324
20 | 2716457.9139 | 1100603.5901
21 | 2716414.2303 | 1100621.9622
22 | 2716482.6217 | 1100563.9555
23 | 2716749.0009 | 1100465.9907
24 | 2716634.4634 | 1100462.3659
25 | 2716462.3111 | 1100518.8244
26 | 2716431.7339 | 1100513.7126
27 | 2716474.5565 | 1100520.8716
28 | 2716430.7317 | 1100513.5451
29 | 2716461.8936 | 1100493.9017
30 | 2716409.1224 | 1100509.9325
31 | 2716408.0994 | 1100509.7615
32 | 2716407.0166 | 1100509.5805
33 | 2716387.4879 | 1100506.3157
34 | 2716380.3747 | 1100505.1266
35 | 2716350.0324 | 1100500.054
36 | 2716439.4113 | 1100659.0031
37 | 2716416.6705 | 1100659.1629
38 | 2716376.2042 | 1100672.8351
39 | 2716362.8732 | 1100578.1157
40 | 2716397.9078 | 1100577.8082
41 | 2716397.3371 | 1100622.9169
42 | 2716457.9169 | 1100602.7063
43 | 2716458.0018 | 1100577.871
44 | 2716457.8658 | 1100617.6511

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98558 | -0.27744 | 0.014782 | 0.0037048
1 | 0.98537 | -0.28155 | 0.0071949 | 0.0018032
2 | 0.98608 | -0.26767 | 0 | 0
3 | 0.98666 | -0.25636 | 0.014594 | 0.0036575
4 | 0.98607 | -0.26798 | 0.0015724 | 0.00039409
5 | 0.98772 | -0.2358 | 0 | 0
6 | 0.98934 | -0.20433 | 0 | 0
7 | 0.99001 | -0.19166 | 0.0090585 | 0.0022703
8 | 0.99008 | -0.19029 | 0 | 0
9 | 0.98943 | -0.20283 | 0 | 0
10 | 0.9921 | -0.15105 | 0.0070398 | 0.0017643
11 | 0.98911 | -0.20909 | 0.0074651 | 0.0018709
12 | 0.99246 | -0.14415 | 0 | 0
13 | 0.99126 | -0.16725 | 0.0077833 | 0.0019507
14 | 0.9953 | -0.089489 | 0 | 0
15 | 0.98861 | -0.21854 | 0.0042701 | 0.0010702
16 | 0.98876 | -0.21554 | 0.0029797 | 0.00074677
17 | 0.99823 | -0.033727 | 0 | 0
18 | 0.99313 | -0.13119 | 0.0031037 | 0.00077786
19 | 0.98835 | -0.22358 | 0 | 0
20 | 1 | 0 | -0.29061 | -0.073563
21 | 0.99608 | -0.074915 | 0.0079135 | 0.0019833
22 | 0.99168 | -0.15906 | 0.0046005 | 0.001153
23 | 0.98769 | -0.23647 | 0 | 0
24 | 0.98699 | -0.25011 | 0.0059508 | 0.0014914
25 | 0.98821 | -0.22621 | 0.006545 | 0.0016403
26 | 0.9866 | -0.2575 | 0.0038214 | 0.00095773
27 | 0.98893 | -0.21226 | 0 | 0
28 | 0.98655 | -0.25845 | 0.0021869 | 0.00054809
29 | 0.98878 | -0.21508 | 0.0052807 | 0.0013235
30 | 0.98553 | -0.27827 | 0.0037378 | 0.00093678
31 | 0.98548 | -0.27914 | 0.011153 | 0.0027952
32 | 0.98545 | -0.27984 | 0.0044859 | 0.0011243
33 | 0.98488 | -0.29089 | 0.012042 | 0.003018
34 | 0.98476 | -0.29335 | 0.0096317 | 0.0024139
35 | 0.98449 | -0.29855 | 0.0093961 | 0.0023549
36 | 0.9893 | -0.20514 | 0.0038431 | 0.00096318
37 | 0.98808 | -0.22891 | 0.0045312 | 0.0011356
38 | 0.98593 | -0.27069 | 0.05406 | 0.013549
39 | 0.99259 | -0.14232 | 0.028281 | 0.0070879
40 | 0.99349 | -0.12481 | 0.017383 | 0.0043566
41 | 0.99538 | -0.088498 | 0 | 0
42 | 0.99999 | -0.00017367 | 0.0034246 | 0.0008583
43 | 0.99981 | -0.0035714 | 0.0078474 | 0.0019668
44 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0071963 | 0.0018037 | -0.0071949 | -0.0018032 | 1.4097e-06 | 4.9649e-07 | 0.010865 | 0.010865 | 0.010865 | 0.98558 | -0.27744 | 0.98537 | -0.28155 | 2.9849
1 | -0.021979 | -0.0055085 | 0.021989 | 0.0055147 | 1.023e-05 | 6.2311e-06 | 0.033183 | 0.033183 | 0.033183 | 0.98558 | -0.27744 | 0.98608 | -0.26767 | 9.1162
2 | -0.023561 | -0.0059087 | 0.023574 | 0.0059165 | 1.2714e-05 | 7.7948e-06 | 0.035556 | 0.035556 | 0.035556 | 0.98608 | -0.26767 | 0.98666 | -0.25636 | 9.7681
3 | 0.0015725 | 0.00039396 | -0.0015724 | -0.00039409 | 2.2858e-08 | -1.2347e-07 | 0.0023728 | 0.0023729 | 0.0023729 | 0.98608 | -0.26767 | 0.98607 | -0.26798 | 0.65189
4 | -0.038168 | -0.009574 | 0.038205 | 0.0095976 | 3.745e-05 | 2.3582e-05 | 0.057565 | 0.057565 | 0.057565 | 0.98666 | -0.25636 | 0.98772 | -0.2358 | 15.8145
5 | -0.038205 | -0.0095976 | 0.038263 | 0.0096338 | 5.7473e-05 | 3.619e-05 | 0.057565 | 0.057564 | 0.057565 | 0.98772 | -0.2358 | 0.98934 | -0.20433 | 15.8145
6 | 0.004273 | 0.0010696 | -0.0042701 | -0.0010702 | 2.8906e-06 | -5.4476e-07 | 0.0064263 | 0.0064272 | 0.0064272 | 0.98934 | -0.20433 | 0.98861 | -0.21854 | 1.7657
7 | -0.051481 | -0.012946 | 0.051765 | 0.013126 | 0.00028406 | 0.00018016 | 0.077445 | 0.077444 | 0.077445 | 0.98934 | -0.20433 | 0.9953 | -0.089489 | 21.276
8 | 0.008945 | 0.0022425 | -0.0089403 | -0.0022403 | 4.7777e-06 | 2.1545e-06 | 0.013454 | 0.013454 | 0.013454 | 0.98934 | -0.20433 | 0.98876 | -0.21554 | 3.6962
9 | -0.0090585 | -0.0022703 | 0.0090591 | 0.0022705 | 5.8987e-07 | 2.684e-07 | 0.013615 | 0.013615 | 0.013615 | 0.99001 | -0.19166 | 0.99008 | -0.19029 | 3.7405
10 | 0.0074718 | 0.0018734 | -0.0074673 | -0.0018718 | 4.4616e-06 | 1.643e-06 | 0.01123 | 0.01123 | 0.01123 | 0.99008 | -0.19029 | 0.98943 | -0.20283 | 3.0852
11 | -0.016531 | -0.0041439 | 0.016562 | 0.004162 | 3.0968e-05 | 1.8096e-05 | 0.024845 | 0.024845 | 0.024845 | 0.99008 | -0.19029 | 0.9921 | -0.15105 | 6.8256
12 | 0.0074673 | 0.0018718 | -0.0074651 | -0.0018709 | 2.2262e-06 | 8.2042e-07 | 0.01123 | 0.011231 | 0.011231 | 0.98943 | -0.20283 | 0.98911 | -0.20909 | 3.0853
13 | -0.023602 | -0.0059264 | 0.023609 | 0.0059311 | 7.7666e-06 | 4.7572e-06 | 0.035403 | 0.035403 | 0.035403 | 0.9921 | -0.15105 | 0.99246 | -0.14415 | 9.7262
14 | 0.070584 | 0.017831 | -0.070505 | -0.017781 | 7.8051e-05 | 4.9713e-05 | 0.10588 | 0.10588 | 0.10588 | 0.99246 | -0.14415 | 0.99126 | -0.16725 | 29.0872
15 | -0.094193 | -0.023762 | 0.09444 | 0.02392 | 0.00024723 | 0.0001578 | 0.14128 | 0.14128 | 0.14128 | 0.99246 | -0.14415 | 0.9953 | -0.089489 | 38.8134
16 | 0.062722 | 0.015831 | -0.062609 | -0.015758 | 0.00011361 | 7.2273e-05 | 0.094194 | 0.094194 | 0.094194 | 0.99126 | -0.16725 | 0.9893 | -0.20514 | 25.8775
17 | -0.22282 | -0.056488 | 0.22342 | 0.05687 | 0.00059891 | 0.00038255 | 0.33335 | 0.33335 | 0.33335 | 0.9953 | -0.089489 | 0.99823 | -0.033727 | 45.7896
18 | 0.076612 | 0.019442 | -0.076459 | -0.019344 | 0.00015333 | 9.7731e-05 | 0.11462 | 0.11462 | 0.11462 | 0.9953 | -0.089489 | 0.99313 | -0.13119 | 31.49
19 | 0.0059606 | 0.0014935 | -0.0059583 | -0.001493 | 2.2809e-06 | 4.9065e-07 | 0.0089701 | 0.0089705 | 0.0089705 | 0.98876 | -0.21554 | 0.98835 | -0.22358 | 2.4644
20 | -0.27723 | -0.070449 | 0.27768 | 0.070737 | 0.00045101 | 0.00028828 | 0.4136 | 0.4136 | 0.4136 | 0.99823 | -0.033727 | 1 | 0 | 56.8134
21 | 0.053816 | 0.013579 | -0.05371 | -0.013511 | 0.00010592 | 6.7214e-05 | 0.080254 | 0.080254 | 0.080254 | 0.99823 | -0.033727 | 0.99608 | -0.074915 | 22.0478
22 | 0.073355 | 0.018566 | -0.073257 | -0.018504 | 9.7988e-05 | 6.2433e-05 | 0.10997 | 0.10997 | 0.10997 | 0.99313 | -0.13119 | 0.99168 | -0.15906 | 30.2125
23 | 0.0059583 | 0.001493 | -0.0059547 | -0.0014922 | 3.6595e-06 | 7.8907e-07 | 0.0089705 | 0.008971 | 0.008971 | 0.98835 | -0.22358 | 0.98769 | -0.23647 | 2.4646
24 | 0.011273 | 0.0028256 | -0.011273 | -0.0028255 | 9.3274e-08 | 4.8099e-08 | 0.016775 | 0.016775 | 0.016775 | 1 | 0 | 0.99999 | -0.00017367 | 4.6086
25 | 0.045797 | 0.011528 | -0.045767 | -0.011509 | 2.9714e-05 | 1.8797e-05 | 0.068432 | 0.068432 | 0.068432 | 0.99608 | -0.074915 | 0.99538 | -0.088498 | 18.8001
26 | 0.068657 | 0.017351 | -0.068482 | -0.01724 | 0.00017462 | 0.00011119 | 0.10307 | 0.10307 | 0.10307 | 0.99168 | -0.15906 | 0.98893 | -0.21226 | 28.3161
27 | 0.0059547 | 0.0014922 | -0.0059508 | -0.0014914 | 3.867e-06 | 8.3627e-07 | 0.008971 | 0.0089716 | 0.0089716 | 0.98769 | -0.23647 | 0.98699 | -0.25011 | 2.4647
28 | 0.056613 | 0.014249 | -0.056529 | -0.014195 | 8.4526e-05 | 5.37e-05 | 0.085268 | 0.085269 | 0.085269 | 0.98821 | -0.22621 | 0.9866 | -0.2575 | 23.4254
29 | -0.063158 | -0.015889 | 0.063201 | 0.015916 | 4.2128e-05 | 2.6803e-05 | 0.095124 | 0.095124 | 0.095124 | 0.98821 | -0.22621 | 0.98893 | -0.21226 | 26.1329
30 | 0.052708 | 0.013238 | -0.052705 | -0.013236 | 2.4084e-06 | 1.5284e-06 | 0.079505 | 0.079505 | 0.079505 | 0.9866 | -0.2575 | 0.98655 | -0.25845 | 21.8421
31 | 0.0052814 | 0.0013235 | -0.0052807 | -0.0013235 | 7.0983e-07 | 6.9782e-08 | 0.0079468 | 0.0079469 | 0.0079469 | 0.98893 | -0.21226 | 0.98878 | -0.21508 | 2.1832
32 | 0.050518 | 0.012688 | -0.050471 | -0.012658 | 4.7714e-05 | 3.0257e-05 | 0.076207 | 0.076207 | 0.076207 | 0.98655 | -0.25845 | 0.98553 | -0.27827 | 20.9359
33 | 0.046733 | 0.011721 | -0.046731 | -0.01172 | 1.9365e-06 | 1.2262e-06 | 0.070563 | 0.070563 | 0.070563 | 0.98553 | -0.27827 | 0.98548 | -0.27914 | 19.3855
34 | 0.035578 | 0.0089245 | -0.035577 | -0.0089237 | 1.1883e-06 | 7.4651e-07 | 0.053723 | 0.053723 | 0.053723 | 0.98548 | -0.27914 | 0.98545 | -0.27984 | 14.759
35 | 0.031091 | 0.0077995 | -0.031074 | -0.0077892 | 1.6366e-05 | 1.0222e-05 | 0.046949 | 0.046949 | 0.046949 | 0.98545 | -0.27984 | 0.98488 | -0.29089 | 12.8981
36 | 0.019032 | 0.0047712 | -0.01903 | -0.0047699 | 2.2363e-06 | 1.3394e-06 | 0.028756 | 0.028756 | 0.028756 | 0.98488 | -0.29089 | 0.98476 | -0.29335 | 7.8999
37 | 0.0093984 | 0.002356 | -0.0093961 | -0.0023549 | 2.3267e-06 | 1.0978e-06 | 0.014202 | 0.014202 | 0.014202 | 0.98476 | -0.29335 | 0.98449 | -0.29855 | 3.9016
38 | 0.058765 | 0.014795 | -0.058699 | -0.014753 | 6.6668e-05 | 4.2376e-05 | 0.088413 | 0.088414 | 0.088414 | 0.9893 | -0.20514 | 0.98808 | -0.22891 | 24.2894
39 | 0.054168 | 0.013617 | -0.05406 | -0.013549 | 0.00010783 | 6.8459e-05 | 0.08159 | 0.08159 | 0.08159 | 0.98808 | -0.22891 | 0.98593 | -0.27069 | 22.4148
40 | -0.028281 | -0.0070879 | 0.028305 | 0.0071026 | 2.3617e-05 | 1.4661e-05 | 0.042397 | 0.042397 | 0.042397 | 0.99259 | -0.14232 | 0.99349 | -0.12481 | 11.6476
41 | -0.045688 | -0.011459 | 0.045767 | 0.011509 | 7.9223e-05 | 5.0117e-05 | 0.068433 | 0.068432 | 0.068433 | 0.99349 | -0.12481 | 0.99538 | -0.088498 | 18.8002
42 | 0.0078487 | 0.0019672 | -0.0078474 | -0.0019668 | 1.2704e-06 | 4.8728e-07 | 0.011679 | 0.011679 | 0.011679 | 0.99999 | -0.00017367 | 0.99981 | -0.0035714 | 3.2086

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.2973 | 0.075242

## res_load
| p_mw | q_mvar
0 | 0.014782 | 0.0037048
1 | 0.0071949 | 0.0018032
2 | 0.014594 | 0.0036575
3 | 0.0015724 | 0.00039409
4 | 0.0090585 | 0.0022703
5 | 0.0070398 | 0.0017643
6 | 0.0074651 | 0.0018709
7 | 0.0077833 | 0.0019507
8 | 0.0042701 | 0.0010702
9 | 0.0029797 | 0.00074677
10 | 0.0031037 | 0.00077786
11 | 0.0066981 | 0.0016787
12 | 0.0079135 | 0.0019833
13 | 0.0046005 | 0.001153
14 | 0.0059508 | 0.0014914
15 | 0.006545 | 0.0016403
16 | 0.0038214 | 0.00095773
17 | 0.0021869 | 0.00054809
18 | 0.0052807 | 0.0013235
19 | 0.0037378 | 0.00093678
20 | 0.011153 | 0.0027952
21 | 0.0044859 | 0.0011243
22 | 0.012042 | 0.003018
23 | 0.0096317 | 0.0024139
24 | 0.0093961 | 0.0023549
25 | 0.0038431 | 0.00096318
26 | 0.0045312 | 0.0011356
27 | 0.05406 | 0.013549
28 | 0.028281 | 0.0070879
29 | 0.017383 | 0.0043566
30 | 0.0034246 | 0.0008583
31 | 0.0078474 | 0.0019668

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1