## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5208-3_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5208-3_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5208-3_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5208-3_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5208-3_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5208-3_0_4_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_5208-3_0_4_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_5208-3_0_4_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_5208-3_0_4_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_5208-3_0_4_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_5208-3_0_4_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_5208-3_0_4_node_34 | 0.4 | n |  | TRUE
12 | bus_LV_5208-3_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5208-3_0_4_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_5208-3_0_4_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_5208-3_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5208-3_0_4_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_5208-3_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_5208-3_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_5208-3_0_4_node_47 | 0.4 | n |  | TRUE
20 | bus_LV_5208-3_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_5208-3_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_5208-3_0_4_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_5208-3_0_4_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_5208-3_0_4_node_39 | 0.4 | n |  | TRUE
25 | bus_LV_5208-3_0_4_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_5208-3_0_4_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_5208-3_0_4_node_13 | 0.4 | n |  | TRUE
28 | bus_LV_5208-3_0_4_node_14 | 0.4 | n |  | TRUE
29 | bus_LV_5208-3_0_4_node_15 | 0.4 | n |  | TRUE
30 | bus_LV_5208-3_0_4_node_51 | 0.4 | n |  | TRUE
31 | bus_LV_5208-3_0_4_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_5208-3_0_4_node_52 | 0.4 | n |  | TRUE
33 | bus_LV_5208-3_0_4_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_5208-3_0_4_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_5208-3_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5208-3_0_4_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5208-3_0_4_node_55 | 0.4 | n |  | TRUE
38 | bus_LV_5208-3_0_4_node_42 | 0.4 | n |  | TRUE
39 | bus_LV_5208-3_0_4_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_5208-3_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5208-3_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_5208-3_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_5208-3_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_5208-3_0_4_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_5208-3_0_4_node_29 | 0.4 | n |  | TRUE
46 | bus_LV_5208-3_0_4_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_5208-3_0_4_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_5208-3_0_4_node_30 | 0.4 | n |  | TRUE
49 | bus_LV_5208-3_0_4_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_5208-3_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_5208-3_0_4_node_31 | 0.4 | n |  | TRUE
52 | bus_LV_5208-3_0_4_node_75 | 0.4 | n |  | TRUE
53 | bus_LV_5208-3_0_4_node_56 | 0.4 | n |  | TRUE
54 | bus_LV_5208-3_0_4_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_5208-3_0_4_node_57 | 0.4 | n |  | TRUE
56 | bus_LV_5208-3_0_4_node_35 | 0.4 | n |  | TRUE
57 | bus_LV_5208-3_0_4_node_38 | 0.4 | n |  | TRUE
58 | bus_LV_5208-3_0_4_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_5208-3_0_4_node_45 | 0.4 | n |  | TRUE
60 | bus_LV_5208-3_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5208-3_0_4_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_5208-3_0_4_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_5208-3_0_4_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_5208-3_0_4_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_5208-3_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_5208-3_0_4_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_5208-3_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5208-3_0_4_node_67 | 0.4 | n |  | TRUE
69 | bus_LV_5208-3_0_4_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_5208-3_0_4_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_5208-3_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_5208-3_0_4_node_73 | 0.4 | n |  | TRUE
73 | bus_MV_73_0_node_10 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5208-3_0_4_load_0 | 0 | 0.0086404 | 0.0021655 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5208-3_0_4_load_1 | 1 | 0.0059236 | 0.0014846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5208-3_0_4_load_2 | 2 | 0.0037895 | 0.00094975 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5208-3_0_4_load_3 | 3 | 0.0025687 | 0.00064378 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5208-3_0_4_load_41 | 5 | 0.0058197 | 0.0014586 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5208-3_0_4_load_43 | 6 | 0.0063022 | 0.0015795 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5208-3_0_4_load_36 | 7 | 0.0054136 | 0.0013568 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5208-3_0_4_load_54 | 9 | 0.003428 | 0.00085913 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5208-3_0_4_load_34 | 11 | 0.014118 | 0.0035382 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5208-3_0_4_load_5 | 12 | 0.0063557 | 0.0015929 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5208-3_0_4_load_7 | 14 | 0.010907 | 0.0027334 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5208-3_0_4_load_8 | 15 | 0.0043751 | 0.0010965 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5208-3_0_4_load_21 | 16 | 0.0056639 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5208-3_0_4_load_47 | 19 | 0.0030508 | 0.00076461 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5208-3_0_4_load_9 | 20 | 0.004548 | 0.0011398 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5208-3_0_4_load_10 | 21 | 0.0066308 | 0.0016618 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5208-3_0_4_load_39 | 24 | 0.0057768 | 0.0014478 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5208-3_0_4_load_58 | 25 | 0.011219 | 0.0028116 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5208-3_0_4_load_12 | 26 | 0.0064117 | 0.0016069 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5208-3_0_4_load_13 | 27 | 0.0026236 | 0.00065755 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5208-3_0_4_load_14 | 28 | 0.0043419 | 0.0010882 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5208-3_0_4_load_15 | 29 | 0.0023599 | 0.00059144 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5208-3_0_4_load_18 | 31 | 0.0060354 | 0.0015126 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5208-3_0_4_load_52 | 32 | 0.0055506 | 0.0013911 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5208-3_0_4_load_46 | 33 | 0.0097001 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5208-3_0_4_load_17 | 34 | 0.0092923 | 0.0023289 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5208-3_0_4_load_19 | 35 | 0.0017686 | 0.00044326 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5208-3_0_4_load_20 | 36 | 0.0038682 | 0.00096947 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5208-3_0_4_load_55 | 37 | 0.0035817 | 0.00089765 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5208-3_0_4_load_42 | 38 | 0.005818 | 0.0014581 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5208-3_0_4_load_37 | 39 | 0.0088939 | 0.002229 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5208-3_0_4_load_23 | 40 | 0.048063 | 0.012046 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5208-3_0_4_load_26 | 43 | 0.0086921 | 0.0021784 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5208-3_0_4_load_28 | 44 | 0.0035162 | 0.00088124 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5208-3_0_4_load_29 | 45 | 0.020136 | 0.0050465 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5208-3_0_4_load_71 | 46 | 0.0052876 | 0.0013252 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5208-3_0_4_load_72 | 49 | 0.012151 | 0.0030453 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5208-3_0_4_load_31 | 51 | 0.0052627 | 0.001319 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5208-3_0_4_load_75 | 52 | 0.0028023 | 0.00070232 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5208-3_0_4_load_57 | 55 | 0.0080884 | 0.0020271 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5208-3_0_4_load_35 | 56 | 0.002727 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5208-3_0_4_load_38 | 57 | 0.0085322 | 0.0021384 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5208-3_0_4_load_44 | 58 | 0.0037711 | 0.00094513 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5208-3_0_4_load_48 | 60 | 0.0067117 | 0.0016821 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5208-3_0_4_load_50 | 61 | 0.0032263 | 0.00080857 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5208-3_0_4_load_78 | 62 | 0.002775 | 0.00069547 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5208-3_0_4_load_61 | 64 | 0.0012986 | 0.00032545 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5208-3_0_4_load_62 | 65 | 0.001082 | 0.00027117 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5208-3_0_4_load_63 | 66 | 0.00288 | 0.0007218 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5208-3_0_4_load_64 | 67 | 0.0034027 | 0.00085281 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5208-3_0_4_load_65 | 69 | 0.0023084 | 0.00057855 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5208-3_0_4_load_66 | 70 | 0.0033835 | 0.00084799 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5208-3_0_4_load_68 | 71 | 0.0016944 | 0.00042466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5208-3_0_4_load_73 | 72 | 0.02242 | 0.0056191 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5208-3_0_4_line_0 |  | 0 | 1 | 0.010426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5208-3_0_4_line_1 |  | 0 | 2 | 0.014724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5208-3_0_4_line_2 |  | 1 | 3 | 0.017519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5208-3_0_4_line_3 |  | 2 | 4 | 0.015979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5208-3_0_4_line_4 |  | 3 | 5 | 0.0033972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_5208-3_0_4_line_5 |  | 4 | 6 | 0.0064535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5208-3_0_4_line_6 |  | 4 | 7 | 0.01978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5208-3_0_4_line_7 |  | 5 | 8 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5208-3_0_4_line_8 |  | 6 | 9 | 0.026754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5208-3_0_4_line_9 |  | 7 | 10 | 0.020412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5208-3_0_4_line_10 |  | 7 | 11 | 0.047526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5208-3_0_4_line_11 |  | 8 | 38 | 0.028744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5208-3_0_4_line_12 |  | 8 | 57 | 0.019841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5208-3_0_4_line_13 |  | 10 | 47 | 0.022069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5208-3_0_4_line_14 |  | 10 | 41 | 0.009762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5208-3_0_4_line_15 |  | 11 | 56 | 0.0038986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5208-3_0_4_line_16 |  | 12 | 13 | 0.024844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5208-3_0_4_line_17 |  | 13 | 14 | 0.018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5208-3_0_4_line_18 |  | 13 | 15 | 0.047377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5208-3_0_4_line_19 |  | 14 | 16 | 0.0050605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5208-3_0_4_line_20 |  | 15 | 17 | 0.020115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5208-3_0_4_line_21 |  | 16 | 18 | 0.0099727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5208-3_0_4_line_22 |  | 17 | 19 | 0.038886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5208-3_0_4_line_23 |  | 18 | 31 | 0.02441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5208-3_0_4_line_24 |  | 18 | 28 | 0.055467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5208-3_0_4_line_25 |  | 19 | 60 | 0.014555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5208-3_0_4_line_26 |  | 20 | 21 | 0.0030374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5208-3_0_4_line_27 |  | 21 | 22 | 0.060573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5208-3_0_4_line_28 |  | 22 | 23 | 0.023007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5208-3_0_4_line_29 |  | 23 | 24 | 0.023234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5208-3_0_4_line_30 |  | 23 | 25 | 0.023608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5208-3_0_4_line_31 |  | 24 | 39 | 0.015509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5208-3_0_4_line_32 |  | 26 | 27 | 0.014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5208-3_0_4_line_33 |  | 26 | 28 | 0.0033621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5208-3_0_4_line_34 |  | 27 | 29 | 0.0068272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5208-3_0_4_line_35 |  | 29 | 30 | 0.0057585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5208-3_0_4_line_36 |  | 30 | 32 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5208-3_0_4_line_37 |  | 30 | 33 | 0.043412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5208-3_0_4_line_38 |  | 31 | 34 | 4.0151e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5208-3_0_4_line_39 |  | 33 | 59 | 0.036501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5208-3_0_4_line_40 |  | 34 | 35 | 0.010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5208-3_0_4_line_41 |  | 35 | 36 | 0.015869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5208-3_0_4_line_42 |  | 36 | 37 | 0.0090984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5208-3_0_4_line_43 |  | 37 | 38 | 0.0052496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5208-3_0_4_line_44 |  | 39 | 57 | 0.005522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5208-3_0_4_line_45 |  | 40 | 41 | 0.022833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5208-3_0_4_line_46 |  | 40 | 42 | 0.0058361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5208-3_0_4_line_47 |  | 41 | 43 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5208-3_0_4_line_48 |  | 42 | 44 | 0.018454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5208-3_0_4_line_49 |  | 42 | 45 | 0.020271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5208-3_0_4_line_50 |  | 43 | 46 | 0.0063777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5208-3_0_4_line_51 |  | 44 | 48 | 0.0052338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5208-3_0_4_line_52 |  | 46 | 49 | 0.0073376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5208-3_0_4_line_53 |  | 47 | 50 | 0.07298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5208-3_0_4_line_54 |  | 48 | 51 | 0.02036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5208-3_0_4_line_55 |  | 49 | 72 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5208-3_0_4_line_56 |  | 50 | 52 | 0.10373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5208-3_0_4_line_57 |  | 50 | 53 | 0.063174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5208-3_0_4_line_58 |  | 52 | 54 | 0.048491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5208-3_0_4_line_59 |  | 53 | 55 | 0.093878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5208-3_0_4_line_60 |  | 54 | 63 | 0.045172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5208-3_0_4_line_61 |  | 54 | 68 | 0.041724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5208-3_0_4_line_62 |  | 58 | 59 | 0.071169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5208-3_0_4_line_63 |  | 60 | 61 | 0.0098065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5208-3_0_4_line_64 |  | 62 | 63 | 0.07185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5208-3_0_4_line_65 |  | 64 | 65 | 0.040986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5208-3_0_4_line_66 |  | 64 | 66 | 0.02921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5208-3_0_4_line_67 |  | 66 | 67 | 0.025338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5208-3_0_4_line_68 |  | 67 | 68 | 0.024797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5208-3_0_4_line_69 |  | 68 | 69 | 0.0093233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5208-3_0_4_line_70 |  | 69 | 70 | 0.052383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5208-3_0_4_line_71 |  | 70 | 71 | 0.03585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5208-3_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 73 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2716598.3234 | 1101413.9559 | 2716608.7476 | 1101414.1561
1 | 2716598.3234 | 1101413.9559 | 2716587.7342 | 1101413.7524 | 2716583.6297 | 1101413.2674
2 | 2716608.7476 | 1101414.1561 | 2716626.2633 | 1101414.4926
3 | 2716567.7609 | 1101411.3897 | 2716578.0719 | 1101412.6107 | 2716583.6297 | 1101413.2674
4 | 2716629.5794 | 1101413.7546 | 2716626.2633 | 1101414.4926 | 2716626.2633 | 1101414.4926
5 | 2716567.7609 | 1101411.3897 | 2716564.0053 | 1101406.1416
6 | 2716551.2627 | 1101422.3696 | 2716567.7609 | 1101411.3897
7 | 2716642.5896 | 1101410.8591 | 2716629.5794 | 1101413.7546
8 | 2716548.2143 | 1101384.6279 | 2716548.891 | 1101385.0208 | 2716564.0053 | 1101406.1416
9 | 2716551.2627 | 1101422.3696 | 2716542.2179 | 1101440.6752
10 | 2716551.2627 | 1101422.3696 | 2716573.9474 | 1101433.0899 | 2716580.2932 | 1101445.2867 | 2716584.3001 | 1101452.9938
11 | 2716642.5896 | 1101410.8591 | 2716647.4907 | 1101382.5359
12 | 2716642.5896 | 1101410.8591 | 2716661.9575 | 1101406.5512
13 | 2716542.2179 | 1101440.6752 | 2716546.5377 | 1101456.7913 | 2716547.823 | 1101462.0195
14 | 2716542.2179 | 1101440.6752 | 2716535.7633 | 1101433.3352
15 | 2716584.3001 | 1101452.9938 | 2716586.0985 | 1101456.4529
16 | 2716664.1767 | 1101285.3435 | 2716688.9258 | 1101287.5187
17 | 2716664.1767 | 1101285.3435 | 2716661.058 | 1101303.7908
18 | 2716664.1767 | 1101285.3435 | 2716671.9492 | 1101238.6082
19 | 2716661.058 | 1101303.7908 | 2716660.2144 | 1101308.7805
20 | 2716675.2491 | 1101218.7662 | 2716671.9492 | 1101238.6082
21 | 2716658.5519 | 1101318.6137 | 2716660.2144 | 1101308.7805
22 | 2716675.2491 | 1101218.7662 | 2716636.3903 | 1101217.3202
23 | 2716658.5519 | 1101318.6137 | 2716654.3899 | 1101342.6658
24 | 2716658.5519 | 1101318.6137 | 2716603.2044 | 1101322.2462
25 | 2716636.3903 | 1101217.3202 | 2716621.8452 | 1101216.7789
26 | 2716703.3624 | 1101358.6539 | 2716701.3541 | 1101360.9325
27 | 2716727.6885 | 1101391.9364 | 2716732.2533 | 1101380.7943 | 2716736.357 | 1101374.3132 | 2716728.7459 | 1101371.1647 | 2716703.3368 | 1101367.2628 | 2716700.9888 | 1101361.3469 | 2716701.3541 | 1101360.9325
28 | 2716727.6885 | 1101391.9364 | 2716705.166 | 1101396.9404
29 | 2716705.166 | 1101396.9404 | 2716682.4863 | 1101401.985
30 | 2716705.166 | 1101396.9404 | 2716721.9524 | 1101413.5397
31 | 2716667.3478 | 1101405.3522 | 2716682.4863 | 1101401.985
32 | 2716599.8495 | 1101322.4664 | 2716585.6628 | 1101323.3974
33 | 2716603.2044 | 1101322.2462 | 2716599.8495 | 1101322.4664
34 | 2716585.6628 | 1101323.3974 | 2716578.8502 | 1101323.8445
35 | 2716573.1041 | 1101324.2216 | 2716578.8502 | 1101323.8445
36 | 2716573.1041 | 1101324.2216 | 2716557.8593 | 1101324.9248
37 | 2716573.1041 | 1101324.2216 | 2716578.9068 | 1101281.199
38 | 2716654.3831 | 1101342.7054 | 2716654.3899 | 1101342.6658
39 | 2716584.6631 | 1101245.1561 | 2716579.3234 | 1101278.1095 | 2716578.9068 | 1101281.199
40 | 2716652.6429 | 1101352.7615 | 2716654.3831 | 1101342.7054
41 | 2716652.6429 | 1101352.7615 | 2716649.9372 | 1101368.398
42 | 2716648.3858 | 1101377.3632 | 2716649.9372 | 1101368.398
43 | 2716648.3858 | 1101377.3632 | 2716647.4907 | 1101382.5359
44 | 2716667.3478 | 1101405.3522 | 2716661.9575 | 1101406.5512
45 | 2716535.7633 | 1101433.3352 | 2716529.9802 | 1101436.9935 | 2716519.3555 | 1101448.9428
46 | 2716515.4776 | 1101453.3042 | 2716519.3555 | 1101448.9428
47 | 2716535.7633 | 1101433.3352 | 2716531.8889 | 1101431.1149 | 2716523.6541 | 1101426.5706
48 | 2716515.4776 | 1101453.3042 | 2716507.3579 | 1101461.3317 | 2716501.9274 | 1101465.8054
49 | 2716515.4776 | 1101453.3042 | 2716525.9667 | 1101470.6505
50 | 2716523.6541 | 1101426.5706 | 2716518.0703 | 1101423.4891 | 2716518.0703 | 1101423.4891
51 | 2716497.8879 | 1101469.1332 | 2716501.9274 | 1101465.8054
52 | 2716511.0779 | 1101421.2649 | 2716518.0703 | 1101423.4891
53 | 2716547.823 | 1101462.0195 | 2716550.942 | 1101473.7429 | 2716552.4112 | 1101478.2631 | 2716553.4853 | 1101481.586 | 2716563.8555 | 1101513.5846 | 2716569.11 | 1101531.809
54 | 2716497.8879 | 1101469.1332 | 2716485.5519 | 1101456.4546 | 2716483.508 | 1101454.7355
55 | 2716511.0779 | 1101421.2649 | 2716503.0051 | 1101418.6969 | 2716495.8341 | 1101415.7564
56 | 2716569.11 | 1101531.809 | 2716575.1052 | 1101552.5826 | 2716577.6687 | 1101575.0916 | 2716576.2497 | 1101596.9794 | 2716572.7223 | 1101616.6028 | 2716567.0978 | 1101633.2614
57 | 2716569.11 | 1101531.809 | 2716609.5535 | 1101580.3406
58 | 2716551.5567 | 1101679.195 | 2716566.3367 | 1101635.5154 | 2716567.0978 | 1101633.2614
59 | 2716609.5535 | 1101580.3406 | 2716616.1685 | 1101579.7227 | 2716618.8516 | 1101579.474 | 2716703.0238 | 1101571.6035
60 | 2716551.5567 | 1101679.195 | 2716593.3715 | 1101696.5871
61 | 2716538.188 | 1101718.721 | 2716551.5567 | 1101679.195
62 | 2716584.6631 | 1101245.1561 | 2716597.9069 | 1101190.4285 | 2716599.7837 | 1101175.6856
63 | 2716612.0455 | 1101216.4142 | 2716621.8452 | 1101216.7789
64 | 2716654.6045 | 1101679.5066 | 2716648.3246 | 1101689.2816 | 2716639.0947 | 1101699.9005 | 2716629.1281 | 1101701.7326 | 2716607.3934 | 1101699.6361 | 2716593.3715 | 1101696.5871
65 | 2716484.5395 | 1101698 | 2716484.5395 | 1101698 | 2716456.8504 | 1101728.2184
66 | 2716484.5395 | 1101698 | 2716494.5587 | 1101681.3252 | 2716502.8826 | 1101686.4141
67 | 2716524.5003 | 1101699.6303 | 2716502.8826 | 1101686.4141
68 | 2716538.188 | 1101718.721 | 2716533.0128 | 1101704.8344 | 2716524.5003 | 1101699.6303
69 | 2716538.188 | 1101718.721 | 2716534.9697 | 1101727.4712
70 | 2716534.9697 | 1101727.4712 | 2716533.8186 | 1101730.6008 | 2716513.131 | 1101769.9419 | 2716509.9841 | 1101773.2965
71 | 2716485.4569 | 1101799.4424 | 2716509.9841 | 1101773.2965

## bus_geodata
| x | y | coords
0 | 2716598.3234 | 1101413.9559
1 | 2716608.7476 | 1101414.1561
2 | 2716583.6297 | 1101413.2674
3 | 2716626.2633 | 1101414.4926
4 | 2716567.7609 | 1101411.3897
5 | 2716629.5794 | 1101413.7546
6 | 2716564.0053 | 1101406.1416
7 | 2716551.2627 | 1101422.3696
8 | 2716642.5896 | 1101410.8591
9 | 2716548.2143 | 1101384.6279
10 | 2716542.2179 | 1101440.6752
11 | 2716584.3001 | 1101452.9938
12 | 2716688.9258 | 1101287.5187
13 | 2716664.1767 | 1101285.3435
14 | 2716661.058 | 1101303.7908
15 | 2716671.9492 | 1101238.6082
16 | 2716660.2144 | 1101308.7805
17 | 2716675.2491 | 1101218.7662
18 | 2716658.5519 | 1101318.6137
19 | 2716636.3903 | 1101217.3202
20 | 2716703.3624 | 1101358.6539
21 | 2716701.3541 | 1101360.9325
22 | 2716727.6885 | 1101391.9364
23 | 2716705.166 | 1101396.9404
24 | 2716682.4863 | 1101401.985
25 | 2716721.9524 | 1101413.5397
26 | 2716599.8495 | 1101322.4664
27 | 2716585.6628 | 1101323.3974
28 | 2716603.2044 | 1101322.2462
29 | 2716578.8502 | 1101323.8445
30 | 2716573.1041 | 1101324.2216
31 | 2716654.3899 | 1101342.6658
32 | 2716557.8593 | 1101324.9248
33 | 2716578.9068 | 1101281.199
34 | 2716654.3831 | 1101342.7054
35 | 2716652.6429 | 1101352.7615
36 | 2716649.9372 | 1101368.398
37 | 2716648.3858 | 1101377.3632
38 | 2716647.4907 | 1101382.5359
39 | 2716667.3478 | 1101405.3522
40 | 2716519.3555 | 1101448.9428
41 | 2716535.7633 | 1101433.3352
42 | 2716515.4776 | 1101453.3042
43 | 2716523.6541 | 1101426.5706
44 | 2716501.9274 | 1101465.8054
45 | 2716525.9667 | 1101470.6505
46 | 2716518.0703 | 1101423.4891
47 | 2716547.823 | 1101462.0195
48 | 2716497.8879 | 1101469.1332
49 | 2716511.0779 | 1101421.2649
50 | 2716569.11 | 1101531.809
51 | 2716483.508 | 1101454.7355
52 | 2716567.0978 | 1101633.2614
53 | 2716609.5535 | 1101580.3406
54 | 2716551.5567 | 1101679.195
55 | 2716703.0238 | 1101571.6035
56 | 2716586.0985 | 1101456.4529
57 | 2716661.9575 | 1101406.5512
58 | 2716599.7837 | 1101175.6856
59 | 2716584.6631 | 1101245.1561
60 | 2716621.8452 | 1101216.7789
61 | 2716612.0455 | 1101216.4142
62 | 2716654.6045 | 1101679.5066
63 | 2716593.3715 | 1101696.5871
64 | 2716484.5395 | 1101698
65 | 2716456.8504 | 1101728.2184
66 | 2716502.8826 | 1101686.4141
67 | 2716524.5003 | 1101699.6303
68 | 2716538.188 | 1101718.721
69 | 2716534.9697 | 1101727.4712
70 | 2716509.9841 | 1101773.2965
71 | 2716485.4569 | 1101799.4424
72 | 2716495.8341 | 1101415.7564
73 | 2716567.7609 | 1101411.3897

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99883 | -0.022352 | 0.0086404 | 0.0021655
1 | 0.99804 | -0.037424 | 0.0059236 | 0.0014846
2 | 1 | 0 | -0.36558 | -0.092248
3 | 0.99676 | -0.061891 | 0.0025687 | 0.00064378
4 | 0.99863 | -0.026114 | 0 | 0
5 | 0.99651 | -0.066566 | 0.0058197 | 0.0014586
6 | 0.99858 | -0.027212 | 0.0063022 | 0.0015795
7 | 0.99703 | -0.056851 | 0.0054136 | 0.0013568
8 | 0.99559 | -0.084249 | 0 | 0
9 | 0.99849 | -0.028815 | 0.003428 | 0.00085913
10 | 0.99558 | -0.084677 | 0 | 0
11 | 0.9963 | -0.070898 | 0.014118 | 0.0035382
12 | 0.98656 | -0.25862 | 0.0063557 | 0.0015929
13 | 0.9867 | -0.2558 | 0 | 0
14 | 0.98711 | -0.24785 | 0.010907 | 0.0027334
15 | 0.98594 | -0.27054 | 0.0043751 | 0.0010965
16 | 0.98727 | -0.24472 | 0.0056639 | 0.0014195
17 | 0.9857 | -0.27522 | 0 | 0
18 | 0.98764 | -0.23754 | 0 | 0
19 | 0.98524 | -0.28429 | 0.0030508 | 0.00076461
20 | 0.99284 | -0.13742 | 0.004548 | 0.0011398
21 | 0.99285 | -0.13717 | 0.0066308 | 0.0016618
22 | 0.99347 | -0.12521 | 0 | 0
23 | 0.9937 | -0.12067 | 0 | 0
24 | 0.99418 | -0.11148 | 0.0057768 | 0.0014478
25 | 0.99346 | -0.12534 | 0.011219 | 0.0028116
26 | 0.98577 | -0.27389 | 0.0064117 | 0.0016069
27 | 0.98546 | -0.28001 | 0.0026236 | 0.00065755
28 | 0.98587 | -0.27205 | 0.0043419 | 0.0010882
29 | 0.98532 | -0.28263 | 0.0023599 | 0.00059144
30 | 0.98522 | -0.2846 | 0 | 0
31 | 0.98932 | -0.20485 | 0.0060354 | 0.0015126
32 | 0.98514 | -0.28612 | 0.0055506 | 0.0013911
33 | 0.98468 | -0.29511 | 0.0097001 | 0.0024311
34 | 0.98933 | -0.20479 | 0.0092923 | 0.0023289
35 | 0.99018 | -0.18838 | 0.0017686 | 0.00044326
36 | 0.99152 | -0.16242 | 0.0038682 | 0.00096947
37 | 0.99232 | -0.14694 | 0.0035817 | 0.00089765
38 | 0.9928 | -0.13769 | 0.005818 | 0.0014581
39 | 0.99458 | -0.10378 | 0.0088939 | 0.002229
40 | 0.99286 | -0.13728 | 0.048063 | 0.012046
41 | 0.99446 | -0.10625 | 0 | 0
42 | 0.9927 | -0.14026 | 0 | 0
43 | 0.99385 | -0.11813 | 0.0086921 | 0.0021784
44 | 0.99256 | -0.14313 | 0.0035162 | 0.00088124
45 | 0.99233 | -0.14748 | 0.020136 | 0.0050465
46 | 0.99362 | -0.12261 | 0.0052876 | 0.0013252
47 | 0.99498 | -0.096225 | 0 | 0
48 | 0.99253 | -0.14362 | 0 | 0
49 | 0.99338 | -0.12709 | 0.012151 | 0.0030453
50 | 0.993 | -0.13451 | 0 | 0
51 | 0.99243 | -0.14551 | 0.0052627 | 0.001319
52 | 0.99094 | -0.17428 | 0.0028023 | 0.00070232
53 | 0.99253 | -0.14355 | 0 | 0
54 | 0.9901 | -0.19051 | 0 | 0
55 | 0.99183 | -0.157 | 0.0080884 | 0.0020271
56 | 0.99629 | -0.071085 | 0.002727 | 0.00068346
57 | 0.99476 | -0.10017 | 0.0085322 | 0.0021384
58 | 0.98431 | -0.30242 | 0.0037711 | 0.00094513
59 | 0.98456 | -0.29759 | 0 | 0
60 | 0.98511 | -0.28689 | 0.0067117 | 0.0016821
61 | 0.98508 | -0.28746 | 0.0032263 | 0.00080857
62 | 0.98981 | -0.19628 | 0.002775 | 0.00069547
63 | 0.98999 | -0.19274 | 0 | 0
64 | 0.98911 | -0.20987 | 0.0012986 | 0.00032545
65 | 0.98907 | -0.21066 | 0.001082 | 0.00027117
66 | 0.98917 | -0.20863 | 0.00288 | 0.0007218
67 | 0.98929 | -0.20625 | 0.0034027 | 0.00085281
68 | 0.98949 | -0.20243 | 0 | 0
69 | 0.98943 | -0.20365 | 0.0023084 | 0.00057855
70 | 0.98918 | -0.20839 | 0.0033835 | 0.00084799
71 | 0.98913 | -0.20947 | 0.0016944 | 0.00042466
72 | 0.99305 | -0.13352 | 0.02242 | 0.0056191
73 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.16669 | 0.0423 | -0.16657 | -0.042223 | 0.00012074 | 7.7001e-05 | 0.24852 | 0.24852 | 0.24852 | 0.99883 | -0.022352 | 0.99804 | -0.037424 | 34.1375
1 | -0.17534 | -0.044466 | 0.17552 | 0.044586 | 0.00018863 | 0.00012034 | 0.26139 | 0.26139 | 0.26139 | 0.99883 | -0.022352 | 1 | 0 | 35.9056
2 | 0.16065 | 0.040739 | -0.16046 | -0.040619 | 0.00018871 | 0.00012032 | 0.23969 | 0.23969 | 0.23969 | 0.99804 | -0.037424 | 0.99676 | -0.061891 | 32.9243
3 | 0.18841 | 0.047662 | -0.18817 | -0.047511 | 0.00023575 | 0.00015046 | 0.28051 | 0.28051 | 0.28051 | 1 | 0 | 0.99863 | -0.026114 | 38.5313
4 | 0.15789 | 0.039975 | -0.15786 | -0.039952 | 3.5433e-05 | 2.2589e-05 | 0.23585 | 0.23585 | 0.23585 | 0.99676 | -0.061891 | 0.99651 | -0.066566 | 32.3976
5 | 0.0097309 | 0.0024387 | -0.0097304 | -0.0024384 | 5.0879e-07 | 2.412e-07 | 0.0145 | 0.0145 | 0.0145 | 0.99863 | -0.026114 | 0.99858 | -0.027212 | 3.9834
6 | 0.17844 | 0.045072 | -0.17818 | -0.044905 | 0.00026243 | 0.00016744 | 0.26601 | 0.26601 | 0.26601 | 0.99863 | -0.026114 | 0.99703 | -0.056851 | 36.5396
7 | 0.15204 | 0.038494 | -0.15191 | -0.038411 | 0.00012896 | 8.2189e-05 | 0.22716 | 0.22716 | 0.22716 | 0.99651 | -0.066566 | 0.99559 | -0.084249 | 31.2039
8 | 0.0034282 | 0.00085895 | -0.003428 | -0.00085913 | 2.6183e-07 | -1.824e-07 | 0.0051085 | 0.0051086 | 0.0051086 | 0.99858 | -0.027212 | 0.99849 | -0.028815 | 1.4035
9 | 0.15591 | 0.03932 | -0.1557 | -0.039188 | 0.00020737 | 0.00013219 | 0.23277 | 0.23277 | 0.23277 | 0.99703 | -0.056851 | 0.99558 | -0.084677 | 31.9741
10 | 0.016856 | 0.0042282 | -0.016845 | -0.0042216 | 1.128e-05 | 6.5999e-06 | 0.025158 | 0.025158 | 0.025158 | 0.99703 | -0.056851 | 0.9963 | -0.070898 | 6.9116
11 | 0.10624 | 0.026939 | -0.10596 | -0.026765 | 0.00027214 | 0.00017379 | 0.15889 | 0.15889 | 0.15889 | 0.99559 | -0.084249 | 0.9928 | -0.13769 | 43.6518
12 | 0.045673 | 0.011473 | -0.045638 | -0.011451 | 3.4681e-05 | 2.1938e-05 | 0.068272 | 0.068272 | 0.068272 | 0.99559 | -0.084249 | 0.99476 | -0.10017 | 18.7561
13 | 0.029865 | 0.0075329 | -0.029848 | -0.0075226 | 1.6502e-05 | 1.0274e-05 | 0.044653 | 0.044654 | 0.044654 | 0.99558 | -0.084677 | 0.99498 | -0.096225 | 12.2674
14 | 0.12584 | 0.031655 | -0.12571 | -0.031572 | 0.00012955 | 8.2784e-05 | 0.18812 | 0.18812 | 0.18812 | 0.99558 | -0.084677 | 0.99446 | -0.10625 | 51.6808
15 | 0.002727 | 0.00068342 | -0.002727 | -0.00068346 | 2.4253e-08 | -3.5248e-08 | 0.0040729 | 0.004073 | 0.004073 | 0.9963 | -0.070898 | 0.99629 | -0.071085 | 1.1189
16 | -0.0063557 | -0.0015929 | 0.0063566 | 0.0015931 | 8.5616e-07 | 2.3066e-07 | 0.0095863 | 0.0095862 | 0.0095863 | 0.98656 | -0.25862 | 0.9867 | -0.2558 | 2.6336
17 | -0.023743 | -0.0059574 | 0.023752 | 0.0059629 | 8.9958e-06 | 5.5183e-06 | 0.035808 | 0.035808 | 0.035808 | 0.9867 | -0.2558 | 0.98711 | -0.24785 | 9.8373
18 | 0.017386 | 0.0043643 | -0.017374 | -0.004357 | 1.2216e-05 | 7.2135e-06 | 0.026222 | 0.026222 | 0.026222 | 0.9867 | -0.2558 | 0.98594 | -0.27054 | 7.2038
19 | -0.034658 | -0.0086963 | 0.034663 | 0.0086996 | 5.1806e-06 | 3.2509e-06 | 0.052249 | 0.052249 | 0.052249 | 0.98711 | -0.24785 | 0.98727 | -0.24472 | 14.3541
20 | 0.012999 | 0.0032605 | -0.012996 | -0.0032589 | 2.9033e-06 | 1.6017e-06 | 0.019619 | 0.019619 | 0.019619 | 0.98594 | -0.27054 | 0.9857 | -0.27522 | 5.3898
21 | -0.040327 | -0.010119 | 0.040341 | 0.010128 | 1.3818e-05 | 8.716e-06 | 0.060786 | 0.060786 | 0.060786 | 0.98727 | -0.24472 | 0.98764 | -0.23754 | 16.6993
22 | 0.012996 | 0.0032589 | -0.01299 | -0.0032558 | 5.6128e-06 | 3.0968e-06 | 0.019619 | 0.019619 | 0.019619 | 0.9857 | -0.27522 | 0.98524 | -0.28429 | 5.3899
23 | -0.07518 | -0.018887 | 0.075297 | 0.018962 | 0.00011747 | 7.4869e-05 | 0.11329 | 0.11328 | 0.11329 | 0.98764 | -0.23754 | 0.98932 | -0.20485 | 31.1223
24 | 0.034839 | 0.0087594 | -0.034782 | -0.0087234 | 5.7329e-05 | 3.5982e-05 | 0.0525 | 0.0525 | 0.0525 | 0.98764 | -0.23754 | 0.98587 | -0.27205 | 14.423
25 | 0.0099393 | 0.0024912 | -0.0099381 | -0.0024906 | 1.23e-06 | 6.0185e-07 | 0.015011 | 0.015012 | 0.015012 | 0.98524 | -0.28429 | 0.98511 | -0.28689 | 4.1241
26 | -0.004548 | -0.0011398 | 0.004548 | 0.0011398 | 5.292e-08 | -5.4111e-09 | 0.0068163 | 0.0068162 | 0.0068163 | 0.99284 | -0.13742 | 0.99285 | -0.13717 | 1.8726
27 | -0.011179 | -0.0028017 | 0.011185 | 0.002805 | 6.3759e-06 | 3.2967e-06 | 0.016754 | 0.016754 | 0.016754 | 0.99285 | -0.13717 | 0.99347 | -0.12521 | 4.6028
28 | -0.011185 | -0.002805 | 0.011188 | 0.0028062 | 2.4217e-06 | 1.2519e-06 | 0.016754 | 0.016754 | 0.016754 | 0.99347 | -0.12521 | 0.9937 | -0.12067 | 4.6027
29 | -0.022409 | -0.0056191 | 0.022419 | 0.0056251 | 9.8111e-06 | 5.978e-06 | 0.033557 | 0.033557 | 0.033557 | 0.9937 | -0.12067 | 0.99418 | -0.11148 | 9.2189
30 | 0.011221 | 0.0028129 | -0.011219 | -0.0028116 | 2.4996e-06 | 1.294e-06 | 0.016803 | 0.016803 | 0.016803 | 0.9937 | -0.12067 | 0.99346 | -0.12534 | 4.6163
31 | -0.028195 | -0.0070729 | 0.028206 | 0.0070793 | 1.0358e-05 | 6.4281e-06 | 0.042203 | 0.042203 | 0.042203 | 0.99418 | -0.11148 | 0.99458 | -0.10378 | 11.5942
32 | 0.024025 | 0.0060266 | -0.024018 | -0.0060223 | 7.0128e-06 | 4.307e-06 | 0.036268 | 0.036268 | 0.036268 | 0.98577 | -0.27389 | 0.98546 | -0.28001 | 9.9637
33 | -0.030437 | -0.0076335 | 0.03044 | 0.0076352 | 2.6616e-06 | 1.6606e-06 | 0.045946 | 0.045946 | 0.045946 | 0.98577 | -0.27389 | 0.98587 | -0.27205 | 12.6226
34 | 0.021395 | 0.0053647 | -0.021392 | -0.0053631 | 2.6721e-06 | 1.6232e-06 | 0.032306 | 0.032306 | 0.032306 | 0.98546 | -0.28001 | 0.98532 | -0.28263 | 8.8754
35 | 0.019032 | 0.0047717 | -0.01903 | -0.0047706 | 1.784e-06 | 1.0684e-06 | 0.028743 | 0.028743 | 0.028743 | 0.98532 | -0.28263 | 0.98522 | -0.2846 | 7.8963
36 | 0.005551 | 0.0013912 | -0.0055506 | -0.0013911 | 4.0227e-07 | 6.3126e-08 | 0.0083839 | 0.008384 | 0.008384 | 0.98522 | -0.2846 | 0.98514 | -0.28612 | 2.3033
37 | 0.013479 | 0.0033794 | -0.013472 | -0.0033757 | 6.7475e-06 | 3.7659e-06 | 0.020359 | 0.020359 | 0.020359 | 0.98522 | -0.2846 | 0.98468 | -0.29511 | 5.5931
38 | -0.081333 | -0.020475 | 0.081333 | 0.020475 | 2.2543e-07 | 1.4376e-07 | 0.12236 | 0.12236 | 0.12236 | 0.98932 | -0.20485 | 0.98933 | -0.20479 | 33.6161
39 | 0.0037724 | 0.0009446 | -0.003772 | -0.00094478 | 4.448e-07 | -1.7957e-07 | 0.0057005 | 0.0057006 | 0.0057006 | 0.98468 | -0.29511 | 0.98456 | -0.29759 | 1.5661
40 | -0.090625 | -0.022804 | 0.090696 | 0.022849 | 7.1139e-05 | 4.5398e-05 | 0.13634 | 0.13634 | 0.13634 | 0.98933 | -0.20479 | 0.99018 | -0.18838 | 37.4557
41 | -0.092465 | -0.023292 | 0.09258 | 0.023366 | 0.00011497 | 7.3377e-05 | 0.139 | 0.139 | 0.139 | 0.99018 | -0.18838 | 0.99152 | -0.16242 | 38.1859
42 | -0.096448 | -0.024335 | 0.09652 | 0.024381 | 7.1539e-05 | 4.5667e-05 | 0.1448 | 0.1448 | 0.1448 | 0.99152 | -0.16242 | 0.99232 | -0.14694 | 39.7807
43 | -0.1001 | -0.025278 | 0.10015 | 0.025307 | 4.4396e-05 | 2.8345e-05 | 0.15017 | 0.15017 | 0.15017 | 0.99232 | -0.14694 | 0.9928 | -0.13769 | 41.2562
44 | -0.0371 | -0.0093084 | 0.037106 | 0.0093124 | 6.3806e-06 | 4.0119e-06 | 0.055509 | 0.055509 | 0.055509 | 0.99458 | -0.10378 | 0.99476 | -0.10017 | 15.2498
45 | -0.076991 | -0.0193 | 0.077105 | 0.019372 | 0.000114 | 7.2667e-05 | 0.11539 | 0.11539 | 0.11539 | 0.99286 | -0.13728 | 0.99446 | -0.10625 | 31.7003
46 | 0.028928 | 0.007254 | -0.028923 | -0.0072515 | 4.1139e-06 | 2.5574e-06 | 0.043356 | 0.043356 | 0.043356 | 0.99286 | -0.13728 | 0.9927 | -0.14026 | 11.911
47 | 0.048601 | 0.0122 | -0.048574 | -0.012182 | 2.7514e-05 | 1.7429e-05 | 0.072729 | 0.072729 | 0.072729 | 0.99446 | -0.10625 | 0.99385 | -0.11813 | 19.9805
48 | 0.0087807 | 0.0022008 | -0.0087795 | -0.0022003 | 1.1988e-06 | 5.2871e-07 | 0.013162 | 0.013162 | 0.013162 | 0.9927 | -0.14026 | 0.99256 | -0.14313 | 3.6159
49 | 0.020143 | 0.0050507 | -0.020136 | -0.0050465 | 6.9303e-06 | 4.1734e-06 | 0.030194 | 0.030194 | 0.030194 | 0.9927 | -0.14026 | 0.99233 | -0.14748 | 8.2951
50 | 0.039882 | 0.010004 | -0.039873 | -0.0099984 | 8.5283e-06 | 5.3755e-06 | 0.059715 | 0.059715 | 0.059715 | 0.99385 | -0.11813 | 0.99362 | -0.12261 | 16.4052
51 | 0.0052633 | 0.001319 | -0.0052632 | -0.001319 | 1.222e-07 | 1.0565e-08 | 0.0078906 | 0.0078907 | 0.0078907 | 0.99256 | -0.14313 | 0.99253 | -0.14362 | 2.1678
52 | 0.034586 | 0.0086732 | -0.034578 | -0.0086686 | 7.3822e-06 | 4.6296e-06 | 0.051796 | 0.051796 | 0.051796 | 0.99362 | -0.12261 | 0.99338 | -0.12709 | 14.2298
53 | 0.029848 | 0.0075226 | -0.029794 | -0.0074886 | 5.457e-05 | 3.3979e-05 | 0.044654 | 0.044654 | 0.044654 | 0.99498 | -0.096225 | 0.993 | -0.13451 | 12.2675
54 | 0.0052632 | 0.001319 | -0.0052627 | -0.001319 | 4.7539e-07 | 4.1137e-08 | 0.0078907 | 0.0078908 | 0.0078908 | 0.99253 | -0.14362 | 0.99243 | -0.14551 | 2.1678
55 | 0.022427 | 0.0056233 | -0.02242 | -0.0056191 | 6.8658e-06 | 4.1842e-06 | 0.033595 | 0.033595 | 0.033595 | 0.99338 | -0.12709 | 0.99305 | -0.13352 | 9.2295
56 | 0.021697 | 0.005458 | -0.021655 | -0.005433 | 4.1138e-05 | 2.4989e-05 | 0.03252 | 0.03252 | 0.03252 | 0.993 | -0.13451 | 0.99094 | -0.17428 | 8.9341
57 | 0.0080971 | 0.0020307 | -0.0080936 | -0.0020293 | 3.4881e-06 | 1.4156e-06 | 0.012134 | 0.012134 | 0.012134 | 0.993 | -0.13451 | 0.99253 | -0.14355 | 3.3336
58 | 0.018853 | 0.0047307 | -0.018839 | -0.004722 | 1.4576e-05 | 8.7047e-06 | 0.028312 | 0.028312 | 0.028312 | 0.99094 | -0.17428 | 0.9901 | -0.19051 | 7.7782
59 | 0.0080936 | 0.0020293 | -0.0080884 | -0.0020271 | 5.1837e-06 | 2.1052e-06 | 0.012134 | 0.012135 | 0.012135 | 0.99253 | -0.14355 | 0.99183 | -0.157 | 3.3337
60 | 0.0027757 | 0.00069445 | -0.0027754 | -0.00069485 | 2.9474e-07 | -3.9225e-07 | 0.0041712 | 0.0041714 | 0.0041714 | 0.9901 | -0.19051 | 0.98999 | -0.19274 | 1.146
61 | 0.016063 | 0.0040275 | -0.016054 | -0.0040222 | 9.1189e-06 | 5.2998e-06 | 0.024141 | 0.024142 | 0.024142 | 0.9901 | -0.19051 | 0.98949 | -0.20243 | 6.6323
62 | -0.0037711 | -0.00094513 | 0.003772 | 0.00094478 | 8.6735e-07 | -3.4974e-07 | 0.005701 | 0.0057006 | 0.005701 | 0.98431 | -0.30242 | 0.98456 | -0.29759 | 1.5662
63 | 0.0032263 | 0.00080851 | -0.0032263 | -0.00080857 | 8.734e-08 | -6.8949e-08 | 0.0048734 | 0.0048734 | 0.0048734 | 0.98511 | -0.28689 | 0.98508 | -0.28746 | 1.3389
64 | -0.002775 | -0.00069547 | 0.0027754 | 0.00069485 | 4.6887e-07 | -6.2359e-07 | 0.0041717 | 0.0041714 | 0.0041717 | 0.98981 | -0.19628 | 0.98999 | -0.19274 | 1.1461
65 | 0.001082 | 0.00027067 | -0.001082 | -0.00027117 | 4.0722e-08 | -4.9997e-07 | 0.0016276 | 0.0016278 | 0.0016278 | 0.98911 | -0.20987 | 0.98907 | -0.21066 | 0.4472
66 | -0.0023806 | -0.00059613 | 0.0023807 | 0.00059584 | 1.4047e-07 | -2.8503e-07 | 0.0035812 | 0.0035811 | 0.0035812 | 0.98911 | -0.20987 | 0.98917 | -0.20863 | 0.98385
67 | -0.0052608 | -0.0013176 | 0.0052613 | 0.0013177 | 5.9501e-07 | 5.5517e-08 | 0.0079135 | 0.0079134 | 0.0079135 | 0.98917 | -0.20863 | 0.98929 | -0.20625 | 2.174
68 | -0.0086641 | -0.0021705 | 0.0086657 | 0.0021712 | 1.5791e-06 | 6.9218e-07 | 0.013032 | 0.013031 | 0.013032 | 0.98929 | -0.20625 | 0.98949 | -0.20243 | 3.5801
69 | 0.007388 | 0.001851 | -0.0073876 | -0.0018509 | 4.3156e-07 | 1.5645e-07 | 0.01111 | 0.01111 | 0.01111 | 0.98949 | -0.20243 | 0.98943 | -0.20365 | 3.0522
70 | 0.0050792 | 0.0012723 | -0.005078 | -0.0012722 | 1.1462e-06 | 6.0931e-08 | 0.0076384 | 0.0076387 | 0.0076387 | 0.98943 | -0.20365 | 0.98918 | -0.20839 | 2.0985
71 | 0.0016945 | 0.00042426 | -0.0016944 | -0.00042466 | 8.7345e-08 | -4.0427e-07 | 0.0025489 | 0.002549 | 0.002549 | 0.98918 | -0.20839 | 0.98913 | -0.20947 | 0.70028

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36937 | 0.093198

## res_load
| p_mw | q_mvar
0 | 0.0086404 | 0.0021655
1 | 0.0059236 | 0.0014846
2 | 0.0037895 | 0.00094975
3 | 0.0025687 | 0.00064378
4 | 0.0058197 | 0.0014586
5 | 0.0063022 | 0.0015795
6 | 0.0054136 | 0.0013568
7 | 0.003428 | 0.00085913
8 | 0.014118 | 0.0035382
9 | 0.0063557 | 0.0015929
10 | 0.010907 | 0.0027334
11 | 0.0043751 | 0.0010965
12 | 0.0056639 | 0.0014195
13 | 0.0030508 | 0.00076461
14 | 0.004548 | 0.0011398
15 | 0.0066308 | 0.0016618
16 | 0.0057768 | 0.0014478
17 | 0.011219 | 0.0028116
18 | 0.0064117 | 0.0016069
19 | 0.0026236 | 0.00065755
20 | 0.0043419 | 0.0010882
21 | 0.0023599 | 0.00059144
22 | 0.0060354 | 0.0015126
23 | 0.0055506 | 0.0013911
24 | 0.0097001 | 0.0024311
25 | 0.0092923 | 0.0023289
26 | 0.0017686 | 0.00044326
27 | 0.0038682 | 0.00096947
28 | 0.0035817 | 0.00089765
29 | 0.005818 | 0.0014581
30 | 0.0088939 | 0.002229
31 | 0.048063 | 0.012046
32 | 0.0086921 | 0.0021784
33 | 0.0035162 | 0.00088124
34 | 0.020136 | 0.0050465
35 | 0.0052876 | 0.0013252
36 | 0.012151 | 0.0030453
37 | 0.0052627 | 0.001319
38 | 0.0028023 | 0.00070232
39 | 0.0080884 | 0.0020271
40 | 0.002727 | 0.00068346
41 | 0.0085322 | 0.0021384
42 | 0.0037711 | 0.00094513
43 | 0.0067117 | 0.0016821
44 | 0.0032263 | 0.00080857
45 | 0.002775 | 0.00069547
46 | 0.0012986 | 0.00032545
47 | 0.001082 | 0.00027117
48 | 0.00288 | 0.0007218
49 | 0.0034027 | 0.00085281
50 | 0.0023084 | 0.00057855
51 | 0.0033835 | 0.00084799
52 | 0.0016944 | 0.00042466
53 | 0.02242 | 0.0056191

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1