## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5208-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5208-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5208-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5208-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5208-4_0_4_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_5208-4_0_4_node_44 | 0.4 | n |  | TRUE
6 | bus_LV_5208-4_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5208-4_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_5208-4_0_4_node_23 | 0.4 | n |  | TRUE
9 | bus_LV_5208-4_0_4_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_5208-4_0_4_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_5208-4_0_4_node_4 | 0.4 | n |  | TRUE
12 | bus_LV_5208-4_0_4_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_5208-4_0_4_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_5208-4_0_4_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_5208-4_0_4_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_5208-4_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_5208-4_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_5208-4_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_5208-4_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_5208-4_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_5208-4_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5208-4_0_4_node_40 | 0.4 | n |  | TRUE
23 | bus_LV_5208-4_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5208-4_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5208-4_0_4_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_5208-4_0_4_node_53 | 0.4 | n |  | TRUE
27 | bus_LV_5208-4_0_4_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_5208-4_0_4_node_55 | 0.4 | n |  | TRUE
29 | bus_LV_5208-4_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5208-4_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_5208-4_0_4_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_5208-4_0_4_node_18 | 0.4 | n |  | TRUE
33 | bus_LV_5208-4_0_4_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_5208-4_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5208-4_0_4_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_5208-4_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_5208-4_0_4_node_20 | 0.4 | n |  | TRUE
38 | bus_LV_5208-4_0_4_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_5208-4_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_5208-4_0_4_node_46 | 0.4 | n |  | TRUE
41 | bus_LV_5208-4_0_4_node_27 | 0.4 | n |  | TRUE
42 | bus_LV_5208-4_0_4_node_28 | 0.4 | n |  | TRUE
43 | bus_LV_5208-4_0_4_node_29 | 0.4 | n |  | TRUE
44 | bus_LV_5208-4_0_4_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_5208-4_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5208-4_0_4_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_5208-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5208-4_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5208-4_0_4_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_5208-4_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5208-4_0_4_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_5208-4_0_4_node_49 | 0.4 | n |  | TRUE
53 | bus_LV_5208-4_0_4_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_5208-4_0_4_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_5208-4_0_4_node_52 | 0.4 | n |  | TRUE
56 | bus_MV_73_0_node_153 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5208-4_0_4_load_0 | 0 | 0.0066701 | 0.0016717 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5208-4_0_4_load_1 | 1 | 0.019243 | 0.0048227 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5208-4_0_4_load_2 | 2 | 0.0091444 | 0.0022918 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5208-4_0_4_load_44 | 5 | 0.0034638 | 0.0008681 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5208-4_0_4_load_6 | 6 | 0.0038106 | 0.00095503 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5208-4_0_4_load_23 | 8 | 0.016152 | 0.004048 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5208-4_0_4_load_45 | 9 | 0.012625 | 0.0031641 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5208-4_0_4_load_22 | 10 | 0.034184 | 0.0085673 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5208-4_0_4_load_4 | 11 | 0.012652 | 0.003171 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5208-4_0_4_load_5 | 12 | 0.012835 | 0.0032168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5208-4_0_4_load_25 | 13 | 0.012574 | 0.0031513 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5208-4_0_4_load_26 | 14 | 0.00511 | 0.0012807 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5208-4_0_4_load_8 | 15 | 0.0040559 | 0.0010165 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5208-4_0_4_load_9 | 16 | 0.0080217 | 0.0020104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5208-4_0_4_load_10 | 17 | 0.0037619 | 0.00094281 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5208-4_0_4_load_11 | 18 | 0.0074908 | 0.0018774 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5208-4_0_4_load_56 | 19 | 0.0044196 | 0.0011077 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5208-4_0_4_load_39 | 20 | 0.0091484 | 0.0022928 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5208-4_0_4_load_12 | 21 | 0.0070195 | 0.0017592 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5208-4_0_4_load_40 | 22 | 0.011721 | 0.0029375 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5208-4_0_4_load_15 | 23 | 0.0074191 | 0.0018594 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5208-4_0_4_load_13 | 24 | 0.0058661 | 0.0014702 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5208-4_0_4_load_41 | 25 | 0.0074025 | 0.0018553 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5208-4_0_4_load_53 | 26 | 0.0058232 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5208-4_0_4_load_55 | 28 | 0.017237 | 0.0043199 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5208-4_0_4_load_14 | 29 | 0.0047891 | 0.0012003 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5208-4_0_4_load_21 | 33 | 0.0064029 | 0.0016047 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5208-4_0_4_load_19 | 34 | 0.0055798 | 0.0013984 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5208-4_0_4_load_34 | 35 | 0.0040638 | 0.0010185 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5208-4_0_4_load_36 | 36 | 0.0029114 | 0.00072966 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5208-4_0_4_load_20 | 37 | 0.022864 | 0.0057303 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5208-4_0_4_load_35 | 39 | 0.0064449 | 0.0016153 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5208-4_0_4_load_46 | 40 | 0.015403 | 0.0038604 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5208-4_0_4_load_27 | 41 | 0.010363 | 0.0025972 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5208-4_0_4_load_28 | 42 | 0.0067674 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5208-4_0_4_load_29 | 43 | 0.015461 | 0.0038748 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5208-4_0_4_load_32 | 44 | 0.0047785 | 0.0011976 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5208-4_0_4_load_31 | 45 | 0.0038933 | 0.00097576 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5208-4_0_4_load_33 | 46 | 0.0025694 | 0.00064395 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5208-4_0_4_load_38 | 48 | 0.0053598 | 0.0013433 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5208-4_0_4_load_42 | 49 | 0.0068699 | 0.0017218 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5208-4_0_4_load_48 | 51 | 0.016693 | 0.0041837 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5208-4_0_4_load_49 | 52 | 0.06812 | 0.017072 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5208-4_0_4_load_50 | 53 | 0.012131 | 0.0030404 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5208-4_0_4_load_52 | 55 | 0.0033496 | 0.0008395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5208-4_0_4_line_0 |  | 0 | 1 | 0.02742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5208-4_0_4_line_1 |  | 0 | 2 | 0.016995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5208-4_0_4_line_2 |  | 1 | 3 | 0.042977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5208-4_0_4_line_3 |  | 3 | 7 | 0.023007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_5208-4_0_4_line_4 |  | 3 | 8 | 0.024302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_5208-4_0_4_line_5 |  | 4 | 5 | 0.041152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5208-4_0_4_line_6 |  | 4 | 6 | 0.024521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5208-4_0_4_line_7 |  | 6 | 11 | 0.014756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5208-4_0_4_line_8 |  | 7 | 9 | 0.026112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_5208-4_0_4_line_9 |  | 8 | 10 | 0.027191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_5208-4_0_4_line_10 |  | 9 | 40 | 0.041846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5208-4_0_4_line_11 |  | 10 | 33 | 0.036346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5208-4_0_4_line_12 |  | 11 | 12 | 0.0088684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5208-4_0_4_line_13 |  | 12 | 13 | 0.042635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5208-4_0_4_line_14 |  | 13 | 14 | 0.0036575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5208-4_0_4_line_15 |  | 14 | 41 | 0.018156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5208-4_0_4_line_16 |  | 15 | 16 | 0.01953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5208-4_0_4_line_17 |  | 15 | 17 | 0.00079367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5208-4_0_4_line_18 |  | 16 | 18 | 0.025184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5208-4_0_4_line_19 |  | 17 | 19 | 0.092171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5208-4_0_4_line_20 |  | 18 | 21 | 0.030674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5208-4_0_4_line_21 |  | 19 | 20 | 0.031057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5208-4_0_4_line_22 |  | 20 | 47 | 0.023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5208-4_0_4_line_23 |  | 21 | 22 | 0.0017517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5208-4_0_4_line_24 |  | 22 | 25 | 0.019786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5208-4_0_4_line_25 |  | 23 | 24 | 0.012857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5208-4_0_4_line_26 |  | 24 | 29 | 0.021929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5208-4_0_4_line_27 |  | 25 | 49 | 0.019921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5208-4_0_4_line_28 |  | 26 | 27 | 0.035561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5208-4_0_4_line_29 |  | 26 | 28 | 0.050725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5208-4_0_4_line_30 |  | 27 | 51 | 0.05842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5208-4_0_4_line_31 |  | 28 | 55 | 0.012481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5208-4_0_4_line_32 |  | 29 | 30 | 0.014688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5208-4_0_4_line_33 |  | 30 | 31 | 0.020335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5208-4_0_4_line_34 |  | 30 | 32 | 0.007011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_5208-4_0_4_line_35 |  | 31 | 33 | 0.0056803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5208-4_0_4_line_36 |  | 31 | 34 | 0.029863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5208-4_0_4_line_37 |  | 32 | 35 | 0.018534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5208-4_0_4_line_38 |  | 32 | 36 | 0.024043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5208-4_0_4_line_39 |  | 34 | 37 | 0.017121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5208-4_0_4_line_40 |  | 35 | 38 | 0.01821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5208-4_0_4_line_41 |  | 36 | 39 | 0.017764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5208-4_0_4_line_42 |  | 38 | 44 | 0.036904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5208-4_0_4_line_43 |  | 38 | 43 | 0.018219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5208-4_0_4_line_44 |  | 39 | 47 | 0.0015981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5208-4_0_4_line_45 |  | 40 | 50 | 0.0078215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5208-4_0_4_line_46 |  | 41 | 42 | 0.0070561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5208-4_0_4_line_47 |  | 42 | 43 | 0.015296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5208-4_0_4_line_48 |  | 44 | 45 | 0.0040437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5208-4_0_4_line_49 |  | 45 | 46 | 0.0076589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5208-4_0_4_line_50 |  | 47 | 48 | 0.028072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5208-4_0_4_line_51 |  | 50 | 51 | 0.042136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5208-4_0_4_line_52 |  | 51 | 52 | 0.016656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5208-4_0_4_line_53 |  | 53 | 54 | 0.016265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5208-4_0_4_line_54 |  | 54 | 55 | 0.021509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5208-4_0_4_trafo_20 | 0.63 MVA 20/0.4 kV | 56 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2716707.8501 | 1101353.5623 | 2716707.8501 | 1101353.5623 | 2716700.9888 | 1101361.3469 | 2716703.3368 | 1101367.2628 | 2716713.892 | 1101368.8837
1 | 2716724.8414 | 1101353.1997 | 2716707.8501 | 1101353.5623
2 | 2716727.6885 | 1101391.9364 | 2716732.2533 | 1101380.7943 | 2716736.357 | 1101374.3132 | 2716728.7459 | 1101371.1647 | 2716713.892 | 1101368.8837
3 | 2716727.6885 | 1101391.9364 | 2716705.166 | 1101396.9404
4 | 2716727.6885 | 1101391.9364 | 2716750.8475 | 1101384.572
5 | 2716664.1767 | 1101285.3435 | 2716670.928 | 1101244.749
6 | 2716664.1767 | 1101285.3435 | 2716688.6036 | 1101287.4904
7 | 2716703.3031 | 1101288.7824 | 2716688.6036 | 1101287.4904
8 | 2716705.166 | 1101396.9404 | 2716723.7329 | 1101415.3003
9 | 2716776.7601 | 1101376.3321 | 2716750.8475 | 1101384.572
10 | 2716723.7329 | 1101415.3003 | 2716753.488 | 1101444.7238
11 | 2716776.7601 | 1101376.3321 | 2716799.4006 | 1101369.1326 | 2716809.0458 | 1101361.0438
12 | 2716703.3031 | 1101288.7824 | 2716712.1374 | 1101289.5588
13 | 2716754.772 | 1101289.2915 | 2716712.1374 | 1101289.5588
14 | 2716754.772 | 1101289.2915 | 2716758.4207 | 1101289.5451
15 | 2716776.4986 | 1101290.9899 | 2716775.6876 | 1101290.7453 | 2716758.4207 | 1101289.5451
16 | 2716959.3606 | 1101394.6053 | 2716958.7644 | 1101395.9283 | 2716952.7021 | 1101412.9605
17 | 2716959.3606 | 1101394.6053 | 2716959.6867 | 1101393.8817
18 | 2716948.8636 | 1101437.5214 | 2716949.107 | 1101423.0609 | 2716952.7021 | 1101412.9605
19 | 2716880.672 | 1101346.4247 | 2716959.6867 | 1101393.8817
20 | 2716948.8636 | 1101437.5214 | 2716948.7856 | 1101442.1567 | 2716950.0375 | 1101460.749 | 2716951.6654 | 1101467.9717
21 | 2716880.672 | 1101346.4247 | 2716891.0872 | 1101333.7942 | 2716880.4557 | 1101323.6624
22 | 2716863.2949 | 1101307.3081 | 2716880.4557 | 1101323.6624
23 | 2716952.0505 | 1101469.6805 | 2716951.6654 | 1101467.9717
24 | 2716952.0505 | 1101469.6805 | 2716956.4009 | 1101488.9828
25 | 2716859.2392 | 1101382.8706 | 2716851.2964 | 1101372.7607
26 | 2716851.2964 | 1101372.7607 | 2716837.7487 | 1101355.5169
27 | 2716956.4009 | 1101488.9828 | 2716960.7809 | 1101508.4165
28 | 2716816.4115 | 1101465.1031 | 2716843.357 | 1101488.3085
29 | 2716811.5411 | 1101527.8147 | 2716843.357 | 1101488.3085
30 | 2716764.5513 | 1101491.9987 | 2716816.4115 | 1101465.1031
31 | 2716811.5411 | 1101527.8147 | 2716810.5748 | 1101540.258
32 | 2716828.6747 | 1101343.9672 | 2716837.7487 | 1101355.5169
33 | 2716813.3982 | 1101357.3937 | 2716826.4123 | 1101346.481 | 2716828.6747 | 1101343.9672
34 | 2716833.6167 | 1101338.9811 | 2716828.6747 | 1101343.9672
35 | 2716813.3982 | 1101357.3937 | 2716809.0458 | 1101361.0438
36 | 2716813.3982 | 1101357.3937 | 2716819.6213 | 1101386.6015
37 | 2716833.6167 | 1101338.9811 | 2716828.8788 | 1101327.3264 | 2716824.5613 | 1101323.2273
38 | 2716833.6167 | 1101338.9811 | 2716850.0563 | 1101321.4365
39 | 2716823.189 | 1101403.3467 | 2716819.6213 | 1101386.6015
40 | 2716811.3552 | 1101310.6892 | 2716824.5613 | 1101323.2273
41 | 2716862.2022 | 1101308.4742 | 2716850.0563 | 1101321.4365
42 | 2716811.3552 | 1101310.6892 | 2716836.4268 | 1101283.6094
43 | 2716811.3552 | 1101310.6892 | 2716796.6677 | 1101299.9097
44 | 2716863.2949 | 1101307.3081 | 2716862.2022 | 1101308.4742
45 | 2716759.0495 | 1101450.2234 | 2716753.488 | 1101444.7238
46 | 2716776.4986 | 1101290.9899 | 2716783.2542 | 1101293.0269
47 | 2716783.2542 | 1101293.0269 | 2716790.1035 | 1101295.0921 | 2716796.6677 | 1101299.9097
48 | 2716839.174 | 1101280.6421 | 2716836.4268 | 1101283.6094
49 | 2716844.3773 | 1101275.0221 | 2716839.174 | 1101280.6421
50 | 2716863.2949 | 1101307.3081 | 2716882.4878 | 1101286.8219
51 | 2716759.0495 | 1101450.2234 | 2716764.5513 | 1101491.9987
52 | 2716764.5513 | 1101491.9987 | 2716766.7261 | 1101508.5123
53 | 2716808.9093 | 1101561.7026 | 2716792.715 | 1101563.2168
54 | 2716808.9093 | 1101561.7026 | 2716810.5748 | 1101540.258

## bus_geodata
| x | y | coords
0 | 2716707.8501 | 1101353.5623
1 | 2716713.892 | 1101368.8837
2 | 2716724.8414 | 1101353.1997
3 | 2716727.6885 | 1101391.9364
4 | 2716664.1767 | 1101285.3435
5 | 2716670.928 | 1101244.749
6 | 2716688.6036 | 1101287.4904
7 | 2716705.166 | 1101396.9404
8 | 2716750.8475 | 1101384.572
9 | 2716723.7329 | 1101415.3003
10 | 2716776.7601 | 1101376.3321
11 | 2716703.3031 | 1101288.7824
12 | 2716712.1374 | 1101289.5588
13 | 2716754.7721 | 1101289.2915
14 | 2716758.4207 | 1101289.5451
15 | 2716959.3606 | 1101394.6053
16 | 2716952.7021 | 1101412.9605
17 | 2716959.6867 | 1101393.8817
18 | 2716948.8636 | 1101437.5213
19 | 2716880.672 | 1101346.4247
20 | 2716880.4557 | 1101323.6624
21 | 2716951.6654 | 1101467.9717
22 | 2716952.0505 | 1101469.6805
23 | 2716859.2392 | 1101382.8706
24 | 2716851.2964 | 1101372.7607
25 | 2716956.4009 | 1101488.9828
26 | 2716843.357 | 1101488.3085
27 | 2716816.4115 | 1101465.1031
28 | 2716811.5411 | 1101527.8147
29 | 2716837.7487 | 1101355.5169
30 | 2716828.6747 | 1101343.9672
31 | 2716813.3982 | 1101357.3937
32 | 2716833.6167 | 1101338.9811
33 | 2716809.0458 | 1101361.0438
34 | 2716819.6213 | 1101386.6015
35 | 2716824.5613 | 1101323.2273
36 | 2716850.0563 | 1101321.4365
37 | 2716823.189 | 1101403.3467
38 | 2716811.3552 | 1101310.6892
39 | 2716862.2022 | 1101308.4742
40 | 2716753.488 | 1101444.7238
41 | 2716776.4986 | 1101290.9899
42 | 2716783.2542 | 1101293.0269
43 | 2716796.6677 | 1101299.9097
44 | 2716836.4268 | 1101283.6094
45 | 2716839.174 | 1101280.6421
46 | 2716844.3773 | 1101275.0221
47 | 2716863.2949 | 1101307.3081
48 | 2716882.4878 | 1101286.8219
49 | 2716960.7809 | 1101508.4165
50 | 2716759.0495 | 1101450.2234
51 | 2716764.5513 | 1101491.9987
52 | 2716766.7261 | 1101508.5123
53 | 2716792.715 | 1101563.2168
54 | 2716808.9093 | 1101561.7026
55 | 2716810.5748 | 1101540.258
56 | 2716813.3982 | 1101357.3937

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98875 | -0.21488 | 0.0066701 | 0.0016717
1 | 0.98915 | -0.20715 | 0.019243 | 0.0048227
2 | 0.98861 | -0.21765 | 0.0091444 | 0.0022918
3 | 0.99053 | -0.18035 | 0 | 0
4 | 0.98503 | -0.28788 | 0 | 0
5 | 0.98489 | -0.29044 | 0.0034638 | 0.0008681
6 | 0.9851 | -0.28636 | 0.0038106 | 0.00095503
7 | 0.98972 | -0.19583 | 0 | 0
8 | 0.99158 | -0.16025 | 0.016152 | 0.004048
9 | 0.98788 | -0.23107 | 0.012625 | 0.0031641
10 | 0.99285 | -0.13586 | 0.034184 | 0.0085673
11 | 0.9852 | -0.28443 | 0.012652 | 0.003171
12 | 0.98536 | -0.28125 | 0.012835 | 0.0032168
13 | 0.98665 | -0.25621 | 0.012574 | 0.0031513
14 | 0.9868 | -0.25324 | 0.00511 | 0.0012807
15 | 0.98218 | -0.34237 | 0.0040559 | 0.0010165
16 | 0.9813 | -0.3595 | 0.0080217 | 0.0020104
17 | 0.98222 | -0.34161 | 0.0037619 | 0.00094281
18 | 0.98036 | -0.37799 | 0.0074908 | 0.0018774
19 | 0.98703 | -0.24824 | 0.0044196 | 0.0011077
20 | 0.98877 | -0.21453 | 0.0091484 | 0.0022928
21 | 0.97942 | -0.39637 | 0.0070195 | 0.0017592
22 | 0.97938 | -0.3972 | 0.011721 | 0.0029375
23 | 0.99363 | -0.12133 | 0.0074191 | 0.0018594
24 | 0.99371 | -0.11965 | 0.0058661 | 0.0014702
25 | 0.97912 | -0.40233 | 0.0074025 | 0.0018553
26 | 0.97336 | -0.51369 | 0.0058232 | 0.0014594
27 | 0.97464 | -0.48851 | 0 | 0
28 | 0.97182 | -0.54427 | 0.017237 | 0.0043199
29 | 0.99398 | -0.11451 | 0.0047891 | 0.0012003
30 | 0.99422 | -0.10982 | 0 | 0
31 | 0.99516 | -0.091817 | 0 | 0
32 | 0.99363 | -0.12114 | 0 | 0
33 | 0.99484 | -0.097897 | 0.0064029 | 0.0016047
34 | 0.99822 | -0.03362 | 0.0055798 | 0.0013984
35 | 0.99196 | -0.15337 | 0.0040638 | 0.0010185
36 | 0.99175 | -0.15713 | 0.0029114 | 0.00072966
37 | 1 | 0 | -0.45811 | -0.11697
38 | 0.99038 | -0.18384 | 0 | 0
39 | 0.99041 | -0.18289 | 0.0064449 | 0.0016153
40 | 0.98248 | -0.33535 | 0.015403 | 0.0038604
41 | 0.98765 | -0.23686 | 0.010363 | 0.0025972
42 | 0.98804 | -0.2292 | 0.0067674 | 0.0016961
43 | 0.98899 | -0.21076 | 0.015461 | 0.0038748
44 | 0.99 | -0.19121 | 0.0047785 | 0.0011976
45 | 0.98998 | -0.19168 | 0.0038933 | 0.00097576
46 | 0.98996 | -0.19203 | 0.0025694 | 0.00064395
47 | 0.9903 | -0.18503 | 0 | 0
48 | 0.99017 | -0.18771 | 0.0053598 | 0.0013433
49 | 0.97899 | -0.40482 | 0.0068699 | 0.0017218
50 | 0.98158 | -0.35278 | 0 | 0
51 | 0.97674 | -0.44728 | 0.016693 | 0.0041837
52 | 0.97569 | -0.46803 | 0.06812 | 0.017072
53 | 0.97121 | -0.5563 | 0.012131 | 0.0030404
54 | 0.97139 | -0.55266 | 0 | 0
55 | 0.97163 | -0.54784 | 0.0033496 | 0.0008395
56 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.015816 | -0.0039641 | 0.015822 | 0.0039674 | 5.8254e-06 | 3.3765e-06 | 0.023802 | 0.023802 | 0.023802 | 0.98875 | -0.21488 | 0.98915 | -0.20715 | 6.539
1 | 0.0091456 | 0.0022924 | -0.0091444 | -0.0022918 | 1.2074e-06 | 5.5477e-07 | 0.013764 | 0.013764 | 0.013764 | 0.98875 | -0.21488 | 0.98861 | -0.21765 | 3.7813
2 | -0.035064 | -0.0087901 | 0.035109 | 0.0088182 | 4.4843e-05 | 2.8147e-05 | 0.052749 | 0.052749 | 0.052749 | 0.98915 | -0.20715 | 0.99053 | -0.18035 | 14.4916
3 | 0.15337 | 0.039207 | -0.15326 | -0.039134 | 0.00011477 | 7.227e-05 | 0.23067 | 0.23068 | 0.23068 | 0.99053 | -0.18035 | 0.98972 | -0.19583 | 15.8431
4 | -0.18848 | -0.048025 | 0.18866 | 0.048141 | 0.00018301 | 0.00011588 | 0.28342 | 0.28342 | 0.28342 | 0.99053 | -0.18035 | 0.99158 | -0.16025 | 19.4659
5 | 0.0034642 | 0.00086785 | -0.0034638 | -0.0008681 | 4.2261e-07 | -2.533e-07 | 0.005233 | 0.0052332 | 0.0052332 | 0.98503 | -0.28788 | 0.98489 | -0.29044 | 1.4377
6 | -0.0034642 | -0.00086785 | 0.0034644 | 0.00086769 | 2.518e-07 | -1.5101e-07 | 0.005233 | 0.0052329 | 0.005233 | 0.98503 | -0.28788 | 0.9851 | -0.28636 | 1.4376
7 | -0.007275 | -0.0018227 | 0.0072757 | 0.001823 | 6.682e-07 | 2.3977e-07 | 0.010989 | 0.010989 | 0.010989 | 0.9851 | -0.28636 | 0.9852 | -0.28443 | 3.0189
8 | 0.15326 | 0.039134 | -0.153 | -0.038968 | 0.00026052 | 0.00016606 | 0.23068 | 0.23068 | 0.23068 | 0.98972 | -0.19583 | 0.98788 | -0.23107 | 31.6862
9 | -0.20481 | -0.052189 | 0.20506 | 0.052342 | 0.00024129 | 0.00015302 | 0.30766 | 0.30766 | 0.30766 | 0.99158 | -0.16025 | 0.99285 | -0.13586 | 21.1306
10 | 0.14037 | 0.035804 | -0.13967 | -0.035355 | 0.00070301 | 0.00044939 | 0.21166 | 0.21166 | 0.21166 | 0.98788 | -0.23107 | 0.98248 | -0.33535 | 58.148
11 | -0.23924 | -0.060909 | 0.23968 | 0.061188 | 0.00043889 | 0.000279 | 0.35889 | 0.35889 | 0.35889 | 0.99285 | -0.13586 | 0.99484 | -0.097897 | 24.6492
12 | -0.019928 | -0.004994 | 0.019931 | 0.0049958 | 3.0128e-06 | 1.8152e-06 | 0.030099 | 0.030099 | 0.030099 | 0.9852 | -0.28443 | 0.98536 | -0.28125 | 8.2688
13 | -0.032766 | -0.0082126 | 0.032805 | 0.0082371 | 3.9145e-05 | 2.4509e-05 | 0.049481 | 0.049481 | 0.049481 | 0.98536 | -0.28125 | 0.98665 | -0.25621 | 13.5937
14 | -0.045379 | -0.011388 | 0.045386 | 0.011392 | 6.4252e-06 | 4.0654e-06 | 0.068444 | 0.068444 | 0.068444 | 0.98665 | -0.25621 | 0.9868 | -0.25324 | 18.8033
15 | -0.050496 | -0.012673 | 0.050535 | 0.012698 | 3.948e-05 | 2.5035e-05 | 0.07615 | 0.076149 | 0.07615 | 0.9868 | -0.25324 | 0.98765 | -0.23686 | 20.9202
16 | 0.048635 | 0.01223 | -0.048595 | -0.012205 | 3.9777e-05 | 2.5211e-05 | 0.073697 | 0.073697 | 0.073697 | 0.98218 | -0.34237 | 0.9813 | -0.3595 | 20.2465
17 | -0.052691 | -0.013247 | 0.052693 | 0.013248 | 1.8973e-06 | 1.2042e-06 | 0.079842 | 0.079842 | 0.079842 | 0.98218 | -0.34237 | 0.98222 | -0.34161 | 21.9346
18 | 0.040573 | 0.010195 | -0.040538 | -0.010172 | 3.5758e-05 | 2.2567e-05 | 0.061533 | 0.061534 | 0.061534 | 0.9813 | -0.3595 | 0.98036 | -0.37799 | 16.9048
19 | -0.056454 | -0.014191 | 0.056707 | 0.014352 | 0.00025291 | 0.00016069 | 0.085541 | 0.08554 | 0.085541 | 0.98222 | -0.34161 | 0.98703 | -0.24824 | 23.5002
20 | 0.033047 | 0.0082948 | -0.033018 | -0.0082766 | 2.8946e-05 | 1.8139e-05 | 0.050164 | 0.050164 | 0.050164 | 0.98036 | -0.37799 | 0.97942 | -0.39637 | 13.7813
21 | -0.061127 | -0.015459 | 0.061226 | 0.015522 | 9.9011e-05 | 6.2969e-05 | 0.092203 | 0.092203 | 0.092203 | 0.98703 | -0.24824 | 0.98877 | -0.21453 | 25.3306
22 | -0.070374 | -0.017815 | 0.070474 | 0.017879 | 9.9828e-05 | 6.3586e-05 | 0.10597 | 0.10597 | 0.10597 | 0.98877 | -0.21453 | 0.9903 | -0.18503 | 29.1128
23 | 0.025998 | 0.0065174 | -0.025997 | -0.0065168 | 1.0249e-06 | 6.3388e-07 | 0.0395 | 0.0395 | 0.0395 | 0.97942 | -0.39637 | 0.97938 | -0.3972 | 10.8515
24 | 0.014277 | 0.0035793 | -0.014273 | -0.0035773 | 3.4913e-06 | 1.9855e-06 | 0.021692 | 0.021692 | 0.021692 | 0.97938 | -0.3972 | 0.97912 | -0.40233 | 5.9593
25 | -0.0074191 | -0.0018594 | 0.0074197 | 0.0018596 | 5.9516e-07 | 2.1436e-07 | 0.011111 | 0.01111 | 0.011111 | 0.99363 | -0.12133 | 0.99371 | -0.11965 | 3.0524
26 | -0.013286 | -0.0033298 | 0.013289 | 0.0033316 | 3.2548e-06 | 1.7989e-06 | 0.019895 | 0.019895 | 0.019895 | 0.99371 | -0.11965 | 0.99398 | -0.11451 | 5.4656
27 | 0.0068707 | 0.001722 | -0.0068699 | -0.0017218 | 8.1452e-07 | 2.7077e-07 | 0.010442 | 0.010442 | 0.010442 | 0.97912 | -0.40233 | 0.97899 | -0.40482 | 2.8687
28 | -0.038596 | -0.0096934 | 0.038643 | 0.0097227 | 4.6437e-05 | 2.9277e-05 | 0.059011 | 0.059011 | 0.059011 | 0.97336 | -0.51369 | 0.97464 | -0.48851 | 16.2118
29 | 0.032773 | 0.008234 | -0.032725 | -0.0082041 | 4.7762e-05 | 2.9938e-05 | 0.050109 | 0.050109 | 0.050109 | 0.97336 | -0.51369 | 0.97182 | -0.54427 | 13.7662
30 | -0.038643 | -0.0097227 | 0.038719 | 0.0097708 | 7.6287e-05 | 4.8094e-05 | 0.059011 | 0.05901 | 0.059011 | 0.97464 | -0.48851 | 0.97674 | -0.44728 | 16.2117
31 | 0.015489 | 0.0038841 | -0.015486 | -0.0038826 | 2.6326e-06 | 1.5302e-06 | 0.023716 | 0.023717 | 0.023717 | 0.97182 | -0.54427 | 0.97163 | -0.54784 | 6.5155
32 | -0.018078 | -0.0045319 | 0.018082 | 0.0045343 | 4.0343e-06 | 2.3915e-06 | 0.027064 | 0.027064 | 0.027064 | 0.99398 | -0.11451 | 0.99422 | -0.10982 | 7.4351
33 | -0.20255 | -0.051339 | 0.20272 | 0.051451 | 0.00017543 | 0.00011122 | 0.30335 | 0.30335 | 0.30335 | 0.99422 | -0.10982 | 0.99516 | -0.091817 | 20.8343
34 | 0.18446 | 0.046805 | -0.18436 | -0.046741 | 0.00010034 | 6.4039e-05 | 0.27628 | 0.27628 | 0.27628 | 0.99422 | -0.10982 | 0.99363 | -0.12114 | 37.9511
35 | 0.24615 | 0.062839 | -0.24608 | -0.062793 | 7.2301e-05 | 4.5978e-05 | 0.36847 | 0.36847 | 0.36847 | 0.99516 | -0.091817 | 0.99484 | -0.097897 | 25.3069
36 | -0.44888 | -0.11429 | 0.45014 | 0.1151 | 0.0012636 | 0.00080715 | 0.67182 | 0.67182 | 0.67182 | 0.99516 | -0.091817 | 0.99822 | -0.03362 | 46.1412
37 | 0.098915 | 0.02501 | -0.098762 | -0.024913 | 0.00015267 | 9.7468e-05 | 0.14821 | 0.14821 | 0.14821 | 0.99363 | -0.12114 | 0.99196 | -0.15337 | 40.7165
38 | 0.085449 | 0.021731 | -0.085301 | -0.021637 | 0.0001479 | 9.4343e-05 | 0.12808 | 0.12808 | 0.12808 | 0.99363 | -0.12114 | 0.99175 | -0.15713 | 35.1857
39 | -0.45572 | -0.1165 | 0.45646 | 0.11697 | 0.00074249 | 0.0004743 | 0.68013 | 0.68013 | 0.68013 | 0.99822 | -0.03362 | 1 | 0 | 46.7124
40 | 0.094698 | 0.023894 | -0.09456 | -0.023806 | 0.00013791 | 8.803e-05 | 0.14211 | 0.14211 | 0.14211 | 0.99196 | -0.15337 | 0.99038 | -0.18384 | 39.0418
41 | 0.082389 | 0.020907 | -0.082287 | -0.020842 | 0.00010194 | 6.5014e-05 | 0.12371 | 0.12371 | 0.12371 | 0.99175 | -0.15713 | 0.99041 | -0.18289 | 33.9857
42 | 0.011245 | 0.0028193 | -0.011241 | -0.0028173 | 3.9507e-06 | 2.0538e-06 | 0.016896 | 0.016896 | 0.016896 | 0.99038 | -0.18384 | 0.99 | -0.19121 | 4.6418
43 | 0.083315 | 0.020987 | -0.083208 | -0.020918 | 0.00010712 | 6.8322e-05 | 0.12522 | 0.12522 | 0.12522 | 0.99038 | -0.18384 | 0.98899 | -0.21076 | 34.4001
44 | 0.075842 | 0.019227 | -0.075835 | -0.019222 | 7.7918e-06 | 4.9662e-06 | 0.11402 | 0.11403 | 0.11403 | 0.99041 | -0.18289 | 0.9903 | -0.18503 | 31.3256
45 | 0.12426 | 0.031494 | -0.12416 | -0.031428 | 0.00010403 | 6.6481e-05 | 0.18833 | 0.18833 | 0.18833 | 0.98248 | -0.33535 | 0.98158 | -0.35278 | 51.739
46 | -0.060898 | -0.015295 | 0.06092 | 0.01531 | 2.2281e-05 | 1.4169e-05 | 0.091762 | 0.091762 | 0.091762 | 0.98765 | -0.23686 | 0.98804 | -0.2292 | 25.2095
47 | -0.067688 | -0.017006 | 0.067747 | 0.017044 | 5.9625e-05 | 3.7964e-05 | 0.10195 | 0.10195 | 0.10195 | 0.98804 | -0.2292 | 0.98899 | -0.21076 | 28.0094
48 | 0.0064629 | 0.0016197 | -0.0064627 | -0.0016196 | 1.4309e-07 | 3.9583e-08 | 0.009714 | 0.009714 | 0.009714 | 0.99 | -0.19121 | 0.98998 | -0.19168 | 2.6687
49 | 0.0025694 | 0.00064388 | -0.0025694 | -0.00064395 | 4.2838e-08 | -7.1057e-08 | 0.003862 | 0.0038621 | 0.0038621 | 0.98998 | -0.19168 | 0.98996 | -0.19203 | 1.061
50 | 0.0053605 | 0.0013434 | -0.0053598 | -0.0013433 | 6.8296e-07 | 7.5963e-08 | 0.0080545 | 0.0080546 | 0.0080546 | 0.9903 | -0.18503 | 0.99017 | -0.18771 | 2.2128
51 | 0.12416 | 0.031428 | -0.1236 | -0.03107 | 0.00056044 | 0.00035815 | 0.18833 | 0.18833 | 0.18833 | 0.98158 | -0.35278 | 0.97674 | -0.44728 | 51.7391
52 | 0.068187 | 0.017115 | -0.06812 | -0.017072 | 6.7413e-05 | 4.2936e-05 | 0.10389 | 0.10389 | 0.10389 | 0.97674 | -0.44728 | 0.97569 | -0.46803 | 28.5408
53 | -0.012131 | -0.0030404 | 0.012134 | 0.0030416 | 2.1072e-06 | 1.1473e-06 | 0.018587 | 0.018587 | 0.018587 | 0.97121 | -0.5563 | 0.97139 | -0.55266 | 5.1063
54 | -0.012134 | -0.0030416 | 0.012136 | 0.0030431 | 2.7865e-06 | 1.517e-06 | 0.018587 | 0.018587 | 0.018587 | 0.97139 | -0.55266 | 0.97163 | -0.54784 | 5.1063

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.48098 | 0.1227

## res_load
| p_mw | q_mvar
0 | 0.0066701 | 0.0016717
1 | 0.019243 | 0.0048227
2 | 0.0091444 | 0.0022918
3 | 0.0034638 | 0.0008681
4 | 0.0038106 | 0.00095503
5 | 0.016152 | 0.004048
6 | 0.012625 | 0.0031641
7 | 0.034184 | 0.0085673
8 | 0.012652 | 0.003171
9 | 0.012835 | 0.0032168
10 | 0.012574 | 0.0031513
11 | 0.00511 | 0.0012807
12 | 0.0040559 | 0.0010165
13 | 0.0080217 | 0.0020104
14 | 0.0037619 | 0.00094281
15 | 0.0074908 | 0.0018774
16 | 0.0044196 | 0.0011077
17 | 0.0091484 | 0.0022928
18 | 0.0070195 | 0.0017592
19 | 0.011721 | 0.0029375
20 | 0.0074191 | 0.0018594
21 | 0.0058661 | 0.0014702
22 | 0.0074025 | 0.0018553
23 | 0.0058232 | 0.0014594
24 | 0.017237 | 0.0043199
25 | 0.0047891 | 0.0012003
26 | 0.0064029 | 0.0016047
27 | 0.0055798 | 0.0013984
28 | 0.0040638 | 0.0010185
29 | 0.0029114 | 0.00072966
30 | 0.022864 | 0.0057303
31 | 0.0064449 | 0.0016153
32 | 0.015403 | 0.0038604
33 | 0.010363 | 0.0025972
34 | 0.0067674 | 0.0016961
35 | 0.015461 | 0.0038748
36 | 0.0047785 | 0.0011976
37 | 0.0038933 | 0.00097576
38 | 0.0025694 | 0.00064395
39 | 0.0053598 | 0.0013433
40 | 0.0068699 | 0.0017218
41 | 0.016693 | 0.0041837
42 | 0.06812 | 0.017072
43 | 0.012131 | 0.0030404
44 | 0.0033496 | 0.0008395

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1