## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5208-6_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5208-6_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5208-6_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5208-6_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5208-6_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5208-6_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5208-6_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5208-6_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5208-6_0_5_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_5208-6_0_5_node_16 | 0.4 | n |  | TRUE
10 | bus_LV_5208-6_0_5_node_38 | 0.4 | n |  | TRUE
11 | bus_LV_5208-6_0_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_5208-6_0_5_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_5208-6_0_5_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_5208-6_0_5_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_5208-6_0_5_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_5208-6_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_5208-6_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_5208-6_0_5_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_5208-6_0_5_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_5208-6_0_5_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_5208-6_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_5208-6_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_5208-6_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5208-6_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_5208-6_0_5_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_5208-6_0_5_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_5208-6_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_5208-6_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_5208-6_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_5208-6_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_5208-6_0_5_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5208-6_0_5_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_5208-6_0_5_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5208-6_0_5_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_5208-6_0_5_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_5208-6_0_5_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_5208-6_0_5_node_35 | 0.4 | n |  | TRUE
38 | bus_MV_73_0_node_151 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5208-6_0_5_load_0 | 0 | 0.013443 | 0.0033691 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5208-6_0_5_load_1 | 1 | 0.005581 | 0.0013987 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5208-6_0_5_load_2 | 2 | 0.0068425 | 0.0017149 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5208-6_0_5_load_3 | 3 | 0.0055814 | 0.0013988 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5208-6_0_5_load_4 | 4 | 0.027017 | 0.006771 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5208-6_0_5_load_7 | 7 | 0.0082267 | 0.0020618 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5208-6_0_5_load_21 | 8 | 0.011763 | 0.002948 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5208-6_0_5_load_16 | 9 | 0.012443 | 0.0031186 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5208-6_0_5_load_38 | 10 | 0.015832 | 0.003968 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5208-6_0_5_load_14 | 12 | 0.012284 | 0.0030787 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5208-6_0_5_load_36 | 13 | 0.0065778 | 0.0016485 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5208-6_0_5_load_8 | 14 | 0.015128 | 0.0037915 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5208-6_0_5_load_10 | 16 | 0.013204 | 0.0033094 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5208-6_0_5_load_28 | 18 | 0.010441 | 0.0026169 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5208-6_0_5_load_25 | 19 | 0.0078701 | 0.0019724 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5208-6_0_5_load_26 | 20 | 0.012557 | 0.003147 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5208-6_0_5_load_12 | 21 | 0.063899 | 0.016015 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5208-6_0_5_load_13 | 22 | 0.012282 | 0.003078 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5208-6_0_5_load_15 | 23 | 0.027673 | 0.0069356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5208-6_0_5_load_18 | 24 | 0.01122 | 0.0028119 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5208-6_0_5_load_19 | 25 | 0.0063726 | 0.0015971 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5208-6_0_5_load_39 | 26 | 0.017864 | 0.0044773 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5208-6_0_5_load_20 | 27 | 0.0063744 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5208-6_0_5_load_22 | 28 | 0.0086492 | 0.0021677 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5208-6_0_5_load_23 | 29 | 0.006407 | 0.0016058 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5208-6_0_5_load_31 | 30 | 0.028979 | 0.0072629 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5208-6_0_5_load_24 | 31 | 0.0051921 | 0.0013013 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5208-6_0_5_load_30 | 32 | 0.0064883 | 0.0016261 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5208-6_0_5_load_33 | 35 | 0.011381 | 0.0028524 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5208-6_0_5_load_34 | 36 | 0.0034789 | 0.00087188 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5208-6_0_5_load_35 | 37 | 0.0080483 | 0.0020171 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5208-6_0_5_line_0 |  | 0 | 1 | 0.026856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5208-6_0_5_line_1 |  | 1 | 2 | 0.004298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5208-6_0_5_line_2 |  | 2 | 3 | 0.0077982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5208-6_0_5_line_3 |  | 3 | 4 | 0.017666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5208-6_0_5_line_4 |  | 4 | 5 | 0.031935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5208-6_0_5_line_5 |  | 5 | 6 | 0.053285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5208-6_0_5_line_6 |  | 5 | 7 | 0.030818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5208-6_0_5_line_7 |  | 6 | 8 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_5208-6_0_5_line_8 |  | 6 | 9 | 0.045981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5208-6_0_5_line_9 |  | 6 | 10 | 0.047936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5208-6_0_5_line_10 |  | 8 | 11 | 0.0029211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_5208-6_0_5_line_11 |  | 9 | 12 | 0.019833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5208-6_0_5_line_12 |  | 10 | 13 | 0.010719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5208-6_0_5_line_13 |  | 11 | 30 | 0.035054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5208-6_0_5_line_14 |  | 11 | 18 | 0.0064917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_5208-6_0_5_line_15 |  | 12 | 21 | 0.0019944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5208-6_0_5_line_16 |  | 14 | 15 | 0.047173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5208-6_0_5_line_17 |  | 14 | 16 | 0.023421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5208-6_0_5_line_18 |  | 15 | 17 | 0.052264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5208-6_0_5_line_19 |  | 17 | 18 | 0.018578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_5208-6_0_5_line_20 |  | 17 | 19 | 0.010842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5208-6_0_5_line_21 |  | 19 | 20 | 0.024461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5208-6_0_5_line_22 |  | 20 | 33 | 0.046589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5208-6_0_5_line_23 |  | 21 | 22 | 0.021672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5208-6_0_5_line_24 |  | 22 | 23 | 0.01861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5208-6_0_5_line_25 |  | 24 | 25 | 0.046175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5208-6_0_5_line_26 |  | 24 | 26 | 0.062896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5208-6_0_5_line_27 |  | 25 | 27 | 0.00065796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5208-6_0_5_line_28 |  | 27 | 28 | 0.014929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5208-6_0_5_line_29 |  | 28 | 29 | 0.014122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5208-6_0_5_line_30 |  | 29 | 31 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5208-6_0_5_line_31 |  | 31 | 32 | 0.011438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5208-6_0_5_line_32 |  | 32 | 33 | 0.043348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5208-6_0_5_line_33 |  | 33 | 34 | 0.069997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5208-6_0_5_line_34 |  | 34 | 35 | 0.075167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5208-6_0_5_line_35 |  | 35 | 36 | 0.089431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5208-6_0_5_line_36 |  | 36 | 37 | 0.081516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5208-6_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 38 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2716960.2201 | 1101392.698 | 2716970.0457 | 1101370.895 | 2716971.1704 | 1101368.1768
1 | 2716972.8135 | 1101364.2053 | 2716971.1704 | 1101368.1768
2 | 2716975.7949 | 1101356.9995 | 2716972.8135 | 1101364.2053
3 | 2716975.7949 | 1101356.9995 | 2716979.1233 | 1101348.9548 | 2716981.2464 | 1101340.2497
4 | 2716988.5063 | 1101309.1528 | 2716985.5282 | 1101322.6935 | 2716981.2464 | 1101340.2497
5 | 2717006.3304 | 1101260.3738 | 2716997.7756 | 1101269.2373 | 2716988.5063 | 1101309.1528
6 | 2716988.5063 | 1101309.1528 | 2716957.8304 | 1101306.2024
7 | 2717006.3304 | 1101260.3738 | 2717010.8577 | 1101267.6771 | 2717015.8832 | 1101275.1141
8 | 2717006.3304 | 1101260.3738 | 2716999.8971 | 1101222.2238 | 2716999.3159 | 1101214.9549
9 | 2717006.3304 | 1101260.3738 | 2716959.9447 | 1101248.2833
10 | 2717017.5188 | 1101277.5344 | 2717015.8832 | 1101275.1141
11 | 2716997.7349 | 1101195.1847 | 2716999.3159 | 1101214.9549
12 | 2716959.9447 | 1101248.2833 | 2716949.256 | 1101247.4732
13 | 2717017.5188 | 1101277.5344 | 2717016.5153 | 1101286.6213 | 2717028.4581 | 1101302.7957 | 2717028.7566 | 1101308.5943
14 | 2717017.5188 | 1101277.5344 | 2717022.4941 | 1101281.7044
15 | 2716997.5759 | 1101193.1967 | 2716997.7349 | 1101195.1847
16 | 2717063.3124 | 1101336.368 | 2717064.7726 | 1101346.959 | 2717057.6568 | 1101360.6868 | 2717057.6786 | 1101369.9936 | 2717049.8864 | 1101375.8475 | 2717048.015 | 1101376.4528
17 | 2717031.7587 | 1101389.7855 | 2717034.631 | 1101380.9348 | 2717039.0196 | 1101379.3627 | 2717048.015 | 1101376.4528
18 | 2717063.3124 | 1101336.368 | 2717055.0233 | 1101325.0339 | 2717045.2956 | 1101312.4267 | 2717037.8224 | 1101301.731 | 2717035.0006 | 1101297.1179 | 2717036.7321 | 1101293.6377
19 | 2717036.7321 | 1101293.6377 | 2717022.4941 | 1101281.7044
20 | 2717036.7321 | 1101293.6377 | 2717044.4946 | 1101301.2063
21 | 2717044.4946 | 1101301.2063 | 2717057.5215 | 1101313.9078 | 2717062.7036 | 1101317.4322
22 | 2717106.2787 | 1101318.6063 | 2717089.9305 | 1101324.951 | 2717079.3144 | 1101325.0909 | 2717068.2726 | 1101321.2199 | 2717062.7036 | 1101317.4322
23 | 2716997.5759 | 1101193.1967 | 2716996.2167 | 1101176.1992 | 2716995.4404 | 1101171.6445
24 | 2716992.3135 | 1101153.2992 | 2716995.4404 | 1101171.6445
25 | 2717063.6683 | 1101231.9368 | 2717053.84 | 1101213.7683 | 2717050.5347 | 1101202.1077 | 2717050.758 | 1101190.5263 | 2717051.3633 | 1101188.8154
26 | 2717051.3633 | 1101188.8154 | 2717111.7319 | 1101171.166
27 | 2717063.6683 | 1101231.9368 | 2717063.9814 | 1101232.5155
28 | 2717071 | 1101245.692 | 2717067.0782 | 1101238.2401 | 2717063.9814 | 1101232.5155
29 | 2717071 | 1101245.692 | 2717077.0924 | 1101257.2684 | 2717077.5503 | 1101258.2026
30 | 2717082.8774 | 1101269.0719 | 2717077.5503 | 1101258.2026
31 | 2717082.8774 | 1101269.0719 | 2717087.9109 | 1101279.3423
32 | 2717106.2787 | 1101318.6063 | 2717097.403 | 1101299.5555 | 2717089.2778 | 1101282.1314 | 2717087.9109 | 1101279.3423
33 | 2717106.2787 | 1101318.6063 | 2717135.4575 | 1101307.2833 | 2717174.0816 | 1101302.7362
34 | 2717174.0816 | 1101302.7362 | 2717178.0711 | 1101282.9441 | 2717178.8356 | 1101262.5893 | 2717179.2218 | 1101242.5831 | 2717180.0402 | 1101228.0082
35 | 2717180.0402 | 1101228.0082 | 2717180.3543 | 1101222.4133 | 2717183.4404 | 1101197.289 | 2717192.2488 | 1101164.4809 | 2717198.0175 | 1101144.7675 | 2717200.1401 | 1101141.3726
36 | 2717200.1401 | 1101141.3726 | 2717275.2424 | 1101173.0662

## bus_geodata
| x | y | coords
0 | 2716960.2201 | 1101392.698
1 | 2716971.1704 | 1101368.1768
2 | 2716972.8135 | 1101364.2053
3 | 2716975.7949 | 1101356.9995
4 | 2716981.2464 | 1101340.2497
5 | 2716988.5063 | 1101309.1528
6 | 2717006.3304 | 1101260.3738
7 | 2716957.8304 | 1101306.2024
8 | 2717015.8832 | 1101275.1141
9 | 2716999.3159 | 1101214.9549
10 | 2716959.9447 | 1101248.2833
11 | 2717017.5188 | 1101277.5344
12 | 2716997.7349 | 1101195.1847
13 | 2716949.256 | 1101247.4732
14 | 2717048.015 | 1101376.4528
15 | 2717063.3124 | 1101336.3681
16 | 2717031.7586 | 1101389.7855
17 | 2717036.7321 | 1101293.6377
18 | 2717022.4941 | 1101281.7044
19 | 2717044.4946 | 1101301.2063
20 | 2717062.7036 | 1101317.4322
21 | 2716997.5759 | 1101193.1967
22 | 2716995.4404 | 1101171.6445
23 | 2716992.3135 | 1101153.2992
24 | 2717051.3633 | 1101188.8154
25 | 2717063.6683 | 1101231.9368
26 | 2717111.7319 | 1101171.166
27 | 2717063.9814 | 1101232.5155
28 | 2717071 | 1101245.692
29 | 2717077.5503 | 1101258.2026
30 | 2717028.7566 | 1101308.5943
31 | 2717082.8774 | 1101269.0719
32 | 2717087.9109 | 1101279.3423
33 | 2717106.2787 | 1101318.6063
34 | 2717174.0816 | 1101302.7362
35 | 2717180.0402 | 1101228.0082
36 | 2717200.14 | 1101141.3726
37 | 2717275.2424 | 1101173.0662
38 | 2717017.5188 | 1101277.5344

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99396 | -0.1161 | 0.013443 | 0.0033691
1 | 0.99429 | -0.10974 | 0.005581 | 0.0013987
2 | 0.99437 | -0.1083 | 0.0068425 | 0.0017149
3 | 0.99455 | -0.10474 | 0.0055814 | 0.0013988
4 | 0.99506 | -0.094955 | 0.027017 | 0.006771
5 | 0.99676 | -0.062144 | 0 | 0
6 | 1 | 0 | -0.41375 | -0.10443
7 | 0.99653 | -0.066593 | 0.0082267 | 0.0020618
8 | 0.99846 | -0.029356 | 0.011763 | 0.002948
9 | 0.99459 | -0.10361 | 0.012443 | 0.0031186
10 | 0.99903 | -0.018743 | 0.015832 | 0.003968
11 | 0.99822 | -0.033946 | 0 | 0
12 | 0.99249 | -0.14428 | 0.012284 | 0.0030787
13 | 0.99896 | -0.019974 | 0.0065778 | 0.0016485
14 | 0.994 | -0.11492 | 0.015128 | 0.0037915
15 | 0.99522 | -0.091368 | 0 | 0
16 | 0.99372 | -0.12037 | 0.013204 | 0.0033094
17 | 0.99657 | -0.065343 | 0 | 0
18 | 0.99777 | -0.042506 | 0.010441 | 0.0026169
19 | 0.99546 | -0.086662 | 0.0078701 | 0.0019724
20 | 0.99311 | -0.13153 | 0.012557 | 0.003147
21 | 0.9923 | -0.14795 | 0.063899 | 0.016015
22 | 0.99151 | -0.16329 | 0.012282 | 0.003078
23 | 0.99104 | -0.17242 | 0.027673 | 0.0069356
24 | 0.98266 | -0.33403 | 0.01122 | 0.0028119
25 | 0.9839 | -0.30982 | 0.0063726 | 0.0015971
26 | 0.98162 | -0.35433 | 0.017864 | 0.0044773
27 | 0.98392 | -0.3094 | 0.0063744 | 0.0015976
28 | 0.98449 | -0.29816 | 0.0086492 | 0.0021677
29 | 0.98515 | -0.28535 | 0.006407 | 0.0016058
30 | 0.99729 | -0.051732 | 0.028979 | 0.0072629
31 | 0.98579 | -0.27299 | 0.0051921 | 0.0013013
32 | 0.98644 | -0.26026 | 0.0064883 | 0.0016261
33 | 0.98918 | -0.20716 | 0 | 0
34 | 0.98771 | -0.23578 | 0 | 0
35 | 0.98612 | -0.2666 | 0.011381 | 0.0028524
36 | 0.98517 | -0.2851 | 0.0034789 | 0.00087188
37 | 0.98457 | -0.29689 | 0.0080483 | 0.0020171
38 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013443 | -0.0033691 | 0.013447 | 0.0033714 | 4.0789e-06 | 2.2623e-06 | 0.020125 | 0.020125 | 0.020125 | 0.99396 | -0.1161 | 0.99429 | -0.10974 | 5.5288
1 | -0.019028 | -0.0047701 | 0.019029 | 0.0047709 | 1.307e-06 | 7.8076e-07 | 0.028477 | 0.028477 | 0.028477 | 0.99429 | -0.10974 | 0.99437 | -0.1083 | 7.8234
2 | -0.025872 | -0.0064858 | 0.025876 | 0.0064885 | 4.3834e-06 | 2.7042e-06 | 0.038716 | 0.038716 | 0.038716 | 0.99437 | -0.1083 | 0.99455 | -0.10474 | 10.6364
3 | -0.031458 | -0.0078873 | 0.031472 | 0.0078965 | 1.4676e-05 | 9.1633e-06 | 0.047067 | 0.047067 | 0.047067 | 0.99455 | -0.10474 | 0.99506 | -0.094955 | 12.9305
4 | -0.058489 | -0.014668 | 0.058581 | 0.014726 | 9.1622e-05 | 5.8223e-05 | 0.087468 | 0.087468 | 0.087468 | 0.99506 | -0.094955 | 0.99676 | -0.062144 | 24.0297
5 | -0.066809 | -0.016788 | 0.067008 | 0.016915 | 0.00019883 | 0.00012655 | 0.099752 | 0.099752 | 0.099752 | 0.99676 | -0.062144 | 1 | 0 | 27.4044
6 | 0.0082285 | 0.0020625 | -0.0082267 | -0.0020618 | 1.7439e-06 | 7.1448e-07 | 0.012284 | 0.012284 | 0.012284 | 0.99676 | -0.062144 | 0.99653 | -0.066593 | 3.3748
7 | 0.19315 | 0.049073 | -0.19288 | -0.048899 | 0.00027256 | 0.00017398 | 0.28765 | 0.28765 | 0.28765 | 1 | 0 | 0.99846 | -0.029356 | 39.5122
8 | 0.12951 | 0.032817 | -0.12887 | -0.032407 | 0.00064119 | 0.00040976 | 0.19284 | 0.19284 | 0.19284 | 1 | 0 | 0.99459 | -0.10361 | 52.9773
9 | 0.022431 | 0.0056288 | -0.02241 | -0.0056166 | 2.0029e-05 | 1.219e-05 | 0.033379 | 0.03338 | 0.03338 | 1 | 0 | 0.99903 | -0.018743 | 9.1703
10 | 0.18112 | 0.045951 | -0.18108 | -0.045925 | 3.9963e-05 | 2.55e-05 | 0.27012 | 0.27012 | 0.27012 | 0.99846 | -0.029356 | 0.99822 | -0.033946 | 37.1043
11 | 0.11642 | 0.029289 | -0.1162 | -0.029145 | 0.00022575 | 0.00014422 | 0.17422 | 0.17422 | 0.17422 | 0.99459 | -0.10361 | 0.99249 | -0.14428 | 47.8628
12 | 0.0065782 | 0.0016487 | -0.0065778 | -0.0016485 | 3.859e-07 | 1.0663e-07 | 0.009798 | 0.009798 | 0.009798 | 0.99903 | -0.018743 | 0.99896 | -0.019974 | 2.6918
13 | 0.029004 | 0.0072782 | -0.028979 | -0.0072629 | 2.4576e-05 | 1.5271e-05 | 0.043239 | 0.043239 | 0.043239 | 0.99822 | -0.033946 | 0.99729 | -0.051732 | 11.8788
14 | 0.15207 | 0.038647 | -0.15201 | -0.038607 | 6.2655e-05 | 3.993e-05 | 0.22688 | 0.22688 | 0.22688 | 0.99822 | -0.033946 | 0.99777 | -0.042506 | 31.1649
15 | 0.10391 | 0.026066 | -0.1039 | -0.026054 | 1.8155e-05 | 1.1594e-05 | 0.1558 | 0.1558 | 0.1558 | 0.99249 | -0.14428 | 0.9923 | -0.14795 | 42.8031
16 | -0.028336 | -0.0071027 | 0.028368 | 0.0071225 | 3.1831e-05 | 1.976e-05 | 0.042419 | 0.042419 | 0.042419 | 0.994 | -0.11492 | 0.99522 | -0.091368 | 11.6537
17 | 0.013208 | 0.0033113 | -0.013204 | -0.0033094 | 3.4337e-06 | 1.8941e-06 | 0.019773 | 0.019773 | 0.019773 | 0.994 | -0.11492 | 0.99372 | -0.12037 | 5.4321
18 | -0.028368 | -0.0071225 | 0.028403 | 0.0071444 | 3.5266e-05 | 2.189e-05 | 0.042419 | 0.042419 | 0.042419 | 0.99522 | -0.091368 | 0.99657 | -0.065343 | 11.6536
19 | -0.14141 | -0.035891 | 0.14157 | 0.03599 | 0.00015553 | 9.9057e-05 | 0.21131 | 0.21131 | 0.21131 | 0.99657 | -0.065343 | 0.99777 | -0.042506 | 29.026
20 | 0.11301 | 0.028747 | -0.11289 | -0.028673 | 0.00011597 | 7.4078e-05 | 0.16889 | 0.16889 | 0.16889 | 0.99657 | -0.065343 | 0.99546 | -0.086662 | 46.3985
21 | 0.10502 | 0.0267 | -0.1048 | -0.026556 | 0.00022647 | 0.00014462 | 0.15713 | 0.15713 | 0.15713 | 0.99546 | -0.086662 | 0.99311 | -0.13153 | 43.1666
22 | 0.092242 | 0.023409 | -0.091907 | -0.023195 | 0.00033422 | 0.0002133 | 0.13831 | 0.13831 | 0.13831 | 0.99311 | -0.13153 | 0.98918 | -0.20716 | 37.9979
23 | 0.039996 | 0.01004 | -0.039967 | -0.010021 | 2.924e-05 | 1.8434e-05 | 0.059982 | 0.059983 | 0.059983 | 0.9923 | -0.14795 | 0.99151 | -0.16329 | 16.4787
24 | 0.027686 | 0.0069431 | -0.027673 | -0.0069356 | 1.2049e-05 | 7.4712e-06 | 0.041551 | 0.041551 | 0.041551 | 0.99151 | -0.16329 | 0.99104 | -0.17242 | 11.4151
25 | -0.029101 | -0.0072994 | 0.029135 | 0.0073204 | 3.3629e-05 | 2.0937e-05 | 0.04407 | 0.04407 | 0.04407 | 0.98266 | -0.33403 | 0.9839 | -0.30982 | 12.1071
26 | 0.017882 | 0.0044875 | -0.017864 | -0.0044773 | 1.7296e-05 | 1.0274e-05 | 0.02708 | 0.02708 | 0.02708 | 0.98266 | -0.33403 | 0.98162 | -0.35433 | 7.4397
27 | -0.035508 | -0.0089175 | 0.035508 | 0.008918 | 7.117e-07 | 4.4713e-07 | 0.053707 | 0.053707 | 0.053707 | 0.9839 | -0.30982 | 0.98392 | -0.3094 | 14.7548
28 | -0.041883 | -0.010516 | 0.041905 | 0.01053 | 2.2466e-05 | 1.4189e-05 | 0.063348 | 0.063347 | 0.063348 | 0.98392 | -0.3094 | 0.98449 | -0.29816 | 17.4032
29 | -0.050554 | -0.012697 | 0.050585 | 0.012717 | 3.0928e-05 | 1.9614e-05 | 0.07642 | 0.07642 | 0.07642 | 0.98449 | -0.29816 | 0.98515 | -0.28535 | 20.9946
30 | -0.056992 | -0.014323 | 0.057026 | 0.014344 | 3.3648e-05 | 2.138e-05 | 0.086098 | 0.086098 | 0.086098 | 0.98515 | -0.28535 | 0.98579 | -0.27299 | 23.6532
31 | -0.062218 | -0.015645 | 0.062256 | 0.015669 | 3.7846e-05 | 2.4076e-05 | 0.093935 | 0.093935 | 0.093935 | 0.98579 | -0.27299 | 0.98644 | -0.26026 | 25.8063
32 | -0.068744 | -0.017296 | 0.068919 | 0.017407 | 0.00017488 | 0.00011137 | 0.10372 | 0.10372 | 0.10372 | 0.98644 | -0.26026 | 0.98918 | -0.20716 | 28.4952
33 | 0.022988 | 0.0057884 | -0.022957 | -0.0057692 | 3.1407e-05 | 1.9203e-05 | 0.03459 | 0.034591 | 0.034591 | 0.98918 | -0.20716 | 0.98771 | -0.23578 | 9.5029
34 | 0.022957 | 0.0057692 | -0.022923 | -0.0057486 | 3.3727e-05 | 2.0625e-05 | 0.034591 | 0.034591 | 0.034591 | 0.98771 | -0.23578 | 0.98612 | -0.2666 | 9.503
35 | 0.011542 | 0.0028962 | -0.011532 | -0.0028908 | 1.0174e-05 | 5.3715e-06 | 0.017417 | 0.017418 | 0.017418 | 0.98612 | -0.2666 | 0.98517 | -0.2851 | 4.7851
36 | 0.0080528 | 0.0020189 | -0.0080483 | -0.0020171 | 4.5226e-06 | 1.8571e-06 | 0.012163 | 0.012164 | 0.012164 | 0.98517 | -0.2851 | 0.98457 | -0.29689 | 3.3417

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.41375 | 0.10443

## res_load
| p_mw | q_mvar
0 | 0.013443 | 0.0033691
1 | 0.005581 | 0.0013987
2 | 0.0068425 | 0.0017149
3 | 0.0055814 | 0.0013988
4 | 0.027017 | 0.006771
5 | 0.0082267 | 0.0020618
6 | 0.011763 | 0.002948
7 | 0.012443 | 0.0031186
8 | 0.015832 | 0.003968
9 | 0.012284 | 0.0030787
10 | 0.0065778 | 0.0016485
11 | 0.015128 | 0.0037915
12 | 0.013204 | 0.0033094
13 | 0.010441 | 0.0026169
14 | 0.0078701 | 0.0019724
15 | 0.012557 | 0.003147
16 | 0.063899 | 0.016015
17 | 0.012282 | 0.003078
18 | 0.027673 | 0.0069356
19 | 0.01122 | 0.0028119
20 | 0.0063726 | 0.0015971
21 | 0.017864 | 0.0044773
22 | 0.0063744 | 0.0015976
23 | 0.0086492 | 0.0021677
24 | 0.006407 | 0.0016058
25 | 0.028979 | 0.0072629
26 | 0.0051921 | 0.0013013
27 | 0.0064883 | 0.0016261
28 | 0.011381 | 0.0028524
29 | 0.0034789 | 0.00087188
30 | 0.0080483 | 0.0020171

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1