## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5219-2_0_8_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5219-2_0_8_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5219-2_0_8_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5219-2_0_8_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5219-2_0_8_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5219-2_0_8_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5219-2_0_8_node_44 | 0.4 | n |  | TRUE
7 | bus_LV_5219-2_0_8_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5219-2_0_8_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_5219-2_0_8_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_5219-2_0_8_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5219-2_0_8_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_5219-2_0_8_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_5219-2_0_8_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_5219-2_0_8_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_5219-2_0_8_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_5219-2_0_8_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_5219-2_0_8_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_5219-2_0_8_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_5219-2_0_8_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_5219-2_0_8_node_33 | 0.4 | n |  | TRUE
21 | bus_LV_5219-2_0_8_node_37 | 0.4 | n |  | TRUE
22 | bus_LV_5219-2_0_8_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_5219-2_0_8_node_71 | 0.4 | n |  | TRUE
24 | bus_LV_5219-2_0_8_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_5219-2_0_8_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_5219-2_0_8_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_5219-2_0_8_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_5219-2_0_8_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_5219-2_0_8_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_5219-2_0_8_node_14 | 0.4 | n |  | TRUE
31 | bus_LV_5219-2_0_8_node_15 | 0.4 | n |  | TRUE
32 | bus_LV_5219-2_0_8_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_5219-2_0_8_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_5219-2_0_8_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_5219-2_0_8_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_5219-2_0_8_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_5219-2_0_8_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_5219-2_0_8_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_5219-2_0_8_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5219-2_0_8_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_5219-2_0_8_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_5219-2_0_8_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_5219-2_0_8_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_5219-2_0_8_node_70 | 0.4 | n |  | TRUE
45 | bus_LV_5219-2_0_8_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_5219-2_0_8_node_26 | 0.4 | n |  | TRUE
47 | bus_LV_5219-2_0_8_node_27 | 0.4 | n |  | TRUE
48 | bus_LV_5219-2_0_8_node_67 | 0.4 | n |  | TRUE
49 | bus_LV_5219-2_0_8_node_66 | 0.4 | n |  | TRUE
50 | bus_LV_5219-2_0_8_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_5219-2_0_8_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_5219-2_0_8_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_5219-2_0_8_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_5219-2_0_8_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_5219-2_0_8_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_5219-2_0_8_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_5219-2_0_8_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_5219-2_0_8_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_5219-2_0_8_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_5219-2_0_8_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5219-2_0_8_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_5219-2_0_8_node_48 | 0.4 | n |  | TRUE
63 | bus_LV_5219-2_0_8_node_49 | 0.4 | n |  | TRUE
64 | bus_LV_5219-2_0_8_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_5219-2_0_8_node_52 | 0.4 | n |  | TRUE
66 | bus_LV_5219-2_0_8_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_5219-2_0_8_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_5219-2_0_8_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_5219-2_0_8_node_56 | 0.4 | n |  | TRUE
70 | bus_LV_5219-2_0_8_node_76 | 0.4 | n |  | TRUE
71 | bus_LV_5219-2_0_8_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_5219-2_0_8_node_63 | 0.4 | n |  | TRUE
73 | bus_LV_5219-2_0_8_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_5219-2_0_8_node_73 | 0.4 | n |  | TRUE
75 | bus_LV_5219-2_0_8_node_74 | 0.4 | n |  | TRUE
76 | bus_LV_5219-2_0_8_node_77 | 0.4 | n |  | TRUE
77 | bus_LV_5219-2_0_8_node_78 | 0.4 | n |  | TRUE
78 | bus_LV_5219-2_0_8_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_5219-2_0_8_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_5219-2_0_8_node_82 | 0.4 | n |  | TRUE
81 | bus_LV_5219-2_0_8_node_81 | 0.4 | n |  | TRUE
82 | bus_MV_68_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5219-2_0_8_load_0 | 0 | 0.0021172 | 0.00053062 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5219-2_0_8_load_3 | 3 | 0.011741 | 0.0029425 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5219-2_0_8_load_4 | 4 | 0.0049876 | 0.00125 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5219-2_0_8_load_5 | 5 | 0.0028867 | 0.00072348 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5219-2_0_8_load_44 | 6 | 0.0048786 | 0.0012227 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5219-2_0_8_load_6 | 7 | 0.00162 | 0.00040602 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5219-2_0_8_load_34 | 8 | 0.0016512 | 0.00041383 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5219-2_0_8_load_35 | 9 | 0.000913 | 0.00022882 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5219-2_0_8_load_7 | 10 | 0.018274 | 0.0045798 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5219-2_0_8_load_8 | 11 | 0.0063078 | 0.0015809 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5219-2_0_8_load_9 | 12 | 0.0063701 | 0.0015965 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5219-2_0_8_load_10 | 13 | 0.004039 | 0.0010123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5219-2_0_8_load_11 | 14 | 0.0049916 | 0.001251 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5219-2_0_8_load_29 | 15 | 0.0015841 | 0.00039702 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5219-2_0_8_load_31 | 16 | 0.015943 | 0.0039957 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5219-2_0_8_load_28 | 17 | 0.0061175 | 0.0015332 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5219-2_0_8_load_12 | 18 | 0.001619 | 0.00040577 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5219-2_0_8_load_13 | 19 | 0.0026063 | 0.00065319 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5219-2_0_8_load_33 | 20 | 0.0042779 | 0.0010721 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5219-2_0_8_load_37 | 21 | 0.0014829 | 0.00037166 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5219-2_0_8_load_54 | 22 | 0.0053698 | 0.0013458 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5219-2_0_8_load_71 | 23 | 0.011257 | 0.0028212 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5219-2_0_8_load_36 | 24 | 0.0015827 | 0.00039666 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5219-2_0_8_load_30 | 25 | 0.0031612 | 0.00079227 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5219-2_0_8_load_32 | 26 | 0.0021791 | 0.00054613 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5219-2_0_8_load_55 | 27 | 0.0093572 | 0.0023451 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5219-2_0_8_load_53 | 28 | 0.0013669 | 0.00034258 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5219-2_0_8_load_50 | 29 | 0.0043049 | 0.0010789 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5219-2_0_8_load_14 | 30 | 0.0029376 | 0.00073624 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5219-2_0_8_load_15 | 31 | 0.0042538 | 0.0010661 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5219-2_0_8_load_16 | 32 | 0.0045968 | 0.0011521 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5219-2_0_8_load_17 | 33 | 0.0026594 | 0.00066651 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5219-2_0_8_load_18 | 34 | 0.0044129 | 0.001106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5219-2_0_8_load_19 | 35 | 0.013387 | 0.003355 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5219-2_0_8_load_61 | 38 | 0.0041531 | 0.0010409 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5219-2_0_8_load_21 | 39 | 0.0040211 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5219-2_0_8_load_22 | 40 | 0.0029005 | 0.00072693 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5219-2_0_8_load_23 | 41 | 0.0039509 | 0.0009902 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5219-2_0_8_load_24 | 42 | 0.0053684 | 0.0013455 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5219-2_0_8_load_25 | 43 | 0.0028281 | 0.0007088 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5219-2_0_8_load_70 | 44 | 0.013586 | 0.003405 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5219-2_0_8_load_65 | 45 | 0.010714 | 0.0026852 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5219-2_0_8_load_26 | 46 | 0.0020192 | 0.00050607 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5219-2_0_8_load_27 | 47 | 0.0039365 | 0.00098659 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5219-2_0_8_load_67 | 48 | 0.0038179 | 0.00095685 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5219-2_0_8_load_41 | 50 | 0.0011092 | 0.000278 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5219-2_0_8_load_39 | 51 | 0.0027257 | 0.00068312 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5219-2_0_8_load_38 | 52 | 0.0021254 | 0.00053268 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5219-2_0_8_load_42 | 54 | 0.0025596 | 0.0006415 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5219-2_0_8_load_57 | 57 | 0.010066 | 0.0025229 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5219-2_0_8_load_60 | 58 | 0.0045195 | 0.0011327 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5219-2_0_8_load_58 | 59 | 0.00073957 | 0.00018535 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5219-2_0_8_load_46 | 60 | 0.0077861 | 0.0019514 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5219-2_0_8_load_47 | 61 | 0.0036139 | 0.00090573 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5219-2_0_8_load_48 | 62 | 0.006818 | 0.0017088 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5219-2_0_8_load_51 | 64 | 0.0026314 | 0.00065949 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5219-2_0_8_load_68 | 66 | 0.0024246 | 0.00060765 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5219-2_0_8_load_69 | 67 | 0.031194 | 0.007818 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5219-2_0_8_load_72 | 68 | 0.0021471 | 0.0005381 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5219-2_0_8_load_56 | 69 | 0.022277 | 0.0055832 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5219-2_0_8_load_76 | 70 | 0.0029197 | 0.00073173 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5219-2_0_8_load_75 | 71 | 0.0030345 | 0.00076052 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5219-2_0_8_load_64 | 73 | 0.0044063 | 0.0011043 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5219-2_0_8_load_74 | 75 | 0.0018393 | 0.00046098 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5219-2_0_8_load_78 | 77 | 0.0029853 | 0.00074818 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5219-2_0_8_load_80 | 79 | 0.003481 | 0.00087243 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5219-2_0_8_load_82 | 80 | 0.0035166 | 0.00088135 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5219-2_0_8_load_81 | 81 | 0.0028984 | 0.0007264 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5219-2_0_8_line_0 |  | 0 | 1 | 0.0137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5219-2_0_8_line_1 |  | 0 | 2 | 0.03179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5219-2_0_8_line_2 |  | 1 | 3 | 0.023954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5219-2_0_8_line_3 |  | 2 | 4 | 0.018844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5219-2_0_8_line_4 |  | 2 | 5 | 0.023052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5219-2_0_8_line_5 |  | 3 | 6 | 0.077839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5219-2_0_8_line_6 |  | 5 | 7 | 0.023738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5219-2_0_8_line_7 |  | 7 | 8 | 0.011027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5219-2_0_8_line_8 |  | 8 | 9 | 0.00071548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5219-2_0_8_line_9 |  | 9 | 50 | 0.0095682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5219-2_0_8_line_10 |  | 10 | 11 | 0.029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_5219-2_0_8_line_11 |  | 10 | 12 | 0.059814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
12 | LV_5219-2_0_8_line_12 |  | 11 | 13 | 0.0055988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
13 | LV_5219-2_0_8_line_13 |  | 12 | 14 | 0.012258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_5219-2_0_8_line_14 |  | 13 | 18 | 0.023069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_5219-2_0_8_line_15 |  | 14 | 19 | 0.039004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_5219-2_0_8_line_16 |  | 15 | 16 | 0.015533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_5219-2_0_8_line_17 |  | 15 | 17 | 0.0083464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_5219-2_0_8_line_18 |  | 16 | 20 | 0.012715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_5219-2_0_8_line_19 |  | 17 | 25 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_5219-2_0_8_line_20 |  | 18 | 21 | 0.042338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_5219-2_0_8_line_21 |  | 19 | 22 | 0.014687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_5219-2_0_8_line_22 |  | 20 | 23 | 0.0040131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_5219-2_0_8_line_23 |  | 21 | 24 | 0.038349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5219-2_0_8_line_24 |  | 22 | 27 | 0.028708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5219-2_0_8_line_25 |  | 23 | 28 | 0.0023233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5219-2_0_8_line_26 |  | 24 | 46 | 0.00021868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5219-2_0_8_line_27 |  | 25 | 26 | 0.009418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5219-2_0_8_line_28 |  | 26 | 35 | 0.039453 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5219-2_0_8_line_29 |  | 27 | 69 | 0.068554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
30 | LV_5219-2_0_8_line_30 |  | 28 | 29 | 0.008396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5219-2_0_8_line_31 |  | 29 | 62 | 0.025224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5219-2_0_8_line_32 |  | 30 | 31 | 0.07431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_5219-2_0_8_line_33 |  | 30 | 32 | 0.0083646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_5219-2_0_8_line_34 |  | 31 | 33 | 0.034507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_5219-2_0_8_line_35 |  | 32 | 34 | 0.026024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_5219-2_0_8_line_36 |  | 33 | 35 | 0.043017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5219-2_0_8_line_37 |  | 34 | 36 | 0.067201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_5219-2_0_8_line_38 |  | 36 | 37 | 0.072971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_5219-2_0_8_line_39 |  | 37 | 38 | 0.027063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_5219-2_0_8_line_40 |  | 38 | 72 | 0.017735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_5219-2_0_8_line_41 |  | 39 | 40 | 0.0023132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_5219-2_0_8_line_42 |  | 39 | 41 | 0.024128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_5219-2_0_8_line_43 |  | 40 | 42 | 0.013408 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_5219-2_0_8_line_44 |  | 41 | 43 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_5219-2_0_8_line_45 |  | 42 | 46 | 0.0071253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_5219-2_0_8_line_46 |  | 43 | 47 | 0.01865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_5219-2_0_8_line_47 |  | 44 | 45 | 0.050508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5219-2_0_8_line_48 |  | 45 | 49 | 0.068827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_5219-2_0_8_line_49 |  | 45 | 73 | 0.017466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_5219-2_0_8_line_50 |  | 47 | 48 | 0.027532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_5219-2_0_8_line_51 |  | 48 | 49 | 0.0083949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5219-2_0_8_line_52 |  | 50 | 51 | 0.019874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5219-2_0_8_line_53 |  | 51 | 52 | 0.0037055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5219-2_0_8_line_54 |  | 52 | 53 | 0.0088476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5219-2_0_8_line_55 |  | 53 | 54 | 0.022756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5219-2_0_8_line_56 |  | 54 | 55 | 0.035217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5219-2_0_8_line_57 |  | 55 | 56 | 0.039594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5219-2_0_8_line_58 |  | 55 | 57 | 0.050854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5219-2_0_8_line_59 |  | 56 | 58 | 0.032697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5219-2_0_8_line_60 |  | 57 | 59 | 0.0083632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5219-2_0_8_line_61 |  | 59 | 70 | 0.24216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
62 | LV_5219-2_0_8_line_62 |  | 60 | 61 | 0.021036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_5219-2_0_8_line_63 |  | 60 | 62 | 0.0028236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5219-2_0_8_line_64 |  | 61 | 63 | 0.041846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_5219-2_0_8_line_65 |  | 63 | 64 | 0.090374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5219-2_0_8_line_66 |  | 63 | 65 | 0.016652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5219-2_0_8_line_67 |  | 64 | 66 | 0.055496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5219-2_0_8_line_68 |  | 65 | 67 | 0.093538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_5219-2_0_8_line_69 |  | 67 | 68 | 0.03643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_5219-2_0_8_line_70 |  | 68 | 74 | 0.13966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5219-2_0_8_line_71 |  | 70 | 71 | 0.027251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_5219-2_0_8_line_72 |  | 71 | 74 | 0.097136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_5219-2_0_8_line_73 |  | 72 | 73 | 0.055575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_5219-2_0_8_line_74 |  | 74 | 75 | 0.034497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5219-2_0_8_line_75 |  | 75 | 76 | 0.014308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5219-2_0_8_line_76 |  | 76 | 77 | 0.021921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5219-2_0_8_line_77 |  | 76 | 78 | 0.059304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5219-2_0_8_line_78 |  | 77 | 79 | 0.032727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5219-2_0_8_line_79 |  | 78 | 80 | 0.024493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5219-2_0_8_line_80 |  | 79 | 81 | 0.029394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5219-2_0_8_trafo_31 | 0.63 MVA 20/0.4 kV | 82 | 16 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2719902.9638 | 1087990.3207 | 2719899.4902 | 1087990.9972 | 2719889.5182 | 1087992.9505
1 | 2719858.5687 | 1087999.8309 | 2719861.6847 | 1087998.4024 | 2719889.5182 | 1087992.9505
2 | 2719913.7843 | 1088011.7045 | 2719902.9638 | 1087990.3207
3 | 2719858.5687 | 1087999.8309 | 2719854.7057 | 1087992.7054 | 2719854.2433 | 1087989.7943 | 2719855.1222 | 1087987.3209 | 2719858.4281 | 1087983.3388
4 | 2719858.5687 | 1087999.8309 | 2719837.6023 | 1088009.4134
5 | 2719913.7843 | 1088011.7045 | 2719949.2863 | 1088080.9758
6 | 2719827.6706 | 1088028.7669 | 2719827.7252 | 1088024.4411 | 2719829.2167 | 1088016.4649 | 2719832.9368 | 1088011.5457 | 2719837.6023 | 1088009.4134
7 | 2719827.5314 | 1088039.7926 | 2719827.6706 | 1088028.7669
8 | 2719827.5314 | 1088039.7926 | 2719827.5314 | 1088039.7926 | 2719827.7387 | 1088040.4774
9 | 2719827.7387 | 1088040.4774 | 2719830.5106 | 1088049.6353
10 | 2719762.1919 | 1087688.3649 | 2719790.4804 | 1087689.3494 | 2719791.5631 | 1087689.427
11 | 2719762.1919 | 1087688.3649 | 2719738.9893 | 1087687.5574 | 2719732.3499 | 1087687.8382 | 2719727.8596 | 1087689.7067 | 2719724.8856 | 1087693.373 | 2719720.5114 | 1087703.5386 | 2719715.7301 | 1087711.5169
12 | 2719797.1476 | 1087689.8271 | 2719791.5631 | 1087689.427
13 | 2719715.7301 | 1087711.5169 | 2719715.7301 | 1087711.5169 | 2719707.7811 | 1087717.2424 | 2719705.4702 | 1087718.0898
14 | 2719797.1476 | 1087689.8271 | 2719820.1579 | 1087691.4759
15 | 2719673.0167 | 1087738.1064 | 2719674.7484 | 1087737.9298 | 2719679.4855 | 1087734.9542 | 2719687.1789 | 1087726.4439 | 2719694.1983 | 1087722.2233 | 2719705.4702 | 1087718.0898
16 | 2719806.114 | 1087837.1169 | 2719791.0354 | 1087840.845
17 | 2719814.4594 | 1087836.9883 | 2719806.114 | 1087837.1169 | 2719806.114 | 1087837.1169
18 | 2719791.0354 | 1087840.845 | 2719791.0354 | 1087840.845 | 2719785.3103 | 1087843.9568 | 2719780.092 | 1087847.3031
19 | 2719814.4594 | 1087836.9883 | 2719826.7921 | 1087836.7982
20 | 2719862.2486 | 1087691.0202 | 2719852.9617 | 1087692.9261 | 2719841.1982 | 1087692.9834 | 2719820.1579 | 1087691.4759
21 | 2719673.0167 | 1087738.1064 | 2719669.4463 | 1087738.4704 | 2719658.625 | 1087736.0084
22 | 2719780.092 | 1087847.3031 | 2719776.7138 | 1087849.4693
23 | 2719862.2486 | 1087691.0202 | 2719875.5536 | 1087688.2898 | 2719891.1366 | 1087688.5191 | 2719900.273 | 1087689.4356
24 | 2719658.625 | 1087736.0084 | 2719649.2784 | 1087733.8819 | 2719639.4862 | 1087735.4906 | 2719630.7087 | 1087738.2451
25 | 2719776.7138 | 1087849.4693 | 2719776.7138 | 1087849.4693 | 2719774.9652 | 1087850.9989
26 | 2719900.4905 | 1087689.4574 | 2719900.273 | 1087689.4356
27 | 2719836.2064 | 1087836.785 | 2719834.302 | 1087836.6825 | 2719826.7921 | 1087836.7982
28 | 2719875.6138 | 1087838.568 | 2719866.536 | 1087838.4183 | 2719836.2064 | 1087836.785
29 | 2719623.0242 | 1087789.0494 | 2719621.1451 | 1087780.0505 | 2719612.3516 | 1087763.6217 | 2719608.7621 | 1087756.7686 | 2719608.0697 | 1087752.9189 | 2719609.843 | 1087747.5722 | 2719615.5947 | 1087742.3149 | 2719629.1498 | 1087738.7342 | 2719630.7087 | 1087738.2451
30 | 2719768.6456 | 1087856.5267 | 2719768.6456 | 1087856.5267 | 2719774.9652 | 1087850.9989
31 | 2719768.6456 | 1087856.5267 | 2719763.4981 | 1087874.4381 | 2719762.1696 | 1087880.8899
32 | 2720009.2276 | 1087901.8155 | 2719972.8871 | 1087868.5456 | 2719959.0033 | 1087861.2557 | 2719950.2896 | 1087857.8404
33 | 2720015.3972 | 1087907.4638 | 2720009.2276 | 1087901.8155
34 | 2719917.3498 | 1087847.6199 | 2719945.0832 | 1087855.7998 | 2719950.2896 | 1087857.8404
35 | 2720015.3972 | 1087907.4638 | 2720034.5916 | 1087925.0365
36 | 2719917.3498 | 1087847.6199 | 2719887.3147 | 1087838.761 | 2719875.6138 | 1087838.568
37 | 2720083.5416 | 1087971.0775 | 2720041.1936 | 1087931.0807 | 2720034.5916 | 1087925.0365
38 | 2720083.5416 | 1087971.0775 | 2720063.2087 | 1087900.9936
39 | 2720063.2087 | 1087900.9936 | 2720058.1424 | 1087884.482 | 2720055.2775 | 1087875.1189
40 | 2720050.0885 | 1087858.1601 | 2720055.2775 | 1087875.1189
41 | 2719923.224 | 1087691.7301 | 2719920.9223 | 1087691.5001
42 | 2719946.4333 | 1087697.6258 | 2719938.4919 | 1087694.267 | 2719930.3036 | 1087692.4377 | 2719923.224 | 1087691.7301
43 | 2719907.5805 | 1087690.1667 | 2719920.9223 | 1087691.5001
44 | 2719968.6884 | 1087707.8208 | 2719948.8874 | 1087698.6638 | 2719946.4333 | 1087697.6258
45 | 2719900.4905 | 1087689.4574 | 2719902.1712 | 1087689.626 | 2719907.5805 | 1087690.1667
46 | 2719968.6884 | 1087707.8208 | 2719978.0199 | 1087712.1362 | 2719985.617 | 1087715.6466
47 | 2719961.0665 | 1087781.0175 | 2719977.7658 | 1087790.3309 | 2719984.4472 | 1087792.6309 | 2719992.3981 | 1087793.5104 | 2719999.4096 | 1087796.384 | 2720005.9615 | 1087801.3166 | 2720006.276 | 1087801.7588
48 | 2720006.276 | 1087801.7588 | 2720016.3581 | 1087733.6738
49 | 2720006.276 | 1087801.7588 | 2720013.6543 | 1087812.1315 | 2720015.728 | 1087816.3899
50 | 2720009.9159 | 1087728.2912 | 2720006.1222 | 1087725.1215 | 2719985.617 | 1087715.6466
51 | 2720016.3581 | 1087733.6738 | 2720009.9159 | 1087728.2912
52 | 2719833.0554 | 1088068.9708 | 2719833.8761 | 1088060.7545 | 2719830.5106 | 1088049.6353
53 | 2719833.0554 | 1088068.9708 | 2719832.6872 | 1088072.6579
54 | 2719831.8079 | 1088081.4617 | 2719832.6872 | 1088072.6579
55 | 2719831.8079 | 1088081.4617 | 2719830.8784 | 1088087.292 | 2719822.3786 | 1088101.843
56 | 2719806.3123 | 1088133.152 | 2719816.3539 | 1088112.157 | 2719822.3786 | 1088101.843
57 | 2719806.3123 | 1088133.152 | 2719808.1764 | 1088134.623 | 2719836.7921 | 1088147.8511 | 2719842.585 | 1088147.9764
58 | 2719806.3123 | 1088133.152 | 2719797.945 | 1088150.6886 | 2719784.9225 | 1088179.2862
59 | 2719842.585 | 1088147.9764 | 2719850.075 | 1088145.0551 | 2719856.2871 | 1088141.2303 | 2719862.1288 | 1088135.3411 | 2719867.8569 | 1088128.3118
60 | 2719784.9225 | 1088179.2862 | 2719781.4566 | 1088186.8975
61 | 2719781.4566 | 1088186.8975 | 2719545.2637 | 1088133.4759
62 | 2719754.5391 | 1087903.3264 | 2719754.6155 | 1087903.1614 | 2719759.9294 | 1087891.769 | 2719761.6001 | 1087883.6554
63 | 2719762.1696 | 1087880.8899 | 2719761.6001 | 1087883.6554
64 | 2719736.9513 | 1087941.2964 | 2719754.5391 | 1087903.3264
65 | 2719736.9513 | 1087941.2964 | 2719741.1273 | 1087961.6929 | 2719737.6793 | 1087969.7419 | 2719731.3724 | 1087976.8006 | 2719732.4411 | 1087980.0573 | 2719736.2824 | 1087981.5895 | 2719741.7859 | 1087982.6318 | 2719746.8905 | 1087981.0755 | 2719751.2598 | 1087977.8592 | 2719753.3892 | 1087974.1318 | 2719757.961 | 1087957.8658 | 2719759.6709 | 1087954.9529 | 2719761.9767 | 1087953.2971
66 | 2719731.86 | 1087957.1519 | 2719736.9513 | 1087941.2964
67 | 2719763.1996 | 1088004.6797 | 2719765.5388 | 1087995.4192 | 2719767.8421 | 1087980.8876 | 2719767.7586 | 1087958.7258 | 2719766.8707 | 1087955.3504 | 2719764.8652 | 1087953.5764 | 2719761.9767 | 1087953.2971
68 | 2719731.86 | 1087957.1519 | 2719727.1447 | 1087958.2377 | 2719723.0917 | 1087956.4234 | 2719722.497 | 1087952.3422 | 2719723.0262 | 1087942.8014 | 2719720.1751 | 1087926.8229 | 2719723.5751 | 1087909.3886 | 2719721.9581 | 1087905.6097 | 2719693.0297 | 1087890.8527
69 | 2719693.0297 | 1087890.8527 | 2719693.0297 | 1087890.8527 | 2719686.0832 | 1087894.1407 | 2719676.474 | 1087898.6883 | 2719661.524 | 1087908.916
70 | 2719661.524 | 1087908.916 | 2719570.9788 | 1088015.242
71 | 2719543.5543 | 1088106.279 | 2719545.2637 | 1088133.4759 | 2719545.2637 | 1088133.4759
72 | 2719570.9788 | 1088015.242 | 2719549.7505 | 1088057.9441 | 2719551.2154 | 1088078.9432 | 2719543.5438 | 1088106.1117 | 2719543.5543 | 1088106.279
73 | 2720050.0885 | 1087858.1601 | 2720034.1092 | 1087847.7599 | 2720025.0479 | 1087835.5282 | 2720015.728 | 1087816.3899
74 | 2719570.9788 | 1088015.242 | 2719554.3379 | 1088003.3512 | 2719546.6977 | 1088002.4672 | 2719540.5051 | 1088003.8876
75 | 2719526.5592 | 1088007.0862 | 2719540.5051 | 1088003.8876
76 | 2719526.5592 | 1088007.0862 | 2719518.8125 | 1088027.5926
77 | 2719515.9117 | 1087971.6966 | 2719505.9534 | 1087997.9752 | 2719503.5982 | 1088005.7011 | 2719515.4235 | 1088007.6012 | 2719526.5592 | 1088007.0862
78 | 2719507.2469 | 1088058.2081 | 2719518.8125 | 1088027.5926
79 | 2719515.9117 | 1087971.6966 | 2719522.6093 | 1087972.7733 | 2719528.9563 | 1087975.511 | 2719532.9771 | 1087979.3593 | 2719534.1328 | 1087984.5079
80 | 2719507.2469 | 1088058.2081 | 2719505.8537 | 1088061.8961 | 2719499.6689 | 1088082.9006 | 2719499.6682 | 1088086.4559

## bus_geodata
| x | y | coords
0 | 2719889.5182 | 1087992.9505
1 | 2719902.9638 | 1087990.3207
2 | 2719858.5687 | 1087999.8309
3 | 2719913.7843 | 1088011.7045
4 | 2719858.4281 | 1087983.3388
5 | 2719837.6023 | 1088009.4134
6 | 2719949.2863 | 1088080.9758
7 | 2719827.6706 | 1088028.7669
8 | 2719827.5314 | 1088039.7926
9 | 2719827.7387 | 1088040.4774
10 | 2719762.1919 | 1087688.3649
11 | 2719791.5631 | 1087689.427
12 | 2719715.7301 | 1087711.5169
13 | 2719797.1476 | 1087689.8271
14 | 2719705.4702 | 1087718.0898
15 | 2719806.114 | 1087837.1169
16 | 2719791.0354 | 1087840.845
17 | 2719814.4594 | 1087836.9883
18 | 2719820.1579 | 1087691.4759
19 | 2719673.0167 | 1087738.1064
20 | 2719780.092 | 1087847.3031
21 | 2719862.2486 | 1087691.0202
22 | 2719658.625 | 1087736.0084
23 | 2719776.7138 | 1087849.4693
24 | 2719900.273 | 1087689.4356
25 | 2719826.7921 | 1087836.7982
26 | 2719836.2064 | 1087836.785
27 | 2719630.7087 | 1087738.2451
28 | 2719774.9652 | 1087850.9989
29 | 2719768.6456 | 1087856.5267
30 | 2720009.2276 | 1087901.8155
31 | 2719950.2896 | 1087857.8404
32 | 2720015.3972 | 1087907.4638
33 | 2719917.3498 | 1087847.6199
34 | 2720034.5916 | 1087925.0365
35 | 2719875.6138 | 1087838.568
36 | 2720083.5416 | 1087971.0775
37 | 2720063.2087 | 1087900.9936
38 | 2720055.2775 | 1087875.1189
39 | 2719923.224 | 1087691.7301
40 | 2719920.9223 | 1087691.5001
41 | 2719946.4333 | 1087697.6258
42 | 2719907.5805 | 1087690.1667
43 | 2719968.6884 | 1087707.8208
44 | 2719961.0665 | 1087781.0175
45 | 2720006.276 | 1087801.7588
46 | 2719900.4905 | 1087689.4574
47 | 2719985.617 | 1087715.6466
48 | 2720009.9159 | 1087728.2912
49 | 2720016.3581 | 1087733.6738
50 | 2719830.5106 | 1088049.6353
51 | 2719833.0554 | 1088068.9708
52 | 2719832.6872 | 1088072.6579
53 | 2719831.8079 | 1088081.4617
54 | 2719822.3786 | 1088101.843
55 | 2719806.3123 | 1088133.152
56 | 2719842.585 | 1088147.9764
57 | 2719784.9225 | 1088179.2862
58 | 2719867.8569 | 1088128.3118
59 | 2719781.4566 | 1088186.8975
60 | 2719761.6001 | 1087883.6554
61 | 2719754.5391 | 1087903.3264
62 | 2719762.1696 | 1087880.8899
63 | 2719736.9513 | 1087941.2964
64 | 2719761.9767 | 1087953.2971
65 | 2719731.86 | 1087957.1519
66 | 2719763.1996 | 1088004.6797
67 | 2719693.0297 | 1087890.8527
68 | 2719661.524 | 1087908.916
69 | 2719623.0242 | 1087789.0494
70 | 2719545.2637 | 1088133.4759
71 | 2719543.5543 | 1088106.279
72 | 2720050.0885 | 1087858.1601
73 | 2720015.728 | 1087816.3899
74 | 2719570.9788 | 1088015.242
75 | 2719540.5051 | 1088003.8876
76 | 2719526.5592 | 1088007.0862
77 | 2719518.8125 | 1088027.5926
78 | 2719515.9117 | 1087971.6966
79 | 2719507.2469 | 1088058.2081
80 | 2719534.1328 | 1087984.5079
81 | 2719499.6682 | 1088086.4559
82 | 2719736.9513 | 1087941.2964

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97506 | -0.48155 | 0.0021172 | 0.00053062
1 | 0.97484 | -0.48573 | 0 | 0
2 | 0.97561 | -0.47064 | 0 | 0
3 | 0.97447 | -0.49304 | 0.011741 | 0.0029425
4 | 0.97552 | -0.47236 | 0.0049876 | 0.00125
5 | 0.97612 | -0.46063 | 0.0028867 | 0.00072348
6 | 0.97412 | -0.50001 | 0.0048786 | 0.0012227
7 | 0.97671 | -0.44908 | 0.00162 | 0.00040602
8 | 0.977 | -0.44339 | 0.0016512 | 0.00041383
9 | 0.97702 | -0.443 | 0.000913 | 0.00022882
10 | 0.97349 | -0.51046 | 0.018274 | 0.0045798
11 | 0.97397 | -0.5011 | 0.0063078 | 0.0015809
12 | 0.97278 | -0.52449 | 0.0063701 | 0.0015965
13 | 0.97407 | -0.49916 | 0.004039 | 0.0010123
14 | 0.97265 | -0.52701 | 0.0049916 | 0.001251
15 | 0.99931 | -0.012964 | 0.0015841 | 0.00039702
16 | 1 | 0 | -0.35123 | -0.089531
17 | 0.99894 | -0.019879 | 0.0061175 | 0.0015332
18 | 0.97449 | -0.49073 | 0.001619 | 0.00040577
19 | 0.97229 | -0.53413 | 0.0026063 | 0.00065319
20 | 0.99955 | -0.0084944 | 0.0042779 | 0.0010721
21 | 0.97529 | -0.47496 | 0.0014829 | 0.00037166
22 | 0.97217 | -0.53664 | 0.0053698 | 0.0013458
23 | 0.99942 | -0.011102 | 0.011257 | 0.0028212
24 | 0.97603 | -0.46043 | 0.0015827 | 0.00039666
25 | 0.99842 | -0.029778 | 0.0031612 | 0.00079227
26 | 0.99803 | -0.037213 | 0.0021791 | 0.00054613
27 | 0.97195 | -0.54083 | 0.0093572 | 0.0023451
28 | 0.99934 | -0.012498 | 0.0013669 | 0.00034258
29 | 0.99908 | -0.017494 | 0.0043049 | 0.0010789
30 | 0.99072 | -0.17593 | 0.0029376 | 0.00073624
31 | 0.99345 | -0.12394 | 0.0042538 | 0.0010661
32 | 0.99042 | -0.18169 | 0.0045968 | 0.0011521
33 | 0.99475 | -0.099243 | 0.0026594 | 0.00066651
34 | 0.98951 | -0.1991 | 0.0044129 | 0.001106
35 | 0.99639 | -0.068046 | 0.013387 | 0.003355
36 | 0.98722 | -0.24289 | 0 | 0
37 | 0.98475 | -0.29066 | 0 | 0
38 | 0.98383 | -0.30844 | 0.0041531 | 0.0010409
39 | 0.97652 | -0.45091 | 0.0040211 | 0.0010078
40 | 0.97647 | -0.45191 | 0.0029005 | 0.00072693
41 | 0.97707 | -0.44005 | 0.0039509 | 0.0009902
42 | 0.97618 | -0.45753 | 0.0053684 | 0.0013455
43 | 0.97766 | -0.42859 | 0.0028281 | 0.0007088
44 | 0.98022 | -0.3787 | 0.013586 | 0.003405
45 | 0.98085 | -0.36626 | 0.010714 | 0.0026852
46 | 0.97604 | -0.46035 | 0.0020192 | 0.00050607
47 | 0.97812 | -0.41963 | 0.0039365 | 0.00098659
48 | 0.97882 | -0.40593 | 0.0038179 | 0.00095685
49 | 0.97904 | -0.40161 | 0 | 0
50 | 0.97729 | -0.43762 | 0.0011092 | 0.000278
51 | 0.97788 | -0.42605 | 0.0027257 | 0.00068312
52 | 0.978 | -0.42371 | 0.0021254 | 0.00053268
53 | 0.9783 | -0.41779 | 0 | 0
54 | 0.97908 | -0.40256 | 0.0025596 | 0.0006415
55 | 0.98037 | -0.37742 | 0 | 0
56 | 0.9802 | -0.38066 | 0 | 0
57 | 0.98244 | -0.33706 | 0.010066 | 0.0025229
58 | 0.98006 | -0.38334 | 0.0045195 | 0.0011327
59 | 0.98285 | -0.32892 | 0.00073957 | 0.00018535
60 | 0.99823 | -0.03359 | 0.0077861 | 0.0019514
61 | 0.99767 | -0.044398 | 0.0036139 | 0.00090573
62 | 0.99831 | -0.032044 | 0.006818 | 0.0017088
63 | 0.99657 | -0.06527 | 0 | 0
64 | 0.99615 | -0.073298 | 0.0026314 | 0.00065949
65 | 0.99615 | -0.073219 | 0 | 0
66 | 0.99603 | -0.075662 | 0.0024246 | 0.00060765
67 | 0.99381 | -0.11799 | 0.031194 | 0.007818
68 | 0.99316 | -0.13046 | 0.0021471 | 0.0005381
69 | 0.97124 | -0.55493 | 0.022277 | 0.0055832
70 | 0.989 | -0.21025 | 0.0029197 | 0.00073173
71 | 0.98936 | -0.20326 | 0.0030345 | 0.00076052
72 | 0.98324 | -0.31978 | 0 | 0
73 | 0.98141 | -0.35539 | 0.0044063 | 0.0011043
74 | 0.99073 | -0.17708 | 0 | 0
75 | 0.99026 | -0.1861 | 0.0018393 | 0.00046098
76 | 0.99009 | -0.18938 | 0 | 0
77 | 0.9899 | -0.19303 | 0.0029853 | 0.00074818
78 | 0.9899 | -0.19309 | 0 | 0
79 | 0.98971 | -0.19675 | 0.003481 | 0.00087243
80 | 0.98982 | -0.19462 | 0.0035166 | 0.00088135
81 | 0.98963 | -0.19826 | 0.0028984 | 0.0007264
82 | 0.99998 | 149.9956 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.01663 | 0.0041706 | -0.016627 | -0.0041687 | 3.3094e-06 | 1.9471e-06 | 0.02538 | 0.02538 | 0.02538 | 0.97506 | -0.48155 | 0.97484 | -0.48573 | 6.9725
1 | -0.018747 | -0.0047013 | 0.018757 | 0.0047071 | 9.7586e-06 | 5.8488e-06 | 0.028611 | 0.028611 | 0.028611 | 0.97506 | -0.48155 | 0.97561 | -0.47064 | 7.8602
2 | 0.016627 | 0.0041687 | -0.016621 | -0.0041653 | 5.7862e-06 | 3.4047e-06 | 0.02538 | 0.02538 | 0.02538 | 0.97484 | -0.48573 | 0.97447 | -0.49304 | 6.9726
3 | 0.004988 | 0.00125 | -0.0049876 | -0.00125 | 4.0901e-07 | 2.6477e-08 | 0.0076078 | 0.0076079 | 0.0076079 | 0.97561 | -0.47064 | 0.97552 | -0.47236 | 2.0901
4 | -0.023745 | -0.0059572 | 0.023756 | 0.0059641 | 1.134e-05 | 6.9696e-06 | 0.036219 | 0.036219 | 0.036219 | 0.97561 | -0.47064 | 0.97612 | -0.46063 | 9.9502
5 | 0.0048802 | 0.0012227 | -0.0048786 | -0.0012227 | 1.621e-06 | 6.8063e-08 | 0.0074519 | 0.0074522 | 0.0074522 | 0.97447 | -0.49304 | 0.97412 | -0.50001 | 2.0473
6 | -0.026643 | -0.0066876 | 0.026658 | 0.0066967 | 1.4687e-05 | 9.1027e-06 | 0.040619 | 0.040619 | 0.040619 | 0.97612 | -0.46063 | 0.97671 | -0.44908 | 11.1591
7 | -0.028278 | -0.0071027 | 0.028286 | 0.0071075 | 7.6766e-06 | 4.775e-06 | 0.043087 | 0.043087 | 0.043087 | 0.97671 | -0.44908 | 0.977 | -0.44339 | 11.8371
8 | -0.029937 | -0.0075213 | 0.029937 | 0.0075217 | 5.5795e-07 | 3.4813e-07 | 0.045602 | 0.045602 | 0.045602 | 0.977 | -0.44339 | 0.97702 | -0.443 | 12.528
9 | -0.03085 | -0.0077505 | 0.030858 | 0.0077555 | 7.9235e-06 | 4.9512e-06 | 0.046993 | 0.046992 | 0.046993 | 0.97702 | -0.443 | 0.97729 | -0.43762 | 12.91
10 | -0.069325 | -0.017396 | 0.069356 | 0.017414 | 3.0944e-05 | 1.8342e-05 | 0.10597 | 0.10597 | 0.10597 | 0.97349 | -0.51046 | 0.97397 | -0.5011 | 7.2784
11 | 0.051051 | 0.012816 | -0.051017 | -0.012797 | 3.4153e-05 | 1.8885e-05 | 0.078041 | 0.078042 | 0.078042 | 0.97349 | -0.51046 | 0.97278 | -0.52449 | 5.36
12 | -0.075664 | -0.018995 | 0.075671 | 0.018999 | 7.0154e-06 | 4.2111e-06 | 0.11561 | 0.11561 | 0.11561 | 0.97397 | -0.5011 | 0.97407 | -0.49916 | 7.9402
13 | 0.044647 | 0.0112 | -0.044641 | -0.011198 | 5.3604e-06 | 2.822e-06 | 0.068298 | 0.068298 | 0.068298 | 0.97278 | -0.52449 | 0.97265 | -0.52701 | 4.6908
14 | -0.07971 | -0.020011 | 0.079742 | 0.020031 | 3.2074e-05 | 1.9378e-05 | 0.12178 | 0.12178 | 0.12178 | 0.97407 | -0.49916 | 0.97449 | -0.49073 | 8.364
15 | 0.03965 | 0.0099466 | -0.039636 | -0.00994 | 1.3456e-05 | 6.6761e-06 | 0.060662 | 0.060662 | 0.060662 | 0.97265 | -0.52701 | 0.97229 | -0.53413 | 4.1664
16 | -0.19472 | -0.050091 | 0.19484 | 0.050169 | 0.00012281 | 7.7781e-05 | 0.2904 | 0.2904 | 0.2904 | 0.99931 | -0.012964 | 1 | 0 | 19.9452
17 | 0.19313 | 0.049694 | -0.19307 | -0.049653 | 6.4921e-05 | 4.1112e-05 | 0.28804 | 0.28804 | 0.28804 | 0.99931 | -0.012964 | 0.99894 | -0.019879 | 19.7832
18 | 0.15474 | 0.039362 | -0.15468 | -0.039323 | 6.3313e-05 | 3.9853e-05 | 0.23046 | 0.23046 | 0.23046 | 1 | 0 | 0.99955 | -0.0084944 | 15.8285
19 | 0.18695 | 0.04812 | -0.18686 | -0.048063 | 8.9965e-05 | 5.6932e-05 | 0.27893 | 0.27893 | 0.27893 | 0.99894 | -0.019879 | 0.99842 | -0.029778 | 19.1574
20 | -0.081361 | -0.020437 | 0.081422 | 0.020474 | 6.1278e-05 | 3.7106e-05 | 0.12425 | 0.12425 | 0.12425 | 0.97449 | -0.49073 | 0.97529 | -0.47496 | 8.5337
21 | 0.03703 | 0.0092868 | -0.037026 | -0.0092847 | 4.4225e-06 | 2.1019e-06 | 0.056674 | 0.056674 | 0.056674 | 0.97229 | -0.53413 | 0.97217 | -0.53664 | 3.8924
22 | 0.1504 | 0.03825 | -0.15038 | -0.038239 | 1.8894e-05 | 1.1882e-05 | 0.22409 | 0.22409 | 0.22409 | 0.99955 | -0.0084944 | 0.99942 | -0.011102 | 15.3911
23 | -0.082905 | -0.020845 | 0.082962 | 0.02088 | 5.7543e-05 | 3.4912e-05 | 0.12651 | 0.12651 | 0.12651 | 0.97529 | -0.47496 | 0.97603 | -0.46043 | 8.6891
24 | 0.031656 | 0.0079389 | -0.03165 | -0.0079363 | 6.3192e-06 | 2.6208e-06 | 0.048455 | 0.048456 | 0.048456 | 0.97217 | -0.53664 | 0.97195 | -0.54083 | 3.328
25 | 0.13912 | 0.035417 | -0.13912 | -0.035411 | 9.3629e-06 | 5.8705e-06 | 0.20733 | 0.20733 | 0.20733 | 0.99942 | -0.011102 | 0.99934 | -0.012498 | 14.24
26 | -0.084545 | -0.021277 | 0.084545 | 0.021277 | 3.4076e-07 | 2.0716e-07 | 0.12893 | 0.12893 | 0.12893 | 0.97603 | -0.46043 | 0.97604 | -0.46035 | 8.8548
27 | 0.1837 | 0.04727 | -0.18363 | -0.047228 | 6.6394e-05 | 4.2e-05 | 0.27422 | 0.27422 | 0.27422 | 0.99842 | -0.029778 | 0.99803 | -0.037213 | 18.8338
28 | 0.18146 | 0.046682 | -0.18118 | -0.046511 | 0.00027158 | 0.00017175 | 0.27097 | 0.27097 | 0.27097 | 0.99803 | -0.037213 | 0.99639 | -0.068046 | 18.6107
29 | 0.022292 | 0.0055911 | -0.022277 | -0.0055832 | 1.4973e-05 | 7.8849e-06 | 0.03413 | 0.034131 | 0.034131 | 0.97195 | -0.54083 | 0.97124 | -0.55493 | 4.6883
30 | 0.13775 | 0.035069 | -0.13771 | -0.035048 | 3.3176e-05 | 2.0793e-05 | 0.2053 | 0.2053 | 0.2053 | 0.99934 | -0.012498 | 0.99908 | -0.017494 | 14.1002
31 | 0.13341 | 0.033969 | -0.13332 | -0.033911 | 9.3539e-05 | 5.8545e-05 | 0.19889 | 0.19889 | 0.19889 | 0.99908 | -0.017494 | 0.99831 | -0.032044 | 13.6599
32 | -0.16003 | -0.040884 | 0.16043 | 0.041138 | 0.0004034 | 0.00025434 | 0.24063 | 0.24063 | 0.24063 | 0.99072 | -0.17593 | 0.99345 | -0.12394 | 16.5271
33 | 0.15709 | 0.040147 | -0.15705 | -0.04012 | 4.3758e-05 | 2.7575e-05 | 0.23622 | 0.23622 | 0.23622 | 0.99072 | -0.17593 | 0.99042 | -0.18169 | 16.2241
34 | -0.16469 | -0.042204 | 0.16488 | 0.042329 | 0.00019737 | 0.00012453 | 0.247 | 0.247 | 0.247 | 0.99345 | -0.12394 | 0.99475 | -0.099243 | 16.9646
35 | 0.15245 | 0.038968 | -0.15232 | -0.038887 | 0.00012829 | 8.077e-05 | 0.22932 | 0.22932 | 0.22932 | 0.99042 | -0.18169 | 0.98951 | -0.1991 | 15.7498
36 | -0.16754 | -0.042995 | 0.1678 | 0.043156 | 0.00025403 | 0.00016034 | 0.25098 | 0.25098 | 0.25098 | 0.99475 | -0.099243 | 0.99639 | -0.068046 | 17.2378
37 | 0.14791 | 0.037781 | -0.1476 | -0.037585 | 0.0003124 | 0.00019649 | 0.22268 | 0.22268 | 0.22268 | 0.98951 | -0.1991 | 0.98722 | -0.24289 | 15.2941
38 | 0.1476 | 0.037585 | -0.14726 | -0.037371 | 0.00033923 | 0.00021338 | 0.22268 | 0.22268 | 0.22268 | 0.98722 | -0.24289 | 0.98475 | -0.29066 | 15.2942
39 | 0.14726 | 0.037371 | -0.14713 | -0.037292 | 0.00012581 | 7.9144e-05 | 0.22268 | 0.22268 | 0.22268 | 0.98475 | -0.29066 | 0.98383 | -0.30844 | 15.2942
40 | 0.14298 | 0.036251 | -0.1429 | -0.036202 | 7.7862e-05 | 4.8931e-05 | 0.2164 | 0.2164 | 0.2164 | 0.98383 | -0.30844 | 0.98324 | -0.31978 | 14.8628
41 | 0.094875 | 0.023881 | -0.09487 | -0.023878 | 4.5348e-06 | 2.7865e-06 | 0.14461 | 0.14461 | 0.14461 | 0.97652 | -0.45091 | 0.97647 | -0.45191 | 9.9318
42 | -0.098896 | -0.024888 | 0.098947 | 0.02492 | 5.1393e-05 | 3.1683e-05 | 0.15073 | 0.15073 | 0.15073 | 0.97652 | -0.45091 | 0.97707 | -0.44005 | 10.3526
43 | 0.091969 | 0.023151 | -0.091945 | -0.023136 | 2.4703e-05 | 1.5139e-05 | 0.14019 | 0.14019 | 0.14019 | 0.97647 | -0.45191 | 0.97618 | -0.45753 | 9.6282
44 | -0.1029 | -0.02591 | 0.10295 | 0.025945 | 5.639e-05 | 3.4863e-05 | 0.15675 | 0.15675 | 0.15675 | 0.97707 | -0.44005 | 0.97766 | -0.42859 | 10.7658
45 | 0.086576 | 0.02179 | -0.086565 | -0.021783 | 1.164e-05 | 7.0933e-06 | 0.132 | 0.132 | 0.132 | 0.97618 | -0.45753 | 0.97604 | -0.46035 | 9.0662
46 | -0.10578 | -0.026654 | 0.10583 | 0.026682 | 4.5352e-05 | 2.8089e-05 | 0.16105 | 0.16105 | 0.16105 | 0.97766 | -0.42859 | 0.97812 | -0.41963 | 11.0614
47 | -0.013586 | -0.003405 | 0.013594 | 0.0034095 | 8.0566e-06 | 4.5191e-06 | 0.020625 | 0.020624 | 0.020625 | 0.98022 | -0.3787 | 0.98085 | -0.36626 | 5.6661
48 | 0.11387 | 0.028805 | -0.11368 | -0.028685 | 0.00019277 | 0.00011991 | 0.17284 | 0.17285 | 0.17285 | 0.98085 | -0.36626 | 0.97904 | -0.40161 | 11.8713
49 | -0.13818 | -0.034899 | 0.13825 | 0.034945 | 7.2019e-05 | 4.521e-05 | 0.20972 | 0.20972 | 0.20972 | 0.98085 | -0.36626 | 0.98141 | -0.35539 | 14.4041
50 | -0.10976 | -0.027669 | 0.10984 | 0.027713 | 7.2022e-05 | 4.4711e-05 | 0.16704 | 0.16704 | 0.16704 | 0.97812 | -0.41963 | 0.97882 | -0.40593 | 11.4727
51 | -0.11365 | -0.02867 | 0.11368 | 0.028685 | 2.3513e-05 | 1.4626e-05 | 0.17285 | 0.17285 | 0.17285 | 0.97882 | -0.40593 | 0.97904 | -0.40161 | 11.8713
52 | -0.031968 | -0.0080335 | 0.031985 | 0.0080445 | 1.7663e-05 | 1.1055e-05 | 0.048681 | 0.048681 | 0.048681 | 0.97729 | -0.43762 | 0.97788 | -0.42605 | 13.374
53 | -0.034711 | -0.0087276 | 0.034715 | 0.0087301 | 3.8781e-06 | 2.4355e-06 | 0.052829 | 0.052829 | 0.052829 | 0.97788 | -0.42605 | 0.978 | -0.42371 | 14.5134
54 | -0.03684 | -0.0092627 | 0.036851 | 0.0092693 | 1.0428e-05 | 6.5629e-06 | 0.056063 | 0.056063 | 0.056063 | 0.978 | -0.42371 | 0.9783 | -0.41779 | 15.4018
55 | -0.036851 | -0.0092693 | 0.036877 | 0.0092862 | 2.682e-05 | 1.6879e-05 | 0.056063 | 0.056063 | 0.056063 | 0.9783 | -0.41779 | 0.97908 | -0.40256 | 15.4018
56 | -0.039437 | -0.0099277 | 0.039485 | 0.0099576 | 4.7468e-05 | 2.9936e-05 | 0.059953 | 0.059953 | 0.059953 | 0.97908 | -0.40256 | 0.98037 | -0.37742 | 16.4705
57 | 0.0045208 | 0.0011326 | -0.0045201 | -0.0011326 | 6.9906e-07 | -5.1765e-08 | 0.0068615 | 0.0068617 | 0.0068617 | 0.98037 | -0.37742 | 0.9802 | -0.38066 | 1.8851
58 | -0.044005 | -0.01109 | 0.04409 | 0.011144 | 8.5131e-05 | 5.3841e-05 | 0.066814 | 0.066814 | 0.066814 | 0.98037 | -0.37742 | 0.98244 | -0.33706 | 18.3555
59 | 0.0045201 | 0.0011326 | -0.0045195 | -0.0011327 | 5.7732e-07 | -4.2604e-08 | 0.0068617 | 0.0068619 | 0.0068619 | 0.9802 | -0.38066 | 0.98006 | -0.38334 | 1.8851
60 | -0.054157 | -0.013667 | 0.054178 | 0.01368 | 2.1119e-05 | 1.341e-05 | 0.082061 | 0.08206 | 0.082061 | 0.98244 | -0.33706 | 0.98285 | -0.32892 | 22.5441
61 | -0.054917 | -0.013866 | 0.055232 | 0.014061 | 0.00031414 | 0.00019488 | 0.08318 | 0.083178 | 0.08318 | 0.98285 | -0.32892 | 0.989 | -0.21025 | 11.4258
62 | 0.1187 | 0.030245 | -0.11864 | -0.030206 | 6.187e-05 | 3.8497e-05 | 0.17712 | 0.17712 | 0.17712 | 0.99823 | -0.03359 | 0.99767 | -0.044398 | 12.1648
63 | -0.12649 | -0.032196 | 0.1265 | 0.032202 | 9.4283e-06 | 5.8864e-06 | 0.18873 | 0.18873 | 0.18873 | 0.99823 | -0.03359 | 0.99831 | -0.032044 | 12.962
64 | 0.11503 | 0.0293 | -0.11491 | -0.029229 | 0.0001157 | 7.1862e-05 | 0.17173 | 0.17173 | 0.17173 | 0.99767 | -0.044398 | 0.99657 | -0.06527 | 11.7947
65 | 0.0050581 | 0.0012666 | -0.0050562 | -0.0012666 | 1.933e-06 | 6.011e-08 | 0.0075521 | 0.0075526 | 0.0075526 | 0.99657 | -0.06527 | 0.99615 | -0.073298 | 2.0749
66 | 0.10985 | 0.027962 | -0.10981 | -0.027936 | 4.208e-05 | 2.6064e-05 | 0.16418 | 0.16418 | 0.16418 | 0.99657 | -0.06527 | 0.99615 | -0.073219 | 11.276
67 | 0.0024248 | 0.0006071 | -0.0024246 | -0.00060765 | 2.7302e-07 | -5.4766e-07 | 0.0036219 | 0.0036222 | 0.0036222 | 0.99615 | -0.073298 | 0.99603 | -0.075662 | 0.9951
68 | 0.10981 | 0.027936 | -0.10957 | -0.027789 | 0.00023637 | 0.00014642 | 0.16418 | 0.16418 | 0.16418 | 0.99615 | -0.073219 | 0.99381 | -0.11799 | 11.2762
69 | 0.078381 | 0.019971 | -0.078333 | -0.019943 | 4.7133e-05 | 2.8278e-05 | 0.11747 | 0.11748 | 0.11748 | 0.99381 | -0.11799 | 0.99316 | -0.13046 | 8.0683
70 | 0.076186 | 0.019405 | -0.076015 | -0.019303 | 0.00017093 | 0.00010218 | 0.11426 | 0.11426 | 0.11426 | 0.99316 | -0.13046 | 0.99073 | -0.17708 | 7.8476
71 | -0.058151 | -0.014792 | 0.058171 | 0.014803 | 1.9591e-05 | 1.1139e-05 | 0.087571 | 0.08757 | 0.087571 | 0.989 | -0.21025 | 0.98936 | -0.20326 | 6.0145
72 | -0.061205 | -0.015564 | 0.061283 | 0.015608 | 7.7301e-05 | 4.4476e-05 | 0.092134 | 0.092132 | 0.092134 | 0.98936 | -0.20326 | 0.99073 | -0.17708 | 6.3279
73 | 0.1429 | 0.036202 | -0.14266 | -0.036049 | 0.00024399 | 0.00015334 | 0.2164 | 0.2164 | 0.2164 | 0.98324 | -0.31978 | 0.98141 | -0.35539 | 14.8629
74 | 0.014733 | 0.0036944 | -0.014726 | -0.0036907 | 6.3347e-06 | 3.6102e-06 | 0.022129 | 0.022129 | 0.022129 | 0.99073 | -0.17708 | 0.99026 | -0.1861 | 6.0793
75 | 0.012887 | 0.0032298 | -0.012885 | -0.0032287 | 2.0121e-06 | 1.1037e-06 | 0.019365 | 0.019365 | 0.019365 | 0.99026 | -0.1861 | 0.99009 | -0.18938 | 5.32
76 | 0.0093676 | 0.0023478 | -0.009366 | -0.0023471 | 1.6294e-06 | 7.6093e-07 | 0.014079 | 0.014079 | 0.014079 | 0.99009 | -0.18938 | 0.9899 | -0.19303 | 3.8678
77 | 0.0035175 | 0.00088083 | -0.0035169 | -0.0008812 | 6.2147e-07 | -3.6479e-07 | 0.0052862 | 0.0052865 | 0.0052865 | 0.99009 | -0.18938 | 0.9899 | -0.19309 | 1.4523
78 | 0.0063807 | 0.0015989 | -0.0063796 | -0.0015986 | 1.129e-06 | 3.0193e-07 | 0.0095914 | 0.0095915 | 0.0095915 | 0.9899 | -0.19303 | 0.98971 | -0.19675 | 2.635
79 | 0.0035169 | 0.0008812 | -0.0035166 | -0.00088135 | 2.5669e-07 | -1.5056e-07 | 0.0052865 | 0.0052866 | 0.0052866 | 0.9899 | -0.19309 | 0.98982 | -0.19462 | 1.4524
80 | 0.0028986 | 0.00072615 | -0.0028984 | -0.0007264 | 2.0934e-07 | -2.4373e-07 | 0.0043578 | 0.004358 | 0.004358 | 0.98971 | -0.19675 | 0.98963 | -0.19826 | 1.1972

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -1.2729e-15 | -1.3162e-15 | 0.00165 | 1.2699e-07 | 0.00165 | 1.2699e-07 | 5.2857e-17 | 0.0023815 | 0.99998 | 149.9956 | 1 | 0 | 0.2619

## res_ext_grid
| p_mw | q_mvar
0 | 0.36718 | 0.093527

## res_load
| p_mw | q_mvar
0 | 0.0021172 | 0.00053062
1 | 0.011741 | 0.0029425
2 | 0.0049876 | 0.00125
3 | 0.0028867 | 0.00072348
4 | 0.0048786 | 0.0012227
5 | 0.00162 | 0.00040602
6 | 0.0016512 | 0.00041383
7 | 0.000913 | 0.00022882
8 | 0.018274 | 0.0045798
9 | 0.0063078 | 0.0015809
10 | 0.0063701 | 0.0015965
11 | 0.004039 | 0.0010123
12 | 0.0049916 | 0.001251
13 | 0.0015841 | 0.00039702
14 | 0.015943 | 0.0039957
15 | 0.0061175 | 0.0015332
16 | 0.001619 | 0.00040577
17 | 0.0026063 | 0.00065319
18 | 0.0042779 | 0.0010721
19 | 0.0014829 | 0.00037166
20 | 0.0053698 | 0.0013458
21 | 0.011257 | 0.0028212
22 | 0.0015827 | 0.00039666
23 | 0.0031612 | 0.00079227
24 | 0.0021791 | 0.00054613
25 | 0.0093572 | 0.0023451
26 | 0.0013669 | 0.00034258
27 | 0.0043049 | 0.0010789
28 | 0.0029376 | 0.00073624
29 | 0.0042538 | 0.0010661
30 | 0.0045968 | 0.0011521
31 | 0.0026594 | 0.00066651
32 | 0.0044129 | 0.001106
33 | 0.013387 | 0.003355
34 | 0.0041531 | 0.0010409
35 | 0.0040211 | 0.0010078
36 | 0.0029005 | 0.00072693
37 | 0.0039509 | 0.0009902
38 | 0.0053684 | 0.0013455
39 | 0.0028281 | 0.0007088
40 | 0.013586 | 0.003405
41 | 0.010714 | 0.0026852
42 | 0.0020192 | 0.00050607
43 | 0.0039365 | 0.00098659
44 | 0.0038179 | 0.00095685
45 | 0.0011092 | 0.000278
46 | 0.0027257 | 0.00068312
47 | 0.0021254 | 0.00053268
48 | 0.0025596 | 0.0006415
49 | 0.010066 | 0.0025229
50 | 0.0045195 | 0.0011327
51 | 0.00073957 | 0.00018535
52 | 0.0077861 | 0.0019514
53 | 0.0036139 | 0.00090573
54 | 0.006818 | 0.0017088
55 | 0.0026314 | 0.00065949
56 | 0.0024246 | 0.00060765
57 | 0.031194 | 0.007818
58 | 0.0021471 | 0.0005381
59 | 0.022277 | 0.0055832
60 | 0.0029197 | 0.00073173
61 | 0.0030345 | 0.00076052
62 | 0.0044063 | 0.0011043
63 | 0.0018393 | 0.00046098
64 | 0.0029853 | 0.00074818
65 | 0.003481 | 0.00087243
66 | 0.0035166 | 0.00088135
67 | 0.0028984 | 0.0007264

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1