## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5226-1_1_3_node_70 | 0.4 | n |  | TRUE
1 | bus_LV_5226-1_1_3_node_75 | 0.4 | n |  | TRUE
2 | bus_LV_5226-1_1_3_node_71 | 0.4 | n |  | TRUE
3 | bus_LV_5226-1_1_3_node_81 | 0.4 | n |  | TRUE
4 | bus_LV_5226-1_1_3_node_74 | 0.4 | n |  | TRUE
5 | bus_LV_5226-1_1_3_node_86 | 0.4 | n |  | TRUE
6 | bus_LV_5226-1_1_3_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_5226-1_1_3_node_151 | 0.4 | n |  | TRUE
8 | bus_LV_5226-1_1_3_node_87 | 0.4 | n |  | TRUE
9 | bus_LV_5226-1_1_3_node_83 | 0.4 | n |  | TRUE
10 | bus_LV_5226-1_1_3_node_144 | 0.4 | n |  | TRUE
11 | bus_LV_5226-1_1_3_node_85 | 0.4 | n |  | TRUE
12 | bus_LV_5226-1_1_3_node_88 | 0.4 | n |  | TRUE
13 | bus_LV_5226-1_1_3_node_157 | 0.4 | n |  | TRUE
14 | bus_LV_5226-1_1_3_node_128 | 0.4 | n |  | TRUE
15 | bus_LV_5226-1_1_3_node_127 | 0.4 | n |  | TRUE
16 | bus_LV_5226-1_1_3_node_89 | 0.4 | n |  | TRUE
17 | bus_LV_5226-1_1_3_node_90 | 0.4 | n |  | TRUE
18 | bus_LV_5226-1_1_3_node_92 | 0.4 | n |  | TRUE
19 | bus_LV_5226-1_1_3_node_93 | 0.4 | n |  | TRUE
20 | bus_LV_5226-1_1_3_node_95 | 0.4 | n |  | TRUE
21 | bus_LV_5226-1_1_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_5226-1_1_3_node_153 | 0.4 | n |  | TRUE
23 | bus_LV_5226-1_1_3_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_5226-1_1_3_node_97 | 0.4 | n |  | TRUE
25 | bus_LV_5226-1_1_3_node_160 | 0.4 | n |  | TRUE
26 | bus_LV_5226-1_1_3_node_159 | 0.4 | n |  | TRUE
27 | bus_LV_5226-1_1_3_node_154 | 0.4 | n |  | TRUE
28 | bus_LV_5226-1_1_3_node_121 | 0.4 | n |  | TRUE
29 | bus_LV_5226-1_1_3_node_168 | 0.4 | n |  | TRUE
30 | bus_LV_5226-1_1_3_node_169 | 0.4 | n |  | TRUE
31 | bus_LV_5226-1_1_3_node_100 | 0.4 | n |  | TRUE
32 | bus_LV_5226-1_1_3_node_101 | 0.4 | n |  | TRUE
33 | bus_LV_5226-1_1_3_node_102 | 0.4 | n |  | TRUE
34 | bus_LV_5226-1_1_3_node_103 | 0.4 | n |  | TRUE
35 | bus_LV_5226-1_1_3_node_104 | 0.4 | n |  | TRUE
36 | bus_LV_5226-1_1_3_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_5226-1_1_3_node_106 | 0.4 | n |  | TRUE
38 | bus_LV_5226-1_1_3_node_107 | 0.4 | n |  | TRUE
39 | bus_LV_5226-1_1_3_node_146 | 0.4 | n |  | TRUE
40 | bus_LV_5226-1_1_3_node_119 | 0.4 | n |  | TRUE
41 | bus_LV_5226-1_1_3_node_145 | 0.4 | n |  | TRUE
42 | bus_LV_5226-1_1_3_node_122 | 0.4 | n |  | TRUE
43 | bus_LV_5226-1_1_3_node_117 | 0.4 | n |  | TRUE
44 | bus_LV_5226-1_1_3_node_108 | 0.4 | n |  | TRUE
45 | bus_LV_5226-1_1_3_node_109 | 0.4 | n |  | TRUE
46 | bus_LV_5226-1_1_3_node_110 | 0.4 | n |  | TRUE
47 | bus_LV_5226-1_1_3_node_111 | 0.4 | n |  | TRUE
48 | bus_LV_5226-1_1_3_node_112 | 0.4 | n |  | TRUE
49 | bus_LV_5226-1_1_3_node_113 | 0.4 | n |  | TRUE
50 | bus_LV_5226-1_1_3_node_114 | 0.4 | n |  | TRUE
51 | bus_LV_5226-1_1_3_node_115 | 0.4 | n |  | TRUE
52 | bus_LV_5226-1_1_3_node_123 | 0.4 | n |  | TRUE
53 | bus_LV_5226-1_1_3_node_116 | 0.4 | n |  | TRUE
54 | bus_LV_5226-1_1_3_node_125 | 0.4 | n |  | TRUE
55 | bus_LV_5226-1_1_3_node_118 | 0.4 | n |  | TRUE
56 | bus_LV_5226-1_1_3_node_120 | 0.4 | n |  | TRUE
57 | bus_LV_5226-1_1_3_node_156 | 0.4 | n |  | TRUE
58 | bus_LV_5226-1_1_3_node_143 | 0.4 | n |  | TRUE
59 | bus_LV_5226-1_1_3_node_158 | 0.4 | n |  | TRUE
60 | bus_LV_5226-1_1_3_node_141 | 0.4 | n |  | TRUE
61 | bus_LV_5226-1_1_3_node_124 | 0.4 | n |  | TRUE
62 | bus_LV_5226-1_1_3_node_126 | 0.4 | n |  | TRUE
63 | bus_LV_5226-1_1_3_node_129 | 0.4 | n |  | TRUE
64 | bus_LV_5226-1_1_3_node_130 | 0.4 | n |  | TRUE
65 | bus_LV_5226-1_1_3_node_131 | 0.4 | n |  | TRUE
66 | bus_LV_5226-1_1_3_node_132 | 0.4 | n |  | TRUE
67 | bus_LV_5226-1_1_3_node_133 | 0.4 | n |  | TRUE
68 | bus_LV_5226-1_1_3_node_134 | 0.4 | n |  | TRUE
69 | bus_LV_5226-1_1_3_node_135 | 0.4 | n |  | TRUE
70 | bus_LV_5226-1_1_3_node_136 | 0.4 | n |  | TRUE
71 | bus_LV_5226-1_1_3_node_137 | 0.4 | n |  | TRUE
72 | bus_LV_5226-1_1_3_node_150 | 0.4 | n |  | TRUE
73 | bus_LV_5226-1_1_3_node_139 | 0.4 | n |  | TRUE
74 | bus_LV_5226-1_1_3_node_138 | 0.4 | n |  | TRUE
75 | bus_LV_5226-1_1_3_node_140 | 0.4 | n |  | TRUE
76 | bus_LV_5226-1_1_3_node_142 | 0.4 | n |  | TRUE
77 | bus_LV_5226-1_1_3_node_152 | 0.4 | n |  | TRUE
78 | bus_LV_5226-1_1_3_node_149 | 0.4 | n |  | TRUE
79 | bus_LV_5226-1_1_3_node_147 | 0.4 | n |  | TRUE
80 | bus_LV_5226-1_1_3_node_148 | 0.4 | n |  | TRUE
81 | bus_LV_5226-1_1_3_node_155 | 0.4 | n |  | TRUE
82 | bus_LV_5226-1_1_3_node_161 | 0.4 | n |  | TRUE
83 | bus_LV_5226-1_1_3_node_163 | 0.4 | n |  | TRUE
84 | bus_LV_5226-1_1_3_node_165 | 0.4 | n |  | TRUE
85 | bus_LV_5226-1_1_3_node_164 | 0.4 | n |  | TRUE
86 | bus_LV_5226-1_1_3_node_166 | 0.4 | n |  | TRUE
87 | bus_LV_5226-1_1_3_node_167 | 0.4 | n |  | TRUE
88 | bus_MV_74_0_node_36 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5226-1_1_3_load_70 | 0 | 0.0020725 | 0.00051943 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5226-1_1_3_load_71 | 2 | 0.0020064 | 0.00050286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5226-1_1_3_load_74 | 4 | 0.0054217 | 0.0013588 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5226-1_1_3_load_151 | 7 | 0.0045186 | 0.0011325 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5226-1_1_3_load_83 | 9 | 0.0023883 | 0.00059857 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5226-1_1_3_load_85 | 11 | 0.0010932 | 0.00027397 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5226-1_1_3_load_157 | 13 | 0.0017934 | 0.00044947 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5226-1_1_3_load_128 | 14 | 0.0018237 | 0.00045707 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5226-1_1_3_load_127 | 15 | 0.0026621 | 0.00066718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5226-1_1_3_load_89 | 16 | 0.0043374 | 0.0010871 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5226-1_1_3_load_92 | 18 | 0.0060765 | 0.0015229 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5226-1_1_3_load_93 | 19 | 0.0034873 | 0.00087399 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5226-1_1_3_load_95 | 20 | 0.006765 | 0.0016955 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5226-1_1_3_load_97 | 24 | 0.0034061 | 0.00085366 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5226-1_1_3_load_160 | 25 | 0.002914 | 0.00073032 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5226-1_1_3_load_159 | 26 | 0.0029385 | 0.00073646 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5226-1_1_3_load_154 | 27 | 0.0047034 | 0.0011788 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5226-1_1_3_load_121 | 28 | 0.0057824 | 0.0014492 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5226-1_1_3_load_168 | 29 | 0.0014157 | 0.0003548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5226-1_1_3_load_100 | 31 | 0.0049313 | 0.0012359 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5226-1_1_3_load_101 | 32 | 0.0024293 | 0.00060885 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5226-1_1_3_load_102 | 33 | 0.0068752 | 0.0017231 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5226-1_1_3_load_104 | 35 | 0.001736 | 0.00043508 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5226-1_1_3_load_105 | 36 | 0.0030906 | 0.00077458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5226-1_1_3_load_106 | 37 | 0.0042402 | 0.0010627 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5226-1_1_3_load_107 | 38 | 0.0043273 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5226-1_1_3_load_146 | 39 | 0.0022548 | 0.0005651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5226-1_1_3_load_145 | 41 | 0.0034292 | 0.00085943 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5226-1_1_3_load_122 | 42 | 0.0048257 | 0.0012094 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5226-1_1_3_load_108 | 44 | 0.0035726 | 0.00089538 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5226-1_1_3_load_109 | 45 | 0.0024836 | 0.00062246 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5226-1_1_3_load_111 | 47 | 0.0024205 | 0.00060663 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5226-1_1_3_load_112 | 48 | 0.0049794 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5226-1_1_3_load_113 | 49 | 0.0046411 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5226-1_1_3_load_114 | 50 | 0.0027024 | 0.00067729 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5226-1_1_3_load_115 | 51 | 0.0048176 | 0.0012074 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5226-1_1_3_load_123 | 52 | 0.0037146 | 0.00093096 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5226-1_1_3_load_116 | 53 | 0.0042844 | 0.0010738 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5226-1_1_3_load_125 | 54 | 0.0036581 | 0.00091681 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5226-1_1_3_load_120 | 56 | 0.0034319 | 0.00086011 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5226-1_1_3_load_156 | 57 | 0.0085876 | 0.0021522 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5226-1_1_3_load_143 | 58 | 0.0011843 | 0.00029682 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5226-1_1_3_load_158 | 59 | 0.0042118 | 0.0010556 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5226-1_1_3_load_141 | 60 | 0.0013945 | 0.00034948 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5226-1_1_3_load_124 | 61 | 0.0021417 | 0.00053675 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5226-1_1_3_load_126 | 62 | 0.0042432 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5226-1_1_3_load_129 | 63 | 0.0022714 | 0.00056926 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5226-1_1_3_load_130 | 64 | 0.0037323 | 0.00093539 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5226-1_1_3_load_132 | 66 | 0.0030368 | 0.0007611 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5226-1_1_3_load_133 | 67 | 0.0021218 | 0.00053176 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5226-1_1_3_load_134 | 68 | 0.0018965 | 0.00047531 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5226-1_1_3_load_135 | 69 | 0.0087529 | 0.0021937 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5226-1_1_3_load_136 | 70 | 0.0026405 | 0.00066176 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5226-1_1_3_load_137 | 71 | 0.0025025 | 0.00062718 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5226-1_1_3_load_150 | 72 | 0.0021655 | 0.00054274 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5226-1_1_3_load_139 | 73 | 0.0028211 | 0.00070702 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5226-1_1_3_load_138 | 74 | 0.005366 | 0.0013449 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5226-1_1_3_load_142 | 76 | 0.0062597 | 0.0015688 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5226-1_1_3_load_152 | 77 | 0.0075039 | 0.0018806 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5226-1_1_3_load_149 | 78 | 0.0022848 | 0.00057263 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5226-1_1_3_load_147 | 79 | 0.001422 | 0.00035638 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5226-1_1_3_load_148 | 80 | 0.0036108 | 0.00090494 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5226-1_1_3_load_161 | 82 | 0.0010426 | 0.0002613 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5226-1_1_3_load_166 | 86 | 0.0023528 | 0.00058968 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5226-1_1_3_load_167 | 87 | 0.0017294 | 0.00043343 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5226-1_1_3_line_0 |  | 0 | 1 | 0.085501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5226-1_1_3_line_1 |  | 1 | 6 | 0.02389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5226-1_1_3_line_2 |  | 2 | 3 | 0.036118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5226-1_1_3_line_3 |  | 3 | 7 | 0.21204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5226-1_1_3_line_4 |  | 4 | 5 | 0.10969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5226-1_1_3_line_5 |  | 5 | 8 | 0.047473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5226-1_1_3_line_6 |  | 5 | 6 | 0.14922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5226-1_1_3_line_7 |  | 6 | 9 | 0.083193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5226-1_1_3_line_8 |  | 7 | 10 | 0.049819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5226-1_1_3_line_9 |  | 8 | 12 | 0.13802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5226-1_1_3_line_10 |  | 8 | 13 | 0.095418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5226-1_1_3_line_11 |  | 9 | 11 | 0.021694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5226-1_1_3_line_12 |  | 10 | 77 | 0.0050502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5226-1_1_3_line_13 |  | 10 | 76 | 0.031589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5226-1_1_3_line_14 |  | 12 | 14 | 0.022545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5226-1_1_3_line_15 |  | 14 | 15 | 0.010851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5226-1_1_3_line_16 |  | 15 | 37 | 0.0030838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5226-1_1_3_line_17 |  | 16 | 17 | 0.032985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5226-1_1_3_line_18 |  | 17 | 18 | 0.013429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5226-1_1_3_line_19 |  | 17 | 19 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5226-1_1_3_line_20 |  | 18 | 20 | 0.038776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5226-1_1_3_line_21 |  | 19 | 21 | 0.0077718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5226-1_1_3_line_22 |  | 20 | 22 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5226-1_1_3_line_23 |  | 21 | 23 | 0.018661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5226-1_1_3_line_24 |  | 21 | 24 | 0.030885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5226-1_1_3_line_25 |  | 22 | 27 | 0.010402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5226-1_1_3_line_26 |  | 22 | 28 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5226-1_1_3_line_27 |  | 23 | 29 | 0.29818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5226-1_1_3_line_28 |  | 25 | 26 | 0.015199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5226-1_1_3_line_29 |  | 26 | 81 | 0.014025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5226-1_1_3_line_30 |  | 27 | 81 | 0.0098042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5226-1_1_3_line_31 |  | 29 | 30 | 0.059388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5226-1_1_3_line_32 |  | 30 | 85 | 0.30001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5226-1_1_3_line_33 |  | 31 | 32 | 0.0021179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5226-1_1_3_line_34 |  | 31 | 33 | 0.0062336 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5226-1_1_3_line_35 |  | 32 | 34 | 0.01992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5226-1_1_3_line_36 |  | 33 | 35 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5226-1_1_3_line_37 |  | 34 | 36 | 0.012788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5226-1_1_3_line_38 |  | 34 | 37 | 0.0076141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5226-1_1_3_line_39 |  | 35 | 38 | 0.021933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5226-1_1_3_line_40 |  | 36 | 39 | 0.0032868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5226-1_1_3_line_41 |  | 38 | 40 | 0.029341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5226-1_1_3_line_42 |  | 39 | 41 | 0.016786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5226-1_1_3_line_43 |  | 40 | 42 | 0.0084683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5226-1_1_3_line_44 |  | 40 | 43 | 0.017184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5226-1_1_3_line_45 |  | 41 | 79 | 0.0045562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5226-1_1_3_line_46 |  | 42 | 58 | 0.033396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5226-1_1_3_line_47 |  | 43 | 55 | 0.013898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5226-1_1_3_line_48 |  | 43 | 53 | 0.02063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_5226-1_1_3_line_49 |  | 44 | 45 | 0.013481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5226-1_1_3_line_50 |  | 44 | 46 | 0.020467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5226-1_1_3_line_51 |  | 45 | 47 | 0.024136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5226-1_1_3_line_52 |  | 46 | 48 | 0.0062927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5226-1_1_3_line_53 |  | 46 | 49 | 0.020928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5226-1_1_3_line_54 |  | 47 | 50 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5226-1_1_3_line_55 |  | 48 | 51 | 0.022153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5226-1_1_3_line_56 |  | 50 | 52 | 0.0077872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5226-1_1_3_line_57 |  | 51 | 53 | 0.0043932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5226-1_1_3_line_58 |  | 52 | 54 | 0.0083278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5226-1_1_3_line_59 |  | 54 | 61 | 0.015663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5226-1_1_3_line_60 |  | 55 | 56 | 0.015808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5226-1_1_3_line_61 |  | 56 | 57 | 0.026965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5226-1_1_3_line_62 |  | 57 | 59 | 0.017467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5226-1_1_3_line_63 |  | 58 | 60 | 0.010278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5226-1_1_3_line_64 |  | 59 | 81 | 0.01223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5226-1_1_3_line_65 |  | 61 | 62 | 0.0083874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5226-1_1_3_line_66 |  | 63 | 64 | 0.025845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5226-1_1_3_line_67 |  | 63 | 65 | 0.0033783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5226-1_1_3_line_68 |  | 64 | 66 | 0.005654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5226-1_1_3_line_69 |  | 65 | 67 | 0.011604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5226-1_1_3_line_70 |  | 65 | 68 | 0.014702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5226-1_1_3_line_71 |  | 66 | 69 | 0.0048295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5226-1_1_3_line_72 |  | 67 | 70 | 0.020677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5226-1_1_3_line_73 |  | 68 | 71 | 0.0010185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5226-1_1_3_line_74 |  | 70 | 72 | 0.00097991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5226-1_1_3_line_75 |  | 71 | 73 | 0.023954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5226-1_1_3_line_76 |  | 73 | 74 | 0.025955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5226-1_1_3_line_77 |  | 74 | 75 | 0.019221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5226-1_1_3_line_78 |  | 75 | 76 | 0.0081992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5226-1_1_3_line_79 |  | 77 | 78 | 0.035473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5226-1_1_3_line_80 |  | 78 | 80 | 0.02961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5226-1_1_3_line_81 |  | 79 | 80 | 0.014032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5226-1_1_3_line_82 |  | 82 | 83 | 0.053258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5226-1_1_3_line_83 |  | 83 | 84 | 0.1189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5226-1_1_3_line_84 |  | 84 | 87 | 0.07115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5226-1_1_3_line_85 |  | 85 | 86 | 0.013384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5226-1_1_3_line_86 |  | 86 | 87 | 0.050191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5226-1_1_3_trafo_116 | 0.63 MVA 20/0.4 kV | 88 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2718550.1099 | 1102603.9749 | 2718541.6785 | 1102611.2487 | 2718533.6259 | 1102618.1518 | 2718520.2045 | 1102624.9279 | 2718504.3601 | 1102628.5545 | 2718477.3535 | 1102634.6429 | 2718472.6407 | 1102635.4772
1 | 2718565.9168 | 1102586.0267 | 2718550.1099 | 1102603.9749
2 | 2718153.0658 | 1102358.0131 | 2718153.8863 | 1102363.9776 | 2718163.49 | 1102392.502
3 | 2718153.0658 | 1102358.0131 | 2718169.8834 | 1102356.1057 | 2718185.6863 | 1102354.2341 | 2718192.8145 | 1102355.0512 | 2718223.9941 | 1102356.5034 | 2718257.7131 | 1102359.1172 | 2718294.1066 | 1102361.9057 | 2718324.6159 | 1102364.3906 | 2718339.7926 | 1102365.2646 | 2718364.3236 | 1102367.9652
4 | 2718575.841 | 1102482.5381 | 2718556.6362 | 1102486.9996 | 2718542.6423 | 1102496.5219 | 2718535.2288 | 1102502.0032 | 2718530.201 | 1102504.2177 | 2718525.2674 | 1102508.7467 | 2718518.7837 | 1102510.6104 | 2718490.2379 | 1102514.6339 | 2718474.2029 | 1102513.6948
5 | 2718545.8332 | 1102464.3175 | 2718574.2778 | 1102463.5056 | 2718575.841 | 1102482.5381
6 | 2718565.9168 | 1102586.0267 | 2718580.7247 | 1102570.0937 | 2718572.4831 | 1102564.0842 | 2718570.5853 | 1102559.4106 | 2718571.7044 | 1102556.0079 | 2718575.9304 | 1102549.6638 | 2718570.2589 | 1102540.8581 | 2718586.8121 | 1102535.0329 | 2718585.7855 | 1102530.9322 | 2718581.6504 | 1102532.6193 | 2718569.7578 | 1102528.4731 | 2718578.9988 | 1102523.7392 | 2718575.841 | 1102482.5381
7 | 2718565.9168 | 1102586.0267 | 2718560.7706 | 1102582.0234 | 2718556.6794 | 1102579.4863 | 2718551.2005 | 1102578.2563 | 2718545.1245 | 1102579.0604 | 2718542.7881 | 1102578.6145 | 2718533.8774 | 1102580.3084 | 2718515.7749 | 1102582.6457 | 2718502.0967 | 1102581.5558 | 2718488.0331 | 1102578.8017 | 2718485.8867 | 1102577.8188
8 | 2718413.8362 | 1102373.4801 | 2718385.3302 | 1102370.2777 | 2718364.3236 | 1102367.9652
9 | 2718577.9939 | 1102392.1512 | 2718577.8912 | 1102400.177 | 2718582.9035 | 1102404.7002 | 2718590.5551 | 1102410.8093 | 2718600.0133 | 1102419.1331 | 2718605.005 | 1102424.7122 | 2718605.2082 | 1102433.3221 | 2718605.9883 | 1102442.9106 | 2718603.4976 | 1102449.5665 | 2718587.6435 | 1102445.7432 | 2718577.1545 | 1102445.4159 | 2718564.6182 | 1102447.2725 | 2718551.3197 | 1102450.504 | 2718545.8332 | 1102464.3175
10 | 2718545.8332 | 1102464.3175 | 2718530.454 | 1102474.2242 | 2718520.5703 | 1102474.6093 | 2718505.357 | 1102473.2449 | 2718453.4154 | 1102471.9129
11 | 2718466.1059 | 1102568.9116 | 2718475.2759 | 1102572.9599 | 2718485.8867 | 1102577.8188
12 | 2718413.8362 | 1102373.4801 | 2718418.8578 | 1102374.0167
13 | 2718413.8362 | 1102373.4801 | 2718404.5878 | 1102370.6534 | 2718398.1551 | 1102366.7253 | 2718394.9761 | 1102360.6591 | 2718394.0306 | 1102354.77 | 2718393.9667 | 1102353.2035
14 | 2718577.9939 | 1102392.1512 | 2718571.7521 | 1102389.1495 | 2718560.4903 | 1102389.1519 | 2718556.1577 | 1102388.6876
15 | 2718545.3682 | 1102387.5315 | 2718556.1577 | 1102388.6876
16 | 2718545.3682 | 1102387.5315 | 2718542.302 | 1102387.2029
17 | 2718575.2819 | 1102195.3962 | 2718581.1334 | 1102202.1373 | 2718593.5902 | 1102210.3194 | 2718601.5156 | 1102214.9012
18 | 2718575.2819 | 1102195.3962 | 2718562.7711 | 1102200.2775
19 | 2718575.2819 | 1102195.3962 | 2718572.7444 | 1102189.3869 | 2718572.8607 | 1102183.4295 | 2718574.9268 | 1102179.5005 | 2718579.6027 | 1102178.2687 | 2718581.7783 | 1102177.5048
20 | 2718562.7711 | 1102200.2775 | 2718571.359 | 1102216.3229 | 2718565.2738 | 1102225.8996 | 2718565.0433 | 1102235.1277
21 | 2718589.1111 | 1102174.9298 | 2718581.7783 | 1102177.5048
22 | 2718562.4276 | 1102254.3191 | 2718564.99 | 1102237.2574 | 2718565.0433 | 1102235.1277
23 | 2718589.1111 | 1102174.9298 | 2718605.8836 | 1102166.6516
24 | 2718589.1111 | 1102174.9298 | 2718594.7413 | 1102178.7424 | 2718597.0618 | 1102186.3485 | 2718600.5758 | 1102189.9196 | 2718607.0771 | 1102191.9257 | 2718611.2135 | 1102193.1688
25 | 2718562.4276 | 1102254.3191 | 2718568.1873 | 1102262.9804
26 | 2718562.4276 | 1102254.3191 | 2718555.5681 | 1102254.0072 | 2718548.5002 | 1102253.669 | 2718546.8763 | 1102253.6014
27 | 2718605.8836 | 1102166.6516 | 2718596.8628 | 1101868.6095
28 | 2718594.1775 | 1102281.2699 | 2718594.3475 | 1102277.7251 | 2718592.6633 | 1102270.8319 | 2718589.5809 | 1102267.4798
29 | 2718575.9881 | 1102267.8042 | 2718584.89 | 1102266.9775 | 2718588.7903 | 1102266.62 | 2718589.5809 | 1102267.4798
30 | 2718575.9881 | 1102267.8042 | 2718570.4507 | 1102266.384 | 2718568.1873 | 1102262.9804
31 | 2718576.065 | 1101816.9286 | 2718577.4351 | 1101821.2917 | 2718578.9652 | 1101828.1596 | 2718581.34 | 1101833.7876 | 2718583.0953 | 1101839.8261 | 2718585.0518 | 1101845.8684 | 2718584.1782 | 1101858.8825 | 2718593.022 | 1101865.8155 | 2718596.8628 | 1101868.6095
32 | 2718288.2185 | 1101901.4744 | 2718576.065 | 1101816.9286
33 | 2718535.8292 | 1102364.3824 | 2718535.7413 | 1102366.4985
34 | 2718535.8292 | 1102364.3824 | 2718536.0877 | 1102358.1543
35 | 2718534.7312 | 1102386.3917 | 2718535.2544 | 1102378.2296 | 2718535.7413 | 1102366.4985
36 | 2718536.0877 | 1102358.1543 | 2718536.0877 | 1102358.1543 | 2718533.9382 | 1102356.0553 | 2718525.9986 | 1102353.9878 | 2718520.5008 | 1102351.144
37 | 2718534.7312 | 1102386.3917 | 2718522.0153 | 1102385.0348
38 | 2718534.7312 | 1102386.3917 | 2718542.302 | 1102387.2029
39 | 2718520.5008 | 1102351.144 | 2718512.2824 | 1102346.8931 | 2718503.6354 | 1102342.9994 | 2718501.8848 | 1102340.324
40 | 2718518.7471 | 1102384.686 | 2718522.0153 | 1102385.0348
41 | 2718490.5314 | 1102319.6055 | 2718495.3515 | 1102320.9004 | 2718499.6671 | 1102323.0527 | 2718502.938 | 1102325.5961 | 2718502.4431 | 1102329.9338 | 2718500.8915 | 1102334.8736 | 2718500.614 | 1102338.3818 | 2718501.8848 | 1102340.324
42 | 2718502.0556 | 1102382.905 | 2718518.7471 | 1102384.686
43 | 2718490.5314 | 1102319.6055 | 2718482.5042 | 1102322.3026
44 | 2718490.5314 | 1102319.6055 | 2718496.2097 | 1102315.7914 | 2718498.7859 | 1102311.4943 | 2718500.4564 | 1102306.4122
45 | 2718502.0556 | 1102382.905 | 2718497.5252 | 1102382.4215
46 | 2718482.5042 | 1102322.3026 | 2718479.4601 | 1102323.3254 | 2718450.1619 | 1102324.6104 | 2718449.3068 | 1102324.6884
47 | 2718500.4564 | 1102306.4122 | 2718506.7677 | 1102300.309 | 2718510.3535 | 1102296.6319
48 | 2718500.4564 | 1102306.4122 | 2718500.4181 | 1102297.6721 | 2718500.2353 | 1102285.7842
49 | 2718484.845 | 1102244.1338 | 2718476.6319 | 1102240.213 | 2718472.6795 | 1102238.3257
50 | 2718503.1903 | 1102253.2067 | 2718487.8513 | 1102245.5689 | 2718484.845 | 1102244.1338
51 | 2718472.6795 | 1102238.3257 | 2718458.0352 | 1102231.3331 | 2718450.3962 | 1102229.2889
52 | 2718503.1903 | 1102253.2067 | 2718501.8385 | 1102259.3526
53 | 2718503.1903 | 1102253.2067 | 2718504.2854 | 1102242.7098 | 2718508.4724 | 1102233.2183
54 | 2718437.6296 | 1102225.8726 | 2718450.3962 | 1102229.2889
55 | 2718500.1678 | 1102281.3915 | 2718500.118 | 1102278.1529 | 2718501.0668 | 1102262.8608 | 2718501.8385 | 1102259.3526
56 | 2718430.1071 | 1102223.8596 | 2718437.6296 | 1102225.8726
57 | 2718500.2353 | 1102285.7842 | 2718500.1678 | 1102281.3915
58 | 2718422.0624 | 1102221.7069 | 2718430.1071 | 1102223.8596
59 | 2718406.9319 | 1102217.6581 | 2718422.0624 | 1102221.7069
60 | 2718510.3535 | 1102296.6319 | 2718518.4211 | 1102293.3427 | 2718524.6562 | 1102289.9551
61 | 2718524.6562 | 1102289.9551 | 2718529.4048 | 1102287.3751 | 2718537.192 | 1102281.0005 | 2718547.7707 | 1102276.4965
62 | 2718547.7707 | 1102276.4965 | 2718549.1026 | 1102275.9295 | 2718561.0983 | 1102271.6495 | 2718564.1576 | 1102270.4572
63 | 2718439.0714 | 1102325.6232 | 2718449.3068 | 1102324.6884
64 | 2718575.9881 | 1102267.8042 | 2718569.0851 | 1102268.5366 | 2718564.1576 | 1102270.4572
65 | 2718398.8296 | 1102215.49 | 2718406.9319 | 1102217.6581
66 | 2718415.408 | 1102264.2001 | 2718440.1072 | 1102271.8106
67 | 2718412.1795 | 1102263.2053 | 2718415.408 | 1102264.2001
68 | 2718445.5105 | 1102273.4755 | 2718440.1072 | 1102271.8106
69 | 2718412.1795 | 1102263.2053 | 2718400.8164 | 1102260.8515
70 | 2718412.1795 | 1102263.2053 | 2718409.6373 | 1102277.6857
71 | 2718450.1259 | 1102274.8977 | 2718445.5105 | 1102273.4755
72 | 2718400.8164 | 1102260.8515 | 2718380.5694 | 1102256.6576
73 | 2718409.4612 | 1102278.6889 | 2718409.6373 | 1102277.6857
74 | 2718379.6099 | 1102256.4588 | 2718380.5694 | 1102256.6576
75 | 2718409.4612 | 1102278.6889 | 2718405.3191 | 1102302.2822
76 | 2718395.4189 | 1102326.0551 | 2718395.4189 | 1102326.0551 | 2718398.8573 | 1102318.0277 | 2718404.3164 | 1102307.9939 | 2718405.3191 | 1102302.2822
77 | 2718393.6327 | 1102345.0111 | 2718393.1466 | 1102336.2067 | 2718395.4189 | 1102326.0551
78 | 2718393.6327 | 1102345.0111 | 2718393.9667 | 1102353.2035
79 | 2718418.8578 | 1102374.0167 | 2718454.1295 | 1102377.7859
80 | 2718483.5722 | 1102380.9322 | 2718454.1295 | 1102377.7859
81 | 2718483.5722 | 1102380.9322 | 2718486.9046 | 1102381.2883 | 2718497.5252 | 1102382.4215
82 | 2718132.2805 | 1102066.6753 | 2718126.5967 | 1102047.307 | 2718120.6949 | 1102031.9817 | 2718125.2637 | 1102015.9707
83 | 2718132.2805 | 1102066.6753 | 2718141.5539 | 1102069.0462 | 2718164.9016 | 1102060.5612 | 2718197.5072 | 1102044.1177 | 2718226.0423 | 1102033.588 | 2718242.2799 | 1102026.9328
84 | 2718242.2799 | 1102026.9328 | 2718247.5559 | 1102017.5513 | 2718255.8145 | 1102002.4795 | 2718259.3971 | 1101985.0595 | 2718261.7815 | 1101972.7308 | 2718264.5119 | 1101960.1652
85 | 2718288.2185 | 1101901.4744 | 2718287.2409 | 1101907.5484 | 2718284.0152 | 1101914.0205
86 | 2718264.5119 | 1101960.1652 | 2718264.7575 | 1101959.0349 | 2718273.7398 | 1101934.6374 | 2718284.0152 | 1101914.0205

## bus_geodata
| x | y | coords
0 | 2718472.6407 | 1102635.4772
1 | 2718550.1099 | 1102603.9749
2 | 2718163.49 | 1102392.502
3 | 2718153.0658 | 1102358.0131
4 | 2718474.2029 | 1102513.6948
5 | 2718575.841 | 1102482.5381
6 | 2718565.9168 | 1102586.0267
7 | 2718364.3236 | 1102367.9652
8 | 2718545.8332 | 1102464.3175
9 | 2718485.8867 | 1102577.8188
10 | 2718413.8362 | 1102373.4801
11 | 2718466.1059 | 1102568.9116
12 | 2718577.9939 | 1102392.1512
13 | 2718453.4154 | 1102471.9129
14 | 2718556.1577 | 1102388.6876
15 | 2718545.3682 | 1102387.5315
16 | 2718601.5155 | 1102214.9012
17 | 2718575.2819 | 1102195.3962
18 | 2718562.7711 | 1102200.2775
19 | 2718581.7783 | 1102177.5048
20 | 2718565.0433 | 1102235.1277
21 | 2718589.1111 | 1102174.9298
22 | 2718562.4276 | 1102254.3191
23 | 2718605.8836 | 1102166.6516
24 | 2718611.2135 | 1102193.1688
25 | 2718594.1775 | 1102281.2699
26 | 2718589.5809 | 1102267.4798
27 | 2718568.1873 | 1102262.9804
28 | 2718546.8763 | 1102253.6014
29 | 2718596.8628 | 1101868.6095
30 | 2718576.065 | 1101816.9286
31 | 2718535.8292 | 1102364.3824
32 | 2718535.7413 | 1102366.4985
33 | 2718536.0877 | 1102358.1543
34 | 2718534.7312 | 1102386.3917
35 | 2718520.5008 | 1102351.144
36 | 2718522.0153 | 1102385.0348
37 | 2718542.302 | 1102387.2029
38 | 2718501.8848 | 1102340.324
39 | 2718518.7471 | 1102384.686
40 | 2718490.5314 | 1102319.6055
41 | 2718502.0556 | 1102382.905
42 | 2718482.5042 | 1102322.3026
43 | 2718500.4564 | 1102306.4122
44 | 2718484.845 | 1102244.1338
45 | 2718472.6795 | 1102238.3257
46 | 2718503.1903 | 1102253.2067
47 | 2718450.3962 | 1102229.2889
48 | 2718501.8385 | 1102259.3526
49 | 2718508.4724 | 1102233.2183
50 | 2718437.6296 | 1102225.8726
51 | 2718500.1678 | 1102281.3915
52 | 2718430.1071 | 1102223.8596
53 | 2718500.2353 | 1102285.7842
54 | 2718422.0624 | 1102221.7069
55 | 2718510.3535 | 1102296.6319
56 | 2718524.6562 | 1102289.9551
57 | 2718547.7707 | 1102276.4965
58 | 2718449.3068 | 1102324.6884
59 | 2718564.1576 | 1102270.4572
60 | 2718439.0714 | 1102325.6232
61 | 2718406.9319 | 1102217.6581
62 | 2718398.8296 | 1102215.49
63 | 2718415.408 | 1102264.2001
64 | 2718440.1072 | 1102271.8106
65 | 2718412.1795 | 1102263.2053
66 | 2718445.5105 | 1102273.4755
67 | 2718400.8164 | 1102260.8515
68 | 2718409.6373 | 1102277.6857
69 | 2718450.1259 | 1102274.8977
70 | 2718380.5694 | 1102256.6576
71 | 2718409.4612 | 1102278.6889
72 | 2718379.6099 | 1102256.4588
73 | 2718405.3191 | 1102302.2822
74 | 2718395.4189 | 1102326.0551
75 | 2718393.6327 | 1102345.0111
76 | 2718393.9667 | 1102353.2035
77 | 2718418.8578 | 1102374.0167
78 | 2718454.1295 | 1102377.7859
79 | 2718497.5252 | 1102382.4215
80 | 2718483.5722 | 1102380.9322
81 | 2718575.9881 | 1102267.8042
82 | 2718125.2637 | 1102015.9707
83 | 2718132.2805 | 1102066.6753
84 | 2718242.2799 | 1102026.9328
85 | 2718288.2185 | 1101901.4744
86 | 2718284.0152 | 1101914.0205
87 | 2718264.5119 | 1101960.1652
88 | 2718500.4564 | 1102306.4122

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1