## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5226-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5226-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5226-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5226-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5226-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5226-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5226-4_0_4_node_33 | 0.4 | n |  | TRUE
7 | bus_LV_5226-4_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_5226-4_0_4_node_41 | 0.4 | n |  | TRUE
9 | bus_LV_5226-4_0_4_node_31 | 0.4 | n |  | TRUE
10 | bus_LV_5226-4_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_5226-4_0_4_node_42 | 0.4 | n |  | TRUE
12 | bus_LV_5226-4_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5226-4_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5226-4_0_4_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_5226-4_0_4_node_26 | 0.4 | n |  | TRUE
16 | bus_LV_5226-4_0_4_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_5226-4_0_4_node_64 | 0.4 | n |  | TRUE
18 | bus_LV_5226-4_0_4_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_5226-4_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_5226-4_0_4_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_5226-4_0_4_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_5226-4_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5226-4_0_4_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_5226-4_0_4_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_5226-4_0_4_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_5226-4_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_5226-4_0_4_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_5226-4_0_4_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_5226-4_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_5226-4_0_4_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_5226-4_0_4_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_5226-4_0_4_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_5226-4_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_5226-4_0_4_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_5226-4_0_4_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_5226-4_0_4_node_77 | 0.4 | n |  | TRUE
37 | bus_LV_5226-4_0_4_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_5226-4_0_4_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_5226-4_0_4_node_76 | 0.4 | n |  | TRUE
40 | bus_LV_5226-4_0_4_node_52 | 0.4 | n |  | TRUE
41 | bus_LV_5226-4_0_4_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_5226-4_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_5226-4_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_5226-4_0_4_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_5226-4_0_4_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_5226-4_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_5226-4_0_4_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_5226-4_0_4_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_5226-4_0_4_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_5226-4_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_5226-4_0_4_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_5226-4_0_4_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_5226-4_0_4_node_69 | 0.4 | n |  | TRUE
54 | bus_LV_5226-4_0_4_node_71 | 0.4 | n |  | TRUE
55 | bus_LV_5226-4_0_4_node_68 | 0.4 | n |  | TRUE
56 | bus_LV_5226-4_0_4_node_65 | 0.4 | n |  | TRUE
57 | bus_LV_5226-4_0_4_node_55 | 0.4 | n |  | TRUE
58 | bus_LV_5226-4_0_4_node_46 | 0.4 | n |  | TRUE
59 | bus_LV_5226-4_0_4_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_5226-4_0_4_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_5226-4_0_4_node_49 | 0.4 | n |  | TRUE
62 | bus_LV_5226-4_0_4_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_5226-4_0_4_node_61 | 0.4 | n |  | TRUE
64 | bus_LV_5226-4_0_4_node_54 | 0.4 | n |  | TRUE
65 | bus_LV_5226-4_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_5226-4_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_5226-4_0_4_node_66 | 0.4 | n |  | TRUE
68 | bus_LV_5226-4_0_4_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_5226-4_0_4_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_5226-4_0_4_node_59 | 0.4 | n |  | TRUE
71 | bus_LV_5226-4_0_4_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_5226-4_0_4_node_74 | 0.4 | n |  | TRUE
73 | bus_MV_74_0_node_42 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5226-4_0_4_load_0 | 0 | 0.0079652 | 0.0019963 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5226-4_0_4_load_1 | 1 | 0.020235 | 0.0050714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5226-4_0_4_load_3 | 3 | 0.069016 | 0.017297 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5226-4_0_4_load_4 | 4 | 0.0097799 | 0.0024511 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5226-4_0_4_load_33 | 6 | 0.058533 | 0.01467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5226-4_0_4_load_6 | 7 | 0.003143 | 0.00078771 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5226-4_0_4_load_41 | 8 | 0.010615 | 0.0026605 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5226-4_0_4_load_31 | 9 | 0.019887 | 0.0049842 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5226-4_0_4_load_7 | 10 | 0.0077358 | 0.0019388 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5226-4_0_4_load_8 | 12 | 0.0037241 | 0.00093335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5226-4_0_4_load_15 | 16 | 0.0069094 | 0.0017316 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5226-4_0_4_load_64 | 17 | 0.005771 | 0.0014463 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5226-4_0_4_load_62 | 18 | 0.0029892 | 0.00074915 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5226-4_0_4_load_17 | 20 | 0.0081297 | 0.0020375 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5226-4_0_4_load_21 | 21 | 0.0037563 | 0.00094142 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5226-4_0_4_load_10 | 22 | 0.0020269 | 0.00050798 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5226-4_0_4_load_13 | 24 | 0.00556 | 0.0013935 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5226-4_0_4_load_14 | 25 | 0.0041139 | 0.001031 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5226-4_0_4_load_19 | 26 | 0.0025755 | 0.00064548 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5226-4_0_4_load_18 | 27 | 0.064815 | 0.016244 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5226-4_0_4_load_20 | 28 | 0.023068 | 0.0057813 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5226-4_0_4_load_29 | 32 | 0.0045761 | 0.0011469 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5226-4_0_4_load_27 | 33 | 0.0075412 | 0.00189 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5226-4_0_4_load_28 | 34 | 0.0052762 | 0.0013223 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5226-4_0_4_load_51 | 35 | 0.019975 | 0.0050062 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5226-4_0_4_load_73 | 37 | 0.010715 | 0.0026854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5226-4_0_4_load_63 | 38 | 0.0035037 | 0.00087811 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5226-4_0_4_load_52 | 40 | 0.0029654 | 0.0007432 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5226-4_0_4_load_30 | 41 | 0.033044 | 0.0082817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5226-4_0_4_load_34 | 42 | 0.0070658 | 0.0017708 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5226-4_0_4_load_36 | 43 | 0.0011223 | 0.00028129 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5226-4_0_4_load_37 | 44 | 0.0027059 | 0.00067816 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5226-4_0_4_load_39 | 46 | 0.0023479 | 0.00058844 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5226-4_0_4_load_40 | 47 | 0.0052533 | 0.0013166 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5226-4_0_4_load_60 | 49 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5226-4_0_4_load_45 | 50 | 0.0032358 | 0.00081097 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5226-4_0_4_load_58 | 51 | 0.0029077 | 0.00072875 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5226-4_0_4_load_43 | 52 | 0.0046555 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5226-4_0_4_load_71 | 54 | 0.0062561 | 0.0015679 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5226-4_0_4_load_68 | 55 | 0.015415 | 0.0038634 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5226-4_0_4_load_65 | 56 | 0.0026391 | 0.00066141 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5226-4_0_4_load_46 | 58 | 0.0031589 | 0.00079169 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5226-4_0_4_load_47 | 59 | 0.0025806 | 0.00064676 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5226-4_0_4_load_49 | 61 | 0.003369 | 0.00084435 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5226-4_0_4_load_50 | 62 | 0.002418 | 0.000606 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5226-4_0_4_load_61 | 63 | 0.012943 | 0.0032438 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5226-4_0_4_load_54 | 64 | 0.003974 | 0.00099598 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5226-4_0_4_load_53 | 65 | 0.0036532 | 0.00091557 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5226-4_0_4_load_67 | 66 | 0.0086699 | 0.0021729 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5226-4_0_4_load_66 | 67 | 0.0067535 | 0.0016926 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5226-4_0_4_load_56 | 68 | 0.0049427 | 0.0012388 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5226-4_0_4_load_57 | 69 | 0.0062371 | 0.0015632 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5226-4_0_4_load_59 | 70 | 0.003064 | 0.00076791 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5226-4_0_4_load_72 | 71 | 0.005052 | 0.0012662 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5226-4_0_4_load_74 | 72 | 0.0035053 | 0.00087852 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5226-4_0_4_line_0 |  | 0 | 1 | 0.021793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
1 | LV_5226-4_0_4_line_1 |  | 0 | 2 | 0.021939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_5226-4_0_4_line_2 |  | 1 | 3 | 0.024783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_5226-4_0_4_line_3 |  | 2 | 4 | 0.040274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_5226-4_0_4_line_4 |  | 2 | 5 | 0.006048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5226-4_0_4_line_5 |  | 3 | 6 | 0.0017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5226-4_0_4_line_6 |  | 4 | 7 | 0.0025684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_5226-4_0_4_line_7 |  | 5 | 8 | 0.012011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5226-4_0_4_line_8 |  | 6 | 9 | 0.013007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5226-4_0_4_line_9 |  | 7 | 10 | 0.019135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_5226-4_0_4_line_10 |  | 8 | 11 | 0.009827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5226-4_0_4_line_11 |  | 9 | 42 | 0.05897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5226-4_0_4_line_12 |  | 9 | 41 | 0.0026238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5226-4_0_4_line_13 |  | 10 | 12 | 0.012707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_5226-4_0_4_line_14 |  | 11 | 52 | 0.0078411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5226-4_0_4_line_15 |  | 12 | 13 | 0.029596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_5226-4_0_4_line_16 |  | 13 | 14 | 0.009384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_5226-4_0_4_line_17 |  | 13 | 15 | 0.032587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5226-4_0_4_line_18 |  | 14 | 16 | 0.01084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_5226-4_0_4_line_19 |  | 15 | 17 | 0.018308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5226-4_0_4_line_20 |  | 15 | 18 | 0.014403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5226-4_0_4_line_21 |  | 16 | 20 | 0.027735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5226-4_0_4_line_22 |  | 16 | 24 | 0.017853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5226-4_0_4_line_23 |  | 17 | 37 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5226-4_0_4_line_24 |  | 18 | 38 | 0.007113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5226-4_0_4_line_25 |  | 19 | 20 | 0.018149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5226-4_0_4_line_26 |  | 19 | 21 | 0.011473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5226-4_0_4_line_27 |  | 21 | 29 | 0.019539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5226-4_0_4_line_28 |  | 22 | 23 | 0.027784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5226-4_0_4_line_29 |  | 23 | 24 | 0.012982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5226-4_0_4_line_30 |  | 23 | 25 | 0.013216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5226-4_0_4_line_31 |  | 25 | 26 | 0.016094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5226-4_0_4_line_32 |  | 26 | 27 | 0.012217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5226-4_0_4_line_33 |  | 27 | 28 | 0.011123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5226-4_0_4_line_34 |  | 29 | 30 | 0.032832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5226-4_0_4_line_35 |  | 30 | 34 | 0.055597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5226-4_0_4_line_36 |  | 30 | 33 | 0.010865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5226-4_0_4_line_37 |  | 31 | 32 | 0.045082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5226-4_0_4_line_38 |  | 31 | 33 | 0.038733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5226-4_0_4_line_39 |  | 32 | 35 | 0.00048093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5226-4_0_4_line_40 |  | 34 | 36 | 0.033357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5226-4_0_4_line_41 |  | 35 | 40 | 0.027553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5226-4_0_4_line_42 |  | 36 | 39 | 0.012455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5226-4_0_4_line_43 |  | 38 | 70 | 0.0095993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5226-4_0_4_line_44 |  | 39 | 72 | 0.0085678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5226-4_0_4_line_45 |  | 40 | 65 | 0.0013576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5226-4_0_4_line_46 |  | 43 | 44 | 0.014742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5226-4_0_4_line_47 |  | 43 | 45 | 0.024057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5226-4_0_4_line_48 |  | 44 | 46 | 0.013982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5226-4_0_4_line_49 |  | 45 | 47 | 0.0037877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5226-4_0_4_line_50 |  | 46 | 48 | 0.059489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5226-4_0_4_line_51 |  | 47 | 49 | 0.0052318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5226-4_0_4_line_52 |  | 48 | 50 | 0.043998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5226-4_0_4_line_53 |  | 49 | 51 | 0.021246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5226-4_0_4_line_54 |  | 50 | 56 | 0.00091451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5226-4_0_4_line_55 |  | 51 | 68 | 0.0055582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5226-4_0_4_line_56 |  | 52 | 53 | 0.0081811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5226-4_0_4_line_57 |  | 53 | 54 | 0.030785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5226-4_0_4_line_58 |  | 53 | 55 | 0.018062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5226-4_0_4_line_59 |  | 54 | 71 | 0.027289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5226-4_0_4_line_60 |  | 56 | 57 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5226-4_0_4_line_61 |  | 57 | 67 | 0.037383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5226-4_0_4_line_62 |  | 57 | 64 | 0.010789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5226-4_0_4_line_63 |  | 58 | 59 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5226-4_0_4_line_64 |  | 58 | 60 | 0.0079144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5226-4_0_4_line_65 |  | 59 | 61 | 0.016235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5226-4_0_4_line_66 |  | 60 | 62 | 0.0073995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5226-4_0_4_line_67 |  | 61 | 63 | 0.016536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5226-4_0_4_line_68 |  | 62 | 64 | 0.016363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5226-4_0_4_line_69 |  | 65 | 66 | 0.020882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5226-4_0_4_line_70 |  | 68 | 69 | 0.0033633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5226-4_0_4_line_71 |  | 69 | 70 | 0.013646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5226-4_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 73 | 12 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2718270.9424 | 1103010.8124 | 2718266.9101 | 1103004.4286 | 2718260.1582 | 1102991.8885
1 | 2718280.4681 | 1103030.2993 | 2718279.7456 | 1103026.0713 | 2718277.5334 | 1103021.2471 | 2718270.9424 | 1103010.8124
2 | 2718253.75 | 1102967.952 | 2718256.5232 | 1102979.0534 | 2718260.1582 | 1102991.8885 | 2718260.1582 | 1102991.8885
3 | 2718280.4681 | 1103030.2993 | 2718254.5678 | 1103029.361 | 2718240.2182 | 1103028.921
4 | 2718286.534 | 1103030.3842 | 2718280.4681 | 1103030.2993
5 | 2718253.75 | 1102967.952 | 2718253.3209 | 1102966.234
6 | 2718237.651 | 1103028.8423 | 2718240.2182 | 1103028.921
7 | 2718286.534 | 1103030.3842 | 2718287.4958 | 1103040.1986 | 2718287.7516 | 1103042.3331
8 | 2718253.3209 | 1102966.234 | 2718250.1685 | 1102953.6146
9 | 2718237.651 | 1103028.8423 | 2718220.7522 | 1103028.3241 | 2718218.5297 | 1103028.4771
10 | 2718289.4947 | 1103052.0012 | 2718287.9285 | 1103043.8095 | 2718287.7516 | 1103042.3331
11 | 2718250.1685 | 1102953.6146 | 2718308.0026 | 1102942.0961
12 | 2718250.1685 | 1102953.6146 | 2718249.5326 | 1102951.069
13 | 2718205.8527 | 1103029.3496 | 2718218.5297 | 1103028.4771
14 | 2718289.4947 | 1103052.0012 | 2718290.5323 | 1103059.7733
15 | 2718176.5986 | 1103033.5683 | 2718196.3255 | 1103030.0053 | 2718205.8527 | 1103029.3496
16 | 2718170.2493 | 1103028.1633 | 2718170.6594 | 1103028.1713 | 2718171.5656 | 1103028.1333 | 2718173.3212 | 1103028.59 | 2718174.8262 | 1103029.5978 | 2718175.9362 | 1103031.0204 | 2718176.5016 | 1103032.588 | 2718176.5986 | 1103033.5683
17 | 2718171.1657 | 1103062.5825 | 2718170.8818 | 1103053.3151 | 2718170.6231 | 1103045.1378 | 2718170.646 | 1103039.1897 | 2718171.5903 | 1103039.1858 | 2718172.4914 | 1103039.0144 | 2718173.755 | 1103038.5053 | 2718174.8543 | 1103037.6928 | 2718175.9503 | 1103036.2576 | 2718176.4478 | 1103034.9552 | 2718176.5986 | 1103033.5683
18 | 2718170.9088 | 1103017.3465 | 2718170.2493 | 1103028.1633
19 | 2718171.1657 | 1103062.5825 | 2718185.9391 | 1103061.0245 | 2718189.3836 | 1103060.7922
20 | 2718171.1657 | 1103062.5825 | 2718172.2477 | 1103076.9449
21 | 2718170.9088 | 1103017.3465 | 2718160.4893 | 1103019.0671 | 2718153.1811 | 1103016.0117 | 2718143.934 | 1103016.3432
22 | 2718170.9088 | 1103017.3465 | 2718170.8093 | 1103005.3696 | 2718170.615 | 1102999.497
23 | 2718202.5692 | 1103059.903 | 2718189.3836 | 1103060.7922
24 | 2718172.2477 | 1103076.9449 | 2718172.7821 | 1103084.0378
25 | 2718142.6648 | 1103034.2308 | 2718142.4008 | 1103020.7608 | 2718143.934 | 1103016.3432
26 | 2718142.6648 | 1103034.2308 | 2718140.5743 | 1103034.279 | 2718131.2351 | 1103035.1721
27 | 2718111.7851 | 1103037.032 | 2718131.2351 | 1103035.1721
28 | 2718170.1856 | 1102986.5223 | 2718168.7316 | 1102961.4324 | 2718168.7114 | 1102958.7804
29 | 2718170.1856 | 1102986.5223 | 2718170.615 | 1102999.497
30 | 2718170.1856 | 1102986.5223 | 2718183.3562 | 1102985.4295
31 | 2718183.3562 | 1102985.4295 | 2718199.3953 | 1102984.0986
32 | 2718199.3953 | 1102984.0986 | 2718201.3323 | 1102983.9378 | 2718211.5246 | 1102982.6469
33 | 2718222.5593 | 1102981.2492 | 2718211.5246 | 1102982.6469
34 | 2718078.9715 | 1103037.005 | 2718092.187 | 1103038.3518 | 2718106.2571 | 1103037.5471 | 2718111.7851 | 1103037.032
35 | 2718078.9715 | 1103037.005 | 2718061.8306 | 1103032.5576 | 2718051.8326 | 1103028.9274 | 2718041.0616 | 1103022.4581 | 2718030.5134 | 1103015.2814 | 2718029.0138 | 1103014.067
36 | 2718078.9715 | 1103037.005 | 2718083.628 | 1103027.1888
37 | 2718103.8276 | 1103060.182 | 2718102.7615 | 1103070.0236 | 2718101.6852 | 1103079.9984 | 2718100.5363 | 1103092.5069 | 2718099.5658 | 1103105.058
38 | 2718103.8276 | 1103060.182 | 2718095.3633 | 1103048.1314 | 2718083.628 | 1103027.1888
39 | 2718099.5287 | 1103105.5375 | 2718099.5658 | 1103105.058
40 | 2718005.0655 | 1102991.0703 | 2718014.3225 | 1103002.1689 | 2718029.0138 | 1103014.067
41 | 2718099.5287 | 1103105.5375 | 2718098.592 | 1103117.653 | 2718096.9319 | 1103132.9646
42 | 2717995.7304 | 1102982.7943 | 2718005.0655 | 1102991.0703
43 | 2718173.5032 | 1103093.61 | 2718172.7821 | 1103084.0378
44 | 2717995.7304 | 1102982.7943 | 2717993.7341 | 1102983.5672 | 2717991.6021 | 1102983.7592 | 2717989.489 | 1102983.3735 | 2717987.5727 | 1102982.4245
45 | 2718095.9437 | 1103132.0337 | 2718096.9319 | 1103132.9646 | 2718096.9319 | 1103132.9646
46 | 2718163.9218 | 1103158.8476 | 2718151.974 | 1103167.4825
47 | 2718183.4185 | 1103144.7552 | 2718180.2001 | 1103147.083 | 2718163.9218 | 1103158.8476
48 | 2718140.6413 | 1103175.6728 | 2718151.974 | 1103167.4825
49 | 2718183.4185 | 1103144.7552 | 2718181.9933 | 1103141.2458
50 | 2718096.6829 | 1103215.7499 | 2718140.2306 | 1103175.9696 | 2718140.6413 | 1103175.6728
51 | 2718180.0248 | 1103136.3984 | 2718181.9933 | 1103141.2458
52 | 2718096.6829 | 1103215.7499 | 2718085.0079 | 1103202.4693 | 2718072.1881 | 1103181.5946 | 2718071.3823 | 1103179.9651
53 | 2718180.0248 | 1103136.3984 | 2718174.9849 | 1103123.9879 | 2718174.6895 | 1103116.1421
54 | 2718071.3823 | 1103179.9651 | 2718070.9769 | 1103179.1454
55 | 2718174.4805 | 1103110.5878 | 2718174.6895 | 1103116.1421
56 | 2718292.0739 | 1103067.7734 | 2718291.3045 | 1103065.5569 | 2718290.5323 | 1103059.7733
57 | 2718292.0739 | 1103067.7734 | 2718287.3379 | 1103071.328 | 2718280.0493 | 1103076.8009 | 2718273.4943 | 1103084.3451 | 2718269.474 | 1103088.4632
58 | 2718292.0739 | 1103067.7734 | 2718300.7816 | 1103083.5983
59 | 2718249.3982 | 1103106.8024 | 2718256.3978 | 1103101.8575 | 2718269.474 | 1103088.4632
60 | 2718065.4867 | 1103168.0439 | 2718070.9769 | 1103179.1454
61 | 2718065.4867 | 1103168.0439 | 2718032.167 | 1103184.9941
62 | 2718065.4867 | 1103168.0439 | 2718060.6051 | 1103158.4224
63 | 2718037.4827 | 1103137.7302 | 2718029.906 | 1103132.0609 | 2718024.5664 | 1103129.1067
64 | 2718043.8196 | 1103142.4718 | 2718037.4827 | 1103137.7302
65 | 2718010.3604 | 1103121.2471 | 2718024.5664 | 1103129.1067
66 | 2718043.8196 | 1103142.4718 | 2718049.8847 | 1103146.7105
67 | 2718010.3604 | 1103121.2471 | 2718005.4735 | 1103118.5435 | 2717995.8116 | 1103113.3888
68 | 2718049.8847 | 1103146.7105 | 2718057.2881 | 1103151.8845 | 2718060.6051 | 1103158.4224
69 | 2718095.9437 | 1103132.0337 | 2718090.2061 | 1103126.6294 | 2718079.8599 | 1103119.4233 | 2718079.48 | 1103119.3278
70 | 2718174.4805 | 1103110.5878 | 2718174.3539 | 1103107.2269
71 | 2718174.3539 | 1103107.2269 | 2718174.179 | 1103102.5797 | 2718173.5032 | 1103093.61

## bus_geodata
| x | y | coords
0 | 2718270.9424 | 1103010.8124
1 | 2718260.1582 | 1102991.8885
2 | 2718280.4681 | 1103030.2993
3 | 2718253.75 | 1102967.952
4 | 2718240.2182 | 1103028.921
5 | 2718286.534 | 1103030.3842
6 | 2718253.3209 | 1102966.234
7 | 2718237.651 | 1103028.8423
8 | 2718287.7516 | 1103042.3331
9 | 2718250.1685 | 1102953.6146
10 | 2718218.5297 | 1103028.4771
11 | 2718289.4947 | 1103052.0012
12 | 2718205.8527 | 1103029.3496
13 | 2718176.5986 | 1103033.5683
14 | 2718170.2493 | 1103028.1633
15 | 2718171.1657 | 1103062.5825
16 | 2718170.9088 | 1103017.3465
17 | 2718189.3836 | 1103060.7922
18 | 2718172.2477 | 1103076.9449
19 | 2718142.6648 | 1103034.2308
20 | 2718143.934 | 1103016.3432
21 | 2718131.2351 | 1103035.1721
22 | 2718168.7114 | 1102958.7804
23 | 2718170.1856 | 1102986.5223
24 | 2718170.615 | 1102999.497
25 | 2718183.3562 | 1102985.4295
26 | 2718199.3953 | 1102984.0986
27 | 2718211.5246 | 1102982.6469
28 | 2718222.5593 | 1102981.2492
29 | 2718111.7851 | 1103037.032
30 | 2718078.9715 | 1103037.005
31 | 2718103.8276 | 1103060.182
32 | 2718099.5658 | 1103105.058
33 | 2718083.628 | 1103027.1888
34 | 2718029.0138 | 1103014.067
35 | 2718099.5287 | 1103105.5375
36 | 2718005.0655 | 1102991.0703
37 | 2718202.5692 | 1103059.903
38 | 2718172.7821 | 1103084.0378
39 | 2717995.7304 | 1102982.7943
40 | 2718096.9319 | 1103132.9646
41 | 2718249.5326 | 1102951.069
42 | 2718308.0026 | 1102942.0961
43 | 2718163.9218 | 1103158.8476
44 | 2718151.974 | 1103167.4825
45 | 2718183.4185 | 1103144.7552
46 | 2718140.6413 | 1103175.6728
47 | 2718181.9933 | 1103141.2458
48 | 2718096.6829 | 1103215.7499
49 | 2718180.0248 | 1103136.3984
50 | 2718071.3823 | 1103179.9651
51 | 2718174.6895 | 1103116.1421
52 | 2718290.5323 | 1103059.7733
53 | 2718292.0739 | 1103067.7734
54 | 2718269.474 | 1103088.4632
55 | 2718300.7816 | 1103083.5983
56 | 2718070.9769 | 1103179.1454
57 | 2718065.4867 | 1103168.0439
58 | 2718037.4827 | 1103137.7302
59 | 2718024.5664 | 1103129.1067
60 | 2718043.8196 | 1103142.4718
61 | 2718010.3604 | 1103121.2471
62 | 2718049.8847 | 1103146.7105
63 | 2717995.8116 | 1103113.3888
64 | 2718060.6051 | 1103158.4224
65 | 2718095.9437 | 1103132.0337
66 | 2718079.48 | 1103119.3278
67 | 2718032.167 | 1103184.9941
68 | 2718174.4805 | 1103110.5878
69 | 2718174.3539 | 1103107.2269
70 | 2718173.5032 | 1103093.61
71 | 2718249.3982 | 1103106.8024
72 | 2717987.5727 | 1102982.4245
73 | 2718176.5986 | 1103033.5683

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1