## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5233-1_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5233-1_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5233-1_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5233-1_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_5233-1_0_4_node_99 | 0.4 | n |  | TRUE
5 | bus_LV_5233-1_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_5233-1_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_5233-1_0_4_node_63 | 0.4 | n |  | TRUE
8 | bus_LV_5233-1_0_4_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_5233-1_0_4_node_56 | 0.4 | n |  | TRUE
10 | bus_LV_5233-1_0_4_node_89 | 0.4 | n |  | TRUE
11 | bus_LV_5233-1_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_5233-1_0_4_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_5233-1_0_4_node_90 | 0.4 | n |  | TRUE
14 | bus_LV_5233-1_0_4_node_61 | 0.4 | n |  | TRUE
15 | bus_LV_5233-1_0_4_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_5233-1_0_4_node_65 | 0.4 | n |  | TRUE
17 | bus_LV_5233-1_0_4_node_88 | 0.4 | n |  | TRUE
18 | bus_LV_5233-1_0_4_node_97 | 0.4 | n |  | TRUE
19 | bus_LV_5233-1_0_4_node_98 | 0.4 | n |  | TRUE
20 | bus_LV_5233-1_0_4_node_96 | 0.4 | n |  | TRUE
21 | bus_LV_5233-1_0_4_node_7 | 0.4 | n |  | TRUE
22 | bus_LV_5233-1_0_4_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_5233-1_0_4_node_9 | 0.4 | n |  | TRUE
24 | bus_LV_5233-1_0_4_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_5233-1_0_4_node_11 | 0.4 | n |  | TRUE
26 | bus_LV_5233-1_0_4_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_5233-1_0_4_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_5233-1_0_4_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_5233-1_0_4_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_5233-1_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_5233-1_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_5233-1_0_4_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_5233-1_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_5233-1_0_4_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_5233-1_0_4_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_5233-1_0_4_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_5233-1_0_4_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_5233-1_0_4_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_5233-1_0_4_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_5233-1_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_5233-1_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_5233-1_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_5233-1_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_5233-1_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_5233-1_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_5233-1_0_4_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_5233-1_0_4_node_101 | 0.4 | n |  | TRUE
48 | bus_LV_5233-1_0_4_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_5233-1_0_4_node_31 | 0.4 | n |  | TRUE
50 | bus_LV_5233-1_0_4_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_5233-1_0_4_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_5233-1_0_4_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_5233-1_0_4_node_32 | 0.4 | n |  | TRUE
54 | bus_LV_5233-1_0_4_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_5233-1_0_4_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_5233-1_0_4_node_40 | 0.4 | n |  | TRUE
57 | bus_LV_5233-1_0_4_node_92 | 0.4 | n |  | TRUE
58 | bus_LV_5233-1_0_4_node_91 | 0.4 | n |  | TRUE
59 | bus_LV_5233-1_0_4_node_77 | 0.4 | n |  | TRUE
60 | bus_LV_5233-1_0_4_node_46 | 0.4 | n |  | TRUE
61 | bus_LV_5233-1_0_4_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_5233-1_0_4_node_85 | 0.4 | n |  | TRUE
63 | bus_LV_5233-1_0_4_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_5233-1_0_4_node_47 | 0.4 | n |  | TRUE
65 | bus_LV_5233-1_0_4_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_5233-1_0_4_node_49 | 0.4 | n |  | TRUE
67 | bus_LV_5233-1_0_4_node_50 | 0.4 | n |  | TRUE
68 | bus_LV_5233-1_0_4_node_51 | 0.4 | n |  | TRUE
69 | bus_LV_5233-1_0_4_node_52 | 0.4 | n |  | TRUE
70 | bus_LV_5233-1_0_4_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_5233-1_0_4_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_5233-1_0_4_node_55 | 0.4 | n |  | TRUE
73 | bus_LV_5233-1_0_4_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_5233-1_0_4_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_5233-1_0_4_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_5233-1_0_4_node_70 | 0.4 | n |  | TRUE
77 | bus_LV_5233-1_0_4_node_68 | 0.4 | n |  | TRUE
78 | bus_LV_5233-1_0_4_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_5233-1_0_4_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_5233-1_0_4_node_67 | 0.4 | n |  | TRUE
81 | bus_LV_5233-1_0_4_node_79 | 0.4 | n |  | TRUE
82 | bus_LV_5233-1_0_4_node_73 | 0.4 | n |  | TRUE
83 | bus_LV_5233-1_0_4_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_5233-1_0_4_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_5233-1_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_5233-1_0_4_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_5233-1_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_5233-1_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_5233-1_0_4_node_86 | 0.4 | n |  | TRUE
90 | bus_LV_5233-1_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_5233-1_0_4_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_5233-1_0_4_node_93 | 0.4 | n |  | TRUE
93 | bus_LV_5233-1_0_4_node_95 | 0.4 | n |  | TRUE
94 | bus_LV_5233-1_0_4_node_94 | 0.4 | n |  | TRUE
95 | bus_MV_71_1_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5233-1_0_4_load_0 | 0 | 0.0057631 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5233-1_0_4_load_99 | 4 | 0.002035 | 0.00051002 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5233-1_0_4_load_64 | 8 | 0.0088755 | 0.0022244 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5233-1_0_4_load_56 | 9 | 0.011554 | 0.0028957 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5233-1_0_4_load_89 | 10 | 0.006667 | 0.0016709 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5233-1_0_4_load_90 | 13 | 0.0089485 | 0.0022427 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5233-1_0_4_load_61 | 14 | 0.0028727 | 0.00071996 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5233-1_0_4_load_62 | 15 | 0.0080339 | 0.0020135 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5233-1_0_4_load_65 | 16 | 0.0081582 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5233-1_0_4_load_98 | 19 | 0.0047369 | 0.0011872 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5233-1_0_4_load_7 | 21 | 0.0021546 | 0.00053998 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5233-1_0_4_load_8 | 22 | 0.0029384 | 0.00073642 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5233-1_0_4_load_9 | 23 | 0.01433 | 0.0035915 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5233-1_0_4_load_10 | 24 | 0.0036836 | 0.0009232 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5233-1_0_4_load_36 | 28 | 0.0043912 | 0.0011005 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5233-1_0_4_load_38 | 29 | 0.0062558 | 0.0015678 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5233-1_0_4_load_26 | 30 | 0.0094112 | 0.0023587 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5233-1_0_4_load_27 | 31 | 0.0062524 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5233-1_0_4_load_35 | 32 | 0.0091429 | 0.0022914 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5233-1_0_4_load_34 | 33 | 0.0027976 | 0.00070114 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5233-1_0_4_load_12 | 34 | 0.0074305 | 0.0018623 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5233-1_0_4_load_13 | 35 | 0.020983 | 0.0052588 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5233-1_0_4_load_15 | 37 | 0.0062512 | 0.0015667 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5233-1_0_4_load_16 | 38 | 0.0039361 | 0.00098649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5233-1_0_4_load_17 | 39 | 0.013285 | 0.0033296 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5233-1_0_4_load_18 | 40 | 0.0064407 | 0.0016142 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5233-1_0_4_load_19 | 41 | 0.0020191 | 0.00050603 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5233-1_0_4_load_20 | 42 | 0.001345 | 0.00033708 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5233-1_0_4_load_21 | 43 | 0.0057689 | 0.0014458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5233-1_0_4_load_22 | 44 | 0.0085957 | 0.0021543 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5233-1_0_4_load_45 | 45 | 0.0056994 | 0.0014284 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5233-1_0_4_load_42 | 46 | 0.0065347 | 0.0016378 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5233-1_0_4_load_101 | 47 | 0.004215 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5233-1_0_4_load_39 | 48 | 0.0048888 | 0.0012253 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5233-1_0_4_load_28 | 50 | 0.028193 | 0.0070659 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5233-1_0_4_load_32 | 53 | 0.014383 | 0.0036047 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5233-1_0_4_load_40 | 56 | 0.016098 | 0.0040345 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5233-1_0_4_load_92 | 57 | 0.0039664 | 0.00099407 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5233-1_0_4_load_77 | 59 | 0.012622 | 0.0031634 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5233-1_0_4_load_46 | 60 | 0.0047606 | 0.0011931 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5233-1_0_4_load_83 | 61 | 0.014245 | 0.00357 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5233-1_0_4_load_47 | 64 | 0.0053719 | 0.0013463 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5233-1_0_4_load_48 | 65 | 0.0049163 | 0.0012322 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5233-1_0_4_load_49 | 66 | 0.0074392 | 0.0018644 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5233-1_0_4_load_50 | 67 | 0.013665 | 0.0034248 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5233-1_0_4_load_52 | 69 | 0.010414 | 0.0026101 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5233-1_0_4_load_53 | 70 | 0.018106 | 0.0045377 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5233-1_0_4_load_55 | 72 | 0.00092541 | 0.00023193 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5233-1_0_4_load_58 | 73 | 0.0036647 | 0.00091846 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5233-1_0_4_load_70 | 76 | 0.0067661 | 0.0016957 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5233-1_0_4_load_68 | 77 | 0.0074424 | 0.0018652 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5233-1_0_4_load_71 | 78 | 0.016735 | 0.0041943 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5233-1_0_4_load_67 | 80 | 0.011427 | 0.0028639 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5233-1_0_4_load_73 | 82 | 0.003025 | 0.00075814 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5233-1_0_4_load_72 | 83 | 0.0098073 | 0.0024579 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5233-1_0_4_load_76 | 84 | 0.009393 | 0.0023541 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5233-1_0_4_load_78 | 86 | 0.014467 | 0.0036257 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5233-1_0_4_load_82 | 88 | 0.006146 | 0.0015403 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5233-1_0_4_load_84 | 90 | 0.0066629 | 0.0016699 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5233-1_0_4_load_87 | 91 | 0.0049552 | 0.0012419 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5233-1_0_4_load_93 | 92 | 0.0029161 | 0.00073085 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5233-1_0_4_load_95 | 93 | 0.0079729 | 0.0019982 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5233-1_0_4_load_94 | 94 | 0.0041051 | 0.0010288 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5233-1_0_4_line_0 |  | 0 | 1 | 0.0083421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5233-1_0_4_line_1 |  | 1 | 2 | 0.005063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5233-1_0_4_line_2 |  | 2 | 3 | 0.016413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5233-1_0_4_line_3 |  | 2 | 4 | 0.015976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5233-1_0_4_line_4 |  | 3 | 10 | 0.028647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5233-1_0_4_line_5 |  | 5 | 6 | 0.0098909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5233-1_0_4_line_6 |  | 5 | 7 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5233-1_0_4_line_7 |  | 5 | 8 | 0.0091312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5233-1_0_4_line_8 |  | 6 | 9 | 0.012688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5233-1_0_4_line_9 |  | 7 | 14 | 0.0055043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5233-1_0_4_line_10 |  | 7 | 15 | 0.0090805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5233-1_0_4_line_11 |  | 8 | 16 | 0.016282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5233-1_0_4_line_12 |  | 10 | 17 | 0.015286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5233-1_0_4_line_13 |  | 11 | 12 | 0.012836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5233-1_0_4_line_14 |  | 11 | 13 | 0.0043061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5233-1_0_4_line_15 |  | 12 | 16 | 0.0083832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5233-1_0_4_line_16 |  | 13 | 17 | 0.011983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5233-1_0_4_line_17 |  | 14 | 74 | 0.01043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5233-1_0_4_line_18 |  | 17 | 91 | 0.0082365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5233-1_0_4_line_19 |  | 18 | 19 | 0.0078627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5233-1_0_4_line_20 |  | 18 | 20 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5233-1_0_4_line_21 |  | 19 | 94 | 0.0011294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5233-1_0_4_line_22 |  | 20 | 93 | 0.0052972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5233-1_0_4_line_23 |  | 21 | 22 | 0.0012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_5233-1_0_4_line_24 |  | 21 | 23 | 0.03545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_5233-1_0_4_line_25 |  | 22 | 24 | 0.026213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_5233-1_0_4_line_26 |  | 23 | 25 | 0.047409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_5233-1_0_4_line_27 |  | 24 | 26 | 0.0088157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_5233-1_0_4_line_28 |  | 25 | 27 | 0.082636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_5233-1_0_4_line_29 |  | 26 | 30 | 0.033448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5233-1_0_4_line_30 |  | 26 | 31 | 0.020193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_5233-1_0_4_line_31 |  | 27 | 32 | 0.048807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_5233-1_0_4_line_32 |  | 27 | 33 | 0.041459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5233-1_0_4_line_33 |  | 28 | 29 | 0.033749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5233-1_0_4_line_34 |  | 29 | 31 | 0.048217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5233-1_0_4_line_35 |  | 30 | 38 | 0.021162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5233-1_0_4_line_36 |  | 31 | 48 | 0.073507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_5233-1_0_4_line_37 |  | 32 | 45 | 0.038969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5233-1_0_4_line_38 |  | 32 | 46 | 0.080757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5233-1_0_4_line_39 |  | 32 | 47 | 0.061196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5233-1_0_4_line_40 |  | 34 | 35 | 0.015072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5233-1_0_4_line_41 |  | 34 | 36 | 0.084515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5233-1_0_4_line_42 |  | 35 | 37 | 0.00027675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5233-1_0_4_line_43 |  | 36 | 38 | 0.0050996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5233-1_0_4_line_44 |  | 36 | 39 | 0.037817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5233-1_0_4_line_45 |  | 37 | 40 | 0.029057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5233-1_0_4_line_46 |  | 40 | 41 | 0.0050681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5233-1_0_4_line_47 |  | 41 | 42 | 0.04118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5233-1_0_4_line_48 |  | 42 | 43 | 0.037368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5233-1_0_4_line_49 |  | 43 | 44 | 0.0055767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5233-1_0_4_line_50 |  | 45 | 60 | 0.027292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5233-1_0_4_line_51 |  | 48 | 49 | 0.035195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_5233-1_0_4_line_52 |  | 49 | 51 | 0.030699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_5233-1_0_4_line_53 |  | 50 | 51 | 0.016674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_5233-1_0_4_line_54 |  | 50 | 52 | 0.0059862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_5233-1_0_4_line_55 |  | 51 | 53 | 0.013779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_5233-1_0_4_line_56 |  | 52 | 54 | 0.040398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_5233-1_0_4_line_57 |  | 54 | 55 | 0.002981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_5233-1_0_4_line_58 |  | 54 | 56 | 0.08982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5233-1_0_4_line_59 |  | 55 | 59 | 0.010833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_5233-1_0_4_line_60 |  | 57 | 58 | 0.011074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5233-1_0_4_line_61 |  | 58 | 92 | 0.022059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5233-1_0_4_line_62 |  | 58 | 62 | 0.006347 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5233-1_0_4_line_63 |  | 59 | 63 | 0.030476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
64 | LV_5233-1_0_4_line_64 |  | 60 | 64 | 0.019334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5233-1_0_4_line_65 |  | 61 | 62 | 0.010922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5233-1_0_4_line_66 |  | 62 | 87 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5233-1_0_4_line_67 |  | 63 | 83 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5233-1_0_4_line_68 |  | 64 | 65 | 0.001131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5233-1_0_4_line_69 |  | 65 | 66 | 0.019141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5233-1_0_4_line_70 |  | 66 | 67 | 0.0069633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5233-1_0_4_line_71 |  | 67 | 68 | 0.0087692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5233-1_0_4_line_72 |  | 68 | 69 | 0.020923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5233-1_0_4_line_73 |  | 68 | 70 | 0.081333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5233-1_0_4_line_74 |  | 70 | 71 | 0.0096655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5233-1_0_4_line_75 |  | 71 | 72 | 0.016522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5233-1_0_4_line_76 |  | 73 | 74 | 0.018461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5233-1_0_4_line_77 |  | 74 | 75 | 0.007108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5233-1_0_4_line_78 |  | 75 | 76 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5233-1_0_4_line_79 |  | 76 | 77 | 0.01602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5233-1_0_4_line_80 |  | 77 | 80 | 0.0040338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5233-1_0_4_line_81 |  | 78 | 79 | 0.0072743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5233-1_0_4_line_82 |  | 79 | 81 | 0.008371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
83 | LV_5233-1_0_4_line_83 |  | 79 | 82 | 0.017568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_5233-1_0_4_line_84 |  | 81 | 88 | 0.0073864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5233-1_0_4_line_85 |  | 81 | 89 | 0.002337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5233-1_0_4_line_86 |  | 82 | 83 | 0.0079729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_5233-1_0_4_line_87 |  | 84 | 85 | 0.012294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5233-1_0_4_line_88 |  | 85 | 87 | 0.014802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5233-1_0_4_line_89 |  | 85 | 88 | 0.0070529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5233-1_0_4_line_90 |  | 86 | 87 | 0.0121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5233-1_0_4_line_91 |  | 87 | 90 | 0.0095668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5233-1_0_4_line_92 |  | 89 | 91 | 0.0085368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5233-1_0_4_line_93 |  | 92 | 93 | 0.004612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5233-1_0_4_trafo_32 | 0.63 MVA 20/0.4 kV | 95 | 53 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2714906.1401 | 1087543.3808 | 2714907.9319 | 1087543.4035 | 2714914.482 | 1087543.3983
1 | 2714906.0339 | 1087538.3198 | 2714906.1401 | 1087543.3808
2 | 2714906.0339 | 1087538.3198 | 2714922.486 | 1087537.7299
3 | 2714906.0339 | 1087538.3198 | 2714900.8245 | 1087536.031 | 2714892.5937 | 1087529.8623
4 | 2714922.486 | 1087537.7299 | 2714927.7042 | 1087541.6088 | 2714938.2592 | 1087543.4983 | 2714949.0025 | 1087547.3781
5 | 2714907.5354 | 1087571.7934 | 2714906.3473 | 1087571.8488 | 2714902.6116 | 1087571.2223 | 2714899.5575 | 1087567.3732
6 | 2714907.5354 | 1087571.7934 | 2714908.0079 | 1087577.5841 | 2714907.3889 | 1087577.906 | 2714907.6677 | 1087584.9161
7 | 2714907.5354 | 1087571.7934 | 2714916.6546 | 1087571.3258
8 | 2714899.5575 | 1087567.3732 | 2714895.9824 | 1087569.7518 | 2714890.5354 | 1087563.3654
9 | 2714907.6677 | 1087584.9161 | 2714907.4379 | 1087590.4156
10 | 2714907.6677 | 1087584.9161 | 2714910.2993 | 1087584.8435 | 2714916.7451 | 1087584.6784
11 | 2714916.6546 | 1087571.3258 | 2714932.9154 | 1087570.492
12 | 2714957.31 | 1087559.7692 | 2714950.6046 | 1087547.9567 | 2714949.0025 | 1087547.3781
13 | 2714941.2197 | 1087557.2303 | 2714941.2876 | 1087570.0627
14 | 2714941.2197 | 1087557.2303 | 2714945.4732 | 1087557.9015
15 | 2714941.2876 | 1087570.0627 | 2714932.9154 | 1087570.492
16 | 2714957.31 | 1087559.7692 | 2714945.4732 | 1087557.9015
17 | 2714907.0024 | 1087600.8368 | 2714907.4379 | 1087590.4156
18 | 2714957.31 | 1087559.7692 | 2714964.8759 | 1087563.0243
19 | 2714964.0593 | 1087537.2255 | 2714971.5285 | 1087539.6817
20 | 2714972.1411 | 1087525.0586 | 2714964.0593 | 1087537.2255
21 | 2714971.5285 | 1087539.6817 | 2714972.4179 | 1087539.9741 | 2714972.6014 | 1087540.0346
22 | 2714972.1411 | 1087525.0586 | 2714976.1136 | 1087528.5628
23 | 2715224.029 | 1087644.5817 | 2715223.0767 | 1087643.7571
24 | 2715224.029 | 1087644.5817 | 2715234.964 | 1087654.05 | 2715239.2604 | 1087659.0682 | 2715247.4148 | 1087670.9123
25 | 2715223.0767 | 1087643.7571 | 2715219.7352 | 1087640.8638 | 2715204.7665 | 1087625.0244
26 | 2715273.2266 | 1087705.3988 | 2715268.9739 | 1087706.2744 | 2715267.2098 | 1087706.0186 | 2715265.4713 | 1087705.2296 | 2715264.0756 | 1087703.5465 | 2715263.2829 | 1087699.5176 | 2715261.8053 | 1087693.1519 | 2715260.0857 | 1087689.3166 | 2715247.4148 | 1087670.9123
27 | 2715198.7115 | 1087618.6172 | 2715204.7665 | 1087625.0244
28 | 2715240.0028 | 1087629.7063 | 2715273.2266 | 1087705.3988
29 | 2715198.7115 | 1087618.6172 | 2715193.4655 | 1087613.7591 | 2715190.7548 | 1087612.2734 | 2715186.3215 | 1087610.3882 | 2715182.8053 | 1087607.5976 | 2715174.4457 | 1087596.4921
30 | 2715198.7115 | 1087618.6172 | 2715190.4426 | 1087616.8818 | 2715182.8914 | 1087623.1321 | 2715181.0561 | 1087623.7645
31 | 2715240.0028 | 1087629.7063 | 2715220.3211 | 1087585.0431
32 | 2715240.0028 | 1087629.7063 | 2715244.6641 | 1087629.7946 | 2715253.5937 | 1087643.3397 | 2715266.643 | 1087659.2448
33 | 2715174.6505 | 1087671.5542 | 2715178.5943 | 1087688.6406 | 2715181.0904 | 1087694.4919 | 2715185.2148 | 1087703.4394
34 | 2715181.0561 | 1087623.7645 | 2715174.6505 | 1087671.5542
35 | 2715174.4457 | 1087596.4921 | 2715169.2882 | 1087589.6405 | 2715159.4036 | 1087581.8482
36 | 2715181.0561 | 1087623.7645 | 2715178.9839 | 1087623.3917 | 2715173.2633 | 1087621.4711 | 2715169.7431 | 1087621.3488 | 2715167.1953 | 1087622.3235 | 2715162.8714 | 1087624.4988 | 2715156.0943 | 1087629.2072 | 2715153.8837 | 1087630.811 | 2715153.0328 | 1087632.3181 | 2715152.4385 | 1087632.974 | 2715151.3608 | 1087632.9314 | 2715148.5703 | 1087629.921 | 2715147.4688 | 1087629.9112 | 2715143.67 | 1087636.7219 | 2715140.339 | 1087639.3162 | 2715137.1823 | 1087640.4907 | 2715133.5123 | 1087640.9104 | 2715131.5465 | 1087639.8281 | 2715127.6219 | 1087635.2507 | 2715124.9898 | 1087628.7253
37 | 2715220.3211 | 1087585.0431 | 2715204.6067 | 1087549.3828
38 | 2715220.3211 | 1087585.0431 | 2715287.9971 | 1087540.9781
39 | 2715220.3211 | 1087585.0431 | 2715266.9618 | 1087545.4256
40 | 2715091.7627 | 1087510.3434 | 2715097.0945 | 1087515.335 | 2715099.6526 | 1087518.7413 | 2715101.2987 | 1087521.8396
41 | 2715154.846 | 1087579.5604 | 2715128.7601 | 1087566.4913 | 2715119.8207 | 1087560.8184 | 2715114.8754 | 1087556.4663 | 2715109.8287 | 1087550.0887 | 2715106.2036 | 1087544.8499 | 2715104.6066 | 1087539.4493 | 2715103.4782 | 1087528.5537 | 2715101.7054 | 1087522.605 | 2715101.2987 | 1087521.8396
42 | 2715091.5606 | 1087510.1543 | 2715091.7627 | 1087510.3434
43 | 2715154.846 | 1087579.5604 | 2715159.4036 | 1087581.8482
44 | 2715154.846 | 1087579.5604 | 2715150.403 | 1087571.6264 | 2715131.5617 | 1087549.9461
45 | 2715069.3218 | 1087491.5182 | 2715081.1302 | 1087500.3896 | 2715091.5606 | 1087510.1543
46 | 2715069.3218 | 1087491.5182 | 2715065.2699 | 1087488.4741
47 | 2715065.2699 | 1087488.4741 | 2715063.4431 | 1087487.1017 | 2715047.1102 | 1087484.2577 | 2715028.8409 | 1087471.441
48 | 2715028.8409 | 1087471.441 | 2715002.7743 | 1087453.1541 | 2714998.3282 | 1087449.8709
49 | 2714993.842 | 1087446.5581 | 2714998.3282 | 1087449.8709
50 | 2715204.6067 | 1087549.3828 | 2715204.0871 | 1087548.2036 | 2715193.1908 | 1087524.5937
51 | 2715103.2344 | 1087607.059 | 2715107.6894 | 1087604.5192 | 2715121.9228 | 1087621.122 | 2715124.9898 | 1087628.7253
52 | 2715075.2394 | 1087597.3008 | 2715094.6873 | 1087600.3372 | 2715099.8202 | 1087602.9805 | 2715103.2344 | 1087607.059
53 | 2715075.2394 | 1087597.3008 | 2715075.8324 | 1087600.8144 | 2715076.9169 | 1087613.8806
54 | 2715077.4121 | 1087619.8463 | 2715076.9169 | 1087613.8806
55 | 2715075.2394 | 1087597.3008 | 2715061.8591 | 1087594.0101
56 | 2715077.4121 | 1087619.8463 | 2715061.9352 | 1087619.7538 | 2715039.6691 | 1087631.1742
57 | 2715039.6691 | 1087631.1742 | 2715038.4325 | 1087628.4601
58 | 2715039.6691 | 1087631.1742 | 2715058.5431 | 1087672.3482 | 2715088.7086 | 1087705.0998
59 | 2715038.4325 | 1087628.4601 | 2715031.8985 | 1087619.8195
60 | 2714997.1643 | 1087544.7114 | 2715001.1358 | 1087543.9415 | 2715003.1151 | 1087542.2555 | 2715004.9318 | 1087539.3211 | 2715005.6932 | 1087538.7081
61 | 2714997.1643 | 1087544.7114 | 2714990.8029 | 1087538.9206 | 2714982.4972 | 1087534.1938 | 2714979.5723 | 1087531.6137
62 | 2715000.5071 | 1087550.1117 | 2714997.1643 | 1087544.7114
63 | 2715010.3951 | 1087598.3651 | 2715027.207 | 1087613.6155 | 2715031.8985 | 1087619.8195
64 | 2715185.089 | 1087507.039 | 2715193.1908 | 1087524.5937
65 | 2715000.5071 | 1087550.1117 | 2715009.8351 | 1087555.7928
66 | 2715000.5071 | 1087550.1117 | 2714995.3506 | 1087560.6215
67 | 2715010.3951 | 1087598.3651 | 2714993.762 | 1087587.0639
68 | 2715185.089 | 1087507.039 | 2715184.615 | 1087506.012
69 | 2715184.615 | 1087506.012 | 2715177.0697 | 1087489.663 | 2715176.6138 | 1087488.6243
70 | 2715176.6138 | 1087488.6243 | 2715173.8149 | 1087482.2483
71 | 2715169.1652 | 1087474.8143 | 2715173.7821 | 1087482.1734 | 2715173.8149 | 1087482.2483
72 | 2715169.1652 | 1087474.8143 | 2715165.9071 | 1087475.5977 | 2715162.0759 | 1087474.6913 | 2715159.5012 | 1087472.9858 | 2715153.0649 | 1087464.6304
73 | 2715169.1652 | 1087474.8143 | 2715166.9208 | 1087471.2361 | 2715149.6643 | 1087448.7274 | 2715144.023 | 1087443.0168 | 2715138.3563 | 1087438.651 | 2715131.4153 | 1087435.1952 | 2715123.6887 | 1087432.6695 | 2715111.9435 | 1087429.701 | 2715106.5543 | 1087428.2981
74 | 2715102.4494 | 1087420.5262 | 2715102.2857 | 1087423.8477 | 2715103.7574 | 1087426.444 | 2715106.5543 | 1087428.2981
75 | 2715102.4494 | 1087420.5262 | 2715091.0305 | 1087415.8961 | 2715087.5676 | 1087413.52
76 | 2714907.0024 | 1087600.8368 | 2714890.2747 | 1087593.0268
77 | 2714907.0024 | 1087600.8368 | 2714913.3177 | 1087604.136
78 | 2714913.3177 | 1087604.136 | 2714924.8504 | 1087603.1419 | 2714931.6969 | 1087599.6799
79 | 2714943.107 | 1087597.9409 | 2714939.5988 | 1087604.0098 | 2714931.6969 | 1087599.6799
80 | 2714945.1257 | 1087594.4487 | 2714943.107 | 1087597.9409
81 | 2714971.5003 | 1087574.981 | 2714964.6228 | 1087572.6112
82 | 2714974.8728 | 1087567.3172 | 2714971.5003 | 1087574.981
83 | 2714971.5003 | 1087574.981 | 2714980.5504 | 1087578.0874 | 2714987.1673 | 1087582.5832
84 | 2714974.8728 | 1087567.3172 | 2714981.6719 | 1087570.2036
85 | 2714972.7177 | 1087566.3981 | 2714974.8728 | 1087567.3172
86 | 2714993.762 | 1087587.0639 | 2714987.1673 | 1087582.5832
87 | 2714987.9238 | 1087573.4345 | 2714997.8598 | 1087579.3374 | 2714998.3151 | 1087579.9162
88 | 2714987.9238 | 1087573.4345 | 2714995.3506 | 1087560.6215
89 | 2714987.9238 | 1087573.4345 | 2714984.4941 | 1087571.4017 | 2714981.6719 | 1087570.2036
90 | 2714995.3506 | 1087560.6215 | 2715004.1616 | 1087568.9151
91 | 2714995.3506 | 1087560.6215 | 2714986.3806 | 1087557.2952
92 | 2714972.7177 | 1087566.3981 | 2714964.8759 | 1087563.0243
93 | 2714976.1136 | 1087528.5628 | 2714979.5723 | 1087531.6137

## bus_geodata
| x | y | coords
0 | 2714914.482 | 1087543.3983
1 | 2714906.1401 | 1087543.3808
2 | 2714906.0339 | 1087538.3198
3 | 2714922.486 | 1087537.7299
4 | 2714892.5937 | 1087529.8623
5 | 2714907.5354 | 1087571.7934
6 | 2714899.5575 | 1087567.3732
7 | 2714907.6677 | 1087584.9161
8 | 2714916.6546 | 1087571.3258
9 | 2714890.5354 | 1087563.3654
10 | 2714949.0025 | 1087547.3781
11 | 2714941.2197 | 1087557.2303
12 | 2714941.2876 | 1087570.0627
13 | 2714945.4732 | 1087557.9015
14 | 2714907.4379 | 1087590.4156
15 | 2714916.7451 | 1087584.6784
16 | 2714932.9154 | 1087570.492
17 | 2714957.31 | 1087559.7692
18 | 2714964.0593 | 1087537.2255
19 | 2714971.5285 | 1087539.6817
20 | 2714972.1411 | 1087525.0586
21 | 2715224.029 | 1087644.5817
22 | 2715223.0767 | 1087643.7571
23 | 2715247.4148 | 1087670.9123
24 | 2715204.7665 | 1087625.0244
25 | 2715273.2266 | 1087705.3988
26 | 2715198.7115 | 1087618.6172
27 | 2715240.0028 | 1087629.7063
28 | 2715185.2148 | 1087703.4394
29 | 2715174.6505 | 1087671.5542
30 | 2715174.4457 | 1087596.4921
31 | 2715181.0561 | 1087623.7645
32 | 2715220.3211 | 1087585.0431
33 | 2715266.643 | 1087659.2448
34 | 2715101.2987 | 1087521.8396
35 | 2715091.7627 | 1087510.3434
36 | 2715154.846 | 1087579.5604
37 | 2715091.5606 | 1087510.1543
38 | 2715159.4036 | 1087581.8482
39 | 2715131.5617 | 1087549.9461
40 | 2715069.3218 | 1087491.5182
41 | 2715065.2699 | 1087488.4741
42 | 2715028.8409 | 1087471.441
43 | 2714998.3282 | 1087449.8709
44 | 2714993.842 | 1087446.5581
45 | 2715204.6067 | 1087549.3828
46 | 2715287.9971 | 1087540.9781
47 | 2715266.9618 | 1087545.4256
48 | 2715124.9898 | 1087628.7253
49 | 2715103.2344 | 1087607.059
50 | 2715076.9169 | 1087613.8806
51 | 2715075.2394 | 1087597.3008
52 | 2715077.4121 | 1087619.8463
53 | 2715061.8591 | 1087594.0101
54 | 2715039.6691 | 1087631.1742
55 | 2715038.4325 | 1087628.4601
56 | 2715088.7086 | 1087705.0998
57 | 2715005.6932 | 1087538.7081
58 | 2714997.1643 | 1087544.7114
59 | 2715031.8985 | 1087619.8195
60 | 2715193.1908 | 1087524.5937
61 | 2715009.8351 | 1087555.7928
62 | 2715000.5071 | 1087550.1117
63 | 2715010.3951 | 1087598.3651
64 | 2715185.089 | 1087507.039
65 | 2715184.615 | 1087506.012
66 | 2715176.6138 | 1087488.6243
67 | 2715173.8149 | 1087482.2483
68 | 2715169.1652 | 1087474.8143
69 | 2715153.0649 | 1087464.6304
70 | 2715106.5543 | 1087428.2981
71 | 2715102.4494 | 1087420.5262
72 | 2715087.5676 | 1087413.52
73 | 2714890.2747 | 1087593.0268
74 | 2714907.0024 | 1087600.8368
75 | 2714913.3177 | 1087604.136
76 | 2714931.6969 | 1087599.6799
77 | 2714943.107 | 1087597.941
78 | 2714964.6228 | 1087572.6112
79 | 2714971.5003 | 1087574.981
80 | 2714945.1257 | 1087594.4487
81 | 2714974.8728 | 1087567.3172
82 | 2714987.1673 | 1087582.5832
83 | 2714993.762 | 1087587.0639
84 | 2714998.3151 | 1087579.9162
85 | 2714987.9238 | 1087573.4345
86 | 2715004.1616 | 1087568.9151
87 | 2714995.3506 | 1087560.6215
88 | 2714981.6719 | 1087570.2036
89 | 2714972.7177 | 1087566.3981
90 | 2714986.3806 | 1087557.2952
91 | 2714964.8759 | 1087563.0243
92 | 2714979.5723 | 1087531.6137
93 | 2714976.1136 | 1087528.5628
94 | 2714972.6014 | 1087540.0346
95 | 2715075.2394 | 1087597.3008

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1