## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5237-3_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5237-3_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5237-3_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5237-3_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5237-3_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5237-3_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5237-3_0_5_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_5237-3_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_5237-3_0_5_node_100 | 0.4 | n |  | TRUE
9 | bus_LV_5237-3_0_5_node_67 | 0.4 | n |  | TRUE
10 | bus_LV_5237-3_0_5_node_61 | 0.4 | n |  | TRUE
11 | bus_LV_5237-3_0_5_node_71 | 0.4 | n |  | TRUE
12 | bus_LV_5237-3_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_5237-3_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_5237-3_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_5237-3_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_5237-3_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_5237-3_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_5237-3_0_5_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_5237-3_0_5_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_5237-3_0_5_node_125 | 0.4 | n |  | TRUE
21 | bus_LV_5237-3_0_5_node_66 | 0.4 | n |  | TRUE
22 | bus_LV_5237-3_0_5_node_128 | 0.4 | n |  | TRUE
23 | bus_LV_5237-3_0_5_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_5237-3_0_5_node_101 | 0.4 | n |  | TRUE
25 | bus_LV_5237-3_0_5_node_119 | 0.4 | n |  | TRUE
26 | bus_LV_5237-3_0_5_node_131 | 0.4 | n |  | TRUE
27 | bus_LV_5237-3_0_5_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_5237-3_0_5_node_143 | 0.4 | n |  | TRUE
29 | bus_LV_5237-3_0_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_5237-3_0_5_node_130 | 0.4 | n |  | TRUE
31 | bus_LV_5237-3_0_5_node_129 | 0.4 | n |  | TRUE
32 | bus_LV_5237-3_0_5_node_126 | 0.4 | n |  | TRUE
33 | bus_LV_5237-3_0_5_node_120 | 0.4 | n |  | TRUE
34 | bus_LV_5237-3_0_5_node_118 | 0.4 | n |  | TRUE
35 | bus_LV_5237-3_0_5_node_72 | 0.4 | n |  | TRUE
36 | bus_LV_5237-3_0_5_node_117 | 0.4 | n |  | TRUE
37 | bus_LV_5237-3_0_5_node_17 | 0.4 | n |  | TRUE
38 | bus_LV_5237-3_0_5_node_18 | 0.4 | n |  | TRUE
39 | bus_LV_5237-3_0_5_node_19 | 0.4 | n |  | TRUE
40 | bus_LV_5237-3_0_5_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_5237-3_0_5_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_5237-3_0_5_node_22 | 0.4 | n |  | TRUE
43 | bus_LV_5237-3_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_5237-3_0_5_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_5237-3_0_5_node_79 | 0.4 | n |  | TRUE
46 | bus_LV_5237-3_0_5_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_5237-3_0_5_node_26 | 0.4 | n |  | TRUE
48 | bus_LV_5237-3_0_5_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_5237-3_0_5_node_81 | 0.4 | n |  | TRUE
50 | bus_LV_5237-3_0_5_node_80 | 0.4 | n |  | TRUE
51 | bus_LV_5237-3_0_5_node_82 | 0.4 | n |  | TRUE
52 | bus_LV_5237-3_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_5237-3_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_5237-3_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_5237-3_0_5_node_28 | 0.4 | n |  | TRUE
56 | bus_LV_5237-3_0_5_node_29 | 0.4 | n |  | TRUE
57 | bus_LV_5237-3_0_5_node_30 | 0.4 | n |  | TRUE
58 | bus_LV_5237-3_0_5_node_31 | 0.4 | n |  | TRUE
59 | bus_LV_5237-3_0_5_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_5237-3_0_5_node_33 | 0.4 | n |  | TRUE
61 | bus_LV_5237-3_0_5_node_34 | 0.4 | n |  | TRUE
62 | bus_LV_5237-3_0_5_node_94 | 0.4 | n |  | TRUE
63 | bus_LV_5237-3_0_5_node_102 | 0.4 | n |  | TRUE
64 | bus_LV_5237-3_0_5_node_84 | 0.4 | n |  | TRUE
65 | bus_LV_5237-3_0_5_node_116 | 0.4 | n |  | TRUE
66 | bus_LV_5237-3_0_5_node_92 | 0.4 | n |  | TRUE
67 | bus_LV_5237-3_0_5_node_110 | 0.4 | n |  | TRUE
68 | bus_LV_5237-3_0_5_node_83 | 0.4 | n |  | TRUE
69 | bus_LV_5237-3_0_5_node_35 | 0.4 | n |  | TRUE
70 | bus_LV_5237-3_0_5_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_5237-3_0_5_node_37 | 0.4 | n |  | TRUE
72 | bus_LV_5237-3_0_5_node_38 | 0.4 | n |  | TRUE
73 | bus_LV_5237-3_0_5_node_39 | 0.4 | n |  | TRUE
74 | bus_LV_5237-3_0_5_node_40 | 0.4 | n |  | TRUE
75 | bus_LV_5237-3_0_5_node_99 | 0.4 | n |  | TRUE
76 | bus_LV_5237-3_0_5_node_123 | 0.4 | n |  | TRUE
77 | bus_LV_5237-3_0_5_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_5237-3_0_5_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_5237-3_0_5_node_47 | 0.4 | n |  | TRUE
80 | bus_LV_5237-3_0_5_node_48 | 0.4 | n |  | TRUE
81 | bus_LV_5237-3_0_5_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_5237-3_0_5_node_121 | 0.4 | n |  | TRUE
83 | bus_LV_5237-3_0_5_node_49 | 0.4 | n |  | TRUE
84 | bus_LV_5237-3_0_5_node_50 | 0.4 | n |  | TRUE
85 | bus_LV_5237-3_0_5_node_51 | 0.4 | n |  | TRUE
86 | bus_LV_5237-3_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_5237-3_0_5_node_77 | 0.4 | n |  | TRUE
88 | bus_LV_5237-3_0_5_node_74 | 0.4 | n |  | TRUE
89 | bus_LV_5237-3_0_5_node_52 | 0.4 | n |  | TRUE
90 | bus_LV_5237-3_0_5_node_53 | 0.4 | n |  | TRUE
91 | bus_LV_5237-3_0_5_node_54 | 0.4 | n |  | TRUE
92 | bus_LV_5237-3_0_5_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_5237-3_0_5_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_5237-3_0_5_node_78 | 0.4 | n |  | TRUE
95 | bus_LV_5237-3_0_5_node_103 | 0.4 | n |  | TRUE
96 | bus_LV_5237-3_0_5_node_55 | 0.4 | n |  | TRUE
97 | bus_LV_5237-3_0_5_node_56 | 0.4 | n |  | TRUE
98 | bus_LV_5237-3_0_5_node_57 | 0.4 | n |  | TRUE
99 | bus_LV_5237-3_0_5_node_58 | 0.4 | n |  | TRUE
100 | bus_LV_5237-3_0_5_node_59 | 0.4 | n |  | TRUE
101 | bus_LV_5237-3_0_5_node_60 | 0.4 | n |  | TRUE
102 | bus_LV_5237-3_0_5_node_62 | 0.4 | n |  | TRUE
103 | bus_LV_5237-3_0_5_node_93 | 0.4 | n |  | TRUE
104 | bus_LV_5237-3_0_5_node_124 | 0.4 | n |  | TRUE
105 | bus_LV_5237-3_0_5_node_91 | 0.4 | n |  | TRUE
106 | bus_LV_5237-3_0_5_node_73 | 0.4 | n |  | TRUE
107 | bus_LV_5237-3_0_5_node_63 | 0.4 | n |  | TRUE
108 | bus_LV_5237-3_0_5_node_69 | 0.4 | n |  | TRUE
109 | bus_LV_5237-3_0_5_node_70 | 0.4 | n |  | TRUE
110 | bus_LV_5237-3_0_5_node_75 | 0.4 | n |  | TRUE
111 | bus_LV_5237-3_0_5_node_95 | 0.4 | n |  | TRUE
112 | bus_LV_5237-3_0_5_node_104 | 0.4 | n |  | TRUE
113 | bus_LV_5237-3_0_5_node_105 | 0.4 | n |  | TRUE
114 | bus_LV_5237-3_0_5_node_106 | 0.4 | n |  | TRUE
115 | bus_LV_5237-3_0_5_node_96 | 0.4 | n |  | TRUE
116 | bus_LV_5237-3_0_5_node_107 | 0.4 | n |  | TRUE
117 | bus_LV_5237-3_0_5_node_108 | 0.4 | n |  | TRUE
118 | bus_LV_5237-3_0_5_node_109 | 0.4 | n |  | TRUE
119 | bus_LV_5237-3_0_5_node_122 | 0.4 | n |  | TRUE
120 | bus_LV_5237-3_0_5_node_88 | 0.4 | n |  | TRUE
121 | bus_LV_5237-3_0_5_node_89 | 0.4 | n |  | TRUE
122 | bus_LV_5237-3_0_5_node_90 | 0.4 | n |  | TRUE
123 | bus_LV_5237-3_0_5_node_97 | 0.4 | n |  | TRUE
124 | bus_LV_5237-3_0_5_node_113 | 0.4 | n |  | TRUE
125 | bus_LV_5237-3_0_5_node_114 | 0.4 | n |  | TRUE
126 | bus_LV_5237-3_0_5_node_111 | 0.4 | n |  | TRUE
127 | bus_LV_5237-3_0_5_node_112 | 0.4 | n |  | TRUE
128 | bus_LV_5237-3_0_5_node_141 | 0.4 | n |  | TRUE
129 | bus_LV_5237-3_0_5_node_115 | 0.4 | n |  | TRUE
130 | bus_LV_5237-3_0_5_node_132 | 0.4 | n |  | TRUE
131 | bus_LV_5237-3_0_5_node_133 | 0.4 | n |  | TRUE
132 | bus_LV_5237-3_0_5_node_127 | 0.4 | n |  | TRUE
133 | bus_LV_5237-3_0_5_node_140 | 0.4 | n |  | TRUE
134 | bus_LV_5237-3_0_5_node_136 | 0.4 | n |  | TRUE
135 | bus_LV_5237-3_0_5_node_142 | 0.4 | n |  | TRUE
136 | bus_LV_5237-3_0_5_node_139 | 0.4 | n |  | TRUE
137 | bus_LV_5237-3_0_5_node_134 | 0.4 | n |  | TRUE
138 | bus_LV_5237-3_0_5_node_135 | 0.4 | n |  | TRUE
139 | bus_LV_5237-3_0_5_node_137 | 0.4 | n |  | TRUE
140 | bus_LV_5237-3_0_5_node_138 | 0.4 | n |  | TRUE
141 | bus_MV_73_0_node_23 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5237-3_0_5_load_0 | 0 | 0.0049333 | 0.0012364 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5237-3_0_5_load_1 | 1 | 0.0053585 | 0.001343 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5237-3_0_5_load_4 | 4 | 0.0070722 | 0.0017724 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5237-3_0_5_load_5 | 5 | 0.00074677 | 0.00018716 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5237-3_0_5_load_6 | 6 | 0.0016554 | 0.00041489 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5237-3_0_5_load_7 | 7 | 0.0029009 | 0.00072704 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5237-3_0_5_load_100 | 8 | 0.0024198 | 0.00060647 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5237-3_0_5_load_61 | 10 | 0.0014116 | 0.00035379 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5237-3_0_5_load_71 | 11 | 0.0062875 | 0.0015758 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5237-3_0_5_load_8 | 12 | 0.0039731 | 0.00099576 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5237-3_0_5_load_9 | 13 | 0.0057604 | 0.0014437 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5237-3_0_5_load_10 | 14 | 0.0037877 | 0.00094929 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5237-3_0_5_load_66 | 21 | 0.0049013 | 0.0012284 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5237-3_0_5_load_128 | 22 | 0.0022919 | 0.0005744 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5237-3_0_5_load_101 | 24 | 0.0037421 | 0.00093785 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5237-3_0_5_load_68 | 27 | 0.0046116 | 0.0011558 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5237-3_0_5_load_143 | 28 | 0.0027467 | 0.00068839 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5237-3_0_5_load_64 | 29 | 0.0041602 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5237-3_0_5_load_130 | 30 | 0.0070034 | 0.0017552 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5237-3_0_5_load_129 | 31 | 0.0058333 | 0.001462 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5237-3_0_5_load_126 | 32 | 0.0026111 | 0.0006544 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5237-3_0_5_load_120 | 33 | 0.0020425 | 0.00051189 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5237-3_0_5_load_118 | 34 | 0.0022769 | 0.00057063 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5237-3_0_5_load_72 | 35 | 0.0031267 | 0.00078363 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5237-3_0_5_load_117 | 36 | 0.0029516 | 0.00073974 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5237-3_0_5_load_17 | 37 | 0.004948 | 0.0012401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5237-3_0_5_load_18 | 38 | 0.0080303 | 0.0020126 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5237-3_0_5_load_21 | 41 | 0.0030831 | 0.0007727 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5237-3_0_5_load_22 | 42 | 0.0035441 | 0.00088822 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5237-3_0_5_load_24 | 43 | 0.0057872 | 0.0014504 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5237-3_0_5_load_79 | 45 | 0.0047472 | 0.0011897 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5237-3_0_5_load_43 | 46 | 0.0019813 | 0.00049655 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5237-3_0_5_load_26 | 47 | 0.0013062 | 0.00032737 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5237-3_0_5_load_45 | 48 | 0.042345 | 0.010613 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5237-3_0_5_load_81 | 49 | 0.0011259 | 0.00028219 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5237-3_0_5_load_80 | 50 | 0.006576 | 0.0016481 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5237-3_0_5_load_42 | 52 | 0.0014257 | 0.00035731 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5237-3_0_5_load_44 | 53 | 0.0017141 | 0.00042959 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5237-3_0_5_load_27 | 54 | 0.0025504 | 0.0006392 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5237-3_0_5_load_28 | 55 | 0.0016683 | 0.00041812 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5237-3_0_5_load_29 | 56 | 0.0054242 | 0.0013594 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5237-3_0_5_load_31 | 58 | 0.0021892 | 0.00054867 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5237-3_0_5_load_33 | 60 | 0.0038326 | 0.00096054 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5237-3_0_5_load_34 | 61 | 0.0036329 | 0.00091049 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5237-3_0_5_load_102 | 63 | 0.0029519 | 0.00073983 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5237-3_0_5_load_84 | 64 | 0.0025509 | 0.00063932 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5237-3_0_5_load_116 | 65 | 0.0038489 | 0.00096462 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5237-3_0_5_load_92 | 66 | 0.0071744 | 0.0017981 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5237-3_0_5_load_83 | 68 | 0.007377 | 0.0018488 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5237-3_0_5_load_35 | 69 | 0.002148 | 0.00053833 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5237-3_0_5_load_36 | 70 | 0.00861 | 0.0021579 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5237-3_0_5_load_38 | 72 | 0.014074 | 0.0035273 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5237-3_0_5_load_40 | 74 | 0.001903 | 0.00047695 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5237-3_0_5_load_99 | 75 | 0.0070862 | 0.001776 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5237-3_0_5_load_123 | 76 | 0.0096273 | 0.0024128 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5237-3_0_5_load_41 | 77 | 0.0025611 | 0.00064187 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5237-3_0_5_load_46 | 78 | 0.0016974 | 0.00042542 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5237-3_0_5_load_47 | 79 | 0.0018677 | 0.0004681 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5237-3_0_5_load_48 | 80 | 0.0056656 | 0.0014199 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5237-3_0_5_load_85 | 81 | 0.0019454 | 0.00048757 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5237-3_0_5_load_121 | 82 | 0.0068365 | 0.0017134 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5237-3_0_5_load_49 | 83 | 0.0034007 | 0.0008523 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5237-3_0_5_load_50 | 84 | 0.0070136 | 0.0017578 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5237-3_0_5_load_51 | 85 | 0.0038163 | 0.00095646 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5237-3_0_5_load_76 | 86 | 0.0036339 | 0.00091074 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5237-3_0_5_load_77 | 87 | 0.0063717 | 0.0015969 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5237-3_0_5_load_74 | 88 | 0.0037068 | 0.00092902 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5237-3_0_5_load_54 | 91 | 0.0032837 | 0.00082298 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5237-3_0_5_load_86 | 92 | 0.0052519 | 0.0013163 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5237-3_0_5_load_87 | 93 | 0.004345 | 0.001089 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5237-3_0_5_load_78 | 94 | 0.0040663 | 0.0010191 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5237-3_0_5_load_103 | 95 | 0.0050353 | 0.001262 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5237-3_0_5_load_55 | 96 | 0.0042253 | 0.001059 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5237-3_0_5_load_56 | 97 | 0.002046 | 0.00051277 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5237-3_0_5_load_57 | 98 | 0.002812 | 0.00070477 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5237-3_0_5_load_58 | 99 | 0.0039435 | 0.00098833 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5237-3_0_5_load_60 | 101 | 0.0016382 | 0.00041058 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5237-3_0_5_load_62 | 102 | 0.0050547 | 0.0012668 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5237-3_0_5_load_93 | 103 | 0.0020665 | 0.0005179 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5237-3_0_5_load_124 | 104 | 0.0021165 | 0.00053045 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5237-3_0_5_load_91 | 105 | 0.0028734 | 0.00072015 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5237-3_0_5_load_73 | 106 | 0.0018205 | 0.00045627 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5237-3_0_5_load_63 | 107 | 0.0060221 | 0.0015093 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5237-3_0_5_load_69 | 108 | 0.0019617 | 0.00049166 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5237-3_0_5_load_70 | 109 | 0.0053345 | 0.001337 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5237-3_0_5_load_75 | 110 | 0.0036142 | 0.00090581 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5237-3_0_5_load_95 | 111 | 0.0012808 | 0.00032099 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5237-3_0_5_load_104 | 112 | 0.0093323 | 0.0023389 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5237-3_0_5_load_105 | 113 | 0.044381 | 0.011123 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5237-3_0_5_load_106 | 114 | 0.038581 | 0.0096693 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5237-3_0_5_load_96 | 115 | 0.0019685 | 0.00049335 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5237-3_0_5_load_107 | 116 | 0.0024513 | 0.00061436 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5237-3_0_5_load_108 | 117 | 0.0096138 | 0.0024095 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5237-3_0_5_load_109 | 118 | 0.0065789 | 0.0016488 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5237-3_0_5_load_122 | 119 | 0.0019709 | 0.00049395 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5237-3_0_5_load_88 | 120 | 0.0017083 | 0.00042813 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5237-3_0_5_load_89 | 121 | 0.0042425 | 0.0010633 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5237-3_0_5_load_90 | 122 | 0.0016765 | 0.00042017 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5237-3_0_5_load_97 | 123 | 0.013359 | 0.0033482 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5237-3_0_5_load_113 | 124 | 0.015565 | 0.0039009 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5237-3_0_5_load_114 | 125 | 0.0035269 | 0.00088391 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5237-3_0_5_load_111 | 126 | 0.0023699 | 0.00059396 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_5237-3_0_5_load_112 | 127 | 0.013482 | 0.0033789 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_5237-3_0_5_load_141 | 128 | 0.019474 | 0.0048806 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_5237-3_0_5_load_132 | 130 | 0.0022598 | 0.00056636 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_5237-3_0_5_load_133 | 131 | 0.0032687 | 0.00081922 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_5237-3_0_5_load_127 | 132 | 0.0038838 | 0.00097337 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_5237-3_0_5_load_136 | 134 | 0.0056469 | 0.0014153 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_5237-3_0_5_load_142 | 135 | 0.0051909 | 0.001301 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_5237-3_0_5_load_134 | 137 | 0.0034486 | 0.00086431 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_5237-3_0_5_load_137 | 139 | 0.0062691 | 0.0015712 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_5237-3_0_5_load_138 | 140 | 0.0018821 | 0.0004717 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 126 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5237-3_0_5_line_0 |  | 0 | 1 | 0.0011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_5237-3_0_5_line_1 |  | 0 | 2 | 0.017842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_5237-3_0_5_line_2 |  | 2 | 3 | 0.009973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_5237-3_0_5_line_3 |  | 2 | 4 | 0.014524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5237-3_0_5_line_4 |  | 3 | 5 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_5237-3_0_5_line_5 |  | 3 | 6 | 0.017747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5237-3_0_5_line_6 |  | 4 | 7 | 0.004089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_5237-3_0_5_line_7 |  | 5 | 8 | 0.0081244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5237-3_0_5_line_8 |  | 7 | 9 | 0.01167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5237-3_0_5_line_9 |  | 8 | 10 | 0.0015989 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_5237-3_0_5_line_10 |  | 9 | 11 | 0.04918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5237-3_0_5_line_11 |  | 10 | 100 | 0.0030741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5237-3_0_5_line_12 |  | 11 | 92 | 0.038725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5237-3_0_5_line_13 |  | 12 | 13 | 0.033179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5237-3_0_5_line_14 |  | 12 | 14 | 0.0011958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5237-3_0_5_line_15 |  | 13 | 15 | 0.019825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5237-3_0_5_line_16 |  | 14 | 16 | 0.018714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5237-3_0_5_line_17 |  | 15 | 17 | 0.019007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5237-3_0_5_line_18 |  | 15 | 18 | 0.042867 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5237-3_0_5_line_19 |  | 16 | 19 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5237-3_0_5_line_20 |  | 17 | 20 | 0.084823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5237-3_0_5_line_21 |  | 17 | 21 | 0.0059179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5237-3_0_5_line_22 |  | 18 | 22 | 0.034918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5237-3_0_5_line_23 |  | 19 | 26 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_5237-3_0_5_line_24 |  | 19 | 27 | 0.011076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5237-3_0_5_line_25 |  | 20 | 28 | 0.018223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5237-3_0_5_line_26 |  | 21 | 29 | 0.024427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5237-3_0_5_line_27 |  | 22 | 30 | 0.0011561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5237-3_0_5_line_28 |  | 23 | 24 | 0.0063013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5237-3_0_5_line_29 |  | 23 | 25 | 0.011071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5237-3_0_5_line_30 |  | 25 | 33 | 0.0058613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5237-3_0_5_line_31 |  | 25 | 34 | 0.0086412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5237-3_0_5_line_32 |  | 26 | 35 | 0.0076694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_5237-3_0_5_line_33 |  | 26 | 36 | 0.0037842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_5237-3_0_5_line_34 |  | 29 | 107 | 0.016701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5237-3_0_5_line_35 |  | 31 | 32 | 0.08157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_5237-3_0_5_line_36 |  | 32 | 132 | 0.034603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5237-3_0_5_line_37 |  | 32 | 133 | 0.069062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_5237-3_0_5_line_38 |  | 33 | 129 | 0.00017076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5237-3_0_5_line_39 |  | 34 | 126 | 0.0059737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5237-3_0_5_line_40 |  | 35 | 108 | 0.0078025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5237-3_0_5_line_41 |  | 36 | 65 | 0.0090102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5237-3_0_5_line_42 |  | 37 | 38 | 0.034176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5237-3_0_5_line_43 |  | 37 | 39 | 0.021391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5237-3_0_5_line_44 |  | 38 | 40 | 0.023002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5237-3_0_5_line_45 |  | 39 | 41 | 0.038554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5237-3_0_5_line_46 |  | 40 | 42 | 0.028234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5237-3_0_5_line_47 |  | 41 | 43 | 0.036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5237-3_0_5_line_48 |  | 42 | 44 | 0.012637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5237-3_0_5_line_49 |  | 44 | 45 | 0.0095827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5237-3_0_5_line_50 |  | 44 | 46 | 0.0067147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5237-3_0_5_line_51 |  | 45 | 49 | 0.00076912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5237-3_0_5_line_52 |  | 46 | 52 | 0.014855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5237-3_0_5_line_53 |  | 47 | 48 | 0.0046086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5237-3_0_5_line_54 |  | 48 | 53 | 0.0099456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5237-3_0_5_line_55 |  | 49 | 111 | 0.012463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5237-3_0_5_line_56 |  | 50 | 51 | 0.017964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5237-3_0_5_line_57 |  | 51 | 112 | 0.0085197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5237-3_0_5_line_58 |  | 51 | 113 | 0.017807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5237-3_0_5_line_59 |  | 51 | 114 | 0.021282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5237-3_0_5_line_60 |  | 52 | 77 | 0.0078958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5237-3_0_5_line_61 |  | 53 | 78 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5237-3_0_5_line_62 |  | 54 | 55 | 0.0044977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5237-3_0_5_line_63 |  | 54 | 56 | 0.0077993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5237-3_0_5_line_64 |  | 55 | 57 | 0.0094235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5237-3_0_5_line_65 |  | 56 | 58 | 0.0023748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5237-3_0_5_line_66 |  | 57 | 59 | 0.017845 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_5237-3_0_5_line_67 |  | 57 | 60 | 0.0070953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_5237-3_0_5_line_68 |  | 58 | 61 | 0.015563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5237-3_0_5_line_69 |  | 59 | 62 | 0.01939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
70 | LV_5237-3_0_5_line_70 |  | 60 | 63 | 0.0011437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_5237-3_0_5_line_71 |  | 61 | 64 | 0.00022509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5237-3_0_5_line_72 |  | 62 | 65 | 0.0061198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5237-3_0_5_line_73 |  | 62 | 66 | 0.0069193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5237-3_0_5_line_74 |  | 63 | 67 | 0.013291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_5237-3_0_5_line_75 |  | 64 | 68 | 0.0018809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5237-3_0_5_line_76 |  | 66 | 122 | 0.0035041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5237-3_0_5_line_77 |  | 67 | 126 | 0.01246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_5237-3_0_5_line_78 |  | 67 | 127 | 0.0030326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_5237-3_0_5_line_79 |  | 68 | 74 | 0.0077707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5237-3_0_5_line_80 |  | 69 | 70 | 0.030063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5237-3_0_5_line_81 |  | 69 | 71 | 0.062376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5237-3_0_5_line_82 |  | 70 | 72 | 0.0065325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5237-3_0_5_line_83 |  | 71 | 73 | 0.031005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5237-3_0_5_line_84 |  | 72 | 74 | 0.013458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5237-3_0_5_line_85 |  | 73 | 75 | 0.025175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_5237-3_0_5_line_86 |  | 75 | 76 | 0.0084065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_5237-3_0_5_line_87 |  | 76 | 119 | 0.0073558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5237-3_0_5_line_88 |  | 78 | 79 | 0.024625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_5237-3_0_5_line_89 |  | 79 | 80 | 0.002026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_5237-3_0_5_line_90 |  | 80 | 81 | 0.0054288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5237-3_0_5_line_91 |  | 81 | 82 | 0.019117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5237-3_0_5_line_92 |  | 82 | 119 | 0.0063153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5237-3_0_5_line_93 |  | 83 | 84 | 0.0059767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5237-3_0_5_line_94 |  | 83 | 85 | 0.024363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5237-3_0_5_line_95 |  | 85 | 86 | 0.075271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5237-3_0_5_line_96 |  | 86 | 87 | 0.023334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5237-3_0_5_line_97 |  | 86 | 88 | 0.020664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5237-3_0_5_line_98 |  | 87 | 94 | 0.023409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5237-3_0_5_line_99 |  | 88 | 110 | 0.035459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5237-3_0_5_line_100 |  | 89 | 90 | 0.008558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5237-3_0_5_line_101 |  | 89 | 91 | 0.037352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5237-3_0_5_line_102 |  | 90 | 92 | 0.0099654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5237-3_0_5_line_103 |  | 90 | 93 | 0.012192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5237-3_0_5_line_104 |  | 91 | 94 | 0.032683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5237-3_0_5_line_105 |  | 93 | 95 | 0.064228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_5237-3_0_5_line_106 |  | 96 | 97 | 0.014066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_5237-3_0_5_line_107 |  | 96 | 98 | 0.0030292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5237-3_0_5_line_108 |  | 97 | 99 | 0.001253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_5237-3_0_5_line_109 |  | 98 | 100 | 0.0023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_5237-3_0_5_line_110 |  | 99 | 101 | 0.00088497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5237-3_0_5_line_111 |  | 100 | 102 | 0.0072079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5237-3_0_5_line_112 |  | 101 | 103 | 0.0072246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_5237-3_0_5_line_113 |  | 102 | 104 | 0.0040888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5237-3_0_5_line_114 |  | 103 | 105 | 0.0015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5237-3_0_5_line_115 |  | 104 | 106 | 0.00046654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5237-3_0_5_line_116 |  | 105 | 121 | 0.0017483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5237-3_0_5_line_117 |  | 106 | 109 | 0.0082062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5237-3_0_5_line_118 |  | 111 | 115 | 0.0071615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5237-3_0_5_line_119 |  | 112 | 116 | 0.0188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5237-3_0_5_line_120 |  | 113 | 117 | 0.0064082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5237-3_0_5_line_121 |  | 114 | 118 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5237-3_0_5_line_122 |  | 115 | 123 | 0.0044032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5237-3_0_5_line_123 |  | 116 | 127 | 0.0025589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5237-3_0_5_line_124 |  | 117 | 128 | 0.0065924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5237-3_0_5_line_125 |  | 120 | 121 | 0.00062509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5237-3_0_5_line_126 |  | 120 | 122 | 0.00029183 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5237-3_0_5_line_127 |  | 123 | 124 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5237-3_0_5_line_128 |  | 124 | 125 | 0.0080157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5237-3_0_5_line_129 |  | 125 | 129 | 0.010793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5237-3_0_5_line_130 |  | 129 | 130 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5237-3_0_5_line_131 |  | 130 | 131 | 0.002854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5237-3_0_5_line_132 |  | 131 | 140 | 0.00446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5237-3_0_5_line_133 |  | 132 | 134 | 0.11093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5237-3_0_5_line_134 |  | 133 | 135 | 0.021891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_5237-3_0_5_line_135 |  | 133 | 136 | 0.077343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_5237-3_0_5_line_136 |  | 134 | 138 | 0.040052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_5237-3_0_5_line_137 |  | 136 | 140 | 0.052788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_5237-3_0_5_line_138 |  | 137 | 138 | 0.054653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_5237-3_0_5_line_139 |  | 138 | 139 | 0.075387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5237-3_0_5_trafo_111 | 0.63 MVA 20/0.4 kV | 141 | 126 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2713083.8369 | 1100687.439 | 2713083.3448 | 1100686.4519
1 | 2713092.5011 | 1100703.0189 | 2713087.4835 | 1100694.7533 | 2713083.8369 | 1100687.439
2 | 2713098.7236 | 1100695.2295 | 2713095.1961 | 1100699.2332 | 2713092.5011 | 1100703.0189
3 | 2713092.5011 | 1100703.0189 | 2713090.8571 | 1100706.4907 | 2713089.8299 | 1100710.0962 | 2713089.1171 | 1100713.4518 | 2713088.6638 | 1100716.9255
4 | 2713098.7236 | 1100695.2295 | 2713110.9192 | 1100706.7532 | 2713111.4075 | 1100707.179
5 | 2713098.7236 | 1100695.2295 | 2713102.6642 | 1100691.0779 | 2713106.2247 | 1100686.9636 | 2713107.9344 | 1100684.5382 | 2713108.9622 | 1100682.1447 | 2713109.2125 | 1100681.1662
6 | 2713088.1346 | 1100720.9802 | 2713088.6638 | 1100716.9255
7 | 2713111.4075 | 1100707.179 | 2713117.5304 | 1100712.5191
8 | 2713086.6246 | 1100732.5516 | 2713088.1346 | 1100720.9802
9 | 2713118.7354 | 1100713.57 | 2713117.5304 | 1100712.5191
10 | 2713086.6246 | 1100732.5516 | 2713083.4337 | 1100740.0973 | 2713080.3292 | 1100745.0873 | 2713075.9876 | 1100749.5762 | 2713070.991 | 1100753.0633 | 2713064.6185 | 1100756.0245 | 2713050.0608 | 1100762.0238
11 | 2713120.673 | 1100715.9521 | 2713119.7214 | 1100714.6669 | 2713118.7354 | 1100713.57 | 2713118.7354 | 1100713.57
12 | 2713050.0608 | 1100762.0238 | 2713036.353 | 1100767.673 | 2713031.9142 | 1100768.6466 | 2713027.2959 | 1100768.872 | 2713022.3672 | 1100768.3021 | 2713017.627 | 1100766.7573 | 2713013.4271 | 1100764.4665
13 | 2713126.4944 | 1100800.5489 | 2713124.9711 | 1100803.5466 | 2713122.2993 | 1100807.3328 | 2713119.3997 | 1100810.0473 | 2713114.7936 | 1100812.9412 | 2713105.6434 | 1100816.6511 | 2713100.0651 | 1100818.5624
14 | 2713126.4944 | 1100800.5489 | 2713127.0361 | 1100799.4828
15 | 2713082.1303 | 1100826.6979 | 2713084.6571 | 1100824.8771 | 2713087.077 | 1100823.3878 | 2713090.224 | 1100821.9343 | 2713100.0651 | 1100818.5624
16 | 2713137.3578 | 1100784.0308 | 2713133.3043 | 1100788.425 | 2713130.7975 | 1100792.0807 | 2713127.0361 | 1100799.4828
17 | 2713082.1303 | 1100826.6979 | 2713075.9673 | 1100826.7277 | 2713074.1539 | 1100826.8273 | 2713072.4543 | 1100827.0514 | 2713070.6346 | 1100827.4845 | 2713063.6179 | 1100830.1224
18 | 2713082.1303 | 1100826.6979 | 2713070.9196 | 1100835.4618 | 2713068.641 | 1100837.6765 | 2713066.8927 | 1100840.1011 | 2713065.8394 | 1100842.6165 | 2713065.2838 | 1100845.4303 | 2713065.634 | 1100848.2387 | 2713066.9058 | 1100850.6195 | 2713069.7838 | 1100852.3854 | 2713073.7231 | 1100853.2816 | 2713077.7122 | 1100853.1668
19 | 2713137.3578 | 1100784.0308 | 2713135.9604 | 1100780.9138 | 2713133.5764 | 1100776.7333 | 2713130.766 | 1100773.0007
20 | 2713009.0533 | 1100865.0973 | 2713010.3019 | 1100865.3985 | 2713014.6737 | 1100865.9357 | 2713018.5341 | 1100866.4968 | 2713021.9266 | 1100867.2382 | 2713025.0248 | 1100868.4077 | 2713028.6849 | 1100870.5773 | 2713034.1241 | 1100874.4922 | 2713036.1588 | 1100875.3974 | 2713038.0536 | 1100875.4994 | 2713040.2688 | 1100875.0292 | 2713041.9585 | 1100873.6708 | 2713043.2035 | 1100871.6704 | 2713044.5607 | 1100868.2155 | 2713045.8901 | 1100864.1709 | 2713047.4502 | 1100860.6309 | 2713055.6503 | 1100845.9959 | 2713058.4299 | 1100840.9887 | 2713059.9432 | 1100838.7153 | 2713061.4276 | 1100836.7416 | 2713062.3661 | 1100835.4026 | 2713062.976 | 1100834.2465 | 2713063.3297 | 1100833.1301 | 2713063.5798 | 1100831.7561 | 2713063.6179 | 1100830.1224
21 | 2713063.6179 | 1100830.1224 | 2713063.5325 | 1100825.1508 | 2713063.3935 | 1100824.2155
22 | 2713077.7122 | 1100853.1668 | 2713112.3094 | 1100848.4459
23 | 2713130.766 | 1100773.0007 | 2713136.2324 | 1100764.6524 | 2713137.0362 | 1100763.0663 | 2713137.7791 | 1100761.4235
24 | 2713130.766 | 1100773.0007 | 2713122.9943 | 1100765.1095
25 | 2712996.1676 | 1100852.3935 | 2713005.8772 | 1100863.1258 | 2713006.6841 | 1100863.8635 | 2713007.7932 | 1100864.5846 | 2713009.0533 | 1100865.0973
26 | 2713060.6098 | 1100799.9754 | 2713060.6178 | 1100802.9038 | 2713061.3172 | 1100810.2439 | 2713063.3935 | 1100824.2155
27 | 2713112.3094 | 1100848.4459 | 2713113.4549 | 1100848.2896
28 | 2713168.2104 | 1100780.214 | 2713165.9058 | 1100774.3492
29 | 2713168.2104 | 1100780.214 | 2713178.184 | 1100785.0809
30 | 2713178.184 | 1100785.0809 | 2713183.5017 | 1100787.546
31 | 2713178.184 | 1100785.0809 | 2713182.6105 | 1100777.6595
32 | 2713137.7791 | 1100761.4235 | 2713131.0202 | 1100757.7988
33 | 2713137.7791 | 1100761.4235 | 2713138.9865 | 1100757.8371
34 | 2713065.6172 | 1100784.6551 | 2713065.0963 | 1100785.2419 | 2713062.816 | 1100788.3794 | 2713061.564 | 1100790.7577 | 2713060.8018 | 1100793.0228 | 2713060.598 | 1100795.6541 | 2713060.6098 | 1100799.9754
35 | 2713165.2279 | 1100958.144 | 2713086.3057 | 1100937.528
36 | 2713165.2279 | 1100958.144 | 2713174.6425 | 1100972.5632 | 2713176.3265 | 1100975.6634 | 2713176.9699 | 1100978.9442 | 2713176.4286 | 1100981.4025 | 2713175.1688 | 1100983.7806 | 2713172.9337 | 1100984.9064 | 2713170.1435 | 1100984.6653
37 | 2713217.3745 | 1100912.8637 | 2713165.2279 | 1100958.144
38 | 2713183.6566 | 1100787.6179 | 2713183.5017 | 1100787.546
39 | 2713185.9689 | 1100772.7355 | 2713185.2503 | 1100773.5603 | 2713184.0738 | 1100775.2062 | 2713182.6105 | 1100777.6595
40 | 2713131.0202 | 1100757.7988 | 2713125.622 | 1100754.9038 | 2713124.0862 | 1100754.2303 | 2713124.0862 | 1100754.2303
41 | 2713138.9865 | 1100757.8371 | 2713141.4506 | 1100750.5178 | 2713141.9374 | 1100749.3261
42 | 2713317.8891 | 1100869.9636 | 2713311.0063 | 1100862.4533 | 2713293.9672 | 1100845.5667
43 | 2713332.3414 | 1100885.7336 | 2713317.8891 | 1100869.9636
44 | 2713277.6296 | 1100829.3752 | 2713293.9672 | 1100845.5667
45 | 2713332.3414 | 1100885.7336 | 2713335.2083 | 1100898.8737 | 2713336.7057 | 1100904.5054 | 2713337.6362 | 1100908.57 | 2713338.2132 | 1100912.0831 | 2713338.2219 | 1100916.1749 | 2713337.1595 | 1100922.4927 | 2713337.0485 | 1100923.536
46 | 2713277.6296 | 1100829.3752 | 2713275.6758 | 1100832.4297 | 2713274.0373 | 1100833.9447 | 2713271.7218 | 1100835.2246 | 2713269.2247 | 1100835.8673 | 2713267.6431 | 1100835.9935 | 2713266.2881 | 1100836.0016 | 2713263.94 | 1100835.7131 | 2713261.6258 | 1100835.2697 | 2713260.0875 | 1100834.7295 | 2713258.3101 | 1100833.7291 | 2713253.6314 | 1100830.2696
47 | 2713349.2491 | 1100957.3256 | 2713342.2194 | 1100945.4692 | 2713337.348 | 1100935.2047 | 2713336.6745 | 1100932.3013 | 2713336.5116 | 1100928.5847 | 2713337.0485 | 1100923.536
48 | 2713243.9083 | 1100822.2195 | 2713248.4453 | 1100826.3513 | 2713252.1551 | 1100829.1779 | 2713253.6314 | 1100830.2696
49 | 2713243.9083 | 1100822.2195 | 2713237.205 | 1100815.3716
50 | 2713243.9083 | 1100822.2195 | 2713242.9482 | 1100823.4691 | 2713242.2156 | 1100824.9787 | 2713241.9318 | 1100826.4967 | 2713242.0277 | 1100828.4108
51 | 2713236.6669 | 1100814.822 | 2713237.205 | 1100815.3716
52 | 2713242.0277 | 1100828.4108 | 2713242.4064 | 1100830.1079 | 2713244.0027 | 1100835.419 | 2713246.1692 | 1100842.6728
53 | 2713294.6925 | 1100738.4309 | 2713293.8616 | 1100733.8979
54 | 2713291.2701 | 1100724.3112 | 2713291.6574 | 1100725.2556 | 2713292.7936 | 1100729.0905 | 2713293.7173 | 1100733.1104 | 2713293.8616 | 1100733.8979
55 | 2713227.2299 | 1100806.7273 | 2713228.5798 | 1100807.6796 | 2713232.1599 | 1100810.4037 | 2713234.7843 | 1100812.8987 | 2713236.6669 | 1100814.822
56 | 2713219.2081 | 1100741.894 | 2713227.442 | 1100757.86
57 | 2713219.2081 | 1100741.894 | 2713212.8436 | 1100747.5577
58 | 2713219.2081 | 1100741.894 | 2713223.5854 | 1100743.3877 | 2713224.9319 | 1100744.2467 | 2713225.9382 | 1100745.4996 | 2713227.0256 | 1100747.3878 | 2713230.3016 | 1100754.4654
59 | 2713219.2081 | 1100741.894 | 2713234.6263 | 1100727.2247
60 | 2713246.1692 | 1100842.6728 | 2713246.8445 | 1100844.934 | 2713248.5909 | 1100850.1872
61 | 2713286.0187 | 1100713.2319 | 2713290.132 | 1100721.5358 | 2713291.2701 | 1100724.3112
62 | 2713183.6977 | 1100743.7941 | 2713186.731 | 1100740.4733
63 | 2713191.991 | 1100734.7146 | 2713186.731 | 1100740.4733
64 | 2713177.4367 | 1100750.8328 | 2713178.6494 | 1100749.321 | 2713183.6977 | 1100743.7941
65 | 2713193.5926 | 1100732.9612 | 2713191.991 | 1100734.7146
66 | 2713177.4367 | 1100750.8328 | 2713176.6382 | 1100750.4732 | 2713175.7745 | 1100750.2903 | 2713174.9408 | 1100750.1636 | 2713169.5952 | 1100749.5303 | 2713168.1191 | 1100749.3916 | 2713166.958 | 1100749.381 | 2713165.917 | 1100749.5729 | 2713165.1691 | 1100749.8258 | 2713164.4248 | 1100750.3011 | 2713163.9682 | 1100750.704 | 2713161.8857 | 1100754.023
67 | 2713177.4367 | 1100750.8328 | 2713180.6431 | 1100752.8383 | 2713183.2529 | 1100754.8797
68 | 2713193.5926 | 1100732.9612 | 2713197.862 | 1100728.287 | 2713203.8007 | 1100721.2175
69 | 2713161.8857 | 1100754.023 | 2713145.162 | 1100744.1271
70 | 2713184.1538 | 1100755.5843 | 2713183.2529 | 1100754.8797
71 | 2713203.8007 | 1100721.2175 | 2713203.9455 | 1100721.0452
72 | 2713145.162 | 1100744.1271 | 2713142.6502 | 1100748.0496 | 2713141.9374 | 1100749.3261
73 | 2713145.162 | 1100744.1271 | 2713148.1281 | 1100739.5015 | 2713148.9167 | 1100738.3153
74 | 2713194.6223 | 1100763.7728 | 2713184.1538 | 1100755.5843
75 | 2713203.9455 | 1100721.0452 | 2713205.1553 | 1100719.605
76 | 2713146.0567 | 1100736.2907 | 2713148.9167 | 1100738.3153
77 | 2713194.6223 | 1100763.7728 | 2713186.8325 | 1100771.7441 | 2713185.9689 | 1100772.7355
78 | 2713194.6223 | 1100763.7728 | 2713196.8878 | 1100761.7567
79 | 2713205.1553 | 1100719.605 | 2713210.1535 | 1100713.655
80 | 2713218.6288 | 1100697.9754 | 2713225.6495 | 1100685.4316 | 2713212.2613 | 1100677.2543
81 | 2713190.8966 | 1100633.071 | 2713190.1634 | 1100636.2706 | 2713195.2148 | 1100638.1548 | 2713195.9751 | 1100638.4803 | 2713196.5808 | 1100638.803 | 2713197.2385 | 1100639.2377 | 2713197.7866 | 1100639.7372 | 2713198.4069 | 1100640.5159 | 2713198.8375 | 1100641.091 | 2713199.2511 | 1100641.7436 | 2713199.6395 | 1100642.5069 | 2713200.7253 | 1100644.0615 | 2713205.7178 | 1100649.9363 | 2713206.9456 | 1100651.349 | 2713207.9488 | 1100652.3572 | 2713209.4614 | 1100653.4417 | 2713212.3381 | 1100655.2854 | 2713215.1885 | 1100657.2843 | 2713216.7366 | 1100658.5474 | 2713218.5383 | 1100660.3266 | 2713219.7842 | 1100662.0176 | 2713220.7243 | 1100663.9142 | 2713221.3123 | 1100665.5929 | 2713221.3839 | 1100666.7395 | 2713221.0025 | 1100667.6775 | 2713220.4634 | 1100668.3568 | 2713218.2673 | 1100670.7063 | 2713212.2613 | 1100677.2543 | 2713212.2613 | 1100677.2543
82 | 2713218.6288 | 1100697.9754 | 2713215.4383 | 1100703.6758 | 2713215.4383 | 1100703.6758
83 | 2713190.8966 | 1100633.071 | 2713208.5324 | 1100639.326 | 2713219.9399 | 1100644.1196
84 | 2713210.1535 | 1100713.655 | 2713217.284 | 1100705.1667 | 2713215.4383 | 1100703.6758
85 | 2713219.9399 | 1100644.1196 | 2713236.3086 | 1100651.4741 | 2713240.4531 | 1100653.8307 | 2713242.4588 | 1100655.2582
86 | 2713242.4588 | 1100655.2582 | 2713243.9983 | 1100656.354 | 2713249.0618 | 1100660.4565
87 | 2713254.5999 | 1100665.2894 | 2713252.075 | 1100662.8979 | 2713249.0618 | 1100660.4565
88 | 2713286.0187 | 1100713.2319 | 2713283.6336 | 1100708.4169 | 2713281.2406 | 1100703.8914 | 2713279.1347 | 1100700.1608 | 2713275.689 | 1100694.3815 | 2713273.9593 | 1100691.785
89 | 2713273.9593 | 1100691.785 | 2713272.8361 | 1100690.0989
90 | 2713269.8263 | 1100685.5808 | 2713272.8361 | 1100690.0989
91 | 2713269.8263 | 1100685.5808 | 2713264.7314 | 1100677.9328 | 2713261.8739 | 1100673.8212 | 2713258.9359 | 1100669.8749 | 2713258.9359 | 1100669.8749
92 | 2713254.5999 | 1100665.2894 | 2713256.0385 | 1100666.652 | 2713258.9359 | 1100669.8749
93 | 2712896.5947 | 1100812.2685 | 2712900.8003 | 1100814.3504 | 2712901.9187 | 1100814.981
94 | 2712896.5947 | 1100812.2685 | 2712886.4016 | 1100807.2225 | 2712878.2467 | 1100803.6241 | 2712877.5724 | 1100802.8333 | 2712877.4126 | 1100801.8519 | 2712877.6525 | 1100801.0224 | 2712878.443 | 1100800.1477
95 | 2712895.1889 | 1100726.7635 | 2712878.443 | 1100800.1477
96 | 2712917.7719 | 1100721.3308 | 2712917.2457 | 1100721.427 | 2712911.5988 | 1100723.2566 | 2712905.0724 | 1100725.3367 | 2712899.3445 | 1100726.531 | 2712895.1889 | 1100726.7635
97 | 2712875.0229 | 1100723.0958 | 2712879.4449 | 1100724.6044 | 2712884.2753 | 1100725.8839 | 2712889.7314 | 1100726.8192 | 2712894.5705 | 1100726.798 | 2712895.1889 | 1100726.7635
98 | 2712940.977 | 1100722.155 | 2712940.5374 | 1100722.0381 | 2712935.1377 | 1100720.9815 | 2712930.4691 | 1100720.5833 | 2712926.1359 | 1100720.4582 | 2712921.7202 | 1100720.6096 | 2712917.7719 | 1100721.3308
99 | 2712875.0229 | 1100723.0958 | 2712855.5579 | 1100716.4551 | 2712850.8059 | 1100715.1215 | 2712845.3157 | 1100713.941 | 2712841.0176 | 1100713.3325
100 | 2713006.7652 | 1100757.1933 | 2713002.8555 | 1100757.1983 | 2713000.866 | 1100756.7722 | 2712999.6165 | 1100756.104 | 2712998.7657 | 1100755.2321
101 | 2712998.7657 | 1100755.2321 | 2712994.1357 | 1100746.5179 | 2712991.5279 | 1100742.2887 | 2712988.9655 | 1100739.3725 | 2712985.7942 | 1100736.7228 | 2712981.2288 | 1100734.5142 | 2712972.2357 | 1100731.6796
102 | 2713006.7652 | 1100757.1933 | 2713008.2895 | 1100759.7345 | 2713010.4222 | 1100762.0312 | 2713013.4271 | 1100764.4665
103 | 2713006.7652 | 1100757.1933 | 2713004.8532 | 1100753.0216 | 2713002.148 | 1100745.9164
104 | 2712940.977 | 1100722.155 | 2712947.6403 | 1100723.927 | 2712964.9964 | 1100729.3978 | 2712972.2357 | 1100731.6796
105 | 2713002.148 | 1100745.9164 | 2712986.836 | 1100705.6991 | 2712984.3261 | 1100699.9597 | 2712981.5356 | 1100695.149 | 2712978.2934 | 1100690.4856 | 2712975.698 | 1100687.8637
106 | 2713123.7219 | 1100720.3506 | 2713124.1787 | 1100721.0097 | 2713125.7761 | 1100722.9518 | 2713127.9026 | 1100724.7482 | 2713130.0828 | 1100726.1564 | 2713134.7855 | 1100728.7491
107 | 2713123.7219 | 1100720.3506 | 2713121.9962 | 1100717.8611
108 | 2713134.7855 | 1100728.7491 | 2713135.8828 | 1100729.354
109 | 2713120.673 | 1100715.9521 | 2713121.9962 | 1100717.8611
110 | 2713136.6578 | 1100729.7813 | 2713136.6578 | 1100729.7813 | 2713135.8828 | 1100729.354
111 | 2713120.673 | 1100715.9521 | 2713118.3076 | 1100722.7608
112 | 2713136.6578 | 1100729.7813 | 2713138.1733 | 1100730.7101 | 2713142.6191 | 1100733.8573
113 | 2713116.9658 | 1100726.6232 | 2713118.3076 | 1100722.7608
114 | 2713143.8813 | 1100734.7508 | 2713142.6191 | 1100733.8573
115 | 2713116.9658 | 1100726.6232 | 2713116.8127 | 1100727.0639
116 | 2713145.3083 | 1100735.761 | 2713143.8813 | 1100734.7508
117 | 2713116.1886 | 1100734.9127 | 2713115.4524 | 1100732.7106 | 2713115.3461 | 1100731.7636 | 2713115.5764 | 1100730.6226 | 2713116.8127 | 1100727.0639
118 | 2713227.2299 | 1100806.7273 | 2713225.4393 | 1100805.464 | 2713223.4719 | 1100804.271 | 2713221.4338 | 1100803.1322 | 2713221.1319 | 1100802.988
119 | 2713212.8436 | 1100747.5577 | 2713198.7994 | 1100760.0556
120 | 2713232.9934 | 1100760.2808 | 2713230.3016 | 1100754.4654
121 | 2713242.3489 | 1100719.8771 | 2713234.6263 | 1100727.2247
122 | 2713221.1319 | 1100802.988 | 2713217.1588 | 1100801.0901
123 | 2713196.8878 | 1100761.7567 | 2713198.7994 | 1100760.0556
124 | 2713235.7625 | 1100766.2634 | 2713232.9934 | 1100760.2808
125 | 2713145.8185 | 1100736.1221 | 2713145.3083 | 1100735.761
126 | 2713146.0567 | 1100736.2907 | 2713145.8185 | 1100736.1221
127 | 2713217.1588 | 1100801.0901 | 2713201.4446 | 1100793.5836
128 | 2713194.0536 | 1100790.5116 | 2713196.0396 | 1100791.1509 | 2713198.3751 | 1100792.1173 | 2713201.4446 | 1100793.5836
129 | 2713183.6566 | 1100787.6179 | 2713193.4 | 1100790.3012 | 2713194.0536 | 1100790.5116
130 | 2713183.6566 | 1100787.6179 | 2713183.3913 | 1100799.4368
131 | 2713183.3913 | 1100799.4368 | 2713183.3272 | 1100802.2901
132 | 2713183.3272 | 1100802.2901 | 2713183.2271 | 1100806.749
133 | 2713170.1435 | 1100984.6653 | 2713249.2396 | 1101062.4397
134 | 2713217.3745 | 1100912.8637 | 2713222.3836 | 1100906.2082 | 2713223.9889 | 1100903.5696 | 2713225.5661 | 1100900.3636 | 2713228.3624 | 1100894.0559
135 | 2713169.016 | 1100857.4365 | 2713199.1341 | 1100878.0448 | 2713204.2167 | 1100882.398 | 2713209.6672 | 1100888.1924 | 2713212.4547 | 1100892.3138 | 2713214.788 | 1100897.5497 | 2713215.9708 | 1100901.3743 | 2713216.6269 | 1100904.7999 | 2713217.1271 | 1100909.1122 | 2713217.3745 | 1100912.8637
136 | 2713265.4054 | 1101099.0844 | 2713249.2396 | 1101062.4397
137 | 2713169.016 | 1100857.4365 | 2713180.9782 | 1100813.3519 | 2713181.3382 | 1100812.3135 | 2713181.9047 | 1100811.4123 | 2713182.3597 | 1100810.6759 | 2713182.8262 | 1100809.7395 | 2713183.0745 | 1100808.8769 | 2713183.2 | 1100807.9564 | 2713183.2271 | 1100806.749
138 | 2713265.4054 | 1101099.0844 | 2713283.7001 | 1101150.5843
139 | 2713214.829 | 1101086.7222 | 2713216.962 | 1101073.6309 | 2713217.6759 | 1101071.4649 | 2713218.834 | 1101069.9744 | 2713220.1937 | 1101068.8768 | 2713222.113 | 1101068.0787 | 2713224.5463 | 1101067.9462 | 2713226.7059 | 1101068.3756 | 2713230.018 | 1101070.1052 | 2713235.7621 | 1101073.4256 | 2713240.6569 | 1101077.0415 | 2713245.4642 | 1101081.2006 | 2713265.4054 | 1101099.0844

## bus_geodata
| x | y | coords
0 | 2713083.8369 | 1100687.439
1 | 2713083.3448 | 1100686.4519
2 | 2713092.5011 | 1100703.0189
3 | 2713098.7236 | 1100695.2295
4 | 2713088.6638 | 1100716.9255
5 | 2713111.4075 | 1100707.179
6 | 2713109.2125 | 1100681.1662
7 | 2713088.1346 | 1100720.9802
8 | 2713117.5304 | 1100712.5191
9 | 2713086.6246 | 1100732.5516
10 | 2713118.7354 | 1100713.57
11 | 2713050.0608 | 1100762.0239
12 | 2713126.4944 | 1100800.5489
13 | 2713100.0651 | 1100818.5624
14 | 2713127.0361 | 1100799.4828
15 | 2713082.1303 | 1100826.6979
16 | 2713137.3578 | 1100784.0308
17 | 2713063.6179 | 1100830.1224
18 | 2713077.7122 | 1100853.1668
19 | 2713130.766 | 1100773.0007
20 | 2713009.0533 | 1100865.0973
21 | 2713063.3935 | 1100824.2155
22 | 2713112.3094 | 1100848.4459
23 | 2713168.2104 | 1100780.214
24 | 2713165.9058 | 1100774.3492
25 | 2713178.184 | 1100785.0809
26 | 2713137.7791 | 1100761.4235
27 | 2713122.9943 | 1100765.1095
28 | 2712996.1676 | 1100852.3935
29 | 2713060.6098 | 1100799.9754
30 | 2713113.4549 | 1100848.2896
31 | 2713086.3057 | 1100937.528
32 | 2713165.2279 | 1100958.144
33 | 2713183.5017 | 1100787.546
34 | 2713182.6105 | 1100777.6595
35 | 2713131.0202 | 1100757.7988
36 | 2713138.9865 | 1100757.8371
37 | 2713317.8891 | 1100869.9636
38 | 2713293.9672 | 1100845.5667
39 | 2713332.3414 | 1100885.7336
40 | 2713277.6296 | 1100829.3752
41 | 2713337.0485 | 1100923.536
42 | 2713253.6314 | 1100830.2696
43 | 2713349.2491 | 1100957.3256
44 | 2713243.9083 | 1100822.2195
45 | 2713237.205 | 1100815.3716
46 | 2713242.0277 | 1100828.4108
47 | 2713294.6925 | 1100738.4309
48 | 2713293.8616 | 1100733.8979
49 | 2713236.6669 | 1100814.822
50 | 2713227.442 | 1100757.86
51 | 2713219.2081 | 1100741.894
52 | 2713246.1692 | 1100842.6728
53 | 2713291.2701 | 1100724.3112
54 | 2713186.731 | 1100740.4733
55 | 2713183.6977 | 1100743.7941
56 | 2713191.991 | 1100734.7146
57 | 2713177.4367 | 1100750.8328
58 | 2713193.5926 | 1100732.9612
59 | 2713161.8857 | 1100754.023
60 | 2713183.2529 | 1100754.8797
61 | 2713203.8007 | 1100721.2175
62 | 2713145.162 | 1100744.1271
63 | 2713184.1538 | 1100755.5843
64 | 2713203.9455 | 1100721.0452
65 | 2713141.9374 | 1100749.3261
66 | 2713148.9167 | 1100738.3153
67 | 2713194.6223 | 1100763.7728
68 | 2713205.1553 | 1100719.605
69 | 2713212.2613 | 1100677.2543
70 | 2713218.6288 | 1100697.9754
71 | 2713190.8966 | 1100633.071
72 | 2713215.4383 | 1100703.6758
73 | 2713219.9399 | 1100644.1196
74 | 2713210.1535 | 1100713.655
75 | 2713242.4588 | 1100655.2582
76 | 2713249.0618 | 1100660.4565
77 | 2713248.5909 | 1100850.1872
78 | 2713286.0187 | 1100713.2319
79 | 2713273.9593 | 1100691.785
80 | 2713272.8361 | 1100690.0989
81 | 2713269.8263 | 1100685.5808
82 | 2713258.9359 | 1100669.8749
83 | 2712896.5947 | 1100812.2685
84 | 2712901.9187 | 1100814.981
85 | 2712878.443 | 1100800.1477
86 | 2712895.1889 | 1100726.7635
87 | 2712917.7719 | 1100721.3308
88 | 2712875.0229 | 1100723.0958
89 | 2712998.7657 | 1100755.2321
90 | 2713006.7652 | 1100757.1933
91 | 2712972.2357 | 1100731.6796
92 | 2713013.4271 | 1100764.4665
93 | 2713002.148 | 1100745.9164
94 | 2712940.977 | 1100722.155
95 | 2712975.698 | 1100687.8637
96 | 2713123.7219 | 1100720.3506
97 | 2713134.7855 | 1100728.7491
98 | 2713121.9962 | 1100717.8611
99 | 2713135.8828 | 1100729.354
100 | 2713120.673 | 1100715.9521
101 | 2713136.6578 | 1100729.7813
102 | 2713118.3076 | 1100722.7608
103 | 2713142.6191 | 1100733.8573
104 | 2713116.9658 | 1100726.6232
105 | 2713143.8813 | 1100734.7508
106 | 2713116.8127 | 1100727.0639
107 | 2713065.6172 | 1100784.6551
108 | 2713124.0862 | 1100754.2303
109 | 2713116.1886 | 1100734.9127
110 | 2712841.0176 | 1100713.3325
111 | 2713227.2299 | 1100806.7273
112 | 2713212.8436 | 1100747.5577
113 | 2713230.3016 | 1100754.4654
114 | 2713234.6263 | 1100727.2247
115 | 2713221.1319 | 1100802.988
116 | 2713198.7994 | 1100760.0556
117 | 2713232.9934 | 1100760.2808
118 | 2713242.3489 | 1100719.8771
119 | 2713254.5999 | 1100665.2894
120 | 2713145.8185 | 1100736.1221
121 | 2713145.3083 | 1100735.761
122 | 2713146.0567 | 1100736.2907
123 | 2713217.1588 | 1100801.0901
124 | 2713201.4446 | 1100793.5836
125 | 2713194.0536 | 1100790.5116
126 | 2713185.9689 | 1100772.7355
127 | 2713196.8878 | 1100761.7567
128 | 2713235.7625 | 1100766.2634
129 | 2713183.6566 | 1100787.6179
130 | 2713183.3913 | 1100799.4368
131 | 2713183.3272 | 1100802.2901
132 | 2713170.1435 | 1100984.6653
133 | 2713217.3745 | 1100912.8637
134 | 2713249.2396 | 1101062.4397
135 | 2713228.3624 | 1100894.0559
136 | 2713169.016 | 1100857.4365
137 | 2713283.7001 | 1101150.5843
138 | 2713265.4054 | 1101099.0844
139 | 2713214.829 | 1101086.7222
140 | 2713183.2271 | 1100806.749
141 | 2713194.6223 | 1100763.7728

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1