## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_5237-4_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_5237-4_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_5237-4_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_5237-4_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_5237-4_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_5237-4_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_5237-4_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_5237-4_0_4_node_133 | 0.4 | n |  | TRUE
8 | bus_LV_5237-4_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_5237-4_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_5237-4_0_4_node_135 | 0.4 | n |  | TRUE
11 | bus_LV_5237-4_0_4_node_28 | 0.4 | n |  | TRUE
12 | bus_LV_5237-4_0_4_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_5237-4_0_4_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_5237-4_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_5237-4_0_4_node_134 | 0.4 | n |  | TRUE
16 | bus_LV_5237-4_0_4_node_125 | 0.4 | n |  | TRUE
17 | bus_LV_5237-4_0_4_node_253 | 0.4 | n |  | TRUE
18 | bus_LV_5237-4_0_4_node_26 | 0.4 | n |  | TRUE
19 | bus_LV_5237-4_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_5237-4_0_4_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_5237-4_0_4_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_5237-4_0_4_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_5237-4_0_4_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_5237-4_0_4_node_102 | 0.4 | n |  | TRUE
25 | bus_LV_5237-4_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_5237-4_0_4_node_101 | 0.4 | n |  | TRUE
27 | bus_LV_5237-4_0_4_node_111 | 0.4 | n |  | TRUE
28 | bus_LV_5237-4_0_4_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_5237-4_0_4_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_5237-4_0_4_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_5237-4_0_4_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_5237-4_0_4_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_5237-4_0_4_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_5237-4_0_4_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_5237-4_0_4_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_5237-4_0_4_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_5237-4_0_4_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_5237-4_0_4_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_5237-4_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_5237-4_0_4_node_23 | 0.4 | n |  | TRUE
41 | bus_LV_5237-4_0_4_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_5237-4_0_4_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_5237-4_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_5237-4_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_5237-4_0_4_node_31 | 0.4 | n |  | TRUE
46 | bus_LV_5237-4_0_4_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_5237-4_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_5237-4_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_5237-4_0_4_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_5237-4_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_5237-4_0_4_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_5237-4_0_4_node_103 | 0.4 | n |  | TRUE
53 | bus_LV_5237-4_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_5237-4_0_4_node_104 | 0.4 | n |  | TRUE
55 | bus_LV_5237-4_0_4_node_42 | 0.4 | n |  | TRUE
56 | bus_LV_5237-4_0_4_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_5237-4_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_5237-4_0_4_node_45 | 0.4 | n |  | TRUE
59 | bus_LV_5237-4_0_4_node_46 | 0.4 | n |  | TRUE
60 | bus_LV_5237-4_0_4_node_74 | 0.4 | n |  | TRUE
61 | bus_LV_5237-4_0_4_node_89 | 0.4 | n |  | TRUE
62 | bus_LV_5237-4_0_4_node_131 | 0.4 | n |  | TRUE
63 | bus_LV_5237-4_0_4_node_87 | 0.4 | n |  | TRUE
64 | bus_LV_5237-4_0_4_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_5237-4_0_4_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_5237-4_0_4_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_5237-4_0_4_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_5237-4_0_4_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_5237-4_0_4_node_100 | 0.4 | n |  | TRUE
70 | bus_LV_5237-4_0_4_node_49 | 0.4 | n |  | TRUE
71 | bus_LV_5237-4_0_4_node_50 | 0.4 | n |  | TRUE
72 | bus_LV_5237-4_0_4_node_51 | 0.4 | n |  | TRUE
73 | bus_LV_5237-4_0_4_node_52 | 0.4 | n |  | TRUE
74 | bus_LV_5237-4_0_4_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_5237-4_0_4_node_55 | 0.4 | n |  | TRUE
76 | bus_LV_5237-4_0_4_node_57 | 0.4 | n |  | TRUE
77 | bus_LV_5237-4_0_4_node_58 | 0.4 | n |  | TRUE
78 | bus_LV_5237-4_0_4_node_59 | 0.4 | n |  | TRUE
79 | bus_LV_5237-4_0_4_node_121 | 0.4 | n |  | TRUE
80 | bus_LV_5237-4_0_4_node_119 | 0.4 | n |  | TRUE
81 | bus_LV_5237-4_0_4_node_123 | 0.4 | n |  | TRUE
82 | bus_LV_5237-4_0_4_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_5237-4_0_4_node_120 | 0.4 | n |  | TRUE
84 | bus_LV_5237-4_0_4_node_60 | 0.4 | n |  | TRUE
85 | bus_LV_5237-4_0_4_node_61 | 0.4 | n |  | TRUE
86 | bus_LV_5237-4_0_4_node_62 | 0.4 | n |  | TRUE
87 | bus_LV_5237-4_0_4_node_63 | 0.4 | n |  | TRUE
88 | bus_LV_5237-4_0_4_node_65 | 0.4 | n |  | TRUE
89 | bus_LV_5237-4_0_4_node_122 | 0.4 | n |  | TRUE
90 | bus_LV_5237-4_0_4_node_118 | 0.4 | n |  | TRUE
91 | bus_LV_5237-4_0_4_node_79 | 0.4 | n |  | TRUE
92 | bus_LV_5237-4_0_4_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_5237-4_0_4_node_67 | 0.4 | n |  | TRUE
94 | bus_LV_5237-4_0_4_node_68 | 0.4 | n |  | TRUE
95 | bus_LV_5237-4_0_4_node_69 | 0.4 | n |  | TRUE
96 | bus_LV_5237-4_0_4_node_92 | 0.4 | n |  | TRUE
97 | bus_LV_5237-4_0_4_node_70 | 0.4 | n |  | TRUE
98 | bus_LV_5237-4_0_4_node_127 | 0.4 | n |  | TRUE
99 | bus_LV_5237-4_0_4_node_130 | 0.4 | n |  | TRUE
100 | bus_LV_5237-4_0_4_node_126 | 0.4 | n |  | TRUE
101 | bus_LV_5237-4_0_4_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_5237-4_0_4_node_128 | 0.4 | n |  | TRUE
103 | bus_LV_5237-4_0_4_node_112 | 0.4 | n |  | TRUE
104 | bus_LV_5237-4_0_4_node_78 | 0.4 | n |  | TRUE
105 | bus_LV_5237-4_0_4_node_129 | 0.4 | n |  | TRUE
106 | bus_LV_5237-4_0_4_node_136 | 0.4 | n |  | TRUE
107 | bus_LV_5237-4_0_4_node_76 | 0.4 | n |  | TRUE
108 | bus_LV_5237-4_0_4_node_77 | 0.4 | n |  | TRUE
109 | bus_LV_5237-4_0_4_node_114 | 0.4 | n |  | TRUE
110 | bus_LV_5237-4_0_4_node_115 | 0.4 | n |  | TRUE
111 | bus_LV_5237-4_0_4_node_132 | 0.4 | n |  | TRUE
112 | bus_LV_5237-4_0_4_node_117 | 0.4 | n |  | TRUE
113 | bus_LV_5237-4_0_4_node_116 | 0.4 | n |  | TRUE
114 | bus_LV_5237-4_0_4_node_80 | 0.4 | n |  | TRUE
115 | bus_LV_5237-4_0_4_node_81 | 0.4 | n |  | TRUE
116 | bus_LV_5237-4_0_4_node_82 | 0.4 | n |  | TRUE
117 | bus_LV_5237-4_0_4_node_83 | 0.4 | n |  | TRUE
118 | bus_LV_5237-4_0_4_node_84 | 0.4 | n |  | TRUE
119 | bus_LV_5237-4_0_4_node_85 | 0.4 | n |  | TRUE
120 | bus_LV_5237-4_0_4_node_107 | 0.4 | n |  | TRUE
121 | bus_LV_5237-4_0_4_node_105 | 0.4 | n |  | TRUE
122 | bus_LV_5237-4_0_4_node_96 | 0.4 | n |  | TRUE
123 | bus_LV_5237-4_0_4_node_86 | 0.4 | n |  | TRUE
124 | bus_LV_5237-4_0_4_node_252 | 0.4 | n |  | TRUE
125 | bus_LV_5237-4_0_4_node_88 | 0.4 | n |  | TRUE
126 | bus_LV_5237-4_0_4_node_250 | 0.4 | n |  | TRUE
127 | bus_LV_5237-4_0_4_node_251 | 0.4 | n |  | TRUE
128 | bus_LV_5237-4_0_4_node_94 | 0.4 | n |  | TRUE
129 | bus_LV_5237-4_0_4_node_95 | 0.4 | n |  | TRUE
130 | bus_LV_5237-4_0_4_node_97 | 0.4 | n |  | TRUE
131 | bus_LV_5237-4_0_4_node_113 | 0.4 | n |  | TRUE
132 | bus_LV_5237-4_0_4_node_109 | 0.4 | n |  | TRUE
133 | bus_LV_5237-4_0_4_node_108 | 0.4 | n |  | TRUE
134 | bus_LV_5237-4_0_4_node_106 | 0.4 | n |  | TRUE
135 | bus_LV_5237-4_0_4_node_110 | 0.4 | n |  | TRUE
136 | bus_LV_5237-4_0_4_node_124 | 0.4 | n |  | TRUE
137 | bus_MV_73_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_5237-4_0_4_load_0 | 0 | 0.0032415 | 0.00081239 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_5237-4_0_4_load_1 | 1 | 0.00342 | 0.00085713 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_5237-4_0_4_load_2 | 2 | 0.0040216 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_5237-4_0_4_load_4 | 4 | 0.0034834 | 0.00087303 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_5237-4_0_4_load_5 | 5 | 0.0028765 | 0.00072091 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_5237-4_0_4_load_8 | 6 | 0.003459 | 0.00086692 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_5237-4_0_4_load_135 | 10 | 0.0042647 | 0.0010688 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_5237-4_0_4_load_13 | 12 | 0.0047604 | 0.0011931 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_5237-4_0_4_load_134 | 15 | 0.0029302 | 0.00073437 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_5237-4_0_4_load_125 | 16 | 0.0026192 | 0.00065645 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_5237-4_0_4_load_253 | 17 | 0.0014525 | 0.00036402 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_5237-4_0_4_load_12 | 19 | 0.0045022 | 0.0011284 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_5237-4_0_4_load_22 | 21 | 0.0041682 | 0.0010446 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_5237-4_0_4_load_10 | 22 | 0.0024888 | 0.00062374 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_5237-4_0_4_load_11 | 23 | 0.002498 | 0.00062606 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_5237-4_0_4_load_102 | 24 | 0.0030581 | 0.00076643 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_5237-4_0_4_load_53 | 25 | 0.0018713 | 0.00046899 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_5237-4_0_4_load_101 | 26 | 0.0021303 | 0.00053392 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_5237-4_0_4_load_14 | 29 | 0.0013687 | 0.00034304 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_5237-4_0_4_load_15 | 30 | 0.0024852 | 0.00062284 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_5237-4_0_4_load_16 | 31 | 0.0022182 | 0.00055593 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_5237-4_0_4_load_17 | 32 | 0.0023939 | 0.00059996 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_5237-4_0_4_load_18 | 33 | 0.001592 | 0.00039899 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_5237-4_0_4_load_19 | 34 | 0.0031747 | 0.00079565 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_5237-4_0_4_load_25 | 35 | 0.0020671 | 0.00051807 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_5237-4_0_4_load_20 | 38 | 0.0033809 | 0.00084734 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_5237-4_0_4_load_21 | 39 | 0.0037796 | 0.00094727 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_5237-4_0_4_load_23 | 40 | 0.0047691 | 0.0011952 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_5237-4_0_4_load_29 | 41 | 0.0021553 | 0.00054018 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_5237-4_0_4_load_30 | 42 | 0.0015387 | 0.00038563 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_5237-4_0_4_load_35 | 43 | 0.013919 | 0.0034885 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_5237-4_0_4_load_27 | 44 | 0.00083691 | 0.00020975 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_5237-4_0_4_load_31 | 45 | 0.0048531 | 0.0012163 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_5237-4_0_4_load_36 | 46 | 0.0045984 | 0.0011525 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_5237-4_0_4_load_37 | 47 | 0.0091641 | 0.0022967 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_5237-4_0_4_load_38 | 48 | 0.0044334 | 0.0011111 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_5237-4_0_4_load_40 | 49 | 0.0034953 | 0.000876 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_5237-4_0_4_load_47 | 50 | 0.0024347 | 0.0006102 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_5237-4_0_4_load_41 | 51 | 0.0028908 | 0.00072451 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_5237-4_0_4_load_103 | 52 | 0.0025732 | 0.00064491 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_5237-4_0_4_load_48 | 53 | 0.0020533 | 0.00051461 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_5237-4_0_4_load_104 | 54 | 0.002387 | 0.00059825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_5237-4_0_4_load_42 | 55 | 0.0026944 | 0.00067529 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_5237-4_0_4_load_43 | 56 | 0.002243 | 0.00056216 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_5237-4_0_4_load_44 | 57 | 0.0040645 | 0.0010187 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_5237-4_0_4_load_45 | 58 | 0.0023492 | 0.00058875 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_5237-4_0_4_load_74 | 60 | 0.0040318 | 0.0010105 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_5237-4_0_4_load_131 | 62 | 0.0053643 | 0.0013444 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_5237-4_0_4_load_91 | 65 | 0.0029486 | 0.00073899 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_5237-4_0_4_load_90 | 66 | 0.0022893 | 0.00057376 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_5237-4_0_4_load_99 | 68 | 0.0023273 | 0.00058327 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_5237-4_0_4_load_100 | 69 | 0.0027954 | 0.0007006 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_5237-4_0_4_load_49 | 70 | 0.0048825 | 0.0012237 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_5237-4_0_4_load_50 | 71 | 0.0025945 | 0.00065024 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_5237-4_0_4_load_51 | 72 | 0.0036831 | 0.00092308 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_5237-4_0_4_load_52 | 73 | 0.0031694 | 0.00079433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_5237-4_0_4_load_54 | 74 | 0.0050126 | 0.0012563 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_5237-4_0_4_load_55 | 75 | 0.0022795 | 0.00057129 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_5237-4_0_4_load_58 | 77 | 0.0036107 | 0.00090494 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_5237-4_0_4_load_119 | 80 | 0.0018773 | 0.0004705 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_5237-4_0_4_load_123 | 81 | 0.0040613 | 0.0010178 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_5237-4_0_4_load_120 | 83 | 0.0068491 | 0.0017165 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_5237-4_0_4_load_60 | 84 | 0.0023717 | 0.00059441 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_5237-4_0_4_load_61 | 85 | 0.0039365 | 0.00098657 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_5237-4_0_4_load_65 | 88 | 0.0050809 | 0.0012734 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_5237-4_0_4_load_122 | 89 | 0.0020967 | 0.00052549 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_5237-4_0_4_load_118 | 90 | 0.0052347 | 0.001312 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_5237-4_0_4_load_66 | 92 | 0.0023052 | 0.00057775 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_5237-4_0_4_load_67 | 93 | 0.0022821 | 0.00057195 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_5237-4_0_4_load_69 | 95 | 0.0046573 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_5237-4_0_4_load_92 | 96 | 0.0040508 | 0.0010152 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_5237-4_0_4_load_130 | 99 | 0.0047351 | 0.0011867 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_5237-4_0_4_load_126 | 100 | 0.0023046 | 0.00057758 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_5237-4_0_4_load_93 | 101 | 0.0029603 | 0.00074193 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_5237-4_0_4_load_128 | 102 | 0.0078811 | 0.0019752 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_5237-4_0_4_load_136 | 106 | 0.0022434 | 0.00056226 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_5237-4_0_4_load_76 | 107 | 0.0027007 | 0.00067686 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_5237-4_0_4_load_114 | 109 | 0.0023602 | 0.00059153 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_5237-4_0_4_load_115 | 110 | 0.0029486 | 0.00073899 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_5237-4_0_4_load_132 | 111 | 0.002802 | 0.00070225 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_5237-4_0_4_load_117 | 112 | 0.0057104 | 0.0014312 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_5237-4_0_4_load_116 | 113 | 0.0030268 | 0.00075858 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_5237-4_0_4_load_80 | 114 | 0.0031704 | 0.00079459 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_5237-4_0_4_load_81 | 115 | 0.0018626 | 0.00046681 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_5237-4_0_4_load_83 | 117 | 0.001783 | 0.00044687 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_5237-4_0_4_load_84 | 118 | 0.0066492 | 0.0016664 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_5237-4_0_4_load_85 | 119 | 0.0044517 | 0.0011157 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_5237-4_0_4_load_105 | 121 | 0.0028859 | 0.00072328 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_5237-4_0_4_load_96 | 122 | 0.0020163 | 0.00050534 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_5237-4_0_4_load_86 | 123 | 0.00172 | 0.00043107 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_5237-4_0_4_load_252 | 124 | 0.0041869 | 0.0010493 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_5237-4_0_4_load_88 | 125 | 0.0019259 | 0.00048268 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_5237-4_0_4_load_250 | 126 | 0.0022729 | 0.00056964 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_5237-4_0_4_load_94 | 128 | 0.0029688 | 0.00074406 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_5237-4_0_4_load_95 | 129 | 0.0027383 | 0.00068629 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_5237-4_0_4_load_97 | 130 | 0.006713 | 0.0016824 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_5237-4_0_4_load_113 | 131 | 0.0023608 | 0.00059167 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_5237-4_0_4_load_109 | 132 | 0.0018211 | 0.00045642 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_5237-4_0_4_load_108 | 133 | 0.0034955 | 0.00087606 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_5237-4_0_4_load_106 | 134 | 0.0017293 | 0.00043341 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_5237-4_0_4_load_110 | 135 | 0.002083 | 0.00052204 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_5237-4_0_4_load_124 | 136 | 0.0024048 | 0.00060271 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_5237-4_0_4_line_0 |  | 0 | 1 | 0.019205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
1 | LV_5237-4_0_4_line_1 |  | 0 | 2 | 0.019713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
2 | LV_5237-4_0_4_line_2 |  | 1 | 3 | 0.018044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
3 | LV_5237-4_0_4_line_3 |  | 2 | 4 | 0.013981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_5237-4_0_4_line_4 |  | 3 | 5 | 0.025713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
5 | LV_5237-4_0_4_line_5 |  | 4 | 6 | 0.025012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_5237-4_0_4_line_6 |  | 5 | 7 | 0.030754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_5237-4_0_4_line_7 |  | 6 | 14 | 0.0138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_5237-4_0_4_line_8 |  | 7 | 15 | 0.015409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_5237-4_0_4_line_9 |  | 7 | 16 | 0.010442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_5237-4_0_4_line_10 |  | 8 | 9 | 0.050059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_5237-4_0_4_line_11 |  | 8 | 10 | 0.034026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_5237-4_0_4_line_12 |  | 9 | 11 | 0.12527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_5237-4_0_4_line_13 |  | 9 | 12 | 0.098847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_5237-4_0_4_line_14 |  | 9 | 13 | 0.065859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_5237-4_0_4_line_15 |  | 10 | 15 | 0.024443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_5237-4_0_4_line_16 |  | 11 | 17 | 0.019174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_5237-4_0_4_line_17 |  | 11 | 18 | 0.18311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_5237-4_0_4_line_18 |  | 12 | 19 | 0.0013566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_5237-4_0_4_line_19 |  | 13 | 20 | 0.011933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_5237-4_0_4_line_20 |  | 13 | 21 | 0.005005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_5237-4_0_4_line_21 |  | 14 | 22 | 0.0037824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_5237-4_0_4_line_22 |  | 14 | 23 | 0.016384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_5237-4_0_4_line_23 |  | 16 | 136 | 0.0086345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_5237-4_0_4_line_24 |  | 18 | 44 | 0.038089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_5237-4_0_4_line_25 |  | 18 | 35 | 0.017715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_5237-4_0_4_line_26 |  | 19 | 29 | 0.054463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_5237-4_0_4_line_27 |  | 20 | 43 | 0.064075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_5237-4_0_4_line_28 |  | 21 | 38 | 0.017659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_5237-4_0_4_line_29 |  | 22 | 24 | 0.032776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_5237-4_0_4_line_30 |  | 24 | 25 | 0.0099014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_5237-4_0_4_line_31 |  | 25 | 72 | 0.010964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_5237-4_0_4_line_32 |  | 26 | 27 | 0.009843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_5237-4_0_4_line_33 |  | 26 | 28 | 0.025736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_5237-4_0_4_line_34 |  | 27 | 131 | 0.005704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_5237-4_0_4_line_35 |  | 27 | 132 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_5237-4_0_4_line_36 |  | 28 | 122 | 0.023474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_5237-4_0_4_line_37 |  | 28 | 118 | 0.069901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_5237-4_0_4_line_38 |  | 30 | 31 | 0.034192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_5237-4_0_4_line_39 |  | 30 | 32 | 0.0016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_5237-4_0_4_line_40 |  | 31 | 33 | 0.0035452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_5237-4_0_4_line_41 |  | 32 | 34 | 0.04258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_5237-4_0_4_line_42 |  | 33 | 35 | 0.0017345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_5237-4_0_4_line_43 |  | 34 | 36 | 0.19611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_5237-4_0_4_line_44 |  | 36 | 37 | 0.16619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_5237-4_0_4_line_45 |  | 37 | 45 | 0.086349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_5237-4_0_4_line_46 |  | 38 | 39 | 0.040458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_5237-4_0_4_line_47 |  | 39 | 40 | 0.0067193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_5237-4_0_4_line_48 |  | 40 | 41 | 0.032233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_5237-4_0_4_line_49 |  | 41 | 42 | 0.0054935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_5237-4_0_4_line_50 |  | 43 | 46 | 0.0025133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_5237-4_0_4_line_51 |  | 47 | 48 | 0.019394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_5237-4_0_4_line_52 |  | 48 | 49 | 0.0028051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_5237-4_0_4_line_53 |  | 49 | 50 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_5237-4_0_4_line_54 |  | 50 | 53 | 0.00040079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_5237-4_0_4_line_55 |  | 51 | 52 | 0.051848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_5237-4_0_4_line_56 |  | 52 | 54 | 0.022299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_5237-4_0_4_line_57 |  | 53 | 68 | 0.017978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_5237-4_0_4_line_58 |  | 54 | 133 | 0.0070054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_5237-4_0_4_line_59 |  | 55 | 56 | 0.00656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_5237-4_0_4_line_60 |  | 55 | 57 | 0.014872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_5237-4_0_4_line_61 |  | 56 | 58 | 0.0057224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_5237-4_0_4_line_62 |  | 57 | 59 | 0.038097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_5237-4_0_4_line_63 |  | 59 | 60 | 0.021514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_5237-4_0_4_line_64 |  | 60 | 67 | 0.013205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_5237-4_0_4_line_65 |  | 61 | 62 | 0.029799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_5237-4_0_4_line_66 |  | 61 | 63 | 0.35055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_5237-4_0_4_line_67 |  | 62 | 119 | 0.063641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_5237-4_0_4_line_68 |  | 63 | 125 | 0.02199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_5237-4_0_4_line_69 |  | 63 | 123 | 0.18908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_5237-4_0_4_line_70 |  | 64 | 65 | 0.0075094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_5237-4_0_4_line_71 |  | 64 | 66 | 0.0053833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_5237-4_0_4_line_72 |  | 65 | 109 | 0.0043952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_5237-4_0_4_line_73 |  | 67 | 87 | 0.013057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_5237-4_0_4_line_74 |  | 68 | 69 | 0.015795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_5237-4_0_4_line_75 |  | 69 | 73 | 0.022578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_5237-4_0_4_line_76 |  | 70 | 71 | 0.022319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_5237-4_0_4_line_77 |  | 70 | 72 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_5237-4_0_4_line_78 |  | 71 | 73 | 0.006469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_5237-4_0_4_line_79 |  | 74 | 75 | 0.019802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_5237-4_0_4_line_80 |  | 75 | 76 | 0.0102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_5237-4_0_4_line_81 |  | 76 | 77 | 0.015843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_5237-4_0_4_line_82 |  | 76 | 78 | 0.00589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_5237-4_0_4_line_83 |  | 78 | 79 | 0.028639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_5237-4_0_4_line_84 |  | 78 | 80 | 0.022302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_5237-4_0_4_line_85 |  | 79 | 81 | 0.025191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_5237-4_0_4_line_86 |  | 79 | 82 | 0.009586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_5237-4_0_4_line_87 |  | 80 | 83 | 0.011547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_5237-4_0_4_line_88 |  | 81 | 136 | 0.013769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_5237-4_0_4_line_89 |  | 82 | 100 | 0.010818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_5237-4_0_4_line_90 |  | 82 | 94 | 0.013644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_5237-4_0_4_line_91 |  | 84 | 85 | 0.00095464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_5237-4_0_4_line_92 |  | 84 | 86 | 0.0084363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_5237-4_0_4_line_93 |  | 85 | 87 | 0.0064305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_5237-4_0_4_line_94 |  | 86 | 88 | 0.0034612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_5237-4_0_4_line_95 |  | 87 | 89 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_5237-4_0_4_line_96 |  | 88 | 90 | 0.0038143 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_5237-4_0_4_line_97 |  | 90 | 91 | 0.0054259 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_5237-4_0_4_line_98 |  | 91 | 110 | 0.0020125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_5237-4_0_4_line_99 |  | 91 | 108 | 0.011374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_5237-4_0_4_line_100 |  | 92 | 93 | 0.0073976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_5237-4_0_4_line_101 |  | 92 | 94 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_5237-4_0_4_line_102 |  | 93 | 95 | 0.0041916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_5237-4_0_4_line_103 |  | 95 | 96 | 0.015465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_5237-4_0_4_line_104 |  | 96 | 101 | 0.013148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_5237-4_0_4_line_105 |  | 97 | 98 | 0.002692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
106 | LV_5237-4_0_4_line_106 |  | 97 | 99 | 0.0079138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_5237-4_0_4_line_107 |  | 98 | 102 | 0.013865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_5237-4_0_4_line_108 |  | 98 | 100 | 0.0071718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
109 | LV_5237-4_0_4_line_109 |  | 99 | 103 | 0.016034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
110 | LV_5237-4_0_4_line_110 |  | 101 | 109 | 0.0069012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_5237-4_0_4_line_111 |  | 103 | 105 | 0.016657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_5237-4_0_4_line_112 |  | 103 | 135 | 0.0072957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
113 | LV_5237-4_0_4_line_113 |  | 104 | 105 | 0.00792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_5237-4_0_4_line_114 |  | 104 | 106 | 0.00032719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_5237-4_0_4_line_115 |  | 105 | 111 | 0.013737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_5237-4_0_4_line_116 |  | 106 | 112 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_5237-4_0_4_line_117 |  | 107 | 108 | 0.0059527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_5237-4_0_4_line_118 |  | 110 | 113 | 0.012674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_5237-4_0_4_line_119 |  | 112 | 113 | 0.0044938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_5237-4_0_4_line_120 |  | 114 | 115 | 0.019185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_5237-4_0_4_line_121 |  | 114 | 116 | 0.042609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_5237-4_0_4_line_122 |  | 115 | 117 | 0.0036073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_5237-4_0_4_line_123 |  | 116 | 118 | 0.0063873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_5237-4_0_4_line_124 |  | 116 | 119 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_5237-4_0_4_line_125 |  | 117 | 120 | 0.022713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_5237-4_0_4_line_126 |  | 120 | 121 | 0.026114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_5237-4_0_4_line_127 |  | 121 | 134 | 0.011689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_5237-4_0_4_line_128 |  | 122 | 128 | 0.0068531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_5237-4_0_4_line_129 |  | 123 | 124 | 0.33211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_5237-4_0_4_line_130 |  | 124 | 127 | 0.062555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_5237-4_0_4_line_131 |  | 126 | 127 | 0.17913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_5237-4_0_4_line_132 |  | 128 | 129 | 0.0012823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_5237-4_0_4_line_133 |  | 129 | 130 | 0.024486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_5237-4_0_4_line_134 |  | 132 | 135 | 0.0015257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
135 | LV_5237-4_0_4_line_135 |  | 133 | 134 | 0.017407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_5237-4_0_4_trafo_2 | 0.63 MVA 20/0.4 kV | 137 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37
0 | 2712374.4923 | 1100652.4926 | 2712381.5706 | 1100658.6633 | 2712390.0214 | 1100663.6551
1 | 2712374.4923 | 1100652.4926 | 2712370.4164 | 1100648.9394 | 2712364.0239 | 1100640.0263 | 2712362.2263 | 1100637.2145
2 | 2712402.4771 | 1100676.0506 | 2712401.8014 | 1100673.6587 | 2712400.1771 | 1100671.4828 | 2712391.9474 | 1100664.7927 | 2712390.0214 | 1100663.6551
3 | 2712362.2263 | 1100637.2145 | 2712357.6434 | 1100630.046 | 2712355.3236 | 1100625.0898
4 | 2712402.4771 | 1100676.0506 | 2712402.3049 | 1100678.6603 | 2712401.425 | 1100681.0234 | 2712400.198 | 1100682.9019 | 2712397.5194 | 1100685.821 | 2712391.8619 | 1100695.3449 | 2712390.6672 | 1100698.414
5 | 2712347.5872 | 1100601.3472 | 2712349.578 | 1100608.6158 | 2712353.5696 | 1100621.3426 | 2712355.3236 | 1100625.0898
6 | 2712390.3408 | 1100728.161 | 2712388.7394 | 1100724.7513 | 2712387.9196 | 1100722.2011 | 2712387.3888 | 1100719.9231 | 2712387.096 | 1100717.3382 | 2712387.1935 | 1100713.7487 | 2712388.0575 | 1100707.6384 | 2712389.6103 | 1100701.1294 | 2712390.6672 | 1100698.414
7 | 2712341.8256 | 1100589.0927 | 2712345.5531 | 1100593.9204 | 2712347.5872 | 1100601.3472
8 | 2712390.3408 | 1100728.161 | 2712395.4085 | 1100713.6094
9 | 2712390.3408 | 1100728.161 | 2712389.2041 | 1100730.5972 | 2712387.1851 | 1100733.017 | 2712384.2228 | 1100735.3749 | 2712383.5165 | 1100735.7837
10 | 2712469.8773 | 1100637.65 | 2712456.8815 | 1100652.1192 | 2712449.8488 | 1100660.2278 | 2712445.1704 | 1100664.9443 | 2712440.5876 | 1100668.6842 | 2712434.4744 | 1100672.7071
11 | 2712434.4744 | 1100672.7071 | 2712416.9697 | 1100683.5905 | 2712412.9761 | 1100686.4519 | 2712408.7275 | 1100690.1201 | 2712406.7725 | 1100692.2452
12 | 2712469.8773 | 1100637.65 | 2712474.339 | 1100632.9295 | 2712477.0269 | 1100630.3442 | 2712479.7897 | 1100639.179 | 2712480.8294 | 1100643.2343 | 2712481.5809 | 1100645.294 | 2712482.3831 | 1100646.7098 | 2712483.5868 | 1100647.7662 | 2712485.4363 | 1100648.6455 | 2712487.6576 | 1100649.098 | 2712516.5078 | 1100650.9891 | 2712519.0776 | 1100651.0145 | 2712522.0288 | 1100650.9357 | 2712524.9541 | 1100650.5786 | 2712531.4327 | 1100648.9864 | 2712536.5058 | 1100647.2014 | 2712540.9568 | 1100645.983 | 2712544.2954 | 1100645.4667 | 2712548.2411 | 1100645.1952 | 2712559.668 | 1100645.2069 | 2712567.072 | 1100645.4776 | 2712570.7147 | 1100645.2672 | 2712574.4641 | 1100644.7252 | 2712578.5623 | 1100643.7449
13 | 2712469.8773 | 1100637.65 | 2712459.029 | 1100624.3736 | 2712455.9431 | 1100620.0247 | 2712453.3521 | 1100615.7072 | 2712451.9784 | 1100612.1238 | 2712451.1962 | 1100608.796 | 2712446.918 | 1100588.9813 | 2712446.2152 | 1100580.5293 | 2712449.395 | 1100560.9972 | 2712453.1485 | 1100545.9209
14 | 2712469.8773 | 1100637.65 | 2712474.339 | 1100632.9295 | 2712477.0269 | 1100630.3442 | 2712479.4897 | 1100628.2105 | 2712482.2863 | 1100626.0275 | 2712486.6596 | 1100623.151 | 2712492.089 | 1100620.105 | 2712497.8218 | 1100617.3983 | 2712503.3487 | 1100615.3548 | 2712509.1004 | 1100613.7158 | 2712515.4655 | 1100612.3994 | 2712522.456 | 1100611.595 | 2712528.0545 | 1100611.1206
15 | 2712406.7725 | 1100692.2452 | 2712405.2274 | 1100693.9246 | 2712402.3952 | 1100697.6191 | 2712399.8852 | 1100701.8867 | 2712397.6506 | 1100707.1711 | 2712395.4085 | 1100713.6094
16 | 2712597.276 | 1100644.5033 | 2712592.5076 | 1100642.8027 | 2712591.1822 | 1100642.4668 | 2712589.9936 | 1100642.2669 | 2712588.5246 | 1100642.1618 | 2712587.0621 | 1100642.1235 | 2712585.7897 | 1100642.2667 | 2712578.5623 | 1100643.7449
17 | 2712718.9571 | 1100689.5122 | 2712714.297 | 1100689.4812 | 2712711.8022 | 1100689.1681 | 2712709.1153 | 1100688.7735 | 2712678.0611 | 1100683.4272 | 2712668.5685 | 1100683.062 | 2712663.2017 | 1100683.9854 | 2712657.246 | 1100687.0214 | 2712652.2323 | 1100691.0311 | 2712646.9104 | 1100695.7912 | 2712643.1847 | 1100697.9791 | 2712639.3735 | 1100699.7652 | 2712637.8724 | 1100700.1376 | 2712636.8264 | 1100700.1849 | 2712635.8238 | 1100699.9773 | 2712634.7546 | 1100699.6017 | 2712624.6192 | 1100692.5758 | 2712618.907 | 1100690.0015 | 2712616.976 | 1100690.1769 | 2712613.6807 | 1100692.1171 | 2712600.1479 | 1100679.5912 | 2712590.5983 | 1100672.6985 | 2712579.6463 | 1100662.9445 | 2712578.422 | 1100662.1658 | 2712577.9372 | 1100660.7558 | 2712578.4635 | 1100659.5092 | 2712584.3137 | 1100653.3913 | 2712578.5623 | 1100643.7449
18 | 2712453.4762 | 1100544.6044 | 2712453.1485 | 1100545.9209
19 | 2712527.3617 | 1100599.2109 | 2712528.0545 | 1100611.1206
20 | 2712528.0545 | 1100611.1206 | 2712533.0419 | 1100610.7011
21 | 2712341.8256 | 1100589.0927 | 2712342.1091 | 1100585.3209
22 | 2712341.8256 | 1100589.0927 | 2712338.2166 | 1100597.1091 | 2712337.3089 | 1100604.6476
23 | 2712383.5165 | 1100735.7837 | 2712380.1457 | 1100737.7344 | 2712375.8712 | 1100739.7828
24 | 2712691.8225 | 1100664.025 | 2712694.254 | 1100669.4182 | 2712696.1144 | 1100672.2101 | 2712698.4107 | 1100674.8767 | 2712706.521 | 1100681.3093 | 2712714.2988 | 1100687.302 | 2712715.6835 | 1100688.195 | 2712716.9872 | 1100688.8641 | 2712718.9571 | 1100689.5122
25 | 2712718.9571 | 1100689.5122 | 2712720.8631 | 1100689.8478 | 2712736.6075 | 1100690.9014
26 | 2712469.4852 | 1100492.9012 | 2712461.088 | 1100510.2908 | 2712455.7352 | 1100535.5308 | 2712453.4762 | 1100544.6044
27 | 2712527.3617 | 1100599.2109 | 2712530.3772 | 1100599 | 2712547.1762 | 1100597.8103 | 2712548.7429 | 1100591.8131 | 2712551.9444 | 1100579.4864 | 2712527.4941 | 1100573.0766
28 | 2712533.0419 | 1100610.7011 | 2712550.639 | 1100609.2211
29 | 2712342.1091 | 1100585.3209 | 2712343.2533 | 1100570.0953 | 2712348.6787 | 1100560.567 | 2712352.8048 | 1100555.4897
30 | 2712359.0492 | 1100547.8058 | 2712352.8048 | 1100555.4897
31 | 2712359.0492 | 1100547.8058 | 2712359.0492 | 1100547.8058 | 2712368.53 | 1100542.299
32 | 2712343.7309 | 1100684.4474 | 2712349.6826 | 1100676.5967
33 | 2712336.9901 | 1100654.1914 | 2712349.6826 | 1100676.5967
34 | 2712343.7309 | 1100684.4474 | 2712338.033 | 1100684.7119
35 | 2712343.7309 | 1100684.4474 | 2712344.8872 | 1100699.3566 | 2712345.0132 | 1100701.0262
36 | 2712336.9901 | 1100654.1914 | 2712337.5802 | 1100661.6295 | 2712337.5102 | 1100663.3182 | 2712337.092 | 1100665.0005 | 2712336.1115 | 1100666.5278 | 2712334.5127 | 1100667.5768 | 2712326.0848 | 1100670.3144
37 | 2712336.9901 | 1100654.1914 | 2712335.5783 | 1100651.8304 | 2712333.9858 | 1100649.6105 | 2712331.598 | 1100647.2759 | 2712328.0945 | 1100645.4099 | 2712322.549 | 1100643.4394 | 2712314.2947 | 1100641.4188 | 2712310.0736 | 1100639.8397 | 2712306.5041 | 1100637.7723 | 2712303.1247 | 1100635.0524 | 2712300.2151 | 1100631.6297 | 2712297.0985 | 1100626.4242 | 2712290.0804 | 1100612.8187 | 2712287.441 | 1100609.9636
38 | 2712775.1156 | 1100699.3336 | 2712774.1958 | 1100699.0882 | 2712754.487 | 1100693.9745 | 2712745.2248 | 1100692.0457 | 2712741.8444 | 1100691.5409
39 | 2712776.7356 | 1100699.7659 | 2712775.1156 | 1100699.3336
40 | 2712738.3381 | 1100691.0172 | 2712738.3381 | 1100691.0172 | 2712741.8444 | 1100691.5409
41 | 2712818.0528 | 1100709.9701 | 2712811.9331 | 1100708.9176 | 2712803.6625 | 1100706.9516 | 2712776.7356 | 1100699.7659
42 | 2712738.3381 | 1100691.0172 | 2712736.6075 | 1100690.9014
43 | 2712998.7657 | 1100755.2321 | 2712994.1357 | 1100746.5179 | 2712991.5279 | 1100742.2887 | 2712988.9655 | 1100739.3725 | 2712985.7942 | 1100736.7228 | 2712981.2288 | 1100734.5142 | 2712964.9964 | 1100729.3978 | 2712947.6403 | 1100723.927 | 2712940.5374 | 1100722.0381 | 2712935.1377 | 1100720.9815 | 2712930.4691 | 1100720.5833 | 2712926.1359 | 1100720.4582 | 2712921.7202 | 1100720.6096 | 2712917.2457 | 1100721.427 | 2712911.5988 | 1100723.2566 | 2712905.0724 | 1100725.3367 | 2712899.3445 | 1100726.531 | 2712894.5705 | 1100726.798 | 2712889.7314 | 1100726.8192 | 2712884.2753 | 1100725.8839 | 2712879.4449 | 1100724.6044 | 2712855.5579 | 1100716.4551 | 2712850.8059 | 1100715.1215 | 2712845.3157 | 1100713.941 | 2712821.7185 | 1100710.6005 | 2712818.0528 | 1100709.9701
44 | 2712899.4718 | 1100663.4799 | 2712953.0906 | 1100675.24 | 2712960.1128 | 1100677.3053 | 2712965.348 | 1100679.7154 | 2712969.7239 | 1100682.532 | 2712974.1671 | 1100686.3171 | 2712978.2934 | 1100690.4856 | 2712981.5356 | 1100695.149 | 2712984.3261 | 1100699.9597 | 2712986.836 | 1100705.6991 | 2713004.8532 | 1100753.0216 | 2713006.7652 | 1100757.1933 | 2713002.8555 | 1100757.1983 | 2713000.866 | 1100756.7722 | 2712999.6165 | 1100756.104 | 2712998.7657 | 1100755.2321
45 | 2712899.4718 | 1100663.4799 | 2712882.7774 | 1100666.127 | 2712874.936 | 1100666.893 | 2712868.057 | 1100666.6984 | 2712861.5522 | 1100665.5323 | 2712854.8255 | 1100663.3948 | 2712847.7562 | 1100660.5282 | 2712816.97 | 1100647.6011
46 | 2712550.639 | 1100609.2211 | 2712574.3077 | 1100607.2304 | 2712590.9606 | 1100605.9084
47 | 2712597.6621 | 1100605.482 | 2712596.56 | 1100605.4638 | 2712590.9606 | 1100605.9084
48 | 2712597.6621 | 1100605.482 | 2712601.9855 | 1100605.5534 | 2712607.3205 | 1100605.9303 | 2712612.7699 | 1100606.8208 | 2712618.794 | 1100608.4446 | 2712624.9331 | 1100610.5487 | 2712628.8363 | 1100612.3783
49 | 2712633.7198 | 1100614.8827 | 2712631.8485 | 1100613.7902 | 2712628.8363 | 1100612.3783
50 | 2712525.063 | 1100572.4393 | 2712527.4941 | 1100573.0766
51 | 2712431.9592 | 1100421.0765 | 2712424.1047 | 1100427.8732 | 2712417.8366 | 1100434.3408
52 | 2712415.8844 | 1100436.3551 | 2712417.8366 | 1100434.3408
53 | 2712415.8844 | 1100436.3551 | 2712411.9416 | 1100440.4233 | 2712404.7764 | 1100448.1858
54 | 2712404.5045 | 1100448.4803 | 2712404.7764 | 1100448.1858
55 | 2712361.2232 | 1100428.1488 | 2712360.8718 | 1100428.4038 | 2712336.7482 | 1100439.2205 | 2712320.0644 | 1100457.8065
56 | 2712305.1689 | 1100474.4002 | 2712320.0644 | 1100457.8065
57 | 2712404.5045 | 1100448.4803 | 2712403.4958 | 1100449.5731 | 2712398.6522 | 1100457.3554 | 2712396.3787 | 1100464.318 | 2712396.3787 | 1100464.318
58 | 2712305.1689 | 1100474.4002 | 2712300.4892 | 1100479.6133
59 | 2712242.9339 | 1100694.7786 | 2712243.8216 | 1100691.1497 | 2712246.0511 | 1100689.4164
60 | 2712242.9339 | 1100694.7786 | 2712242.2052 | 1100697.7576 | 2712241.1536 | 1100709.4126 | 2712241.1444 | 1100709.5155
61 | 2712246.0511 | 1100689.4164 | 2712250.5688 | 1100685.9041
62 | 2712223.9775 | 1100741.4946 | 2712223.8034 | 1100736.2545 | 2712226.7415 | 1100729.76 | 2712240.6764 | 1100714.7073 | 2712241.1444 | 1100709.5155
63 | 2712223.9775 | 1100741.4946 | 2712237.5149 | 1100736.2189 | 2712243.6644 | 1100732.9065
64 | 2712254.3381 | 1100725.3224 | 2712249.7684 | 1100729.6186 | 2712243.6644 | 1100732.9065
65 | 2712233.993 | 1100518.4079 | 2712229.9001 | 1100539.6243 | 2712228.837 | 1100547.746
66 | 2712233.993 | 1100518.4079 | 2712235.54 | 1100510.9426 | 2712236.1737 | 1100505.5618 | 2712236.8144 | 1100491.8422 | 2712237.7357 | 1100490.1692 | 2712239.3659 | 1100489.0986 | 2712241.4145 | 1100488.8474 | 2712243.3104 | 1100489.3161 | 2712244.5116 | 1100490.5057 | 2712243.7575 | 1100478.5282 | 2712242.4785 | 1100464.3729 | 2712240.7092 | 1100459.5703 | 2712237.5362 | 1100454.4749 | 2712215.3041 | 1100429.5698 | 2712212.6457 | 1100425.1177 | 2712211.3677 | 1100420.5355 | 2712212.061 | 1100416.5345 | 2712214.0266 | 1100413.2352 | 2712216.9983 | 1100411.6335 | 2712225.9835 | 1100409.309 | 2712230.2985 | 1100407.4986 | 2712235.0821 | 1100404.207 | 2712245.835 | 1100394.6326 | 2712250.5417 | 1100388.8045 | 2712269.7804 | 1100358.284 | 2712274.2777 | 1100350.384 | 2712290.0929 | 1100313.2514 | 2712291.1504 | 1100308.8235 | 2712291.5289 | 1100304.6833 | 2712291.1616 | 1100299.006 | 2712287.913 | 1100278.321 | 2712287.6003 | 1100272.6225 | 2712288.413 | 1100267.1895 | 2712290.2424 | 1100258.284 | 2712290.9271 | 1100253.4934 | 2712290.9183 | 1100247.6893 | 2712289.9067 | 1100241.6889 | 2712281.5017 | 1100220.5749
67 | 2712261.276 | 1100597.6534 | 2712259.5608 | 1100596.944 | 2712255.4189 | 1100594.8438 | 2712249.9802 | 1100591.2854 | 2712246.6451 | 1100588.6776 | 2712243.1711 | 1100585.2111 | 2712240.1086 | 1100581.263 | 2712235.2622 | 1100574.1353 | 2712232.0337 | 1100568.6943 | 2712229.8758 | 1100563.551 | 2712228.3997 | 1100556.708 | 2712228.6109 | 1100549.4737 | 2712228.837 | 1100547.746
68 | 2712281.5017 | 1100220.5749 | 2712274.2547 | 1100200.8945 | 2712274.0377 | 1100199.9001
69 | 2712281.5017 | 1100220.5749 | 2712294.2232 | 1100220.5433 | 2712299.4502 | 1100220.4955 | 2712302.7208 | 1100219.9 | 2712305.6241 | 1100218.6528 | 2712307.9354 | 1100216.7609 | 2712310.4403 | 1100214.0276 | 2712319.5561 | 1100200.8984 | 2712326.9216 | 1100190.7278 | 2712330.4871 | 1100185.4902 | 2712332.7461 | 1100183.4973 | 2712335.1127 | 1100182.3847 | 2712338.1648 | 1100181.4628 | 2712340.3673 | 1100181.27 | 2712343.7723 | 1100180.9439 | 2712346.8268 | 1100180.311 | 2712349.4338 | 1100179.1807 | 2712351.4934 | 1100177.0841 | 2712353.1569 | 1100174.2129 | 2712355.2453 | 1100168.4699 | 2712359.1733 | 1100157.0348 | 2712360.1408 | 1100152.8722 | 2712360.5571 | 1100149.6221 | 2712360.4936 | 1100146.7746 | 2712359.9761 | 1100144.1966 | 2712355.8644 | 1100133.758 | 2712355.116 | 1100130.6866 | 2712354.9911 | 1100127.8157 | 2712355.3837 | 1100125.0099 | 2712363.781 | 1100086.2837 | 2712365.0998 | 1100080.98
70 | 2712259.3307 | 1100775.1925 | 2712265.1493 | 1100770.4454
71 | 2712259.3307 | 1100775.1925 | 2712261.5209 | 1100780.1101
72 | 2712268.5549 | 1100767.667 | 2712265.1493 | 1100770.4454
73 | 2712254.3381 | 1100725.3224 | 2712263.9047 | 1100734.2385
74 | 2712396.3787 | 1100464.318 | 2712394.6338 | 1100474.5148 | 2712395.2723 | 1100479.9277
75 | 2712392.8153 | 1100502.0663 | 2712396.1796 | 1100487.6189 | 2712395.2723 | 1100479.9277
76 | 2712379.958 | 1100527.8097 | 2712380.555 | 1100526.5671 | 2712387.8455 | 1100512.9039 | 2712390.1188 | 1100507.9465
77 | 2712379.958 | 1100527.8097 | 2712374.7252 | 1100538.7007 | 2712368.53 | 1100542.299
78 | 2712390.1188 | 1100507.9465 | 2712392.8153 | 1100502.0663 | 2712392.8153 | 1100502.0663
79 | 2712316.6924 | 1100793.8167 | 2712326.4822 | 1100789.8769 | 2712327.6404 | 1100789.209 | 2712328.6627 | 1100788.3495 | 2712329.2288 | 1100787.4594 | 2712329.6015 | 1100786.5657 | 2712329.8186 | 1100784.0347 | 2712329.9961 | 1100782.0292
80 | 2712330.8953 | 1100771.8687 | 2712329.9961 | 1100782.0292
81 | 2712330.8953 | 1100771.8687 | 2712345.4341 | 1100778.164
82 | 2712331.306 | 1100765.9945 | 2712330.8953 | 1100771.8687
83 | 2712339.692 | 1100752.0959 | 2712341.6604 | 1100755.7569 | 2712344.7747 | 1100756.0592 | 2712346.5968 | 1100758.8392 | 2712344.6762 | 1100762.6395 | 2712337.3861 | 1100765.0063 | 2712331.306 | 1100765.9945
84 | 2712331.306 | 1100765.9945 | 2712327.0483 | 1100765.1375 | 2712310.3764 | 1100771.8128
85 | 2712339.692 | 1100752.0959 | 2712341.307 | 1100752.6817 | 2712343.1841 | 1100752.9054 | 2712345.0674 | 1100752.7957 | 2712346.786 | 1100752.3828 | 2712348.6115 | 1100751.6271 | 2712363.2464 | 1100745.2767
86 | 2712339.692 | 1100752.0959 | 2712338.3877 | 1100751.4602 | 2712331.6283 | 1100746.8988
87 | 2712299.6563 | 1100776.1051 | 2712310.3764 | 1100771.8128
88 | 2712363.2464 | 1100745.2767 | 2712375.5215 | 1100739.9504 | 2712375.8712 | 1100739.7828
89 | 2712331.6283 | 1100746.8988 | 2712338.5405 | 1100740.6891 | 2712339.4207 | 1100739.4425
90 | 2712320.4714 | 1100738.9984 | 2712331.6283 | 1100746.8988
91 | 2712268.2435 | 1100729.4924 | 2712268.8877 | 1100728.7878
92 | 2712274.5799 | 1100722.5613 | 2712268.8877 | 1100728.7878
93 | 2712263.9047 | 1100734.2385 | 2712268.2435 | 1100729.4924
94 | 2712274.5799 | 1100722.5613 | 2712277.2575 | 1100720.3681
95 | 2712263.9047 | 1100734.2385 | 2712264.2314 | 1100737.5023 | 2712253.8079 | 1100751.4951
96 | 2712277.2575 | 1100720.3681 | 2712280.2083 | 1100717.9511
97 | 2712285.0907 | 1100715.5842 | 2712280.2083 | 1100717.9511 | 2712280.2083 | 1100717.9511
98 | 2712285.0907 | 1100715.5842 | 2712286.9498 | 1100714.8136
99 | 2712285.0907 | 1100715.5842 | 2712288.5908 | 1100723.0761 | 2712291.4918 | 1100721.9401
100 | 2712308.9913 | 1100744.2479 | 2712302.1485 | 1100747.0588
101 | 2712320.4714 | 1100738.9984 | 2712317.0521 | 1100740.1137 | 2712311.2249 | 1100743.3303 | 2712308.9913 | 1100744.2479
102 | 2712298.2713 | 1100748.6515 | 2712302.1485 | 1100747.0588
103 | 2712298.2713 | 1100748.6515 | 2712289.7017 | 1100752.1717 | 2712284.5228 | 1100755.582
104 | 2712273.9022 | 1100763.3043 | 2712278.5336 | 1100759.5258 | 2712284.5228 | 1100755.582
105 | 2712337.154 | 1100733.6143 | 2712336.2695 | 1100732.4639 | 2712335.5058 | 1100731.4824
106 | 2712335.5058 | 1100731.4824 | 2712339.144 | 1100724.4545
107 | 2712347.4183 | 1100724.4869 | 2712340.5008 | 1100729.3066 | 2712337.154 | 1100733.6143
108 | 2712337.154 | 1100733.6143 | 2712340.377 | 1100738.088 | 2712339.4207 | 1100739.4425
109 | 2712345.6768 | 1100709.8226 | 2712341.15 | 1100720.5795 | 2712339.144 | 1100724.4545
110 | 2712268.5549 | 1100767.667 | 2712273.9022 | 1100763.3043
111 | 2712328.97 | 1100709.8137 | 2712345.6768 | 1100709.8226
112 | 2712345.6768 | 1100709.8226 | 2712345.128 | 1100702.5476
113 | 2712328.97 | 1100709.8137 | 2712321.1625 | 1100711.2703
114 | 2712320.8362 | 1100711.2956 | 2712321.1625 | 1100711.2703
115 | 2712328.97 | 1100709.8137 | 2712325.554 | 1100701.545 | 2712324.2236 | 1100696.9426
116 | 2712320.8362 | 1100711.2956 | 2712317.9217 | 1100711.5217 | 2712306.3979 | 1100710.8971 | 2712303.5113 | 1100711.1365
117 | 2712291.4918 | 1100721.9401 | 2712297.2257 | 1100720.3408
118 | 2712286.9498 | 1100714.8136 | 2712293.8988 | 1100711.9334 | 2712299.0329 | 1100711.5078
119 | 2712299.0329 | 1100711.5078 | 2712303.5113 | 1100711.1365
120 | 2712262.2296 | 1100568.2762 | 2712261.0715 | 1100564.2278 | 2712260.4367 | 1100559.2016 | 2712260.7111 | 1100553.992 | 2712261.4973 | 1100549.3668
121 | 2712283.1051 | 1100605.2736 | 2712277.2574 | 1100597.4491 | 2712266.8261 | 1100578.3436 | 2712263.9784 | 1100572.4092 | 2712262.3441 | 1100568.6765 | 2712262.2296 | 1100568.2762
122 | 2712262.3024 | 1100545.8525 | 2712261.6493 | 1100548.4723 | 2712261.4973 | 1100549.3668
123 | 2712283.1051 | 1100605.2736 | 2712287.441 | 1100609.9636
124 | 2712283.1051 | 1100605.2736 | 2712279.3102 | 1100603.669 | 2712272.5217 | 1100601.5088 | 2712264.4858 | 1100598.9808 | 2712261.276 | 1100597.6534
125 | 2712267.7957 | 1100523.8138 | 2712262.3024 | 1100545.8525
126 | 2712267.7957 | 1100523.8138 | 2712270.0047 | 1100519.0737 | 2712274.3769 | 1100512.072 | 2712281.6922 | 1100501.7769
127 | 2712281.6922 | 1100501.7769 | 2712285.8632 | 1100495.9068 | 2712288.861 | 1100492.5673
128 | 2712319.7633 | 1100672.9241 | 2712323.4372 | 1100671.1744 | 2712326.0848 | 1100670.3144
129 | 2712365.0998 | 1100080.98 | 2712697.2099 | 1100079.4517
130 | 2712759.1358 | 1100073.455 | 2712751.2602 | 1100073.1086 | 2712745.7621 | 1100073.151 | 2712740.367 | 1100073.4845 | 2712720.0792 | 1100075.2537 | 2712711.4796 | 1100075.9502 | 2712707.7003 | 1100076.4137 | 2712703.9872 | 1100077.0675 | 2712700.4844 | 1100078.0699 | 2712697.2224 | 1100079.4436 | 2712697.2099 | 1100079.4517
131 | 2712759.1358 | 1100073.455 | 2712756.0069 | 1100070.5839 | 2712753.377 | 1100067.5219 | 2712742.1466 | 1100053.1149 | 2712737.9428 | 1100049.3344 | 2712719.0482 | 1100034.0291 | 2712687.841 | 1099984.5948 | 2712724.6688 | 1099956.4924 | 2712713.1368 | 1099942.9028
132 | 2712319.7633 | 1100672.9241 | 2712318.6056 | 1100673.4755
133 | 2712297.1718 | 1100681.896 | 2712305.247 | 1100682.7125 | 2712313.0098 | 1100676.1405 | 2712318.6056 | 1100673.4755
134 | 2712345.0132 | 1100701.0262 | 2712345.128 | 1100702.5476
135 | 2712288.861 | 1100492.5673 | 2712300.4892 | 1100479.6133

## bus_geodata
| x | y | coords
0 | 2712374.4922 | 1100652.4926
1 | 2712390.0214 | 1100663.6551
2 | 2712362.2263 | 1100637.2145
3 | 2712402.4771 | 1100676.0506
4 | 2712355.3236 | 1100625.0898
5 | 2712390.6672 | 1100698.414
6 | 2712347.5872 | 1100601.3472
7 | 2712390.3408 | 1100728.161
8 | 2712434.4744 | 1100672.7071
9 | 2712469.8773 | 1100637.65
10 | 2712406.7725 | 1100692.2452
11 | 2712578.5623 | 1100643.7449
12 | 2712453.1485 | 1100545.9209
13 | 2712528.0545 | 1100611.1206
14 | 2712341.8256 | 1100589.0927
15 | 2712395.4085 | 1100713.6094
16 | 2712383.5165 | 1100735.7837
17 | 2712597.276 | 1100644.5033
18 | 2712718.9571 | 1100689.5122
19 | 2712453.4762 | 1100544.6044
20 | 2712527.3617 | 1100599.2109
21 | 2712533.0419 | 1100610.7011
22 | 2712342.1091 | 1100585.3209
23 | 2712337.3089 | 1100604.6476
24 | 2712352.8048 | 1100555.4897
25 | 2712359.0492 | 1100547.8058
26 | 2712349.6826 | 1100676.5967
27 | 2712343.7309 | 1100684.4474
28 | 2712336.9901 | 1100654.1914
29 | 2712469.4852 | 1100492.9012
30 | 2712775.1156 | 1100699.3336
31 | 2712741.8444 | 1100691.5409
32 | 2712776.7356 | 1100699.7659
33 | 2712738.3381 | 1100691.0172
34 | 2712818.0528 | 1100709.9701
35 | 2712736.6075 | 1100690.9014
36 | 2712998.7657 | 1100755.2321
37 | 2712899.4718 | 1100663.4799
38 | 2712550.639 | 1100609.2211
39 | 2712590.9606 | 1100605.9084
40 | 2712597.6621 | 1100605.482
41 | 2712628.8363 | 1100612.3783
42 | 2712633.7198 | 1100614.8827
43 | 2712527.4941 | 1100573.0766
44 | 2712691.8225 | 1100664.025
45 | 2712816.97 | 1100647.6011
46 | 2712525.063 | 1100572.4393
47 | 2712431.9592 | 1100421.0765
48 | 2712417.8366 | 1100434.3408
49 | 2712415.8844 | 1100436.3551
50 | 2712404.7764 | 1100448.1858
51 | 2712361.2232 | 1100428.1488
52 | 2712320.0644 | 1100457.8065
53 | 2712404.5045 | 1100448.4803
54 | 2712305.1689 | 1100474.4002
55 | 2712242.9339 | 1100694.7786
56 | 2712246.0511 | 1100689.4164
57 | 2712241.1444 | 1100709.5155
58 | 2712250.5688 | 1100685.9041
59 | 2712223.9775 | 1100741.4946
60 | 2712243.6644 | 1100732.9065
61 | 2712233.993 | 1100518.4079
62 | 2712228.837 | 1100547.746
63 | 2712281.5017 | 1100220.5749
64 | 2712259.3307 | 1100775.1925
65 | 2712265.1493 | 1100770.4454
66 | 2712261.5209 | 1100780.1101
67 | 2712254.3381 | 1100725.3224
68 | 2712396.3787 | 1100464.318
69 | 2712395.2723 | 1100479.9277
70 | 2712379.958 | 1100527.8097
71 | 2712390.1188 | 1100507.9465
72 | 2712368.53 | 1100542.299
73 | 2712392.8153 | 1100502.0663
74 | 2712316.6924 | 1100793.8167
75 | 2712329.9961 | 1100782.0292
76 | 2712330.8953 | 1100771.8687
77 | 2712345.4341 | 1100778.164
78 | 2712331.306 | 1100765.9945
79 | 2712339.692 | 1100752.0959
80 | 2712310.3764 | 1100771.8128
81 | 2712363.2464 | 1100745.2767
82 | 2712331.6283 | 1100746.8988
83 | 2712299.6563 | 1100776.1051
84 | 2712268.8877 | 1100728.7878
85 | 2712268.2435 | 1100729.4924
86 | 2712274.5799 | 1100722.5613
87 | 2712263.9047 | 1100734.2385
88 | 2712277.2575 | 1100720.3681
89 | 2712253.8079 | 1100751.4951
90 | 2712280.2083 | 1100717.9511
91 | 2712285.0907 | 1100715.5842
92 | 2712308.9913 | 1100744.2479
93 | 2712302.1485 | 1100747.0588
94 | 2712320.4714 | 1100738.9984
95 | 2712298.2713 | 1100748.6515
96 | 2712284.5228 | 1100755.582
97 | 2712335.5058 | 1100731.4824
98 | 2712337.154 | 1100733.6143
99 | 2712339.144 | 1100724.4545
100 | 2712339.4207 | 1100739.4425
101 | 2712273.9022 | 1100763.3043
102 | 2712347.4183 | 1100724.4869
103 | 2712345.6768 | 1100709.8226
104 | 2712321.1625 | 1100711.2703
105 | 2712328.97 | 1100709.8137
106 | 2712320.8362 | 1100711.2956
107 | 2712297.2257 | 1100720.3408
108 | 2712291.4918 | 1100721.9401
109 | 2712268.5549 | 1100767.667
110 | 2712286.9498 | 1100714.8136
111 | 2712324.2236 | 1100696.9426
112 | 2712303.5113 | 1100711.1365
113 | 2712299.0329 | 1100711.5078
114 | 2712262.2296 | 1100568.2762
115 | 2712261.4973 | 1100549.3668
116 | 2712283.1051 | 1100605.2736
117 | 2712262.3024 | 1100545.8525
118 | 2712287.441 | 1100609.9636
119 | 2712261.276 | 1100597.6534
120 | 2712267.7957 | 1100523.8138
121 | 2712281.6922 | 1100501.7769
122 | 2712326.0848 | 1100670.3144
123 | 2712365.0998 | 1100080.98
124 | 2712697.2099 | 1100079.4517
125 | 2712274.0377 | 1100199.9001
126 | 2712713.1368 | 1099942.9028
127 | 2712759.1358 | 1100073.455
128 | 2712319.7633 | 1100672.9241
129 | 2712318.6056 | 1100673.4755
130 | 2712297.1718 | 1100681.896
131 | 2712338.033 | 1100684.7119
132 | 2712345.0132 | 1100701.0262
133 | 2712300.4892 | 1100479.6133
134 | 2712288.861 | 1100492.5673
135 | 2712345.128 | 1100702.5476
136 | 2712375.8712 | 1100739.7828
137 | 2712341.8256 | 1100589.0927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1